|  | Lethabo Power Station Demineralised and CPR Water Treatment Plant Vessel Repairs Scope of Work |
| --- | --- |

# TENDER TECHNICAL RETURNABLES/SUBMITTALS

Tender returnables For the purpose of an equitable technical evaluation of the tenders the Contractor must provide all documentation at the time of the tender as per the requirements below. If not provided the tender will be considered non-compliant and will not be evaluated.

Technical Evaluation Strategy for Demin Vessel Repairs

- Qualitative Technical Evaluation Criteria Qualitative evaluations will be performed during the tender evaluations using the scoring scale as indicated in Table 1 from the tender evaluation procedure. Table 1: Qualitative Evaluation Criteria Score Scale Score; (%); Definition. 5; 100; COMPLIANT Meet technical requirement(s) AND; No foreseen technical risk(s) in meeting technical requirements.. 4; 80; COMPLIANT WITH ASSOCIATED QUALIFICATIONS Meet technical requirement(s) with; Acceptable technical risk(s) AND/OR; Acceptable exceptions AND/OR; Acceptable conditions.. 2; 40; NON-COMPLIANT Does not meet technical requirement(s) AND/OR; Unacceptable technical risk(s) AND/OR; Unacceptable exceptions AND/OR; Unacceptable conditions.. 0; 0; TOTALLY DEFICIENT OR NON-RESPONSIVE. Note 1: The scoring table does not allow for scoring of 1 and 3. Note 2: Foreseen acceptable and unacceptable risk(s), exceptions and conditions shall be unambiguously defined in the relevant Tender Technical Evaluation Strategy..

PLEASE NOTE: A site visit is compulsory and regarded as a gatekeeper for the technical evaluation.

| KPA - AREA OF EVALUATION | KPI - CRITERIA EVALUATION INDICATOR | MINIMUM CRITERIA EVALUATION REQUIREMENTS | SOURCE |
| --- | --- | --- | --- |
| Site visit attended | To familiarise the contractor with site set-up | Contractor is to visit site and sign the attendance register as proof that contractor was on site and understands exactly what is required. | Attendance register |

| No. | Weight (%) | Qualitative Technical Criteria Description |  | Evaluation Scoring Breakdown |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 0 | 2 | 4 | 5 |
| 1.1 | 10 | Site specific organogram specifically stating names, experience and qualifications of the following: -Appointed Site Manager/Supervisor with 2yr project management skills. -Thermoplastic welder - Skilled labourers with experience in tekapor base replacements and repairs. To carry out scope with 2 years relevant experience. Team organogram to clearly stipulate years’ experience, qualification and role on site. |  | Tender did not submit a site specific organogram. |  | Tender provided site specific organogram specifically stating names, experience and qualifications of the following: -Appointed Site Manager/Representative with => 2yr project management skills AND thermoplastic welder OR -Skilled labourers with experience in tekapor base replacements and repairs. AND -Experienced rubber liner personnel. To carry out scope with 2 years relevant experience. | Tender provided a complete site specific organogram specifically stating names, experience and qualifications. |
| 1.2 | 30 | Detailed procedure/method statement shall be submitted to Eskom detailing all steps, procedures and activities of work to be executed for Tekapor floor ring repair method statement and Tekapor floor replacement method statement inclusive of casting, layers required, testing, curing environmental conditions, lining application process, lateral system etc. |  | None provided or not relevant to scope of work. |  | High level method statement provided only with list of activities for ring repair and replacement of floor excluding rubber lining, lateral system, environmental conditions, layers required, testing, and curing. | Detailed method statement provided that includes removal of base, casting of full base, ring repair, rubber lining and environmental conditions. |
| 1.3 | 20 | The Contractor to provide verifiable references with contact details, description of work completed, and date executed. Five references of projects within the last five (5) years involving the tekapor floor replacements/ring repairs and rubber lining in confined spaces shall be provided. |  | Tenderer submitted 0 verifiable references of similar projects to indicate their relevant experience according to criteria | Tenderer submitted 1 verifiable references of similar projects to indicate their relevant experience according to criteria | Tenderer submitted 2-4 verifiable references of similar projects to indicate their relevant experience according to criteria | Tenderer submitted 5 or more verifiable references of similar projects to indicate their relevant experience according to criteria |
| 1.4 | 20 | 35 | Product Data Sheets for all products comprising the system i.e. rubber lining, adhesives, tack coats | None provided. | Data sheets/information provided for only (40%) of information as per requirements. | Data sheets/information provided for (80%) of information as per requirements. | All data sheets and All information provided as per requirements. |
|  |  | 30 | Method statements for work | No method statement submission. | ≥3 steps missing. | 1 - 2 steps missing. | All application steps (a – f) provided. |
|  |  | 10 | Quality Control Plan | None provided. | High-level QCP missing: ≥3 Steps or tests i.e. (a – d) or ≥3 Missing standards or ≥3 Acceptance criteria. | QCP missing: 1 - 2 Steps or tests i.e. (a – d) or 1-2 Missing standards or 1-2 Acceptance criteria. | Detailed QCP indicating all steps, tests, standards, inspections criteria and interventions i.e. (a – d). |
|  |  | 10 | List of deviations from the Eskom specification | Detrimental, technically unacceptable Deviations or Exclusions. |  | No definitive statement that there are any Deviations or Exclusions OR Acceptable Deviations or Exclusions which may be mitigated by the contractor. | A definitive statement that there are no Deviations or Exclusions. |
| 1.5 | 20 | Provide a guarantee against faulty design or defective workmanship on Rubber lining AND Sinert Base Replacement/Repairs |  | None provided. |  |  | Guarantee provided |

NB: A minimum total of 70% is required in this section for further consideration.

# Appendix A: Images (For illustration purposes only)

Mixed bed Nozzles and plastic wrapped Injection laterals

Wrapped injection lateral

Mixed Bed plastic wrapped laterals

Inlet header T-piece

Heat shrink

Large grid yellow Plastic wrap

Stainless Steel Covered laterals with large grid plastic sock

Wrapped laterals with steel clamps

Injection laterals

Sinert base floor

Prepared by:  J Drake                                	Supported by:	J. Brink

Designation:  O&M Engineer                            	Designation:	OPE Sections Manager

Signature:  _________________		Signature: 	______________________