NEC3 Supply Contract (SC3)

| Between | ESKOM HOLDINGS SOC Ltd (Reg No. 2002/015527/30) |  |
| --- | --- | --- |
| and | [Insert at award stage] (Reg No. ___________ ) |  |
| for | THE MANUFACTURING, SUPPLY AND DELIVERY OF PULSE JET FABRIC FILTER TRIAL BAGS FOR MEDUPI AND KUSILE POWER STATIONS Insert title of the goods and services |  |
| Contents: |  | No of pages |
| Part C1 | Agreements & Contract Data | 2-25 |
| Part C2 | Pricing Data | 26-32 |
| Part C3 | Scope of Work | 33-71 |
| CONTRACT No. | [Insert at award stage] |  |

PART C1:	AGREEMENTS & CONTRACT DATA

| Contents: |  | No of pages |
| --- | --- | --- |
| C1.1 | Form of Offer and Acceptance [to be inserted from Returnable Documents at award stage] | [●] |
| C1.2a | Contract Data provided by the Purchaser | [●] |
| C1.2b | Contract Data provided by the Supplier [to be inserted from Returnable Documents at award stage] | [●] |
| C1.3 | Proforma Guarantees | [●] |

C1.1 Form of Offer & Acceptance

## Offer

The Purchaser, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

THE MANUFACTURING, SUPPLY AND DELIVERY OF PULSE JET FABRIC FILTER TRIAL BAGS FOR MEDUPI AND KUSILE POWER STATIONS

The tenderer, identified in the Offer signature block, has

| either | examined the documents listed in the Tender Data and addenda thereto as listed in the Returnable Schedules, and by submitting this Offer has accepted the Conditions of Tender. |
| --- | --- |
| or | examined the draft contract as listed in the Acceptance section and agreed to provide this Offer. |

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Supplier under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data.

|  | The offered total of the Prices exclusive of VAT is |  |
| --- | --- | --- |
|  | Value Added Tax @ 15% is |  |
|  | The offered total of the amount due inclusive of VAT is |  |

This Offer may be accepted by the Purchaser by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Supplier in the conditions of contract identified in the Contract Data.

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| For the tenderer: |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

## Acceptance

By signing this part of this Form of Offer and Acceptance, the Purchaser identified below accepts the tenderer’s Offer. In consideration thereof, the Purchaser shall pay the Supplier the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Purchaser and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in:

Part C1		Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2		Pricing Data

Part C3		Scope of Work:  Goods Information including Supply Requirements

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Purchaser’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) | Mr Z Witbooi |  |  |  |
| Capacity | Acting General Manager: Medupi Generation Division |  |  |  |
| for the Purchaser | Eskom Holdings SOC Limited Medupi Power Station Private Bag x9003 LEPHALALE 0555 |  |  |  |
| Name & signature of witness | Mr J Morudu Manager: Procurement |  | Date |  |

Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

## Schedule of Deviations to be completed by the Purchaser prior to contract award

Note:

- This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.

- The extent of deviations from the tender documents issued by the Purchaser prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

- A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

| No. | Subject | Details |
| --- | --- | --- |
| 1 | [●] | [●] |
| 2 | [●] | [●] |
| 3 | [●] | [●] |
| 4 | [●] | [●] |
| 5 | [●] | [●] |
| 6 | [●] | [●] |
| 7 | [●] | [●] |

By the duly authorised representatives signing this Schedule of Deviations below, the Purchaser and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of Offer and Acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement.

|  | #### For the tenderer: |  | #### For the Purchaser |
| --- | --- | --- | --- |
| Signature |  |  |  |
| Name |  |  | Mr Z Witbooi |
| Capacity |  |  | Acting General Manager: Medupi Generation Division |
| On behalf of | (Insert name and address of organisation) |  | Eskom Holdings SOC Limited Medupi Power Station Private Bag x9003 LEPHALALE 0555 |
| Name & signature of witness |  |  | Mr J Morudu Manager: Procurement |
| Date |  |  |  |

C1.2 SC3 Contract Data

# Part one - Data provided by the Purchaser

| Clause |  | ## Statement | ## Data |  |  |
| --- | --- | --- | --- | --- | --- |
| 1 |  | ## General |  |  |  |
|  |  | The conditions of contract are the core clauses and the clauses for Options |  |  |  |
|  |  |  | X1: Price adjustment for inflation |  |  |
|  |  |  | X2: Changes in the law |  |  |
|  |  |  | X3: Multiple currencies |  |  |
|  |  |  | X4: Parent company guarantee |  |  |
|  |  |  | X7: Delay damages |  |  |
|  |  |  | X13 : Performance bond |  |  |
|  |  |  | X17: Low performance damages X20: Key Performance Indicators |  |  |
|  |  |  | Z: Additional conditions of contract |  |  |
|  |  | of the NEC3 Supply Contract (April 2013) | (If the December 2009 edition is to be used delete April 2013 and replace by December 2013) |  |  |
| 10.1 |  | The Purchaser is (name): | Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa |  |  |
|  |  | Address | Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg |  |  |
|  |  | Tel No. | (011) 800-6833 |  |  |
|  |  | Fax No. | (086) 665 5061 |  |  |
| 10.1 |  | The Supply Manager is (name): | Royce Cole |  |  |
|  |  | Address | Medupi Power Station |  |  |
|  |  | Tel | 014 762 6114 |  |  |
|  |  | Fax | N/A |  |  |
|  |  | e-mail | ColeR@eskom.co.za |  |  |
| 11.2(13) |  | The goods are | The manufacturing, supply, and delivery of pulse jet fabric filter trial bags for Medupi and Kusile Power Stations. |  |  |
| 11.2(14) |  | The following matters will be included in the Risk Register | Any other risk as agreed with the Purchaser’s Representative or his delegate at each Power Station. |  |  |
| 11.2(15) |  | The Goods Information is in | Part 3: Scope of Work and all documents and drawings to which it makes reference. |  |  |
| 11.2(15) |  | The Supply Requirements as part of the Goods Information is in | Annexure A to this Contract Data |  |  |
| 12.2 |  | The law of the contract is the law of | the Republic of South Africa |  |  |
| 13.1 |  | The language of this contract is | English |  |  |
| 13.3 |  | The period for reply is | One (1) week |  |  |
| ## 2 |  | ## The Supplier’s main responsibilities | Data required by this section of the core clauses is provided by the Supplier in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |
| ## 3 |  | ## Time |  |  |  |
| 30.1 |  | The starting date is. | TBA |  |  |
| 30.1 |  | The delivery date of the goods and services is: | goods and services |  | delivery date |
|  |  |  |  |  | 8 weeks from order confirmation |
|  |  | Note: that these times assume air-freighting of the products required. |  |  |  |
| 30.2 |  | The Supplier does not bring the goods to the Delivery Place more than one week before the Delivery Date. | As per agreed date on purchase order release. Goods to be delivered to Medupi Power Station. |  |  |
| 31.1 |  | The Supplier is to submit a first programme for acceptance within | 2 weeks of the Contract Date. |  |  |
| 32.2 |  | The Supplier submits revised programmes at intervals no longer than | One (1) week from date of Purchase Order. |  |  |
| ## 4 |  | ## Testing and defects |  |  |  |
| 42 |  | The defects date is | Refer to Fabric Filter Plant Bag Standard: 240-53113965 for each station’s bag life. |  |  |
| 43.2 |  | The defect correction period is | One (1) week from the date access to the plant was provided or the earliest convenient depending on the availability of plant |  |  |
| ## 5 |  | ## Payment |  |  |  |
| 50.1 |  | The assessment interval is | - The terms and conditions of payment are 30 days from receipt of a tax invoice |  |  |
| 51.1 |  | The currency of this contract is the | South African Rand |  |  |
| 51.2 |  | The period within which payments are made is | 30 days net after receipt of a valid Tax Invoice. |  |  |
| 51.4 |  | The interest rate is | the publicly quoted prime rate of interest (calculated on a 365 day year) charged from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and (ii) the LIBOR rate applicable at the time for amounts due in other currencies. LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove. |  |  |
| ## 6 |  | ## Compensation events | Refer to NEC3 Supply Contract (SC3) |  |  |
| ## 7 |  | ## Title | ## Refer to NEC3 Supply Contract (SC3) |  |  |
| ## 8 |  | ## Risks, liabilities, indemnities and insurance |  |  |  |
| 80.1 |  | These are additional Purchaser’s risks | 1. Late supply of materials 2. Late payments 3. Unavailability of raw material 4. Unpredictable currency fluctuations 5. NCR’S (Non Conformance Reports) 6. Refer core clause 80.1 of NEC 3 Supply Contract (SC3) |  |  |
| 84.1 |  | The Purchaser provides these insurances from the Insurance Table | See notes about Purchaser provided insurance in Annexure B to this Contract Data |  |  |
|  |  | 1. Insurance against | Loss of or damage to the goods, plant, and materials. |  |  |
|  |  | Cover / indemnity is | Overseas shipment / transit insurance (only) to cover events at the Supplier’s risk (if any) after the goods have left the Supplier’s overseas premises. See notes in Annexure B If this contract includes the supervision of installation, testing, commissioning, or building work at the Purchaser’s premises, the Purchaser also provides cover for physical loss of or damage to the Purchaser’s surrounding property including any temporary work required to complete the Delivery. |  |  |
|  |  | The deductibles are | See notes in data for clause 88.2 below and Annexure B |  |  |
| 84.1 |  | The Supplier provides these additional insurances | See notes in Annexure B |  |  |
| 84.2 |  | The minimum amount of cover for loss of or damage to any plant and materials provided by the Purchaser is: | The minimum amount as per the necessary deductibles in terms of the purchaser’s business divisions as per Annexure B |  |  |
| 84.2 |  | The minimum limit of indemnity for insurance in respect of loss of or damage to property (except the goods, plant and materials and equipment) and liability for bodily injury to or death of a person (not an employee of the Supplier) caused by activity in connection with this contract for any one event is: | Whatever the Supplier deems necessary in addition to that provided by the Purchaser for any one event with cross liability so that the insurance applies to the Parties separately. However if the Supplier is exposed to damage to the Purchaser’s property the cover limit amount is not less than - R15 million (fifteen million Rand) for exposure to Generation Division property; for any one occurrence or series of occurrences arising out of one event but unlimited during the period of insurance. |  |  |
| 84.2 |  | The minimum limit of indemnity for insurance in respect of death of or bodily injury to employees of the Supplier arising out of and in the course of their employment in connection with this contract for any one event is: | As prescribed by the Compensation for Occupational Injuries and Diseases Act No. 130 of 1993 and the Contractor’s common law liability for people falling outside the scope of the Act with a limit of Indemnity of not less than R500 000 (five hundred thousand Rand). |  |  |
| 88.1 |  | The Supplier’s liability to the Purchaser for indirect or consequential loss, including loss of profit, revenue and goodwill is limited to | R0.0 (zero Rand) |  |  |
| 88.2 |  | For any one event, the Supplier’s liability to the Purchaser for loss of or damage to the Purchaser’s property is limited to | (1) for the Purchaser’s existing and surrounding property in the care, custody and control of the Supplier the amount of the deductible (first amount payable) relevant to the event described in the “Format A” / “Format B” / “Format Dx” insurance policy available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_ (2) for all other existing Purchaser’s property the highest applicable deductible (first amount payable) namely: - R15 million (fifteen million Rand) for Generation Division property. See notes in Annexure B |  |  |
| 88.3 |  | The Supplier’s liability for Defects due to his design which are not notified before the last defects date is limited to: | All Purchase orders affected |  |  |
| 88.4 |  | The Supplier’s total liability to the Purchaser, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to | All Purchase orders affected The total contract value |  |  |
| 88.5 |  | The end of liability date is | Caped to the maximum bag life for each station after Delivery of the whole of the goods and services. |  |  |
| ## 9 |  | ## Termination and dispute resolution |  |  |  |
| 94.1 |  | The Adjudicator is Address Tel No. Fax No. e-mail | the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him. (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA). 1st Floor Maisels Chambers 4 Protea Place Sandton Map +27 11 320 0600 +27 (11) 320-0533 info@arbitration.co.za |  |  |
| 94.2(3) |  | The Adjudicator nominating body is: | the Chairman of ICE-SA, a Division of the South African Institution of Civil Engineering, or its successor body (See www.ice-sa.org.za) |  |  |
| 94.4(2) |  | The tribunal is: | arbitration |  |  |
| 94.4(5) |  | The arbitration procedure is | the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body. |  |  |
| 94.4(5) |  | The place where arbitration is to be held is | South Africa |  |  |
|  |  | The person or organisation who will choose an arbitrator - if the Parties cannot agree a choice or - if the arbitration procedure does not state who selects an arbitrator, is | the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body. |  |  |
| ## 10 |  | ## Data for Option clauses |  |  |  |
| X1 |  | Price adjustment for inflation | One (1) month prior to delivery |  |  |
| X1.1 |  | The base date for indices is | One (1) month prior to the closing date of the tender and the cut-off date is one (1) month prior to delivery. |  |  |
|  |  | The proportions used to calculate the Price Adjustment Factor are: | The percentage variation in the price/index of the constituent materials between that ruling for the month prior to the month in which the enquiry closed and that price/index for the month prior to each delivery ex works shall be applied to the percentage of the F.O.R. works for the relevant constituent material. The period of 1 month prior to delivery will be used to determine the price/index |  |  |
| X2 |  | Changes in the law |  |  |  |
| X2.1 |  | A change in the law of | The Republic of South Africa is a compensation event if it occurs after the Contract Date |  |  |
| X3 |  | Multiple currencies |  |  |  |
| X3.1 |  | The Purchaser will pay for these items in the currencies stated | TBC |  |  |
| X3.1 |  | The exchange rates are those published in | [●] on [●] (date) |  |  |
|  |  |  | The items will be paid in the other currency - to a foreign Bank account nominated by the Supplier - to a valid SARB approved CFC account in South Africa - in accordance with an alternative payment method agreed with the Purchaser before the Contract Date. |  |  |
| X4 |  | Parent company guarantee | Supplier to provide Performance Bond or Parent Company Guarantee for the duration of the contract |  |  |
| X7 |  | Delay damages |  |  |  |
| X7.1 |  | Delay damages for Delivery are | 1% of the local batch order value caped to a maximum of 15% of the local order value per day |  |  |
| X13 |  | Performance bond |  |  |  |
| X13.1 |  | The amount of the performance bond is | TBC |  |  |
| X17 |  | Low performance damages |  |  |  |
| X17.1 |  | The amounts for low performance damages are: | The Product will be manufactured according to the appropriate Fabric Filter Plant Bag Standard: 240-53113965 and will perform accordingly. Should any variation occur clause 4 will apply. |  |  |
| X20 |  | Key Performance Indicators |  |  |  |
| X20.1 |  | The incentive schedule for Key Performance Indicators is in | SD&L matrix |  |  |
| X20.2 |  | A report of performance against each Key Performance Indicator is provided at intervals of | 3 months |  |  |
| Z |  | The additional conditions of contract are | Z1 to Z12 always apply for Eskom |  |  |
| Z1 | Cession delegation and assignment |  |  |  |  |
| Z1.1 | The Supplier does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Purchaser. |  |  |  |  |
| Z1.2 | Notwithstanding the above, the Purchaser may on written notice to the Supplier cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. |  |  |  |  |
| Z2 | Joint ventures |  |  |  |  |
| Z2.1 | If the Supplier constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Purchaser for the performance of this contract. |  |  |  |  |
| Z2.2 | Unless already notified to the Purchaser, the persons or organisations notify the Supply Manager within two weeks of the Contract Date of the key person who has the authority to bind the Supplier on their behalf. |  |  |  |  |
| Z2.3 | The Supplier does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Purchaser having been given to the Supplier in writing. |  |  |  |  |
| Z3 |  | Change of Broad Based Black Economic Empowerment (B-BBEE) status |  |  |  |
| Z3.1 |  | Where a change in the Supplier’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Supplier’s B-BBEE status, the Supplier notifies the Purchaser within seven days of the change. |  |  |  |
| Z3.2 |  | The Supplier is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Supply Manager within thirty days of the notification or as otherwise instructed by the Supply Manager. |  |  |  |
| Z3.3 |  | Where, as a result, the Supplier’s B-BBEE status has decreased since the Contract Date the Purchaser may either re-negotiate this contract or alternatively, terminate the Supplier’s obligation to Provide the Goods and Services. |  |  |  |
| Z3.4 |  | Failure by the Supplier to notify the Purchaser of a change in its B-BBEE status may constitute a reason for termination. If the Purchaser terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93. |  |  |  |
| Z4 | Ethics |  |  |  |  |
| Z4.1 | Any offer, payment, consideration, or benefit of any kind made by the Supplier, which constitutes or could be construed either directly or indirectly as an illegal or corrupt practice, as an inducement or reward for the award or in execution of this contract constitutes grounds for terminating the Supplier’s obligation to Provide the Goods and Services or taking any other action as appropriate against the Supplier (including civil or criminal action). |  |  |  |  |
| Z4.2 | The Purchaser may terminate the Supplier’s obligation to Provide the Goods and Services if the Supplier (or any member of the Supplier where the Supplier constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations) is found guilty by a competent court, administrative or regulatory body of participating in illegal or corrupt practices. Such practices include making of offers, payments, considerations, or benefits of any kind or otherwise, whether in connection with any procurement process or contract with the Purchaser or other people or organisations and including in circumstances where the Supplier or any such member is removed from the an approved vendor data base of the Purchaser as a consequence of such practice. |  |  |  |  |
| Z4.3 | Notwithstanding the provisions of core clause 90.2, the procedures on termination in terms of this clause are P1, P2 and P3 as stated in the core clause 92 and the amount due is A1 and A3 as stated in core clause 93. |  |  |  |  |
| Z5 | Confidentiality |  |  |  |  |
| Z5.1 | The Supplier does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Supplier, enters the public domain or to information which was already in the possession of the Supplier at the time of disclosure (evidenced by written records in existence at that time). Should the Supplier disclose information to Others in terms of clause 23.1, the Supplier ensures that the provisions of this clause are complied with by the recipient. |  |  |  |  |
| Z5.2 | If the Supplier is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Supply Manager. |  |  |  |  |
| Z5.3 | In the event that the Supplier is, at any time, required by law to disclose any such information which is required to be kept confidential, the Supplier, to the extent permitted by law prior to disclosure, notifies the Purchaser so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure. In the event that such protective order is not, or cannot, be obtained, then the Supplier may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed. |  |  |  |  |
| Z5.4 | The taking of images (whether photographs, video footage or otherwise) of the goods or any portion thereof, in the course of Providing the Goods and Services and after Delivery, requires the prior written consent of the Supply Manager. All rights in and to all such images vests exclusively in the Purchaser. |  |  |  |  |
| Z5.5 | The Supplier ensures that all his subcontractors abide by the undertakings in this clause. |  |  |  |  |
| Z6 | Waiver and estoppel: Add to core clause 12.3: |  |  |  |  |
| Z6.1 | Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Supply Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing. |  |  |  |  |
| Z7 |  | Health, safety and the environment: Add to core clause 25.4 |  |  |  |
| Z7.1 |  | The Supplier undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the provision of the goods and execution of the services. Without limitation the Supplier: - warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of supply and - undertakes, in and about the execution of the supply, to comply with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing. |  |  |  |
| Z7.2 |  | The Supplier, in and about the execution of the supply, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing. |  |  |  |
| Z8 | Provision of a Tax Invoice and interest. Add to core clause 51 |  |  |  |  |
| Z8.1 | Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice in accordance with the Purchaser's procedures stated in the Goods Information, showing the amount due for payment equal to that stated in the payment certificate. |  |  |  |  |
| Z8.2 | If the Supplier does not provide a tax invoice in the form and by the time required by this contract, the time by when the Purchaser is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice. Interest due by the Purchaser in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made. |  |  |  |  |
| Z8.3 | The Supplier (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Purchaser’s VAT number 4740101508 on each invoice he submits for payment. |  |  |  |  |
| Z9 | Notifying compensation events |  |  |  |  |
| Z9.1 | Delete from the last sentence in core clause 61.3 the words, “unless the event arises from the Supply Manager giving an instruction, changing an earlier decision or correcting an assumption”. |  |  |  |  |
| Z10 | Purchaser’s limitation of liability |  |  |  |  |
| Z10.1 | The Purchaser’s liability to the Supplier for the Supplier’s indirect or consequential loss is limited to R0.00 (zero Rand) |  |  |  |  |
| Z10.2 | The Supplier’s entitlement under the indemnity in 83.1 is provided for in 60.1(12) and the Purchaser’s liability under the indemnity is limited. |  |  |  |  |
| Z11 | Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it": |  |  |  |  |
| Z11.1 | or had a business rescue order granted against it. |  |  |  |  |
| Z12 | Addition to secondary Option X7 Delay damages (if applicable in this contract) |  |  |  |  |
| Z12.1 | If the amount due for the Supplier’s payment of delay damages reaches the limits stated in this Contract Data for Option X7, the Purchaser may terminate the Supplier’s obligation to Provide the Goods and Services using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table. |  |  |  |  |
| Z13 Z13.1 | PPPFA Regulation on Subcontracting - Subcontracting of goods and services for fabric filter bags shall be distributed across all preferred groups of BPLD, BYO, BWO and BO suppliers to a minimum of 30% of the contract amount as stipulated in the PPPFA regulations the becomes effective on 01 April 2017. The allocation shall be 5% toward BPwD, 10% towards BWO, 5% towards BYO and 10% towards BO companies. |  |  |  |  |

Annexure A:	Supply Requirements

## The Supply Requirements for this contract are based on the use of INCOTERMS:

The Supplier supplies the goods in accordance with INCOTERMS 2010 as follows:

| Group | Category | Term | Delivery Place |
| --- | --- | --- | --- |
| E | departure | EXW | For the foreign portion |

The Parties obligations described in Incoterms for the category and term selected are now incorporated into this contract as part of the Supply Requirements and hence the Goods Information.

The obligations of seller and buyer for the selected Incoterm determine each Party's costs, risks, and insurance requirements incidental to the supply and transport of the goods from Supplier to Purchaser.

For each of the thirteen terms, Incoterms set out obligations of the seller (the Supplier) in ten paragraphs identified as A1 to A10 and the corresponding obligations of the buyer (the Purchaser) in paragraphs B1 to B10.  These obligations cover the following subjects:

| A | The Supplier’s obligations | B | The Purchaser’s obligations |
| --- | --- | --- | --- |
| A1 | Provision of goods in conformity with contract | B1 | Payment of the price |
| A2 | Licences, authorisations and formalities | B2 | Licences, authorisations and formalities |
| A3 | Contracts of carriage and insurance | B3 | Contracts of carriage and insurance |
| A4 | Delivery | B4 | Taking delivery |
| A5 | Transfer of risks | B5 | Transfer of risks |
| A6 | Division of costs | B6 | Division of costs |
| A7 | Notice to the buyer | B7 | Notice to the seller |
| A8 | Proof of delivery, transport document or equivalent electronic message | B8 | Proof of delivery, transport document or equivalent electronic message |
| A9 | Checking - packing - marking | B9 | Inspection of goods |
| A10 | Other obligations | B10 | Other obligations |

## The Supply Requirements for this contract are as follows:

[Use these when INCOTERMS do not apply].  [Revise and complete as required]

| 1. The requirements for the supply are | [State the constraints on how the Supplier manufactures, prototypes, tests and stores the goods including order and timing] |  |
| --- | --- | --- |
| 2. The requirements for transport are | [State the extent to which the Supplier transports the goods and the mode of transport] |  |
| 3. The delivery place is | [State the location where the goods are to be placed by the Supplier, such as whether it is a dispatch department at the Supplier’s premises, the Purchaser is to collect or other location the Purchaser may require. If the delivery place for the services is different to the goods state it here] |  |
| 4. Actions of the Parties during supply | Action | Party which does it |
|  | Giving notice of Delivery | Supplier |
|  | Checking packing and marking before dispatch | Supplier |
|  | Contracting for transport | Supplier |
|  | Pay costs of transport | Supplier |
|  | Arrange access to delivery place | Purchaser |
|  | Loading the goods | Supplier |
|  | Unloading the goods | Supplier |
| For international procurement | Undertake export requirements | N/A |
|  | Undertake import requirements | Purchaser |
| 5. Information to be provided by the Supplier | Title of document |  |
|  | Packing lists for cases and their contents |  |
|  | Copy of invoice for the goods |  |
|  | Delivery Note |  |
|  | Test results and maintenance manuals |  |
| For international procurement | Licences, authorisations and other formalities associated with export of the goods |  |
|  | Air Waybill or Bill of Lading with associated landing, delivery and forwarding order |  |
|  | The Bill of Entry endorsed by the importation authority |  |
|  | Customs work sheets, showing tax, duties and surcharges which the law of the country into which the goods are being imported requires the importer to pay |  |
|  | Invoice from the importation clearing agent showing airline fees, landing charges, wharfage and dock dues as applicable |  |
|  | Specify other import documents required by authorised officials. |  |

All other information NOT pertinent to the above is given in the balance of the Goods Information

# Annexure B:	Insurance provided by the Purchaser

Transit insurance of goods originating from outside the borders of the Republic of South Africa

For the purpose of supply contracts, the only insurance provided by Eskom (the Purchaser) is transit shipment cover, commonly known as Marine Insurance for air, sea, rail and road freight (including local land arrangements) for conveyance of goods originating outside RSA.   Please consult the website stated below to ascertain whether Format A, Format B or Format Dx is applicable to this contract and then the

- Marine Insurance Policy wording;

- Eskom Shipment Policies and Procedures – note a pre-shipment survey form has to be completed under certain circumstances;

- Marine Claims Handling Procedures – for important shipment actions and claims forms in event of damages to cargo freight via sea, barge, air, road or rail.

For EXW (Ex Works collections) this is of no concern to the Supplier but for any other Supply Requirement (such as CIF, DDU, or DDP) the Supplier need not provide such insurance even if the INCOTERM requires it and tendering suppliers should ‘discount’ their prices when tendering to allow for this provision by the Purchaser (Eskom).

Supplier’s liability for damage to the Purchaser’s property

Whilst this is a liability the Supplier carries and should cover (if he is required to deliver the goods to the Purchaser’s premises) his liability is limited to the amount of cover provided to the Purchaser within his assets policy.  This amount varies depending on the Division within Eskom to which the Supplier is making the delivery.  For any one occurrence or series of occurrences arising out of one event but unlimited during the period of insurance the Supplier’s liability would be:

- R15million for Generation Division projects,

All other insurance

As required by clause 84, the Supplier provides all other insurance for his risks.  The Supplier should give further consideration to providing for these additional insurance concepts [for amounts and periods of insurance the Supplier deems fit and necessary].

Professional  Indemnity: The insurance provided shall indemnify the Supplier (and/or his professional consultant) for those sums which the Supplier or his consultant shall become legally liable to pay as damages arising from any claim first made against the Supplier / consultant and reported to their insurers during the Period of Insurance, directly arising out of any negligent act, error or omission committed or alleged to have been committed by the Supplier / consultant in the conduct of professional services (for example, design) in connection with this contract.

Products Liability: A special General Liability extension for liability arising out of the Supplier’s defective:

- production and manufacturing process (workmanship or material), or

- product design, or

- warnings, instructions, usage and maintenance manuals and specifications.

For any further explanation of insurance requirements tendering suppliers are advised to consult their brokers or insurers who may in turn contact Eskom Insurance Management Services per contact details provided on the following website:

http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_

C1.2 Contract Data

# Part two - Data provided by the Supplier

[Instructions to the contract compiler:  (delete this note before issue to tenderers with an enquiry)

Whenever a cell is shaded in the left hand column it denotes this data is optional and would be required in relation to the option selected.  In the event that the option is not required select and delete the whole row.]

Notes to a tendering supplier:

- Please read both the NEC3 Supply Contract (SC3) and the relevant parts of its Guidance Notes (SC3-GN) in order to understand the implications of this Data which the tenderer is required to complete.

- The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data

- Where a form field like this [     ] appears, data is required to be inserted relevant to the option selected. Click on the form field once and type in the data.  Otherwise complete by hand and in ink.

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

| ## Clause | ## Statement | ## Data |  |  |
| --- | --- | --- | --- | --- |
| 10.1 | The Supplier is (Name): |  |  |  |
|  | Address |  |  |  |
|  | Tel No. |  |  |  |
|  | Fax No. |  |  |  |
| 11.2(8) | The Goods Information for the Supplier’s design is in: | Fabric Filter Plant Bag Standard: 474-12036 |  |  |
| 11.2(11) | The tendered total of the Prices is | R , (in words) |  |  |
| 11.2(12) | The price schedule is in: |  |  |  |
| 11.2(14) | The following matters will be included in the Risk Register |  |  |  |
| 25.2 | The restrictions to access for the Supply Manager and Others to work being done for this contract are |  |  |  |
| 30.1 | The delivery date of the goods and services is: | goods | delivery date |  |
|  |  | As outlined in the Medupi/Kusile Trail Bag Standards and read in conjunction with Eskom Bag Standard | As per Purchase Order |  |
| 31.1 | The programme identified in the Contract Data is contained in: |  |  |  |
| 63.2 | The percentage for overheads and profit added to the Defined Cost is | % |  |  |

C1.3 Forms of Securities

- Pro formas for Bonds & Guarantees

- For use with the NEC3 Supply Contract (SC3)

The conditions of contract stated in the Contract Data Part 1 may include the following Options:

Option X4:	Parent company guarantee

Option X13:	Performance bond

These Options require a bond or guarantee “in the form set out in the Goods Information”.

Pro forma documents for these bonds and guarantees are provided here for convenience but are to be treated as part of the Goods Information.

The organisation providing the bond / guarantee does so by copying the pro forma document onto its letterhead without any change to the text or format and completing the required details.  The completed document is then given to the Purchaser within the time stated in the contract.

# Pro forma Parent Company Guarantee (for use with Option X4)

(to be reproduced exactly as shown below on the letterhead of the Supplier’s Parent Company)

| Eskom Holdings SOC Ltd Megawatt Park Maxwell Drive Sandton Johannesburg | Date: |  |
| --- | --- | --- |

Dear Sirs,

## Parent Company Guarantee for Contract No

With reference to the above numbered contract made or to be made between

| Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Sandton Johannesburg |  | (the Purchaser) and |
| --- | --- | --- |
| [Insert registered name and address of the Supplier] |  | (the Supplier), for |
| [Insert details of the goods and services from the Contract Data] |  | (the goods and services). |
| I/We the undersigned |  |  |
| on behalf of the Supplier’s parent company (name) |  |  |
| of physical address |  |  |

and duly authorised thereto do hereby unconditionally guarantee to the Purchaser that the Supplier shall Provide the Goods and Services in accordance with the above numbered Contract.

- If for any reason the Supplier fails to Provide the Goods and Services, we hereby agree to cause to Provide the Goods and Services at no additional cost to the Purchaser.

- If we fail to comply with the terms of this Deed of Guarantee, the Purchaser may itself procure such performance (whether or not the Agreement be formally determined).  The Purchaser is to notify us and we shall indemnify the Purchaser for any additional cost or expense it incurs.

- Our liability shall be as primary obligor and not merely as surety and shall not be impaired or discharged by reason of any arrangement or change in relationship made between the Supplier and the Purchaser and/or between us and Supplier; nor any alteration in the obligations undertaken by the Supplier or in the terms of the Agreement; nor any indulgence, failure, delay by you as to any matter; nor any dissolution or liquidation or such other analogous event of the Supplier.

- The Purchaser shall not be obliged before taking steps to enforce the terms of this Deed of Guarantee to obtain judgement against the Supplier in any court or other tribunal, to make or file any claim in liquidation (or analogous proceedings) or to seek any remedy or proceed first against the Supplier.

- This Deed of Guarantee shall be governed by and construed in accordance with the laws of the Republic of South Africa and we hereby submit to the non-exclusive jurisdiction of the High Court of South Africa.

| Signed at |  | on this |  | day of |  | 20__ |
| --- | --- | --- | --- | --- | --- | --- |

| Signature(s) |  |  |
| --- | --- | --- |
| Name(s) (printed) |  |  |
| Position in parent company |  |  |
| Signature of Witness(s) |  |  |
| Name(s) (printed) |  |  |

# Pro forma Performance Bond – Demand Guarantee (for use with Option X13)

(to be reproduced exactly as shown below on the letterhead of the Bank providing the Bond / Guarantee)

| Eskom Holdings SOC Ltd Megawatt Park Maxwell Drive Sandton Johannesburg | Bank reference No. |  |
| --- | --- | --- |
|  | Date: |  |

Dear Sirs,

Performance Bond – Demand Guarantee for [insert name of Supplier] required in terms of contract [insert Supplier’s contract reference number or title]

- In this Guarantee the following words and expressions shall have the following meanings:-

| 1.1 | “Bank” means | [Insert name of Bank], [●] Branch, Registration No. [●] |
| --- | --- | --- |
| 1.2 | “Bank’s Address” means | [Insert physical address of Bank] |
| 1.3 | “Contract” means | the written agreement relating to providing the goods and services, entered into between the Purchaser and the Supplier, on or about the [●] day of [●] 200[●] (Contract Reference No. [●]) as amended, varied, restated, novated or substituted from time to time; |
| 1.4 | “Supplier” means | [●] a company registered in accordance with the laws of [●] under Registration No [●]. |
| 1.5 | “Purchaser” means | Eskom Holdings SOC Ltd a company registered in accordance with the laws of the Republic of South Africa under Registration Number [●] |
| 1.6 | “Expiry Date” means | the earlier of - the date that the Bank receives a notice from the Purchaser stating that all amounts due from the Supplier as certified in terms of the contract have been received by the Purchaser and that the Supplier has fulfilled all his obligations under the Contract, or - the date that the Bank issues a replacement Bond for such lesser or higher amount as may be required by the Purchaser. |
| 1.7 | “Guaranteed Sum” means | the sum of R[●], ([●] Rand) |
| 1.8 | “goods and services” means | [insert details from Contract Data part 1] |

- At the instance of the Supplier, we the undersigned ______________ and ______________, in our respective capacities as _____________ and ___________ of the Bank, and duly authorized thereto, confirm that we hold the Guaranteed Sum at the disposal of the Purchaser as security for the proper performance by the Supplier of all of its obligations in terms of and arising from the Contract and hereby undertake to pay to the Purchaser, on written demand from the Purchaser received prior to the Expiry Date, any sum or sums not exceeding in total the Guaranteed Sum.

- A demand for payment under this guarantee shall be made in writing at the Bank’s address and shall:

- be signed on behalf of the Purchaser by a Group Executive, Divisional Executive, Senior General Manager, General Manager or its delegate;

- state the amount claimed (“the Demand Amount’);

- state that the Demand Amount is payable to the Purchaser in the circumstances contemplated in the Contract.

- Notwithstanding the reference herein to the Contract the liability of the Bank in terms hereof is as principal and not as surety and the Bank’s obligation/s to make payment:

- is and shall be absolute provided demand is made in terms of this bond in all circumstances; and

- is not, and shall not be construed to be, accessory or collateral on any basis whatsoever.

- The Bank’s obligations in terms of this Guarantee:

- shall be restricted to the payment of money only and shall be limited to the maximum of the Guaranteed Sum; and

- shall not be discharged and compliance with any demand for payment received by the Bank in terms hereof shall not be delayed, by the fact that a dispute may exist between the Purchaser and the Supplier.

- The Purchaser shall be entitled to arrange its affairs with the Supplier in any manner which it sees fit, without advising us and without affecting our liability under this Guarantee. This includes, without limitation, any extensions, indulgences, release or compromise granted to the Supplier or any variation under or to the Contract.

- Should the Purchaser cede its rights against the Supplier to a third party where such cession is permitted under the Contract, then the Purchaser shall be entitled to cede to such third party the rights of the Purchaser under this Guarantee on written notification to the Bank of such cession.

- This Guarantee:

- shall expire on the Expiry Date until which time it is irrevocable;

- is, save as provided for in 7 above, personal to the Purchaser and is neither negotiable nor transferable;

- shall be returned to the Bank upon the earlier of payment of the full Guaranteed Sum or expiry hereof;

- shall be regarded as a liquid document for the purpose of obtaining a court order; and

- shall be governed by and construed in accordance with the law of the Republic of South Africa and shall be subject to the jurisdiction of the Courts of the Republic of South Africa.

- will be invalid and unenforceable if any claim which arises or demand for payment is received after the Expiry Date.

- The Bank chooses domicilium citandi et executandi for all purposes in connection with this Guarantee at the Bank’s Address.

| Signed at |  | on this |  | day of |  | 20__ |
| --- | --- | --- | --- | --- | --- | --- |

For and on behalf of the Bank

| Bank Signatories(s) |  |  |
| --- | --- | --- |
| Name(s) (printed) |  |  |
| Witness(s) |  |  |
| Bank’s seal or stamp |  |  |

Part 2: Pricing Data

NEC3 Supply Contract

| Document reference | Title | No of pages |
| --- | --- | --- |
| C2.1 | Pricing assumptions | 2 |
| C2.2 | The price schedule | [●] |

C2.1 Pricing assumptions

# How goods and services are priced and assessed for payment

Clause 11 in NEC3 Supply Contract, (SC3) core clauses states:

| Identified and defined terms | 11 11.2 | (11) The Prices are the amounts stated in the price column of the Price Schedule. Where a quantity is stated for an item in the Price Schedule, the Price is calculated by multiplying the quantity by the rate. |
| --- | --- | --- |
|  |  | (12) The Price Schedule is the price schedule unless later changed in accordance with this contract. |
| Assessing the amount due | 50.2 | The amount due is - the Price for each lump sum item in the Price Schedule which the Supplier has completed, - where a quantity is stated for an item in the Price Schedule, an amount calculated by multiplying the quantity which the Supplier has completed by the rate, - plus other amounts to be paid to the Supplier, - less amounts to be paid by or retained from the Supplier. Any tax which the law requires the Purchaser to pay to the Supplier is included in the amount due. |

This confirms that the Supply Contract is a priced contract where the Prices are derived from a list of items of goods and services which can be priced as lump sums or as expected quantities of goods and services multiplied by a rate, or a mix of both.

# Function of the Price Schedule

Clause 53.1 states: “Information in the Price Schedule is not Goods Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price Schedule but in the Goods Information.  This is further confirmed by Clause 20.1 which states, “The Supplier Provides the Goods and Services in accordance with the Goods Information”. Hence the Supplier does not Provide the Goods and Services in accordance with the Price Schedule.   The Price Schedule is only a pricing document.

# Preparing the price schedule

Items in the price schedule may have been inserted by the Purchaser and the tendering supplier should insert any additional items which he considers necessary.  Whichever party provides the items in the price schedule the total of the Prices is assumed to be fully inclusive of everything necessary to Provide the Goods and Services as described at the time of entering into this contract.

It will be assumed that the tendering supplier has

- Read Pages 8, 11, 12 and Appendix 5 of the SC3 Guidance Notes before preparing the price schedule;

- Included in his Prices and rates for correction of Defects (core clause 43.1) as there is no compensation event for this unless the Defect is due to a Supplier’s risk;

- Spread the cost of doing work he chooses not to list as separate items in the price schedule across other Prices and rates in order to fulfil the obligation to Provide the Goods and Services for the tendered total of the Prices;

- Understood that there is no adjustment to lump sum prices in the price schedule if the amount, or quantity, of work within that lump sum item later turns out to be different to that which the Supplier estimated at time of tender. The only basis for a change to the Prices is as a result of a compensation event per clause 60.1;

- Understood that the Supplier does not have to allow in his Prices and rates for matters that may arise as a result of a compensation event.

## Format of the price schedule

Entries in the first four columns in the price schedule in section C2.2 are made either by the Purchaser or the tendering supplier.

If the Supplier is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering supplier enters the amount in the Price column only, the Unit, Quantity and Rate columns being left blank.

If the Supplier is to be paid an amount for the item which is the rate for the item multiplied by the quantity completed, the tendering Supplier enters the rate which is then multiplied by the Quantity to produce the Price, which is also entered.

If the Supplier is to be paid an amount for an item proportional to the length of time for which the goods and services are provided, a unit of time is stated in the Unit column and the length of time (as a quantity of the stated units of time) is stated in the Quantity column.

C2.2 the price schedule

| Medupi PPS (240 bags per trial bag type) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item No. | Description | Unit | Qty | Rate | Price |
| 1.1 | Imported (Foreign Currency Based) |  |  |  |  |
| 1.1.1 | Supply of fibre | kg |  |  |  |
| 1.1.2 | Supply of yarn | m |  |  |  |
| 1.1.3 | Supply of stitch thread | kg |  |  |  |
| 1.1.4 | Supply of Stainless steel for snap band | kg |  |  |  |
| 1.1.5 | Supply of endless ring | ea |  |  |  |
| 1.1.6 | Air-freight/Shipping and Foreign Transport | batch |  |  |  |
| 1.1.7 | Insurance | batch |  |  |  |
| 1.1.8 | Importation | batch |  |  |  |
| 1.1.9 | Other (please specify) |  |  |  |  |
|  | Sub-total Item 1.1a (in foreign currency) |  |  |  |  |
|  | Sub-total Item 1.1b (in rands) |  |  |  |  |
| 1.2 | Local (Rand Based) |  |  |  |  |
| 1.2.1 | Supply of riveted snap band | ea |  |  |  |
| 1.2.2 | Manufacture of fabric & bags | ea |  |  |  |
| 1.2.3 | Supervision & project management | ea |  |  |  |
| 1.2.4 | Quality assurance | ea |  |  |  |
| 1.2.5 | Safety assurance | ea |  |  |  |
| 1.2.6 | General consumables | ea |  |  |  |
| 1.2.7 | Local transport (incl. works to site)/batch delivered to site | batch |  |  |  |
| 1.2.8 | Supply of data books/batch delivered to site | set |  |  |  |
| 1.2.9 | Clearance cost & Freight Charges | batch |  |  |  |
| 1.2.10 | Duty | batch |  |  |  |
| 1.2.11 | Cost of Cover | set |  |  |  |
| 1.2.12 | Other (please specify) |  |  |  |  |
|  | Sub-total for Item 1.2 |  |  |  |  |
| 1 | Total Excluding V.A.T. (Add Item 1.1 + 1.2) |  |  |  |  |

| Kusile PAN (240 bags per trial bag type) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item No. | Description | Unit | Qty | Rate | Price |
| 1.1 | Imported (Foreign Currency Based) |  |  |  |  |
| 1.1.1 | Supply of fibre | kg |  |  |  |
| 1.1.2 | Supply of yarn | m |  |  |  |
| 1.1.3 | Supply of stitch thread | kg |  |  |  |
| 1.1.4 | Supply of Stainless steel for snap band | kg |  |  |  |
| 1.1.5 | Supply of endless ring | ea |  |  |  |
| 1.1.6 | Air-freight/Shipping and Foreign Transport | batch |  |  |  |
| 1.1.7 | Insurance | batch |  |  |  |
| 1.1.8 | Importation | batch |  |  |  |
| 1.1.9 | Other (please specify) |  |  |  |  |
|  | Sub-total Item 1.1a (in foreign currency) |  |  |  |  |
|  | Sub-total Item 1.1b (in rands) |  |  |  |  |
| 1.2 | Local (Rand Based) |  |  |  |  |
| 1.2.1 | Supply of riveted snap band | ea |  |  |  |
| 1.2.2 | Manufacture of fabric & bags | ea |  |  |  |
| 1.2.3 | Supervision & project management | ea |  |  |  |
| 1.2.4 | Quality assurance | ea |  |  |  |
| 1.2.5 | Safety assurance | ea |  |  |  |
| 1.2.6 | General consumables | ea |  |  |  |
| 1.2.7 | Local transport (incl. works to site)/batch delivered to site | batch |  |  |  |
| 1.2.8 | Supply of data books/batch delivered to site | set |  |  |  |
| 1.2.9 | Clearance cost & Freight Charges | batch |  |  |  |
| 1.2.10 | Duty | batch |  |  |  |
| 1.2.11 | Cost of Cover | set |  |  |  |
| 1.2.12 | Other (please specify) |  |  |  |  |
|  | Sub-total for Item 1.2 |  |  |  |  |
| 1 | Total Excluding V.A.T. (Add Item 1.1 + 1.2) |  |  |  |  |

Note:

Suppliers to amend above tables to reflect complete cost of delivery.

Each Trail bag types must be priced individually.

Eskom reserve the option to place order on a per bag type per supplier or in whole or part thereof.

Eskom prefers a turn-key fixed price solution for each trial bag type.

| The total of the Prices |  |
| --- | --- |

Part 3: Scope of Work

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 |
| C3.1 | Purchaser’s Goods Information |  |
| C3.2 | Purchaser’s Goods Information (insert at award stage or delete if not applicable) |  |
|  | Total number of pages |  |

C3.1: Purchaser’s Goods Information

Contents

Part 3: Scope of Work	1

C3.1: Purchaser’s Goods Information	2

1	Overview and purpose of the goods and services	3

2	Specification and description of the goods	7

2.1	Purchaser’s design	28

2.2	Procedure for submission and acceptance of Purchaser’s design	Error! Bookmark not defined.

2.3	Other requirements of the Purchaser’s design	Error! Bookmark not defined.

2.4	Use of Purchaser’s design	Error! Bookmark not defined.

2.5	Manufacture & fabrication	Error! Bookmark not defined.

2.6	Factory acceptance testing (FAT)	29

2.7	Other tests and inspections and commissioning in place of use	29

2.8	Operating manuals and maintenance schedules	35

3	Supply Requirements	35

4	Specification of the services to be provided	Error! Bookmark not defined.

5	Constraints on how the Purchaser Provides the Goods	35

5.1	Programming constraints	35

5.2	Work to be done by the Delivery Date	35

5.3	Marking the goods	35

5.4	Constraints at the delivery place and place of use	35

5.5	Cooperating with Others	35

5.6	Services & other things to be provided by the Purchaser or Purchaser	36

5.7	Management meetings	36

5.8	Documentation control	36

5.9	Health and safety risk management	37

5.10	Environmental constraints and management	37

5.11	Quality	37

5.12	Invoicing and payment	38

5.13	Insurance provided by the Purchaser	38

5.14	Contract change management	38

5.15	Provision of bonds and guarantees	39

5.16	Records of Defined Cost, payments & assessments of compensation events to be kept by the Purchaser	39

6	Procurement	39

6.1	Subcontracting	39

6.1.1	Preferred subPurchasers	39

6.1.2	Limitations on subcontracting	40

6.1.3	Spares and consumables	40

6.1.4	Other requirements related to procurement	Error! Bookmark not defined.

7	List of drawings	40

7.1	Drawings issued by the Purchaser	40

C3.2	Purchaser’s Goods Information	1

Overview and purpose of the goods and services

The manufacture and supply of complete sets of Fabric filter trial bags for the following Power stations Medupi and Ksuile as per the Tables below, in accordance with the attached Medupi and Kusile Trial Bag Specification read in conjunction with the Eskom Fabric Filter Bag Standard, to the final destination on the Delivery Date as indicated in the delivery schedule. The goods furthermore include the supply of all labour, materials, delivery to each station and equipment required for the manufacture and supply of the bags.

Each trial bag type will consists of 240 bags per type per station.

All of the works shall be instructed by means of Purchase Orders issued by the Project Manager Purchaser at any time during the term of the contract.  The Price for each item shall be taken from the Price List.  Technical, quality, and workmanship requirements for the works are described in quality control procedures (QCPs) provided by the Purchaser and accepted by the Project Manager before work is carried out.

- 1.2  Purchaser’s objectives and purpose of the works

The Purchaser’s objectives for this contract include:

- Supply and delivery of fabric filter bags to the station in line with the terms and conditions of this contract

- Ensuring that Eskom accepts and receives high quality filter bags which are reliable, efficient and operating throughout their intended life expectancy.

- Sustaining  and improving the efficient operation of its power station’s emission performance

- Encouraging a long-term commercial relationship with the Purchaser based on mutual trust, commitment to common goals and an understanding of each Party’s expectations and values.  Innovation and open communication shall be encouraged;

- Encouraging the Purchaser to become a world-class and internationally competitive Purchaser of high quality fabric filter plant bags by deploying competent skills and the application of continuous measured productivity and quality improvements;

- Ensuring the application, implementation and development of appropriate filter bag design, manufacturing and testing techniques;

- Developing performance standards which support the Purchaser’s reliability and optimised availability targets;

The Purchaser shall provide adequate resources and engineering capability to support the Purchaser’s objectives.

- 1.3 Interpretation and terminology

- Abbreviations

| Abbreviation | Description |
| --- | --- |
| °C | Degrees Celsius |
| dtex | Decitex |
| FFP | Fabric Filter Plant |
| g/m2 | Gram per square meter |
| g/Nm3 | Gram per normal cubic meter (normalised to 6% O2 on a dry basis at 101.325 kPa & 0 oC) |
| K | Kelvin |
| kPa | Kilo Pascal |

| - m3/m2/minute | Cubic meter per square meter per minute |
| --- | --- |
| Max | Maximum |
| MCR | Maximum Continuous Rating |
| mg/Nm3 | Milligram per normal cubic meter (normalised to 6% O2 on a dry basis at 101.325 kPa & 0 oC) |
| Min | Minimum |
| mm | Millimeter |
| N/cm | Newton per centimetre |
| Nm3 | Normal cubic meter (normalised to 6% O2 on a dry basis at 101.325 kPa & 0 oC) |
| O2 | Oxygen |
| Pa | Pascal |
| PAN | Polyacrylonitrile |
| PI | Polyimide (P84 ®) |
| PPS | Polyphenylene sulphide |

- 2. Management and start up.

- 2.1  Management meetings

Regular meetings of a general nature may be convened and chaired by the Contract  Manager as follows:

| Title and purpose | Approximate time & interval | Location | Attendance by: |
| --- | --- | --- | --- |
| Risk register and compensation events | Monthly on the last Thursday of the month at 09:00 | Purchasers works | Purchaser, Purchaser, Supervisor, and people requested by the Purchaser |
| Overall contract progress and feedback | Monthly on the last Thursday of the month at 09:00 | Purchasers works | Purchaser, Purchaser, Supervisor, and people requested by the Purchaser |

Meetings of a specialist nature may be convened as specified elsewhere in this Goods Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the goods.  Records of these meetings shall be submitted to the Project Manager by the person convening the meeting within five days of the meeting.

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.

- 2.7  Purchaser’s management, supervision and key people

The Purchaser is to provide names of key people responsible for this project as

requested by the project manager.

- 2.11	Bag Life Guarantee

The guarantee period is expected from all Purchasers:

- Medupi PAN minimum 12000 hours and Medupi PPS, PPS/PI minimum 30 000 hours after installation.

- Kusile PAN minimum 18000 hours and Medupi PPS, PPS/PI minimum 30 000 hours after installation.

- All guarantee limitations are to be specifically stated in the tender submission. If viewed as unreasonable by the Purchaser, these submissions will not be considered.

- The Purchaser will factor limitations of guarantee into the life cycle evaluation of each offer.

- 3. Engineering and the Purchaser’s design

- 3.1 Parts of the works which the Purchaser is to design

3.1.1 The Purchaser provides fabric filter bags in accordance with the Product Information, including the design and manufacturing of the fabric and the filter bags to suit the process specifications and the installation onto the existing bag cages and tube plate.

3.1.2 Subject to the Purchase obtaining approval from the DTIC, the Purchaser should give preference ensure the following local representation in the manufacturing of the bags:

- Tubing and cutting to size of the fabric.

- Manufacturing of the cuff and sock components.

- Assembly of the completed bag.

3.1.3 The following products, components, and Purchasers are approved by Eskom.  No other substitutes will be accepted and the Purchaser will provide written assurance as such.

Base Products:

- Polyphenylene sulphide (PPS) – Trade Names: Procon, Torcon or Nexylene

- Polyimide (PI) – Trade Name: P84

- Polyacrylonitirle (PAN) – Trade Names: Ricem or Dolanit

- For the purposes of this trial bag program alternate fibres as contained in the Medupi/Kusile PJFF Trial Bag Specification (474-12144) will be accepted. Any alternate fibres not intended on meeting the objective of the trial bag program will not be considered.

- APPROVED PURCHASERS

    - Fibre Purchasers

The following products, components and Purchasers are approved by Eskom.  No other substitutes will be accepted and Eskom requires written assurance as such.

Products:

      - Polyphenylene sulphide (PPS) – Trade Names: Procon, Huvis, Torcon or Nexylene

      - Polyimide (PI) – Trade Name: P84

      - Polyacrylonitirle (PAN) – Trade Names: AKSA or Dolanit

- The following Purchasers have been approved by Eskom for fabric productions (including the sourcing of component materials)

- Solaft’s Gosford Plant (Australia)

- Andrew Webron’s Lancs Plant (United Kingdom)

- Beier Envirotec’s Pinetown Plant (South Africa)

- BWF’s Offingen Plant (Germany)

- Gutsche’s Fulda Plant (Germany)

- Heimbach’s Duren Plant (Gemrnay)

- Testori’s Milan Plant (Italy)

- Kayser’s Einbeck Plant (Gemrany)

- Filtafelt’s Rosslyn Plant (South Africa)

- Velmet Ovar Plant (Portugal)

- The following suppliers have been approved by Eskom to manufacture bags within the borders of South Africa:

- Beier Envirotec’s Pinetown Plant

- Filtafelt’s Rosslyn Plant

- GI Filtration’s Centurion Plant

- Clear Edge’s Robertsham Plant

- Environmental Dynamic’s Nigel Plant

- Filter Pure’s Kya Sand Plant (limited production capability)

- Envirox Filtration Technologies’ Eastrand Plant

- Eskom reserves the right to add and/or remove to the above list solely at its discretion. No exception to Eskom’s approved list will be accepted. An additional Purchaser to this list will require extensive testing to be undergone and after successful trail evaluation may be considered for inclusion.

# Specification and description of the goods

FILTER BAG FABRICATION

Refer to 474-12144 for details and to be read in conjunction with 240-53113965.

      - GENERAL PPS STANDARD FOR MEDUPI

      - Needle Felt Standard and Cloth Construction

| Fabric construction: | Scrim supported needle felt |
| --- | --- |
| Fibre chemical name: | Polyphenylene sulphide (PPS) – Procon, Huvis, Torcon or Nexylene |
| Weight: | 580 – 620 g/m2 range, 600 g/m2 average |
| Fabric thickness: | Minimum 1.8 mm |
| Sides needled | Both |
| Sewing Thread | Polyphenylene sulphide (PPS) – Procon, Huvis, Torcon or Nexylene |
| Snap band | Riveted/Welded Stainless Spring Steel (Diameter to fit tube plate) |
| Cuff Seal (if applicable) | Endless Rontex Ring (PPS) – Procon, Huvis, Torcon or Nexylene |
| Cuff Material | Polyphenylene sulphide (PPS) – Procon, Huivis, Torcon or Nexylene |
| Foot/Sock Material | Polyphenylene sulphide (PPS) – Procon, Huivis, Torcon or Nexylene |

      - Scrim

| Construction: | The scrim will be woven from Polyphenylene sulphide (PPS) yarns. |
| --- | --- |
| Material: | Polyphenylene sulphide (PPS) – Procon, Huvis, Torcon or Nexylene |
| Yarn type: | Spun staple yarn and/or multifilament |
| Weight: | 175 -185 g/m2 before needling (Loom State) |
| Fibre Dimension: | 2.2 dtex |

      - Batt – Cascade Construction

        - Surface Layer (First Surface Layer – Dust Side)

| Construction: There are four different first surface layer configurations detailed in 474-12144. |  |
| --- | --- |
| Material 1: |  |
| Fibre dimension: |  |
| Weight: |  |
| Material 2: |  |
| Fibre dimension: |  |
| Weight: |  |

        - Support Layer (Second Inner Layer – Dust Side)

| Material: | Polyphenylene Sulphide (PPS) – Procon, Huvis, Torcon or Nexylene |
| --- | --- |
| Fibre dimensions: | 2.2 dtex |
| Weight: | 125 – 135 g/m2 (Before Needling) |

        - Support Batt (Inner Layer – Clean Side)

| Material: | Polyphenylene Sulphide (PPS) – Procon, Huvis, Torcon or Nexylene |
| --- | --- |

| Fibre dimension: | 2.2 dtex |
| --- | --- |
| Weight: | 190 - 200 g/m2 (Before Needling) |

      - Cloth Construction

| Fabric Construction: | Scrim supported needle felt |
| --- | --- |
| Weight: | 580 – 620 g/m2 range, 600 g/m2 average |
| Number of sides needled: | Both sides |

      - Fabric Special Treatments

| Coatings: | Refer to 474-12144 |
| --- | --- |
| Heat Set: | Yes, as Required by Purchaser |
| Singeing: | Yes, as Required by Purchaser |
| Calendaring: | Yes, as Required by Purchaser |

      - Fabric Properties

| Air permeability: | < 10 m3/m2/minute @ 125 Pa |
| --- | --- |
| Elongation: | Warp: max. 6% @ 50 N/cm |
|  | Weft: max. 8 % @ 50 N/cm |
| Bursting strength: | min. 2800 kPa |
| Dimensional stability: (Free shrinkage at 180 °C Dry heat for 24 hrs) | Warp: max. 1.5% Weft: max. 1.5% |
| Tensile strength: | Warp: min. 9 00 N/50mm Weft: min. 1 200 N/50mm |

    - GENERAL PAN/PI STANDARD FOR KUSILE

- Needle Felt Standard and Cloth Construction

| Fabric construction: | Scrim supported needle felt |
| --- | --- |
| Fibre chemical name: | Polyacrylonitrile (PAN – AKSA/Dolanit) |
| Weight: | 580 – 620 g/m2 range, 600 g/m2 average |
| Fabric thickness: | Minimum 1.8 mm |
| Sides needled: | Both |
| Sewing Thread: | Polyacrylonitrile (PAN – Dolanit/AKSA) |
| Snap band: | Riveted/Welded Stainless Spring Steel (Diameter to fit tube plate) |
| Cuff Seal: | Endless Rontex Ring (PAN) – Dolanit/AKSA |
| Cuff Material: | Polyacrylonitrile (PAN) – Dolanit/AKSA |
| Foot/Sock Material | Polyacrylonitrile (PAN) Dolanit/AKSA |

      - Scrim

| Construction: | The scrim will be woven from Polyacrylonitrile (PAN – Dolanit/AKSA) yarns. |
| --- | --- |
| Material: | Polyacrylonitrile (PAN – Dolanit/AKSA) |
| Yarn type: | Spun staple yarn and/or multifilament |
| Weight: | 175 -185 g/m2 before needling (Loom State) |
| Fibre Dimension: | 2.2 dtex |

      - Batt - Cascade Construction

        - Surface Layer (First Surface layer – Dust Side)

| Construction: There are four different first surface layer configurations detailed in 474-12144. |  |
| --- | --- |
| Material 1: |  |
| Fibre dimension: |  |
| Weight: |  |
| Material 2: |  |
| Fibre dimension: |  |
| Weight: |  |

        - Support Batt (Second Inner layer – Dust Side)

| Material: | Polyacrylonitrile (PAN – Dolanit or AKSA) |
| --- | --- |
| Fibre dimensions: | 2.2 dtex |
| Weight: | 120 - 130 g/m2 (Before Needling) |

        - Support Batt (Inner layer – Clean Side)

| Material: | Polyacrylonitrile (PAN – Dolanit or AKSA) |
| --- | --- |
| Fibre dimension: | 2.2 dtex |
| Weight: | 190 - 200 g/m2 (Before Needling) |

      - Cloth Construction

| Fabric Construction: | Scrim supported needle felt |
| --- | --- |
| Weight: | 580 – 620 g/m2 range, 600 g/m2 average |
| Number of sides needled: | Both sides |

      - Fabric Special Treatments

| Coatings: | Refer to 474-12144 |
| --- | --- |
| Heat Set: | Yes, as Required by Purchaser |
| Singeing: | Yes, as Required by Purchaser |
| Calandering: | Yes, as Required by Purchaser |

      - Fabric Properties

| Air permeability: | < 13 m3/m2/minute @ 125 Pa |
| --- | --- |
| Elongation: | Warp: max. 4% @ 50 N/cm Weft: max. 6% @ 50 N/cm |
| Bursting strength: | min. 2800 kPa |
| Dimensional stability: (Free shrinkage at 150 °C dry heat for) | Warp: max. 1.5% Weft: max. 1.5% |
| Tensile strength: | Warp: min. 8 00 N/50mm Weft: min. 8 00 N/50mm |

  - Station Specific Requirements

    - Medupi Power Station

| Process standards |  |
| --- | --- |
| Continuous operating temperature range (FFP): | - 110 °C to 150 °C, |
| Gas volume per unit: | - Maximum 1 250 Am3 /s |
| Flue gas oxygen content: | - 3% - 15% |
| Estimated number of starts per boiler | - 150 per year |
| Mode of Operation | - Base load |
| Inlet dust concentration: | - 25 – 70 g/Nm3 |
| Performance requirements |  |
| Filtration velocity with one cell isolated: | - Maximum 0,020 m/s |
| Filtration velocity with all cells in-service: | - Maximum 0,016 m/s |
| Material Selection: | - PPS/PI |
| Exclusions from standard material standard: | - None |
| Bag drawing number | - Z0088504 (latest revision) |
| Bag length | - 8.24 meters |
| Bag diameter | - 160 mm |
| Required operational hours (max number of bags failing during this period) | - 10 000 (3%) |
| Expected emission limits | - 30 mg/Nm3 |
| Maximum emission limits | - 50 mg/Nm3 |
| Maximum pressure drop | - 2.2 kPa (flange to flange @ MCR with one cell isolated) |

- The Contractor manufactures the bag according to the details shown on drawing No Z0088504 Revision Latest and the cage drawing no. Z0101050 Revision Latest.

- The double circular base and the 100 mm wide reinforcing strip will be off 100% PPS.

- The Filter Bag detail comprises of a 8240 mm x 160 mm diameter bag with one end open with Stainless Steel snap band covered with a felt strip sewn into a woven false hem with 4 rows of stitching to fit cell plate 167 mm diameter x 5 mm thick. The other end is closed with double circular base with exterior base the filter fabric and the interior base 100% PPS plus 100 mm wide reinforcing strip also from 100% PPS treated side outside.

- The snap band joint is to be riveted or induction spot welded.

- The longitudinal seam of the bag shall be triple stitched.

- The stitching thread will be 100% PPS or PTFE

- It is the Supplier’s responsibility to ensure that the bags fit correctly into the tube plate and cages.

- Before bag manufacturing will commence the Supplier will provide a sample bag to the Purchaser for his evaluation and acceptance.

- No manufacturing of bags will commence prior to the Purchaser’s representative receiving, analysing and releasing the fabric following fabric tests done by the Purchaser’s RT&D department.

- The Employer reserves the right to randomly remove the bag filter on the floor for bag compliance analysis.

    - Kusile Power Station

| Process standards |  |
| --- | --- |
| Continuous operating temperature range (FFP): | - 110 °C to 150 °C, controlled at 125 oC |
| Gas volume per unit: | - Maximum 1 250 Am3 /s (excl. Attemperation air) |
| Flue gas oxygen content: | - 3% - 15% |
| Estimated number of starts per boiler | - 150 per year |
| Mode of Operation | - Base load |
| Inlet dust concentration: | - 25 – 70 g/Nm3 |
| Performance requirements |  |
| Filtration velocity with one cell isolated: | - Maximum 0,020 m/s |
| Filtration velocity with all cells in-service: | - Maximum 0,016 m/s |
| Material Selection: | - PAN/PI |
| Exclusions from standard material standard: | - None |
| Bag drawing number | - Z0088504 (latest revision) |
| Bag length | - 8.24 meters |
| Bag diameter | - 160 mm |
| Required operational hours (max number of bags failing during this period) | - 30 000 (3%) |
| Expected emission limits | - 30 mg/Nm3 |
| Maximum emission limits | - 50 mg/Nm3 |
| Maximum pressure drop | - 2.2 kPa (flange to flange @ MCR with one cell isolated) |

- The Contractor manufactures the bag according to the details shown on drawing No Z0088504 Revision Latest and the cage drawing no. Z0101050 Revision Latest

- The double circular base and the 100 mm wide reinforcing strip will be off 100% Homopolymer PAN.

- The Filter Bag detail comprises of a 8240 mm x 160 mm diameter bag with one end open with Stainless Steel snap band covered with a felt strip sewn into a woven false hem with 4 rows of stitching to fit cell plate 167 mm diameter x 5 mm thick. The other end is closed with double circular base with exterior base the filter fabric and the interior base 100% Homopolymer PAN plus 100 mm wide reinforcing strip also from 100% Homopolymer PAN treated side outside.

- The snap band joint is to be riveted or induction spot welded

- The longitudinal seam of the bag shall be triple stitched.

- The stitching thread will be PAN PPS or PTFE.

- It is the Supplier’s responsibility to ensure that the bags fit correctly into the tube plate and cages.

- Before bag manufacturing will commence the Supplier will provide a sample bag to the Purchaser for his evaluation and acceptance.

- No manufacturing of bags will commence prior to the Purchaser’s representative receiving, analysing and releasing the fabric following fabric tests done by the Purchaser’s RT&D department.

- The Employer reserves the right to randomly remove the bag filter on the floor for bag compliance analysis.

3.2.1 The Purchaser operates the plant within the process conditions specified

in paragraph above.

The Purchaser obtains from the Purchaser’s Representative all the relevant and available operating parameters that may have an influence on the performance and life of the offered bags. Unreasonable modification to the existing plant operating procedures to suit the filter bags will not be considered.

3.2.3 Product Guarantee (Applicable to all stations)

Conditions of guarantee are the following:

- The bags may be pre-coated before exposure to flue gases. The pre-coating agent is to be agreed with the bag Purchaser prior to Contract award (Hydrated lime is proposed). The Purchaser states the amount of pre-coating required in the tender submission.

- Routine spare/replacement bags will not be pre-coated.

- The guarantee does not cover damaged bags caused by careless installation or faulty cages if the bags installation and cages manufacturing were performed by third parties.

- The guarantee does not cover damaged bags caused by abrasion related to turbulent flows, sparks or glowing dust particles.

- The guarantee does not cover damaged bags caused by a highly acidic environment if the pH of the tested material is lower than 3.0.

- The guarantee does not cover damaged bags caused by encrustation on the filter bags caused by oil carry-over.

- The guarantee does not cover the removal and disposal of faulty bags (up to a maximum of 2.5% of the total bag installed) or the consequential losses resulting from bag failures. The Purchaser is however responsible for the supply of the replacement bags.

- The guarantees to shrinkage will be limited to not more than 20 mm lift of the bags at 20 000 hours and 30 mm lift of the bags at 25 000 hours. This is only applicable for PAN bags.

The Purchaser shall, at his cost, replace all the bags that fail per each consecutive 1 000 running hours up until the amount in the column “Acceptable failures”. The Purchaser will replace at his own cost all the failed bags per consecutive 1 000 running hours minus the amount indicated in the column “Acceptable failures”[number of bags failed X (guaranteed hours – running hours from installation)/guaranteed hours.

| Hours | Acceptable failures |  | Hours | Acceptable failures |
| --- | --- | --- | --- | --- |
| 0 - 8000 | 0 |  | 24000 - 25000 | 4 |
| 8000 - 9000 | 0 |  | 25000 - 26000 | 5 |
| 9000 - 10000 | 1 |  | 26000 - 27000 | 5 |
| 10000 - 11000 | 1 |  | 27000 - 28000 | 6 |
| 11000 - 12000 | 1 |  | 28000 - 29000 | 7 |
| 12000 - 13000 | 1 |  | 29000 - 30000 | 8 |
| 13000 - 14000 | 1 |  | 30000 - 31000 | 9 |
| 14000 - 15000 | 1 |  | 31000 - 32000 | 11 |
| 15000 - 16000 | 1 |  | 32000 - 33000 | 12 |
| 16000 - 17000 | 2 |  | 33000 - 34000 | 14 |
| 17000 - 18000 | 2 |  | 34000 - 35000 | 16 |
| 18000 - 19000 | 2 |  | 35000 - 36000 | 19 |
| 19000 - 20000 | 2 |  | 36000 - 37000 | 22 |
| 20000 - 21000 | 2 |  | 37000 - 38000 | 25 |
| 21000 - 22000 | 3 |  | 38000 - 39000 | 28 |
| 22000 - 23000 | 3 |  | 39000 - 40000 | 30 |
| 23000 - 24000 | 3 |  |  |  |

General Requirements

The Purchaser provides for the cost for the design, manufacturing and delivery to site of the Fabric Filter Bags according to the general specifications for the main options provided by the Purchaser.

The Purchaser describes fully the fabric filter bag constructions according to the attached “Fabric Filter Information Sheet”. (One sheet for each of the material types per station per unit)

The Purchaser indicates what information about the bag cages is required, and satisfies itself that the manufactured bags are compatible with the existing cages and tube plates.

The Purchaser will award the contract according to cost, net present value, bag life guarantees, life cycle evaluation and technical merit of each offer and past historical performance.

The Purchaser will motivate why the alternative offer(s) is/are more cost and technically effective than the main offer.

The Purchaser will provide bag life guarantees for each offer regarding the number of operating hours of the specific filter bags within the performance requirements mentioned above.

## Purchaser’s design

The Purchaser provides for the cost for the design, manufacturing, and delivery to site of the Fabric Filter Bags according to the general specifications for the main options provided by the Purchaser.

The Purchaser describes fully the fabric filter bag constructions according to the attached “Fabric Filter Information Sheet”. (One sheet for each of the material types per station per unit)

The Purchaser indicates what information about the bag cages is required, and satisfies itself that the manufactured bags are compatible with the existing cages and tube plates.

The Purchaser will award the contract according to cost, net present value, bag life guarantees, life cycle evaluation and technical merit of each offer and past historical performance.

The Purchaser will motivate why the alternative offer(s) is/are more cost and technically effective than the main offer.

The Purchaser will provide bag life guarantees for each offer regarding the number of operating hours of the specific filter bags within the performance requirements mentioned above.

## Factory acceptance testing (FAT)

- Completion, testing, commissioning and correction of Defects

4.6.1  Inspection and Testing of Bags

4.6.2	Samples required for testing

Eskom requires 1 (one) square meter (minimum) of sample fabric for every 10 000 m2 of fabric produced. The certificates detailing full test results carried out on the fabric and scrim to determine compliance with the standard should be included with the fabric sample. For bags that chemically treated/coated, 1 square meter of fabric is required for the pre-treated/coated fabric and 1 square meter of fabric is required for the post treated/coated fabric.

Furthermore, Eskom requires an additional 4 square meters of fabric plus 2 square meters of the raw scrim per unit that will be removed during the bag manufacturing process for compliance evaluation (at random and at discretion). The provision and cost of this additional fabric must be included in the scope of supply in any contract.

Fabric that does not conform to the standard will need to be rejected and new material that conforms to the standard will need to be produced.

Furthermore, the Purchaser make provision for an additional 4 square meters of fabric  plus 2 square meters of the raw scrim per unit that will be removed at the Purchaser’s discretion during the bag manufacturing process for compliance evaluation. The provision and cost of this additional fabric must be included in the scope of supply.

Fabric batches that do not conform to the specification will be rejected. The Purchaser will at his own cost ensure that the non-conforming fabric and bags are replaced within the delivery time frames as specified in the contract.

## Other tests and inspections and commissioning in place of use

Inspection during manufacture

5.2.3.1The Purchaser carries out complete inspection at all stages of fabric and bag manufacture.  The Purchaser repairs defects revealed during the routine quality control checks, provided the Purchaser demonstrates to the Purchaser’s Representative satisfaction that such repairs do not, in any way, lessen the service life and performance of the material.  The Purchaser’s Representative may carry out a random inspection of the fabric and bags during manufacture.

5.2.3.2 The Purchaser submits QA data sheets including test data. The data sheets

must include, as a minimum, the results for measurements of the following

parameters:

Raw Materials:	Certificates of compliance and source of material and periodic batch tests of all components and raw materials.

Fabric Manufacture:	Weight, Thickness, Air permeability, Breaking Strength and % elongation at 50 N/cm and at break, (warp and weft directions) P84 content and the Dimensional Stability (free shrinkage at 150 °C (PAN) or 180 °C (PPS)  over 24 hours, warp and weft).

Bag Manufacture:	Length (under 5 kg tension), flat width and general compliance to Eskom Drawings.

All certificates are to reflect the Eskom order number.

5.2.3.3 Bag Testing Requirements

Raw Materials

Certificates of compliance, source of material and periodic batch tests of all components and raw materials will need to accompany material at all stages.

5.2.3.3.2 Fabric Manufacture

The following items will need to be verified according to the required limits as per section 3.1 and 3.2 depending on the bag material standard.

- Weight

- Thickness

- Air permeability

- Breaking Strength

- Percentage elongation at 50 N/cm and at break (warp and weft directions)

- P84 content (if part of bag material)

- Dimensional Stability

- Microscopic analysis confirming cascade fabric construction.

5.2.3.3.3 Bag Manufacture

The length of the bag, flat width and compliance to bag drawing needs to be verified under a 50N load.

5.2.3.3.4 Labelling and Packaging of bags

Labels that identifies each bag with a colour and/or shape coded tag showing the batch and bag number sewn into the top outer cuff such that it may be linked to all relevant information including the name of any manufacturing Purchaser needs to be attached to newly manufactured bags. No repeatability of tags and numbers will be allowed.

The packaging needs to be clearly marked with the fabric type and order number. Any other relevant information pertaining to the particular shipment should also be marked. Each package contains approximately 10 to 15 bags to facilitate manual handling by one person.

All bags in each package needs to be packed in sealed non-transparent plastic bags. The packaging must clearly differentiate between routine bags and the trial bags.

- Appendix 1: Fabric Filter Bag information sheet

- Fabric Filters Information Sheet

- To be completed for each offer (per trial bag type per station)

| - Company Details |  |  |  |
| --- | --- | --- | --- |
| Company Name |  |  |  |
| Company Address |  |  |  |
| Contact Person |  |  |  |
| Telephone Number |  | Fax Number |  |
| Destination Company |  | Bag Code |  |

| - Bag Dimensions |  |
| --- | --- |
| Length (m) |  |
| Diameter (mm) |  |

| - Physical Characteristics |  |  |
| --- | --- | --- |
| Tensile strength | Warp (N/5cm) |  |
|  | Weft (N/5cm) |  |
| Tearing strength | Warp (N) |  |
|  | Weft (N) |  |
| Bursting strength (kPa) |  |  |
| Air permeability (m3/dm2/s) at 125 Pa |  |  |
| Fabric weight (g/m2) |  |  |
| Fabric thickness (mm) |  |  |
| Elongation at 50N/cm (%) warp and weft |  |  |

| - Snap Band Construction |  |
| --- | --- |
| Material |  |
| Dimensions |  |
| Joining of snap band (i.e., describe the fitting) |  |

| - Cuff and Sock Band Construction |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Material |  |  |  |  |  |  |  |  |  |
| Type of fibres |  |  |  |  |  |  |  |  |  |
| Fibre sizes (denier) |  |  |  |  |  |  |  |  |  |
| Dimensions |  |  |  |  |  |  |  |  |  |
| Weight (g/m2) |  |  |  |  |  |  |  |  |  |
| - Fabric Construction |  |  |  |  |  |  |  |  |  |
| - Scrim |  |  |  |  |  |  |  |  |  |
| Type of fibre |  |  |  |  |  |  |  |  |  |
| Weight (g/m2) |  |  |  |  |  |  |  |  |  |
| Fibre size (denier) |  |  |  |  |  |  |  |  |  |
| Yarn size (no. of fibres) |  |  |  |  |  |  |  |  |  |
| Type of yarn (spun or multifilament) |  |  |  |  |  |  |  |  |  |
| Number of yarns per cm (warp and weft) |  |  |  |  |  |  |  |  |  |
| Type of weave |  |  |  |  |  |  |  |  |  |
| - Batt |  |  |  |  |  |  |  |  |  |
| Number of layers |  |  |  |  |  |  |  |  |  |
| - Surface batt |  |  |  |  |  |  |  |  |  |
| Type of fibres |  |  |  |  |  |  |  |  |  |
| Fibre sizes (denier) |  |  |  |  |  |  |  |  |  |
| Weight of fibres in layer |  |  |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |  |  |
| - Second layer (if applicable) |  |  |  |  |  |  |  |  |  |
| Type of fibres |  |  |  |  |  |  |  |  |  |
| Fibre sizes (denier) |  |  |  |  |  |  |  |  |  |
| Weight of fibres in layer |  |  |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |  |  |
| - Inside batt |  |  |  |  |  |  |  |  |  |
| Type of fibres |  |  |  |  |  |  |  |  |  |
| Fibre sizes (denier) |  |  |  |  |  |  |  |  |  |
| Weight of fibres in layers |  |  |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |  |  |
| - Fabric Surface Finish |  |  |  |  |  |  |  |  |  |
| Heat setting |  |  |  |  |  |  |  |  |  |
| If yes, describe in detail (temperature, dwell time) |  |  |  |  |  |  |  |  |  |
| Coatings |  |  |  |  |  |  |  |  |  |
| If yes, describe in detail (type) |  |  |  |  |  |  |  |  |  |
| Singed |  |  |  |  |  |  |  |  |  |
| If yes, describe in detail (time and type of exposure) |  |  |  |  |  |  |  |  |  |
| Calendered |  |  |  |  |  |  |  |  |  |
| If yes, describe in detail (temperature. pressure, speed) |  |  |  |  |  |  |  |  |  |
| - Dimensional Stability |  |  |  |  |  |  |  |  |  |
| Shrinkage in both directions (%) 150C (for PAN) or 180oC (for PPS) over 24 hours |  |  | Warp |  |  |  |  |  |  |
|  |  |  | Weft |  |  |  |  |  |  |
| - Sewing Tread |  |  |  |  |  |  |  |  |  |
| Type |  |  |  |  |  |  |  |  |  |
| - Are the bags… |  |  |  |  |  |  |  |  |  |
| Thermowelded |  |  | Stitched |  |  |  |  |  |  |

- List of drawings

- Drawings issued by the Employer

This is the list of drawings issued by the Employer at or before the Contract Date and which apply to this contract.

Note:  Some drawings may contain both Works Information and Site Information.

APPENDIX  2 (see above)

| Drawing number | Revision | Title |
| --- | --- | --- |
|  |  | Refer to bag drawings number listed in Section 3.1.4 above ) and the Eskom Bag Standard. |

- C3.2	Contractor’s Works Information

This section of the Works Information will always be contract specific depending on the nature of the works. It is most likely to be required for design and construct contracts where the tendering contractor will have proposed specifications and schedules for items of Plant and Materials and workmanship, which once accepted by the Employer prior to award of contract now become obligations of the Contractor per core clause 20.1. Typical sub headings could be a) Contractor’s design b) Plant and Materials specifications and schedules c) Other

Delivery schedule

As per the agreement reached between the Purchaser, the Central Project Manager and the relevant Power Station Project Manager.

## Operating manuals and maintenance schedules

# Supply Requirements

The Supply Requirements for this contract are in an Annexure to the Contract Data provided by the Purchaser.

# Constraints on how the Purchaser Provides the Goods

## Programming constraints

The Purchaser delivers all bags to site as per the required delivery schedule. The Purchaser provides manufacturing and delivery schedules.

The Purchaser submits to the Purchaser’s Representative the Quality Management documentation as follows:

- Contract Quality Plan Included in Tender

- Proposed Inspection and Test Plan Included in Tender

- QA/QC procedure for approval Prior to manufacturing commencement

- QA data sheets for fabric manufacture for each batch one week before bag

manufacturing starts

- QA data sheets for bags manufacture with bag delivery

- The Purchaser compiles a Delivery Schedule in liaison with the Purchaser’s

Representative.

- The Purchaser submits to the Purchaser’s Representative the Delivery

- Schedule, Accepted Programme and subsequent revisions on hard copy, as well as a software copy. The software package is Microsoft compatible (e.g. MS Project etc).

## Work to be done by the Delivery Date

Clause 11.2(5) defines Delivery as when the Purchaser has done all the work which the Goods Information states he is to do by the Delivery Date. The defined term “Delivery” is used in this contract to identify when a stage, or amount of work has been achieved. This may be more than the common meaning of “delivery” and could include the passing of specified tests, provision of documentation and packing and preparation for air freight or shipping to the Purchaser’s nominated Delivery Place specified in the Supply Requirements. Either list here what has to be done in order to constitute “Delivery”, or list what may remain undone and be completed after the Delivery Date by stating that everything else must be done before Delivery.

## Marking the goods

## Constraints at the delivery place and place of use

## Cooperating with Others

Although not a direct requirement of the conditions of contract if the Purchaser is aware of the Purchaser’s need to co-operate with Others (for example where the supply is to one of the Purchaser’s on a project or design of the goods needs to be discussed with Others) details could be given here.

## Services & other things to be provided by the Purchaser or Purchaser

Clause 23.2 requires that the Goods Information state what services and other things are to be provided by the Parties, each to the other as part of the supply process. This has nothing to do with the services identified in the Contract Data. It would include temporary services and things needed to facilitate the supply, such as cranes provided by the Purchaser for offloading of the goods.

## Management meetings

The conditions of contract (e.g. Clause 16.2) require and other sections of the Goods Information (e.g. safety risk management) may require (mandate) that a meeting shall be held.  However the intention of all NEC contracts is that the Parties and their agents use the techniques of partnering to manage the contract by holding meetings designed to pro-actively and jointly manage the administration of the contract with the objective of minimising the adverse effects of risks and surprises for both Parties.

Depending on the complexity of the goods, it is probably beneficial for the Supply Manager to hold a regular risk register meeting (Clause 16.2).  This could be used to discuss safety, compensation events, subcontracting, overall co-ordination and other matters of a general nature.  Separate meetings for specialist activities such as programming, engineering and design management, may also be warranted.

Describe here the general meetings and their purpose. Provide particulars of approximate times, days, location, and attendance requirements, stipulating that attendees shall have the necessary delegated authority to make decisions in respect of matters raised at such meetings.

The right to hold specialist meetings should be stated generically and in such a way that ambiguity with other parts of the Goods Information is avoided.

The following text could be used as a model for this section:

Regular meetings of a general nature may be convened and chaired by the Supply Manager as follows:

| Title and purpose | Approximate time & interval | Location | Attendance by: |
| --- | --- | --- | --- |
| Risk register and compensation events | Weekly on ________ at ___ |  |  |
| Overall contract progress and feedback | Monthly on _____ at ___ |  | Purchaser, Purchaser, and ___ |

Meetings of a specialist nature may be convened as specified elsewhere in this Goods Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the manufacture of the goods.  Records of these meetings shall be submitted to the Supply Manager by the person convening the meeting within five days of the meeting.

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.

## Documentation control

The Purchaser carries out complete inspection at all stages of fabric and bag manufacture.  The Purchaser repairs defects revealed during the routine quality control checks, provided the Purchaser demonstrates to the Purchaser’s Representative satisfaction that such repairs do not, in any way, lessen the service life and performance of the material.  The Purchaser’s Representative may carry out a random inspection of the fabric and bags during manufacture. As a minimum every 50th bag must be checked thoroughly using the developed bag inspection sheet during the manufacturing and records to be kept by the Purchaser and included in the data books.

The Purchaser submits QA data sheets including test data. The data sheets must include, as a minimum, the results for measurements of the following parameters:

Raw Materials: Certificates of compliance and source of material and periodic batch tests of all components and raw materials.

Fabric Manufacture: Weight, Thickness, Air permeability, Breaking Strength and % elongation at 50 N/cm and at break (warp and weft directions), P84 content and the Dimensional Stability (free shrinkage at 150 °C (PAN) or 180 °C (PPS)  over 24 hrs, warp and weft).

Bag Manufacture: Length (under 5 kg tension), flat width and general compliance to Eskom Drawings.

All certificates are to reflect the Eskom order number.

## Health and safety risk management

When required to work on Site, the Employer’s safety file requirements shall be fulfilled by the Contractor.

The Purchaser shall comply with the health and safety requirements [stated here or contained in Annexure ___________ to this Goods Information].

## Environmental constraints and management

When required to work on Site, the Employer’s environmental management requirements shall be adhered to by the Contractor.

## Quality

The Purchaser assures that they comply with the ISO 9001 Quality Management System.

The Contract Quality Plan (CQP) as well as a proposed Inspection and Test Plan (ITP) in strict compliance with the product specification is to be submitted with the Tender.

The Quality Assurance (QA) data sheets for fabric are provided at least one week before the bag manufacturing commences.

The QA data sheets for bag manufacture will be provided with the bag delivery.

The Purchaser will inspect the quality of the fabric according to the following Eskom Research and Strategy testing methods:

| METHOD | - ESKOM NUMBER | - EQUIVALENT STANDARD |
| --- | --- | --- |
| Tearing Strength | 62P4004 | EN 29073-3 |
| Air Permeability | 62P4002 | EN ISO 9237 / DIN 53887 |
| Bursting Strength | 62P4003 | DIN 53861 |
| Breaking Strength | 62P4005 | EN 29073-3 |
| Thermal Stability | To be advised | UNI 8279/12 |
| P84 Content | To be advised |  |
| Area Weight | - | EN 12127 |
| Thickness | - | EN ISO 9073-2 |

The Purchaser can view and discuss these methods or other applicable testing methods prior to contract award in order to agree about their suitability with the Purchaser’s Representative.

All raw materials (i.e. fibre, thread, seals, etc) must come with certificates of compliance.

The data books will also include the details of the tags and numbers with complete traceability to the fabric slit width roll number.

## Invoicing and payment

Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Purchaser provides the Purchaser with a tax invoice showing the amount due for payment equal to that stated in the Supply Manager’s certificate.

The Purchaser shall address the tax invoice to Purchaser and include on each invoice the following information:

- Name and address of the Purchaser and the Supply Manager;

- The contract number and title;

- Purchaser’s VAT registration number;

- The Purchaser’s VAT registration number.

- Description of goods and services provided for each item invoiced based on the Price Schedule;

- Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

- (add other as required)

Purchasers to be paid according to Eskom’s payment terms which is 30 days after receipt of valid tax invoice

Invoices to be delivered to Eskom’s Document Centres

The Purchaser provides the Purchaser with a correct tax invoice showing the amount due for payment equal to that stated in the purchase order including the price adjustment as per clause X1.1.

## Insurance provided by the Purchaser

- SC3 Core Clause 84 applies

## Contract change management

Any verbal instruction/communication must the backed with a written instruction, the use of minutes, letters or e mails is accepted

## Provision of bonds and guarantees

The Purchaser may withhold payment of amounts due to the Purchaser until the bond or guarantee required in terms of this contract has been received and accepted by the person notified to the Purchaser by the Supply Manager to receive and accept such bond or guarantee.  Such withholding of payment due to the Purchaser does not affect the Purchaser’s right to termination stated in this contract.

## Records of Defined Cost, payments & assessments of compensation events to be kept by the Purchaser

Refer core clause 11.2 (4) and 63 of the NEC3 Supply Contract (SC3)

- Purchaser’s design

- Refer core clause 21 of the NEC3 supply contract (SC3)

- Other requirements of the Purchaser’s design

- Refer core clause 21 of the NEC3 supply contract (SC3)

- Use of Purchaser’s design

- Refer to specifications

- Operating manuals and maintenance schedules

- Refer to specifications and Purchase Oder

# Procurement

## Subcontracting

### Preferred sub-Purchasers

Subcontracting of goods and services for fabric filter bags shall be distributed across all preferred groups of BPLD, BYO, BWO and BO Purchasers to a minimum of 30% of the contract amount as stipulated in the PPPFA regulations the becomes effective on 01 April 2017.  The allocation shall be 5% toward BPwD, 10% towards BWO, 5% towards BYO and 10% towards BO companies. Purchasers must focus on these preferred groups to be their enterprise development candidates in the core business of supplying fabric filter bags.

### Limitations on subcontracting

Refer to the SD&L Requirements attached to the Invitation to Tender

### Spares and consumables

Eskom will from time to time request urgent requirements in a form of additional requirements from Purchaser over and above the forecast shared with the Purchaser during contract duration.

# List of drawings

## Drawings issued by the Purchaser

As per Fabric Filter Plant Bag Standard: 240-53113965

This total is required by the Purchaser for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.

Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902, www.ecs.co.za.

International Chamber of Commerce, Incoterms 2010, Paris, January 2011

Either April 2013 or December 2009 Edition as stated by Purchaser in Contract Data part 1.

Available from Engineering Contract Strategies Tel 011 803 3008, Fax 086 539 1902, or www.ecs.co.za