## Gate Keepers
CONTRACT GATE KEEPERS
Mandatory Technical Criteria Description | Reference to Technical Specification/Tender | Motivation for use of Criteria
1. ISO 3834 Certification | Returnable: Certified copy of at least ISO 3834-4 certification | Requirement in the 240-106628253;
Standard for Welding Requirements on
Eskom Plant
2. CIDB (7ME) | Returnable: Copy of the certificate | Requirement in CIDB

## Technical Criteria
PF BURNER, DUCTING & DAMPER REPAIR CONTRACT TECHNICAL EVALUATION CRITERIA
Weight (%) | Sections | Criteria Evaluation Indicator | Minimum Criteria Evaluation Requirements | Source | % | Score |  |  |  |  | Score
[6 empty] | Floor (0) | Kick in (1) | Average (2) | Strech (3) | Ceiling (4) | %
|  | Gate Keepers | 100%
100% | Gate Keepers | ISO 3834 Certification | Company must have a valid ISO 3834-4 certification. | Provide certified copies of qualifications of Not older than 3 months from the date of closure of the tender and CV with references. Certfied copies older than 3 months will not be considered. | 100% | No proof attached = 0 | Certified copy of ISO 3834-4 certification |  |  |  |  | #REF!
|  | ISO 9606 Welder Certification | Welders must be ISO 9606 certified | Provide certified copies of Not older than 3 months from the date of closure of the tender and CV with references. Certfied copies older than 3 months will not be considered. | 100% | No proof attached = 0 | Provide copies of certified welders
|  | BS EN ISO 15614-1 | Certified copy steel welding procedure approved by a registered IWE or IWT | Provide certified copies of Not older than 3 months from the date of closure of the tender and CV with references. Certfied copies older than 3 months will not be considered. | 100% | No proof attached = 0 | Provide certified copies of steel welding procedure approved IWE or IWT.
|  | Tender Documents | All submitted documents must be clearly labelled with relevant dividers and appear in the order laid out in the tender criteria. A Contents page must be attached. | Documents must be clearly labelled with a divider immediately before the document appears. Documents must appear in order of the technical criteria as laid out in the tender document, with an accompanying Contents page. If a document pack is split over multiple files, the files must each be correctly labelled and have their own individual contents pages. | 100% | Documents not in correct order = 0 | Documents in correct order and labelled
|  | TOTAL SCORES FOR GATE KEEPERS | [8 empty] | 0
SECTION 1: TECHNICAL REQUIREMENTS
100% | Technical Criteria | Company Profile Documents Previous Experience | Company: (40%) |  | 100% | GUIDELINE NOTES |  |  |  |  | 0%
|  | Industry experience | At least 3 years+ experience in power plant industry and 80% of activities must be industry related business. | Company to provide company profile showing when the company was established and registered, and all the fields the company specialises in. | 5% | No industrial experience | Up to 1 year industrial experience | 1 year or more industrial experience | 2 years or more industrial experience | 3 years or more industrial experience
|  | Traceable Evidence of Projects Completed | At least 4 projects completed which are related to the ducting repairs with a contactable reference for each project | Company to provide company profile showing previous jobs and Proof of completion certificates with a contactable reference for each project | 5% | No / Incomplete company profile / proof of completion certificates and / or no contactable references | 1 Project with a contactable reference | 2 Projects with 2 contactable references | 3 Projects with 3 contactable references | 4 Projects with 4 contactable references
|  | Methodology | Provide a written methodology statement which categorically indicates how the execution of the inspections and repair work will be carried out with specific references to the adjoining determinants outlined. | The methodology should clearly address the scope that has been provided by the Employer and must include the following processes: 1) Inspection, rigging and repairs . 2) How PF erosion of metal surfaces and mechanical damage or fatigue due to heat will be dealt with during repairs. Consider scenarios where 1. Localized erosion is evident, 2. Distributed erosion is evident, 3. Holes are evident, 4. Deformation and/or ovality is evident. Chrome cast or patch work is evident. The methodology should clearly cover nature of defects stated above. 3) How at least 3 specific components will be inspected and replaced at regular intervals or after failure. | 80% | No Methodology provided | Methodology Incomplete (It covers less than 60% both processes and components) | Methodology Incomplete (It covers above 60% but less than 100% of both processes and components) | Methodology Incomplete (It covers 100% of one section (either processes/ components and above 60% and less than 100% of the other section) | Methodology clearly addresses 100% of processes and 100% of components
|  | Risk management | The Service Provider must have a comprehensive operational risk management process. | Company to provide a 5 step risk management document /procedure which clearly addresses the scope that has been provided by the Employer with particular attention given to environments with gas and dust. | 10% | No document provided | Incomplete Risk management procedure (Procedure covers less than 60% of the contenet) | Adequate Risk management procedure (Procedure covers more than 60% but less than 80% of the content) | Satisfactory risk management procedure (Procedure covers more than 80% but less than 90% of the content) | Comprehensive 5 step risk management procedure covering above 90% of the content
|  | Company Profile Document and other evidence | Technical Staff: (60%) |  | 100% | [5 empty] | 0%
|  | Company organogram | Company organogram must reflect the current status of company | Provide signed Site Specific Company Organogram which includes positions and names. | 4% | No organogram or incomplete | Only company organogram signed, not site related | Company organogram signed but site related organogram not signed | Company organogram and site related organogram signed with only positions related | Company organogram and site related organogram signed with specific names related to positions
|  | Site Manager | Minimum Qualifications: Technical Diploma or trade test and equivalent Supervisory experience of at least five (5) years site supervisor | Provide certified certificate of qualifications and CV with contactable reference. CV to demonstrate ability to manage welding and fabrication activities or PF Burner and ducting maintenance or similar maintenance activities. | 4% | No attached or incomplete CV | Only CV attached | Attached CV and certified Qualifications with experience of less than three (3) years | Attached CV and certified Qualifications with experience of less than five (5) years | Attached CV and certified Qualifications with experience of more than five (5+) years
|  | 2 X Supervisor | Minimum Qualifications: Mechanical Diploma or mechanical trade test and equivalent Supervisory experience of at least three (3) years as a site supervisor | Provide certified certificate of qualifications and CV with contactable reference. CV to demonstrate ability to manage welding and fabrication activities or similar maintenance activities. | 10% | No attached or incomplete CV | Only CV attached | 2 Attached CVs and certified Qualifications with supervisory experience of less than one (1) years | 2 Attached CVs and certified Qualifications with supervisory experience of less than three (3) years | 2 Attached CVs and certified Qualifications with supervisory experience of more than five (3+) years
|  | 9 X Plater/Boilermaker | Qualified Boilermakers and at least two (2) years experience as a welder. | Provide certified copies of qualifications of Not older than 3 months from the date of closure of the tender and CV with references. Certfied copies older than 3 months will not be considered. | 15% | No CV's and Qualifications for the boilermaker's attached | Attached CV's but only two boilermakers meet the requrements | Only five boilermakers meet the requirements with complete CV's and certified certificates submitted | Only seven boilermakers meet the requirements with complete CV's and certified certificates submitted | All nine boilermakers meet the requirements with complete CV's and certified certificates submitted
|  | 2 X Quality Controller (Mechanical) | Mnimum Qualification: Only Level 2 SAIW Qualification with at least 2 years Experience. | Provide certified copies of qualifications and CV with references. Proof of registration or confimation letter. | 15% | No CV and qualifications attached | Only CVs attached and qualification attached with no experience | Only one CV with relevant experience and certified copies of Qualifications attached | Two CVs and certified copies of qualifications attached. One with relevant experience and and the other with less than two years experience | All two CVs with relevant experience and certified copies of Qualifications attached
|  | 6 X Welders | Qualified Class B Welders and at least two (2) years experience as a welder. | Provide certified copies of qualifications of Not older than 3 months from the date of closure of the tender and CV with references. Certfied copies older than 3 months will not be considered. | 15% | No CV's and Qualifications for the welders attached | Attached CV's but only two welders meet the requrements | Only three welders meet the requirements with complete CV's and certified certificates submitted | Only four welders meet the requirements with complete CV's and certified certificates submitted | All six welders meet the requirements with complete CV's and certified certificates submitted
|  | 9 X Mechanical Fitter | Qualified Mechanical Artisans and at least two (2) years experience as a fitter. | Provide certified copies of qualifications of Not older than 3 months from the date of closure of the tender and CV with references. Certified copies older than 3 months will not be considered. | 15% | No CV's and Qualifications for the mechanical fitters attached | Attached CV's but only two mechanical fitters meet the requirements | Only five mechanical fitters meet the requirements with complete CV's and certified certificates submitted | Only seven mechanical fitters meet the requirements with complete CV's and certified certificates submitted | All nine mechanical fitters meet the requirements with complete CV's and certified certificates submitted. |  | 0
|  | Safety Officer | Safety officer with SAMTRAC and Safety related Experience of at least two (2) years. Registered or in a process with SACPCMP as Construction Health & Safety Officer. Alternatively, relevant safety officer experience on a similar plant in heavy industry. | Provide certified certificate of qualifications, SACPCMP Construction Health & Safety Officer registration and CV with contactable reference. | 10% | No attached or incomplete CV | Only CV attached | Only Qualifications attached (SAMTRAC and SACPCMP as Construction Health & Safety Officer.) | CV and Quallification attached (SAMTRAC and SACPCMP as Construction Health & Safety Officer.), without registration. Or less than 2 years experience on an equivalent plant. | Qualifications (SAMTRAC and SACPCMP as Construction Health & Safety Officer.), CV and Proof of Registration Attached and more than two (2+) years experience on an equivalent plant..
|  | Quality Documents | Quality control document applicable to the SOW and showing control process or procedure and a typcal QCP to be used during execution of the SOW for various components of the plant appearing in the SOW. | Attached quality control documentation and QIP (Quality Inspection Plan) for various equipment or components. E.g. ducting, impeller etc. (minimum of 4 components) | 10% | Not attached | 1 QCP template submitted | 2 QCP templates submitted | 3 QCP templates submitted | 4 QCP templates submitted
|  | CIDB (7ME) | CIDB Registration | Provide certified copies of certificate, or proof of equivalent grade projects completed. | 2% | No proof attached | No certificate attached, proof of project below CIDB (7ME) | No certificate attached, proof of project at or above CIDB (7ME) | Registration certificate attached but not certified | Certified registration certificate attached.
|  | TOTAL SCORES FOR TECHNICAL | [8 empty] | 0%
TAKE NOTE: ONLY TECHNICAL SUITABLE IF TOTAL TECHNICAL SCORE (L27) IS ≥75% AND GATE KEEPER SCORE (L9) IS 4 | [10 empty] | No
| Compiled by: | E. Ebrahim
| Designation: | System Engineer
| Date: | 10-05-2022
Signature: