## Technical Schedule
Technical Schedules A and B for
0632881, CABLE,ELECT:230 V ;XLPE ;2C ;6 MM2
Schedule A: Purchasers specific requirements
Schedule B: Guarantees and technical particulars of equipment offered
1 | 2 | 3 |  |  | 4 | 5
Item | Sub-clause | Description |  |  | Schedule A | Schedule B
1 |  | Quantity of cable required
2 |  | Approximate length per drum |  | m | 500m
3 |  | Approximate mass per drum |  |  | xxxx
4 | 3.2.1 | Phase core
|  | -Material |  |  | xxxx
|  | -size |  | mm² | 6
|  | -no of Copper strands/ tinned hard drawn |  |  | 6
|  | -no of GSW |  |  | 1
|  | -size of Copper strands |  | mm² | xxxx
|  | -size of GSW strands |  | mm² | xxxx
|  | Insulation material |  |  | XLPE
| 3.2.1 | Insulation thickness |  | mm | xxxx
|  | Communication cores (stranded) |  |  | xxxx
|  | Tolerance +- mm |  | mm | xxxx
| 3.5 | Resistance at 20degC |  | ohm | xxxx
5 | 3.2.1 | Neutral earth conductor
|  | Size of tinned anneal copper strands |  | mm² | xxxx
|  | Size of GSW strands |  | mm² | xxxx
|  | Material |  |  | xxxx
|  | Number of Copper stands |  |  | xxxx
|  | Number of GSW strands |  |  | xxxx
6 | 3.3 | Thickness of outer sheath mm |  |  | xxxx
7 | 3.3 | Overall diameter of cable mm |  |  | xxxx
|  | Tolerance +- mm |  | mm | xxxx
8 |  | Nominal mass of cable |  | kg/km | xxxx
9 | 3.4 | Minimum bending radius of cable |  | mm | xxxx
10 | 3.5 | Continuous current rating at 90degC
|  | -in air (in direct sunlight) at 30degC |  | A | xxxx
|  | -underground at 25degC |  | A | xxxx
11 | 3.5 | Dielectric resistance at 20degC |  | Mohm.km | xxxx
12 |  | Sequential marking on cable and length marking shown on drum label |  |  | Yes / No
| 4 | Did the cable pass the adherence of sheath to concentric layer test |  |  | xxxx
13 | 5 | Method of indication on cable |  |  | xxxx
14 |  | Does the cable comply fully with this specification, If not, state exceptions |  |  | xxxx
Deviations to be noted on the next sheet
SUPPLIER SIGNATURES
|  |  | Name (Print) |  |  | Company Name
|  | Sign |  |  |  | Date

## Deviation Schedule
Deviation Schedule for
0632881, CABLE,ELECT:230 V ;XLPE ;2C ;6 MM2
Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective that that specified by Eskom.
Item | Clause | Description of Deviation
SIGNATURES
SUPPLIER SIGNATURES
Name (Print) |  |  | Company Name
Sign |  |  | Date