Part 3: Scope of Work

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 |
| C3.1 | Employer’s Service Information |  |
| C3.2 | Contractor’s Service Information (insert at award stage or delete if not applicable) |  |
|  | Total number of pages |  |

C3.1: Employer’s service Information

Contents

Part 3: Scope of Work	1

C3.1: Employer’s service Information	2

1	Description of the service	4

1.1	Executive overview	4

1.2	Employer’s requirements for the service	4

1.3	Interpretation and terminology	4

2	Management strategy and start up.	5

2.1	The Contractor’s plan for the service	5

2.2	Management meetings	5

2.3	Contractor’s management, supervision and key people	6

2.4	Provision of bonds and guarantees	6

2.5	Documentation control	6

2.6	Invoicing and payment	6

2.7	Contract change management	6

2.8	Records of Defined Cost to be kept by the Contractor	7

2.9	Insurance provided by the Employer	7

2.10	Training workshops and technology transfer	7

2.11	Design and supply of Equipment	7

2.12	Things provided at the end of the service period for the Employer’s use	7

2.12.1	Equipment	7

2.12.2	Information and other things	7

2.13	Management of work done by Task Order	8

3	Health and safety, the environment and quality assurance	9

3.1	Health and safety risk management	9

3.2	Environmental constraints and management	9

3.3	Quality assurance requirements	9

4	Procurement	10

4.1	People	10

4.1.1	Minimum requirements of people employed	10

4.1.2	BBBEE and preferencing scheme	10

4.1.3	Accelerated Shared Growth Initiative – South Africa (ASGI-SA)	10

4.2	Subcontracting	10

4.2.1	Preferred subcontractors	10

4.2.2	Subcontract documentation, and assessment of subcontract tenders	10

4.2.3	Limitations on subcontracting	11

4.2.4	Attendance on subcontractors	11

4.3	Plant and Materials	11

4.3.1	Specifications	11

4.3.2	Correction of defects	11

4.3.3	Contractor’s procurement of Plant and Materials	11

4.3.4	Tests and inspections before delivery	11

4.3.5	Plant & Materials provided “free issue” by the Employer	12

4.3.6	Cataloguing requirements	12

5	Working on the Affected Property	13

5.1	Employer’s site entry and security control, permits, and site regulations	13

5.2	People restrictions, hours of work, conduct and records	13

5.3	Health and safety facilities on the Affected Property	13

5.4	Environmental controls, fauna & flora	13

5.5	Cooperating with and obtaining acceptance of Others	13

5.6	Records of Contractor’s Equipment	13

5.7	Equipment provided by the Employer	14

5.8	Site services and facilities	14

5.8.1	Provided by the Employer	14

5.8.2	Provided by the Contractor	14

5.9	Control of noise, dust, water and waste	14

5.10	Hook ups to existing works	14

5.11	Tests and inspections	14

5.11.1	Description of tests and inspections	14

5.11.2	Materials facilities and samples for tests and inspections	14

6	List of drawings	15

6.1	Drawings issued by the Employer	15

# Description of the service

## Executive overview

- Core Scope of Work

- For the Purpose of this contract, the following boundaries shall be applicable on this plant area:

  - All Sootblowers and Sootblowing systems

Activity:

    - Performing all maintenance activities related to these systems

    - Provide support during operation of these systems

    - Removal and replacement of sootblower drive system and changing of sootblower lances

This core scope of work is the repair and maintenance of Sootblowers at Grootvlei Power Station

Included:

- Pressure setting on the poppet valves,

- Diamond and Hopkinson control valves

    - DAILY MAINTENANCE WORK (CORE SERVICES)

- Core services consist of preventative as well as corrective maintenance and shall be relevant to maintaining plant availability and reliability in a cost effective way.

- Contractor is required to provide to Grootvlei Power Station a labour force consisting of:

- Manager/Supervisor

- Mechanical Fitters

- Semi-skilled

- The contractor ensures that his/her personnel are authorised to take out permits to work in accordance with Plant Safety Regulations within three months of being awarded the contract. At least all the fitters must be authorised.

- The contractor provides a 24 hour service for any plant failures, on a call base.

- The contractor provides a 24 hour inspection service during a sootblowing, on a call out base.

- Sootblowing is only done in the presence of the contractor, and the contractor is informed via call out before sootblowing commences, hence there must be a fitter and or a semi-skilled personnel available to monitor the sootblowing process at each time of sootblowing including after hours.

- The contractor supports and assists in promoting the Plant Fundamental Management policies (which can be obtained from the Project Manager or from Grootvlei document centre)

- The contractor makes available the Written safe working procedures for the maintenance and overhauling of:

- Diamond Power IK 525b Retractable Lance Sootblower

- Hopkinson Parallel Slide and Globe Stop Valves

- Make available the Written Quality Inspection Plans for the Maintenance and Overhauling of:

- Diamond Power IK 525B Rack and Pinion Blowers

- Hopkinson Parallel Slide and Globe Stop Valves

- The contractor provides printed check lists for all inspections carried out on sootblowing equipment.

- The contractor provides daily planning schedule to department planner with a 5 working day target window.

- The contractor compiles bills of materials for all spares and consumables 24 hours before commencement of works for stock items (available from Grootvlei stores) and three months before commencement of works for non-stock items (items that are not in Grootvlei’s stores). The bills of materials are submitted to the boiler maintenance supervisor.

- The contractor compiles scope of work and bills of material for all outage works and confirms it with the system engineer. .

- The contractor compiles a month end report of plant conditions experienced during the month and submit to boiler maintenance supervisor, project manager and the system engineer.

- The contractor submits a weekly operational inspection plan of all sootblower systems and provides an outcome report to boiler maintenance supervisor and the system engineer.

- The contractor provides a poppet valve pressure testing and adjustment service as per system Engineer’s Instruction.

- Every year the contractor inspects the outer lance nozzle’s profile and carries out a wall thickness testing.

- The contractor originates a list of daily reactive works on as and when required basis.

- The contractor repairs the steam leak on gaskets, glands and joints.

- The contractor retracts sootblowers getting stuck in the boiler.

- The contractor transport, lifts, removes and replaces the outer lances, feed tubes, carriage drives, motors, gearbox drives, popper valves, gun blowers and actuators.

- The contractor replaces bearings, guides and rollers.

- The contractor repairs and makes settings of all negative pressure plates, linkage and travel stokes.

- The contractor repairs air leaks on the release valves.

- The contractor attends to all defects associated with the sootblower systems units 1 to 3

On Lance Blowers the Contractor:

- Records total travel time of Lance blowers (stop watch required for this task).

- Records motor current when the lance blower is inserted and retracted out of the furnace (use radio communication to get the readings from the unit operator).

- Sets the thermal overload setting not to be greater than 20% over the motor current rating.

On the Expand Cable the Contractor:

- Visually inspects for loose cabling, check for cuts or damages on the cables. Load a defect (notification) on SAP if there is any deviation noted.

- Electrical to attend to defective cable as soon as possible as per defect loaded on SAP. The repairs may only start working on the cables only if the sootblower has been disconnected from the power supply.

Note: Do not touch the cables while the sootblower is still “live” (connected to the power supply).

On the Limit Switch Mechanism the contractor:

- Inspect the limit switch mechanism where actuating cams remains in position for the total travel time to be correct when sootblower operates smoothly and correctly.

- Inspects for dust accumulation on limit switches and clean limit switches using a feather duster. Cleaning of limit switches is critical as the dust accumulation on contacts points is the main cause of stuck sootblowers.

- Report any defective limit switches by defecting them on SAP and to be attended by C&I.

The Electrical scope of work for the Sootblowers

All electrical work will be attended by the electrical department.

    - OVERHAULING OF SOOTBLOWER EQUIPMENT AND OUTAGE

The contractor overhauls on an as and when required basis of the following:

- Diamond Power Carriage Drive

- Diamond Power Poppet Valve.

- Diamond Power Rack and Structure.

- Hopkinson Parallel Slide Valve.

- Hopkinson Globe Stop Valve.

    - DRAWINGS

Consult the plant system engineer as and when drawings are required.

- Complementary Activity:

The bellow activities are the core scope of this contract that shall be executed by the core crew, but should a skill that is under this contract be required on other plant areas at Grootvlei Power Station the skill shall be made available  as approved by the Service Manager.

- Commissioning support

- Technical Advice

- Central Planning

- Training

- Assist with the development of procedures applicable to the performance of designated task.

- Execution of Projects that are within the boundaries of the scope

- GO, IR and MGO scope execution and support

- Compiling of safe working procedures

- Compilation of Quality Control Plan

- Compilation of works information for repairs (Method statements)

- Updating and creating of repairs and replacement procedures

- Monitoring of spares and completing of data capture forms for stock number creation.

# Management strategy and start up.

## The Contractor’s plan for the service

The Contractor submits only one programme, which incorporates the programmes of all of his Sub-contractors if any. The interface points between his different Sub-contractor’s works and the Contractor’s works are clearly identified. The Contractor's programme submitted for approval in terms of this contract indicates the proposed periods for all activities and prices. For each activity, the start date, completion date, activity duration, predecessors and links to activities are clearly indicated. This programme will be captured in SAP which is the system that has been adopted by the Employer for all planning, progress monitoring and reporting on the Grootvlei site

NB: A draft copy of your programme indicating all tasks to be performed for the project from Start to finish is to be provided as a tender returnable before contract award

## Management meetings

The Employer and the Contractor (and any other co-opted members) meet as and when required to report the overall progress and as a minimum, the following is addressed:

- Contractor’s current activities progress and planned finish dates.

- Contractor’s planned start and finish dates for the works

- Contractor’s and Employer’s programme agenda compared for problematic differences.

- The progress of any other relevant activities.

- To discuss any technical or commercial issues

Management Meetings will be held on a as and when required basis between the Service Manager and the Contractor. The venue for these meetings is as determined by the Service Manager

These meetings will be chaired by the Service Manager as follows:

| Title and purpose | Approximate time & interval | Location | Attendance by: |
| --- | --- | --- | --- |
| Risk register and compensation events | TBA | TBA | Employer, Contractor, Supervisor, and Other co-opted members |
| Overall contract progress and feedback(KPI) | TBA | TBA | Employer, Contractor, Supervisor, and Other co-opted members |

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.  Any action of the Service Manager, Supervisor, Contractor and Other co-opted member implied in the minutes of the meetings are to be confirmed by a separate communication given in accordance with this contract.

## Contractor’s management, supervision and key people

The Contractor submits to the Service Manager an organogram showing his people and their lines of authority / communication.

## Documentation control

Feedback required must include the following information for works or task completed or to be carried out:

- Summary of work done

- Estimated time duration with regard to the future work required

- Budget cost price with regard to the future work required

- Bill of materials with regard to future work required

- Criticality of the work

## Invoicing and payment

Within one week of receiving a payment certificate from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice showing the amount due for payment equal to that stated in the Service Manager’s payment certificate.

INVOICES:

All invoices to be emailed to:

invoiceseskomlocal@eskom.co.za

The invoice shall be addressed to Eskom Holdings SOC Limited as follows: 
Eskom Holdings SOC Limited

Accounts Payable Department
Grootvlei Power Station
Private Bag X
2420 Grootvlei

VAT NUMBER: 4740101508

- Name and address of the Contractor and the Service Manager;

- The contract number and title;

- The task order number

- Contractor’s VAT registration number;

- The Employer’s VAT registration number 4740101508;

- Description of service provided for each item invoiced based on the Price List;

- Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

- Copy of task assessment signed by both the Contractor and the Service Manager

- 2.6 Things provided at the end of the service period for the Employer’s use

The following works are provided by the Contractor in accordance with the Work Information:

- Removal, installation and commissioning of whole of the works;

- Testing and certification

- All the Quality Documentation signed off with no outstanding actions to be resolved;

- The works have been in service continuously for at least two weeks with no sign of any abnormalities being present.

- At Completion, the Contractor submits all technical documentation for the works in accordance with the Employer’s documentation requirements.

- Completion takes place after the Service Manager has verified the submitted documents.

## Management of work done by Task Order

A task order will be issued on an as and when required basis to the Contractor by the Employer’s representative, on the work that needs to be done.  This task order will be accompanied by a SAP 45 (order) number for reference purposes when the Contractor invoices.

# Health and safety, the environment and quality assurance

## Health and safety risk management

The Contractor provides own personal protective equipment and clothing for the employee’s safety.

The Contractor’s Site Manager in charge of the Contractor’s employees, will make sure that the Contractor’s employees have their PPE on, at all times during working hours.

- The Contractor must ensure that the works complies with the OHS Act 85 of 1993.

- The Contractor will provide all SABS Approved Personal Protective Equipment to its employee’s as identified in the Risk Assessment

- The Contractor is responsible for procurement of PPE and equipment in accordance with the OHS act and site specific requirements, including the use thereof as necessary.

- The Contractor shall provide and demonstrate to the Employer a suitable and sufficiently documented health and safety plan, based on the Employer’s documented health and safety specifications, which shall be applied from the date of commencement of and for the duration of the construction work. The plans will be approved by the Employer‘s Safety Officer.

- The Contractor will comply with ISO45001

## Environmental constraints and management

The Contractor shall comply with environment management system, ISO 14001 and the Grootvlei Environmental Procedures as listed in the specification table. This includes the identification, collection, storage, transportation and disposal of waste.  Hazardous waste shall be disposed in line with the applicable environmental legislation.  It is important to note that all spillages must be cleaned immediately and reported to the Service Manager as soon as possible.  It is the responsibility of the polluter to clean all spillages and for the rehabilitation of the polluted land.

## Quality assurance requirements

The Contractor shall be required to demonstrate by means of a Contract Quality Plan (CQP) that this organisation is so structured that all the requirements of the specification will be properly monitored and controlled. The Contract Quality Plan (CQP), which must include the Quality Control Plan (QCP), is to be drafted in accordance with GVL0390 Control of Quality Control Plans and the Supplier Contract Quality Requirement Specification (QM58). The Contractor submits Quality documents to Service Manager on Contract award for approval prior to commencement of work.

No work may commence unless the Contract Quality Plan and Quality Control Plan documents have been approved in writing and a copy submitted to the Service Manager. The Contractor, in conjunction with the Service Manager must sign off all Quality Control documents after completing all work as per the agreed scope. The Contractor to submit a copy of the final signed off documents/data packages to the Service Manager within one (1) week after completion of work.

The Contractor shall be required to read and fully understand the contents of the Supplier Contract Quality Requirement Specification (QM58) and a copy is to be kept in possession or on premises. The contractor shall be subjected to scheduled assessments/audits if Eskom deems it necessary.

ISO 9001 and the Supplier Contract Quality Requirement Specification (QM58) shall remain applicable in the event of the contract being extended or modified for reasons permitted

By signing and accepting this contract the Contractor acknowledges and agrees to comply with and adhere to Eskom’s policies and procedures (current and/or latest revisions) including the Supplier Contract Quality Requirement Specification (QM58).

## Plant and Materials

### Specifications

Where no standards, specifications, guidelines and procedures are available, the Contractor will work according to the Generation Quality manual and professional guidelines. Where possible, standards will be reflected in the Task Order (refer to the table’s below).

| Number | Title | Issued by |
| --- | --- | --- |
| Act 85 of 1993 | Occupational Health and Safety Act and Regulations | Contractor |
| SABS 1431-1987 | Material Specifications | Contractor |
|  | Basic Condition of Employment Act,1997 | Contractor |
| 240-28981069 | Environmental Policy | Employer |
| 240-29828394 | Waste management | Employer |
| 240-30008949 | Safety, Health and Environmental Specifications for Contractors | Employer |
| 240-30008949 | Mechanical, Electrical & Personal Protection | Employer |
| 240-29129309 | Injury/Accident Reports & Investigation | Employer |
| 32-93 | Eskom’s Standard for Vehicle safety specification | Employer |
| 32-421 | Eskom Vehicle and driver safety management | Employer |
| 240-29091616 | Life saving Rules | Employer |
| 240-39405720 | Non – smoking policy | Employer |
| SANS 7592 | ## Calibrated round steel lifting chains | Employer |
| CIDB 8ME | ## Contractor Registration Certificate | Contractor |
| SANS 7531 | ## Wire rope slings for general purposes | Employee |
| SANS 1596 | ## Drop forges eyebolts and eye nuts for lifting purposes | Employer |
| 004/4830 | Grootvlei Power Station Health and Safety Specification Rev 01 | Employer |
| QM 58 | Supplier Contract Quality Requirement Specification | Employer |
| 36-775 | Control of Plant Construction Repair and Maintenance Welding | Employer |
| 36-1162 | Weld Defect Classification and Reporting Procedure | Employer |
| 36-504 | Welding of High Pressure Temperature Tube and Pipework | Employer |
| 39-60 | Contract Quality Policy Requirements | Employer |
| PGZ – 45-24 | HAZOP Guidelines | Employer |
| 240-39012269 | Control of Quality Plans | Employer |
| ISO 14001 | Environmental Management System | Contractor |
| ISO 45001 | Occupational Health and Safety Management System | Contractor |
| ISO 9001 | Quality Management System |  |

### Correction of defects

The defects will be listed and corrective actions will be planned according to the priority of the defects. Where Permits to Work are required, the work will be planned with the Production Department.

All work will be scheduled via the Employer’s SAP System. The Employers Plant Safety Regulations will be adhered to under a responsible person in terms of the plant safety regulations.

Where history needs to be captured, defects will be raised on the SAP Stem and the history will be captured on the Works Orders. Comprehensive reporting is to be submitted after each inspection.

# Working on the Affected Property

- The Contractor complies with all site regulations issued by the Employer.

- All work valued in accordance with the Price List unless otherwise specified. Actual quantities will be determined where applicable based on the requirements of each Task Order. The Contractor provides all necessary information required by the Employer to determine the cost at the assessment date for monthly costs and for each Task Order.

- The Contractor may use any Equipment he sees fit for the purpose as long as the use thereof does not damage or interfere with any Plant, buildings or roads.  All equipment used shall be in good order and comply with all the relevant safety rules and regulations.

- The Contractor and his employees are required to conduct themselves at all times in a proper and orderly manner while on the Employer’s premises.  The Contractor and his employees will, in particular, be required to refrain from smoking and cooking on the Employer’s premises.  It must be noted that the Employer will take immediate steps to institute criminal investigation in the event of any suspected criminal acts e.g. theft etc.

- The Contractor is required to clean and remove any debris and rubble arising from any work done under any agreement originating from this Contract to ensure that the Employer’s premises are left in a clean condition after doing any work. All building debris will be dumped at a dedicated site identified by the Employer.

- No asbestos-based products to be used in supplied materials or form part of any   temporary Works or plant and equipment brought onto the site.

- The Contractor and its employees required to work onsite must first obtain the required access permit for site before commencing any work.  This is obtained by completing a site specific induction, medical and associated paper work.  No vehicles will be allowed access to site unless this has been pre-approved by the project Manager / security and a valid permit for vehicle access has been issued.

- Only parts that meet the original manufacturer’s requirements shall be used.

- The contractor will be required to be accredited by the SABS to be able to issue the valid calibration certificates.

## Employer’s site entry and security control, permits, and site regulations

- The Contractor provides security necessary for the protection of the Works at all times until the completion of the whole of the Works.

- The Contractor is informed of the access procedures through Site Regulations and note that such procedures may change depending on the prevailing security situation.

- All persons entering the Grootvlei site pass through the control points at the main access gate and are required to have temporary permits that are issued to Contractor‘s staff on request.  All persons submit ID documents with the application for temporary permits.  If it is necessary to bring equipment onto site a list is submitted which is verified by security staff prior to equipment entering the security area.

- If any Contractor‘s staff are transferred from Grootvlei or leave site, the person’s permit is handed over to the Supervisor.  The Contractor ensures that personnel leaving site are transported out of the security area and that the permit is returned.

- No firearms, weapons, alcohol, illegal substances and cameras (including cell phones with cameras) are permitted on site.  Any person suspected of being under the influence of alcohol is tested and if proved positive, is refused entry to the security area.

- No “private work” is carried out for or on behalf of any Eskom employee.

- The generator area and the other units are barricaded and out of bounds and only authorised persons are permitted.  Areas outside the site are out of bounds to the Contractor’s staff.

- Under no circumstances shall the Contractor recruit outside Grootvlei Power Station’s security gate.  An applicable local office for recruitment shall be used.

- Note that the speed limit on the site is 40 kph.  The vehicle permit to enter Power Station of any persons contravening any traffic act on site is cancelled.

- The Contractor complies with the Grootvlei Site Regulations, a copy of which is available for perusal at the Project Manager’s offices.

- Any subject within the authority of the Service Manager may be addressed by a Site Regulation.

- Before work starts on site, an inaugural meeting is held with the Contractor and the Service Manager to explain all requirements of the Site Regulations.

- The Contractor is issued with a file of current Site Regulations on arrival.  The file remains the property of the Service Manager and the Contractor is responsible for its maintenance and updating as revised regulations are issued by the Service Manager.

## People restrictions, hours of work, conduct and records

It is very important that the Contractor keeps records of his people working on the Affected Property, including those of his Subcontractors.  The Service Manager shall have access to them at any time.  These records may be needed when assessing compensation events.

## Health and safety facilities on the Affected Property

The Contractor provides, at his cost, a First Aid service to his employees.  In the case where these prove to be inadequate, like in the event of a serious injury, the Employer’s Medical Centre and facilities will be available.

Outside the Employer’s office hours, the Employer’s First Aid Services will only be available for serious injuries and life threatening situations.

The Employer will be entitled, however, to recover the costs incurred, for the use of the above Employer’s facilities, from the Contractor.

## Equipment provided by the Employer

Scaffolding will be provided by the Employer, request for scaffolding must be made at least 24hrs in advance. The employer will make available equipment such as mobile crane, forklift, cherry picker, tractor.

The Contractor provides accommodation and transport for all his employees engaged in the execution of the works.  This includes the needs of his subcontractors.

## Site services and facilities

### Provided by the Employer

i. Electricity

All points of supply requested by the Contractor are provided in terms of quantity and location at the discretion of the Service Manager.

No connection is made to the permanent installation at the Power Station without the prior acceptance of the Service Manager.

No guarantees of power supply quality are given and power supply outages of some duration may occur without warning.  Planned outages are also a possibility. The Contractor makes arrangements at his own expense to improve continuity and quality of power where necessary for any reason and no claim of any nature relating to power failures is considered.

220 and 380V power source will be available near the off-terrace site area. It is the Contractor’s responsibility to connect to this power source and obtain statuary Certificate of Compliance for such a connection or installation. The use of this power supply is used to cater for the Contractor’s office requirements and is not to be used for any construction purpose. Construction power is available to the Contractor within the main turbine and boiler house.

All installations or equipment connected to a supply of electricity provided free of charge by the Employer shall comply with all relevant safety regulations and requirements.  Failure to comply with the safety requirements may lead to immediate disconnection.

The Contractor shall provide, at his own expense, all temporary wiring and cabling to lead power from the point of supply or distribution boards, to the various points where it is required, maintain same and remove on completion.

ii. Compressed Air

- Compressed air is available for the Works.  The variation of pressure in the air supply and or breakdown in the supply shall not be grounds for an extension of time or compensation if it causes a delay.

iii. Water

The Employer provides a water connection point at the Contractor’s off-terrace site yard. The Contractor provides, at his own cost, all connection fittings, pipe work, temporary plumbing and pumps necessary to lead the water from the Employer's points of supply to the various points where it is required.  The Contractor is responsible to maintain these facilities and to remove it at completion of the whole of the Works.

- The Project Manager does not guarantee continuity of supply and the Contractor makes his own provision for standby supplies to maintain continuity of work.  Claims of any nature relating to discontinuity of water supply are not considered.

iv. Telecommunication

The Contractor provides his own telecommunication facilities.

v. Roads

- Main access roads are surfaced and complete and may be used by the Contractor with the necessary care.  The Employer maintains the site roads, described above, to a fair condition.  Any costs incurred by the Project Manager from damage caused to underground services, structures and the like as a result of the Contractor not using the prescribed routes, is recovered from the Contractor.

The Contractor provides temporary access points from the prescribed routes and roads to the points where the Contractor is required to perform work, having first obtained permission in writing from the Supervisor.

vi. Sanitary Facilities

All the Contractor's personnel are expected to make use of the Station Terrace sanitary facilities. The Contractor provides additional facilities as required at own cost.