## CAMDEN 400KV YARD
STATION: | Camden 400kV Yard Substation |  |  |  |  | Page 1
|  | LITRES | TOTAL | COATING | LABOUR | TOTAL
EQUIPMENT | NO. | PER UNIT | AREA | COST | COST | COST
DUVHA FEEDER BAY
Circuit Breaker Supports | 3 |  | 42.285 | 0 | 0 | 0
Circuit Breaker Chambers | 6 |  | 74.371 | 0 | 0 | 0
Grading Capacitors | 6 |  | 33.276 | 0 | 0 | 0
Site Establishment | 1 |  |  |  |  | 0
|  |  |  | 0 | 0 | 0
SOL NO. 1 FEEDER BAY
Capacitor Voltage Transformers | 3 |  | 32.097 | 0 | 0 | 0
Site Establishment | 1 |  |  |  |  | 0
|  |  |  | 0 | 0 | 0
SOL NO. 2 FEEDER BAY
Capacitor Voltage Transformers | 3 |  | 32.097 | 0 | 0 | 0
Site Establishment | 1 |  |  |  |  | 0
|  |  |  | 0 | 0 | 0
TUTUKA NO. 1 FEEDER BAY
Capacitor Voltage Transformers | 3 |  | 32.097 | 0 | 0 | 0
Site Establishment | 1 |  |  |  |  | 0
|  |  |  | 0 | 0 | 0
CHIVELSTON NO.1 FDR BAY
Capacitor Voltage Transformers | 3 |  | 32.097 | 0 | 0 | 0
Site Establishment | 1 |  |  |  |  | 0
|  |  |  | 0 | 0 | 0
GENERATOR NO. 3 BAY
Current Transformers | 3 |  | 52.845 | 0 | 0 | 0
Site Establishment | 1 |  |  |  |  | 0
|  |  |  | 0 | 0 | 0
BUS SECTION 1
Current Transformers | 1 |  | 17.615 | 0 | 0 | 0
Busbar cvt | 1 |  | 10.699 | 0 | 0 | 0
Site Establishment | 1 |  |  |  |  | 0
|  |  |  | 0 | 0 | 0
Total for Camden 400kV Yard | [5 empty] | 0

## 275kV Yard
ESKOM HOLDINGS SOC LTD - SUPPLY AND APPLICATION OF RTV SILICONE RUBBER COATING(INCLUDING SHED EXTENDERS WHEN REQUIRED) ON PORCELAIN SURFACED EQUIPMENT AT MATLA SUBSTATION
BILL NO. 5 - MATLA 275kV RECOAT
THE FOLLOWING IN RECOAT PAINTWORK TO MATLA SUBSTATION SPECIAL FINISHES | Supply and application of Room Temperature Vulcanized (RTV) Silicone Rubber Insulator Coating on ceramic HV equipment, including preparation, cleaning etc., as per the Engineers specifications (Doc 240-56063877 and 240-56062705) :
MATLA 275KV YARD RE-COATING ESKOM | [6 empty] | KRM GLOBAL WORKS
EQUIPMENT | No. | Paint required | Total Vol of paint | Coating material | Labour & Application | TOTAL AMOUNT | Coating material | Labour & Application | TOTAL AMOUNT
|  |  | (2) | (3) | (4) | (3 + 4) | (3) | (4) | (3 + 4)
Benburg Feeder
Isolator posts | 18 | 1.245 | 22.41 | 0 | 0 | 0 | 2150 | 360 | 45180
Breaker chambers | 3 | 1.239 | 3.717 | 0 | 0 | 0 | 4500 | 720 | 15660
Breaker supports | 3 | 5.2 | 15.6 | 0 | 0 | 0 | 3000 | 480 | 10440
Current transformers | 3 | 2.06 | 6.18 | 0 | 0 | 0 | 3750 | 600 | 13050
Line trap supports | 2 | 8.6 | 17.2 | 0 | 0 | 0 | 3750 | 600 | 8700
Voltage transformers |  | 2.06 | 0 | 0 | 0 | 0 | 4500 | 720 | 0
Surge arrestors | 3 | 1.239 | 3.717 | 0 | 0 | 0 | 3000 | 480 | 10440
Site establishment, HSE | 1 |  |  |  |  | 0 |  |  | 1500
|  |  |  | 0 | 0 | 0 | 24650 | 3960 | 104970
Esselen Feeder
Isolator posts | 18 | 1.245 | 22.41 | 0 | 0 | 0 | 2250 | 360 | 46980
Breaker chambers | 3 | 1.239 | 3.717 | 0 | 0 | 0 | 4500 | 720 | 15660
Breaker supports | 3 | 1.8 | 5.4 | 0 | 0 | 0 | 3000 | 480 | 10440
Current transformers | 3 | 2.06 | 6.18 | 0 | 0 | 0 | 3750 | 600 | 13050
Line trap supports | 2 | 8.6 | 17.2 | 0 | 0 | 0 | 3750 | 600 | 8700
Voltage transformers | 3 | 2.06 | 6.18 | 0 | 0 | 0 | 4500 | 720 | 15660
Surge arrestors | 3 | 1.239 | 3.717 | 0 | 0 | 0 | 3000 | 480 | 10440
Site establishment, HSE | 1 |  |  |  |  | 0 |  |  | 1500
|  |  |  | 0 | 0 | 0 | 24750 | 3960 | 122430
Nevis no:1 Feeder
Isolator posts | 18 | 1.245 | 22.41 | 0 | 0 | 0 | 2250 | 360 | 46980
Breaker chambers | 3 | 1.239 | 3.717 | 0 | 0 | 0 | 4500 | 720 | 15660
Breaker supports | 3 | 5.2 | 15.6 | 0 | 0 | 0 | 3000 | 480 | 10440
Current transformers | 2 | 2.06 | 4.12 | 0 | 0 | 0 | 3750 | 600 | 8700
Current transformers | 1 | 2.06 | 2.06 | 0 | 0 | 0 | 3750 | 600 | 4350
Line trap supports | 2 | 8.6 | 17.2 | 0 | 0 | 0 | 3750 | 600 | 8700
Voltage transformers | 3 | 2.06 | 6.18 | 0 | 0 | 0 | 4500 | 720 | 15660
Surge arrestors | 3 | 1.239 | 3.717 |  |  | 0 | 3000 | 480 | 10440
Site establishment, HSE | 1 |  |  |  |  | 0 |  |  | 1500
|  |  |  | 0 | 0 | 0 | 28500 | 4560 | 122430
Nevis no:2 Feeder
Isolator posts | 18 | 1.245 | 22.41 | 0 | 0 | 0 | 2250 | 360 | 46980
Breaker chambers |  | 1.239 | 0 | 0 | 0 | 0
Breaker supports |  | 5.2 | 0 | 0 | 0 | 0
Current transformers | 3 | 2.06 | 6.18 | 0 | 0 | 0 | 3750 | 600 | 13050
Line trap supports | 6 | 2.06 | 12.36 | 0 | 0 | 0 | 3750 | 600 | 26100
Voltage transformers | 3 | 8.6 | 25.8 | 0 | 0 | 0 | 4500 | 720 | 15660
Surge arrestors | 3 | 2.06 | 6.18 | 0 | 0 | 0
Site establishment, HSE | 1 |  |  |  |  | 0 |  |  | 1500
|  |  |  | 0 | 0 | 0 | 14250 | 2280 | 103290
Kruispunt Feeder
Isolator posts | 27 | 1.245 | 33.615 | 0 | 0 | 0 | 2250 | 360 | 70470
Breaker chambers |  | 1.239 | 0 | 0 | 0 | 0
Breaker supports |  | 5.2 | 0 | 0 | 0 | 0
Current transformers | 2 | 2.06 | 4.12 | 0 | 0 | 0 | 3750 | 600 | 8700
Current transformers | 1 | 2.06 | 2.06 | 0 | 0 | 0 | 3750 | 600 | 4350
Line trap supports | 2 | 8.6 | 17.2 | 0 | 0 | 0 | 3750 | 600 | 8700
Voltage transformers | 3 | 2.06 | 6.18 | 0 | 0 | 0 | 4500 | 720 | 15660
Surge arrestors |  | 2.06 | 0 | 0 | 0 | 0
Site establishment, HSE | 1 |  |  |  |  | 0 |  |  | 1500
|  |  |  | 0 | 0 | 0 | 18000 | 2880 | 109380
Transformer no: 1
Isolator posts | 18 | 1.245 | 22.41 | 0 | 0 | 0 | 2250 | 360 | 46980
Breaker chambers |  | 1.239 | 0 | 0 | 0 | 0
Grading resistors |  | 1.263 | 0 | 0 | 0 | 0
Breaker supports |  | 5.2 | 0 | 0 | 0 | 0
Earth Links | 3 | 1.239 | 3.717 | 0 | 0 | 0 | 3750 | 600 | 13050
Current transformers | 3 | 2.06 | 6.18 | 0 | 0 | 0 | 3750 | 600 | 13050
Voltage transformers | 3 | 2.06 | 6.18 | 0 | 0 | 0 | 4500 | 720 | 15660
Surge arrestors | 3 | 2.06 | 6.18 | 0 | 0 | 0 | 3000 | 480 | 10440
Site establishment, HSE | 1 |  |  |  |  | 0 |  |  | 1500
|  |  |  | 0 | 0 | 0 | 17250 | 2760 | 100680
Bus section no: 1
Isolator posts | 12 | 1.245 | 14.94 | 0 | 0 | 0 | 2250 | 360 | 31320
Breaker chambers | 3 | 1.239 | 3.717 | 0 | 0 | 0 | 4500 | 720 | 15660
Breaker supports | 3 | 5.2 | 15.6 | 0 | 0 | 0 | 3000 | 480 | 10440
Current transformers | 6 | 1.7 | 10.2 | 0 | 0 | 0 | 3750 | 600 | 26100
Site establishment, HSE | 1 |  |  |  |  | 0 |  |  | 1500
|  |  |  | 0 | 0 | 0 | 13500 | 2160 | 85020
Bus section no: 2
Isolator posts | 12 | 1.245 | 14.94 | 0 | 0 | 0 | 2250 | 360 | 31320
Breaker chambers | 3 | 1.239 | 3.717 | 0 | 0 | 0 | 4500 | 720 | 15660
Breaker supports | 3 | 5.2 | 15.6 | 0 | 0 | 0 | 3000 | 480 | 10440
Current transformers | 6 | 2.06 | 12.36 | 0 | 0 | 0 | 3750 | 600 | 26100
Site establishment, HSE | 1 |  |  |  |  | 0 |  |  | 1500
|  |  |  | 0 | 0 | 0 | 13500 | 2160 | 85020
Bus Coupler no: A
Isolator posts | 12 | 1.245 | 14.94 | 0 | 0 | 0 | 2250 | 360 | 31320
Breaker chambers | 3 | 1.239 | 3.717 | 0 | 0 | 0 | 4500 | 720 | 15660
Breaker supports | 3 | 5.2 | 15.6 | 0 | 0 | 0 | 3000 | 480 | 10440
Current transformers | 6 | 2.06 | 12.36 | 0 | 0 | 0 | 3750 | 600 | 26100
Site establishment, HSE | 1 |  |  |  |  | 0 |  |  | 1500
|  |  |  | 0 | 0 | 0 | 13500 | 2160 | 85020
Bus Coupler no: B
Isolator posts | 12 | 1.245 | 14.94 | 0 | 0 | 0 | 2250 | 360 | 31320
Breaker chambers | 3 | 1.239 | 3.717 | 0 | 0 | 0 | 4500 | 720 | 15660
Breaker supports | 3 | 5.2 | 15.6 | 0 | 0 | 0 | 3000 | 480 | 10440
Current transformers | 6 | 2.06 | 12.36 | 0 | 0 | 0 | 3750 | 600 | 26100
Site establishment, HSE | 1 |  |  |  |  | 0 |  |  | 1500
|  |  |  | 0 | 0 | 0 | 13500 | 2160 | 85020
Busbar
Voltage transformers | 4 | 2.06 | 8.24 | 0 | 0 | 0 | 4500 | 720 | 20880
Isolator posts | 9 | 2.06 | 18.54 | 0 | 0 | 0 | 2250 | 360 | 23490
[6 empty] | 0 |  |  | 1500
|  |  |  | 0 | 0 | 0 | 6750 | 1080 | 44370
Generator no: 3
Isolator posts | 18 | 1.245 | 22.41 | 0 | 0 | 0 | 2250 | 360 | 46980
Breaker chambers | 3 | 1.239 | 3.717 | 0 | 0 | 0 | 4500 | 720 | 15660
Breaker supports | 3 | 5.2 | 15.6 | 0 | 0 | 0 | 3000 | 480 | 10440
Current transformers | 3 | 1.7 | 5.1 | 0 | 0 | 0 | 3750 | 600 | 13050
Earth Link | 3 | 1.239 | 3.717 | 0 | 0 | 0 | 4500 | 720 | 15660
Voltage transformers | 1 | 2.06 | 2.06 | 0 | 0 | 0 | 3000 | 480 | 3480
Voltage transformers | 2 | 2.06 | 4.12 | 0 | 0 | 0 | 3000 | 480 | 6960
Site establishment, HSE | 1 |  |  |  |  | 0 |  |  | 1500
|  |  |  | 0 | 0 | 0 | 24000 | 3840 | 113730
Generator no: 4
Isolator posts | 12 | 1.245 | 14.94 | 0 | 0 | 0 | 2250 | 360 | 31320
Breaker chambers | 3 | 1.239 | 3.717 | 0 | 0 | 0 | 4500 | 720 | 15660
Breaker supports | 3 | 5.2 | 15.6 | 0 | 0 | 0 | 3000 | 480 | 10440
Earth Links | 3 | 1.239 | 3.717 | 0 | 0 | 0 | 3750 | 600 | 13050
Current transformers | 3 | 2.06 | 6.18 | 0 | 0 | 0 | 3750 | 600 | 13050
Voltage transformers | 1 | 2.06 | 2.06 | 0 | 0 | 0 | 3750 | 600 | 4350
Voltage transformers | 2 | 2.06 | 4.12 | 0 | 0 | 0 | 4500 | 720 | 10440
Site establishment, HSE | 1 |  |  |  |  | 0 |  |  | 1500
|  |  |  | 0 | 0 | 0 | 25500 | 4080 | 99810
Generator no: 5
Isolator posts | 12 | 1.245 | 14.94 | 0 | 0 | 0 | 2250 | 360 | 31320
Breaker chambers | 3 | 1.239 | 3.717 | 0 | 0 | 0 | 4500 | 720 | 15660
Breaker supports | 3 | 5.2 | 15.6 | 0 | 0 | 0 | 3000 | 480 | 10440
Current transformers | 3 | 1.239 | 3.717 | 0 | 0 | 0 | 3750 | 600 | 13050
Earth Link | 3 | 2.06 | 6.18 | 0 | 0 | 0 | 4500 | 720 | 15660
Voltage transformers | 1 | 1.158 | 1.158 | 0 | 0 | 0 | 3000 | 480 | 3480
Voltage transformers | 2 | 1.5 | 3 | 0 | 0 | 0 | 3000 | 480 | 6960
Site establishment, HSE | 1 |  |  |  |  | 0 |  |  | 1500
|  |  |  | 0 | 0 | 0 | 24000 | 3840 | 98070
Generator no: 5
Isolator posts | 12 | 1.245 | 14.94 | 0 | 0 | 0 | 2250 | 360 | 31320
Breaker chambers | 3 | 1.239 | 3.717 | 0 | 0 | 0 | 4500 | 720 | 15660
Breaker supports | 3 | 5.2 | 15.6 | 0 | 0 | 0 | 3000 | 480 | 10440
Current transformers | 3 | 1.239 | 3.717 | 0 | 0 | 0 | 3750 | 600 | 13050
Earth Link | 3 | 2.06 | 6.18 | 0 | 0 | 0 | 4500 | 720 | 15660
Voltage transformers | 1 | 1.158 | 1.158 | 0 | 0 | 0 | 3000 | 480 | 3480
Voltage transformers | 2 | 1.5 | 15 | 0 | 0 | 0 | 3000 | 480 | 6960
Site establishment, HSE | 1 |  |  |  |  | 0 |  |  | 1500
|  |  |  | 0 | 0 | 0 | 24000 | 3840 | 98070
[6 empty] | 0 |  |  | 1457310

## REPORT (hidden)
SUPPLY AND APPLICATION OF RTV SILICONE RUBBER COATING(INCLUDING SHED EXTENDERS WHEN REQUIRED) ON PORCELAIN SURFACED EQUIPMENT AT MATLA SUBSTATION
TENDER ANALYSIS REPORT - QUANTITY SURVEYING DEPARTMENT
2022-10-04 14:14
NAME OF PROJECT: SUPPLY AND APPLICATION OF RTV SILICONE RUBBER COATING(INCLUDING SHED EXTENDERS WHEN REQUIRED) ON PORCELAIN SURFACED EQUIPMENT AT MATLA SUBSTATION | [6 empty] | Compiled by: Frazer Kganyago (IT4330)
ENQUIRY No: PTATEN 2539
Reviewed by:
ENQUIRY CLOSING DATE: 18 JUNE 2020
| CONTENTS | [5 empty] | Authorised by: Makgwanya Maringa (Senior Manager)
1. SUMMARY
2. COST ANALYSIS OF THE RECOMMENDED SUPPLIER
3. STATISTICAL EVALUATION OF TENDERS
4. DETAIL COST ANALAYSIS OF THE OTHER SUPPLIERS
5. OTHER COST IMPLICATIONS
1. | SUMMARY
In response to this enquiry one tenderer received by the Quantity Surveyor for evaluation..
| Tenderer |  |  |  | Tender Amount | Evaluated Tender Amount Excl. VAT (Incl. Errors) | % Merit (Lowest = 100%) | DIFFERENCES
1 | KRM GLOBAL WORKS |  |  |  | 7332520 | 7330950 | 100%
| ESKOM ESTIMATE |  |  |  |  | 0 | #DIV/0!
2 | COST ANALYSIS OF THE RECOMMENDED SUPPLIER
The estimate has been built up from the the quotations got in three difference suppliers of similar work at Mpumalanga Tutuka insulation Poject which is still valid.
Recommendation
It is recommended that the lowest tender submitted by KRM GLOBAL WORKS to be accepted as it is financially acceptable provided that they accepted an error occured. The tenderer shows 4 % higher than Eskom Estimate therefore tender need to be negotiated. The estimate has been built-up from the Eskom Database. Under the Contract data by the contractor , the tenderer provided direct fee percentage of 15%.
3. | STATISTICAL EVALUATION OF TENDER
CONTRACT PRICE COMPARISON
The tenders have been analysed to some detail:
| Estimated Contract Value (excluding VAT) : |  |  | 0
VALUES BASED ON CONTRACT VALUES ONLY
|  |  | Tenderer |  | Contract value excluding | Reimbursable VAT @ 15%
| 1 | KRM GLOBAL WORKS |  |  | 7332520 | 1099878 | 8432398
4. | DETAILED COST ANALYSIS OF THE OTHER SUPPLIERS
4.1 | Arithmetical evaluation
1 | KRM GLOBAL WORKS
Summation error of R 1570 found on the tender and corrected by increasing an evaluated amount so the tender must confirm in wring to acknoledge and accept an error.
5. | OTHER COST IMPLICATIONS
5.1 | Cost comparison on a common base.
Similar projects for Eskom have been used to establish the prices for the estimate.
5.2 | Qualifications/Deviations
1 | KRM GLOBAL WORKS
None
Suitability of tender(s)
4 | The tenderers appear to be suitable companies.
Contract Price Adjustment
5 | This contract is a Bill of Quantities type of contract with the prices fixed and firm for the duration of the contract.

## 400kV Yard
ESKOM HOLDINGS SOC LTD - SUPPLY AND APPLICATION OF RTV SILICONE RUBBER COATING(INCLUDING SHED EXTENDERS WHEN REQUIRED) ON PORCELAIN SURFACED EQUIPMENT AT MATLA SUBSTATION
BILL NO. 4 - MATLA 400kV RECOAT
THE FOLLOWING IN RECOAT PAINTWORK TO MATLA SUBSTATION SPECIAL FINISHES | Supply and application of Room Temperature Vulcanized (RTV) Silicone Rubber Insulator Coating on ceramic HV equipment, including preparation, cleaning etc., as per the Engineers specifications (Doc 240-56063877 and 240-56062705) :
MATLA 400KV YARD RE-COATING | [6 empty] | KRM GLOBAL WORKS
EQUIPMENT | No. |  |  | Coating material | Labour & Application | TOTAL AMOUNT | Coating material | Labour & Application | TOTAL AMOUNT
|  | Paint required | Total Vol of paint
|  |  |  | (3) | (4) | (3 + 4) | (3) | (4) | (3 + 4)
Glockner no:1 Feeder
Isolator posts | 18 | 5 | 90 | 0 | 0 | 0 | 6120 | 1080 | 129600
Support posts | 8 | 1.245 | 9.96 | 0 | 0 | 0 | 12240 | 2160 | 115200
Earth link posts | 3 | 1.239 | 3.717 | 0 | 0 | 0 | 6120 | 1080 | 21600
Breaker chambers | 6 | 1.801 | 10.806 | 0 | 0 | 0 | 12240 | 2160 | 86400
Breaker supports | 3 | 1.571 | 4.713 | 0 | 0 | 0 | 8160 | 1440 | 28800
pantograph drives | 3 | 1.263 | 3.789 | 0 | 0 | 0 | 12240 | 2160 | 43200
Pantograph supports | 3 | 5.6 | 16.8 | 0 | 0 | 0 | 8160 | 1440 | 28800
Current transformers | 3 | 8.6 | 25.8 | 0 | 0 | 0 | 10200 | 1800 | 36000
Line trap supports | 6 | 5.8 | 34.8 | 0 | 0 | 0 | 10200 | 1800 | 72000
Voltage transformers | 3 | 2.06 | 6.18 | 0 | 0 | 0 | 12240 | 2160 | 43200
Surge arrestors | 3 | 6 | 18 | 0 | 0 | 0 | 8160 | 1440 | 28800
Site establishment, HSE | 1 |  |  |  |  | 0 |  |  | 1500
|  |  |  | 0 | 0 | 0 | 106080 | 18720 | 635100
Glockner no:2 Feeder
Isolator posts | 12 | 1.263 | 15.156 | 0 | 0 | 0 | 8160 | 1080 | 110880
Isolator posts | 6 | 1.245 | 7.47 | 0 | 0 | 0 | 6120 | 1080 | 43200
Support posts | 8 | 5.6 | 44.8 | 0 | 0 | 0 | 6120 | 2160 | 66240
Earth link posts | 3 | 1.239 | 3.717 | 0 | 0 | 0 | 6120 | 1080 | 21600
Breaker chambers | 6 | 5.2 | 31.2 | 0 | 0 | 0 | 12240 | 2160 | 86400
Breaker supports | 3 | 7 | 21 | 0 | 0 | 0 | 8160 | 1440 | 28800
pantograph drives | 3 | 1.263 | 3.789 | 0 | 0 | 0 | 12240 | 2160 | 43200
Pantograph supports | 3 | 5.6 | 16.8 | 0 | 0 | 0 | 8160 | 1440 | 28800
Current transformers | 3 | 8.6 | 25.8 | 0 | 0 | 0 | 6120 | 1800 | 23760
Line trap supports | 6 | 5.8 | 34.8 | 0 | 0 | 0 | 10200 | 1800 | 72000
Voltage transformers | 3 | 2.06 | 6.18 | 0 | 0 | 0 | 12240 | 2160 | 43200
Surge arrestors | 3 | 6 | 18 | 0 | 0 | 0 | 8160 | 1440 | 28800
Site establishment, HSE | 1 |  |  |  |  | 0 |  |  | 1500
|  |  |  | 0 | 0 | 0 | 104040 | 19800 | 598380
Grootvlei Feeder
Isolator posts | 18 | 1.245 | 22.41 | 0 | 0 | 0 | 6120 | 1080 | 129600
Support posts | 8 | 5.6 | 44.8 | 0 | 0 | 0 | 12240 | 2160 | 115200
Earth link posts | 3 | 1.239 | 3.717 | 0 | 0 | 0 | 6120 | 1080 | 21600
Breaker chambers | 6 | 5.2 | 31.2 | 0 | 0 | 0 | 12240 | 2160 | 86400
Breaker supports | 3 | 7 | 21 | 0 | 0 | 0 | 8160 | 1440 | 28800
pantograph drives | 3 | 1.263 | 3.789 | 0 | 0 | 0 | 12240 | 2160 | 43200
Pantograph supports | 3 | 5.6 | 16.8 | 0 | 0 | 0 | 8160 | 1440 | 28800
Current transformers | 3 | 8.6 | 25.8 | 0 | 0 | 0 | 10200 | 1800 | 36000
Line trap supports | 6 | 5.8 | 34.8 | 0 | 0 | 0 | 10200 | 1800 | 72000
Voltage transformers | 3 | 2.06 | 6.18 | 0 | 0 | 0 | 12240 | 2160 | 43200
Surge arrestors | 3 | 6 | 18 | 0 | 0 | 0 | 8160 | 1440 | 28800
Site establishment, HSE | 1 |  |  |  |  | 0 |  |  | 1500
|  |  |  | 0 | 0 | 0 | 106080 | 18720 | 635100
Zeus Feeder
Isolator posts | 18 | 1.245 | 22.41 | 0 | 0 | 0 | 6120 | 1080 | 129600
Surport posts | 6 | 5.6 | 33.6 | 0 | 0 | 0 | 12240 | 2160 | 86400
Support posts | 2 | 1.239 | 2.478 | 0 | 0 | 0 | 12240 | 2160 | 28800
Earth link posts | 3 | 5.2 | 15.6 | 0 | 0 | 0 | 6120 | 1080 | 21600
Breaker chambers | 6 | 7 | 42 | 0 | 0 | 0 | 12240 | 2160 | 86400
Breaker supports | 3 | 1.263 | 3.789 | 0 | 0 | 0 | 8160 | 1440 | 28800
pantograph drives | 3 | 5.6 | 16.8 | 0 | 0 | 0 | 12240 | 2160 | 43200
Pantograph supports | 3 | 8.6 | 25.8 | 0 | 0 | 0 | 8160 | 1800 | 29880
Current transformers | 3 | 8.6 | 25.8 | 0 | 0 | 0 | 8160 | 1440 | 28800
Line trap supports | 6 | 5.8 | 34.8 | 0 | 0 | 0 | 10200 | 1800
Voltage transformers | 3 | 2.06 | 6.18 | 0 | 0 | 0 | 12240 | 2160 | 43200
Surge arrestors | 3 | 6 | 18 | 0 | 0 | 0 | 8160 | 1440 | 28800
Site establishment, HSE | 1 |  |  |  |  | 0
|  |  |  | 0 | 0 | 0 | 116280 | 20880 | 555480
Duvha Feeder
Isolator posts | 18 | 1.245 | 22.41 | 0 | 0 | 0 | 6120 | 1080 | 129600
Support posts | 2 | 5.6 | 11.2 | 0 | 0 | 0 | 12240 | 2160 | 28800
Earth link posts | 3 | 1.239 | 3.717 | 0 | 0 | 0 | 6120 | 1080 | 21600
Breaker chambers | 6 | 5.2 | 31.2 | 0 | 0 | 0 | 12240 | 2160 | 86400
Breaker supports | 3 | 7 | 21 | 0 | 0 | 0 | 8160 | 1440 | 28800
pantograph drives | 3 | 1.263 | 3.789 | 0 | 0 | 0 | 12240 | 2160 | 43200
Pantograph supports | 3 | 5.6 | 16.8 | 0 | 0 | 0 | 8160 | 1440 | 28800
Current transformers | 3 | 8.6 | 25.8 | 0 | 0 | 0 | 8160 | 1800 | 29880
Line trap supports | 6 | 8.6 | 51.6 | 0 | 0 | 0 | 10200 | 1800 | 0
Voltage transformers | 3 | 2.06 | 6.18 | 0 | 0 | 0 | 12240 | 2160 | 43200
Surge arrestors | 3 | 6 | 18 | 0 | 0 | 0 | 8160 | 1440 | 28800
Site establishment, HSE | 1 |  |  |  |  | 0
|  |  |  | 0 | 0 | 0 | 104040 | 18720 | 469080
Transfer bus
Isolator posts | 12 | 1.245 | 14.94 | 0 | 0 | 0 | 6120 | 1080 | 86400
Support posts | 7 | 5.6 | 39.2 | 0 | 0 | 0 | 12240 | 2160 | 100800
Breaker chambers | 6 | 1.239 | 7.434 | 0 | 0 | 0 | 12240 | 2160 | 86400
Breaker supports | 3 | 5.2 | 15.6 | 0 | 0 | 0 | 8160 | 1440 | 28800
pantograph drives | 3 | 1.263 | 3.789 | 0 | 0 | 0 | 12240 | 2160 | 43200
Pantograph supports | 3 | 5.6 | 16.8 | 0 | 0 | 0 | 8160 | 1440 | 28800
Current transformers | 3 | 5.6 | 16.8 | 0 | 0 | 0 | 8160 | 1800 | 29880
Site establishment, HSE | 1 |  |  |  |  | 0
|  |  |  | 0 | 0 | 0 | 67320 | 12240 | 404280
Transformer 1
Isolator posts | 6 | 1.245 | 7.47 | 0 | 0 | 0 | 6120 | 1080 | 43200
Support posts | 7 | 5.6 | 39.2 | 0 | 0 | 0 | 12240 | 2160 | 100800
Earth link posts | 3 | 1.239 | 3.717 | 0 | 0 | 0 | 6120 | 1080 | 21600
Breaker chambers | 18 | 1.239 | 22.302 | 0 | 0 | 0 | 12240 | 2160 | 259200
Breaker grading caps | 18 | 1.263 | 22.734 | 0 | 0 | 0 | 6120 | 1080 | 129600
Breaker supports | 9 | 5.2 | 46.8 | 0 | 0 | 0 | 8160 | 1440 | 86400
pantograph drives | 3 | 1.263 | 3.789 | 0 | 0 | 0 | 12240 | 2160 | 43200
Pantograph supports | 3 | 5.6 | 16.8 | 0 | 0 | 0 | 8160 | 1440 | 28800
Current transformers | 1 | 5.6 | 5.6 | 0 | 0 | 0 | 8160 | 1800 | 9960
Current transformers | 2 | 5.6 | 11.2 | 0 | 0 | 0 | 8160 | 1800 | 19920
Transformer Bushings 400kV | 3 | 5.6 | 16.8 | 0 | 0 | 0 | 8160 | 1440 | 28800
Transformer bushings 275kV | 3 | 5.6 | 16.8 | 0 | 0 | 0 | 2720 | 480 | 9600
Surge arrestors | 3 | 1.571 | 4.713 | 0 | 0 | 0 | 8160 | 1440 | 28800
Site establishment, HSE & Skyjack | 1 |  |  |  |  | 0 |  |  | 18500
|  |  |  | 0 | 0 | 0 | 174080 | 31800 | 809880
Voltage transformers | 2 | 5.6 | 11.2 | 0 | 0 | 0 | 10200 | 1800 | 24000
1500
|  |  |  | 0 | 0 | 0 | 184280 | 33600 | 835380
Generator 2
Isolator posts | 6 | 1.245 | 7.47 | 0 | 0 | 0 | 6120 | 1080 | 43200
Support posts | 7 | 5.6 | 39.2 | 0 | 0 | 0 | 12240 | 2160 | 100800
Earth link posts | 3 | 1.239 | 3.717 | 0 | 0 | 0 | 6120 | 1080 | 21600
Breaker chambers | 6 | 5.2 | 31.2 | 0 | 0 | 0 | 12240 | 2160 | 86400
Breaker supports | 3 | 5.2 | 15.6 | 0 | 0 | 0 | 8160 | 1440 | 28800
pantograph drives | 3 | 1.263 | 3.789 | 0 | 0 | 0 | 12240 | 2160 | 43200
Pantograph supports | 3 | 5.6 | 16.8 | 0 | 0 | 0 | 8160 | 1440 | 28800
Current transformers | 2 | 5.6 | 11.2 | 0 | 0 | 0 | 8160 | 1800 | 19920
Current transformers | 1 | 5.6 | 5.6 | 0 | 0 | 0 | 10200 | 1800 | 12000
Line trap supports | 6 | 8.6 | 51.6 | 0 | 0 | 0 | 10200 | 1800 | 0
Voltage transformers | 1 | 2.06 | 2.06 | 0 | 0 | 0 | 12240 | 2160 | 14400
Voltage transformers | 1 | 2.06 | 2.06 | 0 | 0 | 0 | 12240 | 2160 | 14400
Voltage transformers | 1 | 2.06 | 2.06 | 0 | 0 | 0 | 12240 | 2160 | 14400
Site establishment, HSE | 1 |  |  |  |  | 0
|  |  |  | 0 | 0 | 0 | 130560 | 23400 | 427920
Generator 1
Isolator posts | 6 | 1.245 | 7.47 | 0 | 0 | 0 | 6120 | 1080 | 43200
Support posts | 7 | 5.6 | 39.2 | 0 | 0 | 0 | 12240 | 2160 | 100800
Earth link posts | 3 | 1.239 | 3.717 | 0 | 0 | 0 | 6120 | 1080 | 21600
Breaker chambers | 6 | 5.2 | 31.2 | 0 | 0 | 0 | 12240 | 2160 | 86400
Breaker supports | 3 | 5.2 | 15.6 | 0 | 0 | 0 | 8160 | 1440 | 28800
pantograph drives | 3 | 1.263 | 3.789 | 0 | 0 | 0 | 12240 | 2160 | 43200
Pantograph supports | 3 | 5.6 | 16.8 | 0 | 0 | 0 | 8160 | 1440 | 28800
Current transformers | 3 | 2.06 | 6.18 | 0 | 0 | 0 | 8160 | 1800 | 29880
Voltage transformers | 1 | 2.06 | 2.06 | 0 | 0 | 0 | 12240 | 2160 | 14400
Voltage transformers | 2 | 2.06 | 4.12 | 0 | 0 | 0 | 12240 | 2160 | 28800
Site establishment, HSE | 1 |  |  |  |  | 0
|  |  |  | 0 | 0 | 0 | 97920 | 17640 | 425880
Bus Coupler no: A
Isolator posts | 12 | 1.245 | 14.94 | 0 | 0 | 0 | 6120 | 1080 | 86400
Support posts | 1 | 5.6 | 5.6 | 0 | 0 | 0 | 12240 | 2160 | 14400
Breaker chambers | 6 | 1.239 | 7.434 | 0 | 0 | 0 | 12240 | 2160 | 86400
Breaker supports | 3 | 5.2 | 15.6 | 0 | 0 | 0 | 8160 | 1440 | 28800
Current transformers | 6 | 2.06 | 12.36 | 0 | 0 | 0 | 8160 | 1800 | 59760
Site establishment, HSE | 1 |  |  |  |  | 0 |  |  | 1500
|  |  |  | 0 | 0 | 0 | 46920 | 8640 | 277260
Bus Coupler no: B
Isolator posts | 12 | 1.245 | 14.94 | 0 | 0 | 0 | 6120 | 1080 | 86400
Support posts | 1 | 5.6 | 5.6 | 0 | 0 | 0 | 12240 | 2160 | 14400
Breaker chambers | 6 | 1.239 | 7.434 | 0 | 0 | 0 | 12240 | 2160 | 86400
Breaker supports | 3 | 5.2 | 15.6 | 0 | 0 | 0 | 8160 | 1440 | 28800
Current transformers | 6 | 2.06 | 12.36 | 0 | 0 | 0 | 8160 | 1800 | 59760
Site establishment, HSE | 1 |  |  |  |  | 0 |  |  | 1500
|  |  |  | 0 | 0 | 0 | 46920 | 8640 | 277260
Bussection
Isolator posts | 12 | 1.245 | 14.94 | 0 | 0 | 0 | 6120 | 1080 | 86400
Breaker chambers | 6 | 5.6 | 33.6 | 0 | 0 | 0 | 12960 | 2160 | 90720
Breaker supports | 3 | 1.239 | 3.717 | 0 | 0 | 0 | 8640 | 1440 | 30240
Current transformers | 6 | 5.2 | 31.2 | 0 | 0 | 0 | 11250 | 1800 | 78300
Site establishment, HSE | 1 |  |  |  |  | 0 |  |  | 1500
|  |  |  | 0 | 0 | 0 | 38970 | 6480 | 287160
Busbar
Voltage transformers | 2 | 2.06 | 4.12 | 0 | 0 | 0 | 12960 | 2160 | 30240
Voltage transformers | 1 | 2.06 | 2.06 | 0 | 0 | 0 | 12960 | 2160 | 15120
[6 empty] | 0 | 25960 | 4320 | 593
|  |  |  | 0 | 0 | 0 | 25920 | 4320 | 45360
|  |  |  | Total |  | 0 | Total |  | 5873640
7330950

## Summary of all substations
SILICON COATING EQUIPMENT FOR SUBSTATION SUMMARY
Item No | Description | Amount
2 | CAMDEN 400KV YARD (RE-COAT) | 0
2.1 | 400kV Yard
| Sub-Total 1 | 0
3 | MATLA 275kV RECOAT | 0
3.1 | 275KV Yard
| Sub-Total 1 | 0
4 | MATLA 275kV RECOAT
4.1 | 400KV Yard | 0
| Sub-Total 1 | 0
| Grand Total | #REF!