Part 3: Scope of Work

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 |
| C3.1 | Employer’s Works Information |  |
| C3.2 | Contractor’s Works Information (insert at award stage or delete if not applicable) |  |
|  | Total number of pages |  |

C3.1: Employer’s works Information

Contents

When the document is complete, insert a ‘Table of Contents’.  To do this go to:  Insert, → Reference, → Index and tables → Table of Contents.  Three levels and the title (but not the subtitle) may be shown if the formats used in this template are retained.

Part 3: Scope of Work	1

C3.1: Employer’s works Information	2

1	Description of the works	4

1.1	Executive overview	4

1.2	Employer’s objectives and purpose of the works	4

2	Management and start up.	5

2.1	Management meetings	5

2.2	Documentation control	5

2.3	Health and safety risk management	6

2.4	Environmental constraints and management	7

2.4.1	The Contractor’s Environmental Officer (EO)	7

2.4.2	Environmental Control Officer (ECO)	7

3	Quality assurance requirements	8

3.1	Programming constraints	8

3.2	Contractor’s management, supervision and key people	9

3.3	Invoicing and payment	9

3.4	Insurance provided by the Employer	10

3.5	Contract change management	11

3.6	Provision of bonds and guarantees	11

3.7	Training workshops and technology transfer	11

4	Engineering and the Contractor’s design	11

4.1	Employer’s design	11

4.2	Parts of the works which the Contractor is to design	11

4.3	Procedure for submission and acceptance of Contractor’s design	11

4.4	Equipment required to be included in the works	11

4.5	As-built drawings, operating manuals and maintenance schedules	12

5	Procurement	12

5.1	People	12

5.1.1	Minimum requirements of people employed on the Site	12

5.1.2	BBBEE and preferencing scheme	12

5.2	Accelerated Shared Growth Initiative – South Africa (ASGI-SA)	12

5.3	Subcontracting	12

5.3.1	Preferred subcontractors	12

5.3.2	Subcontract documentation, and assessment of subcontract tenders	13

5.3.3	Limitations on subcontracting	13

5.4	Plant and Materials	13

5.4.1	Plant & Materials provided “free issue” by the Employer	13

5.4.2	Contractor’s procurement of Plant and Materials	13

5.4.3	Spares and consumables	13

5.5	Tests and inspections before delivery	13

5.6	Marking Plant and Materials outside the Working Areas	13

6	Construction	14

6.1	Temporary works, Site services & construction constraints	14

6.1.1	Employer’s Site entry and security control, permits, and Site regulations	14

6.1.2	Restrictions to access on Site, roads, walkways and barricades	14

6.1.3	People restrictions on Site; hours of work, conduct and records	14

6.1.4	Health and safety facilities on Site	14

6.1.5	Title to materials from demolition and excavation	14

6.1.6	Cooperating with and obtaining acceptance of Others	14

6.1.7	Publicity and progress photographs	15

6.1.8	Contractor’s Equipment	15

6.1.9	Equipment provided by the Employer	15

6.1.10	Site services and facilities	15

6.1.11	Facilities provided by the Contractor	15

6.1.12	Existing premises, inspection of adjoining properties and checking work of Others	15

6.1.13	Underground services, other existing services, cable and pipe trenches and covers	16

6.1.14	Control of noise, dust, water and waste	16

6.1.15	Sequences of construction or installation	16

6.1.16	Giving notice of work to be covered up	16

6.2	Completion, testing, commissioning and correction of Defects	16

6.2.1	Work to be done by the Completion Date	16

6.2.2	Materials facilities and samples for tests and inspections	17

6.2.3	Commissioning	17

6.2.4	Start-up procedures required to put the works into operation	17

6.2.5	Take over procedures	17

6.2.6	Access given by the Employer for correction of Defects	17

7	Plant and Materials standards and workmanship	18

7.1	Appendixes SHEQ documents	18

8	List of drawings	19

8.1	Drawings issued by the Employer	19

C3.2	Contractor’s Works Information	21

# Description of the works

## Executive overview

The work is minor civil work for Neptune 400KV Feeder 1 Substation Upgrade

The general scope is to dismantle an old 400kV existing Feeder1  and equip a new 400kV bay. The civil portion of the scope will be to demolish and remove existing foundations, modify foundations and/or construct new foundations and supply & installation of structural steel. The contract scope includes but is not limited to:

- Demolish and remove some of the existing foundations on old 400 kV Poseidon feeder  in accordance with the bay layout. The Contractor shall make his own arrang ements, to the approval of the Supervisor and the Local Authorities, for the disposal of all surplus material and construction waste resulting from the works. The Contractor must obtain written permission from the local authority to use their dumpsite for disposal of construction waste. All waste must be dumped at a legally registered dumpsite.

- Setting out of the works for each foundation according to the relevant drawings

- All ground excavation and preparation work required to install the foundations in the specified positions and to the specified depths

- The supply, delivery and installation of all shuttering and other construction equipment required to install foundations

- The supply, delivery and installation of all concrete, reinforcing, holding down bolts and other material required for the foundations

- The supply and installation of earthmat

- The supply, delivery and installation of steelwork for all required primary plant and support steelwork

- Removing and stockpiling yardstone in the areas where foundations are to be cast and replacing once complete. The Contractor shall be responsible for clearing the site and the construction camp site of all rubble and waste resulting from construction activities, and the reinstatement of these terrains to their original condition

- Rehabilitate site and work areas where required.

## Employer’s objectives and purpose of the works

- The Greater East London strengthening project phase 3 includes a project to interconnect Pembroke substation to Neptune substation by constructing approximately 40km of 400kV transmission line from Neptune to Pembroke.  The scope of works at the Neptune Substation end entails the establishment of a 400kV Feeder Bay.

The following abbreviations are used in this Works Information:

| Abbreviation | Meaning given to the abbreviation |
| --- | --- |
| ECC3 | NEC 3 Engineering and construction contract |

# Management and start up.

## Management meetings

Regular meetings of a general nature may be convened and chaired by the Project Manager as follows:

| Title and purpose | Approximate time & interval | Location | Attendance by: |
| --- | --- | --- | --- |
| Risk register and compensation events | Monthly during the 3rd week of the month | Neptune Substation | Employer, Contractor, Supervisor, and SHEQ and other representatives as required. |
| Overall contract progress and feedback | Monthly during the third week of the month | Neptune Substation | Employer, Contractor, Supervisor, and other representatives as required. |

Meetings of a specialist nature may be convened as specified elsewhere in this Works Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the works.  Records of these meetings shall be submitted to the Project Manager by the person convening the meeting within five days of the meeting.

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.

## Documentation control

Documentation control by the Employer will be done using the Eskom 765kV project group standard documentation management system and using Hyperwave for electronic filing.

All correspondence from the Employer to the Contractor will be referenced using the following reference

YYYMMMDD_Type_DocumentTitle_Uniqueidentifier_WBS_Revision.File Extension

The naming convention is explained as follows

- YYYMMDD refers to the date of the document in the format Year/Month/Date. This is the date of approval if the document is approved. For a new document that has just been created, it will be the date that the document was created on.

- Type refers to the latest folder/collection level in the WBS filing structure in which the document is published.  Hence it refers to the folder/collection location of the documents.  This is in line with the current practice within 765kV of including the folder name in the naming of files/documents.

The various types to choose from are on the left-hand side as follows:

- Incoming Correspondence				(Communication)

- Outgoing Correspondence				(Communication)

- Presentation						(Meetings)

- Minutes						(Meetings)

- Project Audit Report					(Project Reporting)

- Weekly Report (Historic)				(Project Reporting)

- Technical Report					(Engineering and Design)

- Designs and Proforma Bill of Materials			(Engineering and Design)

- Specification						(Engineering and Design)

- Project Schedule					(Schedule Management)

- Outage Plan						(Schedule Management)

- Tender						(Commercial Management)

- Contract						(Commercial Management)

- Risk							(Risk Management)

- Insurance						(Risk Management)

- Safety and Health					(SHEQ)

- Environment						(SHEQ)

- Quality						(SHEQ)

- TPS and WBS Approved Plan				(Financial Management)

- Invoices and Payments				(Financial Management)

- Project Monthly Expenditure/Cash flows		(Financial Management)

- FRA							(Financial Management)

- Incoming Transmittal Form				(Transmittals)

- Outgoing Transmittal Form				(Transmittals)

- Site Personnel Details					(Human Resource Management)

- Task Schedule						(Human Resource Management)

- Commissioning and Handover				(Commissioning and Handover)

- Photo							(Photos)

- Project Close-out					(Project Close-out)

- Revision refers to the revision status of the document that has been approved.

- File Extension refers to the file types such as doc, pdf, tif, xls, ppt, mpp.  This is by default indicated on the file name.

## Health and safety risk management

In addition to the requirements of the laws governing health and safety, Eskom may have some additional requirements particular to the works and the Working Areas for this contract.  The text below provides for these being attached as an Annexure to this Works Information. PLEASE ALSO READ CORE CLAUSE 27.4 TOGETHER WITH Z7 IN THE ADDITIONAL CONDITIONS OF CONTRACT TO MAKE SURE THAT WHATHEVER IS INCLUDED IN THE ANNEXURE FOLLOWS ON FROM THOSE CLAUSES.

The Divisional/Regional Safety Risk Manager or his representative having jurisdiction over the works must provide the relevant safety, health and environmental (SHE) criteria for incorporation into this Works Information. The SHE specification / scope must be signed off by the Divisional/Regional Safety Risk Manager or his representative confirming that the applicable safety criteria have been taken into account.

The Commodity Manager / Buyer must refer the tender to the Divisional/Regional Safety Risk Manager or his representative in order to evaluate against enquiry-specific safety criteria.

The Divisional Safety Risk Managers who will be responsible for the allocation of resources to assist P&SCM with the above processes are as follows:

Generation: Roley McIntyre

Transmission: Tony Patterson

Distribution: Alex Stramrood

Enterprises: Jace Naidoo

Corporate: Kerseri Pather

The Contractor shall comply with the health and safety requirements contained in Annexure B to this Works Information.

## Environmental constraints and management

The Contractor shall comply with the environmental criteria and constraints stated in Annexure C

The Contractor shall have an Environmental Management System in place that will ensure that the requirements of the EMP are effectively implemented and managed.

The Contractor is required to ensure that all goods, services or works supplied in terms of the contract conform to all applicable environmental legislation and Project Specific Environmental Management Plan

The Contractor shall comply with the environmental criteria and requirements stated in Annexure C - Environmental Requirements for Contractors Working on PDP Projects and to the environmental requirements stated in Safety, Health and Environmental Specification.

The Contractor shall give and provide all necessary environmental superintendence during the execution of the works. The Contractor shall appoint a dedicated person as Environmental Officer (EO), approved in writing by the Project Manager (which approval may at any time be withdrawn). The EO shall be on the works at all times. The employer shall be at liberty to object to and require the Contractor to remove from the works any person who in the Project Manager’s opinion, misconducts himself or is incompetent in the proper performance of his duties.

### The Contractor’s Environmental Officer (EO)

The EO’s sole responsibility will be to implement the EMP, environmental legislation as well as relevant procedures and monitor and adjust environmental quality of work performed on the site. The EO is also to assist the Environmental Control Officer (ECO) in their duties. The EO is to carry out or relay any requirements that may be deemed necessary by the ECO, to ensure that such activities are undertaken and to report back to the ECO accordingly.

The EO is responsible to manage all effected landowner’s concerns, complaints and special requirements with the assistance of the ECO where necessary.

The EO is to ensure that sensitive areas are demarcated within or alongside the construction areas i.e. sites identified in the EMP and environmental authorisation. All personnel are to be informed of such sites and the reason the site is demarcated.

Minimum requirements for appointment as EO are:

- National Diploma in natural science or appropriate field

- 3 years work related experience in the environmental management field.

- The EO portfolio will not be shared by any other portfolio or responsibility

### Environmental Control Officer (ECO)

It is the responsibility of the ECO to monitor the EO’s implementation of his duties.

#### Reporting

It is required that the EO makes all documents, weekly reports, monthly reports, complaints register, environmental incident register (spills, impacts, legal transgressions, etc.) as well as corrective and preventative actions taken available to the ECO upon request.

#### Environmental Awareness Training

The Contractor and sub-contractors staff is to receive Environmental Awareness Training before commencement of the construction phase of the works. The training will be presented by the EO with the assistance of the ECO. An attendance register is to be maintained. Any new staff must receive the Environmental Awareness Training.

The training should include, but not be limited to the following:

- Keeping all damage within approved footprint

- Rehabilitation of all damaged areas

- Camp sites, ablution facilities, sanitation, housing and storage areas

- Waste management – Avoidance – minimization - disposal

- Protection of Heritage resources

- Strict control and prevention of the harvesting of medicinal plants

- Protection of indigenous vegetation

- Dust and noise control

- Fire prevention and related management plan

- Erosion control

# Quality assurance requirements

The Contractor shall comply with the quality criteria stated in Quality Assurance requirements contained in Annexure D attached to this Works Information for the Procurement of Assets Goods and Services.

## Programming constraints

Tenders will be evaluated with due consideration to the resources (both personnel and equipment) committed to the project as indicated in the tender programme.  All proposed Subcontractors and Suppliers are to be identified at tender stage and will be included in the evaluation process.

The programme is to be submitted for acceptance in accordance with Core Clause 31 in the ECC3, in terms of which resources to complete each activity must be clearly identified.  The programme is to be submitted within two weeks of the starting date.  It is suggested that Gannt or bar chart formats be used for project planning, while progress graphs/schedules be submitted at monthly meetings to monitor progress.

The programme is to include the following information:

- Method statements which identify the equipment and other resources which to Contractor plans to use for the execution of the various activities of the project.

- Planned sectional completion dates as required as well as the completion date for the whole of the works.

- The order and timing of the operations which the Contractor plans to do in order to provide the works

provisions for:

- Float

- Time risk allowances

- Health, Safety and Quality requirements

- Environmental compliance requirements.

The Contractor shall submit the first programme to the Project Manager for acceptance within two (2) weeks of the starting date.  The programme must be in Primavera or Microsoft Project format.

The Contractor revises the programme as required in accordance to Core Clause 32 of EC3.  Each time the programme is revised, the Contractor is to submit a revised forecast rate of invoicing to the Project Manager.

## Contractor’s management, supervision and key people

The Contractor must submit an organogram which clearly indicates the people resources that will be utilised for this project.  The organogram must clearly indicate lines of authority as well as lines of communication.

Site staff as well as head office staff must be indicated.

The Contractor must also supply curriculum vitas of the key personnel that will be responsible for the various teams that will be deployed on the site.  As a minimum CV’s must be supplied for the:

- Contracts manager

- Site agent

- Foreman

- Environmental officer

- Health and safety officer

- First aiders

- Fire fighter.

## Invoicing and payment

The Z clauses make reference to invoicing procedures stated here in this Service Information. Also include a list of information which is to be shown on an invoice.

Within one week of receiving a payment certificate from the Project Manager in terms of Core Clause 5.1.1, the Contractor provides the Employer with a tax invoice showing the amount due for payment equal to that stated in the Project Manager’s payment certificate.

The Contractor shall address the tax invoice to

ESKOM HOLDINGSLTD

Group Capital – GCD

Megawatt Park

Sandton

2191

and include on each invoice the following information:

- Name and address of the Contractor and the Service Manager,

- The contract number and title,

- Contractor’s VAT registration number,

- Contractor’s VAT number,

- The Employer’s VAT registration number 4740101508,

- Description of service provided for each item invoiced based on the Price List,

- Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT,

- Retention monies to be deducted from the invoice.

Ensure that the Eskom order number is clearly indicated on your invoice together with the line number on the order you are billing for.

- All Electronic invoices must be sent in PDF format only.

- Each PDF file should contain one invoice; or one debit note; or one credit note only as Eskom’s SAP system does not support more than one PDF being linked into workflow at a time.

- Your E-mail may contain more than one PDF file.

- Send all invoices in PDF to Group Capital Power Delivery Projects (PDP):  invoicesgrpcapitalPDP@eskom.co.za

Foreign invoices

- For Foreign invoices, suppliers will still be required to physically deliver hard copies of original documents PDP Consolidated/Document Centre by making arrangement for delivery by contracting Esther Bogopa (Financial Clerk Consolidation Team) +27 11 516 7024, Andisiwe Sikwebu (Financial Clerk Consolidation Team) +27 11 800 3838 or Shumani Mamphodo (Manager Consolidation Team) +27 11 800 2007.  The South African Reserve Bank requirements are that the manual invoices should be submitted.  Once the original invoices have been hand delivered, you can also send the invoice copy to invoicesgrpcapitalPDP@eskom.co.za)

The foreign invoices should be sent together with relevant shipping documents and the supplier shall ensure that the commercial invoice has been used previously and therefore funds are not exhausted.  The shipping documentation is as follows:

- Tax invoice

- Commercial invoice

- SARS Release notification

- SAD 500

- Custom worksheet

- Bill of lading

If the supplier does not furnish the supporting documents, the payment cannot be made and the supplier will be charged the cost of moving the Forward Exchange Cover (FEC) that Eskom has incurred in managing the risk of currency movement.

Tax Requirement

- In case of a local invoice a PDF file that was created directly from a system meets the definition of original document and is allowed (including saving documents from excel to PDF, word to PDF etc.)

In case of the foreign invoice the hard printed version is considered an original invoice, hence, the payment terms start to count once the hard print of the original invoice (not an e-mail invoice) has been received by Power Delivery Projects Consolidation Team.

- An Invoice that was printed and then scanned to PDF by the Vendor is not acceptable as this is not an original tax invoice by SARS definition but a copy.

The following wording needs to appear on the invoice:  “Your invoice is encrypted in order to comply with SARS requirements that invoices and statements sent electronically are tamperproof.”

- If there is Cost Adjustment (CPA) on your invoice we recommend that you issue a separate invoice for CPA so that if there are any issues on the CPA the rest of the invoice can be paid while resolving the CPA issues.

- Introduction of electronic invoicing does not guarantee payment but will ensure visibility of all invoices and ensure that no invoices get lost.  If the goods receipt is not done the invoice will be parked and the system will automatically send an e-mail to the end user to do the goods receipt.  This is also tracked by Eskom through the parked invoice report.

- Your company can request a parked invoices report from the Power Delivery Projects Finance Team which can then be followed up and corrected.  You are welcome to forward the details of invoices corrected to the FSS contact center at the following email address Fss@eskom.co.za.

- Once the invoice has been sent, all communication regarding the payments should be addressed with the Project Manager and Project Finance Team, Zama Ncamphalala (Project Accountant) +27 11 516 7746 and Tumelo Aphane (Project Accountant) +27 11 800 5437.

- No communication regarding payment should be sent by the Contractor/Supplier directly to Accounts Payable.

## Insurance provided by the Employer

Insurance related queries for this project can be addressed to the Project Manager who will then refer the query to the applicable Eskom specialist with regards to insurance matters for this project.

## Contract change management

There are no additional requirements to the compensation event clauses in section 6 of ECC3 core clauses.  All compensation events must be dealt with as per the procedure described in these clauses.

## Provision of bonds and guarantees

The form in which a bond or guarantee required by the conditions of contract (if any) is to be provided by the Contractor is given in Part 1 Agreements and Contract Data, document C1.3, Sureties.

The Employer may withhold payment of amounts due to the Contractor until the bond or guarantee required in terms of this contract has been received and accepted by the person notified to the Contractor by the Project Manager to receive and accept such bond or guarantee.  Such withholding of payment due to the Contractor does not affect the Employer’s right to termination stated in this contract.

## Training workshops and technology transfer

No on job training workshops or technology transfer is required for this contract.  The Contractor may however use the works as a practical training facility for resources that have to be trained according to the Contractor’s proposal

# Engineering and the Contractor’s design

## Employer’s design

The Employer is responsible for the design of the works and will bear the responsibility for the adequacy of his designs.  The design of the works has been done by the Substation Engineering Department of Group Technology.  The lead Civil Designer is Mr Abdullah Kaka.

The design is done according to the SANS 1200 and is depicted on the drawings and specifications that have been issued as part of the tender.

## Parts of the works which the Contractor is to design

The contract is a traditional “construction only” contract.

## Procedure for submission and acceptance of Contractor’s design

Any proposed design change by the Contractor must be forwarded to the Project Manager for approval prior to the commencement.  This should be done 14 days prior to the Contractor’s planned start date.  The Project Manager will liaise with the applicable Engineering representative and manage the process of approval.  The Contractor will be notified in writing by the Project Manager when the proposal has been approved and when work can commence.

## Equipment required to be included in the works

There is no specific requirement for specialist equipment to be provided by the Contractor for the works.  The Contractor must supply all equipment he deems necessary to complete the works.

## As-built drawings, operating manuals and maintenance schedules

As-built drawings must be marked up by the Contractor in conjunction with the Supervisor.  The final completion certificate for the works will not be issued by the Project Manager unless all as-built drawings have been received.  The Contractor should take note that the 50% retention release is subject to the Employer having received the ash-build drawings.  The Performance Bond will also not be released upon completion of the works in the ash-build drawings have not been received.

# Procurement

## People

### Minimum requirements of people employed on the Site

Police clearance is required for personnel that the Contractor utilises on the site.

### BBBEE and preferencing scheme

Please refer to Annexure  F?????????????????????????????????????????????????????????

The Contractor must refer to the Eskom Standard:  Application or Broad – Based Black Economic Empowerment Codes of Good Practice within Eskom: (Standard 32-417, rev 0, April 2009).  This standard is included elsewhere in the documents and the Contractor must familiarise themselves with the content and requirements thereof.

## Accelerated Shared Growth Initiative – South Africa (ASGI-SA)

If the ASGI-SA requirements are to be included in this contract specify constraints which Contractor must comply with after contract award in regard to any ASGI-SA requirements.  The ASGI-SA Compliance Schedule completed in the returnable tender schedules is reproduced here.  If ASGI-SA does not apply, delete this paragraph.

The Contractor complies with and fulfils the Contractor’s obligations in respect of the Accelerated and Shared Growth Initiative - South Africa in accordance with and as provided for in the Contractor’s ASGI-SA Compliance Schedule stated below

.

[Insert the agreed ASGI-SA Compliance Schedule here]

The Contractor shall keep accurate records and provide the Project Manager with reports on the Contractor’s actual delivery against the above stated ASGI-SA criteria.   [Elaborate on access to and format of records and frequency of submission etc.]

The Contractor’s failure to comply with his ASGI-SA obligations constitutes substantial failure on the part of the Contractor to comply with his obligations under this contract.

## Subcontracting

### Preferred subcontractors

The Employer does not have any preferred sub-contractors which the Contractor must use.  The Contractor must source products that are to specification.

### Subcontract documentation, and assessment of subcontract tenders

The Employer expects the Contractor to manage his sub-contractors in the same way that the Employer manages the Contractor.  Special attention must be given to the management of the sub-contractors SHEQ compliance in the same way that the Employer manages the Contractor.

It is recommended that the Contractor make use of the NEC contracting system to ensure a contracting standard throughout.

The Employer must approve all sub-contractors and suppliers that the Contractor employs for this contract.

### Limitations on subcontracting

Sub-contracting will be allowed and list of proposed sub-contractors must be included in the tender document as part of technical returnable.  All sub-contractors must be approved by the Project Mangar prior to appointment by the Contractor.

## Plant and Materials

### Plant & Materials provided “free issue” by the Employer

No Plant or Materials are provided “free issue” to the Contractor for this Civil and Building Contract.  All plant and Materials are to be provided by the Contractor.

### Contractor’s procurement of Plant and Materials

All transportation to site of plant and material required for this project will be by means of road transport.  The Contractor must familiarise himself with the road conditions to site.

The Contractor must prepare a fenced off storage yard on or off-site for the off-loading and safekeeping of all plant and material delivered to site.  Material must be off loaded and stored separately in areas allocated for this purpose.  The Contractor must manage such storage areas as to ensure safety compliance as well as security of the plan and material.

### Spares and consumables

None

## Tests and inspections before delivery

Will be done as per the quality plan.

## Marking Plant and Materials outside the Working Areas

There are no requirements for the “Marking” of Plant and Materials outside the Working Areas as no payment will be made before delivering of Plant and Materials to sit.

# Construction

## Temporary works, Site services & construction constraints

### Employer’s Site entry and security control, permits, and Site regulations

The Contractor will be required to monitor and control access to the site.  For this purpose a single access control point to the site must be established and the Contractor is responsible to provide full time personnel to man this access point during the agreed working hours.  All employees and visitors to site must undergo an alcohol test which must be carried out by the said Contractors personnel.  There is an Eskom appointed security company based fulltime to guard and control access at Neptune Substation.  In instances where the Contractor needs to appoint security, the Contractor must contract the same security company as that appointed by Eskom.

An entry register must be kept on a daily basis of all vehicles and personnel that enter the site.

All security personnel appointments will be done in accordance with our Eskom’s security specifications as stipulated in Annexure E.

### Restrictions to access on Site, roads, walkways and barricades

The Contractor must ensure circular traffic flow of plant and vehicles on site.  Vehicles should only travel in one direction on site albeit it clockwise or anti-clockwise.  Parking areas for plant and site vehicles should be clearly de-marketed and all vehicles and plant must revers park.

### People restrictions on Site; hours of work, conduct and records

The Contractor must clearly indicate their proposed working hours in the tender and specifically in the programme issued with the tender.  After award the Contractor will adhere to these agreed working hours and keep detailed and accurate records of such on a daily basis.  The Supervisor must sign these records on a daily basis and the Project Manager  and Supervisor must have access to these records at any time.

The Contractor must clearly indicate any shift work or extended working hours work that is required in order to meet with the required completion and milestone completion dates of the contract.  The Project Manager and SHEQ manager’s permission must be obtained prior to working such hours.  Permission will only be granted if the longer hours worked have been accepted in writing by the Department of Labour.

### Health and safety facilities on Site

The Contractor must refer to: Safety, Health and Environmental Specification for the works.

### Title to materials from demolition and excavation

The Contractor has no title to materials from excavation and demolition.

### Cooperating with and obtaining acceptance of Others

To complete the Neptune Substation project, one civil contract and electrical contracts will be let by the Employer.  The Contractor who is awarded the minor civil works contract must take note of the fact that they might be required to share the working areas with and will have to co-operate with the electrical contractors during the execution of the civil works, if necessary.  Initially the Contractor will be the only contractor on site.  After the first milestone activity is completed co-operation and sharing of the working areas will be required.

### Publicity and progress photographs

The Supervisor will record progress by means of a photographic record as required by the Project Manager.  All work will be photographed at the QITP hold points so that a photographic record exists of the quality compliance of the work during the various stages of construction.

### Contractor’s Equipment

The Contractor must keep a daily record of all equipment and machinery on site.  The information must be captured in such a way that differentiation is made between hired and owned plant and equipment.  The record must also clearly indicate when plant is working and who the operator of the said plant was for the recorded shift.

These records must be verified and signed off by the Supervisor on a daily basis and this document must be available on site at all times.

### Equipment provided by the Employer

No equipment will be provided by the Employer

### Site services and facilities

The Employer has electricity connection point and there is rainwater supply for domestic purposes only however the water is not suitable for human consumption. The Contractor shall provide supply points necessary for the works. Toilet facilities are not available on site; the Contractor is advised to provide his own portable toilet facilities. The Contractor is to ensure that these facilities are kept in a clean condition to Eskom’s satisfaction.  The Contractor shall provide everything else necessary for providing the works.

- A low voltage AC Supply belonging to Eskom Transmission is available for construction purposes. Eskom Transmission will provide the construction supply from the substation.

- A sewage line is available to connect ablution facilities

- Cell phone coverage to all networks is available at both Substations and on the Transmission Line route

- A rainwater supply is available at Neptune but the water is not suitable for drinking purposes

- A police station is situated approximately ± 20 kilometres from Neptune MTS site

- A hospital is located approximately ± 20 kilometres from Neptune MTS site

### Facilities provided by the Contractor

The Preliminary and General section of the bill of quantities itemises the offices that are required by the Employer for the Employers Supervisor and site staff.  The Contractor must price for these items.

The Contractor must provide drawings of their proposed construction yard on site as well as any accommodation camps that they propose to establish.  These drawings must be included in the tender documentation and must conform to all the Safety, Health and Environmental requirements for this project.

### Existing premises, inspection of adjoining properties and checking work of Others

Circuit breaker and isolator support steel structures are not provided by the Contractor as part of this contract. The Contractor must liaise with the OEM (Original Equipment Manufacturer) as well as the Supervisor and do a physical handover of these foundations to the OEM. The Contractor must ensure that the OEM accepts these foundations and confirms that the dimensions of the foundations and specifically the holding down bolts are as per the OEM’s specification. Such agreement must be in writing and handed over to the Supervisor as part of the formal handover documentation upon completion of the works.

Transformer plinth must follow the same process as described above. The Contractor must ensure that the Transformer supplier verifies the level of the plinths and that such agreement is also in writing.  Tolerances for the plinths are as described in SANS 1200 G:  Concrete (Structural) Va-G6.2.3 d.  Contact particulars of the Transformer supplier will be forwarded to the Contractor by the Supervisor.

### Underground services, other existing services, cable and pipe trenches and covers

Before any work commences, it will be the responsibility of the Contractor to ascertain

from the “engineering assistant” on site the position of any existing services on site.  Once these

are indicated to the Contractor they shall be deemed “known”.  Any costs incurred for repairs to any “known” services shall be for the Contractor’s account

### Control of noise, dust, water and waste

The control of noise, dust, water and waste is addressed in the Environmental Plan as well as Safety, Health and Environmental specification.  The Contractor must familiarise himself with these requirements and price for accordingly in the preliminary and general section of the Bill of Quantities.

### Sequences of construction or installation

Once the milestone completion dates have been achieved, delivery of equipment and installation will commence. The Contractor must take note that they will have to grant access to the foundations for the offloading of these equipment.

### Giving notice of work to be covered up

QITP’s for any work below or above the terrace surface that needs to be covered up, e.g. foundations must include a hold point for a visual inspection prior to covering.  The Contractor must give the supervisor notice at the start of the shift (working day) on which such an inspection is required.

## Completion, testing, commissioning and correction of Defects

### Work to be done by the Completion Date

On or before the Completion Date the Contractor shall have done everything required to Provide the Works except for the work listed below which may be done after the Completion Date but in any case before the dates stated.  The Project Manager cannot certify Completion until all the work except that listed below has been done and is also free of Defects which would have, in his opinion, prevented the Employer from using the works and Others from doing their work.

|  | Item of work | To be completed by |
| --- | --- | --- |
|  | As built drawings | Within 14 days after Completion |

### Materials facilities and samples for tests and inspections

The Employer will not provide any materials facilities and samples for tests and inspections

The Contractor must supply materials facilities and samples for tests as prescribed in the relevant

SANS practice code.

### Commissioning

The Contractor is required to commission the low voltage electrical installation as well as the mechanical installation that may be installed.

### Start-up procedures required to put the works into operation

There are no requirements or start-up procedures required form the Contractor to put the works into operation.

### Take over procedures

Takeover of the Civil and building work will be done in accordance with the check sheets for HV Substation work to be taken over by the Asset owner.  (TPC 41-141, rev0)

### Access given by the Employer for correction of Defects

The Project Manager will make arrangements for the Contractor to gain access to the site to correct defects after completion of the civil works.  If at this time the substation is energised the Contractor will have to work under a permit and will have to have supervisory staff that have Responsible Person appointment in terms of the Eskom ORHVS regulation.

# Plant and Materials standards and workmanship

## Appendixes SHEQ documents

# List of drawings

## Drawings issued by the Employer

This is the list of drawings issued by the Employer at or before the Contract Date and which apply to this contract. Where provisional drawings where provided, the Contractor will be issued with construction drawings at contract award stage.

Note:  Some drawings may contain both Works Information and Site Information.

| Drawing Title | Drawing No. | Revision No. |
| --- | --- | --- |
| Electrical Drawings |  |  |
| Station Electric Diagram | Nep12P01-SE-D6 | 0 |
| Steelwork Marking Plan | Nep12P01-SE-D13 | 0 |
| Steelwork Layout- Schedules | 0.17 | 0 |
| Bay Layouts- 400kv Feeder 1 Bay Layout And Earthing | Nep13P01-SE-D16 | 0 |
| Foundation |  |  |
| Medium Equipment Support Foundation Details | 0.54/308 | 9 |
| Medium Equipment Pad Type Foundation Detail | 0.54/401 | 3 |
| Large Equipment Support Pad Type Foundation Detail | 0.54/4368 | 3 |
| Label 1 Frame and Post Support Foundation | 0.54/401 | 8 |
| Junction Box Foundation Detail 1995 Onwards. | 0.54/4713 | 5 |
| 400Kv HAPAM Pantograph Isolator 3300 High For Triple AAC Busbars Foundation Details | 0.54/5829 | 3 |
| 275/400kV Yard Steelwork Trench Line Trap-Medium Equipment Support Cap (1314 PCD) | 0.54/6008 | 1 |
| ALSTOM 400kV Sep MTD E/S Support Structure with Optional Adapter Plate For Old Structure Phase Centres 5500mm | SA34247 | 0 |
| 275/400 kV 3 Pole Areva Earthing Switch Support Foundation | 0.54/6432 | 1 |
| 400kV ABB Circuit Breaker (50Ka rating ) Type HPL 42082 & LTB 420E2 Circuit Breaker Foundation (Pad 2,8x2,8) | 0.54/7868 | 0 |
| 400kV ABB Circuit Breaker (50Ka Rating) Type HPL 420B2 & LTB 420E2 Circuit Breaker Foundation (Pad 2,8x2,8) | 0.54/7868 | 1 |
| 275kV ABB Circuit Breaker (50Ka Rating) Type HPL 300B1 Circuit Breaker Foundation (Pad 2,5x2,5) | 0.54/7869 | 0 |
| 275kV ABB Circuit Breaker (50Ka Rating) Type HPL 300B1 Circuit Breaker Foundation ( Pad 2,5x2,5) | 0.54/7869 | 0 |
| Neptune 400kV And 132kV Yard Foundation, Trench and Earthmat | Nep12P01-SE-D9 | 0 |
| Steelwork |  |  |
| Medium Equipment Support 2500 High | 0.54/302 | 2 |
| Medium Equipment Support 3000 High | 0.54/303 | 2 |
| Medium Equipment Support 3500 High | 0.54/304 | 2 |
| Small/Medium Equipment Support Cap ‘M1’ Adjustable Fixing Centres 100 To 700 x 100 To 706 M16 Fixings | 0.54/306 | 6 |
| Medium Equipment Support Cap ‘M2’ Adjustable Fixing Centres 100 To 706 x 100 To 706 M20 Fixings | 0.54/307 | 4 |
| Large Equipment Support | 0.54/309 | 2 |
| Large Equipment Support Cap ‘L2’ Adjustable Fixing Centres 146 To 1010 x 146 To 1010 M20 Fixings | 0.54/311 | 1 |
| Medium Equipment Support Cap ‘M5’ Adjustable Fixing Centres 8 Holes on 172 To 280 PCD M16 Fixing | 0.54/779 | 6 |
| Label 1 Frame and Post Support | 0.54/400 | 6 |
| 400Kv Post Insulator Support. Tubular Substation | 0.54/3553 | 0 |
| Top Cap For Surge Arresters. Use With Existing Top Cap Dia. 14 Holes on 240 PCD | 0.54/6326 | 2 |
| Alstom 400kV Isolator Support Structure With Optional Adapter Plate For Old Structure Phase Centres 5500 | SA34246 | 1 |
| 400Kv Areva Isolator Support Foundation Details | 0.54/6435 | 1 |
| Alstom 400kV Pantograph Structure 3224 High | SA34242 | 0 |
| Stativsats (3 st) Set of Frame (3 pcs) | 1HSB445284-BA | Sheet 1 |
| Frame Stativ | 1HSB445284-Y | Sheet 1 |
| Set of Frame parts Stativsats | 1HSB445284-M | Sheet 1 |
| Stay | 1HSB442176-1 | Sheet 1 |
| Frame | 1HSB445284-U | Sheet 1 |
| Plate | 1HSB442154-3 | Sheet 1 |
| Leg For Frame | 1HSB442175-12 | Sheet 1 |
| Leg For Frame | 1HSB442175-13 | Sheet 1 |
| Plate | 1HSB442154-2 | Sheet 1 |
| Frame | 1HSB445284-T | Sheet 1 |
| Leg For Frame | 1HSB442175-11 | Sheet 1 |
| Leg For Frame | 1HSB442175-10 | Sheet 1 |
| Stay | 1HSB442176-8 | Sheet 1 |

C3.2	Contractor’s Works Information

This section of the Works Information will always be contract specific depending on the nature of the works. It is most likely to be required for design and construct contracts where the tendering contractor will have proposed specifications and schedules for items of Plant and Materials and workmanship, which once accepted by the Employer prior to award of contract now become obligations of the Contractor per core clause 20.1. Typical sub headings could be a) Contractor’s design b) Plant and Materials specifications and schedules c) Other

This section could also be compiled as a separate file.