Part 4: Site Information

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 |
| C4 | Site Information | 1 |
|  | Total number of pages | 2 |

Part 4: Site Information

- General description

Neptune Substation (Co-ordinates 32°54'4.60"S 27°51'34.79"E) is an existing substation close to town East London.in the Eastern Cape. All the relevant information with regards to the site is in the drawings provided in the Works Information.

- Existing buildings, structures, and plant & machinery on the Site

Various activities in the scope of work are to be carried out on existing structures or facilities, thus site information is as-built.

- Subsoil information

All work will be done on the existing platform.

- Hidden services

Before any work commences, it will be the responsibility of the Contractor to ascertain from the substation  “Engineering Assistant” the position of any existing services on site. Once these are indicated to the contractor they shall be deemed “known”. Any costs incurred for repairs to any “known” services shall be for the Contractor’s account

- Other reports and publicly available information

- Contractor shall adhere to all procedures set for access to the station, including acquiring security clearance where necessary.

- The HV yard where the work will take place is situated within the boundaries of an existing substation and all Eskom rules and regulations shall be adhered to when operating in this area.

- The Contractor is to inspect the site in order to ascertain the conditions and extent of his risk.

- The Contractor should indicate work sequence and the limitations of access when submitting the programme to Eskom