Part 3: Scope of Work

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 |
| C3.1 | Employer’s Works Information |  |
| C3.2 | Contractor’s Works Information (insert at award stage or delete if not applicable) |  |
|  | Total number of pages |  |

C3.1: Employer’s works Information

Contents

When the document is complete, insert a ‘Table of Contents’.  To do this go to:  Insert, → Reference, → Index and tables → Table of Contents.  Three levels and the title (but not the subtitle) may be shown if the formats used in this template are retained.

Part 3: Scope of Work	1

C3.1: Employer’s works Information	2

1	Description of the works	5

1.1	Executive overview	5

1.2	Employer’s objectives and purpose of the works	5

1.3	Interpretation and terminology	5

2	Management and start up.	5

2.1	Management meetings	5

2.2	Documentation control	6

2.3	Health and safety risk management	6

2.4	Environmental constraints and management	7

2.5	Quality assurance requirements	7

2.6	Programming constraints	7

2.7	Contractor’s management, supervision and key people	7

2.8	Invoicing and payment	7

2.9	Insurance provided by the Employer	8

2.10	Contract change management	8

2.11	Provision of bonds and guarantees	8

2.12	Records of Defined Cost, payments & assessments of compensation events to be kept by the Contractor	8

2.13	Training workshops and technology transfer	8

3	Engineering and the Contractor’s design	9

3.1	Employer’s design	9

3.2	Parts of the works which the Contractor is to design	9

3.3	Procedure for submission and acceptance of Contractor’s design	9

3.4	Other requirements of the Contractor’s design	9

3.5	Use of Contractor’s design	9

3.6	Design of Equipment	9

3.7	Equipment required to be included in the works	10

3.8	As-built drawings, operating manuals and maintenance schedules	10

4	Procurement	11

4.1	People	11

4.1.1	Minimum requirements of people employed on the Site	11

4.1.2	BBBEE and preferencing scheme	11

4.1.3	Accelerated Shared Growth Initiative – South Africa (ASGI-SA)	11

4.2	Subcontracting	11

4.2.1	Preferred subcontractors	11

4.2.2	Subcontract documentation, and assessment of subcontract tenders	11

4.2.3	Limitations on subcontracting	12

4.2.4	Attendance on subcontractors	12

4.3	Plant and Materials	12

4.3.1	Quality	12

4.3.2	Plant & Materials provided “free issue” by the Employer	12

4.3.3	Contractor’s procurement of Plant and Materials	12

4.3.4	Spares and consumables	12

4.4	Tests and inspections before delivery	13

4.5	Marking Plant and Materials outside the Working Areas	13

4.6	Contractor’s Equipment (including temporary works).	13

4.7	Cataloguing requirements	13

5	Construction	14

5.1	Temporary works, Site services & construction constraints	14

5.1.1	Employer’s Site entry and security control, permits, and Site regulations	14

5.1.2	Restrictions to access on Site, roads, walkways and barricades	14

5.1.3	People restrictions on Site; hours of work, conduct and records	14

5.1.4	Health and safety facilities on Site	14

5.1.5	Environmental controls, fauna & flora, dealing with objects of historical interest	14

5.1.6	Title to materials from demolition and excavation	14

5.1.7	Cooperating with and obtaining acceptance of Others	15

5.1.8	Publicity and progress photographs	15

5.1.9	Contractor’s Equipment	15

5.1.10	Equipment provided by the Employer	15

5.1.11	Site services and facilities	15

5.1.12	Facilities provided by the Contractor	15

5.1.13	Existing premises, inspection of adjoining properties and checking work of Others	15

5.1.14	Survey control and setting out of the works	16

5.1.15	Excavations and associated water control	16

5.1.16	Underground services, other existing services, cable and pipe trenches and covers	16

5.1.17	Control of noise, dust, water and waste	16

5.1.18	Sequences of construction or installation	16

5.1.19	Giving notice of work to be covered up	16

5.1.20	Hook ups to existing works	16

5.2	Completion, testing, commissioning and correction of Defects	17

5.2.1	Work to be done by the Completion Date	17

5.2.2	Use of the works before Completion has been certified	17

5.2.3	Materials facilities and samples for tests and inspections	17

5.2.4	Commissioning	17

5.2.5	Start-up procedures required to put the works into operation	17

5.2.6	Take over procedures	18

5.2.7	Access given by the Employer for correction of Defects	18

5.2.8	Performance tests after Completion	18

5.2.9	Training and technology transfer	18

5.2.10	Operational maintenance after Completion	18

6	Plant and Materials standards and workmanship	19

6.1	Investigation, survey and Site clearance	19

6.2	Building works	19

6.3	Civil engineering and structural works	19

6.4	Electrical & mechanical engineering works	20

6.5	Process control and IT works	20

6.6	Other [as required]	20

7	List of drawings	21

7.1	Drawings issued by the Employer	21

C3.2	Contractor’s Works Information	22

# Description of the works

## Executive overview

Put yourself in the position of the Contractor’s senior management who need a high level overview of what is involved – the scope of work - so that they can decide when tendering whether they have the resources and capability to undertake the work.  Include a description of the different services and disciplines of work involved within the works and the location where most of the work will be carried out

The scope of work covers the manufacture, testing, delivery and installation of a Metal Oxide Varistor (MOV) for use on the Blue Phase at Serumula Series Capacitor Bank, at Serumula Substation.

The removal of the Blue Phase MOV and the repositioning of the spare modules utilised from the Red & White phases to be done by the Southern Grid. Grid to re-commission the series Capacitor Bank following the MOV replacement.

The contractor must refer to the issued standards 240-79570028 (Technical Evaluation Standard For Station Class Surge Arresters) and 240-170000366 (Specification For The Replacement Of The Serumula Blue Phase MOV).

## Employer’s objectives and purpose of the works

Provide an outline of the Employer’s business case for the delivered project / contract.  Describe the purpose of the works in such a manner that a legal test of ‘fitness for purpose’ can be applied in the event of any dispute about overall performance of the works.

The Serumula 400kV Series Capacitor Bank No. 1 was switched out of service after routine inspections identified a MOV being faulty on the Blue Phase, on 26 May 2020.

An onsite investigation was conducted by the Free State Grid and HV Plant Departments on 23 June 2020 that included the Insulation Coordination and Power Electronics sections. There was no interruption of supply to customers. The objective is to replace the entire MOV module on the Blue Phase.

## Interpretation and terminology

If required include here definitions additional to those used in the conditions of contract which are required only for the purpose of making the Works Information easier to draft and read.  Also list abbreviations used and provide a full interpretation of each one, for example:

The following abbreviations are used in this Works Information:

| Abbreviation | Meaning given to the abbreviation |
| --- | --- |
| AFC | Approved for construction |
| HV | High voltage |
| MOV | Metal Oxide Varistor |
| OEM | Original Equipment Manufacturer |
| PM | Project Manager |
| OBL | Outside battery limits |

# Management and start up.

## Management meetings

The conditions of contract (e.g. Clause 16.2) require and other sections of the Works Information (e.g. safety risk management) may require (mandate) that a meeting shall be held.  However the intention of all NEC contracts is that the Parties and their agents use the techniques of partnering to manage the contract by holding meetings designed to pro actively and jointly manage the administration of the contract with the objective of minimising the adverse effects of risks and surprises for both Parties.

Depending on the size and complexity of the works, it is probably beneficial for the Project Manager to hold a weekly risk register meeting (Clause 16.2).  This could be used to discuss safety, compensation events, subcontracting, overall co-ordination and other matters of a general nature.  Separate meetings for specialist activities such as programming, engineering and design management, may also be warranted.

Describe here the general meetings and their purpose. Provide particulars of approximate times, days, location, and attendance requirements, stipulating that attendees shall have the necessary delegated authority to make decisions in respect of matters raised at such meetings.

The right to hold specialist meetings should be stated generically and in such a way that ambiguity with other parts of the Works Information is avoided.

The following text could be used as a model for this section:

Regular meetings of a general nature may be convened and chaired by the Project Manager as follows:

| Title and purpose | Approximate time & interval | Location | Attendance by: |
| --- | --- | --- | --- |
| Risk register and compensation events | As necessary | Serumula Substation | PM, Contractor and Site Supervisor. |
| Overall contract progress and feedback | Monthly | Serumula Substation | PM, QS, Contractor, Site Supervisor, and Grid representatives. |
| Toolbox talk and risk assessment | Daily before work begins. | Serumula Substation | Contractor and Site Supervisor. |
| Inaugural meeting | Before or after safety and environmental files have been assessed and approved. | Serumula Substation | PM, QS, Site Supervisor, EA, Grid safety and environmental representatives and the Contractor. |

Meetings of a specialist nature may be convened as specified elsewhere in this Works Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the works.  Records of these meetings shall be submitted to the Project Manager by the person convening the meeting within five days of the meeting.

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.

## Documentation control

Specify how documentation will be identified with an alpha numeric which indicates source, recipient, communication number etc.  Provide details of any particular format or other constraints; for example that all contractual communications will be in the form of properly compiled letters or forms attached to e mails and not as a message in the e mail itself.  State any particular routing requirements but note from ECC who issues what to whom.

2.2.1	Contractual communication

•	All correspondence is to be addressed to the Project Manager with a sequential numbering system.

•	Properly compiled letters on official Company letterhead or forms attached to an email and not as a message in an email itself.

2.2.2	Site communication

•	Site instruction issued by the Site Supervisor with instruction from PM.

•	Any communication to be addressed to the PM.

•	Contractor daily site diary which must be signed daily and be kept up to date at all times.

## Health and safety risk management

In addition to the requirements of the laws governing health and safety, Eskom may have some additional requirements particular to the works and the Working Areas for this contract.  The text below provides for these being attached as an Annexure to this Works Information. PLEASE ALSO READ CORE CLAUSE 27.4 TOGETHER WITH Z7 IN THE ADDITIONAL CONDITIONS OF CONTRACT TO MAKE SURE THAT WHATHEVER IS INCLUDED IN THE ANNEXURE FOLLOWS ON FROM THOSE CLAUSES.

The Divisional/Regional Safety Risk Manager or his representative having jurisdiction over the works must provide the relevant safety, health and environmental (SHE) criteria for incorporation into this Works Information. The SHE specification / scope must be signed off by the Divisional/Regional Safety Risk Manager or his representative confirming that the applicable safety criteria have been taken into account.

The Commodity Manager / Buyer must refer the tender to the Divisional/Regional Safety Risk Manager or his representative in order to evaluate against enquiry-specific safety criteria.

The Divisional Safety Risk Managers who will be responsible for the allocation of resources to assist P&SCM with the above processes are as follows:

·         Generation: Roley McIntyre

·         Transmission: Tony Patterson

·         Distribution: Alex Stramrood

·         Enterprises: Jace Naidoo

·         Corporate: Kerseri Pather

The Contractor shall comply with the Occupational Health & Safety Act No. 85 of 1993 and Eskom’s Contractor Health and Safety Requirements 32-136, SHE Specification and all other related Eskom and Construction Regulations.

The Contractor shall comply with the health and safety requirements contained in Annexure ___________ to this Works Information.

## Environmental constraints and management

Describe or cross refer to environmental constraints applicable to the Contractor’s design and his activities on Site and how they should be managed.  Include here or cross refer to an Annexure to the Works Information.

The Contractor shall comply with the environmental criteria and constraints stated in Annexure ________

The Contractor shall control his activities and processes in accordance with Eskom SHEQ Policy 32-727. The Eskom EMP provides for the Aspects and Impacts that will require management and must be followed strictly during construction of works. For tendering purposes, contractor shall prepare a separate mitigation plan for all environmental concerns raised through the EMP and in any other relevant forum such clarification meetings

Any changes to the approved environmental mitigation plan (method statement / EMP) shall be reported and approved by the Grid Environmental Advisor and Project Manager prior to the commencement of work and during construction. The supplier must ensure that all sub-contractors’ environmental mitigation plan comply with legal and other requirements and also includes all the environmental risks associated with the scope of work.

The Contractor is required to ensure that all goods, services or works supplied in terms of this tender also conform to all applicable environment legislation(s), 32-727: Eskom SHEQ Policy, 32-726: SHE Requirements for the Eskom Commercial Process (additional requirements)

The contractor must send a flash report for any environmental incidents that has occurred on site as soon as possible or within 24 hours to the Site Supervisor /Grid Environmental Advisor and PM clearly stating any impact to the environment.

No environmental records shall be destroyed or discarded by the supplier. Eskom and the supplier shall agree that the supplier retains certain environmental records

Waste generated during construction of civil works at Serumula Substation must be disposed of at a registered site and contractor shall retain records of disposal

Deviations from these requirements will be regarded as a non-conformance. Should there be concerns regarding environmental performance and non-conformance to environmental requirements, management engagements and interventions will be introduced to determine a means to addressing the shortfalls.

Once these interventions have been explored and exhausted, then the Eskom supplier disciplinary process must be followed.

## Quality assurance requirements

Specify minimum requirements for the Contractor’s Quality Plan and Work Procedures or provide the Employer’s Quality Plan if that is to be used.  Make sure witness and hold points are identified generally and describe any particular requirements for QA outside the working areas.  Indicate how the Contractor’s QA documentation is to be submitted for acceptance and any conditions that need to be imposed relating to acceptance.  State whether ISO compliance is a condition and if so which ISO standard shall apply.

The Contractor shall control his activities and processes in accordance with Eskom SHEQ Policy 32-727. The Eskom EMP provides for the Aspects and Impacts that will require management and must be followed strictly during construction of works. For tendering purposes, contractor shall prepare a separate mitigation plan for all environmental concerns raised through the EMP and in any other relevant forum such clarification meetings

Any changes to the approved environmental mitigation plan (method statement / EMP) shall be reported and approved by the Grid Environmental Advisor and Project Manager prior to the commencement of work and during construction. The supplier must ensure that all sub-contractors’ environmental mitigation plan comply with legal and other requirements and also includes all the environmental risks associated with the scope of work.

The Contractor is required to ensure that all goods, services or works supplied in terms of this tender also conform to all applicable environment legislation(s), 32-727: Eskom SHEQ Policy, 32-726: SHE Requirements for the Eskom Commercial Process (additional requirements)

The contractor must send a flash report for any environmental incidents that has occurred on site as soon as possible or within 24 hours to the Site Supervisor /Grid Environmental Advisor and PM clearly stating any impact to the environment.

No environmental records shall be destroyed or discarded by the supplier. Eskom and the supplier shall agree that the supplier retains certain environmental records

Waste generated during construction of civil works at Serumula Substation must be disposed of at a registered site and contractor shall retain records of disposal

Deviations from these requirements will be regarded as a non-conformance. Should there be concerns regarding environmental performance and non-conformance to environmental requirements, management engagements and interventions will be introduced to determine a means to addressing the shortfalls.

Once these interventions have been explored and exhausted, then the Eskom supplier disciplinary process must be followed.

## Programming constraints

Describe the programming system (application) to be used if it is necessary to dictate this for project coordination purposes.  Read clause 31.2 first then state the work of the Employer and Others to be shown on the programme per 4th bullet of clause 31.2 and what additional information (if any) is to go in the programme per the last bullet of clause 31.2.  Describe any particular constraints on the order and timing of the work which the Contractor must take into account in his programme.

A comprehensive and fully detailed programme is to be submitted within the seven (7) days after the inaugural meeting and should be in MS Project format, indicating all milestones and critical dates. This programme must first be approved by the Project Manager and must be updated monthly or as requested by the Project Manager.

The following dates shall be clearly reflected on the programme:

Starting and completion dates for all activities as well as relevant key dates for hold or witness points. All relevant significant activities shall be shown in order to monitor the progress on site or in the workshop. The programme shall also reflect a 2-week period for inspection and correcting of Defects before the completion date.

Updated programmes must be available at all site meetings reflecting progress to date.

## Contractor’s management, supervision and key people

State any additional constraining requirements on Contractor’s supervision and key people that are not already stated in other sections such as for Health and Safety.  This section could be used to solicit an organogramme from the Contractor showing his people and their lines of authority / communication.  This would be essential if the Contractor is a Joint Venture.

The Contractor is to submit an organogram showing all key people involved in the contract 7 (seven) days after contract award. All key personnel must be appointed in writing, must be current for the specific site and area of work and must be kept on file at all times.

## Invoicing and payment

The Z clauses make reference to invoicing procedures stated here in this Service Information. Also include a list of information which is to be shown on an invoice.

Within one week of receiving a payment certificate from the Project Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice showing the amount due for payment equal to that stated in the Project Manager’s payment certificate.

The Contractor shall address the tax invoice to Eskom Holdings SOC Ltd and include on each invoice the following information:

- Name and address of the Contractor and the Project Manager;

- The contract number and title;

- Contractor’s VAT registration number;

- The Employer’s VAT registration number 4740101508;

- Description of service provided for each item invoiced based on the Price List;

- Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

- (add other as required)

Add procedures for invoice submission and payment to Invoiceseskomlocal@eskom.co.za

## Insurance provided by the Employer

First read ECC3 Core Clause 87.1 and then add anything necessary for the management of insurance related issues such as a cross reference to where procedures for making claims can be found.  Also provide contact details for persons capable of being able to answer any insurance related queries the Contractor may have, as well as to whom the information required by Marine Insurance may be addressed.

As stated in “Format A” available on http://www.eskom.co.za/live/content.php?Item_ID=9248. (See Annexure B for basic guidance).

## Contract change management

This section is intended to deal with any additional requirements to the compensation event clauses in section 6 of the core clauses; such as the use of standard forms.  Not the same thing as documentation control.

Where standard forms are available they should be used.

## Provision of bonds and guarantees

The form in which a bond or guarantee required by the conditions of contract (if any) is to be provided by the Contractor is given in Part 1 Agreements and Contract Data, document C1.3, Sureties.

The Employer may withhold payment of amounts due to the Contractor until the bond or guarantee required in terms of this contract has been received and accepted by the person notified to the Contractor by the Project Manager to receive and accept such bond or guarantee.  Such withholding of payment due to the Contractor does not affect the Employer’s right to termination stated in this contract.

## Records of Defined Cost, payments & assessments of compensation events to be kept by the Contractor

If Option C, D, E or F applies first read clause 52.2 and then state whether the Contractor is required to keep any other records.  Include any other constraint which may be required in regard to format and filing of the records, and whether access for the Project Manager shall be provided in hard copy or electronically.

Could delete if Options A & B apply unless the Employer requires some form of control over the Contractor’s record keeping.

The Contractor is to keep proof/invoices of all costs incurred for a compensation event and submit them to the Project Manager.

## Training workshops and technology transfer

Describe type and frequency of on job training workshops, as well as any obligation for technology transfer being included as part of the contract on Completion of the works.

Not applicable? Technical training during the duration of the project for technician/EA?

# Engineering and the Contractor’s design

The content of this section will depend on whether the contract is for construction only with most of the design done by (or for) the Employer or whether it is a ‘design and construct’ contract.  ECC provides for design by either Party in any proportion, which proportion done by the Contractor must be stated in this part of the Works Information.

## Employer’s design

Either

Describe what the Employer has designed for the works when the Contractor is mainly doing construction only.  Could even state who has done or is doing the design for the Employer as this will give the Contractor an idea of the standard he may expect.

Or

Provide the Employer’s operating philosophy / user requirement specification (URS) / performance specification to which the Contractor is to comply when he is required to design the works.

Eskom has designed the works to be executed on standards 240-79570028 (Technical Evaluation Standard For Station Class Surge Arresters) and 240-170000366 (Specification For The Replacement Of The Serumula Blue Phase MOV). The bill of quantities has been prepared according to the requirements.

## Parts of the works which the Contractor is to design

This is a mandatory requirement of core clause 21.1 and must be addressed in detail.  Even when the contract is a traditional ‘construction only’ contract, the Contractor is probably still required to carry out workshop details from overall drawings provided by the Employer and to design temporary works.

The design work must be done by the Contractor as per the standards 240-79570028 (Technical Evaluation Standard For Station Class Surge Arresters) and 240-170000366 (Specification For The Replacement Of The Serumula Blue Phase MOV).

## Procedure for submission and acceptance of Contractor’s design

This is a mandatory requirement of core clause 21.2 and must be addressed. Identify the extent of detail (the particulars) of the Contractor’s design which is to be submitted to the Project Manager for his acceptance.  This procedure may also include a design stage activity matrix or requirements for co-operation with Others on a multi party project.  State requirements for drawings to be prepared by the Contractor.

The design work must be done by the Contractor as per the standards 240-79570028 (Technical Evaluation Standard For Station Class Surge Arresters) and 240-170000366 (Specification For The Replacement Of The Serumula Blue Phase MOV).

## Other requirements of the Contractor’s design

Use this section to describe any particulars which must be taken into account by the Contractor in his design; for example codification (configuration management) of Plant and Materials.

## Use of Contractor’s design

First read core clause 22.1 and then include here the exceptions and other purposes if applicable.  If there are none this section could be deleted leaving the core clause to stand.

The design work must be done by the Contractor as per the standards 240-79570028 (Technical Evaluation Standard For Station Class Surge Arresters) and 240-170000366 (Specification For The Replacement Of The Serumula Blue Phase MOV)  for Eskom use only.

## Design of Equipment

On some complex projects requiring sophisticated temporary works, it could be in the Parties best interests that some details of the Contractor’s design or proposed design of Equipment are shared with the Project Manager, not necessarily for his acceptance but as an assurance that the Equipment will be able to allow the Contractor to Provides the Works efficiently and without delay.  For example a tunnel boring machine, or specialised shuttering for a bridge or caisson.  Draft in such a way that there is no doubt that the liability for such design and use of the Equipment remains with the Contractor.  Clause 23.1 is always available to the Project Manager if this section is not used.

The design work must be done by the Contractor as per the standards 240-79570028 (Technical Evaluation Standard For Station Class Surge Arresters) and 240-170000366 (Specification For The Replacement Of The Serumula Blue Phase MOV).

## Equipment required to be included in the works

The defined term ‘Equipment’ in core clause 11.2(7) makes a cross reference to the Works Information concerning any Equipment which the Contractor is required to include in the works.  Complete here or if not applicable either delete the heading or retain the heading and state ‘None’.

Not Applicable

## As-built drawings, operating manuals and maintenance schedules

Use this section to describe these requirements.  Pay particular attention to when and in what form they are required.  Consideration should be given to obtaining operating manuals and maintenance schedules before Completion of the whole of the works when there is still considerable financial incentive for the Contractor to do so.

The Contractor is to provide Eskom with detailed “as built” records including where deviations have been made from construction drawings within 14 days after Completion.

The Contractor is to provide copies of the operating manuals as well as the guarantees and/ or warrantees of the installed Metal oxide varistors.

# Procurement

There is a cross reference from the definition of Disallowed Cost in Options C D and E to the Works Information regarding procurement procedures.  This part of the Works Information MUST include any such procedures to be able to administer this procedure.  Options A & B may also require constraints on procurement procedures.

## People

### Minimum requirements of people employed on the Site

Specify any constraints relating to people employed to Provide the Works; for example permits for foreigners, training (other than H & S), use of labour from designated areas and industrial relations.

All people employed on site by the Contractor shall produce Police clearance and ORHVS authorizations work on site can commences. All people on site must abide by the Eskom Life Saving Rules and ORHVS regulations.

### BBBEE and preferencing scheme

Specify constraints which Contractor must comply with after contract award in regard to any Broad Based Black Economic Empowerment (B-BBEE) or preferencing scheme measures.

The Contractor must comply with Eskom’s BBBEE requirements

### Accelerated Shared Growth Initiative – South Africa (ASGI-SA)

If the ASGI-SA requirements are to be included in this contract specify constraints which Contractor must comply with after contract award in regard to any ASGI-SA requirements.  The ASGI-SA Compliance Schedule completed in the returnable tender schedules is reproduced here.  If ASGI-SA does not apply, delete this paragraph.

The Contractor complies with and fulfils the Contractor’s obligations in respect of the Accelerated and Shared Growth Initiative - South Africa in accordance with and as provided for in the Contractor’s ASGI-SA Compliance Schedule stated below

.

[Insert the agreed ASGI-SA Compliance Schedule here]

The Contractor shall keep accurate records and provide the Project Manager with reports on the Contractor’s actual delivery against the above stated ASGI-SA criteria.   [Elaborate on access to and format of records and frequency of submission etc.]

The Contractor’s failure to comply with his ASGI-SA obligations constitutes substantial failure on the part of the Contractor to comply with his obligations under this contract.

## Subcontracting

### Preferred subcontractors

ECC does not make use of nominated subcontracting, but the Employer may list which subcontractors or suppliers the Contractor is required to enter into subcontracts with.  This is usually only required where Plant and Materials need to be obtained from a particular supplier or group of suppliers in order to comply with operational standards.

The Contractor submits the names of each proposed subcontractor to the Employer for acceptance. The Contractor does not appoint a subcontractor until the Employer has accepted him.

### Subcontract documentation, and assessment of subcontract tenders

Specify any constraints on how the Contractor is to prepare subcontract documentation, whether use of the NEC system is compulsory or not (compulsory is recommended) and how subcontract tenders are to be issued, received, assessed (using a joint report?) and awarded.

The NEC system is compulsory for all subcontract documentation subject to Eskom approval.

### Limitations on subcontracting

The Employer may require that the Contractor must subcontract certain specialised work, or that the Contractor shall not subcontract more than a specified proportion of the whole of the contract.

According to Eskom Procurement policy, the main contractor must not subcontract more than 25% of the total contract.

### Attendance on subcontractors

State requirements for attendance on Subcontractors, if any

The Contractor is responsible for Providing the Works as if she/he had not subcontracted the part of the works.

## Plant and Materials

### Quality

Quality is usually designed in or specified in the technical specifications referred to in section 6 of this Works Information.  However to cover circumstances where quality may not be prescribed, this sub-paragraph could be used as an overarching default requirement.  It could also be used to deal with how repairs are carried out after a Defect has been notified; for example can the item be fixed up or must it be replaced by a new one.  See also SANS 1200A, sub-paragraph 3.1

The Contractor shall control his activities and processes in accordance with SHE Requirements for the Eskom Commercial Process:32-726, QM 58 and approved ITP and method statements.

The Contractor shall comply to document 240-79570028 (Technical Evaluation Standard For Station Class Surge Arresters) during the supply and delivery of the metal oxide varistors. The Contractor must allow for Eskom Quality personnel to perform factory quality inspection before material is released and delivered to site. The Contractor must provide the security and storage for material on site and no security will be provided by Eskom.

Materials required for the work must be ordered in time. Special attention should be paid to permits that are required before any delivery can be made on site. Delays as a result of lack of material will not be acceptable and penalties will be imposed.

Schedules must be updated and forwarded to the Project Manager as per agreement.

### Plant & Materials provided “free issue” by the Employer

State arrangements for collection by Contractor or delivery by others on behalf of the Employer, off loading, inspection, storage, care custody and control, return of unused Plant and Materials, etc.  State whether any samples are to be provided by the Employer and if so how, where and when.  Always include a statement to the effect that ‘all other Plant and Materials are to be provided by the Contractor’.

All material needed will be delivered to site by the contractor. The contractor must safeguard the material, complete and submit material recon to the PM biweekly.

### Contractor’s procurement of Plant and Materials

Specify any constraints on how the Contractor is to order, codify, expedite, freight, import, transport to Site and any other requirements for delivery and storage before installation.  The Employer may require warranties from suppliers to be in favour of the Employer and not just to the Contractor during the life of the contract.  Also include requirements for vendor data which the Employer may need after Completion of the whole of the works.   THIS IS A VERY IMPORTANT SECTION IN PROCESS PLANT AND UTILITY PROCUREMENT CONTRACTS.

The Contractor shall comply to document 240-79570028 (Technical Evaluation Standard For Station Class Surge Arresters) during the supply and delivery of metal oxide varistors. The Contractor must allow for Eskom Quality personnel to perform factory quality inspection before material is released and delivered to site. The Contractor must provide the security and storage for material on site and no security will be provided by Eskom.

Materials required for the work must be ordered in time. Special attention should be paid to permits that are required before any delivery can be made on site. Delays as a result of lack of material will not be acceptable and penalties will be imposed.

Schedules must be updated and forwarded to the Project Manager as per agreement.

### Spares and consumables

Some contracts may need to include provision for the supply of a minimum category of spares, fuel, oil or other feed stock and consumables which the Employer may need at or just after take over and that it is best the Contractor provide these initially as part of his Providing the Works.

Not Applicable

## Tests and inspections before delivery

Core Clauses 40 and 41 both make reference to the Works Information regarding tests and inspections.  Specify any requirements here for any tests and inspections that are to be done by the Supervisor or Others before delivery to the Working Areas, particularly if such tests and inspections are to be carried out by agents of the Employer overseas.

## Marking Plant and Materials outside the Working Areas

Core clauses 70.1 and 71.1 require the Works Information to state how the Contractor is to “mark” Plant and Materials which is outside the Working Areas if they are to be paid for before delivery to the Working Areas.  Specify here how the Contractor is to mark the Plant and Materials.

The Contractor shall mark all equipment, plant and material within the working area. The equipment register must be kept on site at all times.

## Contractor’s Equipment (including temporary works).

In contracts which require the Contractor to procure sophisticated or highly specialised Equipment that could have a major influence on the progress of the works, the Employer may wish to exercise constraints or include witness and hold points during manufacture, assembly or delivery of such Equipment.   Include these constraints here taking care not to imply that the Employer or the Project Manager take on any liability as a result.  See also section 3.6 above relating to the design phase of the Contractor’s Equipment.

Contractor to supply all equipment required to complete the scope of work

## Cataloguing requirements by the Contractor

State whether cataloguing is applicable, if it is, reference the requirements for cataloguing that need to be satisfied by the Contractor (consult Procurement Instruction Number 1 of 2018 – Incorporating Cataloguing into the Procurement Environment, Unique Identifier 240-1289988974).

## Not Applicable

# Construction

This part of the Works Information addresses constraints, facilities, services and rules applicable to the Contractor whilst he is doing work on the Site during the construction and maintenance phase.  It does not specify the work itself as that is included in Section 6 of the Works Information.

For contracts involving civil works the approach may be to incorporate SANS1200A or SANS 2000 into the contract.   Whilst many of the headings below address the same issues, the list of headings below is more comprehensive.  If the headings below are used, it may be prudent to delete paragraphs 3, 4 and 5 from 1200A after checking that their requirements have been included below as necessary.  A similar approach can be used in contracts involving building works where the Model Trade Preambles are incorporated.  Care should be taken to avoid inconsistency or ambiguity between this part of the Works Information and standard specifications incorporated by reference.

## Temporary works, Site services & construction constraints

### Employer’s Site entry and security control, permits, and Site regulations

Sites such as Sasol Secunda and Koeberg Nuclear Power Station have very strict entrance requirements which tenderers need to allow for in their prices, and the Contractor has to comply with.  State these or similar requirements here.

Entry to the site is governed by the Grid’s Engineering Assistant and the Contractor shall adhere to all regulations given. All employees are to sign the Workers Register on entering and leaving the working area.

The Contractor is to have an Eskom certified and authorized ORHVS person available on site at all times in accordance with Eskom’s Contractor Health and Safety Requirements 32-136 and Construction Regulations 2014. The authorized ORHVS person is to have a valid first aid level 2 certificate. The authorization procedure for a permit to work shall be done before the Contractor commences work on site.

It is the Contractor’s responsibility to ensure that the authorization procedure for a permit to work is obtained before access to the work can be given. The contact person is Mr Francois Du Toit at (057) 388 2121 or at DuToitGF@eskom.co.za to arrange for an interview for authorization.

The Contractor will be required to have an Eskom certified and authorized ORHVS person available in each area where work is being performed.

### Restrictions to access on Site, roads, walkways and barricades

In addition to the above there may be other restrictions once on the Site, plus rules relating to roads, walkways and the provision of barricades

Access on site is restricted to the area in which the Contractor is working and which has been barricaded. Strictly no movement outside the barricaded working area unless escorted by authorized HV Plant personnel. The majority of the work is to be performed in the control building and access control and the contractor will take all necessary precautions and work in conjunction with Eskom personnel.

### People restrictions on Site; hours of work, conduct and records

Restrictions and hours of work may apply on some Sites.  It is very important that the Contractor keeps records of his people on Site, including those of his Subcontractors which the Project Manager or Supervisor have access to at any time.  These records may be needed when assessing compensation events.

The Contractor is to supply Eskom with Police clearance for all the employees on site before Work commences. The normal working hours shall be from 07:30 am to 04:00 pm. Any work done outside this duration must be arranged through the senior HV Plant supervisor. The maximum speed limit on site is 40 km/h.

### Health and safety facilities on Site

Section 2.3 deals with contractual H & S requirements in addition to those of the OHSA Act.  This section allows the Employer to state what measures are to be taken on Site against disease and epidemics and in emergencies.  Also describe where First Aid facilities provided by the Employer are located and any other emergency arrangements.  Do not use if already addressed in 2.3.  The cross reference from Clause 27.4 applies.

There are toilet facilities available on site.  The Contractor is to ensure that these facilities are kept in a clean condition to Eskom’s satisfaction.

### Environmental controls, fauna & flora, dealing with objects of historical interest

This sub-paragraph may not be required if these matters are dealt with in the general environmental requirements referred to in paragraph 2.4 above.

The Contractor shall control his activities and processes in accordance with Eskom’s Safety, Health Environment and Quality Policy 32-727.

The Contractor shall establish a refuse control system.  All waste is to be collected and disposed of on the registered landfill site as required by Eskom and the Local Authority.

### Title to materials from demolition and excavation

Clause 73.2 states that the Contractor has title to materials from excavation and demolition (e. g. copper) only as stated in the Works Information.  Hence state here any special arrangements regarding such title.  If nothing is stated then the default position is the Contractor has no such title.

The Contractor shall control his activities and processes in accordance with Eskom’s Safety, Health Environment and Quality Policy 32-727.

The Contractor shall establish a refuse control system.  All waste is to be collected and disposed of on the registered landfill site as required by Eskom and the Local Authority. The contractor to provide the Project Manager with a certificate to validate the legality of the dump site.

### Cooperating with and obtaining acceptance of Others

This sub-paragraph could be used to deal with two issues.

1) The cross reference from core clause 25.1 about cooperation generally as well as details about Others with whom the Contractor may be required to share the working areas. See clause 11.2(10) for the definition of Others.

2) Requirements for liaison with and acceptance from statutory authorities or land owners.

The Contractor’s attention is drawn to the fact that other contractors including Eskom Personnel will be on site cooperation will be required.  The Contractor shall allow safe access for other contractors and Eskom personnel when required.

### Publicity and progress photographs

State requirements for notice boards, advertising rights, media relations, photography and progress photographs if required.

Warning signs and notices must be clearly displayed at all sites where work is taking place. It is the responsibility of the Contractor to ensure that all its workers and visitors adhere to all signs. No photographs are to be taken without the permission of the EA.

### Contractor’s Equipment

This sub-paragraph is intended to address how records are to be kept of Equipment on Site including whether it is owned or hired.  Include any constraints about scaffolding, rigs, heavy lifts and cranes, including removal from the Working Areas.   Also silencing similar to Clause 4.1 in SANS 1200 A

All equipment must be registered in the equipment register and as per 32-136. The Contractor is responsible for his/her own insurance of his equipment. The Contractor is to take stock of his/her material and equipment on a regular basis and any shortage to be reported to the Project Manager immediately, stating if it is hired or owned.

### Equipment provided by the Employer

Provide details of equipment made available for use by the employer and set out conditions relating thereto.

Not Applicable

### Site services and facilities

This is a mandatory cross reference from clause 25.2 in ECC3.  State what the Employer will provide in the way of power, water, waste disposal, telecomms, ablutions, fire protection, lighting etc.  Give hook up locations and any constraints on how the hook up is to be done.  Always conclude by stating that the Contractor shall provide everything else necessary for Providing the Works.

All the water needed for construction purposes must be provided for by the Contractor. It is the Contractor’s responsibility to test any water before using it for construction purposes. The Contractor to submit a Test Certificate for the water used on site.

Electricity is available on site but on request from the Contractor. The Contractor shall provide all connections, extensions and additional supply points necessary for the works.  Any measures which the Contractor may require to maintain continuity and quality of supply shall be arranged by him at his own expense.

The Contractor shall provide everything else necessary for providing the Works.

### Facilities provided by the Contractor

Describe what the Contractor is to provide in the way of Site accommodation, laboratories, storage, vehicles and office equipment etc for the Project Manager and the Supervisor, and any restrictions or minimum requirements concerning the Contractor’s own facilities.  State requirements for facilities to be provided by the Contractor such as construction camps. Also state what happens to these facilities upon completion of the contract. Set out constraints, if any, as to the location by the Contractor of such facilities on the Site and requirements for drawings of Site facilities, as necessary.

The Contractor shall provide ablution facilities, first aid and firefighting facilities as required by the Occupational Health and Safety Act.

The Contractor supplies all plant and materials required for providing the Works.

There are no Office or Telephone facilities available on site.  The Contractor is to provide his own facilities on site and ensure that these facilities are kept in a clean condition to Eskom’s satisfaction.

There are toilet facilities available on site.  The Contractor is to ensure that these facilities are kept in a clean condition to Eskom’s satisfaction.

### Existing premises, inspection of adjoining properties and checking work of Others

Details under this sub-paragraph are very contract specific and may be quite extensive in some cases.  State requirements for the inspection with the owners of adjacent buildings and properties and representatives of local authorities before commencing with the works that have the potential to damage surrounding buildings and property. State whether Contractor is required to inspect the work of Others to which he is required to connect and if so by when to avoid delays to his work.

The Work is to be carried out in the HV yard within the barricaded area,  the Contractor is to take note of the surrounding foundations, equipment and buildings.

### Survey control and setting out of the works

Provide information on survey controls established by the Employer, if any, and state requirements for survey control and the setting out of the works.

The Contractor is responsible for setting out the works as shown on the drawings

### Excavations and associated water control

State any particular requirements for handling deep foundations and controlling water from excavations.

The Contractor must ensure compliance to all regulations at all times.

### Underground services, other existing services, cable and pipe trenches and covers

Describe known services making reference to drawings containing known services and state requirements for locating, marking and recording such services.

State requirements for the treatment of existing services i.e. their termination, diversion or continued use, either temporarily or permanently, and set out the procedures relating thereto.

State requirements, as necessary, for the use and availability of detection equipment for the location of underground services.

State responsibility for damage to services, known and unknown, and requirements for working in close proximity to services etc.

State requirements and reinstatement procedures for the notification and repair of damage to services and any penalties applicable to the damage of services.

Not applicable

### Control of noise, dust, water and waste

State requirements, if any.

The Contractor shall control his processes and procedures so as to minimise noise and dust.  All waste is to be collected and disposed of at registered dumping site as required by Eskom and the Local Authority.

The Contractor must ensure compliance to all regulations at all times.

### Sequences of construction or installation

Only prescribe sequences of work where absolutely necessary such as when Contractor has to give access to Others (without take over) and for technical reasons such as under tidal conditions and in rivers.

The Contractor is to provide the Project Manager with the programme, showing the sequence of construction activities from beginning to the end of the construction project. Should the programme or the sequence of activities change, the Contractor needs to notify and provide the Project Manager with the revised programme, for approval by the Project Manager.

### Giving notice of work to be covered up

State the procedure for notifying the Supervisor

The Contractor is to give the Project Manager and Site Supervisor at least 3 days’ notice before covering up the work.

### Hook ups to existing works

State any constraints

## Completion, testing, commissioning and correction of Defects

### Work to be done by the Completion Date

This is mandatory.  Core clause 11.2(2) defines Completion as when the Contractor has done all the work which the Works Information states he is to do by the Completion Date.  Rather than list all work to be done by the Completion Date, state that all work is to be done by the Completion Date except for [●].  For example:

On or before the Completion Date the Contractor shall have done everything required to Provide the Works except for the work listed below which may be done after the Completion Date but in any case before the dates stated.  The Project Manager cannot certify Completion until all the work except that listed below has been done and is also free of Defects which would have, in his opinion, prevented the Employer from using the works and Others from doing their work.

|  | Item of work | To be completed by |
| --- | --- | --- |
|  | As built drawings of Serumula Series Capacitor | Within 14 days after Completion |
|  | Performance testing of the works in use as specified in paragraph of this Works Information. | See performance testing requirements. |

### Use of the works before Completion has been certified

Clause 35.2 in ECC3 provides that the Employer may use any part of the works before Completion has been certified but if he does so he takes over the part of the works except if the use is for a reason stated in the Works Information.  State the reason here if this applies.

Not applicable

### Materials facilities and samples for tests and inspections

State what materials facilities and samples for tests and inspections the Contractor and the Employer are to provide, per core clause 40.2.

Not applicable

### Commissioning

Required mainly for contracts including mechanical and electrical work.  Would typically refer to detailed commissioning procedure attached as an Annexure.  Confirm whether commissioning is to be done before or after Completion.  If after Completion, include this item of work in the list in sub-paragraph 5.2.1 above.

The Contractor is to give the Project Manager and Site Supervisor at least 5 days’ notice of when commissioning of the works will take place.

### Start-up procedures required to put the works into operation

In order to put the works into operation the Employer may require the Contractor to either do this for him or be in attendance whilst he does it, depending on who is the responsible person.  State requirements of the Contractor here together with any special arrangements associated with operating plant and machinery.

The Contractor is to give the Project Manager and Site Supervisor at least 5 days’ notice before performing procedures required to put the works into operation.

### Take over procedures

Take over is after or at the same time as Completion.  The Employer may require the Contractor to provide assistance, security personnel on a temporary basis etc.

The Contractor is to arrange an inspection at least 1 week before completion to inspect and identify any outstanding or incorrect items. The take-over of the Works will be in accordance of NEC ECC3 Completion Certification

### Access given by the Employer for correction of Defects

Clause 43.4 requires that the Project Manager arranges for the Employer to allow the Contractor access to and use of a part of the works which has been taken over if needed to correct a Defect.  After the works have been put into operation, the Employer may require the Contractor to undertake certain procedures before such access can be granted (for example barricading a motorway or in a nuclear power station).  Include these here.

The Contractor will be responsible for ensuring that the area to be worked in is barricaded before correcting any defects.

### Performance tests after Completion

Many design and build or turnkey projects require the Contractor to demonstrate that the works can operate as guaranteed by the Contractor (in Contractor’s Works Information) or specified by the Employer either here or elsewhere in this Works Information.  State here the procedures for carrying out such proving tests.  These details should link up with any performance levels stated in Contract Data if secondary Option X17 in ECC3 applies.

The Contractor is to give the Project Manager and Site Supervisor at least 5 days’ notice before undertaking performance tests after Completion of the works

### Training and technology transfer

Include if the Employer requires the Contractor to provide training in the use and maintenance of the works or any associated transfer of technology from him to the Employer.

Not Applicable? Technical training during the duration of the project for technician/EA?

### Operational maintenance after Completion

The Employer may require the Contractor before the defects date to perform certain duties after Completion and take over which relate to maintenance of the works.  (Not to be confused with Defect correction) For example oil and filter changes

Not Applicable?

# Plant and Materials standards and workmanship

This section of the Works Information contains all the specifications for the work which is left behind; the permanent works.  It is likely to be the largest section by far and may even be compiled in volumes, e. g. Section 6 Volume 1: Civil Engineering Works.  In design and construct contracts, it may be compiled in accordance with systems within the works; e. g. Section 6 Volume 4: Crushers.

Because practice varies widely between employers it is not practical in a general template such as this to deal with all arrangements.  Only the discipline based section subheadings are provided below in the order the works are likely to be constructed together with some notes of a general nature.

## Investigation, survey and Site clearance

Some contracts may require the Contractor to carry out further investigation of existing facilities or of the Site before commencing final design.  There could be constraints on Site clearance especially in pipeline or transmission grid servitudes.

The working area must barricaded at all times. The precautionary measures must be taken in order to avoid any damage to Eskom or public property.

## Building works

Reference could be made to the latest Model Trade Preambles published by the Association of South African Quantity Surveyors.  However these have been developed for use with the JBCC series of contracts and an approach where description of the work is made part of the bill of quantities, which is not the case in other forms of contract.  Only parts of the Model Trade Preambles could be referenced by an ECC contract, with a covering note dealing with the changes in terminology.  Further changes are required depending on which parts are to be selected.

This subsection would typically comprise

a) 	Particular specifications provided by the Employer

b)	List of standardised specifications applicable to the works and

c)	Variations to the standardised specifications

All building works is in the scope of works.

## Civil engineering and structural works

Reference could be made to the SANS1200 series of specifications developed and published by South African National Standards.  However these are now very out of date and originally developed for use with SAICE general conditions of contract for works of civil engineering which have themselves been superseded twice.

All SANS 1200 specifications are in the process of being updated to make them more compatible with a wider range of contracts, including NEC, and users should check availability of the new SANS 2000 series of specifications.

Sections 3, 4 and 5 of SANS1200A are probably already covered in section 5 of this Works Information.

This subsection would typically comprise

a) 	Particular specifications provided by the Employer

b)	List of standardised specifications applicable to the works and

c)	Variations to the standardised specifications

If use is made of the 1200 series, users should include a covering note dealing with the changes in terminology, such as the one provided below.  Further changes are required depending on which specifications in the 1200 series are selected.

| Title | Date or revision | Tick if publicly available |
| --- | --- | --- |
| Eskom Standard Specifications |  |  |
| Contractor Health and Safety Requirements 32-136 | Latest Rev. |  |
| Eskom Life-Saving Rules 240-62196227 | Latest Rev. |  |
| Safety, Health, Environment and Quality (SHEQ) Policy 32-727 | Latest Rev. |  |
| Substance Abuse Procedure 32-37 | Latest Rev. |  |
| Vehicle and Driver Safety Management Procedure 240-62946386 | Latest Rev. |  |
| Eskom Vehicle Safety Specification 32-345 | Latest Rev. |  |
| Working at Heights Standard 32-418 | Latest Rev. |  |
| SHE Requirements for the Eskom Commercial Process 32-726 | Latest Rev. |  |
| Authorization Standard in terms of Regulations for High Voltage Systems: 240-70413865 | Latest Rev. |  |
| Control of Non-Conforming Product or Service Procedure:240-44175038 | Latest Rev. |  |
| Occupational Health and Safety Act No. 85 of 1993 | Latest Rev. |  |
| Supplier Contract Quality Requirements Specification QM58 | Latest Rev. |  |
| ISO 9001 Quality Management Systems | Latest Rev. |  |
| ISO 14001: 2004 Environmental Management System | Latest Rev. |  |
| OHSAS 18001: 2007 Occupational Health and Safety Management Systems | Latest Rev. |  |
| Standardised Specifications |  |  |
| SABS 1200 Standardised Specification for Civil Engineering Construction |  |  |
| SANS 2001 CC1:2007 Construction Works Part CC1: Concrete Works (structural) |  |  |

## Electrical & mechanical engineering works

These specifications are usually project specific and developed by the Employer to suit his operations.  Either include these specifications here, or refer to them in attached Annexure.

Check the specifications for inconsistencies in terminology and that they do not contain any provisions already dealt with in the chosen NEC conditions of contract or clash with them in any way.

## Process control and IT works

These specifications are usually project specific and developed by the Employer to suit his operations.  Either include these specifications here, or refer to them in attached Annexure.

Check the specifications for inconsistencies in terminology and that they do not contain any provisions already dealt with in the chosen NEC conditions of contract or clash with them in any way.

All the works must be completed according to the Eskom specifications

## Other [as required]

# List of drawings

## Drawings issued by the Employer

This is the list of drawings issued by the Employer at or before the Contract Date and which apply to this contract.

Note:  Some drawings may contain both Works Information and Site Information.

| Drawing number | Revision | Title |
| --- | --- | --- |

C3.2	Contractor’s Works Information

This section of the Works Information will always be contract specific depending on the nature of the works. It is most likely to be required for design and construct contracts where the tendering contractor will have proposed specifications and schedules for items of Plant and Materials and workmanship, which once accepted by the Employer prior to award of contract now become obligations of the Contractor per core clause 20.1. Typical sub headings could be a) Contractor’s design b) Plant and Materials specifications and schedules c) Other

This section could also be compiled as a separate file.