## Technical Criteria
PF BURNER AND MILLING PLANT CERAMIC LINING TECHNICAL EVALUATION CRITERIA
Weight (%) | Sections | Criteria Evaluation Indicator | Minimum Criteria Evaluation Requirements | Source | % | Score |  |  |  |  | Score
[6 empty] | Floor (0) | Kick in (1) | Average (2) | Strech (3) | Ceiling (4) | %
SECTION 1: TECHNICAL REQUIREMENTS
100% | Technical requirements | Company Profile Documents Previous Experience | Company: (40%) |  | 100% | GUIDELINE NOTES |  |  |  |  | 0%
|  | Industry experience | 80% of at least 10 activities must be industry related business | Company to provide company profile showing all the fields the company specialises and at least 10 activities | 5% | No industrial expirinence | One year industrial expirinence | 1 year or industrial expirience | 2 years or more industrial expirience | 3 years or more industrial expirience | 0
|  | Traceable Evidence of Projects Completed | At least 4 projects completed which are related to the refractory or ceramic lining installation and repairs with a contactable reference for each project | Company to provide company profile showing successfully completed previous jobs and proof of completion certificates with a contactable reference for each project | 5% | No / Incomplete company profile / proof of completion certificates and / or no contactable references | 1 Project with a contactable reference | 2 Projects with 2 contactable references | 3 Projects with 3 contactable references | 4 Projects with 4 contactable references | 0
|  | Methodology | Provide a written methodology statement which categorically indicates how the execution of the inspections, removal of worn or damaged lining which at times may consist of chrome cast instead of tiles. The subsequent repairs thereof work will be carried out with specific references to the adjoining determinants outlined. The methodology should clearly address the scope that has been provided by the Employer and must include the following processes i.e the methodology should clearly reveal how the erosion or mechanical damage under the refractory will be identified to prevent PF leaks during plant operation | Refer to the coal Chutes, Cones, burner components, PA tubes, Core air tubes and Burner boxes. 2. How the profile and sizing of ceramic lining will be determined in relation to the component to be internally or externally lined in so far as conical chutes with circular and rectangular cross-sections, bends, square to round transition pieces and straight pipes. 3. How the partial loss of ceramic lining will be dealt with when the exposed metal parts are already eroded and irregular or uneven . 4. How the preparation of surfaces will be dealt with prior to the installation of ceramic lining, the methodology should cater for scenarios for erododed and hardened old grout. | 80% | No Methodology provided | Methodology Incomplete (It covers less than 60% of processes and nature of defects scenaros on components) | Methodology Incomplete (It covers less than 80% of processes and nature of defects scenaros on components) | Methodology Incomplete (It covers 100% of one section either processes and defects type on components or less than 100% of the other section) | Methodology clearly addresses all component defect types and processes towards the determinations of such defects and relevant corrective and preventative maintenance. | 0
|  | Risk management related to Mill and PF burner fire prevention as well as explosion prevention. | The Service Provider must have a comprehensive operational risk management process. | Company to provide a 5 step risk management document /procedure which clearly addresses the scope that has been provided by the Employer | 10% | No document provided | Incomplete Risk management procedure gas and dust | Inadequate Risk management procedure (Procedure covers more than 60% but less than 80% of the content) | Satisfactory risk management procedure (Procedure covers more than 80% but less than 90% of the content) | Comprehensive 5 step risk management procedure covering above 90% of the content | 0
|  | Company Profile Document and other evidence | Technical Staff: (60%) |  | 100% | [5 empty] | 0%
|  | Company organogram | Company organogram must reflect the current status of company | Provide signed Site Specific Company Organogram | 5% | No organogram or incomplete | Only company organogram signed, not site related | Company organogram signed but site related organogram not signed | Company organogram and site related organogram signed with only positions related | Company organogram and site related organogram signed with specific names related to positions | 0
|  | 1 X Supervisor | Minimum Qualifications: Mechanical Diploma or mechanical trade test and equivalent Supervisory experience of at least three (3) years site supervisor . CV with contactable reference that demonstrate ability to manage refractory installation activities or similar maintenance activities. | Provide certified copies of Not older than 3 months from the date of closure of the tender and CV with references. Certfied copies older than 3 months will not be considered. | 25% | No CV attached or incomplete CV | Only CV attached and uncertified copies of qualification attached. | Attached CV and certified copies of qualifications with experience of less than three (3) years | Attached CV and certified Qualifications with experience of less than five (5) years | Attached CV and certified Qualifications with experience of more than five (5+) years | 0
|  | 2X Refractory Technician | Qualified Technicians (Trade certificate Refractory for Techncian or Brick layer qualification) and at leased two (2) years experience. | Provide certified copies of Not older than 3 months from the date of closure of the tender and CV with references. Certfied copies older than 3 months will not be considered. | 30% | No CV attached or incomplete CV | Only CV attached and uncertified copies of qualification attached. | Attached CV and certified copies of qualifications with experience of less than three (3) years | Attached CV and certified Qualifications with experience of less than five (5) years | Attached CV and certified Qualifications with experience of more than five (5+) years | 0
|  | 4 X Assistance | Minimum Qualification: (N3 or National Senior Certificate) . | Provide certified copies of Not older than 3 months from the date of closure of the tender and CV with references. Certfied copies older than 3 months will not be considered. | 20% | No CV and qualifications attached | Only CV attached and uncertified copies of qualification attached. | Attached CV and certified copies of qualifications with experience of less than three (3) years | Two CVs and certified copies of qualifications attached. One with relevent experience and and the other with less than two year experience | All two CV with relevent experience and certified copies of Qualifications attached | 0
|  | Quality Documents | Quality control document applicable to the SOW and showing control process or procedure and a typcal QCP to be used during execution of the SOW for various components of the plant appearing in the SOW. | Attached quality control documentation and QIP (Quality Inspection Plan) for various equipment or components. E.g. Chute, Transition piece etc. | 20% | Not attached | Quality control document and 1 QCP template submitted | Quality control document and 2 QCP template submitted | Quality control document and 3 QCP template submitted | Quality control document and 4 QCP template submitted | 0
|  | TOTAL SCORES FOR TECHNICAL | [8 empty] | 0%
100% | Gate Keepers | Gate Keepers | 100% | [8 empty] | 0
|  | TOTAL SCORES FOR GATE KEEPERS | [8 empty] | 0
TAKE NOTE: ONLY TECHNICAL SUITABLE IF TOTAL TECHNICAL SCORE (L21) IS ≥75% AND GATE KEEPER SCORE (L24) IS 25 | [10 empty] | No