## SUMMARY PAGE
PLUTO, MIDAS AND LOMOND SUBSTATIONS STRINGING, CABLING
BILL NO. | DESCRIPTION | TOTAL (Excl. VAT)
SUMMARY
1 | PRELIMINARY AND GENERALS | 0
2 | SAFETY, HEALTH AND ENVIRONMENT | 0
3 | CABLING WORKS | 0
TOTAL (Excluding VAT) |  | 0
VAT |  | 0
TOTAL (Including VAT) |  | 0

## Bill 1.P&G's
MERSEY SUB-STATION
|  | Item No. | Bill Description | Unit | Quantity | Rate | Total
SECTION 1: BILL NO 1
PRELIMINARIES AND GENERAL
Fixed-charge and value-related items:
1 | P&G | 1 | Contractual requirements. | sum | 1 |  | 0
3 | P&G | 2 | Name boards. | sum | 1 |  | 0
FACILITIES FOR THE CONTRACTOR (in accordance with Employer and Environmental requirements and per the project requirements.)
4 | P&G | 3 | Establishment of facilities on site ie. Site office, sheds, storage, etc. | sum | 1 |  | 0
5 | P&G | 4 | Ablution and latrine facilities (chemical portable toilets to be well maintained/ serviced for the entire duration of the project). | sum | 1 |  | 0
6 | P&G | 5 | Water supplies, electric power, compressed air supply and communication including LAN connections and plumbing (all to be available from the beginning of contract and for the entire duration of the contract). | sum | 1 |  | 0
|  | 6 | Dealing with water on works. | sum | 1 |  | 0
(the contractor is to allow for all necessary dewatering for the entire duration of the contract or as deemed necessary to complete this contract successfully. The price is to include for all piping, pumps, discharging of water into suitable outlet points, standby generator/s, etc. complete)
8 | P&G | 7 | Access and permits. | sum | 1 |  | 0
9 | P&G | 8 | Staff accommodation. | sum | 1 |  | 0
10 | P&G | 9 | Plant. | sum | 1 |  | 0
11 | P&G | 10 | Tools and Equipment. | sum | 1 |  | 0
13 | P&G | 11 | Removal of site establishment. | sum | 1 |  | 0
Time-related items:
OPERATION AND MAINTENANCE OF FACILITIES ON SITE
17 | P&G | 12 | Offices, storage containers, sheds and toilets. | sum | 1 |  | 0
18 | P&G | 13 | Staff accommodation. | sum | 1 |  | 0
19 | P&G | 14 | Ablution and latrine facilities (chemical portable toilets to be well maintained/ serviced for the entire duration of the project). | sum | 1 |  | 0
20 | P&G | 15 | Tools and equipment. | sum | 1 |  | 0
21 | P&G | 16 | Water supplies, electric power, compressed air supply and communication including LAN connections and plumbing (all to be available from the beginning of contract and for the entire duration of the contract.) | sum | 1 |  | 0
23 | P&G | 17 | Operation of plant. | sum | 1 |  | 0
24 | P&G | 18 | Supervision for the duration of construction. Please note that the Construction Manager must be (registered with the SACPCMP)as per the Works Information | sum | 1 |  | 0
25 | P&G | 19 | Company and head office overhead costs for duration of the contract. | sum | 1 |  | 0
|  |  | Total Excluding V.A.T |  |  |  | 0

## Bill 2.SHEQ
MERSEY SUB-STATION
| Item No. | Bill Description | Unit | Quantity | Rate | Total
SECTION 1: BILL NO 2
HEALTH, SAFETY & ENVIRONMENT
Fixed-charge and value-related items:
1 |  | Supply of all items of Personal Protective Clothing/Equipment & ensure use thereof for full compliance
1.2 | 1 | Steel toe capped safety boots . | sum | 1 |  | 0
1.3 | 2 | Overall - 2 piece suit with luminous strap. | sum | 1 |  | 0
1.4 | 3 | Gloves. | sum | 1 |  | 0
1.5 | 4 | Hard hats with adjustable 3 point webbing chin strap as per SANS 1397. | sum | 1 |  | 0
1.6 | 5 | Ear protection (earplugs etc.). | sum | 1 |  | 0
1.7 | 6 | Eye protection appropriate to task performed. | sum | 1 |  | 0
1.8 | 7 | Dust Mask. | sum | 1 |  | 0
1.9 | 8 | Induction tags/cards. | sum | 1 |  | 0
1.1 | 9 | Sunbrim/ Soft hat. | sum | 1 |  | 0
3 |  | Barricading
3.1 | 10 | Supply, erection and maintenance of all temporary fencing and barricading which would be required during construction to make the site safe in accordance with the OSH Act, SHE spec and CEMPr. | sum | 1 |  | 0
4 |  | Compliance
4.1 | 11 | Provision of all signage in terms of latest revision legislation. | sum | 1 |  | 0
6 |  | Occupational Health
6.1 | 12 | Pre-employment medical screening. | sum | 1 |  | 0
6.2 | 13 | Exit Medical Screening. | sum | 1 |  | 0
10 |  | Waste Management ( Costs associated with the management of general, hazardous waste, etc.)
10.1 | 14 | Waste Bins, skips & lids and covers. | sum | 1 |  | 0
11 |  | Pollution Prevention and Control
11.1 | 15 | Drip trays. | sum | 1 |  | 0
11.2 | 16 | Oil spill kits. | sum | 1 |  | 0
Time-related items:
12 |  | Transport
12.1 | 17 | Transportation of employees in compliance with the transportation of employees procedure (preferred usage of local taxi association). | sum | 1 |  | 0
13 |  | Human Resources
13.1 | 18 | Appointment of SHE OFFICER FULL TIME ON SITE Costs associated with the appointment of Safety personnel and actual time spent on implementation, managing, documenting, monitoring, reviewing, internal and external audits, incident investigations and mitigating safety related impacts. | sum | 1 |  | 0
14 |  | Waste Management ( Costs associated with the management of general, hazardous waste, etc.)
14.1 | 19 | General waste collection and disposal at a registered landfill site as per EMPr requirements. | sum | 1 |  | 0
14.2 | 20 | Hazardous waste transportation and disposal at a registered facility. | sum | 1 |  | 0
|  | Total Excluding V.A.T |  |  |  | 0

## Bill 3.BOQ
NOTES:
1
2
3
4
5
6
7
8
9
10
11
MERSEY SUBSTATION - CABLING BOQ
Item No. | Bill Description | Unit | Quantity | Rate | Total
MERSEY SUB-STATION
| ERECTION OF EQUIPMENT |  |  |  | 0
| Circuit Breaker including steelwork | no
| Isolator including steelwork | no
| Voltage Transformer including steelwork | no
| Surge Arrestor | no
| Current Transformer | no
| Earth Switch | no
Note to tenderer: unless otherwise stated below; the equipment will be supplied by Eskom including the storage.
1 | Single Protection panel (800 x 600) | No. | 3 |  | 0
2 | Panel labes | No. | 3 |  | 0
| REMOVAL OF EQUIPMENT |  |  |  | 0
| Circuit Breaker including steelwork | no
| Isolator including steelwork | no
| Voltage Transformer including steelwork | no
| Surge Arrestor | no
| Current Transformer | no
| Earth Switch | no
Note to tenderer: Eskom has the responsibility to dispose all yard Equipment.
1 | Single Protection panel (800 x 600) | No. | 3 |  | 0
2 | Panel labes | No. | 3 |  | 0
| CABLING, GLANDS AND TERMINATION |  |  |  | 0
Note to tenderer: cables to be supplied by Eskom, the contractor to supply the glanding.
1 | BVX 12 DCV (Installing and Testing New Cable) | m | 3000 |  | 0
2 | BVX 12 DCV (Gland Supply) | No. | 32 |  | 0
3 | BVX 12 DCV (Terminations) | No. | 32 |  | 0
4 | BVX 7 DCV (Installing and Testing New Cable) | m | 84 |  | 0
5 | BVX 7 DCV (Gland Supply) | No. | 8 |  | 0
6 | BVX 7 DCV (Terminations) | No. | 8 |  | 0
7 | BVX 4 DCV (Installing and Testing New Cable) | m | 4013 |  | 0
8 | BVX 4 DCV (Gland Supply) | No. | 90 |  | 0
9 | BVX 4 DCV (Terminations) | No. | 90 |  | 0
10 | BVX 2 ECV (Installing and Testing New Cable) | m | 90 |  | 0
11 | BVX 2 ECV (Gland Supply) | No. | 10 |  | 0
12 | BVX 2 ECV (Terminations) | No. | 10 |  | 0
0
13 | TPH10AX (Installing and Testing New Cable) | m | 50 |  | 0
14 | TPH10AX (Gland supply) | No. | 6 |  | 0
15 | TPH10AX (Terminations) | No. | 6 |  | 0
16 | BVX 12 DCV (Disconnect and Remove Existing Cable) | m | 2500 |  | 0
17 | BVX 7 DCV (Disconnect and Remove Existing Cable) | m | 1000 |  | 0
18 | BVX 4 DCV (Disconnect and Remove Existing Cable) | m | 500 |  | 0
19 | BVX 2ECV (Disconnect and Remove Existing Cable) | m | 150 |  | 0
20 | BVX 19 DCV (Disconnect and Remove Existing Cable) | m | 800 |  | 0
21 | BVX 20BR (Disconnect and Remove Existing Cable) | m | 2500 |  | 0
| TRENCHING |  |  |  | 0
1 | Remove and replace trench covers | No. | 5000 |  | 0
2 | Supply of damaged trench covers | No. | 50 |  | 0
| Total Excluding V.A.T |  |  |  | 0