## Risk template
Grid Planning & Development Occupational Health and Safety Baseline Risk Assessment
Business unit: | Grid Planning & Development | [7 empty] | Baeline Risk Assessment | [10 empty] | Next Review Date (every 2 years): | 2022-08-24 | Template identifier: | 240-70044602
Date | 2020-08-24 | [7 empty] | Prepared by: | Mathula Thulare Jacob Machinjike Leslie Naidoo Ronald Marais Al'Louise Van Deventer Dudu Hadebe Makoanyane Theku Linda Khumalo |  | Authorised by: |  | Name: Jacob Machinjike | [7 empty] | Document identifier | 240-157808927 | R | Safety | 1 | A | Fully effective | I
[14 empty] | Designation: General Manager - Grid Planning and Development | [7 empty] | Revision number: | 2 | N | Health | 2 | B | Mostly effective | II
[14 empty] | Signed: | [7 empty] | Revision date: | 2024-05-31 |  |  | 3 | C | Mostly ineffective | III
[14 empty] | Date: | [11 empty] | 4 | D | None | IV
List activity | Activity type (Routine/Non-routine) | Hazard nr | Hazard Identification | Risk Nr | Associated risk | Risk type | Cause(s) of the risk | Exposed group/employees | Risk Owner | Exposure patterns | What are the possible consequences? | Existing Controls |  |  | Risk Priority Rating |  | Additional Controls or Tasks Aimed at improving Existing Controls | Monitoring Mechanisms | Control Owner | Legal and Other Requirements | Target Date | Current Status | Integrated Risk Management (IRM) reference number
List specific activities to be performed taking into consideration the equipment to be used, the personnel involved in the task. | Indicate R or N 1. Routine activities and situations create hazards through day-to-day operations and normal work activities; 2. Non-routine activities and situations are occasional or unplanned; | # | Anything with potential to cause of harm. Note: A hazard can pose more than one risk. | # | A chance that injury , ill health or damage could occur as a result of uncontrolled hazard. | Safety or health | What causes the risk to come into effect? | Who is exposed to the hazard i.e. visitors, members of the public, etc. | Who is accountable for making sure the controls and monitors are: - in place, - implemented, - regularly reviewed for effectiveness. | The frequency and duration the person/group is exposed to the hazard e.g. Daily for 3 hrs. | Consider the worse case scenario without controls? | Include: - Preventative Controls (controls implemented to eliminate hazards or reduce the likelihood of the risk occurring), and - Reactive Controls (controls implemented to reduce the immediate impact of the risk occurring) Elimination Substitution Engineering controls Administrative controls Personal protective equipment (PPE) | Consequence | Likelihood |  | RCE Risk Control Effectiveness | Include: - Preventative Controls (controls implemented to eliminate hazards or reduce the likelihood of the risk occurring), and - Reactive Controls (controls implemented to reduce the immediate impact of the risk occurring) Elimination Substitution Engineering controls Administrative controls Personal protective equipment (PPE) | How we know if we are succeeding. Include comments on effectiveness. This may include i.e. measurements, inspections, supervision where necessary. | Person allocated the responsibility for implementing the agreed controls | Where relevant, list the relevant legislative and or Eskom requirements that prescribe the control. | Once a date has been agreed to, this can not be changed | Pending, In Progress, Complete | Where applicable, add IRM system reference number for tracking of treatment actions. | Consequences | 6 | III | II | I | I | I
Office Administrative Activities | R | 1 | Poorly designed electrical points covers | 1 | Trips and Falls | Safety | When electrical point covers are slightly lifted up and not properly closed | Employees working in offices and visitors | BU Manager | Daily, 8 hours | Injuries from trips and falls | 1. Health and Safety inspections 2. Provide training on basic office safety and on office ergonomics 3. Reporting any defects to ERE | 3 | C | II | Mostly effective | Maintain the existing controls | Health and Safety inspections | Line Managers | OHS Act 85 of 1993, Eskom SHEQ policy 32-727,OHS Baseline Risk Assessment 32-520, and SANS 10400 (National Building Regulations and Standards Act) | 2020-12-01 | Complete | HIRA and IRM Risk Matrices not aligned |  | 5 | III | II | II | I | I
|  | 2 | Peeling floor carpets | 2 | Trips and Falls | Safety | When carpets peel off from the floor | Employees working in offices and visitors | BU Manager | Daily, 8 hours | Injuries from trips and falls | 1. Health and Safety inspections 2. Provide training on basic office safety and on office ergonomics 3. Reporting any defects to ERE | 3 | C | II | Fully effective | Maintain the existing controls | Health and Safety inspections | Line Managers | OHS Act 85 of 1993, Eskom SHEQ policy 32-727,OHS Baseline Risk Assessment 32-520, and SANS 10400 (National Building Regulations and Standards Act) | 2020-12-01 | Complete | HIRA and IRM Risk Matrices not aligned |  | 5 | III | II | II | I | I
|  | 3 | Use of Hydroboil | 2 | Burns | Safety | 1. When personnel reach to use hydroboil 2. When hot water leaks from paper cups 3. Lack of focus when using hydroboil 4. Build up of steam in the hydroboil can cause the water to spew | All employees and visitors | BU Manager | Occasionally, +/- 6 hours | Skin burns | 1. Put warning sign on the hydroboil 2. Health and Safety inspections 3. Conduct awareness on the use of hydroboil 4. Reporting any defects to ERE | 3 | B | III | Fully effective | Maintain the existing controls | Health and Safety inspections & BSOs | Line Managers | OHS Act 85 of 1993, Eskom SHEQ policy 32-727,OHS Baseline Risk Assessment 32-520 | 2020-12-01 | Complete | N/A |  | 4 | IV | III | II | I | I
|  | 4 | Excessive use of Computers | 4 | Sight deterioration | Health | Spending long hours on computer without taking frequent breaks can lead to sight deterioration | All employees using computers | BU Manager | Daily, 8 hours | Visual impairment | 1. Take frequent breaks from the computer every 20 - 30 minutes 2. Conduct office ergonomics awareness sessions 3. Conduct periodic medical surveillance | 3 | D | II | Fully effective | Maintain the existing controls | Medical surveillance | Line Managers | OHS Act 85 of 1993, Eskom SHEQ policy 32-727,OHS Baseline Risk Assessment 32-520 | 2020-12-01 | Complete | HIRA and IRM Risk Matrices not aligned
|  | 5 | Glare from the Computer Screens | 5 | Damage to the optical nerve | Health | When the glare reflecting from the windows reach the surface of the computer screen | All employees whose computer screens are facing towards the windows | BU Manager | Daily, 8 hours | The presence of glare may lead to discomfort and impairment of vision | 1.Encourage employees to close the blinds 2.Train employees on Ergonomics (dangers associated with glare reflection on their computer screens) | 4 | B | III | Fully effective | Maintain the existing controls | Medical surveillance | Line Managers | OHS Act 85 of 1993, Eskom SHEQ policy 32-727,OHS Baseline Risk Assessment 32-520 | 2020-12-01 | Complete | N/A
|  | 6 | Poor illumination | 6.1 | Sight deterioration | Health | 1. Illumination not meeting legal requirement 2. Unsuitable luminance and extreme contrasts may cause a visual condition where there is discomfort 3. Flickering lights can induce visual discomfort, headaches and stroboscopic effects (optical illusions) particularly in sensitive individuals | Employees working in offices | BU Manager | Daily, 8 hours | Sight deterioration | 1. Conduct periodic Illumination Surveys to determine the quality and suitability of the light 2. Conduct Quarterly SHE / Visual Inspections 3. Report all defective light sources to ERE 4. Ensure periodic medical surveillance are conducted | 4 | B | III | Fully effective | Maintain the existing controls | Health and Safety inspections Illumination surveys & Medical Surveillance | Line Managers | OHS Act 85 of 1993, Eskom SHEQ policy 32-727,OHS Baseline Risk Assessment 32-520 | 2020-12-01 | Complete | N/A |  | 3 | IV | III | II | II | I
|  |  |  | 6.2 | Trips and Falls | Safety | 1. Illumination not meeting legal requirement 2. Unsuitable luminance may reduce the ability to see identifiable objects. | Employees working in offices | BU Manager | Daily, 8 hours | Injuries from trips and falls | 1. Conduct periodic Illumination Surveys to determine the quality and suitability of the light 2. Conduct Quarterly SHE / Visual Inspections 3. Report all defective light sources to ERE | 3 | C | II | Fully effective | Maintain the existing controls | Health and Safety inspections & Illumination Surveys | Line Managers | OHS Act 85 of 1993, Eskom SHEQ policy 32-727,OHS Baseline Risk Assessment 32-520, and SANS 10400 (National Building Regulations and Standards Act) | 2020-12-01 | Complete | HIRA and IRM Risk Matrices not aligned |  | 3 | IV | III | II | II | I
|  | 7 | Incompatibility of the workstation layout with that of the use of the computers | 7.1 | Musculoskeletal Disorders | Health | 1. Workstation designs incompatible with the use of computers (positioning of tables and chairs) 2. Laptop monitor screens lower than the eye-level 3. Chairs not adjustable to accommodate different body types | Employees working in offices | BU Manager | Daily, 8 hours | 1. Wrists, shoulders, joints, muscles, back, neck, &/ eye strains | 1. Conduct periodic Illumination Surveys to determine the quality and suitability of the light 2. Health and Safety inspections 3. Report all defective lighting to ERE 4. Ensure periodic medical surveillance are conducted | 4 | B | III | Fully effective | Maintain the existing controls | Ergonomics Survey, BSOs & Number of Musculoskeletal Disorder related incidents reported | Line Managers | OHS Act 85 of 1993, Eskom SHEQ policy 32-727,OHS Baseline Risk Assessment 32-520 | 2020-12-01 | Complete | N/A |  | 2 | IV | IV | III | II | II
|  |  |  | 7.2 | Trips and Falls | Safety | The office layout causing obstruction during emergencies | Office Occupants & Visitors | BU Manager | Daily, 8 hours | Injuries from trips and falls | Conduct periodic Evacuation Drills | 3 | C | II | Fully effective | Maintain the existing controls | Emergency Evacuation Drill Reports | Line Managers | OHS Act 85 of 1993, Eskom SHEQ policy 32-727,OHS Baseline Risk Assessment 32-520, and SANS 10400 (National Building Regulations and Standards Act) | 2020-12-01 | Complete | HIRA and IRM Risk Matrices not aligned |  | 2 | IV | IV | III | II | II
|  | 8 | Inadequate Mechanical Ventilation System | 8 | Occupational disease | Health | 1. Insufficient maintenance and service 2. Relative Humidity not meeting legal requirements | Office Occupants & Visitors | BU Manager | Daily, 8 hours | Temporary respiratory discomfort case, medical treatment case (allergies), headaches, fatigue, shortness of breath, sick building syndromes, sinus congestion, coughing, sneezing, dry eye, nose and throat irritation, dizziness, rashes, skin irritation, colds & flu, nausea and possible aggravation of symptoms for people with asthma and allergies | 1. Conduct periodic Indoor Air Quality Surveys 2. Awareness sessions on the risks of Poor Indoor Air Quality 3. Reporting of defective mechanical ventilation systems {air cons} 4. Health and Safety Inspections | 3 | B | III | Mostly effective | Maintain the existing controls | Request Maintenance schedule and Records from ERE | Line Managers | OHS Act 85 of 1993 - Environmental Regulations for Workplaces 5, Eskom SHEQ policy 32-727, OHS baseline Risk Assessment 32-520, Medical surveillance procedure 240-84733329 | 2020-12-01 | Complete | N/A |  | 1 | IV | IV | III | III | III
|  | 9 | Replacement of Fluorescent tubes | 9.1 | Skin cuts | Safety | 1. ERE not conducting a Risk Assessment and not barricading the area prior to starting the works | Office Occupants & Visitors | BU Manager | As and when ERE replaces a defective fluorescent tubes | Skin cuts | 1. Advise staff to move away from areas where ERE is replacing the fluorescent tubes 2. Conduct BSO when ERE is replacing the fluorescent tubes | 2 | A | IV | Fully effective | Maintain the existing controls | No reported safety incidents where skin cuts are caused by broken fluorescent tubes. | Line Managers | 32-245 Waste Management, Environmental Regulations for workplaces, Procedure, OHS Act 85 of 1993 , SHEQ Policy and SANS 10400 | 2020-12-01 | Complete | N/A |  |  | A | B | C | D | E
|  |  |  | 9.2 | Potential mercury infection | Health | 1. Inhalation and absorption of mercury when exposed to the released powder | Office Occupants & Visitors | BU Manager | As and when ERE replaces a defective fluorescent tubes | Skin contamination, Mercury poisoning, toxic effects on the nervous, digestive and immune systems and on lungs, kidneys, skin and eyes | 1. Advise staff to move away from areas where ERE is replacing the fluorescent tubes 2.Conduct BSO when ERE is replacing the fluorescent tubes | 4 | A | III | Fully effective | Maintain the existing controls | No reported incidents where an employee was exposed to mercury powder caused by broken fluorescent tubes | Line Managers | 32-245 Waste Management, Environmental Regulations for workplaces, Procedure, OHS Act 85 of 1993 -Hazardous Chemical Substance Regulations, SHEQ Policy and SANS 10400 | 2020-12-01 | Complete | N/A |  |  | Likelihood
|  | 10 | Use of lift | 10.1 | Caught in between the doors | Safety | 1. Malfunctioning of the lift 2. Clothing being trapped in closing door (long dresses, handbags, long skirts etc.) 3. Entering the lift while the lift is closing | Office Occupants & Visitors | BU Manager | Daily, as and when using lift | Bruises, fractures, and sprains | 1. Sensors on the lift installed to detect the motion and weight capacity 2.Warning signs displayed to make people aware of the weight capacity 3. Report lift defects to ERE | 4 | B | III | Mostly effective | 1. Request for escalator maintenance schedule and records from ERE 2. Awareness / sharing information on the use lift | No reported incidents where an employee was caught in between the doors of the lift | Line Managers | OHS Act 85 of 1993 - Lifts, Escalators and Passenger conveyor Regulations GNR 828, SANS 10400 | 2020-12-01 | Pending | N/A
|  |  |  | 10.2 | Stuck in the lift | Health | Malfunctioning of the lift | Office Occupants & Visitors | BU Manager | Daily, as and when using lift | Become claustrophobic and might faint or lose consciousness. | 1. Request for escalator maintenance schedule and records from ERE 2. People that are aware of fear of use of escalators should avoid using escalator 3. Report defects to ERE | 3 | B | III | Mostly effective | 1. Request for lift maintenance and schedule records from ERE 2. Awareness / sharing information on the use lift | No reported incidents where an employee was stuck in the lift | Line Managers | OHS Act 85 of 1993 - Lifts, Escalators and Passenger conveyor Regulations GNR 828, SANS 10400 | 2020-12-01 | In progress | N/A
|  | 11 | Use of escalators | 11.1 | Entrapment of body part or article of clothing becoming wedged between moving parts | Safety | 1. Malfunctioning of an escalator 2. Article of clothing becoming wedged between moving parts of an escalator | Office Occupants & Visitors | BU Manager | Daily, as and when using escalators | Bruises, fractures, and sprains | 1. Request for escalator maintenance schedule and records from ERE 2. People that are aware of fear of use of escalators should avoid using escalator 3. Report defects to ERE | 4 | C | II | Mostly effective | 1. Request for escalator maintenance schedule and records from ERE 2. Awareness / sharing information on the use escalator | No reported incidents where entrapment of body part or article of clothing is wedged between moving parts | Line Managers | OHS Act 85 of 1993 - Lifts, Escalators and Passenger conveyor Regulations GNR 828, SANS 10400 | 2020-12-01 | In progress | HIRA and IRM Risk Matrices not aligned
|  |  |  | 11.2 | Slip, Trips & Falls | Safety | 1. Malfunctioning of the escalator 2. Lack of concentration 3. Not holding onto the handrail | Office Occupants & Visitors | BU Manager | Daily, as and when using escalators | Twisted ankle, broken limbs, and other injuries | 1. Display of warning signs - hold onto handrails when using the escalators 2. Conduct BSO's 3. Report defects (e.g. loose tiles or handrails) to ERE 4. Request for escalator maintenance and schedule records from ERE 5. Conduct awareness training on the use of escalators schedule records from ERE, Awareness training on the use of escalators | 4 | C | II | Mostly effective | 1. Request for escalator maintenance and schedule records from ERE 2. Awareness / sharing information on the use escalator | Health and Safety Inspections and BSO's | Line Managers | OHS Act 85 of 1993 - Lifts, Escalators and Passenger conveyor Regulations GNR 828, SANS 10400 | 2020-12-01 | In progress | HIRA and IRM Risk Matrices not aligned
|  | 12 | Ascending or Descending the stairways | 12 | Slip, Trips & Falls | Safety | 1. Failure to identify the risk 2. Lack of concentration 3. Not holding onto the handrail | Office Occupants & Visitors | BU Manager | Daily, as and when using staircases | Twisted ankle, broken limbs, bruises, fractures, and sprains | 1.Warning signs- hold onto handrails when using the stairs 2. Conduct BSO's 3. Report defects (e.g. loose tiles or handrails) to ERE 4. Conduct awareness training on slips and trips | 5 | C | II | Fully effective | Maintain the existing controls | Health and Safety Inspections and BSO's | Line Managers | OHS Act 85 of 1993, Eskom SHEQ policy 32-727, OHS Baseline Risk Assessment 32-520, BSO Procedure 32-407 | 2020-12-01 | Complete | HIRA and IRM Risk Matrices not aligned
|  | 13 | Laser radiation from the use of printers | 13 | Ocular damage | Health | When employees use the printer on a daily basis, scanning and copying of documents. | Employees working in offices | BU Manager | Daily for an average of 15min | Damage to the Iris, pain or temporary vision loss | Reduced duration of exposure: The scanning of documents occurs over very short durations | 2 | B | IV | Fully effective | Maintain current controls | No reported incidents | Line Managers | OHS Act 85 of 1993, Eskom SHEQ policy 32-727, OHS Baseline Risk Assessment 32-520, BSO Procedure 32-407 | 2020-12-01 | Complete | N/A
|  | 14 | The exposure to the fumes from various cleaning agents (Detergents) used by the ERE Cleaning Contractors | 14 | Irritation of nose, eyes, respiratory system | Health | When the cleaning substances are used on workstations and other office surfaces (e.g., kitchen, toilet) | Office occupants and visitors | BU Manager | Daily, 1 to 2 hrs | Severe pain in the throat, Severe pain or burning in the nose, eyes, ears, lips, or tongue, Breathing difficulty, Throat swelling , loss of voice | 1.The ready availability of Materials Safety Data Sheets for all the cleaning substances used in our office space is in kitchen cupboard 2.Conduct basic awareness training on exposure to hazardous chemicals substances. 3. Encourage employees that are reacting to the cleaning substances to take air breaks outside the building while cleaning takes place | 2 | C | III | Fully effective | Conduct basic awareness training on exposure to hazardous chemicals substances | Complaints received from affected employees | Line Managers | OHS Act 85 of 1993 ( Regulations for Hazardous Chemicals Substances), Eskom SHEQ policy 32-727,OHS Baseline Risk Assessment 32-520 | 2020-12-01 | In progress | N/A
|  | 15 | Exposure to hazardous biological agents (e.g.. Body fluids such as blood) | 15 | Contact with body fluids while administering first aid treatment | Health | Not using the appropriate PPE (latex gloves) when administering First Aid treatment | First Aiders | BU Manager | As and when first aid treatment is provided | Infectious diseases (e.g. Hepatitis B, HIV) | 1.Refresher training for first aiders 2. PPE- Wear latex gloves 3. First aid box inspections. Replace expired items | 4 | A | III | Fully effective | Maintain the existing controls | First aid box inspection Number of reported incidents | Line Managers | OHS Act 85 of 1993, General Safety Regulations GNR 1031, Eskom SHEQ policy 32-727, OHS Baseline Risk Assessment 32-520, | 2020-12-01 | Complete | N/A
International Business Travelling | N | 16 | Exposure to Microbiological Agents | 16 | Epidemics and Pandemics (i.e. Ebola, Swine Flu, Malaria etc.) | Health | 1. Consumption of contaminated food, water etc. when visiting various countries on Eskom business 2. Spreading of communicable diseases from one person to another | Employees travelling internationally | BU Manager | As and when required for the duration of the trip | Medical treatment case, occupational disease with reversible/non-permanent effect, and fatality | 1. Consult the medical clinic for assessment and guidance, and prophylaxis where required 2. Further consult with the private clinic for vaccine (where required) following the travel insurance process 3. Upon results from the medical professionals, Line Manager use discretion, whether to proceed with the trip 4. PPE- if the outbreak occurs while abroad. i.e. (wear latex gloves, mask and relevant PPE for site visits) | 5 | B | II | Mostly effective | 1. Maintain existing controls 2. Communicate International business travelling process 3. Communicate Eskom Outbreak, Pandemic and Epidemic Response Plan | No incidents reported or complaints reported | Line Managers | OHS Act 85 of 1993, Eskom SHEQ policy 32-727,OHS Baseline Risk Assessment 32-520, Business Travel Management Policy 32-1041 and Eskom Outbreak, Pandemic or Epidemic Response Plan | 2020-12-01 | Pending | HIRA and IRM Risk Matrices not aligned
Site Visits | R | 17 | Exposure to hazards of nature (snakes, ticks, mosquitoes, bees, spiders & scorpions etc.) | 17 | Bitten by snakes, ticks, mosquitoes, bees, spiders & scorpions etc. | Health | 1. Not conducting appropriate Risk Assessment and Site Safety Induction 2. Absent mindedness and lack of situational awareness | Employees working in the office and employees who visit sites | BU Manager | As and when required, when on site | Bee stings, scorpion or poisonous snake bites leading to a medical incident, LTI or fatality | 1. Conduct Route Risk Assessment. 2. Attend Site Safety Induction 3. Provide and use insect Repellent 4. PPE- Use relevant PPE for site visits | 5 | B | II | Mostly effective | Awareness training of exposure to hazards of nature | Absence of incidents related to hazards of nature. | Line Managers | OHS Act 85 of 1993, Eskom Risk assessment Procedure, 32-520, Eskom SHEQ Policy 32-727, Incident Management Procedure 32-95, COID Act | 2020-12-01 | Pending | HIRA and IRM Risk Matrices not aligned
|  | 18 | Exposure to extreme hot weather | 18 | Heat stress | Health | 1. Location has high temperatures (Northern Cape) 2. Heat waves due to climate change | Employees who visit sites | BU Manager | Once every month, 3 hours | Heat stroke, heat exhaustion, heat cramps, heat rashes | 1. Keep hydrated 2. Awareness training / share information on heat stress 3. PPE - Use relevant PPE (i.e. sunglasses, Use sunhat, use sunblock & put long sleeves) | 3 | B | III | Mostly effective | Provide and use relevant PPE for site visits (i.e. sun glasses, sunblock etc.) | Absence of incidents related to heat stress | Line Managers | OHS Act 85 of 1993, Eskom Risk assessment Procedure, 32-520, Eskom SHEQ Policy 32-727, Incident Management Procedure 32-95, COID Act | 2020-12-01 | In progress | N/A
Local Business Travelling | R | 19 | Use of Motor vehicles | 19.1 | Road rage incidents | Safety | Collisions, negligence, driving at inappropriate speed, tail gaiting, fatigue, weaving in and out of traffic, driving on the shoulder, cutting off traffic, hooting, yelling, flashing, headlights, using inappropriate gestures, pressing deadlines, etc. | Employees travelling on Eskom business | BU Manager | Daily, 8 hours | Injuries, multiple injuries and fatalities | 1. Completion of Driver Risk Profile 2. Defensive Driving Training for all identified high risk drivers as per Driver Risk Profile 3. Where possible, make use of video/ telecon 4. Conducting Vehicle Inspections, Road Rage Awareness, Conduct Stress Management, Completion of Vehicle Compliance Forms, Medical Assessment (including Health Risk Assessment) | 5 | D | I | Mostly effective | 1. Maintenance the existing controls 2. Managers to assist in referring employee to EAP | 1. Driver Risk Profile 2. Vehicle inspections 3. Medical Surveillance 4. Driver commitment forms 5. Incident statistics - (trends) | Line Managers | OHS Act 85 of 1993, Eskom SHEQ policy 32-727,OHS Baseline Risk Assessment 32-520 , Eskom Vehicle Safety and Driver Management procedure 240-62946386, Eskom Vehicle Safety Specifications procedure 32-345, National Road Traffic Act 93 of 1996, Substance Abuse Procedure 32-37 | 2020-12-01 | In progress | HIRA and IRM Risk Matrices not aligned
|  |  |  | 19.2 | Motor vehicle accidents | Safety | Negligence, driving at inappropriate speed, fatigue, pressing deadlines, leaving work late and night driving, Mechanical failures, driver incompetence, third party at fault, distractions, weather conditions, sun rays, road conditions, use of medication | Employees travelling on Eskom business | BU Manager | Daily, 8 hours | Injuries, multiple injuries, fatalities and multiple fatalities | 1. Video and teleconference where possible 2. Travel Route Risk Assessment 3. Conduct Medical Surveillance 4. Valid Driver's License, Eskom Driver Assessment and Eskom Driver Permit 5. Completion of Driver Risk Profile 6. Defensive Driving Training for all identified high risk drivers as per Driver Risk Profile 7. Vehicle Inspections and Travel Route Risk Assessment 8. Awareness Training (Fatigue, Stress, Vehicle and Driver Safety Procedure, Distractions while driving etc.) 9. Campaigns on Vehicle and Driver Safety and Motor Vehicle Accidents Work Stoppage 10. Sharing of Motor Vehicle Accidents Lessons Learnt 11. Take rest breaks at a safe place at least every 2 hours 12. encourage employees to declare when using medication that will affect the ability of the employee to drive 13. Completion of Driver Vehicle Compliance Forms | 6 | D | I | Mostly effective | 1. Maintain the existing controls 2. Managers to assist in referring employee to EAP 3. Driver Behavioural Safety Observation | 1. Driver Risk Profile 2. Vehicle inspections Tracker 3. Medical Surveillance 4. Vehicle and Driver Compliance Tracker 5. Incident statistics - (trends) | Line Managers | OHS Act 85 of 1993, Eskom SHEQ policy 32-727,OHS Baseline Risk Assessment 32-520 , Eskom Vehicle Safety and Driver Management procedure 240-62946386, Eskom Vehicle Safety Specifications procedure 32-345, National Road Traffic Act 93 of 1996, Substance Abuse Procedure 32-37 | 2020-12-01 | In progress | HIRA and IRM Risk Matrices not aligned
|  |  |  | 19.3 | Hijackings | Safety | Crime, driving alone, lack of security at site, unfamiliarity of the area, driving in poorly lit areas, lack of situational awareness, distracted driver, exposing yourself as an easy target, assisting hitch hikers, fatigue, use of medication (affects alertness) | Employees travelling on Eskom business | BU Manager | Daily, 8 hours | Injuries, fatalities, trauma | 1. Video or teleconferencing where possible 2. Awareness on highjacking, fatigue, stress management and sharing of information on highjacking hotspots 3. Vehicle Campaigns 4. Travel Route Risk Assessment 5. encourage employees to declare when using medication that will affect the ability of the employee to drive 6. Avoid assistance of hitch-hikers 7. Defensive Driving Training | 5 | C | II | Fully effective | Maintenance of existing controls | 1. Incident statistics - (trends) | Line Managers | OHS Act 85 of 1993, Eskom SHEQ policy 32-727,OHS Baseline Risk Assessment 32-520 , Eskom Vehicle Safety and Driver Management procedure 240-62946386, Eskom Vehicle Safety Specifications procedure 32-345, National Road Traffic Act 93 of 1996, Substance Abuse Procedure 32-37 | 2020-12-01 | Complete | HIRA and IRM Risk Matrices not aligned
|  |  |  | 19.4 | Smash and grabs | Safety | Crime, driving alone, Lack of security at site, unfamiliarity of the area, valuables visible in the car, talking on cell phones, lack of situational awareness, distracted driver, use of medication (affects alertness), driving with open windows ( e.g. putting on make-up) | Employees travelling on Eskom Business | BU Manager | Daily, 8 hours | Injuries, fatalities, trauma | 1. Video or teleconferencing where possible 2. Awareness on smash and grab, fatigue, stress management and sharing of information on smash and grab hotspots 3. Vehicle Campaigns 4. Travel Route Risk Assessment 5. encourage employees to declare when using medication that will affect the ability of the employee to drive | 4 | C | II | Mostly effective | Maintain the existing controls | 1. Incident statistics - (trends) | Line Managers | OHS Act 85 of 1993, Eskom SHEQ policy 32-727,OHS Baseline Risk Assessment 32-520 , Eskom Vehicle Safety and Driver Management procedure 240-62946386, Eskom Vehicle Safety Specifications procedure 32-345, National Road Traffic Management Act, Substance Abuse Procedure 32-37 | 2020-12-01
|  |  |  | 19.5 | Long distance travelling | Safety | Business activities wart conducting Audits, Occupational Hygiene Surveys and site visits etc. | Employees travelling on Eskom Business | BU Manager | As and when required | Fatigue, collisions, Injuries, multiple injuries and fatalities | 1. Use of video and telecon where possible 2. Conduct awareness on Vehicle and Driver Safety Procedures 3. Defensive driver training (where the risk has been identified) 4. Check restrictions on the medical fitness certificate 5. Awareness training on Fatigue Management and Distractions 6. Travel Route Risk Assessment 7. Vehicle Inspection 8. encourage employees to declare when using medication that will affect the ability of the employee to drive 9.15 minutes rest after every two hours when driving 10. Campaigns on Vehicle and Driver safety | 6 | C | I | Fully effective | Maintain the existing controls | 1. Identification and monitoring of high mileage drivers - (Driver risk profiling) 2.Incidents and trends 3. Quarterly Vehicle inspections 4. Medical Fitness Certificate 5. Vehicle Driver Compliance Confirmation forms 3. BSOs | Line Managers | OHS Act 85 of 1993, Eskom SHEQ policy 32-727,OHS Baseline Risk Assessment 32-520 , Eskom Vehicle Safety and Driver Management procedure 240-62946386, Eskom Vehicle Safety Specifications procedure 32-345, National Road Traffic Act 93 of 1996, Substance Abuse Procedure 32-37 | 2020-12-01 | Complete | HIRA and IRM Risk Matrices not aligned
|  |  |  | 19.6 | Excessive travelling | Safety | Business activities wart conducting Audits, Occupational Hygiene Surveys and site visits etc. | Employees travelling on Eskom Business | BU Manager | As and when required | fatigue, collisions, Injuries, multiple injuries and fatalities | 1. Use of video and telecon where possible 2. Check restrictions on the medical fitness certificate 3. Awareness training on Fatigue Management and Distractions 4. Travel Route Risk Assessment 5. Vehicle Inspections 6. encourage employees to declare when using medication that will affect the ability of the employee to drive 7. Campaigns on Vehicle and Driver safety | 6 | C | I | Fully effective | Maintain the existing controls | 1. Identification and monitoring of high mileage drivers - (Driver risk profiling) 2. Vehicle inspections 3. BSOs 4. Medical fitness tests 5 . Vehicle Driver Compliance Confirmation forms | Line Managers | OHS Act 85 of 1993, Eskom SHEQ policy 32-727,OHS Baseline Risk Assessment 32-520 , Eskom Vehicle Safety and Driver Management procedure 240-62946386, Eskom Vehicle Safety Specifications procedure 32-345, National Road Traffic Act 93 of 1996, Substance Abuse Procedure 32-37 | 2020-12-01 | Complete | HIRA and IRM Risk Matrices not aligned
|  |  |  | 19.7 | Poor Network Connection (reception) | Safety | Unable to get reception to make a phone call or view google maps on cellphones for directions to site. | Visitors & employees | BU Manager | Employees & visitors travelling to sites | Stress & Confusion. Not paying attention on the road | The location of all Eskom sites can be loaded onto a navigator that works with satellite hence no reception required. Hardcopies of Maps to be taken with in the event of the navigator becoming faulty. | 6 | C | III | Mostly effective | Take hardcopy maps with you for directions. Do thorough research prior to going on the trip | Feedback sessions at meeting regarding staff that travelled to areas with poor network coverage. | Line Managers | OHS Act 85 of 1993, Eskom SHEQ policy 32-727,OHS Baseline Risk Assessment 32-520 , Eskom Vehicle Safety and Driver Management procedure 240-62946386, Eskom Vehicle Safety Specifications procedure 32-345, National Road Traffic Act 93 of 1996, Substance Abuse Procedure 32-37 | 2020-12-01 | Pending | HIRA and IRM Risk Matrices not aligned
|  |  |  | 19.8 | Travelling on gravel road / or terrain | Safety | Business activities wart conducting Audits, Occupational Hygiene Surveys and site visits etc. | Employees travelling on Eskom Business | BU Manager | As and when required | lose control of the vehicle, collisions, Injuries, multiple injuries and fatalities | 1. Use of suitable vehicle for the road condition or terrain 2. Travel Route Risk Assessment 3. Vehicle Inspections 4. encourage employees to declare when using medication that will affect the ability of the employee to drive 5. Vehicle Campaigns | 6 | B | I | Mostly effective | 1. Defensive and Gravel Road Driver Training where required 2. Maintain the existing controls | 1.Incidents and trends 2. Driver risk profiling - at least every two years | Line Managers | OHS Act 85 of 1993, Eskom SHEQ policy 32-727,OHS Baseline Risk Assessment 32-520 , Eskom Vehicle Safety and Driver Management procedure 240-62946386, Eskom Vehicle Safety Specifications procedure 32-345, National Road Traffic Act 93 of 1996, Substance Abuse Procedure 32-37 | 2020-12-01 | In Progress | HIRA and IRM Risk Matrices not aligned
|  | 20 | Driving on Poor Road conditions | 20 | Motor vehicle incident | Safety | lose stones, unclear signs, potholes, narrow roads, Invisible road markings, slippery roads, rough terrain | Employees travelling on Eskom Business and Public | BU Manager | As and when required | Lose control of the vehicle, collisions, Injuries, multiple injuries and fatalities | 1. Use alternative route where possible 2. Travel Route Risk Assessment 3. Vehicle Inspections 4. encourage employees to declare when using medication that will affect the ability of the employee to drive 5. Vehicle Campaigns | 6 | B | I | Fully effective | Maintain the existing controls | 1. Identification and monitoring of high mileage drivers - (Driver risk profiling) 2. Vehicle inspections 3. BSOs 4. Medical fitness tests 5 . Vehicle Driver Compliance Confirmation forms | Line Managers | OHS Act 85 of 1993, Eskom SHEQ policy 32-727,OHS Baseline Risk Assessment 32-520 , Eskom Vehicle Safety and Driver Management procedure 240-62946386, Eskom Vehicle Safety Specifications procedure 32-345, National Road Traffic Act 93 of 1996, Substance Abuse Procedure 32-37 | 2020-12-01 | Complete | HIRA and IRM Risk Matrices not aligned
|  | 21 | Driving on the road where wild/stray animals are prevalent | 21 | Motor vehicle incident | Safety | Obscured view, unclear road signs, breaking / ingoing the rules of the road | Employees travelling on Eskom Business | BU Manager | As and when required | Damaged to Vehicle, injuries, fatalities, multiple fatalities | 1. Travel Route Risk Assessment 2. encourage employees to declare when using medication that will affect the ability of the employee to drive 3. Vehicle Campaigns | 6 | B | I | Mostly effective | 1. Conduct Awareness when driving on roads where there are wild stray animals 2. Maintain the existing controls 4. Sharing of lessons learnt from similar incidents | 1. Incidents and trends 2. Vehicle Inspections | Line Managers | OHS Act 85 of 1993, Eskom SHEQ policy 32-727,OHS Baseline Risk Assessment 32-520 , Eskom Vehicle Safety and Driver Management procedure 240-62946386, Eskom Vehicle Safety Specifications procedure 32-345, National Road Traffic Act 93 of 1996, Substance Abuse Procedure 32-37 | 2020-12-01 | In progress | HIRA and IRM Risk Matrices not aligned
|  | 22 | Driving in adverse weather conditions | 22 | Motor vehicle incident | Safety | Rain, Floods, Fog ,Mist, Snow, whirl winds, Slippery roads etc. | Employees travelling on Eskom Business | BU Manager | As and when required | Motor vehicle accidents, damage to vehicle, injuries, fatalities, multiple fatalities | 1. Awareness on driving on adverse weather conditions 2. Travel route risk assessment 3. Encourage employees to declare when using medication that will affect the ability of the employee to drive, and 4. Vehicle Campaigns | 6 | C | I | Fully effective | Maintain the existing controls | Incidents and trends | Line Managers | OHS Act 85 of 1993, Eskom SHEQ policy 32-727,OHS Baseline Risk Assessment 32-520 , Eskom Vehicle Safety and Driver Management procedure 240-62946386, Eskom Vehicle Safety Specifications procedure 32-345, National Road Traffic Act 93 of 1996, Substance Abuse Procedure 32-37 | 2020-12-01 | Complete | HIRA and IRM Risk Matrices not aligned
|  | 23 | Road Works | 23 | Motor vehicle incident | Safety | Obstruction on the road, unclear road signs, road construction/ maintenance, driver ignorance, poorly visible road markings | Employees, Public | BU Manager | Occasionally | Motor vehicle accidents, damage to vehicle, injuries, fatalities | 1. Awareness on vehicle and driver safety 2. Sharing of lessons learnt from similar incidents 3.Travel route risk assessment | 6 | C | I | Fully effective | Maintain the existing controls | 1. Route risk assessment 2. Vehicle Driver commitment and compliant forms | Line Managers | OHS Act 85 of 1993, Eskom SHEQ policy 32-727,OHS Baseline Risk Assessment 32-520 , Eskom Vehicle Safety and Driver Management procedure 240-62946386, Eskom Vehicle Safety Specifications procedure 32-345, National Road Traffic Act 93 of 1996, Substance Abuse Procedure 32-37 | 2020-12-01 | Complete | HIRA and IRM Risk Matrices not aligned
Driver Testing | R | 24 | Assesses (incompetent driver) | 24 | Motor vehicle incidents | Safety | Driver behaviour and incompetency, driver negligence, assesse nervousness, other road users | Driver assessor, members of public | BU Manager | Once a week, +/- 1 hour | Injuries and fatalities | 1. Checking of drivers licence 2. Driver risk profile 3. Determining duration of driving experience 4. Determining vehicle ownership 5. Locking of steering wheel ahead of running engine to determine experience 6. Determination of medical fitness | 6 | C | I | Fully effective | 1. Testing assesse on certain features inside the yard before testing on the street, 2. Identification of less risky / traffic routes, 3. Displaying a cautioning safety sign to alert other road users that the driver in under assessment, 4. Introducing a discussion at the Vehicle and Driver Safety Working Group to developing a procedure to address this hazard | Pre-task risk assessment | Line Managers | OHS Act 85 of 1993, Eskom SHEQ policy 32-727,OHS Baseline Risk Assessment 32-520 , Eskom Vehicle Safety and Driver Management procedure 240-62946386, Eskom Vehicle Safety Specifications procedure 32-345, National Road Traffic Act 93 of 1996, Substance Abuse Procedure 32-37 | 2020-12-01 | In progress | N/A
Access to site | N | 25 | Public protest/unrests | 25 | Theft, Vandalism, and Injury | Safety | Location of the site | Eskom Employees | BU Manager | Occasionally | Possible injury or Damage to property | 1. Sensitise employees if there are any protests 2. Move employees to alternative site 3. Inform employees to work from home where possible 4. sensitise employees to use alternative routes | 4 | C | II | Fully effective | Maintain the existing controls | Incidents and trends | Line Managers | OHS Act 85 of 1993, Eskom SHEQ policy 32-727,OHS Baseline Risk Assessment 32-520 , Eskom Vehicle Safety and Driver Management procedure 240-62946386, Eskom Vehicle Safety Specifications procedure 32-345, National Road Traffic Act 93 of 1996, Substance Abuse Procedure 32-37 | 2020-12-01 | Complete | HIRA and IRM Risk Matrices not aligned
Legend:
Employee awareness/training, guidelines, and information sharing
ERE relater issues and maintenance
Note on M11: 1) - Elimination - not possible due to the design 2) Substitution - no need to replace 3) Engineering - not possible, as it will affect the design 4) Administrative - is applicable 1. Health and Safety inspections 2. Provide training on basic office safety and on office ergonomics 3. Reporting any defects to ERE
Note on M12: 1) - Elimination - not possible due to the design 2) Substitution - no need to replace 3) Engineering - not possible, as it will affect the design 4) Administrative - is applicable SHE Inspections will be conducted, Report defects to ERE and conduct awareness sessions.
Note on M13: 1) - Elimination - not possible due to the number of employees using the hydroboil 2) Substitution - use of kettle not efficient. 3) Engineering - not possible. 4) Administrative - is applicable 1. Put warning sign on the hydroboil 2. Health and Safety inspections 3. Conduct awareness on the use of hydroboil 4. Reporting any defects to ERE
Note on M14: 1) - Elimination - not possible - computer is a required tool to execute the deliverables. 2) Substitution - not possible - Technological evolution. 3) Engineering - not possible. 4) Administrative - is applicable 1. Take frequent breaks from the computer every 20 - 30 minutes 2. Conduct office ergonomics awareness sessions 3. Conduct periodic medical surveillance
Note on M15: 1) - Elimination - not possible - there should be natural lighting. 2) Substitution - not possible - cannot replace blinds with window tinting as closing blinds is effective. 3) Engineering - not possible to design the building not to face the sun. 4) Administrative - is applicable - 1. Encourage employees to close the blinds 2.Train employees on Ergonomics (dangers associated with glare reflection on their computer screens)
Note on M16: 1) - Elimination - not possible - there should be artificial lighting. 2) Substitution - not possible - cannot replace artificial lighting. 3) Engineering - not possible to re-design the building. 4) Administrative - is applicable 1. Conduct periodic Illumination Surveys to determine the quality and suitability of the light 2. Conduct Quarterly SHE / Visual Inspections 3. Report all defective light sources to ERE 4. Ensure periodic medical surveillance are conducted
Note on M17: 1) - Elimination - not possible - there should be artificial lighting. 2) Substitution - not possible - cannot replace artificial lighting. 3) Engineering - not possible to re-design the building. 4) Administrative - is applicable 1. Conduct periodic Illumination Surveys to determine the quality and suitability of the light 2. Conduct Quarterly SHE / Visual Inspections 3. Report all defective light sources to ERE
Note on M18: 1) - Elimination - not possible to change the work station layout. 2) Substitution - replaced chairs with ergonomically sound swivel chairs. 3) Engineering - not possible to re-design the office layout. 4) Administrative - is applicable 1. Conduct periodic Illumination Surveys to determine the quality and suitability of the light 2. Health and Safety inspections 3. Report all defective lighting to ERE 4. Ensure periodic medical surveillance are conducted
Note on M19: 1) - Elimination - not possible to change the work station layout. 2) Substitution - not possible to change the work station layout. 3) Engineering - not possible to re-design the office layout. 4) Administrative - is applicable 1. Conduct periodic Evacuation drills)
Note on M20: 1) - Elimination - not possible to change the design layout. 2) Substitution - not possible due to the design. 3) Engineering - not possible to re-design the office and modify the current system. 4) Administrative - is applicable 1. Conduct periodic Indoor Air Quality Surveys 2. Awareness sessions on the risks of Poor Indoor Air Quality 3. Reporting of defective mechanical ventilation systems {air cons} 4. Health and Safety Inspections
Note on M21: 1) - Elimination - not possible to eliminate fluorescent tubes as they are more efficient for office environment. 2) Substitution - not possible as fluorescent tubes are more efficient for office environment. 3) Engineering - not possible to modify the fluorescent tubes. 4) Administrative - is applicable 1. Advise staff to move away from areas where ERE is replacing the fluorescent tubes & Conduct BSO when ERE is replacing the fluorescent tubes.
Note on M22: 1) - Elimination - not possible to eliminate fluorescent tubes as they are more efficient for office environment. 2) Substitution - not possible as fluorescent tubes are more efficient for office environment. 3) Engineering - not possible to modify the fluorescent tubes. 4) Administrative - is applicable 1. Advise staff to move away from areas where ERE is replacing the fluorescent tubes 2.Conduct BSO when ERE is replacing the fluorescent tubes
Note on M23: 1) Elimination - not possible to eliminate due to structural design and transporting of equipment 2) Substitution - not possible to eliminate due to structural design and transporting of equipment 3) Engineering - not possible to modify as the lifts already have sensors. 4) Administrative - is applicable 1. Sensors on the lift installed to detect the motion and weight capacity 2.Warning signs displayed to make people aware of the weight capacity 3. Report lift defects to ERE.
Note on M24: 1) Elimination - not possible to eliminate due to structural design and transporting of equipment 2) Substitution - not possible to eliminate due to structural design and transporting of equipment 3) Engineering - not possible to modify as the lifts already have sensors. 4) Administrative - is applicable 1. Request for escalator maintenance schedule and records from ERE 2. People that are aware of fear of use of escalators should avoid using escalator 3. Report defects to ERE
Note on M25: 1) Elimination - not possible to eliminate due to structural design and transporting of equipment 2) Substitution - not possible to eliminate due to structural design and transporting of equipment 3) Engineering - not possible to modify as the lifts already have sensors. 4) Administrative - is applicable 1. Request for escalator maintenance schedule and records from ERE 2. People that are aware of fear of use of escalators should avoid using escalator 3. Report defects to ERE
Note on M26: 1. Elimination- not possible due to design of offices 2. Substitution possible, due to design of buildings 3. Engineering controls-not possible as it will effect the design the building. 4. Administrative:- applicable. 1. Display of warning signs - hold onto handrails when using the escalators 2. Conduct BSO's 3. Report defects (e.g. loose tiles or handrails) to ERE 4. Request for escalator maintenance and schedule records from ERE 5. Conduct awareness training on the use of escalators schedule records from ERE, Awareness training on the use of escalators
Note on M27: 1. Elimination- not possible due to design of offices 2. Substitution possible, due to design of buildings 3. Engineering controls-not possible as it will effect the design the building. 4. Administrative:- applicable. 1.Display of warning signs - hold onto handrails when using the staircases 2. Conduct BSO's 3. Report defects (e.g. loose tiles or handrails) to ERE 4. Conduct awareness training on slips, trips and falls
Note on M28: 1. Elimination- not possible, part of tools to execute your work.. 2. Substitution-not possible, technological design 3. Engineering controls- not possible as Laser Radiation is contained inside the printer. 4. Administrative:- applicable. 1. Reduced Duration of Exposure: The scanning of documents occurs over very short durations.
Note on M29: 1. Elimination- not possible due to hygienic reasons. 2. Substitution-Use of less hazardous or odourless detergents 3. Engineering controls-not applicable. 4. Administrative:- applicable. 1.The ready availability of Materials Safety Data Sheets for all the cleaning substances used in our office space is in kitchen cupboard. 2.Conduct basic awareness training on exposure to hazardous chemicals substances. 3. Encourage employees that are reacting to the cleaning substances to take air breaks outside the building while cleaning takes place.
Note on M30: 1. Elimination- not possible, first aiders must administer first aid treatment when required. 2. Substitution-not possible, first aiders must administer first aid treatment when required. 3. Engineering controls-not applicable. 4. Administrative:- applicable. 1.Refresher training for First Aiders 2. PPE- Wear latex gloves 3. First aid box inspections - replace expired items PPE- Wear latex gloves
Note on M31: 1. Elimination- not possible, due to nature of work compelling employees to travel internationally 2. Substitution-possible but impractical due to nature of work compelling employees to travel internationally. 3. Engineering controls-not possible 4. Administrative:- Applicable. 1. Consult the medical clinic for assessment and guidance, and prophylaxis where required 2. Further consult with the private clinic for vaccine (where required) following the travel insurance process 3. Upon results from the medical professionals, Line Manager use discretion, whether to proceed with the trip 4. PPE- if the outbreak occurs while abroad. i.e. (wear latex gloves, mask and relevant PPE for site visits) 5. PPE- applicable if the outbreak occurs while abroad. i.e. (wear latex gloves, mask and relevant PPE for site visits)
Note on M32: 1. Elimination- not possible, due to nature of work 2. Substitution-not possible due to nature of work 3. Engineering controls-not possible 4. Administrative:- Applicable. 1. Conduct Route Risk Assessment. 2. Attend Site Safety Induction 3. Use insect Repellent PPE- applicable - 1. PPE- Use relevant PPE for site visits for site visits (i.e. use insect repellent)
Note on M33: 1. Elimination- not possible, due to nature of work 2. Substitution-not possible due to nature of work 3. Engineering controls-not possible 4. Administrative:- Applicable. 1. Keep hydrated 2. Awareness training / share information on heat stress PPE- applicable - Use relevant PPE for site visits (i.e. sun glasses, sunblock etc.)
Note on K34: Thabani Zondani Hiadzi:
Note on M34: 1. Elimination - not possible to eliminate due to to the nature of OGE Business 2. Substitution - where possible, make use of video/ telecon 3. Engineering - not applicable to this risk 4. Administrative - is applicable 1. Completion of Driver Risk Profile 2. Defensive Driving Training for all identified high risk drivers as per Driver Risk Profile 3. Where possible, make use of video/ telecon 4. Conducting Vehicle Inspections, Road Rage Awareness, Conduct Stress Management, Completion of Vehicle Compliance Forms, Medical Assessment (including Health Risk Assessment) 5. PPE - not applicable to this risk
Note on M35: 1. Elimination - not possible to eliminate due to to the nature of GP&D Business 2. Substitution - where possible, make use of video/ telecon 3. Engineering - not applicable to this risk 4. Administrative - is applicable 1. Travel Route Risk Assessment 2. Conduct Medical Surveillance 3. Valid Driver's License, Eskom Driver Assessment and Eskom Driver Permit 4. Completion of Driver Risk Profile 5. Defensive Driving Training for all identified high risk drivers as per Driver Risk Profile 6. Vehicle Inspections and Travel Route Risk Assessment 7. Awareness Training (Fatigue, Stress, Vehicle and Driver Safety Procedure, Distractions while driving etc.) 8. Campaigns on Vehicle and Driver Safety and Motor Vehicle Accidents Work Stoppage 9. Sharing of Motor Vehicle Accidents Lessons Learnt 10. Take rest breaks at a safe place at least every 2 hours 11. encourage employees to declare when using medication that will affect the ability of the employee to drive 12. Completion of Driver Vehicle Compliance Forms
Note on M36: 1. Elimination - not possible to eliminate 2. Substitution - where possible, make use of video/ teleconference 3. Engineering - not applicable to this risk 4. Administrative - is applicable 1. Video or teleconferencing where possible 2. Awareness on highjacking, fatigue, Stress Management and sharing of information on hijacking hotspots 3. Travel Route Risk Assessment 4. Encourage employees to declare when using medication that will affect the ability of the employee to drive 5. Avoid assistance of hitch-hikers 6. Defensive Driving Training
Note on M37: 1. Elimination - not possible to eliminate due 2. Substitution - where possible, make use of video/ teleconference 3. Engineering - not applicable to this risk 4. Administrative - is applicable 1. Awareness on smash and grab, fatigue, stress management and sharing of information on smash and grab hotspots 2. Vehicle Campaigns 3. Travel Route Risk Assessment 4. encourage employees to declare when using medication that will affect the ability of the employee to drive
Note on M38: 1) Elimination - not possible to eliminate 2) Substitution - where possible, make use of video/ teleconference 3) Engineering - not applicable to this risk 4) Administrative - is applicable 1. Conduct awareness on Vehicle and Driver Safety Procedures 2. Defensive driver training (where the risk has been identified) 3. Check restrictions on the medical fitness certificate 4. Awareness training on Fatigue Management and Distractions 5. Travel Route Risk Assessment 6. Vehicle Inspection 7. encourage employees to declare when using medication that will affect the ability of the employee to drive 8.15 minutes rest after every two hours when driving 9. Campaigns on Vehicle and Driver safety
Note on M39: 1) Elimination - not possible to eliminate 2) Substitution - where possible, make use of video/ teleconference 3) Engineering - not applicable to this risk 4) Administrative - is applicable 1. Check restrictions on the medical fitness certificate 2. Awareness training on Fatigue Management and Distractions 3. Travel Route Risk Assessment 4. Vehicle Inspections 5. encourage employees to declare when using medication that will affect the ability of the employee to drive 6. Campaigns on Vehicle and Driver safety
Note on M41: 1) Elimination - not possible to eliminate 2) Substitution - where possible, use of suitable vehicle for the road condition or terrain. 3) Engineering - not applicable to this risk 4) Administrative - is applicable 1. Use of suitable vehicle for the road condition or terrain 2. Travel Route Risk Assessment 3. Vehicle Inspections 4. encourage employees to declare when using medication that will affect the ability of the employee to drive 5. Vehicle Campaigns
Note on M42: 1) Elimination - not possible to eliminate 2) Substitution - where possible, use alternative route 3) Engineering - not applicable to this risk 4) Administrative - is applicable 1. Travel Route Risk Assessment 2. Vehicle Inspections 3. encourage employees to declare when using medication that will affect the ability of the employee to drive 4. Vehicle Campaigns
Note on M43: 1) Elimination - not possible to eliminate 2) Substitution - Not possible for this risk 3) Engineering - not applicable to this risk 4) Administrative - is applicable 1. Travel Route Risk Assessment 2. encourage employees to declare when using medication that will affect the ability of the employee to drive 3. Vehicle Campaigns 4. Sharing of lessons learnt from similar incidents
Note on M44: 1) Elimination - not possible to eliminate 2) Substitution - Not possible for this risk 3) Engineering - not applicable to this risk 4) Administrative - is applicable - 1. Awareness on driving on adverse weather conditions 2. Travel route risk assessment 3. encourage employees to declare when using medication that will affect the ability of the employee to drive, and 4. Vehicle Campaigns
Note on M45: 1) Elimination - not possible to eliminate 2) Substitution - Not possible for this risk 3) Engineering - not applicable to this risk 4) Administrative - is applicable 1. Awareness on Vehicle Driver Safety 2. Travel route risk assessment 3. encourage employees to declare when using medication that will affect the ability of the employee to drive, and 4. Vehicle Campaigns 5. encourage employees to declare when using medication that will affect the ability of the employee to drive
Note on M47: Thabani Zondani Hiadzi: 1) - Elimination - not possible 2) Substitution - not possible 3) Engineering - not possible 4) Administrative - is applicable - Sensitise employees if there are any protests, Move employees to an alternative site, Inform employees to work from home where possible, Sensitise employees to use alternative routes 5) PPE: not applicable

## Consequence rating
Consequence criteria
Consequence rating | Description
Health and Safety
1 | No injuries or health effects(near misses)
2 | First-aid treatment case, and temporary discomfort case
3 | Medical treatment case; occupational disease with reversible/non-permanent effect
4 | Lost Time Injury. Irreversible health effects/occupational disease with permanent consequence
5 | Fatality or life threatening health effects
6 | Multiple fatalities

## Likelihood rating
Likelihood Rating
Score | Descriptor | Safety | Occupational hygiene
|  |  | Exposure | Probability of exceeding OEL
A | Highly unlikely | § More than a “100 year event” | Rare (once a year) | No exposure (or exposure < 10% of OEL)
§ Exceptionally unlikely, even in the long-term future
§ < 5% probability.
B | Unlikely | § Could occur in “years to decades” | Short periods of time, a few times per day/ intermittent (once in six months, three months, or a month) | Low exposure (< 50% of OEL)
§ May occur but not anticipated
§ ≥ 5% and < 20% probability.
C | Possible | § Could occur within “months to years” | Continuous for between one and two hours (often/ weekly) | Moderate exposure (chronic exposure > 50% of OEL or acute exposure ≥ OEL)
§ May occur shortly but a distinct probability it will not, or ≥ 20% and < 70% probability.
D | Likely | § Could occur within “weeks to months” | Continuous for between two and four hours (frequent/daily) | High exposure (chronic exposure > OEL, or exposure exceeding OEL-STEL)
§ Balance of probability will occur
§ ≥ 70% and < 90% probability.
E | Unavoidable | § Could occur within “days to weeks” | Continuous for eight-hour shift | Very high exposure (chronic exposure > 2 x OEL or exposure exceeding OEL-C)
§ Impact is imminent
§ ≥ 90% probability.

## Risk control effectiveness
RISK CONTROL EFFECTIVENESS GUIDE
RCE | Guide
Fully effective | Nothing more to be done except review and monitor the existing controls. Controls are well designed for the risk, are largely preventive and address the root causes. Management believes that they are effective and reliable at all times. Reactive controls only support preventive controls.
Mostly effective | Most controls are designed correctly and are in place and effective. Some more work to be done to improve operating effectiveness or management has doubts about operational effectiveness and reliability of the controls.
Mostly ineffective | While the design of controls may be largely correct in that they treat most of the root causes of the risk, they are not currently operationally very effective. There may be an over-reliance on reactive controls, or some of the controls do not seem correctly designed in that they do not treat root causes.
None | Virtually no credible control. Management has no confidence that any degree of control is being achieved.

## Risk matrix
RISK MATRIX
Consequences | 6 | I | I | I | I | I
| 5 | II | II | II | I | I
| 4 | III | III | II | I | I
| 3 | IV | III | II | II | I
| 2 | IV | IV | III | II | II
| 1 | IV | IV | III | III | III
|  | A | B | C | D | E
Likelihood
| Priority | Risk ranking | Action required
| I | Very high | Immediate action required, and these risks to be captured on IRM system.
| II | High | Strong mandatory action required, and these risks to be captured on IRM system.
| III | Medium | Action required, possibly at administrative level.
| IV | Low | Minor or no action required.