## Risk template
Occupational Health and Safety Baseline risk assessment template
Project/Dept: |  | Disconnection &Reconnections | [7 empty] | Scope of Risk Assessment: | [5 empty] | Next Review Date: |  |  |  | Unique identifier | 240-70044602
Date: |  | 2019-03-20 |  |  | Prepared by: | Deon Bezuidenhoudt |  | Authorised by: |  | Name:Deon Bezuidenhoudt | [9 empty] | Revision: | 0
[10 empty] | Signed:___________________________________ | [9 empty] | Revision date: | 2019-04-01
Date:2020/03/05
Refer to Occupational Health and Safety Risk assessment procedure 32-520 | [34 empty] | Yes | Safety | 1 | 1 | F | I
1: List activity | 2: Hazard identification |  | 3: Risk identification | [7 empty] | 4: Assess & Analyse Risks | [5 empty] | 4: Evaluate Risk |  |  |  |  | 5: Reduce & Eliminate Risk | [12 empty] | No | Health | 2 | 2 | P | II
List activity | Hazard nr | Hazard Identification | Risk Nr | Exposed group/employees | Risk Owner | Exposure patterns | Associated risk | Risk type | Conditions(Normal/Abnormal) | Cause(s) of the risk | What are the Consequences? | First determine Consequence and then the Likelihood of that Consequence. |  | Risk Priority Rating | Existing Controls |  | Additional Controls or Tasks Aimed at improving Existing Controls | First determine Consequence and then the Likelihood of that Consequence. |  | Risk Priority Rating | Monitoring Mechanisms | Control Owner | Legal and Other Requirements | Initial Target Date | Revised Target Date | Current Status | Independent Verification (i.e. Confirmation that the objectives have been met) |  | Comments | [7 empty] | 3 | 3 | I | III
List specific activities to be performed taking into consideration the equipment to be used, the personnel involved in the task. | # | A hazard is anything that is likely to lead to an event that will have an adverse impact on achieving an objective. A hazard can pose more than one risk. | # | Who is exposed to the hazard i.e. Employees, visitors, members of the public, etc. | Who is accountable for making sure the controls and monitors are: - in place, - implemented, - regularly reviewed for effectiveness. | The frequency and duration the person/group is exposed to the hazard e.g. Daily for 3 hrs. | A physical event occurs in relation to the hazard | Safety or health | Indicate Yes or No. These short-term changes to conditions that could not be reasonably anticipated e.g. Emergencies | What causes the risk to come into effect? | What is the expected adverse impact on the objective? | Consequence | Likelihood |  | Include: - Preventative Controls (controls implemented to eliminate hazards or reduce the likelihood of the risk occurring), and - Reactive Controls (controls implemented to reduce the immediate impact of the risk occurring) | RCE Risk Control Effectiveness | Include: - Preventative Controls (controls implemented to eliminate hazards or reduce the likelihood of the risk occurring), and - Reactive Controls (controls implemented to reduce the immediate impact of the risk occurring) | Consequence | Likelihood |  | How we know if we are succeeding. Include comments on effectiveness. This may include i.e. measurements, inspections, supervision where necessary. | Person allocated the responsibility for implementing the agreed controls | Where relevant, list the relevant legislative and or Eskom requirements that prescribe the control. | Once a date has been agreed to, this can not be changed | Used if, for any reason, a Target Date is revised. Use the Comments field to explain. | Pending, In Progress, Complete | Date Done: | By whom: |  | III | II | I | I | I |  |  | 4 | 4 | Ti | IV
Driving of vehicles | 1 | Driving on public roads, Overspeeding of vehicles,In community, On private property, Mechanical failure / Breakdown | 1 | All | All | When ever the task is being perfomed | Involved in accident, Risk of personnel being injured by overspeeding vehicles. Drivers losing control of vehicles. Damaging / injury to member of public, Severe Injuries when involved in an Accident, Personnel are at risk of being bumped by a vehicle or an Accident | Safety | Normal | Not adhering to the speed limit,Not paying attention, not familiar with the road,making use of cellphone, distractions, exposed to unsafe behavours, congested roads, Pedestrians and live stock, Taxi and Truck on the road, Civil unrest. Negligent driving,Not adhering to speed limit by drives, Not adhering to life saving rules, Faillure of observation by drivers and pedesetrians and unavailability of pedestrian crossings | Fatalities,Injuries, Property damage | 4 | 3 | II | Staff driving vehicles to have national driver's license. Vehicles in roadworthy condition, only transport authorised staff in vehicle, pre-trip checks,and obeying of all traffic laws, Adherence to life saving rules. Discuss in safety meetings, | P | To adhere to the existing controls | 4 | 3 | II | Incident records, Speed fines and Services records | S | National Road Safety Act. ESKOM Procedure 240-62946386 (Vehicle and driver safety management) . ESKOM Procedure 32-345(Eskom Vehicle Safety Specification) , Life saving rules | none | none | none | none | none | none
Work areas / environment | 2 | Animals and insects bites Adverse weather conditions ( Too hot, windy or too cold) Loose gravel and stone, uneven surfaces | 2 | All | Supervisor | When ever the task is being perfomed | Ill-health due to insect / animal bites,Ill health of workers,Injury to workers; slips, trips and falls | Safety, Health | Normal | Not conducting adequate risk assessment | Injuries | 2 | 2 | IV | Adequate Risk Assessment, Toolbox talk | P | To adhere to the existing controls | 2 | 2 | IV | Completed risk assessement report | SS | Construction Regulations 9 | none | none | none | none | none | none
Transporting material, equipment and people on the same vehicle | 3 | Vehicle involved in accident | 3 | All | Supervisor | When ever the task is being perfomed | Injury to persons due to loose material and equipment falling about.Damage to material or equipment | Safety | Normal | Not adhering to the TI- 012 | Injuries | 4 | 2 | III | Adherence to Technical Instruction 012 - Prohibition of transporting of employees in a crew cabs mounted on the back of trucks | p | Maintain existing controls | 4 | 2 | III | Incident report | SS | Technical Instruction 012 Prohibition of transporting of employees in a crew cabs mounted on the back of trucks | none | none | none | none | none | none | III | II | II | I | I |  |  | 5 | 5 | N
Fire | 4 | Uncontrolled fires | 4 | All | Supervisor | As when it occurs | Injury to workers, Damage to property | Safety Health | Normal | Not focussing when walking | Injury to workers, Damage to property | 2 | 2 | IV | OPERATIONAL CONTROL: All staff to obey warning signs and be on the look out for slipping and tripping hazards. PROGRAMME: use of warning signs when floors are wet , SHE talks, apply situational awareness. | P | Maintain existing controls | 2 | 2 | IV | Inspections, EP | SS | Construction Regulations 29, Environmental Regulations for Workplaces 9.EP Procedure | none | none | none | none | none | none | IV | IV | III | III | III
Intoxication at work | 5 | Performing work while intoxicated | 5 | All | Supervisor | As when it occurs | Injury | Safety | Normal | Performing work while intoxicated | Injuries | 4 | 2 | III | Adherence to General Safety Regulations 2A, 32-37 Substance Abuse Procedure | P | Maintain existing controls | 4 | 2 | III | Incident records | SS | General Safety Regulations 2A, 32-37 Substance Abuse Procedure | none | none | none | none | none | none
Adverse weather conditions(rainy season) | 6 | Flash floods | 6.1 | All | Supervisor | Anually(rainy season) | Drowning, | Safety | Normal | Heavy rain | Fatalities, Injuries | 5 | 3 | II | risk assessment, Induction training | P | Maintain existing controls | 5 | 3 | II | Incident records | Supervisor | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | none | none | none | none | none | none
|  | Low bridge | 6.2 | All | Supervisor | Anually(rainy season) | Drowning, vehicle being swept off | Safety | Normal | Heavy rain | Fatalities, Injuries | 5 | 3 | II | risk assessment, Induction training | P | Maintain existing controls | 5 | 3 | II | Incident records | Supervisor | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | none | none | none | none | none | none
Emergency Risks | 7 | Angry Customers/voilent dogs | 7 | All | Supervisor | As when it occurs | Injury | Safety | Normal | Unsatisfied customers/voilent dogs | Fatalities, Injuries | 5 | 3 | II | Emergency preparedness | P | Maintain existing controls | 5 | 3 | II | Incident records | Managers | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | none | none | none | none | none | none
Supervision/Acces to site | 8 | Incompetent/Unauthorised person in charged | 8 | All | Supervisor | Dailly | Injury | Safety | Normal | Incompetent/Unauthorised person in charged | Injury | 4 | 3 | II | ORHVS | P | Maintain existing controls | 4 | 3 | II | Training Records | Site Supervisor/ Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | none | none | none | none | Site Supervisor/ Manager | none
Using of hand tools - day to day task e.g. connect and disconnect customers etc. | 9 | Defective / broken hand tools | 9 | All | Supervisor | Daily | Hand injuries, cuts and bruises , electrocution, fractures, Injuries, Fatalities | Safety | Normal | No regular inspection of tools, Incorrect hand tools, | Lost time injuries | 4 | 3 | III | Medical surveillance, training, regular inspections, PPE | P | Maintain existing controls | 2 | 1 | IV | Inspections | SS | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | Ongoing | Ongoing | In Progress, | N/A
| 10 | Live electricity | 10 | All | Supervisor | Daily | Electrocution | Safety | Normal | Incorrect and handling of tools, Improper storage of tools, deviation from procedures/standards | Possible fatalities - Injury | 5 | 4 | I | Proper PPE, Regular testing of equipment. Proper training, medical surveillance. Authorisation. Mental alertness and physical ability. | P | Maintain existing controls | 2 | 1 | IV | Inspections | SS | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | Ongoing | Ongoing | In Progress, | N/A
Working in Asbestos affected areas | 11 | Exposure to asbestos dust | 11.1 | All | Site Supervisor/ Manager | Once or Twice a week - 8hr | Ill health of workers | Health | NO | Working in Asbestos areas | Illness | 6 | 3 | I | PPE | P | Maintain existing controls | 4 | 3 | II | Inspection/ Supervision | Site Supervisor/ Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | none | none | none | none | Site Supervisor/ Manager | none
|  | Relevant notifications not in place | 11.2 | All | Site Supervisor/ Manager | Once or Twice a week - 8hr | Ill health of workers | Health | NO | Working in Asbestos areas | Illness | 5 | 3 | II | Signage | P | Maintain existing controls | 4 | 3 | II | Inspection/ Supervision | Site Supervisor/ Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | none | none | none | none | Site Supervisor/ Manager | none
|  | Lack of Work Plan and approval thereof | 11.3 | All | Site Supervisor/ Manager | Once or Twice a week - 8hr | Ill health of workers | Health | NO | Working in Asbestos areas | Illness | 5 | 3 | II | Pre-planning | P | Maintain existing controls | 4 | 3 | II | Inspection/ Supervision | Site Supervisor/ Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | none | none | none | none | Site Supervisor/ Manager | none
|  | Lack of / Improper Information, Training, PPE, Air monitoring | 11.4 | All | Site Supervisor/ Manager | Once or Twice a week - 8hr | Ill health of workers | Health | NO | Working in Asbestos areas | Illness | 6 | 3 | I | Adequate Training, PPE and air monitoring | P | Maintain existing controls | 4 | 3 | II | Inspection/ Supervision | Site Supervisor/ Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | none | none | none | none | Site Supervisor/ Manager | none
|  | Improper handling and disposal | 11.5 | All | Site Supervisor/ Manager | Once or Twice a week - 8hr | Ill health of workers | Health | NO | Working in Asbestos areas | Illness | 6 | 3 | I | Adequated disposal and handling | P | Maintain existing controls | 4 | 3 | II | Inspection/ Supervision | Site Supervisor/ Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | none | none | none | none | Site Supervisor/ Manager | none
|  | Lack of signage | 11.6 | All | Site Supervisor/ Manager | Once or Twice a week - 8hr | Ill health of workers | Health | NO | Working in Asbestos areas | Illness | 6 | 3 | I | Signage | P | Maintain existing controls | 4 | 3 | II | Inspection/ Supervision | Site Supervisor/ Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | none | none | none | none | Site Supervisor/ Manager | none
|  | Work area not demarcated – Unauthorised entry | 11.7 | All | Site Supervisor/ Manager | Once or Twice a week - 8hr | Ill health of workers | Health | NO | Working in Asbestos areas | Illness | 6 | 3 | I | Dermacation/ barricading and control of access | P | Maintain existing controls | 4 | 3 | II | Inspection/ Supervision | Site Supervisor/ Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | none | none | none | none | Site Supervisor/ Manager | none
|  | Lack of Medical surveillance | 11.8 | All | Site Supervisor/ Manager | Once or Twice a week - 8hr | Ill health of workers | Health | NO | Working in Asbestos areas | Illness | 6 | 3 | I | Medical surveillance, regular inspections, | P | Maintain existing controls | 4 | 3 | II | Inspection/ Supervision | Site Supervisor/ Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | none | none | none | none | Site Supervisor/ Manager | none

## Consequence rating
Consequence criteria
Consequence rating | Description
Health and Safety
1 | No injuries or health effects(near misses)
2 | First-aid treatment case, and temporary discomfort case
3 | Medical treatment case; occupational disease with reversible/non-permanent effect
4 | Lost Time Injury. Irreversible health effects/occupational disease with permanent consequence
5 | Fatality or life threatening health effects
6 | Multiple fatalities

## Likelihood rating
Likelihood criteria
Score | Descriptor | Safety and Environment | Occupational Hygiene
|  |  | Exposure | Probability of exceeding OEL
1 | Highly unlikely | § <5% probability | Rare(once a year) | No exposure (or exposure < 10% of OEL)
§ occurrence requires exceptional circumstances
§ exceptionally unlikely, even in the long-term future
§ only occurs as a “100-year event”
2 | Unlikely | § >5% probability, or | Short periods of time, a few times per day / intermittent (once in 6, 3 or a month) | Low exposure (<50% of OEL)
§ may occur but not anticipated, or
§ could occur in “years to decades”
3 | Possible | § >20% probability, or | Continuous for between 1 and 2 hours (often / weekly) | Moderate exposure (chronic exposure > 50% of OEL or acute exposure >/-OEL
§ may occur shortly but a distinct probability it will not, or
§ could occur within “months to year\s”
4 | Likely | § >70% probability, or | Continuous for between 2 and 4 hours (frequent / daily) | High exposure (chronic exposure > OEL, or exposure exceeding OEL-STEL)
§ balance of probability it will occur, or
§ could occur within “weeks to months”
5 | Unavoidable | § 99% probability, or | Continuous for 8 hour shift | Very high exposure (chronic exposure > 2 x OEL or exposure exceeding OEL-C
§ impact is occurring now, or
§ could occur within “days to weeks”

## Risk control effectiveness
RISK CONTROL EFFECTIVENESS GUIDE
RCE |  | Guide
Fully effective | F | Nothing more to be done except review and monitor the existing controls. Controls are well designed for the risk, are largely preventative and address the root causes and Management believes that they are effective and reliable at all times. Reactive controls only support preventative controls.
Partially effective | P | Most controls are designed correctly and are in place and effective. Some more work to be done to improve operating effectiveness or Management has doubts about operational effectiveness and reliability.
Ineffective | I | While the design of controls may be largely correct in that they treat most of the root causes of the risk, they are not currently very effective. There may be an over-reliance on reactive controls. OR Some of the controls do not seem correctly designed in that they do not treat root causes, those that are correctly designed are operating effectively.
Totally ineffective | Ti | Significant control gaps. Either controls do not treat root causes or they do not operate at all effectively. Controls, if they exist are just reactive.
None | N | Virtually no credible control. Management has no confidence that any degree of control is being achieved due to poor control design and/or very limited operational effectiveness.

## Risk matrix
Risk matrix
Consequences | 6 | III | II | I | I | I
| 5 | III | II | II | I | I
| 4 | IV | III | II | I | I
| 3 | IV | III | II | II | I
| 2 | IV | IV | III | II | II
| 1 | IV | IV | III | III | III
|  | 1 | 2 | 3 | 4 | 5
Likelihood
I |  | Very High
II |  | High
III |  | Medium
IV |  | Low