|  |  | Date: |
| --- | --- | --- |
|  |  | 07 October 2022 December2019 |
|  |  | Enquiries: |
|  |  | P van der Westhuizen |
|  |  | Tel: 014 762 2492 |

Dear Sir/Madam,

PROVISION OF DAILY AND “AS AND WHEN” MAINTENANCE AND CLEANING SERVICES OF MEDUPI POWER STATION RESIDENTIAL PROPERTIES IN LEPHALALE LPMED0055GX

Clarification Questions and answers

- There is no prevision for air con/refrigeration artisan/technicians in the price list –

you are free to subcontract a skill if you do not have within your company

- Should the contractor employees doing the air con services be registered as “authorized refrigeration gas practitioners “ in terms of the OSHACT 85 OF 1993 in terms of the “pressure regulations” –

yes, and this you will negotiate with your subcontractor

- The number of air cons to be serviced (1245 houses with most of them with 3 and 4 air cons) –

Average is 4 per house, but most of our houses are vandalized, on sale and some are retired.

- Estimated 65% of air cons in residential area is still on R22 refrigerant. R22 material and equipment is no longer manufactured because of it’s ozone depletion properties and global warming potential. –

We are to embark in a process of replacing those that unrepairable and non-compliant.

- In the CIDB rating, I see the minimum requirement is Grade 7 GB or higher. Is this a necessary requirement or can this be subcontracted, or do we just need a legally signed document that indicates that they will be able to do the work as and when needed? Because Level 7 is really high for only small brickworks and minor works to be done.

CIDB level 7GB is the requirement on this transaction, the grading was set in line with the SOW and estimated value.

- A valid pest control operator license and LP Gas Installer.

Do we need to show in the documents that this will be subcontracted and then give all the details of that company as well or just show valid proof that we have an agreement with a valid company?

We need details of the company as well as valid proof of an agreement with that particular company.

- Tendering entities must submit the two sets of latest Audited financial statements

Is this a requirement for pre-contract award or can we just state that these will be available after contract award?

Pre-contract award

- Will you please consider adding the Gas Installer as well as Pest Control Officer (PCO) on the BOQ so that we can price them accordingly.

Response: Gas installer and Pest Control Officer are not included as they are as and when required basis. Quotation will be requested when the need arise.

Yours faithfully