NEC3 Engineering & Construction Contract

| Between | ESKOM HOLDINGS SOC Ltd (Reg No. 2002/015527/30) |  |
| --- | --- | --- |
| and | [Insert at award stage] (Reg No. ___________ ) |  |
| for | UPGRADING OF EMERGENCY ASH OFFLOADING FACILITY Insert title of the works |  |
| Contents: |  | No of pages |
| Part C1 | Agreements & Contract Data | 24 |
| Part C2 | Pricing Data | 5 |
| Part C3 | Scope of Work | 26 |
| Part C4 | Site Information | 3 |
| CONTRACT No. | [Insert at award stage] |  |

Part C1: Agreements & Contract Data

| Contents: |  | No of pages |
| --- | --- | --- |
| C1.1 | Form of Offer and Acceptance [to be inserted from Returnable Documents at award stage] | 3 |
| C1.2a | Contract Data provided by the Employer | 12 |
| C1.2b | Contract Data provided by the Contractor [to be inserted from Returnable Documents at award stage] | 3 |
| C1.3 | Proforma Guarantees | 4 |

C1.1 Form of Offer & Acceptance

## Offer

The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

UPGRADING OF EMERGENCY ASH OFFLOADING FACILITY

The tenderer, identified in the Offer signature block, has examined the documents listed in the Tender Data and addenda thereto and by submitting this Offer has accepted the Conditions of Tender.

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Contractor under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data.

Delete the Options which do not apply

| Options B | The offered total of the Prices exclusive of VAT is | R ______________________ |
| --- | --- | --- |
|  | Sub total | R ______________________ |
|  | Value Added Tax @ 15% is | R ______________________ |
|  | The offered total of the amount due inclusive of VAT is | R ______________________ |
|  | (in words) ___________________________________________________________________________ ___________________________________________________________________________ |  |

This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| For the tenderer: |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |
| Tenderer’s CIDB registration number (if applicable) |  |  |  |  |

## Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Employer and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in:

Part C1		Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2		Pricing Data

Part C3		Scope of Work: Works Information

Part C4		Site Information

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed original copy signed between them of this document, including the Schedule of Deviations (if any).

Unless the tenderer (now Contractor) within five working days of the date of such receipt notifies the Employer in writing of any reason why he cannot accept the contents of this agreement, this agreement shall constitute a binding contract between the Parties.

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| for the Employer |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

## Schedule of Deviations to be completed by the Employer prior to contract award

Note:

- This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.

- The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

- A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

| No. | Subject | Details |
| --- | --- | --- |
| 1 | _____________________ | ________________________________________________________ |
| 2 | _____________________ | ________________________________________________________ |
| 3 | _____________________ | ________________________________________________________ |
| 4 | _____________________ | ________________________________________________________ |
| 5 | _____________________ | ________________________________________________________ |
| 6 | _____________________ | ________________________________________________________ |
| 7 | _____________________ | ________________________________________________________ |

By the duly authorised representatives signing this Schedule of Deviations below, the Employer and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement.

|  | #### For the tenderer: |  | #### For the Employer |
| --- | --- | --- | --- |
| Signature |  |  |  |
| Name |  |  |  |
| Capacity |  |  |  |
| On behalf of | (Insert name and address of organisation) |  | (Insert name and address of organisation) |
| Name & signature of witness |  |  |  |
| Date |  |  |  |

C1.2 ECC3 Contract Data

# Part one - Data provided by the Employer

| ## Clause |  | ## Statement | ## Data |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | ## General |  |  |  |  |  |  |
|  |  | The conditions of contract are the core clauses and the clauses for main Option |  |  |  |  |  |  |
|  |  |  | B: Priced contract with bill of quantities |  |  |  |  |  |
|  |  | dispute resolution Option | W1: Dispute resolution procedure |  |  |  |  |  |
|  |  | and secondary Options |  |  |  |  |  |  |
|  |  |  | X1: Price adjustment for inflation |  |  |  |  |  |
|  |  |  | X2 Changes in the law |  |  |  |  |  |
|  |  |  | X5: Sectional Completion |  |  |  |  |  |
|  |  |  | X7: Delay damages |  |  |  |  |  |
|  |  |  | X16: Retention |  |  |  |  |  |
|  |  |  | X18: Limitation of liability |  |  |  |  |  |
|  |  |  | Z: Additional conditions of contract |  |  |  |  |  |
|  |  | of the NEC3 Engineering and Construction Contract, April 2013 (ECC3) | If 2005 Edition is to be used delete “April 2013” and replace with “June 2005 with amendments June 2006”. Always delete this note before finalising this Data |  |  |  |  |  |
| 10.1 |  | The Employer is (Name): | Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa |  |  |  |  |  |
|  |  | Address | Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg |  |  |  |  |  |
| 10.1 |  | The Project Manager is: (Name) | T.M Sebola |  |  |  |  |  |
|  |  | Address | Matimba Power Station Nelson Mandela Drive Lephalale 0555 |  |  |  |  |  |
|  |  | Tel | (+27) 14 763 8018 |  |  |  |  |  |
|  |  | Fax | (+27) 86 539 9737 |  |  |  |  |  |
|  |  | e-mail | sebolatm@eskom.co.za |  |  |  |  |  |
| 10.1 |  | The Supervisor is: (Name) | R.A Meyers |  |  |  |  |  |
|  |  | Address | Matimba Power Station Nelson Mandela Drive Lephalale 0555 |  |  |  |  |  |
|  |  | Tel No. | (+27) 14 763 8254 |  |  |  |  |  |
|  |  | Fax No. | (+27) 14 763 8414 |  |  |  |  |  |
|  |  | e-mail | MeyersRA@eskom.co.za |  |  |  |  |  |
| 11.2(13) |  | The works are | Upgrading of emergency ash offloading facility |  |  |  |  |  |
| 11.2(14) |  | The following matters will be included in the Risk Register | Plant availability, Preference will be given to production |  |  |  |  |  |
| 11.2(15) |  | The boundaries of the site are | Matimba Power Station |  |  |  |  |  |
| 11.2(16) |  | The Site Information is in | Part 4: Site Information |  |  |  |  |  |
| 11.2(19) |  | The Works Information is in | Part 3: Scope of Work and all documents and drawings to which it makes reference. |  |  |  |  |  |
| 12.2 |  | The law of the contract is the law of | the Republic of South Africa |  |  |  |  |  |
| 13.1 |  | The language of this contract is | English |  |  |  |  |  |
| 13.3 |  | The period for reply is | 3 days |  |  |  |  |  |
| ## 2 |  | ## The Contractor's main responsibilities | Data required by this section of the core clauses is provided by the Contractor in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |
| ## 3 |  | ## Time |  |  |  |  |  |  |
| 11.2(3) |  | The completion date for the whole of the works is | 18 months after Contract start date |  |  |  |  |  |
| 11.2(9) |  | The key dates and the conditions to be met are: | Condition to be met |  |  | key date |  |  |
|  |  |  | 1 | Access to site will be dependent on plant availability, preference will be given to Production |  | From contract start date |  |  |
| 30.1 |  | The access dates are: | Part of the Site |  |  | Date |  |  |
|  |  |  | 1 | Full site |  | Contract start date |  |  |
| 31.1 |  | The Contractor is to submit a first programme for acceptance within | 2 weeks of the Contract Date. |  |  |  |  |  |
| 31.2 |  | The starting date is | 01 November 2022 |  |  |  |  |  |
| 32.2 |  | The Contractor submits revised programmes at intervals no longer than | 2 weeks. |  |  |  |  |  |
| ## 4 |  | ## Testing and Defects |  |  |  |  |  |  |
| 42.2 |  | The defects date is | 52 weeks after Completion of the whole of the works. |  |  |  |  |  |
| 43.2 |  | The defect correction period is | 7 Days |  |  |  |  |  |
| ## 5 |  | ## Payment |  |  |  |  |  |  |
| 50.1 |  | The assessment interval is | between the 25th day of each successive month. |  |  |  |  |  |
| 51.1 |  | The currency of this contract is the | South African Rand. |  |  |  |  |  |
| 51.2 |  | The period within which payments are made is | Depends on supplier vendor status with Eskom |  |  |  |  |  |
| 51.4 |  | The interest rate is | the publicly quoted prime rate of interest (calculated on a 365 day year) charged from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and (ii) the LIBOR rate applicable at the time for amounts due in other currencies. LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove. |  |  |  |  |  |
| ## 6 |  | ## Compensation events |  |  |  |  |  |  |
| 60.1(13) |  | The place where weather is to be recorded is: | Matimba Power Station |  |  |  |  |  |
|  |  | The weather measurements to be recorded for each calendar month are, | the cumulative rainfall (mm) |  |  |  |  |  |
|  |  |  | the number of days with rainfall more than 10 mm |  |  |  |  |  |
|  |  |  | the number of days with minimum air temperature less than 0 degrees Celsius |  |  |  |  |  |
|  |  |  | the number of days with snow lying at 09:00 hours South African Time |  |  |  |  |  |
|  |  |  | and these measurements: |  |  |  |  |  |
|  |  | The weather measurements are supplied by | Matimba Power Station |  |  |  |  |  |
|  |  | The weather data are the records of past weather measurements for each calendar month which were recorded at: | Matimba Power Station |  |  |  |  |  |
|  |  | and which are available from: | the South African Weather Bureau and included in Annexure A to this Contract Data provided by the Employer |  |  |  |  |  |
| 60.1(13) |  | Assumed values for the ten year return weather data for each weather measurement for each calendar month are: | As stated in Annexure A to this Contract Data provided by the Employer. Note: If this arrangement is used, delete the rows above for 60.1(13) and delete this note. |  |  |  |  |  |
| ## 7 |  | ## Title | There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |
| ## 8 |  | ## Risks and insurance |  |  |  |  |  |  |
| 80.1 |  | These are additional Employer's risks | 1. Delay due to reshaping of the ash dump |  |  |  |  |  |
| 84.1 |  | The Employer provides these insurances from the Insurance Table | as stated for “Format A” / “Format B” / “Format Dx” {choose the applicable format then delete the others and delete this note} available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_ From_1_April_2014_To_31_March_2015.aspx (See Annexure B for basic guidance) |  |  |  |  |  |
| 84.1 |  | The Employer provides these additional insurances | as stated for “Format A” / “Format B” / “Format Dx” {choose the applicable format then delete the others and delete this note} available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_ From_1_April_2014_To_31_March_2015.aspx (See Annexure B for basic guidance) |  |  |  |  |  |
| 84.1 |  | The Contractor provides these additional insurances: |  |  |  |  |  |  |
| 84.2 |  | The insurance against loss of or damage to the works, Plant and Materials is to include cover for Plant and Materials provided by the Employer for an amount of |  |  |  |  |  |  |
| 84.2 |  | The minimum limit of indemnity for insurance in respect of loss of or damage to property (except the works, Plant, Materials and Equipment) and liability for bodily injury to or death of a person (not an employee of the Contractor) caused by activity in connection with this contract for any one event is | whatever the Contractor deems necessary in addition to that provided by the Employer. |  |  |  |  |  |
| 84.2 |  | The minimum limit of indemnity for insurance in respect of death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract for any one event is | As prescribed by the Compensation for Occupational Injuries and Diseases Act No. 130 of 1993 and the Contractor’s common law liability for people falling outside the scope of the Act with a limit of Indemnity of not less than R500 000 (Five hundred thousand Rands). |  |  |  |  |  |
| ## 9 |  | ## Termination | There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |
| ## 10 |  | ## Data for main Option clause |  |  |  |  |  |  |
| B |  | Priced contract with bill of quantities |  |  |  |  |  |  |
| 60.6 |  | The method of measurement is | Published and amended as stated in Part C2.1, Pricing Assumptions. |  |  |  |  |  |
| ## 11 |  | ## Data for Option W1 |  |  |  |  |  |  |
| W1.1 |  | The Adjudicator is | the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him. (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA). |  |  |  |  |  |
|  |  | Address |  |  |  |  |  |  |
|  |  | Tel No. |  |  |  |  |  |  |
|  |  | Fax No. |  |  |  |  |  |  |
|  |  | e-mail |  |  |  |  |  |  |
| W1.2(3) |  | The Adjudicator nominating body is: | The Chairman of ICE-SA a joint Division of the South African Institution of Civil Engineering and the London Institution of Civil Engineers. (See www.ice-sa.org.za ) or its successor body. |  |  |  |  |  |
| W1.4(2) |  | The tribunal is: | Arbitration. |  |  |  |  |  |
| W1.4(5) |  | The arbitration procedure is | the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |  |
|  |  | The place where arbitration is to be held is | South Africa |  |  |  |  |  |
|  |  | The person or organisation who will choose an arbitrator - if the Parties cannot agree a choice or - if the arbitration procedure does not state who selects an arbitrator, is | The Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |  |
| ## 12 |  | ## Data for secondary Option clauses |  |  |  |  |  |  |
| X1 |  | Price adjustment for inflation |  |  |  |  |  |  |
| X1.1(a) |  | The base date for indices is | [●]. |  |  |  |  |  |
| X1.1(c) |  | The proportions used to calculate the Price Adjustment Factor are: | proportion |  | linked to index for |  | Index prepared by |  |
|  |  |  | _____ |  | _________________ |  | _____________ |  |
|  |  |  | _____ |  | _________________ |  | _____________ |  |
|  |  |  | _____ |  | _________________ |  | _____________ |  |
|  |  |  | _____ |  | _________________ |  | _____________ |  |
|  |  |  | _____ |  | _________________ |  | _____________ |  |
|  |  |  | _____ |  | non-adjustable |  |  |  |
|  |  | Total | 100.00 |  |  |  |  |  |
| X2 |  | Changes in the law | There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data. |  |  |  |  |  |
| X5 & X7 |  | Sectional Completion and delay damages used together |  |  |  |  |  |  |
| X7.1 X5.1 |  | Delay damages for late Completion of the sections of the works are: | section |  | Description |  |  | Amount per day |
|  |  |  | 1 |  | Complete works as per the SOW |  |  | R10 000.00 |
|  |  | Remainder of the works |  |  |  |  |  | R10 000.00 |
| X16 |  | Retention |  |  |  |  |  |  |
| X16.1 |  | The retention free amount is | R0.00 |  |  |  |  |  |
|  |  | The retention percentage is | 5% |  |  |  |  |  |
| X18 |  | Limitation of liability |  |  |  |  |  |  |
| X18.1 |  | The Contractor’s liability to the Employer for indirect or consequential loss is limited to: | R0.0 (zero Rand) |  |  |  |  |  |
| X18.2 |  | For any one event, the Contractor’s liability to the Employer for loss of or damage to the Employer’s property is limited to: | the amount of the deductibles relevant to the event described in the insurance policy format selected in the data for clause 84.1 above, which policy is available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_ From_1_April_2014_To_31_March_2015.aspx |  |  |  |  |  |
| X18.3 |  | The Contractor’s liability for Defects due to his design which are not listed on the Defects Certificate is limited to | The greater of - the total of the Prices at the Contract Date and - the amounts excluded and unrecoverable from the Employer’s assets policy for correcting the Defect (other than the resulting physical damage which is not excluded) plus R15M first amount payable in terms of the Employer’s assets policy. |  |  |  |  |  |
| X18.4 |  | The Contractor’s total liability to the Employer for all matters arising under or in connection with this contract, other than excluded matters, is limited to: | the total of the Prices other than for the additional excluded matters. The Contractor’s total liability for the additional excluded matters is not limited. The additional excluded matters are amounts for which the Contractor is liable under this contract for - Defects due to his design which arise before the Defects Certificate is issued, - Defects due to manufacture and fabrication outside the Site, - loss of or damage to property (other than the works, Plant and Materials), - death of or injury to a person and - infringement of an intellectual property right. |  |  |  |  |  |
| X18.5 |  | The end of liability date is | (i) 3 years after the defects date for latent Defects and (ii) the date on which the liability in question prescribes in accordance with the Prescription Act No. 68 of 1969 (as amended or in terms of any replacement legislation) for any other matter. A latent Defect is a Defect which would not have been discovered on reasonable inspection by the Employer or the Supervisor before the defects date, without requiring any inspection not ordinarily carried out by the Employer or the Supervisor during that period. If the Employer or the Supervisor do undertake any inspection over and above the reasonable inspection, this does not place a greater responsibility on the Employer or the Supervisor to have discovered the Defect. |  |  |  |  |  |
| Z |  | The Additional conditions of contract are | Z1 to Z12 always apply. |  |  |  |  |  |
| Z1 | Cession delegation and assignment |  |  |  |  |  |  |  |
| Z1.1 | The Contractor does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Employer. |  |  |  |  |  |  |  |
| Z1.2 | Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. |  |  |  |  |  |  |  |
| Z2 | Joint ventures |  |  |  |  |  |  |  |
| Z2.1 | If the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Employer for the performance of this contract. |  |  |  |  |  |  |  |
| Z2.2 | Unless already notified to the Employer, the persons or organisations notify the Project Manager within two weeks of the Contract Date of the key person who has the authority to bind the Contractor on their behalf. |  |  |  |  |  |  |  |
| Z2.3 | The Contractor does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Employer having been given to the Contractor in writing. |  |  |  |  |  |  |  |
| Z3 |  | Change of Broad Based Black Economic Empowerment (B-BBEE) status |  |  |  |  |  |  |
| Z3.1 |  | Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change. |  |  |  |  |  |  |
| Z3.2 |  | The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Project Manager within thirty days of the notification or as otherwise instructed by the Project Manager. |  |  |  |  |  |  |
| Z3.3 |  | Where, as a result, the Contractor’s B-BBEE status has decreased since the Contract Date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Works. |  |  |  |  |  |  |
| Z3.4 |  | Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93. |  |  |  |  |  |  |
| Z4 | Ethics |  |  |  |  |  |  |  |
| Z4.1 | Any offer, payment, consideration, or benefit of any kind made by the Contractor, which constitutes or could be construed either directly or indirectly as an illegal or corrupt practice, as an inducement or reward for the award or in execution of this contract constitutes grounds for terminating the Contractor’s obligation to Provide the Works or taking any other action as appropriate against the Contractor (including civil or criminal action). |  |  |  |  |  |  |  |
| Z4.2 | The Employer may terminate the Contractor’s obligation to Provide the Works if the Contractor (or any member of the Contractor where the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations) is found guilty by a competent court, administrative or regulatory body of participating in illegal or corrupt practices. Such practices include making of offers, payments, considerations, or benefits of any kind or otherwise, whether in connection with any procurement process or contract with the Employer or other people or organisations and including in circumstances where the Contractor or any such member is removed from the an approved vendor data base of the Employer as a consequence of such practice. |  |  |  |  |  |  |  |
| Z4.3 | Notwithstanding the provisions of core clause 90.2, the procedures on termination in terms of this clause are P1, P2 and P3 as stated in the core clause 92 and the amount due is A1 and A3 as stated in core clause 93. |  |  |  |  |  |  |  |
| Z5 | Confidentiality |  |  |  |  |  |  |  |
| Z5.1 | The Contractor does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time). Should the Contractor disclose information to Others in terms of clause 25.1, the Contractor ensures that the provisions of this clause are complied with by the recipient. |  |  |  |  |  |  |  |
| Z5.2 | If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Project Manager. |  |  |  |  |  |  |  |
| Z5.3 | In the event that the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure. In the event that such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed. |  |  |  |  |  |  |  |
| Z5.4 | The taking of images (whether photographs, video footage or otherwise) of the works or any portion thereof, in the course of Providing the Works and after Completion, requires the prior written consent of the Project Manager. All rights in and to all such images vests exclusively in the Employer. |  |  |  |  |  |  |  |
| Z5.5 | The Contractor ensures that all his subcontractors abide by the undertakings in this clause. |  |  |  |  |  |  |  |
| Z6 | Waiver and estoppel: Add to core clause 12.3: |  |  |  |  |  |  |  |
| Z6.1 | Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Project Manager, the Supervisor, or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing. |  |  |  |  |  |  |  |
| Z7 |  | Health, safety and the environment: Add to core clause 27.4 |  |  |  |  |  |  |
| Z7.1 |  | The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the works. Without limitation the Contractor: - accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2014 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Site; - warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of works; and - undertakes, in and about the execution of the works, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |
| Z7.2 |  | The Contractor, in and about the execution of the works, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |
| Z8 | Provision of a Tax Invoice and interest. Add to core clause 51 |  |  |  |  |  |  |  |
| Z8.1 | Within one week of receiving a payment certificate from the Project Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures stated in the Works Information, showing the amount due for payment equal to that stated in the payment certificate. |  |  |  |  |  |  |  |
| Z8.2 | If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice. Interest due by the Employer in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made. |  |  |  |  |  |  |  |
| Z8.3 | The Contractor (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment. |  |  |  |  |  |  |  |
| Z9 | Notifying compensation events |  |  |  |  |  |  |  |
| Z9.1 | Delete from the last sentence in core clause 61.3, “unless the Project Manager should have notified the event to the Contractor but did not”. |  |  |  |  |  |  |  |
| Z10 | Employer’s limitation of liability |  |  |  |  |  |  |  |
| Z10.1 | The Employer’s liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand) |  |  |  |  |  |  |  |
| Z10.2 | The Contractor’s entitlement under the indemnity in 83.1 is provided for in 60.1(14) and the Employer’s liability under the indemnity is limited. |  |  |  |  |  |  |  |
| Z11 | Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it": |  |  |  |  |  |  |  |
| Z11.1 | or had a business rescue order granted against it. |  |  |  |  |  |  |  |
| Z12 | Addition to secondary Option X7 Delay damages (if applicable in this contract) |  |  |  |  |  |  |  |
| Z12.1 | If the amount due for the Contractor’s payment of delay damages reaches the limits stated in this Contract Data for Option X7 or Options X5 and X7 used together, the Employer may terminate the Contractor’s obligation to Provide the Works using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table. |  |  |  |  |  |  |  |

# Annexure A:	 One-in-ten-year-return weather data obtained from SA Weather Bureau for [weather station]

If any one of these weather measurements recorded within a calendar month, before the Completion Date for the whole of the works and at the place stated in this Contract Data is shown to be more adverse than the amount stated below then the Contractor may notify a compensation event.

|  | Weather measurement |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Month | Cumulative rainfall (mm) | Number of days with rain more than 10mm | Number of days with min air temp < 0 deg.C | Number of days with snow lying at 08:00 CAT | [Other measurements if applicable] |
| January |  |  |  |  |  |
| February |  |  |  |  |  |
| March |  |  |  |  |  |
| April |  |  |  |  |  |
| May |  |  |  |  |  |
| June |  |  |  |  |  |
| July |  |  |  |  |  |
| August |  |  |  |  |  |
| September |  |  |  |  |  |
| October |  |  |  |  |  |
| November |  |  |  |  |  |
| December |  |  |  |  |  |

Only the difference between the more adverse recorded weather and the equivalent measurement given above is taken into account in assessing a compensation event.

# Annexure B:	Insurance provided by the Employer

These notes are provided as guidance to tendering contractors and the Contractor about the insurance provided by the Employer. The Contractor must obtain its own advice. Details of the insurance itself are available from the internet web link given below.

- For the purpose of works contracts, insurance provided by Eskom (the Employer) has been arranged on the basis of “project” or “contract” value, where the value is the total of the Prices at Completion of the whole of the works including VAT.

A “project” is a collection of contracts or work packages to be undertaken as part of a single identified capital expansion or refurbishment of a particular asset or facility.

A “contract” is a single contract not linked to or being part of a “project”.

- For ECC3 there are three main “formats” of cover and deductible structure; Format A, Format B and Format Dx.

Format A is for a project or contract value less than or equal to R350M (three hundred and fifty million Rand) inclusive of VAT.

Format B is for a project or contract value greater than R350M .(three hundred and fifty million Rand) inclusive of VAT.

In the case of contracts / packages within a project:

- For a contract / package of R50M which is part of a R400M project, Format B will apply

- For a contract / package of R250M which is part of a R6 billion project, Format B will apply;

- For a contract / package of R120M which is part of a R350M project Format A will apply;

For a contract which is not part of a project the same limits apply:

- For a contract of R50M, Format A will apply

- For a contract of R355M, Format B will apply.

Format Dx applies only to Distribution Division projects and contracts. If a Distribution Division project or contract exceeds the Format A limit, the Eskom Insurance Management Services [EIMS] need to be contacted for advice on how to formulate the insurance cover.  Cover and deductibles for Distribution Division are per the relevant policy available on the internet web link given below.

Format A generally applies to Transmission Division projects and contracts. If a Transmission Division project or contract exceeds the Format A limit, the Eskom Insurance Management Services [EIMS] need to be contacted for advice on how to formulate the insurance cover.

- Tendering contractors should note that cover provided by the Employer is only per the policies available on the internet web link listed below and may not be the cover required by the tendering contractor or as intended by each of the listed insurances in the left hand column of the Insurance Table in clause 84.2.  In terms of clause 84.1 “the Contractor provides the insurances stated in the Insurance Table except any insurance which the Employer is to provide”.  Hence the Contractor provides insurance which the Employer does not provide and in cases where the Employer does provide insurance the Contractor insures for the difference between what the Insurance Table requires and what the Employer provides.

- When the Marine Insurance is required the Contractor needs to obtain a copy of the latest edition of Eskom’s Marine Policies Procedures found at internet website given below.

- Further information and full details of all Eskom provided policies and procedures may be obtained from:

http://www.eskom.co.za/live/content.php?Item_ID=9248

C1.2 Contract Data

# Part two - Data provided by the Contractor

[Instructions to the contract compiler:  (delete this notes before issue to tenderers with an enquiry)

Whenever a cell is shaded in the left hand column it denotes this data is optional.  If not required select and delete the whole row, otherwise insert the required Data.]

Notes to a tendering contractor:

- Please read both the NEC3 Engineering and Construction Contract (April 2013) and the relevant parts of its Guidance Notes (ECC3-GN) in order to understand the implications of this Data which the tenderer is required to complete.  An example of the completed Data is provided on pages 156 to 158 of the ECC3 (April 2013) Guidance Notes.

- The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data

- Where a form field like this [     ] appears, data is required to be inserted relevant to the option selected. Click on the form field once and type in the data.  Otherwise complete by hand and in ink.

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

| ## Clause | ## Statement | ## Data |  |  |
| --- | --- | --- | --- | --- |
| 10.1 | The Contractor is (Name): | ____________________________________ |  |  |
|  | Address | ____________________________________ |  |  |
|  | Tel No. | ____________________________________ |  |  |
|  | Fax No. | ____________________________________ |  |  |
| 11.2(8) | The direct fee percentage is | ____% |  |  |
|  | The subcontracted fee percentage is | ____% |  |  |
| 11.2(18) | The working areas are the Site and | ____________________________________ |  |  |
| 24.1 | The Contractor's key persons are: |  |  |  |
|  | 1 Name: | ____________________________________ |  |  |
|  | Job: | ____________________________________ |  |  |
|  | Responsibilities: | ____________________________________ |  |  |
|  | Qualifications: | ____________________________________ |  |  |
|  | Experience: | ____________________________________ |  |  |
|  | 2 Name: | ____________________________________ |  |  |
|  | Job | ____________________________________ |  |  |
|  | Responsibilities: | ____________________________________ |  |  |
|  | Qualifications: | ____________________________________ |  |  |
|  | Experience: | ____________________________________ |  |  |
|  |  | CV's (and further key persons data including CVs) are appended to Tender Schedule entitled . |  |  |
| 11.2(3) | The completion date for the whole of the works is | ____________________________________ |  |  |
| 11.2(14) | The following matters will be included in the Risk Register | ____________________________________ |  |  |
| 11.2(19) | The Works Information for the Contractor’s design is in: | ____________________________________ |  |  |
| 31.1 | The programme identified in the Contract Data is | ____________________________________ |  |  |
| B | Priced contract with bill of quantities |  |  |  |
| 11.2(21) | The bill of quantities is in | ____________________________________ |  |  |
| 11.2(31) | The tendered total of the Prices is | ____________________________________ (in figures) _______________________________ ____________________________________ (in words), excluding VAT |  |  |
|  | ## Data for Schedules of Cost Components | Note “SCC” means Schedule of Cost Components starting on page 60, and “SSCC” means Shorter Schedule of Cost Components starting on page 63 of ECC3 (April 2013). |  |  |
| B | Priced contract with bill of quantities | Data for the Shorter Schedule of Cost Components |  |  |
| 41 in SSCC | The percentage for people overheads is: | ____% |  |  |
| 21 in SSCC | The published list of Equipment is the last edition of the list published by | ____________________________________ |  |  |
|  | The percentage for adjustment for Equipment in the published list is | Minus ____% |  |  |
| 22 in SSCC | The rates of other Equipment are: | Equipment | Equipment | Equipment |
|  |  | ____________ | ____________ | _____________ |
|  |  | ___________ | ____________ | _____________ |
|  |  | ___________ | ____________ | _____________ |
|  |  | ____________ | ___________ | _____________ |
|  |  | ____________ | ____________ | _____________ |
| 61 in SSCC | The hourly rates for Defined Cost of design outside the Working Areas are | Category of employee |  | Hourly rate |
|  | Note: Hourly rates are estimated ‘cost to company of the employee’ and not selling rates. | ________________________ |  | _____________ |
|  | Please insert another schedule if foreign resources may also be used | ________________________ |  | _____________ |
|  |  | ________________________ |  | _____________ |
|  |  | ________________________ |  | _____________ |
| 62 in SSCC | The percentage for design overheads is | _____% |  |  |
| 63 in SSCC | The categories of design employees whose travelling expenses to and from the Working Areas are included in Defined Cost are: | _________________________________________ |  |  |

C1.3 Forms of Securities

- Pro formas for Bonds & Guarantees

- For use with the NEC3 Engineering & Construction Contract (June 2005)

[Note to contract compiler:

Once it has been decided which securities are required for this contract delete from this file the ones not required, revise the notes below accordingly and delete this note.]

The conditions of contract stated in the Contract Data Part 1 include the following Secondary Options:

Option X4:	Parent company guarantee

Option X13:	Performance Bond

Option X14:	Advanced payment to the Contractor

Each of these secondary Options requires a bond or guarantee “in the form set out in the Works Information”.    Pro forma documents for these bonds and guarantees are provided here for convenience but are to be treated as part of the Works Information.

Option X16:	Retention (not used with Option F)

The Contractor may provide a Retention Money Guarantee in the form stated here.  When the Employer receives and accepts a Retention Money Guarantee exactly in the form stated he will instruct the Project Manager not to assess any amount be retained in terms of secondary Option X16.

The Contractor shall guarantee his ASGI-SA Obligations by providing the Employer with an ASGI-SA Guarantee in the form provided here.

[Note to contract compiler:  If there are no ASGI-SA Obligations in this contract, delete the above statement]

The organisation providing the bond / guarantee does so by copying the pro forma document onto his letterhead without any change to the text or format and completing the required details.  The completed document is then given to the Employer within the time stated in the contract.

# Pro forma Retention Money Guarantee (may be used when Option X16 applies)

(to be reproduced exactly as shown below on the letterhead of the Bank providing the Guarantee)

| Eskom Holdings SOC Limited Megawatt Park Maxwell Drive Sandton Johannesburg | Date: |  |
| --- | --- | --- |

Dear Sirs

Reference No. [●] [Drafting Note: Bank reference number to be inserted]

Retention Money Guarantee: [Drafting Note: Name of Contractor to be inserted]

Project [  ] : Contract Reference:  [Drafting Note: Contractor contract reference number to be inserted]

- In this Guarantee the following words and expressions shall have the following meanings:-

  - “Bank” - means [●], [●] Branch, (Registration No. [●]); [Drafting Note: Name of Bank to be inserted]

  - “Bank’s Address” - means [●]; [Drafting Note: Bank’s physical address to be inserted]

  - “Contract” – means the written agreement relating to the Project, entered into between Eskom and the Contractor, on or about the [●] day of [●] 200[●] (Contract Reference No. ………. as amended, varied, restated, novated or substituted from time to time; [Drafting Note: Signature Date and Contract reference number to be inserted]

  - “Contractor” – means [●] a company registered in accordance with the laws of [●] under Registration Number [●]. [Drafting Note: Name and details of Contractor to be inserted]

  - “Eskom” - means Eskom Holdings SOC Limited, a company registered in accordance with the laws of the Republic of South Africa under Registration Number 2002/015527/30

  - “Expiry Date” - means the date on which the Defects Certificate is issued in terms of the Contract.

  - “Guaranteed Sum” - means the sum of R [●] ([●] Rand); [Drafting Note: Insert amount of Retention Money Guarantee.].

  - “Project” - means the…………………………………..

- At the instance of the Contractor, we the undersigned ______________ and ______________, in our respective capacities as _____________ and ___________ of the Bank, and duly authorized thereto, confirm that we hold the Guaranteed Sum at the disposal of Eskom, as security for the proper performance by the Contractor of all of its obligations in terms of and arising from the Contract and hereby undertake to pay to Eskom, on written demand from Eskom received prior to the Expiry Date, any sum or sums not exceeding in total the Guaranteed Sum.

- A demand for payment under this guarantee shall be made in writing at the Bank’s address and shall:

  - be signed on behalf of Eskom by a director of Eskom or his authorised delegate.

  - state the amount claimed (“the Demand Amount’);

  - state that the Contractor has failed to carry out his obligation(s) to rectify certain defect(s) for which he is responsible under the Contract (and the nature of such defect(s)) alternatively that the Demand Amount is payable to Eskom in the circumstances contemplated in the Contract.

- Notwithstanding the reference herein to the Contract the liability of the Bank in terms hereof is as principal and not as surety and the Bank’s obligation/s to make payment:

  - is and shall be absolute provided demand is made in terms of this bond in all circumstances; and

  - is not, and shall not be construed to be, accessory or collateral on any basis whatsoever.

- The Bank’s obligations in terms of this Guarantee:

  - shall be restricted to the payment of money only and shall be limited to the maximum of the Guaranteed Sum; and

  - shall not be discharged and compliance with any demand for payment received by the Bank in terms hereof shall not be delayed by the fact that a dispute may exist between Eskom and the Contractor.

- Eskom shall be entitled to arrange its affairs with the Contractor in any manner which it sees fit, without advising us and without affecting our liability under this Guarantee. This includes, without limitation, any extensions, indulgences, release or compromise granted to the Contractor or any variation under or to the Contract.

- Should Eskom cede its rights against the Contractor to a third party where such cession is permitted under the Contract, then Eskom shall be entitled to cede to such third party the rights of Eskom under this Guarantee on written notification to the Bank of such cession.

- This Guarantee:

  - shall expire on the Expiry Date until which time it is irrevocable;

  - is, save as provided for in Error: Reference source not found above, personal to Eskom and is neither negotiable nor transferable;

  - shall be returned to the Bank upon the earlier of payment of the full Guaranteed Sum or expiry hereof;

  - shall be regarded as a liquid document for the purpose of obtaining a court order; and

  - shall be governed by and construed in accordance with the law of the Republic of South Africa and shall be subject to the jurisdiction of the Courts of the Republic of South Africa.

  - Any claim which arises or demand for payment received after expiry date will be invalid and unenforceable.

- The Bank chooses domicilium citandi et executandi for all purposes in connection with this Guarantee at the Bank’s Address.

Signed at _____________________		Date ____________  Bank’s seal or stamp

For and behalf of the Bank

Bank Signatory: ___________________		Bank Signatory: ___________________

Witness: ________________________		Witness: _________________________

# Pro forma ASGI-SA Guarantee

(to be reproduced exactly as shown below on the letterhead of the Bank providing the Guarantee)

| Eskom Holdings Limited Megawatt Park Maxwell Drive Sandton Johannesburg | Date: |  |
| --- | --- | --- |

Dear Sirs

Reference No. [●] [Drafting Note: Bank reference number to be inserted]

Pro-Forma ASGI-SA  Guarantee: [Drafting Note: Name of Contractor to be inserted]

Project [  ] Contract Reference: [●] [Drafting Note: Contractor contract reference number to be inserted]

- In this Guarantee the following words and expressions shall have the following meanings:-

  - “Bank” - means [●], [●] Branch, (Registration No. [●]); [Drafting Note: Name of Bank to be inserted]

  - “Bank’s Address” - means [●]; [Drafting Note: Bank’s physical address to be inserted]

  - “Contract” – means the written agreement relating to the Project, entered into between the Employer and the Contractor, on or about the [●] day of [●] 200[●] (Contract Reference No. [●] as amended, varied, restated, novated or substituted from time to time; [Drafting Note: Signature Date and Contract reference number to be inserted]

  - “Contractor” – means [●] a company registered in accordance with the laws of [●] under Registration Number [●]. [Drafting Note: Name and details of Contractor to be inserted]

  - “Contractor’s ASGI-SA Obligations” – means the Contractor’s ASGI-SA Obligations under and as defined in the Contract.

  - “Employer” - means Eskom Holdings Limited, a company registered in accordance with the laws of the Republic of South Africa under Registration Number 2002/015527/06.

  - “Expiry Date” - means the [●] day of [●] 200[●]; [Drafting Note: anticipated date of issue of ASGI-SA Performance Certificate to be inserted.]

  - “Guaranteed Sum” - means the sum of R [●] ([●] Rand);

  - “Project” – means the …………………………

- At the instance of the Contractor, we the undersigned ______________ and ______________, in our respective capacities as _____________ and ___________ of the Bank, and duly authorized thereto, confirm that we hold the Guaranteed Sum at the disposal of the Employer, as security for the proper performance by the Contractor of the Contractor’s ASGI-SA Obligations and hereby undertake to pay to the Employer, on written demand from the Employer received prior to the Expiry Date, any sum or sums not exceeding in total the Guaranteed Sum.

- A demand for payment under this guarantee shall be made in writing at the Bank’s address and shall:

  - state the amount claimed (“the Demand Amount’);

  - state that the Demand Amount is payable to the Employer in the circumstances contemplated in the Contract.

- Notwithstanding the reference herein to the Contract the liability of the Bank in terms hereof is as principal and not as surety and the Bank’s obligation/s to make payment:

  - is and shall be absolute provided demand is made in terms of this bond in all circumstances; and

  - is not, and shall not be construed to be, accessory or collateral on any basis whatsoever.

- The Bank’s obligations in terms of this Guarantee:

  - shall be restricted to the payment of money only and shall be limited to the maximum of the Guaranteed Sum; and

  - shall not be discharged and compliance with any demand for payment received by the Bank in terms hereof shall not be delayed, by the fact that a dispute may exist between the Employer and the Contractor.

- The Employer shall be entitled to arrange its affairs with the Contractor in any manner which it sees fit, without advising us and without affecting our liability under this Guarantee. This includes, without limitation, any extensions, indulgences, release or compromise granted to the Contractor or any variation under or to the Contract.

- Should the Employer cede its rights against the Contractor to a third party where such cession is permitted under the Contract, then the Employer shall be entitled to cede to such third party the rights of the Employer under this Guarantee on written notification to the Bank of such cession.

- This Guarantee:

  - shall expire on the Expiry Date until which time it is irrevocable;

  - is, save as provided for in Error: Reference source not found above, personal to the Employer and is neither negotiable nor transferable;

  - shall be returned to the Bank upon the earlier of payment of the full Guaranteed Sum or expiry hereof;

  - shall be regarded as a liquid document for the purpose of obtaining a court order; and

  - shall be governed by and construed in accordance with the law of the Republic of South Africa and shall be subject to the jurisdiction of the courts of the Republic of South Africa.

  - Any claim which arises or demand for payment received after expiry date will be invalid and unenforceable.

- The Bank chooses domicilium citandi et executandi for all purposes in connection with this Guarantee at the Bank’s Address.

Signed at _____________________		Date ____________________________

For and behalf of the Bank

Bank Signatory: ___________________		Bank Signatory: ___________________

Witness: ________________________		Witness: _________________________

Bank’s seal or stamp

Part 2: Pricing Data

ECC3 Option B

| Document reference | Title | No of pages |
| --- | --- | --- |
| C2.1 | Pricing assumptions: Option B | 3 |
| C2.2 | The bill of quantities | 2 |

C2.1 Pricing assumptions: Option B

# How work is priced and assessed for payment

Clause 11 in NEC3 Engineering and Construction Contract (ECC3) Option B states:

| Identified and defined terms | 11 11.2 | (21) The Bill of Quantities is the bill of quantities as changed in accordance with this contract to accommodate implemented compensation events and for accepted quotations for acceleration. |
| --- | --- | --- |
|  |  | (28) The Price for Work Done to Date is the total of - the quantity of the work which the Contractor has completed for each item in the Bill of Quantities multiplied by the rate and - a proportion of each lump sum which is the proportion of the work covered by the item which the Contractor has completed. Completed work is work without Defects which would either delay or be covered by immediately following work. |
|  |  | (31) The Prices are the lump sums and the amounts obtained by multiplying the rates by the quantities for the items in the Bill of Quantities. |

This confirms that Option B is a re-measurement contract and the bill comprises only items measured using quantities and rates or stated as lump sums.  Value related items are not used.  Time related items are items measured using rates where the rate is a unit of time.

# Function of the Bill of Quantities

Clause 55.1 in Option B states, “Information in the Bill of Quantities is not Works Information or Site Information”.  This confirms that specifications and descriptions of the work or any constraints on how it is to be done are not included in the Bill, but in the Works Information.  This is further confirmed by Clause 20.1 which states, “The Contractor Provides the Works in accordance with the Works Information”. Hence the Contractor does not Provide the Works in accordance with the Bill of Quantities.  The Bill of Quantities is only a pricing document.

# Guidance before pricing and measuring

Employers preparing tenders or contract documents, and tendering contractors are advised to consult the sections dealing with the bill of quantities in the NEC3 Engineering and Construction Contract Guidance Notes before preparing the bill of quantities or before entering rates and lump sums into the bill.

There is no general provision in Option B for payment for materials on Site before incorporation into the works.  If secondary Option X14 Advanced payment has not been used then the tendering contractor may obtain the same effect by inserting appropriate items in the method related charges where the method of measurement allows, or alternatively making allowance in the rates of the bill of quantities for the financing of Plant and Materials until they are incorporated in the works.

When compensation events arise, the default position is that the Bill of Quantities is not used to calculate the cost effect of the event.  Defined Cost and the resulting Fee is used and Defined Cost includes all components of cost which the Contractor is likely to incur, including so called P & G items.  Rates and lump sums from the Bill of Quantities, or from any other source, may be used instead of Defined Cost and the Fee only if the Contractor and Project Manager agree.  If they are unable to agree, then Defined Cost plus Fee is used.

# Measurement and payment

## Symbols

The units of measurement described in the Bill of Quantities are metric units abbreviated as follows:

[add or delete as required]

| Abbreviation | Unit |
| --- | --- |
| % | percent |
| h | hour |
| ha | hectare |
| kg | kilogram |
| kl | kilolitre |
| km | kilometre |
| km-pass | kilometre-pass |
| kPa | kilopascal |
| kW | kilowatt |
| l | litre |
| m | metre |
| mm | millimetre |
| m2 | square metre |
| m2-pass | square metre pass |
| m3 | cubic metre |
| m3-km | cubic metre-kilometre |
| MN | meganewton |
| MN.m | meganewton-metre |
| MPa | megapascal |
| No. | number |
| sum | Lump sum |
| t | tonne (1000kg) |

## General assumptions

### Unless otherwise stated, items are measured net in accordance with the drawings, and no allowance has been made in the quantities for waste.

### The Prices and rates stated for each item in the Bill of Quantities shall be treated as being fully inclusive of all work, risks, liabilities, obligations, overheads, profit and everything necessary as incurred or required by the Contractor in carrying out or providing that item.

### An item against which no Price is entered will be treated as covered by other Prices or rates in the bill of quantities.

### The quantities contained in the Bill of Quantities may not be final and do not necessarily represent the actual amount of work to be done.  The quantities of work assessed and certified for payment by the Project Manager at each assessment date will be used for determining payments due.

### The short descriptions of the items of payment given in the bill of quantities are only for the purposes of identifying the items.  Detail regarding the extent of the work entailed under each item is provided in the Works Information.

## Departures from the method of measurement

Only use this section if the statement for Option B in the Contract Data, “The method of measurement is ________ amended as follows” refers the reader to this section rather than include the amendments within the Contract Data statement.  Otherwise delete this heading.  In any case delete this note when complied with.

## Amplification of or assumptions about measurement items

The following is provided to assist in the interpretation of descriptions given in the method of measurement.  In the event of any ambiguity or inconsistency between the statements in the method of measurement and this section, the interpretation given in this section shall be used.

C2.2 the bill of quantities

| ITEM | BILL DESCRIPTION | UNIT | QTY | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
|  | Design and Documentation |  |  |  |  |
|  | Geotechnical study - soil classification to obtain the soil bearing capacity | Sum | 1 |  |  |
|  | Design of slab and retaining wall | Sum | 1 |  |  |
|  | Preparation of as-built drawings | Sum | 1 |  |  |
|  | Evaluate and verify capacity of silt trap and drainage channels | Sum | 1 |  |  |
|  | Underground Scanning |  |  |  |  |
|  | Visual inspection, electro-magnetic detection and ground penetrating radar | m² | 4680 |  |  |
|  | Earthworks |  |  |  |  |
|  | Site clearance (removal of unsuitable materials to a depth of 300mm and dispose) | m³ | 1404 |  |  |
|  | Carting away of excavated and removed material (All excavated material shall be loaded onto truck directly after excavation and be transported to stockpiles situated at the Ash dump 12km away) | m³ | 1404 |  |  |
|  | Apply herbicide | m² | 4680 |  |  |
|  | Rip and re-compact existing subgrade material to a depth of 150mm. Layer to be compacted to 93% MOD AASHTO density at 2% of optimum moisture content. Including density test in accordance with SANS 1200D. | m³ | 1404 |  |  |
|  | Backfilling with G5 material layers of 150 mm and compacting 95% Mod AASHTO and any necessary multiple handling of material and density tests in accordance with SANS 1200D must be included in the price). | m³ | 702 |  |  |
|  | Import suitable materials for base layer of the concrete slab | m² | 4680 |  |  |
|  | Concrete Works |  |  |  |  |
|  | Reinforced 35 Mpa concrete slab (incl. formwork and reinforcement) | m³ | 702 |  |  |
|  | Construct a 35MPa reinforced concrete retaining wall around the slab | m³ | 6.75 |  |  |
|  | Saw cut concrete slab | m | 240 |  |  |
|  | Drill steel dowels and anchor grout on existing slab in order to connect existing slab to new slab | ea. | 300 |  |  |
|  | Test Cubes | ea. | 70 |  |  |
|  | Signage |  |  |  |  |
|  | All signage required for the project | sum | 1 |  |  |
|  | Resources |  |  |  |  |
|  | Site Supervisor | sum | 1 |  |  |
|  | Project Manager | Sum | 1 |  |  |
|  | Safety Officer | Sum | 1 |  |  |
|  | Engineer | Sum | 1 |  |  |
|  | GENERAL |  |  |  |  |
|  | Site Establishment, De-establishment and associated costs | Sum | 1 |  |  |
|  | Transportation | Sum | 1 |  |  |
|  | Accommodation | Sum | 1 |  |  |
|  | Health and Safety | Sum | 1 |  |  |
|  |  |  |  | Total |  |

Part 3: Scope of Work

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 |
| C3.1 | Employer’s Works Information | 25 |
| C3.2 | Contractor’s Works Information (insert at award stage or delete if not applicable) | 1 |
|  | Total number of pages |  |

C3.1: Employer’s works Information

# Description of the works

Emergency ash offloading is an integral part of the ash management system at Matimba Power Station. It offers the station to temporarily dispose of the ash whilst the ash conveyors systems, that dispose the ash at the Ash Disposal Facility, are maintained. It is essential that the emergency ash offloading area is capacitated to adequately handle the amount of ash stored and for proper management of any surface runoff water.

## Plant Description

Figure 1: Emergency Ash Offloading Locality Plan

The emergency ash offloading area is located within the perimeter boundary and to the western side of Matimba Power Station. It is situated adjacent to the transfer house between the Cross and Overland conveyors. Currently, the emergency ash offloading area is a 30m X 30m reinforced concrete slab.

The function of the area is to offload ash in instances where the Overland Conveyor is unable to transport the ash to the Ash Disposal Facility due to breakdown or maintenance activities.

## Operational Philosophy

Ash Offloading

Ash is offloaded at the emergency area by allowing the Cross Conveyor belt to bypass discharging onto the Overland Conveyor and to offload on the existing concrete slab. Front-end Loaders are used to spread the ash around the concrete slab and also to in-load the ash onto the Overland Conveyor once it is in operational to transport it to the Ash Disposal Facility.

In cases where the Cross and Transverse Conveyors are also unavailable and cannot be used to offload at the emergency area, the ash is offloaded at the Coarse Ash Conveyors, at the units, and collected by means of trucks and taken to the emergency ash offloading area.

Storm water management

The surface runoff water from the emergency ash offloading area is collected by a storm water channel that is adjacent to the concrete slab. The channel transports the ash contaminated water into a silt-trap where the suspended ash solids are allowed to settle and the water to overflow into a collection storm water canal. The water from the collecting storm water canal is transported to Evaporation Ponds.

There are boreholes nearby the emergency ash offloading area to monitor the quality and the impact the area has on the groundwater. The monitoring is conducted on a quarterly basis by an appointed environmental consultant.

The storm water management of the area may need to be upgraded to comply with the GN 704 regulations as the current (silt trap).

## Considered SOLUTION

Due to the insufficient capacity of the existing concrete slab to contain the amount of ash being offloaded, it is necessary to increase the capacity of the emergency ash offloading area.

Increase the current concrete slab

The preferred option to mitigate the concern is to increase the size of the existing concrete slab to adequate capacity to meet the demand of emergency ash offloading. The advantage of this preferred option is that it also caters for heavy machinery that operates in the area for moving the ash around and for in-loading. A concrete slab is more durable to withstand the impact of heavy machines as compared to a HDPE liner system.

The concrete slab also serves as a good impermeable layer to prevent ash contaminated water to infiltrate into the ground to pollute the groundwater. The expanded area will have reinforced concrete bund walls on the edges to prevent ash from spilling over onto the natural ground which will cause ground pollution.

The expanded concrete lined emergency ash offloading area will be surrounded by a retaining wall to contain all the ash in the lined area and the slab will have a slope of 3% from the west to the eastern side.

The scope of work entails the following:

- Design work

Please take note: All drawings shall be done according to Eskom Engineering Drawing Standard – Common Requirements (240-86973501). All designs shall be according to Eskom’s Structural Design and Engineering Standard (240-56364545).

- Design a reinforced concrete slab of 35 MPa that will cover an area of 4680 m2

- Evaluate retaining wall drawings 0.58/10224 and re-design to suit the dimensions of the reinforced concrete slab that will cover an area of 4680 m2

- Preparation of construction and as-built drawings will be required

- Assess the capability of the existing silt-trap to handle the additional storm water run-off

- Construction work

- Site clearance

- Remove unsuitable materials to a depth of 300mm and dispose

- Rip, grade, mix and compact in situ to 95% MOD AASHTO

- Import suitable materials for base layer of the concrete slab

- Erect shutters for the concrete work

- Supply and install reinforcement

- Ensure the interfacing of the newly cast slab and the existing slab is solid (steel dowels may be drilled on the sides of the existing slab)

- Construct a 35MPa reinforced concrete slab of 4680 m2 (see coordinates on figure 4)

- Construct a 35MPa reinforced concrete retaining wall around the slab in line withdrawing 0.58/10224 design specifications but ensuring wall dimensions suit reinforced concrete  slab of 4680 m2

- Check the adequacy of silt trap to convey additional storm water run-off ( investigate the impact of the additional storm water run-off will have on the existing silt trap)

- Provide As-built drawings after completion of construction

See Figure 4 for details

N

Figure 2: Layout of emergency ash offloading area, collecting storm water canal and coal stockyard

N

See Figure 4 for details

Figure 3: Proposed concrete lining of the collecting storm water canal

Slope 3%

N

Existing overflow channel to connect to new lined collecting storm water canal

B

C

D

E

H

F

G

A

Retaining Wall as per drawing 0.58/10224

Figure 4: Proposed expansion of the existing concrete slab

Table 1: Coordinates of new slab

| Corner | Coordinates |  |
| --- | --- | --- |
|  | S | E |
| A | -23.66824 | 27.60000 |
| B | -23.66835 | 27.59956 |
| C | -23.66896 | 27.59963 |
| D | -23.66883 | 27.60026 |
| E | -23.66883 | 27.60024 |
| F | -23.66873 | 27.59991 |
| G | -23.66856 | 27.59987 |
| H | -23.66853 | 27.60011 |

## Interpretation and terminology

The following abbreviations are used in this Works Information:

| Abbreviation | Meaning given to the abbreviation |
| --- | --- |
| ECC | Engineering Construction Contract |
| AFC | Approved for construction |
| QAP | Quality assurance program |
| QCP | Quality control program |
| QA | Quality Assurance |
| QC | Quality Check |
| NCR | Non-Conformance report |
| OHS | Occupational health and Safety |
| ORHVS | Operating Regulations for High Voltage Systems |
| FRI | Updated Forecast Rate of Invoicing |
| PPE | Personal Protective Equipment |

# Management and start up.

## Management meetings

Regular meetings of a general nature may be convened and chaired by the Project Manager as follows:

| Title and purpose | Approximate time & interval | Location | Attendance by |
| --- | --- | --- | --- |
| Project Kick-Off Meeting | Once the contract is signed and before works start | Venue to be confirmed on the appointment | Employer’s Project Team Contractor’s Project Manager, Project Supervisor and other attendees at the discretion of the Contractor. |
| Progress Report and Assessment Meeting | To be scheduled Weekly | Venue to be confirmed on the appointment | Contractor’s Project Manager Employer’s Project Team |
| Risk Management Review | To be scheduled monthly. | Venue to be confirmed on the appointment | Contractor’s Project Manager or Project Supervisor Employer’s Project Team |
| Project Meeting | When the need arise | Venue to be confirmed on the appointment | Contractor’s Project Manager Employer’s Project Team |

Meetings of a specialist nature may be convened as specified elsewhere in this Works Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the works.  Records of these meetings shall be submitted to the Project Manager by the person convening the meeting within five days of the meeting.

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.

## Documentation control

### Identification and communication

The Contractor is responsible to plan the supply of the documentation during the various project stages and to provide the documentation in accordance with the key scheduled project milestone dates. A document is thus any written or pictorial information describing, defining, specifying or certifying activities, requirements, procedures or results.

### Retention of documents

The Contractor submits all hard copies of documentation on a formal transmittal form in duplicate to the Project Manager.

All documentation submitted must have a unique numbering system.

Documentation Synopsis

The documentation synopsis is a summary and general view of the whole documentation package, and provides the Project Manager with a clear indication of its content for assessment and acceptance.

The Contractor’s documentation synopsis is agreed upon at contract award and defines the minimum documentation.

The Contractor’s offer includes a detailed summary of the documentation. The documentation synopsis must consist of documentation that is specific for this project and contract for Matimba Power Station. The Contractor includes standard documentation and procedures such as:

•	Inspection reports

•	Drawing system description and index

•	Annual audit reports

•	Operating and maintenance manual

Documentation Management System

A comprehensive documentation management system is provided. All documentation is maintained and updated until Completion. Any change is propagated automatically to all related documentation. All documentation forms an integral part of the documentation system.

Correspondence

All correspondence to Matimba Power Station must be addressed to the employer’s representative and must include:

•	Contract number

•	Contract Description

•	Date

E- Mails will be recognised as formal contractual documentation but any tables, spreadsheets, quotations and instructions as per ECC should be in the form of properly compiled letters of forms attached to the e – mails.

Subject of the e – mails need to clearly reference the specific content of the e-mail to make future searching of specific topics possible

The Contractor to make use of a unique numbering system on all documents

Standard forms

ECC standard forms will be used.

Documentation routing

All documentation from the Contractor will be routed through the Employer’s representative

## Health and safety risk management

Compliance with legislation

The principal contractor shall at all times comply with and must have available, the Occupational Health and Safety Act 85 of 1993 and regulations, the Compensation for Occupational Diseases Act no 29 of 1996. The Contractor shall at all times during the continuance of the contract comply with the Site Health and Safety Specifications, Instructions, Procedures and Directives directed by Matimba Power Station (ESKOM) Management.

She organogram

A principal contractor is required to compile their company organogram for the contract, highlighting the reporting structure from their Senior Management down to their project employees. This diagram must be kept up to date, a copy of which must be given to the contractors and copy filled in the relevant project SHE files

COID and UIF requirements

The principal contractor shall be registered with an appropriate employment compensation commissioner and submit proof of good standing with the commissioner. The Contractor shall, before the commencement with work on site, furnish Matimba Power Station (Eskom) Management with proof of a valid registration through a certificate of good standing in terms of the Compensation for occupational Injuries and Diseases Act, (COID Act), 130 of 1993 and that all payments due to the Commissioner are discharged. This cover shall remain in force during the contract and shall be the responsibility of the Contractor to ensure validity.

Occupational health and safety policy

The contractor shall prepare a written SHE policy and shall include the following:

- The description of his/her organization

- Establish a policy concerning the protection of employees’ health and safety at work

- Outlines the arrangements for carrying out and reviewing policies

- SHE policy must be signed by company CEO or Authorized Person

Notification of construction work

The principal contractor must notify the Provincial Director of the Department of Labour in writing of all construction work if it falls within the scope of Regulation 4 of the OHS Act Construction Regulations

Mandatory agreements

Principal contractors must sign Eskom’s section 37(2) agreement before commencement of their particular work, and similarly, ensure that their appointed contractors sign their section 37(2) agreement. The principal contractor shall carry accountability and responsibility for the safety and health of their employees and their appointed contractors within their working area as contemplated by section 37(2) of the OHS Act

Health and safety (she) file

Principal contractor shall compile a SHE (health and safety) file as per Matimba Power Station safety file requirements and ensure that a health and safety file; which shall include all documentation required in terms of the provisions of the Act and these Regulations, is opened and kept on site and made available to an inspector, client or client agents upon request.

Health and safety management plan

A Principal contractor shall provide and demonstrate to the Client a suitable and sufficiently documented health and safety plan, based on the relevant sections of the Client’s health and safety specification contemplated in regulation 5(1)(b) provided by the client.

Working at heights

If, there is a requirement for working at heights (any work performed above ground level), then a fall protection plan must be developed, which must include fall prevention where possible, for the task, implement and continually reviews such plan.

Legal appointments

Principal contractor shall made legal appointments specific to a project, ensure that all their appointees are made aware of their accountabilities and responsibilities in terms of their appointment and that they advise and assist these appointees in the execution of their duties. Clear, defined health and safety roles, responsibilities and accountability will be defined for every person in a leadership position on the project. Specific details will be included in legal appointments in line with the project legal framework and contractual obligations.

Construction Safety Officer

Principal contractor shall ensure the appointed construction safety officer have the minimum competencies in the successful execution of project. Safety Officer will have the following as the minimum requirements:

- SAMTRAC or similar safety diploma and at least 2 years construction safety experience;

- Hazard identification and risk assessment training.

- Incident investigator training

- Training regarding applicable legislation

- Safety, Health and Environmental Standards

- Computer literacy

Medical programs

Principal contractors must ensure that the have medical surveillance program whereby their employees undergo entry medicals, periodic and exit medical fitness examinations

Eskom lifesaving rules

A principal contractor shall comply with Eskom’s Lifesaving rules. Violation of these rules will be viewed in a serious light and the consequences will be dealt with via the respective disciplinary processes

Rule 1: Open, isolate, test, earth, bond, and/or insulate before touch:

No person may work on any electrical network unless:

- He / she is trained and authorised as competent for the task to be done.

- A pre-task risk assessment to identify all risks and hazards must be conducted prior to any work commencing.

- An equi-potential zone is created for each worker on the job site by earthling, bonding and/or insulating according to approved divisional procedures.

- All conducting material is connected together, all staff onsite wear electrical safety shoes and insulating techniques are applied according to standards.

- The authorised person (Team leader) has certified and shown all team members that the apparatus is safe to work on. He / she is trained and authorised as competent

Rule 2: Hook up at heights:

Working at height is defined as any work where an activity above 2 metres is performed from ladders, scaffolds, platforms, buckets, excavation, structures or where there is a potential for a fall. A pre-task risk assessment to identify all risks and hazards must be conducted prior to any work at height commencing.

- No person may work at height where there is a risk of falling unless:

- You are appropriately trained.

- You are appropriately secured during ascending and descending.

- You are using an approved fall arrest system where applicable

Rule 3: Buckle up:

No person may drive any vehicle on Eskom business and/or on Eskom premises:

- Unless the driver and all passengers are wearing seat belts.

Rule 4: Be sober:

No person is allowed to work under the influence of drugs and alcohol. Under-the-influence’ means the use of alcohol, drugs and /or a controlled substance to the extent that:

- the individuals faculties are in any way impaired by the consumption or use of the substances or;

- the individual is unable to perform in a safe, productive manner or;

- the individual has a level of any such substance in his body that corresponds with or exceeds accepted medical/legal standards or;

- the individual has a level of alcohol in his body that is greater than 0,00 % blood alcohol concentration.

- Any level of an illegal substance in the body’ irrespective of when the substance was used

Rule 5: Ensure that you have a permit to work:

Where an authorisation limitation dictates, no person shall work without the required Permit to Work. (PTW)

- Work is as defined in the Plant Safety Regulations (OHS) and Operating Regulations for High Voltage Systems (ORHVS) of Eskom.

- A Risk Assessment must be carried out jointly by the Authorised (AP) and Responsible Person (RP) on all work before it commences.

- The PTW must be issued by an AP, in accordance with the PSR.

- The PTW must be accepted in writing by an authorised RP.

- The PTW shall be shown to everyone working on the job and the risks explained.

- The RP must ensure that all staff working on that job are entered on a Workers’ Register and the risks explained to each one.

- The RP must ensure that the conditions of the PTW are enforced for the duration of the work.

Risk assessment

A documented risk assessment shall be conducted before the commencement of work and every time the scope of work changes or the risk of a potential incident increases. All risk assessments shall be conducted by competent and trained person to do so and legal appointed.

Toolbox talks

A pre job meeting must be held prior to the commencement of the day’s work with all relevant personnel associated with the work task in attendance. The job, relevant procedures, associated hazards, safety measures i.e. the task risk assessments shall be discussed. Each employee who attends the briefing shall sign the back of that pre-job brief form.

Safe working procedures / method statement

Method statements are a form as to how to prevent an incident occurring during execution. A written safe working procedure is how to execute the task safely. A principal contractor work method statement must meet mandatory standards for designated hazardous activities.

Incident investigator

All incidents on site shall be investigated by competent and trained person. A principal contractor shall ensure the appointed person responsible for such function is trained

Incident reporting

SHE Alert:

Notification should reach the contractor SHE office within 24Hrs, giving first accuracy of what did happen, the immediate outcome and the possible causes of the event. All incidents shall be investigated in terms of OHS Act General Administrative Regulations 8 and 9, using Eskom Procedure 32-95 as a reference, and where injuries as contemplated in sections 24 and 25 have been sustained, be reported to the Department of Labour. Contractors shall use the standard General Administrative Regulation Annexure 1 “Recording of an Incident” form for all incident investigation reports.

Reporting and recording of statistics

Each of the contractors SHE Officers is responsible for collecting, recording, calculating and reporting the SHE statistics. SHE statistics are to be reported to the Project SHE Officer every Thursday.

Audits and review

Principal Contractor will develop a monthly audit program, stating dates of audits and the type of audit to be conducted and submit the program to the Matimba Power Station’s SHE Officer. The results of these audits including the list of actions with names and timing allocated must be submitted to the Construction Manager for review and analysis. This audit must be done on a monthly basis.

Stacking of material

Principal contractor shall ensure that a competent person is appointed in writing with the duty of supervising all stacking and storage on. Stacking shall only be carried out on a stable and level footing capable of supporting the entire mass of the stack. Broken or damaged pallets shall not be used and shall be repaired or replaced immediately.

Manual handling of materials

Risk assessments shall be coordinated on manual handling tasks involving: · Lifting, carrying or putting down (e.g. the transportation of stock and equipment); · Pushing, pulling, throwing or restraining; · Any activity involving bending, twisting or awkward postures, even where no object is handled (e.g. working in confined spaces, reaching into low or high cupboards, or maintaining inaccessible equipment items); · Activities that require stationary/static muscle loading e.g. to support or restrain loads.

Excavation work

All excavation work shall be performed in compliance with the OHSA (Construction Regulations) specifically attending to the following: Risk assessment, supervision, stability, shoring and bracing, sloping, signage, barriers and fencing (visible at night), inspections, proximity of plant, equipment, structures, etc., means of access, underground facilities, confined space precautionary measures.

Housekeeping

Principal contractor shall ensure housekeeping is maintained on site

Dust management

In the event that dust is likely to cause a nuisance risk to health of the workforce, or impact on surrounding native vegetation, an appropriate method of dust control shall be implemented. This may include: · Road watering of unsealed access roads and road verges of sealed roads;· Watering of unsealed lay-down areas;· Speed restrictions on roads.

Tools and equipment standards

Hand tools

For the purposes of this standard, all tools and equipment, which are not independently powered, shall be deemed to be hand tools. This shall include, inter alia, hammers, chisels, screwdrivers, spanners, files, spades, mops and brooms, wheelbarrows and handcarts etc. · All hand tools, whether privately or company owned shall be kept clean and maintained in a safe and serviceable condition. · The sharing of handles between separate tools (e.g. files) is not permitted. · All hand tools shall be neatly stored on racks or shelves or in cupboards or toolboxes specifically designed or set-aside for this purpose. Toolboxes and cupboards shall be kept clean and tidy.

Portable electrical tools

All portable electric equipment shall be maintained in good condition.· Such equipment shall be identified by numbering and recorded on register.· Formal monthly inspections of all Portable Electrical Tools shall be conducted and counter signed by the Supervisor. Untrained employees shall not to be allowed to operate any equipment.· Every tool MUST have a tag attached to it. This tag should indicate when last this tool was inspected.

Portable grinders

Persons shall use purpose designed cutting tools for materials such as concrete, masonry, metal, ceramics, stone or plastic so that there is no need to use an angle grinder for cutting. All grinders shall be fitted with a dead-man switch. All grinders shall be fitted with guards and side handles which are to be used at all times. Persons required to use angle grinders shall be fully informed of the hazards, instructed in the safe use of the machine, and the Project safe work procedures. Safe work procedures shall include avoiding the use of angle grinders for cutting purposes.

Health and safety access permit

Permit Required

This is a general permit required that allows the Contractor to gain access to site. This permit is required before site establishment can commence.

Permit Conditions/Requirements

This permit is issued once the safety file has been approved by the Eskom Contractor Safety Officer as well as the Construction Manager.

PPE standard

Personal protective equipment must be provided free of charge by the Principal Contractor for all his employees. All issues are to be recorded on a register per individual. The following represents the general PPE requirements whilst within the construction area and no person will be allowed in the construction gate without it:

Safety signage standard

Principal contractor shall all required mandatory signage’s are erected and strategically placed on construction site and all employees to be made aware on the meaning of each signs

First aid boxes

To be provided with contents as per minimum legal requirements. Boxes must be provided at all lay-down areas and remote sites and kept locked. Record to kept, in an appropriate register of all treatment done.

Ablution facilities

Separate toilet and washing facilities must be provided for female staff employed on site and appropriate notices affixed at the entrances of these areas.

Eating facilities

The Contractor must provide a suitable undercover area equipped with seating and tables for workmen to have their meals. This facility may be either in the lay down area or in an area on the Construction Site as agreed by the Construction Manager.

The contractor shall comply with the following:

•	Matimba Power Station Health and Safety Standards as per Matimba Power Station Health & Safety Specifications for Contractors (PA/270/003) attached to the Invitation to Tender. This procedure will be handed over during tender enquiry and will enable the successful Tenderers to compile a Health & Safety plan that has to be approved by the Employer prior to commencement of work.

•	Compliance with Eskom & Matimba No Smoking Policy

•	Adhere to the OHS Act 85 of 1993

•	All staff will undergo Safety Induction, presented by Matimba Risk Management Department

Employer’s site regulations as stipulated in Form PA/270/003, covering the following:

•	Clean lines

•	Storage of material

•	Safety precautions and fire prevention

•	Permits to work

•	Other Contractor's work

•	Representation of sub-Contractors

•	Supervision

•	Handing over of works

•	Contractor's Site

SHE Documentation required from the Contractor at tender

The following documents must be provided together with the tender by the Consultant in terms of Health, Safety and Environmental performance, should the Consultant not provide this information it will be assumed that it does not exist.

- Detailed costing for Health and Safety (Linked to Risk Assessment) based on the overall scope of work to be performed

- Letter of good standing with COID or any insurance body.

- An Organogram indicating the names of all persons that will hold legal appointments on the project in terms of the Act.

- The expected roles, responsibilities and authority of those who are proposed to receive legal appointments.

- The resume’(s) of the proposed Safety Officer(s) and Environmental Officer(s) his/their roles, responsibilities and authority is required in terms of the scope of work.

- The Supplier’s company Safety, Health and Environment policy.

- Provide an overview of the system/program that is utilized to manage Safety, Health and Environment

- Provide a detailed HIRA (Hazard identification and Risk Assessment) based on client specification and the scope of work

- Provide a composite Health and Safety Plan as per the Clients specification?

- Certificates of medical fitness and psychological fitness, where applicable, conducted in relation to the individuals person job specification (Linked to Risk Assessment)

# Health and Safety Plan (Construction Regulations)

Upon the award of the contract, successful Supplier must submit a Health and Safety Plan, filed in a Health and Safety File, comprising of the following:

- Proof of the contracting company’s own Health and Safety Policy.

- Proof of appointments, assignments and designations as required in terms of the Occupational Health and Safety Act, No 85 of 1993.

- Proof of Risk Assessments regarding Hazards identified.

- Proof of Safe Work Procedures that derived out of the Risk Assessments.

- Proof of the contracting company’s own Emergency Plan that will deal with their own emergencies on site.

- Proof of a Fall Protection Plan, if required to perform work at elevated levels developed by a competent person appointed by the contracting company.

- Proof of an Induction Program it is advised that the Matimba SHE Rules as a Guide) and an attendance register signed by its employees prior the commencement of any construction work on site.

- Proof of the contracting company’s employees Medical Fitness Certificate. (Must still be valid for one year and May only have been issued by an occupational health practitioner).

- Proof of consultants weekly Health and Safety Rep Inspections regarding its own site and where detached work is performed.

- Proof of Personal Protective Equipment (PPE) issued to consultant’s employees.

- Proof of contracting company’s Accident/Incident Reporting and Investigation System.

- Proof of checklists and where applicable test certificates, regarding consultant’s tools, equipment, machinery, mobile equipment, vessels under pressure and any other applicable checks required by the Act.

The Principle Supplier must ensure that his Suppliers (Sub contractor) do also have a Health and Safety File and that it must be accepted by the Principle Consultant.

The Safety Officer employed by Matimba Power Station will audit these Health and Safety Plan to ensure compliance with the provisions of the Act.  The approval of the health and safety plan can sometimes take 2 to 3 days to approve and no work will be conducted before the plan is approved.  The Supplier has to keep this in mind for their health and file costing.

Housekeeping

Working areas are cleaned daily.

In the interest of promoting a safe and healthy working environment, the Eskom executive committee has approved the implementation of life saving rules       to improve safety in the organisation. These rules will also be applicable to all contracting staff. The business is concerned about the emotional, social as well as economic effect of all these unnecessary incidents, and would like to correct behaviour pro-actively. These rules are determined beforehand to enable the organisation to clearly communicate the established life-saving rules and how to deal with non-compliance to the workforce prior to the implementation of such rules.

These rules have been implemented as from 1 January 2009 and will be strictly enforced. Failure by any person or Contractor engaged in doing business with Eskom to adhere to these rules, will lead to serious action being taken with serious consequences. These actions include termination of service of an individual and even blacklisting of Contractors not taking the rules seriously. It is therefore strongly advised that these rules be taken seriously, communicated to all of the Contractor’s staff, ensure that they all understand the rules, understand the consequences of violating a rule and sign documentation that they understand and acknowledge the implications of these rules.

## Environmental constraints and management

- The tenderer shall coordinate his activities in line with the requirements of ISO 14001: 2004 as Matimba Power Station is ISO 14001 compliant.

- The supplier shall ensure that all works conducted to the satisfaction of the facility closure licence.

- The tenderer shall ensure that in the execution of his/her activities, contamination or pollution of water (either surface or underground) is avoided.

- The tenderer shall ensure that his/her practices are in line with Eskom SHEQ Policy (32-727) and Matimba Power Station SHEQ Policy (PP/240/001).

- The tenderer shall prepare environmental aspects and impacts (environmental risk assessment) which are in line with the scope as per the tender document.

- The contractor shall have copy of the waste license and the EMP on file for the duration of the contract.

- The contractor must prepare a dust management work instruction to be implemented for the duration of the contract.

- To ensure protection on Flora, NO vegetation clearance activities will commence without a valid tree removal permit for protected trees. A method statement for vegetation clearance should be submitted for approval by Employer before works can start.

- To ensure protection on Fauna, search and rescue operations shall be conducted before clearance of vegetation takes place.

- The tenderer shall prior to start with execution of the scope, provide the environmental officer with Environmental File, the requirements for the environmental file shall be provided to the successful tenderer during awarding.

## Quality assurance requirements

The Contractor shall supply a Quality Control Plan (QCP) prior to the start of any work. The plan must include all inspections and tests that will be performed on the activities and material supplied during construction. The plan will cover the following:

  - Identifying a specific activity or operation.

  - A list indicating the sequence of events in the case of tests and operations.

  - The specification, procedure and drawing for each activity.

  - The criteria for the acceptance of an operation with reference to appropriate technical procedure as        set out by the Contractor.

  - The inspections and test the Contractor has nominated for hold, witness and verification points.

  - Provision for tests and inspections required by the Employer.

  - A record of all tests and inspections done by the Contractor.

The Contractor is also responsible for the following:

- The Contractor must notify the Employer of any changes in the quality standards of material or operations and get approval from the Employer to implement the changes on the existing orders and contracts or sub orders and contracts.

- The employees of the contractor(s) must be skilled tradesmen registered and certified with the relative qualifications authority, with demonstrated ability to perform the work on a timely basis.

- Identifying any additional documentation that must be submitted to the Employer.

- Indicating the interface between the QCP for the project and the Contractor’s own quality system and applicable documents such as procedures and work instructions.

- In the event that a sub-Contractor is called in to do portion of the work, the Contractor must indicate how they will be monitored.

- Providing the Employer or his representative access to the Contractor’s premises to conduct quality inspections, audits, assessments to ensure compliance the contractual requirements.

### Contract Quality Management Plan Requirement

The Contractor prepares a contract quality management plan that, where appropriate, indicates the following:

- Indicates the interface with the Contractors quality system and applicable documents such as procedures and work instructions.

- Establishes communication channels between the Contractor and the Project Manager in respect of quality and the integration of such with the prescribed contract communication channels.

- Indicates how specific subcontractors will be monitored

- Identifies items or activities for which quality control plans will be prepared

- Identifies the specifications, drawings and acceptance criteria for material for which quality control plans are not required.

- Identifies the areas or processes requiring special controls.

- Identifies the Contractor’s Management Representative and personnel responsible for the control of quality activities and their relationship to the Contractor’s management structure

- Identifies the documents which are to be submitted to the Project Manager

- Indicates the Contractor’s quality monitoring program.

### Quality Control Plan

The Contractor’s quality control plans covers inspection and test proposals for items or activities to be supplied as part of the works.

The quality control plan indicates the following as appropriate:

- The identification of the item

- The material

- A list of the sequence of operations including inspections and tests

- The identification of the specification, drawings or procedures for each operation

- The acceptance criteria with reference to the appropriate technical specification, in-house, national or international standard and relevant clause number

- The inspections and tests the Contractor has nominated for hold and witness points

- Provision for inspections and tests nominated by the Project Manager

- Provision for inspection status indication

- Inspection and test records that are generated by the Contractor.

### Quality Assurance

The execution of the work shall be conducted by a company who has adequate product liability insurance.

The employees of the contractor(s) must be skilled tradesmen registered and certified with the relative qualifications authority, with demonstrated ability to perform the work on a timely basis.

The Quality Control Plan consists of the following as a minimum and is accepted by the Project Manager and the Contractor prior to commencement of the work.

A covering page which includes and makes provision for the following:

- Document unique number.

- Revision number.

- Page number

- Provision to incorporate all inspection report numbers.

- System worked on

- High level description of work execution

- Provision for review and approval signatures by the Contractor, the Project Manager and the Supervisor.

- Provision for final releases signatures by the Contractor, Project Manager the System Eng. and the Supervisor.

A page which includes a logical sequence of work execution, listed as activities for the fabrication and erection and in addition to this hold, witness points etc. where required or requested by the Employer.  The activity list should include reference to:

- Abbreviations.

- Record numbers.

- Procedure numbers.

- Reference document numbers.

- Certificate numbers and references

Where applicable a material summary list should be included containing:

- Material quantities and specifications.

- Material certificate numbers.

Where tests were performed, they are recorded and the positions of measurements are traceable to the specific area of testing against the records, compiled in formal test reports

## Programming constraints

The Contractor must provide a preliminary bar chart programme with the tender documentation. The programme must include the start and end dates and how the work will be done within the given time frame. It is the Employer’s objective to finish the work within the contract period. This programme constraint will influence the critical path of the project.

The Contractor shall include the following time constraints when setting up the work programme:

- Lost working days due to bad weather i.e. rainy days.

- Special non-working days.

All work included in this contract shall be included according to the programme to insure that the project is completed on time.

The contractor will be responsible to prepare and submit a program for the works at least 2 weeks before installation starts.

The programs will have to be accepted by Employers representative before any work can start.

Within 2 weeks of contract placement the contractor provides a forecast rate of invoicing, linking the values of completed activities as per the accepted programme for the Employer’s approval.

Progress reporting

Progress reports are submitted 2 weekly

The Contractor should submit the following together with the progress reports

- Updated Forecast Rate of Invoicing (FRI)

- Updated program for acceptance

## Contractor’s management, supervision and key people

The Contractor must supply an organogram indicating all personnel involved in the project and their lines of authority / communication with the tender documentation.

During the period of construction work the Contractor shall have one or more persons on standby in close proximity to the site. These persons shall be knowledgeable on all works done during the construction period and can be called out to site on short notice for a period as specified by the Engineer. These persons shall be fluent in English and empowered to represent the Contractor.

The contract will provide the necessary supervision for any activity performed during the duration of the project. The selected supervisor shall have the authority to take instructions from the Employer on behalf of the Contractor and give instructions on behalf of the Contractor.

## Invoicing and payment

- All Electronic invoices must be sent in PDF format only.

- Each PDF file should contain one invoice; or one debit note; or one credit note only as Eskom’s SAP system does not support more than one PDF being linked into workflow at a time.

- Your E-mail may contain more than one PDF file (e.g. 2 invoices on 2 separate PDF files in one e-mail)

- All invoices in original PDF format via e-mail to Eskom email address

Invoices are in triplicate and are made out to:

invoiceseskomlocal@eskom.co.za

And include on each invoice the following information:

- The words tax invoice

- Supplier’s name, address and VAT number

- Recipient name, address and VAT number

- Individual serialised invoice number

- Date of issue of tax invoice

- Full and proper description of the goods or services

- Quantity/Volume of the goods or the services supplied

- Amounts (in Rand)

  - Value, VAT and considerable amounts

  - Consideration and VAT amounts

  - Consideration and statement that VAT is included @15%

- The contract number and title;

- Consultant’s VAT registration number;

- The Employer’s VAT registration number 4740101508;

The Contractor is to keep records of all invoices submitted and paid up to the end of the project, as well as details of actual costs.

The Contractor submits monthly forecasts rate of invoicing for the complete project as well as an annual budget estimate in accordance with the documentation required by the Employer. The format will be discussed and agreed with the Contractor.

## Insurance provided by the Employer

No addition to ECC3 Core Clause 87.1

## Contract change management

All relevant NEC documents will be provided to the Contractor on request.

## Provision of bonds and guarantees

The form in which a bond or guarantee required by the conditions of contract (if any) is to be provided by the Contractor is given in Part 1 Agreements and Contract Data, document C1.3, Sureties.

The Employer may withhold payment of amounts due to the Contractor until the bond or guarantee required in terms of this contract has been received and accepted by the person notified to the Contractor by the Project Manager to receive and accept such bond or guarantee.  Such withholding of payment due to the Contractor does not affect the Employer’s right to termination stated in this contract.

# Engineering and the Contractor’s design

## Employer’s design

Employer will provide the designs for the works that are to be implemented

## Equipment required to be included in the works

The contractor to provide all of the equipment for the works

## As-built drawings, operating manuals and maintenance schedules

The contractor to provide all As-Built drawings for the works

# Procurement

## People

### Minimum requirements of people employed on the Site

Occupational Health and Safety Compliance

The Contractor shall appoint a Site Supervisor (Construction Work Supervisor) under Section 6.1 of the Occupational Health and Safety Act who will be on site at all times to ensure that the statuary equipment’s according to the Occupational Health & Safety Act and the Project Health & Safety Specification are implemented and maintained.

Project Management

The Contractor shall appoint a Project Manager under Section 16.2 of the Occupational Health and Safety Act who will be responsible for the overall Safety management of the site. The Project Manager Attend shall attend all site meetings as may be called for by the Principal Agent or Consulting Engineer, prior to and during the Contract period. The Project Manager shall co-ordinate the work, supervise the site, control the quality of work and in terms of the Works Information, and communicate with the Principal Agent and Consulting Engineer.

### BBBEE and preferencing scheme

The Contractor is expected to maintain or improve its’ B-BBEE rating for the duration of the contract. Should the rating be change negatively, the Contractor would be expected to rectify that within 6-months of being made aware of negative change.

The Contractor is expected to submit a valid B-BBEE Verification Certificate from a SANAS accredited Verification Agency or swon affidavit certified by commissioner of each year. Failure to submit such a Certificate may be regarded as the breach of the contract by the Employer

### Accelerated Shared Growth Initiative – South Africa (ASGI-SA)

The Contractor complies with and fulfils the Contractor’s obligations in respect of the Accelerated and Shared Growth Initiative - South Africa in accordance with and as provided for in the Contractor’s SD&L Compliance Schedule.

This works/service is a non-designated sector and therefore no local production threshold is applicable to qualify for further evaluation.  Tenderers will also be encouraged to utilise local and local to site resources.

Skills Development (not weighted criteria)

Eskom intends to improve Skills Development by ensuring that technical support is directed towards enhancing supply capacity and capability within the industry or sector of operation. By doing this the capacity and competitiveness of the local supply base will be increased and the goals of shared growth, employment creation, poverty reduction and skills development will be achieved.

Tenderers are encouraged to propose Skills Development initiatives in terms of the Skills required for this project as requested below:

Tenderers are required to comply with Construction Skills Development Goals percentage of 0.25% of the contract value in accordance with CIDB regulations to be considered for award.

The Contractor shall keep accurate records and provide the Service Manager with reports on the Contractor’s actual delivery against the above stated SD&L criteria.   [Elaborate on access to and format of records and frequency of submission etc.]

The Contractor’s failure to comply with his SD&L obligations constitutes substantial failure on the part of the Contractor to comply with his obligations under this contract

## Plant and Materials

### Quality

All material used for this project shall be of the highest quality and in accordance with the manufacturer's requirements. The Contractor is to provide the Engineer with certificates as proof that all paint systems used in the project meet the requirements mentioned in the above scope. Particular care shall be taken to ensure compatibility of all materials used with others forming part of the corrosion protected system. Manufacturer's application and over coating times and specific instructions relating to curing periods and humidity limitations shall be strictly adhered too. Any failure of material, even if it is due bad supply quality, will be covered by the Contractor’s own expense. All material used during construction to be SABS approved and materials shall bear the SABS mark. All materials shall be used and placed in strict accordance with the published instructions of the relevant manufacturer.

### Plant & Materials provided “free issue” by the Employer

None will be provided by the Employer.

### Contractor’s procurement of Plant and Materials

The Contractor will submit data for plant and materials procured for the contract during the contract duration.

Storage:

- Cement will be stored under cover to ensure protection against moisture and other factors that can lead to the deterioration of the cement.

- Aggregates of different nominal sizes shall be stored separately and in such a way that segregation is minimized. Intermixing of different materials and contamination by foreign matter shall be avoided.

- The Contractor will ensure that all steel is stored off the ground to prevent deterioration.

- Prefabricated concrete sections shall be stored in such a way to prevent the discolouring and other damage of the sections. The Contractor will fit precast concrete structures with lifting lugs, slots or holes to ensure the safe transport and placement. The lifting mechanism shall be placed to ensure that the section is not subject to excessive stress

The Contractor must insure that all cladding and sheeting is transported according to the manufacturer’s recommendations. The Contractor shall be solely responsible to ensure that all sheeting is handled, stored, erected and fixed in such a way that the installed sheeting is free of dirt, soil and other deleterious substances or damage. All sheeting shall be transported in a way to prevent any damage to the sides of the sheets and prevent abrasion and staining due to rain. All sheeting shall be stored in a well ventilated storage facility that has a firm dry floor to provide protection against water damage.

All coating materials are to be transported in their original containers as provided by the manufacturer and shall have a label to inform the user of the content. All leaking containers will be rejected before usage. Coating materials to be stored in a dry enclosed area that is equipped with fire extinguishers and no-smoking signs.

## Tests and inspections before delivery

The Contractor shall carry out sufficient checks on the material and quality of workmanship to insure that it complies with the required specifications. The results of these tests shall be made available to the Engineer if so requested. The Engineer will be entitled to perform his own tests on the material an quality of workmanship at any time and provide the results to the Contractor.

Where the Engineer’s checks reveal that the finished work is not according to specification, the Contractor will be required to redo all the unsatisfactory work.

## Contractor’s Equipment (including temporary works).

The Contractor will supply all equipment required for this project. See section 4.3.2 Plant & Materials provided “free issue” by the Employer for the equipment that will Employer will be able to assist with.

# Construction

## Temporary works, Site services & construction constraints

### Employer’s Site entry and security control, permits, and Site regulations

Matimba Power Station utilizes a permit system. It is the responsibility of the Contractor, with the assistance of Matimba personnel to obtain permits to work (PTW) in time in order not to delay the start of the project. All PTW will be issued by the permit coordinator. No firearms, weapons, alcohol, illegal substances and cameras (including cell phones with cameras) are permitted on Site. No ‘Private Work’ is carried out for or on behalf of any Eskom employee. Any person suspected of being under the influence of alcohol is tested and if proven positive, is refused entry to the security area.

### Restrictions to access on Site, roads, walkways and barricades

Any construction works that pose a potential tripping hazard shall be isolated by erecting the proper barricading. The type of barricade that is allowed include solid steel/plastic barricades as well as material sheeting. The use of danger tape as a suitable barricade will not be allowed. The Contractor is responsible for providing all barricading material.

### People restrictions on Site; hours of work, conduct and records

The Contractor will comply with the following working hours: Monday to Thursday from 07:00 to 16:30 and Fridays from 07:00 to 12:00. The Contractor is to keep record of all of his personnel on site, including those of the subcontractor. The Employer is to have access to these records at all times.

### Health and safety facilities on Site

Refer to Part C4: Site Information

### Environmental controls, fauna & flora, dealing with objects of historical interest

Noise Control

The Contractor shall ensure that their activities do not become nuisance to the nearby communities and residents by conducting their work during day time periods. The Contractor shall at all times ensure noise generated during work activities does not exceed set threshold in SANS 10103:2003

Dust Control

The Contractor shall employ all available methods for minimization of dust during the execution of work activities

Water Control

The Contractor shall at all times ensure that his/her work activities do not result in pollution and over utilisation of water

The contractor should take note that Matimba Power Station is a Zero Liquid Effluent Discharge (ZLED) station, therefore:

- No contaminated water or any kinds of wastewater shall be discharged on to the environment

- Any release of chemicals or hazardous substances on to the environment should be prevented; if accidental release occurs, it must be reported and appropriate measures to minimise impact be applied

Waste Control

The Contractor shall manage waste in a manner that it won’t become a nuisance or impact negatively on the environment. Waste on site shall be managed as per Employers’ requirements and applicable environmental bylaws and legislations.

The Contractor shall not exceed the threshold defined in terms of section 19 of the National Environmental Management: Waste Act, 2008 (Act No. 59 of 2008)

Control of Chemicals and Hazardous Substances

The Contractor shall ensure that all chemicals and hazardous materials are stored in a sealed container with a secondary containment. The Contractor shall provide everything else necessary to fulfil this requirement

### Title to materials from demolition and excavation

The Contractor has no title to materials from excavation and demolition. Earth, stone, gravel and sand, and all other materials will be at the Contractor’s disposal so far only as they are approved for use on the contract. The Contractor will remove all redundant  in accordance with the minimum requirements for the Handling and Disposal of Hazardous Waste in terms of Government Legislation as proclaimed by the

Department of Water Affairs and Forestry Act, 1994 Ref: ISBN0621-16296-5 and Matimba waste management procedure number: PS/244/001

### Cooperating with and obtaining acceptance of Others

The Contractor co-operates in the spirit of mutual trust in co-operation with the employer’s representative to allow others to perform their work.

### Publicity and progress photographs

The Contractor will not be allowed to take any photographs on site without written consent from the Employer.

### Contractor’s Equipment

- All the equipment that is required to perform any work will be supplied by the Contractor.

- The Contractor’s equipment may not impair operation or prevent access to site.

- The Contractor must provide all or any temporary facilities for the storage of material and equipment.

Any equipment used by the Contractor must conform to the OHS Act Safety Standards and must be kept in a good working condition. The Project Manager has the right to stop any work if in their opinion the equipment does not comply.

### Equipment provided by the Employer

The Contractor to liaise with the project manager two weeks prior to the time they wish to use this equipment. Note, in the event of any work that is not within the capacity of the lifting equipment provided, the Contractor will provide his/her own equipment. The contracture must insure that the available equipment will be able to perform the task at hand, prior to any work done and if it is not the case, he/she must be able to supply their own equipment in time to prevent any work being delayed.

All other equipment will be provided by the Contractor.

### Site services and facilities

The Contractor shall establish their offices, stores workshops etc. within the boundary fence of Matimba Power Station. Water and electricity is available free of charge on site. The Contractor shall provide everything else necessary for providing the Works. The Employer will provide the Contractor access to existing ablution facilities on site.

Should the Contractor require the need to access Matimba Power Station Site, following will be made available:

- Electricity at no charge, available at existing points of connection, both 220V AC and 380V 3-phase supply. The Employer does not guarantee continuity of supply and no claims for standing time as a result of power failures will be considered.

- A written request, indicating the Consultant's requirements is submitted to the Project Manager as soon as possible after the Contract Date. Any electrical equipment or appliance used by the Contractor conforms to the applicable South African safety standards and maintained in safe and proper working condition.  The Employer has the right to stop the Consultant's use of any electrical equipment or appliance, which in the Employer's opinion does not conform to the foregoing.

- In order to comply with the Electrical Installation Regulations under the Occupational Health and Safety Act, no 85 of 1993 the following requirements are met.  Before the supply is energized, the Contractor must be in possession of a valid certificate of compliance for the applicable installation. The Consultant's electrical installation is inspected and tested by an accredited person to ensure that it complies with the requirements of the Occupational Health and Safety Act, 1993 and the code of Practice for wiring of premises, SABS 0142.  After certificate of compliance is obtained, the Employer inspects the electrical installation and if satisfied, it is connected and supplied from the construction power supply.

Warning

Phase rotation may change during a power supply break.  The Contractor checks rotation of their equipment before recommencing of work.

- Potable water at no charge, available at existing points of connection.

- Toilet facilities at no charge, available at existing facilities. However due the site location the Contractor needs to make provision for temporary facilities.

- Should the Contractor qualify for a site, the Employer will provide a site within the premises of the Power Station for the Contractor to establish himself for the execution of the works. The Project Manager together with the Site Manager will allocate a site to the Consultant. A site close to the connection points of the above services cannot be guaranteed.

- At least one Supervisor shall be authorized as a Responsible Person in terms of the Eskom Plant Safety Regulations to take out Permits to Work on plant (PTW), if applicable.

- Contractor can make use of Eskom canteen facilities

### Facilities provided by the Contractor

## Offices, workshops and stores

The Contractor complies with the environmental policy given in Matimba Safety, Health and Environmental Specification for Contractors, PS/270/003.  Provision is made for usage of Eskom’s buildings for storage and office areas where applicable. The Contractor is to maintain these provisions to Eskom’s standards.

## Roads

The Contractor is allowed to provide any temporary means of access for his vehicles from the roads to the points where he is carrying out his work.  In wet conditions it is envisaged that the Contractor may have to resort to the provision of wire mesh rolled out, etc., as such temporary means of access.  Permission to construct the temporary access roads is obtained from the Project Manager in writing, with the Contractor submitting the necessary detail for the road construction.

## Electricity

The Contractor provides at his own expense all temporary wiring and cabling to lead power from the Employer's supply points, to where it is required, maintain same and remove on completion.  These points of supply are transformers designated by the Employer.  The Contractor’s distribution boxes conform to the Employer’s requirements and are approved by the Project Manager prior to use.  All installations comply with the details set out in Matimba Maintenance Procedure PAM/233/002 - Contractor's Temporary Electrical Equipment Supply.

Any electrical equipment or appliance used by the Contractor conforms to the applicable South African safety standards and maintained in safe and proper working condition.  The Employer has the right to stop the Contractor's use of any electrical equipment or appliance which in the Employer's opinion does not conform to the foregoing.

### Conditions of supply for erection

In order to comply with the Electrical Installation Regulations under the Occupational Health and Safety Act, no 85 of 1993 the following requirements must be met:

- Before the Contractor’s cabling are connected to the Employer’s supply point and before any electricity is supplied the Contractor must be in possession of a valid certificate of compliance for its reticulation system.

- The Contractor's electrical installation is inspected and tested by an accredited person to ensure that it complies with the requirements of the Occupational Health and Safety Act, 1993 and the code of Practice for wiring of premises, SABS 0142.

- After certificate of compliance is obtained, the Employer inspects the electrical installation and if satisfied, it is connected and supplied from the construction power supply.

WARNING

Phase rotation may change during a power supply break.  The Contractor checks rotation of their equipment before recommencing of work.

## Sanitary Facilities

If sanitary facilities are required at the Contractor’s site, the Contractor provides services, maintains and removes on completion, temporary sanitary facilities, at his own cost, to the acceptance of the Project Manager.

## Telecommunications

Telephone line connections and telephone instruments can be arranged with the Employer.  The Contractor is responsible for installation cost and his own telephone bill.  The Employer can however not guarantee availability of such services.

## Accommodation

The Contractor arranges and provides at his own expense all accommodation for his Employees or Sub Contractors.

### Existing premises, inspection of adjoining properties and checking work of Others

Work will be carried out within the Matimba premises. Any damage to existing infrastructure and underground services will be repaired at the Contractor’s expense. All work done in the area shall be “made good” and rehabilitated to the original condition. Any damage done to the existing plant or infrastructure will be repaired by the Contactor on his own account.”

### Survey control and setting out of the works

All works to be done as per the design drawings provided by the employer

### Excavations and associated water control

All excavations shall be adequately protected by a barrier with a height of at least 1 000 mm and the barricading will be as close to the excavation as possible.

The Contractor shall properly deal with and dispose of water to ensure that the Works are kept sufficiently dry for the proper execution. All excavated material will be placed so not to interfere with other work or operation of the plant. All material that is unsuitable or not required for backfilling shall be removed from the Site by the Contractor.

The free haul distance will be unlimited. No overhaul will apply

### Underground services, other existing services, cable and pipe trenches and covers

The Contractor shall familiarise himself with the positions of the other main services, i.e. pipelines, water pipes, storm water sleeves and sewer pipes and coordinate the work to be done in such a way to prevent damage to the existing services. The Project Manager must immediately be notified of any obstruction that has an influence on the construction that needs to commence

### Control of noise, dust, water and waste

In the event that dust is likely to cause a nuisance risk to health of the workforce, or impact on surrounding native vegetation, an appropriate method of dust control shall be implemented. This may include: · Road watering of unsealed access roads and road verges of sealed roads. Watering of unsealed lay-down areas. Speed restrictions on roads.

Dust Control

The Contractor shall employ all available methods for minimization of dust during the execution of work activities.

Water Control

The Contractor shall at all times ensure that his/her work activities do not result in pollution and over utilisation of water

The contractor should take note that Matimba Power Station is a Zero Liquid Effluent Discharge (ZLED) station, therefore:

- No contaminated water or any kinds of wastewater shall be discharged on to the environment

- Any release of chemicals or hazardous substances on to the environment should be prevented; if accidental release occurs, it must be reported and appropriate measures to minimise impact be applied

Waste Control

The Contractor shall manage waste in a manner that it won’t become a nuisance or impact negatively on the environment. Waste on site shall be managed as per Employers’ requirements and applicable environmental bylaws and legislations.

The Contractor shall not exceed the threshold defined in terms of section 19 of the National Environmental Management: Waste Act, 2008 (Act No. 59 of 2008)

### Sequences of construction or installation

Contractor to supply a detailed method statement according to the scope of work

## Completion, testing, commissioning and correction of Defects

### Work to be done by the Completion Date

On or before the Completion Date the Contractor shall have done everything required to Provide the Works. The Project Manager cannot certify Completion until all the work except that listed below has been done and is also free of Defects which would have, in his opinion, prevented the Employer from using the works and others from doing their work.

|  | Item of work | To be completed by |
| --- | --- | --- |
|  | As built drawings of the concrete slab around the silos | Drawings are to form part of the handover documents to the Client |

### Use of the works before Completion has been certified

The Employer is to make use of the works before completion is certified by the Project Manager

### Materials facilities and samples for tests and inspections

Contractor to provide concrete strength tests as specified in the scope of work

### Take over procedures

Contractor to submit a handover contract file with test results, QCP’s and all the other take over documents compiled during the implementation of the works

### Access given by the Employer for correction of Defects

Contractor will be given access to site to rectify all defects

### Performance tests after Completion

The Contractor to demonstrate that the works can operate as guaranteed by the Contractor

# Plant and Materials standards and workmanship

## Investigation, survey and Site clearance

The Contractor to carry out land surveying at the Coal stockyard around the strategic stockpile and around the coal silos.

## Civil engineering and structural works

SANS 1200 A and G applicable to this Contract

All SANS 1200 specifications are in the process of being updated to make them more compatible with a wider range of contracts, including NEC, and users should check availability of the new SANS 2000 series of specifications.

Sections 3, 4 and 5 of SANS1200A are probably already covered in section 5 of this Works Information.

This subsection would typically comprise

a) Particular specifications provided by the Employer

b) List of standardised specifications applicable to the works and

c) Variations to the standardised specifications

# List of drawings

## Drawings issued by the Employer

This is the list of drawings issued by the Employer at or before the Contract Date and which apply to this contract.

Note:  Some drawings may contain both Works Information and Site Information.

| Drawing number | Revision | Title |
| --- | --- | --- |
| Sikhuile |  |  |

C3.2	Contractor’s Works Information

This section of the Works Information will always be contract specific depending on the nature of the works. It is most likely to be required for design and construct contracts where the tendering contractor will have proposed specifications and schedules for items of Plant and Materials and workmanship, which once accepted by the Employer prior to award of contract now become obligations of the Contractor per core clause 20.1. Typical sub headings could be a) Contractor’s design b) Plant and Materials specifications and schedules c) Other

This section could also be compiled as a separate file.

Part 4: Site Information

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 |
| C4 | Site Information | 3 |
|  | Total number of pages |  |

Part 4: Site Information

# General description

# Description of the Site and its surroundings

## General description

1.1.1	Roads

The Employer makes every effort to maintain the roads on the Site in a fair condition and all construction traffic is limited to using these roads.  Matimba traffic regulations are adhered to at all times.  Speed limit is 40km/h.

1.1.2	Security

The Contractor is informed of the access procedures through Matimba Procedure PS/270/008, Rev 1,  “Access Control and Protection of Eskom Assets” and should expect that such procedures may change depending on the prevailing security situation

Temporary entrance permits are issued to contractors who are on site for less than 3 months. Names and Identity Numbers are required before the contract starts. Photo copies of Identity documents are also required. This must be arranged with the Project Manager. Lost permits will be paid for by the Contractor to Protective Services at a cost of R30-00 per lost permit. All permits need to be returned to Security or the Project Manager upon completion of the contract.  If it is necessary to bring tools and equipment onto site a list of tools is submitted which is verified by security staff prior to tools entering the security area.

Should any Contractor staff be transferred from Matimba or leave site, the Contractor ensures that personnel leaving site are transported out of the security area and that the permit is returned.

Only work vehicles with an approved permit will be allowed on site. These vehicles are to be in a serviceable condition and road worthy. Temporary vehicle permits are issued to contractors who are on site for less than 3 months. This must be arranged with the Project Manager.

No private vehicles will be allowed on site without a temporary permit.

Arrangements must be made with the Project Manager well in advance to allow sub-contractors and visitors onto site.

To bring cameras and cell phones with cameras on site, permission has to be obtained from the Power Station Manager, using the standard application forms for cameras. This must be arranged with the Project Manager. No firearms, weapons, alcohol and illegal substances are permitted on site.

No “Private Work” is carried out for or on behalf of any Employer Employee.

Any person suspected of being under the influence of alcohol is tested and if proved positive, is refused entry to the Matimba Site or has to leave the Matimba site immediately should such person be on site already.  The Employer reserves the right to do arbitrarily testing for alcohol on employees of the Contractor.

The transport of any equipment onto the site must be declared and documented at Protective Services in order to facilitate the future removal thereof. Pro-active comprehensive listing of all tools and equipment brought to Matimba will considerably speed up entrance to the power station

Only authorised persons are permitted to enter Red Zone areas

- Supply of electricity

Electric power for construction, both 220V AC and 380V 3-phase supply, is supplied at Site free of charge, but connection fees are for the Contractor's account.  All installations comply with the details set out in Matimba Maintenance Procedure PAM/233/002 - Contractor's Temporary Electrical Equipment Supply, and Construction Power Supplies (Occupational Health and Safety Act - Act 85 of 1993) and the Matimba Safety, Health and Environmental Specification for Contractors, PS/270/003, Rev10.

The Employer does not guarantee continuity of supply and no claims for standing time as a result of power failures will be considered.  The Employer connects distribution boards to a 380V three-phase AC power supply, only after the Contractor has submitted the valid Certificate of Compliance for the installation on their site and equipment.

A written request, indicating the Contractor's requirements is submitted to the Project Manager as soon as possible after the Contract Date.

- Water

Potable and raw water for construction purposes are also available free of charge at the nearest point of supply as installed on site.

A written request, indicating the Contractor's requirements is submitted to the Project Manager as soon as possible after the Contract Date

- Sanitary facilities

Permanent toilets to serve the Power Station and urinals at the boundary area have been constructed by the Employer and all the Contractor's personnel may make use of these facilities if within allocated site for the execution of the Works.

Should no such sanitary facilities be within useable distance from the working site or Contractor’s site, the Contractor has to make the necessary arrangements to provide adequate sanitary facilities.

- Site Conditions

| Altitude | 1624.0m above MSL |
| --- | --- |
| Terrace Level | 1619.0 above MSL |
| Outside ambient air temperature Minimum dry bulb Maximum dry bulb Average Atmosphere | +40 degree Celsius - 6 degree Celsius +30 degree Celsius Dry/Dusty |
| Rainfall: Mean annual rainfall Maximum rainfall for 24 hour period Relative humidity: Minimum Minimum Weighted average Mean annual barometric pressure | 300 mm 80 mm 90% 10% 61% 83.8 kPa |
| Hail, maximum size | 20 mm diameter |
| Wind: Summer average, daytime Winter, average, daytime Minimum expected, normal Minimum expected, gusts | 3m/s NW 3.7 m/s NW 13.7 m/s 31 m/s |

# Subsoil information

Groundwater monitoring reports on boreholes surrounding the site will be made available on request to the supplier.

Boreholes around the area must be protected from being damaged.

# Hidden services

There are no hidden/underground services in the vicinity of the site apart from the boreholes around the site.

# Other reports and publicly available information

N/A

This total is required by the Employer for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.

Available from Engineering Contract Strategies Tel 011 803 3008, Fax 011 803 3009 or see www.ecs.co.za