## 220 AC
|  |  | 220 VAC LOAD SCHEDULE CONSUMER TEMPLATE per UPS | [5 empty] | Template Identifier |  | 240-72346360 (Rev 1)
[9 empty] | Document Identifier |  | xxx-xxx
[9 empty] | Document Revision |  | x.x
[9 empty] | Effective Date |  | 2015-04-01
Group Technology
| Number of items | Description | KKS code of cabinet | KKS code of feeding CCT | Rated power | Rated voltage | AC/DC UPS | Current for feeder calc. | Thermal power dissipation | Dimensions of cabinets | Appr. weight of cabinets | Remark
| [...] | [...] | [...] | [...] | [W] | [V] | [...] | [A] | [W] | [WxHxD in mm] | [kg]
[7 empty] | Area Total: | 4.37 | 900 |  | 280
| Room/Substation Name: ______________________________ | [5 empty] | Room Total: | 2.55 | 500 |  | 150
e.g. | 1 | TURBINE SERVER CABINET | 0 0CJJ01 GH001 | 0 0CJJ01 GH001A | 700 | 220 | AC | 2.55 | 500 | 900 x 2200 x 900 | 150 | Ambient temp.: 0...25 °C
| Room/Substation Name: ______________________________ | [5 empty] | Room Total: | 1.82 | 400 |  | 130
e.g. | 1 | BOILER SERVER CABINET | 0 0CJJ05 GH004 | 0 0CJJ05 GH004B | 500 | 220 | AC | 1.82 | 400 | 900 x 2200 x 900 | 130 | Ambient temp.: 0...25 °C
| Index of revisions: | [5 empty] | Date
e.g. | Rev. 0 | Preliminary - Status of tender |  |  |  |  | 2013-11-20
Rev. 1
Rev. 2
Rev. 3
Rev. 4
Rev. 5