|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Eskom logo black small (4)** | | | **AKZX PLANT LOCATION LABEL MANUFACTURING AND INSTALLATION SCHEDULE** | | | | | | | **Alloc. Centre**  **03A- Duvha** | | | **Document ID**  **ETS0004-1**  **Revision 2** | | | Page | 1 | | of | 8 |  |
|  |  | |  |  |  |
| **Contract number** | | | | | | | | | | | | |  | | | | | | | | |
| **No.** | **AKZX CODE** | **AKZX DESCRIPTION** | | **Label Details** | | | **Backing Plate Details** | | | | | **Fixture Bracket Details** | | | | | | **Status/ Comments** | | | |
| **Label Required** | | Label Material Type | **Plate Required** | | **Plate Material Type** | | **Comments** | **Fixture Required** | | **Fixture Material Type** | **Comments** | | |
| I | II | Yes | **No** | **Yes** | **No** |
| **1** | **01QS01H001** | **UNIT 1 EQUIPMENT ROOM SAFETY NETWORK CABINET** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | | **LABEL TYPE: GD** | | | |
| **2** | **02QS01H001** | **UNIT 2 EQUIPMENT ROOM SAFETY NETWORK CABINET** | | **Í** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | | **LABEL TYPE: GD** | | | |
| **3** | **03QS01H001** | **UNIT 3 EQUIPMENT ROOM SAFETY NETWORK CABINET** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | | **LABEL TYPE: GD** | | | |
| **4** | **04QS01H001** | **UNIT 4 EQUIPMENT ROOM SAFETY NETWORK CABINET** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | | **LABEL TYPE: GD** | | | |
| **5** | **05QS01H001** | **UNIT 5 EQUIPMENT ROOM SAFETY NETWORK CABINET** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | | **LABEL TYPE: GD** | | | |
| **6** | **06QS01H001** | **UNIT 6 EQUIPMENT ROOM SAFETY NETWORK CABINET** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | | **LABEL TYPE: GD** | | | |
| **7** | **40QS01H001** | **ADMIN BUILDING SERVER ROOM SAFETY NETWORK CABINET** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | | **LABEL TYPE: GD** | | | |
| **8** | **30QS01H001** | **MAIN STORE SAFETY NETWORK CABINET** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | | **LABEL TYPE: GD** | | | |
| **9** | **30QS02H001** | **TRAINING BUILDING SAFETY NETWORK CABINET** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | | **LABEL TYPE: GD** | | | |
| **10** | **10QS01H001** | **WATER TREATEMENT PLANT EQUIPMENT ROOM SAFETY NETWORK CABINET** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | | **LABEL TYPE: GD** | | | |
| **11** | **10QS02H001** | **DUVHA RECOVERY BUILDING SAFETY NETWORK CABINET** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | | **LABEL TYPE: GD** | | | |
| **12** | **50QS01H001** | **EP CENTRE SAFETY NETWORK CABINET** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | | **LABEL TYPE: GD** | | | |
| **13** | **50QS02H001** | **DUVHA SOUTH RADIO ROOM SAFETY NETWORK CABINET** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | | **LABEL TYPE: GD** | | | |
| **14** | **10QS03H001** | **ETRECC SAFETY NETWORK CABINET** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | | **LABEL TYPE: GD** | | | |
| **15** | **50QS03H001** | **OLD SIMULATOR BUILDING SAFETY NETWORK CABINET** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | | **LABEL TYPE: GD** | | | |
| **16** | **40QS02H001** | **FIRE STATION SAFETY NETWORK CABINET** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | | **LABEL TYPE: GD** | | | |
| **17** | **30QS03H001** | **HMD WORKSHOP SAFETY NETWORK CABINET** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | | **LABEL TYPE: GD** | | | |
| **18** | **20QS01H001** | **CW SUB STATION NORTH SAFETY NETWORK CABINET** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | | **LABEL TYPE: GD** | | | |
| **19** | **01QS01U001** | **UNIT 1 EQUIPMENT ROOM SAFETY NETWORK CABINET PATCH PANEL 1** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Eskom logo black small (4)** | | | **AKZX PLANT LOCATION LABEL MANUFACTURING AND INSTALLATION SCHEDULE** | | | | | | | **Alloc. Centre**  **03A- Duvha** | | | **Document ID**  **ETS0004-1**  **Revision 2** | | | Page | 2 | | of | 8 |  |
|  |  | |  |  |  |
| **Contract number** | | | | | | | | | | | | |  | | | | | | | | |
| **No.** | **AKZX CODE** | **AKZX DESCRIPTION** | | **Label Details** | | | **Backing Plate Details** | | | | | **Fixture Bracket Details** | | | | | | **Status/ Comments** | | | |
| **Label Required** | | Label Material Type | **Plate Required** | | **Plate Material Type** | | **Comments** | **Fixture Required** | | **Fixture Material Type** | **Comments** | | |
| I | II | Yes | **No** | **Yes** | **No** |
| **19** | **01QS01U001** | **UNIT 1 EQUIPMENT ROOM SAFETY NETWORK CABINET PATCH PANEL 1** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **20** | **01QS01U002** | **UNIT 1 EQUIPMENT ROOM SAFETY NETWORK CABINET PATCH PANEL 2** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **21** | **01QS01U003** | **UNIT 1 EQUIPMENT ROOM SAFETY NETWORK CABINET PATCH PANEL 3** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **22** | **02QS01U001** | **UNIT 2 EQUIPMENT ROOM SAFETY NETWORK CABINET PATCH PANEL 1** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **23** | **02QS01U002** | **UNIT 2 EQUIPMENT ROOM SAFETY NETWORK CABINET PATCH PANEL 2** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **24** | **02QS01U003** | **UNIT 2 EQUIPMENT ROOM SAFETY NETWORK CABINET PATCH PANEL 3** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **25** | **03QS01U001** | **UNIT 3 EQUIPMENT ROOM SAFETY NETWORK CABINET PATCH PANEL 1** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **26** | **03QS01U002** | **UNIT 3 EQUIPMENT ROOM SAFETY NETWORK CABINET PATCH PANEL 2** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **27** | **03QS01U003** | **UNIT 3 EQUIPMENT ROOM SAFETY NETWORK CABINET PATCH PANEL 3** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **28** | **04QS01U001** | **UNIT 4 EQUIPMENT ROOM SAFETY NETWORK CABINET PATCH PANEL 1** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **29** | **04QS01U002** | **UNIT 4 EQUIPMENT ROOM SAFETY NETWORK CABINET PATCH PANEL 2** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **30** | **04QS01U003** | **UNIT 4 EQUIPMENT ROOM SAFETY NETWORK CABINET PATCH PANEL 3** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Eskom logo black small (4)** | | | **AKZX PLANT LOCATION LABEL MANUFACTURING AND INSTALLATION SCHEDULE** | | | | | | | **Alloc. Centre**  **03A- Duvha** | | | **Document ID**  **ETS0004-1**  **Revision 2** | | | Page | 3 | | of | 8 |  |
|  |  | |  |  |  |
| **Contract number** | | | | | | | | | | | | |  | | | | | | | | |
| **No.** | **AKZX CODE** | **AKZX DESCRIPTION** | | **Label Details** | | | **Backing Plate Details** | | | | | **Fixture Bracket Details** | | | | | | **Status/ Comments** | | | |
| **Label Required** | | Label Material Type | **Plate Required** | | **Plate Material Type** | | **Comments** | **Fixture Required** | | **Fixture Material Type** | **Comments** | | |
| I | II | Yes | **No** | **Yes** | **No** |
| **31** | **05QS01U001** | **UNIT 5 EQUIPMENT ROOM SAFETY NETWORK CABINET PATCH PANEL 1** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **32** | **05QS01U002** | **UNIT 5 EQUIPMENT ROOM SAFETY NETWORK CABINET PATCH PANEL 2** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **33** | **05QS01U003** | **UNIT 5 EQUIPMENT ROOM SAFETY NETWORK CABINET PATCH PANEL 3** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **34** | **06QS01U001** | **UNIT 6 EQUIPMENT ROOM SAFETY NETWORK CABINET PATCH PANEL 1** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **35** | **06QS01U002** | **UNIT 6 EQUIPMENT ROOM SAFETY NETWORK CABINET PATCH PANEL 2** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **36** | **06QS01U003** | **UNIT 6 EQUIPMENT ROOM SAFETY NETWORK CABINET PATCH PANEL 3** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **37** | **40QS01U001** | **ADMIN BUILDING SERVER ROOM SAFETY NETWORK CABINET PATCH PANEL 1** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **38** | **40QS01U002** | **ADMIN BUILDING SERVER ROOM SAFETY NETWORK CABINET PATCH PANEL 2** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **39** | **40QS01U003** | **ADMIN BUILDING SERVER ROOM SAFETY NETWORK CABINET PATCH PANEL 3** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **40** | **40QS01U004** | **ADMIN BUILDING SERVER ROOM SAFETY NETWORK CABINET PATCH PANEL 4** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **41** | **40QS01U005** | **ADMIN BUILDING SERVER ROOM SAFETY NETWORK CABINET PATCH PANEL 5** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **42** | **30QS01U001** | **MAIN STORE SAFETY NETWORK CABINET PATCH PANEL 1** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **43** | **30QS01U002** | **MAIN STORE SAFETY NETWORK CABINET PATCH PANEL 2** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Eskom logo black small (4)** | | | **AKZX PLANT LOCATION LABEL MANUFACTURING AND INSTALLATION SCHEDULE** | | | | | | | **Alloc. Centre**  **03A- Duvha** | | | **Document ID**  **ETS0004-1**  **Revision 2** | | | Page | 4 | | of | 8 |  |
|  |  | |  |  |  |
| **Contract number** | | | | | | | | | | | | |  | | | | | | | | |
| **No.** | **AKZX CODE** | **AKZX DESCRIPTION** | | **Label Details** | | | **Backing Plate Details** | | | | | **Fixture Bracket Details** | | | | | | **Status/ Comments** | | | |
| **Label Required** | | Label Material Type | **Plate Required** | | **Plate Material Type** | | **Comments** | **Fixture Required** | | **Fixture Material Type** | **Comments** | | |
| I | II | Yes | **No** | **Yes** | **No** |
| **44** | **30QS01U003** | **MAIN STORE SAFETY NETWORK CABINET PATCH PANEL 3** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **45** | **30QS01U004** | **MAIN STORE SAFETY NETWORK CABINET PATCH PANEL 4** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **46** | **30QS02U001** | **TRAINING BUILDING SAFETY NETWORK CABINET PATCH PANEL 1** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **47** | **30QS02U002** | **TRAINING BUILDING SAFETY NETWORK CABINET PATCH PANEL 2** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **48** | **30QS02U003** | **TRAINING BUILDING SAFETY NETWORK CABINET PATCH PANEL 3** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **49** | **10QS01U001** | **WATER TREATEMENT PLANT EQUIPMENT ROOM SAFETY NETWORK CABINET PATCH PANEL 1** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **50** | **10QS01U002** | **WATER TREATEMENT PLANT EQUIPMENT ROOM SAFETY NETWORK CABINET PATCH PANEL 2** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **51** | **10QS01U003** | **WATER TREATEMENT PLANT EQUIPMENT ROOM SAFETY NETWORK CABINET PATCH PANEL 3** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **52** | **10QS02U001** | **DUVHA RECOVERY BUILDING SAFETY NETWORK CABINET PATCH PANEL 1** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **53** | **10QS02U002** | **DUVHA RECOVERY BUILDING SAFETY NETWORK CABINET PATCH PANEL 2** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **54** | **10QS02U003** | **DUVHA RECOVERY BUILDING SAFETY NETWORK CABINET PATCH PANEL 3** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **55** | **50QS01U001** | **EP CENTRE SAFETY NETWORK CABINET PATCH PANEL 1** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **56** | **50QS01U002** | **EP CENTRE SAFETY NETWORK CABINET PATCH PANEL 2** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Eskom logo black small (4)** | | | **AKZX PLANT LOCATION LABEL MANUFACTURING AND INSTALLATION SCHEDULE** | | | | | | | **Alloc. Centre**  **03A- Duvha** | | | **Document ID**  **ETS0004-1**  **Revision 2** | | | Page | 5 | | of | 8 |  |
|  |  | |  |  |  |
| **Contract number** | | | | | | | | | | | | |  | | | | | | | | |
| **No.** | **AKZX CODE** | **AKZX DESCRIPTION** | | **Label Details** | | | **Backing Plate Details** | | | | | **Fixture Bracket Details** | | | | | | **Status/ Comments** | | | |
| **Label Required** | | Label Material Type | **Plate Required** | | **Plate Material Type** | | **Comments** | **Fixture Required** | | **Fixture Material Type** | **Comments** | | |
| I | II | Yes | **No** | **Yes** | **No** |
| **57** | **50QS01U003** | **EP CENTRE SAFETY NETWORK CABINET PATCH PANEL 3** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **58** | **50QS02U001** | **DUVHA SOUTH RADIO ROOM SAFETY NETWORK CABINET PATCH PANEL 1** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **59** | **50QS02U002** | **DUVHA SOUTH RADIO ROOM SAFETY NETWORK CABINET PATCH PANEL 2** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **60** | **50QS02U003** | **DUVHA SOUTH RADIO ROOM SAFETY NETWORK CABINET PATCH PANEL 3** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **61** | **10QS03U001** | **ETRECC SAFETY NETWORK CABINET PATCH PANEL 1** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **62** | **10QS03U002** | **ETRECC SAFETY NETWORK CABINET PATCH PANEL 2** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **63** | **10QS03U003** | **ETRECC SAFETY NETWORK CABINET PATCH PANEL 3** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **64** | **50QS03U001** | **OLD SIMULATOR BUILDING SAFETY NETWORK CABINET PATCH PANEL 1** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **65** | **50QS03U002** | **OLD SIMULATOR BUILDING SAFETY NETWORK CABINET PATCH PANEL 2** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **66** | **40QS02U001** | **FIRE STATION SAFETY NETWORK CABINET PATCH PANEL 1** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **67** | **30QS03U001** | **HMD WORKSHOP SAFETY NETWORK CABINET PATCH PANEL 1** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **68** | **20QS01U001** | **CW SUB STATION NORTH SAFETY NETWORK CABINET PATCH PANEL 1** | | **I** |  | **WHITE GRAFLUX** |  | No | N/A | |  |  | No | Adhesive |  | | |  | | | |
| **69** | **01QS7001QS** | **FIBRE OPTIC CABLE BETWEEN UNIT 1 EQUIPMENT ROOM AND UNIT 2 EQUIPMENT ROOM** | |  | **II** | **PVC K-TYPE** |  |  |  | |  | Yes |  | CableTie |  | | | **LABEL TYPE: EN** | | | |
| **70** | **02QS7001QS** | **FIBRE OPTIC CABLE BETWEEN UNIT 2 EQUIPMENT ROOM AND UNIT 2 EQUIPMENT ROOM** | |  | **II** | **PVC K-TYPE** |  |  |  | |  | Yes |  | CableTie |  | | | **LABEL TYPE: EN** | | | |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Eskom logo black small (4)** | | | **AKZX PLANT LOCATION LABEL MANUFACTURING AND INSTALLATION SCHEDULE** | | | | | | | **Alloc. Centre**  **03A- Duvha** | | | **Document ID**  **ETS0004-1**  **Revision 2** | | | Page | 6 | | of | 8 |  |
|  |  | |  |  |  |
| **Contract number** | | | | | | | | | | | | |  | | | | | | | | |
| **No.** | **AKZX CODE** | **AKZX DESCRIPTION** | | **Label Details** | | | **Backing Plate Details** | | | | | **Fixture Bracket Details** | | | | | | **Status/ Comments** | | | |
| **Label Required** | | Label Material Type | **Plate Required** | | **Plate Material Type** | | **Comments** | **Fixture Required** | | **Fixture Material Type** | **Comments** | | |
| I | II | Yes | **No** | **Yes** | **No** |
| **71** | **03QS7001QS** | **FIBRE OPTIC CABLE BETWEEN UNIT 3 EQUIPMENT ROOM AND UNIT 4 EQUIPMENT ROOM** | |  | **II** | **PVC K-TYPE** |  |  |  | |  | Yes |  | CableTie |  | | | **LABEL TYPE: EN** | | | |
| **72** | **04QS7001QS** | **FIBRE OPTIC CABLE BETWEEN UNIT 4 EQUIPMENT ROOM AND UNIT 5 EQUIPMENT ROOM** | |  | **II** | **PVC K-TYPE** |  |  |  | |  | Yes |  | CableTie |  | | | **LABEL TYPE: EN** | | | |
| **73** | **05QS7001QS** | **FIBRE OPTIC CABLE BETWEEN UNIT 5 EQUIPMENT ROOM AND UNIT 6 EQUIPMENT ROOM** | |  | **II** | **PVC K-TYPE** |  |  |  | |  | Yes |  | CableTie |  | | | **LABEL TYPE: EN** | | | |
| **74** | **06QS7001QS** | **FIBRE OPTIC CABLE BETWEEN UNIT 6 EQUIPMENT ROOM AND ADMIN BUILDING SERVER ROOM** | |  | **II** | **PVC K-TYPE** |  |  |  | |  | Yes |  | CableTie |  | | | **LABEL TYPE: EN** | | | |
| **75** | **40QS7001QS** | **FIBRE OPTIC CABLE BETWEEN ADMIN BUILDING SERVER ROOM AND MAIN STORE** | |  | **II** | **PVC K-TYPE** |  |  |  | |  | Yes |  | CableTie |  | | | **LABEL TYPE: EN** | | | |
| **76** | **30QS7001QS** | **FIBRE OPTIC CABLE BETWEEN MAIN STORE AND TRAINING BUILDING** | |  | **II** | **PVC K-TYPE** |  |  |  | |  | Yes |  | CableTie |  | | | **LABEL TYPE: EN** | | | |
| **77** | **30QS7002QS** | **FIBRE OPTIC CABLE BETWEEN TRAINING BUILDING AND WATER TREATMENT PLANT EQUIPMENT ROOM** | |  | **II** | **PVC K-TYPE** |  |  |  | |  | Yes |  | CableTie |  | | | **LABEL TYPE: EN** | | | |
| **78** | **10QS7001QS** | **FIBRE OPTIC CABLE BETWEEN WATER TREATMENT PLANT EQUIPMENT ROOM AND RECOVERY BUILDING** | |  | **II** | **PVC K-TYPE** |  |  |  | |  | Yes |  | CableTie |  | | | **LABEL TYPE: EN** | | | |
| **79** | **10QS7002QS** | **FIBRE OPTIC CABLE BETWEEN RECOVERY BUILDING AND EP CENTRE** | |  | **II** | **PVC K-TYPE** |  |  |  | |  | Yes |  | CableTie |  | | | **LABEL TYPE: EN** | | | |
| **80** | **50QS7001QS** | **FIBRE OPTIC CABLE BETWEEN EP CENTRE AND DUVHA SOUTH RADIO ROOM** | |  | **II** | **PVC K-TYPE** |  |  |  | |  | Yes |  | CableTie |  | | | **LABEL TYPE: EN** | | | |
| **81** | **50QS7002QS** | **FIBRE OPTIC CABLE BETWEEN DUVHA SOUTH RADIO ROOM AND ETRECC** | |  | **II** | **PVC K-TYPE** |  |  |  | |  | Yes |  | CableTie |  | | | **LABEL TYPE: EN** | | | |
| **82** | **10QS7003QS** | **FIBRE OPTIC CABLE BETWEEN ETRECC AND UNIT 1 EQUIPMENT ROOM** | |  | **II** | **PVC K-TYPE** |  |  |  | |  | Yes |  | CableTie |  | | | **LABEL TYPE: EN** | | | |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Eskom logo black small (4)** | | | | | **AKZX PLANT LOCATION LABEL MANUFACTURING AND INSTALLATION SCHEDULE** | | | | | | | | | | | | | **Alloc. Centre**  **03A- Duvha** | | | | | | **Document ID**  **ETS0004-1**  **Revision 2** | | | | | Page | 7 | | | of | 8 |  | |
|  |  | | |  |  |  | |
| **Contract number** | | | | | | | | | | | | | | | | | | | | | | | |  | | | | | | | | | | | | |
| **No.** | | **AKZX CODE** | | **AKZX DESCRIPTION** | | | **Label Details** | | | | | | **Backing Plate Details** | | | | | | | | | **Fixture Bracket Details** | | | | | | | | | | **Status/ Comments** | | | | |
| **Label Required** | | | | Label Material Type | | **Plate Required** | | | | **Plate Material Type** | | | **Comments** | | **Fixture Required** | | | | **Fixture Material Type** | | **Comments** | | | |
| I | | II | | Yes | | **No** | | **Yes** | | **No** | |
| **82** | | **10QS7003QS** | | **FIBRE OPTIC CABLE BETWEEN ETRECC AND UNIT 1 EQUIPMENT ROOM** | | |  | | **II** | | **PVC K-TYPE** | |  | |  | |  | | |  | | **Yes** | |  | | CableTie | |  | | | | **LABEL TYPE: EN** | | | | |
| **83** | | **50QS7003QS** | | **FIBRE OPTIC CABLE BETWEEN ADMIN BUILDING SERVER ROOM AND OLD SIMULATOR BUILDING** | | |  | | **II** | | **PVC K-TYPE** | |  | |  | |  | | |  | | **Yes** | |  | | CableTie | |  | | | | **LABEL TYPE: EN** | | | | |
| **84** | | **40QS7002QS** | | **FIBRE OPTIC CABLE BETWEEN ADMIN BUILDING SERVER ROOM AND FIRE STATION** | | |  | | **II** | | **PVC K-TYPE** | |  | |  | |  | | |  | | **Yes** | |  | | CableTie | |  | | | | **LABEL TYPE: EN** | | | | |
| **85** | | **30QS7003QS** | | **FIBRE OPTIC CABLE BETWEEN MAIN STORE AND HMD WORKSHOP** | | |  | | **II** | | **PVC K-TYPE** | |  | |  | |  | | |  | | **Yes** | |  | | CableTie | |  | | | | **LABEL TYPE: EN** | | | | |
| **83** | | **50QS7003QS** | | **FIBRE OPTIC CABLE BETWEEN ADMIN BUILDING SERVER ROOM AND OLD SIMULATOR BUILDING** | | |  | | **II** | | **PVC K-TYPE** | |  | |  | |  | | |  | | Yes | |  | | CableTie | |  | | | | **LABEL TYPE: EN** | | | | |
| **84** | | **40QS7002QS** | | **FIBRE OPTIC CABLE BETWEEN ADMIN BUILDING SERVER ROOM AND FIRE STATION** | | |  | | **II** | | **PVC K-TYPE** | |  | |  | |  | | |  | | Yes | |  | | CableTie | |  | | | | **LABEL TYPE: EN** | | | | |
| **85** | | **30QS7003QS** | | **FIBRE OPTIC CABLE BETWEEN MAIN STORE AND HMD WORKSHOP** | | |  | | **II** | | **PVC K-TYPE** | |  | |  | |  | | |  | | Yes | |  | | CableTie | |  | | | | **LABEL TYPE: EN** | | | | |
| **86** | | **20QS7001QS** | | **FIBRE OPTIC CABLE BETWEEN UNIT 6 EQUIPMENT ROOM AND CW SUB STATION NORTH** | | |  | | **II** | | **PVC K-TYPE** | |  | |  | |  | | |  | | Yes | |  | | CableTie | |  | | | | **LABEL TYPE: EN** | | | | |
|  | |  | |  | | |  | |  | |  | |  | |  | |  | | |  | |  | |  | |  | |  | | | |  | | | | |
|  | |  | |  | | |  | |  | |  | |  | |  | |  | | |  | |  | |  | |  | |  | | | |  | | | | |

|  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Eskom logo black small (4)** | **AKZX PLANT LOCATION LABEL MANUFACTURING AND INSTALLATION SCHEDULE** | | | **Alloc. Centre**  **03A- Duvha** | **Document ID**  **ETS0004-1**  **Revision 2** | | Page | 8 | of | 8 |  |
|  |  |  |  |  |
| REPRESENTATIVE | | PRINT NAME | SIGNATURE | | | DATE | | | | | |
| System engineer | | B SOMERS |  | | |  | | | | | |
| Project manager | | NV MORE |  | | |  | | | | | |
| Coding technician | | W SEGOLE |  | | |  | | | | | |
| Contractor | | N KESHAV |  | | |  | | | | | |