NEC3 Engineering and Construction

Short Contract (ECSC3)

| A contract between | Eskom Holdings SOC Ltd (Reg No. 2002/015527/30) |  |
| --- | --- | --- |
| and |  |  |
| for | Replacement and / or Repairs of Damaged Roof Sheeting, Weather Louvres, Gutters and Downpipes due to Generator Explosion |  |
| Contents: | Compiled in accordance with CIDB Standard for Uniformity in Construction Procurement (May 2010 amendments) | Page No. |
| Part C1 | Agreements & Contract Data |  |
|  | C1.1 Form of Offer and Acceptance | [●] |
|  | C1.2 Contract Data provided by the Employer | [●] |
|  | C1.2 Contract Data provided by the Contractor | [●] |
| Part C2 | Pricing Data |  |
|  | C2.1 Pricing assumptions | [●] |
|  | C2.2 Price List | [●] |
| Part C3 | Scope of Work |  |
|  | C3.1 Works Information | [●] |
| Part C4 | Site Information | [●] |
| Documentation prepared by: | [●] |  |

C1 Agreements & Contract Data

# C1.1 Form of Offer and Acceptance

## Offer

The Employer, identified in the Acceptance page signature block on the next page, has solicited offers to enter into a contract for the procurement of:

# Replacement and / or Repairs of Damaged Roof Sheeting, Weather Louvres, Gutters and Downpipes due to Generator Explosion

The tenderer, identified in the signature block below, having examined the documents listed in the Tender Data and addenda thereto as listed in the Tender Schedules, and by submitting this Offer has accepted the Conditions of Tender.

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Contractor under the Contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data.

| The offered total of the Prices exclusive of VAT is | R[●] |
| --- | --- |
| Value Added Tax @ 15% is | R[●] |
| The offered total of the Prices inclusive of VAT is | R[●] |
| (in words) [●] |  |

This Offer may be accepted by the Employer by signing the form of Acceptance overleaf and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| For the tenderer: | (Insert name and address of organisation) |  |  |  |
| Name & signature of witness |  |  | Date |  |
| Tenderer’s CIDB registration number: |  |  |  |  |

## Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an Agreement between the Employer and the tenderer upon the terms and conditions contained in this Agreement and in the Contract that is the subject of this Agreement.

The terms of the Contract, are contained in:

Part 1	Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part 2	Pricing Data

Part 3	Scope of Work: Works Information

Part 4	Site Information

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule, which must be signed by the duly authorised representative(s) for both parties.

The tenderer shall within one week of receiving a completed copy of this Agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this Agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this Agreement.

Notwithstanding anything contained herein, this Agreement comes into effect on the date when the tenderer receives one fully completed and signed copy of this document, including the Schedule of Deviations (if any) together with all the terms of the contract as listed above.

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| for the Employer | (Insert name and address of organisation) |  |  |  |
| Name & signature of witness |  |  | Date |  |

Note: 	If a tenderer wishes to submit alternative tender offers, further copies of this document may be used for that purpose, duly endorsed, ‘Alternative Tender No. _____ ‘

## Schedule of Deviations

Note:

- To be completed by the Employer prior to award of contract.  This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.

- The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

- A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

| No. | Subject | Details |
| --- | --- | --- |
| 1 | [●] | [●] |
| 2 | [●] | [●] |
| 3 | [●] | [●] |
| 4 | [●] | [●] |
| 5 | [●] | [●] |
| 6 | [●] | [●] |
| 7 | [●] | [●] |

By the duly authorised representatives signing this Schedule of Deviations below, the Employer and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement.

|  | #### For the tenderer: |  | #### For the Employer |
| --- | --- | --- | --- |
| Signature |  |  |  |
| Name |  |  |  |
| Capacity |  |  |  |
| On behalf of | (Insert name and address of organisation) |  | (Insert name and address of organisation) |
| Name & signature of witness |  |  |  |
| Date |  |  |  |

# C1.2 Contract Data

## Data provided by the Employer

[Instructions to the contract compiler:  (delete these two notes in the final draft of a contract)

- Please read the relevant clauses in the NEC3 Engineering and Construction Short Contract (April 2013) (ECSC3) before you enter data.  The number of the principal clause is shown for most statements however other clauses may also use the same data.

- Where the following symbol is used “[●]” - data is required to be inserted.]

Completion of the data in full is essential to create a complete contract.

| ## Clause |  |  | ## Statement |  | ## Data |
| --- | --- | --- | --- | --- | --- |
|  |  |  | ## General |  |  |
| 10.1 |  |  | The Employer is (Name): |  | Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa |
|  |  |  | Address |  | Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg |
| 10.1 & 14.4 |  |  | The Employer’s representative to whom the Employer in terms of clause 14.4 delegates his actions is (Name): |  | Thulani Nkomo |
|  |  |  | Address |  | Medupi Power Station |
|  |  |  | Tel No. |  |  |
|  |  |  | Fax No. |  | [●] |
|  |  |  | E-mail address |  | NkomoTF@eskom.co.za |
| 11.2(11) |  |  | The works are |  | # Replacement and / or Repairs of Damaged Roof Sheeting, Weather Louvres, Gutters and Downpipes due to Generator Explosion. |
| 11.2(13) |  |  | The Works Information is in |  | the document called ‘Works Information’ in Part 3 of this contract. |
| 11.2(12) |  |  | The Site Information is in |  | the document called ‘Site Information’ in Part 4 of this contract. |
| 11.2(12) |  |  | The site is |  | Medupi Power Station |
| 30.1 |  |  | The starting date is. |  | TBC |
| 11.2(2) |  |  | The completion date is. |  | TBC |
| 13.2 |  |  | The period for reply is |  | 2 days |
| 40 |  |  | The defects date is |  | 52 weeks after Completion |
| 41.3 |  |  | The defect correction period is |  | One (1) weeks |
| 50.1 |  |  | The assessment day is the |  | 25th of each month. |
| 50.5 |  |  | The delay damages are |  | 0.05% of the total prices per day to the maximum of 2% of the total prices. |
| 50.6 |  |  | The retention is |  | 0% |
| 51.2 |  |  | The interest rate on late payment is |  | 0.5% per week of delay has been agreed |
| 80.1 |  |  | The Contractor is not liable to the Employer for loss of or damage to the Employer’s property in excess of |  | the amount of the deductibles relevant to the event |
| 90 |  |  | Termination |  | Acceptance of this tender is subject to the condition that both the contracting company’s management and its employees will provide Eskom with a clear criminal record not older than thirty (30) days from a reputable screening company. If the principal contractor appoints a subcontractor, the same provisions and measures will apply to the subcontractor. Acceptance of the tender is also subject to the condition that the contractor will implement all such security measures for the safe performance of the work as required in the scope of the contract. Should the awarded contractor fail to comply with the criminal record check process requirements and/or critical staff identified as part of the contract, failing the screening requirements, the Employer may terminate the contract. |
| 93.1 |  |  | The Adjudicator is |  | the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him. (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA). |
|  |  |  | Address |  | [●] |
|  |  |  | Tel No. |  | [●] |
|  |  |  | Fax No. |  | [●] |
|  |  |  | e-mail |  | [●] |
| 93.2(2) |  |  | The Adjudicator nominating body is: |  | the Chairman of ICE-SA a joint Division of the South African Institution of Civil Engineering and the London Institution of Civil Engineers. (See www.ice-sa.org.za ) or its successor body |
| 93.4 |  |  | The tribunal is: |  | arbitration. |
|  |  |  | The arbitration procedure is |  | the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body. |
|  |  |  | The place where arbitration is to be held is |  | Sunninghill, South Africa |
|  |  |  | The person or organisation who will choose an arbitrator - if the Parties cannot agree a choice or - if the arbitration procedure does not state who selects an arbitrator, is |  | the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body. |
|  |  |  | The conditions of contract are the NEC3 Engineering and Construction Short Contract (April 2013) and the following additional conditions Z1 to Z14 which always apply: |  |  |
| Z1 |  | Cession delegation and assignment |  |  |  |
| Z1.1 |  | The Contractor does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Employer. |  |  |  |
| Z1.2 |  | Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. |  |  |  |
| Z2 |  |  | Change of Broad Based Black Economic Empowerment (B-BBEE) status |  |  |
| Z2.1 |  |  | Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change. |  |  |
| Z2.2 |  |  | The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Employer within thirty days of the notification or as otherwise instructed by the Employer. |  |  |
| Z2.3 |  |  | Where, as a result, the Contractor’s B-BBEE status has decreased since the starting date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Works. |  |  |
| Z2.4 |  |  | Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are those stated in Clause 91.1 and the amount due on termination includes amounts listed in Clause 92.1 less a deduction of the forecast additional cost to the Employer of completing the works. |  |  |
| Z3 |  | Confidentiality |  |  |  |
| Z3.1 |  | The Contractor does not disclose or make any information arising from or in connection with this contract available to others except where required by this contract. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time). Should the Contractor disclose information to others where required by this contract the Contractor ensures that the provisions of this clause are complied with by the recipient. |  |  |  |
| Z3.2 |  | If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Employer. |  |  |  |
| Z3.3 |  | In the event that the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure. In the event that such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed. |  |  |  |
| Z3.4 |  | The taking of images (whether photographs, video footage or otherwise) of the works or any portion thereof, in the course of Providing the Works and after Completion, requires the prior written consent of the Employer. All rights in and to all such images vests exclusively in the Employer. |  |  |  |
| Z3.5 |  | The Contractor ensures that all his subcontractors abide by the undertakings in this clause. |  |  |  |
| Z4 |  | Waiver and estoppel: Add to clause 12.2: |  |  |  |
| Z4.1 |  | Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties or their delegates or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing. |  |  |  |
| Z5 |  |  | Health, safety and the environment |  |  |
| Z5.1 |  |  | The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the works. Without limitation the Contractor: - accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2014 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Site; - warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of works; and - undertakes, in and about the execution of the works, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing. |  |  |
| Z5.2 |  |  | The Contractor, in and about the execution of the works, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing. |  |  |
| Z6 |  | Provision of a Tax Invoice and interest. Add to clause 50 |  |  |  |
| Z6.1 |  | The Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures stated in the Works Information, showing the correctly assessed amount due for payment. |  |  |  |
| Z6.2 |  | If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice. Interest due by the Employer in terms of clause 51.2 is then calculated from the delayed date by when payment is to be made. |  |  |  |
| Z6.3 |  | The Contractor is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment. |  |  |  |
| Z7 |  | Notifying compensation events |  |  |  |
| Z7.1 |  | Delete from the last sentence in clause 61.1, “unless the event arises from an instruction of the Employer.” |  |  |  |
| Z8 |  | Employer’s limitation of liability; Add to clause 80.1 |  |  |  |
| Z8.1 |  | The Employer liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand). |  |  |  |
| Z9 |  | Termination: Add to clause 90.2, after the words "or its equivalent": |  |  |  |
| Z9.1 |  | or had a business rescue order granted against it. |  |  |  |
| Z10 |  | Addition to Clause 50.5 |  |  |  |
| Z10.1 |  | If the amount due for the Contractor’s payment of delay damages reaches the limits stated in this Contract Data (if any), the Employer may terminate the Contractor’s obligation to Provide the Works. |  |  |  |
|  |  | If the Employer terminates in terms of this clause, the procedures on termination are those stated in Clause 91.1 and the amount due on termination includes amounts listed in Clause 92.1 less a deduction of the forecast additional cost to the Employer of completing the works. |  |  |  |
| Z11 | Ethics |  |  |  |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |  |  |  |
| Affected Party |  |  |  | means, as the context requires, any party, irrespective of whether it is the Contractor or a third party, such party’s employees, agents, or Subconsultants or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends, |  |
| Coercive Action |  |  |  | means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally, |  |
| Collusive Action |  |  |  | means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally, |  |
| Committing Party |  |  |  | means, as the context requires, the Contractor, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractors or the Subcontractor’s employees, |  |
| Corrupt Action |  |  |  | means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party, |  |
| Fraudulent Action |  |  |  | means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation, |  |
| Obstructive Action |  |  |  | means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and |  |
| Prohibited Action |  |  |  | means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action. |  |
| Z11.1 | A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof. |  |  |  |  |
| Z11.2 | The Employer may terminate the Contractor’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Contractor did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Employer has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Employer can terminate the Contractor’s obligation to Provide the Services for this reason. |  |  |  |  |
| Z11.3 | If the Employer terminates the Contractor’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2. |  |  |  |  |
| Z11.4 | A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Employer does not have a contractual bond with the Committing Party, the Contractor ensures that the Committing Party co-operates fully with an investigation. |  |  |  |  |

Z12		Insurance

Z _12.1	Replace core clause 82 with the following:

| Insurance cover | 82 |  |  |  |
| --- | --- | --- | --- | --- |
|  | 82.1 | When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force. |  |  |
|  | 82.2 | The Contractor provides the insurances stated in the Insurance Table A, from the starting date until the earlier of Completion and the date of the termination certificate. |  |  |
|  |  |  | INSURANCE TABLE A Insurance against; Minimum amount of cover or minimum limit of indemnity; Cover provided until. Loss of or damage to the works; The replacement cost where not covered by the Employer’s insurance The Employer’s policy deductible as at contract date, where covered by the Employer’s insurance; The Employer’s certificate of Completion has been issued. Loss of or damage to Equipment, Plant and Materials; The replacement cost where not covered by the Employer’s insurance The Employer’s policy deductible as at contract date, where covered by the Employer’s insurance; The Defects Certificate has been issued. The Contractor’s liability for loss of or damage to property (except the works, Plant and Materials and Equipment) and for bodily injury to or death of a person (not an employee of the Contractor) arising from or in connection with the Contractor’s Providing the Works; Loss of or damage to property Employer’s property The replacement cost where not covered by the Employer’s insurance The Employer’s policy deductible as at contract date where covered by the Employer’s insurance Other property The replacement cost Bodily injury to or death of a person The amount required by the applicable law. Liability for death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract; The amount required by the applicable law.. |  |
|  | 82.3 |  | The Employer provides the insurances as stated in the Insurance Table B - INSURANCE TABLE B Insurance against or name of policy; Minimum amount of cover or minimum limit of indemnity. Assets All Risk; Per the insurance policy document. Contract Works insurance; Per the insurance policy document. Environmental Liability; Per the insurance policy document. General and Public Liability; Per the insurance policy document. Transportation (Marine); Per the insurance policy document. Motor Fleet and Mobile Plant; Per the insurance policy document. Terrorism; Per the insurance policy document. Cyber Liability; Per the insurance policy document. Nuclear Material Damage and Business Interruption; Per the insurance policy document. Nuclear Material Damage Terrorism; Per the insurance policy document.. |  |

| Z13 | Nuclear Liability |  |
| --- | --- | --- |
| Z13.1 | The Employer is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS. |  |
| Z13.2 | The Employer is solely responsible for and indemnifies the Contractor or any other person against any and all liabilities which the Contractor or any person may incur arising out of or resulting from nuclear damage, as defined in Act 47 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Contractor or any other person or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer. |  |
| Z13.3 | Subject to clause Z13.4 below, the Employer waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Contractor or any other person, or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer. |  |
| Z13.4 | The Employer does not waive its rights provided for in section 30 (7) of Act 47 of 1999, or any replacement section dealing with the same subject matter. |  |
| Z13.5 | The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned. |  |
| Z14 | Asbestos |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |
| AAIA |  | means approved asbestos inspection authority. |
| ACM |  | means asbestos containing materials. |
| AL |  | means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4 hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL. |
| Ambient Air |  | means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet. |
| Compliance Monitoring |  | means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |
| OEL |  | means occupational exposure limit. |
| Parallel Measurements |  | means measurements performed in parallel, yet separately, to existing measurements to verify validity of results. |
| Safe Levels |  | means airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |
| Standard |  | means the Employer’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles. |
| SANAS |  | means the South African National Accreditation System. |
| TWA |  | means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4 hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA. |
| Z14.1 | The Employer ensures that the Ambient Air in the area where the Contractor will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM. |  |
| Z14.2 | Upon written request by the Contractor, the Employer certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Contractor may perform Parallel Measurements and related control measures at the Contractor’s expense. For the purposes of compliance the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z14.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan. |  |
| Z14.3 | The Employer manages asbestos and ACM according to the Standard. |  |
| Z14.4 | In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe. |  |
| Z14.5 | The Contractor’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable. |  |
| Z14.6 | The Contractor continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations, 2001. |  |
| Z14.7 | Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Employer at the Employer’s expense, and conducted in line with South African legislation. |  |

## Data provided by the Contractor (the Contractor’s Offer)

The tendering contractor is advised to read both the NEC3 Engineering and Construction Short Contract (April 2013) and the relevant parts of its Guidance Notes (ECSC3-GN) in order to understand the implications of this Data which the tenderer is required to complete.  An example of the completed Data is provided on page 31 of the ECSC3 April 2013 Guidance Notes.

Completion of the data in full is essential to create a complete contract.

| 10.1 | The Contractor is (Name): | [●] |
| --- | --- | --- |
|  | Address | [●] |
|  | Tel No. | [●] |
|  | Fax No. | [●] |
|  | E-mail address | [●] |
| 63.2 | The percentage for overheads and profit added to the Defined Cost for people is | [●]% |
| 63.2 | The percentage for overheads and profit added to other Defined Cost is | [●]% |
| 11.2(9) | The Price List is in | the document called ‘Price List’ in Part 2 of this contract. |
| 11.2(10) | The offered total of the Prices is [Enter the total of the Prices from the Price List]: | R[●] excluding VAT [in words] [●] excluding VAT |

C2 Pricing Data

# C2.1 Pricing assumptions

Entries in the first four columns in the Price List are made either by the Employer or the tendering contractor

If the Contractor is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tenderer enters the amount in the Price column only; the Unit, Quantity and Rate columns being left blank.

If the Contractor is to be paid an amount for the item of work which is the rate for the work multiplied by the quantity completed, the tenderer enters the rate which is then multiplied by the expected quantity to produce the Price, which is also entered.

All Prices are to be shown excluding VAT unless instructed otherwise by the Employer in Tender Data or in an instruction the Employer has given before the tenderer enters his Prices.

If there is insufficient space in the Price List which follows, state in which document the Price List is contained.

# C2.2 Price List

The Price List is as follows / contained in the works information.

| Item no. | Description | Unit | Qty | Rate | Price |
| --- | --- | --- | --- | --- | --- |
| 1 | PRELIMINARIES AND GENERALS |  |  |  |  |
| 1.1 | Fixed charge items |  |  |  |  |
| 1.1.1 | Site Establishment | Sum | 1 |  |  |
| 1.1.2 | Site de-establishment | Sum | 1 |  |  |
| 1.2 | Health and Safety requirements |  |  |  |  |
| 1.2.1 | Cost of SHEQ requirements; including all necessary trainings | Sum | 1 |  |  |
| 1.2.2 | Compiling and maintenance of health and safety file | Sum | 1 |  |  |
| 2 | ROOF COVERINGS, CLADDINGS, ETC |  |  |  |  |
| 2.1 | Profiled metal sheeting and accessories |  |  |  |  |
|  | Type HH robertson KLIP-LOK 700 profile 0.58mm thick high yield stress ASTM 446 grad E (3T), heavy industrial Z 275 galvanized and aloe green finished on the outside as per architectural specification |  |  |  |  |
| 2.1.1 | Supply and install roof covering with pitches not exceeding 15 degrees | m2 | 3 165 |  |  |
|  | aluminuim klip-lock roof sheets accessories to preceding roof covering |  |  |  |  |
| 2.1.2 | Supply and install flashing Circular on elevation 462mm girth | m | 102 |  |  |
|  | Type IBR 890 (superclad) profile 0.58mm thick high yield stress ASTM 446 grad E (3T) heavy industrial Z 275 galvanized and aloe green finished on the outside as per architectural specification |  |  |  |  |
| 2.1.3 | Supply and install side cladding | m2 | 2 795 |  |  |
| 2.2 | Roof ventilators |  |  |  |  |
|  | As per architectural specification and data books provided |  |  |  |  |
| 2.2.1 | Supply and install Air Extractor | No | 5 |  |  |
| 2.2.2 | Supply and install downlights | No | 12 |  |  |
| 2.3 | Rainwater goods |  |  |  |  |
|  | Purpose-made gutters |  |  |  |  |
| 2.3.1 | Supply and install 200 x 200 x 1.5mm box gutter fixed to Isoboard verge facias with and including all necessary brackets and clips all in accordance with the manufacturers specifications | m | 162 |  |  |
| 2.3.2 | Supply and install clean water drainage collector hot dip galvanized pipe 350 dia slop 2% | M | 77 |  |  |
| 2.3.4 | Replace downpipe 150dia to collector pipe complete | Sum | 1 |  |  |
| 2.4 | Louvres |  |  |  |  |
| 2.4.1 | Supply and install N'1 louvres 3500. x 3000H | No | 1 |  |  |
| 2.4.2 | Supply and install N'10 louvres 7000 x 3000H | No | 12 |  |  |
| 2.4.3 | Supply and install 2000 x 1500H louvres | No | 2 |  |  |
| The total of the Prices (excluding VAT): |  |  |  | ZAR |  |

Material Supply Only Rate Items

| Descriptions | Unit | Rate only |
| --- | --- | --- |
| Type HH Robertson KLIP-LOK 700 profile 0.58mm thick high yield stress ASTM 446 grad E (3T), heavy industrial Z 275 galvanized and aloe green finished on the outside as per architectural specification | m2 |  |
| Type IBR 890 (Superclad) profile 0.58mm thick high yield stress ASTM 446 grad E (3T) heavy industrial Z 275 galvanized and aloe green finished on the outside as per architectural specification | m2 |  |
| Extractor fans as per architectural specification and data sheets | No |  |
| Downlight as per architectural specification and data sheets | No |  |

Plant and Equipment’s Daywork Rates

| Descriptions | Unit | Rate only |
| --- | --- | --- |
|  | Hr |  |
|  | Hr |  |
|  | Hr |  |
|  | Hr |  |

C3:  Scope of Work

# C3.1 Works Information

The scope of work is mostly limited to the Medupi Power Station Unit 4, more specifically the Turbine Hall and Aux Bay Roof Cladding. Upon visual inspection it was noted that majority of the civil infrastructure damage caused by the explosion is on the Turbine Hall Side of the Auxiliary Bay.

The scope of this document is to replace and/or repair all the damaged roof cladding, weather louvres, gutters and downpipes on the Turbine Hall Side of the Auxiliary Bay of Unit 4.

Background

The Generator of Unit 4 Medupi power station exploded causing damage to the turbine hall and surrounding structures. Doors and windows of multiple structures were damaged due to the impact of the explosion. The roof sheeting of the turbine hall structure blew off due to the explosion leaving the entire turbine hall area for Unit 4 as well as sections of Units 3 and 5 exposed to the elements.

Description of the turbine hall structure

The Turbine Hall houses the main steam turbine centreline and generator systems as well as auxiliaries such as lube oil rooms, excitation room, HP-, IP- and LP turbines, LP bypass and other plant sub-systems.

The turbine hall is a steel framed and cladded structure, which supports the 9m level turbine and generator floor, as well as LP bypass system equipment.

Description of the Auxiliary Bay building structure

The structure is located between the Turbine Hall and Boiler Plant. The Auxiliary Bay structure houses the areas/rooms outlined below, which provides auxiliary service to both the Turbine Hall as well as the Boiler Plant;

- Cable tunnels and Low-Pressure Systems pipelines at the basement (-5.5m level)

- Switchgear rooms, passenger lift and access stairs at the ground level (0m level)

- Cable tunnels at the 6m,9m and 13.6m levels

- Heating, Ventilation and Air Conditioning (HVAC) plant equipment at 20.6m level

- Electrical, Control and Instrumentation Workshop, offices, switchgear rooms and battery rooms at 9m level

- Offices, control rooms and switchgear rooms at 16m level

Other affected structures

The Air-Cooled Condenser Auxiliary Building structure as well as the Condensate Polishing Plant building located on the Eastern side of the Turbine Hall also suffered damages due to the effects of the explosion.

- Description of the works

The objective of this project is to replace and/or repair all the damaged roof cladding, weather louvres, gutters and downpipes on the Turbine Hall Side of the Auxiliary Bay Unit 4 to ensure safe and secure working conditions for all personnel and equipment to be repaired for Unit 4 to return to service.

The boundaries of the required works will be strictly between Gridline 42 – 56 of Unit 4 Auxiliary Bay Building on the Turbine Hall (eastern) side, except if the contractor identifies any unsafe situation or damage at either of the adjoining Units or buildings that further requires urgent attention and falls within the scope described above.

The identification of damaged roof cladding, weather louvres, gutters and downpipes (within the boundaries explained above) to be replaced and/or repaired shall be part of the contractors works. Most of the required, roof cladding, gutters and down pipes are not accessible without specialised equipment or the construction of temporary scaffolding due to the shear hight.

The roof cladding, weather louvres, gutters and downpipes identified to be replaced and/or repaired by the contractor will then be confirmed by the Employers Engineering representative (utilising the ITP procedure) before the contractor continues with the works.

The Contractor shall also notify the Employer of any damages to roof cladding, weather louvres, gutters and downpipes that has been observed/identified outside of the unit 4 boundaries.

## Detail of Required Works

The Contractor will be required to:

- Provide a method statement for the intended identified works before the replacement and/or repairs of all identified damaged roof cladding, weather louvres, gutters and downpipes commence, with specific reference to working at heights and relevant safety aspects.

- Replace all damaged or removed roof cladding, weather louvres, gutters and downpipes according to the “Approved for Construction” drawings provided by the Employer. Where required the contractor shall also repair or replace any damaged structural elements in order to ensure roof cladding, weather louvres, gutters and downpipes are as per design.

- Remove all rubble generated.

The Contractor must note that work will be conducted simultaneously with other related clean up, dismantling, removal, repair and replace activities by other Contractors. Safety will therefore be of utmost importance. The Contractor shall also take into consideration noise levels as well as dust that might be generated and mitigate as much as possible.

The Contractor shall submit a method statement for approval of all works to be carried out before any activities will be allowed to commence. Risk Assessments, Safety Plans and Inspection Plans will, as a minimum, form part of the submission for approval.

Contractor shall ensure that adequate Fire Fighting equipment is available on site, particularly near hot work.

### Demolition

- The Contractor is responsible for the demolition of the existing damaged plant within Medupi Unit 4. This entails the safe removal of all damage structural components including the canvas covering material.

- The Contractor quantifies the limitations and risks before commencing the demolition of the damaged infrastructure.

- The Contractor is responsible to ensure that the structural integrity and stability of the structure is not compromised during demolition and if required, additional supports may need to be designed.

- The Contractor takes reasonable care to prevent any damage to the surrounding infrastructure during demolition. Any such damage resulting from the works will be repaired or replaced by the Contractor at his own cost.

- The Contractor is required to provide a detailed method statement/methodology on the scope of the demolition. Such information is required to be submitted to the Employer for review and acceptance prior to any commencement of demolition.

- The Contractor may require removing some of the undamaged equipment and components to facilitate the removal of damaged structural components. In such a case, the Contractor submits a list of existing undamaged components that require removal in the method statement/methodology for the Employer’s acceptance. The cost of removal of undamaged components, preservation and replacement to its original working state is the responsibility of the Contractor.

### Documentation and Configuration Management

###### Document Submission

All project documents must be submitted to the delegated Employer’s Representative with transmittal note according to Project / Plant Specific Technical Documents and Records Management Work Instruction (240-76992014). In order to portray a consistent image it is important that all documents used within the project follow the same standards of layout, style and formatting as described in the Work Instruction.

The Contractor is required to submit documents as electronic and hard copies (where applicable), both copies must be delivered to the Employer’s Representative with a transmittal note.

In addition, the Contractor adheres to the following standards:

- Documentation Management Review and Handover Procedure for Gx Coal Projects (240-66920003).

- Project / Plant Specific Technical Documents and Records Management Work Instruction (240-76992014).

###### Email Subject

The Contractor submits all documentation to the Employer’s Representative in the following media:

- Electronic copies are submitted to Eskom Medupi Documentation Centre through generic email address (MedupiUnit4Recovery@eskom.co.za). Electronic copies that are too large for email are delivered on CD/DVD, large file transfer protocol and/or hard drives to the Project Documentation Centre. In a case where CD has been submitted, a notification email, with the transmittal note attached, is sent to the project generic email address. The Representative is copied on the email as well.

- Hard copies are submitted to the Employer’s Representative accompanied by the Transmittal Note.

### Additional Requirements and Prerequisites

- The Contractor is required to confirm all site dimensions on site prior to any fabrication of steel or ordering of material.

- The Contractor is required to submit a comprehensive method statement of the works to the Project Manager for acceptance prior to the start of the works.

- The Contractor is responsible for the replacement, repair and removal of all temporary propping required for the execution of the works.

- The Contractor takes full professional accountability and liability for all temporary items required for the execution of the works.

- The Employer will arrange a mandatory site clarification meeting with all tenders so that tenders are afforded the opportunity visually inspect the works to be done.

#### Cladding and Flashing

All roof sheeting and claddings, complete with all fixings, flashings and accessories, are to match existing conditions/surrounding buildings and Units.  Protective primer coating on the reverse side (factory applied) and exterior paint system to match existing. All sheeting and cladding are to be clearly marked on the reverse side at one-metre intervals indicating thickness, material quality, coating thickness and paint system which is to match existing conditions/surrounding buildings and Units.

Corrosion Protection

Corrosion protection is required for all roof sheeting in accordance with 240-106365693: Standard for the External Corrosion Protection of Plant, Equipment and Associated Piping with Coatings.

DELIVERABLES

The Contractor provides the following document deliverables as part of the works.

Planning Phase

- A Level 3 schedule (schedule with defined activities) for the scope clearly highlighting all activities involved, major milestones and provision.

- Contract Quality Plan (QCP)

Before Fabrication or placing the material Order and Construction

- Detailed method for the construction of the works.

- Inspection and Test Plans (ITP’S) indicating all intervention points

- Material certificates / fabrication drawings

- Completes contract activities daily reports

After Construction

- Data Books

- The Contractor shall develop and implement a system for collation of quality verification records, including change management records, Manufacturing, Construction and Commissioning Record Books (Data Books) as specified in the Medupi Quality Specification 200-1689.

- Data Books shall be maintained by the Contractor to substantiate conformance to product specifications and requirements. All records shall be safely stored (easily retrievable) following the final completion of the works at takeover. These records shall include as a minimum:

- Quality Management documentation as specified in the Medupi Quality Specification 200-1689

- Safety clearances (to be granted prior commissioning)

- Test certificates

- Construction and as-built drawings

- Statutory certification

- Commissioning Documentation.

- The data books shall be reviewed by the Project manager for 30%, 70% and 100% completeness. These reviews shall be agreed and included in the ITP.

- All manufacturing and construction data books shall be completed and approved when the Contractor apply for final inspection at construction completion.

At takeover application, all manufacturing, construction and commissioning data books shall be completed and approved and handed over to the Project manager.

- Structural Certificate signed by the Professional Civil Engineer confirming that works have been constructed in accordance with the drawings.

- NCR’s

- NOD’s

- Steel Grade Certificates

- Bolt Grade Certificates

### Cooperating with and obtaining acceptance of Others

The Contractor will work on the Medupi Unit 4 Turbine Hall.  Other contractors responsible for maintenance related work and other activities necessary to return the Unit To Service will also use the same area. The Contractor, sharing the working area with other contractors, shall obtain acceptance from other contractors if so instructed by the Project Manager on any issue which could infringe on the responsibilities and responsible area other contractors.

### Contractor’s Equipment

The Contractor shall maintain a full list of equipment on site and shall submit the updated list during the weekly progress meeting to be included as an addendum to the minutes of meeting.  Scaffolding and shuttering are to be listed per weight on site.

The Contractor shall ensure that all equipment on site is neatly stored at all times.  All mobile equipment shall be neatly parked in designated areas at the end of each working day.  All hand tools shall be neatly stored in allocated containers and storage areas, be it at the area of construction or at the Contractor’s site office.  All scaffolding and shuttering not is use at the end of each working day shall be neatly stacked at the working area, where it should be barricaded with solid barricading or otherwise it should be removed back to centralised storage area at the Contractor’s site office.

No equipment shall be left lying around in the working area when not in use.

### Equipment provided by the Employer

No equipment will be provided by the Employer

- Drawings

| Drawing Number | Drawing Description |
| --- | --- |
| 0.84/9761-SHEET 1 | AUX BAY UNIT 4 LEVEL MINUS5.500 0.000 AND 6.600 FULL VIEW |
| 0.84/9761-SHEET 2 | AUX BAY UNIT 4 LEVEL 9.000 AND 13.600 FULL VIEW |
| 0.84/9761-SHEET 3 | AUX BAY UNIT 4 LEVEL 16.000 AND 20.600 FULL VIEW |
| 0.84/9761-SHEET 4 | AUX BAY UNIT 4 LEVEL MINUS5,500 |
| 0.84/9761-SHEET 5 | AUX BAY UNIT 4 LEVEL 0.000 |
| 0.84/9761-SHEET 6 | AUX BAY UNIT 4 LEVEL PLUS6.600 |
| 0.84/9761-SHEET 7 | AUX BAY UNIT 4 LEVEL PLUS9.000 |
| 0.84/9761-SHEET 8 | AUX BAY UNIT 4 LEVEL PLUS13.600 |
| 0.84/9761-SHEET 9 | AUX BAY UNIT 4 LEVEL PLUS16.000 |
| 0.84/9761-SHEET 10 | AUX BAY UNIT 4 LEVEL PLUS20.600 |
| 0.84/9761-SHEET 11 | AUX BAY UNIT 4 SECTION J J EAST ELEVATION |
| 0.84/9761-SHEET 12 | AUX BAY UNIT 4 SECTION K K |
| 0.84/9761-SHEET 13 | AUX BAY UNIT 4 SECTION K K PORTION 1 |
| 0.84/9761-SHEET 14 | AUX BAY UNIT 4 SECTION K K PORTION 2 |
| 0.84/9761-SHEET 15 | AUX BAY UNIT 4 SECTION L L |
| 0.84/9761-SHEET 16 | AUX BAY UNIT 4 SECTION L L PORTION 1 |
| 0.84/9761-SHEET 17 | AUX BAY UNIT 4 SECTION L L PORTION 2 |
| 0.84/9761-SHEET 21 | AUX BAY UNIT 4 FINISHES SCHEDULE 1 |
| 0.84/9761-SHEET 22 | AUX BAY UNIT 4 FINISHES SCHEDULE SPEC |
| 0.84/9761-SHEET 23 | AUX BAY UNIT 4 WINDOW & LOUVRE SCHEDULE |
| 0.84/9761-SHEET 24 | AUX BAY UNIT 4 – DOOR SCHEDULE 1 |
| 0.84/9761-SHEET 25 | AUX BAY UNIT 4 – DOOR SCHEDULE 2 |
| 0.84/9761-SHEET 26 | AUX BAY UNIT 4 – DOOR SCHEDULE 3 |
| 0.84/9761-SHEET 27 | AUX BAY UNIT 4 – DOOR SCHEDULE 4 |
| 0.84/9761-SHEET 28 | AUX BAY UNIT 4 – DOOR SCHEDULE 5 |
| MDI/15/M/UMA—B63/8A/CF/101 | STEAM TURBINE HALL – PLAN AT LEVEL ±0.00 & +9.00 – ARCH |
| MDI/15/M/UMA—B63/8A/CF/102 | STEAM TURBINE HALL – PLAN AT LEVEL +17.00 & ROOF – ARCH |
| MDI/15/M/UMA—B63/8A/CF/103 | STEAM TURBINE HALL – ARCH SECTIONS |
| MDI/15/M/UMA—B63/8A/CF/104 | STEAM TURBINE HALL – ARCH VIEWS |
| MDI/15/M/UMA—B63/8A/CF/108 | STEAM TURBINE HALL – DOORS & WINDOWS SHEDULE – ARCH |
| MDI/15/M/UMA—B63/8A/CF/110 | STEAM TURBINE HALL – DETAILS – ARCH |

3. Specifications

| Title | Date or revision | Tick if publicly available |
| --- | --- | --- |
| General Specifications: |  |  |
| Occupational Health and Safety Act (85 of 1993) |  |  |
| Environmental requirements |  |  |
| Site regulations and access control |  |  |
| Construction Regulations 2014 |  |  |
| 32-421 Eskom Life Saving Rules |  |  |
| 32-245 Eskom Waste Management Standard |  |  |
| 200-207219 Medupi Power Station Safety, Health and Environmental Specification |  |  |
| 200-35208 Environmental Management Plan Rev 2 |  |  |
| 32-727 Safety, Health, Environment and Quality (SHEQ) Policy/Procedure |  |  |
| 200-46362 Site Quality Assurance, Control and verification work instruction |  |  |
| ISO 9001 Quality Management Systems |  |  |
| 200-1689 Medupi Quality Specifications |  |  |
| 200-1689 Medupi Quality Specification |  |  |
| 200-1679 Project Quality Plan |  |  |
| 240-53114002 Engineering Change Management Procedure |  |  |
| 240-53113685 Design Review Procedure |  |  |
| 240-56364545 Structural Design and Engineering Standard |  |  |

4. Constraints on how the Contractor Provides the Works

4.1 General Requirement

Where this document is not clear regarding any works to be performed, it is the Contractor’s responsibility to seek clarity from the Employer’s Engineering representatives. The Contractor will only act upon confirmation by receipt of an Engineering Instruction via the Project Manager. Incorrectly positioned items, or incorrect work done (where Engineering Instructions were not issued) will be moved / removed / replaced / changed / reinstalled by the Contractor at his cost

All referenced Eskom standards will be made available to the Contractor.

The Contractor shall ensure all personnel adheres to the Eskom Life Saving Rules.

  - Health and Safety Requirements

The Contractor shall ensure:

- Compliance with all requirements of the Occupational Health and Safety Act no 85 of 1993 and its regulations so as to ensure the health and safety of persons carrying out the Works.

- All employees are medically, physical and psychologically fit to perform the Works.

- All employees undergo the relevant training as per their function requirement

- Compliance with Eskom’s SHE policy, procedures, standards, guidelines, specifications and site regulations. Employees shall have a valid medical certificate of fitness specific to the work to be performed

- Employees are informed of hazards identified in the risk assessment before commencement of Works. The Method Statement shall also be communicated to the employees on this work activity before commencement of Works.

- The emergency rescue plan shall also be communicated to personnel undertaking the Works

- All safety and health related incidents around site or working areas and threats that pose a danger to one’s life or health are immediately reported

- Sufficient health and safety information as well as resources are made available

- All employees working at heights must be in possession of valid training certificates.

- All employees undergo safety induction on-site

- All power tools will be inspected as and when required.

- Prescribed PPE for the specified Works shall be worn at all times. The provision of PPE shall be the responsibility of the Contractor.

- Correct site drawings are obtained and communicated to the employees undertaking the Works

4.3 Environmental Requirements

The Contractor shall ensure:

- Appoint a qualified SHE Officer with the relevant environmental qualifications and experience with regards to this SOW.

- The Contractor shall comply with the Medupi Environmental Management Plan (EMPr), Environmental Authorisations, Licences, permits and other related requirements.

Minimum requirements for compliance by Contractors:

- Ensure that the Method Statements are submitted to the ECO/Station Environmental Manager for approval before any work is undertaken. Any lack of adherence to this will be considered as non-compliance to the specifications.

- Ensure that any instructions issued by the Engineer, on the advice of the ECO/Station Environmental Manager, are adhered to.

- Contractor must maintain the environmental legal register.

- Ensure that there must be communication tabled in the form of a report at each site meeting, which will document all incidents that have occurred during the period before the site meeting.

- Ensure that a register is kept at the site office, which lists all the transgressions issued by the ECO/Station Environmental Manager.

- Ensure that a register of all public complaints is maintained.

- Ensure that all employees, including those of sub-contractors receive training before the commencement of construction in order that they can constructively contribute towards the successful implementation of the environmental requirements of the Contract.

- Ensure compliance with the environmental requirements, relating to the provision of adequate resources for the implementation and monitoring of the requisite environmental controls.

- Compile an Environmental monitoring plan outlining all the construction activities, associated environmental impacts and how they will be mitigated.

- Ensure that the project pricing makes provision for environmental costs.

- Contractor shall attach a company waste management plan including the typical waste inventory and templates used for keeping waste records.

- Include environmental considerations as an item on the agenda of the monthly site meetings.

- Compile and implement the necessary Method Statements; and Undertake environmental awareness training of all site staff during the commencement of each Contract, with regular refreshers for the duration of the Contract.

- Appropriate measures shall be undertaken to minimise the generation of dust from work activities

- The work area is kept clean, tidy and free of waster/rubbish. Waste shall be disposed of in designated bins

- Management and disposal of waste generate through the demolishing activities will be the responsibility of the contractor

- Plant and machinery shall be equipped with drip trays. Oil refills for plant and machinery shall take place in designated areas.

- Ensure that the environmental authorizations required in terms of National Environmental Management Act, 1998 (section 24) are sought prior to storage of dangerous goods, including petrol, diesel, liquid petroleum gas or paraffin, in containers with a combined capacity of:

  - More than 30m3 (30 000L) but less than 1000m3 (1ML) at any one location or site, GNR 386 (7)

  - More than 1000m3 (1 000 000 L or 1ML) at any one location or site, including the storage of one or more dangerous goods in a tank farm, GNR 387 {1(c)}.

4.3.1 Spillage of Hazardous Chemical Substances

- Any spillages that occur shall be treated in accordance with the requirements indicated on the MSDS.

- Identify appropriate storage areas for stockpiling of materials, storage of hydrocarbons and storage of hazardous substances and ensure that these areas are appropriately prepared for their purpose.

- Disposal of hazardous substances shall be done in terms of the relevant legal requirements.

- Limit spillage of hazardous substances or substances with the potential to cause contamination of the environment.

- Develop emergency protocols for dealing with spillages particularly where these pose a pollution risk or involve hazardous substances.

- Compile and implement the necessary Method Statements; and undertake environmental awareness training of all staff.

    - Fire hazard

- The Contractor shall develop emergency protocols for dealing with fires, which may include a Fire Management Plan in accordance with the National Veld and Forest Fire Act (No 101 of 1998) and ensure that all staff is educated in fire prevention and will be held responsible to avoid the risk of fire. Firebreaks shall be created to prevent fires from spreading. No open fires are allowed on site. The contractor shall ensure that operations are in compliance with statutory requirements at all times. The Contractor Environmental Officer shall ensure that in areas with a high fire danger rating, staff are made aware thereof. Smoking shall be restricted to designated areas or shall not be allowed, particularly in areas that have a high fire danger rating.

- Contractor shall ensure that adequate Fire Fighting equipment is available on site, particularly near hot work.

4.3.3 Waste

- All waste generated shall be disposed of at a registered landfill site. A register of both hazardous and general waste shall be kept. A waste management plan shall be compiled before commencement of work. Records of waste disposal shall be kept and updated all the time. No waste, be it biodegradable or not, shall be left on site once work has ended.

- Domestic and hazardous waste generated shall not be burned, buried, or disposed of on Eskom or Landowner property, but will be controlled and removed to a registered waste site on a regular basis (Daily / Weekly). The Principal Contractor and contractor working on site shall ensure that oil, fuel, and chemicals are confined to specific and secure areas throughout the construction period. These materials shall be stored in a bunted area with adequate containment for potential spills and leaks.

- Waste may be collected by the relevant Municipality or alternatively taken by the Contractor to a registered landfill site. Where the Municipality does not have a weighbridge, the Contractor is responsible for obtaining a formal notification to this effect.

- Contractors shall ensure that sufficient waste bins / containers, with lids are made available for waste control. The contractor shall comply with the requirements of NEM: Waste Act 59 of 2008.

- Quantities of disposed waste shall be recorded and reported on a monthly basis. Set up system for regular waste removal to an approved facility and minimize waste by sorting wastes into recyclable and non-recyclable wastes;

- Equipment maintenance and storage:

- Ensure that all plant is in good working order.

- Undertake maintenance within specified area (workshop); and use drip trays for all stationary or parked plant and when servicing equipment away from designated areas.

4.3.4 Material requirement

The use of any material or property belonging to any landowner shall not be permitted prior to arrangements with the relevant landowner. Written proof of such agreement shall be handed to project leader / co-coordinator for record keeping.

4.3.5 Dust and Noise

The Contractor shall monitor dust and noise caused by mobile equipment, generators and other equipment during construction. Factors such as wind can often affect the intensity to which these impacts are experienced.

To ensure that noise does not constitute a disturbance during construction activities, all construction works shall occur between specific working hours. This shall be stipulated in the contract.

Mitigation measures to be implemented as required / agreed upon with the project leader / environmental advisor.

Dust suppression measures shall be in place to reduce the dust caused by the movement of heavy vehicles and other contractor activities.

4.3.6 Environmental Incidents

All environmental incidents such as pollution (air, water, land, noise, etc.), bird kills, and animals killed, plants destroyed, public complaints etc. shall be reported to project leader and / or environmental advisor within 24 hours of its occurrence.

All environmental incidents occurring on site shall be recorded according to Eskom Environmental Incident Management Procedure 240-133087117, detailing how each incident was dealt with. Proof thereof must be kept in an incident register.

The Contractor shall be held liable for any infringement of any Environmental statutory requirements.

All environmental incidents are reported as guided by 32-95

4.3.7 Water

Always implement the current project Water Use Licence

Should any pollution of the watercourse occur, the Department of Water Affairs and Forestry must be notified immediately.

Water usage on site shall be verified with the substations/power stations responsible person, the project leader / environmental advisor to ensure compliance with legislation. Borehole water shall be verified as suitable for human consumption. All incidents related to water contamination shall be reported within 24 hours. Records of water quantities abstracted should be kept.

Chemical toilets shall not be within close proximity of the drainage lines / ways.

4.3.8 Emergency Coordinators Meeting

The Project Emergency coordinators meet on an agree basis to discuss emergency activities, changes on the acts and bylaws and any other feedback from activities conducted by the Employer on various Contractors as well as lessons learnt.

4.3.9 SHE Managers (Eskom and contractors) Meeting

The Project Site Management will host on a monthly basis a SHE Managers meeting in which all Contractors are invited to attend. The meeting discusses SHE performance, progress and improvement initiatives etc.

4.3.10 Contractors Environmental Meetings

Contractors Environmental Meetings are held at intervals as determined by project Environmental Department, such meetings are chaired by the project Environmental Manager and attended by the ECO, project Environmental Practitioners as well as designated environmental resources of all contractors.

Attendance registers shall be kept for all the health and safety meetings.

4.3.11 Environmental file

Environmental file including the following but not limited to must be approved by the client. Ensure the files is updated regularly.

- Comprehensive aspect and Impact register specific to the scope of works.

- SHE policy recently signed.

- Environmental management plan/that address all the potential environmental risks as per aspect and impact register. This includes: Waste Management plan, Hazardous chemical substances management plan, Water management plan etc.

- Method statements that include environmental impact and mitigations measures. Include all activities in sequence as per the project scope and aspect and impact register

- Incident Management Procedure

- Non-Conformance Procedure

- Internal Auditing Procedure.

4.3.12 Environmental legislations and other requirements

- Ensure compliance to all relevant environmental legislations and other requirements

- Ensure compliance to the project available licences, authorisations and permits.

- Ensure that the legal register is maintained

4.3.13 Environmental Management System (e.g. ISO 14001)

- Environmental Policy

- Aspects and Impacts Register

- Objectives and Targets

- Roles and Responsibilities

- Environmental Communication

- Internal Audits

- Emergency Preparedness (Environmental related emergencies)

- Monitoring, measurement and evaluation of compliance

- Non-Conformance, Corrective action and preventive action

- Management Review

ENVIRONMENTAL MANAGEMNENT PLAN

- Handling of Hazardous Chemical Substances

- Site Establishment

- Water Management

- Access Control

- Environmental Human Resources

- Environmental Training

- Environmental Incident Reporting

- Compliance to Other Legal Requirements

WASTE MANAGEMENT PLAN

- Procedure/method statement submitted

- Register of possible waste to be generated by the project

- Waste segregation

- Waste minimization

- Records of waste quantities disposed (Template)

- Legislation requirements

4.4 Construction Requirements

The Contractor shall ensure:

- Personnel to conduct the Works are competent and shall have received the necessary training to carry out the Works.

- Resources and tools required by personnel for executing Works are provided, and safe for use.

- Employees are supervised.

- Full responsibility and accountability shall be taken to ensure that all employees are competent and aware of all requirements needed to execute Works safely.

- Inspections are performed during Works and upon completion of Works in accordance with approved inspection and test plan.

- Quality control is performed on Works.

- Before commencement of any Works, a risk assessment is performed to identify all risks and hazards to which persons may be exposed to.

- That all work is performed in accordance with the Construction Regulations and listed Eskom and National specifications.

- Adheres to the South African Environment Protection Act, the waste management code of practice and the South African Occupational Health and Safety Act No. 85 of 1993, the regulations promulgated thereunder and Eskom Safety, Health, Environment and Quality (SHEQ) Policy 32-727 for all works.

- Submits a comprehensive method statement detailing the proposed methods of construction including fabrication, corrosion protection and erection of the entire works to the Project Manager for acceptance prior to the commencement of the works.

- Submits a project specific safety file to the Employer for comments / acceptance.

- Submits a detailed level 3 schedule for the works to the Project Manager for acceptance after contract award.

- Takes all necessary precautions to ensure that none of the existing structures / facilities not forming part of the works is damaged during construction.

- Stores salvaged plant/materials/components elevated off the ground to protect from ingress of dust and rainwater, etc.

- Continuously monitors the conditions within the working and surrounding areas for any hazardous substances or situations, and in such case, the Contractor is required to take necessary precautionary measures.

- Manages access to the working areas and the Site.

- Manages activities on Site to ensure that no interference takes place between the works and that of others.

- Completes "Contract Activities Daily Reports".

  - Quality Requirements

- The Contractor submits a fully detailed Contract Quality Plan (CQP) for acceptance within one week of the Contract Date which details all the aspects of the Quality Management System to be applied. It includes the methods that will be utilized to ensure quality assurance, control and improvement of the identified activities as stated in the Works Information.

- The Contractor submits a schedule of unpriced orders to be placed and this is updated regularly.

- The Contractor is responsible for defining the level of QA/QC (intervention Points) or inspection to be imposed on his Subcontractors and suppliers of material in the Quality Control Plans (QCPs). This level is based on the criticality of plant, materials and is submitted to the Employer for acceptance.

- Product data sheets and product samples are submitted for review and acceptance by the Project Manager after contract award and prior to the commencement of work.

- The Contractor submits on a weekly basis, the following QA returns:

- A register of Defects with those older than 10 days being flagged, and an explanation attached.

- Register of accepted Defects.

- A register of Non-Conformance Report.

- Weekly Project Quality Report.

- Weekly updated Site and pre-site programmes.

- Inspection dates.

- Site Acceptance Tests.

- Inspections completed / outstanding.

All quality control documentation is submitted to the Project Manager within 7 days of Contract Date.

  - Program Constraints

A Level 3 schedule (schedule with defined activities) for the scope clearly highlighting all activities involved, major milestones and provision. The schedule submitted as a deliverable in other sections of this document shall include constraints posed by the removal of temporal roofing.

  - Meetings

Regular meetings of a general nature may be convened and chaired by the Project Manager as follows:

| Title and purpose | Approximate time & interval | Location | Attendance by: |
| --- | --- | --- | --- |
| Risk register and compensation events | Weekly (time to be confirmed) | TBC | Representatives of the Employer and Representatives of the Contractor. |
| Overall project progress and feedback | Daily (time to be confirmed) | TBC | Representatives of the Employer and Representatives of the Contractor. |
| Engineering | Adhoc – as when required | TBC | Eskom Engineering, Contractor Engineering, Project Manager |

Meetings of a specialist nature may be convened as specified elsewhere in this Works Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the works.  Records of these meetings shall be submitted to the Project Manager by the person convening the meeting within five days of the meeting.

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.

The Contractor monitors progress weekly. A weekly progress report is to be submitted to the Employer’s Project Manager prior to the seating of the weekly progress meeting. The Contractor submits the Program with record of progress to the Employer’s Project Manager at intervals stated in the Contract.

## 4.8 Invoicing and payment

Within one week of receiving a payment certificate from the Project Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice showing the amount due for payment equal to that stated in the Project Manager’s payment certificate.

The Contractor shall address the tax invoice to Eskom Holdings SOC Ltd and include on each invoice the following information:

- Name and address of the Contractor;

- The contract number, Purchase Order Number and title;

- Contractor’s VAT registration number;

- The Employer’s VAT registration number 4740101508;

- Description of service provided for each item invoiced based on the Price List;

- Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

The Contractor shall address the Tax Invoice to:

Eskom Holdings SOC Limited

Medupi Power Station

P.O Box 2199, WITBANK

All invoices to be emailed to:

invoiceseskomlocal@eskom.co.za and copy FuthanLJ@eskom.co.za and MkhondM@eskom.co.za.

In terms of core clause 50 the Contractor assesses the amount due and applies to the Employer for payment.

4.9 Records of Defined Cost

In order to substantiate the Defined Cost of compensation events, the Employer may require the Contractor to keep records of amounts paid by him for people employed by the Contractor, Plant and Materials, work subcontracted by the Contractor and Equipment.  [See clause 11.2(5) and 63.2].

### 4.10 Accelerated Shared Growth Initiative – South Africa (ASGI-SA)

The Contractor complies with and fulfils the Contractor’s obligations in respect of the Accelerated and Shared Growth Initiative - South Africa in accordance with and as provided for in the Contractor’s ASGI-SA Compliance Schedule stated below

.

[Insert the agreed ASGI-SA Compliance Schedule here]

The Contractor shall keep accurate records and provide the Employer with reports on the Contractor’s actual delivery against the above stated ASGI-SA criteria.   [Elaborate on access to and format of records and frequency of submission etc.]

The Contractor’s failure to comply with his ASGI-SA obligations constitutes substantial failure on the part of the Contractor to comply with his obligations under this contract.

4.11 Facilities to be provided by the Contractor

The Contractor is responsible for any site establishment required for the execution of Works.

4.12 Title to material from excavation and demolition

The Contractor has no title to materials from excavation and demolition.

The contractor disposes of redundant insulation and cladding material through a registered dumping site for such material and supplies the Employer with certification to that effect.

5. Services and other things provided by the Employer

Describe what the Employer will provide such as services (including water and electricity) and “free issue” Plant and Materials and equipment.

| Item | Date by which it will be provided |
| --- | --- |
| Portable water | Site access date |
| Station ablution facilities | Site access date |
| Electricity | Site access date |

C4:  Site Information

Site Information is information about the site at the time of tender which the tendering contractor needs to allow for in his rates and Prices. The information does not change after contract award, nor does it describe or specify anything which the Parties do during the contract. It is only referred to during administration of the contract if the Contractor encounters conditions which are different to those described here. The Contractor will then make a comparison between actual conditions encountered and those described here in his assessment of any additional cost or time he may need to be compensated for in order to complete the works. Disputes about the difference between the effects of conditions encountered and those which the Contractor allowed for in his Prices will be minimised if the information given here is complete and relevant. If no information is given the tendering contractor will need to guess what he may encounter thus tendering higher Prices to allow for conditions that may not even exist.

# C4.1: Information about the site at time of tender which may affect the work in this contract

## Permit to Work System

- NO work shall be carried out without a "PERMIT TO WORK"

- The Contractor’s Responsible Person must satisfy himself that all sources of possible danger are isolated. Details of the Permit to Work system can be found in the Plant Safety Regulations for Medupi Power Station, Eskom. The Contractor must also make provision for sufficient Authorise Supervisor(s) depending on the contractual obligations. The Authorised Supervisor will need to undergo a week’s training, which will be arranged at a suitable Eskom facility. This person must also pass an exam to verify his understanding of the procedure, after which he/she will need to be interviewed by a panel to discuss the practical understanding of being appointed as an Authorised Supervisor.

- Plant with a prohibitive sign attached may only be operated by appointed Eskom personnel. Any Contractor employee found tampering with such plant will be permanently removed from Site.

## Security

Access to site

Access to site and continued use of the site is in accordance with Medupi Power Station Access control procedure and the National Key Points Act, 1980 (Act No. 102 of 1980) and the following must be noted:

- The contractor applies for the permits for all works via the Employer’s representative.

- The contractor applies for contractors permits for all his employees and/or subcontractors at the security gate, at least 48 hours prior to entry at Medupi Power Station security area.

- The contractor submits their company’s employee list to the Employer’s safety department listing all of the personnel that they intend to use on site when booking for SHE induction as soon as the contractor’s SHE file has been assessed and approved. At least 48 hours prior notice must be given to employer’s representative of the requirement to attend site SHE inductions.

- The completed list, identified with the contractor’s name, contains the following information • Employee name;

- Employee ID number

- Eskom Safety Co-ordinator signature

- Employer’s representative signature

- Validity date

- No access permits are issued to personnel who have not attended SHE induction. A copy of proof of SHE induction attendance must be presented at security when applying for employee access permits.

- The contractor photocopies the first page of the ID book, or both sides of their smart ID of every one of their employees.

- The completed list, together with their photocopies of the ID/valid passport/work permit is delivered to Protection service for the preparation of the contractor’s permits

- The contractor allows at least 48 hours for the preparation of the security permits, before they collect them from Protection Services offices.

- The contractor personnel are required to be in possession of a contractor’s permit at all times whilst on the premises of Medupi Power Station.

- All contractor’s permits are submitted back to protection services when workers leave site after the completion of the Works. The contractor shall ensure that all their employees/workers return such permits to the Employer. Failure to return the permits will result in a R50, 00 penalty for each non returned permit which will be deducted from the final payment.

- The contractor shall compile a detailed tool list (obtainable from Protection Services) of all the tools and equipment to be take on site before arriving at Medupi Power Station.

- Authorized copies of all the list are retained to be used again when the tools and equipment are removed from site.

- The contractors’ visitors and all personnel conform to the security arrangements in force at Medupi Power Station

- Application forms for visitors are filled in by the contractor’s representative and approved by the Employer and submitted to the Employer’s Protection Services office one day prior to the visit.

- Visitor’s will not be allowed on site if the necessary forms are not in the possession of the security staff.

- The Employer’s Security Manager may, with valid cause, remove any of the contractor’s personnel form the site, either temporarily or permanently. They may deny access to the site to any person whom, in the opinion of the said manager, constitutes to a security risk.

- No unauthorised vehicles will be allowed on site. Only contractor vehicles with displayed contract vehicle permits disks will be allowed on site. Contractor vehicle applications are directed to the employer’s representative for consideration and approval.

- The contractor is restricted to the site. The contractor is forbidden from entering any other areas and must ensure that their employees abide by this regulation.

- No recruiting of casual labour may be done on Eskom premises. This includes the area outside the power station security gate.

- Security personnel may search any premises, property or person within the security area of Medupi Power Station.

- No photographic equipment will be allowed within the security area of Medupi Power Station without obtaining permission. Application forms for such permission is available from the security services office at the main entrance of the power station. Any person found in possession of such equipment will be prosecuted in terms of the National Key Point Act.

Security of the laydown area

- The contractor is responsible for the security and safe keeping of all laydown and working areas and any associated contractor’s equipment, materials, plant, temporary works and Employer’s equipment as may located within those areas. The contractor shall always comply with the National Key Point Act, 1980 (Act No.102 of 1980). The contractor’s proposal for achieving this shall be submitted to the employer for review within 7 days of the commencement date and the Employer shall respond within 14 days of receipt of such proposal.

Rigging and Lifting

All rigging method statements, lift plans and other relevant documents will be reviewed by the Employer, prior to the relevant activity commencing. The review period for the method statement is 5 days and if the Employer gives notice to the contractor that the method statement fails to comply with the contract, it shall be rectified and resubmitted within 3 days of notification.

Eskom Life Saving Rules:

Life Saving Rules have been developed that will apply to all Eskom Employees, agents, consultants and Contractors.

Rule 1: Open, Isolate, Test, Earth, Bond, and/or Insulate before touch - that is any plant operating above 1 000 V.

Rule 2: Hook up at heights - no person may work at height where there is a risk of falling.

Rule 3: Buckle up – no person may drive any vehicle on Eskom business and/or on Eskom premises: unless the driver and all passengers are wearing seat belts.

Rule 4: Be sober (no person is allowed to work under the influence of drugs and alcohol.

Rule 5: Use a permit to work – where an authorization limitation exists, no person shall work without the required permit to work.

Protective Equipment and Clothing

- The Contractor supplies his own personal protective equipment necessary to carry out the works and the Contractor shall ensure that all overalls for his staff have clearly identifying company LOGO's

- The Contractor is also responsible to inspect and maintain such equipment as required in terms of the OHS Act and local procedures.

Respecting the working areas

In order to provide a safe working environment and to respect all persons on site, the following are strictly forbidden:

- Spitting

- Urination (other than in designated areas)

- Defecation (other than in designated areas)

- Sexual Harassment

The Employer shall be entitled to immediately remove, or instruct the contractor to immediately remove, any person for whom the contractor is responsible who is in violation of the above-mentioned, in accordance with applicable contract conditions and/or other rules and regulations.

- Employee Transport

Transportation of passengers: open LDV’s:

No Eskom employee or Contractor would be allowed to transport passengers on the back of open light delivery vehicles (LDV’s). It is a legal requirement to provide safe transportation of Eskom and Contractor employees – therefore the following will be enforced:

- All passengers must be transported in a closed vehicle with proper and adequate

Seating, fitted with safety belt for the number of passengers to be transported.

- Tools and equipment must be properly secured.

- Only authorised drivers may transport passengers.

- Proof must be submitted on request in terms of valid roadworthiness of all vehicles.

- The above must apply to on-site and off-site transportation of passengers.

In this regard all Contractors are reminded of the requirement to comply with provisions of the National Land Transportation Act (Act number 5 of 2000) which requires adherence to Worker Transportation Permits (WTP) for transportation of Workers to and from a local place of residence to a construction site. Medupi Contractors are advised to utilize the local taxi association members with roadworthy vehicles for transportation of local Workers for the duration of the contract. The WTP is obtainable at the district Department of Transport (Waterberg, Modimolle).

Available from Engineering Contract Strategies Tel 011 803 3008, Fax 086 539 1902 or www.ecs.co.za

Except those actions which can only be done by the Employer as a Party to the contract.

If June 2005 Edition applies, delete April 2013 and insert June 2005

State whether attached as a ‘PDF’ file in terms of Eskom’s licence, or to be obtained from Engineering Contract Strategies Tel 011 803 3008, Fax 086 539 1902 or www.ecs.co.za.

Available from Engineering Contract Strategies Tel 011 803 3008, Fax 086 539 1902 or www.ecs.co.za.