## Sheet2
PRICE LIST
|  | ELECTRIC FEED PUMP MOTOR |  |  | CW -SOUTH |  |  | CW-NORTH |  |  | EXTRACTION PUMP MOTOR |  |  | FD FAN MOTOR-U2-5 |  |  | FD FAN MOTOR-U6-10 |  |  | ID FAN MOTOR-U2-5 |  |  | ID FAN MOTOR-U6-10 |  |  | MILL MOTOR-U2-5 |  |  | MILL MOTOR-U6-7 |  |  | MILL MOTOR-8-10 |  |  | PA FAN MOTOR-U2-5 |  |  | PA FAN MOTOR-U6-7 |  |  | PA FAN MOTOR8-10 |  |  | ASH BOOSTER PUMP MOTOR |  |  | ASH PUMP MOTOR |  |  | SLUICE PUMP MOTOR |  |  | AWR RETURN PUMP MOTOR |  |  | COMPRESSOR MOTOR
Iten no | Task description | Power | Pole | Frame | Power | Pole | Frame | Power | Pole | Frame | Power | Pole | Frame | Power | Pole | Frame | Power | Pole | Frame | Power | Pole | Frame | Power | Pole | Frame | Power | Pole | Frame | Power | Pole | Frame | Power | Pole | Frame | Power | Pole | Frame | Power | Pole | Frame | Power | Pole | Frame | Power | Pole | Frame | Power | Pole | Frame | Power | Pole | Frame | Power | Pole | Frame | Power | Pole | Frame
|  | 2354kW | 2 | 168/130 | 2100HP | 298rpm |  | 2150HP | 6 | G208160 | 400kW | 6 | AVM800 | 850HP | 6 | TIK 38/45 | 1417HP | 6 | PQHA5076 | 1750kW | 8 | UD630/160 | 1585kW | 8 | UD560/140 | 265kW | 6 |  | 272kW | 6 |  | 300HP | 6 |  | 271kW | 4 |  | 350kW | 4 |  | 205HP | 4 |  | 500kW | 6 |  | 325kW | 6 |  | 440HP | 4 |  | 224kW | 4 |  | 200kW | 2
|  | Quantity | Rate | Total | Quantity | Rate | Total | Quantity | Rate | Total | Quantity | Rate | Total | Quantity | Rate | Total | Quantity | Rate | Total | Quantity | Rate | Total | Quantity | Rate | Total | Quantity | Rate | Total | Quantity | Rate | Total | Quantity | Rate | Total | Quantity | Rate | Total | Quantity | Rate | Total | Quantity | Rate | Total | Quantity | Rate | Total | Quantity | Rate | Total | Quantity | Rate | Total | Quantity | Rate | Total | Quantity | Rate | Total
GENERAL
1 | Collect motor from Hendrina Power Station
2 | Deliver motor to Hendrina Power Station
3 | Open motor and conduct details failure analysis and inspection
4 | Assemble motor, replace all bolts, nuts and washers
5 | Paint motor complete(Emerald Grey - G29)
6 | Eskom witness test
ROTOR
7 | Treat and paint rotor with anti rust paint
8 | Bearing journal micro welding and polishing
9 | Seal landings
10 | Repair and balance cooling fan
11 | Repair and balance external cooling fan
12 | Balance the rotor at operating speed
13 | Repair fan cowl
14 | Weld cracks
ROTOR CORE AND WINDINGS
15 | Supply and restack the rotor core
16 | Supply and rebar the rotor bars
17 | Supply and rebraze short circuit rings
18 | Microwelding and polishing shaft
STATOR CORE AND WINDINGS
19 | Repair core
20 | Repair windings
21 | Replace wedges and re-epoxy stator
22 | Rewind stator
DRIVE END SHIELD/ NON DRIVE END SHIELD
23 | Repair spigots
24 | Repair fixing bolts
25 | Repair bearing housing
26 | Inspect and clean bearing grease pot
27 | Inspec and repair isolation
DRIVE END BEARING HOUSING/ NON DRIVE END BEARING HOUSING(BALL AND ROLLER BEARINGS)
28 | Replace roller bearing
29 | Replace ball bearing
30 | Reapply epoxy
31 | Repair bearing earthing facility
32 | Repair bearing grease slinger
DRIVE END BEARING HOUSING/ NON DRIVE END BEARING HOUSING(SLEEVE BEARINGS)
33 | Polish bearing
34 | Remetal bearing
35 | Supply new bearing
36 | Onsite repair of sleeve bearing
HEAT EXCHANGER
37 | Repair tubing
38 | Repair housing
39 | Replace damping rubber
40 | Supply and replace gasket and seals
STATOR HOUSING
41 | Polish foot mouting
42 | Clean and dy stator
43 | Repair end shield mounting
TERMINAL BOX AND LEADS
44 | Extend leads
45 | Repair terminal studs
46 | Supply and replace box gaskets and seals
47 | Repair terminal connections
48 | Fit new desicacator on the terminal box
49 | Supply new terminal box
50 | Supply new terminal box lid
TESTS
51 | Elcid test on stator
52 | Elcid test on rotor
53 | Rotor bar to bar test
54 | IR and PI test
55 | Stator winding Tan Delt test
56 | NDT on fan impellers or runner
57 | NDT on the rotor shaft
58 | AC high potential test
59 | DC Step Voltage test
60 | Core flux test
61 | DC high potential test
NOTE: Consult Eskom document number 240-89217674; Refurbishment and Repair of Power Station Electric Motors Work Instruction for detailed scope of activities.