## C&i Maintenance
Occupational Health and Safety Baseline Risk Assessment | [23 empty] | Consequences | 8 | III | II | I | I | I | R | Safety | 1 | A | Fully effective | I
Business/Operating Unit: | CAMDEN POWER STATION (Supply And Delivery of pyrometers, and fuel oil meter (flow) at Camden Power Station. ) | [6 empty] | Department: | C & I Maintenance | [9 empty] | Next Review Date (every 2 years): |  | 18/01/2025 | Template identifier: | 240-70044602 |  | 5 | III | II | II | I | I | N | Health | 2 | B | Mostly effective | II
[25 empty] | 4 | IV | III | II | I | I |  |  | 3 | C | Mostly ineffective | III
Date: | 25 FEBRUARY 2025 | [6 empty] | Prepared by: | Elliot Nhlapo ,Muzi Nkosi |  |  | Authorised by: | Name |  |  |  | ANDREW BOTHSE |  |  |  | Document ID |  | 240-157223320 |  | 3 | IV | III | II | II | I |  |  | 4 | D | None | IV
[13 empty] | Designation |  |  |  | LINE MANAGER |  |  |  | Revision number: |  | 5 |  | 2 | IV | IV | III | II | II |  |  | 5 | E
[13 empty] | Signed | [7 empty] | Revision date: |  | 30-Apr-27 |  | 1 | IV | IV | III | III | III |  |  | 8
[13 empty] | Date |  |  |  | 21/02/2025
Refer to Occupational Health and Safety Risk assessment Procedure 32-520
List activity | Activity type (Routine/Non-routine) | Hazard nr | Hazard Identification | Risk Nr | Associated risk | Risk type | Cause(s) of the risk | Exposed group/employees | Risk Owner | Exposure patterns | What are the possible consequences? | Existing Controls |  |  | Risk Priority Rating |  | Additional Controls or Tasks Aimed at improving Existing Controls | Monitoring Mechanisms | Control Owner | Legal and Other Requirements | Target Date | Current Status | Integrated Risk Management (IRM) reference number
List specific activities to be performed taking into consideration the equipment to be used, the personnel involved in the task. | Indicate R or N 1. Routine activities and situations create hazards through day-to-day operations and normal work activities; 2. Non-routine activities and situations are occasional or unplanned; | # | Anything with potential to cause of harm. Note: A hazard can pose more than one risk. | # | A chance that injury , ill health or damage could occur as a result of uncontrolled hazard. | Safety or health | What causes the risk to come into effect? | Who is exposed to the hazard i.e. visitors, members of the public, etc. | Who is accountable for making sure the controls and monitors are: - in place, - implemented, - regularly reviewed for effectiveness. | The frequency and duration the person/group is exposed to the hazard e.g. Daily for 3 hrs. | Consider the worse case scenario without controls? | Include: - Preventative Controls (controls implemented to eliminate hazards or reduce the likelihood of the risk occurring), and - Reactive Controls (controls implemented to reduce the immediate impact of the risk occurring) Elimination Substitution Engineering controls Administrative controls Personal protective equipment (PPE) | Consequence | Likelihood |  | RCE Risk Control Effectiveness | Include: - Preventative Controls (controls implemented to eliminate hazards or reduce the likelihood of the risk occurring), and - Reactive Controls (controls implemented to reduce the immediate impact of the risk occurring) Elimination Substitution Engineering controls Administrative controls Personal protective equipment (PPE) NB: The risk shall be evaluated, assessed and rated again once additional controls have been implemented and those controls listed as existing controls. | How we know if we are succeeding. Include comments on effectiveness. This may include i.e. measurements, inspections, supervision where necessary. | Person allocated the responsibility for implementing the agreed controls (if applicable) | Where relevant, list the relevant legislative and or Eskom requirements that prescribe the control. | Once a date has been agreed to, this can not be changed (if applicable) | Pending, In Progress, Complete (if applicable) | Where applicable, add IRM system reference number for tracking of treatment actions. (applicable to risks that have an impact on business objectives or require intervention from Senior or Executive management such as impementing major engineering projects as a control)
Driving of vehicles | Routine | 1 | Over speeding of vehicles | 1 | MVA | Safety | Not paying attention, not farmialr with the road, making use of cell phone, distractions, exposed to unsafe behaviours, congested roads, Pedestrians and live stock, Taxi and Truck on the road, Civil unrest. Negligent driving. Potholes and Weather conditions (rain, mist, etc) | Employees | C & I Maintenance Manager | Daily | Injuries/Fatalities to driver and pedestrians or property damage | Staff driving vehicles to have national driver's license and Eskom driver's evaluation permit, vehicles in roadworthy condition, only authorised staff is permited to use Eskom vehicles, Daily vehicle inspections, routine maintainance of vehicles, and obeying of all traffic laws, Adherence to life saving rules. Conduct travel route risk assessment. maintainance of station and Oak road. Create and communicate Road and vehicle safety awareness. Installation of Drive Cam. | 1 | C | III | Fully Effective | Adhere/maintain the existing controls | Vehicle inspections, Audits, Drive Cam, Inspect Oak/station road. Incident Statistics. | C & I Maintenance Manager | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) Environmental Regulations for Workplaces, 1987 General Safety Regulations, 1988 General Administrative Regulations, 2003 | N/A | Complete | N/A
| Routine | 2 | Driving without safety belt buckled up | 2 | Severe Injuries and fatalities when involved in an Accident | Safety | Not adhering to life saving rules | Employees | C & I Maintenance Manager | Daily | Lost Time Injury or severe Injuries and fatalities | Awareness and Acknowlegement of Life Saving Rules through induction. Road and vehicle safety compaigns. Conducting VFL/BSO, Conducting toolbox talks. Installation of Drive Cam. | 1 | C | III | Fully Effective | Adhere/maintain the existing controls, Consequence Management | VFL/BSO analysis, Drive Cam. | C & I Maintenance Manager | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) Environmental Regulations for Workplaces, 1987 - General Safety Regulations, 1988 General Administrative Regulations, 2003 - Facilities Regulations, 1990 General Safety Regulations, 1988 General Administrative Regulations, 2003 W13 Eskom Life-Saving Rules Standard, 240-62196227 Eskom Drive Cam Procedure. 240-62946387 | N/A | C | N/A
| Routine | 3 | Reversing a vehicle into a Parking lot. | 3 | Property damage, Injuries, Collide with other vehicles. | Safety | Failure of drivers to observe while parking Impatience of other drivers while reversing Time pressure Destruction Small parking design | Employees | C & I Maintenance Manager | Daily | Property damage, Motor vehicle accident and Injuries. | Conduct awareness on reverse parking Induction training covers reverse parking | 1 | C | III | Mostly Effective | Adhere/maintain the existing controls, Consequence Management | Inspections, | C & I Maintenance Manager | Occupational Health and Safety, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) General Safety Regulations, 1988 General Administrative Regulations, 2003 Facilities Regulations, 1990 | Reverse parking signs - 30 January 2025 | In-Progress | N/A
| Non-Routine | 4 | Driving during the night | 4 | MVA, Property damage, Injuries and Fatalities Collide with other vehicles. | Safety | Not paying attention, not farmiliar with the road, making use of a cell phone, distractions, potholes, exposed to unsafe driving behaviours, congested roads, Pedestrians and stray animals, Taxis and Trucks on the road, Civil unrest. Negligent driving, Weather conditions(rain, mist, etc) & hijacking. | Employees | C & I Maintenance Manager | Daily | Injuries,Fatalities, Property damage and Trauma | Staff driving vehicles to have national driver's license and Eskom driver's evaluation permit, vehicles in roadworthy condition, only authorised staff is permited to use Eskom vehicles, Daily vehicle inspections, routine maintainance of vehicles, and obeying of all traffic laws, Adherence to life saving rules. Conduct travel route risk assessment. maintainance of station and Oak road. Create and communicate Road and vehicle safety awareness. Installation of Drive Cam. | 1 | C | III | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Vehicle inspections, Audits, Drive Cam, Inspect Oak/station road. Incident Statistics. | C & I Maintenance Manager | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) Environmental Regulations for Workplaces, 1987 General Safety Regulations, 1988 General Administrative Regulations, 2004 | N/A | Complete | N/A
Interaction amongst employees | Routine | 15 | Bullying | 15 | Compromised self eesteem causing depression and suicidal thoughts | Health | Lack of interpersonal skills and relationship with other employees, Individual background and social issues. | Employees | C & I Maintenance Manager | Daily, 8hrs | Injuries, fatalities and depression | Implementation of HR policies and procedures Awareness | 4 | B | III | Fully effective | Adhere/maintain the existing controls, Consequence Management | EAP Cases | C & I Maintenance Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) 240-43848327 Right to Refuse to Work in an unsafe condition procedure 32-520 Occupational Health & Safety Risk Assessment Procedure 32-477 Safety Health and Environment Training and Development 32-285 Medical surveillance 32-95 Rev. 09 Environmental, Occupational Health and Safety Incident Management Procedure 240-15598034 OHS Oppotunity Register | N/A | In-Progress | N/A
|  | 16 | Drugs | 16 | Injuries and Mental health issues | Health | Peer pressure, Social factors | Employees | C & I Maintenance Manager | Daily, 8hrs | Injuries, fatalities and Depression | Self or Employer recommendations to visit Employee Assistant programme facilities always welcomed. HR policies and procedures Awareness | 4 | B | III | Fully effective | Adhere/maintain the existing controls, Consequence Management | EAP Cases | C & I Maintenance Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) 240-43848327 Right to Refuse to Work in an unsafe condition procedure 32-520 Occupational Health & Safety Risk Assessment Procedure 32-477 Safety Health and Environment Training and Development 32-285 Medical surveillance 32-95 Rev. 09 Environmental, Occupational Health and Safety Incident Management Procedure | N/A | In-Progress | N/A
|  | 17 | Gender discrimination | 17 | Compromised self esteem, Fatalities | Health | Gender intolerance leading to suicidal thoughts | Employees | C & I Maintenance Manager | Daily, 8hrs | Fatalities Depression | Awareness on HR polices and procedures managing gender based discrimination. | 4 | B | III | Fully effective | Adhere/maintain the existing controls, Consequence Management | EAP Cases | C & I Maintenance Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) 240-43848327 Right to Refuse to Work in an unsafe condition procedure 32-520 Occupational Health & Safety Risk Assessment Procedure 32-477 Safety Health and Environment Training and Development 32-285 Medical surveillance 32-95 Rev. 09 Environmental, Occupational Health and Safety Incident Management Procedure | N/A | In-Progress | N/A
|  | 18 | Unrest | 18 | Injuries and Property damage | Safety | Misunderstanding between employees and management | Employees | C & I Maintenance Manager | As and when they occur | Property Damage Injuries | Implementation of Emergency Preparedness Plan Liaison with Security Intelligence Local Police liaison with the organisation if there are road blocks around. Employees use alternative roads for access Activation of JPC | 4 | B | III | Fully Effective | Adhere/maintain the existing controls, Consequence Management | EP Meetings JPC Meeting Contigency plan | C & I Maintenance Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) 240-43848327 Right to Refuse to Work in an unsafe condition procedure 32-520 Occupational Health & Safety Risk Assessment Procedure 32-477 Safety Health and Environment Training and Development 32-285 Medical surveillance 32-95 Rev. 09 Environmental, Occupational Health and Safety Incident Management Procedure | N/A | In-Progress | N/A
offloading of pyrometers, and fuel oil meter (flow) | Routine | 19 | Stairways | 19 | Slip, trips and fall | Safety | Failure to identify the risk Lack of concentration Not applying three point contact | Employees | C & I Maintenance Manager | Weekly | Injuries | Task Specific risk assessment Inspection of work areas Awareness training Providing personal protective equipment (e.g. Slip-resistant footwear) Implementation of PM's | 2 | B | IV | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Inspections PM's VFL/BSO | C & I Maintenance Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) General Safety Regulations, 1988 General Administrative Regulations, 2003 | N/A | In-Progress | N/A
| Routine | 20 | Inadequate/ Excessive lighting | 20 | Straining and or irritation of the eyes | Health | Too many lights installed Dirty light covers Defective lights | Employees | C & I Maintenance Manager | Daily | Eye strains Headaches | Conducting illumination surveys Monthly PM's Medical surveillance illumination awareness Closing of survey actions | 2 | B | IV | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Illumination survey Monthly PM SAP QIM | C & I Maintenance Manager | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) Environmental Regulations for Workplaces, 1987 General Safety Regulations, 1988 General Administrative - Regulations, 2003 SANS - 10114 of 2020 Part 1 and 2 | N/A | In-Progress | N/A
| Routine | 21 | PF dust | 21 | Respiratory issues, Skin irritation, eye irirtation | Health | Fly ash Lack of training and knowledge Ineffective PPE Inadequate Risk assessment Inadequate communication | Employees | C & I Maintenance Manager | Weekly | Lung cancer Respiratory ailments | Employees are subjected to periodic medical testing by the Medical Health Practitioner. Plant is cleaned daily Maintain plant in a serviceable condition to reduce exposure Employees must be subjected to training and education (induction), which includes dust exposure and control measures. Employees must be provided with respiratory protection device. Employees are provided with respiratory protective devices to provide adequate protection against the estimated dust levels. Awareness is done Survey is done | 4 | B | III | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Inspections, audits | C & I Maintenance Manager | Occupational Health and Safety Act (Act No. 85 of 1993) Regulation for Hazardous Chemical Substance (1985) Environmental Regulations for Workplaces (1987) General Safety Regulations, 1988 General Administrative Regulations, 2003 | N/A | In-Progress | N/A
| Routine | 23 | Exposure to noise above 85dB | 23 | Noise induced hearing loss | Health | exposure to continous noise above 85db for more than 8hrs | Employees | C & I Maintenance Manager | Weekly | Noise Induced Hearing Loss | Occupational hygiene surveys are conducted to determine noise exposure levels. Employees are subjected to audiometric testing by the Medical Health Practitioner. Employees are provided with hearing protection device. Noise awareness are conducted | 4 | B | III | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Inspection, Audit | C & I Maintenance Manager | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Noise-induced Hearing Loss Regulations, 2003 Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) General Safety Regulations, 1988 General Administrative Regulations, 2003 SANS 10083 of 2022 | N/A | In-Progress | N/A
| Routine | 25 | Moving Machinery | 25 | Injuries Fatality Runover | Safety | Defective machine Poor visibility Lack of concentration | Employees | C & I Maintenance Manager | Weekly | Injuries Fatality Property damage Caught in between Struck by | Only authorized/competent persons are operating the machine Maintainace and service of the machine Emergency stop button Safety signage are displayed in the machine Implementation of lock out system | 4 | B | III | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Observations Supervision Inspections | C & I Maintenance Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) Compensation for Occupational Injuries and Diseases Act, 1993 (Act 130 of 1993) General Administrative Regulations, 2003 General Safety Regulations, 1988 | N/A | In-Progress | N/A
| Routine | 27 | Chemical leaks | 27 | Chemical asphyxiation chemicals burns | Health | Inadequate/lack risk assessment Inadequate/lack maintenance Lack of training Improper PPE Inhalation of chemicals Contact with chemical | Employees | C & I Maintenance Manager | Weekly | Skin burns or irritation; Headache or nausea within; Asthma; Dermatitis; Cancer occurring years after exposure to a carcinogenic substance | Risk assessment is conducted before work commences. SDS of chemicals are in place Employees are trained on SDS and safe work procedure Wearing of correct PPE | 3 | B | III | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Observations Supervision Inspections | C & I Maintenance Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) Compensation for Occupational Injuries and Diseases Act, 1993 (Act 130 of 1993) General Administrative Regulations, 2003 General Safety Regulations, 1988 | N/A | In-Progress | N/A
| Routine | 30 | Uneven surfaces | 30 | Slip, trips and fall | Safety | Failure to identify the risk Lack of concentration Poor housekeeping | Employees | C & I Maintenance Manager | Weekly | Injuries | Risk assessment. Inspection of work areas on a regular basis as per the procedure Awareness training Providing personal protective equipment (e.g. Slip-resistant footwear) | 2 | B | IV | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Inspections Audits Supervision VFL/BSO | C & I Maintenance Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) General Safety Regulations, 1988 General Administrative Regulations, 2003 | N/A | In-Progress | N/A
| Routine | 31 | Awkward posture | 31 | Ergonomics stress, repetitive strain | Health | Non-compliance to procedures Inadequate training / experience Awkward posture Prolong exposure in cable tunnels | Employees | C & I Maintenance Manager | Monthly | Muscular-skeletal disorder: Injuries | Awareness Ergonomics assessments Correct tools for the activity Medical survelliance | 2 | B | IV | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Surveys Inspection Audit | C & I Maintenance Manager | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) Environmental Regulations for Workplaces, 1987 General Safety Regulations, 1988 General Administrative Regulations, 2003 Ergonomics regulations 2019 | N/A | In-Progress | N/A
| Routine | 33 | Manual Handling | 33 | Strains and sprains, Fractures, dislocations. | Safety | Improper lifting techniques | Employees | C & I Maintenance Manager | Daily | Injuries | Awareness Ergonomics asessment Correct tools for the activity Medical survelliance | 4 | B | III | Fully Effective | Adhere/maintain the existing controls, Consequence Management | VFL/BSO, Ergonomics risk assessmenent | C & I Maintenance Manager | Occupational Health and Safety Act (Act No. 85 of 1993) General Safety Regulations, 1988 General Administrative Regulations, 2003 Ergonomics Regulations 2019 | N/A | In-Progress | N/A
| Routine | 36 | Poor housekeeping | 36 | Slips, trips and fall | Safety | Failure to identify the risk Improper stacking and storage | Employees | C & I Maintenance Manager | Weekly | Injuries Near miss | Risk assessment is done before work commences. Weekly Gemba and Plant walkdowns | 3 | B | III | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Inspections Audits Supervision | C & I Maintenance Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) General Safety Regulations, 1988 General Administrative Regulations, 2003 | N/A | In-Progress | N/A
| Routine | 37 | Wet surfaces | 37 | Slips, trips and fall | Safety | Failure to identify the risk Lack of concentration Water leaks | Employees | C & I Maintenance Manager | Weekly | Injuries | Good housekeeping – work areas kept tidy, etc. Clean up spillages (including dry spills) immediately using suitable methods and leave the floor dry. Display a warning sign for wet floors. Suitable cleaning materials available. Good lighting in all areas. Anti slipery safety shoes provided | 2 | B | IV | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Inspection | C & I Maintenance Manager | Occupational Health and Safety Act (Act No. 85 of 1993) General Safety Regulations, 1988 General Administrative Regulations, 2003 | N/A | In-Progress | N/A
| Routine | 38 | Stairways | 38 | Slip, trips and fall | Safety | Failure to identify the risk Lack of concentration Not applying three point contact | Employees | C & I Maintenance Manager | Weekly | Injuries | Task Specific risk assessment Inspection of work areas Awareness training Providing personal protective equipment (e.g. Slip-resistant footwear) Implementation of PM's | 2 | B | IV | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Inspections PM's VFL/BSO | C & I Maintenance Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) General Safety Regulations, 1988 General Administrative Regulations, 2003 240-15598034 OHS Oppotunity Register | N/A | In-Progress | N/A
| Routine | 39 | Oil Spillage | 39 | Contact with body | Health | Oil leakage Inadequate maintenance | Employees | C & I Maintenance Manager | Daily | Eye, nose and throat irritation Dermatitis (Inflammation) | Sawdust applied to absorb oil SDS for the oil is available and employees are trained on SDS - Risk assessment. PPE i.e. gloves, etc. to be checked for damage before use. | 2 | B | IV | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Inspections Audits Supervision | C & I Maintenance Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) Regulation for Hazardous Chemical agent (2021) General Safety Regulations, 1988 General Administrative Regulations, 2004 | N/A | In-Progress | N/A
| Routine | 40 |  | 40 | Slip, trips and fall | Safety | Failure to identify the risk Lack of concentration Oil spillage | Employees | C & I Maintenance Manager | Daily | Injuries Fatalities | Sawdust applied to absorb oil and cleaning SDS for the oil is available and employees are trained on SDS - Risk assessment. PPE i.e.oil resistant safety boots. | 2 | B | IV | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Inspections Audits Supervision | C & I Maintenance Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) General Safety Regulations, 1988 General Administrative Regulations, 2004 | N/A | In-Progress | N/A
| Routine | 43 | Awkward posture | 43 | Ergonomics stress, repetitive strain | Health | Non-compliance to procedures Inadequate training / experience Awkward posture Prolong exposure in cable tunnels | Employees | C & I Maintenance Manager | Monthly | Muscular-skeletal disorder: Injuries | Awareness Ergonomics assessments Correct tools for the activity Medical survelliance | 2 | B | IV | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Surveys Inspection Audit | C & I Maintenance Manager | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) Environmental Regulations for Workplaces, 1987 General Safety Regulations, 1988 General Administrative Regulations, 2003 Ergonomics regulations 2021 | N/A | In-Progress | N/A