## Desktop Evaluation
TECHNICAL EVALUATION CRITERIA FOR FACILITY MANAGEMENT SERVICES CONTRACT
EVALUATION CRITERIA
Enquiry No:
NON-NEGOTIABLE GATE KEEPERS
No | Requirement |  | Description | Validity of Submission
1 | Proof of company registration with Electrical Contrators Association of South Africa (ECASA) and also registration as Electrical Contractor with the Department of Labour by the Principal contractor OR Joint Venture (JV) |  | Electrical/Generators/Transformer LV & HV Services: Valid Company registration/acreditation with ECASA and Department of Labour
2 | Proof of company registration with The South African Institute of Refrigeration and Air Conditioning (SAIRAC) or South African Refrigeration and Air-Condition Contractors Association (SARACCA) by the Principal contractor OR Joint Venture (JV) |  | Valid Mechanical/Air-condition/HVAC services: SARACCA Accredited
DESKTOP EVALUATION
ITEM | KPA | KPI | DESCRIPTION | WEIGHT | WHAT THE EVALUATOR SHOULD LOOK FOR?
| Company experience and registration | 2x verifiable reference letters demonstrating Facilities Management Sevices undertaken for an Office Park of minimum size of 130 000m2 for a single tendering company OR 130 000m2 each tendering companies in a JV | All completion certificates/reference letters to include scope, duration and value of the contracts. The information must also contain the size of the Office Park in m2 (square metres) | 22% | 1. Facilities Maintenance Services for Office Park size above 130 000m2 for a single tendering company OR 130 000m2 for each tendering company in a JV = 22% ( Two letters ) 2. Facilities Maintenance Services for Office Park size between 100 000m2 - 120 000m2 for a single tendering company OR 100 000m2 - 120 000m2 for each tendring company in a JV = 11% ( two letters) 3. Facilities Maintenance Services for Office Park size less 90 000m2 for a single tendering company OR 80 000m2 for each tendering company in a JV = 5%
|  | 2x verifiable reference letter with minimum of 3 years for maintenance services performed in the last five years including contactable references, including e-mails addresses must be furnished. | All completion certificates/reference letters to include scope, duration and value of the contracts | 5% | One verifiable reference letter with minimum of 3 years in maintenance of plumbing, carpentry, painting and flooring = 5% Above 3 years = 5% 2 years and less than 3 years = 3% Less than 2 years = 0%
Building maintenance works covering the following disciplines plumbing, carpentry, painting and flooring)
|  | 2x verifiable reference letter with minimum of 3 years for maintenance services performed in the last five years including contactable references, including e-mail addresses must be furnished. | Generator maintenance | 5% | One verifiable reference letter with minimum of 3 years in maintenance of power standby generators = 5% Above 3 years = 5% 2 years and less than 3 years = 3% Less than 2 years = 0%
|  | 2x verifiable reference letter with minimum of 3 years for maintenance services performed in the last five years including contactable references, including e-mail addresses must be furnished. | Uninterupted Power Supplies(UPS) including battery miantenance | 5% | One verifiable reference letters with minimum of 3 years in maintenance of Uninterupted Power Supplies (UPS) = 5% Above 3 years = 5% 2 years and less than 3 years = 3% Less than 2 years = 0%
|  | 2x verifiable reference letter with minimum of 3 years for maintenance services performed in the last five years including contactable references, including e-mail addresses must be furnished. | Fire sprinkler system maintenance | 5% | One verifiable reference letters with minimum of 3 years in maintenance of Fire Sprinkler system = 5% Above 3 years = 5% 2 years and less than 3 years = 3% Less than 2 years = 0%
|  | 2x verifiable reference letter for maintenance services performed in the last five years including contactable references, including e-mail addresses must be furnished. | Building Management System (BMS) and automated lighting systems maintenance | 5% | One verifiable reference letters with minimum of 3 years in maintenance of Building Management System (BMS) = 5% Above 3 years = 5% 2 years and less than 3 years = 3% Less than 2 years = 0%
|  | 2x verifiable reference letter for maintenance services performed in the last five years including contactable references, including e-mail addresses must be furnished. | Waste water/sewer Treatment Plant maintenance and Water Treatment | 5% | One verifiable reference letters with minimum of 3 years in maintenance of Waste water/sewer Treatment Plant maintenance and Water Treatment ( one ltter for Sewer plant and another for Water treament )= 5% Above 3 years = 5% 2 years and less than 3 years = 3% Less than 2 years = 0%
| Sub-total |  |  | 52%
2 | Qualifications of core individuals within the company | 1. Curriculum Vitae & Qualification of key employees that will be involved in the project with a munimum of NQF6 NOTE: - SHOULD THE TENDERER BE SUCCESSFUL, KEY PERSONNEL AND SUB-CONRACTORS USED IN THIS TENDER SHALL BE USED ON CONRACT AWARD TO EXECUTE THE WORKS. ANY DEVIATION TO THE RESOURCES COULD LEAD TO ESKOM RESERVING THE RIGHT TO AWARD THE CONTRACT OR TERMINATION | Curriculum Vitae of candidate under Built Enviroment with minimum of 5yrs experience Project Management with NQF6 qualification for the project leader/operations/site manager. | 5% | Experience Above 3 years = 3% 2 - 3 years = 2% Less than 3 years = 0% Qualification Project Management qualificaion at NQF6 = 2% Missing qualification = 0%
|  |  | Curriculum Vitae of candidate(s) with a Plumbing Trade certificate with minimum of 3yrs experience. Plumber must also be registered with PIRB as a licenced plumber | 5% | Experience Above 3 years = 3% 2 - 3 years = 2% Less than 3 years = 0% Qualification Plumbing Trade Test and PIRB registration = 2% Missing qualification = 0%
|  |  | Curriculum Vitae of candidate(s) with a Electrical trade test, Wireman License certificate & Switching LV & MV certificate (HV Regulations ) both with minimum of 3yrs experience. | 10% | Experience Above 3 years = 4% 2 - 3 years = 2% Less than 3 years = 0% Qualification Elecrical Trade Test, Wireman's licence and valid (MV & LV) switching certificate = 6% Missing qualification = 0%
|  |  | CV of candidate(s) with a trade test Air Conditioning & Refrigeration Practitioner: Category B certificates with SARACCA with minimum of 3yrs experience. | 10% | Experience Above 3 years = 5% 2 - 3 years = 3% Less than 3 years = 0% Qualification Air Conditioning & Refrigeration Trade Test and Practitioner: Category B certificates with SARACCA = 5% Missing qualification = 0%
|  |  | CV of candidate(s) for fire protection (fire detection, gas suppression, and fire safety) certificate, with a SAQCC registration with minimum of 3yrs experience. Supression and Protection/ Detection and Spingkler system.NB-Certifcate to be verified with SAQCC | 8% | Experience Above 3 years = 3% 2 - 3 years = 2% Less than 3 years = 0% Qualification Technicians SAQCC registration for A- Gas Supression= 1% , B- Protection/ Detection = 1% and C- Spingkler system = 1% (PSIRA registration for Fire Detection Technicians)
|  | Sub-total |  | 38%
4 | Method Statement | Tenderers must provide a detailed method statement on the execution of the work | Method statement that include: • Methodology of how the work will be executed • Organisational Structure • Detailed resource plan to cover the scope. • Equipment / plant to deliver the service. • Applicable tools of the trade. Method statement should cover how all the required disciplines will be intergrated, coordinated and executed. | 10% | 1. Organogram/Structure = 5% (must include project leader, supervisors for main desciples)
2. Methodology of how the work will be executed including a list of subcontractors to be utilized for various desciplines and how the work will be dispatched. = 5% (Tenderer to explain how the Organogram fit to the different trades and also a detail explanation of the process to be followed from a defect being logged to closing the defect. including planned mainteance and applicable tools of the trade
| Total for KPA |  |  | 100%
NOTE 1: THRESHOLD: THE TENDERER MUST MEET ALL NON-NEGOTIABLE GATE KEEPES AND ATTAIN THRESHOLD OF 70% TO BE CONSIDERED FOR FURTHER EVALUATION. ANY TENDERER WHO DOES NOT MEET THIS CRITERIA WILL BE DISQUALIFIED FROM FURTHER EVALUATION.
NOTE 2: RIGHT TO AWARD CONTRACT RESERVED: SHOULD ANY TENDERER BE SUCCESSFUL, ALL KEY PERSONNEL AND SUB-CONRACTORS SUBMITTED DURING TENDERING STAGE, SHALL BE USED ON CONRACT AWARD AND FOR THE EXECUTION OF THE WORKS. ANY DEVIATION MAY LEAD TO ESKOM NOT TO AWARD THE RIGHT TO THE SUCCSSFUL TENDERER
NOTE 3: