## Risk template
Occupational Health and Safety Baseline risk assessment template Rev 5 Vanderkloof
Business/Operating unit: | Vanderkloof Power Station | [7 empty] | Department: | Risk & Assurance | [9 empty] | Next Review Date (every 2 years): | 20/05/2025 | Template identifier: | 240-70044602
Date: | 20/05/2023 | [7 empty] | Prepared by: | SHE OFFICER & PLANT SUPERVISOR |  | Authorised by: |  | Gerrit Terrol | [7 empty] | Document identifier | 151A/2837
[14 empty] | Designation: O and M Manager | [7 empty] | Revision number: | 5
[14 empty] | Date: 2023/10/18 | [7 empty] | Revision date: | 2027-04-30
Refer to Occupational Health and Safety Risk assessment procedure 32-520
List activity | Activity type (Routine/Non-routine) | Hazard nr | Hazard Identification | Risk Nr | Associated risk | Risk type | Cause(s) of the risk | Exposed group/employees | Risk Owner | Exposure patterns | What are the possible consequences? | Existing Controls |  |  | Risk Priority Rating |  | Additional Controls or Tasks Aimed at improving Existing Controls | Monitoring Mechanisms | Control Owner | Legal and Other Requirements | Target Date | Current Status | Integrated Risk Management (IRM) reference number
List specific activities to be performed taking into consideration the equipment to be used, the personnel involved in the task. | Indicate R or N 1. Routine activities and situations create hazards through day-to-day operations and normal work activities; 2. Non-routine activities and situations are occasional or unplanned; | # | Anything with potential to cause of harm. Note: A hazard can pose more than one risk. | # | A chance that injury , ill health or damage could occur as a result of uncontrolled hazard. | Safety or health | What causes the risk to come into effect? | Who is exposed to the hazard i.e. visitors, members of the public, etc. | Who is accountable for making sure the controls and monitors are: - in place, - implemented, - regularly reviewed for effectiveness. | The frequency and duration the person/group is exposed to the hazard e.g. Daily for 3 hrs. | Consider the worse case scenario without controls? | Include: - Preventative Controls (controls implemented to eliminate hazards or reduce the likelihood of the risk occurring), and - Reactive Controls (controls implemented to reduce the immediate impact of the risk occurring) Elimination Substitution Engineering controls Administrative controls Personal protective equipment (PPE) | Consequence | Likelihood |  | RCE Risk Control Effectiveness | Include: - Preventative Controls (controls implemented to eliminate hazards or reduce the likelihood of the risk occurring), and - Reactive Controls (controls implemented to reduce the immediate impact of the risk occurring) Elimination Substitution Engineering controls Administrative controls Personal protective equipment (PPE) NB: The risk shall be evaluated, assessed and rated again once additional controls have been implemented and those controls listed as existing controls. | How we know if we are succeeding. Include comments on effectiveness. This may include i.e. measurements, inspections, supervision where necessary. | Person allocated the responsibility for implementing the agreed controls (if applicable) | Where relevant, list the relevant legislative and or Eskom requirements that prescribe the control. | Once a date has been agreed to, this can not be changed (if applicable) | Pending, In Progress, Complete (if applicable) | Where applicable, add IRM system reference number for tracking of treatment actions. (applicable to risks that have an impact on business objectives or require intervention from Senior or Executive management such as impementing major engineering projects as a control)
The use of handtools, Powertools | N | 1 | Defective/broken tools | 1 | Use of defective/broken tools | Safety | Not wearing PPE, incorrect methods of use, excessive use of equipment and tools, lack of continuous risk assessment, inadequate inspections | Employees/contractors | Supervisor/Manager/Employees | Daily for 2hrs | Hand injuries, cuts and bruises , electrical shock, fractures, incidents which could lead to loss time. | PPE,supervision, Tools box talks,routine inspections | 4 | A | III | Fully effective | Maintain existing controls | Inspections, incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| N | 2 | Welding machine | 2 | Use of defective, uninspected welding machine, | Safety | Not wearing PPE, incorrect methods of use, lack of continuous risk assessment , Defective welding machines,Damaged power leads and incorrect earthing,inadequate inspections, lack of monitoring | Employees/contractors | Supervisor/Manager/Employees | Once a month | Burns, flash burns(arc eye), electrical shock, fire, incident that could lead to LTI | PPE, supervision, Tools box talks, routine inspections, hot work monitor, fire fighting equipment | 4 | A | III | Fully effective | Maintain existing controls | Behavioural safety observations, inspections, incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| N | 3 | Grinding machine | 3 | Use of defective, uninspected grinding machine, exposure to excessive noise | Safety | Not wearing proper PPE, incorrect methods of use, misuse of the equipment, lack of continuous risk assessment , not perfoming Pre inspections,Damaged power cords and incorrect earthing,inadequate inspections, | Employees/contractors | Supervisor/Manager/Employees | Once a month | Cuts, Burns, shocks, grinder blades breakage, tripping on cables, incident that could lead to LTI, NIHL,Tinnitus | PPE, supervision, Tools box talks, routine inspections, Planned task Observations, OHS surveys | 4 | B | III | Fully effective | Maintain existing controls | Behavioural safety observations, inspections, incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| N | 4 | Petrol fumes, dust | 4 | Inhalation of petrol and dust fumes | Health | Not using PPE, lack of risk assessment, lack of training, Operation of the machine | Employees/contractors | Supervisor/Manager/Employees | 3 monthly | Respiratory diseases | Regular breaks, dust mask, PPE, supervision and , medical surveillance | 4 | B | III | Fully effective | Maintain existing controls | Incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| N | 5 | Manual handling | 5 | incorrect lifting/Hand lifting heavy objects from the floor | Health | Not taking breaks, incorrect lifting technique | Employees/contractors | Supervisor/Manager/Employees | Monthly | Fatigue, Back, shoulder, neck, foot injuries injuries | Supervision, toolbox talks, PPE, taking breaks, | 4 | B | III | Fully effective | Maintain existing controls | Incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| N | 6 | Vibration | 6 | Exposure to excessive vibration | Health | Operation of the machine, maintanance/cleaning of the machine, lack of supervision | Employees/contractors | Supervisor/Manager/Employees | 6 monthly | Hand arm vibration syndrome, whole body vibration syndrome | Rotation of operator,supervision, medical surveillances | 3 | B | III | Fully effective | Maintain existing controls | Incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| N | 7 | Noise Pollution | 7 | Exposure to excessive noise above exposure limit | Health | Operation of the machine, maintanance of the machine, No supervision, No training, exposure to excessive noise | Employees/contractors | Supervisor/Manager/Employees | Daily | NIHL, Tinnitus | Medical Surveillance Measurements, Noise Surveys, Ear plugs | 4 | C | II | Mostly effective | Planned task observation | Incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| N | 8 | Dangerous Moving parts | 8 | Use of unguarded machines | Safety | inadequate guards | Employees/contractors | Supervisor/Manager/Employees | 3 monthly | Cuts,crush and burns | Supervision, toolbox talks, PPE,Inspection | 2 | C | III | Fully effective | Maintain existing controls | Incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| N | 9 | Flying Debris | 9 | Use of unguarded machines | Safety | Operation of the machine, not using PPE | Employees/contractors | Supervisor/Manager/Employees | 3 monthly | Eye, head, and ear injuries | PPE,machine guarding, toolbox talks | 2 | C | III | Fully effective | Maintain existing controls | Incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| R | 10 | Compressed air | 10 | Incorrrect use when cleaning PPE | Safety | inadequate training | Employees/contractors | Supervisor/Manager/Employees | 3 monthly | Air embolism, ruptured ear drums or organs, and dislodged eye balls | Training, Tool box talks, behavouiral observations,depressurize system | 4 | B | III | Fully effective | Maintain existing controls | Behavioural safety observations, inspections, incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| N | 11 | Unsecured tools | 11 | Tools falling from elevated positions | Safety | Tools not secured, improper handling of tools | Employees/contractors | Supervisor/Manager/Employees | 18 monthly | Head injuries, fatal injuries. | Supervision, Tool box talks, behavouiral observations, risk assessment, | 5 | C | II | Mostly effective | Planned task observations, | Behavioural observations, incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
Housekeeping | R | 12 | Wet and slippery surface | 12 | Slipping on wet, slipery floors | Safety | Floor wet from cleaning water, spillage of oil (plant checks) | Employees / contractors | Supervisor/Manager/Employees | Monthly | Head injuries. Back, neck, and spine injuries. Torn tendons and ligaments | Slipery floor Signs | 4 | B | III | Fully effective | Maintain existing controls | Behavioural observations, incident records, inspections | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| R | 13 | Cleaning chemical agents | 13 | Ingestion, inhalation, direct contact with skin | Health | Not wearing PPE, not referring to MSDS's | Employees / contractors | Supervisor/Manager/Employees | 3 Monthly | Respiratory diseases | PPE, MSDS's, Toolbox talks,behavoiural observations | 3 | B | III | Fully effective | Maintain existing controls | Behavioural observations, incident records inspections | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
Operational activities at VDK | R | 14 | Live apparatus/circuts | 15 | Incorrect switching , linking and isolating | Safety | Lack of training, inadequate risk assessment | Employees/contractors | Supervisor/Manager/Employees | Weekly | flash burns,electric shock,electrical fires, | Arch Flash PPE, Permit to work system,Isolation, test before touch, risk assessment, tool box talks, Life saving rules, PSR, Authorisation, ORHVS training | 5 | C | II | Mostly effective | Panned task observations | Authorisations, Behavioural observation, incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| N | 15 | Heavy equipment(handling breakers) | 16 | Incorrect lifting technique | Health | Incorrect posture, lifting and interaction with heavy equipment | Employees/contractors | Supervisor/Manager/Employees | 3 monthly | Work related upperlimb disorder, back injuries | Toolbox talks, PPE, taking breaks, two man rule | 4 | B | III | Fully effective | Maintain existing controls | Authorisations, Behavioural observation, incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
Operating of mobile equipment(crane, forklift truck) | R | 16 | Loading and offloading equipment | 17 | Equipment falling on staff, other equipment | Safety | Capacity not checked, Unserviced cranes, Inadequate inspection of lifting equipment, Incorrect rigging, Not following SWP, staff not trained properly, unauthorised personel | Employees/contractors | Supervisor/Manager/Employees | 3 monthly | Crushing, property damage, serious head injuries | Training and appointments, Inspections, PPE, Site conditions,capacity checks, pre-job brief, Observations | 4 | B | III | Fully effective | Maintain existing controls | Incident records, ispections,Behavioural observation | Supervisor/Manager | MDR 18, | N/A | N/A | N/A
| N | 17 | Noise | 18 | Excessive noise exposure> 85dB | Health | Not using hearing protection, lack of training, operation of the machine | Employees/contractors | Supervisor/Manager/Employees | Weekly | NIHL, tinittus | Awareness training, PPE, toolbox talk, pre-job brief, NIHL awareness | 3 | C | II | Mostly effective | Planned task observations | Incident records, medical surveillance, surveys, behavioural observations | Supervisor/Manager | MDR 18,NIHL regulations | N/A | N/A | N/A
| N | 18 | Unauthorised personnel operating mobile equipment | 19 | Overturning,falls of material,crushing hazards | Safety | No training, Unauthorised personel, No Supervision, Not following Safe work procedures | Employees/contractors | Supervisor/Manager/Employees | Weekly | Property/lifting equipment damage, Serious injuries | Training, Supervision, Observations, toolbox talks, permit to work | 4 | B | III | Fully effective | Maintain existing controls | Incident records, ispections,Behavioural observation | Supervisor/Manager | MDR 18, | N/A | N/A | N/A
| N | 19 | Diesel Fumes | 20 | inhalation of fumes | Health | Inadequate PPE, lack of supervion, lack of risk assessment, lack of service, using machine that is not serviced,operation of the machine | Employees/contractors | Supervisor/Manager/Employees | Weekly | Respiratory diseases | Supervision and regular breaks, dust mask, Proper PPE, proper training and authorisation, medical surveillance, pre-job brief | 3 | C | III | Fully effective | Maintain existing controls | Incident records, ispections,Behavioural observation | Supervisor/Manager | MDR 18, | N/A | N/A | N/A
| N | 20 | Poor visibility | 21 | crushing hazard | Safety | Raised load obscuring the visibility, not using Banksman | Employees/contractors | Supervisor/Manager/Employees | Weekly | Crushing injuries, property damage | Use of Banksman, toolbox talk, training and appointments, audible warnings | 2 | A | IV | Fully effective | Maintain existing controls | Incident records, ispections,Behavioural observation | Supervisor/Manager | MDR 18, | N/A | N/A | N/A
| N | 21 | Suspended loads | 22 | Moving under suspended loads | Safety | Risk assessment not conducted, induction training not done,unauthorised personel | Employees/contractors | Supervisor/Manager/Employees | Monthly | Head injuries | Induction training, PPE, | 5 | B | II | Mostly effective | Planned task observations | Incident records, ispections,Behavioural observation | Supervisor/Manager | MDR 18, | N/A | N/A
| R | 22 | Defective lifting equipment | 23 | Struck by, caught in between | Safety | Inadequate inspection of lifting equipment, Incorrect rigging | Employees/contractors | Supervisor/Manager/Employees | Weekly | crushing injuries, head injuries | Routine inspections, training | 5 | B | II | Mostly effective | Planned task observations | Incident records, ispections,Behavioural observation | Supervisor/Manager | MDR 18, | N/A | N/A
Confined spaces | R | 23 | Oxygen deficiency | 24 | inability to acquire oxygen | Health | Incompetency, lack of emergency drills, lack of risk assessment, lack of atmospheric testing, inadequete PPE | Employees/Contractors | Supervisor/Manager/Employees | 3 monthly | Unconsciousness | Permit to work, Risk Assessment, Training, PPE, Monitoring arrangements, means of access | 3 | B | III | Fully effective | Maintain existing controls | Incident records, Behavioural observation | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| R | 24 | Heat | 25 | Exposure to exessessive thermal environment | Health | Lack/improper ventilation, not allowing cool-off time | Employees/Contractors | Supervisor/Manager/Employees | 36 monthly | Heat stress, dehydration, unconsciousness | Openings to allow ventilation, training, mechanical ventilation,permit to work system | 3 | A | IV | Fully effective | Maintain existing controls | Incident records, Behavioural observation | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| R | 25 | Polluted Water | 26 | Access to polluted water | Health | lack of training , lack of emergency drills, lack of risk assessment,lack of surveys, inadequete PPE | Employees/Contractors | Supervisor/Manager/Employees | 36 monthly | Hepatitis A or B, Weil's disease, gastroenterities | Medical Surveillance, Adequate PPE,permit to work system | 3 | A | IV | Fully effective | Maintain existing controls | Incident records, Behavioural observation | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| R | 26 | Restrict and dark space | 27 | struck against or body strain | Health | Not physically or medically fit,lack of training , lack of emergency drills, lack of risk assessment,Poor ergonomics, insufficient lighting | Employees/Contractors | Supervisor/Manager/Employees | 36 monthly | work related upperlimb disorder, back injuries, crushing injuries | Medical survellance, permit to work system,Emergency preparedness procedures, inspections, surveys | 3 | A | IV | Fully effective | Maintain existing controls | Incident records, Behavioural observation | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| R | 27 | Toxic,explosive,flammable atmosphere | 28 | inhalation of fumes, welding activities, smoking | Safety/Health | Incompetency, lack of emergency drills, lack of risk assessment, lack of atmospheric testing, inadequete PPE | Employees/Contractors | Supervisor/Manager/Employees | 36 monthly | burns from fire, Unconsiousness | Gas testing, training, permit to work system, fire extinguishers, Emergency preparedness procedures | 3 | A | IV | Fully effective | Maintain existing controls | Incident records, Behavioural observation | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
Exposure to the field(outside area) | R | 28 | Snakes bite | 29 | coming into contact with a deadly snake | Health | Lack of awareness, Lack of attention/ Inappropriate PPE/ Unaware of danger in the vicinity | Employees/Contractors | Supervisor/Manager/Employees | Monthly | Shock, fever, fainting, rapid pulse and breathing difficulties and fatality. | Awareness training, PPE, toolbox talk, be aware of your surroundings | 4 | B | III | Fully effective | Maintain existing controls | Incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| R | 29 | Wet ,slippery or uneven surfaces | 30 | Slipping on wet floors or uneven surfaces | Safety | Lack of focus, unaware of the risk | Employees/Contractors | Supervisor/Manager/Employees | Weekly | Head injuries. Back, neck, and spine injuries. Torn tendons and ligaments | PPE to be worn, be aware of where you are stepping, clean up spills immediately, toolbox talks | 3 | B | III | Fully effective | Maintain existing controls | Incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| R | 30 | Extreme temperatures/ thermal environments | 31 | Exposure to excessive thermal conditions | Health | Lack of awareness, improper PPE, long working hours | Employees/Contractors | Supervisor/Manager/Employees | Monthly | Heat and cold stress, dehydration | Suitable PPE, take breaks, clean drinking water,toolbox talk | 4 | B | III | Fully effective | Maintain existing controls | Incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| R | 31 | Insects bites | 32 | coming into contact with dangerous insects | Health | Lack of awareness, Lack of attention/ Inappropriate PPE/ Unaware of danger in the vicinity | Employees/Contractors | Supervisor/Manager/Employees | Weekly | Allergic reaction, Experience burning, pain, itching, rediness, headache, rash, nausea, vomiting, possible fatality | Awareness training, PPE, toolbox talk,be aware of your surroundings | 2 | C | III | Fully effective | Maintain existing controls | Incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
Workplace environment(Plant) and facilities | R | 32 | slippery/wet floors | 33 | Slipping on wet, slipery floors | Safety | Leaks | Employees/Contractors | Supervisor/Manager/Employees | Daily, 2hrs | Head injuries. Back, neck, and spine injuries. Torn tendons and ligaments | Awareness training, PPE, toolbox talk,be aware of your surroundings, cleaning | 3 | B | III | Fully effective | Maintain existing controls | Incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| R | 33 | Ergonomics | 34 | incorrect posture | Health | Poor ergonomics when checking for leaks under equipment | Employees/Contractors | Supervisor/Manager/Employees | Daily, 2hrs | Work related upperlimb disorder, back injuries | Awareness training, toolbox talk | 2 | C | III | Fully effective | Maintain existing controls | Incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| R | 34 | Biological hazardous substance | 35 | Inhalation of biological fumes | Health | Contact with biological hazardous substance, ground water ingress | Employees/contractors | Supervisor/Manager/Employees | Monthly | Contracting hepatitis A or B disease Infections | PPE, toolbox talks , Hepatitus A&B Injections given to employees | 3 | B | III | Fully effective | Maintain existing controls | Behavioural observations, incident records, inspections | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| N | 35 | Excessive noise | 36 | Exposure to excessive noise above exposure limit | Health | Ear plugs not work when working in areas where noise exceeds the exposure limit/ Ear plugs not worn correctly | Employees/Contractors | Supervisor/Manager/Employees | Daily, 2hrs | NIHL, tinittus | Use of earplugs, NIHL awaremess, toolbox talks, Noise surveys, | 3 | C | II | Fully effective | Planned task observations | Incident records, medical surveillance, surveys, behavioural observations | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993), | 31/08/2020 | Completed | N/A
Working with Computers, office layout, printer | N | 36 | Inadequate/ Excessive lighting levels | 37 | Poor visibility | Health | Working in areas with poor/ excessive lighting | Employees | Supervisor/Manager/Employees | Daily, 6hrs | Straining and or irritation of the eyes, eye damage | Illumination Surveys | 2 | C | III | Fully effective | Maintain existing controls | Incident records, surveys | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| N | 37 | Wet or slippery or uneven surfaces | 38 | Slipping on wet floors or uneven surfaces | Safety | Poor housekeeping,lack of foucs/ no sign indicating wet floor, lack of awarness | Employees | Supervisor/Manager/Employees | Daily, 6hrs | Head injuries. Back, neck, and spine injuries. Torn tendons and ligaments | PPE to be worn, be aware of where you are stepping, clean up spills immediately, toolbox talks | 3 | B | III | Fully effective | Maintain existing controls | Incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| N | 38 | Paper Jams | 39 | Removing paper jams | Safety | Lack of concentration | Employees | Supervisor/Manager/Employees | Daily, 6hrs | Cuts, entanglement, shearing,crushing injuries | Guard over blade, Toolbox talk, Training | 3 | B | III | Fully effective | Maintain existing controls | Incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| N | 39 | Poor ergonomics at workstations | 40 | Siting in awkward positions,repetitive movement(using mouse) | Health | No Regular breaks, Incorrect posture | Employees | Supervisor/Manager/Employees | Daily, 6hrs | Work related upper limb disorders, repetetive strain syndrome, capal tunnel syndrome | Toolbox talks,Awareness, Correct work station layout, Avoid long working sessions, Ergonomically designed chairs | 3 | B | III | Fully effective | Maintain existing controls | Incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
Driving on site and public roads | N | 40 | Overspeeding | 41 | Losing control of vehicle | Safety | Not adhering to the speed limit, pressed for time,Not adhering to life saving rules | Employees/contractors | Supervisor/Manager/Employees | Daily | Serious injuries that could lead to lost time injury | Mix telematics, toolbox talks, awareness training, K53, Vehicle driver safety procedure, driver permit, Pre and post trip inspections, Life saving rules | 4 | C | II | Fully effective | Planned driver observations, | Driver risk profile, incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993), vehicle driver safety procedure | N/A | N/A | N/A
| N | 41 | Fatigue | 42 | Driving long hours,overtime | Safety | Outages, Operational | Employees/contractors | Supervisor/Manager/Employees | Once a month | Serious injuries that could lead to lost time injury | toolbox talks, awareness training, Vehicle driver safety procedure, driver observations, SHE Policy | 4 | B | III | Fully effective | Maintain existing controls | Driver risk profile, incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993), vehicle driver safety procedure | N/A | N/A | N/A
| N | 42 | Animals on the road | 43 | Animals crossing/on the road | Safety | Speeding, driving at night | Employees/contractors | Supervisor/Manager/Employees | Daily | Injuries that could result in seekig medical attention | Toolbox talks, awareness training, | 3 | C | III | Fully effective | Maintain existing controls | Driver risk profile, incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993), vehicle driver safety procedure | N/A | N/A | N/A
| N | 43 | Driving on gravel road | 44 | Speeding on gravel road | Safety | road not tarred/ private road, not adhering to the speed limit, uneven ground | Employees/contractors | Supervisor/Manager/Employees | Once a month | Serious injuries that could lead to lost time injury | toolbox talks, awareness training, Vehicle driver safety procedure, driver observations, Life saving rules, | 4 | C | II | Fully effective | Planned driver observations, | Driver risk profile, incident records, | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993), vehicle driver safety procedure | N/A | N/A | N/A
| N | 44 | Driving on public roads | 45 | Speeding on public road, unforseen circumstances e.g third party at fault | Safety | Not adhering to the speed limit. Not paying attention, not familiar with the road, making use of cellphone, distractions, exposed to unsafe behaviours, congested roads, pedestrians and live stock, Taxi and Truck on the road, Civil unrest. Negligent driving,, Not adhering to life saving rules | Employees/contractors | Supervisor/Manager/Employees | Daily | Serious injuries that could lead to lost time injury | Mix telematics, toolbox talks, awareness training, K53, Vehicle driver safety procedure,driver permit, Pre and post trip inspections, PDP, Life saving rules | 4 | C | II | Fully effective | Planned driver observations, | Driver risk profile, incident records, | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993), vehicle driver safety procedure | N/A | N/A | N/A
Scaffold,Stairs, Cat ladders(working at a fall risk position) | N | 45 | Ascending, descending and working at elevated positions | 46 | Slip, trip and fall | Safety | Wear and tear, lack of concentration, misjudging height, not applying three point contact, not hooking up at height | Employees / contractors | Supervisor/Manager/Employees | Daily, 2hrs | Head injuries. Back, neck, and spine injuries. Torn tendons and ligaments | Apply three point contact, safety inspections, Awareness training, Maintenance when necessary, working at height rescue drill | 4 | C | II | Mostly effective | Planned driver observations, | Incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| N | 46 | Awkward Position, Heavy equipment | 47 | incorrect posture | Safety | Not taking breaks, incorrect lifting technique, lack of risk assessment, lack of training | Employees/contractors | Supervisor/Manager/Employees | 18 Monthly | Crushing, WRULD | taking breaks, pre-job brief, two man rule, toolbox talks | 4 | A | III | Fully effective | Maintain existing controls | Incident records, inspections | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| R | 47 | Falling objects | 48 | Tools falling from elevated positions | Safety | Objects not secured,dropping zone not identified | Employees/contractors | Supervisor/Manager/Employees | 18 Monthly | Head injuries,injuries that could lead to lost time injury | Tool box talks, behavouiral observations, risk assessment | 4 | C | II | Fully effective | Planned task observation | Incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
Battery Room | R | 48 | Acid, hydrogen fumes | 49 | Coming into contact with acid, inhaling fumes, explosives build up | Health | lack of proper ventilation, not using correct PPE, lack of risk assessment, lack of training | Employees/contractors | Supervisor/Manager/Employees | Monthly | Burns,explosions | Fire extinguisher, PPE, permit to work system, risk assessment, training | 4 | B | III | Fully effective | Maintain existing controls | Incident records, inspections | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
Hazardous Locations | R | 49 | Hydrogen, Diesel vapors, Paint fumes, Electrical cleaner vapors, Asbestos etc. | 50 | inhaling fumes, explosives build up, exposure to asbestos | Health | Explosive fumes build up, not using correct PPE, lack of risk assessment | Employees/contractors | O&M Manager/Project Manager | Monthly | Fire, Explosions, injuries that could lead to LTI | Fire extinguisher, PPE, permit to work system, risk assessment, Asbestos identification, removal and handling contract. Eskom manages asbestos using the contract. | 4 | B | III | Fully effective | Maintain existing controls | Incident records, inspections | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
Emergency Risks | N | 50 | Floods | 51 | uncontrolled flooding | Safety | Plant failure, system/equipment failure, adverse weather conditions | Employees / contractors/Security guards/Employees / contractors/ visitors | Manager/ Risk & Assurance | Years to decades | drowning,trauma, production loss, damage to property | Emergency plan/preparedness, risk assessment, emergency drill routines | 5 | A | II | Mostly effective | Maintain existing controls | Incident records,emergency drill routines | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| N | 51 | Bomb threat | 52 | Explosions | Safety | Unknown | Employees / contractors/Security guards/Employees / contractors/ visitors | Manager/ Risk & Assurance | Years to decades | Trauma, Injuries that could lead to LTI | Emergency plan/preparedness, risk assessment, emergency drill routines, contigency plans | 4 | A | III | Fully effective | Maintain existing controls | Incident records,emergency drill routines | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| N | 52 | Community riots/ Civil unrest | 53 | Getting beaten or stabbed | Safety | Unsatisfied customers (Delays in responding to faults, re-occurance of similar faults and any other motives, load shedding) | Employees / contractors/Security guards/Employees / contractors/ visitors | Manager/ Risk & Assurance | 5 times a year | Injuiries that could result in medical attention | Emergency plan/preparedness, risk assessment, emergency drill routines,contigency plans | 3 | C | III | Fully effective | Maintain existing controls | Incident records,emergency drill routines | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| N | 53 | Explosions | 54 | Explosions | Safety | fuel tanks, batteries exploding, plant failure, human error, conditions | Employees / contractors/Security guards/Employees / contractors/ visitors | Manager/ Risk & Assurance | Years to decades | Injuries that could lead to LTI | Emergency plan/preparedness, risk assessment, emergency drill routines,contigency plans | 4 | A | III | Fully effective | Maintain existing controls | Incident records,emergency drill routines | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| N | 54 | Blackouts/Loss of power supply | 55 | Extreme weather condition(lightning) | Safety | Weather conditions, insufficiant power supply | Employees / contractors/Security guards/Employees / contractors/ visitors | Manager/ Risk & Assurance | 5 times a year | Property damage, injuries that results to medical attention | Emergency plan procedure/preparedness, risk assessment, emergency drill routines,contigency plans, emergency lighting | 3 | C | III | Fully effective | Maintain existing controls | Incident records,emergency drill routines | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| N | 55 | Hostage situations | 56 | Getting shot, beaten or stabbed | Safety | Unknown, load shedding | Employees / contractors/Security guards/Employees / contractors/ visitors | Manager/ Risk & Assurance | Years to decades | Injuries, Damage to premises | Emergency plan procedure/preparedness, risk assessment, emergency drill routines,contigency plans, | 4 | B | III | Fully effective | Maintain existing controls | Incident records,emergency drill routines | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
| N | 56 | Fire | 57 | Inhalation, irritation from the cartridges chemical fumes and dust | Safety/Health | Poor housekeeping, Solids such as paper, wood, plastic etc. Flammable liquids such as paraffin, petrol, oil etc. Fires involving electrical apparatus. Materials with low ignition temperatures. | Employees / contractors/Security guards/Employees / contractors/ visitors | Manager/ Risk & Assurance | Years to decades | Respiratory diseases, burns, injuries that could lead to LTI | Emergency plan procedure/preparedness, risk assessment, emergency drill routines,contigency plans Smoke detectors, Deluge fire prevention system, Sprinkler fire suppression system, Fire alarm system, Fire Extinguishers, Fire Hoses, Fire Hydrants and dampers. Servicing of fire control and detection systems. Keeping control of quantities in flammable store. Flammable storage permit. | 4 | B | III | Fully effective | Maintain existing controls | Incident records,emergency drill routines | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | N/A | N/A | N/A
Site operational activities | R | 57 | Psychosocial factors | 57 | Suicide, Stress, Depression , Bullying, Harrassment | Safety | Divorce, Work Pressure, Personal Problems, Fanancial Issues, Loss of loved one | Employees / contractors | O&M Manager | Daily | Fatality, Poor work perfomance | Eskom Assistant Program (EAP) | 5 | B | II | Mostly effective | Training and awareness, employee engagement | Incident Analysis | O&M Manager | ISO 45001 (Clause 6.1.2 | N/A | N/A | N/A
Structural Intergrity Inspection by DWS | R | 58 | Water | 58 | Flooding of station | Safety | Department of Water Affairs not inspecting dam wall 5 yearly as per statutory requirments | Employees / contractors | O&M Manager | Daily | Damage to the station , Fatality | Civil engineering department conduct annual inspections of the dam wall | 5 | B | II | Mostly effective | Have continuous engagement with department of water affairs | DSW 5 yearly Report, Engineering annual inspection | O&M Manager | Section 8 of OHS Act, CR 11 | N/A | N/A | N/A
Covid 19 management | R | 61 | Coughing and high body temperature | 57 | Exposure to covid 19 related infections and symptoms | Health | Poor hygiene practices ,failure to continually sanitise and failure to seek proper medical advice. | Employees, contractors, Visitors, Suppliers | Manager/Supervisor | Daily | Fatality and Madical incidents | Continuously sanitizing work areas /hands and follow all covid 19 related Eskom practices. | 2 | B | III | Mostly effective | Training and awareness, employee engagement | Covid 19 Incident Analysis , Proper site access control policy. | Manager/Supervisor | The Disaster Management Act 57 of 2002 | None | None | N/A

## Contractor Baseline template
Occupational Health and Safety Baseline risk assessment template
Business/Operating unit: | [9 empty] | Next Review Date (every 2 years): | Template identifier:
Date: |  |  |  |  | Authorised by: |  | Name: |  |  | Document identifier |  | R | Safety | 1 | A | Fully effective | I
[7 empty] | Designation: |  |  | Revision number: | 5 | N | Health | 2 | B | Mostly effective | II
[7 empty] | Signed: |  |  | Revision date: | 2025-04-30 |  |  | 3 | C | Mostly ineffective | III
Refer to Occupational Health and Safety Risk assessment procedure 32-520 | [13 empty] | 5 | E
List activity | Hazard Identification | Associated risk | Risk type | What are the possible consequences? | Existing Controls |  |  | Risk Priority Rating |  | Control Owner | Legal and Other Requirements |  |  | 6
List specific activities to be performed taking into consideration the equipment to be used, the personnel involved in the task. | Anything with potential to cause of harm. Note: A hazard can pose more than one risk. | A chance that injury , ill health or damage could occur as a result of uncontrolled hazard. | Safety or health | Consider the worse case scenario without controls? | Include: - Preventative Controls (controls implemented to eliminate hazards or reduce the likelihood of the risk occurring), and - Reactive Controls (controls implemented to reduce the immediate impact of the risk occurring) Elimination Substitution Engineering controls Administrative controls Personal protective equipment (PPE) | Consequence | Likelihood |  | RCE Risk Control Effectiveness | Person allocated the responsibility for implementing the agreed controls | Where relevant, list the relevant legislative and or Eskom requirements that prescribe the control.
The use of handtools, Powertools | Defective/broken tools | Use of defective/broken tools |  | Hand injuries, cuts and bruises , electrical shock, fractures, incidents which could lead to loss time. | PPE,supervision, Tools box talks,routine inspections |  |  |  |  | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
Housekeeping | Wet and slippery surface | Slipping on wet, slipery floors |  | Head injuries. Back, neck, and spine injuries. Torn tendons and ligaments | Slipery floor Signs |  |  |  |  | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
Operational activities at VDK | Live apparatus/circuts | Incorrect switching , linking and isolating |  | flash burns,electric shock,electrical fires, | Arch Flash PPE, Permit to work system,Isolation, test before touch, risk assessment, tool box talks, Life saving rules, PSR, Authorisation, ORHVS training |  |  |  |  | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
Operating of mobile equipment(crane, forklift truck) | Loading and offloading equipment | Equipment falling on staff, other equipment |  | Crushing, property damage, serious head injuries | Training and appointments, Inspections, PPE, Site conditions,capacity checks, pre-job brief, Observations |  |  |  |  | Supervisor/Manager | MDR 18,
Confined spaces | Oxygen deficiency | inability to acquire oxygen |  | Unconsciousness | Permit to work, Risk Assessment, Training, PPE, Monitoring arrangements, means of access |  |  |  |  | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
Exposure to the field(outside area) | Snakes bite | coming into contact with a deadly snake |  | Shock, fever, fainting, rapid pulse and breathing difficulties and fatality. | Awareness training, PPE, toolbox talk, be aware of your surroundings |  |  |  |  | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
Workplace environment(Plant) and facilities | slippery/wet floors | Slipping on wet, slipery floors |  | Head injuries. Back, neck, and spine injuries. Torn tendons and ligaments | Awareness training, PPE, toolbox talk,be aware of your surroundings, cleaning |  |  |  |  | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
Working with Computers, office layout, printer | Inadequate/ Excessive lighting levels | Poor visibility |  | Straining and or irritation of the eyes, eye damage | Illumination Surveys |  |  |  |  | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
Driving on site and public roads | Overspeeding | Losing control of vehicle |  | Serious injuries that could lead to lost time injury | Mix telematics, toolbox talks, awareness training, K53, Vehicle driver safety procedure, driver permit, Pre and post trip inspections, Life saving rules |  |  |  |  | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993), vehicle driver safety procedure
Scaffold,Stairs, Cat ladders(working at a fall risk position) | Ascending, descending and working at elevated positions | Slip, trip and fall |  | Head injuries. Back, neck, and spine injuries. Torn tendons and ligaments | Apply three point contact, safety inspections, Awareness training, Maintenance when necessary, working at height rescue drill |  |  |  |  | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
Battery Room | Acid, hydrogen fumes | Coming into contact with acid, inhaling fumes, explosives build up |  | Burns,explosions | Fire extinguisher, PPE, permit to work system, risk assessment, training |  |  |  |  | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
Hazardous Locations | Hydrogen, Diesel vapors, Paint fumes, Electrical cleaner vapors, Asbestos etc. | inhaling fumes, explosives build up, exposure to asbestos |  | Fire, Explosions, injuries that could lead to LTI | Fire extinguisher, PPE, permit to work system, risk assessment, Asbestos identification, removal and handling contract. Eskom manages asbestos using the contract. |  |  |  |  | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
Emergency Risks | Floods | uncontrolled flooding |  | drowning,trauma, production loss, damage to property | Emergency plan/preparedness, risk assessment, emergency drill routines |  |  |  |  | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993)
Site operational activities | Psychosocial factors | Suicide, Stress, Depression , Bullying, Harrassment |  | Fatality, Poor work perfomance | Eskom Assistant Program (EAP) |  |  |  |  | O&M Manager | ISO 45001 (Clause 6.1.2
Structural Intergrity Inspection by DWS | Water | Flooding of station |  | Damage to the station , Fatality | Civil engineering department conduct annual inspections of the dam wall |  |  |  |  | O&M Manager | Section 8 of OHS Act, CR 11
Covid 19 management | Coughing and high body temperature | Exposure to covid 19 related infections and symptoms |  | Fatality and Madical incidents | Continuously sanitizing work areas /hands and follow all covid 19 related Eskom practices. |  |  |  |  | Manager/Supervisor | The Disaster Management Act 57 of 2002
s

## Consequence rating
Consequence criteria
Consequence rating | Description | R | Safety | 1 | A | Fully effective | I
| Health and Safety | N | Health | 2 | B | Mostly effective | II
1 | No injuries or health effects(near misses) |  |  | 3 | C | Mostly ineffective | III
2 | First-aid treatment case, and temporary discomfort case |  |  | 4 | D | None | IV
3 | Medical treatment case; occupational disease with reversible/non-permanent effect |  |  | 5 | E
4 | Lost Time Injury. Irreversible health effects/occupational disease with permanent consequence |  |  | 6
5 | Fatality or life threatening health effects
6 | Multiple fatalities

## Likelihood rating
Likelihood criteria
| Score | Descriptor | Safety | Occupational hygiene
|  |  |  | Exposure | Probability of exceeding OEL
| A | Highly unlikely | § More than a “100 year event” | Rare (once a year) | No exposure (or exposure < 10% of OEL)
§ Exceptionally unlikely, even in the long-term future
§ < 5% probability.
| B | Unlikely | § Could occur in “years to decades” | Short periods of time, a few times per day/ intermittent (once in six months, three months, or a month) | Low exposure (< 50% of OEL)
§ May occur but not anticipated
§ ≥ 5% and < 20% probability.
| C | Possible | § Could occur within “months to years” | Continuous for between one and two hours (often/ weekly) | Moderate exposure (chronic exposure > 50% of OEL or acute exposure ≥ OEL)
§ May occur shortly but a distinct probability it will not, or ≥ 20% and < 70% probability.
| D | Likely | § Could occur within “weeks to months” | Continuous for between two and four hours (frequent/daily) | High exposure (chronic exposure > OEL, or exposure exceeding OEL-STEL)
§ Balance of probability will occur
§ ≥ 70% and < 90% probability.
| E | Unavoidable | § Could occur within “days to weeks” | Continuous for eight-hour shift | Very high exposure (chronic exposure > 2 x OEL or exposure exceeding OEL-C)
§ Impact is imminent
§ ≥ 90% probability.

## Risk control effectiveness
RISK CONTROL EFFECTIVENESS GUIDE
RCE | Guide
Fully effective | Nothing more to be done except review and monitor the existing controls. Controls are well designed for the risk, are largely preventive and address the root causes. Management believes that they are effective and reliable at all times. Reactive controls only support preventive controls.
Mostly effective | Most controls are designed correctly and are in place and effective. Some more work to be done to improve operating effectiveness or management has doubts about operational effectiveness and reliability of the controls.
Mostly ineffective | While the design of controls may be largely correct in that they treat most of the root causes of the risk, they are not currently operationally very effective. There may be an over-reliance on reactive controls, or some of the controls do not seem correctly designed in that they do not treat root causes.
None | Virtually no credible control. Management has no confidence that any degree of control is being achieved.

## Risk matrix
RISK MATRIX
Consequences | 6 | I | I | I | I | I
| 5 | II | II | II | I | I
| 4 | III | III | II | I | I
| 3 | IV | III | II | II | I
| 2 | IV | IV | III | II | II
| 1 | IV | IV | III | III | III
|  | A | B | C | D | E
Likelihood
,
| Priority | Risk ranking | Action required
| I | Very high | Immediate action required.
| II | High | Strong mandatory action required
| III | Medium | Action required, possibly at administrative level.
| IV | Low | Minor or no action required.