## Peaking
Occupational Health and Safety Baseline risk assessment template
Business/Operating unit: | Peaking | [7 empty] | Department: | Peaking Stations | [9 empty] | Next Review Date (every 2 years): | 12/06/2027 | Template identifier: | 240-70044602
Date: | 12/06/2025 | [7 empty] | Prepared by: | Sipho Tibane |  | Authorised by: |  | Name: Bongani Langa | [7 empty] | Document identifier
[14 empty] | Designation: Senior Advisor OHS | [7 empty] | Revision number: | 5
[14 empty] | Date: 12/06/2025 | [7 empty] | Revision date: | 2027-06-30
Refer to Occupational Health and Safety Risk assessment procedure 32-520
List activity | Activity type (Routine/Non-routine) | Hazard nr | Hazard Identification | Risk Nr | Associated risk | Risk type | Cause(s) of the risk | Exposed group/employees | Risk Owner | Exposure patterns | What are the possible consequences? | Existing Controls |  |  | Risk Priority Rating |  | Additional Controls or Tasks Aimed at improving Existing Controls | Monitoring Mechanisms | Control Owner | Legal and Other Requirements | Target Date | Current Status | Integrated Risk Management (IRM) reference number
List specific activities to be performed taking into consideration the equipment to be used, the personnel involved in the task. | Indicate R or N 1. Routine activities and situations create hazards through day-to-day operations and normal work activities; 2. Non-routine activities and situations are occasional or unplanned; | # | Anything with potential to cause of harm. Note: A hazard can pose more than one risk. | # | A chance that injury , ill health or damage could occur as a result of uncontrolled hazard. | Safety or health | What causes the risk to come into effect? | Who is exposed to the hazard i.e. visitors, members of the public, etc. | Who is accountable for making sure the controls and monitors are: - in place, - implemented, - regularly reviewed for effectiveness. | The frequency and duration the person/group is exposed to the hazard e.g. Daily for 3 hrs. | Consider the worse case scenario without controls? | Include: - Preventative Controls (controls implemented to eliminate hazards or reduce the likelihood of the risk occurring), and - Reactive Controls (controls implemented to reduce the immediate impact of the risk occurring) Elimination Substitution Engineering controls Administrative controls Personal protective equipment (PPE) | Consequence | Likelihood |  | RCE Risk Control Effectiveness | Include: - Preventative Controls (controls implemented to eliminate hazards or reduce the likelihood of the risk occurring), and - Reactive Controls (controls implemented to reduce the immediate impact of the risk occurring) Elimination Substitution Engineering controls Administrative controls Personal protective equipment (PPE) NB: The risk shall be evaluated, assessed and rated again once additional controls have been implemented and those controls listed as existing controls. | How we know if we are succeeding. Include comments on effectiveness. This may include i.e. measurements, inspections, supervision where necessary. | Person allocated the responsibility for implementing the agreed controls (if applicable) | Where relevant, list the relevant legislative and or Eskom requirements that prescribe the control. | Once a date has been agreed to, this can not be changed (if applicable) | Pending, In Progress, Complete (if applicable) | Where applicable, add IRM system reference number for tracking of treatment actions. (applicable to risks that have an impact on business objectives or require intervention from Senior or Executive management such as impementing major engineering projects as a control)
Working at heights | R | 6 | Falling from height | 6 | Workers could fall from elevated position and or fall from the same level | Safety | No proper guard rails around working platforms, Not using Safety harness or not hooking up, not medically fit, not trained on ladder safety/ working at heights training, Not adhering to or no fall protection plan | Employees / contractors | Supervisor | Daily | Fatality | Safety guard rails, Medical survellance,working at height and rescue training, induction training, toolbox talks,Risk Assessment, Work Permit,Ladder training, inspections, safety clearance for working at heights, Life saving rules, safety harness | 4 | B | III | Mostly effective | Train and appoint fall protection development planner, Develop Fall protection plan, | Behavioural and planned task observations, incident records, inspections, Training needs analysis and matrix | Supervisor/Manager | Working at heights procedure(32-418), CR 8, 9 &10, Section 8 and 14 of OHS Act , Life-saving Rules 240-62196227, Revision 6, | None | None | N/A
Performing Lifting Activities | R | 13 | Loading and offloading equipment | 13 | Equipment falling on employees or other equipment, Mechanical failure | Safety | Capacity not checked, Unserviced cranes, Inadequate inspection of lifting equipment, Incorrect rigging, Not following SWP, staff not trained properly, unauthorised personel, defective warning siren | Employees/contractors | Supervisor | Weekly | Fatality | Warning Siren,Training and legal appointments, Inspections,Site conditions,capacity checks/ SWL, pre-job brief, Planned task Observations, PPE (gloves, hard hats, safety boots) | 4 | B | III | Mostly effective | Refresher Training | Incident records, ispections,Behavioura and planned task observation, Internal audits | Supervisor/Manager | MDR 18, | None | None | N/A
| N | 14 | Noise | 14 | NIHL, tinittus | Health | Not using hearing protection, lack of training, operation of the machine, Noise level survey not conducted | Employees/contractors | Supervisor | Weekly | Medical | Awareness training, PPE, toolbox talk, pre-job brief, NIHL awareness, Noise survey, ear protection | 4 | B | III | Mostly effective | Arrange to have noise survey conducted on all mobile equipment | Surveys, incidents records | Supervisor/Manager | MDR 18,NIHL regulations | None | None | N/A
| N | 15 | Unauthorised personnel operating mobile equipment | 15 | Property/lifting equipment damage, Serious injuries | Safety | No training, Unauthorised personel, No Supervision, Not following Safe work procedures | Employees/contractors | Supervisor | Weekly | Fatality | Training/authorisation.Supervision, Observations, toolbox talks. | 4 | B | III | Mostly effective | Refresher Training | Incident records, ispections,Behavioura and planned task observation | Supervisor/Manager | MDR 18, | None | None | N/A
| N | 17 | Poor visibility | 17 | Crushing, property damage | Safety | Raised load obscuring the visibility, not using Banksman | Employees/contractors | Supervisor | Weekly | Fatality | Use of Banksman, toolbox talk, training and appointments, siren, reverse alarm, rotating light, pre-trip inspections | 4 | B | III | Mostly effective | Refresher Training | Incident records, ispections,Behavioura and planned task observation | Supervisor/Manager | MDR 18, | None | None | N/A
| N | 18 | Moving under suspended loads | 18 | Head injuries | Safety | lack of risk assessment, unauthorised personel | Employees/contractors | Supervisor | Weekly | Fatality | Supervision by responsible person, Hard hat, safety signages for use of hard hat | 4 | B | III | Mostly effective | Refresher Training | Incident records, ispections,Behavioura and planned task observation | Supervisor/Manager | MDR 18, OHS Act 8.2(i) | None | None | N/A
| N | 19 |  | 19 | Struck by, caught in between, lifting tackle could snap and break | Safety | Inadequate inspection of lifting equipment, Incorrect rigging | Employees/contractors | Supervisor | Weekly | Fatality | Routine inspections, training, supervision | 4 | B | III | Mostly effective | Refresher Training | Incident records, ispections,Behavioura and planned task observation | Supervisor/Manager | MDR 18, OHS Act 8.2(i) | None | None | N/A
| R | 35 | Driving on public roads and or private roads |  | Vehicle accident | Safety | Lone worker: Driving alone, Driving in high crime zones /areas, driving at night | Employees | Supervisor | Daily | Fatality, Theft | Route and travelling planning, vehicle tracking device, awareness, alertness, reporting pre and post driving | 4 | B | III | Mostly effective | Revision of the risk assessment | Driver risk profile, incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993), Driver safety procedure, NRT Act | None | None | N/A
| R | 36 | Driving on public roads and or private roads | 34 | Vehicle accident | Safety | Not adhering to the speed limit. Not paying attention, not familiar with the road, making use of cellphone, distractions, congested roads, pedestrians and live stock, Taxi and Truck on the road, Civil unrest. Negligent driving, Not adhering to life saving rules, failure to check blind spots before reversing, reversing in congested areas | Employees/contractors/ | Supervisor | Daily | Fatalities | Mix telematics and coaching, Pre and post trip inspections, Life saving rules, Ensure to keep safe following distance, Driver's licence, Driver risk profile, Eskom drivers permit, Ensure to adhere to all road traffic rules. Always have some one to guide you when reversing if possible. Security guards to always assist by guiding the driver at the gate to prevent reverse incidents. | 6 | C | I | Fully effective | None | Driver risk profile, incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) NRT Act | None | None | N/A
Erecting and dismantling scaffold | N | 41 | Awkward Position, Heavy equipment | 40 | Scaffold could fall onto employees,Work- Related Upper Limb Disorder (WRULD) | Safety/Health | Incorrect lifting technique, lack of continuous risk assessment, lack of training | Employees/contractors | Supervisor | 18 Monthly | Fatality | Continuous risk assessment, two man rule, toolbox talks, training, scaffolding erector appointment. | 4 | B | III | Mostly effective | Refresher Training | Incident records, inspections | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993 Section 8 and 14 | None | None | N/A
Use of stairs | N | 43 | Stairs | 42 | Trip/slip and fall | Safety | Wear and tear, lack of concentration, misjudging height, not applying three point contact, no "hold hand rail safety sign" | Employees / contractors | Supervisor | Daily, 2hrs | LTI | Apply three point contact, safety inspections, Awareness, Maintenance when necessary, safety signage | 4 | B | III | Mostly effective | Safety signage (Hold hand-rails) | Incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | None | None | N/A
Crane Operation | N | 57 | Blocked emeregency exit | 57 | Operator can be trap inside the cabin with no escape route | Safety | emergency Fire or emergency situation (Medical, Fire, Evacuation), | Employees, contractors, Visitors, Suppliers | Manager/Supervisor | 3 monthly | Fatality and Medical incidents | Fire quipment and Alternative exit | 4 | B | III | Mostly effective | Acqusition of Fire Blanket | Incident records | Supervisor/Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) | 2025-03-31 | Ongoing | N/A
Note on M12: Tessi Mpande: Confirm ladder safety training or PJO

## Consequence rating
Consequence criteria
Consequence rating | Description
Health and Safety
1 | No injuries or health effects(near misses)
2 | First-aid treatment case, and temporary discomfort case | Consequence rating | Description
3 | Medical treatment case; occupational disease with reversible/non-permanent effect |  | Health and Safety
4 | Lost Time Injury. Irreversible health effects/occupational disease with permanent consequence | 1 | No injuries or health effects(near misses)
5 | Fatality or life threatening health effects | 2 | First-aid treatment case, and temporary discomfort case
6 | Multiple fatalities | 3 | Medical treatment case; occupational disease with reversible/non-permanent effect
|  | 4 | Lost Time Injury. Irreversible health effects/occupational disease with permanent consequence
|  | 5 | Fatality or life threatening health effects
|  | 6 | Multiple fatalities

## Likelihood rating
Likelihood criteria
| Score | Descriptor | Safety | Occupational hygiene
|  |  |  | Exposure | Probability of exceeding OEL
| A | Highly unlikely | § More than a “100 year event” | Rare (once a year) | No exposure (or exposure < 10% of OEL)
§ Exceptionally unlikely, even in the long-term future
§ < 5% probability.
| B | Unlikely | § Could occur in “years to decades” | Short periods of time, a few times per day/ intermittent (once in six months, three months, or a month) | Low exposure (< 50% of OEL)
§ May occur but not anticipated
§ ≥ 5% and < 20% probability.
| C | Possible | § Could occur within “months to years” | Continuous for between one and two hours (often/ weekly) | Moderate exposure (chronic exposure > 50% of OEL or acute exposure ≥ OEL)
§ May occur shortly but a distinct probability it will not, or ≥ 20% and < 70% probability.
| D | Likely | § Could occur within “weeks to months” | Continuous for between two and four hours (frequent/daily) | High exposure (chronic exposure > OEL, or exposure exceeding OEL-STEL)
§ Balance of probability will occur
§ ≥ 70% and < 90% probability.
| E | Unavoidable | § Could occur within “days to weeks” | Continuous for eight-hour shift | Very high exposure (chronic exposure > 2 x OEL or exposure exceeding OEL-C)
§ Impact is imminent
§ ≥ 90% probability.

## Risk control effectiveness
RISK CONTROL EFFECTIVENESS GUIDE
RCE | Guide
Fully effective | Nothing more to be done except review and monitor the existing controls. Controls are well designed for the risk, are largely preventive and address the root causes. Management believes that they are effective and reliable at all times. Reactive controls only support preventive controls.
Mostly effective | Most controls are designed correctly and are in place and effective. Some more work to be done to improve operating effectiveness or management has doubts about operational effectiveness and reliability of the controls.
Mostly ineffective | While the design of controls may be largely correct in that they treat most of the root causes of the risk, they are not currently operationally very effective. There may be an over-reliance on reactive controls, or some of the controls do not seem correctly designed in that they do not treat root causes.
None | Virtually no credible control. Management has no confidence that any degree of control is being achieved.

## Risk matrix
RISK MATRIX
Consequences | 6 | I | I | I | I | I
| 5 | II | II | II | I | I
| 4 | III | III | II | I | I
| 3 | IV | III | II | II | I
| 2 | IV | IV | III | II | II
| 1 | IV | IV | III | III | III
|  | A | B | C | D | E
Likelihood
| Priority | Risk ranking | Action required
| I | Very high | Immediate action required.
| II | High | Strong mandatory action required.
| III | Medium | Action required, possibly at administrative level.
| IV | Low | Minor or no action required.

## Action Log
Action List
| Hazard Identification | Action | Due Date
1 | Overspeeding | Consider conducting driver observation on each driver and keep records | 2024-12-31
2 | Abestos containing material | Adherence to th asbestos removal plan | 2025-12-31
3 | Psychosocial factors | Training and awareness, employee engagement | 2024-12-31