## Terrace and Stormwater Drainage (hidden)
CONTRACT: 000437
| UNIN SUBSTATION |  |  |  | 2012-01-01
Clause | Item No. | Description | Unit | Quantity | Rate | Amount (R)
SECTION A: PRELIMINARIES AND GENERAL
| A1 | Fixed charge items
8.3.1 | A1.1 | Contractual requirements | sum | 1 |  | 0
Establish facilities on the site
8.3.2.3 | A2 | Facilities for the Contractor |  |  |  | 0
| A2.1 | Office and storage shed | sum | 1 | 23750 | 23750
| A2.2 | Workshops | sum | 1 |  | 0
| A2.3 | Laboratories | sum | 1 |  | 0
| A2.4 | Living accomodation | sum | 1 |  | 0
| A2.5 | Ablution and latrine facilities | sum | 1 |  | 0
| A2.6 | Tools and equipment | sum | 1 | 144500 | 144500
| A2.7 | Water supplies | sum | 1 |  | 0
| A2.8 | Electric power | sum | 1 |  | 0
| A2.9 | Communication | sum | 1 |  | 0
| A2.10 | Setting out of the works | sum | 1 | 47000 | 47000
| A2.11 | Dealing with water | sum | 1 |  | 0
| A2.12 | Access and accomodation of traffic | sum | 1 |  | 0
8.3.3 | A2.13 | Other fixed charge obligations | sum | 1 |  | 0
8.3.4 | A2.14 | Removal of site establishment on completion | sum | 1 | 15000 | 15000
8.3.2.3 | A3 | Facities for the Engineer |  |  |  | 0
| A3.1 | Survey Equipment | sum | 1 |  | 0
0
| A4 | Time related requirements |  |  |  | 0
8.4.1 | A4.1 | Contractual requirements | sum | 1 |  | 0
0
|  | Operate and maitain facilities on the Site for the duration of construction except where otherwise stated |  |  |  | 0
8.4.2.2 | A5 | Facilities for the Contractor |  |  |  | 0
| A5.1 | Office and storage shed | month |  |  | 0
| A5.2 | Workshops | month |  |  | 0
| A5.3 | Laboratories | month |  |  | 0
| A5.4 | Living accomodation | month | 2 | 19000 | 38000
| A5.5 | Ablution and latrine facilities | month | 2 | 2500 | 5000
| A5.6 | Tools and equipment | month |  |  | 0
| A5.7 | Water supplies | month | 2 | 7500 | 15000
| A5.8 | Electric power | month |  |  | 0
| A5.9 | Communication | month |  |  | 0
| A5.10 | Setting out of the works | month |  |  | 0
| A5.11 | Dealing with water | month |  |  | 0
| A5.12 | Personnel carrier | month | 2 | 25000 | 50000
| TOTAL CARRIED FORWARD TO SUMMARY PAGE( SECTION A) |  |  |  |  | 338250
Clause | Item No. | Description | Unit | Quantity | Rate | Amount (R)
| A5.12 | Access and accomodation of traffic | month |  |  | 0
8.4.5 | A5.13 | Other fixed charge obligations | month |  |  | 0
8.4.3 | A5.14 | Supervision for duration of construction | month | 2 | 52000 | 104000
8.4.4 | A5.15 | Company andHead Office overhead costs for the duration of the contract | month | 2 | 5500 | 11000
8.4.2.1 | A6 | Facities for the Engineer
| A6.1 | Survey Equipment | month |  |  | 0
0
8.7- | A7 | Daywork |  |  |  | 0
PSA8-3 | A7.1 | Labour
| A7.1.1 | Skilled labour | h |  |  | Rate Only
| A7.1.2 | Semi-skilled labour | h |  |  | Rate Only
| A7.1.3 | Unskilled labour | h |  |  | Rate Only
0
SABS 1200 A
8.7- | A7.2 | Contructor's own plant (Tender must provide details of suitable plant)
| A7.2.1 | Excavator-Minimum power: 75kW (Similar to "Cat 215")
Manufacturer
|  | Model | h |  |  | Rate Only
| A7.2.2 | TL Backator-Minimum power: 50kW (Similar to "Case 580G")
Manufacturer
Model
| A7.2.3 | Front end loader-Minimum power: 60kW (Similar to "Cat 920")
Manufacturer
|  | Model | h |  |  | Rate Only
| A7.2.4 | Vibrating pedestrian roller Minimum drum width: 0.39m Minimum power: 3.7kW |  |  |  | 0
|  | Manufacturer |  |  |  | 0
|  | Model | h |  |  | Rate Only
| A7.2.5 | Vibrating plate compactor Minimum power: 2kW
Manufacturer
|  | Model | h |  |  | Rate Only
| A7.2.6 | Tip truck Minimum load mass: 4 ton Minimum load capacity: 6m³ | h |  |  | Rate Only
0
0
0
0
| TOTAL CARRIED FORWARD TO SUMMARY PAGE( SECTION A) |  |  |  |  | 115000
Clause | Item No. | Description | Unit | Quantity | Rate | Amount (R)
| A5.12 | Access and accomodation of traffic | month |  |  | 0
8.4.5 | A5.13 | Other fixed charge obligations | month |  |  | 0
8.4.3 | A5.14 | Supervision for duration of construction | month |  |  | 0
8.4.4 | A5.15 | Company andHead Office overhead costs for the duration of the contract | month |  |  | 0
8.4.2.1 | A6 | Facities for the Engineer
| A6.1 | Survey Equipment | month |  |  | 0
0
8.7- | A7 | Daywork |  |  |  | 0
PSA8-3 | A7.1 | Labour
| A7.1.1 | Skilled labour | h |  |  | Rate Only
| A7.1.2 | Semi-skilled labour | h |  |  | Rate Only
| A7.1.3 | Unskilled labour | h |  |  | Rate Only
0
SABS 1200 A
8.7- | A7.2 | Contructor's own plant (Tender must provide details of suitable plant)
| A7.2.1 | Excavator-Minimum power: 75kW (Similar to "Cat 215")
Manufacturer
|  | Model | h |  |  | Rate Only
| A7.2.2 | TL Backator-Minimum power: 50kW (Similar to "Case 580G")
Manufacturer
Model
| A7.2.3 | Front end loader-Minimum power: 60kW (Similar to "Cat 920")
Manufacturer
|  | Model | h |  |  | Rate Only
| A7.2.4 | Vibrating pedestrian roller Minimum drum width: 0.39m Minimum power: 3.7kW |  |  |  | 0
|  | Manufacturer |  |  |  | 0
|  | Model | h |  |  | Rate Only
| A7.2.5 | Vibrating plate compactor Minimum power: 2kW
Manufacturer
|  | Model | h |  |  | Rate Only
| A7.2.6 | Tip truck Minimum load mass: 4 ton Minimum load capacity: 6m³ | h |  |  | Rate Only
0
0
0
| TOTAL CARRIED FORWARD TO SUMMARY PAGE( SECTION A) |  |  |  |  | 0
Clause | Item No. | Description | Unit | Quantity | Rate | Amount (R)
SECTION B: BULK EARTHWORKS
SABS 1200 A | B1 | General
| B1.1 | Before starting the work the contractor is to satisfy himself as to the accuracy of the Engineer's contour drawing. All calculations will be based on this unless notified prior to site clearance and excavations commencing. | sum | 1 |  | 0
SABS 1200 D | B2 | Site clearance |  |  |  | 0
8.3.1.1 | B2.1 | Allow for clearing the areas for trenches, ponds and roads of all grass, weeds, shrubs, trees trunks not exceeding 200mm girth, builder's rubble, premix, etc., Allow for clearing the areas for trenches, ponds and roads of all grass, weeds, shrubs, trees trunks not exceeding 200mm girth, builder's rubble, premix, etc., including grubbing up all roots , scoffling up as required and cart away all vegetation and debris. | m² | 3595 | 32.25 | 115938.75
8.3.1.2 | B2.2 | Strip average 150mm thick layer of topsoil and spoil, spoil site to be determined by contractor | m³ | 540 | 105.5 | 56970
|  | Remove and grub large trees and tree stumps and spoil off site of girth (PROVISIONAL) |  |  |  | 0
|  | a) Over 200mm and up to 1m | No | 2 | 650 | Rate Only
|  | b) Over 1m and up to 2m | No | 2 | 900 | Rate Only
|  | c) Over 2m and up to 3m | No | 2 | 4500 | Rate Only
|  | Bulk Eathworks |  |  |  | 0
8.3.2 |  | Note: Contractors are to note that the prices for the bulk excavations are to include for the formation of buttered banks required for lateral support and for ramps for the removal of excavated material and shall also include for all tests required on the drawings |  |  |  | 0
| B3 | Bulk Excavations |  |  |  | 0
| B3.1 | Cut to spoil in soft excavation | m³ | 3440 | 91 | 313040
| B3.2 | Cut to stockpile in soft excavation | m³ | 0
| B3.3 | Extra over excavation in earth for excavation in the intermediate material as defined in SABS 1200 D (prov) | m³ |  |  | 0
| B3.4 | Extra over excavation in earth for excavation in hard rock material as defined in SABS 1200 D (prov) | m³ |  |  | Rate Only
8.3.3 | B4 | Fill to form platform and roadbed including compacting in layers not exceeding 150mm, well watered and compacted to 95% mod. AASHTO density (measured tight) |  |  |  | 0
| B4.1 | From commecial sources / borrow pit import min G5 material for roads in a 200mm layer compacted to 97% mod.AASHTO density (measured tight). | m³ | 720 | 385.95 | 277884
| B4.2 | From commecial sources / borrow pit import min G6 material and fill in 150mm layer compacted to 95% mod.AASHTO density (measured tight). | m³ | 3430 | 385.5 | 1322265
| TOTAL CARRIED FORWARD TO SUMMARY PAGE( SECTION B) |  |  |  |  | 2086097.75
Clause | Item No. | Description | Unit | Quantity | Rate | Amount (R)
| B4.3 | Rockfill | m³ | 865 | 852.5 | 737412.5
SABS 1200 A |  | Keep excavation free of water
8.4.2.3 | B5 | Allow for keeping excavations free of water for the duration of the contract. | item | 1 | 7500 | 7500
SABS 1200 DM |  | Roadbed preparation platform and access road
8.3.3 | B6.1 | Compaction of in-situ materials as well as areas of fill including scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 93% Mod. AASHTO density | m² | 3595 | 102 | 366690
|  | Dust control |  |  |  | 0
| B7 | Dust control of all areas for the duration of the contract | sum | 1 | 25750 | 25750
0
8.3.4 | B8 | Supply and install complete as per manufacturers specification-cape concrete grass blocks(or similar approved) |  |  |  | 0
| B8.1 | For embankment erosion control | m² | 500 | 374.56 | 187280
| B8.2 | From stockpile in B3.2 to spoil location determined by contractor | m³ | 0 |  | 0
|  | Existing Services |  |  |  | 0
| B9 | Excavate by hand to locate existing services | m³ | 20 | 125 | 2500
Topsoiling
| B10 | Using material from stockpiles and placing 150mm layer topsoil on embankments before grassing | m³ | 0 |  | 0
|  | Additional tests requested by the Engineer |  |  |  | 0
| B11 | Note: The contractor is to allow in his rates for all density tests required to comply with relevant specifications and drawings and in order to ensure that the required densities are obtained. the contractor shall only be paid under the following items for tests over and above the required tests as specified by the Engineer to be done by an independent laboratory. |  |  |  | 0
| B11.1 | Sand replacement density tests, including MOD | No | 3 | 2500 | 7500
| B11.2 | Nuclear density tests, including MOD | No | 12 | 2500 | 30000
| B11.3 | Road indicator tests with CBR values | No | 3 | 2500 | 7500
| B11.4 | Cement/Lime content test | No |  |  | 0
| B11.5 | UCS strength test | No |  |  | 0
| B11.6 | 10% FACT & ACV | No |  |  | 0
0
| TOTAL CARRIED FORWARD TO SUMMARY PAGE( SECTION B) |  |  |  |  | 1372132.5
Clause | Item No. | Description | Unit | Quantity | Rate | Amount (R)
Site Survey
| B9 | Surveyor to certify that the road levels and setting out excecuted under this contract are correct. A fully marked up survey drawing showing the "as-built" levels and setting out is to be submitted | item | 1 | 60000 | 60000
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| TOTAL CARRIED FORWARD TO SUMMARY PAGE( SECTION B) |  |  |  |  | 60000
Clause | Item No. | Description | Unit | Quantity | Rate | Amount (R)
SECTION F: STORMWATER DRAINAGE
| F1 | Site clearance, etc.
| F1.1 | Allow for clearing the areas for culvert contruction trenches, channels and roads of all grass, weeds, shrubs, trees with trunks not exceeding 200mm girth, builders rubble, premix, etc, including grubbing up all roots, scoffling up as required and cart away all vegetation and debris. | m² | 735 | 35.3 | 25945.5
| F2 | Excavation / Backfill |  |  |  | 0
| F2.1 | Excavate in all materials for trenches, backfill, compact and dispose of suplus material | m³ | 307 | 105 | 32235
| F2.2 | Extra-over item F2.1 for excavation in intermediate material | m³ | 10 | 294.13 | Rate Only
| F2.3 | Extra-over item F2.1 for excavation in hardrock | m³ | 0 | 1464.79 | Rate Only
| F2.4 | Excavate and dispose of unsuitable material in trench bottom | m³ | 0 | 123.56 | Rate Only
| F2.5 | make up deficiency in backfill material by importation from designated borrow pits | m³ | 0 | 398.76 | Rate Only
| F2.6 | Restricted excavations in all materials for structures |  |  |  | 0
| F2.6.1 | Inlet / Outlet headwalls | m³ | 0 |  | 0
| F2.6.2 | Kerb inlets | m³ | 0 | 3428.97 | Rate Only
0
|  | Bedding |  |  |  | 0
| F 3 | Provision of bedding from trench excavation |  |  |  | 0
| F3.1 | Selected granular material for bedding craddle Class C | m³ | 55 | 76 | 4180
| F3.2 | Selected fill material for blanket | m³ | 146 | 74 | 10804
| F3.3 | Soilcrete 6% | m³ | 0 | 288 | Rate Only
0
|  | Pipelines |  |  |  | 0
| F4 | Supply, lay, bed (Class C), joint and cut on site the following concrete stormwater pipes Class 100D |  |  |  | 0
| F4.1 | 450mm dia | m | 40 | 850 | 34000
0
|  | Culverts |  |  |  | 0
| F5 | 450mm | m | 0 |  | 0
| F5.1 | Headwall complete as per detail on drawing for a 750x600mm culvert | No | 0
| F5.2 | Headwall complete as per detail on drawing for a concrete pipe | No | 16 | 3277.86 | 52445.76
0
|  | Manholes |  |  |  | 0
| F6 | Supply all materials and construct brick manhole complete as per details for depths |  |  |  | 0
| F6.1 | 1m - 2m deep | No | 0 |  | 0
0
| F6.2 | 2m - 3m deep | No | 0 |  | 0
| TOTAL CARRIED FORWARD TO SUMMARY PAGE( SECTION F) |  |  |  |  | 159610.26
Clause | Item No. | Description | Unit | Quantity | Rate | Amount (R)
SECTION G: CONCRETE PAVEMENT
SABS 1200 ME |  | Stabilization of Subbase layer
8.3.5 |  | Chemical stabilization of the gravel layer | m³ | 45 | 301.54 | 13569.3
8.3.8 |  | Stabilizing Agent Applied
|  | Portland cement | t | 3 | 1850 | 5550
| TOTAL CARRIED FORWARD TO SUMMARY PAGE( SECTION G) |  |  |  |  | 19119.3
Clause | Item No. | Description | Unit | Quantity | Rate | Amount (R)
*SECTION G: CONCRETE PAVEMENT
COLTO 7100
| 71.01 | Concrete trial pavement:
|  | Mechanical construction,200mm thick | m² | 36 | 375 | 13500
0
| 71.02 | Concrete pavement 200 mm thick excluding texturing and curing | m² | 270 | 375 | 101250
0
| 71.03 | Texturing and curing the concrete pavement: |  |  |  | 0
|  | Burlap-dragged and grooved texture | m² | 270 | 22 | 5940
|  | Curing | m² | 270 | 14 | 3780
0
| 71.04 | Variation in the rate of application of the curing compound | litre | 10 | 85 | 850
0
| 71.05 | Joints: |  |  |  | 0
| G5.1 | Sealed transverse contraction joints sawn in |  |  |  | 0
|  | two separate operations (widths as shown |  |  |  | 0
|  | on the drawings) | m | 63 | 54.22 | 3415.86
| G5.2 | Dowel bars (mild steel),25 mm dia, |  |  |  | 0
|  | 350 mm long: |  |  |  | 0
|  | Installed in new concrete | No | 15 | 65 | 975
| G5.3 | Tie bars (mild ,16 mm dia, |  |  |  | 0
|  | 700 mm long: |  |  |  | 0
0
|  | Installed in new concrete | No | 28 | 45 | 1260
0
| 71.06 | Drilling and testing of cores: |  |  |  | 0
0
|  | 150 mm cores drilled from the pavement |  |  |  | 0
|  | and tested for compressive strength | No | 3 | 4400 | 13200
0
| 71.07 | Steel reinforcement in concrete pavement: |  |  |  | 0
0
|  | Welded steel fabric | kg | 875 | 63 | 55125
0
| TOTAL CARRIED FORWARD TO SUMMARY PAGE( SECTION G) |  |  |  |  | 199295.86
*NOTE: | Shedule is based on COLTO (Standard Specifications For Road and Bridge works for State Road Authority)
*NOTE: | Shedule is based on COLTO (Standard Specifications For Road and Bridge works for State Road Authority)
|  | UNIN SUBSTATION |  |  | 2012-01-01
SUMMARY
SECTION A: |  | PRELIMINARIES AND GENERAL |  |  |  | 453250
SECTION B: |  | BULK EARTHWORKS |  |  |  | 3518230.25
SECTION F: |  | STORMWATER RETICULATION |  |  |  | 159610.26
SECTION G: |  | CONCRETE PAVEMENT |  |  |  | 218415.16
|  | Total of Priced Items |  |  |  | 4349505.67

## COLTO 2100 (hidden)
SCHEDULE A : ROAD CONSTRUCTION | [6 empty] | SECTION 2100
ITEM | DESCRIPTION |  |  | UNIT | QUANTITY | RATE | AMOUNT
NO
0
| DRAINS | [5 empty] | 0
0
0
B21.01 | Excavation for open drains: | [5 empty] | 0
0
| (a) | Excavating soft material situated within the |  |  |  |  | 0
|  | following depth ranges below the surface |  |  |  |  | 0
|  | level: |  |  |  |  | 0
0
|  | (i) | 0 m up to 1,5 m | m³ |  |  | Rate only
0
|  | (ii) | Exceeding 1,5 m and up to 3,0 m | m³ |  |  | Rate only
0
|  | (iii) | Exceeding 3,0 m and up to 4,5 m | m³ |  |  | Rate only
0
|  | (iv) | Exceeding 4,5 m and up to 6,0 m | m³ |  |  | Rate only
0
| (b) | Extra over subitem B21.01(a) for excavation |  |  |  |  | 0
|  | in hard material, irrespective of depth |  | m³ |  |  | Rate only
0
0
21.02 | Clearing and shaping existing open drains |  |  | m³ |  |  | Rate only
0
0
B21.03 | Excavation for subsoil drainage systems: | [5 empty] | 0
0
| (a) | Excavating soft material situated within the |  |  |  |  | 0
|  | following depth ranges below the surface |  |  |  |  | 0
|  | level: |  |  |  |  | 0
0
|  | (i) | 0 m and up to 1,5 m | m³ |  |  | Rate only
0
|  | (ii) | Exceeding 1,5 m and up to 3,0 m | m³ |  |  | Rate only
0
|  | (iii) | Exceeding 3,0 m and up to 4,5 m | m³ |  |  | Rate only
0
|  | (iv) | Exceeding 4,5 m and up to 6,0 m | m³ |  |  | Rate only
0
| (b) | Extra over subitem B21.03(a) for excavation |  |  |  |  | 0
|  | in hard material irrespective of depth |  | m³ |  |  | Rate only
0
| (c) | Extra over subitem B21.03(a) for excavating |  |  |  |  | 0
|  | through stabilized layers of existing |  |  |  |  | 0
|  | pavement |  | m³ |  |  | Rate only
0
0
0
0
0
0
0
0
0
0
0
0
0
0
2100 | Carried forward | [5 empty] | 0
SCHEDULE A : ROAD CONSTRUCTION | [6 empty] | SECTION 2100
ITEM | DESCRIPTION |  |  | UNIT | QUANTITY | RATE | AMOUNT
NO
| Brought forward | [5 empty] | 0
0
| Compiler select appropriate item 21.04 standard | [5 empty] | 0
| item or options below | [5 empty] | 0
0
21.04 | Impermeable backfilling to subsoil drainage |  |  | m³ |  |  | Rate only
| systems | [5 empty] | 0
0
OR | [6 empty] | 0
0
B21.04 | Impermeable backfilling to subsoil drainage | [5 empty] | 0
| systems: | [5 empty] | 0
0
| (a) | Unstabilized natural gravel |  | m³ |  |  | Rate only
0
| (b) | G5 material stabilized with 4% stabilizing |  |  |  |  | 0
|  | agent |  | m³ |  |  | Rate only
0
OR | [6 empty] | 0
0
B21.04 | Impermeable backfilling to subsoil drainage | [5 empty] | 0
| systems: | [5 empty] | 0
0
| (a) | Using the excavated material |  | m³ |  |  | Rate only
0
| (b) | Using imported selected material |  | m³ |  |  | Rate only
0
| (c) | Extra over subitems B21.04(a) and (b) for |  |  |  |  | 0
|  | soil cement (soilcrete) backfilling containing |  |  |  |  | 0
|  | . . . .% cement |  | m³ |  |  | Rate only
0
0
21.05 | Banks and dykes |  |  | m³ |  |  | Rate only
0
0
21.06 | Natural permeable material in subsoil | [5 empty] | 0
| drainage systems (crushed stone): | [5 empty] | 0
0
| (a) | Crushed stone obtained from approved |  |  |  |  | 0
|  | sources on the site: |  |  |  |  | 0
0
|  | (i) | Fine grade | m³ |  |  | Rate only
0
|  | (ii) | Coarse grade | m³ |  |  | Rate only
0
| (b) | Crushed stone obtained from commercial |  |  |  |  | 0
|  | sources: |  |  |  |  | 0
0
|  | (i) | Fine grade | m³ |  |  | Rate only
0
|  | (ii) | Coarse grade | m³ |  |  | Rate only
0
0
0
0
0
0
2100 | Carried forward | [5 empty] | 0
SCHEDULE A : ROAD CONSTRUCTION | [6 empty] | SECTION 2100
ITEM | DESCRIPTION |  |  | UNIT | QUANTITY | RATE | AMOUNT
NO
| Brought forward | [5 empty] | 0
0
21.07 | Natural permeable material in subsoil | [5 empty] | 0
| drainage systems (sand): | [5 empty] | 0
0
| (a) | Sand obtained from approved sources on |  |  |  |  | 0
|  | the site: |  |  |  |  | 0
0
|  | (i) | Fine grade | m³ |  |  | Rate only
0
|  | (ii) | Medium grade | m³ |  |  | Rate only
0
|  | (iii) | Coarse grade | m³ |  |  | Rate only
0
| (b) | Sand from commercial sources: |  |  |  |  | 0
0
|  | (i) | Fine grade | m³ |  |  | Rate only
0
|  | (ii) | Medium grade | m³ |  |  | Rate only
0
|  | (iii) | Coarse grade | m³ |  |  | Rate only
0
0
21.08 | Pipes in subsoil drainage systems: | [5 empty] | 0
0
| (a) | Pitch-fibre pipes and fittings complete with |  |  |  |  | 0
|  | couplings: |  |  |  |  | 0
0
|  | (i) | 100 mm internal dia, perforated | m |  |  | Rate only
0
|  | (ii) | 100 mm internal dia, unperforated | m |  |  | Rate only
0
|  | (iii) | 150 mm internal dia, perforated | m |  |  | Rate only
0
|  | (iv) | 150 mm internal dia, unperforated | m |  |  | Rate only
0
| (b) | Unplasticized PVC pipes and fittings, |  |  |  |  | 0
|  | normal duty, complete with couplings: |  |  |  |  | 0
0
|  | (i) | 100 mm internal dia, perforated or |  |  |  | 0
|  |  | slotted | m |  |  | Rate only
0
|  | (ii) | 100 mm internal dia, unperforated | m |  |  | Rate only
0
|  | (iii) | 150 mm internal dia, perforated or |  |  |  | 0
|  |  | slotted | m |  |  | Rate only
0
|  | (iv) | 150 mm internal dia, unperforated | m |  |  | Rate only
0
0
0
0
0
0
0
0
0
2100 | Carried forward | [5 empty] | 0
SCHEDULE A : ROAD CONSTRUCTION | [6 empty] | SECTION 2100
ITEM | DESCRIPTION |  |  | UNIT | QUANTITY | RATE | AMOUNT
NO
| Brought forward | [5 empty] | 0
0
21.08 | (c) | High-density type polyethylene pressure |  |  |  |  | 0
(cont) |  | pipes and fittings, complete with couplings |  |  |  |  | 0
|  | (state size, type and class and whether or |  |  |  |  | 0
|  | not perforated): |  |  |  |  | 0
0
|  | (i) | 100 mm internal dia, perforated | m |  |  | Rate only
0
|  | (ii) | 100 mm internal dia, unperforated | m |  |  | Rate only
0
|  | (iii) | 150 mm internal dia, perforated | m |  |  | Rate only
0
|  | (iv) | 150 mm internal dia, unperforated | m |  |  | Rate only
0
| (d) | Concrete pipes: |  |  |  |  | 0
0
|  | (i) | 100 mm internal dia type SC . . . . . |  |  |  | 0
|  |  | D-laod pipes | m |  |  | Rate only
0
|  | (ii) | 150 mm internal dia type SC . . . . . |  |  |  | 0
|  |  | D-load pipes | m |  |  | Rate only
0
|  | (iii) | . . . mm internal dia type SC . . . . |  |  |  | 0
|  |  | D-load pipes | m |  |  | Rate only
0
|  | (iv) | . . . mm internal dia type SC . . . . . |  |  |  | 0
|  |  | D-load pipes | m |  |  | Rate only
0
| (State size and type) | [5 empty] | 0
0
0
21.09 | Polyethylene sheeting, 0,15 mm thick, or | [5 empty] | 0
| similar approved material, for lining subsoil | [5 empty] | 0
| drainage systems |  |  | m² |  |  | Rate only
0
0
21.10 | Synthetic-fibre filter fabric: | [5 empty] | 0
0
| (a) | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  |  |  |  | Rate only
|  | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  |  |  |  | 0
|  | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  | m |  |  | Rate only
0
| (b) | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  |  |  |  | 0
|  | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  |  |  |  | 0
|  | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  | m |  |  | Rate only
| (State type, grade, etc) | [5 empty] | 0
0
0
0
0
0
0
0
0
0
0
2100 | Carried forward | [5 empty] | 0
SCHEDULE A : ROAD CONSTRUCTION | [6 empty] | SECTION 2100
ITEM | DESCRIPTION |  |  | UNIT | QUANTITY | RATE | AMOUNT
NO
| Brought forward | [5 empty] | 0
0
21.11 | Composite in-plane drainage systems: | [5 empty] | 0
0
| (a) | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  |  |  |  | Rate only
|  | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  |  |  |  | 0
|  | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  | m |  |  | Rate only
0
| (b) | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  |  |  |  | 0
|  | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  |  |  |  | 0
|  | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  | m |  |  | Rate only
| (State size, type, grade, etc) | [5 empty] | 0
0
0
B21.12 | Concrete outlet structures, manhole boxes, | [5 empty] | 0
| junction boxes and cleaning eyes for subsoil | [5 empty] | 0
| drainage systems: | [5 empty] | 0
0
| (a) | Outlet structures |  | No |  |  | Rate only
0
| (b) | Manhole boxes |  | No |  |  | Rate only
0
| (c) | Junction boxes |  | No |  |  | Rate only
0
| (d) | Cleaning eyes |  | No |  |  | Rate only
0
0
21.13 | Concrete caps for subsoil drain pipes |  |  | No |  |  | Rate only
0
0
21.14 | Repairing or replacing existing drainage | [5 empty] | 0
| systems |  |  | Prov Sum | 1 |  | 0
0
0
21.15 | Overhaul for material hauled in excess of | [5 empty] | 0
| 1,0 km free-haul (normal overhaul) |  |  | m³-km |  |  | Rate only
0
0
21.16 | Backfilling existing eroded side drains |  |  | m³ |  |  | Rate only
0
0
21.17 | Test flushing of pipe subsoil drains |  |  | No |  |  | Rate only
0
0
21.18 | Excavation for the clearing of existing | [5 empty] | 0
| drainage systems: | [5 empty] | 0
0
| (a) | Manholes and inlet and outlet structures |  | m³ |  |  | Rate only
0
| (b) | Culvert barrels |  | m³ |  |  | Rate only
0
| (c) | Concrete side drains |  | m³ |  |  | Rate only
0
0
0
0
0
2100 | Carried forward | [5 empty] | 0
SCHEDULE A : ROAD CONSTRUCTION | [6 empty] | SECTION 2100
ITEM | DESCRIPTION |  |  | UNIT | QUANTITY | RATE | AMOUNT
NO
| Brought forward | [5 empty] | 0
0
21.19 | Selected backfill material under concrete- | [5 empty] | 0
| lined side drains compacted to 93% of | [5 empty] | 0
| modified AASHTO density |  |  | m³ |  |  | Rate only
0
0
B21.20 | Galvanized wire mesh at outlets of subsoil | [5 empty] | 0
| drainage systems |  |  | No |  |  | Rate only
0
0
B21.21 | Shaping and cleaning existing unlined open | [5 empty] | 0
| drains: | [5 empty] | 0
0
| (a) | Soft material |  | m³ |  |  | Rate only
0
| (b) | Hard material |  | m³ |  |  | Rate only
0
0
B21.22 | Class 20/19 cast in situ concrete for subsoil | [5 empty] | 0
| drainage systems, including formwork and | [5 empty] | 0
| galvanized wire mesh in outlet structures: | [5 empty] | 0
0
| (a) | Outlet structures |  | m³ |  |  | Rate only
0
| (b) | Junction boxes |  | m³ |  |  | Rate only
0
| (c) | Encasing of pipes |  | m³ |  |  | Rate only
0
0
B21.23 | Type A concrete outlet structures for subsoil | [5 empty] | 0
| drainage systems (including formwork) |  |  | No |  |  | Rate only
0
0
B21.24 | Class 20/19 cast in situ concrete in type B | [5 empty] | 0
| outlet structures and encasing of pipes for | [5 empty] | 0
| subsoil drainage systems |  |  | m³ |  |  | Rate only
0
0
B21.25 | Exposing existing subsoil drains |  |  | m³ |  |  | Rate only
0
0
B21.26 | Clearing subsoil drains |  |  | m |  |  | Rate only
0
0
B21.27 | Stage construction of longitudinal subsurface | [5 empty] | 0
| drain |  |  | m |  |  | Rate only
0
0
B21.28 | Subsoil outlet marker board |  |  | No |  |  | Rate only
0
0
0
0
0
0
0
2100 | TOTAL CARRIED TO SUMMARY | [5 empty] | 0

## Proposed Control
Provison of control Plant
Item No. | Refer | Description of the item | Unit | Qty | Rate |  | Price ®
[5 empty] | Suppl | Inst
1 | SANS | PRELIMINARIES
1200A
1.1 | 8.3 | Eskom’s specific requirements
1.1.1 | 8.3.1 | Contractual requirements | Percentage of Total Labour Cost | 1 | Not Applicable
1.1.2 | 8.3.2 | Establishment of facilities on site such as plant, sheds, water, electricity, Lighting, ect. | Percentage of Total Labour Cost | 1 | Not Applicable
1.1.3 | 8.3.4 | Removal of site establishment | Percentage of Total Labour Cost | 1 | Not Applicable
1.2 |  | Time Related
1.2.2 | 8.4.2 | Operation & maintenance of facilities | Percentage of Total Labour Cost | 1 | Not Applicable
1.2.3 | 8.4.3 | Supervision | Percentage of Total Labour Cost | 1 | Not Applicable
1.2.4 | 8.4.4 | Company & head office costs | Percentage of Total Labour Cost | 1 | Not Applicable
1.2.5 | 8.4.5 | Security Services | Percentage of Total Labour Cost | 1 | Not Applicable
1.2.7 |  | Accommodation | Percentage of Total Labour Cost | 1 | Not Applicable
1.2.8 |  | Personnel transport | Percentage of Total Labour Cost | 1 | Not Applicable
1.3 |  | Construction regulations:
1.3.1 |  | Construction regulations requirements | Percentage of Total Labour Cost | 1 | Not Applicable
1.3.2 |  | SHEQ Compliance | Percentage of Total Labour Cost | 1 | Not Applicable
1.3.4 |  | HV Induction as per Eskom requirement | Percentage of Total Labour Cost | 1 | Not Applicable
Subtotal carried to Summary |  |  |  |  | %
Proposed Rate
Item No. | Refer | Description of the item | Unit | Qty | Rate |  | Price ®
[5 empty] | Suppl | Inst
2 |  | YARD AC AND ACDC BOARDS
2.1 |  | Swing Frame top entry(2400 x 600 x 800mm) with Blanking plates | Ea | 1 | Not Applicable
2.2 |  | YARD AC BOARD | ea | 1 | Not Applicable
2.3 |  | ACDC MODULES | ea | 1 | Not Applicable
Subtotal carried to Summary |  |  |  |  | R
Item No. | Refer | Description of the item | Unit | Qty | Rate |  | Price ®
[5 empty] | Suppl | Inst
3 |  | DC Systems
3.1 |  | Sub Rack Battery Charger | ea | 1 | Not Applicable
3.2 |  | 1.1kW SMR Module | ea | 1 | Not Applicable
3.3 |  | Connector, cell inter-row type 1 | ea | 1 | Not Applicable
3.4 |  | Terminating device | ea | 1 | Not Applicable
3.5 |  | Cell, Batt | ea | 1 | Not Applicable
3.6 |  | Stand, Batt | ea | 1 | Not Applicable
3.7 |  | Battery Cabinet | ea | 1 | Not Applicable
3.8 |  | Maintenance & Safety Kit | ea | 1 | Not Applicable
Subtotal carried to Summary |  |  |  |  | R
Item No. | Refer | Description of the item | Unit | Qty | Rate |  | Price ®
[5 empty] | Suppl | Inst
4 |  | TELECONTROL
4.1 |  | Power Supply Unit | ea | 1 | Not Applicable
4.2 |  | RTU: Config | ea | 1 | Not Applicable
4.3 |  | Swing Frame top/bottom entry | ea | 1 | Not Applicable
4.4 |  | Additional Card/s | ea | 1 | Not Applicable
4.5 |  | Install IDF Rack | ea | 1 | Not Applicable
4.6 |  | Install RS485 convertor rack | ea | 1 | Not Applicable
4.7 |  | Install RS485 convertor | ea | 1 | Not Applicable
4.8 |  | Install RTU - IDF cables | ea | 1 | Not Applicable
4.9.1 |  | Telecomms option: Digital area Radio QR450 | ea | 1 | Not Applicable
4.9.2 |  | UHF Antenna CR400, Bracket | ea | 1 | Not Applicable
4.9.3 |  | Coax Cable LMR400 20m | ea | 1 | Not Applicable
4.9.4 |  | Connectors, Fly Lead | ea | 1 | Not Applicable
4.9.5 |  | Comms survey, Install, Config, Commission | ea | 1 | Not Applicable
Note:
This will be done by Telecontrol personnel in the Zone. Any other option (Micro wave, Fibre, PLC etc) will be done by Eskom Telecomms.
Subtotal carried Summary |  |  |  |  | R
Proposed Rate
Item No. | Refer | Description of the item | Unit | Qty | Rate |  | Price ®
[5 empty] | Suppl | Inst
5 |  | MEASUREMENTS AND METERING TARIFF AND STATISTICAL
5.1 |  | Swing Frame top entry(2400 x 600 x 800mm) with Blanking plates | Ea | 1 | Not Applicable
5.2 |  | Meter Module complete | ea | 1 | Not Applicable
5.3 |  | QOS unikt VectoGraph | ea | 1 | Not Applicable
5.4 |  | Voltage selection module | ea | 1 | Not Applicable
5.5 |  | Power Meter Class 0.5 | ea | 1 | Not Applicable
5.6 |  | Power Meter Class 0.2 | ea | 1 | Not Applicable
5.7 |  | Trucom Smartoo GSM/GPRS Metering Modems | ea | 1 | Not Applicable
5.8 |  | Modem module with trunking | ea | 1 | Not Applicable
5.9 |  | Quality of Supply Module Complete | ea | 1 | Not Applicable
5.10 |  | Interposing module | ea | 1 | Not Applicable
Subtotal carried Summary |  |  |  |  | R
Proposed Rate
Item No. | Refer | Description of the item | Unit | Qty | Rate |  | Price ®
[5 empty] | Suppl | Inst
6 |  | CABLES & ACCESSORIES
6.1 |  | CABLES & ACCESSORIES
6.1.1 |  | Cable Glands - No.0 | Ea | 1
6.1.2 |  | Cable Glands - No.1 | Ea | 1
6.1.3 |  | Cable Glands - No.2 | Ea | 1
6.1.4 |  | Cable Glands - No.3 | Ea | 1
6.1.5 |  | Shroud for gland - No.0 | No | 1
6.1.6 |  | Shroud for gland - No.1 | No | 1
6.1.7 |  | Shroud for gland - No.2 | No | 1
6.1.8 |  | Shroud for gland - No.3 | No | 1
6.1.9 |  | Consumables
6.1.10 |  | Cable Ties | per 100g | 1
6.1.11 |  | Lugs | per 100g | 1
6.1.12 |  | Bolts & Nuts | kg | 1
Subtotal carried Summary
Item No. | Refer | Description of the item | Unit | Qty | Rate |  | Price ®
[5 empty] | Suppl | Inst
6 |  | MV BUSBAR ARC PROTECTION UNIQUE CABLES
6.2 |  | MV BUSBAR ARC PROTECTION UNIQUE CABLES
6.2.1 |  | 2 CORE SCREEN CABLES | M | 1 | 0
6.2.2 |  | 4PR FLEX CABLES | M | 1 | 0
6.2.3 |  | Install arc sensor/s to slave relays cables | M | 1 | 0
6.2.4 |  | Install arc sensors | Ea | 1 | 0
6.2.5 |  | Install slave relays | Ea | 1 | 0
Consumables
6.2.6 |  | Cable Ties | per 100g | 1
6.2.7 |  | Lugs | per 100g | 1
6.2.8 |  | Bolts & Nuts | kg | 1
Subtotal carried Summary |  |  |  |  | R
Proposed Rate
Item No. | Refer | Description of the item | Unit | Qty | Rate |  | Price ®
[5 empty] | Suppl | Inst
7 |  | INSTALLATION OF EQUIPMENT AND CABLES:
7.1 |  | Installation Supervision / Authorised ORHVS person | Hrs | 1 | Not Applicable
7.2 |  | Installation of Panels (Protection Panel) | Ea | 1 | Not Applicable
7.3 |  | Assemble & install battery stand | Hrs | 1 | Not Applicable
7.4 |  | Install and connect up battery charger | Hrs | 1 | Not Applicable
7.5 |  | Install terminating devices | Hrs | 1 | Not Applicable
7.6 |  | Install & Connect up Battery bank | Hrs | 1 | Not Applicable
7.7 |  | Install safety signs | Hrs | 1 | Not Applicable
7.8 |  | Install safety equipment rack | Hrs | 1 | Not Applicable
7.9 |  | Installation of VT JB | Ea | 1 | Not Applicable
7.10' |  | Installation of AC Distribution Board | Ea | 1 | Not Applicable
7.11 |  | Installation of RTU | Ea | 1 | Not Applicable
7.12 |  | Installation of Meter Module | Ea | 1 | Not Applicable
7.13 |  | Install telecontrol cable (RS485) | Ea | 1 | Not Applicable
7.14 |  | Install TPH10AX | Ea | 1 | Not Applicable
7.15 |  | Install TPH25AX | Ea | 1 | Not Applicable
7.16 |  | Install TPH50AX | Ea | 1 | Not Applicable
7.17 |  | Install BVX04ECV | Ea | 1 | Not Applicable
7.18 |  | Install BVX04HCV | Ea | 1 | Not Applicable
7.19 |  | Install BVX04KCV | M | 1 | Not Applicable
7.2 |  | Install BVX12DCV | M | 1 | Not Applicable
7.21 |  | Install BVX19DCV | M | 1 | Not Applicable
7.22 |  | Terminate & Ferule BVX04ECV | Ea | 1 | Not Applicable
7.23 |  | Terminate & Ferule BVX04HCV | Ea | 1 | Not Applicable
7.24 |  | Terminate & Ferule BVX04KCV | Ea | 1 | Not Applicable
7.24 |  | Terminate & Ferule BVX12DCV | Ea | 1 | Not Applicable
7.25 |  | Terminate & Ferule BVX19DCV | Ea | 1 | Not Applicable
7.26 |  | Terminate & Ferule telecontrol cable (RS485) | Ea | 1 | Not Applicable
7.27 |  | Terminate & Ferule TPH10AX | Ea | 1 | Not Applicable
7.28 |  | Terminate & Ferule TPH25AX | Ea | 1 | Not Applicable
7.29 |  | Terminate & Ferule TPH50AX | Ea | 1 | Not Applicable
7.3 |  | Disconnection and Removal of Redundant Cables | M | 1 | Not Applicable
7.31 |  | Excavation ,Open & Close Trenches | M | 1 | Not Applicable
7.32 |  | Cable racks | M | 1 | Not Applicable
7.33 |  | Brackets | Ea | 1 | Not Applicable
7.34 |  | Trays | Ea | 1 | Not Applicable
7.35 |  | Cable Labels | Ea | 1 | Not Applicable
7.36 |  | Panel/JB Labels | Ea | 1 | Not Applicable
7.37 |  | Installation of CT& OTHER JBs | Ea | 1 | Not Applicable
7.38 |  | Removal of JBs | Ea | 1 | Not Applicable
7.39 |  | Removal of cables | M | 1 | Not Applicable
Subtotal carried to Summary |  |  |  |  | R
Item No. | Refer | Description of the item | Unit | Qty | Rate |  | Price ®
[5 empty] | Suppl | Inst
8 |  | COMMISSIONING
8.1 |  | XTMXXXX TRANSFORMER PROTECTION SCHEME
LABOUR COSTS
8.1.1 |  | Work Preparation | Hrs | 1 | Not Applicable
8.1.2 |  | Check if HV Yard and Panel equipment are as specified | Hrs | 1 | Not Applicable
8.1.3 |  | Ring Out and Check All Equipment | Hrs | 1 | Not Applicable
8.1.4 |  | Check control cabling | Hrs | 1 | Not Applicable
8.1.5 |  | Test & check CT's and VT's | Hrs | 1 | Not Applicable
8.1.6 |  | DC tests for all indications and alarms | Hrs | 1 | Not Applicable
8.1.7 |  | Relay, scheme & equipment testing | Hrs | 1 | Not Applicable
8.1.8 |  | Overall functional testing | Hrs | 1 | Not Applicable
8.1.9 |  | Polarities | Hrs | 1 | Not Applicable
8.1.10 |  | Primary Injections | Hrs | 1 | Not Applicable
8.1.11 |  | Mark-up Drawings as built | Hrs | 1 | Not Applicable
8.1.12 |  | Commissioning report | Hrs | 1 | Not Applicable
8.1.13 |  | Commissioning with primary voltage & current | Hrs | 1 | Not Applicable
8.1.14 |  | Specialised Transformer Tests
8.1.15 |  | Tan Delta - CT's | Ea | 1 | Not Applicable
8.1.16 |  | Tan Delta - VT's | Ea | 1 | Not Applicable
8.1.17 |  | Tan Delta - HV/LV Windings | Ea | 1 | Not Applicable
8.1.17 |  | Tan Delta - HV/LV Bushings | Ea | 1 | Not Applicable
8.1.18 |  | Diverter Continuity | Ea | 1 | Not Applicable
8.1.19 |  | Transformer Turns Ratio (TTR) | Ea | 1 | Not Applicable
8.1.20 |  | Megger/Insulation Tests on Transfromer | Ea | 1 | Not Applicable
8.1.21 |  | Open Circuit/Magnetising | Ea | 1 | Not Applicable
8.1.22 |  | USE OF TEST EQUIPMENT
8.1.23 |  | 5kV Insulation Tester | Hrs | 1 | Not Applicable
8.1.24 |  | Transformer Test Equipment | Hrs | 1 | Not Applicable
8.1.25 |  | CT Test Equipment | Hrs | 1 | Not Applicable
8.1.26 |  | Secondary Injection Set - 6 Phase | Hrs | 1 | Not Applicable
8.1.27 |  | Primary Injection set | Hrs | 1 | Not Applicable
8.2 |  | XFZDXXXX HV FEEDER PROTECTION SCHEME
8.2 |  | LABOUR COSTS
8.2.1 |  | Work Preparation | Hrs | 1 | Not Applicable
8.2.2 |  | Check if HV Yard and Panel equipment are as specified | Hrs | 1 | Not Applicable
8.2.3 |  | Ring Out and Check All Equipment | Hrs | 1 | Not Applicable
8.2.4 |  | Check control cabling | Hrs | 1 | Not Applicable
8.2.5 |  | DC tests for all indications and alarms | Hrs | 1 | Not Applicable
8.2.6 |  | Relay, scheme & equipment testing | Hrs | 1 | Not Applicable
8.2.7 |  | Overall functional testing | Hrs | 1 | Not Applicable
8.2.8 |  | Polarities | Hrs | 1 | Not Applicable
8.2.9 |  | Primary Injections | Hrs | 1 | Not Applicable
8.2.10 |  | Mark-up Drawings as built | Hrs | 1 | Not Applicable
8.2.11 |  | Commissioning report | Hrs | 1 | Not Applicable
8.2.12 |  | Commissioning with primary voltage & current | Hrs | 1 | Not Applicable
8.2.13 |  | USE OF TEST EQUIPMENT
8.2.14 |  | 5kV Insulation Tester | Hrs | 1 | Not Applicable
8.2.15 |  | Secondary Injection Set - 6 Phase | Hrs | 1 | Not Applicable
8.2.16 |  | Primary Injection set | Hrs | 1 | Not Applicable
Carried forward to next page
Brought forward from previuos page
8.3 |  | XBZXXXX BUSBAR/BUSZONE PROTECTION SCHEME
8.3 |  | LABOUR COSTS
8.3.1 |  | Work Preparation | Hrs | 1 | Not Applicable
8.3.2 |  | Check if HV Yard and Panel equipment are as specified | Hrs | 1 | Not Applicable
8.3.3 |  | Ring Out and Check All Equipment | Hrs | 1 | Not Applicable
8.3.4 |  | Check control cabling | Hrs | 1 | Not Applicable
8.3.5 |  | DC tests for all indications and alarms | Hrs | 1 | Not Applicable
8.3.6 |  | Relay, scheme & equipment testing | Hrs | 1 | Not Applicable
8.3.7 |  | Overall functional testing | Hrs | 1 | Not Applicable
8.3.8 |  | Polarities | Hrs | 1 | Not Applicable
8.3.9 |  | Primary Injections | Hrs | 1 | Not Applicable
8.3.10 |  | Mark-up Drawings as built | Hrs | 1 | Not Applicable
8.3.11 |  | Commissioning report | Hrs | 1 | Not Applicable
8.3.12 |  | Commissioning with primary voltage & current | Hrs | 1 | Not Applicable
8.3.13 |  | USE OF TEST EQUIPMENT
8.3.14 |  | 5kV Insulation Tester | Hrs | 1 | Not Applicable
8.3.15 |  | Secondary Injection Set - 6 Phase | Hrs | 1 | Not Applicable
8.3.16 |  | Primary Injection set | Hrs | 1 | Not Applicable
8.4 |  | XRFXXXX MV FEEDER PROTECTION SCHEME
8.4 |  | LABOUR COSTS
8.4.1 |  | Work Preparation | Hrs | 1 | Not Applicable
8.4.2 |  | Check if HV Yard and Panel equipment are as specified | Hrs | 1 | Not Applicable
8.4.3 |  | Ring Out and Check All Equipment | Hrs | 1 | Not Applicable
8.4.4 |  | Check control cabling | Hrs | 1 | Not Applicable
8.4.5 |  | DC tests for all indications and alarms | Hrs | 1 | Not Applicable
8.4.6 |  | Relay, scheme & equipment testing | Hrs | 1 | Not Applicable
8.4.7 |  | Overall functional testing | Hrs | 1 | Not Applicable
8.4.8 |  | Polarities | Hrs | 1 | Not Applicable
8.4.9 |  | Primary Injections | Hrs | 1 | Not Applicable
8.4.10 |  | Mark-up Drawings as built | Hrs | 1 | Not Applicable
8.4.11 |  | Commissioning report | Hrs | 1 | Not Applicable
8.4.12 |  | Commissioning with primary voltage & current | Hrs | 1 | Not Applicable
8.4.13 |  | USE OF TEST EQUIPMENT
8.4.14 |  | 5kV Insulation Tester | Hrs | 1 | Not Applicable
8.4.15 |  | Secondary Injection Set - 6 Phase | Hrs | 1 | Not Applicable
8.4.16 |  | Primary Injection set | Hrs | 1 | Not Applicable
Carried forward to next page
Brought forward from previuos page
8.5 |  | Other Schemes e.g Bus Coupler/Capacitor etc (where Applicable)
8.5 |  | LABOUR COSTS
8.5.1 |  | Work Preparation | Hrs | 1 | Not Applicable
8.5.2 |  | Check if HV Yard and Panel equipment are as specified | Hrs | 1 | Not Applicable
8.5.3 |  | Ring Out and Check All Equipment | Hrs | 1 | Not Applicable
8.5.4 |  | Check control cabling | Hrs | 1 | Not Applicable
8.5.5 |  | DC tests for all indications and alarms | Hrs | 1 | Not Applicable
8.5.6 |  | Relay, scheme & equipment testing | Hrs | 1 | Not Applicable
8.5.7 |  | Overall functional testing | Hrs | 1 | Not Applicable
8.5.8 |  | Polarities | Hrs | 1 | Not Applicable
8.5.9 |  | Primary Injections | Hrs | 1 | Not Applicable
8.5.10 |  | Mark-up Drawings as built | Hrs | 1 | Not Applicable
8.5.11 |  | Commissioning report | Hrs | 1 | Not Applicable
8.5.12 |  | Commissioning with primary voltage & current | Hrs | 1 | Not Applicable
USE OF TEST EQUIPMENT
8.5.13 |  | 5kV Insulation Tester | Hrs | 1 | Not Applicable
8.5.14 |  | Secondary Injection Set - 6 Phase | Hrs | 1 | Not Applicable
8.5.15 |  | Primary Injection set | Hrs | 1 | Not Applicable
8.6 |  | MV Busbar Arc protection schemes
8.6 |  | LABOUR COSTS
8.6.1 |  | Work Preparation | Hrs | 1 | Not Applicable
8.6.2 |  | Check if MV Switchgear and Panel equipment are as specified | Hrs | 1 | Not Applicable
8.6.3 |  | Ring Out and Check All Equipment | Hrs | 1 | Not Applicable
8.6.4 |  | Check control cabling | Hrs | 1 | Not Applicable
8.6.5 |  | DC tests for all indications and alarms | Hrs | 1 | Not Applicable
8.6.6 |  | Relay, scheme & equipment testing | Hrs | 1 | Not Applicable
8.6.7 |  | Overall functional testing | Hrs | 1 | Not Applicable
8.6.8 |  | Polarities | Hrs | 1 | Not Applicable
8.6.9 |  | Primary Injections | Hrs | 1 | Not Applicable
8.6.10 |  | Mark-up Drawings as built | Hrs | 1 | Not Applicable
8.6.11 |  | Commissioning report | Hrs | 1 | Not Applicable
8.6.12 |  | Commissioning with primary voltage & current | Hrs | 1 | Not Applicable
8.6.13 |  | USE OF TEST EQUIPMENT
8.6.14 |  | 5kV Insulation Tester | Hrs | 1 | Not Applicable
8.6.15 |  | Secondary Injection Set - 6 Phase | Hrs | 1 | Not Applicable
8.6.16 |  | Primary Injection set | Hrs | 1 | Not Applicable
8.7 |  | DC Commissioning Costs
8.7 |  | BATTERY (Nicad), BATTERY CHARGERS AND AC/DC BOARD INSTALLATION & COMMISSIONING
8.7 |  | LABOUR COSTS
8.7.1 |  | Work Preparation Time | Hrs | 1 | Not Applicable
8.7.2 |  | AC / DC Board | Hrs | 1 | Not Applicable
8.7.3 |  | Installation | Hrs | 1 | Not Applicable
8.7.6 |  | Back Up Charger | Hrs | 1 | Not Applicable
8.7.7 |  | Battery commissioning | Hrs | 1 | Not Applicable
8.7.8 |  | Charger commissioning | Hrs | 1 | Not Applicable
8.7.9 |  | Drawings | Hrs | 1 | Not Applicable
8.7.10 |  | Report. | Hrs | 1 | Not Applicable
8.7.11 |  | Decommissioning | Hrs | 1 | Not Applicable
Carried forward to next page
Brought forward from previuos page
8.8 |  | SCASS COMMISSIONING COSTS
8.8 |  | INSTALLATION & COMMISSIONING D20 RTU / I-BOX
8.8 |  | LABOUR COSTS | Hrs
8.8.1 |  | Work Preparation Time | Hrs | 1 | Not Applicable
8.8.2 |  | Installation of antenna and coaxial cable | Hrs | 1 | Not Applicable
8.8.3 |  | Glanding and lugging | Hrs | 1 | Not Applicable
8.8.4 |  | Installation of radio / modem | Hrs | 1 | Not Applicable
8.8.5 |  | Termination of cables | Hrs | 1 | Not Applicable
8.8.6 |  | Installation and cabling of door alarm | Hrs | 1 | Not Applicable
8.8.7 |  | Jumpering of alarms on the IDF | Hrs | 1 | Not Applicable
8.8.8 |  | Testing of flyleads | Hrs | 1 | Not Applicable
8.8.9 |  | Creating of database | Hrs | 1 | Not Applicable
8.8.10 |  | Pre-commissioning of D20 RTU | Hrs | 1 | Not Applicable
8.8.11 |  | Testing of comms with SMART | Hrs | 1 | Not Applicable
8.8.12 |  | Commissioning of D20 RTU | Hrs | 1 | Not Applicable
8.8.13 |  | Commissioning of controls/alarms (1 feeder/NB) | Hrs | 1 | Not Applicable
8.8.14 |  | Commissioning of controls/alarms ( 1 transformer) | Hrs | 1 | Not Applicable
8.8.15 |  | Decommissioning of RTU (MRTU/Intrac) | Hrs | 1 | Not Applicable
8.8.16 |  | Aligning radio and supplying test sheets | Hrs | 1 | Not Applicable
8.8.17 |  | Records updating (CD and hard copy) | Hrs | 1 | Not Applicable
8.8.18 |  | Filling (signed hand-over certificate, records, test sheets, commissioning sheets, list of defects, e.g. faulty batteries, etc.) | Hrs | 1 | Not Applicable
8.9 |  | METERING & MEASUREMENTS COMMISSIONING COSTS
8.9 |  | LABOUR COSTS
8.9.1 |  | Work Preparation Time | Hrs | 1 | Not Applicable
8.9.2 |  | Check if yard and panel equipment are as specified. | Hrs | 1 | Not Applicable
8.9.3 |  | Ring out and check all equipment. | Hrs | 1 | Not Applicable
8.9.4 |  | Check cabling. | Hrs | 1 | Not Applicable
8.9.5 |  | Test and check CT's and VT's. | Hrs | 1 | Not Applicable
8.9.6 |  | Modem and antenna. | Hrs | 1 | Not Applicable
8.9.7 |  | MV 90 commissioning | Hrs | 1 | Not Applicable
8.9.8 |  | Meters | Hrs | 1 | Not Applicable
8.9.9 |  | Drawings | Hrs | 1 | Not Applicable
8.9.10 |  | Report | Hrs | 1 | Not Applicable
8.9.11 |  | Commissioning with primary voltage and current. | Hrs | 1 | Not Applicable
8.9.12 |  | Decommissioning | Hrs | 1 | Not Applicable
8.9.13 |  | Additional wiring | Hrs | 1 | Not Applicable
8.9.14 |  | Insulation test all cables | Hrs | 1 | Not Applicable
8.9.15 |  | Primary injections - test and check VT's and CT's | Hrs | 1 | Not Applicable
8.9.16 |  | Configure and calibration of meters and transducers | Hrs | 1 | Not Applicable
8.9.17 |  | Installation of meters and transducers | Hrs | 1 | Not Applicable
8.9.18 |  | Secondary injections | Hrs | 1 | Not Applicable
8.9.19 |  | Drawings. | Hrs | 1 | Not Applicable
8.9.20 |  | Report. | Hrs | 1 | Not Applicable
8.9.21 |  | Commissioning with primary voltage and current. | Hrs | 1 | Not Applicable
8.9.22 |  | Decommissioning | Hrs | 1 | Not Applicable
8.9.23 |  | Test equipment - Insulation Tester | Hrs | 1 | Not Applicable
8.9.24 |  | Test Equipment - Secondary Injection Set | Hrs | 1 | Not Applicable
8.9.25 |  | Test Equipment - Primary Injection Set | Hrs | 1 | Not Applicable
8.1 |  | GENERAL AND CONTINGENCY
MATERIAL & LABOUR COSTS
8.11 |  | Foam to fill control room holes | m2 | 1
Subtotal carried to Summary |  |  |  |  | R
Item No. | Refer | Description of the item | Unit | Qty | Rate |  | Price ®
[5 empty] | Suppl | Inst
9 |  | TRANSPORT
9.1 |  | Transport of New Equipment | km | 1 | Not Applicable
9.2 |  | Removal of all redudant secondary material | km | 1 | Not Applicable
9.3 |  | Contingency travel - as agreed with designer or PC (LDV) | km | 1 | Not Applicable
Subtotal carried to Summary |  |  |  |  | R
Item No. | Refer | Description of the item | Unit | Qty | Rate |  | Price ®
[5 empty] | Suppl | Inst
10 |  | Miscellaneous materials
10.1 |  | Summary from Proposed Misc Service |  | 1 | Not Applicable
Subtotal carried to Summary |  |  |  |  | R | 0

## Proposed Misc
Item No. | Refer | Description of the item | Unit | Qty | Rate | Price ®
Supply
10.1 |  | Cable labels ( Aluminium numbers) | ea |  | Cost plus 10%
11.1 |  | Panel labels | ea |  | Cost plus 10%
12.1 |  | Tbrackets | ea |  | Cost plus 10%
13.1 |  | WM50 50mm x 3m W/MESH 50/50 HEX GALV | ea |  | Cost plus 10%
14.1 |  | WM50 100mm x 3m W/MESH 50/50 HEX GALV | ea |  | Cost plus 10%
15.1 |  | M8 Hold down clamp solid 2mm PG | ea |  | Cost plus 10%
16.1 |  | Wire mesh splice clamp set | ea |  | Cost plus 10%
17.1 |  | CS 1 M12 SPRING NUT LONG GALV | ea |  | Cost plus 10%
18.1 |  | M12 X30 HEX Set Screws Galv | ea |  | Cost plus 10%
19.1 |  | CS1000 5M Channel Pre Galv | ea |  | Cost plus 10%
20.1 |  | CS254 STAGG 650MM C/LEVER ARM HDG | ea |  | Cost plus 10%
21.1 |  | WM75 600MM H/DUTY W/MESH HOR BEND | ea |  | Cost plus 10%
22.1 |  | M10X75MM RAWL BOLTS | ea |  | Cost plus 10%
23.1 |  | M8X40 HEX SET SCREWS GALV | ea |  | Cost plus 10%
24.1 |  | CS76 800MM X 3M LADDERRACK HDG | ea |  | Cost plus 10%
25.1 |  | CL76 L/RACK SPLICE SET HDG | ea |  | Cost plus 10%
26.1 |  | WM75 600MM X 3M W/MESH 100/50 HEX GALV | ea |  | Cost plus 10%
27.1 |  | GS75 600MM H/DUTY HOR BEND 100/50 HXG | ea |  | Cost plus 10%
28.1 |  | CS 1 M10 SPRING NUT LONG GALV | ea |  | Cost plus 10%
29.1 |  | CS254 STAGG 650MM C/LEVER ARM HDG | ea |  | Cost plus 10%
30.1 |  | Marker Helagrip 2.0 - 5.0mm Yellow Marker Kit A - Z ( 500 units of each letter) | ea |  | Cost plus 10%
31.1 |  | Marker Helagrip 2.0 - 5.0mm Yellow Marker Kit 0 - 9 ( 500 units of each number) | ea |  | Cost plus 10%
32.1 |  | Terminal Preinsulated Yellow Lip Blade 4.6w | pkt |  | Cost plus 10%
33.1 |  | Terminal Preinsulated Blue Lip Blade 4.6 | pkt |  | Cost plus 10%
34.1 |  | Terminal Preinsulated Yellow Ring 6.0mm | pkt |  | Cost plus 10%
35.1 |  | Terminal Preinsulated Blue Ring 6.0mm | pkt |  | Cost plus 10%
36.1 |  | Control Plant labels (smaller) |  |  | Cost plus 10%
37.1 |  | 185x93mm | ea |  | Cost plus 10%
38.1 |  | 197x93mm | ea |  | Cost plus 10%
39.1 |  | 80x93mm | ea |  | Cost plus 10%
40.1 |  | 67x12mm | ea |  | Cost plus 10%
41.1 |  | 119x93mm | ea |  | Cost plus 10%
42.1 |  | 350x36mm | ea |  | Cost plus 10%
43.1 |  | 50x12mm | ea |  | Cost plus 10%
44.1 |  | 155x93mm | ea |  | Cost plus 10%
44.2 |  | GP Wire 16mm | m |  | Cost plus 10%
44.3 |  | Other (as per invoice amount) | Item |  | Cost plus 10%
Subtotal carried to Summary

## Summary
Item | Description of the item | Total
1 | PRELIMINARIES | 0%
2 | YARD AC AND ACDC BOARDS | 0
3 | DC SYSTEMS | 0
4 | TELECONTROL | 0
5 | MEASUREMENTS AND METERING TARIFF AND STATISTICAL | 0
6.1 | CABLES & ACCESSORIES | 0
6.2 | MV BUSBAR ARC PROTECTION UNIQUE CABLES | 0
7 | INSTALLATION OF EQUIPMENT AND CABLES: | 0
8 | COMMISSIONING | 0
9 | TRANSPORT | 0
10 | MISCELLANEOUS MATERIAL | 0
| Total Excluding VAT | 0