## Electrical Dryer
Occupational Health and Safety Baseline Risk Assessment | [23 empty] | Consequences | 8 | III | II | I | I | I | R | Safety | 1 | A | Fully effective | I
Business/Operating Unit: | CAMDEN POWER STATION (Main Generator Hydrogen Dryer Plant Maintenance at Camden PS for 5 Years) | [6 empty] | Department: | ELECTRICAL MAINTENANCE | [9 empty] | Next Review Date (every 2 years): |  | 18/01/2025 | Template identifier: | 240-70044602 |  | 5 | III | II | II | I | I | N | Health | 2 | B | Mostly effective | II
[25 empty] | 4 | IV | III | II | I | I |  |  | 3 | C | Mostly ineffective | III
Date: | 07 April 2025 | [6 empty] | Prepared by: |  |  |  | Authorised by: | Name | [7 empty] | Document ID |  | 240-157223320 |  | 3 | IV | III | II | II | I |  |  | 4 | D | None | IV
[13 empty] | Designation | [7 empty] | Revision number: |  | 5 |  | 2 | IV | IV | III | II | II |  |  | 5 | E
[13 empty] | Signed | [7 empty] | Revision date: |  | 30-Apr-27 |  | 1 | IV | IV | III | III | III |  |  | 8
Date
Refer to Occupational Health and Safety Risk assessment Procedure 32-520
List activity | Activity type (Routine/Non-routine) | Hazard nr | Hazard Identification | Risk Nr | Associated risk | Risk type | Cause(s) of the risk | Exposed group/employees | Risk Owner | Exposure patterns | What are the possible consequences? | Existing Controls |  |  | Risk Priority Rating |  | Additional Controls or Tasks Aimed at improving Existing Controls | Monitoring Mechanisms | Control Owner | Legal and Other Requirements | Target Date | Current Status | Integrated Risk Management (IRM) reference number
List specific activities to be performed taking into consideration the equipment to be used, the personnel involved in the task. | Indicate R or N 1. Routine activities and situations create hazards through day-to-day operations and normal work activities; 2. Non-routine activities and situations are occasional or unplanned; | # | Anything with potential to cause of harm. Note: A hazard can pose more than one risk. | # | A chance that injury , ill health or damage could occur as a result of uncontrolled hazard. | Safety or health | What causes the risk to come into effect? | Who is exposed to the hazard i.e. visitors, members of the public, etc. | Who is accountable for making sure the controls and monitors are: - in place, - implemented, - regularly reviewed for effectiveness. | The frequency and duration the person/group is exposed to the hazard e.g. Daily for 3 hrs. | Consider the worse case scenario without controls? | Include: - Preventative Controls (controls implemented to eliminate hazards or reduce the likelihood of the risk occurring), and - Reactive Controls (controls implemented to reduce the immediate impact of the risk occurring) Elimination Substitution Engineering controls Administrative controls Personal protective equipment (PPE) | Consequence | Likelihood |  | RCE Risk Control Effectiveness | Include: - Preventative Controls (controls implemented to eliminate hazards or reduce the likelihood of the risk occurring), and - Reactive Controls (controls implemented to reduce the immediate impact of the risk occurring) Elimination Substitution Engineering controls Administrative controls Personal protective equipment (PPE) NB: The risk shall be evaluated, assessed and rated again once additional controls have been implemented and those controls listed as existing controls. | How we know if we are succeeding. Include comments on effectiveness. This may include i.e. measurements, inspections, supervision where necessary. | Person allocated the responsibility for implementing the agreed controls (if applicable) | Where relevant, list the relevant legislative and or Eskom requirements that prescribe the control. | Once a date has been agreed to, this can not be changed (if applicable) | Pending, In Progress, Complete (if applicable) | Where applicable, add IRM system reference number for tracking of treatment actions. (applicable to risks that have an impact on business objectives or require intervention from Senior or Executive management such as impementing major engineering projects as a control)
Driving of vehicles | Routine | 1 | Over speeding of vehicles | 1 | MVA | Safety | Not paying attention, not farmialr with the road, making use of cell phone, distractions, exposed to unsafe behaviours, congested roads, Pedestrians and live stock, Taxi and Truck on the road, Civil unrest. Negligent driving. Potholes and Weather conditions (rain, mist, etc) | Employees | Electrical Manager | As and when they occur | Injuries/Fatalities to driver and pedestrians or property damage | Staff driving vehicles to have national driver's license and Eskom driver's evaluation permit, vehicles in roadworthy condition, only authorised staff is permited to use Eskom vehicles, Daily vehicle inspections, routine maintainance of vehicles, and obeying of all traffic laws, Adherence to life saving rules. Conduct travel route risk assessment. maintainance of station and Oak road. Create and communicate Road and vehicle safety awareness. Installation of Drive Cam. | 1 | C | III | Fully Effective | Adhere/maintain the existing controls | Vehicle inspections, Audits, Drive Cam, Inspect Oak/station road. Incident Statistics. | Electrical Manager | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) Environmental Regulations for Workplaces, 1987 General Safety Regulations, 1988 General Administrative Regulations, 2003 V15 | Drive Cam Installation - | In-Progress | N/A
| Routine | 2 | Driving without safety belt buckled up | 2 | Severe Injuries and fatalities when involved in an Accident | Safety | Not adhering to life saving rules | Employees | Electrical Manager | As and when they occur | Lost Time Injury or severe Injuries and fatalities | Awareness and Acknowlegement of Life Saving Rules through induction. Road and vehicle safety compaigns. Conducting VFL/BSO, Conducting toolbox talks. Installation of Drive Cam. | 1 | C | III | Fully Effective | Adhere/maintain the existing controls, Consequence Management | VFL/BSO analysis, Drive Cam. | Electrical Manager | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) Environmental Regulations for Workplaces, 1987 - General Safety Regulations, 1988 General Administrative Regulations, 2003 - Facilities Regulations, 1990 General Safety Regulations, 1988 General Administrative Regulations, 2003 W13 Eskom Life-Saving Rules Standard, 240-62196227 Eskom Drive Cam Procedure. 240-62946387 | Drive Cam Installation - | In-Progress | N/A
| Routine | 3 | Reversing a vehicle into a Parking lot. | 3 | Property damage, Injuries, Collide with other vehicles. | Safety | Failure of drivers to observe while parking Impatience of other drivers while reversing Time pressure Destruction Small parking design | Employees | Electrical Manager | As and when they occur | Property damage, Motor vehicle accident and Injuries. | Conduct awareness on reverse parking Induction training covers reverse parking | 1 | C | III | Mostly Effective | Install reverse parking signs, Clamping of vehicles that are not reverse parked, | Inspections, | Electrical Manager | Occupational Health and Safety, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) General Safety Regulations, 1988 General Administrative Regulations, 2003 Facilities Regulations, 1990 | Reverse parking signs - 30 April 2023 | In-Progress | N/A
| Non-Routine | 4 | Driving during the night | 4 | MVA, Property damage, Injuries and Fatalities Collide with other vehicles. | Safety | Not paying attention, not farmiliar with the road, making use of a cell phone, distractions, potholes, exposed to unsafe driving behaviours, congested roads, Pedestrians and stray animals, Taxis and Trucks on the road, Civil unrest. Negligent driving, Weather conditions(rain, mist, etc) & hijacking. | Employees | Electrical Manager | As and when they occur | Injuries,Fatalities, Property damage and Trauma | Staff driving vehicles to have national driver's license and Eskom driver's evaluation permit, vehicles in roadworthy condition, only authorised staff is permited to use Eskom vehicles, Daily vehicle inspections, routine maintainance of vehicles, and obeying of all traffic laws, Adherence to life saving rules. Conduct travel route risk assessment. maintainance of station and Oak road. Create and communicate Road and vehicle safety awareness. Installation of Drive Cam. | 1 | C | III | Fully Effective | Adhere/Maintain to existing controls | Vehicle inspections, Audits, Drive Cam, Inspect Oak/station road. Incident Statistics. | Electrical Manager | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) Environmental Regulations for Workplaces, 1987 General Safety Regulations, 1988 General Administrative Regulations, 2004 | Drive Cam Installation - | In-Progress | N/A
Interaction amongst employees | Routine | 15 | Bullying | 15 | Compromised self eesteem causing depression and suicidal thoughts | Health | Lack of interpersonal skills and relationship with other employees, Individual background and social issues. | Employees | Electrical Manager | As and when they occur | Injuries, fatalities and depression | Implementation of HR policies and procedures Awareness | 4 | B | III | Fully effective | Adhere/Maintain existing controls | EAP Cases | Electrical Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) 240-43848327 Right to Refuse to Work in an unsafe condition procedure 32-520 Occupational Health & Safety Risk Assessment Procedure 32-477 Safety Health and Environment Training and Development 32-285 Medical surveillance 32-95 Rev. 4 Environmental, Occupational Health and Safety Incident Management Procedure 240-15598034 OHS Oppotunity Register |  | In-Progress | N/A
|  | 16 | Drugs | 16 | Injuries and Mental health issues | Health | Peer pressure, Social factors | Employees | Electrical Manager | As and when they occur | Injuries, fatalities and Depression | Self or Employer recommendations to visit Employee Assistant programme facilities always welcomed. HR policies and procedures Awareness | 4 | B | III | Fully effective | Adhere/Maintain existing controls | EAP Cases | Electrical Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) 240-43848327 Right to Refuse to Work in an unsafe condition procedure 32-520 Occupational Health & Safety Risk Assessment Procedure 32-477 Safety Health and Environment Training and Development 32-285 Medical surveillance 32-95 Rev. 4 Environmental, Occupational Health and Safety Incident Management Procedure 240-15598034 OHS Oppotunity Register |  | In-Progress | N/A
|  | 17 | Gender discrimination | 17 | Compromised self esteem, Fatalities | Health | Gender intolerance leading to suicidal thoughts | Employees | Electrical Manager | As and when they occur | Fatalities Depression | Awareness on HR polices and procedures managing gender based discrimination. | 4 | B | III | Fully effective | Adhere/Maintain existing controls | EAP Cases | Electrical Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) 240-43848327 Right to Refuse to Work in an unsafe condition procedure 32-520 Occupational Health & Safety Risk Assessment Procedure 32-477 Safety Health and Environment Training and Development 32-285 Medical surveillance 32-95 Rev. 4 Environmental, Occupational Health and Safety Incident Management Procedure 240-15598034 OHS Oppotunity Register |  | In-Progress | N/A
|  | 18 | Unrest | 18 | Injuries and Property damage | Safety | Misunderstanding between employees and management | Employees | Electrical Manager | As and when they occur | Property Damage Injuries | Implementation of Emergency Preparedness Plan Liaison with Security Intelligence Local Police liaison with the organisation if there are road blocks around. Employees use alternative roads for access Activation of JPC | 4 | B | III | Fully Effective | Adhere/Maintain existing controls | EP Meetings JPC Meeting Contigency plan | Electrical Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) 240-43848327 Right to Refuse to Work in an unsafe condition procedure 32-520 Occupational Health & Safety Risk Assessment Procedure 32-477 Safety Health and Environment Training and Development 32-285 Medical surveillance 32-95 Rev. 4 Environmental, Occupational Health and Safety Incident Management Procedure 240-15598034 OHS Oppotunity Register |  | In-Progress | N/A
Plant Walk down and Plant Monitoring | Routine | 19 | Stairways | 19 | Slip, trips and fall | Safety | Failure to identify the risk Lack of concentration Not applying three point contact | Employees | Electrical Manager | As and when they occur | Injuries | Task Specific risk assessment Inspection of work areas Awareness training Providing personal protective equipment (e.g. Slip-resistant footwear) Implementation of PM's | 2 | B | IV | Fully Effective | Adhere/Maintain existing controls | Inspections PM's VFL/BSO | Electrical Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) General Safety Regulations, 1988 General Administrative Regulations, 2003 240-15598034 OHS Oppotunity Register |  | In-Progress | N/A
| Routine | 20 | Inadequate/ Excessive lighting | 20 | Straining and or irritation of the eyes | Health | Too many lights installed Dirty light covers Defective lights | Employees | Electrical Manager | As and when they occur | Eye strains Headaches | Conducting illumination surveys Monthly PM's Medical surveillance illumination awareness Closing of survey actions | 2 | B | IV | Fully Effective | Adhere/Maintain existing controls | Illumination survey Monthly PM SAP QIM | Electrical Manager | - Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) Environmental Regulations for Workplaces, 1987 General Safety Regulations, 1988 General Administrative - Regulations, 2003 SANS - 10114 of 2020 Part 1 and 3 | Ongoing | In-Progress | N/A
| Routine | 21 | PF dust | 21 | Respiratory issues, Skin irritation, eye irirtation | Health | Fly ash Lack of training and knowledge Ineffective PPE Inadequate Risk assessment Inadequate communication | Employees | Electrical Manager | As and when they occur | Lung cancer Respiratory ailments | Employees are subjected to periodic medical testing by the Medical Health Practitioner. Plant is cleaned daily Maintain plant in a serviceable condition to reduce exposure Employees must be subjected to training and education (induction), which includes dust exposure and control measures. Employees must be provided with respiratory protection device. Employees are provided with respiratory protective devices to provide adequate protection against the estimated dust levels. Awareness is done Survey is done | 4 | B | III | Fully Effective | Adhere/Maintain existing controls Attend to notifications/defects as per priority | Inspections, audits | Electrical Manager | Occupational Health and Safety Act (Act No. 85 of 1993) Regulation for Hazardous Chemical Substance (1985) Environmental Regulations for Workplaces (1987) General Safety Regulations, 1988 General Administrative Regulations, 2003 | N/A | Inprogress
| Routine | 22 | Heat | 22 | Burns Heat rash Dehydration Heat stroke | Health | Exposed to excesive heat | Employees | Electrical Manager | As and when they occur | Burns Heat rash Dehydration Heat stroke | Awareness training Conduct atmospheric testing Keep hydrated Heat stress survey | 4 | B | III | Fully Effective | Adhere/Maintain existing controls | Inspection, Audit | Electrical Manager | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) General Safety Regulations, 1988 General Administrative Regulations, 2003 240-15598034 OHS Oppotunity Register | Ongoing | in progress | N/A
| Routine | 23 | Exposure to noise above 85dB | 23 | Noise induced hearing loss | Health | exposure to continous noise above 85db for more than 8hrs | Employees | Electrical Manager | As and when they occur | Noise Induced Hearing Loss | Occupational hygiene surveys are conducted to determine noise exposure levels. Employees are subjected to audiometric testing by the Medical Health Practitioner. Employees are provided with hearing protection device. Noise awareness are conducted | 4 | B | III | Fully Effective | Adhere/Maintain existing controls | Inspection, Audit | Electrical Manager | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Noise-induced Hearing Loss Regulations, 2003 Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) General Safety Regulations, 1988 General Administrative Regulations, 2003 SANS 10083 of 2022 | Ongoing | In progress | N/A
| Routine | 24 | Live Apparatus | 24 | Injuires Fatality Electrocution | Safety | Working in a live plant result in exposure to live parts of the plant , equipment or machinery Violation of Plant Safety Regulations Inadequate or inappropriate training Inadequate risk assessment Taking shortcuts Lack of concentration Inadequate communication | Employees | Electrical Manager | As and when they occur | Electrical shock; Neurological damage. Injuries/Fatalities | Implementation of the requirements of the Plant Safety Regulation PPE issued:(encompassing non-slip safety boots, electrical shock-resistant boots, long sleeve and long pants),and restriction on wearing of jewellery, long breem safety hat. | 4 | B | III | Fully Effective | Adhere/Maintain existing controls | Inspections Audits Supervision | Electrical Manager | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) General Safety Regulations, 1988 General Administrative Regulations, 2003 240-15598034 OHS Oppotunity Register | Ongoing | in progress | N/A
| Routine | 25 | Moving Machinery | 25 | Injuries Fatality Runover | Safety | Defective machine Poor visibility Lack of concentration | Employees | Electrical Manager | As and when they occur | Injuries Fatality Property damage Caught in between Struck by | Only authorized/competent persons are operating the machine Maintainace and service of the machine Emergency stop button Safety signage are displayed in the machine Implementation of lock out system | 4 | B | III | Fully Effective | Adhere/Maintain existing controls | Observations Supervision Inspections | Electrical Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) Compensation for Occupational Injuries and Diseases Act, 1993 (Act 130 of 1993) General Administrative Regulations, 2003 General Safety Regulations, 1988 240-15598034 OHS Oppotunity Register | Ongoing | in progress | N/A
| Routine | 26 | Rotating Shafts | 26 | Caught in between Injuries, Fatality | Safety | Defective machine guarding for the rotating shafts Nip points Lack of training Loss clothing | Employees | Electrical Manager | As and when they occur | Injuries Fatality Property damage | Only authorized/competent persons are operating the machine Rotating machinery is safeguarded and maintained at required intervals Wear correct PPE Employees are not allowed to wear loose clothing, handling jewellery near equipment and long hair must be tied back and secure Correct signage displayed | 3 | C | III | Fully Effective | Adhere/Maintain existing controls | Observations Supervision Inspections | Electrical Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) Compensation for Occupational Injuries and Diseases Act, 1993 (Act 130 of 1993) General Administrative Regulations, 2003 General Safety Regulations, 1988 240-15598034 OHS Oppotunity Register | Ongoing | in progress | N/A
| Routine | 27 | Chemical leaks | 27 | Chemical asphyxiation chemicals burns | Health | Inadequate/lack risk assessment Inadequate/lack maintenance Lack of training Improper PPE Inhalation of chemicals Contact with chemical | Employees | Electrical Manager | As and when they occur | Skin burns or irritation; Headache or nausea within; Asthma; Dermatitis; Cancer occurring years after exposure to a carcinogenic substance | Risk assessment is conducted before work commences. SDS of chemicals are in place Employees are trained on SDS and safe work procedure Wearing of correct PPE | 3 | B | III | Fully Effective | Adhere/Maintain existing controls | Observations Supervision Inspections | Electrical Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) Compensation for Occupational Injuries and Diseases Act, 1993 (Act 130 of 1993) General Administrative Regulations, 2003 General Safety Regulations, 1988 240-15598034 OHS Oppotunity Register | Ongoing | In progress | N/A
| Routine | 28 | Confined spaces | 28 | Inhalation of gases | Health | Flammable or explosive atmospheres Harmful gas, fume or vapour, Excess of oxygen | Employees | Electrical Manager | As and when they occur | Suffocation Loss of consciousness or Asphyxiation | Risk assessment Lock-out and tag-out systems to isolate machinery and electrical power Post warning signs Safety equipment is onsite, checked and ready for use Atmospheric testing for harmful gases/vapours with a gas detection device is done Entry and work permits Stand-by person is present An emergency response plan including planned exit routes, rescue team and emergency services are in place Workers register | 4 | B | III | Fully Effective | Adhere/Maintain existing controls | Inspection, Audit | Electrical Manager | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) Environmental Regulations for Workplaces, 1987 General Safety Regulations, 1988 General Administrative Regulations, 2003 Plant Safety Regulation |  | in progress | N/A
| Routine | 29 |  | 29 | Entrapment | Safety | The door not properly secured (not chained) Vaccum breaker closed Too much draught | Employees | Electrical Manager | As and when they occur | Suffocation Trauma | Risk assessment Lock-out and tag-out systems to isolate machinery and electrical power Post warning signs Safety equipment is onsite, checked and ready for use Atmospheric testing for harmful gases/vapours with a gas detection device is done Entry and work permits Stand-by person is present An emergency response plan including planned exit routes, rescue team and emergency services are in place Workers register | 4 | B | III | Fully Effective | Adhere/Maintain existing controls | Inspection, Audit | Electrical Manager | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) Environmental Regulations for Workplaces, 1987 General Safety Regulations, 1988 General Administrative Regulations, 2003 Plant Safety Regulation |  | in progress | N/A
| Routine | 30 | Uneven surfaces | 30 | Slip, trips and fall | Safety | Failure to identify the risk Lack of concentration Poor housekeeping | Employees | Electrical Manager | As and when they occur | Injuries | Risk assessment. Inspection of work areas on a regular basis as per the procedure Awareness training Providing personal protective equipment (e.g. Slip-resistant footwear) | 2 | B | IV | Fully Effective | Adhere/Maintain existing controls | Inspections Audits Supervision VFL/BSO | Electrical Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) General Safety Regulations, 1988 General Administrative Regulations, 2003 |  | in progress | N/A
Main Generator Hydrogen Dryer Plant Maintenance at Camden PS for 5 Years | Routine | 31 | Live Equipment's in a switchgear | 31 | Electrocution Fire Propety damage Injuries | Safety | Violation of Plant Safety Regulations Inadequate or inappropriate training Inadequate risk assessment Taking shortcuts Lack of concentration Inadequate communication | Employees | Electrical Manager | As and when they occur | Electric shock; Psychological damage; Physical burns; Neurological damage or Ventricular fibrillation Injuries | Implementation of the requirements of the Plant Safety Regulation. Pre-task risk assessment to identify all risks and hazards has been conducted and complete workers register prior to any work commencing. PPE issued (encompassing non-slip safety boots, electrical shock-resistant boots, long sleeve and long pants),and restriction on wearing of jewellery, long breem safety hat. | 2 | C | III | Fully Effective | Adhere/Maintain existing controls | Inspections Audits Supervision | Electrical Manager | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) General Safety Regulations, 1988 General Administrative Regulations, 2003 240-15598034 OHS Oppotunity Register
|  | 32 | Working at heights (Scaffolding) | 32 | Fall from working at heights | Safety | Lack of training and knowledge on working at heights Ineffective PPE Lack of concentration Inadequate Risk assessment Inadequate communication Failure to adhere to standards, procedure and instruction Defective equipment Collapse scaffolding Use of incorrect equipment Inappropriate use of access equipment (Overreaching, Stretching, etc.) Uneven floor causing instability which could result in losing footing and fall from scaffolding | Employees | Electrical Manager | As and when they occur | Injuries Fatalities | Scaffolding is erected and inspected before use by competent / trained and appointed personnel. Tools, equipment and PPE are checked for damage before use. A full body harness is worn. Fall protection plan Consideration given to environmental conditions prior to starting work. No work to be undertaken in adverse weather conditions (wind, rain, snow etc.) | 2 | C | III | Fully Effective | Adhere/Maintain existing controls | Inspections Audits Supervision | Electrical Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) General Safety Regulations, 1988 General Administrative Regulations, 2003 240-15598034 OHS Oppotunity Register 32-418 Working at heigts
|  | 33 | Working at heights (Ladder) | 33 | Fall from working at heights | Safety | Defective ladder Falling objects Inappropriate use of access equipment (Overreaching, stretching etc.) Uneven floor causing instability which could result in losing footing and fall from ladders Using the ladder alone Inadequate risk assessment Lack of training | Employees | Electrical Manager | As and when they occur | Injuries Fatality | Frequent documented checks on ladder. maximum safe working load not exceeded. Correct angle of ladder Secure ladder Buddy working rule when using ladders. Persons using ladder is wearing appropriate footwear Securely stored when not in use to avoid unauthorised use. Consideration given to environmental conditions prior to starting work. No work to be undertaken in adverse weather conditions (wind, rain, snow etc.) Rungs are kept clear of slippery substances. | 3 | B | III | Fully Effective | Adhere/Maintain existing controls | Inspections Audits Supervision | Electrical Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) General Safety Regulations, 1988 General Administrative Regulations, 2003 Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID)
|  | 34 | Inadequate/ Excessive lighting | 34 | Straining and or irritation of the eyes | Health | Too many lights installed Dirty light covers Defective lights | Employees | Electrical Manager | As and when they occur | Eye strains Headaches | Conducting illumination surveys Monthly PM's Medical surveillance illumination awareness Closing of survey actions | 2 | B | IV | Fully Effective | Adhere/Maintain existing controls | Illumination survey Monthly PM SAP QIM | Electrical Manager | - Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) Environmental Regulations for Workplaces, 1987 General Safety Regulations, 1988 General Administrative - Regulations, 2003 SANS - 10114 of 2020 Part 1 and 3 | Ongoing | In-Progress | N/A
|  | 35 | Awkward posture | 35 | Ergonomics stress, repetitive strain | Health | Non-compliance to procedures Inadequate training / experience Awkward posture Prolong exposure in cable tunnels | Employees | Electrical Manager | As and when they occur | Muscular-skeletal disorder: Injuries | Awareness Ergonomics assessments Correct tools for the activity Medical survelliance | 2 | B | IV | Fully Effective | Adhere/Maintain existing controls Ergonomics risk assessment | Surveys Inspection Audit | Electrical Manager | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) Environmental Regulations for Workplaces, 1987 General Safety Regulations, 1988 General Administrative Regulations, 2003 Ergonomics regulations 2021
|  | 36 | Hydrogen leak | 36 | Explosion | Safety | Lack of knowledge Open flames Smoking close to the hydrogen plant | Employees | Electrical Manager | As and when they occur | Injuries Fatalities | Training employees SDS for hydrogen is available Risk assessment Inspections signage, posting and labelling. personal protective equipment safety shower and eye washer fire protection | 2 | C | III | Fully Effective | Adhere/Maintain existing controls | Inspections Audits Supervision | Electrical Manager | - Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) - General Safety Regulations, 1988 - General Administrative Regulations, 2004
|  | 37 | Manual Handling | 37 | Strains and sprains, Fractures, dislocations. | Safety | Improper lifting techniques | Employees | Electrical Manager | As and when they occur | Injuries | Awareness Ergonomics asessment Correct tools for the activity Medical survelliance | 4 | B | III | Fully Effective | Adhere/Maintain existing controls Ergonomics risk assessment | VFL/BSO, Ergonomics risk assessmenent | Electrical Manager | Occupational Health and Safety Act (Act No. 85 of 1993) General Safety Regulations, 1988 General Administrative Regulations, 2003 Ergonomics Regulations 2021 |  | In-Progress | N/A
|  | 38 | Exposure to noise above 85dB | 38 | Noise induced hearing loss | Health | exposure to continous noise above 85db for more than 8hrs | Employees | Electrical Manager | As and when they occur | Noise Induced Hearing Loss | Occupational hygiene surveys are conducted to determine noise exposure levels. Employees are subjected to audiometric testing by the Medical Health Practitioner. Employees are provided with hearing protection device. Noise awareness are conducted | 4 | B | III | Fully Effective | Adhere/Maintain existing controls | Inspection, Audit | Electrical Manager | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Noise-induced Hearing Loss Regulations, 2003 Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) General Safety Regulations, 1988 General Administrative Regulations, 2003 SANS 10083 of 2022 | Ongoing | In progress | N/A
|  | 39 | PF dust | 39 | Respiratory issues, Skin irritation, eye irirtation | Health | Fly ash Lack of training and knowledge Ineffective PPE Inadequate Risk assessment Inadequate communication | Employees | Electrical Manager | As and when they occur | Lung cancer Respiratory ailments | Employees are subjected to periodic medical testing by the Medical Health Practitioner. Plant is cleaned daily Maintain plant in a serviceable condition to reduce exposure Employees must be subjected to training and education (induction), which includes dust exposure and control measures. Employees must be provided with respiratory protection device. Employees are provided with respiratory protective devices to provide adequate protection against the estimated dust levels. Awareness is done Survey is done | 4 | B | III | Fully Effective | Adhere/Maintain existing controls Attend to notifications/defects as per priority | Inspections, audits | Electrical Manager | Occupational Health and Safety Act (Act No. 85 of 1993) Regulation for Hazardous Chemical Substance (1985) Environmental Regulations for Workplaces (1987) General Safety Regulations, 1988 General Administrative Regulations, 2003 | N/A | Inprogress
|  | 40 | Rotating Shafts | 40 | Caught in between Injuries, Fatality | Safety | Defective machine guarding for the rotating shafts Nip points Lack of training Loss clothing | Employees | Electrical Manager | As and when they occur | Injuries Fatality Property damage | Only authorized/competent persons are operating the machine Rotating machinery is safeguarded and maintained at required intervals Wear correct PPE Employees are not allowed to wear loose clothing, handling jewellery near equipment and long hair must be tied back and secure Correct signage displayed | 3 | C | III | Fully Effective | Adhere/Maintain existing controls | Observations Supervision Inspections | Electrical Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) Compensation for Occupational Injuries and Diseases Act, 1993 (Act 130 of 1993) General Administrative Regulations, 2003 General Safety Regulations, 1988 240-15598034 OHS Oppotunity Register | Ongoing | in progress | N/A
|  | 41 | Live Equipment | 41 | Electrocution Fire Propety damage Injuries | Safety | Violation of Plant Safety Regulations Inadequate or inappropriate training Inadequate risk assessment Taking shortcuts Lack of concentration Inadequate communication | Employees | Electrical Manager | As and when they occur | Electric shock; Psychological damage; Physical burns; Neurological damage or Ventricular fibrillation Injuries | Implementation of the requirements of the Plant Safety Regulation. Pre-task risk assessment to identify all risks and hazards has been conducted and complete workers register prior to any work commencing. PPE issued (encompassing non-slip safety boots, electrical shock-resistant boots, long sleeve and long pants),and restriction on wearing of jewellery, long breem safety hat. | 2 | C | III | Fully Effective | Adhere/Maintain existing controls | Inspections Audits Supervision | Electrical Manager | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) General Safety Regulations, 1988 General Administrative Regulations, 2003 240-15598034 OHS Oppotunity Register
|  | 42 | Oil Spillage | 42 | Contact with body | Health | Oil leakage Inadequate maintenance | Employees | Electrical Manager | As and when they occur | Eye, nose and throat irritation Dermatitis (Inflammation) | Sawdust applied to absorb oil SDS for the oil is available and employees are trained on SDS - Risk assessment. PPE i.e. gloves, etc. to be checked for damage before use. | 2 | B | IV | Fully Effective | Adhere/Maintain existing controls | Inspections Audits Supervision | Electrical Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) Regulation for Hazardous Chemical agent (2021) General Safety Regulations, 1988 General Administrative Regulations, 2004
|  | 43 |  | 43 | Slip, trips and fall | Safety | Failure to identify the risk Lack of concentration Oil spillage | Employees | Electrical Manager | As and when they occur | Injuries Fatalities | Sawdust applied to absorb oil and cleaning SDS for the oil is available and employees are trained on SDS - Risk assessment. PPE i.e.oil resistant safety boots. | 2 | B | IV | Fully Effective | Adhere/Maintain existing controls | Inspections Audits Supervision | Electrical Manager | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) General Safety Regulations, 1988 General Administrative Regulations, 2004
|  | 44 | Hot surfaces | 44 | Thermal burns | Safety | Inadequate risk assessment Lack of concentration Incorrect PPE Accidental contact with hot surfaces No hot work signage | Employees | Electrical Manager | As and when they occur | Injuries Fatalities | Awareness training Signage PPE Risk assessment | 4 | B | III | Fully Effective | Adhere/Maintain existing controls | Inspection Audit | Electrical Manager | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) General Safety Regulations, 1988 General Administrative Regulations, 2004