NEC3 Engineering & Construction Contract

| Between | ESKOM HOLDINGS SOC Ltd (Reg No. 2002/015527/30) |  |
| --- | --- | --- |
| and | [Insert at award stage] (Reg No. ___________ ) |  |
| for | The establishment a panel of contractors for the construction and dismantling of HV distribution lines within the Mpumalanga Area, for voltages ranging from 44kV up to and including 132kV, on an “as and when” required basis for a period of forty-eight (48) months. Insert title of the works |  |
| Contents: |  | No of pages |
| Part C1 | Agreements & Contract Data | [2] |
| Part C2 | Pricing Data | [22] |
| Part C3 | Scope of Work | [146] |
| Part C4 | Site Information | [194] |
| CONTRACT No. |  |  |

Part C1: Agreements & Contract Data

| Contents: |  | No of pages |
| --- | --- | --- |
| C1.1 | Form of Offer and Acceptance | [3] |
| C1.2a | Contract Data provided by the Employer | [6] |
| C1.2b | Contract Data provided by the Contractor | [20] |

C1.1 Form of Offer & Acceptance

## Offer

The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

The establishment a panel of contractors for the construction and dismantling of HV distribution lines within the Mpumalanga Area, for voltages ranging from 44kV up to and including 132kV, on an “as and when” required basis for a period of forty-eight (48) months.

The tenderer, identified in the Offer signature block, has examined the documents listed in the Tender Data and addenda thereto and by submitting this Offer has accepted the Conditions of Tender.

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Contractor under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data.

Delete the Options which do not apply

| Options B, | The offered total of the Prices exclusive of VAT is | R [●] |
| --- | --- | --- |
|  | Sub total | R [●] |
|  | Value Added Tax @ 15% is | R [●] |
|  | The offered total of the amount due inclusive of VAT is | R [●] |
|  | (in words) [●] |  |

This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| For the tenderer: |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |
| Tenderer’s CIDB registration number (if applicable) |  |  |  |  |

## Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Employer and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in:

Part C1		Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2		Pricing Data

Part C3		Scope of Work: Works Information

Part C4		Site Information

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed original copy signed between them of this document, including the Schedule of Deviations (if any).

Unless the tenderer (now Contractor) within five working days of the date of such receipt notifies the Employer in writing of any reason why he cannot accept the contents of this agreement, this agreement shall constitute a binding contract between the Parties.

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| for the Employer |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

## Schedule of Deviations to be completed by the Employer prior to contract award

| No. | Subject | Details |
| --- | --- | --- |
| 1 | N/A | N/A |

By the duly authorised representatives signing this Schedule of Deviations below, the Employer and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement.

|  | #### For the tenderer: |  | #### For the Employer |
| --- | --- | --- | --- |
| Signature |  |  |  |
| Name |  |  |  |
| Capacity |  |  |  |
| On behalf of | (Insert name and address of organisation) |  | (Insert name and address of organisation) |
| Name & signature of witness |  |  |  |
| Date |  |  |  |

C1.2 ECC3 Contract Data

- Part one - Data provided by the Employer

Completion of the data in full, according to the Options chosen, is essential to create a complete contract.

| - Clause |  | - Statement |  | - Data |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | - General |  |  |  |  |  |  |  |  |  |  |  |
|  |  | The conditions of contract are the core clauses and the clauses for main Option |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | B: Priced contract with bill of quantities |  |  |  |  |  |  |  |  |  |
|  |  | dispute resolution Option |  | W1: Dispute resolution procedure |  |  |  |  |  |  |  |  |  |
|  |  | and secondary Options |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | X1: Price adjustment for inflation |  |  |  |  |  |  |  |  |  |
|  |  |  |  | X2 Changes in the law |  |  |  |  |  |  |  |  |  |
|  |  |  |  | X7: Delay damages |  |  |  |  |  |  |  |  |  |
|  |  |  |  | X16: Retention |  |  |  |  |  |  |  |  |  |
|  |  |  |  | X18: Limitation of liability |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Z: Additional conditions of contract |  |  |  |  |  |  |  |  |  |
|  |  | of the NEC3 Engineering and Construction Contract, April 2013 (ECC3) |  | If 2005 Edition is to be used delete “April 2013” and replace with “June 2005 with amendments June 2006”. Always delete this note before finalising this Data |  |  |  |  |  |  |  |  |  |
| 10.1 |  | The Employer is (Name): |  | Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa |  |  |  |  |  |  |  |  |  |
|  |  | Address |  | Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg |  |  |  |  |  |  |  |  |  |
| 10.1 |  | The Project Manager is: (Name) |  | [●] |  |  |  |  |  |  |  |  |  |
|  |  | Address |  | [●] |  |  |  |  |  |  |  |  |  |
|  |  | Tel |  | [●] |  |  |  |  |  |  |  |  |  |
|  |  | Fax |  | [●] |  |  |  |  |  |  |  |  |  |
|  |  | e-mail |  | [●] |  |  |  |  |  |  |  |  |  |
| 10.1 |  | The Supervisor is: (Name) |  | The supervisor will be the Clerk of Works appointed for a particular project and will be specified in the project specific agreement |  |  |  |  |  |  |  |  |  |
| 11.2(13) |  | The works are |  | As per Project Specific Agreement |  |  |  |  |  |  |  |  |  |
| 11.2(14) |  | The following matters will be included in the Risk Register |  | Armed robberies on site Vandalism of un-energized, equipment and primary plant Community unrest The Possibility of existing services which might not be indicated on the wayleave Geotechnical sampling technique |  |  |  |  |  |  |  |  |  |
| 11.2(15) |  | The boundaries of the site are |  | As per Project Specific agreement |  |  |  |  |  |  |  |  |  |
| 11.2(16) |  | The Site Information is in |  | Part 4: PSA Site Information |  |  |  |  |  |  |  |  |  |
| 11.2(19) |  | The Works Information is in |  | Part 3: PSA Scope of Work and all documents and drawings to which it makes reference. |  |  |  |  |  |  |  |  |  |
| 12.2 |  | The law of the contract is the law of |  | the Republic of South Africa |  |  |  |  |  |  |  |  |  |
| 13.1 |  | The language of this contract is |  | English |  |  |  |  |  |  |  |  |  |
| 13.3 |  | The period for reply is |  | One week |  |  |  |  |  |  |  |  |  |
| - 2 |  | - The Contractor's main responsibilities |  | Data required by this section of the core clauses is provided by the Contractor in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |  |  |  |  |
| - 3 |  | - Time |  |  |  |  |  |  |  |  |  |  |  |
| 11.2(3) |  | The completion date for the whole of the works is |  | To be advised |  |  |  |  |  |  |  |  |  |
| 11.2(9) |  | The key dates and the conditions to be met are: |  | Condition to be met |  |  |  |  |  |  | key date |  |  |
|  |  |  |  | 1 |  |  | As per Project Specific Agreement |  |  |  | As per Project Specific Agreement |  |  |
| 30.1 |  | The access dates are: |  | Part of the Site |  |  |  |  |  | Date |  |  |  |
|  |  |  |  | 1 |  |  | As per Project Specific Agreement |  |  | As per Project Specific Agreement |  |  |  |
| 31.1 |  | The Contractor is to submit a first programme for acceptance within |  | 2 weeks of the Contract Date. |  |  |  |  |  |  |  |  |  |
| 31.2 |  | The starting date is |  | To be advised |  |  |  |  |  |  |  |  |  |
| 32.2 |  | The Contractor submits revised programmes at intervals no longer than |  | During project progress meeting |  |  |  |  |  |  |  |  |  |
| 35.1 |  | The Employer is not willing to take over the works before the Completion Date. |  |  |  |  |  |  |  |  |  |  |  |
| - 4 |  | - Testing and Defects |  |  |  |  |  |  |  |  |  |  |  |
| 42.2 |  | The defects date is |  | 52 weeks after Completion of the whole of the works. |  |  |  |  |  |  |  |  |  |
| 43.2 |  | The defect correction period is |  | Within 2 weeks upon notification of defects |  |  |  |  |  |  |  |  |  |
| - 5 |  | - Payment |  |  |  |  |  |  |  |  |  |  |  |
| 50.1 |  | The assessment interval is |  | Between the 20-25 day of each successive month. If no programme is identified in the contract data, one quarter of the price for work done to date is retained in assessments of the amount due until the contractor has submitted a first programme to the project manager for acceptance showing the information which this contract requires. |  |  |  |  |  |  |  |  |  |
| 51.1 |  | The currency of this contract is the |  | South African Rand. |  |  |  |  |  |  |  |  |  |
| 51.2 |  | The period within which payments are made is |  | 4 weeks. |  |  |  |  |  |  |  |  |  |
| 51.4 |  | The interest rate is |  | the publicly quoted prime rate of interest (calculated on a 365 day year) charged from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and (ii) the LIBOR rate applicable at the time for amounts due in other currencies. LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove. |  |  |  |  |  |  |  |  |  |
| - 6 |  | - Compensation events |  |  |  |  |  |  |  |  |  |  |  |
| 60.1(13) |  | The place where weather is to be recorded is: |  | The Established site |  |  |  |  |  |  |  |  |  |
|  |  | The weather measurements to be recorded for each calendar month are, |  | the cumulative rainfall (mm) |  |  |  |  |  |  |  |  |  |
|  |  |  |  | the number of days with rainfall more than 10 mm |  |  |  |  |  |  |  |  |  |
|  |  |  |  | the number of days with minimum air temperature less than 0 degrees Celsius |  |  |  |  |  |  |  |  |  |
|  |  |  |  | the number of days with snow lying at 09:00 hours South African Time |  |  |  |  |  |  |  |  |  |
|  |  |  |  | and these measurements: |  |  |  |  |  |  |  |  |  |
|  |  | The weather measurements are supplied by |  | The contractor using the actual weather readings from the established site |  |  |  |  |  |  |  |  |  |
|  |  | The weather data are the records of past weather measurements for each calendar month which were recorded at: |  | N/A |  |  |  |  |  |  |  |  |  |
|  |  | and which are available from: |  | the South African Weather Bureau and included in Annexure A to this Contract Data provided by the Employer |  |  |  |  |  |  |  |  |  |
| 60.1(13) |  | Assumed values for the ten year return weather data for each weather measurement for each calendar month are: |  | As stated in Annexure A to this Contract Data provided by the Employer. Note: If this arrangement is used, delete the rows above for 60.1(13) and delete this note. |  |  |  |  |  |  |  |  |  |
| - 7 |  | - Title |  | There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |  |  |  |  |
| - 8 |  | - Risks and insurance |  |  |  |  |  |  |  |  |  |  |  |
| 80.1 |  | These are additional Employer's risks |  | Natural Disaster Pandemic and Epidemic |  |  |  |  |  |  |  |  |  |
| - 9 |  | - Termination |  | There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |  |  |  |  |
| - 10 |  | - Data for main Option clause |  |  |  |  |  |  |  |  |  |  |  |
| B |  | Priced contract with bill of quantities |  |  |  |  |  |  |  |  |  |  |  |
| 60.6 |  | The method of measurement is |  | As started in Part C2.1, Pricing Assumptions. |  |  |  |  |  |  |  |  |  |
| - 11 |  | - Data for Option W1 |  |  |  |  |  |  |  |  |  |  |  |
| W1.1 |  | The Adjudicator is |  | the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him. (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA). |  |  |  |  |  |  |  |  |  |
|  |  | Address |  | [●] |  |  |  |  |  |  |  |  |  |
|  |  | Tel No. |  | [●] |  |  |  |  |  |  |  |  |  |
|  |  | Fax No. |  | [●] |  |  |  |  |  |  |  |  |  |
|  |  | e-mail |  | [●] |  |  |  |  |  |  |  |  |  |
| W1.2(3) |  | The Adjudicator nominating body is: |  | the Chairman of ICE-SA a joint Division of the South African Institution of Civil Engineering and the London Institution of Civil Engineers. (See www.ice-sa.org.za ) or its successor body. |  |  |  |  |  |  |  |  |  |
| W1.4(2) |  | The tribunal is: |  | arbitration. |  |  |  |  |  |  |  |  |  |
| W1.4(5) |  | The arbitration procedure is |  | the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |  |  |  |  |  |
|  |  | The place where arbitration is to be held is |  | [●] South Africa |  |  |  |  |  |  |  |  |  |
|  |  | The person or organisation who will choose an arbitrator - if the Parties cannot agree a choice or - if the arbitration procedure does not state who selects an arbitrator, is |  | the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |  |  |  |  |  |
| ## 12 |  |  | ## Data for secondary Option clauses |  |  |  |  |  |  |  |  |  |  |
| X1 |  |  | Price adjustment for inflation |  |  |  |  |  |  |  |  |  |  |
| X1.1 |  |  | The base date for indices is |  | The base date is the month before the month in which the enquiry closed. |  |  |  |  |  |  |  |  |
|  |  |  | The proportions used to calculate the Price Adjustment Factor are: |  | proportion |  |  | linked to index for | Index prepared by |  |  |  |  |
|  |  |  |  |  | 75% 10% |  |  | Labour Transport | SEIFSA Table C3(a) SEIFSA Table L5 |  |  |  |  |
|  |  |  |  |  | 15% |  |  | non-adjustable |  |  |  |  |  |
|  |  |  |  |  | 1.00 |  |  |  |  |  |  |  |  |
|  |  |  | The prices offered are in Rand and all rates will remain fixed for the first 12 months of the contract period; thereafter the applicable CPA will either be CPI or SEIFSA Table C3, and Table L whichever the lowest escalation CPA component, will be adopted. The base date shall be the month before the month in which the enquiry closed. |  |  |  |  |  |  |  |  |  |  |
| X2 |  | Changes in the law |  | There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data. |  |  |  |  |  |  |  |  |  |
| X7 |  | Delay damages (but not if Option X5 is also used) |  |  |  |  |  |  |  |  |  |  |  |
| X7.1 |  | Delay damages for Completion of the whole of the works are |  | 0.02% per day up to a limit of 15% of the contract value |  |  |  |  |  |  |  |  |  |
| X16 |  | Retention (not used with Option F) |  |  |  |  |  |  |  |  |  |  |  |
| X16.1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | The retention percentage is |  | 10% (5% released on completion) (5% released 52 weeks after completion) |  |  |  |  |  |  |  |  |  |
| X18 |  | Limitation of liability |  |  |  |  |  |  |  |  |  |  |  |
| X18.1 |  | The Contractor’s liability to the Employer for indirect or consequential loss is limited to: |  | R0.0 (zero Rand) |  |  |  |  |  |  |  |  |  |
| X18.2 |  | For any one event, the Contractor’s liability to the Employer for loss of or damage to the Employer’s property is limited to: |  | the amount of the deductibles relevant to the event |  |  |  |  |  |  |  |  |  |
| X18.3 |  | The Contractor’s liability for Defects due to his design which are not listed on the Defects Certificate is limited to |  | The greater of - the total of the Prices at the Contract Date and - the amounts excluded and unrecoverable from the Employer’s assets policy for correcting the Defect (other than the resulting physical damage which is not excluded) plus the applicable deductible as at contract date. |  |  |  |  |  |  |  |  |  |
| X18.4 |  | The Contractor’s total liability to the Employer for all matters arising under or in connection with this contract, other than excluded matters, is limited to: |  | the total of the Prices other than for the additional excluded matters. The Contractor’s total liability for the additional excluded matters is not limited. The additional excluded matters are amounts for which the Contractor is liable under this contract for - Defects due to his design which arise before the Defects Certificate is issued, - Defects due to manufacture and fabrication outside the Site, - loss of or damage to property (other than the works, Plant and Materials), - death of or injury to a person and - infringement of an intellectual property right. |  |  |  |  |  |  |  |  |  |
| X18.5 |  | The end of liability date is |  | (i) 5 years after the defects date for latent Defects and (ii) the date on which the liability in question prescribes in accordance with the Prescription Act No. 68 of 1969 (as amended or in terms of any replacement legislation) for any other matter. A latent Defect is a Defect which would not have been discovered on reasonable inspection by the Employer or the Supervisor before the defects date, without requiring any inspection not ordinarily carried out by the Employer or the Supervisor during that period. If the Employer or the Supervisor do undertake any inspection over and above the reasonable inspection, this does not place a greater responsibility on the Employer or the Supervisor to have discovered the Defect. |  |  |  |  |  |  |  |  |  |
| Z |  | The Additional conditions of contract are |  | Z1 to Z15 always apply. |  |  |  |  |  |  |  |  |  |
| Z1 | Cession delegation and assignment |  |  |  |  |  |  |  |  |  |  |  |  |
| Z1.1 | The Contractor does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Employer. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z1.2 | Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z2 | Joint ventures |  |  |  |  |  |  |  |  |  |  |  |  |
| Z2.1 | If the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Employer for the performance of this contract. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z2.2 | Unless already notified to the Employer, the persons or organisations notify the Project Manager within two weeks of the Contract Date of the key person who has the authority to bind the Contractor on their behalf. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z2.3 | The Contractor does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Employer having been given to the Contractor in writing. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z3 |  | Change of Broad Based Black Economic Empowerment (B-BBEE) status |  |  |  |  |  |  |  |  |  |  |  |
| Z3.1 |  | Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change. |  |  |  |  |  |  |  |  |  |  |  |
| Z3.2 |  | The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Project Manager within thirty days of the notification or as otherwise instructed by the Project Manager. |  |  |  |  |  |  |  |  |  |  |  |
| Z3.3 |  | Where, as a result, the Contractor’s B-BBEE status has decreased since the Contract Date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Works. |  |  |  |  |  |  |  |  |  |  |  |
| Z3.4 |  | Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93. |  |  |  |  |  |  |  |  |  |  |  |
| Z4 | Confidentiality |  |  |  |  |  |  |  |  |  |  |  |  |
| Z4.1 | The Contractor does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time). Should the Contractor disclose information to Others in terms of clause 25.1, the Contractor ensures that the provisions of this clause are complied with by the recipient. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z4.2 | If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Project Manager. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z4.3 | In the event that the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure. In the event that such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z4.4 | The taking of images (whether photographs, video footage or otherwise) of the works or any portion thereof, in the course of Providing the Works and after Completion, requires the prior written consent of the Project Manager. All rights in and to all such images vests exclusively in the Employer. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z4.5 | The Contractor ensures that all his subcontractors abide by the undertakings in this clause. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z5 | Waiver and estoppel: Add to core clause 12.3: |  |  |  |  |  |  |  |  |  |  |  |  |
| Z5.1 | Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Project Manager, the Supervisor, or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z6 |  | Health, safety and the environment: Add to core clause 27.4 |  |  |  |  |  |  |  |  |  |  |  |
| Z6.1 |  | The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the works. Without limitation the Contractor: - accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2014 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Site; - warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of works; and - undertakes, in and about the execution of the works, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |  |  |  |  |  |
| Z6.2 |  | The Contractor, in and about the execution of the works, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |  |  |  |  |  |
| Z7 | Provision of a Tax Invoice and interest. Add to core clause 51 |  |  |  |  |  |  |  |  |  |  |  |  |
| Z7.1 | Within one week of receiving a payment certificate from the Project Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures stated in the Works Information, showing the amount due for payment equal to that stated in the payment certificate. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z7.2 | If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice. Interest due by the Employer in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z7.3 | The Contractor (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z8 | Notifying compensation events |  |  |  |  |  |  |  |  |  |  |  |  |
| Z8.1 | Delete from the last sentence in core clause 61.3, “unless the Project Manager should have notified the event to the Contractor but did not”. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z9 | Employer’s limitation of liability |  |  |  |  |  |  |  |  |  |  |  |  |
| Z9.1 | The Employer’s liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand) |  |  |  |  |  |  |  |  |  |  |  |  |
| Z9.2 | The Contractor’s entitlement under the indemnity in 83.1 is provided for in 60.1(14) and the Employer’s liability under the indemnity is limited. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z10 | Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it": |  |  |  |  |  |  |  |  |  |  |  |  |
| Z10.1 | or had a business rescue order granted against it. |  |  |  |  |  |  |  |  |  |  |  |  |
| Z11 | Addition to secondary Option X7 Delay damages (if applicable in this contract) |  |  |  |  |  |  |  |  |  |  |  |  |
| Z11.1 | If the amount due for the Contractor’s payment of delay damages reaches the limits stated in this Contract Data for Option X7 or Options X5 and X7 used together, the Employer may terminate the Contractor’s obligation to Provide the Works using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table. |  |  |  |  |  |  |  |  |  |  |  |  |

| Z12 | Ethics |  |
| --- | --- | --- |
| For the purposes of this Z-clause, the following definitions apply: |  |  |
| Affected Party |  | means, as the context requires, any party, irrespective of whether it is the Contractor or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends, |
| Coercive Action |  | means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally, |
| Collusive Action |  | means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally, |
| Committing Party |  | means, as the context requires, the Contractor, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractor or the Subcontractor’s employees, |
| Corrupt Action |  | means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party, |
| Fraudulent Action |  | means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation, |
| Obstructive Action |  | means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and |
| Prohibited Action |  | means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action. |
| Z12.1 | A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof. |  |
| Z12.2 | The Employer may terminate the Contractor’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Contractor did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Employer has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Employer can terminate the Contractor’s obligation to Provide the Services for this reason. |  |
| Z12.3 | If the Employer terminates the Contractor’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2. |  |
| Z12.4 | A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Employer does not have a contractual bond with the Committing Party, the Contractor ensures that the Committing Party co-operates fully with an investigation. |  |
| Z13 | Insurance |  |
| Z 13.1 | Replace core clause 84 with the following: |  |

| Insurance cover | 84 |  |
| --- | --- | --- |
|  | 84.1 | When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force. |
|  | 84.2 | The Contractor provides the insurances stated in the Insurance Table A. |
|  | 84.3 | The insurances provide cover for events which are at the Contractor’s risk from the starting date until the earlier of Completion and the date of the termination certificate. |
|  |  | - INSURANCE TABLE A Insurance against; Minimum amount of cover or minimum limit of indemnity. Loss of or damage to the works, Plant and Materials; The replacement cost where not covered by the Employer’s insurance The Employer’s policy deductible, as at Contract Date, where covered by the Employer’s insurance. Loss of or damage to Equipment; The replacement cost. Liability for loss of or damage to property (except the works, Plant and Materials and Equipment) and liability for bodily injury to or death of a person (not an employee of the Contractor) caused by activity in connection with this contract; Loss of or damage to property Employer’s property The replacement cost where not covered by the Employer’s insurance The Employer’s policy deductible, as at Contract Date, where covered by the Employer’s insurance Other property The replacement cost Bodily injury to or death of a person The amount required by applicable law. Liability for death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract; The amount required by the applicable law. |
| Z 13.2 |  | Replace core clause 87 with the following: The Employer provides the insurances stated in the Insurance Table B. |
|  |  | - INSURANCE TABLE B Insurance against or name of policy; Minimum amount of cover or minimum limit of indemnity. Assets All Risk; Per the insurance policy document. Contract Works insurance; Per the insurance policy document. Environmental Liability; Per the insurance policy document. General and Public Liability; Per the insurance policy document. Transportation (Marine); Per the insurance policy document. Motor Fleet and Mobile Plant; Per the insurance policy document. Terrorism; Per the insurance policy document. Cyber Liability; Per the insurance policy document. Nuclear Material Damage and Business Interruption; Per the insurance policy document. Nuclear Material Damage Terrorism; Per the insurance policy document. |

| Z14 | Nuclear Liability |  |
| --- | --- | --- |
| Z14.1 | The Employer is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS. |  |
| Z14.2 | The Employer is solely responsible for and indemnifies the Contractor or any other person against any and all liabilities which the Contractor or any person may incur arising out of or resulting from nuclear damage, as defined in Act 47 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Contractor or any other person or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer. |  |
| Z14.3 | Subject to clause Z14.4 below, the Employer waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Contractor or any other person, or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer. |  |
| Z14.4 | The Employer does not waive its rights provided for in section 30 (7) of Act 47 of 1999, or any replacement section dealing with the same subject matter. |  |
| Z14.5 | The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned. |  |
| Z15 | Asbestos |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |
| AAIA |  | means approved asbestos inspection authority. |
| ACM |  | means asbestos containing materials. |
| AL |  | means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4 hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL. |
| Ambient Air |  | means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet. |
| Compliance Monitoring |  | means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |
| OEL |  | means occupational exposure limit. |
| Parallel Measurements |  | means measurements performed in parallel, yet separately, to existing measurements to verify validity of results. |
| Safe Levels |  | means airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |
| Standard |  | means the Employer’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles. |
| SANAS |  | means the South African National Accreditation System. |
| TWA |  | means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4 hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA. |
| Z15.1 | The Employer ensures that the Ambient Air in the area where the Contractor will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM. |  |
| Z15.2 | Upon written request by the Contractor, the Employer certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Contractor may perform Parallel Measurements and related control measures at the Contractor’s expense. For the purposes of compliance the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z15.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan. |  |
| Z15.3 | The Employer manages asbestos and ACM according to the Standard. |  |
| Z15.4 | In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe. |  |
| Z15.5 | The Contractor’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable. |  |
| Z15.6 | The Contractor continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations, 2001. |  |
| Z15.7 | Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Employer at the Employer’s expense, and conducted in line with South African legislation. |  |

- Annexure A:	 One-in-ten-year-return weather data obtained from SA Weather Bureau for [weather station]

If any one of these weather measurements recorded within a calendar month, before the Completion Date for the whole of the works and at the place stated in this Contract Data is shown to be more adverse than the amount stated below then the Contractor may notify a compensation event.

|  | Weather measurement |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Month | Cumulative rainfall (mm) | Number of days with rain more than 10mm | Number of days with min air temp < 0 deg.C | Number of days with snow lying at 08:00 CAT | [Other measurements if applicable] |
| January | [●] | [●] | [●] | [●] |  |
| February | [●] | [●] | [●] | [●] |  |
| March | [●] | [●] | [●] | [●] |  |
| April | [●] | [●] | [●] | [●] |  |
| May | [●] | [●] | [●] | [●] |  |
| June | [●] | [●] | [●] | [●] |  |
| July | [●] | [●] | [●] | [●] |  |
| August | [●] | [●] | [●] | [●] |  |
| September | [●] | [●] | [●] | [●] |  |
| October | [●] | [●] | [●] | [●] |  |
| November | [●] | [●] | [●] | [●] |  |
| December | [●] | [●] | [●] | [●] |  |

Only the difference between the more adverse recorded weather and the equivalent measurement given above is taken into account in assessing a compensation event.

C1.2 Contract Data

# Part two - Data provided by the Contractor

Notes to a tendering contractor:

- Please read both the NEC3 Engineering and Construction Contract (April 2013) and the relevant parts of its Guidance Notes (ECC3-GN) in order to understand the implications of this Data which the tenderer is required to complete.  An example of the completed Data is provided on pages 156 to 158 of the ECC3 (April 2013) Guidance Notes.

- The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data

- Where a form field like this [     ] appears, data is required to be inserted relevant to the option selected. Click on the form field once and type in the data.  Otherwise complete by hand and in ink.

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

| ## Clause | ## Statement | ## Data |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 10.1 | The Contractor is (Name): |  |  |  |  |
|  | Address |  |  |  |  |
|  | Tel No. |  |  |  |  |
|  | Fax No. |  |  |  |  |
| 11.2(8) | The direct fee percentage is | % |  |  |  |
|  | The subcontracted fee percentage is | % |  |  |  |
| 11.2(18) | The working areas are the Site and |  |  |  |  |
| 24.1 | The Contractor's key persons are: |  |  |  |  |
|  | 1 Name: |  |  |  |  |
|  | Job: |  |  |  |  |
|  | Responsibilities: |  |  |  |  |
|  | Qualifications: |  |  |  |  |
|  | Experience: |  |  |  |  |
|  | 2 Name: |  |  |  |  |
|  | Job |  |  |  |  |
|  | Responsibilities: |  |  |  |  |
|  | Qualifications: |  |  |  |  |
|  | Experience: |  |  |  |  |
|  |  | CV's (and further key persons data including CVs) are appended to Tender Schedule entitled . |  |  |  |
| 11.2(3) | The completion date for the whole of the works is | As per the Project Specific Agreement |  |  |  |
| 11.2(14) | The following matters will be included in the Risk Register | As per the Project Specific Agreement |  |  |  |
| 11.2(19) | The Works Information for the Contractor’s design is in: | N/A |  |  |  |
| 31.1 | The programme identified in the Contract Data is |  |  |  |  |
| B | Priced contract with bill of quantities |  |  |  |  |
| 11.2(21) | The bill of quantities is in |  |  |  |  |
| 11.2(31) | The tendered total of the Prices is | (rate-based contract) |  |  |  |
| B | Priced contract with bill of quantities | Data for the Shorter Schedule of Cost Components |  |  |  |
| 41 in SSCC | The percentage for people overheads is: | 5 % |  |  |  |
| 21 in SSCC | The published list of Equipment is the last edition of the list published by |  |  |  |  |
|  | The percentage for adjustment for Equipment in the published list is | Minus % |  |  |  |
| 22 in SSCC | The rates of other Equipment are: | Equipment | Size or capacity |  | Rate |
| 61 in SSCC | The hourly rates for Defined Cost of design outside the Working Areas are | Category of employee |  | Hourly rate |  |
|  | Note: Hourly rates are estimated ‘cost to company of the employee’ and not selling rates. | N/A |  | N/A |  |
|  | Please insert another schedule if foreign resources may also be used |  |  |  |  |
| 62 in SSCC | The percentage for design overheads is | N/A |  |  |  |
| 63 in SSCC | The categories of design employees whose travelling expenses to and from the Working Areas are included in Defined Cost are: | N/A |  |  |  |

- Part 2: Pricing Data

ECC3 Option B

| Document reference | Title | No of pages |
| --- | --- | --- |
| C2.1 | Pricing assumptions: Option B |  |
| C2.2 | The bill of quantities |  |

C2.1 Pricing assumptions: Option B

- How work is priced and assessed for payment

Clause 11 in NEC3 Engineering and Construction Contract (ECC3) Option B states:

| Identified and defined terms | 11 11.2 | (21) The Bill of Quantities is the bill of quantities as changed in accordance with this contract to accommodate implemented compensation events and for accepted quotations for acceleration. |
| --- | --- | --- |
|  |  | (28) The Price for Work Done to Date is the total of - the quantity of the work which the Contractor has completed for each item in the Bill of Quantities multiplied by the rate and - a proportion of each lump sum which is the proportion of the work covered by the item which the Contractor has completed. Completed work is work without Defects which would either delay or be covered by immediately following work. |
|  |  | (31) The Prices are the lump sums and the amounts obtained by multiplying the rates by the quantities for the items in the Bill of Quantities. |

This confirms that Option B is a re-measurement contract and the bill comprises only items measured using quantities and rates or stated as lump sums.  Value related items are not used.  Time related items are items measured using rates where the rate is a unit of time.

- Function of the Bill of Quantities

Clause 55.1 in Option B states, “Information in the Bill of Quantities is not Works Information or Site Information”.  This confirms that specifications and descriptions of the work or any constraints on how it is to be done are not included in the Bill, but in the Works Information.  This is further confirmed by Clause 20.1 which states, “The Contractor Provides the Works in accordance with the Works Information”. Hence the Contractor does not Provide the Works in accordance with the Bill of Quantities.  The Bill of Quantities is only a pricing document.

- Guidance before pricing and measuring

Employers preparing tenders or contract documents, and tendering contractors are advised to consult the sections dealing with the bill of quantities in the NEC3 Engineering and Construction Contract Guidance Notes before preparing the bill of quantities or before entering rates and lump sums into the bill.

There is no general provision in Option B for payment for materials on Site before incorporation into the works.  If secondary Option X14 Advanced payment has not been used then the tendering contractor may obtain the same effect by inserting appropriate items in the method related charges where the method of measurement allows, or alternatively making allowance in the rates of the bill of quantities for the financing of Plant and Materials until they are incorporated in the works.

When compensation events arise, the default position is that the Bill of Quantities is not used to calculate the cost effect of the event.  Defined Cost and the resulting Fee is used and Defined Cost includes all components of cost which the Contractor is likely to incur, including so called P & G items.  Rates and lump sums from the Bill of Quantities, or from any other source, may be used instead of Defined Cost and the Fee only if the Contractor and Project Manager agree.  If they are unable to agree, then Defined Cost plus Fee is used.

- Measurement and payment

- Symbols

The units of measurement described in the Bill of Quantities are metric units abbreviated as follows:

[add or delete as required]

| Abbreviation | Unit |
| --- | --- |
| % | percent |
| h | hour |
| ha | hectare |
| kg | kilogram |
| kl | kilolitre |
| km | kilometre |
| km-pass | kilometre-pass |
| kPa | kilopascal |
| kW | kilowatt |
| l | litre |
| m | metre |
| mm | millimetre |
| m2 | square metre |
| m2-pass | square metre pass |
| m3 | cubic metre |
| m3-km | cubic metre-kilometre |
| MN | meganewton |
| MN.m | meganewton-metre |
| MPa | megapascal |
| No. | number |
| sum | Lump sum |
| t | tonne (1000kg) |

- General assumptions

- Unless otherwise stated, items are measured net in accordance with the drawings, and no allowance has been made in the quantities for waste.

- The Prices and rates stated for each item in the Bill of Quantities shall be treated as being fully inclusive of all work, risks, liabilities, obligations, overheads, profit and everything necessary as incurred or required by the Contractor in carrying out or providing that item.

- An item against which no Price is entered will be treated as covered by other Prices or rates in the bill of quantities.

- The quantities contained in the Bill of Quantities may not be final and do not necessarily represent the actual amount of work to be done.  The quantities of work assessed and certified for payment by the Project Manager at each assessment date will be used for determining payments due.

- The short descriptions of the items of payment given in the bill of quantities are only for the purposes of identifying the items.  Detail regarding the extent of the work entailed under each item is provided in the Works Information.

- Departures from the method of measurement

C2.2 the bill of quantities

| Item | Reference Drawing | Description | Unit | Quantity | Labour Rate | Total |
| --- | --- | --- | --- | --- | --- | --- |
| 1.1 | Preliminary & General cost - VOLUME 3 : Activity Stage 1.1 |  |  |  |  |  |
| 1.1.1 | Fixed charge items: |  |  |  |  |  |
|  |  | (a) Site establishment of facilities on site such as Site office, sheds, Site Stores , temporal fencing, lighting, security lighting, etc. | sum |  |  |  |
|  |  | b) Contractual requirements i.e., insurance’s, statutory contributions, etc. | sum |  |  |  |
|  |  | c) All Sanitary & Ablution facilities for Contractor's employees (Establish) | sum |  |  |  |
|  |  | d) Domestic water supplies (Establish) | sum |  |  |  |
|  |  | e) Electricity and communication supplies ( existing sub) | sum |  |  |  |
|  |  | e) Electricity and communication supplies (provide proof) | sum |  |  |  |
|  |  | f) Planning & Programme management for the Works (Contractor must allow for the preparation of a detailed programme reflecting the outage dates) | Sum |  |  |  |
|  |  | g) Completion and submission of the "Expanded Public Works Programme Report" | Sum |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Labour Rate | Labour Rate |
| 1.1.2 |  | Time related items: |  |  |  |  |
|  |  | (a) Site establishment of facilities on site | Month |  |  |  |
|  |  | b) Contractor's Plant, Equipment & Tools (Including transport cost to and from site) |  |  |  |  |
|  |  | 10 m³ Tipper Truck | day |  |  |  |
|  |  | 14 m³ Tipper Truck | day |  |  |  |
|  |  | Transport Truck 5-8 ton | day |  |  |  |
|  |  | Transport Truck 5-8 ton with crane | day |  |  |  |
|  |  | Transport Truck 9-14 ton with crane | day |  |  |  |
|  |  | Transport Truck 30 ton with crane | day |  |  |  |
|  |  | 120kW Excavator / 70kW TLB ) | day |  |  |  |
|  |  | Grader | day |  |  |  |
|  |  | Roller | day |  |  |  |
|  |  | b) Contractual requirements i.e., insurance’s, statutory contributions, etc. | Month |  |  |  |
|  |  | c) Accommodation for Contractor's employees (supplier to submit a qoutation prior to signing a task order,invoice will be paid at a cost plus 10% basis ) | Month |  |  |  |
|  |  | d) All Sanitary & Ablution facilities for Contractor's employees | Month |  |  |  |
|  |  | f) Electricity and communication supplies (Use & Maintain) | Month |  |  |  |
|  |  | g) Domestic water supplies (Use & Maintain) | Month |  |  |  |
|  |  | h) Site Supervision ( 1 SUPERVISOR) | Month |  |  |  |
|  |  | I) Site Security (minimum 2 guards per day and 2 guards at night and supplier to submit a qoutation prior to signing a task order ) Guard house panic button link to the guard house and a two-way communication devices | Month |  |  |  |
|  |  | J) Special transport of workers to, at and from site in terms of the OHS Act Regulations. |  |  |  |  |
|  |  | Transport personal (12 seater) | km |  |  |  |
|  |  | LDV | km |  |  |  |
|  |  | k) Special transport of material from site to stores back to site | km |  |  |  |
|  |  | l) Other daily rate time related charges, required for the successful completion of this project | days |  |  |  |
|  |  | m) Outages Contractor must allow for work being done during outages on weekends | w/ends |  |  |  |
| R 1.20 | Environmental requirements - VOLUME 3 PART 2: Activity Stage 1.2 |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Labour Rate | Labour Rate |
| 1.2.1 |  | a) Compliance with environmental legislation as well as environmental specifications included in or referred to in this document | sum |  |  |  |
|  |  | b) Allowance for environmental risks and reporting of environmental incidents | Sum |  |  |  |
|  |  | c) Waste Disposal | Sum |  |  |  |
|  |  | d) Compile, use and maintain the Environmental Incident Register" on site. | Sum |  |  |  |
| R 1.30 | Health and Safety requirements (34-333) - VOLUME 3 PART 2: Activity Stage 1.3 |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Labour/ Hourly Rate | Total |
| 1.3.1 | (a) Personal Protective Equipment: |  |  |  |  |  |
|  |  | Personal Protective Equipment appropriate to the task to be performed shall be provided by the Principal Contractor. |  |  |  |  |
|  |  | Steel toe capped safety boots | Item |  |  |  |
|  |  | Appropriate protective clothing, Overalls | Item |  |  |  |
|  |  | Colour coded hardhats [Blue for labourer, Red for First Aider, Green for SHE Reps and White for'Supervisors and Managers] | Item |  |  |  |
|  |  | Eye protection appropriate to task performed | Item |  |  |  |
|  |  | Ear Protection e.g (Ear Plugs etc) | Item |  |  |  |
|  |  | Dust mask where possible | Item |  |  |  |
|  |  | Safety Googles - specific to task requirements | Item |  |  |  |
|  |  | Gloves appropriate to the task performed. | Item |  |  |  |
|  | (b) Supply and Provision for Safety and Emergency Response Equipments |  |  |  |  |  |
|  |  | First Aid Box Equipments | Item |  |  |  |
|  |  | Fire Fighting Equipment (Fire Extinquishers (9kg) | Item |  |  |  |
|  |  | Fire and First Aid Box Symbolic Signs | Item |  |  |  |
|  |  | Alco Tester | Item |  |  |  |
|  |  | Provision of symbolic safety constrcution signs | Item |  |  |  |
|  |  | Any other: Contractor to add and specify : …… | Item |  |  |  |
|  | ( b) Human Resources |  |  |  |  |  |
|  |  | Comply with Statutory Health & Safety appointments and required competencies in terms of the OHS Act and Regulations. (Costing for training should be in accordance with the required listed training as per SHE returnables Annexure C1). Limited to a maximum number of 8 persons per team per company claimed once for the duration of the contract). | Item |  |  |  |
|  |  | Appointment of a SACPCMP registered Project SHE Officer (Subject to negotiated rate per hour spent on site)- to ensure all OH& S project related requirements are complied with. i.e Compile project specific "Health and Safety Plan and file " to be submitted by the Contractor, Compile Baseline Risk assessment and health risk assessment which is scope of work specific, Incident Investigations, Monthly Audits etc. | Item |  |  |  |
|  |  | Eskom Environmnetal Law Training | Item |  |  |  |
|  | (c ). Supply and Provision of Equipments for Work at Heights |  |  |  |  |  |
|  |  | Fall Protection Equipment ( FAS)- Safety Harness | Item |  |  |  |
|  |  | Fall Rescue Kit | Item |  |  |  |
|  | (d ). Driven Machinery Regulations : Lifting Machinery |  |  |  |  |  |
|  |  | Performance Load Testing , inspection and Examinations for Mobile Crane Truck. 12 Monthly/ Yearly | Item |  |  |  |
|  |  | Performance Load Testing , inspection and Examinations for all safety attachment devises (Chains, Hooks, ropes); etc. 6 (six) Monthly) | Item |  |  |  |
|  | (e ). Barricading Material |  |  |  |  |  |
|  |  | Supply and Install rigid type barricading | Item |  |  |  |
|  |  | supply and Install temporary fence barricading along perimeter of excavated area. | Item |  |  |  |
|  | (F). Occupational Health and Hygiene |  |  |  |  |  |
|  |  | Pre Medical Screening per employee assigned for a particular project ( Principal Contractor subject to one claim annually for 7 assigned employees ), Casual Labourers per project. | Item |  |  |  |
|  |  | Periodic Medical Screening (Follow-up on identified medical condition, based on the project duration). 6 months and more. | Item |  |  |  |
|  |  | d) Other Health and Safety related items deemed necessary to comply to OHS Act, Regulations and Eskom Safety specifications | Item |  |  |  |

| Volume3_Part1_BOQ_HV Lines_R1 Bill of Quantities |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Project Name: |  | Construction and Refurbishment of 44-132kV Sub-Transmission lines, within Mpumalanga Operating Unit |  |  |  |  |  |
| Activity Stage 2: Establish construction access |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 2.1 | Supply and transport of new power line servitude gates: VOLUME 3 PART 2 - Activity Stage 2.1 |  |  |  |  |  |  |
| 2.1.1 | D-FS-12051 Rev. 5 Sht. 1 - 5 | Complete Supply and Transport of new 4,5m wide small stock fence servitude gates (complete with gate posts and chain), (Item subjected to re-measurement) | each |  | cost plus 10% |  |  |
| 2.1.2 | D-FS-13409 Rev. 1 Sht. 1 - 5 | Complete Supply and Transport of new 4,5m wide game fence servitude gates (complete with gate posts and chain), (Item subjected to re-measurement) | each |  | cost plus 10% |  |  |
| 2.1.3 |  | Complete Supply and Transport of servitude gate labels (Item subjected to re-measurement) | each |  | cost plus 10% |  |  |
| Sub-Total 2.1 |  |  |  |  |  |  |  |
| 2.2 | Complete refurbishment and replacement of existing power line servitude gates: VOLUME 3 PART - Activity Stage 2.2 |  |  |  |  |  |  |
| 2.2.1 |  | Complete dismantling and removal from site of existing servitude/access gates (complete with gate posts and chain) (Item subjected to re-measurement) | each |  |  |  |  |
| 2.2.2 | D-FS-12051 Rev. 5 Sht. 1 - 5 | Setting-out and complete re-installation of new Standard 4,5m wide small stock fence servitude/access gates (complete with gate posts and chain), (Item subjected to re-measurement) | each |  |  |  |  |
| 2.2.3 |  | Complete refurbishment of private access gates outside the power line servitude and used by the Contractor to gain construction access (complete with gate posts and chain) (Item subjected to re-measurement) | each |  |  |  |  |
| 2.2.4 |  | Setting-out and complete re-installation of new Standard 4,5m wide game fence servitude/access gates (complete with gate posts and chain), dwg: D-FS-13409 Rev. 1 Sht. 1 - 5 (Item subjected to re-measurement) | each |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 2.3 | Complete installation of new power line servitude gates: VOLUME 3 PART - Activity Stage 2.3 |  |  |  |  |  |  |
| 2.3.1 | D-FS-12051 Rev. 5 Sht. 1 - 5 | Setting-out and complete installation of new Standard 4,5m wide small stock fence gates in fences without any servitude gates (complete with gate posts and chain), dwg: (Item subjected to re-measurement) | each |  |  |  |  |
| 2.3.2 | D-FS-13409 Rev. 1 Sht. 1 - 5 | Setting-out and complete installation of new Standard 4,5m wide game fence gates in fences without any servitude gates (complete with gate posts and chain), dwg: (Item subjected to re-measurement) | each |  |  |  |  |
| 2.3.3 |  | Complete installation of all servitude gate labels (Item subjected to re-measurement) | each |  |  |  |  |
| 2.4 | Complete establishment of property construction acess: VOLUME 3 PART 2 - Activity Stage 2.4 |  |  |  |  |  |  |
| 2.4.1 |  | Use and maintenance of private access roads for construction purposes (Item subjected to re-measurement) | wks |  |  |  |  |
| 2.4.2 |  | Establishment, use and maintenance of construction access on the power line servitude (Item subjected to re-measurement) | wks |  |  |  |  |
| Activity Stage 3: Construction of temporary By-pass Lines |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 3.1 | For complete installation and dressing of By-pass structures, refer to: Activity Stage 3.1 (All relevant Items measured in referred Activity Stages) |  |  |  |  |  |  |
| 3.2 | Transport of By- pass connecting hardware: VOLUME 3 PART 2 - Activity Stage 3.2 & 3.3 |  |  |  |  |  |  |
| 3.2.1 |  | Supply and transport of by-pass material, see PART .... Items …. | ea |  |  |  |  |
| 3.3 | Complete installation and removal of temporary By-passes …: VOLUME 3 PART 2 - Activity Stage 3.2 & 3.3 |  |  |  |  |  |  |
| 3.3.1 |  | Disconneting Existing Structures / Line Discription…. | ea |  |  |  |  |
| 3.3.2 |  | Comlpete installation, Bypass Discription…. | ea |  |  |  |  |
| 3.3.3 |  | Complete disconneting, dismantling and removal of bypass line Discription…. | ea |  |  |  |  |
| Activity Stage 4: Foundations |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 4.1 | Geotechnical investigation and soil/foundation types nominations: VOLUME 3 PART 2 - Activity Stage 4.1 |  |  |  |  |  |  |
| 4.1.1 |  | Excavating and backfilling of soil profile test holes for structure foundation soil type nominations | each |  |  |  |  |
| 4.1.2 |  | Nomination of soil types for structure foundations and submission of records for Employer's approval | each |  |  |  |  |
| 4.2 | Foundations Design or Verification: VOLUME 3 PART 2 - Activity Stage 4.2 |  |  |  |  |  |  |
| The appointment of a professional civil engineer will be the responsibility of the contractor and will be paid by the contractor - costs must be included in the tender. Foundation designs are provided for all possible soil types but needs to be verified and approved by a Prof Civil Engineer for each installation. Should the contractor wish to construct a foundation of a different design, all design drawings will be submitted to Eskom for acceptance. The contractor will accept full responsibility for these designs. Eskom will not pay for these designs unless the submitted Eskom designs cannot be used due to prevailing site conditions. This decision will be taken by the Engineer. Foundation designs for all structures in accordance with 0501KR-01 rev 1, 240-47172520 (TRMSCAAC5) and SCSASABK8 by a registered professional in each type of soil (type 1, 2, 3, 4 soft rock and hard rock). Designs to be Eskom Copyright. |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 247 Lattice Structure - Foundations Design or Verify the Reference Foundation |  |  |  |  |  |  |  |
| Intermediate Suspension Lattice Structures 247 A |  |  |  |  |  |  |  |
| 4.2.1 | 2 T1-T4, SR & HR | 247A 0 degree suspension structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 4.2.2 | 0.69-247A T1-T4, SR & HR | 247A 0 degree suspension structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 4.2.3 | 0.69-247A T1-T4, SR & HR | 247A 0 degree suspension structure, 132kV lattice steel. 18.1m CAH | ea |  |  |  |  |
| 4.2.4 | 0.69-247A T1-T4, SR & HR | 247A 0 degree suspension structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 0-30 degree Strain Lattice Structures 247B |  |  |  |  |  |  |  |
| 4.2.5 | 0.69-247B T1-T4, SR & HR | 247B 0-40 degree strain structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 4.2.6 | 0.69-247B T1-T4, SR & HR | 247B 0-40 degree strain structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 4.2.7 | 0.69-247B T1-T4, SR & HR | 247B 0-40 degree strain structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 40-90 degree Strain Lattice Structures 247C |  |  |  |  |  |  |  |
| 4.2.8 | 0.69-247C T1-T4, SR & HR | 247C 40-90 degree strain structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 4.2.9 | 0.69-247C T1-T4, SR & HR | 247C 40-90 degree strain structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 4.2.10 | 0.69-247C T1-T4, SR & HR | 247C 40-90 degree strain structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 0-40 degree Terminal Lattice Structures 247C |  |  |  |  |  |  |  |
| 4.2.11 | 0.69-247C T1-T4, SR & HR | 247C 0-40 degree terminal structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 2-WT/15049 Intermediate 0 - 2º Suspension Mono-Pole Double Circuit Structure - Foundations Design or Verify the Reference Foundation |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Verify foundations for the nominated soil type 1, 2, 3, 4 or Rock - 0 - 2º Suspension Mono-Pole Double Circuit Structure Foundations |  |  |  |  |  |  |  |
| 4.2.12 | 0.69/CFS/20M2100/ T1-T4, SR & HR | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 20m (Plant 2.6m - Bottom Attachement 10.5m) | ea |  |  |  |  |
| 4.2.13 | 0.69/CFS/22M2301/ T1-T4, SR & HR | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 22m (Plant 2.8m - Bottom Attachement 12.4m) | ea |  |  |  |  |
| 4.2.14 | 0.69/CFS/24M2601/ T1-T4, SR & HR | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 24m (Plant 3m - Bottom Attachement 14.2m) | ea |  |  |  |  |
| 4.2.15 | 0.69/CFS/26M2910/T1 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 26m (Plant 3.2m - Bottom Attachement 16.0m) | ea |  |  |  |  |
| 4.2.16 | 0.69/CFS/2M3228/ T1-T4, SR & HR | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 28m (Plant 3.4m - Bottom Attachement 17.8m) | ea |  |  |  |  |
| 4.2.17 | 0.69/CFS/2M3546/ T1-T4, SR & HR | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 30m (Plant 3.6m - Bottom Attachement 19.6m) | ea |  |  |  |  |
| Twin Kingbird/Bersfort Single Circuit Mono-Pole Structure - Foundations Design or Verify the Reference Foundation 2-WT/1294 Intermediate 0 - 2º Suspension 2-WT/1295 Strain 2º - 90º 2-WT/1296 Angle Strain 3-Pole 2º-90º 2-WT/1297 3-Pole Terminal 2-WT/1298 Inline Strain |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Verify foundations for the nominated soil type 1, 2, 3, 4 or Rock - Twin Kingbird/Bersfort Single Circuit Mono-Pole Structure - Foundations |  |  |  |  |  |  |  |
| 2-WT/1294 Intermediate 0 - 2º Suspension |  |  |  |  |  |  |  |
| 4.2.18 | 2-WT/1417 Sheet 1 2-WT/1418 Sheet 2&3 2-WT/1419 Sheet 1 | Pole, St 132kV Susp 21m | ea |  |  |  |  |
| 4.2.19 |  | Pole, St 132kV Susp 22m | ea |  |  |  |  |
| 4.2.20 |  | Pole, St 132kV Susp 23m | ea |  |  |  |  |
| 4.2.21 |  | Pole, St 132kV Susp 24m | ea |  |  |  |  |
| 4.2.22 |  | Pole, St 132kV Susp 25m | ea |  |  |  |  |
| 4.2.23 |  | Pole, St 132kV Susp 26m | ea |  |  |  |  |
| 4.2.24 |  | Pole, St 132kV Susp 29m | ea |  |  |  |  |
| 2-WT/1295 Strain 2º - 90º |  |  |  |  |  |  |  |
| 4.2.25 | 2-WT/1417 Sheets 2 2-WT/1418 Sheet 1&3 2-WT/1419 Sheet 2 | Pole, St 132kV Angle Strain (0°-90°) 20m | ea |  |  |  |  |
| 4.2.26 |  | Pole, St 132kV Angle Strain (0°-90°) 22m | ea |  |  |  |  |
| 4.2.27 |  | Pole, St 132kV Angle Strain (0°-90°) 23m | ea |  |  |  |  |
| 4.2.28 |  | Pole, St 132kV Angle Strain (0°-90°) 24m | ea |  |  |  |  |
| 4.2.29 |  | Pole, St 132kV Angle Strain (0°-90°) 28m | ea |  |  |  |  |
| 4.2.30 |  | Pole, St 132kV Angle Strain (0°-90°) 30m | ea |  |  |  |  |
| 2-WT/1296 Angle Strain 3-Pole 2º-90º |  |  |  |  |  |  |  |
| 4.2.31 | 2-WT/1417 Sheets 3 2-WT/1418 Sheets 4 2-WT/1419 Sheet 2 | 3- Pole, St 132kV Strain 11.1m (2 x 11.1m & 1 x 9.1m) | ea |  |  |  |  |
| 4.2.32 |  | 3- Pole, St 132kV Strain 13.1m (2 x 13.1m & 1 x 11.1m) | ea |  |  |  |  |
| 4.2.33 |  | 3- Pole, St 132kV Strain 14m (2 x 14.1m & 1 x 12.1m) | ea |  |  |  |  |
| 4.2.34 |  | 3- Pole, St 132kV Strain 16.1m (2 x 16.1m & 1 x 14.1m) | ea |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Verify foundations for the nominated soil type 1, 2, 3, 4 or Rock - Bersfort Single Circuit Mono-Pole Guided Structure - Foundations |  |  |  |  |  |  |  |
| 2-WT/1297 3-Pole Terminal |  |  |  |  |  |  |  |
| 4.2.35 | 2-WT/1417 Sheets 3 2-WT/1418 Sheets 4 2-WT/1419 Sheet 2 | 3- Pole Term St 132kV 14m (Include 3 poles of 14m long) | ea |  |  |  |  |
| 4.2.36 |  | 3- Pole Term St 132kV 16m (Include 3 poles of 16m long) | ea |  |  |  |  |
| Bersfort Single Circuit Mono-Pole Guided Structure - Foundations Design or Verify the Reference Foundation 2-WT/1281 Guided Braced Intermediate / Suspension 2-WT/1284 Angle Strain 0 - 90º 2-WT/1285 Guided Inline Strain 3-Pole Structure 0 - 5º 2-WT/1286 Guided Inline Strain 3-Pole Structure 5 - 90º |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Verify foundations for the nominated soil type 1, 2, 3, 4 or Rock - Bersfort Single Circuit Mono-Pole Guided Structure - Foundations |  |  |  |  |  |  |  |
| 2-WT/1281 Guided Braced Intermediate / Suspension |  |  |  |  |  |  |  |
| 4.2.37 | D-DT-7852 | Pole , St 132kV Guyed Susp 16.1m Bottom Attachment 10.7) | ea |  |  |  |  |
| 4.2.38 | D-DT-5086 | Pole , St 132kV Guyed Susp 18.2m Bottom Attachment 12.8) | ea |  |  |  |  |
| 4.2.39 |  | Pole , St 132kV Guyed Susp 21.2m Bottom Attachment 15.8) | ea |  |  |  |  |
| 4.2.40 |  | Pole, St 132kV Guyed Susp 24.2m (Bottom Attachment 18.8) | ea |  |  |  |  |
| 2-WT/1284 Angle Strain 0 - 90º |  |  |  |  |  |  |  |
| 4.2.41 | D-DT-7852 | Pole, St 132kV Guyed Angle Strain (0°-90°) 18.2m (Bottom Attachement 11.2m) | ea |  |  |  |  |
| 4.2.42 | D-DT-5086 | Pole, St 132kV Guyed Angle Strain (0°-90°) 21.2m (Bottom Attachement 14.2m) | ea |  |  |  |  |
| 4.2.43 |  | Pole, St 132kV Guyed Angle Strain (0°-90°) 24.2m (Bottom Attachement 17.2m) | ea |  |  |  |  |
| 2-WT/1285 Guided Inline Strain 3-Pole Structure 0 - 5º |  |  |  |  |  |  |  |
| 4.2.44 | D-DT-7852 | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 11.1m (includes 3 poles) (Bottom Attachment 9.6m) | ea |  |  |  |  |
| 4.2.45 | D-DT-5086 | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 16.1m (includes 3 poles) (Bottom Attachment 14.6m) | ea |  |  |  |  |
| 4.2.46 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 18.2m (includes 3 poles) (Bottom Attachment 16.7m) | ea |  |  |  |  |
| 4.2.47 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 21.2m (includes 3 poles) (Bottom Attachment 19.7m) | ea |  |  |  |  |
| 4.2.48 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 24.2m (includes 3 poles) (Bottom Attachment 22.7) | ea |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Verify foundations for the nominated soil type 1, 2, 3, 4 or Rock - Chikadee / Kingbird Single Circuit Mono-Pole Structure - Foundations |  |  |  |  |  |  |  |
| 2-WT/1286 Guided Inline Strain 3-Pole Structure 5 - 90º |  |  |  |  |  |  |  |
| 4.2.49 | D-DT-7852 | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 11.1m (includes 3 poles) (Bottom Attachment 9.6m) | ea |  |  |  |  |
| 4.2.50 | D-DT-5086 | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 16.1m (includes 3 poles) (Bottom Attachment 14.6m) | ea |  |  |  |  |
| 4.2.51 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 18.2m (includes 3 poles) (Bottom Attachment 16.7m) | ea |  |  |  |  |
| 4.2.52 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 21.2m (includes 3 poles) (Bottom Attachment 19.7m) | ea |  |  |  |  |
| 4.2.53 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 24.2m (includes 3 poles) (Bottom Attachment 22.7) | ea |  |  |  |  |
| Chikadee / Kingbird Single Circuit Mono-Pole Structure - Foundations Design or Verify the Reference Foundation D-DT-7611 Intermediate / Suspension D-DT-7615 Angle Strain 0 - 90º D-DT-7618 3-Pole Strain Structure 0 - 90º 2-WT/1213 3-Pole Terminal Structure 0 - 90º |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Verify foundations for the nominated soil type 1, 2, 3, 4 or Rock - Chikadee / Kingbird Single Circuit Mono-Pole Structure - Foundations |  |  |  |  |  |  |  |
| D-DT-7611 Intermediate / Suspension |  |  |  |  |  |  |  |
| 4.2.54 | D-DT-7850 | Pole, St 132kV Susp 20 m 23kN (Plant 2.6m, Bottom Att 13 m) | ea |  |  |  |  |
| 4.2.55 | D-DT-7850 | Pole, St 132kV Susp 21 m 23kN (Plant 2.7m, Bottom Att 13.9 m) | ea |  |  |  |  |
| 4.2.56 | D-DT-7850 | Pole, St 132kV Susp 22 m 23kN (Plant 2.8m, Bottom Att 14.8 m) | ea |  |  |  |  |
| 4.2.57 | D-DT-7850 | Pole, St 132kV Susp 22 m 23kN (Plant 2.9m, Bottom Att 15.7 m) | ea |  |  |  |  |
| 4.2.58 | D-DT-7850 | Pole, St 132kV Susp 22 m 23kN (Plant 3m, Bottom Att 16.6 m) | ea |  |  |  |  |
| D-DT-7615 Angle Strain 0 - 90º |  |  |  |  |  |  |  |
| 4.2.59 | D-DT-7851 | Pole, St 132kV Strain 0-90° 20 m (Bottom Attachement 13 m) | ea |  |  |  |  |
| 4.2.60 | D-DT-7851 | Pole, St 132kV Strain 0-90° 21 m (Bottom Attachement 14 m) | ea |  |  |  |  |
| 4.2.61 | D-DT-7851 | Pole, St 132kV Strain 0-90° 24 m (Bottom Attachement 17 m) | ea |  |  |  |  |
| 4.2.62 | D-DT-7851 | Pole, St 132kV Strain 0-90° 30 m (Bottom Attachement 23 m) | ea |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Verify foundations for the nominated soil type 1, 2, 3, 4 or Rock - Chikadee / Kingbird Single Circuit Mono-Pole Structure - Foundations |  |  |  |  |  |  |  |
| D-DT-7618 3-Pole Strain Structure 0 - 90º |  |  |  |  |  |  |  |
| 4.2.63 | D-DT-7851 | Pole, 3-Pole Strain Structure 0-90° 2 x 8 m and 1 x 10 m poles (Plant 1.6m, Bottom Attachement 6.2 m) | ea |  |  |  |  |
| 4.2.64 | D-DT-7851 | Pole, 3-Pole Strain Structure 0-90° 2 x 9 m and 1 x 11 m poles (Plant 1.7m, Bottom Attachement 7.1 m) | ea |  |  |  |  |
| 4.2.65 | D-DT-7851 | Pole, 3-Pole Strain Structure 0-90° 2 x 10 m and 1 x 12 m poles (Plant 1.8m, Bottom Attachement 8 m) | ea |  |  |  |  |
| 4.2.66 | D-DT-7851 | Pole, 3-Pole Strain Structure 0-90° 2 x 11 m and 1 x 13 m poles (Plant 1.9m, Bottom Attachement 8.9 m) | ea |  |  |  |  |
| 4.2.67 | D-DT-7851 | Pole, 3-Pole Strain Structure 0-90° 2 x 12 m and 1 x 14 m poles (Plant 2m, Bottom Attachement 9.8m) | ea |  |  |  |  |
| 4.2.68 | D-DT-7851 | Pole, 3-Pole Strain Structure 0-90° 2 x 13 m and 1 x 15 m poles (Plant 2.1m, Bottom Attachement 10.7m) | ea |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Verify foundations for the nominated soil type 1, 2, 3, 4 or Rock - Chikadee / Kingbird Single Circuit Mono-Pole Structure - Foundations |  |  |  |  |  |  |  |
| D-DT-7618 3-Pole Strain Structure 0 - 90º cont |  |  |  |  |  |  |  |
| 4.2.69 | D-DT-7851 | Pole, 3-Pole Strain Structure 0-90° 2 x 14 m and 1 x 16 m poles (Plant 2.2m, Bottom Attachement 11.6m) | ea |  |  |  |  |
| 4.2.70 | D-DT-7851 | Pole, 3-Pole Strain Structure 0-90° 2 x 15 m and 1 x 17 m poles (Plant 2.3m, Bottom Attachement 12.5m) | ea |  |  |  |  |
| 4.2.71 | D-DT-7851 | Pole, 3-Pole Strain Structure 0-90° 2 x 16 m and 1 x 18 m poles (Plant 2.4m, Bottom Attachement 13.4m) | ea |  |  |  |  |
| 4.2.72 | D-DT-7851 | Pole, 3-Pole Strain Structure 0-90° 2 x 17 m and 1 x 19 m poles (Plant 2.4m, Bottom Attachement 14.3m) | ea |  |  |  |  |
| 4.2.73 | D-DT-7851 | Pole, 3-Pole Strain Structure 0-90° 2 x 18 m and 1 x 20 m poles (Plant 2.6m, Bottom Attachement 15.2m) | ea |  |  |  |  |
| 4.2.74 | D-DT-7851 | Pole, 3-Pole Strain Structure 0-90° 2 x 19 m and 1 x 21 m poles (Plant 2.7m, Bottom Attachement 16.1m) | ea |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Verify foundations for the nominated soil type 1, 2, 3, 4 or Rock - Chikadee / Kingbird Single Circuit H-Pole Structure - Foundations |  |  |  |  |  |  |  |
| 2-WT/1213 3-Pole Terminal Structure |  |  |  |  |  |  |  |
| 4.2.75 | D-DT-7851 | Pole, 3-Pole Term Structure 0-90° 3 x 11.6 poles (Plant 2m, Bottom Attachement 9.6m) | ea |  |  |  |  |
| 4.2.76 | D-DT-7851 | Pole, 3-Pole Term Structure 0-90° 3 x 12.6 poles (Plant 2m, Bottom Attachement 10.6m) | ea |  |  |  |  |
| 4.2.77 | D-DT-7851 | Pole, 3-Pole Term Structure 0-90° 3 x 13.6 poles (Plant 2m, Bottom Attachement 11.6m) | ea |  |  |  |  |
| 4.2.78 | D-DT-7851 | Pole, 3-Pole Term Structure 0-90° 3 x 14.6 poles (Plant 2m, Bottom Attachement 12.6m) | ea |  |  |  |  |
| 4.2.79 | D-DT-7851 | Pole, 3-Pole Term Structure 0-90° 3 x 15.6 poles (Plant 2m, Bottom Attachement 13.6m) | ea |  |  |  |  |
| 4.2.80 | D-DT-7851 | Pole, 3-Pole Term Structure 0-90° 3 x 16.6 poles(Plant 2m, Bottom Attachement 14.6m) | ea |  |  |  |  |
| 4.2.81 | D-DT-7851 | Pole, 3-Pole Term Structure 0-90° 3 x 17.6 poles (Plant 2m, Bottom Attachement 15.6m) | ea |  |  |  |  |
| Chikadee / Kingbird Single Circuit H-Pole Structure - Foundations Design or Verify the Reference Foundation D-DT-7800 H-Pole Intermediate Structure 8m X-arm D-DT-7801 H-Pole Structure 8m X-Arm In-Line Strain 0-70kN Range D-DT-7802 H-Pole Structure 8m X-Arm In-Line Strain 70-120kN Range D-DT-7807 H-Pole Structure 8m X-Arm Terminal 0-70kN Range D-DT-7808 H-Pole Structure 8m X-Arm Terminal 70-120kN Range D-DT-7810 H-Pole Intermediate Structure 10m X-Arm D-DT-7811 H-Pole Structure 10m X-Arm In-Line Strain 0-70kN Range D-DT-7812 H-Pole Structure 10m X-Arm In-Line Strain 70-120kN Range D-DT-7817 H-Pole Structure 10m X-Arm Terminal 0-70kN Range D-DT-7818 H-Pole Structure 10m X-Arm Terminal 70-120kN Range |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Verify foundations for the nominated soil type 1, 2, 3, 4 or Rock - Chikadee / Kingbird Single Circuit H-Pole Structure - Foundations |  |  |  |  |  |  |  |
| D-DT-7800 H-Pole Intermediate Structure 8m X-arm, D-DT-7810 H-Pole Intermediate Structure 10m X-Arm |  |  |  |  |  |  |  |
| 4.2.82 | D-DT-7850 | Pole, H-Pole Intermediate Freestanding Structure 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2.1m, Conductor Attachement 9.2m) | ea |  |  |  |  |
| 4.2.83 | D-DT-7850 | Pole, H-Pole Intermediate Freestanding Structure 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2.2m, Conductor Attachement 10.1m) | ea |  |  |  |  |
| 4.2.84 | D-DT-7850 | Pole, H-Pole Intermediate Freestanding Structure 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2.3m, Conductor Attachement 11.0m) | ea |  |  |  |  |
| 4.2.85 | D-DT-7850 | Pole, H-Pole Intermediate Freestanding Structure 2 x 18.2 m poles and 8m or 10m crossarm (Plant 2.4m, Conductor Attachement 12.0m) | ea |  |  |  |  |
| 4.2.86 | D-DT-7850 | Pole, H-Pole Intermediate Freestanding Structure 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2.5m, Conductor Attachement 12.9m) | ea |  |  |  |  |
| 4.2.87 | D-DT-7850 | Pole, H-Pole Intermediate Freestanding Structure 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2.6m, Conductor Attachement 13.7m) | ea |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Verify foundations for the nominated soil type 1, 2, 3, 4 or Rock - Chikadee / Kingbird Single Circuit H-Pole Structure - Foundations |  |  |  |  |  |  |  |
| D-DT-7801 H-Pole Inline Strain Structure 8m X-arm 0-70kN, D-DT-7802 H-Pole Inline Strain Structure 8m X-arm 70-120kN, D-DT-7811 H-Pole Intermediate Structure 10m X-Arm 0-70kN D-DT-7812 H-Pole Intermediate Structure 10m X-Arm 70-120kN |  |  |  |  |  |  |  |
| 4.2.88 | D-DT-7851 | Pole, In-Line Strain 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 10.6m) | ea |  |  |  |  |
| 4.2.89 | D-DT-7851 | Pole, In-Line Strain 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  |  |  |  |
| 4.2.90 | D-DT-7851 | Pole, In-Line Strain 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  |  |  |  |
| 4.2.91 | D-DT-7851 | Pole, In-Line Strain 2 x 18.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  |  |  |  |
| 4.2.92 | D-DT-7851 | Pole, In-Line Strain 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 14.7m) | ea |  |  |  |  |
| 4.2.93 | D-DT-7851 | Pole, In-Line Strain 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 15.6m) | ea |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Verify foundations for the nominated soil type 1, 2, 3, 4 or Rock - Chikadee / Kingbird Single Circuit H-Pole Structure - Foundations |  |  |  |  |  |  |  |
| D-DT-7807 H-Pole Structure 8m X-Arm Terminal 0-70kN Range D-DT-7808 H-Pole Structure 8m X-Arm Terminal 70-120kN Range D-DT-7817 H-Pole Structure 10m X-Arm Terminal 0-70kN Range D-DT-7818 H-Pole Structure 10m X-Arm Terminal 70-120kN Range |  |  |  |  |  |  |  |
| 4.2.94 | D-DT-7851 | Pole, H-Pole Term Structure 0-90° 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 10.6m) | ea |  |  |  |  |
| 4.2.95 | D-DT-7851 | Pole, H-Pole Term Structure 0-90° 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  |  |  |  |
| 4.2.96 | D-DT-7851 | Pole, H-Pole Term Structure 0-90° 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  |  |  |  |
| 4.2.97 | D-DT-7851 | Pole, H-Pole Term Structure 0-90° 2 x 18.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  |  |  |  |
| 4.2.98 | D-DT-7851 | Pole, H-Pole Term Structure 0-90° 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 14.7m) | ea |  |  |  |  |
| 4.2.99 | D-DT-7851 | Pole, H-Pole Term Structure 0-90° 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 15.6m) | ea |  |  |  |  |
| 4.3 | Foundation Installation: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 247 Lattice Structure - Foundations |  |  |  |  |  |  |  |
| Foundation designs are provided for all possible soil types but needs to be verified and approved by a Prof Civil Engineer for each installation. Should the contractor wish to construct a foundation of a different design, all design drawings will be submitted to Eskom for acceptance. The contractor will accept full responsibility for these designs. Eskom will not pay for these designs unless the submitted Eskom designs cannot be used due to prevailing site conditions. This decision will be taken by the Engineer. Foundation designs for all structures in accordance with 0501KR-01 rev 1, 240-47172520 (TRMSCAAC5) and SCSASABK8 by a registered professional in each type of soil (type 1, 2, 3, 4 soft rock and hard rock). Designs to be Eskom Copyright. |  |  |  |  |  |  |  |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 1 on the following structures: |  |  |  |  |  |  |  |
| Intermediate Suspension Lattice Structures 247 A |  |  |  |  |  |  |  |
| 4.3.1 | 0.69-247A-T1-001 | 247A 0 degree suspension structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 4.3.2 | 0.69-247A-T1-001 | 247A 0 degree suspension structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 4.3.3 | 0.69-247A-T1-001 | 247A 0 degree suspension structure, 132kV lattice steel. 18.1m CAH | ea |  |  |  |  |
| 4.3.4 | 0.69-247A-T1-001 | 247A 0 degree suspension structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 0-30 degree Strain Lattice Structures 247B |  |  |  |  |  |  |  |
| 4.3.5 | 0.69-247B-T1-007 | 247B 0-40 degree strain structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 4.3.6 | 0.69-247B-T1-007 | 247B 0-40 degree strain structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 4.3.7 | 0.69-247B-T1-007 | 247B 0-40 degree strain structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 40-90 degree Strain Lattice Structures 247C |  |  |  |  |  |  |  |
| 4.3.8 | 0.69-247C-T1-013 | 247C 40-90 degree strain structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 4.3.9 | 0.69-247C-T1-013 | 247C 40-90 degree strain structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 4.3.10 | 0.69-247C-T1-013 | 247C 40-90 degree strain structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 0-40 degree Terminal Lattice Structures 247C |  |  |  |  |  |  |  |
| 4.3.11 | 0.69-247C-T1-013 | 247C 0-40 degree terminal structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 247 Lattice Structure - Foundations |  |  |  |  |  |  |  |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 2 on the following structures: |  |  |  |  |  |  |  |
| Intermediate Suspension Lattice Structures 247 A |  |  |  |  |  |  |  |
| 4.3.12 | 0.69-247A-T2-002 | 247A 0 degree suspension structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 4.3.13 | 0.69-247A-T2-002 | 247A 0 degree suspension structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 4.3.14 | 0.69-247A-T2-002 | 247A 0 degree suspension structure, 132kV lattice steel. 18.1m CAH | ea |  |  |  |  |
| 4.3.15 | 0.69-247A-T2-002 | 247A 0 degree suspension structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 0-30 degree Strain Lattice Structures 247B |  |  |  |  |  |  |  |
| 4.3.16 | 0.69-247B-T2-008 | 247B 0-40 degree strain structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 4.3.17 | 0.69-247B-T2-008 | 247B 0-40 degree strain structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 4.3.18 | 0.69-247B-T2-008 | 247B 0-40 degree strain structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 40-90 degree Strain Lattice Structures 247C |  |  |  |  |  |  |  |
| 4.3.19 | 0.69-247C-T2-014 | 247C 40-90 degree strain structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 4.3.20 | 0.69-247C-T2-014 | 247C 40-90 degree strain structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 4.3.21 | 0.69-247C-T2-014 | 247C 40-90 degree strain structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 0-40 degree Terminal Lattice Structures 247C |  |  |  |  |  |  |  |
| 4.3.22 | 0.69-247C-T2-014 | 247C 0-40 degree terminal structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 247 Lattice Structure - Foundations |  |  |  |  |  |  |  |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 3 on the following structures: |  |  |  |  |  |  |  |
| Intermediate Suspension Lattice Structures 247 A |  |  |  |  |  |  |  |
| 4.3.23 | 0.69-247A-T3-003 | 247A 0 degree suspension structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 4.3.24 | 0.69-247A-T3-003 | 247A 0 degree suspension structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 4.3.25 | 0.69-247A-T3-003 | 247A 0 degree suspension structure, 132kV lattice steel. 18.1m CAH | ea |  |  |  |  |
| 4.3.26 | 0.69-247A-T3-003 | 247A 0 degree suspension structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 0-30 degree Strain Lattice Structures 247B |  |  |  |  |  |  |  |
| 4.3.27 | 0.69-247B-T3-009 | 247B 0-40 degree strain structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 4.3.28 | 0.69-247B-T3-009 | 247B 0-40 degree strain structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 4.3.29 | 0.69-247B-T3-009 | 247B 0-40 degree strain structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 40-90 degree Strain Lattice Structures 247C |  |  |  |  |  |  |  |
| 4.3.30 | 0.69-247C-T3-015 | 247C 40-90 degree strain structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 4.3.31 | 0.69-247C-T3-015 | 247C 40-90 degree strain structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 4.3.32 | 0.69-247C-T3-015 | 247C 40-90 degree strain structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 0-40 degree Terminal Lattice Structures 247C |  |  |  |  |  |  |  |
| 4.3.33 | 0.69-247C-T3-015 | 247C 0-40 degree terminal structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 247 Lattice Structure - Foundations Continue |  |  |  |  |  |  |  |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 4 on the following structures: |  |  |  |  |  |  |  |
| Intermediate Suspension Lattice Structures 247 A |  |  |  |  |  |  |  |
| 4.3.34 | 0.69-247A-T4-004 | 247A 0 degree suspension structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 4.3.35 | 0.69-247A-T4-004 | 247A 0 degree suspension structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 4.3.36 | 0.69-247A-T4-004 | 247A 0 degree suspension structure, 132kV lattice steel. 18.1m CAH | ea |  |  |  |  |
| 4.3.37 | 0.69-247A-T4-004 | 247A 0 degree suspension structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 0-30 degree Strain Lattice Structures 247B |  |  |  |  |  |  |  |
| 4.3.38 | 0.69-247B-T4-010 | 247B 0-40 degree strain structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 4.3.39 | 0.69-247B-T4-010 | 247B 0-40 degree strain structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 4.3.40 | 0.69-247B-T4-010 | 247B 0-40 degree strain structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 40-90 degree Strain Lattice Structures 247C |  |  |  |  |  |  |  |
| 4.3.41 | 0.69-247C-T4-016 | 247C 40-90 degree strain structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 4.3.42 | 0.69-247C-T4-016 | 247C 40-90 degree strain structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 4.3.43 | 0.69-247C-T4-016 | 247C 40-90 degree strain structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 0-40 degree Terminal Lattice Structures 247C |  |  |  |  |  |  |  |
| 4.3.44 | 0.69-247C-T4-016 | 247C 0-40 degree terminal structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 247 Lattice Structure - Foundations Continue |  |  |  |  |  |  |  |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil Soft Rock on the following structures: |  |  |  |  |  |  |  |
| Intermediate Suspension Lattice Structures 247 A |  |  |  |  |  |  |  |
| 4.3.45 | 0.69-247A-SR-005 | 247A 0 degree suspension structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 4.3.46 | 0.69-247A-SR-005 | 247A 0 degree suspension structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 4.3.47 | 0.69-247A-SR-005 | 247A 0 degree suspension structure, 132kV lattice steel. 18.1m CAH | ea |  |  |  |  |
| 4.3.48 | 0.69-247A-SR-005 | 247A 0 degree suspension structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 0-30 degree Strain Lattice Structures 247B |  |  |  |  |  |  |  |
| 4.3.49 | 0.69-247B-SR-011 | 247B 0-40 degree strain structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 4.3.50 | 0.69-247B-SR-011 | 247B 0-40 degree strain structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 4.3.51 | 0.69-247B-SR-011 | 247B 0-40 degree strain structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 40-90 degree Strain Lattice Structures 247C |  |  |  |  |  |  |  |
| 4.3.52 | 0.69-247C-SR-017 | 247C 40-90 degree strain structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 4.3.53 | 0.69-247C-SR-017 | 247C 40-90 degree strain structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 4.3.54 | 0.69-247C-SR-017 | 247C 40-90 degree strain structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 0-40 degree Terminal Lattice Structures 247C |  |  |  |  |  |  |  |
| 4.3.55 | 0.69-247C-SR-017 | 247C 0-40 degree terminal structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 247 Lattice Structure - Foundations Continue |  |  |  |  |  |  |  |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil Hard Rock on the following structures: |  |  |  |  |  |  |  |
| Intermediate Suspension Lattice Structures 247 A |  |  |  |  |  |  |  |
| 4.3.56 | 0.69-247A-HR-006 | 247A 0 degree suspension structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 4.3.57 | 0.69-247A-HR-006 | 247A 0 degree suspension structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 4.3.58 | 0.69-247A-HR-006 | 247A 0 degree suspension structure, 132kV lattice steel. 18.1m CAH | ea |  |  |  |  |
| 4.3.59 | 0.69-247A-HR-006 | 247A 0 degree suspension structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 0-30 degree Strain Lattice Structures 247B |  |  |  |  |  |  |  |
| 4.3.60 | 0.69-247B-HR-012 | 247B 0-40 degree strain structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 4.3.61 | 0.69-247B-HR-012 | 247B 0-40 degree strain structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 4.3.62 | 0.69-247B-HR-012 | 247B 0-40 degree strain structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 40-90 degree Strain Lattice Structures 247C |  |  |  |  |  |  |  |
| 4.3.63 | 0.69-247C-HR-018 | 247C 40-90 degree strain structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 4.3.64 | 0.69-247C-HR-018 | 247C 40-90 degree strain structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 4.3.65 | 0.69-247C-HR-018 | 247C 40-90 degree strain structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 0-40 degree Terminal Lattice Structures 247C |  |  |  |  |  |  |  |
| 4.3.66 | 0.69-247C-HR-018 | 247C 0-40 degree terminal structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 258C Intermediate Suspension Braced Double Circuit Structure - Foundations |  |  |  |  |  |  |  |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 1 on the following structures: |  |  |  |  |  |  |  |
| Intermediate Suspension 258C |  |  |  |  |  |  |  |
| 4.3.67 | 0.69/SF/258C/M1323/T1 | Structure 258C Intermediate 0⁰ H-Structure 132kV Twin Tern 20m (Bottom Attachment 11.2m) | ea |  | cost plus 10% |  |  |
| 4.3.68 | 0.69/SF/258C/M1323/T1 | Structure 258C Intermediate 0⁰ H-Structure 132kV Twin Tern 22m (Bottom Attachment 13.2m) | ea |  | cost plus 10% |  |  |
| 4.3.69 | 0.69/SF/258C/M1323/T1 | Structure 258C Intermediate 0⁰ H-Structure 132kV Twin Tern 24m (Bottom Attachment 15.2m) | ea |  | cost plus 10% |  |  |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 2 on the following structures: |  |  |  |  |  |  |  |
| Intermediate Suspension 258C |  |  |  |  |  |  |  |
| 4.3.70 | 0.69/SF/M2646/T2 | Structure 258C Intermediate 0⁰ H-Structure 132kV Twin Tern 20m (Bottom Attachment 11.2m) | ea |  | cost plus 10% |  |  |
| 4.3.71 | 0.69/SF/M2646/T2 | Structure 258C Intermediate 0⁰ H-Structure 132kV Twin Tern 22m (Bottom Attachment 13.2m) | ea |  | cost plus 10% |  |  |
| 4.3.72 | 0.69/SF/M2646/T2 | Structure 258C Intermediate 0⁰ H-Structure 132kV Twin Tern 24m (Bottom Attachment 15.2m) | ea |  | cost plus 10% |  |  |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 3 on the following structures: |  |  |  |  |  |  |  |
| Intermediate Suspension 258C |  |  |  |  |  |  |  |
| 4.3.73 | 0.69/SF/M2646/T3 | Structure 258C Intermediate 0⁰ H-Structure 132kV Twin Tern 20m (Bottom Attachment 11.2m) | ea |  | cost plus 10% |  |  |
| 4.3.74 | 0.69/SF/M2646/T3 | Structure 258C Intermediate 0⁰ H-Structure 132kV Twin Tern 22m (Bottom Attachment 13.2m) | ea |  | cost plus 10% |  |  |
| 4.3.75 | 0.69/SF/M2646/T3 | Structure 258C Intermediate 0⁰ H-Structure 132kV Twin Tern 24m (Bottom Attachment 15.2m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 258C Intermediate Suspension Braced Double Circuit Structure - Foundations Continue |  |  |  |  |  |  |  |
| C.2 |  | Foundations Installation |  |  |  |  |  |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 4 on the following structures: |  |  |  |  |  |  |  |
| Intermediate Suspension 258C |  |  |  |  |  |  |  |
| 4.3.76 | 0.69/SF/M2646/T4 | Structure 258C Intermediate 0⁰ H-Structure 132kV Twin Tern 20m (Bottom Attachment 11.2m) | ea |  | cost plus 10% |  |  |
| 4.3.77 | 0.69/SF/M2646/T4 | Structure 258C Intermediate 0⁰ H-Structure 132kV Twin Tern 22m (Bottom Attachment 13.2m) | ea |  | cost plus 10% |  |  |
| 4.3.78 | 0.69/SF/M2646/T4 | Structure 258C Intermediate 0⁰ H-Structure 132kV Twin Tern 24m (Bottom Attachment 15.2m) | ea |  | cost plus 10% |  |  |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil Soft Rock on the following structures: |  |  |  |  |  |  |  |
| Intermediate Suspension 258C |  |  |  |  |  |  |  |
| 4.3.79 | 0.69/SF/258C/M1323/SR or HR | Structure 258C Intermediate 0⁰ H-Structure 132kV Twin Tern 20m (Bottom Attachment 11.2m) | ea |  | cost plus 10% |  |  |
| 4.3.80 | 0.69/SF/258C/M1323/SR or HR | Structure 258C Intermediate 0⁰ H-Structure 132kV Twin Tern 22m (Bottom Attachment 13.2m) | ea |  | cost plus 10% |  |  |
| 4.3.81 | 0.69/SF/258C/M1323/SR or HR | Structure 258C Intermediate 0⁰ H-Structure 132kV Twin Tern 24m (Bottom Attachment 15.2m) | ea |  | cost plus 10% |  |  |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil Hard Rock on the following structures: |  |  |  |  |  |  |  |
| Intermediate Suspension 258C |  |  |  |  |  |  |  |
| 4.3.82 | 0.69/SF/258C/M1323/SR or HR | Structure 258C Intermediate 0⁰ H-Structure 132kV Twin Tern 20m (Bottom Attachment 11.2m) | ea |  | cost plus 10% |  |  |
| 4.3.83 | 0.69/SF/258C/M1323/SRor HR | Structure 258C Intermediate 0⁰ H-Structure 132kV Twin Tern 22m(Bottom Attachment 13.2m) | ea |  | cost plus 10% |  |  |
| 4.3.84 | 0.69/SF/258C/M1323/SR or HR | Structure 258C Intermediate 0⁰ H-Structure 132kV Twin Tern 24m (Bottom Attachment 15.2m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 2-WT/15049 Intermediate 0 - 2º Suspension Mono-Pole Double Circuit Structure - Foundations |  |  |  |  |  |  |  |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 1 on the following structures: |  |  |  |  |  |  |  |
| 2-WT/15049 Intermediate 0 - 2º Suspension Mono-Pole Double Circuit Structure |  |  |  |  |  |  |  |
| 4.3.85 | 0.69/CFS/20M2100/T1 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 20m (Plant 2.6m - Bottom Attachement 10.5m) | ea |  |  |  |  |
| 4.3.86 | 0.69/CFS/22M2301/T1 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 22m (Plant 2.8m - Bottom Attachement 12.4m) | ea |  |  |  |  |
| 4.3.87 | 0.69/CFS/24M2601/T1 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 24m (Plant 3m - Bottom Attachement 14.2m) | ea |  |  |  |  |
| 4.3.88 | 0.69/CFS/26M2910/T1 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 26m (Plant 3.2m - Bottom Attachement 16.0m) | ea |  |  |  |  |
| 4.3.89 | 0.69/CFS/2M3228/T1 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 28m (Plant 3.4m - Bottom Attachement 17.8m) | ea |  |  |  |  |
| 4.3.90 | 0.69/CFS/2M3546/T1 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 30m (Plant 3.6m - Bottom Attachement 19.6m) | ea |  |  |  |  |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 2 on the following structures: |  |  |  |  |  |  |  |
| 4.3.88 | 0.69/CFS/20M2100/T2 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 20m (Plant 2.6m - Bottom Attachement 10.5m) | ea |  |  |  |  |
| 4.3.89 | 0.69/CFS/22M2301/T2 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 22m (Plant 2.8m - Bottom Attachement 12.4m) | ea |  |  |  |  |
| 4.3.90 | 0.69/CFS/24M2601/T2 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 24m (Plant 3m - Bottom Attachement 14.2m) | ea |  |  |  |  |
| 4.3.91 | 0.69/CFS/26M2910/T2 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 26m (Plant 3.2m - Bottom Attachement 16.0m) | ea |  |  |  |  |
| 4.3.92 | 0.69/CFS/2M3228/T2 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 28m (Plant 3.4m - Bottom Attachement 17.8m) | ea |  |  |  |  |
| 4.3.93 | 0.69/CFS/2M3546/T2 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 30m (Plant 3.6m - Bottom Attachement 19.6m) | ea |  |  |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit |  | Material Rate | Labour Rate | Total |
| 2-WT/15049 Intermediate 0 - 2º Suspension Mono-Pole Double Circuit Structure - Foundations Continue |  |  |  |  |  |  |  |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 3 on the following structures: |  |  |  |  |  |  |  |
| 2-WT/15049 Intermediate 0 - 2º Suspension Mono-Pole Double Circuit Structure |  |  |  |  |  |  |  |
| 4.3.94 | 0.69/CFS/20M2100/T3 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 20m (Plant 2.6m - Bottom Attachement 10.5m) | ea |  |  |  |  |
| 4.3.95 | 0.69/CFS/22M2301/T3 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 22m (Plant 2.8m - Bottom Attachement 12.4m) | ea |  |  |  |  |
| 4.3.96 | 0.69/CFS/24M2601/T3 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 24m (Plant 3m - Bottom Attachement 14.2m) | ea |  |  |  |  |
| 4.3.97 | 0.69/CFS/26M2910/T3 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 26m (Plant 3.2m - Bottom Attachement 16.0m) | ea |  |  |  |  |
| 4.3.98 | 0.69/CFS/2M3228/T3 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 28m (Plant 3.4m - Bottom Attachement 17.8m) | ea |  |  |  |  |
| 4.3.99 | 0.69/CFS/2M3546/T3 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 30m (Plant 3.6m - Bottom Attachement 19.6m) | ea |  |  |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit |  | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 4 on the following structures: |  |  |  |  |  |  |  |
| 2-WT/15049 Intermediate 0 - 2º Suspension Mono-Pole Double Circuit Structure |  |  |  |  |  |  |  |
| 4.3.100 | 0.69/CFS/20M2100/T4 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 20m (Plant 2.6m - Bottom Attachement 10.5m) | ea |  |  |  |  |
| 4.3.101 | 0.69/CFS/22M2301/T4 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 22m (Plant 2.8m - Bottom Attachement 12.4m) | ea |  |  |  |  |
| 4.3.102 | 0.69/CFS/24M2601/T4 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 24m (Plant 3m - Bottom Attachement 14.2m) | ea |  |  |  |  |
| 4.3.103 | 0.69/CFS/26M2910/T4 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 26m (Plant 3.2m - Bottom Attachement 16.0m) | ea |  |  |  |  |
| 4.3.104 | 0.69/CFS/2M3228/T4 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 28m (Plant 3.4m - Bottom Attachement 17.8m) | ea |  |  |  |  |
| 4.3.105 | 0.69/CFS/2M3546/T4 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 30m (Plant 3.6m - Bottom Attachement 19.6m) | ea |  |  |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit |  | Material Rate | Labour Rate | Total |
| 2-WT/15049 Intermediate 0 - 2º Suspension Mono-Pole Double Circuit Structure - Foundations Continue |  |  |  |  |  |  |  |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE Soft Rock on the following structures: |  |  |  |  |  |  |  |
| 2-WT/15049 Intermediate 0 - 2º Suspension Mono-Pole Double Circuit Structure |  |  |  |  |  |  |  |
| 4.3.106 | 0.69/CFS/20M2100/SR | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 20m (Plant 2.6m - Bottom Attachement 10.5m) | ea |  | cost plus 10% |  |  |
| 4.3.107 | 0.69/CFS/22M2301/SR | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 22m (Plant 2.8m - Bottom Attachement 12.4m) | ea |  | cost plus 10% |  |  |
| 4.3.108 | 0.69/CFS/24M2601/SR | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 24m (Plant 3m - Bottom Attachement 14.2m) | ea |  | cost plus 10% |  |  |
| 4.3.109 | 0.69/CFS/26M2910/SR | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 26m (Plant 3.2m - Bottom Attachement 16.0m) | ea |  | cost plus 10% |  |  |
| 4.3.110 | 0.69/CFS/2M3228/SR | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 28m (Plant 3.4m - Bottom Attachement 17.8m) | ea |  | cost plus 10% |  |  |
| 4.3.111 | 0.69/CFS/2M3546/SR | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 30m (Plant 3.6m - Bottom Attachement 19.6m) | ea |  | cost plus 10% |  |  |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE Hard Rock on the following structures: |  |  |  |  |  |  |  |
| 2-WT/15049 Intermediate 0 - 2º Suspension Mono-Pole Double Circuit Structure |  |  |  |  |  |  |  |
| 4.3.112 | 0.69/CFS/20M2100/HR | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 20m (Plant 2.6m - Bottom Attachement 10.5m) | ea |  | cost plus 10% |  |  |
| 4.3.113 | 0.69/CFS/22M2301/HR | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 22m (Plant 2.8m - Bottom Attachement 12.4m) | ea |  | cost plus 10% |  |  |
| 4.3.114 | 0.69/CFS/24M2601/HR | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 24m (Plant 3m - Bottom Attachement 14.2m) | ea |  | cost plus 10% |  |  |
| 4.3.115 | 0.69/CFS/26M2910/HR | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 26m (Plant 3.2m - Bottom Attachement 16.0m) | ea |  | cost plus 10% |  |  |
| 4.3.116 | 0.69/CFS/2M3228/HR | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 28m (Plant 3.4m - Bottom Attachement 17.8m) | ea |  | cost plus 10% |  |  |
| 4.3.117 | 0.69/CFS/2M3546/HR | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 30m (Plant 3.6m - Bottom Attachement 19.6m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Twin Kingbird/Bersfort Single Circuit Mono-Pole Structure - Foundations Continue 2-WT/1294 Intermediate 0 - 2º Suspension 2-WT/1295 Strain 2º - 90º 2-WT/1296 Angle Strain 3-Pole 2º-90º 2-WT/1297 3-Pole Terminal 2-WT/1298 Inline Strain |  |  |  |  |  |  |  |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 1 on the following structures: |  |  |  |  |  |  |  |
| 2-WT/1294 Intermediate 0 - 2º Suspension |  |  |  |  |  |  |  |
| 4.3.118 | 2-WT/1417 Sheet 1 | Pole, St 132kV Susp 21m | ea |  | cost plus 10% |  |  |
| 4.3.119 |  | Pole, St 132kV Susp 22m | ea |  | cost plus 10% |  |  |
| 4.3.120 |  | Pole, St 132kV Susp 23m | ea |  | cost plus 10% |  |  |
| 4.3.121 |  | Pole, St 132kV Susp 24m | ea |  | cost plus 10% |  |  |
| 4.3.122 |  | Pole, St 132kV Susp 25m | ea |  | cost plus 10% |  |  |
| 4.3.123 |  | Pole, St 132kV Susp 26m | ea |  | cost plus 10% |  |  |
| 4.3.124 |  | Pole, St 132kV Susp 29m | ea |  | cost plus 10% |  |  |
| 2-WT/1295 Strain 2º - 90º |  |  |  |  |  |  |  |
| 4.3.125 | 2-WT/1417 Sheets 2 | Pole, St 132kV Angle Strain (0°-90°) 20m | ea |  | cost plus 10% |  |  |
| 4.3.126 |  | Pole, St 132kV Angle Strain (0°-90°) 22m | ea |  | cost plus 10% |  |  |
| 4.3.127 |  | Pole, St 132kV Angle Strain (0°-90°) 23m | ea |  | cost plus 10% |  |  |
| 4.3.128 |  | Pole, St 132kV Angle Strain (0°-90°) 24m | ea |  | cost plus 10% |  |  |
| 4.3.129 |  | Pole, St 132kV Angle Strain (0°-90°) 28m | ea |  | cost plus 10% |  |  |
| 4.3.130 |  | Pole, St 132kV Angle Strain (0°-90°) 30m | ea |  | cost plus 10% |  |  |
| 2-WT/1296 Angle Strain 3-Pole 2º-90º |  |  |  |  |  |  |  |
| 4.3.131 | 2-WT/1417 Sheets 3 | 3- Pole, St 132kV Strain 11.1m (2 x 11.1m & 1 x 9.1m) | ea |  | cost plus 10% |  |  |
| 4.3.132 |  | 3- Pole, St 132kV Strain 13.1m (2 x 13.1m & 1 x 11.1m) | ea |  | cost plus 10% |  |  |
| 4.3.133 |  | 3- Pole, St 132kV Strain 14m (2 x 14.1m & 1 x 12.1m) | ea |  | cost plus 10% |  |  |
| 4.3.134 |  | 3- Pole, St 132kV Strain 16.1m (2 x 16.1m & 1 x 14.1m) | ea |  | cost plus 10% |  |  |
| 2-WT/1297 3-Pole Terminal |  |  |  |  |  |  |  |
| 4.3.135 | 2-WT/1417 Sheets 3 | 3- Pole Term St 132kV 14m (Include 3 poles of 14m long) | ea |  | cost plus 10% |  |  |
| 4.3.136 |  | 3- Pole Term St 132kV 16m (Include 3 poles of 16m long) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 2-WT/1294 Intermediate 0 - 2º Suspension |  |  |  |  |  |  |  |
| 4.3.137 | 2-WT/1418 Sheet 2&3 | Pole, St 132kV Susp 21m | ea |  | cost plus 10% |  |  |
| 4.3.138 |  | Pole, St 132kV Susp 22m | ea |  | cost plus 10% |  |  |
| 4.3.139 |  | Pole, St 132kV Susp 23m | ea |  | cost plus 10% |  |  |
| 4.3.140 |  | Pole, St 132kV Susp 24m | ea |  | cost plus 10% |  |  |
| 4.3.141 |  | Pole, St 132kV Susp 25m | ea |  | cost plus 10% |  |  |
| 4.3.142 |  | Pole, St 132kV Susp 26m | ea |  | cost plus 10% |  |  |
| 4.3.143 |  | Pole, St 132kV Susp 29m | ea |  | cost plus 10% |  |  |
| 2-WT/1295 Strain 2º - 90º |  |  |  |  |  |  |  |
| 4.3.144 | 2-WT/1418 Sheet 1&3 | Pole, St 132kV Angle Strain (0°-90°) 20m | ea |  | cost plus 10% |  |  |
| 4.3.145 |  | Pole, St 132kV Angle Strain (0°-90°) 22m | ea |  | cost plus 10% |  |  |
| 4.3.146 |  | Pole, St 132kV Angle Strain (0°-90°) 23m | ea |  | cost plus 10% |  |  |
| 4.3.147 |  | Pole, St 132kV Angle Strain (0°-90°) 24m | ea |  | cost plus 10% |  |  |
| 4.3.148 |  | Pole, St 132kV Angle Strain (0°-90°) 28m | ea |  | cost plus 10% |  |  |
| 4.3.149 |  | Pole, St 132kV Angle Strain (0°-90°) 30m | ea |  | cost plus 10% |  |  |
| 2-WT/1296 Angle Strain 3-Pole 2º-90º |  |  |  |  |  |  |  |
| 4.3.150 | 2-WT/1418 Sheets 4 | 3- Pole, St 132kV Strain 11.1m (2 x 11.1m & 1 x 9.1m) | ea |  | cost plus 10% |  |  |
| 4.3.151 |  | 3- Pole, St 132kV Strain 13.1m (2 x 13.1m & 1 x 11.1m) | ea |  | cost plus 10% |  |  |
| 4.3.152 |  | 3- Pole, St 132kV Strain 14m (2 x 14.1m & 1 x 12.1m) | ea |  | cost plus 10% |  |  |
| 4.3.153 |  | 3- Pole, St 132kV Strain 16.1m (2 x 16.1m & 1 x 14.1m) | ea |  | cost plus 10% |  |  |
| 2-WT/1297 3-Pole Terminal |  |  |  |  |  |  |  |
| 4.3.154 | 2-WT/1418 Sheets 4 | 3- Pole Term St 132kV 14m (Include 3 poles of 14m long) | ea |  | cost plus 10% |  |  |
| 4.3.155 |  | 3- Pole Term St 132kV 16m (Include 3 poles of 16m long) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 2 on the following structures: |  |  |  |  |  |  |  |
| 2-WT/1294 Intermediate 0 - 2º Suspension |  |  |  |  |  |  |  |
| 4.3.157 | 2-WT/1417 Sheet 1 | Pole, St 132kV Susp 21m | ea |  | cost plus 10% |  |  |
| 4.3.158 |  | Pole, St 132kV Susp 22m | ea |  | cost plus 10% |  |  |
| 4.3.159 |  | Pole, St 132kV Susp 23m | ea |  | cost plus 10% |  |  |
| 4.3.160 |  | Pole, St 132kV Susp 24m | ea |  | cost plus 10% |  |  |
| 4.3.161 |  | Pole, St 132kV Susp 25m | ea |  | cost plus 10% |  |  |
| 4.3.162 |  | Pole, St 132kV Susp 26m | ea |  | cost plus 10% |  |  |
| 4.3.163 |  | Pole, St 132kV Susp 29m | ea |  | cost plus 10% |  |  |
| 2-WT/1295 Strain 2º - 90º |  |  |  |  |  |  |  |
| 4.3.167 | 2-WT/1417 Sheets 2 | Pole, St 132kV Angle Strain (0°-90°) 20m | ea |  | cost plus 10% |  |  |
| 4.3.168 |  | Pole, St 132kV Angle Strain (0°-90°) 22m | ea |  | cost plus 10% |  |  |
| 4.3.169 |  | Pole, St 132kV Angle Strain (0°-90°) 23m | ea |  | cost plus 10% |  |  |
| 4.3.170 |  | Pole, St 132kV Angle Strain (0°-90°) 24m | ea |  | cost plus 10% |  |  |
| 4.3.171 |  | Pole, St 132kV Angle Strain (0°-90°) 28m | ea |  | cost plus 10% |  |  |
| 4.3.172 |  | Pole, St 132kV Angle Strain (0°-90°) 30m | ea |  | cost plus 10% |  |  |
| 2-WT/1296 Angle Strain 3-Pole 2º-90º |  |  |  |  |  |  |  |
| 4.3.173 | 2-WT/1417 Sheets 3 | 3- Pole, St 132kV Strain 11.1m (2 x 11.1m & 1 x 9.1m) | ea |  | cost plus 10% |  |  |
| 4.3.174 |  | 3- Pole, St 132kV Strain 13.1m (2 x 13.1m & 1 x 11.1m) | ea |  | cost plus 10% |  |  |
| 4.3.175 |  | 3- Pole, St 132kV Strain 14m (2 x 14.1m & 1 x 12.1m) | ea |  | cost plus 10% |  |  |
| 4.3.176 |  | 3- Pole, St 132kV Strain 16.1m (2 x 16.1m & 1 x 14.1m) | ea |  | cost plus 10% |  |  |
| 2-WT/1297 3-Pole Terminal |  |  |  |  |  |  |  |
| 4.3.177 | 2-WT/1417 Sheets 3 | 3- Pole Term St 132kV 14m (Include 3 poles of 14m long) | ea |  | cost plus 10% |  |  |
| 4.3.178 |  | 3- Pole Term St 132kV 16m (Include 3 poles of 16m long) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 2-WT/1294 Intermediate 0 - 2º Suspension |  |  |  |  |  |  |  |
| 4.3.179 | 2-WT/1418 Sheet 2&3 | Pole, St 132kV Susp 21m | ea |  | cost plus 10% |  |  |
| 4.3.180 |  | Pole, St 132kV Susp 22m | ea |  | cost plus 10% |  |  |
| 4.3.181 |  | Pole, St 132kV Susp 23m | ea |  | cost plus 10% |  |  |
| 4.3.182 |  | Pole, St 132kV Susp 24m | ea |  | cost plus 10% |  |  |
| 4.3.183 |  | Pole, St 132kV Susp 25m | ea |  | cost plus 10% |  |  |
| 4.3.184 |  | Pole, St 132kV Susp 26m | ea |  | cost plus 10% |  |  |
| 4.3.185 |  | Pole, St 132kV Susp 29m | ea |  | cost plus 10% |  |  |
| 2-WT/1295 Strain 2º - 90º |  |  |  |  |  |  |  |
| 4.3.186 | 2-WT/1418 Sheet 1&3 | Pole, St 132kV Angle Strain (0°-90°) 20m | ea |  | cost plus 10% |  |  |
| 4.3.187 |  | Pole, St 132kV Angle Strain (0°-90°) 22m | ea |  | cost plus 10% |  |  |
| 4.3.188 |  | Pole, St 132kV Angle Strain (0°-90°) 23m | ea |  | cost plus 10% |  |  |
| 4.3.189 |  | Pole, St 132kV Angle Strain (0°-90°) 24m | ea |  | cost plus 10% |  |  |
| 4.3.190 |  | Pole, St 132kV Angle Strain (0°-90°) 28m | ea |  | cost plus 10% |  |  |
| 4.3.191 |  | Pole, St 132kV Angle Strain (0°-90°) 30m | ea |  | cost plus 10% |  |  |
| 2-WT/1296 Angle Strain 3-Pole 2º-90º |  |  |  |  |  |  |  |
| 4.3.200 | 2-WT/1418 Sheets 4 | 3- Pole, St 132kV Strain 11.1m (2 x 11.1m & 1 x 9.1m) | ea |  | cost plus 10% |  |  |
| 4.3.201 |  | 3- Pole, St 132kV Strain 13.1m (2 x 13.1m & 1 x 11.1m) | ea |  | cost plus 10% |  |  |
| 4.3.202 |  | 3- Pole, St 132kV Strain 14m (2 x 14.1m & 1 x 12.1m) | ea |  | cost plus 10% |  |  |
| 4.3.203 |  | 3- Pole, St 132kV Strain 16.1m (2 x 16.1m & 1 x 14.1m) | ea |  | cost plus 10% |  |  |
| 2-WT/1297 3-Pole Terminal |  |  |  |  |  |  |  |
| 4.3.204 | 2-WT/1418 Sheets 4 | 3- Pole Term St 132kV 14m (Include 3 poles of 14m long) | ea |  | cost plus 10% |  |  |
| 4.3.205 |  | 3- Pole Term St 132kV 16m (Include 3 poles of 16m long) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 3 on the following structures: |  |  |  |  |  |  |  |
| 2-WT/1294 Intermediate 0 - 2º Suspension |  |  |  |  |  |  |  |
| 4.3.206 | 2-WT/1417 Sheet 1 | Pole, St 132kV Susp 21m | ea |  | cost plus 10% |  |  |
| 4.3.207 |  | Pole, St 132kV Susp 22m | ea |  | cost plus 10% |  |  |
| 4.3.208 |  | Pole, St 132kV Susp 23m | ea |  | cost plus 10% |  |  |
| 4.3.209 |  | Pole, St 132kV Susp 24m | ea |  | cost plus 10% |  |  |
| 4.3.210 |  | Pole, St 132kV Susp 25m | ea |  | cost plus 10% |  |  |
| 4.3.211 |  | Pole, St 132kV Susp 26m | ea |  | cost plus 10% |  |  |
| 4.3.212 |  | Pole, St 132kV Susp 29m | ea |  | cost plus 10% |  |  |
| 2-WT/1295 Strain 2º - 90º |  |  |  |  |  |  |  |
| 4.3.213 | 2-WT/1417 Sheets 2 | Pole, St 132kV Angle Strain (0°-90°) 20m | ea |  | cost plus 10% |  |  |
| 4.3.214 |  | Pole, St 132kV Angle Strain (0°-90°) 22m | ea |  | cost plus 10% |  |  |
| 4.3.215 |  | Pole, St 132kV Angle Strain (0°-90°) 23m | ea |  | cost plus 10% |  |  |
| 4.3.216 |  | Pole, St 132kV Angle Strain (0°-90°) 24m | ea |  | cost plus 10% |  |  |
| 4.3.217 |  | Pole, St 132kV Angle Strain (0°-90°) 28m | ea |  | cost plus 10% |  |  |
| 4.3.218 |  | Pole, St 132kV Angle Strain (0°-90°) 30m | ea |  | cost plus 10% |  |  |
| 2-WT/1296 Angle Strain 3-Pole 2º-90º |  |  |  |  |  |  |  |
| 4.3.219 | 2-WT/1417 Sheets 3 | 3- Pole, St 132kV Strain 11.1m (2 x 11.1m & 1 x 9.1m) | ea |  | cost plus 10% |  |  |
| 4.3.220 |  | 3- Pole, St 132kV Strain 13.1m (2 x 13.1m & 1 x 11.1m) | ea |  | cost plus 10% |  |  |
| 4.3.221 |  | 3- Pole, St 132kV Strain 14m (2 x 14.1m & 1 x 12.1m) | ea |  | cost plus 10% |  |  |
| 4.3.222 |  | 3- Pole, St 132kV Strain 16.1m (2 x 16.1m & 1 x 14.1m) | ea |  | cost plus 10% |  |  |
| 2-WT/1297 3-Pole Terminal |  |  |  |  |  |  |  |
| 4.3.223 | 2-WT/1417 Sheets 3 | 3- Pole Term St 132kV 14m (Include 3 poles of 14m long) | ea |  | cost plus 10% |  |  |
| 4.3.224 |  | 3- Pole Term St 132kV 16m (Include 3 poles of 16m long) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 2-WT/1294 Intermediate 0 - 2º Suspension |  |  |  |  |  |  |  |
| 4.3.225 | 2-WT/1418 Sheet 2&3 | Pole, St 132kV Susp 21m | ea |  | cost plus 10% |  |  |
| 4.3.226 |  | Pole, St 132kV Susp 22m | ea |  | cost plus 10% |  |  |
| 4.3.227 |  | Pole, St 132kV Susp 23m | ea |  | cost plus 10% |  |  |
| 4.3.228 |  | Pole, St 132kV Susp 24m | ea |  | cost plus 10% |  |  |
| 4.3.229 |  | Pole, St 132kV Susp 25m | ea |  | cost plus 10% |  |  |
| 4.3.230 |  | Pole, St 132kV Susp 26m | ea |  | cost plus 10% |  |  |
| 4.3.231 |  | Pole, St 132kV Susp 29m | ea |  | cost plus 10% |  |  |
| 2-WT/1295 Strain 2º - 90º |  |  |  |  |  |  |  |
| 4.3.232 | 2-WT/1418 Sheet 1&3 | Pole, St 132kV Angle Strain (0°-90°) 20m | ea |  | cost plus 10% |  |  |
| 4.3.233 |  | Pole, St 132kV Angle Strain (0°-90°) 22m | ea |  | cost plus 10% |  |  |
| 4.3.234 |  | Pole, St 132kV Angle Strain (0°-90°) 23m | ea |  | cost plus 10% |  |  |
| 4.3.235 |  | Pole, St 132kV Angle Strain (0°-90°) 24m | ea |  | cost plus 10% |  |  |
| 4.3.236 |  | Pole, St 132kV Angle Strain (0°-90°) 28m | ea |  | cost plus 10% |  |  |
| 4.3.237 |  | Pole, St 132kV Angle Strain (0°-90°) 30m | ea |  | cost plus 10% |  |  |
| 2-WT/1296 Angle Strain 3-Pole 2º-90º |  |  |  |  |  |  |  |
| 4.3.238 | 2-WT/1418 Sheets 4 | 3- Pole, St 132kV Strain 11.1m (2 x 11.1m & 1 x 9.1m) | ea |  | cost plus 10% |  |  |
| 4.3.239 |  | 3- Pole, St 132kV Strain 13.1m (2 x 13.1m & 1 x 11.1m) | ea |  | cost plus 10% |  |  |
| 4.3.240 |  | 3- Pole, St 132kV Strain 14m (2 x 14.1m & 1 x 12.1m) | ea |  | cost plus 10% |  |  |
| 4.3.241 |  | 3- Pole, St 132kV Strain 16.1m (2 x 16.1m & 1 x 14.1m) | ea |  | cost plus 10% |  |  |
| 2-WT/1297 3-Pole Terminal |  |  |  |  |  |  |  |
| 4.3.242 | 2-WT/1418 Sheets 4 | 3- Pole Term St 132kV 14m (Include 3 poles of 14m long) | ea |  | cost plus 10% |  |  |
| 4.3.243 |  | 3- Pole Term St 132kV 16m (Include 3 poles of 16m long) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 4 on the following structures: |  |  |  |  |  |  |  |
| 2-WT/1294 Intermediate 0 - 2º Suspension |  |  |  |  |  |  |  |
| 4.3.244 | 2-WT/1417 Sheet 1 | Pole, St 132kV Susp 21m | ea |  | cost plus 10% |  |  |
| 4.3.245 |  | Pole, St 132kV Susp 22m | ea |  | cost plus 10% |  |  |
| 4.3.246 |  | Pole, St 132kV Susp 23m | ea |  | cost plus 10% |  |  |
| 4.3.247 |  | Pole, St 132kV Susp 24m | ea |  | cost plus 10% |  |  |
| 4.3.248 |  | Pole, St 132kV Susp 25m | ea |  | cost plus 10% |  |  |
| 4.3.249 |  | Pole, St 132kV Susp 26m | ea |  | cost plus 10% |  |  |
| 4.3.250 |  | Pole, St 132kV Susp 29m | ea |  | cost plus 10% |  |  |
| 2-WT/1295 Strain 2º - 90º |  |  |  |  |  |  |  |
| 4.3.251 | 2-WT/1417 Sheets 2 | Pole, St 132kV Angle Strain (0°-90°) 20m | ea |  | cost plus 10% |  |  |
| 4.3.252 |  | Pole, St 132kV Angle Strain (0°-90°) 22m | ea |  | cost plus 10% |  |  |
| 4.3.253 |  | Pole, St 132kV Angle Strain (0°-90°) 23m | ea |  | cost plus 10% |  |  |
| 4.3.254 |  | Pole, St 132kV Angle Strain (0°-90°) 24m | ea |  | cost plus 10% |  |  |
| 4.3.255 |  | Pole, St 132kV Angle Strain (0°-90°) 28m | ea |  | cost plus 10% |  |  |
| 4.3.256 |  | Pole, St 132kV Angle Strain (0°-90°) 30m | ea |  | cost plus 10% |  |  |
| 2-WT/1296 Angle Strain 3-Pole 2º-90º |  |  |  |  |  |  |  |
| 4.3.257 | 2-WT/1417 Sheets 3 | 3- Pole, St 132kV Strain 11.1m (2 x 11.1m & 1 x 9.1m) | ea |  | cost plus 10% |  |  |
| 4.3.258 |  | 3- Pole, St 132kV Strain 13.1m (2 x 13.1m & 1 x 11.1m) | ea |  | cost plus 10% |  |  |
| 4.3.259 |  | 3- Pole, St 132kV Strain 14m (2 x 14.1m & 1 x 12.1m) | ea |  | cost plus 10% |  |  |
| 4.3.260 |  | 3- Pole, St 132kV Strain 16.1m (2 x 16.1m & 1 x 14.1m) | ea |  | cost plus 10% |  |  |
| 2-WT/1297 3-Pole Terminal |  |  |  |  |  |  |  |
| 4.3.261 | 2-WT/1417 Sheets 3 | 3- Pole Term St 132kV 14m (Include 3 poles of 14m long) | ea |  | cost plus 10% |  |  |
| 4.3.262 |  | 3- Pole Term St 132kV 16m (Include 3 poles of 16m long) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 2-WT/1294 Intermediate 0 - 2º Suspension |  |  |  |  |  |  |  |
| 4.3.263 | 2-WT/1418 Sheet 2&3 | Pole, St 132kV Susp 21m | ea |  | cost plus 10% |  |  |
| 4.3.264 |  | Pole, St 132kV Susp 22m | ea |  | cost plus 10% |  |  |
| 4.3.265 |  | Pole, St 132kV Susp 23m | ea |  | cost plus 10% |  |  |
| 4.3.266 |  | Pole, St 132kV Susp 24m | ea |  | cost plus 10% |  |  |
| 4.3.267 |  | Pole, St 132kV Susp 25m | ea |  | cost plus 10% |  |  |
| 4.3.268 |  | Pole, St 132kV Susp 26m | ea |  | cost plus 10% |  |  |
| 4.3.269 |  | Pole, St 132kV Susp 29m | ea |  | cost plus 10% |  |  |
| 2-WT/1295 Strain 2º - 90º |  |  |  |  |  |  |  |
| 4.3.270 | 2-WT/1418 Sheet 1&3 | Pole, St 132kV Angle Strain (0°-90°) 20m | ea |  | cost plus 10% |  |  |
| 4.3.271 |  | Pole, St 132kV Angle Strain (0°-90°) 22m | ea |  | cost plus 10% |  |  |
| 4.3.272 |  | Pole, St 132kV Angle Strain (0°-90°) 23m | ea |  | cost plus 10% |  |  |
| 4.3.273 |  | Pole, St 132kV Angle Strain (0°-90°) 24m | ea |  | cost plus 10% |  |  |
| 4.3.274 |  | Pole, St 132kV Angle Strain (0°-90°) 28m | ea |  | cost plus 10% |  |  |
| 4.3.275 |  | Pole, St 132kV Angle Strain (0°-90°) 30m | ea |  | cost plus 10% |  |  |
| 2-WT/1296 Angle Strain 3-Pole 2º-90º |  |  |  |  |  |  |  |
| 4.3.276 | 2-WT/1418 Sheets 4 | 3- Pole, St 132kV Strain 11.1m (2 x 11.1m & 1 x 9.1m) | ea |  | cost plus 10% |  |  |
| 4.3.277 |  | 3- Pole, St 132kV Strain 13.1m (2 x 13.1m & 1 x 11.1m) | ea |  | cost plus 10% |  |  |
| 4.3.278 |  | 3- Pole, St 132kV Strain 14m (2 x 14.1m & 1 x 12.1m) | ea |  | cost plus 10% |  |  |
| 4.3.279 |  | 3- Pole, St 132kV Strain 16.1m (2 x 16.1m & 1 x 14.1m) | ea |  | cost plus 10% |  |  |
| 2-WT/1297 3-Pole Terminal |  |  |  |  |  |  |  |
| 4.3.280 | 2-WT/1418 Sheets 4 | 3- Pole Term St 132kV 14m (Include 3 poles of 14m long) | ea |  | cost plus 10% |  |  |
| 4.3.281 |  | 3- Pole Term St 132kV 16m (Include 3 poles of 16m long) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil Soft Rock on the following structures: |  |  |  |  |  |  |  |
| 2-WT/1294 Intermediate 0 - 2º Suspension |  |  |  |  |  |  |  |
| 4.3.282 | 2-WT/1419 Sheet 1 | Pole, St 132kV Susp 21m | ea |  | cost plus 10% |  |  |
| 4.3.283 |  | Pole, St 132kV Susp 22m | ea |  | cost plus 10% |  |  |
| 4.3.284 |  | Pole, St 132kV Susp 23m | ea |  | cost plus 10% |  |  |
| 4.3.285 |  | Pole, St 132kV Susp 24m | ea |  | cost plus 10% |  |  |
| 4.3.286 |  | Pole, St 132kV Susp 25m | ea |  | cost plus 10% |  |  |
| 4.3.287 |  | Pole, St 132kV Susp 26m | ea |  | cost plus 10% |  |  |
| 4.3.288 |  | Pole, St 132kV Susp 29m | ea |  | cost plus 10% |  |  |
| 2-WT/1295 Strain 2º - 90º |  |  |  |  |  |  |  |
| 4.3.289 | 2-WT/1419 Sheet 2 | Pole, St 132kV Angle Strain (0°-90°) 20m | ea |  | cost plus 10% |  |  |
| 4.3.290 |  | Pole, St 132kV Angle Strain (0°-90°) 22m | ea |  | cost plus 10% |  |  |
| 4.3.291 |  | Pole, St 132kV Angle Strain (0°-90°) 23m | ea |  | cost plus 10% |  |  |
| 4.3.292 |  | Pole, St 132kV Angle Strain (0°-90°) 24m | ea |  | cost plus 10% |  |  |
| 4.3.293 |  | Pole, St 132kV Angle Strain (0°-90°) 28m | ea |  | cost plus 10% |  |  |
| 4.3.294 |  | Pole, St 132kV Angle Strain (0°-90°) 30m | ea |  | cost plus 10% |  |  |
| 2-WT/1296 Angle Strain 3-Pole 2º-90º |  |  |  |  |  |  |  |
| 4.3.295 | 2-WT/1419 Sheet 2 | 3- Pole, St 132kV Strain 11.1m (2 x 11.1m & 1 x 9.1m) | ea |  | cost plus 10% |  |  |
| 4.3.296 |  | 3- Pole, St 132kV Strain 13.1m (2 x 13.1m & 1 x 11.1m) | ea |  | cost plus 10% |  |  |
| 4.3.297 |  | 3- Pole, St 132kV Strain 14m (2 x 14.1m & 1 x 12.1m) | ea |  | cost plus 10% |  |  |
| 4.3.298 |  | 3- Pole, St 132kV Strain 16.1m (2 x 16.1m & 1 x 14.1m) | ea |  | cost plus 10% |  |  |
| 2-WT/1297 3-Pole Terminal |  |  |  |  |  |  |  |
| 4.3.299 | 2-WT/1419 Sheet 2 | 3- Pole Term St 132kV 14m (Include 3 poles of 14m long) | ea |  | cost plus 10% |  |  |
| 4.3.300 |  | 3- Pole Term St 132kV 16m (Include 3 poles of 16m long) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil Hard Rock on the following structures: |  |  |  |  |  |  |  |
| 2-WT/1294 Intermediate 0 - 2º Suspension |  |  |  |  |  |  |  |
| 4.3.301 | 2-WT/1419 Sheet 1 | Pole, St 132kV Susp 21m | ea |  | cost plus 10% |  |  |
| 4.3.302 |  | Pole, St 132kV Susp 22m | ea |  | cost plus 10% |  |  |
| 4.3.303 |  | Pole, St 132kV Susp 23m | ea |  | cost plus 10% |  |  |
| 4.3.304 |  | Pole, St 132kV Susp 24m | ea |  | cost plus 10% |  |  |
| 4.3.305 |  | Pole, St 132kV Susp 25m | ea |  | cost plus 10% |  |  |
| 4.3.306 |  | Pole, St 132kV Susp 26m | ea |  | cost plus 10% |  |  |
| 4.3.307 |  | Pole, St 132kV Susp 29m | ea |  | cost plus 10% |  |  |
| 2-WT/1295 Strain 2º - 90º |  |  |  |  |  |  |  |
| 4.3.308 | 2-WT/1419 Sheet 2 | Pole, St 132kV Angle Strain (0°-90°) 20m | ea |  | cost plus 10% |  |  |
| 4.3.309 |  | Pole, St 132kV Angle Strain (0°-90°) 22m | ea |  | cost plus 10% |  |  |
| 4.3.310 |  | Pole, St 132kV Angle Strain (0°-90°) 23m | ea |  | cost plus 10% |  |  |
| 4.3.311 |  | Pole, St 132kV Angle Strain (0°-90°) 24m | ea |  | cost plus 10% |  |  |
| 4.3.312 |  | Pole, St 132kV Angle Strain (0°-90°) 28m | ea |  | cost plus 10% |  |  |
| 4.3.313 |  | Pole, St 132kV Angle Strain (0°-90°) 30m | ea |  | cost plus 10% |  |  |
| 2-WT/1296 Angle Strain 3-Pole 2º-90º |  |  |  |  |  |  |  |
| 4.3.314 | 2-WT/1419 Sheet 2 | 3- Pole, St 132kV Strain 11.1m (2 x 11.1m & 1 x 9.1m) | ea |  | cost plus 10% |  |  |
| 4.3.315 |  | 3- Pole, St 132kV Strain 13.1m (2 x 13.1m & 1 x 11.1m) | ea |  | cost plus 10% |  |  |
| 4.3.316 |  | 3- Pole, St 132kV Strain 14m (2 x 14.1m & 1 x 12.1m) | ea |  | cost plus 10% |  |  |
| 4.3.317 |  | 3- Pole, St 132kV Strain 16.1m (2 x 16.1m & 1 x 14.1m) | ea |  | cost plus 10% |  |  |
| 2-WT/1297 3-Pole Terminal |  |  |  |  |  |  |  |
| 4.3.318 | 2-WT/1419 Sheet 2 | 3- Pole Term St 132kV 14m (Include 3 poles of 14m long) | ea |  | cost plus 10% |  |  |
| 4.3.319 |  | 3- Pole Term St 132kV 16m (Include 3 poles of 16m long) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Bersfort Single Circuit Mono-Pole Guided Structure - Foundations 2-WT/1281 Guided Braced Intermediate / Suspension 2-WT/1284 Angle Strain 0 - 90º 2-WT/1285 Guided Inline Strain 3-Pole Structure 0 - 5º 2-WT/1286 Guided Inline Strain 3-Pole Structure 5 - 90º |  |  |  |  |  |  |  |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 1 on the following structures: |  |  |  |  |  |  |  |
| 2-WT/1281 Guided Braced Intermediate / Suspension |  |  |  |  |  |  |  |
| 4.3.320 | D-DT-7852 Sheet 1 | Pole , St 132kV Guyed Susp 16.1m Bottom Attachment 10.7) | ea |  | cost plus 10% |  |  |
| 4.3.321 |  | Pole , St 132kV Guyed Susp 18.2m Bottom Attachment 12.8) | ea |  | cost plus 10% |  |  |
| 4.3.322 |  | Pole , St 132kV Guyed Susp 21.2m Bottom Attachment 15.8) | ea |  | cost plus 10% |  |  |
| 4.3.323 |  | Pole, St 132kV Guyed Susp 24.2m (Bottom Attachment 18.8) | ea |  | cost plus 10% |  |  |
| 2-WT/1284 Angle Strain 0 - 90º |  |  |  |  |  |  |  |
| 4.3.324 | D-DT-7852 Sheet 1 | Pole, St 132kV Guyed Angle Strain (0°-90°) 18.2m (Bottom Attachement 11.2m) | ea |  | cost plus 10% |  |  |
| 4.3.325 |  | Pole, St 132kV Guyed Angle Strain (0°-90°) 21.2m (Bottom Attachement 14.2m) | ea |  | cost plus 10% |  |  |
| 4.3.326 |  | Pole, St 132kV Guyed Angle Strain (0°-90°) 24.2m (Bottom Attachement 17.2m) | ea |  | cost plus 10% |  |  |
| 2-WT/1285 Guided Inline Strain 3-Pole Structure 0 - 5º |  |  |  |  |  |  |  |
| 4.3.327 | D-DT-7852 Sheet 1 | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 11.1m (includes 3 poles) (Bottom Attachment 9.6m) | ea |  | cost plus 10% |  |  |
| 4.3.328 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 16.1m (includes 3 poles) (Bottom Attachment 14.6m) | ea |  | cost plus 10% |  |  |
| 4.3.329 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 18.2m (includes 3 poles) (Bottom Attachment 16.7m) | ea |  | cost plus 10% |  |  |
| 4.3.330 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 21.2m (includes 3 poles) (Bottom Attachment 19.7m) | ea |  | cost plus 10% |  |  |
| 4.3.331 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 24.2m (includes 3 poles) (Bottom Attachment 22.7) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 1 on the following structures: |  |  |  |  |  |  |  |
| 2-WT/1286 Guided Inline Strain 3-Pole Structure 5 - 90º |  |  |  |  |  |  |  |
| 4.3.332 | D-DT-7852 Sheet 1 | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 11.1m (includes 3 poles) (Bottom Attachment 9.6m) | ea |  | cost plus 10% |  |  |
| 4.3.333 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 16.1m (includes 3 poles) (Bottom Attachment 14.6m) | ea |  | cost plus 10% |  |  |
| 4.3.334 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 18.2m (includes 3 poles) (Bottom Attachment 16.7m) | ea |  | cost plus 10% |  |  |
| 4.3.335 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 21.2m (includes 3 poles) (Bottom Attachment 19.7m) | ea |  | cost plus 10% |  |  |
| 4.3.336 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 24.2m (includes 3 poles) (Bottom Attachment 22.7) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit |  | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 2 on the following structures: |  |  |  |  |  |  |  |
| 2-WT/1281 Guided Braced Intermediate / Suspension |  |  |  |  |  |  |  |
| 4.3.337 | D-DT-7852 Sheet 1 | Pole , St 132kV Guyed Susp 16.1m Bottom Attachment 10.7) | ea |  | cost plus 10% |  |  |
| 4.3.338 |  | Pole , St 132kV Guyed Susp 18.2m Bottom Attachment 12.8) | ea |  | cost plus 10% |  |  |
| 4.3.339 |  | Pole , St 132kV Guyed Susp 21.2m Bottom Attachment 15.8) | ea |  | cost plus 10% |  |  |
| 4.3.340 |  | Pole, St 132kV Guyed Susp 24.2m (Bottom Attachment 18.8) | ea |  | cost plus 10% |  |  |
| 2-WT/1284 Angle Strain 0 - 90º |  |  |  |  |  |  |  |
| 4.3.341 | D-DT-7852 Sheet 1 | Pole, St 132kV Guyed Angle Strain (0°-90°) 18.2m (Bottom Attachement 11.2m) | ea |  | cost plus 10% |  |  |
| 4.3.342 |  | Pole, St 132kV Guyed Angle Strain (0°-90°) 21.2m (Bottom Attachement 14.2m) | ea |  | cost plus 10% |  |  |
| 4.3.343 |  | Pole, St 132kV Guyed Angle Strain (0°-90°) 24.2m (Bottom Attachement 17.2m) | ea |  | cost plus 10% |  |  |
| 2-WT/1285 Guided Inline Strain 3-Pole Structure 0 - 5º |  |  |  |  |  |  |  |
| 4.3.344 | D-DT-7852 Sheet 1 | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 11.1m (includes 3 poles) (Bottom Attachment 9.6m) | ea |  | cost plus 10% |  |  |
| 4.3.345 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 16.1m (includes 3 poles) (Bottom Attachment 14.6m) | ea |  | cost plus 10% |  |  |
| 4.3.346 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 18.2m (includes 3 poles) (Bottom Attachment 16.7m) | ea |  | cost plus 10% |  |  |
| 4.3.347 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 21.2m (includes 3 poles) (Bottom Attachment 19.7m) | ea |  | cost plus 10% |  |  |
| 4.3.348 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 24.2m (includes 3 poles) (Bottom Attachment 22.7) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 2 on the following structures: |  |  |  |  |  |  |  |
| 2-WT/1286 Guided Inline Strain 3-Pole Structure 5 - 90º |  |  |  |  |  |  |  |
| 4.3.349 | D-DT-7852 Sheet 1 | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 11.1m (includes 3 poles) (Bottom Attachment 9.6m) | ea |  | cost plus 10% |  |  |
| 4.3.351 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 16.1m (includes 3 poles) (Bottom Attachment 14.6m) | ea |  | cost plus 10% |  |  |
| 4.3.352 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 18.2m (includes 3 poles) (Bottom Attachment 16.7m) | ea |  | cost plus 10% |  |  |
| 4.3.353 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 21.2m (includes 3 poles) (Bottom Attachment 19.7m) | ea |  | cost plus 10% |  |  |
| 4.3.354 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 24.2m (includes 3 poles) (Bottom Attachment 22.7) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit |  | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 3 on the following structures: |  |  |  |  |  |  |  |
| 2-WT/1281 Guided Braced Intermediate / Suspension |  |  |  |  |  |  |  |
| 4.3.355 | D-DT-7852 Sheet 1 | Pole , St 132kV Guyed Susp 16.1m Bottom Attachment 10.7) | ea |  | cost plus 10% |  |  |
| 4.3.356 |  | Pole , St 132kV Guyed Susp 18.2m Bottom Attachment 12.8) | ea |  | cost plus 10% |  |  |
| 4.3.357 |  | Pole , St 132kV Guyed Susp 21.2m Bottom Attachment 15.8) | ea |  | cost plus 10% |  |  |
| 4.3.358 |  | Pole, St 132kV Guyed Susp 24.2m (Bottom Attachment 18.8) | ea |  | cost plus 10% |  |  |
| 2-WT/1284 Angle Strain 0 - 90º |  |  |  |  |  |  |  |
| 4.3.359 | D-DT-7852 Sheet 1 | Pole, St 132kV Guyed Angle Strain (0°-90°) 18.2m (Bottom Attachement 11.2m) | ea |  | cost plus 10% |  |  |
| 4.3.360 |  | Pole, St 132kV Guyed Angle Strain (0°-90°) 21.2m (Bottom Attachement 14.2m) | ea |  | cost plus 10% |  |  |
| 4.3.361 |  | Pole, St 132kV Guyed Angle Strain (0°-90°) 24.2m (Bottom Attachement 17.2m) | ea |  | cost plus 10% |  |  |
| 2-WT/1285 Guided Inline Strain 3-Pole Structure 0 - 5º |  |  |  |  |  |  |  |
| 4.3.362 | D-DT-7852 Sheet 1 | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 11.1m (includes 3 poles) (Bottom Attachment 9.6m) | ea |  | cost plus 10% |  |  |
| 4.3.363 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 16.1m (includes 3 poles) (Bottom Attachment 14.6m) | ea |  | cost plus 10% |  |  |
| 4.3.364 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 18.2m (includes 3 poles) (Bottom Attachment 16.7m) | ea |  | cost plus 10% |  |  |
| 4.3.365 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 21.2m (includes 3 poles) (Bottom Attachment 19.7m) | ea |  | cost plus 10% |  |  |
| 4.3.366 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 24.2m (includes 3 poles) (Bottom Attachment 22.7) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 3 on the following structures: |  |  |  |  |  |  |  |
| 2-WT/1286 Guided Inline Strain 3-Pole Structure 5 - 90º |  |  |  |  |  |  |  |
| 4.3.367 | D-DT-7852 Sheet 1 | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 11.1m (includes 3 poles) (Bottom Attachment 9.6m) | ea |  | cost plus 10% |  |  |
| 4.3.368 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 16.1m (includes 3 poles) (Bottom Attachment 14.6m) | ea |  | cost plus 10% |  |  |
| 4.3.369 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 18.2m (includes 3 poles) (Bottom Attachment 16.7m) | ea |  | cost plus 10% |  |  |
| 4.3.370 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 21.2m (includes 3 poles) (Bottom Attachment 19.7m) | ea |  | cost plus 10% |  |  |
| 4.3.371 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 24.2m (includes 3 poles) (Bottom Attachment 22.7) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 4 on the following structures: |  |  |  |  |  |  |  |
| 2-WT/1281 Guided Braced Intermediate / Suspension |  |  |  |  |  |  |  |
| 4.3.372 | D-DT-7852 Sheet 4 | Pole , St 132kV Guyed Susp 16.1m Bottom Attachment 10.7) | ea |  | cost plus 10% |  |  |
| 4.3.373 |  | Pole , St 132kV Guyed Susp 18.2m Bottom Attachment 12.8) | ea |  | cost plus 10% |  |  |
| 4.3.374 |  | Pole , St 132kV Guyed Susp 21.2m Bottom Attachment 15.8) | ea |  | cost plus 10% |  |  |
| 4.3.375 |  | Pole, St 132kV Guyed Susp 24.2m (Bottom Attachment 18.8) | ea |  | cost plus 10% |  |  |
| 2-WT/1284 Angle Strain 0 - 90º |  |  |  |  |  |  |  |
| 4.3.376 | D-DT-7852 Sheet 4 | Pole, St 132kV Guyed Angle Strain (0°-90°) 18.2m (Bottom Attachement 11.2m) | ea |  | cost plus 10% |  |  |
| 4.3.377 |  | Pole, St 132kV Guyed Angle Strain (0°-90°) 21.2m (Bottom Attachement 14.2m) | ea |  | cost plus 10% |  |  |
| 4.3.378 |  | Pole, St 132kV Guyed Angle Strain (0°-90°) 24.2m (Bottom Attachement 17.2m) | ea |  | cost plus 10% |  |  |
| 2-WT/1285 Guided Inline Strain 3-Pole Structure 0 - 5º |  |  |  |  |  |  |  |
| 4.3.379 | D-DT-7852 Sheet 4 | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 11.1m (includes 3 poles) (Bottom Attachment 9.6m) | ea |  | cost plus 10% |  |  |
| 4.3.380 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 16.1m (includes 3 poles) (Bottom Attachment 14.6m) | ea |  | cost plus 10% |  |  |
| 4.3.381 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 18.2m (includes 3 poles) (Bottom Attachment 16.7m) | ea |  | cost plus 10% |  |  |
| 4.3.382 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 21.2m (includes 3 poles) (Bottom Attachment 19.7m) | ea |  | cost plus 10% |  |  |
| 4.3.383 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 24.2m (includes 3 poles) (Bottom Attachment 22.7) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 4 on the following structures: |  |  |  |  |  |  |  |
| 2-WT/1286 Guided Inline Strain 3-Pole Structure 5 - 90º |  |  |  |  |  |  |  |
| 4.3.384 | D-DT-7852 Sheet 4 | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 11.1m (includes 3 poles) (Bottom Attachment 9.6m) | ea |  | cost plus 10% |  |  |
| 4.3.385 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 16.1m (includes 3 poles) (Bottom Attachment 14.6m) | ea |  | cost plus 10% |  |  |
| 4.3.386 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 18.2m (includes 3 poles) (Bottom Attachment 16.7m) | ea |  | cost plus 10% |  |  |
| 4.3.387 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 21.2m (includes 3 poles) (Bottom Attachment 19.7m) | ea |  | cost plus 10% |  |  |
| 4.3.388 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 24.2m (includes 3 poles) (Bottom Attachment 22.7) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil Soft Rock on the following structures: |  |  |  |  |  |  |  |
| 2-WT/1281 Guided Braced Intermediate / Suspension |  |  |  |  |  |  |  |
| 4.3.389 | D-DT-7852 Sheet 1 | Pole , St 132kV Guyed Susp 16.1m Bottom Attachment 10.7) | ea |  | cost plus 10% |  |  |
| 4.3.390 |  | Pole , St 132kV Guyed Susp 18.2m Bottom Attachment 12.8) | ea |  | cost plus 10% |  |  |
| 4.3.391 |  | Pole , St 132kV Guyed Susp 21.2m Bottom Attachment 15.8) | ea |  | cost plus 10% |  |  |
| 4.3.392 |  | Pole, St 132kV Guyed Susp 24.2m (Bottom Attachment 18.8) | ea |  | cost plus 10% |  |  |
| 2-WT/1284 Angle Strain 0 - 90º |  |  |  |  |  |  |  |
| 4.3.393 | D-DT-7852 Sheet 1 | Pole, St 132kV Guyed Angle Strain (0°-90°) 18.2m (Bottom Attachement 11.2m) | ea |  | cost plus 10% |  |  |
| 4.3.394 |  | Pole, St 132kV Guyed Angle Strain (0°-90°) 21.2m (Bottom Attachement 14.2m) | ea |  | cost plus 10% |  |  |
| 4.3.395 |  | Pole, St 132kV Guyed Angle Strain (0°-90°) 24.2m (Bottom Attachement 17.2m) | ea |  | cost plus 10% |  |  |
| 2-WT/1285 Guided Inline Strain 3-Pole Structure 0 - 5º |  |  |  |  |  |  |  |
| 4.3.396 | D-DT-7852 Sheet 1 | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 11.1m (includes 3 poles) (Bottom Attachment 9.6m) | ea |  | cost plus 10% |  |  |
| 4.3.397 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 16.1m (includes 3 poles) (Bottom Attachment 14.6m) | ea |  | cost plus 10% |  |  |
| 4.3.398 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 18.2m (includes 3 poles) (Bottom Attachment 16.7m) | ea |  | cost plus 10% |  |  |
| 4.3.399 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 21.2m (includes 3 poles) (Bottom Attachment 19.7m) | ea |  | cost plus 10% |  |  |
| 4.3.400 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 24.2m (includes 3 poles) (Bottom Attachment 22.7) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil Soft Rock on the following structures: |  |  |  |  |  |  |  |
| 2-WT/1286 Guided Inline Strain 3-Pole Structure 5 - 90º |  |  |  |  |  |  |  |
| 4.3.401 | D-DT-7852Sheet 1 | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 11.1m (includes 3 poles) (Bottom Attachment 9.6m) | ea |  | cost plus 10% |  |  |
| 4.3.402 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 16.1m (includes 3 poles) (Bottom Attachment 14.6m) | ea |  | cost plus 10% |  |  |
| 4.3.403 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 18.2m (includes 3 poles) (Bottom Attachment 16.7m) | ea |  | cost plus 10% |  |  |
| 4.3.404 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 21.2m (includes 3 poles) (Bottom Attachment 19.7m) | ea |  | cost plus 10% |  |  |
| 4.3.405 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 24.2m (includes 3 poles) (Bottom Attachment 22.7) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil Hard Rock on the following structures: |  |  |  |  |  |  |  |
| 2-WT/1281 Guided Braced Intermediate / Suspension |  |  |  |  |  |  |  |
| 4.3.406 | D-DT-7852 Sheet 1 | Pole , St 132kV Guyed Susp 16.1m Bottom Attachment 10.7) | ea |  | cost plus 10% |  |  |
| 4.3.407 |  | Pole , St 132kV Guyed Susp 18.2m Bottom Attachment 12.8) | ea |  | cost plus 10% |  |  |
| 4.3.408 |  | Pole , St 132kV Guyed Susp 21.2m Bottom Attachment 15.8) | ea |  | cost plus 10% |  |  |
| 4.3.409 |  | Pole, St 132kV Guyed Susp 24.2m (Bottom Attachment 18.8) | ea |  | cost plus 10% |  |  |
| 2-WT/1284 Angle Strain 0 - 90º |  |  |  |  |  |  |  |
| 4.3.410 | D-DT-7852 Sheet 1 | Pole, St 132kV Guyed Angle Strain (0°-90°) 18.2m (Bottom Attachement 11.2m) | ea |  | cost plus 10% |  |  |
| 4.3.411 |  | Pole, St 132kV Guyed Angle Strain (0°-90°) 21.2m (Bottom Attachement 14.2m) | ea |  | cost plus 10% |  |  |
| 4.3.412 |  | Pole, St 132kV Guyed Angle Strain (0°-90°) 24.2m (Bottom Attachement 17.2m) | ea |  | cost plus 10% |  |  |
| 2-WT/1285 Guided Inline Strain 3-Pole Structure 0 - 5º |  |  |  |  |  |  |  |
| 4.3.413 | D-DT-7852 Sheet 1 | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 11.1m (includes 3 poles) (Bottom Attachment 9.6m) | ea |  | cost plus 10% |  |  |
| 4.3.414 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 16.1m (includes 3 poles) (Bottom Attachment 14.6m) | ea |  | cost plus 10% |  |  |
| 4.3.415 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 18.2m (includes 3 poles) (Bottom Attachment 16.7m) | ea |  | cost plus 10% |  |  |
| 4.3.416 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 21.2m (includes 3 poles) (Bottom Attachment 19.7m) | ea |  | cost plus 10% |  |  |
| 4.3.417 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 24.2m (includes 3 poles) (Bottom Attachment 22.7) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil Hard Rock on the following structures: |  |  |  |  |  |  |  |
| 2-WT/1286 Guided Inline Strain 3-Pole Structure 5 - 90º |  |  |  |  |  |  |  |
| 4.3.418 | D-DT-7852 Sheet 1 | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 11.1m (includes 3 poles) (Bottom Attachment 9.6m) | ea |  | cost plus 10% |  |  |
| 4.3.419 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 16.1m (includes 3 poles) (Bottom Attachment 14.6m) | ea |  | cost plus 10% |  |  |
| 4.3.420 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 18.2m (includes 3 poles) (Bottom Attachment 16.7m) | ea |  | cost plus 10% |  |  |
| 4.3.421 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 21.2m (includes 3 poles) (Bottom Attachment 19.7m) | ea |  | cost plus 10% |  |  |
| 4.3.422 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 24.2m (includes 3 poles) (Bottom Attachment 22.7) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Chikadee / Kingbird Single Circuit Mono-Pole Structure - Foundations D-DT-7611 Intermediate / Suspension D-DT-7615 Angle Strain 0 - 90º D-DT-7618 3-Pole Strain Structure 0 - 90º 2-WT/1213 3-Pole Terminal Structure 0 - 90º |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 1 on the following structures: |  |  |  |  |  |  |  |
| 2-WT-1213 3-Pole Terminal Structure |  |  |  |  |  |  |  |
| 4.3.423 | D-DT-7851s3 | Pole, 3-Pole Term Structure 0-90° 3 x 11.6 poles (Plant 2m, Bottom Attachement 9.6m) | ea |  | cost plus 10% |  |  |
| 4.3.424 | D-DT-7851s3 | Pole, 3-Pole Term Structure 0-90° 3 x 12.6 poles (Plant 2m, Bottom Attachement 10.6m) | ea |  | cost plus 10% |  |  |
| 4.3.425 | D-DT-7851s3 | Pole, 3-Pole Term Structure 0-90° 3 x 13.6 poles (Plant 2m, Bottom Attachement 11.6m) | ea |  | cost plus 10% |  |  |
| 4.3.426 | D-DT-7851s3 | Pole, 3-Pole Term Structure 0-90° 3 x 14.6 poles (Plant 2m, Bottom Attachement 12.6m) | ea |  | cost plus 10% |  |  |
| 4.3.427 | D-DT-7851s3 | Pole, 3-Pole Term Structure 0-90° 3 x 15.6 poles (Plant 2m, Bottom Attachement 13.6m) | ea |  | cost plus 10% |  |  |
| 4.3.428 | D-DT-7851s3 | Pole, 3-Pole Term Structure 0-90° 3 x 16.6 poles (Plant 2m, Bottom Attachement 14.6m) | ea |  | cost plus 10% |  |  |
| 4.3.429 | D-DT-7851s3 | Pole, 3-Pole Term Structure 0-90° 3 x 17.6 poles (Plant 2m, Bottom Attachement 15.6m) | ea |  | cost plus 10% |  |  |
| D-DT-7611 Intermediate / Suspension |  |  |  |  |  |  |  |
| 4.3.430 | D-DT-7850s2 | Pole, St 132kV Susp 20 m 23kN (Plant 2.6m, Bottom Att 13 m) | ea |  | cost plus 10% |  |  |
| 4.3.431 | D-DT-7850s2 | Pole, St 132kV Susp 21 m 23kN (Plant 2.7m, Bottom Att 13.9 m) | ea |  | cost plus 10% |  |  |
| 4.3.432 | D-DT-7850s2 | Pole, St 132kV Susp 22 m 23kN (Plant 2.8m, Bottom Att 14.8 m) | ea |  | cost plus 10% |  |  |
| 4.3.433 | D-DT-7850s2 | Pole, St 132kV Susp 22 m 23kN (Plant 2.9m, Bottom Att 15.7 m) | ea |  | cost plus 10% |  |  |
| 4.3.434 | D-DT-7850s2 | Pole, St 132kV Susp 22 m 23kN (Plant 3m, Bottom Att 16.6 m) | ea |  | cost plus 10% |  |  |
| D-DT-7615 Angle Strain 0 - 90º |  |  |  |  |  |  |  |
| 4.3.435 | D-DT-7851s2 | Pole, St 132kV Strain 0-90° 20 m (Bottom Attachement 13 m) | ea |  | cost plus 10% |  |  |
| 4.3.436 | D-DT-7851s2 | Pole, St 132kV Strain 0-90° 21 m (Bottom Attachement 14 m) | ea |  | cost plus 10% |  |  |
| 4.3.437 | D-DT-7851s2 | Pole, St 132kV Strain 0-90° 24 m (Bottom Attachement 17 m) | ea |  | cost plus 10% |  |  |
| 4.3.438 | D-DT-7851s2 | Pole, St 132kV Strain 0-90° 30 m (Bottom Attachement 23 m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 1 on the following structures: |  |  |  |  |  |  |  |
| D-DT-7618 3-Pole Strain Structure 0 - 90º |  |  |  |  |  |  |  |
| 4.3.439 | D-DT-7851s2 | Pole, 3-Pole Strain Structure 0-90° 2 x 8 m and 1 x 10 m poles (Plant 1.6m, Bottom Attachement 6.2 m) | ea |  | cost plus 10% |  |  |
| 4.3.440 | D-DT-7851s2 | Pole, 3-Pole Strain Structure 0-90° 2 x 9 m and 1 x 11 m poles (Plant 1.7m, Bottom Attachement 7.1 m) | ea |  | cost plus 10% |  |  |
| 4.3.441 | D-DT-7851s2 | Pole, 3-Pole Strain Structure 0-90° 2 x 10 m and 1 x 12 m poles (Plant 1.8m, Bottom Attachement 8 m) | ea |  | cost plus 10% |  |  |
| 4.3.442 | D-DT-7851s2 | Pole, 3-Pole Strain Structure 0-90° 2 x 11 m and 1 x 13 m poles (Plant 1.9m, Bottom Attachement 8.9 m) | ea |  | cost plus 10% |  |  |
| 4.3.443 | D-DT-7851s2 | Pole, 3-Pole Strain Structure 0-90° 2 x 12 m and 1 x 14 m poles (Plant 2m, Bottom Attachement 9.8m) | ea |  | cost plus 10% |  |  |
| 4.3.444 | D-DT-7851s2 | Pole, 3-Pole Strain Structure 0-90° 2 x 13 m and 1 x 15 m poles (Plant 2.1m, Bottom Attachement 10.7m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit |  | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 1 on the following structures: |  |  |  |  |  |  |  |
| D-DT-7618 3-Pole Strain Structure 0 - 90º cont |  |  |  |  |  |  |  |
| 4.3.445 | D-DT-7851s2 | Pole, 3-Pole Strain Structure 0-90° 2 x 14 m and 1 x 16 m poles (Plant 2.2m, Bottom Attachement 11.6m) | ea |  | cost plus 10% |  |  |
| 4.3.446 | D-DT-7851s2 | Pole, 3-Pole Strain Structure 0-90° 2 x 15 m and 1 x 17 m poles (Plant 2.3m, Bottom Attachement 12.5m) | ea |  | cost plus 10% |  |  |
| 4.3.447 | D-DT-7851s2 | Pole, 3-Pole Strain Structure 0-90° 2 x 16 m and 1 x 18 m poles (Plant 2.4m, Bottom Attachement 13.4m) | ea |  | cost plus 10% |  |  |
| 4.3.448 | D-DT-7851s2 | Pole, 3-Pole Strain Structure 0-90° 2 x 17 m and 1 x 19 m poles (Plant 2.4m, Bottom Attachement 14.3m) | ea |  | cost plus 10% |  |  |
| 4.3.449 | D-DT-7851s2 | Pole, 3-Pole Strain Structure 0-90° 2 x 18 m and 1 x 20 m poles (Plant 2.6m, Bottom Attachement 15.2m) | ea |  | cost plus 10% |  |  |
| 4.3.450 | D-DT-7851s2 | Pole, 3-Pole Strain Structure 0-90° 2 x 19 m and 1 x 21 m poles (Plant 2.7m, Bottom Attachement 16.1m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 2 on the following structures: |  |  |  |  |  |  |  |
| 2-WT-1213 3-Pole Terminal Structure |  |  |  |  |  |  |  |
| 4.3.451 | D-DT-7851s2 | Pole, 3-Pole Term Structure 0-90° 3 x 11.6 poles (Plant 2m, Bottom Attachement 9.6m) | ea |  | cost plus 10% |  |  |
| 4.3.452 | D-DT-7851s2 | Pole, 3-Pole Term Structure 0-90° 3 x 12.6 poles (Plant 2m, Bottom Attachement 10.6m) | ea |  | cost plus 10% |  |  |
| 4.3.453 | D-DT-7851s2 | Pole, 3-Pole Term Structure 0-90° 3 x 13.6 poles (Plant 2m, Bottom Attachement 11.6m) | ea |  | cost plus 10% |  |  |
| 4.3.454 | D-DT-7851s2 | Pole, 3-Pole Term Structure 0-90° 3 x 14.6 poles (Plant 2m, Bottom Attachement 12.6m) | ea |  | cost plus 10% |  |  |
| 4.3.455 | D-DT-7851s2 | Pole, 3-Pole Term Structure 0-90° 3 x 15.6 poles (Plant 2m, Bottom Attachement 13.6m) | ea |  | cost plus 10% |  |  |
| 4.3.456 | D-DT-7851s2 | Pole, 3-Pole Term Structure 0-90° 3 x 16.6 poles (Plant 2m, Bottom Attachement 14.6m) | ea |  | cost plus 10% |  |  |
| 4.3.457 | D-DT-7851s2 | Pole, 3-Pole Term Structure 0-90° 3 x 17.6 poles (Plant 2m, Bottom Attachement 15.6m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 2 on the following structures: |  |  |  |  |  |  |  |
| D-DT-7611 Intermediate / Suspension |  |  |  |  |  |  |  |
| 4.3.458 | D-DT-7850s3 | Pole, St 132kV Susp 20 m 23kN (Plant 2.6m, Bottom Att 13 m) | ea |  | cost plus 10% |  |  |
| 4.3.459 | D-DT-7850s3 | Pole, St 132kV Susp 21 m 23kN (Plant 2.7m, Bottom Att 13.9 m) | ea |  | cost plus 10% |  |  |
| 4.3.460 | D-DT-7850s3 | Pole, St 132kV Susp 22 m 23kN (Plant 2.8m, Bottom Att 14.8 m) | ea |  | cost plus 10% |  |  |
| 4.3.461 | D-DT-7850s3 | Pole, St 132kV Susp 22 m 23kN (Plant 2.9m, Bottom Att 15.7 m) | ea |  | cost plus 10% |  |  |
| 4.3.462 | D-DT-7850s3 | Pole, St 132kV Susp 22 m 23kN (Plant 3m, Bottom Att 16.6 m) | ea |  | cost plus 10% |  |  |
| D-DT-7615 Angle Strain 0 - 90º |  |  |  |  |  |  |  |
| 4.3.463 | D-DT-7851s3 | Pole, St 132kV Strain 0-90° 20 m (Bottom Attachement 13 m) | ea |  | cost plus 10% |  |  |
| 4.3.464 | D-DT-7851s3 | Pole, St 132kV Strain 0-90° 21 m (Bottom Attachement 14 m) | ea |  | cost plus 10% |  |  |
| 4.3.465 | D-DT-7851s3 | Pole, St 132kV Strain 0-90° 24 m (Bottom Attachement 17 m) | ea |  | cost plus 10% |  |  |
| 4.3.466 | D-DT-7851s3 | Pole, St 132kV Strain 0-90° 30 m (Bottom Attachement 23 m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 2 on the following structures: |  |  |  |  |  |  |  |
| D-DT-7618 3-Pole Strain Structure 0 - 90º |  |  |  |  |  |  |  |
| 4.3.467 | D-DT-7851s3 | Pole, 3-Pole Strain Structure 0-90° 2 x 8 m and 1 x 10 m poles (Plant 1.6m, Bottom Attachement 6.2 m) | ea |  | cost plus 10% |  |  |
| 4.3.468 | D-DT-7851s3 | Pole, 3-Pole Strain Structure 0-90° 2 x 9 m and 1 x 11 m poles (Plant 1.7m, Bottom Attachement 7.1 m) | ea |  | cost plus 10% |  |  |
| 4.3.469 | D-DT-7851s3 | Pole, 3-Pole Strain Structure 0-90° 2 x 10 m and 1 x 12 m poles (Plant 1.8m, Bottom Attachement 8 m) | ea |  | cost plus 10% |  |  |
| 4.3.470 | D-DT-7851s3 | Pole, 3-Pole Strain Structure 0-90° 2 x 11 m and 1 x 13 m poles (Plant 1.9m, Bottom Attachement 8.9 m) | ea |  | cost plus 10% |  |  |
| 4.3.471 | D-DT-7851s3 | Pole, 3-Pole Strain Structure 0-90° 2 x 12 m and 1 x 14 m poles (Plant 2m, Bottom Attachement 9.8m) | ea |  | cost plus 10% |  |  |
| 4.3.472 | D-DT-7851s3 | Pole, 3-Pole Strain Structure 0-90° 2 x 13 m and 1 x 15 m poles (Plant 2.1m, Bottom Attachement 10.7m) | ea |  | cost plus 10% |  |  |
| 4.3.473 | D-DT-7851s3 | Pole, 3-Pole Strain Structure 0-90° 2 x 14 m and 1 x 16 m poles (Plant 2.2m, Bottom Attachement 11.6m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 2 on the following structures: |  |  |  |  |  |  |  |
| D-DT-7618 3-Pole Strain Structure 0 - 90º cont |  |  |  |  |  |  |  |
| 4.3.474 | D-DT-7851s3 | Pole, 3-Pole Strain Structure 0-90° 2 x 15 m and 1 x 17 m poles (Plant 2.3m, Bottom Attachement 12.5m) | ea |  | cost plus 10% |  |  |
| 4.3.475 | D-DT-7851s3 | Pole, 3-Pole Strain Structure 0-90° 2 x 16 m and 1 x 18 m poles (Plant 2.4m, Bottom Attachement 13.4m) | ea |  | cost plus 10% |  |  |
| 4.3.476 | D-DT-7851s3 | Pole, 3-Pole Strain Structure 0-90° 2 x 17 m and 1 x 19 m poles (Plant 2.4m, Bottom Attachement 14.3m) | ea |  | cost plus 10% |  |  |
| 4.3.477 | D-DT-7851s3 | Pole, 3-Pole Strain Structure 0-90° 2 x 18 m and 1 x 20 m poles (Plant 2.6m, Bottom Attachement 15.2m) | ea |  | cost plus 10% |  |  |
| 4.3.478 | D-DT-7851s3 | Pole, 3-Pole Strain Structure 0-90° 2 x 19 m and 1 x 21 m poles (Plant 2.7m, Bottom Attachement 16.1m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| C.2 |  | Foundations Installation |  |  |  |  |  |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 3 on the following structures: |  |  |  |  |  |  |  |
| 2-WT-1213 3-Pole Terminal Structure |  |  |  |  |  |  |  |
| 4.3.479 | D-DT-7851s3 | Pole, 3-Pole Term Structure 0-90° 3 x 11.6 poles (Plant 2m, Bottom Attachement 9.6m) | ea |  | cost plus 10% |  |  |
| 4.3.480 | D-DT-7851s3 | Pole, 3-Pole Term Structure 0-90° 3 x 12.6 poles (Plant 2m, Bottom Attachement 10.6m) | ea |  | cost plus 10% |  |  |
| 4.3.481 | D-DT-7851s3 | Pole, 3-Pole Term Structure 0-90° 3 x 13.6 poles (Plant 2m, Bottom Attachement 11.6m) | ea |  | cost plus 10% |  |  |
| 4.3.482 | D-DT-7851s3 | Pole, 3-Pole Term Structure 0-90° 3 x 14.6 poles (Plant 2m, Bottom Attachement 12.6m) | ea |  | cost plus 10% |  |  |
| 4.3.483 | D-DT-7851s3 | Pole, 3-Pole Term Structure 0-90° 3 x 15.6 poles (Plant 2m, Bottom Attachement 13.6m) | ea |  | cost plus 10% |  |  |
| 4.3.484 | D-DT-7851s3 | Pole, 3-Pole Term Structure 0-90° 3 x 16.6 poles (Plant 2m, Bottom Attachement 14.6m) | ea |  | cost plus 10% |  |  |
| 4.3.485 | D-DT-7851s3 | Pole, 3-Pole Term Structure 0-90° 3 x 17.6 poles (Plant 2m, Bottom Attachement 15.6m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 3 on the following structures: |  |  |  |  |  |  |  |
| D-DT-7611 Intermediate / Suspension |  |  |  |  |  |  |  |
| 4.3.486 | D-DT-7850s4 | Pole, St 132kV Susp 20 m 23kN (Plant 2.6m, Bottom Att 13 m) | ea |  | cost plus 10% |  |  |
| 4.3.487 | D-DT-7850s4 | Pole, St 132kV Susp 21 m 23kN (Plant 2.7m, Bottom Att 13.9 m) | ea |  | cost plus 10% |  |  |
| 4.3.488 | D-DT-7850s4 | Pole, St 132kV Susp 22 m 23kN (Plant 2.8m, Bottom Att 14.8 m) | ea |  | cost plus 10% |  |  |
| 4.3.489 | D-DT-7850s4 | Pole, St 132kV Susp 22 m 23kN (Plant 2.9m, Bottom Att 15.7 m) | ea |  | cost plus 10% |  |  |
| 4.3.490 | D-DT-7850s4 | Pole, St 132kV Susp 22 m 23kN (Plant 3m, Bottom Att 16.6 m) | ea |  | cost plus 10% |  |  |
| D-DT-7615 Angle Strain 0 - 90º |  |  |  |  |  |  |  |
| 4.3.491 | D-DT-7851s4 | Pole, St 132kV Strain 0-90° 20 m(Bottom Attachement 13 m) | ea |  | cost plus 10% |  |  |
| 4.3.492 | D-DT-7851s4 | Pole, St 132kV Strain 0-90° 21 m (Bottom Attachement 14 m) | ea |  | cost plus 10% |  |  |
| 4.3.493 | D-DT-7851s4 | Pole, St 132kV Strain 0-90° 24 m (Bottom Attachement 17 m) | ea |  | cost plus 10% |  |  |
| 4.3.494 | D-DT-7851s4 | Pole, St 132kV Strain 0-90° 30 m (Bottom Attachement 23 m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 3 on the following structures: |  |  |  |  |  |  |  |
| D-DT-7618 3-Pole Strain Structure 0 - 90º |  |  |  |  |  |  |  |
| 4.3.495 | D-DT-7851s4 | Pole, 3-Pole Strain Structure 0-90° 2 x 8 m and 1 x 10 m poles (Plant 1.6m, Bottom Attachement 6.2 m) | ea |  | cost plus 10% |  |  |
| 4.3.496 | D-DT-7851s4 | Pole, 3-Pole Strain Structure 0-90° 2 x 9 m and 1 x 11 m poles (Plant 1.7m, Bottom Attachement 7.1 m) | ea |  | cost plus 10% |  |  |
| 4.3.497 | D-DT-7851s4 | Pole, 3-Pole Strain Structure 0-90° 2 x 10 m and 1 x 12 m poles (Plant 1.8m, Bottom Attachement 8 m) | ea |  | cost plus 10% |  |  |
| 4.3.498 | D-DT-7851s4 | Pole, 3-Pole Strain Structure 0-90° 2 x 11 m and 1 x 13 m poles (Plant 1.9m, Bottom Attachement 8.9 m) | ea |  | cost plus 10% |  |  |
| 4.3.499 | D-DT-7851s4 | Pole, 3-Pole Strain Structure 0-90° 2 x 12 m and 1 x 14 m poles (Plant 2m, Bottom Attachement 9.8m) | ea |  | cost plus 10% |  |  |
| 4.3.500 | D-DT-7851s4 | Pole, 3-Pole Strain Structure 0-90° 2 x 13 m and 1 x 15 m poles (Plant 2.1m, Bottom Attachement 10.7m) | ea |  | cost plus 10% |  |  |
| 4.3.501 | D-DT-7851s4 | Pole, 3-Pole Strain Structure 0-90° 2 x 14 m and 1 x 16 m poles (Plant 2.2m, Bottom Attachement 11.6m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 3 on the following structures: |  |  |  |  |  |  |  |
| D-DT-7618 3-Pole Strain Structure 0 - 90º cont |  |  |  |  |  |  |  |
| 4.3.502 | D-DT-7851s4 | Pole, 3-Pole Strain Structure 0-90° 2 x 15 m and 1 x 17 m poles (Plant 2.3m, Bottom Attachement 12.5m) | ea |  | cost plus 10% |  |  |
| 4.3.503 | D-DT-7851s4 | Pole, 3-Pole Strain Structure 0-90° 2 x 16 m and 1 x 18 m poles (Plant 2.4m, Bottom Attachement 13.4m) | ea |  | cost plus 10% |  |  |
| 4.3.504 | D-DT-7851s4 | Pole, 3-Pole Strain Structure 0-90° 2 x 17 m and 1 x 19 m poles (Plant 2.4m, Bottom Attachement 14.3m) | ea |  | cost plus 10% |  |  |
| 4.3.505 | D-DT-7851s4 | Pole, 3-Pole Strain Structure 0-90° 2 x 18 m and 1 x 20 m poles (Plant 2.6m, Bottom Attachement 15.2m) | ea |  | cost plus 10% |  |  |
| 4.3.506 | D-DT-7851s4 | Pole, 3-Pole Strain Structure 0-90° 2 x 19 m and 1 x 21 m poles (Plant 2.7m, Bottom Attachement 16.1m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 3 on the following structures: |  |  |  |  |  |  |  |
| 2-WT-1213 3-Pole Terminal Structure |  |  |  |  |  |  |  |
| 4.3.507 | D-DT-7851s4 | Pole, 3-Pole Term Structure 0-90° 3 x 11.6 poles (Plant 2m, Bottom Attachement 9.6m) | ea |  | cost plus 10% |  |  |
| 4.3.508 | D-DT-7851s4 | Pole, 3-Pole Term Structure 0-90° 3 x 12.6 poles (Plant 2m, Bottom Attachement 10.6m) | ea |  | cost plus 10% |  |  |
| 4.3.509 | D-DT-7851s4 | Pole, 3-Pole Term Structure 0-90° 3 x 13.6 poles (Plant 2m, Bottom Attachement 11.6m) | ea |  | cost plus 10% |  |  |
| 4.3.510 | D-DT-7851s4 | Pole, 3-Pole Term Structure 0-90° 3 x 14.6 poles (Plant 2m, Bottom Attachement 12.6m) | ea |  | cost plus 10% |  |  |
| 4.3.511 | D-DT-7851s4 | Pole, 3-Pole Term Structure 0-90° 3 x 15.6 poles (Plant 2m, Bottom Attachement 13.6m) | ea |  | cost plus 10% |  |  |
| 4.3.512 | D-DT-7851s4 | Pole, 3-Pole Term Structure 0-90° 3 x 16.6 poles (Plant 2m, Bottom Attachement 14.6m) | ea |  | cost plus 10% |  |  |
| 4.3.513 | D-DT-7851s4 | Pole, 3-Pole Term Structure 0-90° 3 x 17.6 poles (Plant 2m, Bottom Attachement 15.6m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 4 on the following structures: |  |  |  |  |  |  |  |
| D-DT-7611 Intermediate / Suspension |  |  |  |  |  |  |  |
| 4.3.514 | D-DT-7850s5 | Pole, St 132kV Susp 20 m 23kN (Plant 2.6m, Bottom Att 13 m) | ea |  | cost plus 10% |  |  |
| 4.3.515 | D-DT-7850s5 | Pole, St 132kV Susp 21 m 23kN (Plant 2.7m, Bottom Att 13.9 m) | ea |  | cost plus 10% |  |  |
| 4.3.516 | D-DT-7850s5 | Pole, St 132kV Susp 22 m 23kN (Plant 2.8m, Bottom Att 14.8 m) | ea |  | cost plus 10% |  |  |
| 4.3.517 | D-DT-7850s5 | Pole, St 132kV Susp 22 m 23kN (Plant 2.9m, Bottom Att 15.7 m) | ea |  | cost plus 10% |  |  |
| 4.3.518 | D-DT-7850s5 | Pole, St 132kV Susp 22 m 23kN (Plant 3m, Bottom Att 16.6 m) | ea |  | cost plus 10% |  |  |
| D-DT-7615 Angle Strain 0 - 90º |  |  |  |  |  |  |  |
| 4.3.519 | D-DT-7851s5 | Pole, St 132kV Strain 0-90° 20 m (Bottom Attachement 13 m) | ea |  | cost plus 10% |  |  |
| 4.3.520 | D-DT-7851s5 | Pole, St 132kV Strain 0-90° 21 m (Bottom Attachement 14 m) | ea |  | cost plus 10% |  |  |
| 4.3.521 | D-DT-7851s5 | Pole, St 132kV Strain 0-90° 24 m (Bottom Attachement 17 m) | ea |  | cost plus 10% |  |  |
| 4.3.522 | D-DT-7851s5 | Pole, St 132kV Strain 0-90° 30 m (Bottom Attachement 23 m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 4 on the following structures: |  |  |  |  |  |  |  |
| D-DT-7618 3-Pole Strain Structure 0 - 90º |  |  |  |  |  |  |  |
| 4.3.523 | D-DT-7851s5 | Pole, 3-Pole Strain Structure 0-90° 2 x 8 m and 1 x 10 m poles (Plant 1.6m, Bottom Attachement 6.2 m) | ea |  | cost plus 10% |  |  |
| 4.3.524 | D-DT-7851s5 | Pole, 3-Pole Strain Structure 0-90° 2 x 9 m and 1 x 11 m poles (Plant 1.7m, Bottom Attachement 7.1 m) | ea |  | cost plus 10% |  |  |
| 4.3.525 | D-DT-7851s5 | Pole, 3-Pole Strain Structure 0-90° 2 x 10 m and 1 x 12 m poles (Plant 1.8m, Bottom Attachement 8 m) | ea |  | cost plus 10% |  |  |
| 4.3.526 | D-DT-7851s5 | Pole, 3-Pole Strain Structure 0-90° 2 x 11 m and 1 x 13 m poles (Plant 1.9m, Bottom Attachement 8.9 m) | ea |  | cost plus 10% |  |  |
| 4.3.527 | D-DT-7851s5 | Pole, 3-Pole Strain Structure 0-90° 2 x 12 m and 1 x 14 m poles (Plant 2m, Bottom Attachement 9.8m) | ea |  | cost plus 10% |  |  |
| 4.3.528 | D-DT-7851s5 | Pole, 3-Pole Strain Structure 0-90° 2 x 13 m and 1 x 15 m poles (Plant 2.1m, Bottom Attachement 10.7m) | ea |  | cost plus 10% |  |  |
| 4.3.529 | D-DT-7851s5 | Pole, 3-Pole Strain Structure 0-90° 2 x 14 m and 1 x 16 m poles (Plant 2.2m, Bottom Attachement 11.6m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 4 on the following structures: |  |  |  |  |  |  |  |
| D-DT-7618 3-Pole Strain Structure 0 - 90º cont |  |  |  |  |  |  |  |
| 4.3.530 | D-DT-7851s5 | Pole, 3-Pole Strain Structure 0-90° 2 x 15 m and 1 x 17 m poles (Plant 2.3m, Bottom Attachement 12.5m) | ea |  | cost plus 10% |  |  |
| 4.3.531 | D-DT-7851s5 | Pole, 3-Pole Strain Structure 0-90° 2 x 16 m and 1 x 18 m poles (Plant 2.4m, Bottom Attachement 13.4m) | ea |  | cost plus 10% |  |  |
| 4.3.532 | D-DT-7851s5 | Pole, 3-Pole Strain Structure 0-90°2 x 17 m and 1 x 19 m poles(Plant 2.4m, Bottom Attachement 14.3m) | ea |  | cost plus 10% |  |  |
| 4.3.533 | D-DT-7851s5 | Pole, 3-Pole Strain Structure 0-90° 2 x 18 m and 1 x 20 m poles (Plant 2.6m, Bottom Attachement 15.2m) | ea |  | cost plus 10% |  |  |
| 4.3.534 | D-DT-7851s5 | Pole, 3-Pole Strain Structure 0-90° 2 x 19 m and 1 x 21 m poles (Plant 2.7m, Bottom Attachement 16.1m) | ea |  | cost plus 10% |  |  |
| 2-WT-1213 3-Pole Terminal Structure |  |  |  |  |  |  |  |
| 4.3.535 | D-DT-7851s5 | Pole, 3-Pole Term Structure 0-90° 3 x 11.6 poles (Plant 2m, Bottom Attachement 9.6m) | ea |  | cost plus 10% |  |  |
| 4.3.536 | D-DT-7851s5 | Pole, 3-Pole Term Structure 0-90° 3 x 12.6 poles (Plant 2m, Bottom Attachement 10.6m) | ea |  | cost plus 10% |  |  |
| 4.3.537 | D-DT-7851s5 | Pole, 3-Pole Term Structure 0-90° 3 x 13.6 poles (Plant 2m, Bottom Attachement 11.6m) | ea |  | cost plus 10% |  |  |
| 4.3.538 | D-DT-7851s5 | Pole, 3-Pole Term Structure 0-90° 3 x 14.6 poles (Plant 2m, Bottom Attachement 12.6m) | ea |  | cost plus 10% |  |  |
| 4.3.539 | D-DT-7851s5 | Pole, 3-Pole Term Structure 0-90° 3 x 15.6 poles (Plant 2m, Bottom Attachement 13.6m) | ea |  | cost plus 10% |  |  |
| 4.3.540 | D-DT-7851s5 | Pole, 3-Pole Term Structure 0-90° 3 x 16.6 poles (Plant 2m, Bottom Attachement 14.6m) | ea |  | cost plus 10% |  |  |
| 4.3.541 | D-DT-7851s5 | Pole, 3-Pole Term Structure 0-90° 3 x 17.6 poles (Plant 2m, Bottom Attachement 15.6m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil SOFT ROCK on the following structures: |  |  |  |  |  |  |  |
| D-DT-7611 Intermediate / Suspension |  |  |  |  |  |  |  |
| 4.3.542 | D-DT-7850s1 | Pole, St 132kV Susp 20 m 23kN (Plant 2.6m, Bottom Att 13 m) | ea |  | cost plus 10% |  |  |
| 4.3.543 | D-DT-7850s1 | Pole, St 132kV Susp 21 m 23kN (Plant 2.7m, Bottom Att 13.9 m) | ea |  | cost plus 10% |  |  |
| 4.3.544 | D-DT-7850s1 | Pole, St 132kV Susp 22 m 23kN (Plant 2.8m, Bottom Att 14.8 m) | ea |  | cost plus 10% |  |  |
| 4.3.545 | D-DT-7850s1 | Pole, St 132kV Susp 22 m 23kN (Plant 2.9m, Bottom Att 15.7 m) | ea |  | cost plus 10% |  |  |
| 4.3.546 | D-DT-7850s1 | Pole, St 132kV Susp 22 m 23kN (Plant 3m, Bottom Att 16.6 m) | ea |  | cost plus 10% |  |  |
| D-DT-7615 Angle Strain 0 - 90º |  |  |  |  |  |  |  |
| 4.3.547 | D-DT-7851s1 | Pole, St 132kV Strain 0-90° 20 m (Bottom Attachement 13 m) | ea |  |  |  |  |
| 4.3.548 | D-DT-7851s1 | Pole, St 132kV Strain 0-90° 21 m (Bottom Attachement 14 m) | ea |  |  |  |  |
| 4.3.549 | D-DT-7851s1 | Pole, St 132kV Strain 0-90° 24 m (Bottom Attachement 17 m) | ea |  |  |  |  |
| 4.3.550 | D-DT-7851s1 | Pole, St 132kV Strain 0-90° 30 m (Bottom Attachement 23 m) | ea |  |  |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil SOFT ROCK on the following structures: |  |  |  |  |  |  |  |
| D-DT-7618 3-Pole Strain Structure 0 - 90º |  |  |  |  |  |  |  |
| 4.3.551 | D-DT-7851s1 | Pole, 3-Pole Strain Structure 0-90° 2 x 8 m and 1 x 10 m poles (Plant 1.6m, Bottom Attachement 6.2 m) | ea |  | cost plus 10% |  |  |
| 4.3.552 | D-DT-7851s1 | Pole, 3-Pole Strain Structure 0-90° 2 x 9 m and 1 x 11 m poles (Plant 1.7m, Bottom Attachement 7.1 m) | ea |  | cost plus 10% |  |  |
| 4.3.553 | D-DT-7851s1 | Pole, 3-Pole Strain Structure 0-90° 2 x 10 m and 1 x 12 m poles (Plant 1.8m, Bottom Attachement 8 m) | ea |  | cost plus 10% |  |  |
| 4.3.554 | D-DT-7851s1 | Pole, 3-Pole Strain Structure 0-90° 2 x 11 m and 1 x 13 m poles (Plant 1.9m, Bottom Attachement 8.9 m) | ea |  | cost plus 10% |  |  |
| 4.3.555 | D-DT-7851s1 | Pole, 3-Pole Strain Structure 0-90° 2 x 12 m and 1 x 14 m poles (Plant 2m, Bottom Attachement 9.8m) | ea |  | cost plus 10% |  |  |
| 4.3.556 | D-DT-7851s1 | Pole, 3-Pole Strain Structure 0-90° 2 x 13 m and 1 x 15 m poles (Plant 2.1m, Bottom Attachement 10.7m) | ea |  | cost plus 10% |  |  |
| 4.3.557 | D-DT-7851s1 | Pole, 3-Pole Strain Structure 0-90° 2 x 14 m and 1 x 16 m poles (Plant 2.2m, Bottom Attachement 11.6m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil SOFT ROCK on the following structures: |  |  |  |  |  |  |  |
| D-DT-7618 3-Pole Strain Structure 0 - 90º cont |  |  |  |  |  |  |  |
| 4.3.558 | D-DT-7851s1 | Pole, 3-Pole Strain Structure 0-90° 2 x 15 m and 1 x 17 m poles (Plant 2.3m, Bottom Attachement 12.5m) | ea |  | cost plus 10% |  |  |
| 4.3.559 | D-DT-7851s1 | Pole, 3-Pole Strain Structure 0-90° 2 x 16 m and 1 x 18 m poles (Plant 2.4m, Bottom Attachement 13.4m) | ea |  | cost plus 10% |  |  |
| 4.3.560 | D-DT-7851s1 | Pole, 3-Pole Strain Structure 0-90° 2 x 17 m and 1 x 19 m poles (Plant 2.4m, Bottom Attachement 14.3m) | ea |  | cost plus 10% |  |  |
| 4.3.561 | D-DT-7851s1 | Pole, 3-Pole Strain Structure 0-90° 2 x 18 m and 1 x 20 m poles (Plant 2.6m, Bottom Attachement 15.2m) | ea |  | cost plus 10% |  |  |
| 4.3.562 | D-DT-7851s1 | Pole, 3-Pole Strain Structure 0-90° 2 x 19 m and 1 x 21 m poles (Plant 2.7m, Bottom Attachement 16.1m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil SOFT ROCK on the following structures: |  |  |  |  |  |  |  |
| 2-WT-1213 3-Pole Terminal Structure |  |  |  |  |  |  |  |
| 4.3.563 | D-DT-7851s1 | Pole, 3-Pole Term Structure 0-90° 3 x 11.6 poles (Plant 2m, Bottom Attachement 9.6m) | ea |  | cost plus 10% |  |  |
| 4.3.564 | D-DT-7851s1 | Pole, 3-Pole Term Structure 0-90° 3 x 12.6 poles (Plant 2m, Bottom Attachement 10.6m) | ea |  | cost plus 10% |  |  |
| 4.3.565 | D-DT-7851s1 | Pole, 3-Pole Term Structure 0-90° 3 x 13.6 poles (Plant 2m, Bottom Attachement 11.6m) | ea |  | cost plus 10% |  |  |
| 4.3.566 | D-DT-7851s1 | Pole, 3-Pole Term Structure 0-90° 3 x 14.6 poles (Plant 2m, Bottom Attachement 12.6m) | ea |  | cost plus 10% |  |  |
| 4.3.567 | D-DT-7851s1 | Pole, 3-Pole Term Structure 0-90° 3 x 15.6 poles (Plant 2m, Bottom Attachement 13.6m) | ea |  | cost plus 10% |  |  |
| 4.3.568 | D-DT-7851s1 | Pole, 3-Pole Term Structure 0-90° 3 x 16.6 poles (Plant 2m, Bottom Attachement 14.6m) | ea |  | cost plus 10% |  |  |
| 4.3.569 | D-DT-7851s1 | Pole, 3-Pole Term Structure 0-90° 3 x 17.6 poles (Plant 2m, Bottom Attachement 15.6m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil HARD ROCK on the following structures: |  |  |  |  |  |  |  |
| D-DT-7611 Intermediate / Suspension |  |  |  |  |  |  |  |
| 4.3.570 | D-DT-7850s1 | Pole, St 132kV Susp 20 m 23kN (Plant 2.6m, Bottom Att 13 m) | ea |  | cost plus 10% |  |  |
| 4.3.571 | D-DT-7850s1 | Pole, St 132kV Susp 21 m 23kN (Plant 2.7m, Bottom Att 13.9 m) | ea |  | cost plus 10% |  |  |
| 4.3.572 | D-DT-7850s1 | Pole, St 132kV Susp 22 m 23kN (Plant 2.8m, Bottom Att 14.8 m) | ea |  | cost plus 10% |  |  |
| 4.3.573 | D-DT-7850s1 | Pole, St 132kV Susp 22 m 23kN (Plant 2.9m, Bottom Att 15.7 m) | ea |  | cost plus 10% |  |  |
| 4.3.574 | D-DT-7850s1 | Pole, St 132kV Susp 22 m 23kN (Plant 3m, Bottom Att 16.6 m) | ea |  | cost plus 10% |  |  |
| D-DT-7615 Angle Strain 0 - 90º |  |  |  |  |  |  |  |
| 4.3.575 | D-DT-7851s1 | Pole, St 132kV Strain 0-90° 20 m (Bottom Attachement 13 m) | ea |  | cost plus 10% |  |  |
| 4.3.576 | D-DT-7851s1 | Pole, St 132kV Strain 0-90° 21 m (Bottom Attachement 14 m) | ea |  | cost plus 10% |  |  |
| 4.3.577 | D-DT-7851s1 | Pole, St 132kV Strain 0-90° 24 m (Bottom Attachement 17 m) | ea |  | cost plus 10% |  |  |
| 4.3.578 | D-DT-7851s1 | Pole, St 132kV Strain 0-90° 30 m (Bottom Attachement 23 m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil HARD ROCK on the following structures: |  |  |  |  |  |  |  |
| D-DT-7618 3-Pole Strain Structure 0 - 90º |  |  |  |  |  |  |  |
| 4.3.579 | D-DT-7851s1 | Pole, 3-Pole Strain Structure 0-90° 2 x 8 m and 1 x 10 m poles (Plant 1.6m, Bottom Attachement 6.2 m) | ea |  | cost plus 10% |  |  |
| 4.3.580 | D-DT-7851s1 | Pole, 3-Pole Strain Structure 0-90° 2 x 9 m and 1 x 11 m poles (Plant 1.7m, Bottom Attachement 7.1 m) | ea |  | cost plus 10% |  |  |
| 4.3.581 | D-DT-7851s1 | Pole, 3-Pole Strain Structure 0-90° 2 x 10 m and 1 x 12 m poles (Plant 1.8m, Bottom Attachement 8 m) | ea |  | cost plus 10% |  |  |
| 4.3.582 | D-DT-7851s1 | Pole, 3-Pole Strain Structure 0-90° 2 x 11 m and 1 x 13 m poles (Plant 1.9m, Bottom Attachement 8.9 m) | ea |  | cost plus 10% |  |  |
| 4.3.583 | D-DT-7851s1 | Pole, 3-Pole Strain Structure 0-90° 2 x 12 m and 1 x 14 m poles (Plant 2m, Bottom Attachement 9.8m) | ea |  | cost plus 10% |  |  |
| 4.3.584 | D-DT-7851s1 | Pole, 3-Pole Strain Structure 0-90° 2 x 13 m and 1 x 15 m poles (Plant 2.1m, Bottom Attachement 10.7m) | ea |  | cost plus 10% |  |  |
| 4.3.585 | D-DT-7851s1 | Pole, 3-Pole Strain Structure 0-90° 2 x 14 m and 1 x 16 m poles (Plant 2.2m, Bottom Attachement 11.6m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil HARD ROCK on the following structures: |  |  |  |  |  |  |  |
| D-DT-7618 3-Pole Strain Structure 0 - 90º cont |  |  |  |  |  |  |  |
| 4.3.586 | D-DT-7851s1 | Pole, 3-Pole Strain Structure 0-90° 2 x 15 m and 1 x 17 m poles (Plant 2.3m, Bottom Attachement 12.5m) | ea |  | cost plus 10% |  |  |
| 4.3.587 | D-DT-7851s1 | Pole, 3-Pole Strain Structure 0-90° 2 x 16 m and 1 x 18 m poles (Plant 2.4m, Bottom Attachement 13.4m) | ea |  | cost plus 10% |  |  |
| 4.3.588 | D-DT-7851s1 | Pole, 3-Pole Strain Structure 0-90° 2 x 17 m and 1 x 19 m poles (Plant 2.4m, Bottom Attachement 14.3m) | ea |  | cost plus 10% |  |  |
| 4.3.589 | D-DT-7851s1 | Pole, 3-Pole Strain Structure 0-90° 2 x 18 m and 1 x 20 m poles (Plant 2.6m, Bottom Attachement 15.2m) | ea |  | cost plus 10% |  |  |
| 4.3.590 | D-DT-7851s1 | Pole, 3-Pole Strain Structure 0-90° 2 x 19 m and 1 x 21 m poles (Plant 2.7m, Bottom Attachement 16.1m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil HARD ROCK on the following structures: |  |  |  |  |  |  |  |
| 2-WT-1213 3-Pole Terminal Structure |  |  |  |  |  |  |  |
| 4.3.591 | D-DT-7851s1 | Pole, 3-Pole Term Structure 0-90° 3 x 11.6 poles (Plant 2m, Bottom Attachement 9.6m) | ea |  | cost plus 10% |  |  |
| 4.3.592 | D-DT-7851s1 | Pole, 3-Pole Term Structure 0-90° 3 x 12.6 poles (Plant 2m, Bottom Attachement 10.6m) | ea |  | cost plus 10% |  |  |
| 4.3.593 | D-DT-7851s1 | Pole, 3-Pole Term Structure 0-90° 3 x 13.6 poles (Plant 2m, Bottom Attachement 11.6m) | ea |  | cost plus 10% |  |  |
| 4.3.594 | D-DT-7851s1 | Pole, 3-Pole Term Structure 0-90° 3 x 14.6 poles (Plant 2m, Bottom Attachement 12.6m) | ea |  | cost plus 10% |  |  |
| 4.3.595 | D-DT-7851s1 | Pole, 3-Pole Term Structure 0-90° 3 x 15.6 poles (Plant 2m, Bottom Attachement 13.6m) | ea |  | cost plus 10% |  |  |
| 4.3.596 | D-DT-7851s1 | Pole, 3-Pole Term Structure 0-90° 3 x 16.6 poles (Plant 2m, Bottom Attachement 14.6m) | ea |  | cost plus 10% |  |  |
| 4.3.597 | D-DT-7851s1 | Pole, 3-Pole Term Structure 0-90° 3 x 17.6 poles (Plant 2m, Bottom Attachement 15.6m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Chikadee / Kingbird Single Circuit H-Pole Structure - Foundations D-DT-7800 H-Pole Intermediate Structure 8m X-arm D-DT-7801 H-Pole Structure 8m X-Arm In-Line Strain 0-70kN Range D-DT-7802 H-Pole Structure 8m X-Arm In-Line Strain 70-120kN Range D-DT-7807 H-Pole Structure 8m X-Arm Terminal 0-70kN Range D-DT-7808 H-Pole Structure 8m X-Arm Terminal 70-120kN Range D-DT-7810 H-Pole Intermediate Structure 10m X-Arm D-DT-7811 H-Pole Structure 10m X-Arm In-Line Strain 0-70kN Range D-DT-7812 H-Pole Structure 10m X-Arm In-Line Strain 70-120kN Range D-DT-7817 H-Pole Structure 10m X-Arm Terminal 0-70kN Range D-DT-7818 H-Pole Structure 10m X-Arm Terminal 70-120kN Range |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 1 on the following structures: |  |  |  |  |  |  |  |
| D-DT-7800 H-Pole Intermediate Structure 8m X-arm, D-DT-7810 H-Pole Intermediate Structure 10m X-Arm |  |  |  |  |  |  |  |
| 4.3.598 | D-DT-7850s2 | Pole, H-Pole Intermediate Freestanding Structure 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2.1m, Conductor Attachement 9.2m) | ea |  | cost plus 10% |  |  |
| 4.3.599 | D-DT-7850s2 | Pole, H-Pole Intermediate Freestanding Structure 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2.2m, Conductor Attachement 10.1m) | ea |  | cost plus 10% |  |  |
| 4.3.600 | D-DT-7850s2 | Pole, H-Pole Intermediate Freestanding Structure 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2.3m, Conductor Attachement 11.0m) | ea |  | cost plus 10% |  |  |
| 4.3.601 | D-DT-7850s2 | Pole, H-Pole Intermediate Freestanding Structure 2 x 18.2 m poles and 8m or 10m crossarm (Plant 2.4m, Conductor Attachement 12.0m) | ea |  | cost plus 10% |  |  |
| 4.3.602 | D-DT-7850s2 | Pole, H-Pole Intermediate Freestanding Structure 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2.5m, Conductor Attachement 12.9m) | ea |  | cost plus 10% |  |  |
| 4.3.603 | D-DT-7850s2 | Pole, H-Pole Intermediate Freestanding Structure 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2.6m, Conductor Attachement 13.7m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 1 on the following structures: |  |  |  |  |  |  |  |
| D-DT-7801 H-Pole Inline Strain Structure 8m X-arm 0-70kN, D-DT-7802 H-Pole Inline Strain Structure 8m X-arm 70-120kN, D-DT-7811 H-Pole Intermediate Structure 10m X-Arm 0-70kN D-DT-7812 H-Pole Intermediate Structure 10m X-Arm 70-120kN |  |  |  |  |  |  |  |
| 4.3.604 | D-DT-7851s2 | Pole, In-Line Strain 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 10.6m) | ea |  | cost plus 10% |  |  |
| 4.3.605 | D-DT-7851s2 | Pole, In-Line Strain 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  | cost plus 10% |  |  |
| 4.3.606 | D-DT-7851s2 | Pole, In-Line Strain 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  | cost plus 10% |  |  |
| 4.3.607 | D-DT-7851s2 | Pole, In-Line Strain 2 x 18.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  | cost plus 10% |  |  |
| 4.3.608 | D-DT-7851s2 | Pole, In-Line Strain2 x 19.2 m poles and 8m or 10m crossarm(Plant 2m, Bottom Attachement 14.7m) | ea |  | cost plus 10% |  |  |
| 4.3.609 | D-DT-7851s2 | Pole, In-Line Strain 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 15.6m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 1 on the following structures: |  |  |  |  |  |  |  |
| D-DT-7807 H-Pole Structure 8m X-Arm Terminal 0-70kN Range D-DT-7808 H-Pole Structure 8m X-Arm Terminal 70-120kN Range D-DT-7817 H-Pole Structure 10m X-Arm Terminal 0-70kN Range D-DT-7818 H-Pole Structure 10m X-Arm Terminal 70-120kN Range |  |  |  |  |  |  |  |
| 4.3.610 | D-DT-7851s2 | Pole, H-Pole Term Structure 0-90° 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 10.6m) | ea |  | cost plus 10% |  |  |
| 4.3.611 | D-DT-7851s2 | Pole, H-Pole Term Structure 0-90° 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  | cost plus 10% |  |  |
| 4.3.612 | D-DT-7851s2 | Pole, H-Pole Term Structure 0-90° 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  | cost plus 10% |  |  |
| 4.3.613 | D-DT-7851s2 | Pole, H-Pole Term Structure 0-90° 2 x 18.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  | cost plus 10% |  |  |
| 4.3.614 | D-DT-7851s2 | Pole, H-Pole Term Structure 0-90° 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 14.7m) | ea |  | cost plus 10% |  |  |
| 4.3.615 | D-DT-7851s2 | Pole, H-Pole Term Structure 0-90° 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 15.6m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 2 on the following structures: |  |  |  |  |  |  |  |
| D-DT-7800 H-Pole Intermediate Structure 8m X-arm, D-DT-7810 H-Pole Intermediate Structure 10m X-Arm |  |  |  |  |  |  |  |
| 4.3.616 | D-DT-7850s3 | Pole, H-Pole Intermediate Freestanding Structure 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2.1m, Conductor Attachement 9.2m) | ea |  | cost plus 10% |  |  |
| 4.3.617 | D-DT-7850s3 | Pole, H-Pole Intermediate Freestanding Structure 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2.2m, Conductor Attachement 10.1m) | ea |  | cost plus 10% |  |  |
| 4.3.618 | D-DT-7850s3 | Pole, H-Pole Intermediate Freestanding Structure 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2.3m, Conductor Attachement 11.0m) | ea |  | cost plus 10% |  |  |
| 4.3.619 | D-DT-7850s3 | Pole, H-Pole Intermediate Freestanding Structure 2 x 18.2 m poles and 8m or 10m crossarm (Plant 2.4m, Conductor Attachement 12.0m) | ea |  | cost plus 10% |  |  |
| 4.3.620 | D-DT-7850s3 | Pole, H-Pole Intermediate Freestanding Structure 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2.5m, Conductor Attachement 12.9m) | ea |  | cost plus 10% |  |  |
| 4.3.621 | D-DT-7850s3 | Pole, H-Pole Intermediate Freestanding Structure 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2.6m, Conductor Attachement 13.7m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 2 on the following structures: |  |  |  |  |  |  |  |
| D-DT-7801 H-Pole Structure 8m X-Arm In-Line Strain 0-70kN Range D-DT-7802 H-Pole Structure 8m X-Arm In-Line Strain 70-120kN Range D-DT-7811 H-Pole Structure 10m X-Arm In-Line Strain 0-70kN Range D-DT-7812 H-Pole Structure 10m X-Arm In-Line Strain 70-120kN Range |  |  |  |  |  |  |  |
| 4.3.622 | D-DT-7851s3 | Pole, In-Line Strain 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 10.6m) | ea |  | cost plus 10% |  |  |
| 4.3.623 | D-DT-7851s3 | Pole, In-Line Strain 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  | cost plus 10% |  |  |
| 4.3.624 | D-DT-7851s3 | Pole, In-Line Strain 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  | cost plus 10% |  |  |
| 4.3.625 | D-DT-7851s3 | Pole, In-Line Strain 2 x 18.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  | cost plus 10% |  |  |
| 4.3.626 | D-DT-7851s3 | Pole, In-Line Strain 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 14.7m) | ea |  | cost plus 10% |  |  |
| 4.3.627 | D-DT-7851s3 | Pole, In-Line Strain 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 15.6m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 2 on the following structures: |  |  |  |  |  |  |  |
| D-DT-7807 H-Pole Structure 8m X-Arm Terminal 0-120kN Range D-DT-7808 H-Pole Structure 8m X-Arm Terminal 70-120kN Range D-DT-7817 H-Pole Structure 10m X-Arm Terminal 0-70kN Range D-DT-7818 H-Pole Structure 10m X-Arm Terminal 70-120kN Range |  |  |  |  |  |  |  |
| 4.3.628 | D-DT-7851s3 | Pole, H-Pole Term Structure 0-90° 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 10.6m) | ea |  | cost plus 10% |  |  |
| 4.3.629 | D-DT-7851s3 | Pole, H-Pole Term Structure 0-90° 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  | cost plus 10% |  |  |
| 4.3.630 | D-DT-7851s3 | Pole, H-Pole Term Structure 0-90° 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  | cost plus 10% |  |  |
| 4.3.631 | D-DT-7851s3 | Pole, H-Pole Term Structure 0-90° 2 x 18.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  | cost plus 10% |  |  |
| 4.3.632 | D-DT-7851s3 | Pole, H-Pole Term Structure 0-90° 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 14.7m) | ea |  | cost plus 10% |  |  |
| 4.3.633 | D-DT-7851s3 | Pole, H-Pole Term Structure 0-90° 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 15.6m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 3 on the following structures: |  |  |  |  |  |  |  |
| D-DT-7800 H-Pole Intermediate Structure 8m X-arm, D-DT-7810 H-Pole Intermediate Structure 10m X-Arm |  |  |  |  |  |  |  |
| 4.3.634 | D-DT-7850s4 | Pole, H-Pole Intermediate Freestanding Structure 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2.1m, Conductor Attachement 9.2m) | ea |  | cost plus 10% |  |  |
| 4.3.635 | D-DT-7850s4 | Pole, H-Pole Intermediate Freestanding Structure 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2.2m, Conductor Attachement 10.1m) | ea |  | cost plus 10% |  |  |
| 4.3.636 | D-DT-7850s4 | Pole, H-Pole Intermediate Freestanding Structure 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2.3m, Conductor Attachement 11.0m) | ea |  | cost plus 10% |  |  |
| 4.3.637 | D-DT-7850s4 | Pole, H-Pole Intermediate Freestanding Structure 2 x 18.2 m poles and 8m or 10m crossarm (Plant 2.4m, Conductor Attachement 12.0m) | ea |  | cost plus 10% |  |  |
| 4.3.638 | D-DT-7850s4 | Pole, H-Pole Intermediate Freestanding Structure 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2.5m, Conductor Attachement 12.9m) | ea |  | cost plus 10% |  |  |
| 4.3.639 | D-DT-7850s4 | Pole, H-Pole Intermediate Freestanding Structure 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2.6m, Conductor Attachement 13.7m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 3 on the following structures: |  |  |  |  |  |  |  |
| D-DT-7801 H-Pole Structure 8m X-Arm In-Line Strain 0-70kN Range D-DT-7802 H-Pole Structure 8m X-Arm In-Line Strain 70-120kN Range D-DT-7811 H-Pole Structure 10m X-Arm In-Line Strain 0-70kN Range D-DT-7812 H-Pole Structure 10m X-Arm In-Line Strain 70-120kN Range |  |  |  |  |  |  |  |
| 4.3.640 | D-DT-7851s4 | Pole, In-Line Strain2 x 15.1 m poles and 8m or 10m crossarm(Plant 2m, Bottom Attachement 10.6m) | ea |  | cost plus 10% |  |  |
| 4.3.641 | D-DT-7851s4 | Pole, In-Line Strain 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  | cost plus 10% |  |  |
| 4.3.642 | D-DT-7851s4 | Pole, In-Line Strain 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  | cost plus 10% |  |  |
| 4.3.643 | D-DT-7851s4 | Pole, In-Line Strain 2 x 18.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  | cost plus 10% |  |  |
| 4.3.644 | D-DT-7851s4 | Pole, In-Line Strain 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 14.7m) | ea |  | cost plus 10% |  |  |
| 4.3.645 | D-DT-7851s4 | Pole, In-Line Strain 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 15.6m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 3 on the following structures: |  |  |  |  |  |  |  |
| D-DT-7807 H-Pole Structure 8m X-Arm Terminal 0-120kN Range D-DT-7808 H-Pole Structure 8m X-Arm Terminal 70-120kN Range D-DT-7817 H-Pole Structure 10m X-Arm Terminal 0-70kN Range D-DT-7818 H-Pole Structure 10m X-Arm Terminal 70-120kN Range |  |  |  |  |  |  |  |
| 4.3.646 | D-DT-7851s4 | Pole, H-Pole Term Structure 0-90° 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 10.6m) | ea |  | cost plus 10% |  |  |
| 4.3.647 | D-DT-7851s4 | Pole, H-Pole Term Structure 0-90° 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  | cost plus 10% |  |  |
| 4.3.648 | D-DT-7851s4 | Pole, H-Pole Term Structure 0-90° 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  | cost plus 10% |  |  |
| 4.3.649 | D-DT-7851s4 | Pole, H-Pole Term Structure 0-90° 2 x 18.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  | cost plus 10% |  |  |
| 4.3.650 | D-DT-7851s4 | Pole, H-Pole Term Structure 0-90° 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 14.7m) | ea |  | cost plus 10% |  |  |
| 4.3.651 | D-DT-7851s4 | Pole, H-Pole Term Structure 0-90° 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 15.6m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 4 on the following structures: |  |  |  |  |  |  |  |
| D-DT-7800 H-Pole Intermediate Structure 8m X-arm, D-DT-7810 H-Pole Intermediate Structure 10m X-Arm |  |  |  |  |  |  |  |
| 4.3.652 | D-DT-7850s5 | Pole, H-Pole Intermediate Freestanding Structure 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2.1m, Conductor Attachement 9.2m) | ea |  | cost plus 10% |  |  |
| 4.3.653 | D-DT-7850s5 | Pole, H-Pole Intermediate Freestanding Structure 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2.2m, Conductor Attachement 10.1m) | ea |  | cost plus 10% |  |  |
| 4.3.654 | D-DT-7850s5 | Pole, H-Pole Intermediate Freestanding Structure 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2.3m, Conductor Attachement 11.0m) | ea |  | cost plus 10% |  |  |
| 4.3.655 | D-DT-7850s5 | Pole, H-Pole Intermediate Freestanding Structure 2 x 18.1 m poles and 8m or 10m crossarm (Plant 2.4m, Conductor Attachement 12.0m) | ea |  | cost plus 10% |  |  |
| 4.3.656 | D-DT-7850s5 | Pole, H-Pole Intermediate Freestanding Structure 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2.5m, Conductor Attachement 12.9m) | ea |  | cost plus 10% |  |  |
| 4.3.657 | D-DT-7850s5 | Pole, H-Pole Intermediate Freestanding Structure 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2.6m, Conductor Attachement 13.7m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 4 on the following structures: |  |  |  |  |  |  |  |
| D-DT-7801 H-Pole Structure 8m X-Arm In-Line Strain 0-70kN Range D-DT-7802 H-Pole Structure 8m X-Arm In-Line Strain 70-120kN Range D-DT-7811 H-Pole Structure 10m X-Arm In-Line Strain 0-70kN Range D-DT-7812 H-Pole Structure 10m X-Arm In-Line Strain 70-120kN Range |  |  |  |  |  |  |  |
| 4.3.658 | D-DT-7851s5 | Pole, In-Line Strain 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 10.6m) | ea |  | cost plus 10% |  |  |
| 4.3.659 | D-DT-7851s5 | Pole, In-Line Strain 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  | cost plus 10% |  |  |
| 4.3.660 | D-DT-7851s5 | Pole, In-Line Strain 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  | cost plus 10% |  |  |
| 4.3.661 | D-DT-7851s5 | Pole, In-Line Strain 2 x 18.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  | cost plus 10% |  |  |
| 4.3.662 | D-DT-7851s5 | Pole, In-Line Strain 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 14.7m) | ea |  | cost plus 10% |  |  |
| 4.3.663 | D-DT-7851s5 | Pole, In-Line Strain 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 15.6m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil TYPE 4 on the following structures: |  |  |  |  |  |  |  |
| D-DT-7807 H-Pole Structure 8m X-Arm Terminal 0-120kN Range D-DT-7808 H-Pole Structure 8m X-Arm Terminal 70-120kN Range D-DT-7817 H-Pole Structure 10m X-Arm Terminal 0-70kN Range D-DT-7818 H-Pole Structure 10m X-Arm Terminal 70-120kN Range |  |  |  |  |  |  |  |
| 4.3.664 | D-DT-7851s5 | Pole, H-Pole Term Structure 0-90° 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 10.6m) | ea |  | cost plus 10% |  |  |
| 4.3.665 | D-DT-7851s5 | Pole, H-Pole Term Structure 0-90° 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  | cost plus 10% |  |  |
| 4.3.666 | D-DT-7851s5 | Pole, H-Pole Term Structure 0-90° 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  | cost plus 10% |  |  |
| 4.3.667 | D-DT-7851s5 | Pole, H-Pole Term Structure 0-90° 2 x 18.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  | cost plus 10% |  |  |
| 4.3.668 | D-DT-7851s5 | Pole, H-Pole Term Structure 0-90° 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 14.7m) | ea |  | cost plus 10% |  |  |
| 4.3.669 | D-DT-7851s5 | Pole, H-Pole Term Structure 0-90° 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 15.6m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit |  | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil SOFT ROCK on the following structures: |  |  |  |  |  |  |  |
| D-DT-7800 H-Pole Intermediate Structure 8m X-arm, D-DT-7810 H-Pole Intermediate Structure 10m X-Arm |  |  |  |  |  |  |  |
| 4.3.670 | D-DT-7850s1 | Pole, H-Pole Intermediate Freestanding Structure 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2.1m, Conductor Attachement 9.2m) | ea |  | cost plus 10% |  |  |
| 4.3.671 | D-DT-7850s1 | Pole, H-Pole Intermediate Freestanding Structure 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2.2m, Conductor Attachement 10.1m) | ea |  | cost plus 10% |  |  |
| 4.3.672 | D-DT-7850s1 | Pole, H-Pole Intermediate Freestanding Structure 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2.3m, Conductor Attachement 11.0m) | ea |  | cost plus 10% |  |  |
| 4.3.673 | D-DT-7850s1 | Pole, H-Pole Intermediate Freestanding Structure 2 x 18.2 m poles and 8m or 10m crossarm (Plant 2.4m, Conductor Attachement 12.0m) | ea |  | cost plus 10% |  |  |
| 4.3.674 | D-DT-7850s1 | Pole, H-Pole Intermediate Freestanding Structure 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2.5m, Conductor Attachement 12.9m) | ea |  | cost plus 10% |  |  |
| 4.3.675 | D-DT-7850s1 | Pole, H-Pole Intermediate Freestanding Structure 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2.6m, Conductor Attachement 13.7m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil SOFT ROCK on the following structures: |  |  |  |  |  |  |  |
| D-DT-7801 H-Pole Structure 8m X-Arm In-Line Strain 0-70kN RangeD-DT-7802 H-Pole Structure 8m X-Arm In-Line Strain 70-120kN RangeD-DT-7811 H-Pole Structure 10m X-Arm In-Line Strain 0-70kN RangeD-DT-7812 H-Pole Structure 10m X-Arm In-Line Strain 70-120kN Range |  |  |  |  |  |  |  |
| 4.3.676 | D-DT-7851s1 | Pole, In-Line Strain 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 10.6m) | ea |  | cost plus 10% |  |  |
| 4.3.677 | D-DT-7851s1 | Pole, In-Line Strain 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  | cost plus 10% |  |  |
| 4.3.678 | D-DT-7851s1 | Pole, In-Line Strain 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  | cost plus 10% |  |  |
| 4.3.679 | D-DT-7851s1 | Pole, In-Line Strain 2 x 18.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  | cost plus 10% |  |  |
| 4.3.680 | D-DT-7851s1 | Pole, In-Line Strain 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 14.7m) | ea |  | cost plus 10% |  |  |
| 4.3.681 | D-DT-7851s1 | Pole, In-Line Strain 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 15.6m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit |  | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil SOFT ROCK on the following structures: |  |  |  |  |  |  |  |
| D-DT-7807 H-Pole Structure 8m X-Arm Terminal 0-120kN Range D-DT-7808 H-Pole Structure 8m X-Arm Terminal 70-120kN Range D-DT-7817 H-Pole Structure 10m X-Arm Terminal 0-70kN Range D-DT-7818 H-Pole Structure 10m X-Arm Terminal 70-120kN Range |  |  |  |  |  |  |  |
| 4.3.682 | D-DT-7851s1 | Pole, H-Pole Term Structure 0-90° 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 10.6m) | ea |  | cost plus 10% |  |  |
| 4.3.683 | D-DT-7851s1 | Pole, H-Pole Term Structure 0-90° 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  | cost plus 10% |  |  |
| 4.3.684 | D-DT-7851s1 | Pole, H-Pole Term Structure 0-90° 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  | cost plus 10% |  |  |
| 4.3.685 | D-DT-7851s1 | Pole, H-Pole Term Structure 0-90° 2 x 18.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  | cost plus 10% |  |  |
| 4.3.686 | D-DT-7851s1 | Pole, H-Pole Term Structure 0-90° 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 14.7m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil HARD ROCK on the following structures: |  |  |  |  |  |  |  |
| D-DT-7800 H-Pole Intermediate Structure 8m X-arm, D-DT-7810 H-Pole Intermediate Structure 10m X-Arm |  |  |  |  |  |  |  |
| 4.3.687 | D-DT-7850s1 | Pole, H-Pole Intermediate Freestanding Structure 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2.1m, Conductor Attachement 9.2m) | ea |  | cost plus 10% |  |  |
| 4.3.688 | D-DT-7850s1 | Pole, H-Pole Intermediate Freestanding Structure 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2.2m, Conductor Attachement 10.1m) | ea |  | cost plus 10% |  |  |
| 4.3.689 | D-DT-7850s1 | Pole, H-Pole Intermediate Freestanding Structure 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2.3m, Conductor Attachement 11.0m) | ea |  | cost plus 10% |  |  |
| 4.3.690 | D-DT-7850s1 | Pole, H-Pole Intermediate Freestanding Structure 2 x 18.2 m poles and 8m or 10m crossarm (Plant 2.4m, Conductor Attachement 12.0m) | ea |  | cost plus 10% |  |  |
| 4.3.691 | D-DT-7850s1 | Pole, H-Pole Intermediate Freestanding Structure 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2.5m, Conductor Attachement 12.9m) | ea |  | cost plus 10% |  |  |
| 4.3.692 | D-DT-7850s1 | Pole, H-Pole Intermediate Freestanding Structure 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2.6m, Conductor Attachement 13.7m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil HARD ROCK on the following structures: |  |  |  |  |  |  |  |
| D-DT-7801 H-Pole Structure 8m X-Arm In-Line Strain 0-70kN Range D-DT-7802 H-Pole Structure 8m X-Arm In-Line Strain 70-120kN Range D-DT-7811 H-Pole Structure 10m X-Arm In-Line Strain 0-70kN Range D-DT-7812 H-Pole Structure 10m X-Arm In-Line Strain 70-120kN Range |  |  |  |  |  |  |  |
| 4.3.693 | D-DT-7851s1 | Pole, In-Line Strain 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 10.6m) | ea |  | cost plus 10% |  |  |
| 4.3.694 | D-DT-7851s1 | Pole, In-Line Strain 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  | cost plus 10% |  |  |
| 4.3.695 | D-DT-7851s1 | Pole, In-Line Strain 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  | cost plus 10% |  |  |
| 4.3.696 | D-DT-7851s1 | Pole, In-Line Strain 2 x 18.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  | cost plus 10% |  |  |
| 4.3.697 | D-DT-7851s1 | Pole, In-Line Strain 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 14.7m) | ea |  | cost plus 10% |  |  |
| 4.3.698 | D-DT-7851s1 | Pole, In-Line Strain 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 15.6m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, transport to pole position imported material, supply and install complete foundations for soil HARD ROCK on the following structures: |  |  |  |  |  |  |  |
| D-DT-7807 H-Pole Structure 8m X-Arm Terminal 0-120kN Range D-DT-7808 H-Pole Structure 8m X-Arm Terminal 70-120kN Range D-DT-7817 H-Pole Structure 10m X-Arm Terminal 0-70kN Range D-DT-7818 H-Pole Structure 10m X-Arm Terminal 70-120kN Range |  |  |  |  |  |  |  |
| 4.3.699 | D-DT-7851s1 | Pole, H-Pole Term Structure 0-90° 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 10.6m) | ea |  | cost plus 10% |  |  |
| 4.3.700 | D-DT-7851s1 | Pole, H-Pole Term Structure 0-90° 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  | cost plus 10% |  |  |
| 4.3.701 | D-DT-7851s1 | Pole, H-Pole Term Structure 0-90° 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  | cost plus 10% |  |  |
| 4.3.702 | D-DT-7851s1 | Pole, H-Pole Term Structure 0-90° 2 x 18.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  | cost plus 10% |  |  |
| 4.3.703 | D-DT-7851s1 | Pole, H-Pole Term Structure 0-90° 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 14.7m) | ea |  | cost plus 10% |  |  |
| 4.3 | Foundation Installation Continue: VOLUME 3 PART 2 - Activity Stage 4.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Extra-over Items for C.1: (Rates are only for the excavation of the foundations - contracor must specify the method of construction) |  |  |  |  |  |  |  |
| 4.3.704 |  | Intermediate material excavation | m3 |  |  |  |  |
| 4.3.705 |  | Hard Rock excavation | m3 |  |  |  |  |
| 4.3.706 |  | Boulder excavation - Class A | m3 |  |  |  |  |
| 4.3.707 |  | [ | m3 |  |  |  |  |
| 5.4 | Stay Rod & Foundations Design or Verification: VOLUME 3 PART 2 - Activity Stage 5.4 |  |  |  |  |  |  |
| The appointment of a professional civil engineer will be the responsibility of the contractor and will be paid by the contractor - costs must be included in the tender. Foundation designs are provided for all possible soil types but needs to be verified and approved by a Prof Civil Engineer for each installation. Should the contractor wish to construct a foundation of a different design, all design drawings will be submitted to Eskom for acceptance. The contractor will accept full responsibility for these designs. Eskom will not pay for these designs unless the submitted Eskom designs cannot be used due to prevailing site conditions. This decision will be taken by the Engineer. Foundation designs for all structures shall be in accordance with 0501KR-01 rev 1, 240-47172520 (TRMSCAAC5) and SCSASABK8 by a registered professional in each type of soil (type 1, 2, 3, 4 soft rock and hard rock). Designs to be Eskom Copyright. |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 5.4.1 | D-DT-7325s2 | Design of the stay anchor for 19/2.65 1100MPa steel wire to 115kN. | ea |  |  |  |  |
| Verification of stay foundation to 115kN: |  |  |  |  |  |  |  |
| 5.4.2 | D-DT-7325 | Foundation for 19/2.65 1100MPa steel wire in Type 1 soil | ea |  |  |  |  |
| 5.4.3 |  | Foundation for 19/2.65 1100MPa steel wire in Type 2 soil | ea |  |  |  |  |
| 5.4.4 |  | Foundation for 19/2.65 1100MPa steel wire in Type 3 soil | ea |  |  |  |  |
| 5.4.5 |  | Foundation for 19/2.65 1100MPa steel wire in Type 4 soil | ea |  |  |  |  |
| 5.4.6 |  | Foundation for 19/2.65 1100MPa steel wire in Rock | ea |  |  |  |  |
| Note Stay rod / anchors is part of the foundation material and must be supplied by the contractor The stay rod / anchors must be verified by the civil engineer accoding to the stay foundation design. |  |  |  |  |  |  |  |
| 5.4.7 | 2-WT/1288 | Design of the stay anchor for 16mm 1400MPa wire rope to 215kN. | ea |  |  |  |  |
| Verification of stay foundation to 215kN: |  |  |  |  |  |  |  |
| 5.4.8 | 0.69/GS1/ T230/T1 | Foundation for 16mm wire 1400MPa rope in Type 1 soil | ea |  |  |  |  |
| 5.4.9 | 0.69/GS1/ T230/T2 | Foundation for 16mm wire 1400MPa rope in Type 2 soil | ea |  |  |  |  |
| 5.4.10 | 0.69/GS1/ T230/T3 | Foundation for 16mm wire 1400MPa rope in Type 3 soil | ea |  |  |  |  |
| 5.4.11 | 0.69/GS1/ T230/T4 | Foundation for 16mm wire 1400MPa rope in Type 4 soil | ea |  |  |  |  |
| 5.4.12 | 0.69/GS1/ T230/SR | Foundation for 16mm wire 1400MPa rope in Soft Rock | ea |  |  |  |  |
| 5.4.13 | 0.69/GS1/ T230/HR | Foundation for 16mm wire 1400MPa rope in Hard Rock | ea |  |  |  |  |
| 5.4 | Stay Rod & Foundations Design or Verification cont: VOLUME 3 PART 2 - Activity Stage 5.4 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Note Stay rod / anchors is part of the foundation material and must be supplied by the contractor The stay rod / anchors must be verified by the civil engineer accoding to the stay foundation design. |  |  |  |  |  |  |  |
| 5.4.14 | 2-WT/1299 | Design of the stay anchor for 19mm 1400MPa wire rope to 272kN. | ea |  |  |  |  |
| Verification of stay foundation to 272kN: |  |  |  |  |  |  |  |
| 5.4.15 |  |  |  |  |  |  |  |
| 5.4.16 |  |  |  |  |  |  |  |
| 5.4.17 |  |  |  |  |  |  |  |
| 5.4.18 |  |  |  |  |  |  |  |
| 5.4.19 |  |  |  |  |  |  |  |
| 5.5 |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| The appointment of a profesional civil engineer will be the responsibility of the contractor and will be will be paid by the contractor - costs must be included in the tender. Geo-Tech nominations must be verified by a profesional Civil Engineer for the stays at each structure and the approved foundation must be installed for each stay. Excavate, barricade, supply and transport to each stay position the anchor and imported/foundation material, dispose excavated material, supply, and install complete stay foundation based on the geo-tech nomination at the structures: The stay rod/anchor is part of the foundation material. All foundation material must be supplied by the contractor and the costs must be included in the tender. The stay rod / anchors must be verified by the civil engineer accoding to the stay foundation design. Contractor invoices must be for the installed foundation based on the geo-tech soil nomination which is verified by the civil engineer. |  |  |  |  |  |  |  |
| Installation of 115kN stay rod and foundations: |  |  |  |  |  |  |  |
| 5.5.7 | D-DT-7235 | Excavate and transport imported material, barricade and dispose of excavated material, supply & install complete stay rod and foundation for type 1 soil. | ea |  | cost plus 10% |  |  |
| 5.5.8 |  | Excavate and transport imported material, barricade and dispose of excavated material, supply & install complete stay rod and foundation for type 2 soil. | ea |  | cost plus 10% |  |  |
| 5.5.9 |  | Excavate and transport imported material, barricade and dispose of excavated material, supply & install complete stay rod and foundationfor type 3 soil. | ea |  | cost plus 10% |  |  |
| 5.5.10 |  | Excavate and transport imported material, barricade and dispose of excavated material, supply & install complete stay rod and foundation for type 4 soil. | ea |  | cost plus 10% |  |  |
| 5.5.11 |  | Excavate and transport imported material, barricade and dispose of excavated material, supply & install complete stay rod and foundation for Rock type. | ea |  | cost plus 10% |  |  |
| Installation of 115kN temporary stay foundations or anchors: |  |  |  |  |  |  |  |
| 5.5.12 |  | Excavate and transport imported material, barricade and dispose of excavated material install complete temporary stay rod and foundattion for temporary stays | ea |  | cost plus 10% |  |  |
| Proof Load Testing of 115kN Stays: Contractor to do proof load test on every stay according to table V2.15 on page number of Volume 2. |  |  |  |  |  |  |  |
| 5.5.13 |  | Contractor to supply proof loading equipment cerificate to the Project Engineer 2 weeks after contract award. | ea |  |  |  |  |
| 5.5.14 |  | Proof load testing of 115kN stay rod in foundation installation. | ea |  |  |  |  |
| 5.5.15 |  | Compile and submission of all "Proof Load Test" records to the Employer | ea |  |  |  |  |
| 5.5 | Stay Rod and Foundation Installation cont: VOLUME 3 PART 2 - Activity Stage 5.5 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Installation of 215kN stay rod and foundations: |  |  |  |  |  |  |  |
| 5.5.16 | 0.69/GS1/ T230/T1 | Excavate and transport imported material, barricade and dispose of excavated material & install complete stay rod and foundation for type 1 soil. | ea |  | cost plus 10% |  |  |
| 5.5.17 | 0.69/GS1/ T230/T2 | Excavate and transport imported material, barricade and dispose of excavated material & install complete stay rod and foundation for type 2 soil. | ea |  | cost plus 10% |  |  |
| 5.5.18 | 0.69/GS1/ T230/T3 | Excavate and transport imported material, barricade and dispose of excavated material & install complete stay rod and foundation for type 3 soil. | ea |  | cost plus 10% |  |  |
| 5.5.19 | 0.69/GS1/ T230/T4 | Excavate and transport imported material, barricade and dispose of excavated material, supply & install complete stay rod and foundation for type 4 soil. | ea |  | cost plus 10% |  |  |
| 5.5.20 | 0.69/GS1/ T230/SR | Excavate and transport imported material, barricade and dispose of excavated material & install complete stay rod and foundation for soft Rock type. | ea |  | cost plus 10% |  |  |
| 5.5.21 | 0.69/GS1/ T230/HR | Excavate and transport imported material, barricade and dispose of excavated material & install complete stay rod and foundation for hard Rock type. | ea |  | cost plus 10% |  |  |
| 5.5 | Stay Rod and Foundation Installation cont: VOLUME 3 PART 2 - Activity Stage 5.5 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Temporary Stays: 16mm 1400MPa 215kN Steel Rope Stay rod and assemblies: |  |  |  |  |  |  |  |
| 5.5.22 |  | Excavate and transport imported material, barricade and dispose of excavated material install complete temporary stay rod and foundattion for temporary stays | ea |  | cost plus 10% |  |  |
| Proof Load Testing of 215kN Stays: Contractor to do proof load test on every stay according to table V2.15 on page number of Volume 2. |  |  |  |  |  |  |  |
| 5.5.23 |  | Contractor to supply proof loading equipment cerificate to the Project Engineer 2 weeks after contract award. | ea |  |  |  |  |
| 5.5.24 |  | Proof load testing of 215kN stay rod in foundation installation. | ea |  |  |  |  |
| 5.5.25 |  | Compile and submission of all "Proof Load Test" records to the Employer | ea |  |  |  |  |
| 5.5 | Stay Rod and Foundation Installation cont: VOLUME 3 PART 2 - Activity Stage 5.5 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Installation of 272kN stay rod and foundations: |  |  |  |  |  |  |  |
| 5.5.26 | DvT 1004-03 | Excavate and transport imported material, barricade and dispose of excavated material & install complete stay rod and foundation for type 1 soil. | ea |  | cost plus 10% |  |  |
| 5.5.27 | DvT 1004-03 | Excavate and transport imported material, barricade and dispose of excavated material & install complete stay rod and foundation for type 2 soil. | ea |  | cost plus 10% |  |  |
| 5.5.28 | DvT 1004-03 | Excavate and transport imported material, barricade and dispose of excavated material & install complete stay rod and foundation for type 3 soil. | ea |  | cost plus 10% |  |  |
| 5.5.29 | DvT 1004-03 | Excavate and transport imported material, barricade and dispose of excavated material, supply & install complete stay rod and foundation for type 4 soil. | ea |  | cost plus 10% |  |  |
| 5.5.30 | DvT 1004-04 | Excavate and transport imported material, barricade and dispose of excavated material & install complete stay rod and foundation for Hard Rock type. | ea |  | cost plus 10% |  |  |
| 5.5 | Stay Rod and Foundation Installation cont: VOLUME 3 PART 2 - Activity Stage 5.5 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Temporary Stays: 19mm 1400MPa 272kN Steel Rope Stay rod and assemblies: |  |  |  |  |  |  |  |
| 5.5.31 |  | Excavate and transport imported material, barricade and dispose of excavated material install complete temporary stay rod and foundattion for temporary stays | ea |  | cost plus 10% |  |  |
| Proof Load Testing of 272kN Stays: Contractor to do proof load test on every stay according to table V2.15 on page number of Volume 2. |  |  |  |  |  |  |  |
| 5.5.32 |  | Contractor to supply proof loading equipment cerificate to the Project Engineer 2 weeks after contract award. |  |  |  |  |  |
| 5.5.33 |  | Proof load testing of 272kN stay rod in foundation installation. |  |  |  |  |  |
| 5.5.34 |  | Compile and submission of all "Proof Load Test" records to the Employer |  |  |  |  |  |
| 5.6 | Barricading/Protecting of all open excavations: VOLUME 3 PART 2 - Activity Stage 5.6 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Provide, barricade, transport to excavation and install barricade for all excavated areas: |  |  |  |  |  |  |  |
| 5.6.1 |  | Barricading/Protecting of all open excavations for structure foundations | ea |  | cost plus 10% |  |  |
| 5.6.2 |  | Barricading/Protecting of all open excavations for permanent and temporary stays | ea |  | cost plus 10% |  |  |
| Activity Stage 5: Assembly and Erection of Power Line Structures |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 5.7 | Assembly and erection of all structures: VOLUME 3 PART 2 - Activity Stage 5.1, 5.2 & 5.3 |  |  |  |  |  |  |
| Include costs for safe stock-piling/ storage before transportation to pole / structure position. Transport to tower/pole position, assemble and erect the steel poles and lattice structures at specified positions. |  |  |  |  |  |  |  |
| Intermediate Suspension Lattice Structures 247 A |  |  |  |  |  |  |  |
| 5.7.1 | 247A | 247A 0 degree suspension structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 5.7.2 | 247A | Stubs for variation of legg lengths due to ground levels - 247A 0 degree suspension structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 5.7.3 | 247A | 247A 0 degree suspension structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 5.7.4 | 247A | Stubs for variation of legg lengths due to ground levels - 247A 0 degree suspension structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 5.7.5 | 247A | 247A 0 degree suspension structure, 132kV lattice steel. 18.1m CAH | ea |  |  |  |  |
| 5.7.6 | 247A | Stubs for variation of legg lengths due to ground levels - 247A 0 degree suspension structure, 132kV lattice steel. 18.1m CAH | ea |  |  |  |  |
| 5.7.7 | 247A | 247A 0 degree suspension structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 5.7.8 | 247A | Stubs for variation of legg lengths due to ground levels - 247A 0 degree suspension structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 5.7 | Assembly and erection of all structures: VOLUME 3 PART 2 - Activity Stage 5.1, 5.2 & 5.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Include costs for safe stock-piling/ storage before transportation to pole / structure position.Transport to tower/pole position, assemble and erect the steel poles and lattice structures at specified positions. |  |  |  |  |  |  |  |
| 0-30 degree Strain Lattice Structures 247B |  |  |  |  |  |  |  |
| 5.7.9 | 247B | 247B 0-40 degree strain structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 5.7.10 | 247B | Stubs for variation of legg lengths due to ground levels - 247B 0-40 degree strain structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 5.7.11 | 247B | 247B 0-40 degree strain structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 5.7.12 | 247B | Stubs for variation of legg lengths due to ground levels - 247B 0-40 degree strain structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 5.7.13 | 247B | 247B 0-40 degree strain structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 5.7.14 | 247B | Stubs for variation of legg lengths due to ground levels - 247B 0-40 degree strain structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 5.7 | Assembly and erection of all structures: VOLUME 3 PART 2 - Activity Stage 5.1, 5.2 & 5.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Include costs for safe stock-piling/ storage before transportation to pole / structure position. Transport to tower/pole position, assemble and erect the steel poles and lattice structures at specified positions. |  |  |  |  |  |  |  |
| 40-90 degree Strain Lattice Structures 247C |  |  |  |  |  |  |  |
| 5.7.15 | 247C | 247C 40-90 degree strain structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 5.7.16 | 247C | Stubs for variation of legg lengths due to ground levels - 247C 40-90 degree strain structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 5.7.17 | 247C | 247C 40-90 degree strain structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 5.7.18 | 247C | Stubs for variation of legg lengths due to ground levels - 247C 40-90 degree strain structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 5.7.19 | 247C | 247C 40-90 degree strain structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 5.7.20 | 247C | Stubs for variation of legg lengths due to ground levels - 247C 40-90 degree strain structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 0-40 degree Terminal Lattice Structures 247C |  |  |  |  |  |  |  |
| 5.7.21 | 247C terminal | 247C 0-40 degree terminal structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 5.7.22 | 247C terminal | Stubs for variation of legg lengths due to ground levels - 247C 0-40 degree terminal structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 5.7 | Assembly and erection of all structures: VOLUME 3 PART 2 - Activity Stage 5.1, 5.2 & 5.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Include costs for safe stock-piling/ storage before transportation to pole / structure position. Transport to tower/pole position, assemble and erect the steel poles and lattice structures at specified positions. |  |  |  |  |  |  |  |
| 258C Intermediate Suspension Braced Double Circuit Structures |  |  |  |  |  |  |  |
| 5.7.23 | 258C | Structure 258C Intermediate 0⁰ H-Structure 132kV Twin Tern 20m (Bottom Attachment 11.2m) | ea |  |  |  |  |
| 5.7.24 | 258C | Structure 258C Intermediate 0⁰ H-Structure 132kV Twin Tern 22m (Bottom Attachment 13.2m) | ea |  |  |  |  |
| 5.7.25 | 258C | Structure 258C Intermediate 0⁰ H-Structure 132kV Twin Tern 24m (Bottom Attachment 15.2m) | ea |  |  |  |  |
| 5.7 | Assembly and erection of all structures: VOLUME 3 PART 2 - Activity Stage 5.1, 5.2 & 5.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Include costs for safe stock-piling/ storage before transportation to pole / structure position. Transport to tower/pole position, assemble and erect the steel poles and lattice structures at specified positions. |  |  |  |  |  |  |  |
| 2-WT/15049 Intermediate 0 - 2º Suspension Mono-Pole Double Circuit Structures |  |  |  |  |  |  |  |
| 5.7.26 | 2-ET/15049 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 20m (Plant 2.6m - Bottom Attachement 10.5m) | ea |  |  |  |  |
| 5.7.27 | 2-ET/15049 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 22m (Plant 2.8m - Bottom Attachement 12.4m) | ea |  |  |  |  |
| 5.7.28 | 2-ET/15049 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 24m (Plant 3m - Bottom Attachement 14.2m) | ea |  |  |  |  |
| 5.7.29 | 2-ET/15049 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 26m (Plant 3.2m - Bottom Attachement 16.0m) | ea |  |  |  |  |
| 5.7.30 | 2-ET/15049 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 28m (Plant 3.4m - Bottom Attachement 17.8m) | ea |  |  |  |  |
| 5.7.31 | 2-ET/15049 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 30m (Plant 3.6m - Bottom Attachement 19.6m) | ea |  |  |  |  |
| 5.7 | Assembly and erection of all structures: VOLUME 3 PART 2 - Activity Stage 5.1, 5.2 & 5.3 |  |  |  |  |  |  |
| Twin Kingbird/Bersfort Single Circuit Mono-Pole Structures 2-WT/1294 Intermediate 0 - 2º Suspension 2-WT/1295 Strain 2º - 90º 2-WT/1296 Angle Strain 3-Pole 2º-90º 2-WT/1297 3-Pole Terminal 2-WT/1298 Inline Strain |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Include costs for safe stock-piling/ storage before transportation to pole / structure position. Transport to tower/pole position, assemble and erect the steel poles and lattice structures at specified positions. |  |  |  |  |  |  |  |
| 2-WT/1294 Intermediate 0 - 2º Suspension |  |  |  |  |  |  |  |
| 5.7.32 | 2-WT/1294 | Pole, St 132kV Susp 21m | ea |  |  |  |  |
| 5.7.33 |  | Pole, St 132kV Susp 22m | ea |  |  |  |  |
| 5.7.34 |  | Pole, St 132kV Susp 23m | ea |  |  |  |  |
| 5.7.35 |  | Pole, St 132kV Susp 24m | ea |  |  |  |  |
| 5.7.36 |  | Pole, St 132kV Susp 25m | ea |  |  |  |  |
| 5.7.37 |  | Pole, St 132kV Susp 26m | ea |  |  |  |  |
| 5.7.38 |  | Pole, St 132kV Susp 29m | ea |  |  |  |  |
| 2-WT/1295 Strain 2º - 90º |  |  |  |  |  |  |  |
| 5.7.39 | 2-WT/1295 | Pole, St 132kV Angle Strain (0°-90°) 20m | ea |  |  |  |  |
| 5.7.40 |  | Pole, St 132kV Angle Strain (0°-90°) 22m | ea |  |  |  |  |
| 5.7.41 |  | Pole, St 132kV Angle Strain (0°-90°) 23m | ea |  |  |  |  |
| 5.7.42 |  | Pole, St 132kV Angle Strain (0°-90°) 24m | ea |  |  |  |  |
| 5.7.43 |  | Pole, St 132kV Angle Strain (0°-90°) 28m | ea |  |  |  |  |
| 5.7.44 |  | Pole, St 132kV Angle Strain (0°-90°) 30m | ea |  |  |  |  |
| 2-WT/1296 Angle Strain 3-Pole 2º-90º |  |  |  |  |  |  |  |
| 5.7.45 | 2-WT/1296 | 3- Pole, St 132kV Strain 11.1m (2 x 11.1m & 1 x 9.1m) | ea |  |  |  |  |
| 5.7.46 |  | 3- Pole, St 132kV Strain 13.1m (2 x 13.1m & 1 x 11.1m) | ea |  |  |  |  |
| 5.7.47 |  | 3- Pole, St 132kV Strain 14m (2 x 14.1m & 1 x 12.1m) | ea |  |  |  |  |
| 5.7.48 |  | 3- Pole, St 132kV Strain 16.1m (2 x 16.1m & 1 x 14.1m) | ea |  |  |  |  |
| 2-WT/1297 3-Pole Terminal |  |  |  |  |  |  |  |
| 5.7.49 | 2-WT/1297 | 3- Pole Term St 132kV 14m (Include 3 poles of 14m long) | ea |  |  |  |  |
| 5.7.50 |  | 3- Pole Term St 132kV 16m (Include 3 poles of 16m long) | ea |  |  |  |  |
| 5.7 | Assembly and erection of all structures: VOLUME 3 PART 2 - Activity Stage 5.1, 5.2 & 5.3 |  |  |  |  |  |  |
| Bersfort Single Circuit Mono-Pole Guided Structures 2-WT/1281 Guided Braced Intermediate / Suspension 2-WT/1284 Angle Strain 0 - 90º 2-WT/1285 Guided Inline Strain 3-Pole Structure 0 - 5º 2-WT/1286 Guided Inline Strain 3-Pole Structure 5 - 90º |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Include costs for safe stock-piling/ storage before transportation to pole / structure position. Transport to tower/pole position, assemble and erect the steel poles and lattice structures at specified positions. |  |  |  |  |  |  |  |
| 2-WT/1281 Guided Braced Intermediate / Suspension |  |  |  |  |  |  |  |
| 5.7.51 | 2-WT/1281 | Pole , St 132kV Guyed Susp 16.1m Bottom Attachment 10.7) | ea |  |  |  |  |
| 5.7.52 |  | Pole , St 132kV Guyed Susp 18.2m Bottom Attachment 12.8) | ea |  |  |  |  |
| 5.7.53 |  | Pole , St 132kV Guyed Susp 21.2m Bottom Attachment 15.8) | ea |  |  |  |  |
| 5.7.54 |  | Pole, St 132kV Guyed Susp 24.2m (Bottom Attachment 18.8) | ea |  |  |  |  |
| 2-WT/1284 Angle Strain 0 - 90º |  |  |  |  |  |  |  |
| 5.7.55 | 2-WT/1284 | Pole, St 132kV Guyed Angle Strain (0°-90°) 18.2m (Bottom Attachement 11.2m) | ea |  |  |  |  |
| 5.7.56 |  | Pole, St 132kV Guyed Angle Strain (0°-90°) 21.2m (Bottom Attachement 14.2m) | ea |  |  |  |  |
| 5.7.57 |  | Pole, St 132kV Guyed Angle Strain (0°-90°) 24.2m (Bottom Attachement 17.2m) | ea |  |  |  |  |
| 5.7 | Assembly and erection of all structures: VOLUME 3 PART 2 - Activity Stage 5.1, 5.2 & 5.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Include costs for safe stock-piling/ storage before transportation to pole / structure position. Transport to tower/pole position, assemble and erect the steel poles and lattice structures at specified positions. |  |  |  |  |  |  |  |
| 2-WT/1285 Guided Inline Strain 3-Pole Structure 0 - 5º |  |  |  |  |  |  |  |
| 5.7.58 | 2-WT/1285 | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 11.1m (includes 3 poles) (Bottom Attachment 9.6m) | ea |  |  |  |  |
| 5.7.59 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 16.1m (includes 3 poles) (Bottom Attachment 14.6m) | ea |  |  |  |  |
| 5.7.60 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 18.2m (includes 3 poles) (Bottom Attachment 16.7m) | ea |  |  |  |  |
| 5.7.61 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 21.2m (includes 3 poles) (Bottom Attachment 19.7m) | ea |  |  |  |  |
| 5.7.62 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 24.2m (includes 3 poles) (Bottom Attachment 22.7) | ea |  |  |  |  |
| 5.7 | Assembly and erection of all structures: VOLUME 3 PART 2 - Activity Stage 5.1, 5.2 & 5.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| C |  | Line Construction |  |  |  |  |  |
| C.3 |  | Assembly and Erection of Structures |  |  |  |  |  |
| Include costs for safe stock-piling/ storage before transportation to pole / structure position. Transport to tower/pole position, assemble and erect the steel poles and lattice structures at specified positions. |  |  |  |  |  |  |  |
| 2-WT/1286 Guided Strain 3-Pole Structure 5 - 90º |  |  |  |  |  |  |  |
| 5.7.63 | 2-WT/1286 | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 11.1m (includes 3 poles) (Bottom Attachment 9.6m) | ea |  |  |  |  |
| 5.7.64 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 16.1m (includes 3 poles) (Bottom Attachment 14.6m) | ea |  |  |  |  |
| 5.7.65 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 18.2m (includes 3 poles) (Bottom Attachment 16.7m) | ea |  |  |  |  |
| 5.7.66 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 21.2m (includes 3 poles) (Bottom Attachment 19.7m) | ea |  |  |  |  |
| 5.7.67 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 24.2m (includes 3 poles) (Bottom Attachment 22.7) | ea |  |  |  |  |
| 5.7 | Assembly and erection of all structures: VOLUME 3 PART 2 - Activity Stage 5.1, 5.2 & 5.3 |  |  |  |  |  |  |
| Chikadee / Kingbird Single Circuit Mono-Pole Structures D-DT-7611 Intermediate / Suspension D-DT-7615 Angle Strain 0 - 90º D-DT-7618 3-Pole Strain Structure 0 - 90º 2-WT/1213 3-Pole Terminal Structure 0 - 90º |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Include costs for safe stock-piling/ storage before transportation to pole / structure position. Transport to tower/pole position, assemble and erect the steel poles and lattice structures at specified positions. |  |  |  |  |  |  |  |
| D-DT-7611 Intermediate / Suspension |  |  |  |  |  |  |  |
| 5.7.68 | D-DT-7611 | Pole, St 132kV Susp 20 m 23kN (Plant 2.6m, Bottom Att 13 m) | ea |  |  |  |  |
| 5.7.69 | D-DT-7611 | Pole, St 132kV Susp 21 m 23kN (Plant 2.7m, Bottom Att 13.9 m) | ea |  |  |  |  |
| 5.7.70 | D-DT-7611 | Pole, St 132kV Susp 22 m 23kN (Plant 2.8m, Bottom Att 14.8 m) | ea |  |  |  |  |
| 5.7.71 | D-DT-7611 | Pole, St 132kV Susp 22 m 23kN (Plant 2.9m, Bottom Att 15.7 m) | ea |  |  |  |  |
| 5.7.72 | D-DT-7611 | Pole, St 132kV Susp 22 m 23kN (Plant 3m, Bottom Att 16.6 m) | ea |  |  |  |  |
| D-DT-7615 Angle Strain 0 - 90º |  |  |  |  |  |  |  |
| 5.7.73 | D-DT-7615 | Pole, St 132kV Strain 0-90° 20 m (Bottom Attachement 13 m) | ea |  |  |  |  |
| 5.7.74 | D-DT-7615 | Pole, St 132kV Strain 0-90° 21 m (Bottom Attachement 14 m) | ea |  |  |  |  |
| 5.7.75 | D-DT-7615 | Pole, St 132kV Strain 0-90° 24 m (Bottom Attachement 17 m) | ea |  |  |  |  |
| 5.7.76 | D-DT-7615 | Pole, St 132kV Strain 0-90° 30 m (Bottom Attachement 23 m) | ea |  |  |  |  |
| 5.7 | Assembly and erection of all structures: VOLUME 3 PART 2 - Activity Stage 5.1, 5.2 & 5.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Include costs for safe stock-piling/ storage before transportation to pole / structure position. Transport to tower/pole position, assemble and erect the steel poles and lattice structures at specified positions. |  |  |  |  |  |  |  |
| D-DT-7618 3-Pole Strain Structure 0 - 90º |  |  |  |  |  |  |  |
| 5.7.77 | D-DT-7618 | Pole, 3-Pole Strain Structure 0-90° 2 x 8 m and 1 x 10 m poles (Plant 1.6m, Bottom Attachement 6.2 m) | ea |  |  |  |  |
| 5.7.78 | D-DT-7618 | Pole, 3-Pole Strain Structure 0-90° 2 x 9 m and 1 x 11 m poles (Plant 1.7m, Bottom Attachement 7.1 m) | ea |  |  |  |  |
| 5.7.79 | D-DT-7618 | Pole, 3-Pole Strain Structure 0-90° 2 x 10 m and 1 x 12 m poles (Plant 1.8m, Bottom Attachement 8 m) | ea |  |  |  |  |
| 5.7.80 | D-DT-7618 | Pole, 3-Pole Strain Structure 0-90° 2 x 11 m and 1 x 13 m poles (Plant 1.9m, Bottom Attachement 8.9 m) | ea |  |  |  |  |
| 5.7.81 | D-DT-7618 | Pole, 3-Pole Strain Structure 0-90° 2 x 12 m and 1 x 14 m poles (Plant 2m, Bottom Attachement 9.8m) | ea |  |  |  |  |
| 5.7.82 | D-DT-7618 | Pole, 3-Pole Strain Structure 0-90° 2 x 13 m and 1 x 15 m poles (Plant 2.1m, Bottom Attachement 10.7m) | ea |  |  |  |  |
| 5.7.83 | D-DT-7618 | Pole, 3-Pole Strain Structure 0-90° 2 x 14 m and 1 x 16 m poles (Plant 2.2m, Bottom Attachement 11.6m) | ea |  |  |  |  |
| 5.7.84 | D-DT-7618 | Pole, 3-Pole Strain Structure 0-90° 2 x 15 m and 1 x 17 m poles (Plant 2.3m, Bottom Attachement 12.5m) | ea |  |  |  |  |
| 5.7.85 | D-DT-7618 | Pole, 3-Pole Strain Structure 0-90° 2 x 16 m and 1 x 18 m poles (Plant 2.4m, Bottom Attachement 13.4m) | ea |  |  |  |  |
| 5.7.86 | D-DT-7618 | Pole, 3-Pole Strain Structure 0-90° 2 x 17 m and 1 x 19 m poles (Plant 2.4m, Bottom Attachement 14.3m) | ea |  |  |  |  |
| 5.7.87 | D-DT-7618 | Pole, 3-Pole Strain Structure 0-90° 2 x 18 m and 1 x 20 m poles (Plant 2.6m, Bottom Attachement 15.2m) | ea |  |  |  |  |
| 5.7.88 | D-DT-7618 | Pole, 3-Pole Strain Structure 0-90° 2 x 19 m and 1 x 21 m poles (Plant 2.7m, Bottom Attachement 16.1m) | ea |  |  |  |  |
| 5.7 | Assembly and erection of all structures: VOLUME 3 PART 2 - Activity Stage 5.1, 5.2 & 5.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Include costs for safe stock-piling/ storage before transportation to pole / structure position. Transport to tower/pole position, assemble and erect the steel poles and lattice structures at specified positions. |  |  |  |  |  |  |  |
| 2-WT-1213 3-Pole Terminal Structure |  |  |  |  |  |  |  |
| 5.7.89 | 2-WT-1213 Sheet 3 & 4 | Pole, 3-Pole Term Structure 0-90° 3 x 11.6 poles (Plant 2m, Bottom Attachement 9.6m) | ea |  |  |  |  |
| 5.7.90 | 2-WT-1213 Sheet 3 & 4 | Pole, 3-Pole Term Structure 0-90° 3 x 12.6 poles (Plant 2m, Bottom Attachement 10.6m) | ea |  |  |  |  |
| 5.7.91 | 2-WT-1213 Sheet 3 & 4 | Pole, 3-Pole Term Structure 0-90° 3 x 13.6 poles (Plant 2m, Bottom Attachement 11.6m) | ea |  |  |  |  |
| 5.7.92 | 2-WT-1213 Sheet 3 & 4 | Pole, 3-Pole Term Structure 0-90° 3 x 14.6 poles (Plant 2m, Bottom Attachement 12.6m) | ea |  |  |  |  |
| 5.7.93 | 2-WT-1213 Sheet 3 & 4 | Pole, 3-Pole Term Structure 0-90° 3 x 15.6 poles (Plant 2m, Bottom Attachement 13.6m) | ea |  |  |  |  |
| 5.7.94 | 2-WT-1213 Sheet 3 & 4 | Pole, 3-Pole Term Structure 0-90° 3 x 16.6 poles (Plant 2m, Bottom Attachement 14.6m) | ea |  |  |  |  |
| 5.7.95 | 2-WT-1213 Sheet 3 & 4 | Pole, 3-Pole Term Structure 0-90° 3 x 17.6 poles (Plant 2m, Bottom Attachement 15.6m) | ea |  |  |  |  |
| 5.7 | Assembly and erection of all structures: VOLUME 3 PART 2 - Activity Stage 5.1, 5.2 & 5.3 |  |  |  |  |  |  |
| Chikadee / Kingbird Single Circuit H-Pole Structure D-DT-7800 H-Pole Intermediate Structure 8m X-arm D-DT-7801 H-Pole Structure 8m X-Arm In-Line Strain 0-70kN Range D-DT-7802 H-Pole Structure 8m X-Arm In-Line Strain 70-120kN Range D-DT-7807 H-Pole Structure 8m X-Arm Terminal 0-120kN Range D-DT-7808 H-Pole Structure 8m X-Arm Terminal 70-120kN Range D-DT-7810 H-Pole Intermediate Structure 10m X-Arm D-DT-7811 H-Pole Structure 10m X-Arm In-Line Strain 0-70kN Range D-DT-7812 H-Pole Structure 10m X-Arm In-Line Strain 70-120kN Range D-DT-7817 H-Pole Structure 10m X-Arm Terminal 0-70kN Range D-DT-7818 H-Pole Structure 10m X-Arm Terminal 70-120kN Range |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Include costs for safe stock-piling/ storage before transportation to pole / structure position. Transport to tower/pole position, assemble and erect the steel poles and lattice structures at specified positions. |  |  |  |  |  |  |  |
| D-DT-7800 H-Pole Intermediate Structure 8m X-arm |  |  |  |  |  |  |  |
| 5.7.96 | D-DT-7800 | Pole, H-Pole Intermediate Freestanding Structure 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2.1m, Conductor Attachement 9.2m) | ea |  |  |  |  |
| 5.7.97 | D-DT-7800 | Pole, H-Pole Intermediate Freestanding Structure 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2.2m, Conductor Attachement 10.1m) | ea |  |  |  |  |
| 5.7.98 | D-DT-7800 | Pole, H-Pole Intermediate Freestanding Structure2 x 17.1 m poles and 8m or 10m crossarm(Plant 2.3m, Conductor Attachement 11.0m) | ea |  |  |  |  |
| 5.7.99 | D-DT-7800 | Pole, H-Pole Intermediate Freestanding Structure 2 x 18.1 m poles and 8m or 10m crossarm (Plant 2.4m, Conductor Attachement 12.0m) | ea |  |  |  |  |
| 5.7.100 | D-DT-7800 | Pole, H-Pole Intermediate Freestanding Structure 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2.5m, Conductor Attachement 12.9m) | ea |  |  |  |  |
| 5.7.101 | D-DT-7800 | Pole, H-Pole Intermediate Freestanding Structure 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2.6m, Conductor Attachement 13.7m) | ea |  |  |  |  |
| 5.7 | Assembly and erection of all structures: VOLUME 3 PART 2 - Activity Stage 5.1, 5.2 & 5.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit |  | Material Rate | Labour Rate | Total |
| Include costs for safe stock-piling/ storage before transportation to pole / structure position. Transport to tower/pole position, assemble and erect the steel poles and lattice structures at specified positions. |  |  |  |  |  |  |  |
| D-DT-7801 H-Pole Structure 8m X-Arm In-Line Strain 0-70kN Range |  |  |  |  |  |  |  |
| 5.7.101 | D-DT-7801 | Pole, In-Line Strain 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 10.6m) | ea |  |  |  |  |
| 5.7.102 | D-DT-7801 | Pole, In-Line Strain 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  |  |  |  |
| 5.7.103 | D-DT-7801 | Pole, In-Line Strain 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  |  |  |  |
| 5.7.104 | D-DT-7801 | Pole, In-Line Strain 2 x 18.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  |  |  |  |
| 5.7.105 | D-DT-7801 | Pole, In-Line Strain 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 14.7m) | ea |  |  |  |  |
| 5.7.106 | D-DT-7801 | Pole, In-Line Strain 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 15.6m) | ea |  |  |  |  |
| 5.7 | Assembly and erection of all structures: VOLUME 3 PART 2 - Activity Stage 5.1, 5.2 & 5.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Include costs for safe stock-piling/ storage before transportation to pole / structure position. Transport to tower/pole position, assemble and erect the steel poles and lattice structures at specified positions. |  |  |  |  |  |  |  |
| D-DT-7802 H-Pole Structure 8m X-Arm In-Line Strain 70-120kN Range |  |  |  |  |  |  |  |
| 5.7.107 | D-DT-7802 | Pole, In-Line Strain 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 10.6m) | ea |  |  |  |  |
| 5.7.108 | D-DT-7802 | Pole, In-Line Strain 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  |  |  |  |
| 5.7.109 | D-DT-7802 | Pole, In-Line Strain 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  |  |  |  |
| 5.7.110 | D-DT-7802 | Pole, In-Line Strain 2 x 18.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  |  |  |  |
| 5.7.111 | D-DT-7802 | Pole, In-Line Strain 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 14.7m) | ea |  |  |  |  |
| 5.7.112 | D-DT-7802 | Pole, In-Line Strain 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 15.6m) | ea |  |  |  |  |
| 5.7 | Assembly and erection of all structures: VOLUME 3 PART 2 - Activity Stage 5.1, 5.2 & 5.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Include costs for safe stock-piling/ storage before transportation to pole / structure position. Transport to tower/pole position, assemble and erect the steel poles and lattice structures at specified positions. |  |  |  |  |  |  |  |
| D-DT-7807 H-Pole Structure 8m X-Arm Terminal 0-120kN Range |  |  |  |  |  |  |  |
| 5.7.113 | D-DT-7807 | Pole, H-Pole Term Structure 0-90° 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 10.6m) | ea |  |  |  |  |
| 5.7.114 | D-DT-7807 | Pole, H-Pole Term Structure 0-90° 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  |  |  |  |
| 5.7.115 | D-DT-7807 | Pole, H-Pole Term Structure 0-90° 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  |  |  |  |
| 5.7.116 | D-DT-7807 | Pole, H-Pole Term Structure 0-90° 2 x 18.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  |  |  |  |
| 5.7.117 | D-DT-7807 | Pole, H-Pole Term Structure 0-90° 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 14.7m) | ea |  |  |  |  |
| 5.7.118 | D-DT-7807 | Pole, H-Pole Term Structure 0-90° 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 15.6m) | ea |  |  |  |  |
| 5.7 | Assembly and erection of all structures: VOLUME 3 PART 2 - Activity Stage 5.1, 5.2 & 5.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Include costs for safe stock-piling/ storage before transportation to pole / structure position. Transport to tower/pole position, assemble and erect the steel poles and lattice structures at specified positions. |  |  |  |  |  |  |  |
| D-DT-7808 H-Pole Structure 8m X-Arm Terminal 70-120kN Range |  |  |  |  |  |  |  |
| 5.7.119 | D-DT-7808 | Pole, H-Pole Term Structure 0-90° 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 10.6m) | ea |  |  |  |  |
| 5.7.120 | D-DT-7808 | Pole, H-Pole Term Structure 0-90° 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  |  |  |  |
| 5.7.121 | D-DT-7808 | Pole, H-Pole Term Structure 0-90° 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  |  |  |  |
| 5.7.122 | D-DT-7808 | Pole, H-Pole Term Structure 0-90° 2 x 18.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  |  |  |  |
| 5.7.123 | D-DT-7808 | Pole, H-Pole Term Structure 0-90° 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 14.7m) | ea |  |  |  |  |
| 5.7.124 | D-DT-7808 | Pole, H-Pole Term Structure 0-90° 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 15.6m) | ea |  |  |  |  |
| 5.7 | Assembly and erection of all structures: VOLUME 3 PART 2 - Activity Stage 5.1, 5.2 & 5.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Include costs for safe stock-piling/ storage before transportation to pole / structure position. Transport to tower/pole position, assemble and erect the steel poles and lattice structures at specified positions. |  |  |  |  |  |  |  |
| D-DT-7810 H-Pole Intermediate Structure 10m X-Arm |  |  |  |  |  |  |  |
| 5.7.124 | D-DT-7810 | Pole, H-Pole Intermediate Freestanding Structure 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2.1m, Conductor Attachement 9.2m) | ea |  |  |  |  |
| 5.7.125 | D-DT-7810 | Pole, H-Pole Intermediate Freestanding Structure 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2.2m, Conductor Attachement 10.1m) | ea |  |  |  |  |
| 5.7.126 | D-DT-7810 | Pole, H-Pole Intermediate Freestanding Structure 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2.3m, Conductor Attachement 11.0m) | ea |  |  |  |  |
| 5.7.127 | D-DT-7810 | Pole, H-Pole Intermediate Freestanding Structure 2 x 18.1 m poles and 8m or 10m crossarm (Plant 2.4m, Conductor Attachement 12.0m) | ea |  |  |  |  |
| 5.7.128 | D-DT-7810 | Pole, H-Pole Intermediate Freestanding Structure 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2.5m, Conductor Attachement 12.9m) | ea |  |  |  |  |
| 5.7.129 | D-DT-7810 | Pole, H-Pole Intermediate Freestanding Structure 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2.6m, Conductor Attachement 13.7m) | ea |  |  |  |  |
| 5.7 | Assembly and erection of all structures: VOLUME 3 PART 2 - Activity Stage 5.1, 5.2 & 5.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Include costs for safe stock-piling/ storage before transportation to pole / structure position. Transport to tower/pole position, assemble and erect the steel poles and lattice structures at specified positions. |  |  |  |  |  |  |  |
| D-DT-7811 H-Pole Structure 10m X-Arm In-Line Strain 0-70kN Range |  |  |  |  |  |  |  |
| 5.7.129 | D-DT-7811 | Pole, In-Line Strain 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  |  |  |  |
| 5.7.130 | D-DT-7811 | Pole, In-Line Strain 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  |  |  |  |
| 5.7.131 | D-DT-7811 | Pole, In-Line Strain 2 x 18.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  |  |  |  |
| 5.7.132 | D-DT-7811 | Pole, In-Line Strain 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 14.7m) | ea |  |  |  |  |
| 5.7.133 | D-DT-7811 | Pole, In-Line Strain2 x 20.1 m poles and 8m or 10m crossarm(Plant 2m, Bottom Attachement 15.6m) | ea |  |  |  |  |
| D-DT-7812 H-Pole Structure 10m X-Arm In-Line Strain 70-120kN Range |  |  |  |  |  |  |  |
| 5.7.134 | D-DT-7812 | Pole, In-Line Strain 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  |  |  |  |
| 5.7.135 | D-DT-7812 | Pole, In-Line Strain 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  |  |  |  |
| 5.7.136 | D-DT-7812 | Pole, In-Line Strain 2 x 18.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  |  |  |  |
| 5.7.137 | D-DT-7812 | Pole, In-Line Strain 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 14.7m) | ea |  |  |  |  |
| 5.7.138 | D-DT-7812 | Pole, In-Line Strain 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 15.6m) | ea |  |  |  |  |
| 5.7 | Assembly and erection of all structures: VOLUME 3 PART 2 - Activity Stage 5.1, 5.2 & 5.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Include costs for safe stock-piling/ storage before transportation to pole / structure position. Transport to tower/pole position, assemble and erect the steel poles and lattice structures at specified positions. |  |  |  |  |  |  |  |
| D-DT-7817 H-Pole Structure 10m X-Arm Terminal 0-70kN Range |  |  |  |  |  |  |  |
| 5.7.139 | D-DT-7817 | Pole, H-Pole Term Structure 0-90° 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 10.6m) | ea |  |  |  |  |
| 5.7.140 | D-DT-7817 | Pole, H-Pole Term Structure 0-90° 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  |  |  |  |
| 5.7.141 | D-DT-7817 | Pole, H-Pole Term Structure 0-90° 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  |  |  |  |
| 5.7.142 | D-DT-7817 | Pole, H-Pole Term Structure 0-90° 2 x 18.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  |  |  |  |
| 5.7.143 | D-DT-7817 | Pole, H-Pole Term Structure 0-90° 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 14.7m) | ea |  |  |  |  |
| 5.7.144 | D-DT-7817 | Pole, H-Pole Term Structure 0-90° 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 15.6m) | ea |  |  |  |  |
| 5.7 | Assembly and erection of all structures: VOLUME 3 PART 2 - Activity Stage 5.1, 5.2 & 5.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Include costs for safe stock-piling/ storage before transportation to pole / structure position. Transport to tower/pole position, assemble and erect the steel poles and lattice structures at specified positions. |  |  |  |  |  |  |  |
| D-DT-7808 H-Pole Structure 8m X-Arm Terminal 70-120kN Range |  |  |  |  |  |  |  |
| 5.7.145 | D-DT-7818 | Pole, H-Pole Term Structure 0-90° 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  |  |  |  |
| 5.7.146 | D-DT-7818 | Pole, H-Pole Term Structure 0-90° 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  |  |  |  |
| 5.7.147 | D-DT-7818 | Pole, H-Pole Term Structure 0-90° 2 x 18.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  |  |  |  |
| 5.7.148 | D-DT-7818 | Pole, H-Pole Term Structure 0-90° 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 14.7m) | ea |  |  |  |  |
| 5.7.149 | D-DT-7818 | Pole, H-Pole Term Structure 0-90° 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 15.6m) | ea |  |  |  |  |
| 5.8 | Assembly and installation of stay assemblies: VOLUME 3 PART 2 - Activity Stage 5.1, 5.2 & 5.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Transport to each stay position, install and dispose excess material complete stay assemblies: |  |  |  |  |  |  |  |
| 19/2.65 1100MPa 115kN Steel Wire Stay assemblies: |  |  |  |  |  |  |  |
| 5.8.1 | D-DT-7325s2 | Transport material to site and install complete 19/2.65 1100MPa 115kN Steel Wire Stay assembly. | ea |  |  |  |  |
| Temporary Stays: 19/2.65 1100MPa 115kN Steel Wire Stay rod and assemblies: |  |  |  |  |  |  |  |
| 5.8.2 |  | Transport material to site and install complete 115kN temporary stay assembly. | ea |  | cost plus 10% |  |  |
| 5.8.3 |  | Complete removal all temporary stays after completion of stringing activities and re-instate sites. | ea |  | cost plus 10% |  |  |
| 16mm 1400MPa 215kN Steel Rope Stay assemblies: |  |  |  |  |  |  |  |
| 5.8.4 | 2-WT/1288 | Transport material to site and install complete 16mm 1400MPa 215kN Steel Rope Stay assembly. | ea |  |  |  |  |
| Temporary Stays: 16mm 1400MPa 215kN Steel Rope Stay rod and assemblies: |  |  |  |  |  |  |  |
| 5.8.5 |  | Transport material to site and install complete 215kN temporary stay assembly. | ea |  | cost plus 10% |  |  |
| 5.8.6 |  | Complete removal all temporary stays after completion of stringing activities and re-instate sites. | ea |  | cost plus 10% |  |  |
| 19mm 1400MPa 272kN Steel Rope Stay assemblies: |  |  |  |  |  |  |  |
| 5.8.7 | 2-WT/1299 | Transport material to site and install complete 19mm 1400MPa 272kN Steel Rope Stay assembly. | ea |  |  |  |  |
| Temporary Stays: 16mm 1400MPa 272kN Steel Rope Stay rod and assemblies: |  |  |  |  |  |  |  |
| 5.8.8 |  | Transport material to site and install complete 272kN temporary stay assembly. | ea |  | cost plus 10% |  |  |
| 5.8.9 |  | Complete removal all temporary stays after completion of stringing activities and re-instate sites. | ea |  | cost plus 10% |  |  |
| Activity Stage 6: Power Line Earthing |  |  |  |  |  |  |  |
| NOTE: Although the additional earthing is catered for in this quotation, only the actual installed additional earthing will be invoiced. All soil resistivity tests and earth electrod resistance tests and results will be monitored by the Clerk of works and will be submitted to the engineer. Should the soil conditions be such that the installation of additional earthing does not adequately remedy the tower footing resistance, the engineer should be contacted immediately. Install and bond the following tower earthing for the structures: |  |  |  |  |  |  |  |
| The earth electrode material will be provided by Eskom. Quote on soil to be imported in the material column. |  |  |  |  |  |  |  |
| Note: Earths must be installed and towers must be connected to each other before the concrete cap is casted. The Cu strap should thus be encased in the concrete cap. |  |  |  |  |  |  |  |
| 6.1 | Transport and installation of power line structure earthing: VOLUME 3 PART 2 - Activity Stage 6.1 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, supply and transport to pole position imported soil material, transport earthing material and install complete earthing in soil TYPE 1 on the following structures: |  |  |  |  |  |  |  |
| 6.1.1 | SCSASABF9 | Bond the 3-Poles of the terminal structures together and to the substation earth mat by using 50 x 3mm flat Cu strap buried 1m deep, including excavation, supply, installation and backfilling. | m |  |  |  |  |
| 6.1.2 | SCSASABF9 | Bond the 3 poles of 3-Pole structures to each other by using 50 x 3mm flat Cu strap buried 1m deep, including excavation, supply, installation and backfilling. | m |  |  |  |  |
| 6.1.3 | SCSASABF9 | Install a 40 x 3 mm galvanised steel strap within each lattice tower foundation to connect the steel stub to the foundation re-inforcement | ea |  |  |  |  |
| 6.1.4 | SCSASABF9 | Install 25mm² Bare Conductor for counterpoise earthing of towers. Install a 15m radial counterpoises at each tower leg until the tower footing resistance is below 20Ω | m |  |  |  |  |
| 6.1.5 | SCSASABF9 | Install 10mm copper claded steel for counterpoise earthing of towers. Install a 15m radial counterpoises at each tower leg until the tower footing resistance is below 20Ω | m |  |  |  |  |
| 6.1 | Transport and installation of power line structure earthing: VOLUME 3 PART 2 - Activity Stage 6.1 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, supply and transport to pole position imported soil material, transport earthing material and install complete earthing in soil TYPE 1 on the following structures: |  |  |  |  |  |  |  |
| 6.1.6 | 2-WT/763 D-DT-0642 | Excavate, install complete 3 point star earth electrode | ea |  |  |  |  |
| 6.1.7 |  | Excavate, install 1.6m x 16mm dia coper claded singel spike earth electrode | ea |  |  |  |  |
| 6.1.8 |  | Backfill and compact earth spike holes, with 1:3 Agricultural gypsum/top soil mixture | m³ |  |  |  |  |
| 6.1.9 |  | Backfill and compact first ±100mm thick layer in earth trenches, with 1:3 Agricultural gypsum/top soil mixture, around earth rod | m³ |  |  |  |  |
| 6.1.10 |  | Backfill and compact top layers in earth trenches, with excavated top soil material | m³ |  |  |  |  |
| 6.1 | Transport and installation of power line structure earthing: VOLUME 3 PART 2 - Activity Stage 6.1 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, supply and transport to pole position imported soil material, transport earthing material and install complete earthing in soil TYPE 2 on the following structures: |  |  |  |  |  |  |  |
| 6.1.11 | SCSASABF9 | Bond the 3-Poles of the terminal structures together and to the substation earth mat by using 50 x 3mm flat Cu strap buried 1m deep, including excavation, supply, installation and backfilling. | m |  |  |  |  |
| 6.1.12 | SCSASABF9 | Bond the 3 poles of 3-Pole structures to each other by using 50 x 3mm flat Cu strap buried 1m deep, including excavation, supply, installation and backfilling. | m |  |  |  |  |
| 6.1.13 | SCSASABF9 | Install a 40 x 3 mm galvanised steel strap within each lattice tower foundation to connect the steel stub to the foundation re-inforcement | ea |  |  |  |  |
| 6.1.14 | SCSASABF9 | Install 25mm² Bare Conductor for counterpoise earthing of towers. Install a 15m radial counterpoises at each tower leg until the tower footing resistance is below 20Ω | m |  |  |  |  |
| 6.1.15 | SCSASABF9 | Install 10mm copper claded steel for counterpoise earthing of towers. Install a 15m radial counterpoises at each tower leg until the tower footing resistance is below 20Ω | m |  |  |  |  |
| 6.1.16 | 2-WT/763 D-DT-0642 | Excavate, install complete 3 point star earth electrode | ea |  |  |  |  |
| 6.1.17 |  | Excavate, install 1.6m x 16mm dia coper claded singel spike earth electrode | ea |  |  |  |  |
| 6.1.18 |  | Backfill and compact earth spike holes, with 1:3 Agricultural gypsum/top soil mixture |  |  |  |  |  |
| 6.1.19 |  | Backfill and compact first ±100mm thick layer in earth trenches, with 1:3 Agricultural gypsum/top soil mixture, around earth rod |  |  |  |  |  |
| 6.1.20 |  | Backfill and compact top layers in earth trenches, with excavated top soil material | m³ |  |  |  |  |
| 6.1 | Transport and installation of power line structure earthing: VOLUME 3 PART 2 - Activity Stage 6.1 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, supply and transport to pole position imported soil material, transport earthing material and install complete earthing in soil TYPE 3 on the following structures: |  |  |  |  |  |  |  |
| 6.1.21 | SCSASABF9 | Bond the 3-Poles of the terminal structures together and to the substation earth mat by using 50 x 3mm flat Cu strap buried 1m deep, including excavation, supply, installation and backfilling. | m |  |  |  |  |
| 6.1.22 | SCSASABF9 | Bond the 3 poles of 3-Pole structures to each other by using 50 x 3mm flat Cu strap buried 1m deep, including excavation, supply, installation and backfilling. | m |  |  |  |  |
| 6.1.23 | SCSASABF9 | IInstall a 40 x 3 mm galvanised steel strap within each lattice tower foundation to connect the steel stub to the foundation re-inforcement | ea |  |  |  |  |
| 6.1.24 | SCSASABF9 | Install 25mm² Bare Conductor for counterpoise earthing of towers. Install a 15m radial counterpoises at each tower leg until the tower footing resistance is below 20Ω | m |  |  |  |  |
| 6.1.25 | SCSASABF9 | Install 10mm copper claded steel for counterpoise earthing of towers. Install a 15m radial counterpoises at each tower leg until the tower footing resistance is below 20Ω | m |  |  |  |  |
| 6.1.26 | 2-WT/763 D-DT-0642 | Excavate, install complete 3 point star earth electrode | ea |  |  |  |  |
| 6.1.27 |  | Excavate, install 1.6m x 16mm dia coper claded singel spike earth electrode | ea |  |  |  |  |
| 6.1.28 |  | Backfill and compact earth spike holes, with 1:3 Agricultural gypsum/top soil mixture |  |  |  |  |  |
| 6.1.29 |  | Backfill and compact first ±100mm thick layer in earth trenches, with 1:3 Agricultural gypsum/top soil mixture, around earth rod |  |  |  |  |  |
| 6.1.30 |  | Backfill and compact top layers in earth trenches, with excavated top soil material | m³ |  |  |  |  |
| 6.1 | Transport and installation of power line structure earthing: VOLUME 3 PART 2 - Activity Stage 6.1 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, supply and transport to pole position imported soil material, transport earthing material and install complete earthing in soil TYPE 4 on the following structures: |  |  |  |  |  |  |  |
| 6.1.31 | SCSASABF9 | Bond the 3-Poles of the terminal structures together and to the substation earth mat by using 50 x 3mm flat Cu strap buried 1m deep, including excavation, supply, installation and backfilling. | m |  |  |  |  |
| 6.1.32 | SCSASABF9 | Bond the 3 poles of 3-Pole structures to each other by using 50 x 3mm flat Cu strap buried 1m deep, including excavation, supply, installation and backfilling. | m |  |  |  |  |
| 6.1.33 | SCSASABF9 | Install a 40 x 3 mm galvanised steel strap within each lattice tower foundation to connect the steel stub to the foundation re-inforcement | ea |  |  |  |  |
| 6.1.34 | SCSASABF9 | Install 25mm² Bare Conductor for counterpoise earthing of towers. Install a 15m radial counterpoises at each tower leg until the tower footing resistance is below 20Ω | m |  |  |  |  |
| 6.1.35 | SCSASABF9 | Install 10mm copper claded steel for counterpoise earthing of towers. Install a 15m radial counterpoises at each tower leg until the tower footing resistance is below 20Ω | m |  |  |  |  |
| 6.1.36 | 2-WT/763 D-DT-0642 | Excavate, install complete 3 point star earth electrode | ea |  |  |  |  |
| 6.1.37 |  | Excavate, install 1.6m x 16mm dia coper claded singel spike earth electrode | ea |  |  |  |  |
| 6.1.38 |  | Backfill and compact earth spike holes, with 1:3 Agricultural gypsum/top soil mixture |  |  |  |  |  |
| 6.1.39 |  | Backfill and compact first ±100mm thick layer in earth trenches, with 1:3 Agricultural gypsum/top soil mixture, around earth rod |  |  |  |  |  |
| 6.1.40 |  | Backfill and compact top layers in earth trenches, with excavated top soil material | m³ |  |  |  |  |
| 6.1 | Transport and installation of power line structure earthing: VOLUME 3 PART 2 - Activity Stage 6.1 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, supply and transport to pole position imported soil material, transport earthing material and install complete earthing in soil TYPE SOFT ROCK on the following structures: |  |  |  |  |  |  |  |
| 6.1.41 | SCSASABF9 | Bond the 3-Poles of the terminal structures together and to the substation earth mat by using 50 x 3mm flat Cu strap buried 1m deep, including excavation, supply, installation and backfilling. | m |  |  |  |  |
| 6.1.42 | SCSASABF9 | Bond the 3 poles of 3-Pole structures to each other by using 50 x 3mm flat Cu strap buried 1m deep, including excavation, supply, installation and backfilling. | m |  |  |  |  |
| 6.1.43 | SCSASABF9 | Install a 40 x 3 mm galvanised steel strap within each lattice tower foundation to connect the steel stub to the foundation re-inforcement | ea |  |  |  |  |
| 6.1.44 | SCSASABF9 | Install 25mm² Bare Conductor for counterpoise earthing of towers. Install a 15m radial counterpoises at each tower leg until the tower footing resistance is below 20Ω | m |  |  |  |  |
| 1470 | SCSASABF9 | Install 10mm copper claded steel for counterpoise earthing of towers. Install a 15m radial counterpoises at each tower leg until the tower footing resistance is below 20Ω | m |  |  |  |  |
| 6.1.46 | 2-WT/763 D-DT-0642 | Excavate, install complete 3 point star earth electrode | ea |  |  |  |  |
| 6.1.47 |  | Excavate, install 1.6m x 16mm dia coper claded singel spike earth electrode | ea |  |  |  |  |
| 6.1.48 |  | Backfill and compact earth spike holes, with 1:3 Agricultural gypsum/top soil mixture |  |  |  |  |  |
| 6.1.49 |  | Backfill and compact first ±100mm thick layer in earth trenches, with 1:3 Agricultural gypsum/top soil mixture, around earth rod |  |  |  |  |  |
| 6.1.50 |  | Backfill and compact top layers in earth trenches, with excavated top soil material | m³ |  |  |  |  |
| 6.1 | Transport and installation of power line structure earthing: VOLUME 3 PART 2 - Activity Stage 6.1 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Excavate, barricade, dispose of excavated material, supply and transport to pole position imported soil material, transport earthing material and install complete earthing in soil TYPE HARD ROCK on the following structures: |  |  |  |  |  |  |  |
| 6.1.51 | SCSASABF9 | Bond the 3-Poles of the terminal structures together and to the substation earth mat by using 50 x 3mm flat Cu strap buried 1m deep, including excavation, supply, installation and backfilling. | m |  |  |  |  |
| 6.1.52 | SCSASABF9 | Bond the 3 poles of 3-Pole structures to each other by using 50 x 3mm flat Cu strap buried 1m deep, including excavation, supply, installation and backfilling. | m |  |  |  |  |
| 6.1.53 | SCSASABF9 | Install a 40 x 3 mm galvanised steel strap within each lattice tower foundation to connect the steel stub to the foundation re-inforcement | ea |  |  |  |  |
| 6.1.54 | SCSASABF9 | Install 25mm² Bare Conductor for counterpoise earthing of towers. Install a 15m radial counterpoises at each tower leg until the tower footing resistance is below 20Ω | m |  |  |  |  |
| 6.1.55 | SCSASABF9 | Install 10mm copper claded steel for counterpoise earthing of towers. Install a 15m radial counterpoises at each tower leg until the tower footing resistance is below 20Ω | m |  |  |  |  |
| 6.1.56 | 2-WT/763 D-DT-0642 | Excavate, install complete 3 point star earth electrode | ea |  |  |  |  |
| 6.1.57 |  | Excavate, install 1.6m x 16mm dia coper claded singel spike earth electrode | ea |  |  |  |  |
| 6.1.58 |  | Backfill and compact earth spike holes, with 1:3 Agricultural gypsum/top soil mixture |  |  |  |  |  |
| 268 |  | Backfill and compact first ±100mm thick layer in earth trenches, with 1:3 Agricultural gypsum/top soil mixture, around earth rod | m³ |  |  |  |  |
| 6.1.60 |  | Backfill and compact top layers in earth trenches, with excavated top soil material | m³ |  |  |  |  |
| 6.1 | Transport and installation of power line structure earthing: VOLUME 3 PART 2 - Activity Stage 6.1 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Extra-over Items for C.2: (Rates are only for excavation of the earth electrode trenches) |  |  |  |  |  |  |  |
| 6.1.61 |  | Intermediate material excavation | m3 |  |  |  |  |
| 6.1.62 |  | Hard Rock excavation | m3 |  |  |  |  |
| 6.1.63 |  | Boulder excavation - Class A | m3 |  |  |  |  |
| 6.1.64 |  | Boulder excavation - Class B | m3 |  |  |  |  |
| 6.1.65 |  | Backfill soil 1:3 Agricultural gypsum/top soil mixture | m3 |  |  |  |  |
| 6.1.66 |  | Backfill Type 2 soil soil | m3 |  |  |  |  |
| 6.2 | Measure Structure Footing Resistanse and Record: VOLUME 3 PART 2 - Activity Stage 6.2 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Measure structure footing resistances, with installed additional/counter poise earthing systems |  |  |  |  |  |  |  |
| 6.2.1 |  | Measure all suspension and strain structure footing resistances | ea |  |  |  |  |
| 6.2.2 |  | Measure all resistances of additional electrodes | ea |  |  |  |  |
| 6.2.3 |  | Submission of "Structure Footing Resistance" test results for approval | ea |  |  |  |  |
| Activity Stage 7: Dressing of Structures |  |  |  |  |  |  |  |
| Dressing include the transport to specific tower/pole position and installation of phase & earth wire hardware assemblies and anti climbing devices for the following structures: |  |  |  |  |  |  |  |
| 7.1 | Dressing of Structures: VOLUME 3 PART 2 - Activity Stage 7.1 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Intermediate Suspension Lattice Structures 247A |  |  |  |  |  |  |  |
| 7.1.1 | 247A 2-WT/1414s2 | 247A 0 degree suspension structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 7.1.2 | 247A 2-WT/1414s2 | 247A 0 degree suspension structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 7.1.3 | 247A 2-WT/1414s2 | 247A 0 degree suspension structure, 132kV lattice steel. 18.1m CAH | ea |  |  |  |  |
| 7.1.4 | 247A 2-WT/1414s2 | 247A 0 degree suspension structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 0-30 degree Strain Lattice Structures 247B |  |  |  |  |  |  |  |
| 7.1.5 | 247B2-WT/1292s2 | 247B 0-40 degree strain structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 7.1.6 | 247B 2-WT/1292s2 | 247B 0-40 degree strain structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 7.1.7 | 247B 2-WT/1292s2 | 247B 0-40 degree strain structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 40-90 degree Strain Lattice Structures 247C |  |  |  |  |  |  |  |
| 7.1.8 | 247C 2-WT/1292s2 | 247C 40-90 degree strain structure, 132kV lattice steel. 14.1m CAH | ea |  |  |  |  |
| 7.1.9 | 247C 2-WT/1292s2 | 247C 40-90 degree strain structure, 132kV lattice steel. 17.1m CAH | ea |  |  |  |  |
| 7.1.10 | 247C 2-WT/1292s2 | 247C 40-90 degree strain structure, 132kV lattice steel. 19.1m CAH | ea |  |  |  |  |
| 0-40 degree Terminal Lattice Structures 247C |  |  |  |  |  |  |  |
| 7.1.11 | 247C terminal 2-WT/1292s2 | 2-WT/1292s2 | ea |  |  |  |  |
| 7.1 | Dressing of Structures: VOLUME 3 PART 2 - Activity Stage 7.1 |  |  |  |  |  |  |
| Dressing include the transport to specific tower/pole position and installation of phase & earth wire hardware assemblies and anti climbing devices for the following structures: |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 258C Intermediate Suspension Braced Double Circuit Structures |  |  |  |  |  |  |  |
| 7.1.12 | 258C 2-WT/1291s1 | Structure 258C Intermediate 0⁰ H-Structure 132kV Twin Tern 20m (Bottom Attachment 11.2m) | ea |  |  |  |  |
| 7.1.13 | 258C 2-WT/1291s1 | Structure 258C Intermediate 0⁰ H-Structure 132kV Twin Tern 22m (Bottom Attachment 13.2m) | ea |  |  |  |  |
| 7.1.14 | 258C 2-WT/1291s1 | Structure 258C Intermediate 0⁰ H-Structure 132kV Twin Tern 24m (Bottom Attachment 15.2m) | ea |  |  |  |  |
| 7.1 | Dressing of Structures: VOLUME 3 PART 2 - Activity Stage 7.1 |  |  |  |  |  |  |
| Dressing include the transport to specific tower/pole position and installation of phase & earth wire hardware assemblies and anti climbing devices for the following structures: |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 2-WT/15049 Intermediate 0 - 2º Suspension Mono-Pole Double Circuit Structures |  |  |  |  |  |  |  |
| 7.1.15 | 2-WT/15049 2-WT/1291s1 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 20m (Plant 2.6m - Bottom Attachement 10.5m) | ea |  |  |  |  |
| 7.1.16 | 2-WT/15049 2-WT/1291s1 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 22m (Plant 2.8m - Bottom Attachement 12.4m) | ea |  |  |  |  |
| 7.1.17 | 2-WT/15049 2-WT/1291s1 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 24m (Plant 3m - Bottom Attachement 14.2m) | ea |  |  |  |  |
| 7.1.18 | 2-WT/15049 2-WT/1291s1 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 26m (Plant 3.2m - Bottom Attachement 16.0m) | ea |  |  |  |  |
| 7.1.19 | 2-WT/15049 2-WT/1291s1 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 28m (Plant 3.4m - Bottom Attachement 17.8m) | ea |  |  |  |  |
| 7.1.20 | 2-WT/15049 2-WT/1291s1 | Pole, Int (0°-2°) Double Circuit Twin Tern Conductor 30m (Plant 3.6m - Bottom Attachement 19.6m) | ea |  |  |  |  |
| 7.1 | Dressing of Structures: VOLUME 3 PART 2 - Activity Stage 7.1 |  |  |  |  |  |  |
| Dressing include the transport to specific tower/pole position and installation of phase & earth wire hardware assemblies and anti climbing devices for the following structures: |  |  |  |  |  |  |  |
| Twin Kingbird/Bersfort Single Circuit Mono-Pole Structures 2-WT/1294 Intermediate 0 - 2º Suspension 2-WT/1295 Strain 2º - 90º 2-WT/1296 Angle Strain 3-Pole 2º-90º 2-WT/1297 3-Pole Terminal 2-WT/1298 Inline Strain |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 2-WT/1294 Intermediate 0 - 2º Suspension |  |  |  |  |  |  |  |
| 7.1.21 | 2-WT/1294 2-WT/1291s1 | Pole, St 132kV Susp 21m | ea |  |  |  |  |
| 7.1.22 |  | Pole, St 132kV Susp 22m | ea |  |  |  |  |
| 7.1.23 |  | Pole, St 132kV Susp 23m | ea |  |  |  |  |
| 7.1.24 |  | Pole, St 132kV Susp 24m | ea |  |  |  |  |
| 7.1.25 |  | Pole, St 132kV Susp 25m | ea |  |  |  |  |
| 7.1.26 |  | Pole, St 132kV Susp 26m | ea |  |  |  |  |
| 7.1.27 |  | Pole, St 132kV Susp 29m | ea |  |  |  |  |
| 2-WT/1295 Strain 2º - 90º |  |  |  |  |  |  |  |
| 7.1.28 | 2-WT/1295 2-WT/1292s2 | Pole, St 132kV Angle Strain (0°-90°) 20m | ea |  |  |  |  |
| 7.1.29 |  | Pole, St 132kV Angle Strain (0°-90°) 22m | ea |  |  |  |  |
| 7.1.30 |  | Pole, St 132kV Angle Strain (0°-90°) 23m | ea |  |  |  |  |
| 7.1.31 |  | Pole, St 132kV Angle Strain (0°-90°) 24m | ea |  |  |  |  |
| 7.1.32 |  | Pole, St 132kV Angle Strain (0°-90°) 28m | ea |  |  |  |  |
| 7.1.33 |  | Pole, St 132kV Angle Strain (0°-90°) 30m | ea |  |  |  |  |
| 2-WT/1296 Angle Strain 3-Pole 2º-90º |  |  |  |  |  |  |  |
| 7.1.34 | 2-WT/1296 2-WT/1292s2 | 3- Pole, St 132kV Strain 11.1m (2 x 11.1m & 1 x 9.1m) | ea |  |  |  |  |
| 7.1.35 |  | 3- Pole, St 132kV Strain 13.1m (2 x 13.1m & 1 x 11.1m) | ea |  |  |  |  |
| 7.1.36 |  | 3- Pole, St 132kV Strain 14m (2 x 14.1m & 1 x 12.1m) | ea |  |  |  |  |
| 7.1.37 |  | 3- Pole, St 132kV Strain 16.1m (2 x 16.1m & 1 x 14.1m) | ea |  |  |  |  |
| 2-WT/1297 3-Pole Terminal |  |  |  |  |  |  |  |
| 7.1.38 | 2-WT/1297 2-WT/1292s2 | 3- Pole Term St 132kV 14m (Include 3 poles of 14m long) | ea |  |  |  |  |
| 7.1.39 |  | 3- Pole Term St 132kV 16m (Include 3 poles of 16m long) | ea |  |  |  |  |
| 7.1 | Dressing of Structures: VOLUME 3 PART 2 - Activity Stage 7.1 |  |  |  |  |  |  |
| Dressing include the transport to specific tower/pole position and installation of phase & earth wire hardware assemblies and anti climbing devices for the following structures: |  |  |  |  |  |  |  |
| Bersfort Single Circuit Mono-Pole Guided Structures 2-WT/1281 Guided Braced Intermediate / Suspension 2-WT/1284 Angle Strain 0 - 90º 2-WT/1285 Guided Inline Strain 3-Pole Structure 0 - 5º 2-WT/1286 Guided Inline Strain 3-Pole Structure 5 - 90º |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 2-WT/1281 Guided Braced Intermediate / Suspension |  |  |  |  |  |  |  |
| 7.1.40 | 2-WT/1281 2-WT/1291s1 | Pole , St 132kV Guyed Susp 16.1m Bottom Attachment 10.7) | ea |  |  |  |  |
| 7.1.41 |  | Pole , St 132kV Guyed Susp 18.2m Bottom Attachment 12.8) | ea |  |  |  |  |
| 7.1.42 |  | Pole , St 132kV Guyed Susp 21.2m Bottom Attachment 15.8) | ea |  |  |  |  |
| 7.1.43 |  | Pole, St 132kV Guyed Susp 24.2m (Bottom Attachment 18.8) | ea |  |  |  |  |
| 2-WT/1284 Angle Strain 0 - 90º |  |  |  |  |  |  |  |
| 7.1.44 | 2-WT/1284 2-WT/1292s2 | Pole, St 132kV Guyed Angle Strain (0°-90°) 18.2m (Bottom Attachement 11.2m) | ea |  |  |  |  |
| 7.1.45 |  | Pole, St 132kV Guyed Angle Strain (0°-90°) 21.2m (Bottom Attachement 14.2m) | ea |  |  |  |  |
| 7.1.46 |  | Pole, St 132kV Guyed Angle Strain (0°-90°) 24.2m (Bottom Attachement 17.2m) | ea |  |  |  |  |
| 2-WT/1285 Guided Inline Strain 3-Pole Structure 0 - 5º |  |  |  |  |  |  |  |
| 7.1.47 | 2-WT/1285 2-WT/1292s2 | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 11.1m (includes 3 poles) (Bottom Attachment 9.6m) | ea |  |  |  |  |
| 7.1.48 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 16.1m (includes 3 poles) (Bottom Attachment 14.6m) | ea |  |  |  |  |
| 7.1.49 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 18.2m (includes 3 poles) (Bottom Attachment 16.7m) | ea |  |  |  |  |
| 7.1.50 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 21.2m (includes 3 poles) (Bottom Attachment 19.7m) | ea |  |  |  |  |
| 7.1.51 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (0°-5°) 24.2m (includes 3 poles) (Bottom Attachment 22.7) | ea |  |  |  |  |
| 7.1 | Dressing of Structures: VOLUME 3 PART 2 - Activity Stage 7.1 |  |  |  |  |  |  |
| Dressing include the transport to specific tower/pole position and installation of phase & earth wire hardware assemblies and anti climbing devices for the following structures: |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 2-WT/1286 Guided Inline Strain 3-Pole Structure 5 - 90º |  |  |  |  |  |  |  |
| 7.1.52 | 2-WT/1286 2-WT/1292s2 | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 11.1m (includes 3 poles) (Bottom Attachment 9.6m) | ea |  |  |  |  |
| 7.1.53 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 16.1m (includes 3 poles) (Bottom Attachment 14.6m) | ea |  |  |  |  |
| 7.1.54 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 18.2m (includes 3 poles) (Bottom Attachment 16.7m) | ea |  |  |  |  |
| 7.1.55 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 21.2m (includes 3 poles) (Bottom Attachment 19.7m) | ea |  |  |  |  |
| 7.1.56 |  | Pole, St 132kV Guyed Angle Strain 3-pole structure (5°-90°) 24.2m (includes 3 poles) (Bottom Attachment 22.7) | ea |  |  |  |  |
| 7.1 | Dressing of Structures: VOLUME 3 PART 2 - Activity Stage 7.1 |  |  |  |  |  |  |
| Dressing include the transport to specific tower/pole position and installation of phase & earth wire hardware assemblies and anti climbing devices for the following structures: |  |  |  |  |  |  |  |
| Chikadee / Kingbird Single Circuit Mono-Pole Structures D-DT-7611 Intermediate / Suspension D-DT-7615 Angle Strain 0 - 90º D-DT-7618 3-Pole Strain Structure 0 - 90º 2-WT/1213 3-Pole Terminal Structure 0 - 90º |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| D-DT-7611 Intermediate / Suspension |  |  |  |  |  |  |  |
| 7.1.57 | D-DT-7611 D-DT-7321 | Pole, St 132kV Susp 20 m 23kN (Plant 2.6m, Bottom Att 13 m) | ea |  |  |  |  |
| 7.1.58 | D-DT-7611 D-DT-7321 | Pole, St 132kV Susp 21 m 23kN (Plant 2.7m, Bottom Att 13.9 m) | ea |  |  |  |  |
| 7.1.59 | D-DT-7611D-DT-7321 | Pole, St 132kV Susp 22 m 23kN(Plant 2.8m, Bottom Att 14.8 m) | ea |  |  |  |  |
| 7.1.60 | D-DT-7611 D-DT-7321 | Pole, St 132kV Susp 22 m 23kN (Plant 2.9m, Bottom Att 15.7 m) | ea |  |  |  |  |
| 7.1.61 | D-DT-7611 D-DT-7321 | Pole, St 132kV Susp 22 m 23kN (Plant 3m, Bottom Att 16.6 m) | ea |  |  |  |  |
| D-DT-7615 Angle Strain 0 - 90º |  |  |  |  |  |  |  |
| 7.1.62 | D-DT-7615 D-DT-7311 | Pole, St 132kV Strain 0-90° 20 m (Bottom Attachement 13 m) | ea |  |  |  |  |
| 7.1.63 | D-DT-7615 D-DT-7311 | Pole, St 132kV Strain 0-90° 21 m (Bottom Attachement 14 m) | ea |  |  |  |  |
| 7.1.64 | D-DT-7615 D-DT-7311 | Pole, St 132kV Strain 0-90° 24 m (Bottom Attachement 17 m) | ea |  |  |  |  |
| 7.1.65 | D-DT-7615 D-DT-7311 | Pole, St 132kV Strain 0-90° 30 m (Bottom Attachement 23 m) | ea |  |  |  |  |
| 7.1 | Dressing of Structures: VOLUME 3 PART 2 - Activity Stage 7.1 |  |  |  |  |  |  |
| Dressing include the transport to specific tower/pole position and installation of phase & earth wire hardware assemblies and anti climbing devices for the following structures: |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| D-DT-7618 3-Pole Strain Structure 0 - 90º |  |  |  |  |  |  |  |
| 7.1.66 | D-DT-7618 D-DT-7311 | Pole, 3-Pole Strain Structure 0-90° 2 x 8 m and 1 x 10 m poles (Plant 1.6m, Bottom Attachement 6.2 m) | ea |  |  |  |  |
| 7.1.67 | D-DT-7618 D-DT-7311 | Pole, 3-Pole Strain Structure 0-90° 2 x 9 m and 1 x 11 m poles (Plant 1.7m, Bottom Attachement 7.1 m) | ea |  |  |  |  |
| 7.1.68 | D-DT-7618 D-DT-7311 | Pole, 3-Pole Strain Structure 0-90° 2 x 10 m and 1 x 12 m poles (Plant 1.8m, Bottom Attachement 8 m) | ea |  |  |  |  |
| 7.1.69 | D-DT-7618 D-DT-7311 | Pole, 3-Pole Strain Structure 0-90° 2 x 11 m and 1 x 13 m poles (Plant 1.9m, Bottom Attachement 8.9 m) | ea |  |  |  |  |
| 7.1.70 | D-DT-7618 D-DT-7311 | Pole, 3-Pole Strain Structure 0-90° 2 x 12 m and 1 x 14 m poles (Plant 2m, Bottom Attachement 9.8m) | ea |  |  |  |  |
| 7.1.71 | D-DT-7618 D-DT-7311 | Pole, 3-Pole Strain Structure 0-90° 2 x 13 m and 1 x 15 m poles (Plant 2.1m, Bottom Attachement 10.7m) | ea |  |  |  |  |
| 7.1.72 | D-DT-7618 D-DT-7311 | Pole, 3-Pole Strain Structure 0-90° 2 x 14 m and 1 x 16 m poles (Plant 2.2m, Bottom Attachement 11.6m) | ea |  |  |  |  |
| 7.1 | Dressing of Structures: VOLUME 3 PART 2 - Activity Stage 7.1 |  |  |  |  |  |  |
| Dressing include the transport to specific tower/pole position and installation of phase & earth wire hardware assemblies and anti climbing devices for the following structures: |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| D-DT-7618 3-Pole Strain Structure 0 - 90º cont |  |  |  |  |  |  |  |
| 7.1.73 | D-DT-7618 D-DT-7311 | Pole, 3-Pole Strain Structure 0-90° 2 x 15 m and 1 x 17 m poles (Plant 2.3m, Bottom Attachement 12.5m) | ea |  |  |  |  |
| 7.1.74 | D-DT-7618 D-DT-7311 | Pole, 3-Pole Strain Structure 0-90° 2 x 16 m and 1 x 18 m poles (Plant 2.4m, Bottom Attachement 13.4m) | ea |  |  |  |  |
| 7.1.75 | D-DT-7618 D-DT-7311 | Pole, 3-Pole Strain Structure 0-90° 2 x 17 m and 1 x 19 m poles (Plant 2.4m, Bottom Attachement 14.3m) | ea |  |  |  |  |
| 7.1.76 | D-DT-7618 D-DT-7311 | Pole, 3-Pole Strain Structure 0-90° 2 x 18 m and 1 x 20 m poles (Plant 2.6m, Bottom Attachement 15.2m) | ea |  |  |  |  |
| 7.1.77 | D-DT-7618 D-DT-7311 | Pole, 3-Pole Strain Structure 0-90° 2 x 19 m and 1 x 21 m poles (Plant 2.7m, Bottom Attachement 16.1m) | ea |  |  |  |  |
| 7.1 | Dressing of Structures: VOLUME 3 PART 2 - Activity Stage 7.1 |  |  |  |  |  |  |
| Dressing include the transport to specific tower/pole position and installation of phase & earth wire hardware assemblies and anti climbing devices for the following structures: |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 2-WT-1213 3-Pole Terminal Structure |  |  |  |  |  |  |  |
| 7.1.78 | 2-WT-1213 Sheet 3 & 4 D-DT-7311 | Pole, 3-Pole Term Structure 0-90° 3 x 11.6 poles (Plant 2m, Bottom Attachement 9.6m) | ea |  |  |  |  |
| 7.1.79 | 2-WT-1213 Sheet 3 & 4 D-DT-7311 | Pole, 3-Pole Term Structure 0-90° 3 x 12.6 poles (Plant 2m, Bottom Attachement 10.6m) | ea |  |  |  |  |
| 7.1.80 | 2-WT-1213 Sheet 3 & 4 D-DT-7311 | Pole, 3-Pole Term Structure 0-90° 3 x 13.6 poles (Plant 2m, Bottom Attachement 11.6m) | ea |  |  |  |  |
| 7.1.81 | 2-WT-1213 Sheet 3 & 4 D-DT-7311 | Pole, 3-Pole Term Structure 0-90° 3 x 14.6 poles (Plant 2m, Bottom Attachement 12.6m) | ea |  |  |  |  |
| 7.1.82 | 2-WT-1213 Sheet 3 & 4 D-DT-7311 | Pole, 3-Pole Term Structure 0-90° 3 x 15.6 poles (Plant 2m, Bottom Attachement 13.6m) | ea |  |  |  |  |
| 7.1.83 | 2-WT-1213 Sheet 3 & 4 D-DT-7311 | Pole, 3-Pole Term Structure 0-90° 3 x 16.6 poles (Plant 2m, Bottom Attachement 14.6m) | ea |  |  |  |  |
| 7.1.84 | 2-WT-1213 Sheet 3 & 4 D-DT-7311 | Pole, 3-Pole Term Structure 0-90° 3 x 17.6 poles (Plant 2m, Bottom Attachement 15.6m) | ea |  |  |  |  |
| 7.1 | Dressing of Structures: VOLUME 3 PART 2 - Activity Stage 7.1 |  |  |  |  |  |  |
| Dressing include the transport to specific tower/pole position and installation of phase & earth wire hardware assemblies and anti climbing devices for the following structures: |  |  |  |  |  |  |  |
| Chikadee / Kingbird Single Circuit H-Pole Structure D-DT-7800 H-Pole Intermediate Structure 8m X-arm D-DT-7801 H-Pole Structure 8m X-Arm In-Line Strain 0-70kN Range D-DT-7802 H-Pole Structure 8m X-Arm In-Line Strain 70-120kN Range D-DT-7807 H-Pole Structure 8m X-Arm Terminal 0-120kN Range D-DT-7808 H-Pole Structure 8m X-Arm Terminal 70-120kN Range D-DT-7810 H-Pole Intermediate Structure 10m X-Arm D-DT-7811 H-Pole Structure 10m X-Arm In-Line Strain 0-70kN Range D-DT-7812 H-Pole Structure 10m X-Arm In-Line Strain 70-120kN Range D-DT-7817 H-Pole Structure 10m X-Arm Terminal 0-70kN Range D-DT-7818 H-Pole Structure 10m X-Arm Terminal 70-120kN Range |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| D-DT-7800 H-Pole Intermediate Structure 8m X-arm |  |  |  |  |  |  |  |
| 7.1.85 | D-DT-7800 D-DT-7304 | Pole, H-Pole Intermediate Freestanding Structure 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2.1m, Conductor Attachement 9.2m) | ea |  |  |  |  |
| 7.1.86 | D-DT-7800 D-DT-7304 | Pole, H-Pole Intermediate Freestanding Structure 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2.2m, Conductor Attachement 10.1m) | ea |  |  |  |  |
| 7.1.87 | D-DT-7800 D-DT-7304 | Pole, H-Pole Intermediate Freestanding Structure 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2.3m, Conductor Attachement 11.0m) | ea |  |  |  |  |
| 7.1.88 | D-DT-7800 D-DT-7304 | Pole, H-Pole Intermediate Freestanding Structure 2 x 18.1 m poles and 8m or 10m crossarm (Plant 2.4m, Conductor Attachement 12.0m) | ea |  |  |  |  |
| 7.1.89 | D-DT-7800 D-DT-7304 | Pole, H-Pole Intermediate Freestanding Structure 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2.5m, Conductor Attachement 12.9m) | ea |  |  |  |  |
| 7.1.90 | D-DT-7800 D-DT-7304 | Pole, H-Pole Intermediate Freestanding Structure 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2.6m, Conductor Attachement 13.7m) | ea |  |  |  |  |
| 7.1 | Dressing of Structures: VOLUME 3 PART 2 - Activity Stage 7.1 |  |  |  |  |  |  |
| Dressing include the transport to specific tower/pole position and installation of phase & earth wire hardware assemblies and anti climbing devices for the following structures: |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| D-DT-7801 H-Pole Structure 8m X-Arm In-Line Strain 0-70kN Range |  |  |  |  |  |  |  |
| 7.1.91 | D-DT-7801 D-DT-7311 | Pole, In-Line Strain 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 10.6m) | ea |  |  |  |  |
| 7.1.92 | D-DT-7801 D-DT-7311 | Pole, In-Line Strain 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  |  |  |  |
| 7.1.93 | D-DT-7801 D-DT-7311 | Pole, In-Line Strain 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  |  |  |  |
| 7.1.94 | D-DT-7801 D-DT-7311 | Pole, In-Line Strain 2 x 18.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  |  |  |  |
| 7.1.95 | D-DT-7801D-DT-7311 | Pole, In-Line Strain2 x 19.2 m poles and 8m or 10m crossarm(Plant 2m, Bottom Attachement 14.7m) | ea |  |  |  |  |
| 7.1.96 | D-DT-7801 D-DT-7311 | Pole, In-Line Strain 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 15.6m) | ea |  |  |  |  |
| 7.1 | Dressing of Structures: VOLUME 3 PART 2 - Activity Stage 7.1 |  |  |  |  |  |  |
| Dressing include the transport to specific tower/pole position and installation of phase & earth wire hardware assemblies and anti climbing devices for the following structures: |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| D-DT-7802 H-Pole Structure 8m X-Arm In-Line Strain 70-120kN Range |  |  |  |  |  |  |  |
| 7.1.97 | D-DT-7802 D-DT-7311 | Pole, In-Line Strain 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 10.6m) | ea |  |  |  |  |
| 7.1.98 | D-DT-7802 D-DT-7311 | Pole, In-Line Strain 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  |  |  |  |
| 7.1.99 | D-DT-7802 D-DT-7311 | Pole, In-Line Strain 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  |  |  |  |
| 7.1.100 | D-DT-7802 D-DT-7311 | Pole, In-Line Strain 2 x 18.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  |  |  |  |
| 7.1.101 | D-DT-7802 D-DT-7311 | Pole, In-Line Strain 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 14.7m) | ea |  |  |  |  |
| 7.1.102 | D-DT-7802 D-DT-7311 | Pole, In-Line Strain 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 15.6m) | ea |  |  |  |  |
| 7.1 | Dressing of Structures: VOLUME 3 PART 2 - Activity Stage 7.1 |  |  |  |  |  |  |
| Dressing include the transport to specific tower/pole position and installation of phase & earth wire hardware assemblies and anti climbing devices for the following structures: |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| D-DT-7807 H-Pole Structure 8m X-Arm Terminal 0-120kN Range |  |  |  |  |  |  |  |
| 7.1.103 | D-DT-7807 D-DT-7311 | Pole, H-Pole Term Structure 0-90° 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 10.6m) | ea |  |  |  |  |
| 7.1.104 | D-DT-7807 D-DT-7311 | Pole, H-Pole Term Structure 0-90° 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  |  |  |  |
| 7.1.105 | D-DT-7807 D-DT-7311 | Pole, H-Pole Term Structure 0-90° 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  |  |  |  |
| 7.1.106 | D-DT-7807 D-DT-7311 | Pole, H-Pole Term Structure 0-90° 2 x 18.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  |  |  |  |
| 7.1.107 | D-DT-7807 D-DT-7311 | Pole, H-Pole Term Structure 0-90° 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 14.7m) | ea |  |  |  |  |
| 7.1.108 | D-DT-7807 D-DT-7311 | Pole, H-Pole Term Structure 0-90° 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 15.6m) | ea |  |  |  |  |
| 7.1 | Dressing of Structures: VOLUME 3 PART 2 - Activity Stage 7.1 |  |  |  |  |  |  |
| Dressing include the transport to specific tower/pole position and installation of phase & earth wire hardware assemblies and anti climbing devices for the following structures: |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| D-DT-7808 H-Pole Structure 8m X-Arm Terminal 70-120kN Range |  |  |  |  |  |  |  |
| 7.1.109 | D-DT-7808 D-DT-7311 | Pole, H-Pole Term Structure 0-90° 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 10.6m) | ea |  |  |  |  |
| 7.1.110 | D-DT-7808 D-DT-7311 | Pole, H-Pole Term Structure 0-90° 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  |  |  |  |
| 7.1.111 | D-DT-7808 D-DT-7311 | Pole, H-Pole Term Structure 0-90° 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  |  |  |  |
| 7.1.112 | D-DT-7808 D-DT-7311 | Pole, H-Pole Term Structure 0-90° 2 x 18.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  |  |  |  |
| 7.1.113 | D-DT-7808 D-DT-7311 | Pole, H-Pole Term Structure 0-90° 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 14.7m) | ea |  |  |  |  |
| 7.1.114 | D-DT-7808 D-DT-7311 | Pole, H-Pole Term Structure 0-90° 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 15.6m) | ea |  |  |  |  |
| 7.1 | Dressing of Structures: VOLUME 3 PART 2 - Activity Stage 7.1 |  |  |  |  |  |  |
| Dressing include the transport to specific tower/pole position and installation of phase & earth wire hardware assemblies and anti climbing devices for the following structures: |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| D-DT-7810 H-Pole Intermediate Structure 10m X-Arm |  |  |  |  |  |  |  |
| 7.1.115 | D-DT-7810 D-DT-7311 | Pole, H-Pole Intermediate Freestanding Structure 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2.1m, Conductor Attachement 9.2m) | ea |  |  |  |  |
| 7.1.116 | D-DT-7810 D-DT-7311 | Pole, H-Pole Intermediate Freestanding Structure 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2.2m, Conductor Attachement 10.1m) | ea |  |  |  |  |
| 7.1.117 | D-DT-7810 D-DT-7311 | Pole, H-Pole Intermediate Freestanding Structure 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2.3m, Conductor Attachement 11.0m) | ea |  |  |  |  |
| 7.1.118 | D-DT-7810 D-DT-7311 | Pole, H-Pole Intermediate Freestanding Structure 2 x 18.1 m poles and 8m or 10m crossarm (Plant 2.4m, Conductor Attachement 12.0m) | ea |  |  |  |  |
| 7.1.119 | D-DT-7810 D-DT-7311 | Pole, H-Pole Intermediate Freestanding Structure 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2.5m, Conductor Attachement 12.9m) | ea |  |  |  |  |
| 7.1.120 | D-DT-7810 D-DT-7311 | Pole, H-Pole Intermediate Freestanding Structure 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2.6m, Conductor Attachement 13.7m) | ea |  |  |  |  |
| 7.1 | Dressing of Structures: VOLUME 3 PART 2 - Activity Stage 7.1 |  |  |  |  |  |  |
| Dressing include the transport to specific tower/pole position and installation of phase & earth wire hardware assemblies and anti climbing devices for the following structures: |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| D-DT-7811 H-Pole Structure 10m X-Arm In-Line Strain 0-70kN Range |  |  |  |  |  |  |  |
| 7.1.121 | D-DT-7811 D-DT-7311 | Pole, In-Line Strain 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 10.6m) | ea |  |  |  |  |
| 7.1.122 | D-DT-7811 D-DT-7311 | Pole, In-Line Strain 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  |  |  |  |
| 7.1.123 | D-DT-7811 D-DT-7311 | Pole, In-Line Strain 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  |  |  |  |
| 7.1.124 | D-DT-7811 D-DT-7311 | Pole, In-Line Strain 2 x 18.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  |  |  |  |
| 7.1.125 | D-DT-7811 D-DT-7311 | Pole, In-Line Strain 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 14.7m) | ea |  |  |  |  |
| 7.1.126 | D-DT-7811 D-DT-7311 | Pole, In-Line Strain 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 15.6m) | ea |  |  |  |  |
| 7.1 | Dressing of Structures: VOLUME 3 PART 2 - Activity Stage 7.1 |  |  |  |  |  |  |
| Dressing include the transport to specific tower/pole position and installation of phase & earth wire hardware assemblies and anti climbing devices for the following structures: |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| D-DT-7817 H-Pole Structure 10m X-Arm Terminal 0-70kN Range |  |  |  |  |  |  |  |
| 7.1.127 | D-DT-7817 D-DT-7311 | Pole, H-Pole Term Structure 0-90° 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 10.6m) | ea |  |  |  |  |
| 7.1.128 | D-DT-7817 D-DT-7311 | Pole, H-Pole Term Structure 0-90° 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  |  |  |  |
| 7.1.129 | D-DT-7817 D-DT-7311 | Pole, H-Pole Term Structure 0-90° 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  |  |  |  |
| 7.1.130 | D-DT-7817 D-DT-7311 | Pole, H-Pole Term Structure 0-90° 2 x 18.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  |  |  |  |
| 7.1.131 | D-DT-7817 D-DT-7311 | Pole, H-Pole Term Structure 0-90° 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 14.7m) | ea |  |  |  |  |
| 7.1.132 | D-DT-7817 D-DT-7311 | Pole, H-Pole Term Structure 0-90° 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 15.6m) | ea |  |  |  |  |
| 7.1 | Dressing of Structures: VOLUME 3 PART 2 - Activity Stage 7.1 |  |  |  |  |  |  |
| Dressing include the transport to specific tower/pole position and installation of phase & earth wire hardware assemblies and anti climbing devices for the following structures: |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| D-DT-7818 H-Pole Structure 10m X-Arm Terminal 70-120kN Range |  |  |  |  |  |  |  |
| 7.1.133 | D-DT-7818 D-DT-7311 | Pole, H-Pole Term Structure 0-90° 2 x 15.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 10.6m) | ea |  |  |  |  |
| 7.1.134 | D-DT-7818 D-DT-7311 | Pole, H-Pole Term Structure 0-90° 2 x 16.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 11.6m) | ea |  |  |  |  |
| 7.1.135 | D-DT-7818 D-DT-7311 | Pole, H-Pole Term Structure 0-90° 2 x 17.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 12.6m) | ea |  |  |  |  |
| 7.1.136 | D-DT-7818 D-DT-7311 | Pole, H-Pole Term Structure 0-90° 2 x 18.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 13.7m) | ea |  |  |  |  |
| 7.1.137 | D-DT-7818 D-DT-7311 | Pole, H-Pole Term Structure 0-90° 2 x 19.2 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 14.7m) | ea |  |  |  |  |
| 7.1.138 | D-DT-7818 D-DT-7311 | Pole, H-Pole Term Structure 0-90° 2 x 20.1 m poles and 8m or 10m crossarm (Plant 2m, Bottom Attachement 15.6m) | ea |  |  |  |  |
| Activity Stage 8: Stringing, Regulation & Making off |  |  |  |  |  |  |  |
| Stringing include the transport of phase conductor, shield wire conductor and stringing hardware to the sites. It also includes the complete installation of harware and the regulation / tensioning phase & earth wire conductor. Contractor to ensure the necessary strength and size of Pilot wire for the purpose of stringing. |  |  |  |  |  |  |  |
| 8.1 | Test Joints: VOLUME 3 PART 2 - Activity Stage 8.1 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Perform tests at an approved body as indicated below. Refer to Volume 4 for the required material. Should the Test Joint fail, the Contractor will re-test at his own cost. Before construction commences, the crimper/s and presses to be used on the line shall be used to crimp the test joints. It shall be done by an authorised person who will perform joints on the line during construction. This must be witnessed by Clerk of Works and test certificates to be provided as part of the Hand Over Documentation. |  |  |  |  |  |  |  |
| 8.1.1 | Test Joints ACSR Earth Wires: VOLUME 3 PART 2 - Activity Stage 8.1 |  |  |  |  |  |  |
| 8.1.1.1 | 04TB-040 | Test complete Wolf assembly in accordance with Eskom technical bulletin 04TB-040 | each |  |  |  |  |
| 8.1.1.2 | 04TB-040 | Test complete Lynx assembly in accordance with Eskom technical bulletin 04TB-040 | each |  |  |  |  |
| 8.1.1.3 | 04TB-040 | Test complete Panther assembly in accordance with Eskom technical bulletin 04TB-040 | each |  |  |  |  |
| 8.1.2 | Test Joints ACSR Earth Wires: VOLUME 3 PART 2 - Activity Stage 8.1 |  |  |  |  |  |  |
| 8.1.2.1 | 04TB-040 | Test complete Chikadee assembly in accordance with Eskom technical bulletin 04TB-040 | each |  |  |  |  |
| 8.1.2.2 | 04TB-040 | Test complete Kingbird assembly in accordance with Eskom technical bulletin 04TB-040 | each |  |  |  |  |
| 8.1.2.3 | 04TB-040 | Test complete Tern assembly in accordance with Eskom technical bulletin 04TB-040 | each |  |  |  |  |
| 8.1.2.4 | 04TB-040 | Test complete Bersfort assembly in accordance with Eskom technical bulletin 04TB-040 | each |  |  |  |  |
| 8.2 | Strining: VOLUME 3 PART 2 - Activity Stage 8.2 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| String the following Phase Conductor (length is for all three phases): |  |  |  |  |  |  |  |
| 8.2.1 |  | Chikadee | m |  |  |  |  |
| 8.2.2 |  | Kingbird | m |  |  |  |  |
| 8.2.3 |  | Tern | m |  |  |  |  |
| 60 |  | Bersford | m |  |  |  |  |
| 8.2.5 |  | Twin Kingbird | m |  |  |  |  |
| 8.2.6 |  | Twin Tern | m |  |  |  |  |
| 8.2.7 |  | Twin Bersford | m |  |  |  |  |
| String the following Earth wires: |  |  |  |  |  |  |  |
| 8.2.8 |  | 7/3.35 Steel Wire | m |  |  |  |  |
| 8.2.9 |  | 19/2.65 Steel Wire | m |  |  |  |  |
| 8.2.10 |  | Wolf | m |  |  |  |  |
| 8.2.11 |  | Lynx | m |  |  |  |  |
| 8.2.12 |  | Panther | m |  |  |  |  |
| 8.3 | Making off and Regulation: VOLUME 3 PART 2 - Activity Stage 8.3 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Install the following Dead end Terminations and regulate tension of conductor: |  |  |  |  |  |  |  |
| Phase Conductor |  |  |  |  |  |  |  |
| 8.3.1 |  | Dead-End Termination Chikadee | ea |  |  |  |  |
| 8.3.2 |  | Dead-End Termination Kingbird | ea |  |  |  |  |
| 8.3.3 |  | Dead-End Termination Tern | ea |  |  |  |  |
| 8.3.4 |  | Dead-End Termination Bersford | ea |  |  |  |  |
| 8.3.5 |  | Dead-End Termination Twin Kingbird | ea |  |  |  |  |
| 8.3.6 |  | Dead-End Termination Twin Tern | ea |  |  |  |  |
| 8.3.7 |  | Dead-End Termination Twin Bersford | ea |  |  |  |  |
| Earth Wire Steel |  |  |  |  |  |  |  |
| 8.3.8 |  | 7/3.35 Steel Wire | ea |  |  |  |  |
| 8.3.9 |  | 19/2.65 Steel Wire | ea |  |  |  |  |
| 8.3.10 |  | Insulated 7/3.35 Steel Wire - Pistol Clamps | ea |  |  |  |  |
| 8.3.11 |  | Insulated 19/2.65 Steel Wire - Pistol Clamps | ea |  |  |  |  |
| Earth Conductor |  |  |  |  |  |  |  |
| 8.3.12 |  | Dead-End Termination Wolf | ea |  |  |  |  |
| 8.3.13 |  | Dead-End Termination Lynx | ea |  |  |  |  |
| 8.3.14 |  | Dead-End Termination Panther | ea |  |  |  |  |
| 8.3.15 |  | InsulatedDead-End Termination Wolf | ea |  |  |  |  |
| 8.3.16 |  | Insulated Dead-End Termination Lynx | ea |  |  |  |  |
| 8.3.17 |  | InsulatedDead-End Termination Panther | ea |  |  |  |  |
| 8.4 | Midspan Joints: VOLUME 3 PART 2 - Activity Stage 8.4 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Install the following midspan joints: |  |  |  |  |  |  |  |
| 8.4.1 |  | Midspan Joint Chikadee | ea |  |  |  |  |
| 8.4.2 |  | Midspan Joint Kingbird | ea |  |  |  |  |
| 8.4.3 |  | Midspan Joint Tern | ea |  |  |  |  |
| 8.4.4 |  | Midspan Joint Bersford | ea |  |  |  |  |
| 8.4.5 |  | Midspan Joint Wolf | ea |  |  |  |  |
| 8.4.6 |  | Midspan Joint Lynx | ea |  |  |  |  |
| 8.4.7 |  | Midspan Joint Panther | ea |  |  |  |  |
| 8.5 | Repair Sleeves: VOLUME 3 PART 2 - Activity Stage 8.5 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Supply and install repair sleeves for damaged conductors: |  |  |  |  |  |  |  |
| 8.5.1 |  | Mid Span Repair Sleeve Chikadee | ea |  |  |  |  |
| 8.5.2 |  | Mid Span Repair Sleeven Kingbird | ea |  |  |  |  |
| 8.5.3 |  | Mid Span Repair Sleeve Tern | ea |  |  |  |  |
| 8.5.4 |  | Mid Span Repair Sleeve Bersford | ea |  |  |  |  |
| 8.5.5 |  | Mid Span Repair Sleeve Wolf | ea |  |  |  |  |
| 8.5.6 |  | Mid Span Repair Sleeve Lynx | ea |  |  |  |  |
| 8.5.7 |  | Mid Span Repair Sleeve Panther | ea |  |  |  |  |
| 8.6 | Clamping In: VOLUME 3 PART 2 - Activity Stage 8.6 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Phase Conductor |  |  |  |  |  |  |  |
| 8.6.1 | D-DT-7321 | Clamping-in Chikadee | ea |  |  |  |  |
| 8.6.2 | D-DT-7321 | Clamping-in Kingbird | ea |  |  |  |  |
| 8.6.3 | D-DT-7321 | Clamping-in Tern | ea |  |  |  |  |
| 8.6.4 | 2-WT/1282 | Clamping-in Bersford | ea |  |  |  |  |
| 8.6.5 | 2-WT/1291 s1 | Clamping-in Twin Kingbird | ea |  |  |  |  |
| 8.6.6 | 2-WT/1291 s1 | Clamping-in Twin Tern | ea |  |  |  |  |
| 8.6.7 | 2-WT/1291 s1 | Clamping-in Twin Bersford | ea |  |  |  |  |
| Earth Wire |  |  |  |  |  |  |  |
| 8.6.8 | D-DT-7331 | Clamping-in 7/3.35 Steel Wire | ea |  |  |  |  |
| 8.6.9 | D-DT-7331 | Clamping-in 19/2.65 Steel Wire | ea |  |  |  |  |
| 8.6.10 | D-DT-7327 | Clamping-in 7/3.35 Steel Wire | ea |  |  |  |  |
| 8.6.11 | D-DT-7327 | Clamping-in 19/2.65 Steel Wire | ea |  |  |  |  |
| Earth Conductor |  |  |  |  |  |  |  |
| 8.6.12 | 2WT/1421 S1 | Clamping-in Wolf | ea |  |  |  |  |
| 8.6.13 | 2WT/1421 S1 | Clamping-in Lynx | ea |  |  |  |  |
| 8.6.14 | 2WT/1421 S1 | Clamping-in Panther | ea |  |  |  |  |
| 8.6.15 | 2WT/1421 S2 | Insulated Clamping-in Wolf | ea |  |  |  |  |
| 8.6.16 | 2WT/1421 S2 | Insulated Clamping-in Lynx | ea |  |  |  |  |
| 8.6.17 | 2WT/1421 S2 | Insulated Clamping-in Panther | ea |  |  |  |  |
| 8.6.18 | 2-NT/627 S5 | Insulated Suspension Clamping-in Wolf | ea |  |  |  |  |
| 8.6.19 | 2-NT/627 S5 | Insulated Suspension Clamping-in Lynx | ea |  |  |  |  |
| 8.6.20 | 2-NT/627 S5 | insulated Suspension Clamping-in Panther | ea |  |  |  |  |
| 8.6.21 | 2-NT/627 S6 | Suspension Clamping-in Wolf | ea |  |  |  |  |
| 8.6.22 | 2-NT/627 S6 | Suspension Clamping-in Lynx | ea |  |  |  |  |
| 8.6.23 | 2-NT/627 S6 | Suspension Clamping-in Panther | ea |  |  |  |  |
| 8.7 | Vibration Dampers: VOLUME 3 PART 2 - Activity Stage 8.7 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| Install asymmetrical dampers on the phase conductors as indicated in Volume 2 |  |  |  |  |  |  |  |
| 8.7.1 |  | Chikadee | ea |  |  |  |  |
| 8.7.2 |  | Kingbird | ea |  |  |  |  |
| 8.7.3 |  | Tern | ea |  |  |  |  |
| 8.7.4 |  | Bersford | ea |  |  |  |  |
| Install spiral vibration dampers on Earth Wire as indicated in Volume 2 |  |  |  |  |  |  |  |
| 8.7.5 |  | 7/3.35 Steel Wire | ea |  |  |  |  |
| 8.7.6 |  | 19/2.65 Steel Wire | ea |  |  |  |  |
| Install asymmetrical dampers on the Earth conductors as indicated in Volume 2 |  |  |  |  |  |  |  |
| 8.7.7 |  | Wolf | ea |  |  |  |  |
| 8.7.8 |  | Lynx | ea |  |  |  |  |
| 8.7.9 |  | Panther | ea |  |  |  |  |
| 8.8 | Bird Flight Diverters: VOLUME 3 PART 2 - Activity Stage 8.8 |  |  |  |  |  |  |
| Install as specified by the Environmental Report |  |  |  |  |  |  |  |
| 8.8.1 |  | Supply and Install EBM bird flappers on shielding wire | ea |  |  |  |  |
| 8.9 | Aircraft Warning Devices: VOLUME 3 PART 2 - Activity Stage 8.9 |  |  |  |  |  |  |
| Install on spans crossing the cliffs deeper than 60m |  |  |  |  |  |  |  |
| 8.9.1 | D-DT-7028 | Supply and Install aircraft warning spheres on shielding wire (D-DT-7028 – SAP: 0174771) Cloud White - G80 | ea |  |  |  |  |
| 8.9.2 | D-DT-7028 | Supply and Install aircraft warning spheres on shielding wire (D-DT-7028 – SAP: 0174771) International Orange A15 | ea |  |  |  |  |
| 8.10 | Temporary Structures - Crossings: VOLUME 3 PART 2 - Activity Stages 6, 7, & 8.2 |  |  |  |  |  |  |
| 8.10.1 |  | Prepare temporary structures and do stringing for the following type of crossings: Allow for all HV and MV lines, roads, telcom, rail, etc. crossing as per the profile | ea |  | cost plus 10% | cost plus 10% |  |
| 8.11 | Closing Spans to Substations: VOLUME 3 PART 2 - Activity Stages 9 & 10 |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| String the closing span to the line lander inside the substation. Quotations must be obtained from Transmission for the stringing closing spans to Main Transmission Substations. |  |  |  |  |  |  |  |
| String the following Phase Conductor (length is for all three phases): |  |  |  |  |  |  |  |
| 8.11.1 |  | Chikadee | m |  |  |  |  |
| 8.11.2 |  | Kingbird | m |  |  |  |  |
| 8.11.3 |  | Tern | m |  |  |  |  |
| 8.11.4 |  | Bersford | m |  |  |  |  |
| 8.11.5 |  | Twin Kingbird | m |  |  |  |  |
| 8.11.6 |  | Twin Tern | m |  |  |  |  |
| 8.11.7 |  | Twin Bersford | m |  |  |  |  |
| String the following Earth wires: |  |  |  |  |  |  |  |
| 8.11.8 |  | 7/3.35 Steel Wire | m |  |  |  |  |
| 8.11.9 |  | 19/2.65 Steel Wire | m |  |  |  |  |
| 8.11.10 |  | Wolf | m |  |  |  |  |
| 8.11.11 |  | Lynx | m |  |  |  |  |
| 8.11.12 |  | Panther | m |  |  |  |  |
| Activity Stage 9: Labelling VOLUME 3 PART 2 - Activity Stage 9 |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 9.1 | Structure/Pole Identification Labels: VOLUME 3 PART 2 - Activity Stage 9.1 |  |  |  |  |  |  |
| Supply, store and transport to site of line and install Structure/Pole Identification Labels and accessories: ESKASAANO Rev 1, 2-WT/1148 |  |  |  |  |  |  |  |
| 9.1.1 | D-DT-5050 s1 | "Structure/Pole Identification Lables" 132kV line | ea |  |  |  |  |
| 9.2 | Line Designation labels: VOLUME 3 PART 2 - Activity Stage 9.1 |  |  |  |  |  |  |
| Supply, store and transport to site of line and installLine Designation labels and accessories: ESKASAANO Rev 1, 2-WT/1148 |  |  |  |  |  |  |  |
| 9.2.1 | D-DT-5050 s3 | "Line designation Label" - 132kV line (On 3rd structure from each substation) | ea |  |  |  |  |
| 9.3 | Line Crossing Labels: VOLUME 3 PART 2 - Activity Stage 9.1 |  |  |  |  |  |  |
| Supply, store and transport to site of line and install "Line crossing Lables" - 132kV line poles: ESKASAANO Rev 1, 2-WT/1148 |  |  |  |  |  |  |  |
| 9.3.1 | D-DT-5050 s2 | "Line crossing Lables" - 132kV line poles | ea |  |  |  |  |
| 9.4 | Phase Disks: VOLUME 3 PART 2 - Activity Stage 9.1 |  |  |  |  |  |  |
| Supply, store and transport to site of line and install Phase Disks |  |  |  |  |  |  |  |
| 9.4.1 | D-DT-6114 | "Phase Disks" - 132kV Terminal structures | ea |  |  |  |  |
| Activity Stage 10: Dismantling VOLUME 3 PART 2 - Activity Stage 10 |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 10.1 |  | Structures & Poles |  |  |  |  |  |
| Dismantle the structure, move structure to the specified site and rehabilitate the structure sites of the following structures (PM to arrange with asset disposal department): |  |  |  |  |  |  |  |
| 10.1.1 |  | Structure/ Pole Description and Name 1 | ea |  |  |  |  |
| 10.1.2 |  | Structure/ Pole Description and Name 2 | ea |  |  |  |  |
| 10.1.3 |  | Structure/ Pole Description and Name 3 | ea |  |  |  |  |
| 10.1.4 |  | Structure/ Pole Description and Name 4 | ea |  |  |  |  |
| 10.2 |  | Foundation Structures & Poles |  |  |  |  |  |
| Remove the foundations, dispose of foundation material and rehabilitate the sites of the following foundation (PM to arrange with asset disposal department): A certificate must be obtained for the disposal of concrete and foundation material. Disposal must be in accordance to the environmental management plan. |  |  |  |  |  |  |  |
| 10.2.1 |  | Foundation Structure/ Pole Description and Name 1 | ea |  |  |  |  |
| 10.2.2 |  | Foundation Structure/ Pole Description and Name 2 | ea |  |  |  |  |
| 10.2.3 |  | Foundation Structure/ Pole Description and Name 3 | ea |  |  |  |  |
| 10.2.4 |  | Foundation Structure/ Pole Description and Name 4 | ea |  |  |  |  |
| 10.3 |  | Conductor |  |  |  |  |  |
| Remove the phase conductor & hardware and transporty all material to the specified site (PM to arrange with asset disposal department): |  |  |  |  |  |  |  |
| 10.3.1 |  | Conductor type 1 | m |  |  |  |  |
| 10.3.2 |  | Conductor type 2 | m |  |  |  |  |
| 10.3.3 |  | Conductor type 3 | m |  |  |  |  |
| 10.3.4 |  | Conductor type 4 | m |  |  |  |  |
| 10.4 |  | Steel Shield Wire |  |  |  |  |  |
| Remove the shield wire & hardware and transporty all material to the specified site (PM to arrange with asset disposal department): |  |  |  |  |  |  |  |
| 10.4.1 |  | Shield Wire type 1 | m | 10 000.00 |  |  |  |
| 10.4.2 |  | Shield Wire type 2 | m |  |  |  |  |
| 10.4.3 |  | Shield Wire type 3 | m |  |  |  |  |
| 10.4.4 |  | Shield Wire type 4 | m |  |  |  |  |
| Activity Stage 11: Taking over of the Works and Clearance of site VOLUME 3 PART 2 - Activity Stage 11 |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 11.1 | Re-instate entire construction site and roads: VOLUME 3 PART 2 - Activity Stage 11.1 |  |  |  |  |  |  |
| 11.1.1 |  | Complete re-instatement of all new structure sites, which includes removal from site of all rubbish, conductor off-cuts, excess construction material and excavated material to be spoiled, to a pre-approved dumping site | ea |  |  |  |  |
| 11.1.2 |  | Closure of all temporary construction roads, where required and providing of erosion protection measures as instructed by the Clerk of Works | sum |  |  |  |  |
| 11.1.3 |  | Removal of all access indicators and notice boards | sum |  |  |  |  |
|  |  | Complete construction of erosion protection measures as instructed by the Clerk of Works (Item subjected to re-measurement) | sum |  |  |  |  |
| 11.2 | Final inspection of the line: VOLUME 3 PART 2 - Activity Stage 11.2 |  |  |  |  |  |  |
| 11.2.1 |  | Conducting of pre-commissioning "pole-to-pole" final inspection, in conjunction with Project Engineer, Clerk of Works and Field Services Engineer | sum |  |  |  |  |
| 11.2.2 |  | Completion and submission of all "Quality Inspection & Defect Correction" sheets for 'Handing Over' documentation | sum |  |  |  |  |
| 11.3 | Handing over, test & commissioning: VOLUME 3 PART 2 - Activity Stage 11.3 |  |  |  |  |  |  |
| 11.3.1 |  | Completion and submission of all "Phase conductor jumper and Crossing clearance" records | sum |  |  |  |  |
| 11.3.2 |  | Completion and submission of all 'Handing Over' documentation | sum |  |  |  |  |
| 11.4 | Submission of ''As Built' Information: VOLUME 3 PART 2 - Activity Stage 11.4 |  |  |  |  |  |  |
| 11.4.1 |  | Preparation of all "As Built" drawings and "Line Data" sheets | sum |  |  |  |  |
| 11.4.2 |  | Completion and submission of Four copies of a complete "Line Inventory/Line Data" of the new line to the Employer, as specified in Activity Stage 12.4 | sum |  |  |  |  |
| Activity Stage 11: Taking over of the Works and Clearance of site cont |  |  |  |  |  |  |  |
| Item | Reference Drawing | Description | Unit | Quantity | Material Rate | Labour Rate | Total |
| 11.5 | Site clearance: VOLUME 3 PART 2 - Activity Stage 11.5 |  |  |  |  |  |  |
| 11.5.1 |  | Clearing of site, removal of site office, stores, rubbish, excess construction material and re-instatement of construction camp and material yard | sum |  |  |  |  |
| 11.5.2 |  | Removal upon completion of all items established in terms of Activity Stage 1.4 and the making good and restoring of the site to the satisfaction of the Clerk of Works. | sum |  |  |  |  |
| 11.5.3 |  | Removal of excess line material supplied by the Employer and return it to the nearest Eskom stores. | sum |  |  |  |  |

- Part 3: Scope of Work

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 |
| C3.1 | Employer’s Works Information | 18 |
|  | Total number of pages | 19 |

- C3.1: Employer’s works Information

Contents

- Part 3: Scope of Work	1

- C3.1: Employer’s Works Information	2

- 1	Description of the Works	4

- 1.1	Executive overview	4

- 1.2	Employer’s objectives and purpose of the works	4

- 1.3	Interpretation and terminology	5

- 2	Management and Start-up	8

- 2.1	Management Meetings	8

- 2.2	Documentation Control	8

- 2.3	Health and Safety Risk Management	8

- 2.4	Environmental Constraints and Management	9

- 2.5	Quality Assurance Requirements	9

- 2.5.1      Contractor and Subcontractor Quality Management System Requirements	9

- 2.5.2      Quality Plan	10

- 2.5.3	Contract Quality Plan	10

- 2.5.4	Quality Control Plan	10

- 2.6	Programming constraints	11

- 2.7	Contractor’s Management, Supervision and Key People	12

- 2.8	Invoicing and payment	13

- 2.9	Insurance provided by the Employer	14

- 2.10	Training workshops and technology transfer	14

- 3	Engineering and the Contractor’s design	14

- 3.1	Employer’s design	14

- 3.2	As-built drawings, operating manuals and maintenance schedules	14

- 4	Procurement	14

- 4.1	People	14

- 4.1.1	Minimum requirements of people employed on the Site	14

- 4.1.2	BBBEE and Preferencing Scheme	14

- 4.1.3	Supplier Development and Localisation	15

- 4.2	Subcontracting	16

- 4.2.1	Preferred subcontractors	16

- 4.2.2	Subcontract documentation, and assessment of subcontract tenders	16

- 4.2.3	Limitations on subcontracting	16

- 4.2.4	Attendance on subcontractors	16

- 4.3	Plant and Materials	16

- 4.3.1	Quality	16

- 4.3.2	Contractor’s procurement of Plant and Materials	17

- 4.3.3	Spares and consumables	   Error! Bookmark not defined.

- 4.4	Tests and inspections before delivery	17

- 5	Construction	17

- 5.1	Completion, testing, commissioning and correction of Defects	17

- 5.1.1	Work to be done by the Completion Date	17

- 5.1.2	Use of the works before Completion has been certified	17

- 5.1.3	Materials facilities and samples for tests and inspections	17

- 5.1.4	Commissioning	17

- 5.1.5	Start-up procedures required to put the works into operation	17

- 5.1.6	Take over procedures	17

- 5.1.7	Access given by the Employer for correction of Defects	17

- 5.1.8	Performance tests after Completion	17

- 5.1.9	Training and technology transfer	17

- 5.1.10	Operational maintenance after Completion	18

- 6	List of drawings	18

- 6.1	Drawings issued by the Employer	18

- Description of the works

- Executive overview

In general, the scope of work covered by this contract includes:

The scope of work to be used in conjunction with the bill of quantities per project design.

Note: Project Specific agreements will not be allocated to contractors for the construction of the control room unless they provide proof of CIDB GB registration. Project Specific agreements will be issued with the required level of grading.

CIDB Electrical Engineering (4EP) grading of level 6 or higher.

Scope of work

The establishment of the panel of contractors for the construction and dismantling of

HV distribution lines within the Limlanga Cluster for voltages ranging from 44kV up to

and including 132kV. The panel will include refurbishment, strengthening and direct

customer projects. This scope of work must be used in conjunction with the Bill of

Quantities which will cover Civil and Primary Plant works. The contract is as and when

required.

- Employer’s objectives and purpose of the works

The Eskom Project Manager will contact the successful Contractor and issue the Contractor with the design package for the project to be executed.

No work may commence on a project unless the Contractor Safety File has been approved by Eskom, the 37(2) agreement has been signed and Site Access has been granted to the allocated Contractor.

The Contractor will compile a Risk Register as per the terms and conditions of the ECC for discussion at regular Risk Reduction Meetings or as per agreement with the Project Manager.

It is expected from the Contractor to do the whole of the work as per timeframe set in the agreed Program of the Works.

The Contractor will be responsible for the collection and transporting of all necessary material from any and/or all Eskom warehouses and delivery of the material to site as well as return any material to Eskom stores from the site upon instruction from the Project Manager.  Minimum recommended working hours to be observed site are from 07h30 to 16h00.

The contractor is to ensure that all required documentation prescribed by Law is kept on file at the site office.  All OHS and Construction Regulation requirements are to be adhered to by the contractor.

The Contactor will also ensure that all plant and equipment dedicated to the project will not be removed from site until there is no use for the intended plant and equipment.  No moving of plant and equipment between projects will be allowed as it will have impact on completion of the project and lead to delays in completion.

The Contractor is to ensure that all Site Managers are competent, and trained in the use of the ECC and are fully conversant and familiar with the usage and procedures thereof.  Adherence to the terms and conditions of the ECC are essential and a requirement of all Contractor Site Managers dedicated to each project as per the Construction Regulations.

Payment Assessments will only be done for work done to date. Records of defined costs are to be kept on file on site whereby the Project Manager has access to this file at all times.

- Interpretation and terminology

- 1.3.1 Abbreviations

The following abbreviations are used in the Works Information:

| Abbreviation | Description |
| --- | --- |
| LOU | Mpumalanga Operating Unit |
| TBA | To be announced |
| PM | Project Manager |
| QS | Quantity Surveyor |
| BBBEE | Broad Based Black Economic Empowerment |
| PPPFA | Procurement Preferential Policy Framework Act |

1.3.2 Acceptance of Eskom SHEQ Policies and Procedures

The below list of requirements, however not limited to are part of the minimum requirements and part of this legal binding contract, the Contractor and his contractors confirms that he/she has familiarized himself/ herself with all the legal and other embedded requirements as indicated

| No | Unique Identifier | Revision | Document Title |
| --- | --- | --- | --- |
| 1 | 32 - 727 | 0 | Safety, Health, Environment and Quality (SHEQ) Policy 32-727 |
| 2 | 32-524 | 0 | Developing a Safety, Health and Environmental Specification |
| 3 | Eskom Life Saving Rules | 1 | Eskom Life Saving Rules 240-62196227 |
| 4 | Construction Reg 3 |  | Notification of Construction Work to Department of Labour |
| 5 | Construction Reg 4 & 5 |  | Appointment letters for Client representative, Principal Contractor & Contractor |
| 6 | OHS Act | 1 | Written agreement on OHS Act Section 37(2) & Standard Clause |
| 7, 8 & 9 | 34 - 1063 | 0 | Expanded Public Works Report 34-1063. |
| 10 | DST 34-961 | 0 | Legal appointments and authorizations |
| 11 | TPC 41-55 |  | Transporting persons on back of vehicles |
| 12 | LTIR | Master | Lost time injury report |
| 13 | - Contractor Performance Evaluation | Master |  |
| 14 | - Supplier Contract Quality Requirements | Master |  |
| 15 | - PPE & Hard Hat Specifications OHS | Master |  |
| 16 | - Identifying, Analysing, Documenting and Observing Tasks according to Criticality. | Latest Rev |  |
| 17 | - Health & Safety Representatives inspection reports and guidelines | Latest Rev |  |
| 18 | - Work at Heights Procedure | Latest Rev |  |
| 19 | - Vehicle and Driver Safety management | Latest Rev |  |
| 20 | - Environmental Management Incident Procedure | Latest Rev |  |
| 21 | - Risk Audit System Template | Latest Rev |  |

Acknowledgement by Contractor

I/We, ………………………………………… do hereby acknowledge having read and understood the above annexed documents from 1 to 25 in Section 1.3.2 of this contract.

I/We undertake to study and abide by these requirements at all time.

Signed at: ……………………………………… on the ……………….. day of ………………………….20………

Note: Please return the above pages with the other tender returnables to the Eskom office that issued this enquiry after complying with the above.

- Management and Start-up

- Management Meetings

Regular meetings of a general nature may be convened and chaired by the Project Manager as follows:

| Title and purpose | Approximate time & interval | Location | Attendance by: |
| --- | --- | --- | --- |
| Pre-introductory meeting | Upon request of the Project Manager at an agreed date by all parties | Site | PM, QS, Site Supervisor, Safety and Environmental Representatives and the Contractor. |
| Introductory meeting | After safety and environmental files have been assessed and approved. | Site | PM, QS, Site Supervisor, Safety and Environmental Representatives and the Contractor. |
| Toolbox talk and risk assessment | Daily before work begins. | Site | Contractor and Site Supervisor. |
| Risk register and compensation events | As necessary. | Site | PM, Contractor and Site Supervisor. |
| Overall contract progress and feedback | On a regular basis as agreed with the Project Team and the Contractor | Site | PM, QS, Contractor, Site Supervisor, and Safety and Environmental Representatives. |

Meetings of a specialist nature may be convened as specified elsewhere in this Works Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the works. Records of these meetings shall be submitted to the Project Manager by the person convening the meeting within five days of the meeting.

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting. Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.

All project instructions are to be issued by the Project Manager only.

- Documentation Control

All correspondence is to be addressed to the Project Manager with a chronological numbering system.

## Occupational Health and Safety Risk Management

The Contractor shall control his activities and processes in accordance with the Occupational Health & Safety Act, No. 85 of 1993 and Eskom’s Construction Safety, Health and Environmental Management 32-136, Safety, Health, Environment and Quality Policy, EPC32-727 and SHE Requirements for the Eskom Commercial Process, ST32-726. The Contractor shall comply with the health and safety requirements contained in Section 1.3.2 of this Works Information.

The Contractors Project SHEQ File is to be updated on a continuous basis.  The Contractor is to ensure that all relevant documentation and authorisations are contained in the file pertaining to the project.  Upon completion of the project, the Contractor is to convert all documentation contained in the SHEQ file into electronic format and save it as a PDF File.  The file name should contain the name of the Contractor and the project.  The file should then be saved onto a disk or removal storage device and handed over to the Project Coordinator or Project Manager upon completion of the project.

Contractor/s Legal Compliance Obligations in line with Construction Regulation Requirements

The Contractor and all its subcontractors undertake to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the works. Without limitation the Contractor and its subcontractor:

accepts that the Client (Eskom Distribution LimLanga Cluster) may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2014 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the site.

warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of works; and undertakes, in and about the execution of the works, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

Contractors and subcontractors are employers in their own right and it’s expected to do the basics to entrench the culture of safety.

The Directors or delegate should ensure the following is done in their respective sites/ companies while furthering the Eskom business: -

- Ensure that you have necessary competencies, capacity, and resources to carry out the construction work safely

- take reasonable steps to ensure co-operation between all contractors appointed by

yourself to enable each of those contractors to comply with these Regulations.

- ensure that your company is registered and in good standing with the compensation fund or with a licensed

- compensation insurer as contemplated in the Compensation for Occupational Injuries and Diseases Act, 1993 (Act No. 130 of 1993).

- Ensure that all contractor key performance indicators / key performance areas issued as per the Distribution/ Limlanga Cluster contractor reporting dashboard in line with the financial year performance targets are met and exceeded.

- Conduct monthly and quarterly occupational health and safety meetings

- Conduct Job and Behavioural based observations – at least 4 of each per Month per Construction Supervisor, one of each per Construction Managers, 1 of each per Project Manager and one of each per Company CEOs.

- Monthly Site Visits – Leadership Visibility Company CEO

- Monthly housekeeping audits/ inspections and keep proof of records

- Conduct monthly self OHS audits – (Distribution LimLanga Cluster Contractor Risk Audit System (RAS) Audit Template to be utilized, moreover audit records, action plan and close outs be documented)

- Incident Management and Investigations as per 32-95

- Include vehicle monitoring system as a standard requirement for all Principal Contractors employees who are required to travel.

- Submission of the vehicle monitoring system reports and actions taken to address non-compliance monthly and on an as and when required basis.

- Submit on a monthly required basis contractor man – hours by the last day of every month.

- All contractors who fail to comply with the above requirements and conditions, shall be issued with transgression and/ or noncompliance sanctions ranging from early warnings, work stoppages, etc. and revocation of NEC terms and conditions leading to the termination of the contract.

- It is very important to note that project specific SHE Specifications for all successful tenderers   and their subcontractors with regards to additional legislative, Eskom and Site-Specific requirements will be issued per project specific appointment for the duration of the contract. Tenders shall be required to comply fully with all requirements over and above the requirements stipulated on this document.

Principal Contractor roles, responsibility and accountability in respect to Occupational Injuries and Diseases whilst on this project: -

The contractor ought to comply and conform with all relevant Occupational health and safety statutory requirements and Eskom OHS requirements.

The contractor is accountable and remain responsibly for any occupational injuries or diseases that could occur during the execution of this project, to extent that all financial implications as a results of Occupational injuries or diseases are and will be attributed to the Employer (Contractor) without Eskom be accountable in line with section 89(1)(a) of the COID Act, No 130 of 1993 during the contract work execution in this instance.

The Contractor ensures where it intends to appoint sub-contractors to perform any of the scope of work as set out in this contract, that such subcontractor/s have the necessary skills, competencies and resources to perform the work safely.

The Contractor ensures that its contractor complies with applicable safety health and environmental laws, regulations, policies, guidelines and rules provided for in this contract to ensure proper maintenance of safety, health and environment during contract execution.

The Contractor ensures that where one or more subcontractors are appointed assume all the duties of the client under regulations 5 of the Construction regulations No. 37395 of 2014.

The Contractor and its subcontractors warrant that it has made adequate provision in its costing to meet all applicable SHE legislation, regulations, policies, guidelines and rules provided for in this contract to ensure proper maintenance of safety, health and environment during contract execution.

Section B: OHS Tender Requirements to be met by Contractors prior contract signing/ award. (Applicable to Section B of Annexure C1 only).

Tenderer/tenderers recommended for award, including those justified on the bases of objective criteria, must still meet Contractual requirements as set out in the enquiry. Contractual requirements exclude objective criteria, and Contractual requirements are not evaluation criteria. They are required to be met and assessed after the evaluation and ranking of the tenders.

These requirements shall be met prior to tender award as they have been identified as important for the scope of maintenance of HV Lines Construction, since its a high risk scope of activities.

The Principal Contractor further agrees to ensure that the below list of contractual outstanding OHS requirements are submitted to Eskom, and shall be in place, complied with and found to be legally valid before signing of the contract. The tenderers will be allowed a period of 7 working days to resubmit the outstanding contractual requirements.

Proof that the highest-ranked tenderer / preferred tenderer is able to meet the contractual requirements must be submitted before the contract may be awarded.

If the tenderer does not meet a contractual requirement, mitigating factors, may be agreed to and be made terms and requirements of the contract. If the tenderer does not agree with the mitigating factors or if there are insufficient suitable mitigating factors or if the risk is deemed too high, the tender may be awarded to a tenderer other than the highest-ranked (the second-ranked).

.

| B | Section B: OHS Tender Requirements to be met by Contractors prior contract award. (Applicable to Section B of Annexure C1 only) HV Line Construction Contract. |  |  |
| --- | --- | --- | --- |
| Ref | Eskom Health and Safety Contractual Requirements Checklist | Proof Required |  |
|  |  | Yes | No |
| B1. | Work at Heights Training Course Pre-Requisite Requirements – submit certified copies, not older than 3 months from the time and date of submission due dates. Course; Duration; Course Pre-requisites; Expiry. Basic Fall Arrest System Training (Unit Standard 229998); 3 days; Valid Fitness for Duty Certificate; No expiry period. Fall Arrest System Rescue Training (Unit Standard 229995); 2 days; Basic Fall Arrest System Training (US 229998); 3-year expiry period. Fall Protection Plan Developer Training (Unit Standard 229994); 2 – 5 days; Basic Fall Arrest System Training US 229998) and Fall Arrest System Rescue Training (US 229995); No expiry period. NB: - The submission of the above prerequisites shall be for the same individual employee competency certificates submitted under section 8.10 – 8.12 as per section A requirements. |  |  |
| B2. | Provide certified copies of Incident Management/ Investigation Competency Training Certificates with RCAT incorporated - US 120335 for the Company CEO and 16.2 Appointees. |  |  |
|  | End |  |  |

Occupational Health & Safety Management and Supervision of Construction work

•	The Contractor shall ensure compliance with the Occupational Health and Safety laws, however not limited to the following:

- The Occupational Health and Safety Act, 1993, and all regulations made there under as per the standard clause 1.3.2, stipulated from page 6 of this contract.

- The Construction Regulations, 2014

- The Health and Safety Requirements of the Employer more fully set out in Eskom procedure 32-136 and the SHE specifications.

- All Eskom Safety and Operating Procedures as outlined in the ORHVS (Operating Regulations on High Voltage Systems) and the standards attached to this document.

- The Contractor acknowledges that he is fully aware of the requirements of all of the above and undertakes to employ people who have been duly authorized in terms thereof and who have received sufficient safety training to ensure that they can comply therewith.

- The Contractor undertakes not to do, or not to allow anything to be done which will contravene any of the provisions of the Act, Regulations or Safety and Operating Procedures

- The Contractor shall ensure that a team member of the Contractor is authorized as a Responsible Person in terms of the ORHVS.  This includes the completion of all the pre-authorization training required for ORHVS Responsible Person (at the Contractor’s expense) as detailed in the standard, reference should be made to the latest standard revision. The Responsible Person shall supervise the works at all times and be available to take permits where necessary.

- The Contractor shall ensure that the Responsible person completes a training logbook (as per the ORHVS Standard – reference should be made to the latest revision) and arrange with the appropriate Eskom representative for evaluation of the authorized person prior to the Construction start date.  This needs to be arranged by the Contractor.

- The Contractor shall appoint a person who will liaise with the Eskom Safety Officer responsible for the premises relevant to this contract. The person so appointed shall:

- Supply the Eskom Safety Officer with copies of minutes of all Health and Safety Committee meetings (if relevant), on a monthly basis.

- Supply the Eskom Safety Officer with copies of all appointments in respect of employees employed on this contract, in terms of the Act and Regulations and shall advise the Eskom Safety Officer of any changes thereto – to be handed over to the Employer prior to construction start.

- Eskom shall, at any stage during the currency of this agreement, be entitled to;

- do Occupational audits at the Contractor’s premises, its workplaces and on its employees.

- refuse any employee, sub-contractor or agent of the Contractor access to its premises if such person has been found to commit any unlawful act or any unsafe working practice or is found to be not authorized or qualified in terms of the Act

- issue the Contractor with a work stop order or a compliance order should Eskom become aware of any unsafe working procedures or conditions or any non-compliance with the Act, Regulations and Procedures referred to in 1 above by the Contractor or any of its employees, sub-contractors or agents.

- No extension of time will be allowed as a result of any action taken by Eskom in terms of the above and the Contractor shall have no claim against Eskom as a result thereof. Furthermore, no amendments to the Act or the Regulations or reasonable amendment to Eskom’s Safety and Operating Procedures will entitle the Contractor to claim any additional costs incurred in complying therewith from Eskom.

- An authorized Eskom representative will be on site for regular site visits to monitor the Contractor’s implementation of health, safety and quality Standards.

- The Contractor shall be responsible for all expenses incurred to ensure adherence to Health and Safety Regulations as stipulated above which includes but is not restricted to ORHVS training courses, etc.

- The Contractor shall adhere to the Standard on Working Clearances at HV Structures with pole-mounted auxiliary equipment.

- The Contractor shall comply with all the requirements of the CONSTRUCTION REGULATIONS.

Please Note: (Before carrying out work, Contractor to notify the provincial director in writing of the construction work in line with requirements laid under Construction Regulations)

It is an Eskom requirement that the Contractor shall use a Fall Arrest System (FAS) as defined in the Construction Regulations whenever a risk of falling exists.  The Contractor shall adhere to the applicable standards and procedures attached to this contract.

Typically, the following identified risks could endanger the work was done by the Contractor.  The Contractor should identify mitigation actions for these risks, as well as identify any additional risks and submit at tender:

| Typical Risk | Yes/No |
| --- | --- |
| Live underground cables |  |
| Work in live chambers/restricted areas |  |
| Live overhead conductors/crossings |  |
| Close proximity work to live equipment |  |
| Work in elevated positions/on ladders/from crane buckets |  |
| Operating of cranes/vehicle mounted |  |
| Static electricity/induction, step potential etc |  |
| Work with chainsaws/mechanical cutters |  |
| Materials handling/ heavy equipment handling |  |
| Conductor stringing and tensioning |  |
| Vehicle risks |  |
| Work in open trenches/excavations |  |
| Biological/Health risks (camps) |  |
| Weather related risks (UV, heat, cold) |  |
| Environmental risks |  |
| Ergonomic risks (body position, fatigue) |  |
| Work on/dismantling of rusted & rotten poles and structures |  |
| Fire risks |  |
| Public safety risks |  |

Principal and subcontractor Health and Safety Plan/File

Principal Contractor and subcontractors are employers in their own right and it’s expected to do the basics to entrench the culture of safety.

I/We ………………………will prepare and submit Health and Safety Plan to Eskom SHEQS via the Project Portfolio’s office for evaluations and approval before the commencement of each Task and Resource Capacity Schedule, including however not limited to the following details: -

- Safety Representatives and First Aiders names, providing their ID Numbers and details of certification.

- Serial numbers, calibration certificates and expiry dates of the tested tools and equipment.

- Make, model and registration number of vehicles to be used.

Subcontractors Project Health and Safety file shall be developed in line with the requirements of the SHE specifications and shall be submitted for evaluation and approval by the client SHEQS department before commencement of any works onsite.

Subcontracting

Contractors are requested to submit names of proposed “Subcontractors” to be utilized on this project.  Contractors are advised that only Eskom Approved Consultants and Contractors who have completed the necessary Eskom Contractor Training & Accreditation may be appointed to construct work safety

- The Contractor shall be responsible for ensuring that all equipment supplied and used and all work carried out under this contract shall be in accordance with the Occupational Health and Safety Act (Act 85 of 1993) and regulations remaining in force, as may be amended from time to time.

- In addition, the Contractor shall comply with other Safety application provisions of Government, Provincial, Municipal Safety Laws, Building, Construction, Electricity Regulations and Eskom Distribution Standards.

- The Contractor shall accept full responsibility for the means, methods, sequence or procedures of construction for safety precautions or programmes incident to the work of the contractor.

- The Contractor is required to submit a working methodology statement with regards to the Safety Standards while working within hazardous areas such as live substations or in close proximity of energized apparatus.

- The Contractor shall indemnify the employer and the Engineer against responsibility for safety on the site of the works.

- The Contractor shall enter into an agreement to complete the work required for the construction of the works in accordance with the provisions of all pertinent legislation and in particular with the provisions of the Occupational Health and Safety Act (Act 85 of 1993) and the regulations promulgated there under.

- Reference of the Safety Methodology Statement can be found in the Government Occupational Health and Safety Act (Act 8 of 1993) and Construction Regulations Document which is available publicly.

- The safety of the Contractors personnel and employees acquire precedence over the construction works.

- Contractor to assess and make provision for security services to protect the demolished material should the need arise

Life Saving Rules (full compliance as per the lifesaving rules standard, document number 240-62196227)

Due to the importance to safe lives and apparatus of Eskom it is recommended that if a contractor abuse any lifesaving rules, all work allocated to the contractor will immediately be put on hold until final outcome with investigation. Safety is the combined responsibility of the team and therefore team leader or team will be held responsibly together. There are six lifesaving rules that may not be broken by the Principal Contractor, its sub-contractors, their Team Leaders including all his/her employees while furthering Eskom Busine

The Six Eskom Life Saving Rules are as follows:-

Rule 1:*Open, isolated, tests, earth, and bond and/or insulate before touch*

Rule 2:*Hook up at height*

Rule 3:*Buckle Up*

Rule 4*Be Sober*

Rule 5:*Ensure that you have a permit to work*

Rule 6.*Ensure safe live working

Consequences of Violating a Life-Saving Rule

In terms of general health and safety in Eskom, if any of the Life-Saving Rules are violated, it will be treated as serious misconduct, and result in a disciplinary process in accordance with the Eskom Disciplinary Code and Procedure.

It must be highlighted that Eskom takes a ZERO TOLERANCE stance to violation of these rules.

Depending on the circumstances, Eskom reserves the right, where a contractor manager/supervisor allows the violation of a Life-Saving Rule, to suspend the contractor’s activities while determining an appropriate sanction.

Where a contractor employee allegedly violates a Life-Saving Rule, the contractor shall immediately remove the employee from the site and initiate the disciplinary process. The contractor shall investigate any violation of a Life-Saving Rule and initiate the disciplinary process within five (5) working days of the violation. The contractor shall furnish Eskom with a copy of the sanction after the disciplinary process.

ACCEPTANCE NOTE

Eskom takes ZERO TOLERANCE in breaking any of the above Life Saving Rules. Principal Contractor shall sign an acknowledgement for Eskom Life Savings rules, including acknowledgement of conditions with regards to transgression to any of the rules.

SIGNED BY:                                      DESIGNATION _______________________DATE:            /       / ___

Occupational Health & Safety Indemnity

The Contractor shall be responsible for and protect, hold harmless, defend and indemnify the  Employer from and against all claims, demands and causes of action of every kind and character arising in connection herewith against the Employer in favor of the respective employees, affiliated companies, contractors, subcontractors, agents, invitees or employees of the Indemnifying Party, on account of bodily injury, death or damage to the property of such persons.

- Environmental Constraints and Management

The Contractor shall control his activities and processes in accordance with Environmental Requirements for the Procurement of Assets, Goods and Services, TST41-120 Rev. 2. The Eskom Environmental Management Plan provides the aspects and impacts that will require management and must be followed strictly. The Contractor is to prepare a site/factory specific separate EMP for all environmental concerns that might arise and any changes to the approved plan shall be reported and be approved by the Eskom Environmental Representative and Project Manager prior to the commencement of work.

In addition, the Contractor is required to ensure that all goods, services or works supplied in terms of this Works Information also conform to all applicable environment legislation(s), Safety, Health, Environment and Quality Policy, EPC32-727; SHE Requirements for the Eskom Commercial Process, ST32-726; (and additional requirements). The Contractor shall comply with the environmental criteria and constraints stated in Section 1.3.2.

When required, the Contractor must ensure that all Subcontractors’ EMP comply with legal and other requirements and also includes all the environmental risks associated with the scope of work. The Main (Principal) Contractor shall define the specific risks applicable to the Subcontractor’s scope of work.

The Contractor is to send a flash report for any environmental incidents that have occurred on site as soon as possible or within 24 hours to the Eskom Environmental Representative and Project Manager clearly stating any impact to the environment.

No environmental records shall be destroyed or discarded by the Contractor. Eskom as the Employer and the Contractor shall agree that the Contractor retains certain environmental records. Waste generated during the course of the project must be disposed at a registered site and the Contractor shall retain records of disposal.

Deviations from these requirements will be regarded as a non-conformance. Should there be concerns regarding environmental performance and non-conformance to environmental requirements, management engagements and interventions will be introduced to determine a means to addressing the shortfalls. Once these interventions have been explored and exhausted, then the Eskom Supplier Disciplinary Process will be followed.

The cost to the Contractor to obtain permits should it become necessary to cut a protected tree, ensure that waste is disposed of on a permitted, legal waste site and all relevant costs payable to dumping site as well as safe storage of all equipment which will be removed and replaced from site which will be transported upon instruction to the nearest designated disposal site within the Mpumalanga Operating Unit.

- Quality Assurance Requirements

Quality Assessment Criteria Category 3, Category 3 Form A of the QM-58 specification was selected and completed by Eskom Representative who will identify the applicable Contractor quality requirements to be met. Form A of the Supplier Quality Management specification shall be signed by the Contractor responding to an Eskom Enquiry.

- 2.5.1 Contractor and Subcontractor Quality Management System Requirements

- The Contractor and Subcontractor shall have formal Quality Management System in place in accordance with the requirements of the Supplier Quality Management specification, 240-1056500.

- Such formal system shall consist of the appropriate documentation such as work procedures, work instructions, method statements, work flow documentation etc. as the case may be. This requirement constitutes the most basic Quality Management System requirements.

- Unless specifically excluded in the Quality Assessment Criteria, as per the Level of Quality Requirements (Level 1, 2, 3 or 4). The Contractor shall have a fully documented, implemented and maintained Quality Management System that complies with ISO-9001 standard. In the event that the Contractor invariably requires the assistance of some Subcontractor in order to realise its own supply obligations.  The aforementioned requirement applies equally in all cases where any such Subcontractor’s scope of responsibility includes the provision of any of the following activities viz. Design & Development, Manufacturing, Testing, Storage, Delivery, Installation, Commissioning, and Project Management.

- Unless specifically excluded in Quality Assessment Criteria, such Quality Management System shall carry valid ISO-9001 certification from an accredited certification body, as indicated in the applicable Eskom invitation (This requirement applies equally to both the Contractor and any/all manufacturing third party organizations mentioned above).

- Eskom reserves the right to request and perform necessary assessments at Subcontractor facilities.

- The Contractor shall be responsible for defining the specific quality control elements applicable to the respective Subcontractor’s scope of work/supply, and ensure that their Subcontractor(s) quality programmes support Eskom requirements.

- The Contractor shall inform Eskom of any proposed changes to the Quality Management System or staff that will affect the Quality System prior to implementation of these changes.

- 2.5.2 Quality Plan

The information in this section constitutes the minimum requirements for a Quality Plan:

- The scope of work activities shall have a documented, implemented and maintained Contract Quality Plan and/or Quality Control Plan (Inspection and Test Plan).

- All production and/or service provision shall be carried out in accordance with documented Contract Quality Plan (CQP) and/ or Quality Control Plan (QCP)/ Inspection and Test Plan (ITP).

- Sourcing of material and subcontracted activities; monitoring of sub-suppliers  information shall be included in the CQP;

- The Contractor shall plan for the required Quality related activities and interfaces within the Contractor’s Quality system, in order to demonstrate its ability towards both controlling and meeting specified Eskom requirements.

- The final Contract Quality Plan shall be submitted 30 days after contract award and shall be updated continuously as per instruction from the Project Manager .

- Contract Quality Plan

Contractor shall require Subcontractors to submit Contract Quality Plan (CQP) and associated documentation in accordance with requirements of Project Quality Management System processes applicable to Subcontractor Scope of Work.

Contractor shall, where applicable based on Scope of Work Criticality, ensure Procurement documents clearly and unambiguously require Subcontractor submission of a Subcontractor CQP for Contractor and Eskom review.

Contractor and Subcontractor CQP shall comply with Eskom “Quality Requirements Specifications” and shall be submitted prior to the initial Scope of Work Kick-off or initial Pre-fabrication meeting and prior to commencement of manufacturing, whichever is earlier.

Sourcing of material and subcontracted activities; monitoring of sub-suppliers information shall be included in the CQP;

The final Contract Quality Plan shall be submitted 30 days after contract award and shall be updated continuously as per instruction from the Project Manager .

- Quality Control Plan

Contractor shall develop and implement processes and procedures which efficiently and effectively monitor, verify and document Quality of Scope of Work deliverables.

Contractor shall ensure that QCP/ITP’s are prepared at a level of detail sufficient to address all Quality Control related activities in chronological order, from contract review through materials verification, manufacturing, fabrication, assembly, final testing, documentation, and certification.

Contractor shall ensure that Subcontractor QCP/ITP’s are prepared at a level of detail sufficient to address all Quality Control related activities in chronological order, from contract review through materials verification, installation/ construction work, fabrication, assembly, final testing, documentation, and certification.

Where activities subject to Inspection and Test procedures are to be undertaken by a Subcontractor, the QCP/ITP shall make reference to this fact and shall include descriptive details of Subcontractors involvement.

A separate QCP/ITP shall be required for each Contractor / Subcontractor Scope of Work.

Contractor may authorise use of Subcontractor QCP/ITP format providing it is in compliance with the above.

Contractor shall be ultimately responsible for the development and proper implementation of all Subcontractor QCP/ITPs, including those reviewed or developed by Subcontractors.

Eskom reserves the right to select witness and hold points within all developed Subcontractor QCP/ITPs for Eskom oversight of selected functions and to perform surveillance or audits of the Work.

Contractor shall establish processes and procedures for formal assessment of Subcontractor inspection and testing programs. These shall include review of Subcontractor inspection reports and other Quality Control documentation. Additional formal assessment of manufacturing, fabrication and assembly facility operations shall be conducted by Contractor to ensure continuing suitability, adequacy and effectiveness of the Subcontractor inspection and testing programs. Assessment frequency shall be established in consideration of Subcontractor Scope of Work, Criticality of Scope of Work deliverables and performance information. Assessment scope and schedule shall be developed in consultation with Eskom.

Mandatory pre-inspection meetings will be convened by Eskom or its Inspection Agency or AIA to be attended by the Contractor and Subcontractors representatives, including their Quality representatives who will be involved with the Works and records to be kept.

Eskom reserves the right to appoint resident quality inspectors that can be based at the Contractor or Subcontractor’s premises and on site where the work is being performed. The Contractor is expected to provide work space at no cost to Eskom, for the inspector as required.

- Programming constraints

A comprehensive and fully detailed programme is to be submitted within the seven (7) days after the introductory meeting and should indicate all milestones and critical dates. This programme must first be approved by the Project Manager and must be updated on an as and when required basis by the Project Manager.

The following dates shall be clearly reflected on the programme:

- Starting and completion dates for all activities as well as relevant key dates for hold or witness points. All relevant significant activities shall be shown in order to monitor the progress in the factory/workshop.

- The programme shall also reflect a 2-week period for inspection and correcting of Defects before the completion date.

Updated programmes must be available at all meetings reflecting progress to date and the date when delivery will take place through the use of task orders.

Format of the program

- The Contractor shall submit his construction program in terms of the conditions of contract.

- The Contractor is to submit a revised programme for acceptance at each site meeting.

- This program shall be in the form of an approved Gantt Chart containing the following information:

- All construction activities, including milestones, initial tasks, critical path, required Outages, and target Dates. All potential risk activities should be clearly indicated on the critical path.

- Every activity on the programme will be clearly linked to labour resources and equipment required to perform the specific activity.

- Projected weekly progress on site for the entire duration of the contract.

- Completion and hand-over Dates for formal inspection by the site supervisor must be indicated.

- A column showing the daily tempo of all the construction activities must be indicated next to the activity on the programme.

- Project expenditure on a monthly basis for the entire duration of the contract.

- The following project phases and activities are minimum requirements for the programme:

- Site Establishment and Material Delivery – Lead times to be specified.

- Preparation work – Work that can be completed without the necessity of power outages

- Outage work – Work that must be completed under outage conditions

- Planned outages to be included in the programme

- Contractors float to be included in the programme

- The Contract Program will be on display in the Contractors Site Offices and will be updated weekly.  In addition to the maintaining of this programme, the Contractor will report progress to the Project Manager at each site meeting or at request of the Project Manager.

- The Contractor shall also provide an organisation chart showing the personnel to be employed for the works, along with a detailed CV of all key personnel.

- Should any deviations to the program be found the Contractor shall submit a revised program to the Project Manager within one week of such deviations being brought to the Contractor's attention.

- The Outages must be arranged with Employer via the Outage arrangement procedures, as a pre-requisite for the acceptance of the programme by the Project Manager.

- Acceptance of any program by the Project Manager shall have no contractual status other than an indication that the Project Manager is satisfied as to the order in which the work is to be carried out, and that the Contractor undertakes to perform all work in accordance with the accepted program.

- The Project Manager retains the right to alter the accepted program should circumstances on site necessitate such a change.

Other information to be shown on the program.

The following Statutory non-working days are included within the contract period:

- All Public Holidays for the duration of the contract.

- The programme must clearly indicate the non-working days for the entire construction period.

- Contractor’s Management, Supervision and Key People

The Contractor is to submit an organogram showing all key people involved in the contract 7 days after specific project contract award. All key personnel must be appointed in writing, must be current for the specific site and area of work and must be kept on file. This would be essential if the Contractor is a Joint Venture.

- Invoicing and payment

Within one week of receiving a payment certificate from the Project Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice showing the amount due for payment equal to that stated in the Project Manager’s payment certificate.

The Contractor shall address the tax invoice to:

Eskom Holdings SOC Limited

Mpumalanga Operating Unit

PO Box 223

Witbank

1035

and include on each invoice the following information:

Name and address of the Contractor and the Project Manager;

The contract number and title;

Contractor’s VAT registration number;

The Employer’s VAT registration number 4740101508;

Description of service provided for each item invoiced based on the Price List;

Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT.

Procedures for Invoice Submission and Payment (e. g. Electronic Payment Instructions)

| General Information | X |
| --- | --- |
| - No Pro-forma Invoice |  |
| - Check Vendor number against the Address and name on Tax invoice |  |
| - Insert the Vendor number on Tax invoice (Top right hand corner) |  |
| - Bank details must be on the invoice or on a attach sheet, but it does not require a bank stamp just a letter) |  |
| - Check banking details on invoice against SAP system. If more than one banking account check bank account against banking details on invoice. If banking details not on invoice, write the bank code next to the vendor account (bank code 0002) |  |
| - Check Vendor VAT number against the vendor master. (FK03) If VAT number not on master records, prepare a list and forward to Vendor Management to check and update the vendor master records |  |
| - No fax copies of Tax invoices allowed |  |
| - No copies of Tax invoices allowed unless originally printed by the Vendor if a photocopy tax invoice, it must be an original “certified copy” (i.e. not a copy of a “certified copy” invoice) from the vendor and check in system if not previously be paid. Put stamp “not previously paid” on invoice and sign. |  |
| - Ensure that date received stamp is clear on invoice |  |
| - Stamp all Invoices with the Vat stamp, complete and sign (only when VAT is applicable) |  |
| - The stamp should not be stamped over any written information |  |
| - When scanning invoice, check the quality before linking in SAP (inboxes) |  |
| With Reference Invoices | X |
| - Goods receipt must be done (payment with reference) |  |
| - Ensure that the SAP purchase order number is clear and correct on the invoice |  |
| - GR number to be written on the Invoices |  |
| - If multiple lines on invoice write the line number of the order against the line to ensure that the processors match the correct lines (to ensure that 191100 is matched correctly) |  |

- Insurance provided by the Employer

As stated for “Format A”/”Format B”/“Format Dx” available from 01 April 2015 to 31 March 2016 on

http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies.aspx (See Annexure B for basic guidance).  Contact any of the Insurance Advisors from ESCAP.

- Training workshops and technology transfer

The obligation for technology transfer being included as part of this contract on Completion of the Works is to train Eskom Staff and/or other Contractors on the use of the access control and remote monitoring system, secure kiosks installation and commissioning, as well as training on maintenance of the secure meter kiosks.

- Engineering and the Contractor’s design

- Employer’s design

The Employer will supply Contractor with a final design document compiled by the Project Engineer detailing the scope of work to be executed on the project as well as Project Drawings.

- As-built drawings, operating manuals and maintenance schedules

The Contractor is required to provide the necessary drawings, operating manuals, test certificates and training program details, as well as a commitment letter for providing ongoing product support.

- Procurement

- People

- Minimum requirements of people employed on the Site

All people employed by the Contractor to perform supervision of installation and commissioning should have Police Clearance before work can commence. The Contractor’s employees shall be sober when carrying out their duties and may be subjected to random breathalyser tests.

- BBBEE and Preferencing Scheme

Eskom prefers to contract with suppliers that are Level 1 – 4 contributors to B-BBEE, thus:

Suppliers that are Level 1 to 4 contributors shall maintain or improve upon the B-BBEE contributor level for the duration of the contract.  Suppliers that do not meet the Eskom B-BBEE contributor level preference will be required to migrate to B-BBEE level 1 to 4 as a condition of the contract.

- Supplier Development Localisation and Industrialisation (SDL&I)

SDL&I Penalty and Performance Security

Eskom will apply 2.5% retention on every invoice (excluding VAT) after all cumulative Project Specific agreements awarded to the Contractor that have reached a stipulated threshold as security for the fulfilment of the SDL&I obligations.

Skills Development

Local Production and Content

The material designated for Local Content and Production:

| Commodity | Local Content Threshold |
| --- | --- |
| As per Project Specific Agreement |  |

Job Opportunities

The number of jobs to be created and/or retained as a result of this contract

| Jobs to be created | Jobs to be retained |
| --- | --- |
| As per Project Specific Agreement |  |

Communities based local to site (areas around site) should be prioritised for employment

Skills Development

Training Initiatives

| Category | Contractor’s Obligation |
| --- | --- |
| As per Project Specific Agreement |  |
| Total |  |

Subcontracting

| Criteria | Contractor’s Obligation |
| --- | --- |
| As per Project Specific Agreement |  |

Reporting and Monitoring

- The suppliers shall on a monthly/quarterly basis submit a report to Eskom in accordance with Data Collection Template on their compliance with the SDL&I obligations described above.

- An SD&L Compliance Matrix for the development of skills and/or the promotion of localised content applicable to the scope of work shall be provided.  Regular reporting on a monthly basis must be done and handed to the project manager to report on progress of compliance to the targets agreed upon at contract stage.  This report must be handed over to the Project Manager on a monthly basis when submitting the assessment claim for payment.

- Expanded Public Work Programme (EPWP)

- The Contractor must report all local/temporary labourers employed in a project

- The Contractor MUST submit a report on a monthly basis

- The Contractor must NOT wait until the end of a project in order to submit reports

- The contractor must submit the REV 7 report together with the assessment claim for payment.

- The contractor is responsible for assisting ESKOM in reporting all work done.

- Eskom’s report feeds back to Parliament and non-reporting of contractors affects this report.

- No payment will be certified without the required report being submitted.

- Lost Time Injury Report (LTIR)

- The Contractor must submit this report monthly with each payment assessment claim

- No payment will be certified unless this report is submitted.

- Subcontracting

- Preferred subcontractors

The Contractor to submit the names of each proposed subcontractor to the Employer for acceptance. The Contractor does not appoint a subcontractor until the Employer has accepted such subcontractor.

- Subcontract documentation, and assessment of subcontract tenders

The Contractor to indicate the percentage of subcontracting, the proposed subcontractors together with their BBBEE statuses, and the sources of assets, goods or services when local content and production criteria are applicable. The proposed target will form part of the contractual obligation. The NEC system is compulsory for all subcontract documentation.

- Limitations on subcontracting

The Contractor is not allowed to sub-contract more than 25% of the contract to another enterprise/supplier that does not have equal or higher BBBEE status, unless the intended subcontractor is an EME that has the capability and ability to execute the sub-contract, in order to claim the points for BBBEE.

- Attendance on subcontractors

The Contractor is responsible for performing on the provided scope of work as if he had not subcontracted. The appointed Contractor will also be liable to the Subcontractors’ employees, as he legally and liable to this contract.

- Plant and Materials

- Quality

The Contractor shall control his activities and processes in accordance with Eskom’s Quality Requirements for Procurement of Assets, Goods & Services, QM-58 and ISO-9001.

- Contractor’s procurement of Plant and Materials

The Employer requires warranties from the Contractor to be in favour of the Employer and not just to the Contractor during the life of the contract.

- Tests and inspections before delivery

All materials shall be regularly tested at the manufacturers' factories. The Contractor shall make sure that regular quality control tests are carried out to ensure that good quality of the materials is maintained.

- Construction

- Completion, testing, commissioning and correction of Defects

- Work to be done by the Completion Date

On or before the Completion Date the Contractor shall have done everything required to Provide the Works except for the work listed below which may be done after the Completion Date but in any case before the dates stated. The Project Manager cannot certify Completion until all the work except that listed below has been done and is also free of Defects which would have, in his opinion, prevented the Employer from using the works and others from doing their work.

- Use of the works before Completion has been certified

The Contractor will have to carry out the supervision of the installations, as per the instruction of the Project Manager.

- Materials facilities and samples for tests and inspections

From time to time random sample test and inspections may be requested, to ensure good quality of the goods being supplied.

- Commissioning

Commissioning is to be done before or after Completion depending on the Programme from the Project Manager.

- Start-up procedures required to put the works into operation

In order to put the works into operation the Project Manager may require the Contractor to either do this for him or be in attendance whilst he does it, depending on who is the responsible person.

- Take over procedures

Take-over is after or at the same time as Completion. The Contractor is to arrange an inspection before completion of the installation to inspect and identify any outstanding or any defects. The Project Manager may require the Contractor to provide assistance, on an as and when required basis.

- Access given by the Employer for correction of Defects

The Project Manager arranges access for the Contractor to use a part of the works which has been taken over if needed to correct any Defects. After the works have been put into operation, the Employer may require the Contractor to undertake certain procedures before such access can be granted. The Contractor will be responsible for ensuring that the area to be worked in is barricaded before correcting any defects.

- Performance tests after Completion

The Contractor to demonstrate that the works can operate as guaranteed by the Contractor (in Contractor’s Works Information) or specified by the Employer either here or elsewhere in this Works Information.

- Training and technology transfer

The Employer requires the Contractor to provide training on the use of the access control or any associated transfer of technology from him to the Employer.

- Operational maintenance after Completion

The Employer may require the Contractor before the defects date to perform certain duties after Completion and take over which relate to maintenance of the works.

- List of drawings

- Drawings issued by the Employer

This is the list of drawings issued by the Employer at or before the Contract Date and which apply to this contract.

| Drawing number | Revision | Title |
| --- | --- | --- |
|  |  | As per Project Specific Agreement |

- Part 4: Site Information

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 |
| C4 | Site Information | 1 |
|  | Total number of pages | 2 |

- Part 4: Site Information

Core clause 11.2(16) states

“Site Information is information which

- describes the Site and its surroundings and

- is in the documents which the Contract Data states it is in.”

In Contract Data, reference has been made to this Part 4 of the contract for the location of Site Information.

General description

As per Project specific agreement

Existing buildings, structures, and plant & machinery on the Site

As per Project specific agreement

Subsoil information

As per Project specific agreement

Hidden services

Before any excavation is commenced, it will be the responsibility of the Contractor to ascertain from the “Engineering Assistant” the position of any existing services on site.  Once these are indicated to the Contractor they shall be deemed “known”.  Any costs incurred for repairs to any “known” services shall be for the Contractor’s account.

Other reports and publicly available information

None.

This total is required by the Employer for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.

Available from Engineering Contract Strategies Tel 011 803 3008, Fax 011 803 3009 or see www.ecs.co.za