NEC3 Engineering & Construction Contract

| Between | ESKOM HOLDINGS SOC Ltd (Reg No. 2002/015527/30) |  |
| --- | --- | --- |
| and | [Insert at award stage] (Reg No. ___________ ) |  |
| for | CLASS 3&4 Wood Pole replacement under LIVE work conditions 11-33 kv in the Free State Operating Unit FOR 36 Months as and when required |  |
| Contents: |  | No of pages |
| Part C1 | Agreements & Contract Data |  |
| Part C2 | Pricing Data |  |
| Part C3 | Scope of Work |  |
| Part C4 | Site Information |  |
| CONTRACT No. | [Insert at award stage] |  |

Part C1: Agreements & Contract Data

| Contents: |  | No of pages |
| --- | --- | --- |
| C1.1 | Form of Offer and Acceptance [to be inserted from Returnable Documents at award stage] |  |
| C1.2a | Contract Data provided by the Employer |  |
| C1.2b | Contract Data provided by the Contractor [to be inserted from Returnable Documents at award stage] |  |
| C1.3 | Proforma Guarantees |  |

C1.1 Form of Offer & Acceptance

## Offer

The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

CLASS 3&4 Wood Pole replacement under LIVE work conditions 11-33 kv in the Free State Operating Unit FOR 36 Months as and when required

The tenderer, identified in the Offer signature block, has examined the documents listed in the Tender Data and addenda thereto and by submitting this Offer has accepted the Conditions of Tender.

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Contractor under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data.

Delete the Options which do not apply

| Options B | The offered total of the Prices exclusive of VAT is | Rate based |
| --- | --- | --- |
|  | Value Added Tax @ 15% is |  |
|  | The offered total of the amount due inclusive of VAT is |  |
|  | (in words) [●] |  |

This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| For the tenderer: |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |
| Tenderer’s CIDB registration number (if applicable) |  |  |  |  |

## Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Employer and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in:

Part C1		Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2		Pricing Data

Part C3		Scope of Work: Works Information

Part C4		Site Information

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed original copy signed between them of this document, including the Schedule of Deviations (if any).

Unless the tenderer (now Contractor) within five working days of the date of such receipt notifies the Employer in writing of any reason why he cannot accept the contents of this agreement, this agreement shall constitute a binding contract between the Parties.

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| for the Employer |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

## Schedule of Deviations to be completed by the Employer prior to contract award

Note:

- This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.

- The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

- A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

| No. | Subject | Details |
| --- | --- | --- |
| 1 | [●] | [●] |
| 2 | [●] | [●] |
| 3 | [●] | [●] |
| 4 | [●] | [●] |
| 5 | [●] | [●] |
| 6 | [●] | [●] |
| 7 | [●] | [●] |

By the duly authorised representatives signing this Schedule of Deviations below, the Employer and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement.

|  | #### For the tenderer: |  | #### For the Employer |
| --- | --- | --- | --- |
| Signature |  |  |  |
| Name |  |  |  |
| Capacity |  |  |  |
| On behalf of | (Insert name and address of organisation) |  | (Insert name and address of organisation) |
| Name & signature of witness |  |  |  |
| Date |  |  |  |

C1.2 ECC3 Contract Data

# Part one - Data provided by the Employer

[Instructions to the contract compiler:  (delete these two notes in the final draft of a contract)

- Please read the relevant clauses in the conditions of contract before you enter data.  The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data.

- Some ECC3 options are always selected by Eskom Holdings SOC Ltd.   The remaining ECC3 options are identified by shading in the left hand column.  In the event that the option is not required select and delete the whole row.  Where the following symbol is used “[●]” - data is required to be inserted relevant to the specific option selected.]

Completion of the data in full, according to the Options chosen, is essential to create a complete contract.

|  | ## Clause |  | ## Statement | ## Data |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1 |  | ## General |  |  |  |  |  |  |  |  |
|  |  |  | The conditions of contract are the core clauses and the clauses for main Option |  |  |  |  |  |  |  |  |
|  |  |  |  | B: Priced contract with bill of quantities |  |  |  |  |  |  |  |
|  |  |  |  | F: Management contract |  |  |  |  |  |  |  |
|  |  |  | dispute resolution Option | W1: Dispute resolution procedure |  |  |  |  |  |  |  |
|  |  |  | and secondary Options |  |  |  |  |  |  |  |  |
|  |  |  |  | X1: Price adjustment for inflation |  |  |  |  |  |  |  |
|  |  |  |  | X2 Changes in the law X13: Performance Bond |  |  |  |  |  |  |  |
|  |  |  |  | X16: Retention |  |  |  |  |  |  |  |
|  |  |  |  | Z: Additional conditions of contract |  |  |  |  |  |  |  |
|  |  |  | of the NEC3 Engineering and Construction Contract, April 2013 (ECC3) | If 2005 Edition is to be used delete “April 2013” and replace with “June 2005 with amendments June 2006”. Always delete this note before finalising this Data |  |  |  |  |  |  |  |
|  | 10.1 |  | The Employer is (Name): | Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa |  |  |  |  |  |  |  |
|  |  |  | Address | Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg |  |  |  |  |  |  |  |
|  | 10.1 |  | The Project Manager is: (Name) | Moipone Ntshali |  |  |  |  |  |  |  |
|  |  |  | Address | [●] |  |  |  |  |  |  |  |
|  |  |  | Tel | [●] |  |  |  |  |  |  |  |
|  |  |  | Fax | [●] |  |  |  |  |  |  |  |
|  |  |  | e-mail | [●] |  |  |  |  |  |  |  |
|  | 10.1 |  | The Supervisor is: (Name) | [●] |  |  |  |  |  |  |  |
|  |  |  | Address | [●] |  |  |  |  |  |  |  |
|  |  |  | Tel No. | [●] |  |  |  |  |  |  |  |
|  |  |  | Fax No. | [●] |  |  |  |  |  |  |  |
|  |  |  | e-mail | [●] |  |  |  |  |  |  |  |
|  | 11.2(13) |  | The works are | CLASS 3&4 Wood Pole replacement under LIVE work conditions 11-33 kv in the Free State Operating Unit FOR 36 Months as and when required |  |  |  |  |  |  |  |
|  | 11.2(14) |  | The following matters will be included in the Risk Register | - Community unrest - Public Members - Stray animals - Snakes - Bees and Wasps - Theft/Crime - Traffic, Agricultural equipment - Road conditions - Access to site - Network Coverage |  |  |  |  |  |  |  |
|  | 11.2(15) |  | The boundaries of the site are | Free State Operating Unit |  |  |  |  |  |  |  |
|  | 11.2(16) |  | The Site Information is in | Part 4: Site Information |  |  |  |  |  |  |  |
|  | 11.2(19) |  | The Works Information is in | Part 3: Scope of Work and all documents and drawings to which it makes reference. |  |  |  |  |  |  |  |
|  | 12.2 |  | The law of the contract is the law of | the Republic of South Africa |  |  |  |  |  |  |  |
|  | 13.1 |  | The language of this contract is | English |  |  |  |  |  |  |  |
|  | 13.3 |  | The period for reply is | 1 week |  |  |  |  |  |  |  |
|  | ## 2 |  | ## The Contractor's main responsibilities | Data required by this section of the core clauses is provided by the Contractor in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |  |  |
|  | ## 3 |  | ## Time |  |  |  |  |  |  |  |  |
|  | 11.2(3) |  | The completion date for the whole of the works is | 60 months |  |  |  |  |  |  |  |
|  | 11.2(9) |  | The key dates and the conditions to be met are: | Condition to be met |  |  |  |  |  | key date |  |
|  |  |  |  | 1 |  | [●] |  |  |  | [●] |  |
|  |  |  |  | 2 |  | [●] |  |  |  | [●] |  |
|  |  |  |  | 3 |  | [●] |  |  |  | [●] |  |
|  | 30.1 |  | The access dates are: | Part of the Site |  |  |  |  | Date |  |  |
|  |  |  |  | 1 |  | [●] |  |  | [●] |  |  |
|  |  |  |  | 2 |  | [●] |  |  | [●] |  |  |
|  |  |  |  | 3 |  | [●] |  |  | [●] |  |  |
|  | 31.1 |  | The Contractor is to submit a first programme for acceptance within | 5 working days after kick off meeting |  |  |  |  |  |  |  |
|  | 31.2 |  | The starting date is | 1 December 2025 |  |  |  |  |  |  |  |
|  | 32.2 |  | The Contractor submits revised programmes at intervals no longer than | 1 week excluding weekends and holidays |  |  |  |  |  |  |  |
|  | 35.1 |  | The Employer is not willing to take over the works before the Completion Date. | [No data needed if this statement is included] |  |  |  |  |  |  |  |
|  | ## 4 |  | ## Testing and Defects |  |  |  |  |  |  |  |  |
|  | 42.2 |  | The defects date is | 52 weeks after Completion of the whole of the works. |  |  |  |  |  |  |  |
|  | 43.2 |  | The defect correction period is | 2 weeks |  |  |  |  |  |  |  |
|  |  |  | except that the defect correction period for | [●] is [●] weeks |  |  |  |  |  |  |  |
|  |  |  | and the defect correction period for | [●] is [●] weeks |  |  |  |  |  |  |  |
|  | ## 5 |  | ## Payment |  |  |  |  |  |  |  |  |
|  | 50.1 |  | The assessment interval is | On completion of work |  |  |  |  |  |  |  |
|  | 51.1 |  | The currency of this contract is the | South African Rand. |  |  |  |  |  |  |  |
|  | 51.2 |  | The period within which payments are made is | 4 weeks. |  |  |  |  |  |  |  |
|  | 51.4 |  | The interest rate is | the publicly quoted prime rate of interest (calculated on a 365 day year) charged from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and (ii) the LIBOR rate applicable at the time for amounts due in other currencies. LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove. |  |  |  |  |  |  |  |
|  | ## 6 |  | ## Compensation events |  |  |  |  |  |  |  |  |
|  | 60.1(13) |  | The place where weather is to be recorded is: | Free State |  |  |  |  |  |  |  |
|  |  |  | The weather measurements to be recorded for each calendar month are, | the cumulative rainfall (mm) |  |  |  |  |  |  |  |
|  |  |  |  | the number of days with rainfall more than 10 mm |  |  |  |  |  |  |  |
|  |  |  |  | the number of days with minimum air temperature less than 0 degrees Celsius |  |  |  |  |  |  |  |
|  |  |  |  | the number of days with snow lying at 09:00 hours South African Time |  |  |  |  |  |  |  |
|  |  |  |  | and these measurements: |  |  |  |  |  |  |  |
|  |  |  | The weather measurements are supplied by | South African Weather Bureau |  |  |  |  |  |  |  |
|  |  |  | The weather data are the records of past weather measurements for each calendar month which were recorded at: | South African Weather Bureau |  |  |  |  |  |  |  |
|  |  |  | and which are available from: | the South African Weather Bureau and included in Annexure A to this Contract Data provided by the Employer |  |  |  |  |  |  |  |
|  | 60.1(13) |  | Assumed values for the ten year return weather data for each weather measurement for each calendar month are: | As stated in Annexure A to this Contract Data provided by the Employer. Note: If this arrangement is used, delete the rows above for 60.1(13) and delete this note. |  |  |  |  |  |  |  |
|  | ## 7 |  | ## Title | There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |  |  |
|  | ## 8 |  | ## Risks and insurance |  |  |  |  |  |  |  |  |
|  | 80.1 |  | These are additional Employer's risks | 1. Material availability |  |  |  |  |  |  |  |
|  |  |  |  | 2. Outage rescheduling |  |  |  |  |  |  |  |
|  |  |  |  | 3. Availability of resources |  |  |  |  |  |  |  |
|  | ## 9 |  | ## Termination | There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |  |  |
|  | ## 10 |  | ## Data for main Option clause |  |  |  |  |  |  |  |  |
|  | B |  | Priced contract with bill of quantities |  |  |  |  |  |  |  |  |
|  | F |  | Management contract |  |  |  |  |  |  |  |  |
|  | ## 11 |  | ## Data for Option W1 |  |  |  |  |  |  |  |  |
|  | W1.1 |  | The Adjudicator is | the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him. (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA). |  |  |  |  |  |  |  |
|  |  |  | Address | [●] |  |  |  |  |  |  |  |
|  |  |  | Tel No. | [●] |  |  |  |  |  |  |  |
|  |  |  | Fax No. | [●] |  |  |  |  |  |  |  |
|  |  |  | e-mail | [●] |  |  |  |  |  |  |  |
|  | W1.2(3) |  | The Adjudicator nominating body is: | the Chairman of ICE-SA a joint Division of the South African Institution of Civil Engineering and the London Institution of Civil Engineers. (See www.ice-sa.org.za ) or its successor body. |  |  |  |  |  |  |  |
|  | W1.4(2) |  | The tribunal is: | arbitration. |  |  |  |  |  |  |  |
|  | W1.4(5) |  | The arbitration procedure is | the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |  |  |  |
|  |  |  | The place where arbitration is to be held is | [●] South Africa |  |  |  |  |  |  |  |
|  |  |  | The person or organisation who will choose an arbitrator - if the Parties cannot agree a choice or - if the arbitration procedure does not state who selects an arbitrator, is | the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |  |  |  |
|  | ## 12 |  | ## Data for secondary Option clauses |  |  |  |  |  |  |  |  |
|  | X1 |  | Price adjustment for inflation |  |  |  |  |  |  |  |  |
|  | X1.1(a) |  | The base date for indices is | [●]. |  |  |  |  |  |  |  |
|  | X1.1(c) |  | The proportions used to calculate the Price Adjustment Factor are: | proportion |  |  | linked to index for | Index prepared by |  |  |  |
|  |  |  |  | 0. [●] |  |  | [●] | [●] |  |  |  |
|  |  |  |  | 0. [●] |  |  | [●] | [●] |  |  |  |
|  |  |  |  | 0. [●] |  |  | [●] | [●] |  |  |  |
|  |  |  |  | 0. [●] |  |  | [●] | [●] |  |  |  |
|  |  |  |  | 0. [●] |  |  | [●] | [●] |  |  |  |
|  |  |  |  | [●] |  |  | non-adjustable |  |  |  |  |
|  |  |  | Total | 1.00 |  |  |  |  |  |  |  |
|  | X2 |  | Changes in the law | There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data. |  |  |  |  |  |  |  |
| X13 |  |  | The Additional conditions of contract are |  | Performance Bond – Demand Guarantees |  |  |  |  |  |  |
| X13.1 |  |  |  |  | If required after Financial Analysis |  |  |  |  |  |  |
|  | X16 |  | Retention (not used with Option F) |  |  |  |  |  |  |  |  |
|  | X16.1 |  |  |  |  |  |  |  |  |  |  |
|  |  |  | The retention percentage is | [5]% |  |  |  |  |  |  |  |
|  | Z |  | The Additional conditions of contract are | Z1 to Z15 always apply. |  |  |  |  |  |  |  |
|  | Z1 | Cession delegation and assignment |  |  |  |  |  |  |  |  |  |
|  | Z1.1 | The Contractor does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Employer. |  |  |  |  |  |  |  |  |  |
|  | Z1.2 | Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. |  |  |  |  |  |  |  |  |  |
|  | Z2 | Joint ventures |  |  |  |  |  |  |  |  |  |
|  | Z2.1 | If the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Employer for the performance of this contract. |  |  |  |  |  |  |  |  |  |
|  | Z2.2 | Unless already notified to the Employer, the persons or organisations notify the Project Manager within two weeks of the Contract Date of the key person who has the authority to bind the Contractor on their behalf. |  |  |  |  |  |  |  |  |  |
|  | Z2.3 | The Contractor does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Employer having been given to the Contractor in writing. |  |  |  |  |  |  |  |  |  |
|  | Z3 |  | Change of Broad Based Black Economic Empowerment (B-BBEE) status |  |  |  |  |  |  |  |  |
|  | Z3.1 |  | Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change. |  |  |  |  |  |  |  |  |
|  | Z3.2 |  | The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Project Manager within thirty days of the notification or as otherwise instructed by the Project Manager. |  |  |  |  |  |  |  |  |
|  | Z3.3 |  | Where, as a result, the Contractor’s B-BBEE status has decreased since the Contract Date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Works. |  |  |  |  |  |  |  |  |
|  | Z3.4 |  | Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93. |  |  |  |  |  |  |  |  |
|  | Z4 | Confidentiality |  |  |  |  |  |  |  |  |  |
|  | Z4.1 | The Contractor does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time). Should the Contractor disclose information to Others in terms of clause 25.1, the Contractor ensures that the provisions of this clause are complied with by the recipient. |  |  |  |  |  |  |  |  |  |
|  | Z4.2 | If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Project Manager. |  |  |  |  |  |  |  |  |  |
|  | Z4.3 | In the event that the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure. In the event that such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed. |  |  |  |  |  |  |  |  |  |
|  | Z4.4 | The taking of images (whether photographs, video footage or otherwise) of the works or any portion thereof, in the course of Providing the Works and after Completion, requires the prior written consent of the Project Manager. All rights in and to all such images vests exclusively in the Employer. |  |  |  |  |  |  |  |  |  |
|  | Z4.5 | The Contractor ensures that all his subcontractors abide by the undertakings in this clause. |  |  |  |  |  |  |  |  |  |
|  | Z5 | Waiver and estoppel: Add to core clause 12.3: |  |  |  |  |  |  |  |  |  |
|  | Z5.1 | Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Project Manager, the Supervisor, or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing. |  |  |  |  |  |  |  |  |  |
|  | Z6 |  | Health, safety and the environment: Add to core clause 27.4 |  |  |  |  |  |  |  |  |
|  | Z6.1 |  | The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the works. Without limitation the Contractor: - accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2014 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Site; - warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of works; and - undertakes, in and about the execution of the works, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |  |  |
|  | Z6.2 |  | The Contractor, in and about the execution of the works, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |  |  |
|  | Z7 | Provision of a Tax Invoice and interest. Add to core clause 51 |  |  |  |  |  |  |  |  |  |
|  | Z7.1 | Within one week of receiving a payment certificate from the Project Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures stated in the Works Information, showing the amount due for payment equal to that stated in the payment certificate. |  |  |  |  |  |  |  |  |  |
|  | Z7.2 | If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice. Interest due by the Employer in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made. |  |  |  |  |  |  |  |  |  |
|  | Z7.3 | The Contractor (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment. |  |  |  |  |  |  |  |  |  |
|  | Z8 | Notifying compensation events |  |  |  |  |  |  |  |  |  |
|  | Z8.1 | Delete from the last sentence in core clause 61.3, “unless the Project Manager should have notified the event to the Contractor but did not”. |  |  |  |  |  |  |  |  |  |
|  | Z9 | Employer’s limitation of liability |  |  |  |  |  |  |  |  |  |
|  | Z9.1 | The Employer’s liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand) |  |  |  |  |  |  |  |  |  |
|  | Z9.2 | The Contractor’s entitlement under the indemnity in 83.1 is provided for in 60.1(14) and the Employer’s liability under the indemnity is limited. |  |  |  |  |  |  |  |  |  |
|  | Z10 | Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it": |  |  |  |  |  |  |  |  |  |
|  | Z10.1 | or had a business rescue order granted against it. |  |  |  |  |  |  |  |  |  |
|  | Z11 | Addition to secondary Option X7 Delay damages (if applicable in this contract) |  |  |  |  |  |  |  |  |  |
|  | Z11.1 | If the amount due for the Contractor’s payment of delay damages reaches the limits stated in this Contract Data for Option X7 or Options X5 and X7 used together, the Employer may terminate the Contractor’s obligation to Provide the Works using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table. |  |  |  |  |  |  |  |  |  |

| Z12 | Ethics |  |
| --- | --- | --- |
| For the purposes of this Z-clause, the following definitions apply: |  |  |
| Affected Party |  | means, as the context requires, any party, irrespective of whether it is the Contractor or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends, |
| Coercive Action |  | means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally, |
| Collusive Action |  | means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally, |
| Committing Party |  | means, as the context requires, the Contractor, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractor or the Subcontractor’s employees, |
| Corrupt Action |  | means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party, |
| Fraudulent Action |  | means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation, |
| Obstructive Action |  | means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and |
| Prohibited Action |  | means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action. |
| Z12.1 | A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof. |  |
| Z12.2 | The Employer may terminate the Contractor’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Contractor did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Employer has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Employer can terminate the Contractor’s obligation to Provide the Services for this reason. |  |
| Z12.3 | If the Employer terminates the Contractor’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2. |  |
| Z12.4 | A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Employer does not have a contractual bond with the Committing Party, the Contractor ensures that the Committing Party co-operates fully with an investigation. |  |
| Z13 | Insurance |  |
| Z 13.1 | Replace core clause 84 with the following: |  |

| Insurance cover | 84 |  |
| --- | --- | --- |
|  | 84.1 | When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force. |
|  | 84.2 | The Contractor provides the insurances stated in the Insurance Table A. |
|  | 84.3 | The insurances provide cover for events which are at the Contractor’s risk from the starting date until the earlier of Completion and the date of the termination certificate. |
|  |  | ### INSURANCE TABLE A Insurance against; Minimum amount of cover or minimum limit of indemnity. Loss of or damage to the works, Plant and Materials; The replacement cost where not covered by the Employer’s insurance The Employer’s policy deductible, as at Contract Date, where covered by the Employer’s insurance. Loss of or damage to Equipment; The replacement cost. Liability for loss of or damage to property (except the works, Plant and Materials and Equipment) and liability for bodily injury to or death of a person (not an employee of the Contractor) caused by activity in connection with this contract; Loss of or damage to property Employer’s property The replacement cost where not covered by the Employer’s insurance The Employer’s policy deductible, as at Contract Date, where covered by the Employer’s insurance Other property The replacement cost Bodily injury to or death of a person The amount required by applicable law. Liability for death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract; The amount required by the applicable law. |
| Z 13.2 |  | Replace core clause 87 with the following: The Employer provides the insurances stated in the Insurance Table B. |
|  |  | - INSURANCE TABLE B Insurance against or name of policy; Minimum amount of cover or minimum limit of indemnity. Assets All Risk; Per the insurance policy document. Contract Works insurance; Per the insurance policy document. Environmental Liability; Per the insurance policy document. General and Public Liability; Per the insurance policy document. Transportation (Marine); Per the insurance policy document. Motor Fleet and Mobile Plant; Per the insurance policy document. Terrorism; Per the insurance policy document. Cyber Liability; Per the insurance policy document. Nuclear Material Damage and Business Interruption; Per the insurance policy document. Nuclear Material Damage Terrorism; Per the insurance policy document. |

| Z14 | Nuclear Liability |  |
| --- | --- | --- |
| Z14.1 | The Employer is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS. |  |
| Z14.2 | The Employer is solely responsible for and indemnifies the Contractor or any other person against any and all liabilities which the Contractor or any person may incur arising out of or resulting from nuclear damage, as defined in Act 47 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Contractor or any other person or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer. |  |
| Z14.3 | Subject to clause Z14.4 below, the Employer waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Contractor or any other person, or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer. |  |
| Z14.4 | The Employer does not waive its rights provided for in section 30 (7) of Act 47 of 1999, or any replacement section dealing with the same subject matter. |  |
| Z14.5 | The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned. |  |
| Z15 | Asbestos |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |
| AAIA |  | means approved asbestos inspection authority. |
| ACM |  | means asbestos containing materials. |
| AL |  | means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4 hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL. |
| Ambient Air |  | means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet. |
| Compliance Monitoring |  | means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |
| OEL |  | means occupational exposure limit. |
| Parallel Measurements |  | means measurements performed in parallel, yet separately, to existing measurements to verify validity of results. |
| Safe Levels |  | means airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |
| Standard |  | means the Employer’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles. |
| SANAS |  | means the South African National Accreditation System. |
| TWA |  | means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4 hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA. |
| Z15.1 | The Employer ensures that the Ambient Air in the area where the Contractor will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM. |  |
| Z15.2 | Upon written request by the Contractor, the Employer certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Contractor may perform Parallel Measurements and related control measures at the Contractor’s expense. For the purposes of compliance the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z15.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan. |  |
| Z15.3 | The Employer manages asbestos and ACM according to the Standard. |  |
| Z15.4 | In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe. |  |
| Z15.5 | The Contractor’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable. |  |
| Z15.6 | The Contractor continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations, 2001. |  |
| Z15.7 | Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Employer at the Employer’s expense, and conducted in line with South African legislation. |  |

# Annexure A:	 One-in-ten-year-return weather data obtained from SA Weather Bureau for [weather station]

If any one of these weather measurements recorded within a calendar month, before the Completion Date for the whole of the works and at the place stated in this Contract Data is shown to be more adverse than the amount stated below then the Contractor may notify a compensation event.

|  | Weather measurement |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Month | Cumulative rainfall (mm) | Number of days with rain more than 10mm | Number of days with min air temp < 0 deg.C | Number of days with snow lying at 08:00 CAT | [Other measurements if applicable] |
| January | [●] | [●] | [●] | [●] |  |
| February | [●] | [●] | [●] | [●] |  |
| March | [●] | [●] | [●] | [●] |  |
| April | [●] | [●] | [●] | [●] |  |
| May | [●] | [●] | [●] | [●] |  |
| June | [●] | [●] | [●] | [●] |  |
| July | [●] | [●] | [●] | [●] |  |
| August | [●] | [●] | [●] | [●] |  |
| September | [●] | [●] | [●] | [●] |  |
| October | [●] | [●] | [●] | [●] |  |
| November | [●] | [●] | [●] | [●] |  |
| December | [●] | [●] | [●] | [●] |  |

Only the difference between the more adverse recorded weather and the equivalent measurement given above is taken into account in assessing a compensation event.

C1.2 Contract Data

# Part two - Data provided by the Contractor

[Instructions to the contract compiler:  (delete this notes before issue to tenderers with an enquiry)

Whenever a cell is shaded in the left hand column it denotes this data is optional.  If not required select and delete the whole row, otherwise insert the required Data.]

Notes to a tendering contractor:

- Please read both the NEC3 Engineering and Construction Contract (April 2013) and the relevant parts of its Guidance Notes (ECC3-GN) in order to understand the implications of this Data which the tenderer is required to complete.  An example of the completed Data is provided on pages 156 to 158 of the ECC3 (April 2013) Guidance Notes.

- The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data

- Where a form field like this [     ] appears, data is required to be inserted relevant to the option selected. Click on the form field once and type in the data.  Otherwise complete by hand and in ink.

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

| ## Clause | ## Statement | ## Data |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 10.1 | The Contractor is (Name): |  |  |  |  |  |  |
|  | Address |  |  |  |  |  |  |
|  | Tel No. |  |  |  |  |  |  |
|  | Fax No. |  |  |  |  |  |  |
| 11.2(8) | The direct fee percentage is | % |  |  |  |  |  |
|  | The subcontracted fee percentage is | % |  |  |  |  |  |
| 11.2(18) | The working areas are the Site and |  |  |  |  |  |  |
| 24.1 | The Contractor's key persons are: |  |  |  |  |  |  |
|  | 1 Name: |  |  |  |  |  |  |
|  | Job: |  |  |  |  |  |  |
|  | Responsibilities: |  |  |  |  |  |  |
|  | Qualifications: |  |  |  |  |  |  |
|  | Experience: |  |  |  |  |  |  |
|  | 2 Name: |  |  |  |  |  |  |
|  | Job |  |  |  |  |  |  |
|  | Responsibilities: |  |  |  |  |  |  |
|  | Qualifications: |  |  |  |  |  |  |
|  | Experience: |  |  |  |  |  |  |
|  |  | CV's (and further key persons data including CVs) are appended to Tender Schedule entitled . |  |  |  |  |  |
| 11.2(3) | The completion date for the whole of the works is |  |  |  |  |  |  |
| 11.2(14) | The following matters will be included in the Risk Register |  |  |  |  |  |  |
| 11.2(19) | The Works Information for the Contractor’s design is in: |  |  |  |  |  |  |
| 31.1 | The programme identified in the Contract Data is |  |  |  |  |  |  |
| B | Priced contract with bill of quantities |  |  |  |  |  |  |
| 11.2(21) | The bill of quantities is in |  |  |  |  |  |  |
| 11.2(31) | The tendered total of the Prices is | (in figures) (in words), excluding VAT |  |  |  |  |  |
| F | Management contract |  |  |  |  |  |  |
| 20.2 | Work which the Contractor’s will do himself is | Activity |  | price (lump sum or rate) |  |  |  |
|  | ## Data for Schedules of Cost Components | Note “SCC” means Schedule of Cost Components starting on page 60, and “SSCC” means Shorter Schedule of Cost Components starting on page 63 of ECC3 (April 2013). |  |  |  |  |  |
| A | Priced contract with activity schedule | Data for the Shorter Schedule of Cost Components |  |  |  |  |  |
| B | Priced contract with bill of quantities | Data for the Shorter Schedule of Cost Components |  |  |  |  |  |
| 41 in SSCC | The percentage for people overheads is: | % |  |  |  |  |  |
| 21 in SSCC | The published list of Equipment is the last edition of the list published by |  |  |  |  |  |  |
|  | The percentage for adjustment for Equipment in the published list is | Minus % |  |  |  |  |  |
| 22 in SSCC | The rates of other Equipment are: | Equipment | Size or capacity |  |  |  | Rate |
| 61 in SSCC | The hourly rates for Defined Cost of design outside the Working Areas are | Category of employee |  |  | Hourly rate |  |  |
|  | Note: Hourly rates are estimated ‘cost to company of the employee’ and not selling rates. |  |  |  |  |  |  |
|  | Please insert another schedule if foreign resources may also be used |  |  |  |  |  |  |
| 62 in SSCC | The percentage for design overheads is | % |  |  |  |  |  |
| 63 in SSCC | The categories of design employees whose travelling expenses to and from the Working Areas are included in Defined Cost are: |  |  |  |  |  |  |
|  | If Option C, D or E is used | Data for Schedule of Cost Components |  |  |  |  |  |
| 23 in SCC | The listed items of Equipment purchased for work on this contract, with an on cost charge, are: | Equipment | Time related charge |  |  | Per (time period) |  |
| 24 in SCC | The rates of special Equipment are: | Equipment | Size or capacity |  |  | Rate |  |
| 44 in SCC | The percentage for Working Areas overheads is: | : % |  |  |  |  |  |
| 51 in SCC | The hourly rates for Defined Cost of manufacture or fabrication outside the Working Areas are | Category of employee |  |  | Hourly rate |  |  |
|  | Note: Hourly rates are estimated ‘cost to company of the employee’ and not selling rates |  |  |  |  |  |  |
|  | Please insert another schedule if foreign resources may also be used |  |  |  |  |  |  |
| 52 in SCC | The percentage for manufacture and fabrication overheads is | % |  |  |  |  |  |
|  | If Option C, D, or E is used | Data for both schedules of cost components |  |  |  |  |  |
| 61 in SCC & SSCC | The hourly rates for Defined Cost of design outside the Working Areas are | Category of employee |  |  | Hourly rate |  |  |
|  | Note: Hourly rates are estimated ‘cost to company of the employee’ and not selling rates. |  |  |  |  |  |  |
|  | Please insert another schedule if foreign resources may also be used |  |  |  |  |  |  |
| 62 in SCC & SSCC | The percentage for design overheads is | % |  |  |  |  |  |
| 63 in SCC & SSCC | The categories of design employees whose travelling expenses to and from the Working Areas are included as a cost of design of the works and Equipment done outside the Working Areas are: |  |  |  |  |  |  |
|  | If Option C, D or E is used | Data for the Shorter Schedule of Cost Components |  |  |  |  |  |
| 41 in SSCC | The percentage for people overheads is: | % |  |  |  |  |  |
| 21 in SSCC | The published list of Equipment is the last edition of the list published by |  |  |  |  |  |  |
|  | The percentage for adjustment for Equipment in the published list is | % |  |  |  |  |  |
| 22 in SSCC | The rates of other Equipment are: | Equipment | Size or capacity |  |  |  | Rate |

C1.3 Forms of Securities

The Contractor shall guarantee his ASGI-SA Obligations by providing the Employer with an ASGI-SA Guarantee in the form provided here.

[Note to contract compiler:  If there are no ASGI-SA Obligations in this contract, delete the above statement]

The organisation providing the bond / guarantee does so by copying the pro forma document onto his letterhead without any change to the text or format and completing the required details.  The completed document is then given to the Employer within the time stated in the contract.

Part 2: Pricing Data

ECC3 Option B

| Document reference | Title | No of pages |
| --- | --- | --- |
| C2.1 | Pricing assumptions: Option B | 1 |
| C2.2 | The bill of quantities | 1 |

C2.1 Pricing assumptions: Option B

# How work is priced and assessed for payment

Clause 11 in NEC3 Engineering and Construction Contract (ECC3) Option B states:

| Identified and defined terms | 11 11.2 | (21) The Bill of Quantities is the bill of quantities as changed in accordance with this contract to accommodate implemented compensation events and for accepted quotations for acceleration. |
| --- | --- | --- |
|  |  | (28) The Price for Work Done to Date is the total of - the quantity of the work which the Contractor has completed for each item in the Bill of Quantities multiplied by the rate and - a proportion of each lump sum which is the proportion of the work covered by the item which the Contractor has completed. Completed work is work without Defects which would either delay or be covered by immediately following work. |
|  |  | (31) The Prices are the lump sums and the amounts obtained by multiplying the rates by the quantities for the items in the Bill of Quantities. |

This confirms that Option B is a re-measurement contract and the bill comprises only items measured using quantities and rates or stated as lump sums.  Value related items are not used.  Time related items are items measured using rates where the rate is a unit of time.

# Function of the Bill of Quantities

Clause 55.1 in Option B states, “Information in the Bill of Quantities is not Works Information or Site Information”.  This confirms that specifications and descriptions of the work or any constraints on how it is to be done are not included in the Bill, but in the Works Information.  This is further confirmed by Clause 20.1 which states, “The Contractor Provides the Works in accordance with the Works Information”. Hence the Contractor does not Provide the Works in accordance with the Bill of Quantities.  The Bill of Quantities is only a pricing document.

# Guidance before pricing and measuring

Employers preparing tenders or contract documents, and tendering contractors are advised to consult the sections dealing with the bill of quantities in the NEC3 Engineering and Construction Contract Guidance Notes before preparing the bill of quantities or before entering rates and lump sums into the bill.

There is no general provision in Option B for payment for materials on Site before incorporation into the works.  If secondary Option X14 Advanced payment has not been used then the tendering contractor may obtain the same effect by inserting appropriate items in the method related charges where the method of measurement allows, or alternatively making allowance in the rates of the bill of quantities for the financing of Plant and Materials until they are incorporated in the works.

When compensation events arise, the default position is that the Bill of Quantities is not used to calculate the cost effect of the event.  Defined Cost and the resulting Fee is used and Defined Cost includes all components of cost which the Contractor is likely to incur, including so called P & G items.  Rates and lump sums from the Bill of Quantities, or from any other source, may be used instead of Defined Cost and the Fee only if the Contractor and Project Manager agree.  If they are unable to agree, then Defined Cost plus Fee is used.

# Measurement and payment

## Symbols

The units of measurement described in the Bill of Quantities are metric units abbreviated as follows:

[add or delete as required]

| Abbreviation | Unit |
| --- | --- |
| % | percent |
| h | hour |
| ha | hectare |
| kg | kilogram |
| kl | kilolitre |
| km | kilometre |
| km-pass | kilometre-pass |
| kPa | kilopascal |
| kW | kilowatt |
| l | litre |
| m | metre |
| mm | millimetre |
| m2 | square metre |
| m2-pass | square metre pass |
| m3 | cubic metre |
| m3-km | cubic metre-kilometre |
| MN | meganewton |
| MN.m | meganewton-metre |
| MPa | megapascal |
| No. | number |
| sum | Lump sum |
| t | tonne (1000kg) |

## General assumptions

Unless otherwise stated, items are measured net in accordance with the drawings, and no allowance has been made in the quantities for waste.

The Prices and rates stated for each item in the Bill of Quantities shall be treated as being fully inclusive of all work, risks, liabilities, obligations, overheads, profit and everything necessary as incurred or required by the Contractor in carrying out or providing that item.

An item against which no Price is entered will be treated as covered by other Prices or rates in the bill of quantities.

The quantities contained in the Bill of Quantities may not be final and do not necessarily represent the actual amount of work to be done.  The quantities of work assessed and certified for payment by the Project Manager at each assessment date will be used for determining payments due.

The short descriptions of the items of payment given in the bill of quantities are only for the purposes of identifying the items.  Detail regarding the extent of the work entailed under each item is provided in the Works Information.

## Departures from the method of measurement

Only use this section if the statement for Option B in the Contract Data, “The method of measurement is ________ amended as follows” refers the reader to this section rather than include the amendments within the Contract Data statement.  Otherwise delete this heading.  In any case delete this note when complied with.

## Amplification of or assumptions about measurement items

The following is provided to assist in the interpretation of descriptions given in the method of measurement.  In the event of any ambiguity or inconsistency between the statements in the method of measurement and this section, the interpretation given in this section shall be used.

C2.2 the bill of quantities

Use this page as a summary page or as a cover page to the bill of quantities.

TO BE ATTACHED WITH NEC

Part 3: Scope of Work

CLASS 3&4 Wood Pole replacement under LIVE work conditions 11-33 kv in the Free State Operating Unit FOR 36 Months as and when required

| Task manual | Scope of work |
| --- | --- |
| 240-134636889 | Replacing a Pole on a Steel A-Frame Structure, Using Live Work Methods |
| 240-134638290 | Making and Breaking of Jumpers |
| 240-134719031 | Changing 11kV and 22kV Wooden Poles With Truck Mounted Insulating Cross Arm Using Live Work Methods |
| 240-134719075 | Changing 11kV and 22kV Wooden Poles With Spreader Bars Using Live Work Methods |
| 240-134719131 | Converting Intermediate to Strain Pole on Horizontal / Delta / H-Pole / Configuration (Gloving) |
| 240-134719145 | Maintenance of Cut-Out Fuse Link / Ganged Isolators (Inline Strain or T-Off Using Gloving) |
| 240-134719149 | Replacement of Wishbone Cross-arms (Live Work) |
| 240-135650268 | Changing Pin/ Post Insulators on Vertical and Staggered Vertical Structures (Gloving) |
| 240-135650268 | Changing Pin/ Post Insulators on Vertical and Staggered Vertical Structures (Gloving) |
| 240-135656761 | Replacement of a Full / Non-Tension Repair Sleeve/Splice (Gloving Method) |
| 240-135656875 | Pruning of Trees (Gloving) |
| 240-135661212 | Changing SCF Wooden Pole Structure to a “ H “ Pole Wooden Structure on 11kV and 22kV Lines |
| 240-135661238 | Changing Cross-Arms on Wooden Pole Structure on 11kV and 22kV Lines Utilising Approved Spreader Bar |
| 240-135661721 | Changing Intermediate Poles on Vertical and Staggered Vertical Structures (Gloving) |
| 240-135661831 | Changing Pole / Suspension Insulators on Vertical Angle Structures (Gloving) |
| 240-135661887 | Installation of Bird Flappers / Fault Locators / Alarms (Gloving and Stick Method) |
| 240-135661970 | Installation / Replacement of Stay Insulators (Gloving) |
| 240-171000232 | Mid-Span Pole Planting (Gloving Method) |

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 |
| C3.1 | Employer’s Works Information |  |
| C3.2 | Contractor’s Works Information (insert at award stage or delete if not applicable) |  |
|  | Total number of pages |  |

C3.1: Employer’s works Information

Contents

Offer	3

Acceptance	4

Schedule of Deviations to be completed by the Employer prior to contract award	5

Part one - Data provided by the Employer	6

Clause	6

Statement	6

Data	6

General	6

2	7

The Contractor's main responsibilities	7

3	7

Time	7

4	8

Testing and Defects	8

5	8

Payment	8

6	9

Compensation events	9

7	9

Title	9

8	9

Risks and insurance	9

9	9

Termination	9

10	10

Data for main Option clause	10

11	10

Data for Option W1	10

12	10

Data for secondary Option clauses	10

INSURANCE TABLE A	15

Annexure A:	 One-in-ten-year-return weather data obtained from SA Weather Bureau for [weather station]	18

Part two - Data provided by the Contractor	19

Clause	19

Statement	19

Data	19

Data for Schedules of Cost Components	20

Part 2: Pricing Data	24

How work is priced and assessed for payment	1

Function of the Bill of Quantities	1

Guidance before pricing and measuring	1

Measurement and payment	1

Symbols	1

General assumptions	2

Departures from the method of measurement	2

Amplification of or assumptions about measurement items	2

Part 3: Scope of Work	2

C3.1: Employer’s works Information	4

Description of the works	6

Executive overview	6

Employer’s objectives and purpose of the works	7

Interpretation and terminology	7

Management and start up.	9

Management meetings	9

Documentation control	9

Health and safety risk management	10

Environmental constraints and management	11

Quality assurance requirements	11

Programming constraints	11

Contractor’s management, supervision and key people	12

Invoicing and payment	12

Insurance provided by the Employer	13

Records of Defined Cost, payments & assessments of compensation events to be kept by the Contractor	13

Equipment required to be included in the works	14

As-built drawings, operating manuals and maintenance schedules	14

Procurement	14

People	14

Minimum requirements of people employed on the Site	14

BBBEE and preferencing scheme	14

Accelerated Shared Growth Initiative – South Africa (ASGI-SA)	14

Plant & Materials provided “free issue” by the Employer	15

Material to be supplied from Employer	15

Construction	15

Restrictions to access on Site, roads, walkways and barricades	15

People restrictions on Site; hours of work, conduct and records	15

Health and safety facilities on Site	15

Contractor’s Equipment	15

Equipment provided by the Employer	15

Site services and facilities	15

Facilities provided by the Contractor	15

Excavations and associated water control	15

Giving notice of work to be covered up	15

Hook ups to existing works	15

Completion, testing, commissioning and correction of Defects	16

Work to be done by the Completion Date	16

Use of the works before Completion has been certified	16

Materials facilities and samples for tests and inspections	16

Commissioning	16

Start-up procedures required to put the works into operation	16

Take over procedures	16

Performance tests after Completion	16

Electrical & mechanical engineering works	16

List of drawings	18

Drawings issued by the Employer	18

Part 4: Site Information	27

Part 4: Site Information	28

General description	28

Subsoil information	28

# Description of the works

## Executive overview

This contract will be used to cater for CLASS 3&4 Wood Pole replacement under LIVE work conditions in the Free State Operating Unit FOR 36 Months AS AND WHEN REQUIRED The Contractor must provide labour, plant, transport and equipment necessary to perform the works as detailed on the bill of quantities and design handover document. All the work must be done in accordance with Eskom Applicable Standard - Quantities reflected on the bill of quantities are provisional and subject to re-measurement on completion of the project. - Eskom reserves the right to exclude any of the items listed in the bill of quantities. - Progress payment claims will be based on quantities of work done on contract rates. - Progress payment certificates will be based on cumulative work done, less previous to determine the current payment. - Contractor to submit production records as listed below 5.1Contractor to submit vehicle log sheets to indicate kilometres travelled 5.2 Contractor to submit production sheet indicating pole numbers of replaced poles and quantity of poles replaced. 5.3 Material recall sheet should be given to the CNC 5.4 Scrap material should be taken back to Eskom 6. 6.1 A team for Pole replacement must consists of a minimum of 6 People (Gloving Method): 1 – 1 PIC (PERSON IN CHARGE) 2 – 2 X PTP’s (PERSON TO PERFORM) 3 - 1 Crane Operator with live work appreciation 4 - 2 Ground worker with live work appreciation Of those 6 People, 3 members shall be fully authorised for Live Work (Outcome 7a/7B), 3 members shall have completed live work appreciation training. No unauthorised personnel allowed on site. 240-61181591 relevant standards 7. Evaluation of Equipment will be done before commencement of work 8.Contractor employees who are authorised within the OU will be the only people allowed on the Task at Hand 9.Any equipment being evaluated will be the only equipment used at FSOU (Trucks and equipment) 10. Once work has been allocated, Kick Off meeting will be arranged between The Contractor, Technical support, Applicable CNC, SHE department and SD&L for project commencement details. This will also consist of a technical evaluation on all Life Work equipment, Safety file preparation for compliance 11. The payment for this task will be done according to the Agreed payment terms of contract (Price list included) 12. Contractor to forward a quotation base on the pricelist, the Senior Supervisor or his delegate will approve and issue the task order 13.The Contractor must ensure that the approved work was executed to relevant Eskom standards, Senior Supervisor can at any point evaluate the quantities claimed, if the claimed quantities do not correspond with the actual, the contract can be terminated without any further negotiations. 14. Contractor to adhere to Access to Farm standard 32-1173 15.Contractor to Submit Safety Man hour report for awarded task order(s) as per kick off meeting arrangement 16.Contractors to always carry authorization when on site and always inform customers before commencement of work. 17. THE PRICES ARE FIXED AND FIRM FOR THE CONTRACT DURATION AND NO WORK TO COMMENCE WITHOUT ISSUING OF TASK ORDER FROM THE EMPLOYER

2.  Drawings

Refer to below

## Employer’s objectives and purpose of the works

Purpose is to clear class 3 and 4 rotten poles

Avoid customer claims due to veld fires and environmental impact

## Interpretation and terminology

The following abbreviations are used in this Works Information:

| Abbreviation | Meaning given to the abbreviation |
| --- | --- |
| AFC | Approved for construction |
| OBL | Outside battery limits |
| GMR | General Machinery Regulations |
| LW | Live Work |
| LWTC | Live Work Technical Committee |
| OHS | Act Occupational Health and Safety Act |
| OLWC | Officer Live Work Coaching |
| ORHVS | Operating Regulations for High Voltage Systems |
| OTS | Officer Technical Support |
| OUAP | Operating Unit Assessment Panel |
| PIC | Person in Charge |
| PML | Pedestal Mounted Ladder |
| PoE | Portfolio of evidence |
| PPE | Personal Protective Equipment |
| PTP | Person to Perform |
| RAS | Risk Audit System |
| SME | Subject Matter Expert |
| Snr. Sup | Senior Supervisor |
| BIL | Basic Insulation Level |
| CTA | Critical Task Analysis |
| LW CG | Live Work Care Group |
| LW TC | Live Work Technical Committee |
| LW TF | Live Work Test Facility |
| MAD | Minimum Approach Distance |
| MEWP | Mobile Elevated Work Platform |
| OLWC | Officer Live Work Coaching |
| OTS | Officer Technical Support |
| SCOT | Steering Committee of Technology |
| SME | Subject Matter Expert |
| TM | Task Manual |
| VMC | Vehicle Mounted Crane |

# Management and start up.

## Management meetings

- Kick Off Meetings between the Project Manager and the Contractor and any person instructed by the Project Manager to attend will be arranged before commencement of projects for compliance adherence.

• The Contractor is to be represented at each meeting by the appropriate member of the staff. Additional ad hoc meetings may also be called to address urgent issues with all stakeholders before commencement of each project

• All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.

• The venue for these meetings is as determined by the Project Manager. The Project Manager writes the minutes of meetings and circulates to attendees within seven working days.

• The Contractor reports the overall progress and as a minimum requirement, the following is addressed:

a) Contractor’s current activity progress and planned finish dates

b) Contractor’s planned start and finish dates for the works

c) Contractor and Project Manager’s programme agenda Current and projected manpower by class d) Health, safety and quality issues, Manhour Report

e) The progress of any Other relevant activities

f) Discussion on any technical and commercial issues

g) Problem areas or concern

Regular meetings of a general nature may be convened and chaired by the Project Manager as follows:

## Documentation control

All submissions to the Employer, the language of all documentation is to be in English. Documentation submissions must be through either email or walk-in to CNC with hard copies. In case submission of documentation is through email, take note of the following:

Production Sheets, Trip Sheets, and all relevant documents to be submitted to the Senior supervisor on a weekly basis or as discussed at kick off meeting for assessment and signature by Contractor personnel

Manhour Report to be submitted fortnightly or as per kick off meeting agreement by Contractor Personnel to Project Manager

Invoices together with all signed production sheets, trip sheet and material sheets to be sent to contract management department for verification and amendments where required

Service Entries and GR’s will be created by CNC Supervisor

Email submissions, one must direct them to the proxy email and copy all recipient(s) as per the distribution matrix, which will be provided by the Project manager. b) Use emails strictly as a channel for submitting documentation.

## Health and safety risk management

The Contractor shall comply with the health and safety requirements contained in Annexures refer to :

Contractors and their sub-Contractors shall always ensure compliance with all relevant Occupational Health and Safety Act 85 of 1993 and any regulations or by-laws of any local or statutory authority The Contractor acts in accordance with the health and safety requirements stated in the Works Information.

In carrying out its obligations to the Employer in terms of this contract; in providing the Works; in using Plant, Materials and Equipment; and while at the Site for any reason, the Contractor complies and procures and ensures the compliance by its employees and agents mandatories with:

The provisions of the Occupational Health and Safety Act 85 of 1993 (as amended) and all regulations in force from time to time in terms of that Act (“the OHSA”) ESKOM HOLDINGS SOC Ltd CONTRACT NUMBER _____________ PROJECT & CONTRACT TITLE

PART C3: SCOPE OF WORK PAGE 31 C3.1 ECSC3 WORKS INFORMATION

The Eskom Regulations may be amended from time to time by the Employer and all amendments will be provided in writing to the Contractor.

The Contractor complies with the provisions of the latest written version of the Eskom Regulations with which it has been provided

The Contractor, always, considers itself to be the “Employer” for the purposes of the OHSA and shall not consider itself under the supervision or management of the Employer with regard to compliance with the SHEQ Requirements, the Contractor shall furthermore not consider itself to be a subordinate or under the supervision of the Employer in respect of these matters. The Contractor is at all times responsible for the supervision of its employees, and agents mandataries and takes full responsibility and accountability for ensuring they are competent, aware of the SHEQ Requirements and execute the Works in accordance with the SHEQ Requirements.

The Contractor acknowledges that it is fully aware of the requirements of all the above and undertakes to employ only people who have been duly authorized in terms thereof and who have received sufficient training to ensure that they can comply therewith.

The Contractor ensures that all statutory appointments and appointments required by any Eskom Regulations are made and that all appointees fully understand their responsibilities and is trained and competent to execute their duties

Eskom Life Saving Rules Five lifesaving rules have been developed that will apply to all Eskom employees, agents, consultants and Contractors as follows:

Rule 1: Open, Isolate, test, earth, and create an equipotential zone before touch Rule 2: Hook up at height Rule 3: Buckle up Rule 4: Be sober Rule 5: Ensure that you have a permit to work Rule 6: Ensure Safe Live Working

SHEQ Induction Course

All the employees of the Contractor must attend a SHEQ induction course before they will be allowed to work on the Site. It is the responsibility of the Contractor to ensure that all employees have attended the safety induction. Both Eskom and Contractors own induction presentation shall be discussed during the induction training.

Local Safety Procedures

The Contractor adheres to all local procedures. Lists of local procedures are available on request from the Employer/ SD& L Department.

Incidents / Accidents

- Incidents and accidents must be reported and investigated. All incidents must also be reported to

the Employer immediately.

First aid must be made available by the Contractor. The availability of the Contractor’s own first aid or environmental response does not relieve the Contractor of his obligation to report and

investigate the incident.

Fire Prevention

Contractor must comply with fire prevention requirements. Documentation to be maintained according to Eskom standard.

• Training of operators must comply with the Works Information and statutory requirements.

## Environmental constraints and management

- The Contractor shall comply with the environmental criteria and constraints stated in Annexure ________

## Quality assurance requirements

Specify minimum requirements for the Contractor’s Quality Plan and Work Procedures or provide the Employer’s Quality Plan if that is to be used.  Make sure witness and hold points are identified generally and describe any particular requirements for QA outside the working areas.  Indicate how the Contractor’s QA documentation is to be submitted for acceptance and any conditions that need to be imposed relating to acceptance.  State whether ISO compliance is a condition and if so which ISO standard shall apply.

## Programming constraints

Contractor to submit the Execution plan stating the following:

- the starting date, access dates, Key Dates and Completion Date,

- planned Completion,

- the order and timing of the operations which the Contractor plans to do in order to Provide the Works,

- other information which the Works Information requires the Contractor to show on a programme submitted for acceptance

- Type of Vehicles to use and their registration numbers, Details of employees to be on site during the project

## Contractor’s management, supervision and key people

As per scope of work

## Invoicing and payment

Within one week of receiving a payment certificate from the Project Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice showing the amount due for payment equal to that stated in the Project Manager’s payment certificate.

The Contractor shall address the tax invoice to Eskom Holdings SOC Ltd and include on each invoice the following information:

- Name and address of the Contractor and the Project Manager;

- The contract number and title;

- Contractor’s VAT registration number;

- The Employer’s VAT registration number 4740101508;

- Description of service provided for each item invoiced based on the Price List;

- Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

- (add other as required)

Add procedures for invoice submission and payment (e. g. electronic payment instructions)

The Employer accepts only original invoices.

An example of Payment Certificate and Tax Invoice for the Eskom NEC Engineering & Construction Short Contract is shown below.

Payment certificate and Tax Invoice

This certificate is issued in terms of Clause 50 of the Conditions of Contract.

PART C3: SCOPE OF WORK PAGE 33 C3.1 ECSC3 WORKS INFORMATION

| TITLE OF THE CONTRACT: CONTRACTOR: |  |  | EMPLOYER: |  |  |
| --- | --- | --- | --- | --- | --- |
| Contact Person: |  |  | Contact Person: |  |  |
| Address: |  |  | Address: |  |  |
| Telephone No: |  |  | Telephone No: |  |  |
| Fax No: |  |  | Fax No: |  |  |
| Contractor’s Invoice Number: |  |  | Contract Order No.: |  |  |
| Date issued: |  |  |  |  |  |
| Contractor’s VAT No.: |  |  | Employer's VAT No.: 4740101508 |  |  |
| [50.3] | a) |  | Price for Work Done to Date (Excluding 15% VAT) |  | R |
| [60.1] | b) |  | Cumulative value of compensation events |  | R |
| c) |  | Sub-total (a) + (b): |  | R |  |
| [50.6] | d) |  | Less ____% retention percentage on (a) + (b) (i) Planned first retention release date (completion date):____/____/________ (ii)Planned final retention release date (defects date):____/____/_________ |  | R |
| e) |  | Sub-total (c)－(d): |  | R |  |
| [50.3] | f) |  | Other amounts due to/by Contractor in terms of the Contract |  | R |
| g) |  | Sub-total (e) + or －(f): |  | R |  |
| h) |  | Add retention released |  | R |  |
| i) |  | Sub-total (g) + (h): |  | R |  |
| [50.5] | j) |  | Less delay damages (if applicable) |  | R |
| k) |  | Cumulative amount certified excluding 15% VAT (i)－(j): |  | R |  |
| l) |  | Less cumulative amount previously certified excluding 15% VAT |  | R |  |
| m) |  | Sub-total this certificate excluding 15% VAT (k) － (l): |  | R |  |
| n) |  | Add VAT at 15 % on (m) |  | R |  |
| [50.3] | o) |  | AMOUNT DUE TO/FROM THE CONTRACTOR including VAT (m) + (n): |  | R |

Assessment Prepared By:

…………………………….. …………………………….. ………………………………

PRINT NAME SIGNATURE ASSESSMENT DATE

Certified by the Programme Manager:

## Insurance provided by the Employer

As stated for in the Employer`s Construction All Risk Insurance Policy available on request from Eskom Group Insurance.

To be dealt with in accordance with ECC3 Core Clause 87.1, 87.2 and 87.3 and additional requirements are also stipulated in Z Clauses

## Records of Defined Cost, payments & assessments of compensation events to be kept by the Contractor

Original Tax Invoice, Production Sheet, Trip Sheet, Material recon sheet. All to be done as per bill of quantity approved

## Equipment required to be included in the works

Live work equipment- refer to BOQ

## As-built drawings, operating manuals and maintenance schedules

Mentioned above

# Procurement

As per bill of quantity

## People

### Minimum requirements of people employed on the Site

As per Authorisation and contract

All people employed by the Contractor to perform supervision of installation and commissioning should have Police Clearance before work can commence.

The Contractor’s employees shall be sober when carrying out their duties and may be subjected to random breathalyser tests.

All the works will be carried out as per Authorisation and contract requirements.

### BBBEE and preferencing scheme

Specify constraints which Contractor must comply with after contract award in regard to any Broad Based Black Economic Empowerment (B-BBEE) or preferencing scheme measures.

### Accelerated Shared Growth Initiative – South Africa (ASGI-SA)

If the ASGI-SA requirements are to be included in this contract specify constraints which Contractor must comply with after contract award in regard to any ASGI-SA requirements.  The ASGI-SA Compliance Schedule completed in the returnable tender schedules is reproduced here.  If ASGI-SA does not apply, delete this paragraph.

The Contractor complies with and fulfils the Contractor’s obligations in respect of the Accelerated and Shared Growth Initiative - South Africa in accordance with and as provided for in the Contractor’s ASGI-SA Compliance Schedule stated below

.

[Insert the agreed ASGI-SA Compliance Schedule here]

The Contractor shall keep accurate records and provide the Project Manager with reports on the Contractor’s actual delivery against the above stated ASGI-SA criteria.   [Elaborate on access to and format of records and frequency of submission etc.]

The Contractor’s failure to comply with his ASGI-SA obligations constitutes substantial failure on the part of the Contractor to comply with his obligations under this contract.

### Plant & Materials provided “free issue” by the Employer

To be discussed at specific project CNC kick off meeting

## Material to be supplied from Employer

# Construction

### Restrictions to access on Site, roads, walkways and barricades

The Contractor would need to comply with all the site rules and regulations of area or servitude working at.

### People restrictions on Site; hours of work, conduct and records

The Contractor keeps records of his employees on Site which the Project Manager or Supervisor and all other Kick off meeting stakeholders has access to at any time. These records may be required by the Employer at any given time for

### Health and safety facilities on Site

The Contractor provides a First Aid service and SHE representative to his employees

### Contractor’s Equipment

Contractor is responsible to all equipment brought onto site. Refer to Clause 4.1 in SANS 1200 A

### Equipment provided by the Employer

The Employer will not provide any equipment to the Contractor. All necessary equipment needs to be provided by the Contractor.

### Site services and facilities

Employer will not provide anything

### Facilities provided by the Contractor

As per works information

### Excavations and associated water control

As per task manual

### Giving notice of work to be covered up

The Contractor notifies the CNC Supervisor As per kick off meeting arrangements prior to commencing work to be covered up. The Contractor notifies the Project Manager and Supervisor in writing of all planned activities for the week

### Hook ups to existing works

As per Task Manuals

## Completion, testing, commissioning and correction of Defects

### Work to be done by the Completion Date

This is mandatory.  Core clause 11.2(2) defines Completion as when the Contractor has done all the work which the Works Information states he is to do by the Completion Date.  Rather than list all work to be done by the Completion Date, state that all work is to be done by the Completion Date except for [●].  For example:

On or before the Completion Date the Contractor shall have done everything required to Provide the Works except for the work listed below which may be done after the Completion Date but in any case before the dates stated.  The Project Manager cannot certify Completion until all the work except that listed below has been done and is also free of Defects which would have, in his opinion, prevented the Employer from using the works and Others from doing their work.

|  | Item of work | To be completed by |
| --- | --- | --- |
|  | As built drawings of | Within days after Completion |
|  | Performance testing of the works in use as specified in paragraph of this Works Information. | See performance testing requirements. |

### Use of the works before Completion has been certified

As per Works information and Scope

### Materials facilities and samples for tests and inspections

As per Works information and Scope

### Commissioning

As per Task Manual and scope of work

### Start-up procedures required to put the works into operation

As per Task Manual, standards and procedures

### Take over procedures

As per Task Manual, standards and procedures

### Performance tests after Completion

Refer to the Scope Document

## Electrical & mechanical engineering works

As per work Scope of work

# List of drawings

## Drawings issued by the Employer

This is the list of drawings issued by the Employer at or before the Contract Date and which apply to this contract.

Note:  Some drawings may contain both Works Information and Site Information.

| Drawing number | Revision | Title |  |
| --- | --- | --- | --- |
| D-DT-1700 | 3 | 3 PHASE - STAGGERED VERTICAL (450mm SPACING) - INTERMEDIATE - 0° DEVIATION |  |
| D-DT-1701 | 3 | 3 PHASE - VERTICAL (450mm SPACING) - INTERMEDIATE - SMALL (1°-±10°) DEVIATION |  |
| D-DT-1702 | 4 | 3 PHASE - VERTICAL (450mm SPACING) - INTERMEDIATE - MEDIUM (±15°-30°) DEVIATION |  |
| D-DT-1703 | 3 | 3 PHASE - VERTICAL (450mm SPACING) - STRAIN - 0° DEVIATION |  |
| D-DT-1704 | 3 | 3 PHASE - VERTICAL (450mm SPACING) - STRAIN - SMALL (1°-30°) DEVIATION |  |
| D-DT-1705 | 3 | 3 PHASE - VERTICAL (450mm SPACING) - STRAIN - LARGE (30°-90°) DEVIATION |  |
| D-DT-1706 | 3 | 3 PHASE - VERTICAL (450mm SPACING) - STRAIN - TERMINAL |  |
| D-DT-1710 | 3 | 3 PHASE - STAGGERED VERTICAL (600mm SPACING) - INTERMEDIATE - 0° DEVIATION |  |
| D-DT-1710#(y) | 0 | MV THREE PHASE STAGGERED VERTICAL 800 SPACING INTERMEDIATE - 0 DEG. DEVIATION |  |
| D-DT-1711 | 3 | 3 PHASE - VERTICAL (600mm SPACING) - INTERMEDIATE - SMALL (1°-±10°) DEVIATION |  |
| D-DT-1711A Sh 1 | 0 | MV THREE PHASE VERTICAL 800 SPACING - INTERMEDIATE SMALL (1 - 5) DEG. DEVIATION |  |
| D-DT-1711A Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE VERTICAL 800 SPACING - INTERMEDIATE SMALL (1 - 5) DEG. DEVIATION |  |
| D-DT-1712 | 4 | 3 PHASE - VERTICAL (600mm SPACING) - INTERMEDIATE - MEDIUM (±15°-30°) DEVIATION |  |
| D-DT-1713 | 2 | 3 PHASE - VERTICAL (600mm SPACING) - STRAIN - 0° DEVIATION |  |
| D-DT-1713A Sh 1 | 0 | MV THREE PHASE VERTICAL 800 SPACING STRAIN - 0 DEG. DEVIATION |  |
| D-DT-1713A Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE VERTICAL 800 SPACING STRAIN - 0 DEG. DEVIATION |  |
| D-DT-1714 | 3 | 3 PHASE - VERTICAL (600mm SPACING) - STRAIN - SMALL (1°-30°) DEVIATION |  |
| D-DT-1714A Sh 1 | 0 | MV THREE PHASE VERTICAL 800 SPACING - STRAIN SMALL (1-10) DEG. DEVIATION |  |
| D-DT-1714A Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE VERTICAL 800 SPACING - STRAIN SMALL (1-10) DEG. DEVIATION |  |
| D-DT-1714B Sh 1 | 0 | MV THREE PHASE VERTICAL 800 SPACING - STRAIN MEDIUM (11-30) DEG. DEVIATION |  |
| D-DT-1714B Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE VERTICAL 800 SPACING - STRAIN MEDIUM (11-30) DEG. DEVIATION |  |
| D-DT-1714C Sh 1 | 0 | MV THREE PHASE VERTICAL 800 SPACING - STRAIN LARGE (31-60) DEG. DEVIATION |  |
| D-DT-1714C Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE VERTICAL 800 SPACING - STRAIN LARGE (31-60) DEG. DEVIATION |  |
| D-DT-1714D Sh 1 | 0 | MV THREE PHASE VERTICAL 800 SPACING - STRAIN LARGE (61-90) DEG. DEVIATION |  |
| D-DT-1714D Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE VERTICAL 800 SPACING - STRAIN LARGE (61-90) DEG. DEVIATION |  |
| D-DT-1715 | 3 | 3 PHASE - VERTICAL (600mm SPACING) - STRAIN - LARGE (30°-90°) DEVIATION |  |
| D-DT-1716 | 3 | 3 PHASE - VERTICAL (600mm SPACING) - STRAIN - TERMINAL |  |
| D-DT-1716A Sh 1 | 0 | MV THREE PHASE VERTICAL 800 SPACING STRAIN - TERMINAL |  |
| D-DT-1716A Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE VERTICAL 800 SPACING STRAIN - TERMINAL |  |
| D-DT-1720 | 4 | 3 PHASE - DELTA (450mm STUD) - INTERMEDIATE - 0° DEVIATION |  |
| D-DT-1730 | 3 | 3 PHASE - DELTA (INTERMEDIATE 'T' CROSSARM) - INTERMEDIATE - 0° DEVIATION |  |
| D-DT-1733 | 4 | 3 PHASE - DELTA / 1,3m STEEL CROSSARM - STRAIN - 0° DEVIATION |  |
| D-DT-1734 | 4 | 3 PHASE - DELTA / 1,3m STEEL CROSSARM - STRAIN - MEDIUM (1°-60°) DEVIATION |  |
| D-DT-1735 | 3 | 3 PHASE - DELTA / 1,3m STEEL CROSSARM - STRAIN - LARGE (60°-90°) DEVIATION |  |
| D-DT-1736 | 3 | 3 PHASE - DELTA / 1,3m STEEL CROSSARM - STRAIN - TERMINAL |  |
| D-DT-1740 | 5 | 3 PHASE - DELTA / 2,5m WOOD CROSSARM - INTERMEDIATE - 0° DEVIATION |  |
| D-DT-1740#(y) | 0 | THREE PHASE DELTA - 2500 WOODEN CROSSARM INTERMEDIATE - 0° DEVIATION |  |
| D-DT-1742 Sh 1 | 4 | 3 PHASE - DELTA 2,5m WOOD CROSSARM / 1700 STEEL CROSSARM - STRAIN - (60-90°) DEVIATION |  |
| D-DT-1742 Sh 2 | 4 | 3 PHASE - DELTA 2,5m WOOD CROSSARM / 2,5m WOOD CROSSARM - STRAIN - (60-90°) DEVIATION |  |
| D-DT-1743 Sh 1 | 7 | 3 PHASE - 600mm PHASE SPACING DELTA / 2,5m WOOD CROSSARM - STRAIN - 0° DEVIATION |  |
| D-DT-1743 Sh 2 | 7 | 3 PHASE - 600mm PHASE SPACING DELTA / 2,5m WOOD CROSSARM - STRAIN - 0° DEVIATION |  |
| D-DT-1743A Sh 1 | 0 | MV THREE PHASE - 600mm PHASE SPACING DELTA / 2,5m WOOD CROSSARM - STRAIN - 0° DEVIATION |  |
| D-DT-1743A Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE - 600mm PHASE SPACING DELTA / 2,5m WOOD CROSSARM - STRAIN - 0° DEVIATION |  |
| D-DT-1744 | 4 | 3 PHASE - DELTA / 2,5m WOOD CROSSARM - STRAIN - MEDIUM (1°-60°) DEVIATION |  |
| D-DT-1744A Sh 1 | 0 | MV THREE PHASE - DELTA / 2,5m WOODEN CROSSARM - STRAIN - SMALL (1°-10°) DEVIATION |  |
| D-DT-1744A Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE - DELTA / 2,5m WOODEN CROSSARM - STRAIN - SMALL (1°-10°) DEVIATION |  |
| D-DT-1744B Sh 1 | 0 | MV THREE PHASE - DELTA / 2,5m WOODEN CROSSARM - STRAIN - MEDIUM (11°-30°) DEVIATION |  |
| D-DT-1744B Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE - DELTA / 2,5m WOODEN CROSSARM - STRAIN - MEDIUM (11°-30°) DEVIATION |  |
| D-DT-1744C Sh 1 | 0 | MV THREE PHASE - DELTA / 2,5m WOODEN CROSSARM - STRAIN - LARGE (31°-60°) DEVIATION |  |
| D-DT-1744C Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE - DELTA / 2,5m WOODEN CROSSARM - STRAIN - LARGE (31°-60°) DEVIATION |  |
| D-DT-1745 Sh 1 | 5 | 3 PHASE - DELTA 2 x 2,5m WOOD CROSSARM / 1700 STEEL CROSSARM- STRAIN (60°-90°) DEVIATION (FOR MINK AND HARE CONDUCTOR) |  |
| D-DT-1745 Sh 2 | 5 | 3 PHASE - DELTA 2 x 2,5m WOOD CROSSARM / 2 x 2,5m WOOD CROSSARM - STRAIN (60°-90°) DEVIATION (FOR MINK AND HARE CONDUCTOR) |  |
| D-DT-1745 Sh 3 | 5 | 3 PHASE - DELTA 1 x 2,5m WOOD CROSSARM / 1700 STEEL CROSSARM - STRAIN (60°-90°) DEVIATION (FOR FOX AND 35 CONDUCTOR) |  |
| D-DT-1745 Sh 4 | 5 | 3 PHASE - DELTA 2,5m WOOD CROSSARM 2,5m WOOD CROSSARM - STRAIN (60°-90°) DEVIATION (FOR FOX AND 35 CONDUCTOR) |  |
| D-DT-1745D Sh 1 | 0 | MV THREE PHASE - DELTA /2 X 2,5m WOODEN CROSSARM - STRAIN - LARGE (61°-90°) DEVIATION |  |
| D-DT-1745D Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE - DELTA /2 X 2,5m WOODEN CROSSARM - STRAIN - LARGE (61°-90°) DEVIATION |  |
| D-DT-1746 | 4 | 3 PHASE - DELTA / 2,5M WOOD CROSSARM - STRAIN - TERMINAL |  |
| D-DT-1746A Sh 1 | 0 | MV THREE PHASE - DELTA / 2,5M WOOD CROSSARM - STRAIN - TERMINAL (OPTION 1) |  |
| D-DT-1746A Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE - DELTA / 2,5M WOOD CROSSARM - STRAIN - TERMINAL (OPTION 1) |  |
| D-DT-1746B Sh 1 | 0 | MV THREE PHASE - DELTA / 2,5M WOOD CROSSARM - STRAIN - TERMINAL (OPTION 2) |  |
| D-DT-1746B Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE - DELTA / 2,5M WOOD CROSSARM - STRAIN - TERMINAL (OPTION 2) |  |
| D-DT-1747 Sh 1 | 8 | 3 PHASE - 600mm PHASE SPACING DELTA / 2 x 2,5m WOOD CROSSARM - STRAIN - 0° DEVIATION |  |
| D-DT-1747 Sh 2 | 8 | 3 PHASE - 800mm PHASE SPACING DELTA / 2 x 2,5m WOOD CROSSARM - STRAIN - 0° DEVIATION |  |
| D-DT-1747A Sh 1 | 0 | MV THREE PHASE - 600mm PHASE SPACING DELTA / 2 x 2,5m WOOD CROSSARM - STRAIN - 0° DEVIATION |  |
| D-DT-1747A Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE - 600mm PHASE SPACING DELTA / 2 x 2,5m WOOD CROSSARM - STRAIN - 0° DEVIATION |  |
| D-DT-1748 | 5 | 3 PHASE - DELTA / 2 x 2,5m WOOD CROSSARM - STRAIN - MEDIUM (1°-60°) DEVIATION |  |
| D-DT-1748A Sh 1 | 0 | MV THREE PHASE - DELTA / 2 x 2,5m WOODEN CROSSARM - STRAIN - SMALL (1°-10°) DEVIATION |  |
| D-DT-1748A Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE - DELTA / 2 x 2,5m WOODEN CROSSARM - STRAIN - SMALL (1°-10°) DEVIATION |  |
| D-DT-1748B Sh 1 | 0 | MV THREE PHASE - DELTA / 2 x 2,5m WOODEN CROSSARM - STRAIN - MEDIUM (11°-30°) DEVIATION |  |
| D-DT-1748B Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE - DELTA / 2 x 2,5m WOODEN CROSSARM - STRAIN - MEDIUM (11°-30°) DEVIATION |  |
| D-DT-1748C Sh 1 | 0 | MV THREE PHASE - DELTA / 2 x 2,5m WOODEN CROSSARM - STRAIN - LARGE (31°-60°) DEVIATION |  |
| D-DT-1748C Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE - DELTA / 2 x 2,5m WOODEN CROSSARM - STRAIN - LARGE (31°-60°) DEVIATION |  |
| D-DT-1749 | 3 | 3 PHASE - DELTA / 2 x 2,5m WOOD CROSSARM - STRAIN - TERMINAL |  |
| D-DT-1749A Sh 1 | 0 | MV THREE PHASE - DELTA / 2 x 2,5m WOODEN CROSSARM - STRAIN - TERMINAL |  |
| D-DT-1749A Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE - DELTA / 2 x 2,5m WOODEN CROSSARM - STRAIN - TERMINAL |  |
| D-DT-1750 | 3 | 3 PHASE - DELTA / 4,5m WOOD CROSSARM - INTERMEDIATE - 0° DEVIATION |  |
| D-DT-1753 | 3 | 3 PHASE - DELTA / 4,5m WOOD CROSSARM - STRAIN - 0° DEVIATION |  |
| D-DT-1754 Sh 1 | 5 | 3 PHASE - DELTA / 4,5m WOOD CROSSARM - STRAIN - MEDIUM(1°-60°) DEVIATION |  |
| D-DT-1754 Sh 2 | 5 | 3 PHASE - DELTA / 2 x 4,5m WOOD CROSSARM - STRAIN - MEDIUM (1°-60°) DEVIATION |  |
| D-DT-1756 | 4 | 3 PHASE - DELTA / 4,5m WOOD CROSSARM - STRAIN - TERMINAL |  |
| D-DT-1760 | 3 | 3 PHASE - H-POLE / 3,5m WOOD CROSSARM - INTERMEDIATE - 0° DEVIATION |  |
| D-DT-1763 | 3 | 3 PHASE - H-POLE / 3,5m WOOD CROSSARM - STRAIN - 0° DEVIATION |  |
| D-DT-1764 | 3 | 3 PHASE - H-POLE / 3,5m WOOD CROSSARM - STRAIN - MEDIUM (1°-60°) DEVIATION |  |
| D-DT-1766 | 3 | 3 PHASE - H-POLE / 3,5m WOOD CROSSARM - STRAIN - TERMINAL |  |
| D-DT-1767 | 2 | 3 PHASE - H-POLE / 2 x 3,5m WOOD CROSSARM - STRAIN - 0° DEVIATION |  |
| D-DT-1768 | 4 | 3 PHASE - H-POLE / 2 x 3,5m WOOD CROSSARM - STRAIN - MEDIUM (1°-60°) DEVIATION |  |
| D-DT-1769 | 3 | 3 PHASE - H-POLE / 2 x 3,5m WOOD CROSSARM - STRAIN - TERMINAL |  |
| D-DT-1770 | 3 | 3 PHASE - H-POLE / 4,5m WOOD CROSSARM - INTERMEDIATE - 0° DEVIATION |  |
| D-DT-1770#(y) | 0 | MV THREE PHASE - H-POLE / 4,5m WOODEN CROSSARM - INTERMEDIATE - 0° DEVIATION |  |
| D-DT-1771 | 3 | 3 PHASE - H-POLE / 4,5m WOOD CROSSARM - INTERMEDIATE - SMALL (1°-±10°) DEVIATION |  |
| D-DT-1771A Sh 1 | 0 | MV THREE PHASE - H-POLE / 4,5m WOODEN CROSSARM - INTERMEDIATE - SMALL (1°-±5°) DEVIATION |  |
| D-DT-1771A Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE - H-POLE / 4,5m WOODEN CROSSARM - INTERMEDIATE - SMALL (1°-±5°) DEVIATION |  |
| D-DT-1773 | 3 | 3 PHASE - H-POLE / 4,5m WOOD CROSSARM - STRAIN - 0° DEVIATION |  |
| D-DT-1773A Sh 1 | 0 | MV THREE PHASE - H-POLE / 4,5m WOODEN CROSSARM - STRAIN - 0° DEVIATION |  |
| D-DT-1773A Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE - H-POLE / 4,5m WOODEN CROSSARM - STRAIN - 0° DEVIATION |  |
| D-DT-1774 | 3 | 3 PHASE - H-POLE / 4,5m WOOD CROSSARM - STRAIN - MEDIUM(1°-60°) DEVIATION |  |
| D-DT-1774A Sh 1 | 0 | MV THREE PHASE - H-POLE / 4,5m WOODEN CROSSARM - STRAIN - MEDIUM(1°-10°) DEVIATION |  |
| D-DT-1774A Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE - H-POLE / 4,5m WOODEN CROSSARM - STRAIN - MEDIUM(1°-10°) DEVIATION |  |
| D-DT-1774B Sh 1 | 0 | MV THREE PHASE - H-POLE / 4,5m WOODEN CROSSARM - STRAIN - MEDIUM(11°-30°) DEVIATION |  |
| D-DT-1774B Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE - H-POLE / 4,5m WOODEN CROSSARM - STRAIN - MEDIUM(11°-30°) DEVIATION |  |
| D-DT-1774C Sh 1 | 0 | MV THREE PHASE - H-POLE / 4,5m WOODEN CROSSARM - STRAIN - LARGE(31°-60°) DEVIATION |  |
| D-DT-1774C Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE - H-POLE / 4,5m WOODEN CROSSARM - STRAIN - LARGE(31°-60°) DEVIATION |  |
| D-DT-1776 | 3 | 3 PHASE - H-POLE / 4,5m WOOD CROSSARM - STRAIN - TERMINAL |  |
| D-DT-1776A Sh 1 | 0 | MV THREE PHASE - H-POLE / 4,5m WOODEN CROSSARM - STRAIN - TERMINAL |  |
| D-DT-1776A Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE - H-POLE / 4,5m WOODEN CROSSARM - STRAIN - TERMINAL |  |
| D-DT-1777 | 3 | 3 PHASE - H-POLE / 2 x 4,5m WOOD CROSSARM - STRAIN - 0° DEVIATION |  |
| D-DT-1777A Sh 1 | 0 | MV THREE PHASE - H-POLE / 2 x 4,5m WOODEN CROSSARM - STRAIN - 0° DEVIATION |  |
| D-DT-1777A Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE - H-POLE / 2 x 4,5m WOODEN CROSSARM - STRAIN - 0° DEVIATION |  |
| D-DT-1778 | 4 | 3 PHASE - H-POLE / 2 x 4,5m WOOD CROSSARM - STRAIN - MEDIUM(1°-60°) DEVIATION |  |
| D-DT-1778A Sh 1 | 0 | MV THREE PHASE - H-POLE / 2 x 4,5m WOODEN CROSSARM - STRAIN - SMALL(1°-10°) DEVIATION |  |
| D-DT-1778A Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE - H-POLE / 2 x 4,5m WOODEN CROSSARM - STRAIN - SMALL(1°-10°) DEVIATION |  |
| D-DT-1778B Sh 1 | 0 | MV THREE PHASE - H-POLE / 2 x 4,5m WOODEN CROSSARM - STRAIN - MEDIUM(11°-30°) DEVIATION |  |
| D-DT-1778B Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE - H-POLE / 2 x 4,5m WOODEN CROSSARM - STRAIN - MEDIUM(11°-30°) DEVIATION |  |
| D-DT-1778C Sh 1 | 0 | MV THREE PHASE - H-POLE / 2 x 4,5m WOODEN CROSSARM - STRAIN - LARGE(31°-60°) DEVIATION |  |
| D-DT-1778C Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE - H-POLE / 2 x 4,5m WOODEN CROSSARM - STRAIN - LARGE(31°-60°) DEVIATION |  |
| D-DT-1778D Sh 1 | 0 | MV THREE PHASE - H-POLE / 2 x 4,5m WOODEN CROSSARM - STRAIN - LARGE(61°-90°) DEVIATION |  |
| D-DT-1778D Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE - H-POLE / 2 x 4,5m WOODEN CROSSARM - STRAIN - LARGE(61°-90°) DEVIATION |  |
| D-DT-1779 | 3 | 3 PHASE - H-POLE / 2 x 4,5m WOOD CROSSARM - STRAIN - TERMINAL |  |
| D-DT-1779A Sh 1 | 0 | MV THREE PHASE - H-POLE / 2 x 4,5m WOODEN CROSSARM - STRAIN - TERMINAL |  |
| D-DT-1779A Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE - H-POLE / 2 x 4,5m WOODEN CROSSARM - STRAIN - TERMINAL |  |
| D-DT-1783 | 3 | 3 PHASE - TRIPS - STRAIN - 0° DEVIATION |  |
| D-DT-1783A Sh 1 | 0 | MV THREE PHASE - TRIPS - STRAIN - 0° DEVIATION (FRONT VIEW) |  |
| D-DT-1783A Sh 2 | 0 | MV THREE PHASE - TRIPS - STRAIN - 0° DEVIATION (SIDE AND TOP VIEW) |  |
| D-DT-1783A Sh 3 | 0 | PERMANENT STAY PLAN MV THREE PHASE - TRIPS - STRAIN - 0° DEVIATION (SIDE AND TOP VIEW) |  |
| D-DT-1784 | 3 | 3 PHASE - TRIPS - STRAIN - LARGE (1°-90°) DEVIATION |  |
| D-DT-1784A Sh 1 | 0 | MV THREE PHASE - TRIPS - STRAIN -SMALL (1°-10°) DEVIATION (FRONT VIEW) |  |
| D-DT-1784A Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE - TRIPS - STRAIN -SMALL (1°-10°) DEVIATION (SIDE AND TOP VIEW) |  |
| D-DT-1784B Sh 1 | 0 | MV THREE PHASE - TRIPS - STRAIN -MEDIUM (11°-30°) DEVIATION (FRONT VIEW) |  |
| D-DT-1784B Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE - TRIPS - STRAIN -MEDIUM (11°-30°) DEVIATION (SIDE AND TOP VIEW) |  |
| D-DT-1784C Sh 1 | 0 | MV THREE PHASE - TRIPS - STRAIN -LARGE (31°-60°) DEVIATION (FRONT VIEW) |  |
| D-DT-1784C Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE - TRIPS - STRAIN -LARGE (31°-60°) DEVIATION (SIDE AND TOP VIEW) |  |
| D-DT-1784D Sh 1 | 0 | MV THREE PHASE - TRIPS - STRAIN -LARGE (61°-90°) DEVIATION (FRONT VIEW) |  |
| D-DT-1784D Sh 2 | 0 | PERMANENT STAY PLAN MV THREE PHASE - TRIPS - STRAIN -LARGE (61°-90°) DEVIATION (SIDE AND TOP VIEW) |  |
| D-DT-1785 Sh 1 | 2 | MV HEAVY CONDUCTOR - 3 PHASE STAGGERED VERTICAL 800mm SPACING INTERMEDIATE - O° DEVIATION (CONCRETE POLES) |  |
| D-DT-1785 Sh 2 | 2 | MV HEAVY CONDUCTOR - 3 PHASE STAGGERED VERTICAL 800mm SPACING INTERMEDIATE - O° DEVIATION (WOOD POLES) |  |
| D-DT-1786 Sh 1 | 2 | MV HEAVY CONDUCTOR - 22kV 3 PHASE - VERTICAL 800mm SPACING STRAIN - O° DEVIATION (CONCRETE 10kN POLES) |  |
| D-DT-1786 Sh 2 | 2 | MV HEAVY CONDUCTOR - 22kV 3 PHASE - VERTICAL 800mm SPACING STRAIN - O° DEVIATION (WOOD POLES) |  |
| D-DT-1787 Sh 1 | 2 | MV HEAVY CONDUCTOR - 22kV 3 PHASE - VERTICAL 800mm SPACING STRAIN - O-30° DEVIATION (CONCRETE 10kN POLES) |  |
| D-DT-1787 Sh 2 | 2 | MV HEAVY CONDUCTOR - 22kV 3 PHASE - VERTICAL 800mm SPACING STRAIN - O-30° DEVIATION (WOOD POLES) |  |
| D-DT-1788 | 2 | MV HEAVY CONDUCTOR - 22kV 3 PHASE - VERTICAL 800mm SPACING STRAIN - LARGE 30-90° DEVIATION (CONCRETE 10kN POLES) |  |
| D-DT-1789 Sh 1 | 2 | MV HEAVY CONDUCTOR - 22kV 3 PHASE - VERTICAL 800mm SPACING STRAIN - TERMINAL (CONCRETE 10kN POLES) |  |
| D-DT-1789 Sh 2 | 2 | MV HEAVY CONDUCTOR - 22kV 3 PHASE - VERTICAL 800mm SPACING STRAIN - TERMINAL (WOOD POLES) |  |
| D-DT-1790 | 2 | MV HEAVY CONDUCTOR - 3 PHASE - DELTA - 3500mm WOODEN CROSSARM INTERMEDIATE - 0° DEVIATION (WOOD POLE) |  |
| D-DT-1791 | 0 | MV HEAVY CONDUCTOR - 22kV 3 PHASE - VERTICAL 800mm SPACING STRAIN - LARGE 60-90° DEG. DEVIATION (DOUBLE WOOD POLES) |  |
| D-DT-1792 | 0 | MV HEAVY CONDUCTOR - 22kV 3 PHASE - VERTICAL 800mm SPACING STRAIN - LARGE 30-60° DEG. DEVIATION (DOUBLE WOOD POLES) |  |
| D-DT-1793 Sh 1 | 0 | MV HEAVY CONDUCTOR - 22kV H-POLE SUSPENSION STRUCTURE GENERAL ARRANGEMENT |  |
| D-DT-1793 Sh 2 | 0 | MV HEAVY CONDUCTOR - 22kV H-POLE SUSPENSION STRUCTURE WIND / WEIGHT SPAN TABLES |  |
| D-DT-1794 Sh 1 | 1 | MV HEAVY CONDUCTOR - 22kV H-POLE BRACED IN-LINE STRAIN GENERAL ARRANGEMENT |  |
| D-DT-1794 Sh 2 | 1 | MV HEAVY CONDUCTOR - 22kV H-POLE BRACED IN-LINE STRAIN DIMENSION DRAWING |  |
| D-DT-1794 Sh 3 | 1 | MV HEAVY CONDUCTOR - 22kV H-POLE BRACED IN-LINE STRAIN WIND / WEIGHT SPAN TABLES |  |
| D-DT-1795 Sh 1 | 1 | MV HEAVY CONDUCTOR - 22kV H-POLE BRACED ANGLE STRAIN 1-60° GENERAL ARRANGEMENT |  |
| D-DT-1795 Sh 2 | 1 | MV HEAVY CONDUCTOR - 22kV H-POLE BRACED ANGLE STRAIN 1-60° DIMENSION DRAWING |  |
| D-DT-1795 Sh 3 | 1 | MV HEAVY CONDUCTOR - 22kV H-POLE BRACED ANGLE STRAIN 1-60° WIND / WEIGHT SPAN TABLES |  |
| D-DT-1796 Sh 1 | 1 | MV HEAVY CONDUCTOR - 22kV H-POLE BRACED TERMINAL STRUCTURE GENERAL ARRANGEMENT |  |
| D-DT-1796 Sh 2 | 1 | MV HEAVY CONDUCTOR - 22kV H-POLE BRACED TERMINAL STRUCTURE DIMENSION DRAWING |  |
| D-DT-1796 Sh 3 | 1 | MV HEAVY CONDUCTOR - 22kV H-POLE BRACED TERMINAL STRUCTURE WIND / WEIGHT SPAN TABLES |  |
| D-DT-1300 | 3 | PHASE / PHASE - STAGGERED VERTICAL (450mm SPACING) - INTERMEDIATE - 0° DEVIATION |  |
| D-DT-1301 | 3 | PHASE / PHASE - VERTICAL (450mm SPACING) - INTERMEDIATE - SMALL(1°-±10°) DEVIATION |  |
| D-DT-1302 | 4 | PHASE / PHASE - VERTICAL (450mm SPACING) - INTERMEDIATE - MEDIUM(±10°-30°) DEVIATION |  |
| D-DT-1303 | 3 | PHASE / PHASE - VERTICAL (450mm SPACING) - STRAIN - 0° DEVIATION |  |
| D-DT-1304 | 3 | PHASE / PHASE - VERTICAL (450mm SPACING) - STRAIN - SMALL(1°-30°) DEVIATION |  |
| D-DT-1305 | 3 | PHASE / PHASE - VERTICAL (450mm SPACING) - STRAIN - LARGE(30°-90°) DEVIATION |  |
| D-DT-1306 | 3 | PHASE / PHASE - VERTICAL (450mm SPACING) - STRAIN - TERMINAL |  |
| D-DT-1310 | 3 | PHASE / PHASE - STAGGERED VERTICAL (600mm SPACING) - INTERMEDIATE - 0° DEVIATION |  |
| D-DT-1311 | 3 | PHASE / PHASE - VERTICAL (600mm SPACING) - INTERMEDIATE - SMALL (1°-±10°) DEVIATION |  |
| D-DT-1312 | 4 | PHASE / PHASE - VERTICAL (600mm SPACING) - INTERMEDIATE - MEDIUM(±10°-30°) DEVIATION |  |
| D-DT-1313 | 3 | PHASE / PHASE - VERTICAL (600mm SPACING) - STRAIN - 0° DEVIATION |  |
| D-DT-1314 | 3 | PHASE / PHASE - VERTICAL (600mm SPACING) - STRAIN - SMALL(1°-30°) DEVIATION |  |
| D-DT-1315 | 3 | PHASE / PHASE - VERTICAL (600mm SPACING) - STRAIN - LARGE (30°-90°) DEVIATION |  |
| D-DT-1316 | 3 | PHASE / PHASE - VERTICAL (600mm SPACING) - STRAIN - TERMINAL |  |
| D-DT-1320 | 3 | PHASE / PHASE - DELTA (450mm STUD) - INTERMEDIATE - 0° DEVIATION |  |
| D-DT-1330 | 3 | PHASE / PHASE - DELTA (600mm STUD) - INTERMEDIATE - 0° DEVIATION |  |
| D-DT-1333 | 3 | PHASE / PHASE - DELTA / 1,3m STEEL X-ARM - STRAIN - 0° DEVIATION |  |
| D-DT-1334 | 3 | PHASE / PHASE - DELTA / 1,3m STEEL X-ARM - STRAIN - MEDIUM (1°-60°) DEVIATION |  |
| D-DT-1335 | 3 | PHASE / PHASE - DELTA / 1,3m STEEL X-ARM - STRAIN - LARGE (60°-90°) DEVIATION |  |
| D-DT-1336 | 3 | PHASE / PHASE - DELTA / 1,3m STEEL X-ARM - STRAIN - TERMINAL |  |
| D-DT-1340 | 3 | PHASE / PHASE - DELTA / 2,5m WOOD X-ARM - INTERMEDIATE - 0° DEVIATION |  |
| D-DT-1343 | 2 | PHASE / PHASE - DELTA / 2,5m WOOD X-ARM - STRAIN - 0° DEVIATION |  |
| D-DT-1344 | 2 | PHASE / PHASE - DELTA / 2,5m WOOD X-ARM - STRAIN - MEDIUM(1°-60°) DEVIATION |  |
| D-DT-1346 | 2 | PHASE / PHASE - DELTA / 2,5m WOOD X-ARM - STRAIN - TERMINAL |  |
| D-DT-1370 | 3 | PHASE / PHASE - H-POLE / 4,5m WOOD X-ARM - INTERMEDIATE - 0° DEVIATION |  |
| D-DT-1371 | 3 | PHASE / PHASE - H-POLE / 4,5m WOOD X-ARM - INTERMEDIATE - SMALL (1°-±10°) DEVIATION |  |
| D-DT-1373 | 3 | PHASE / PHASE - H-POLE / 4,5m WOOD X-ARM - STRAIN - 0° DEVIATION |  |
| D-DT-1374 | 3 | PHASE / PHASE - H-POLE / 4,5m WOOD X-ARM - STRAIN - MEDIUM (1°-60°) DEVIATION |  |
| D-DT-1376 | 3 | PHASE / PHASE - H-POLE / 4,5m WOOD X-ARM - STRAIN - TERMINAL |  |
| D-DT-1380 | 3 | 2 PHASE - MV IN-LINE LINK ASSEMBLY |  |
| D-DT-1382 | 3 | 2 PHASE - MV TRANSFORMER POLE 16-100kVA TRANSFORMER STRUCTURE FOR DELTA CONFIGURATION |  |
| D-DT-1390 | 3 | PHASE / PHASE - T-FRAME / 2m STEEL X-ARM - INTERMEDIATE - 0° DEVIATION |  |
| D-DT-1391 | 3 | PHASE / PHASE - T-FRAME / 2m STEEL X-ARM - INTERMEDIATE - SMALL(1°-±10°) DEVIATION |  |

Part 4: Site Information

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 |
| C4 | Site Information |  |
|  | Total number of pages | 1 |

Part 4: Site Information

# General description

Different plant and areas, to be clarified at Kick Off Meetings

# Subsoil information

Information will be provided at kick off or site meeting

This total is required by the Employer for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.

Available from Engineering Contract Strategies Tel 011 803 3008, Fax 011 803 3009 or see www.ecs.co.za