Part 3: Scope of Work

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 |
| C3.1 | Employer’s Service Information |  |
|  | (insert at award stage or delete if not applicable) |  |
|  | Total number of pages |  |

C3.1: Employer’s service Information

Contents

When the document is complete, insert a ‘Table of Contents’.  To do this go to:  Insert, → Reference, → Index and tables → Table of Contents.  Three levels and the title (but not the subtitle) may be shown if the formats used in this template are retained.

Otherwise insert list of contents manually.

Part 3: Scope of Work	1

C3.1: Employer’s service Information	2

1	Description of the service	4

1.1	Executive overview	4

1.2	Employer’s requirements for the service	4

1.3	Interpretation and terminology	4

2	Management strategy and start up.	5

2.1	The Contractor’s plan for the service	5

2.2	Management meetings	5

2.3	Contractor’s management, supervision and key people	6

2.4	Provision of bonds and guarantees	6

2.5	Documentation control	6

2.6	Invoicing and payment	6

2.7	Contract change management	6

2.8	Records of Defined Cost to be kept by the Contractor	7

2.9	Insurance provided by the Employer	7

2.10	Training workshops and technology transfer	7

2.11	Design and supply of Equipment	7

2.12	Things provided at the end of the service period for the Employer’s use	7

2.12.1	Equipment	7

2.12.2	Information and other things	7

2.13	Management of work done by Task Order	8

3	Health and safety, the environment and quality assurance	9

3.1	Health and safety risk management	9

3.2	Environmental constraints and management	9

3.3	Quality assurance requirements	9

4	Procurement	10

4.1	People	10

4.1.1	Minimum requirements of people employed	10

4.1.2	BBBEE and preferencing scheme	10

4.1.3	Accelerated Shared Growth Initiative – South Africa (ASGI-SA)	10

4.2	Subcontracting	10

4.2.1	Preferred subcontractors	10

4.2.2	Subcontract documentation, and assessment of subcontract tenders	10

4.2.3	Limitations on subcontracting	11

4.2.4	Attendance on subcontractors	11

4.3	Plant and Materials	11

4.3.1	Specifications	11

4.3.2	Correction of defects	11

4.3.3	Contractor’s procurement of Plant and Materials	11

4.3.4	Tests and inspections before delivery	11

4.3.5	Plant & Materials provided “free issue” by the Employer	12

4.3.6	Cataloguing requirements	12

5	Working on the Affected Property	13

5.1	Employer’s site entry and security control, permits, and site regulations	13

5.2	People restrictions, hours of work, conduct and records	13

5.3	Health and safety facilities on the Affected Property	13

5.4	Environmental controls, fauna & flora	13

5.5	Cooperating with and obtaining acceptance of Others	13

5.6	Records of Contractor’s Equipment	13

5.7	Equipment provided by the Employer	14

5.8	Site services and facilities	14

5.8.1	Provided by the Employer	14

5.8.2	Provided by the Contractor	14

5.9	Control of noise, dust, water and waste	14

5.10	Hook ups to existing works	14

5.11	Tests and inspections	14

5.11.1	Description of tests and inspections	14

5.11.2	Materials facilities and samples for tests and inspections	14

6	List of drawings	15

6.1	Drawings issued by the Employer	15

# Description of the service

## Executive overview

- Executive overview

The scope of this contract is provisioning of calibration and repair of Eskom Telecommunications test equipment on an as and when required basis for a period of three (3) years.

The service provider is expected to assess the faulty equipment and provide Eskom with a quote. The quote shall be for repairing or calibrating the items and delivery to Eskom Telecommunication’s warehouse in Germiston. An order can only be created after a quotation is received by Eskom. Repairs/Calibration shall only be done after receiving an order from Eskom

The calibration and repair support shall be on as and when required basis for the duration of the contract

- Employer’s requirements for the service

1.2.1 	Eskom Telecommunications require calibration and repairs of test instruments used in the provisioning of telecommunications services on an as and required basis. All work to be done in accordance with

1.2.2	Each calibrated or repaired test instrument should be accompanied by a “SANAS certificate (ISO 17025)” and a report stating calibration information (deviation from standard and adjustments)

- All equipment listed in Annexure 1 shall be calibrated according to SANS Accreditation stipulation and the relevant certificate to be issued

- A report of calibration results shall be returned by the service provider indicating both pre and post calibration results

- The calibration certificates for the equipment that is not SANAS accreditation should reflect the standard the calibration is traceable to.

- Replaced equipment must be accompanied by a QA certificate and a calibration certificate bearing its serial number including the traceable/tracking information of the test equipment used for the calibration

1.2.3	Calibrated equipment shall have a calibration sticker affixed to the instrument indicating the test instrument’s calibration status and the next calibration date. The calibration certificate shall be valid for a period of three (3) years

1.2.4	Faulty test instruments must be accompanied by the “root cause analysis” report detailing the cause of the fault and what repairs were done

1.2.5	Supplier shall provide a quote for the work within five (5) working days of receiving a request from Eskom

1.2.6	Supplier shall adhere to the Eskom Telecommunication’s Quality procedure whilst calibrating the test equipment

1.2.7	Supplier shall keep records of calibrating certificates and equipment that they calibrated

1.2.8	Supplier shall report on equipment due for calibration at least six (6) weeks before expiry

1.2.9	Supplier shall provide monthly report on overdue equipment

1.2.10	Turnaround time for repairs shall be thirty (30) working days

1.2.11	Turnaround time for calibration shall be fifteen (15) working days

1.2.12	State your guaranteed turnaround time

1.2.13	The supplier shall provide at least a year warranty for the repaired equipment

1.2.14	Supplier to provide OEM accreditation certification as well as own equipment calibration certificates

1.2.15	The items must be traced by serial numbers. The same unit that is sent for repair shall be sent back to Eskom whether repairable or not.

1.2.16	All major part replacements (above 15%) of the retail value) shall be authorised by Eskom.

1.2.17	A fault report on repaired or irreparable items shall contain, at least, the following information,

- The serial number of the device

- Fault description (which module is faulty)

- Where possible to identify the cause of the failure

1.2.18		All equipment shall be repaired in the Republic of South Africa (RSA) where possible. In the case where this is not possible Eskom shall authorise the exporting of the item

1.2.19	The service provider shall provide direct, traceable, access to a fault logging cetre.

- Interpretation and terminology

The following abbreviations are used in this Service Information:

| Abbreviation | Meaning given to the abbreviation |
| --- | --- |
| ET | Eskom telecommunications |
| OEM | Original Equipment Manufacturer |
| RSA | Republic of South Africa |
| SLA | Service Level Agreement |
| QA | Quality Assurance |
| SANAS | South African National Accreditation System |

# Management strategy and start up.

## Management meetings

Regular meetings of a general nature may be convened and chaired by the Service Manager as and when required. These will be communicated to the Contractor.

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.

## Documentation control

All contractual correspondence between Contractor and Service Manager shall be in the form of a properly compiled letter, dated and bearing the approved letterhead.

The Service Manager shall maintain a record of all contractual communications.

For all documentation the Contractor shall comply with Employer’s 32-4 Document Template for procedures, standards, work instructions, guidelines, etc. All documents that shall become the property of the Employer and shall comply with 32-4 Employer Telecommunications Documentation Template

## Invoicing and payment

Invoices are to submitted to:

Accounts Payable, Eskom Holdings Pty Ltd, and submit the tax invoice electronically via email through to invoiceseskomlocal@eskom.co.za but they must be sent in PDF format ONLY.

Each PDF file should contain only one invoice, however the email may contain more than one PDF file

And include on each invoice the following information:

Name and address of the Contractor and the Service Manager;

The contract number and title;

Contractor’s VAT registration number;

The Employer’s VAT registration number 4740101508;

Description of service provided for each item invoiced based on the Price List;

Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

## Contract change management

Changes to the contract shall be approved by the relevant authority of the Employer.

## Management of work done by Task Order

Work is only to commence upon receipt of a task order or purchase order

# Health and safety, the environment and quality assurance

## Health and safety risk management

The Contractor shall comply with the health and safety requirements contained in the health and safety requirements.

## Environmental constraints and management

The Contractor shall comply with the environmental criteria and constraints stated in the Environmental requirements

## Quality assurance requirements

The Contractor shall comply with the quality criteria and constraints stated in the quality requirements

### Cataloguing requirements by the Contractor

All items or services must be catalogued on Eskom’s system and will be allocated with a system generated description and a material or service number.