## Cover
ESKOM GENERATION
2025
The Supply and Delivery of Electrical Cables and Earthing Spares for a Period of 60 Months at Camden Power Station: Bills of Quantities
CONTRACT NUMBER |  | :
CONTRACTOR |  | :
CONTRACT AMOUNT (EXCL. VAT) |  | : | 0
CONTRACT AMOUNT (INCL. VAT) |  | : | 0
Camden Power Station

## Content
The Supply and Delivery of Electrical Cables and Earthing Spares for a Period of 60 Months at Camden Power Station
TABLE OF CONTENTS
Contract Data
Notes to Tenderers
Bill of Quantities
| Bills of Quantities | :
Final Summary

## Notes to tenderers
NOTES TO TENDERERS
1. BILLS OF QUANTITIES
This document comprises Notes to Tenderers and Bills of Quantities and is hereafter referred to as "the Bills of Quantities".
The Tenderers are to note that this is a Contract with a Bills of Quantities.
2.1 CONTRACT DOCUMENTS
The contract documents will consist of:
2.1.1 The NEC3 Supply Contract 2013 together with all amendments.
2.1.2 These Bills of Quantities, including all annexures and supplementary documentation referred to therein.
2.1.3 Documents to be provided by the Contractor in terms of the requirements of these Bills of Quantities.
2.1.4 Construction Regulations 2014
2.1.5 Occupational Health and Safety Act of 1993
3 DRAWINGS
There are no drawings for this contract.
4 VALUE ADDED TAX
Tenderers should compute their rates from the net costs (excluding Value Added Tax). Value Added Tax at the current rate of 15% is to be added to the net sub-total on the final summary page by means of a single sum calculation to establish the tender price.
5 SCOPE OF WORK
As a guide only, the work comprises as follows:-
The Supply and Delivery of Electrical Cables and Earthing Spares for a Period of 60 Months at Camden Power Station
6 ADDRESS WHERE DOCUMENTS CAN BE OBTAINED
Tender documents will be made available Electronically on an online portal to be provided by Eskom
7 POSSESSION OF SITE
The date of which possession of the Site shall be given to the Contractor shall be within 7 working days of the acceptance of this tender.
8 CONSTRUCTION PERIOD - DATES FOR PRACTICAL COMPLETION
The intended date for practical completion and penalty for each calendar day for non-completion shall be:
Practical Completion: 60 Months from the date of Site Handover
Tenderers are to note that the Contract will be delivered as a whole and NOT to be phased (where applicable).
9 COMMON LAW OR BY-LAW REQUIREMENTS
No liability for not specifically mentioning any normal contractual, Common Law or By-Law requirements will be accepted by the Employer, or Contracts Manager.
10 ORDERING OF MATERIALS
No claims will be entertained due to non-availability of materials or labour. The Tenderer is therefore required to investigate and ensure that the specific materials and components required for the works will be available at the relevant estimated construction times, at the time of tendering.
11 CONTRACT PRICE ADJUSTMENT
The Contract Sum shall be subject to CPAP.
12. PRICED BILLS OF QUANTITIES:
Tenderers must submit to the Contracts Manager a copy of the Bills of Quantities fully priced and extended, with his tender. After the Bills have been checked, and when called upon, each page of the Bills of Quantities shall be initialed and the Index page and the Final Summary page signed in full.
13 DIFFERENCE AND DISCREPANCIES:
Should there be any difference or discrepancy between the prices or particulars contained in the official Tender Form and those contained in any covering letter from the Tenderer, the prices contained in the official Tender Form shall prevail.
Every Tenderer shall be deemed to have waived, renounced and abandoned any conditions printed or written upon any stationery used by him for the purpose of or in connection with the submission of his Tender, which are in conflict with the Conditions of Tender.
Tenderers are warned that any material divergence from the official conditions or specifications may render their Tenders liable to disqualification.
The Tenderers are to note that if there are any arithmetical errors in the Tenderers' form of tender in calculation of the Tender Sum, the Contracts Manager will correct the calculation accordingly.
14 COMMUNICATION WITH MEMBERS OF THE CLIENT COMPANY OR PROFESSIONAL TEAM
A Tenderer shall not in any way communicate with a member of the Client Company or Professional Team or with any officer on a question affecting any contract or the supply of goods or for any work, undertaking or service which is the subject of a Tender during the period between the closing date for receipt of Tenders and the dispatch of the written notification of the Employer's decision on the award of the contract; provided that a Tenderer shall not hereby be precluded from obtaining from the Employer or his authorised representative information as to the date upon which the award of the contract is likely to be made or, after the decision upon the award has been made by the Contracts Manager to which the Employer had delegated its powers, information as to the nature of the decision or such information as was publicly disclosed at the opening of Tenders.
15 IMPORT PERMITS:
Tenderers must apply direct for any import permit and/or currency required, however the Contracts Manager will furnish successful Tenderers with a supporting statement if required.
16 BILLS OF QUANTITIES:
No alteration, erasure, omission or addition is to be made to the text and conditions of these Bills of Quantities and should any such alteration, amendment, note or addition be made, the same will not be recognised, but the reading of the Bills of Quantities as prepared by the Contracts Manager will be adhered to.
It should be understood that the system of measurement herein adopted is the only system of measurement which will be recognised in connection with this contract. Before the signing of the contract, the Contracts Manager will be entitled to call for adjustments of individual rates and rectify discrepancies, as he considers necessary without alterations to the Tender amount.
6 Ensure that every employee or person (including visitors) who enters the site of the Works undergoes health and safety induction training pertaining to hazards identified on the site of the Works and upon such training having been successfully completed, the Contractor must issue written confirmation by a competent person to the trained employees or persons who shall be further instructed to carry such confirmation with them at all times whilst on the site of the Works;
7 Issue, on loan, the necessary personal protective equipment to visitors to the site of the Works; and
8 Be in good standing with the Compensation Commissioner at all times during the duration of the Contract.
9 The Contractor is to sign a Non-Disclosure Agreement prior to collecting or receiving any proprietary information from Eskom, drawings, documentation, reports and photographs
The Contractor will be deemed to have satisfied himself with his obligations in terms of the Act and to have allowed for all costs arising from compliance with the Act as no claim for extra costs arising from compliance with, and obligations in terms of the Act will be entertained.
17 PRICING OF THESE GENERAL NOTES
The Contractor must allow in his pricing for any additional costs arising from these "General Notes" as no later claims for additional costs will be considered.
18 TAX COMPLIANCE
Failure to provide mandatory information required in this Bid will result in the submissions being deemed null and void and shall be considered non-responsive. An Electronic Tax Compliance Status (TCS) System will be used to verify the bidder’s tax compliance status so bidders must request a unique security personal identification number (PIN) from SARS which must be submitted with the bid
No alternative tender offers will be considered.
These Bills are not to be used for the purpose of ordering materials.
All Bill rates are to include for material, labour, plant, wastage, transport and profit.

## BOQ Estimate
Item | Description | UOM | Qty | Rate | Amount
BILL OF QUANTITIES
PREAMBLE
Currency
All pricing and amounts to be in the currency of South African Rands (ZAR)
All individual amounts in these bills of quantities exclude Value Added Tax (VAT). VAT is to be calculated as a lump sum and added to the total of all values in the Final Summary under the item provided for VAT
A detailed and / or itemised breakdown of the P&G's Items will be requested only from the successful bidders for vetting by the employer.
RATES
The tenderer is advised that any rate that is required for work must include the following breakdown
Material, labour, plant, wastage, transport and profit.
LABOUR INTENSIVE ITEMS
The contractor shall comply with all requirements of the "Code of Good Practice for Employment and Conditions of Work for Special Public Works Programmes" issued in terms of the "Basic Conditions of Employment Act, 1997 (Act No. 75 of 1997)" and the related "Ministerial Determination", for the employment of locally employed temporary workers on a labour-intensive infrastructure project under the Expanded Public Works Programme (EPWP)
SPECIFICATION DOCUMENT
The Contractor is reffered to the Specification Document for the full details of the scope and they are urged to read this document prior to pricing this work.
SCOPE OF WORKS
The scope of works encompasses the Supply and Delivery of Electrical Cables and Earthing Spares on as and When Required Basis for a Period of 60 Months at Camden Power Station
PRICING OF THE BILLS OF QUANTITIES
Any items left unpriced will be understood to be provided free of charge and no claim for any extras arising out of the Tenderers omission to price any item will be entertained
PRELIMINARIES AND GENERAL
| Compilation and Submission of a Safety File | Sum | 1 |  | 0
| Medicals Entry | No | 3 |  | 0
| Medicals Renewal | No | 15 |  | 0
| Medicals Exit | No | 3 |  | 0
| Police Clearance | No | 3 |  | 0
| Transportation Cost - Per Delivery | No | 120 |  | 0
MEDIUM VOLTAGE CABLES
1 | 500MM2 X 1 CORE (FXE01WCV) 22KV/22KV | 300m Drum | 16 |  | 0
2 | 500MM2 X 1 CORE (DXG01WCV) 6.35KV/11KV | 300m Drum | 16 |  | 0
3 | 300MM2 X 3 CORE (DXE03UCV) 6.35KV/11KV | 300m Drum | 16 |  | 0
4 | 240MM2 X 3 CORE (DXE03TCV) 6.35KV/11KV | 300m Drum | 16 |  | 0
5 | 185MM2 X 3 CORE (DSW03RCV) 6.35KV/11 KV | 300m Drum | 16 |  | 0
6 | 150MM2 X 3 CORE (DXE03RCV) 6.35KV/11 KV | 300m Drum | 16 |  | 0
7 | 120MM2X 3 CORE (DXE03QCV) 6.35KV/11KV | 300m Drum | 16 |  | 0
8 | 70MM2X 3 CORE (DXX03NCV) 6.35KV/11KV | 300m Drum | 16 |  | 0
9 | 50MM2X 3 CORE (DXX03MCV) 6.35KV/11KV | 300m Drum | 16 |  | 0
MEDIUM VOLTAGE, LOW VOLTAGE & CONTROL CABLES
10 | CABLE ASSEMBLY, POWER ELECTRICAL: TYPE: PULL KEY; OVERALL LENGTH: 1 KM; CONDUCTOR QUANTITY: (4) 1.05 MM2; POTENTIAL: 600/1000 V; COLOR: BLACK; APPLICATION: CONVEYOR TRIP WIRE; SPECIFICATION: SANS 1507/1990; DRAWING NO: CTS-PCAB REV 1; LAID UP TOGETHER AND DOUBLE CLEAR POLYESTER TAPE BEDDED BRASS COATED STEEL WIRE BRAID PVC D2 | 1 km | 50 |  | 0
11 | CABLE ASSEMBLY: TYPE: EXTENSION; DIAMETER: 25 MM; MATERIAL: PVC; SUPPL P/N: 330130-040-0000; 3300XL, UNARMOURED, FOR USE WITH KEYPHASOR SENSOR AND PROBE, MUST BE CHECKED AT RECEIVING BEFORE BEING PLACED ON THE SHELF; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | 300m Drum | 16 |  | 0
12 | CABLE ASSEMBLY: TYPE: EXTENTION; LENGTH: 3 M; REFERENCE NO: 330130-080-00-00; FOR PROXIMITY TRANSDUCERS, LENGTH 8 METERS, WITHOUT STAINLESS STEEL ARMOUR, COMPLETE WITH MINITURE MALE AND FEMALE COAXIAL CONNECTORS FOR USE ON BENTLY NEVADA TURBOVISORY EQUIPMENT; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | 3m | 100 |  | 0
13 | CABLE, COMMUNICATION: TYPE: INSTRUMENTS; CONDUCTOR: 16 CORE, CU; CONDUCTOR SIZE: 0.5 MM2; INSULATION: PVC; SUPPL P/N: UVG8ACV; PVC | 1000m Drum | 10 |  | 0
14 | CABLE, COMMUNICATION: TYPE: INSTRUMENTS; CONDUCTOR: 16 CORE, CU; CONDUCTOR SIZE: 0.5 MM2; INSULATION: PVC; SUPPL P/N: UVG8ACV; PVC | 1000m Drum | 10 |  | 0
15 | CABLE, COMMUNICATION: TYPE: INSTRUMENTS; CONDUCTOR: 40; CONDUCTOR SIZE: 0.5 MM; SHEATH MATERIAL: PVC; SUPPL P/N: UVG20ACV; 100 METER PER ROLL | 1000m Drum | 10 |  | 0
16 | CABLE, COMMUNICATION: TYPE: INSTRUMENTS; CONDUCTOR: 8 CORE, CU; CONDUCTOR SIZE: 0.5 MM2; INSULATION: PVC; SUPPL P/N: UVG04ACV; PVC; 1000m = EA | 1000m Drum | 10 |  | 0
17 | CABLE, COMMUNICATION: TYPE: PATCH; SUPPL P/N: 6ES79601AA045AA0; SIMATIC S7-400H, TYPE DATA | 300m Drum | 16 |  | 0
18 | CABLE, ELECTRICAL: CONDUCTOR SIZE: 0.34 MM2; TYPE: SIGNAL; CONDUCTOR: 5 CORE, CU; COVERING: PUR; LENGTH: 10 M; APPLICATION: MILLS PA FLOW SENSORS; CONDUCTOR INSULATION: PUR; MANUF P/N: SAC-5P-M12MS/10.0-PUR/M12FSSH; MAX VOLTAGE 30VDC SHIELDED CABLE | 300m Drum | 16 |  | 0
19 | CABLE, ELECTRICAL: CONDUCTOR SIZE: 0.5 MM2; ARMOR: COPPER; TYPE: TWINFLEX, MULTISTRAND; RATING: 300-500 V; CONDUCTOR INSULATION: PVC WHITE; REFERENCE NO: 254111; TYPE APPLIANCE | 300m Drum | 16 |  | 0
20 | CABLE, ELECTRICAL: CONDUCTOR SIZE: 0.5 MM2; TYPE: SIGNAL; CONDUCTOR: 4 CORE, CU; COVERING: PUR; LENGTH: 12 M; APPLICATION: MILLS PA FLOW SENSORS; CONDUCTOR INSULATION: PUR; MANUF P/N: LIY(C)Y2X2X0.5 | 300m Drum | 16 |  | 0
21 | CABLE, ELECTRICAL: CORE QUANTITY: 1; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 500 MM2; ARMOR: COPPER SCREEN/STEEL WIRE; TYPE: HV, STRANDED; COVERING: PVC; RATING: 6.35-11 KV; CONDUCTOR INSULATION: XLPE; SUPPL P/N: DXE01WCV; 300 M DRUM = 1 EA | 300m Drum | 16 |  | 0
22 | CABLE, ELECTRICAL: CONDUCTOR SIZE: 16 MM2; TYPE: EXPANDA; CONDUCTOR: 4 CORE, CU; COVERING: PVC; CONDUCTOR INSULATION: RUBBER; SUPPL P/N: 332825-5025; DAIMOND POWER | 300m Drum | 16 |  | 0
23 | CABLE, ELECTRICAL: CONDUCTOR SIZE: 2.5 MM2; TYPE: CABTYRE; CONDUCTOR: 4 CORE, CU; COVERING: PVC; RATING: 500 V; CONDUCTOR INSULATION: PVC; BLACK INSULATED, TYPE 6, 19MM OD, COLOUR CODED: ONE BLUE, ONE BROWN, ONE BLACK AND ONE YELLOW/GREEN, TO THE LATEST EDITION OF SABS150 AND BEARING THE SABS MARK OF APPROVAL | 300m Drum | 16 |  | 0
24 | CABLE, ELECTRICAL: CONDUCTOR SIZE: 2.5 MM2; TYPE: CTS PC; CONDUCTOR: 5 CORE, CU; COVERING: PVC; CONDUCTOR INSULATION: PVC; SUPPL P/N: CTSPC; PLEASE NOTE: MATERIAL COMES IN 500M PER ROLL = 1 EA | 300m Drum | 16 |  | 0
25 | CABLE, ELECTRICAL: CONDUCTOR SIZE: 2.5 MM2; TYPE: SILICON; CONDUCTOR: 3 CORE, CU; COVERING: RUBBER SILICON; CONDUCTOR INSULATION: RUBBER | 300m Drum | 16 |  | 0
26 | CABLE, ELECTRICAL: CONDUCTOR SIZE: 2.5 MM2; TYPE: SURFIX; CONDUCTOR: 2 CORE, CU; E; COVERING: PVC WHITE; CONDUCTOR INSULATION: PVC | 300m Drum | 16 |  | 0
27 | CABLE, ELECTRICAL: CORE QUANTITY: 3; CONDUCTOR MATERIAL: COPPER; | 300m Drum | 16 |  | 0
28 | CONDUCTOR SIZE: 1.5 MM2; TYPE: CABTYRE; COVERING: PVC; RATING: 250-500 VCABLE ELECT:3;COPPER;1.5 MM2;CABTYRE;PVC;RATING: 250-500 V; 15 A; CONDUCTOR INSULATION: PVC; SUPPL P/N: P5; 70 STRANDS, IN 100 M ROLL, BLACK OD , COLOUR CODED; ONE BLUE, ONE BROWN, ONE GREEN/YELLOW | 300m Drum | 16 |  | 0
29 | CABLE, ELECTRICAL: CORE QUANTITY: 3; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 120 MM2; ARMOR: COPPER SCREEN/STEEL WIRE; TYPE: HV, STRANDED; COVERING: PVC; RATING: 6.35-11 KV; CONDUCTOR INSULATION: XLPE; SUPPL P/N: DXE03QCV; 300 M DRUM = 1 EA | 300m Drum | 16 |  | 0
30 | CABLE, ELECTRICAL: CORE QUANTITY: 3; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 120 MM2; ARMOR: STEEL WIRE; TYPE: STRANDED; COVERING: PVC; RATING: 22 KV; CONDUCTOR INSULATION: XLPE; SUPPL P/N: FXX03QCV; 300 M DRUM = 1 EA | 300m Drum | 16 |  | 0
31 | CABLE, ELECTRICAL: CORE QUANTITY: 3; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 185 MM2; ARMOR: COPPER SCREEN/STEEL WIRE; TYPE: HIGH VOLTAGE, STRANDED; COVERING: PVC; RATING: 6.35-11 KV; CONDUCTOR INSULATION: XLPE; SUPPL P/N: DXE03SCV; 300 M DRUM = 1 EA | 300m Drum | 16 |  | 0
32 | CABLE, ELECTRICAL: CORE QUANTITY: 3; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 2.5 MM2; COVERING: SILICON SHEATH; RATING: 600 V 600 A; CONDUCTOR INSULATION: SILICON; PVC ALUMINIUM COPPER BRAIDED FIBRE TEXTILE PROTECTION | 300m Drum | 16 |  | 0
33 | CABLE, ELECTRICAL: CORE QUANTITY: 3; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 2.5 MM2; TYPE: CABTYRE; COVERING: PVC; RATING: 300-500 V; CONDUCTOR INSULATION: PVC; BLACK IN 100 M ROLLS | 300m Drum | 16 |  | 0
34 | CABLE, ELECTRICAL: CORE QUANTITY: 3; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 50 MM2; ARMOR: COPPER SCREEN/STEEL WIRE; TYPE: HV, STRANDED; COVERING: PVC; RATING: 6.35-11 KV; CONDUCTOR INSULATION: XLPE; SUPPL P/N: DXE03MCV; 300 M DRUM = 1 EA | 300m Drum | 16 |  | 0
35 | CABLE, ELECTRICAL: CORE QUANTITY: 3; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 70 MM2; ARMOR: COPPER SCREEN/STEEL WIRE; TYPE: HV, STRANDED; COVERING: PVC; RATING: 6.35-11 KV; CONDUCTOR INSULATION: XLPE; SUPPL P/N: DXE03NCV; 300 M DRUM = 1 EA | 300m Drum | 16 |  | 0
36 | CABLE, ELECTRICAL: CORE QUANTITY: 3; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 95 MM2; ARMOR: COPPER SCREEN/STEEL WIRE; TYPE: HIGH VOLTAGE, STRANDED; COVERING: PVC; RATING: 6.35-11 KV; CONDUCTOR INSULATION: XLPE; SUPPL P/N: DXE03PCV; 300 M DRUM = 1 EA | 300m Drum | 16 |  | 0
37 | CABLE, ELECTRICAL: CORE QUANTITY: 30; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 2.5 MM2; ARMOR: PVC; TYPE: SEMOFLEX, STRANDED; COVERING: POLYURETHANE; RATING: 0.6/1 KV; TEMPERATURE RATING: -40 TO 80 DEG C; LENGTH: 100 M; APPLICATION: CONVEYOR TRIPPER CAR; CONDUCTOR INSULATION: SEMOCORE; NOTE: 100 M DRUM TO BE ISSUED AS 1EA (100 M = 1 EA) | 100m Drum | 25 |  | 0
38 | CABLE, ELECTRICAL: VOLTAGE: 300/500 V; CORE QUANTITY: 2; CONDUCTOR MATERIAL: CU; CONDUCTOR SIZE: 1.5 MM2; ARMOR: UNARMORED; DESIGN TYPE: WIRING CABLE; TYPE: SURFIX; CONDUCTOR: 2 CORE, CU; COVERING: PVC; LENGTH: 100 M; CONDUCTOR INSULATION: PVC; COLOUR WHITE; WITH EARTH | 300m Drum | 16 |  | 0
39 | CABLE, ELECTRICAL: VOLTAGE: 300/500 V; CORE QUANTITY: 2; CONDUCTOR MATERIAL: CU; CONDUCTOR SIZE: 4 MM2; ARMOR: UNARMORED; DESIGN TYPE: WIRING CABLE; TYPE: SURFIX; CONDUCTOR: 2 CORE, CU; CONDUCTOR INSULATION: PVC; 100 METRES PER ROLL; WITH EARTH | 300m Drum | 16 |  | 0
40 | CABLE, ELECTRICAL: CONDUCTOR SIZE: 4 MM2; CONDUCTOR: 1 CORE, CU STRANDED; COVERING: SILICONE BLUE; TEMPERATURE RATING: -50 TO 180 DEG C; CONDUCTOR INSULATION: SILICON | 300m Drum | 16 |  | 0
41 | CABLE, ELECTRICAL: CONDUCTOR SIZE: 4 MM2; CONDUCTOR: 1 CORE, CU STRANDED; COVERING: SILICON RED; TEMPERATURE RATING: -50 TO 180 DEG C; CONDUCTOR INSULATION: SILICON | 300m Drum | 16 |  | 0
42 | CABLE, ELECTRICAL: CONDUCTOR SIZE: 4 MM2; CONDUCTOR: 1 CORE, CU STRANDED; COVERING: SILICONE WHITE/YELLOW; LENGTH: 100 M; CONDUCTOR INSULATION: SILICON | 300m Drum | 16 |  | 0
43 | CABLE, ELECTRICAL: CORE QUANTITY: 4; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 0.5 MM2; TYPE: FLEXIBLE, STRANDED; COVERING: PVC BLACK WITH RED STRIPE; RATING: 30; CONDUCTOR INSULATION: PVC; SUPPL P/N: UVG02; 1000 M = 1 EA | 1000m Drum | 18 |  | 0
44 | CABLE, ELECTRICAL: CORE QUANTITY: 4; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 0.5 MM2; TYPE: FLEXIBLE, STRANDED; COVERING: PVC BLACK WITH RED STRIPE; RATING: 30; CONDUCTOR INSULATION: PVC; SUPPL P/N: UVG02; 1000 M = 1 EA | 300m Drum | 16 |  | 0
45 | CABLE, ELECTRICAL: CORE QUANTITY: 4; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 16 MM2; ARMOR: STEEL WIRE; TYPE: STRANDED; COVERING: PVC; RATING: 1 KV; CONDUCTOR INSULATION: PVC; SUPPL P/N: BVX4HCV; REFERENCE NO: BVX4HCV; ARMOURED, PVC OUTER SHEATH, ENDS MUST BE PROTECTED BY PLASTIC CAP TO PREVENT INGRESS OF MOISTURE | 300m Drum | 16 |  | 0
46 | CABLE, ELECTRICAL: VOLTAGE: 1 KV; CORE QUANTITY: 4C; CONDUCTOR MATERIAL: ALUMINIUM; CONDUCTOR SIZE: 240 MM2; ARMOR: STL WIRE; DESIGN TYPE: BVX4TAV; COVERING: PVC SHEATH; RATING: 1 KV AC; SPECIFICATION: STANDARD: SANS 1507-3; ESKOM 240-56063805; TEST AND CERTIFICATION REQUIREMENTS: SANS 1507-3; CONDUCTOR INSULATION: PVC; DRAWING NO: D2128 REV 1; 4 CORE STRANDED ALUMINIUM CONDUCTOR; 300 M DRUM; INDELIBLE MNFRS TRADEMARK AND PART NO ON ALL ITEMS AND CABLE DRUM STAMPED/MARKED | 300m Drum | 16 |  | 0
47 | CABLE, ELECTRICAL: VOLTAGE: 1 KV; CORE QUANTITY: 4C; CONDUCTOR MATERIAL: CU; CONDUCTOR SIZE: 50 MM2; ARMOR: STL WIRE; DESIGN TYPE: BVX4MCV; COVERING: PVC OUTER SHEATH; RATING: 0.6/1 KV AC; SPECIFICATION: ESKOM: 240-56063805; STD SANS 1507; TEST/CERTIFICATION SANS 1507; CONDUCTOR INSULATION: PVC; DRAWING NO: D3128 REV 1; 4 CORE STRANDED COPPER CONDUCTOR; 300 M DRUM, IDENTIFICATION: INDELIBLE MNFRS. TRADEMARK AND PART NO. ON ALL ITEMS AND DRUM TO BE STAMPED/MARKED | 300m Drum | 16 |  | 0
48 | CABLE, ELECTRICAL: VOLTAGE: 1 KV; CORE QUANTITY: 4C; CONDUCTOR MATERIAL: ALUMINIUM; CONDUCTOR SIZE: 95 MM2; ARMOR: STL WIRE; DESIGN TYPE: BCX4PAV; COVERING: PVC SHEATH; RATING: 1 KV AC; SPECIFICATION: STANDARD: SANS 1507-3; ESKOM: 240-56063805; TEST AND CERTIFICATE REQUIREMENTS: SANS 1507-3; CONDUCTOR INSULATION: PVC; DRAWING NO: D2128 REV 1; 4 CORE STRANDED ALUMINIUM CONDUCTOR; 300 M DRUM; IDENTIFICATION INDELIBLE MNFRS. TRADEMARK AND PART NO ON ALL ITEMS AND CABLE DRUM STAMPED/MARKED | 300m Drum | 16 |  | 0
49 | CABLE, ELECTRICAL: VOLTAGE: 1 KV; CORE QUANTITY: 4C; CONDUCTOR MATERIAL: CU; CONDUCTOR SIZE: 70 MM2; ARMOR: STL WIRE; DESIGN TYPE: BVX4NCV; COVERING: PVC OUTER SHEATH; RATING: 0.6/1 KV AC; SPECIFICATION: ESKOM: 240-56063805; STD SANS 1507; TEST/CERTIFICATION SANS 1507; CONDUCTOR INSULATION: PVC; DRAWING NO: D3128 REV 1; 4 CORE STRANDED COPPER CONDUCTOR; 300M DRUM; IDENTIFICATION: INDELIBLE MNFRS. TRADEMARK & PART NO. ON ALL ITEMS AND DRUM TO BE STAMPED/MARKED | 300m Drum | 16 |  | 0
50 | CABLE, ELECTRICAL: VOLTAGE: 1 KV; CORE QUANTITY: 4C; CONDUCTOR MATERIAL: CU; CONDUCTOR SIZE: 120 MM2; ARMOR: STL WIRE; DESIGN TYPE: BVX4QCV; COVERING: PVC OUTER SHEATH; RATING: 0.6/1 KV AC; SPECIFICATION: ESKOM: 240-56063805; STD SANS 1507; TEST/CERTIFICATION SANS 1507; CONDUCTOR INSULATION: PVC; DRAWING NO: D3128 REV 1; 4 CORE STRANDED COPPER CONDUCTOR: 300M DRUM, IDENTIFICATION: INDELIBLE MNFRS. TRADEMARK & PART NO. ON ALL ITEMS AND DRUM TO BE STAMPED/MARKED | 300m Drum | 16 |  | 0
51 | CABLE, ELECTRICAL: CORE QUANTITY: 5; CONDUCTOR SIZE: 4 MM2; ARMOR: TEXTILE BRAIDS; TYPE: SEMOFLEX; COVERING: POLYURETHANE; RATING: 0.6/1 KV; SPECIFICATION: VDE6510; WEIGHT PER UNIT MEASURE: 362 KG/KM; TEMPERATURE RATING: 80 DEG C; LENGTH: 60 M; APPLICATION: COAL PLANT TRIPPER CARS; CONDUCTOR INSULATION: POLYURETHANE | 300m Drum | 16 |  | 0
52 | CABLE, ELECTRICAL: VOLTAGE: 600 V; CORE QUANTITY: 1; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 2.6 MM; ARMOR: PVC; DESIGN TYPE: MTW/ THWN/ THHN; MANUF P/N: E51583; GASOLINA AND OIL RESISTANT; NOTE: 1 EACH = 30 METERS | 30m | 66 |  | 0
53 | CABLE, ELECTRICAL: VOLTAGE: 600 V; CORE QUANTITY: 1; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 2.9 MM; ARMOR: NON ARMORED; DESIGN TYPE: MTW/THWN/THHN; CONDUCTOR: CU TINNED; APPLICATION: BREAKER; MANUF P/N: E51583; G-UL; AWG 14 CU; GASOLINA AND OIL RESISTANT; AWM: 600 V; VW-1 | 300m Drum | 16 |  | 0
54 | CABLE, ELECTRICAL: CORE QUANTITY: 80; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 0.5 MM2; TYPE: FLEXIBLE, STRANDED; COVERING: PVC BLACK WITH RED STRIP; RATING: 24-30 V; CONDUCTOR INSULATION: PVC; SUPPL P/N: UVG40; PLEASE NOTE: 1000 M = 1 EA | 1000m Drum | 16 |  | 0
55 | CABLE, FIBER OPTIC: TYPE: MULTIMODE; FIBER COUNT: 2; FIBER SIZE: 62.5/125 MM; APPLICATION T3000 CABLES; SHEATH DIAMETER: 125MM; CABLE LENGTH: 0.5M; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | 300m Drum | 16 |  | 0
56 | CABLE, ELECTRICAL: VOLTAGE: 1 KV; CORE QUANTITY: 4C; CONDUCTOR MATERIAL: ALUMINIUM; CONDUCTOR SIZE: 150 MM2; ARMOR: STL WIRE; DESIGN TYPE: BVX4RAV; COVERING: PVC SHEATH; RATING: 1 KV AC; SPECIFICATION: STANDARD: SANS 1507-3; ESKOM: 240-56063805; TEST AND CERTIFICATE REQUIREMENTS: SANS 1507-3; CONDUCTOR INSULATION: PVC; DRAWING NO: D2128 REV 1; 4 CORE STRANDED ALUMINIUM CONDUCTOR; 300M DRUM; IDENTIFICATION: INDELIBLE MNFRS. TRADEMARK & PART NO. ON ALL ITEMS AND CABLE DRUM STAMPED/MARKED | 300m Drum | 16 |  | 0
57 | CABLE: TYPE: EXTENSION; DIAMETER: 3 MM; LENGTH: 3.3 M; MATERIAL: FEP INSULATED; SPECIFICATION: 3300NSV; SUPPL P/N: 3309300600000 | 300m Drum | 16 |  | 0
58 | CABLE: TYPE: EXTENSION; DIAMETER: 8 MM; LENGTH: 15 M; MATERIAL: METAL FLEXIBLE; SUPPL P/N: 89477-50; USED ON EFP CASE VIBRATION | 300m Drum | 16 |  | 0
59 | CABLE: TYPE: PULL WIRE; DIAMETER: 6 MM; LENGTH: 300 M; MATERIAL: SS PVC COATED; MANUF P/N: CTS-PW; APPLICATION: TRIP WIRE FOR CONVEYOR BELT | 300m Drum | 16 |  | 0
60 | CABLE: TYPE: TENSION; DIAMETER: 4 MM2; LENGTH: 65 M; MATERIAL: SILICON; SPECIFICATION: 28502040EA4605; SEMOFLEX POWER CABLE WITH SAFE REELING TENSION; CROSS SECTION: 5CORE; OVERALL DIAMETER: 14.3MM; NET WEIGHT: 362KG/KM; SAFE REELING TENSION: 500N; VDE6510-1000V-E195107-RU AWM STLY 10264/21897-80DEG C; FT1 SEMOFLEX DRUM: 0.6/1KV 5X4MM SQUAD F1+F; CABLE TYPE: 4 X 25A + PE 415V; SIDE PLATE DIAMETER: 1.6M; SPRING BODY DIAMETER: 90.2CM | 300m Drum | 16 |  | 0
61 | WIRE, ELECTRICAL: TYPE: PANEL FLEX-PV1; COLOR: GREEN/YELLOW; STRUCTURE: MULTISTRAND; INSULATION: PVC; RATING: 600 V/1 KV 25 A AT -10 - 70 DEG C; CONDUCTOR FORM: STRANDED; CONDUCTOR SIZE: 2.5 MM2; CORE MATERIAL: CU; SPECIFICATION: SANS 1411 PART 1/2; 100 M ROLL = (1) EA | 300m Drum | 16 |  | 0
62 | WIRE, ELECTRICAL: TYPE: PANEL; SIZE: 2.5 MM2; COLOR: BLUE; STRUCTURE: MULTISTRAND; MATERIAL: CU; INSULATION: PVC; RATING: 600 V/1 KV 25 A AT 10 - 70 DEG C; CONDUCTOR FORM: STRANDED; CONDUCTOR SIZE: 2.5 MM2; CORE MATERIAL: CU; SPECIFICATION: SANS 1411 PART 1/2; TYPE PANEL FLEX PV1 | 300m Drum | 16 |  | 0
63 | WIRE, ELECTRICAL: COLOR: WHITE; STRUCTURE: MULTISTRAND; MATERIAL: CU; INSULATION: PVC; RATING: 600 V/1 KV 25 A AT 10 - 70 DEG C; CONDUCTOR FORM: STRANDED; CONDUCTOR SIZE: 2.5 MM2; CORE MATERIAL: CU; SPECIFICATION: SANS 1411 PART 1/2; TYPE PANEL FLEX PV1 | 300m Drum | 16 |  | 0
64 | CABLE, ELECTRICAL: VOLTAGE: 600 V; CORE QUANTITY: 1; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 2.9 MM; ARMOR: NON ARMORED; DESIGN TYPE: MTW/THWN/THHN; CONDUCTOR: CU TINNED; APPLICATION: BREAKER; MANUF P/N: E51583; G-UL; AWG 14 CU; GASOLINA AND OIL RESISTANT; AWM: 600 V; VW-1 | 300m Drum | 16 |  | 0
65 | CABLE, ELECTRICAL: CORE QUANTITY: 80; CONDUCTOR MATERIAL: COPPER; CONDUCTOR SIZE: 0.5 MM2; TYPE: FLEXIBLE, STRANDED; COVERING: PVC BLACK WITH RED STRIP; RATING: 24-30 V; CONDUCTOR INSULATION: PVC; SUPPL P/N: UVG40; PLEASE NOTE: 1000 M = 1 EA | 300m Drum | 16 |  | 0
66 | CABLE, FIBER OPTIC: TYPE: MULTIMODE; FIBER COUNT: 2; FIBER SIZE: 62.5/125 MM; APPLICATION T3000 CABLES; SHEATH DIAMETER: 125MM; CABLE LENGTH: 0.5M; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | 300m Drum | 16 |  | 0
67 | CABLE, ELECTRICAL: VOLTAGE: 1 KV; CORE QUANTITY: 4C; CONDUCTOR MATERIAL: ALUMINIUM; CONDUCTOR SIZE: 150 MM2; ARMOR: STL WIRE; DESIGN TYPE: BVX4RAV; COVERING: PVC SHEATH; RATING: 1 KV AC; SPECIFICATION: STANDARD: SANS 1507-3; ESKOM: 240-56063805; TEST AND CERTIFICATE REQUIREMENTS: SANS 1507-3; CONDUCTOR INSULATION: PVC; DRAWING NO: D2128 REV 1; 4 CORE STRANDED ALUMINIUM CONDUCTOR; 300M DRUM; IDENTIFICATION: INDELIBLE MNFRS. TRADEMARK & PART NO. ON ALL ITEMS AND CABLE DRUM STAMPED/MARKED | 300m Drum | 16 |  | 0
68 | CABLE: TYPE: EXTENSION; DIAMETER: 3 MM; LENGTH: 3.3 M; MATERIAL: FEP INSULATED; SPECIFICATION: 3300NSV; SUPPL P/N: 3309300600000 | 300m Drum | 16 |  | 0
69 | CABLE: TYPE: EXTENSION; DIAMETER: 8 MM; LENGTH: 15 M; MATERIAL: METAL FLEXIBLE; SUPPL P/N: 89477-50; USED ON EFP CASE VIBRATION | 300m Drum | 16 |  | 0
70 | CABLE: TYPE: PULL WIRE; DIAMETER: 6 MM; LENGTH: 300 M; MATERIAL: SS PVC COATED; MANUF P/N: CTS-PW; APPLICATION: TRIP WIRE FOR CONVEYOR BELT | 300m Drum | 16 |  | 0
71 | CABLE: TYPE: TENSION; DIAMETER: 4 MM2; LENGTH: 65 M; MATERIAL: SILICON; SPECIFICATION: 28502040EA4605; SEMOFLEX POWER CABLE WITH SAFE REELING TENSION; CROSS SECTION: 5CORE; OVERALL DIAMETER: 14.3MM; NET WEIGHT: 362KG/KM; SAFE REELING TENSION: 500N; VDE6510-1000V-E195107-RU AWM STLY 10264/21897-80DEG C; FT1 SEMOFLEX DRUM: 0.6/1KV 5X4MM SQUAD F1+F; CABLE TYPE: 4 X 25A + PE 415V; SIDE PLATE DIAMETER: 1.6M; SPRING BODY DIAMETER: 90.2CM | 300m Drum | 16 |  | 0
72 | WIRE, ELECTRICAL: TYPE: PANEL FLEX-PV1; COLOR: GREEN/YELLOW; STRUCTURE: MULTISTRAND; INSULATION: PVC; RATING: 600 V/1 KV 25 A AT -10 - 70 DEG C; CONDUCTOR FORM: STRANDED; CONDUCTOR SIZE: 2.5 MM2; CORE MATERIAL: CU; SPECIFICATION: SANS 1411 PART 1/2; 100 M ROLL = (1) EA | 300m Drum | 16 |  | 0
73 | TRUNKING: TYPE: CABLE; DIMENSIONS: WD 41 MM X LG 5M X HT 41 MM; MATERIAL: STL; REFERENCE NO: P1000; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | 300m Drum | 16 |  | 0
74 | WIRE, ELECTRICAL: TYPE: PANEL; SIZE: 2.5 MM2; COLOR: BLUE; STRUCTURE: MULTISTRAND; MATERIAL: CU; INSULATION: PVC; RATING: 600 V/1 KV 25 A AT 10 - 70 DEG C; CONDUCTOR FORM: STRANDED; CONDUCTOR SIZE: 2.5 MM2; CORE MATERIAL: CU; SPECIFICATION: SANS 1411 PART 1/2; TYPE PANEL FLEX PV1 | 300m Drum | 16 |  | 0
75 | WIRE, ELECTRICAL: COLOR: WHITE; STRUCTURE: MULTISTRAND; MATERIAL: CU; INSULATION: PVC; RATING: 600 V/1 KV 25 A AT 10 - 70 DEG C; CONDUCTOR FORM: STRANDED; CONDUCTOR SIZE: 2.5 MM2; CORE MATERIAL: CU; SPECIFICATION: SANS 1411 PART 1/2; TYPE PANEL FLEX PV1 | 300m Drum | 16 |  | 0
76 | WIRE, ELECTRICAL: COLOR: BLACK; STRUCTURE: MULTISTRAND; MATERIAL: CU; INSULATION: PVC; RATING: 600 V/1 KV 25 A AT 10 - 70 DEG C; CONDUCTOR FORM: STRANDED; CONDUCTOR SIZE: 2.5 MM2; CORE MATERIAL: CU; SPECIFICATION: SANS 1411 PART 1/2; TYPE PANEL FLEX PV1 | 300m Drum | 16 |  | 0
77 | KIT, CABLE JOINT: CABLE SIZE: 500 MM2; TYPE: TRANSITIONAL; MATERIAL: XPLE; SINGLE CORE; 6.35/11KV | Each | 500 |  | 0
78 | KIT, CABLE JOINT: CABLE SIZE: 185 MM2; POTENTIAL: 6.35/11 KVDC; MATERIAL: XLPE; 3 CORE | Each | 500 |  | 0
79 | CABLE, ELECTRICAL: CONDUCTOR SIZE: 4 MM2; CONDUCTOR: 1 CORE, CU STRANDED; COVERING: SILICONE WHITE/YELLOW; LENGTH: 100 M; CONDUCTOR INSULATION: SILICON | Each | 500 |  | 0
80 | KIT, CABLE JOINT: CABLE SIZE: 500 MM2; POTENTIAL: 22 KVDC; MATERIAL: XLPE; SINGLE CORE | Each | 500 |  | 0
81 | KIT, CABLE JOINT: CABLE SIZE: 50 MM2; POTENTIAL: 6.35/11 KVDC; MATERIAL: XLPE; 3 CORE | Each | 500 |  | 0
82 | KIT, CABLE JOINT: CABLE SIZE: 500 MM2; POTENTIAL: 6.35/11 KVDC; MATERIAL: XLPE; 3 CORE | Each | 500 |  | 0
83 | KIT, CABLE JOINT: CABLE SIZE: 70 MM2; POTENTIAL: 6.35/11 KVDC; MATERIAL: XLPE; 3 CORE | Each | 500 |  | 0
84 | KIT, CABLE JOINT: CABLE SIZE: 300 MM2; POTENTIAL: 6.35/11 KVDC; MATERIAL: XLPE; 3 CORE | Each | 500 |  | 0
85 | KIT, CABLE JOINT: CABLE SIZE: 120 MM2; POTENTIAL: 6.35/11 KVDC; MATERIAL: XLPE; 3 CORE | Each | 500 |  | 0
86 | KIT, CABLE JOINT: CABLE SIZE: 95 MM2; POTENTIAL: 6.35/11 KVDC; MATERIAL: XLPE; 3 CORE | Each | 500 |  | 0
87 | KIT, CABLE JOINT: CABLE SIZE: 150 MM2; TYPE: ELECTRICAL; CONDUCTOR: AL/CU; POTENTIAL: 11 KVDC; CABLE TYPE: PILC; MATERIAL: PAPER LEAD; 3 CORE | Each | 500 |  | 0
88 | WIRE, ELECTRICAL: TYPE: STANDARD, HOOK-UP PANEL; INSULATION: PVC; CONDUCTOR FORM: (7) STRAND; CONDUCTOR SIZE: 0.22 MM2; CORE MATERIAL: CU; LENGTH: 100 M | 100m Roll | 50 |  | 0
89 | WIRE, ELECTRICAL: TYPE: STANDARD, HOOK-UP PANEL; COLOR: GRAY; INSULATION: PVC; CONDUCTOR FORM: (7) STRAND; CONDUCTOR SIZE: 0.22 MM2; CORE MATERIAL: CU; LENGTH: 100 M | 100m Roll | 50 |  | 0
90 | WIRE, ELECTRICAL: TYPE: STANDARD, HOOK-UP PANEL; COLOR: BROWN; INSULATION: PVC; CONDUCTOR FORM: (7) STRAND; CONDUCTOR SIZE: 0.22 MM2; CORE MATERIAL: CU | 100m Roll | 50 |  | 0
91 | WIRE, ELECTRICAL: TYPE: STANDARD, HOOK-UP PANEL; COLOR: WHITE; INSULATION: PVC; CONDUCTOR FORM: (7) STRAND; CONDUCTOR SIZE: 0.22 MM2; CORE MATERIAL: CU; LENGTH: 1000 M = EA | 1000m | 10 |  | 0
92 | WIRE, ELECTRICAL: TYPE: BARE SOLID HEAVY DUTY; CONDUCTOR SIZE: 25 SWG; CORE MATERIAL: CU | 300m Drum | 16 |  | 0
93 | CABLE PVC SWA CU 25MM X SINGLE CORE; VOLTAGE RATING: 600/1000V | 300m Drum | 16 |  | 0
94 | CABLE PVC SWA CU 35MM X SINGLE CORE; VOLTAGE RATING: 600/1000V | 300m Drum | 16 |  | 0
95 | CABLE PVC SWA CU 35MM X 4CORE; VOLTAGE RATING: 600/1000V | 300m Drum | 16 |  | 0
96 | CABLE PVC SWA CU 70MM X 4CORE; VOLTAGE RATING: 600/1000V | 300m Drum | 16 |  | 0
LOW VOLTAGE CABLES
97 | 1.5MM2 X 3 CORE (BVX03CCV) | 300m Drum | 16 |  | 0
98 | 1.5MM2 X 4 CORE (BVX04CCV) | 300m Drum | 16 |  | 0
99 | 1.5MM2 X 12 CORE (BVX12CCV) | 300m Drum | 16 |  | 0
100 | 2.5MM2 X 2 CORE (BVX02DCV) | 300m Drum | 16 |  | 0
101 | 2.5MM2 X 3 CORE (BVX03DCV) | 300m Drum | 16 |  | 0
102 | 2.5MM2 X 4 CORE (BVX04DCV) | 300m Drum | 16 |  | 0
103 | 2.5MM2 X 7 CORE (BVX07DCV) | 300m Drum | 16 |  | 0
104 | 2.5MM2 X 12 CORE (BVX12DCV) | 300m Drum | 16 |  | 0
105 | 2.5MM2 X 19 CORE (BVX19DCV) | 300m Drum | 16 |  | 0
106 | 2.5MM2 X 37 CORE (BVX37ECV) | 300m Drum | 16 |  | 0
107 | 4MM2 X 2 CORE (BVX02ECV) | 300m Drum | 16 |  | 0
108 | 4MM2 X 3 CORE (BVX03ECV) | 300m Drum | 16 |  | 0
109 | 4MM2 X 4 CORE (BVX04ECV) | 300m Drum | 16 |  | 0
110 | 4MM2 X 7 CORE (BVX07ECV) | 300m Drum | 16 |  | 0
111 | 4MM2 X19 CORE (BVX19ECV) | 300m Drum | 16 |  | 0
112 | 6MM2 X 4 CORE (BVX04FCV) | 300m Drum | 16 |  | 0
113 | 10MM2 X 4 CORE (BVX04GCV) | 300m Drum | 16 |  | 0
114 | 16MM2 X 3 CORE (BVX03HCV) | 300m Drum | 16 |  | 0
115 | 16MM2 X 4 CORE (BVX04HCV) | 300m Drum | 16 |  | 0
116 | 25MM2 X 4 CORE (BVX04KCV) | 300m Drum | 16 |  | 0
117 | 35MM2 X 4 CORE (BVX04LCV) | 300m Drum | 16 |  | 0
118 | 50MM2 X 4 CORE (BVX04MCV) | 300m Drum | 16 |  | 0
119 | 70MM2 X 4 CORE (BVX04NCV) | 300m Drum | 16 |  | 0
120 | 95MM2 X 4 CORE (BVX04PCV) | 300m Drum | 16 |  | 0
121 | 120MM2 X 3 CORE (BVX03QCV) | 300m Drum | 16 |  | 0
122 | 120MM2 X 4 CORE (BVX04QCV) | 300m Drum | 16 |  | 0
123 | 150MM2 X 3 CORE (BVX03RCV) | 300m Drum | 16 |  | 0
124 | 150MM2 X 4 CORE (BVX04RCV) | 300m Drum | 16 |  | 0
125 | 185MM2 X 4 CORE (BVX04SCV) | 300m Drum | 16 |  | 0
126 | 240MM2 X 3 CORE (BVX03TCV) | 300m Drum | 16 |  | 0
127 | 240MM2 X 4 CORE (BVX04TCV) | 300m Drum | 16 |  | 0
128 | 300MM2 X 4 CORE (BVX04UCV) | 300m Drum | 16 |  | 0
CABLE TRAY
Cold drawn high tensile galvanized wire mesh cable tray (O-L GRIDSPAN GS 50 x 50) fixed in all positions, etc., to all heights above floor level, etc and to all areas. Complete with splice clamp sets, hold down brackets, bolts, nuts and washers, etc.
129 | 100MM X 75MM X 3M | Each | 2000 |  | 0
130 | 150MM X 75MM X 3M | Each | 2000 |  | 0
131 | 300MM X 75MM X 3M | Each | 2000 |  | 0
132 | 600MM X 75MM X 3M | Each | 2000 |  | 0
COLD DRAWN HIGH TENSILE GALVANISED WIRE MESH CABLE
Tray fittings / accessories normal bending radius.
133 | 100MM WIDE X 75MM 90 DEGREE HORIZONTAL BEND | Each | 2000 |  | 0
134 | 100MM WIDE X 75MM 90 DEGREE EXTERNAL/INT BEND | Each | 2000 |  | 0
135 | 150MM WIDE X 75MM 90 DEGREE HORIZONTAL BEND | Each | 2000 |  | 0
136 | 150MM WIDE X 75MM 90 DEGREE EXTERNAL/INT BEND | Each | 2000 |  | 0
137 | 300MM WIDE X 75MM 90 DEGREE HORIZONTAL BEND | Each | 2000 |  | 0
138 | 300MM WIDE X 75MM 90 DEGREE EXTERNAL/INT BEND | Each | 2000 |  | 0
139 | 600MM WIDE X 75MM 90 DEGREE HORIZONTAL BEND | Each | 2000 |  | 0
140 | 600MM WIDE X 75MM 90 DEGREE EXTERNAL/INT BEND | Each | 2000 |  | 0
141 | 600MM WIDE X 75MM TEE | Each | 2000 |  | 0
CABLE SUPPORT SYSTEM
Galvanized steel single arm cantilever with tongue type bracket complete with bolts, spring nuts, nuts and washers, etc.
142 | 41.3MM X 41.3MM X 2.5MM THICK (O-L 1000) | Each | 2000 |  | 0
143 | 82.6MM X 41.3MM X 2.5MM THICK (O-L 1001) | Each | 2000 |  | 0
144 | 41.3MM X 41.3MM X 2.5MM THICK (O-L 1000) - COVERS F1184 | Each | 2000 |  | 0
CABLE SUPPORT SYSTEM
Galvanized steel single arm cantilever with tongue type bracket complete with bolts, spring nuts, nuts and washers, etc.
145 | 650MM LONG X 89MM HIGH (O-L 251-650) | Each | 2000 |  | 0
GALVANIZED CONDUIT
Surface mounted and fixed in all positions, etc., to all heights above floor level, etc and to all areas.
146 | 20MM DIAMETER | Each | 2000 |  | 0
147 | 25MM DIAMETER | Each | 2000 |  | 0
148 | 50MM DIAMETER | Each | 2000 |  | 0
GALVANIZED THREADED ROD
149 | 12 MM THREADED RODS WITH NUTS AND WASHERS | Each | 2000 |  | 0
WIRING CHANNELS
Galvanized steel channel complete with galvanized cover surface mounted and fixed in all positions, etc., to all heights above floor level, etc and to all areas.
150 | 41.3 X 41.3 X 1.6MM THICK (O-L 2000) | Each | 2000 |  | 0
151 | 76.2 X 76.2 X 2.1MM THICK (O-L 8000) | Each | 2000 |  | 0
STEEL
Painted steel for support of racking, including all necessary fixing, bolts, nuts, washers, welding, etc and holes, notches, etc fixed in all positions, etc., to all heights above floor level, etc and to all areas.
152 | 25MM X 25MM X 5MM ANGLE SECTION | Each | 2000 |  | 0
153 | 50MM X 50MM X 6MM ANGLE SECTION | Each | 2000 |  | 0
154 | 76MM X 38MM X 6MM CHANNEL IRON | Each | 2000 |  | 0
EARTHING CABLES
155 | 16MM² BCEW | m | 2000 |  | 0
156 | 70MM² BCEW | m | 2000 |  | 0
157 | 150MM² KWENA | m | 2000 |  | 0
158 | 400MM² KWENA LUGS | m | 2000 |  | 0
159 | 4MM² G/Y PVC COVERED | m | 2000 |  | 0
160 | 6MM² G/Y PVC COVERED | m | 2000 |  | 0
161 | 10MM² G/Y PVC COVERED | m | 2000 |  | 0
162 | 16MM² G/Y PVC COVERED | m | 2000 |  | 0
163 | 70MM² G/Y PVC COVERED | m | 2000 |  | 0
164 | 4MM² BLACK PVC COVERED | m | 2000 |  | 0
165 | 6MM² BLACK PVC COVERED | m | 2000 |  | 0
166 | 10MM² BLACK PVC COVERED | m | 2000 |  | 0
167 | 16MM² BLACK PVC COVERED | m | 2000 |  | 0
168 | 70MM² BLACK PVC COVERED | m | 2000 |  | 0
169 | 50 X 3 MM FLAT COPPER | m | 2000 |  | 0
CABLE MARKER, SLABS AND MARKER TAPE
170 | DANGER TAPE | Each | 1500 |  | 0
171 | CABLES SLABS | Each | 1500 |  | 0
172 | ROUTE MARKERS | Each | 1500 |  | 0
173 | ROAD CROSSING 12M | Each | 1500 |  | 0
174 | PVC SLEEVES 110 MM X 6M | Each | 1500 |  | 0
| Grand Total - Excl. VAT |  |  |  | 0

## Final Summary
The Supply and Delivery of Electrical Cables and Earthing Spares for a Period of 60 Months at Camden Power Station
FINAL SUMMARY
No | Description | Amount
1 | Bills of Quantities | R
| Sub Total - (Transferred to Form of Offer and Acceptance) | 0
Value Added Tax
3 | Value Added Tax @ 15% | 0
4 | Grand Total - Incl. VAT - (Transferred to Form of Offer and Acceptance) | 0