NEC3 Supply Contract (SC3)

| Between | ESKOM HOLDINGS SOC Ltd (Reg No. 2002/015527/30) |  |
| --- | --- | --- |
| and | [Insert at award stage] (Reg No. ___________ ) |  |
| for | SUPPLY & DELIVERY OF SEMI BULK & BULK CHEMICAL FOR THE DURATION OF 60 MONTHS Insert title of the goods and services |  |
| Contents: |  | No of pages |
| Part C1 | Agreements & Contract Data |  |
| Part C2 | Pricing Data |  |
| Part C3 | Scope of Work |  |
| CONTRACT No. |  |  |

PART C1:	AGREEMENTS & CONTRACT DATA

| Contents: |  | No of pages |
| --- | --- | --- |
| C1.1 | Form of Offer and Acceptance |  |
| C1.2a | Contract Data provided by the Purchaser |  |
| C1.2b | Contract Data provided by the Supplier |  |
| C1.3 | Proforma Guarantees |  |

C1.1 Form of Offer & Acceptance

## Offer

The Purchaser, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

# Supply & Delivery of Semi-Bulk & Bulk Chemicals

The tenderer, identified in the Offer signature block, has

| either | examined the documents listed in the Tender Data and addenda thereto as listed in the Returnable Schedules, and by submitting this Offer has accepted the Conditions of Tender. |
| --- | --- |
| or | examined the draft contract as listed in the Acceptance section and agreed to provide this Offer. |

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Supplier under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data.

|  | The offered total of the Prices exclusive of VAT is | R |
| --- | --- | --- |
|  | Value Added Tax @ 15% is | R |
|  | The offered total of the amount due inclusive of VAT is | R |
|  | (in words) |  |

This Offer may be accepted by the Purchaser by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Supplier in the conditions of contract identified in the Contract Data.

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| For the tenderer: |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

## Acceptance

By signing this part of this Form of Offer and Acceptance, the Purchaser identified below accepts the tenderer’s Offer.  In consideration thereof, the Purchaser shall pay the Supplier the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Purchaser and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in:

Part C1		Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2		Pricing Data

Part C3		Scope of Work:  Goods Information including Supply Requirements

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Purchaser’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| for the Purchaser | Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Sandton, Johannesburg, 2199 |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

## Schedule of Deviations to be completed by the Purchaser prior to contract award

Note:

- This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.

- The extent of deviations from the tender documents issued by the Purchaser prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

- A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

| No. | Subject | Details |
| --- | --- | --- |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |
| 5 |  |  |
| 6 |  |  |
| 7 |  |  |

By the duly authorised representatives signing this Schedule of Deviations below, the Purchaser and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of Offer and Acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement.

|  | #### For the tenderer: |  | #### For the Purchaser |
| --- | --- | --- | --- |
| Signature |  |  |  |
| Name |  |  |  |
| Capacity |  |  |  |
| On behalf of |  |  | Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Sandton, Johannesburg, 2199 |
| Name & signature of witness |  |  |  |
| Date |  |  |  |

C1.2 SC3 Contract Data

# Part one - Data provided by the Purchaser

| Clause |  |  | ## Statement |  | ## Data |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  | ## General |  |  |  |  |  |  |
|  |  |  | The conditions of contract are the core clauses and the clauses for Options |  |  |  |  |  |  |
|  |  |  |  |  | X1: Price adjustment for inflation |  |  |  |  |
|  |  |  |  |  | X2 Changes in the law |  |  |  |  |
|  |  |  |  |  | X7: Delay damages |  |  |  |  |
|  |  |  |  |  | Z: Additional conditions of contract |  |  |  |  |
|  |  |  | of the NEC3 Supply Contract (April 2013) |  |  |  |  |  |  |
| 10.1 |  |  | The Purchaser is (name): |  | Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state-owned company incorporated in terms of the company laws of the Republic of South Africa |  |  |  |  |
|  |  |  | Address |  | Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg |  |  |  |  |
|  |  |  | Tel No. |  | 014 762 6855 |  |  |  |  |
|  |  |  | Fax No. |  | None |  |  |  |  |
| 10.1 |  |  | The Supply Manager is (name): |  | Ntsikie Nani |  |  |  |  |
|  |  |  | Address |  | Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Santon, Johannesburg, 2099 |  |  |  |  |
|  |  |  | Tel |  | 014 762 6855 |  |  |  |  |
|  |  |  | e-mail |  | NaniN@eskom.co.za |  |  |  |  |
| 11.2(13) |  |  | The goods are |  | Supply & Delivery of Semi-Bulk & Bulk Chemicals |  |  |  |  |
| 11.2(13) |  |  | The services are |  | Supply & Delivery of Semi-Bulk & Bulk Chemicals |  |  |  |  |
| 11.2(14) |  |  | The following matters will be included in the Risk Register |  | All risks will be identified prior, addressing and registered during the Risk register meeting that will take place as agreed between the parties |  |  |  |  |
| 11.2(15) |  |  | The Goods Information is in |  | Part 3: Scope of Work and all documents and drawings to which it makes reference. |  |  |  |  |
| 11.2(15) |  |  | The Supply Requirements as part of the Goods Information is in |  | Annexure A to this Contract Data |  |  |  |  |
| 12.2 |  |  | The law of the contract is the law of |  | the Republic of South Africa |  |  |  |  |
| 13.1 |  |  | The language of this contract is |  | English |  |  |  |  |
| 13.3 |  |  | The period for reply is |  | One (1) week |  |  |  |  |
| ## 2 |  |  | ## The Supplier’s main responsibilities |  | Data required by this section of the core clauses is provided by the Supplier in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |
| ## 3 |  |  | ## Time |  |  |  |  |  |  |
| 30.1 |  |  | The starting date is. |  | [For 60 Month Period] |  |  |  |  |
| 30.1 |  |  | The delivery date of the goods and services is: |  | As per Task Order |  |  |  |  |
| 30.2 |  |  | The Supplier does not bring the goods to the Delivery Place more than one week before the Delivery Date. |  | [no data required] |  |  |  |  |
| 31.1 |  |  | The Supplier is to submit a first programme for acceptance within |  | Four (4) weeks of the Contract Date. |  |  |  |  |
| 32.2 |  |  | The Supplier submits revised programmes at intervals no longer than |  | Four (4) weeks. |  |  |  |  |
| ## 4 |  |  | ## Testing and defects |  |  |  |  |  |  |
| 42 |  |  | The defects date is |  | Fifty-two (52) weeks after Delivery. |  |  |  |  |
| 43.2 |  |  | The defect correction period is |  | Three (3) weeks |  |  |  |  |
| 42.2 |  |  | The defects access period is |  | Withing one (1) working day after the MDDA has been issued |  |  |  |  |
| ## 5 |  |  | ## Payment |  |  |  |  |  |  |
| 50.1 |  |  | The assessment interval is |  | Delivery as per Task Order |  |  |  |  |
| 51.1 |  |  | The currency of this contract is the |  | South African Rand |  |  |  |  |
| 51.2 |  |  | The period within which payments are made is |  | Four (4) weeks. |  |  |  |  |
| 51.4 |  |  | The interest rate is |  | the publicly quoted prime rate of interest (calculated on a 365 day year) charged from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and (ii) the LIBOR rate applicable at the time for amounts due in other currencies. LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove. |  |  |  |  |
| ## 6 |  |  | ## Compensation events |  | There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |
| ## 7 |  |  | ## Title |  | ## There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |
| ## 8 |  |  | ## Risks, liabilities, indemnities and insurance |  |  |  |  |  |  |
| 80.1 |  |  | These are additional Purchaser’s risks |  | To be determined by both Parties at contract award |  |  |  |  |
| 88.1 |  |  | The Supplier’s liability to the Purchaser for indirect or consequential loss, including loss of profit, revenue and goodwill is limited to |  | R0.0 (zero Rand) |  |  |  |  |
| 88.2 |  |  | For any one event, the Supplier’s liability to the Purchaser for loss of or damage to the Purchaser’s property is limited to |  | (1) for the Purchaser’s existing and surrounding property in the care, custody and control of the Supplier the amount of the deductible (first amount payable) relevant to the event described in the “Format A” insurance policy available on request from Eskom Group Insurance ( contact BissettD@eskom.co.za)” and (2) for all other existing Purchaser’s property the applicable deductible as at contract date: R15 million (fifteen million Rand) for Generation Division property; 7.5 million (seven million five hundred thousand Rand) for Transmission Division property and ‘ R 1 million (one million Rand) for Distribution and all the Purchaser’s property. See notes in Annexure B |  |  |  |  |
| 88.3 |  |  | The Supplier’s liability for Defects due to his design which are not notified before the last defects date is limited to: |  | Total of the price |  |  |  |  |
| 88.4 |  |  | The Supplier’s total liability to the Purchaser, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to |  | Total of the price |  |  |  |  |
| 88.5 |  |  | The end of liability date is |  | One year after Delivery of the whole of the goods and services. |  |  |  |  |
| ## 9 |  |  | ## Termination and dispute resolution |  |  |  |  |  |  |
| 94.1 |  |  | The Adjudicator is |  | the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him. (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA). |  |  |  |  |
| 94.2(3) |  |  | The Adjudicator nominating body is: |  | the Chairman of ICE-SA, a Division of the South African Institution of Civil Engineering, or its successor body (See www.ice-sa.org.za) |  |  |  |  |
| 94.4(2) |  |  | The tribunal is: |  | arbitration |  |  |  |  |
| 94.4(5) |  |  | The arbitration procedure is |  | the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |
| 94.4(5) |  |  | The place where arbitration is to be held is |  | South Africa |  |  |  |  |
|  |  |  | The person or organisation who will choose an arbitrator - if the Parties cannot agree a choice or - if the arbitration procedure does not state who selects an arbitrator, is |  | the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |
| ## 10 |  |  | ## Data for Option clauses |  |  |  |  |  |  |
| X1 |  |  | Price adjustment for inflation |  |  |  |  |  |  |
| X1.1 |  |  | The base date for indices is |  | Rates are fixed and firm for first 12 months after first order placement date. There after CPA escalation will apply. Base date will be the month before the tender closing date closes. |  |  |  |  |
|  |  |  | The proportions used to calculate the Price Adjustment Factor are: |  | proportion | linked to index for | Index prepared by |  |  |
|  |  |  |  |  | 15% | Transport | L2(b) |  |  |
|  |  |  |  |  | 70% | Chemicals | U-A(1) |  |  |
|  |  |  |  |  | 15% | non-adjustable |  |  |  |
|  |  |  |  |  | 100% | CPA will be fixed for the 12 months of the contract and then subjected to monthly CPA Base indices used will be the month prior the assessment Latest indices to be used will be indices prior to the assessment month |  |  |  |
| X2 |  |  | Changes in the law |  |  |  |  |  |  |
| X2.1 |  |  | A change in the law of |  | Is a compensation event if it occurs after the Contract Date |  |  |  |  |
| X7 |  |  | Delay damages |  |  |  |  |  |  |
| X7.1 |  |  | Delay damages for Delivery are |  | 5% per 10 days (of delys) of the Task order value up to maximum of 10% of the total Value |  |  |  |  |
| Z |  |  | The additional conditions of contract are |  | Z1 to Z15 always apply for Eskom |  |  |  |  |
| Z1 |  | Cession delegation and assignment |  |  |  |  |  |  |  |
| Z1.1 |  | The Supplier does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Purchaser. |  |  |  |  |  |  |  |
| Z1.2 |  | Notwithstanding the above, the Purchaser may on written notice to the Supplier cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. |  |  |  |  |  |  |  |
| Z2 |  | Joint ventures |  |  |  |  |  |  |  |
| Z2.1 |  | If the Supplier constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Purchaser for the performance of this contract. |  |  |  |  |  |  |  |
| Z2.2 |  | Unless already notified to the Purchaser, the persons or organisations notify the Supply Manager within two weeks of the Contract Date of the key person who has the authority to bind the Supplier on their behalf. |  |  |  |  |  |  |  |
| Z2.3 |  | The Supplier does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Purchaser having been given to the Supplier in writing. |  |  |  |  |  |  |  |
| Z3 |  |  | Change of Broad Based Black Economic Empowerment (B-BBEE) status |  |  |  |  |  |  |
| Z3.1 |  |  | Where a change in the Supplier’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Supplier’s B-BBEE status, the Supplier notifies the Purchaser within seven days of the change. |  |  |  |  |  |  |
| Z3.2 |  |  | The Supplier is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Supply Manager within thirty days of the notification or as otherwise instructed by the Supply Manager. |  |  |  |  |  |  |
| Z3.3 |  |  | Where, as a result, the Supplier’s B-BBEE status has decreased since the Contract Date the Purchaser may either re-negotiate this contract or alternatively, terminate the Supplier’s obligation to Provide the Goods and Services. |  |  |  |  |  |  |
| Z3.4 |  |  | Failure by the Supplier to notify the Purchaser of a change in its B-BBEE status may constitute a reason for termination. If the Purchaser terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93. |  |  |  |  |  |  |
| Z4 |  | Confidentiality |  |  |  |  |  |  |  |
| Z4.1 |  | The Supplier does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Supplier, enters the public domain or to information which was already in the possession of the Supplier at the time of disclosure (evidenced by written records in existence at that time). Should the Supplier disclose information to Others in terms of clause 23.1, the Supplier ensures that the provisions of this clause are complied with by the recipient. |  |  |  |  |  |  |  |
| Z4.2 |  | If the Supplier is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Supply Manager. |  |  |  |  |  |  |  |
| Z4.3 |  | In the event that the Supplier is, at any time, required by law to disclose any such information which is required to be kept confidential, the Supplier, to the extent permitted by law prior to disclosure, notifies the Purchaser so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure. In the event that such protective order is not, or cannot, be obtained, then the Supplier may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed. |  |  |  |  |  |  |  |
| Z4.4 |  | The taking of images (whether photographs, video footage or otherwise) of the goods or any portion thereof, in the course of Providing the Goods and Services and after Delivery, requires the prior written consent of the Supply Manager. All rights in and to all such images vests exclusively in the Purchaser. |  |  |  |  |  |  |  |
| Z4.5 |  | The Supplier ensures that all his subcontractors abide by the undertakings in this clause. |  |  |  |  |  |  |  |
| Z5 |  | Waiver and estoppel: Add to core clause 12.3: |  |  |  |  |  |  |  |
| Z5.1 |  | Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Supply Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing. |  |  |  |  |  |  |  |
| Z6 |  |  | Health, safety and the environment: Add to core clause 25.4 |  |  |  |  |  |  |
| Z6.1 |  |  | The Supplier undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the provision of the goods and execution of the services. Without limitation the Supplier: - warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of supply and - undertakes, in and about the execution of the supply, to comply with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |
| Z6.2 |  |  | The Supplier, in and about the execution of the supply, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |
| Z7 |  | Provision of a Tax Invoice and interest. Add to core clause 51 |  |  |  |  |  |  |  |
| Z7.1 |  | Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice in accordance with the Purchaser's procedures stated in the Goods Information, showing the amount due for payment equal to that stated in the payment certificate. |  |  |  |  |  |  |  |
| Z7.2 |  | If the Supplier does not provide a tax invoice in the form and by the time required by this contract, the time by when the Purchaser is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice. Interest due by the Purchaser in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made. |  |  |  |  |  |  |  |
| Z7.3 |  | The Supplier (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Purchaser’s VAT number 4740101508 on each invoice he submits for payment. |  |  |  |  |  |  |  |
| Z8 |  | Notifying compensation events |  |  |  |  |  |  |  |
| Z8.1 |  | Delete from the last sentence in core clause 61.3 the words, “unless the event arises from the Supply Manager giving an instruction, changing an earlier decision or correcting an assumption”. |  |  |  |  |  |  |  |
| Z9 |  | Purchaser’s limitation of liability |  |  |  |  |  |  |  |
| Z9.1 |  | The Purchaser’s liability to the Supplier for the Supplier’s indirect or consequential loss is limited to R0.00 (zero Rand) |  |  |  |  |  |  |  |
| Z9.2 |  | The Supplier’s entitlement under the indemnity in 83.1 is provided for in 60.1(12) and the Purchaser’s liability under the indemnity is limited. |  |  |  |  |  |  |  |
| Z10 |  | Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it": |  |  |  |  |  |  |  |
| Z10.1 |  | or had a business rescue order granted against it. |  |  |  |  |  |  |  |
| Z11 |  | Addition to secondary Option X7 Delay damages (if applicable in this contract) |  |  |  |  |  |  |  |
| Z11.1 |  | If the amount due for the Supplier’s payment of delay damages reaches the limits stated in this Contract Data for Option X7, the Purchaser may terminate the Supplier’s obligation to Provide the Goods and Services using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table. |  |  |  |  |  |  |  |
| Z12 | Ethics |  |  |  |  |  |  |  |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |  |  |  |  |  |  |  |
| Affected Party |  |  |  | means, as the context requires, any party, irrespective of whether it is the Supplier or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends, |  |  |  |  |  |
| Coercive Action |  |  |  | means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally, |  |  |  |  |  |
| Collusive Action |  |  |  | means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally, |  |  |  |  |  |
| Committing Party |  |  |  | means, as the context requires, the Supplier, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractors or the Subcontractor’s employees, |  |  |  |  |  |
| Corrupt Action |  |  |  | means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party, |  |  |  |  |  |
| Fraudulent Action |  |  |  | means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation, |  |  |  |  |  |
| Obstructive Action |  |  |  | means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and |  |  |  |  |  |
| Prohibited Action |  |  |  | means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action. |  |  |  |  |  |
| Z12.1 | A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof. |  |  |  |  |  |  |  |  |
| Z12.2 | The Purchaser may terminate the Supplier’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Supplier did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Purchaser has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Purchaser can terminate the Supplier’s obligation to Provide the Services for this reason. |  |  |  |  |  |  |  |  |
| Z12.3 | If the Purchaser terminates the Supplier’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2. |  |  |  |  |  |  |  |  |
| Z12.4 | A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Purchaser does not have a contractual bond with the Committing Party, the Supplier ensures that the Committing Party co-operates fully with an investigation. |  |  |  |  |  |  |  |  |

Z13	Insurance

Z __13.1	Replace core clause 84 with the following:

| Insurance cover | 84 |  |
| --- | --- | --- |
|  | 84.1 | When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force. |
|  | 84.2 | The Supplier provides the insurances stated in the Insurance Table A for events which are at the Supplier’s risk from the starting date until the last defects date or a termination certificate has been issued. |

INSURANCE TABLE A

Insurance against; Minimum amount of cover or minimum limit of indemnity. Loss of or damage to the goods, plant and materials; The replacement cost where not covered by the Purchaser’s insurance. The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance.. Liability for loss of or damage to property (except the goods, plant and materials and equipment) and liability for bodily injury to or death of a person (not an employee of the Supplier) caused by activity in connection with this contract; Loss of or damage to property Purchaser’s property The replacement cost where not covered by the Purchaser’s insurance. The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance. Other property The replacement cost Death of or bodily injury The amount required by the applicable law.. Liability for death of or bodily injury to employees of the Supplier arising out of and in the course of their employment in connection with this contract; The amount required by the applicable law.

Z _13.2		Replace core clause 87 with the following:

|  | Insurance by the Purchaser |  |  |  | 87 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | 87.1 | The Purchaser provides the insurances stated in the Insurance Table B |  |
|  |  |  |  |  |  | INSURANCE TABLE B Insurance against or name of policy; Minimum amount of cover or minimum limit of indemnity. Assets All Risk; Per the insurance policy document. Contract Works insurance; Per the insurance policy document. Environmental Liability; Per the insurance policy document. General and Public Liability; Per the insurance policy document. Transportation (Marine); Per the insurance policy document. Motor Fleet and Mobile Plant; Per the insurance policy document. Terrorism; Per the insurance policy document. Cyber Liability; Per the insurance policy document. Nuclear Material Damage and Business Interruption; Per the insurance policy document. Nuclear Material Damage Terrorism; Per the insurance policy document. |
| Z14 |  | Nuclear Liability |  |  |  |  |  |
| Z14.1 |  | The Purchaser is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS. |  |  |  |  |  |
| Z14.2 |  | The Purchaser is solely responsible for and indemnifies the Supplier or any other person against any and all liabilities which the Supplier or any person may incur arising out of or resulting from nuclear damage, as defined in Act 47 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Supplier or any other person or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser. |  |  |  |  |  |
| Z14.3 |  | Subject to clause Z14.4 below, the Purchaser waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Supplier or any other person, or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser. |  |  |  |  |  |
| Z14.4 |  | The Purchaser does not waive its rights provided for in section 30 (7) of Act 47 of 1999, or any replacement section dealing with the same subject matter. |  |  |  |  |  |
| Z14.5 |  | The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned. |  |  |  |  |  |
| Z15 |  | Asbestos |  |  |  |  |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |  |  |  |  |  |
| AAIA |  |  |  | means approved asbestos inspection authority. |  |  |  |
| ACM |  |  |  | means asbestos containing materials. |  |  |  |
| AL |  |  |  | means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4-hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL. |  |  |  |
| Ambient Air |  |  |  | means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet. |  |  |  |
| Compliance Monitoring |  |  |  | means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |  |  |  |
| OEL |  |  |  | means occupational exposure limit. |  |  |  |
| Parallel Measurements |  |  |  | means measurements performed in parallel, yet separately, to existing measurements to verify validity of results. |  |  |  |
| Safe Levels |  |  |  | means airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |  |  |  |
| Standard |  |  |  | means the Purchaser’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles. |  |  |  |
| SANAS |  |  |  | means the South African National Accreditation System. |  |  |  |
| TWA |  |  |  | means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4 hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA. |  |  |  |
| Z15.1 |  | The Purchaser ensures that the Ambient Air in the area where the Supplier will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM. |  |  |  |  |  |
| Z15.2 |  | Upon written request by the Supplier, the Purchaser certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Supplier may perform Parallel Measurements and related control measures at the Supplier’s expense. For the purposes of compliance the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z15.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan. |  |  |  |  |  |
| Z15.3 |  | The Purchaser manages asbestos and ACM according to the Standard. |  |  |  |  |  |
| Z15.4 |  | In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe. |  |  |  |  |  |
| Z15.5 |  | The Supplier’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable. |  |  |  |  |  |
| Z15.6 |  | The Supplier continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations. |  |  |  |  |  |
| Z15.7 |  | Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Purchaser at the Purchaser’s expense, and conducted in line with South African legislation. |  |  |  |  |  |

Annexure A:	Supply Requirements

## The Supply Requirements for this contract are based on the use of INCOTERMS:

The Supplier supplies the goods in accordance with INCOTERMS 2010 as follows:

| Group | Category | Term | Delivery Place |
| --- | --- | --- | --- |
| D | arrival | DAT, DAP, DDP |  |

The Parties obligations described in Incoterms for the category and term selected are now incorporated into this contract as part of the Supply Requirements and hence the Goods Information.

The obligations of seller and buyer for the selected Incoterm determine each Party's costs, risks and insurance requirements incidental to the supply and transport of the goods from Supplier to Purchaser.

For each of the thirteen terms, Incoterms set out obligations of the seller (the Supplier) in ten paragraphs identified as A1 to A10 and the corresponding obligations of the buyer (the Purchaser) in paragraphs B1 to B10.  These obligations cover the following subjects:

| A | The Supplier’s obligations | B | The Purchaser’s obligations |
| --- | --- | --- | --- |
| A1 | Provision of goods in conformity with contract | B1 | Payment of the price |
| A2 | Licences, authorisations and formalities | B2 | Licences, authorisations and formalities |
| A3 | Contracts of carriage and insurance | B3 | Contracts of carriage and insurance |
| A4 | Delivery | B4 | Taking delivery |
| A5 | Transfer of risks | B5 | Transfer of risks |
| A6 | Division of costs | B6 | Division of costs |
| A7 | Notice to the buyer | B7 | Notice to the seller |
| A8 | Proof of delivery, transport document or equivalent electronic message | B8 | Proof of delivery, transport document or equivalent electronic message |
| A9 | Checking - packing - marking | B9 | Inspection of goods |
| A10 | Other obligations | B10 | Other obligations |

All other information NOT pertinent to the above is given in the balance of the Goods Information

C1.2 Contract Data

# Part two - Data provided by the Supplier

| ## Clause | ## Statement | ## Data |  |
| --- | --- | --- | --- |
| 10.1 | The Supplier is (Name): |  |  |
|  | Address |  |  |
|  | Tel No. |  |  |
|  | Fax No. |  |  |
| 11.2(8) | The Goods Information for the Supplier’s design is in: |  |  |
| 11.2(11) | The tendered total of the Prices is | R , (in words) |  |
| 11.2(12) | The price schedule is in: |  |  |
| 11.2(14) | The following matters will be included in the Risk Register |  |  |
| 25.2 | The restrictions to access for the Supply Manager and Others to work being done for this contract are |  |  |
| 30.1 | The delivery date of the goods and services is: | As per the Task Order |  |
| 31.1 | The programme identified in the Contract Data is contained in: |  |  |
| 63.2 | The percentage for overheads and profit added to the Defined Cost is | % |  |

Part 2: Pricing Data

NEC3 Supply Contract

| Document reference | Title | No of pages |
| --- | --- | --- |
| C2.1 | Pricing assumptions | 2 |
| C2.2 | The price schedule | [●] |

C2.1 Pricing assumptions

# How goods and services are priced and assessed for payment

Clause 11 in NEC3 Supply Contract, (SC3) core clauses states:

| Identified and defined terms | 11 11.2 | (11) The Prices are the amounts stated in the price column of the Price Schedule. Where a quantity is stated for an item in the Price Schedule, the Price is calculated by multiplying the quantity by the rate. |
| --- | --- | --- |
|  |  | (12) The Price Schedule is the price schedule unless later changed in accordance with this contract. |
| Assessing the amount due | 50.2 | The amount due is - the Price for each lump sum item in the Price Schedule which the Supplier has completed, - where a quantity is stated for an item in the Price Schedule, an amount calculated by multiplying the quantity which the Supplier has completed by the rate, - plus other amounts to be paid to the Supplier, - less amounts to be paid by or retained from the Supplier. Any tax which the law requires the Purchaser to pay to the Supplier is included in the amount due. |

This confirms that the Supply Contract is a priced contract where the Prices are derived from a list of items of goods and services which can be priced as lump sums or as expected quantities of goods and services multiplied by a rate, or a mix of both.

# Function of the Price Schedule

Clause 53.1 states: “Information in the Price Schedule is not Goods Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price Schedule but in the Goods Information.  This is further confirmed by Clause 20.1 which states, “The Supplier Provides the Goods and Services in accordance with the Goods Information”. Hence the Supplier does not Provide the Goods and Services in accordance with the Price Schedule.   The Price Schedule is only a pricing document.

# Preparing the price schedule

Items in the price schedule may have been inserted by the Purchaser and the tendering supplier should insert any additional items which he considers necessary.  Whichever party provides the items in the price schedule the total of the Prices is assumed to be fully inclusive of everything necessary to Provide the Goods and Services as described at the time of entering into this contract.

It will be assumed that the tendering supplier has

- Read Pages 8, 11, 12 and Appendix 5 of the SC3 Guidance Notes before preparing the price schedule;

- Included in his Prices and rates for correction of Defects (core clause 43.1) as there is no compensation event for this unless the Defect is due to a Supplier’s risk;

- Spread the cost of doing work he chooses not to list as separate items in the price schedule across other Prices and rates in order to fulfil the obligation to Provide the Goods and Services for the tendered total of the Prices;

- Understood that there is no adjustment to lump sum prices in the price schedule if the amount, or quantity, of work within that lump sum item later turns out to be different to that which the Supplier estimated at time of tender. The only basis for a change to the Prices is as a result of a compensation event per clause 60.1;

- Understood that the Supplier does not have to allow in his Prices and rates for matters that may arise as a result of a compensation event.

## Format of the price schedule

Entries in the first four columns in the price schedule in section C2.2 are made either by the Purchaser or the tendering supplier.

If the Supplier is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering supplier enters the amount in the Price column only, the Unit, Quantity and Rate columns being left blank.

If the Supplier is to be paid an amount for the item which is the rate for the item multiplied by the quantity completed, the tendering Supplier enters the rate which is then multiplied by the Quantity to produce the Price, which is also entered.

If the Supplier is to be paid an amount for an item proportional to the length of time for which the goods and services are provided, a unit of time is stated in the Unit column and the length of time (as a quantity of the stated units of time) is stated in the Quantity column.

C2.2 the price schedule

| Item nr | Description | Unit | Estimated Quantity for 60 months | Rate | Price |
| --- | --- | --- | --- | --- | --- |
|  | Water Treatment plant Chemicals |  |  |  |  |
| 1 | #### Hydrochloric acid | kg | 200000 |  |  |
| 2 | #### Sodium Hypochlorite | kg | 650000 |  |  |
| 3 | #### Sodium meta-bisulphite | kg | 131250 |  |  |
| 4 | #### Sodium per-carbonate | kg | 93750 |  |  |
| 5 | #### Sodium Chloride | kg | 25000 |  |  |
| 6 | #### Oxonia active | kg | 60000 |  |  |
| 7 | #### Sodium salt of dodecylsulfate | kg | 500 |  |  |
| 8 | #### Sodium hydrosulfite | kg | 86400 |  |  |
| 9 | #### Tetra sodium salt of EDTA | kg | 86400 |  |  |
| 10 | #### Citric acid | kg | 28800 |  |  |
| 11 | #### Isothiazoline | kg | 238440 |  |  |
| 12 | #### Tolyltriazole | kg | 74000 |  |  |
| 13 | #### Trisodium Phosphate | kg | 108000 |  |  |
| 14 | #### 2,2 Dibromo-3-nitrilopropionamide | kg | 150000 |  |  |
| 15 | #### Glutaraldehyde | kg | 94000 |  |  |
| 16 | #### Alkyldimethylbenzylammoium Chloride | kg | 45960 |  |  |
| 17 | #### Methylene bis (thiocyanate) & 2 (Thiocyanomethylthio) benzothiazole (blend) | kg | 22800 |  |  |
| 18 | #### Amino trimethylene phosphonic acid | kg | 240000 |  |  |
| 19 | #### Diethylene triamine penta | kg | 250000 |  |  |
| 20 | #### Ferric Chloride | kg | 150000 |  |  |
| 21 | #### Hydrated Lime | kg | 100000 |  |  |
| 22 | #### Antiscalant | kg | 100000 |  |  |
| 23 | #### Flocculant (Non ionic) | kg | 750000 |  |  |
| 24 | #### Coagulant | kg | 216000 |  |  |

| The total of the Prices |  |
| --- | --- |

Part 3: Scope of Work

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 |
| C3.1 | Purchaser’s Goods Information |  |
| C3.2 | Supplier’s Goods Information (insert at award stage or delete if not applicable) |  |
|  | Total number of pages |  |

C3.1: Purchaser’s Goods Information

Contents

When the document is complete, insert a ‘Table of Contents’.  To do this go to:  Reference, → Table of Contents.  Three levels and the title (but not the subtitle) may be shown if the formats used in this template are retained.   Alternatively just update the table below when the drafting of the Goods Information is complete by clicking on ‘References’ then ‘Update Table’ then ‘Update entire table’

Part 3: Scope of Work											1

C3.1: Purchaser’s Goods Information									2

1	Overview and purpose of the goods and services						4

2	Specification and description of the goods							4

2.1	Purchaser’s design	4

2.2	Procedure for submission and acceptance of Supplier’s design	4

2.3	Other requirements of the Supplier’s design	4

2.4	Use of Supplier’s design	5

2.5	Manufacture & fabrication	5

2.6	Factory acceptance testing (FAT)	5

2.7	Other tests and inspections and commissioning in place of use	5

2.8	Operating manuals and maintenance schedules	5

3	Supply Requirements										5

4	Specification of the services to be provided							6

5	Constraints on how the Supplier Provides the Goods						6

5.1	Programming constraints	6

5.2	Work to be done by the Delivery Date	6

5.3	Marking the goods	6

5.4	Constraints at the delivery place and place of use	6

5.5	Cooperating with Others	6

5.6	Services & other things to be provided by the Purchaser or Supplier	7

5.7	Management meetings	7

5.8	Documentation control	7

5.9	Health and safety risk management	8

5.10	Environmental constraints and management	8

5.11	Quality	8

5.12	Invoicing and payment	8

5.13	Insurance provided by the Purchaser	8

5.14	Contract change management	9

5.15	Provision of bonds and guarantees	9

5.16	Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier	9

6	Procurement											9

6.1	Subcontracting	9

6.1.1	Preferred subcontractors								9

6.1.2	Limitations on subcontracting								9

6.1.3	Spares and consumables								9

6.1.4	Other requirements related to procurement						10

6.1.5	Cataloguing requirements								10

7	List of drawings											10

7.1	Drawings issued by the Purchaser	10

C3.2	Supplier’s Goods Information									11

# Overview and purpose of the goods and services

Refer to the 240-128556944 Medupi Power Station User Requirement Specification for Semi-Bulk and Bulk Chemical Supplier that included in the inquiry documents

The purpose of the supply contract of chemicals is for optimum operation of the Water Treatment, Sewage Treatment and Auxiliary Cooling Water Plants in Medupi power Station, for maximum performance. This is done by following the following:

- The supplier shall supply and deliver chemicals timely as per contract within two weeks of completion of procurement process.

- For quality control and traceability, the supplier shall supply a chemical together with their MSD and COA corresponding to the specific batch number of a chemical.

- All orders and purchases shall be done on SAP.

- The contractor shall only deliver the product to the premises after the PO number has been released.

- Delivery of all chemicals shall be as per the employer’s request, either at a suitable storage area, bulk storage tank or semi bulk storage tank.

- The Eskom employee shall accurately perform quality control of the product received before accepting the product.

- The Eskom employee shall sign on the chemical received form in Annexure B and file the necessary documents.

- If the chemical received do not meet the specifications though accepted and indicate compliance in COA, Eskom shall return the product back to the supplier for exchange for a new batch.

- The contractor shall ensure Health and safety requirement on the products supplied.

- Necessary manual as well as handling procedures must be given by the supplier.

- The z-scores of the contractor shall be submitted to Eskom yearly.

- The supplier as well as the Eskom employee they shall ensure that the product delivered is store appropriate to avoid damage and leakage.

- Supplier to provide forklift for handling and transporting of chemicals, equipment and spare parts on site, for the duration of the contract. (load testing, maintenance and servicing of the forklift to be handled by the supplier.)

# Specification and description of the goods

Refer to the 240-128556944 Medupi Power Station User Requirement Specification for Semi-Bulk and Bulk Chemical Supplier that included in the inquiry documents

### Key Chemicals

The supplier shall provide Medupi WTP, STP and Auxiliary plant with Floc, Na2S2O5, Coag, Antiscalant, HCl, NaOCl, NaCl, Na2CO3.1.5H2O2, C2H2O5, C3H3NOS, Na-DSS, Na2S2O4, KOH, Na4EDTA, C6H8O7, TTA, TSP, DBNPA, Glutaraldeyde, ADBAC, MBT & TCMBT (blend), DTP, FeCl3 and Ca(OH)2 chemicals for the period stipulated in the contract.

### Specifications

### Hydrochloric acid

| Characteristics | Criteria | Specification |
| --- | --- | --- |
| Min concentration of 30 %, mercury free | SG at 25oC | 1.146 minimum |
|  | Strength | 30 % m/m |
|  | Iron | 15 mg/kg |
|  | Free chlorine | 10 mg/kg |

##### Hydrochloric acid delivery

Chemical to be delivered in 1 m3 Flowbins with a lid that has a breather.

#### Sodium Hypochlorite

| Characteristics | Criteria | Specification |
| --- | --- | --- |
| Liquid with an available chlorine of 15 % m/v (as Cl2) | SG at 20 oC | 1.23 minimum |
|  | Available chlorine when dispatched (as Cl2) | 15 % m/v minimum |
|  | Sodium hydroxide as NaOH | 1.5 % m/v minimum |

##### Sodium Hypochlorite delivery

Chemical to be delivered in 1 m3 Flowbins with a lid that has a breather.

#### Sodium meta-bisulphite

| Characteristics | Criteria | Specification |
| --- | --- | --- |
| Food grade, minimum concentration of 97.2 % (m/m) Na2S2O5 | Sodium meta-bisulphite as Na2S2O5 | 97.2% (m/m) |
|  | pH value | 4.0 - 4.8 |
|  | NaCl | 50 ppm maximum |
|  | Iron | 5 ppm maximum |
|  | Arsenic | 1 ppm maximum |
|  | Lead | 1 ppm maximum |
|  | Copper | 1 ppm maximum |
|  | Manganese | 1 ppm maximum |
|  | Mercury | 0.1 ppm maximum |
|  | Selenium | 1 ppm maximum |
|  | Zinc | 1 ppm maximum |

##### Sodium meta-bisulphite delivery

Chemical to be delivered in 25 kg clear plastic bags.

#### Sodium per-carbonate

| Characteristics | Criteria | Specification |
| --- | --- | --- |
| Power | Purity | 90 % m/m minimum |

- Sodium per-carbonate delivery

Chemical to be delivered in 25 kg bags.

#### Sodium Chloride

| Characteristics | Criteria | Specification |
| --- | --- | --- |
| Granule, minimum concentration of 99.5 % (m/m) NaCl | Matter insoluble in water | 0.05 % m/m maximum |
|  | Calcium salts (as Ca) | 0.03 % m/m maximum |
|  | Magnesium salts (as Mg) | 0.01 % m/m maximum |
|  | Sulphate (as SO4) | 0.2 % m/m maximum |
|  | Iron compound (as Fe) | 10 ppm maximum |
|  | Moisture content | 1 % m/m maximum |

##### Sodium Chloride delivery

Chemical to be delivered in 25 kg bags.

#### Oxonia active

| Characteristics | Criteria | Specification |
| --- | --- | --- |
| Liquid | peroxide | 27 % m/v minimum |
|  | peracetic | 3 % m/v minimum |

##### Oxonia active delivery

Chemical to be delivered in 1 m3 Flowbins with a lid that has a breather.

#### Sodium salt of dodecylsulfate

| Characteristics | Criteria | Specification |
| --- | --- | --- |
| Power/Granule | Purity | 99 % m/m minimum |

##### Sodium salt of dodecylsulfate delivery

Chemical to be delivered in 25 kg bags.

#### Sodium hydrosulfite

| Characteristics | Criteria | Specification |
| --- | --- | --- |
| Power/Granule | Purity | 90 % m/m minimum |

##### Sodium hydrosulfite delivery

Chemical to be delivered in 25 kg bags.

#### Tetra sodium salt of EDTA

| Characteristics | Criteria | Specification |
| --- | --- | --- |
| Power/Granule | Purity | 90 % m/m minimum |

##### Tetra sodium salt of EDTA delivery

Chemical to be delivered in 25 kg bags.

#### Citric acid

| Characteristics | Criteria | Specification |
| --- | --- | --- |
| Power/Granule | Iron | 5 ppm maximum |
|  | Calcium | 75 ppm maximum |

##### Citric acid delivery

Chemical to be delivered in 25 kg bags.

#### Isothiazoline

| Characteristics | Criteria | Specification |
| --- | --- | --- |
| Liquid | Strength | 20 % w/w minimum |

##### Isothiazoline delivery

Chemical to be delivered in 1 m3 Flowbins with a lid that has a breather.

Note: Auxiliary cooling Isothiazolinone should be provided as a blend of 5-chloro-2-methyl-4-isothiazolin-3-one, and 2-methyl-4-isothiazolinon-3-one.

#### Tolyltriazole

| Characteristics | Criteria | Specification |
| --- | --- | --- |
| Liquid with the concentration of 50 % TTA | SG | 1.10 g/cm3 |

##### Tolyltriazole delivery

Chemical to be delivered as 50% (m/m) solution in 25kg polycans.

#### Trisodium Phosphate

| Characteristics | Criteria | Specification |
| --- | --- | --- |
| Granule with the concentration of 99 % TSP | SG | 1.10 g/cm3 |

##### Trisodium Phosphate delivery

Chemical to be delivered in 25 kg bags.

#### 2,2 Dibromo-3-nitrilopropionamide

| Characteristics | Criteria | Specification |
| --- | --- | --- |
| Liquid | Active solution | 20 % w/w minimum |

##### 2,2 Dibromo-3-nitrilopronamide delivery

Chemical to be delivered in 1 m3 Flowbins with a lid that has a breather.

#### Glutaraldehyde

| Characteristics | Criteria | Specification |
| --- | --- | --- |
| Liquid | Active solution | 15 % w/w minimum |

##### Glutaraldehyde delivery

Chemical to be delivered in 1 m3 Flowbins with a lid that has a breather.

#### Alkyldimethylbenzylammoium Chloride

| Characteristics | Criteria | Specification |
| --- | --- | --- |
| Liquid | Active solution | 15 % w/w minimum |

##### Alkyldimethylbenzylammoium Chloride delivery

Chemical to be delivered in 1 m3 Flowbins with a lid that has a breather.

#### Methylene bis (thiocyanate) & 2 (Thiocyanomethylthio) benzothiazole (blend)

| Characteristics | Criteria | Specification |
| --- | --- | --- |
| Liquid | Active concentration blend | 30 % w/w minimum |

##### Methylene bis (thiocyanate) & 2 (Thiocyanomethylthio) benzothiazole (blend) delivery

Chemical to be delivered in 1 m3 Flowbins with a lid that has a breather.

Note: Biocide  and  should be provided as a blend, with each active ingredient having strength of ≥ 15% (w/w)

#### Amino trimethylene phosphonic acid

| Characteristics | Criteria | Specification |
| --- | --- | --- |
| Liquid | Active solution | 20 % w/w minimum |

##### Amino trimethylene phosphonic acid delivery

Chemical to be delivered in 1 m3 Flowbins with a lid that has a breather.

#### Diethylene triamine penta

| Characteristics | Criteria | Specification |
| --- | --- | --- |
| Liquid | Active solution | 3.0 % w/w minimum |

##### Diethylene triamine penta delivery

Chemical to be delivered in 1 m3 Flowbins with a lid that has a breather.

#### Ferric Chloride

| Characteristics | Criteria | Specification |
| --- | --- | --- |
| Liquid with a purity of 46 % FeCl3 | Ferric Chloride as FeCl3 | 46 % (m/m) minimum |
|  | SG at 20 oC | 1.43 minimum |

##### Ferric Chloride delivery

Chemical to be delivered in 1 m3 Flowbins with a lid that has a breather.

#### Hydrated Lime

| Characteristics | Criteria | Specification |
| --- | --- | --- |
| Power, pale buff in colour | Calcium hydroxide | 90 % m/m minimum |

##### Hydrated Lime delivery

Chemical to be delivered in 25 kg bags.

#### Antiscalant

| Characteristics | Criteria | Specification |
| --- | --- | --- |
| Liquid | Appearance | Clear/Translucent |
|  | SG | 1.01 – 1.02 |
|  | pH | 2.0 – 3.5 |

##### Spectra Guard delivery

Chemical to be delivered in 1 m3 Flowbins with a lid that has a breather.

#### Flocculant and Coagulant

- The contractor shall assure pre-treating of raw water which will be suitable for potable and demineralized water production. The chemicals (Coagulant & flocculants) used shall bear no health risk and also shall be effective in 50 % organics removal from raw water.

- The pre-treatment program shall be established by the contractor taking into consideration the raw water quality supply changes.

- The active ingredient of chemical supplied to Medupi water treatment plant shall be made known the employer representative in writing.

- The Contractor shall do a jar test at Employer’s laboratory at determined frequency to ensure that the removal of organics process is optimized.

- Analysis of the raw and clarified water shall be done by contractor in conjunction with employer representative to verify the effectiveness of the chemicals.

- The following records shall be kept by contractor and employer;

- Frequency, number, type of samples collected and points of collection.

- Types of analysis conducted.

- Daily usage of chemicals.

- Dates when dosage rates are changed.

- The chemical composition of flocculant and coagulant supplied shall have no negative impact on demineralization process (membranes) as well as piping used in the system.

- The quality of treated raw water from clarifier outlet shall conform or exceed the Eskom standard specification targets.

## Purchaser’s design

N/A

## Procedure for submission and acceptance of Supplier’s design

N/A

## Other requirements of the Supplier’s design

N/A

## Use of Supplier’s design

N/A

## Manufacture & fabrication

Refer to the 240-128556944 Medupi Power Station User Requirement Specification for Semi-Bulk and Bulk Chemical Supplier that included in the inquiry documents

## Factory acceptance testing (FAT)

N/A

## Other tests and inspections and commissioning in place of use

The Supplier must test and inspect the goods to verify before they are delivered to the Purchaser. The purchaser will do adhoc visit to the manufacturing plants to verify and check if the manufacture is in line with ISO 9001:2015.

## Operating manuals and maintenance schedules

The Supplier shall provide Eskom with material SDS (safety data sheets) & COA (certificate of analysis) of the products supplied and also give an advice when required.

# Supply Requirements

Refer to the 240-128556944 Medupi Power Station User Requirement Specification for Semi-Bulk and Bulk Chemical Supplier that included in the inquiry documents

The Supply Requirements for this contract are in an Annexure to the Contract Data provided by the Purchaser.

# Specification of the services to be provided

Refer to the 240-128556944 Medupi Power Station User Requirement Specification for Semi-Bulk and Bulk Chemical Supplier that included in the inquiry documents

# Constraints on how the Supplier Provides the Goods

## Programming constraints

The COA shall contain the following information

- Chemical name

- Chemical formula

- Batch number and CAS number

- Date of analysis

- Analysis performed (Product Specification and Batch results)

- Method used for each analysis

- Signature of responsible laboratory technician and supervisor

## Work to be done by the Delivery Date

All batch requirements must be delivered by the delivery date. Deliveries will only be accepted during the following working hours: Monday to Sunday = 06:00 to 18:00 Any delivery outside normal working hours will be regarded as “emergency delivery” will communicated and approved with the purchaser 24 hours before delivery.

## Marking the goods

N/A

## Constraints at the delivery place and place of use

N/A

## Cooperating with Others

Refer to the 240-128556944 Medupi Power Station User Requirement Specification for Semi-Bulk and Bulk Chemical Supplier that included in the inquiry documents

## Services & other things to be provided by the Purchaser or Supplier

Refer to the 240-128556944 Medupi Power Station User Requirement Specification for Semi-Bulk and Bulk Chemical Supplier that included in the inquiry documents

## Management meetings

The meeting between both parties will be arranged and conducted whenever the need arises.

Meetings of a specialist nature may be convened as specified elsewhere in this Goods Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the manufacture of the goods.  Records of these meetings shall be submitted to the Supply Manager by the person convening the meeting within five days of the meeting.

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.

## Documentation control

All delivery notes will be kept by material managements and be filed on the central cabinet according their numeric orders

## Health and safety risk management

In addition to the requirements of the laws governing health and safety, the Purchaser may have some additional requirements particular to the goods and the location where they are to be delivered for this contract.  This is a requirement of clause 25.4.

The Supplier shall comply with the health and safety requirements and provide Eskom with a MSDS for each chemical received. The SDS shall contain product information and shall comply with OHS Act 85 of 1993 and Hazardous Chemical Substances Regulations Section 9A. Disposal information of chemical shall be provided.

The Supplier shall comply with the health and safety requirements including site specific requirements.

## Environmental constraints and management

The Supplier shall comply with the environmental criteria and constraints required by the employer. The Supplier shall comply with Medupi Power Station environmental management system. It is importantto note that all spillages must be cleaned immediately and reported to the Supply Manager as soon as possible. It is the responsibility of the polluter to clean all spilages and for the rehabilitation of the polluted land. The clean-up cost is for the Contractor’s account

The Supplier shall comply with the environmental criteria and constraints site specific requirements.

## Quality

The Supplier shall comply with the quality assurance requirements by the employer. The Supplier will provide a complete Quality Assurance plan in accordance with the requirements of ISO 9001:2015

## Invoicing and payment

Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice showing the amount due for payment equal to that stated in the Supply Manager’s certificate.

The Supplier shall address the tax invoice to:

ESKOM HOLDINGS SOC LIMITED

MEDUPI POWER STATION

PRIVATE BAG X90003

LEPHALALE

0555

and include on each invoice the following information:

- Name and address of the Supplier and the Supply Manager;

- The contract number and title;

All Electronic involves must be sent in PDF format only;

- Each PDF file should contain on invoice, or one debit note; or one credit note only as Eskom's SAI does not support more than one PDF being linked into workflow at a time; The Contractor's / Supplier's / Consultant's e-mail may contain more than one PDF file (e.g. 2 invoice separate PDF files in one e-mail);

- The Task Order number starting with 45* series.

- Contractor's / Supplier's / Consultant's VAT registration number; The Employer's VAT registration number 4740101508;

- Description of service provided for each item invoiced based on the Price List;

- Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

- E-mail address for invoice submission:

- Local Eskom Invoices: invoiceseskomiocal@eskom.co.za

- Foreign Eskom invoices: invoiceseskomforeign@eskom.co.za

NOTES:

It is of the utmost importance, and it is expected from the Contractor(s) to send all original invoices a the above email addresses and not directly to any user. The Power Station will not be responsible invoice(s) delivered to users and not submitted for payment.

Find text or tools Qa

If your invoice is not submitted immediately after you have delivered goods or rendered a service, it might happen that you will only get paid within 90 days after receipt of your invoice without Eskom paying any interest on late payment.

For Foreign invoices, Contractor will still be required to physically deliver hard copies of original documents to the respective documentation management centres even though the Contractor have e-malled those invoices (Eskom is still seeking clarity from the South African Reserve Bank regarding e-invoicing for Foreign Invoices or invoices in foreign currency. Current requirements are that these manual invoices should still be submitted. You can send the invoice copy to the emall addresses indicated below).

Tax Requirement

A PDF file that was created directly from a system meets the definition of original document and is allowed (including saving documents from excel to PDF, word to PDF etc.) An Invoice that was printed and then scanned to PDF by the Contractor is not acceptable as this is not an original tax invoice by SARS definition but a copy.

The following wording needs to appear on the invoice "Your invoice is encrypted in order to comply with SARS requirements that invoices and statements sent electronically are tamperproof."

If there is Cost Price Adjustment (CPA) on the Contractor's invoice the Employer recommend that the Contractor issue a separate invoice for CPA so that if there are any issues on the CPA the rest of the invoice can be paid while resolving the CPA issues.

Introduction of electronic invoicing does not guarantee payment but will ensure visibility of all invoices and ensure that no invoices get lost. If the Goods Receipt / Service Entry is not done the invoice will be parked and the system will automatically send an e-mail to the end user / contract manager to do the goods receipt/ service entry. This is also tracked by Eskom through the park invoice report.

The Contractor can request a park invoice report from the Finance Shared Services (FSS) contact centre which can then be followed up and corrected. The Contractor are welcome to forward the details of invoices corrected to the FSS contact centre.

Contractor does not require a Goods Receipt (GR) or Service Entry (SE) number to submit your invoices.

When the GR / SE number is received the Contractor can then send the GR / SE number to the FSS contact centre.

All queries and follow up on invoice payments should made by contacting the FSS Contact Centre:

Tel: 011 800 5060

E-mail: fss@eskom.co.za

## Insurance provided by the Purchaser

Insurance policy available on request from Eskom Group Insurance contact Bissett@eskom.co.za

## Contract change management

Contract change management will be discussed with the Supplier when the need arises

## Provision of bonds and guarantees

The form in which a bond or guarantee required by the conditions of contract is to be provided by the Supplier is given in Part 1 Agreements and Contract Data, document C1.3, Sureties.

## Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier

Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier and  to the   Supply Manager shall be provided in both hard copy and electronically.

# Procurement

## Subcontracting

### Preferred subcontractors

List of suppliers to be subcontracted will be provided by the Employer , to the chosen suppliers must be agreed upon by both parties

### Limitations on subcontracting

The Purchaser may require that the Supplier must subcontract certain specialised work, or that the Supplier shall not subcontract more than a specified proportion of the whole of the contract.

### Spares and consumables

N/A

### Other requirements related to procurement

Other requirements such as ASGISA or socio political enhancements the Supplier is to provide as part of Providing the Goods and Services (if any) could be included here.

### Cataloguing requirements by the Supplier

State whether cataloguing is applicable, if it is, reference the requirements for cataloguing that need to be satisfied by the Supplier (consult Procurement Instruction Number 1 of 2018 – Incorporating Cataloguing into the Procurement Environment, Unique Identifier 240-1289988974).

# List of drawings

## Drawings issued by the Purchaser

This is the list of drawings issued by the Purchaser at or before the Contract Date and which apply to this contract.

| Drawing number | Revision | Title |
| --- | --- | --- |
| N/A |  |  |

This total is required by the Purchaser for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.

Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902, www.ecs.co.za.

International Chamber of Commerce, Incoterms 2010, Paris, January 2011