## Feed Heating System BoQ
2025-10-03
PROJECT: CONDENSATE AND FEED HEATING SYSTEM INSPECTION AND REPAIRS DURING OUTAGES INCLUDING STATUTORY TESTING OF PRESSURE VESSELS AT KUSILE POWER STATION FOR THE PERIOD OF FIVE (5) YEARS REV. 2
ITEM NO. | DESCRIPTION | UNIT | NO. OFF | QTY | RATE | AMOUNT
ITEM 1
1 | PRELIMINARIES AND GENERALS
1.1 | Establishment of Facilities on the Site (12m x 3m) (Once Off Delivery of Containers) | Once Off | 4 | 1
1.2 | Establishment of Ablutions on the Site (Once Off Delivery) | Once Off | 2 | 1
1.3 | Entry Medicals | Once/Year | 5 | 29
1.4 | Exit Medicals | Once Off | 1 | 29
1.5 | PPE | Once/Year | 5 | 29
1.6 | Welding PPE | Once/Year | 5 | 7
1.7 | Security / Police Clearance certification | Once Off | 1 | 29
1.8 | Safety File Submission for the duration of the Contract (Gets Reviewed per Outages) | Once Off | 1 | 1
1.9 | Changeroom Container (1 Insulated, with Air-Con): 12m x 3m (1 Off) | Once Off | 1 | 1
1.10 | Site Office Container (1 Insulated, with Air-Con): 12m x 3m (1 Off) | Once Off | 1 | 1
1.11 | Site Kitchen Container (1 Off): 12m x 3m | Once Off | 1 | 1
1.12 | Site Storage Container (1 Off): 12m x 3m | Once Off | 1 | 1
1.13 | Ablutions (2 Off) | Once Off | 2 | 1
1.14 | Water Bowser Trailer 2500L (1 Off) | Once Off | 1 | 1
1.15 | Travelling ( Kombi 22 Seater) (1 Off) | Per Day | 1 | 1026
1.16 | Travelling (1 No, Sedan) | Monthly | 47 | 1
1.17 | Site Bakkie (4x4 Double Cab Bakkie) | Per Day | 1 | 1026
Subtotal Item 1 (Preliminaries & Generals) carried to Summary
ITEM 2
2 | SITE RESOURCES
2.1 | NORMAL TIME
Normal working hours are working hours that fall within the following periods:
Mondays - Friday: 07:00 - 16:00
2.1.1 | Site Manager (Min 5 years of Experience) (1 Off) | Hours | 1 | 5992
2.1.2 | Site Supervisor (Min 3 years of Experience) (1 Off) | Hours | 1 | 5992
2.1.3 | Planner (Min 1 year of Experience) (1 Off) | Hours | 1 | 5992
2.1.4 | Storeman/Material Controller (Min 1 year of Experience) (1 Off) | Hours | 1 | 5992
2.1.5 | Data Capturer/Site Clerk (Min 1 year of Experience) (1 Off) | Hours | 1 | 5992
2.1.6 | Welding Coordinator (Min 3 years of Experience) (1 Off) | Hours | 1 | 5992
2.1.7 | Safety Officer (Min 2 years of Experience) (1 Off) | Hours | 1 | 5992
2.1.8 | Welding Inspector/QC (Min 3 years of Experience) (1 Off) | Hours | 1 | 5992
2.1.9 | Pressure/Leak Test Technician (Min 3 years of Experience) (1 Off) | Hours | 1 | 5992
2.1.10 | Welding Supervisor (Min 3 years of Experience) (1 Off) | Hours | 1 | 5992
2.1.11 | Foreman – Piping and Mechanical (Min 3 years of Experience) (1Off) | Hours | 1 | 5992
2.1.12 | Electrician (Min 2 years of Experience) (1 Off) | Hours | 1 | 5992
2.1.13 | Rigger (Min 2 years of Experience) (1 Off) | Hours | 1 | 5992
2.1.14 | Overhead, Cherry Picker, and Sky Jack Operator (Plant will be provided by Employer) (1 Off) | Hours | 1 | 5992
2.1.15 | Boiler Maker (Min 2 years of Experience) (2 Off) | Hours | 2 | 5992
2.1.16 | Welder A Class (Min 3 Years of Experience) (2 Off) | Hours | 2 | 5992
2.1.18 | Fitter – Mechanical (Min 2 years of Experience) (4 Off) | Hours | 2 | 5992
2.1.19 | Fitter – Piping (Min 2 years of Experience) (4 Off) | Hours | 4 | 5992
2.1.20 | Semi-skilled Labourer (Min 2 years of Experience) (4 Off) | Hours | 4 | 5992
2.1.21 | Driver (22 Seater Bus) (1 Off) | Hours | 1 | 5992
Subtotal Item 2.1 Normal Time
2.2 | NORMAL OVERTIME & SATURDAYS
Normal overtime working hours are working hours that fall within the following periods:
Mondays - Friday: 16:00 - 20:00
Saturdays: 07:00 - 20:00
2.2.1 | Site Supervisor (Min 3 years of Experience) (1 Off) | Hours | 1 | 2660
2.2.2 | Storeman/Material Controller (Min 1 year of Experience) (1 Off) | Hours | 1 | 2660
2.2.3 | Welding Coordinator (Min 3 years of Experience) (1 Off) | Hours | 1 | 2660
2.2.4 | Safety Officer (Min 2 years of Experience) (1 Off) | Hours | 1 | 2660
2.2.5 | Welding Inspector/QC (Min 3 years of Experience) (1 Off) | Hours | 1 | 2660
2.2.6 | Pressure/Leak Test Technician (Min 3 years of Experience) (1 Off) | Hours | 1 | 2660
2.2.7 | Welding Supervisor (Min 3 years of Experience) (1 Off) | Hours | 1 | 2660
2.2.8 | Foreman – Piping and Mechanical (Min 3 years of Experience) (1 Off) | Hours | 1 | 2660
2.2.9 | Electrician (Min 2 years of Experience) (1 Off) | Hours | 1 | 2660
2.2.10 | Rigger (Min 2 years of Experience) (1 Off) | Hours | 1 | 2660
2.2.11 | Overhead, Cherry Picker, and Sky Jack Operator (Plant will be provided by Employer) (1 Off) | Hours | 1 | 2660
2.2.12 | Boiler Maker (Min 2 years of Experience) (2 Off) | Hours | 1 | 2660
2.2.13 | Welder A Class (Min 3 Years of Experience) (2 Off) | Hours | 1 | 2660
2.2.15 | Fitter – Mechanical (Min 2 years of Experience) (4 Off) | Hours | 4 | 2660
2.2.16 | Fitter – Piping (Min 2 years of Experience) (4 Off) | Hours | 4 | 2660
2.2.17 | Semi-skilled Labourer (Min 2 years of Experience) (4 Off) | Hours | 4 | 2660
2.2.18 | Driver (22 Seater Bus) (1 Off) | Hours | 1 | 2660
Subtotal Item 2.2 Normal Overtime & Saturdays
2.3 | SUNDAYS & P/H OVER TIME
Overtime: Sundays and Public Holidays working hours are working hours that fall within the following periods:
Sundays: 07:00 - 20:00
Public Holidays: 07:00 - 20:00
2.3.1 | Site Supervisor (Min 3 years of Experience) (1 Off) | Hours | 1 | 1096
2.3.2 | Storeman/Material Controller (Min 1 year of Experience) (1 Off) | Hours | 1 | 1096
2.3.3 | Welding Coordinator (Min 3 years of Experience) (1 Off) | Hours | 1 | 1096
2.3.4 | Safety Officer (Min 2 years of Experience) (1 Off) | Hours | 1 | 1096
2.3.5 | Welding Inspector/QC (Min 3 years of Experience) (1 Off) | Hours | 1 | 1096
2.3.6 | Pressure/Leak Test Technician (Min 3 years of Experience) (1 Off) | Hours | 1 | 1096
2.3.7 | Welding Supervisor (Min 3 years of Experience) (1 Off) | Hours | 1 | 1096
2.3.8 | Foreman – Piping and Mechanical (Min 3 years of Experience) (1 Off) | Hours | 1 | 1096
2.3.9 | Electrician (Min 2 years of Experience) (1 Off) | Hours | 1 | 1096
2.3.10 | Rigger (Min 2 years of Experience) (1 Off) | Hours | 1 | 1096
2.3.11 | Overhead, Cherry Picker, and Sky Jack Operator (Plant will be provided by Employer) (1 Off) | Hours | 1 | 1096
2.3.12 | Boiler Maker (Min 2 years of Experience) (2 Off) | Hours | 2 | 1096
2.3.13 | Welder A Class (Min 3 Years of Experience) (2 Off) | Hours | 2 | 1096
2.3.15 | Fitter – Mechanical (Min 2 years of Experience) (4 Off) | Hours | 4 | 1096
2.3.16 | Fitter – Piping (Min 2 years of Experience) (4 Off) | Hours | 4 | 1096
2.3.17 | Semi-skilled Labourer (Min 2 years of Experience) (4 Off) | Hours | 4 | 1096
2.3.18 | Driver (22 Seater Bus) (1 Off) | Hours | 1 | 1096
Subtotal Item 2.3 Sundays & P/H Overtime
Sub-total Item 2 (Site Resources) carried to Summary
ITEM 3
3 | TOOLS AND EQUIPMENT
3.1 | Cleaning Equipment
3.1.1 | High-Pressure Water Jet Cleaners (120 Bar 7m/unit) (2 Off for Five Years) | Once Off | 1 | 2
3.1.2 | Steel Scrubbing Brushes and Pads (10 Off Per Outage) | Per/Outage | 26 | 10
3.1.3 | Scrapers (10 Off Per Outage) | Per/Outage | 26 | 10
3.1.4 | Compressed Air Blower 600W 13000RPM (1 Off Per Year) | Per/Year | 5 | 1
3.2 | Visual Inspection
3.2.3 | Flashlights and Headlamps (6 Off Per Outage) | Per/Outage | 26 | 6
3.3 | Cutting Equipment
3.3.1 | Plasma Cutters 45Amp 220V (10 Off Per Year) | Per/Year | 5 | 10
3.3.2 | Oxy-Acetylene Torches (10 Off Per Year) | Per/Year | 5 | 10
3.3.3 | Angle Grinders (Power:900-1500 Watts, Disc Size:115mm or 125mm, Voltage: 220-240V AC) (10 Off Per Year) | Per/Year | 5 | 10
3.6 | Consumables
3.6.1 | Detergents (25L Rust Remover) (5 Off Per Outage) | Per Outage | 26 | 5
3.6.2 | Degreasers 20L( Multipurpose Grease, oil or spray. Application; Machinery, bearings, Gears. Base oil; Mineral oil, synthetic. NLGI Grade: 2 for greases. Viscosity: ISO VG) (5 Off Per Outage) | Per Outage | 26 | 5
3.6.3 | Rags, and wipes 5kg (5 Off Per Outage) | Per Outage | 26 | 5
3.6.4 | Polishing Compounds 20L ( Liquid, paste, or wax, Application: Metal surfaces, plastics, glass, Grit Size: Fine to ultra-fine (1,000 - 3,000 grit), Features: Non-abrasive, fast-drying, silicone-free) (box of 20) (2 Off Per Outage) | Per Outage | 26 | 2
3.6.5 | Cutting Discs (box of 20): Type: Metal, stone, and multi-purpose, Diameter: 115mm or 125mm, Thickness: 1.0mm to 2.5mm, Material: Aluminium oxide or silicon carbide (1 Off Per Outage) | Per Outage | 26 | 1
3.6.6 | Welding Rods and Wire 5kg: (5 Off Outage) | Per Outage | 26 | 5
3.6.8 | Calibration Stickers and Tags(box of 20) (1 Off Outage) | Per Outage | 26 | 1
3.6.9 | Spray Paint: Silver 20L (5 Off Outage) | Per Outage | 26 | 5
3.7 | Wrenches and Spanners Sets
3.7.1 | Open-End and Box-End Wrenches Set (Metric) - Sizes: 6 mm, 8 mm, 10 mm, 12 mm, 13 mm, 14 mm, 15 mm, 17 mm, 19 mm, 22 mm, 24 mm, 27 mm, 30 mm, 32 mm (4 Off Once per Year) | Per/Year | 5 | 4
3.7.2 | Adjustable Wrenches Set - Sizes: 6 inches, 8 inches, 10 inches, 12 inches, 15 inches, 18 inches (4 Off Once per Year) | Per/Year | 5 | 4
3.7.3 | Torque Wrench 1500-3000Nm | Once off | 1 | 1
3.8 | Socket Sets
3.8.1 | Standard Socket Set (Metric) - Sizes: 4 mm, 5 mm, 5.5 mm, 6 mm, 7 mm, 8 mm, 9 mm, 10 mm, 11 mm, 12 mm, 13 mm, 14 mm, 15 mm, 16 mm, 17 mm, 18 mm, 19 mm, 20 mm, 21 mm, 22 mm, 23 mm, 24 mm, 25 mm, 26 mm, 27 mm, 28 mm, 29 mm, 30 mm, 31 mm, 32 mm (1 Off Once per Year) | Per/Year | 5 | 1
3.8.2 | Deep Socket Set (Metric) - Sizes: 6 mm, 7 mm, 8 mm, 9 mm, 10 mm, 11 mm, 12 mm, 13 mm, 14 mm, 15 mm, 16 mm, 17 mm, 18 mm, 19 mm, 21 mm, 22 mm, 24 mm, 27 mm, 30 mm, 32 mm (1 Off Once per Year) | Per/Year | 5 | 1
3.9 | Allen Key Sets (Hex Keys):
3.9.1 | Metric Set - Sizes: 1.5 mm, 2 mm, 2.5 mm, 3 mm, 4 mm, 5 mm, 6 mm, 7 mm, 8 mm, 9 mm, 10 mm, 12 mm, 14 mm, 17 mm, 19 mm (1 Off Once per Year) | Per/Year | 5 | 1
3.1 | Screwdriver Sets
3.10.1 | Flathead Screwdrivers - Sizes: 1.5 mm, 2 mm, 2.5 mm, 3 mm, 4 mm, 5 mm, 5.5 mm, 6 mm, 8 mm, 10 mm (2 Off Once per Year) | Per/Year | 5 | 2
3.10.2 | Phillips Screwdrivers - Sizes: #00, #0, #1, #2, #3, #4 (2 Off Once per Year) | Per/Year | 5 | 2
3.11 | Pliers Sets
3.11.1 | Needle-Nose Pliers - Sizes: 4 inches, 6 inches, 8 inches (2 Off Once per Year) | Per/Year | 5 | 2
3.11.2 | Slip-Joint Pliers - Sizes: 6 inches, 8 inches, 10 inches (2 Off Once per Year) | Per/Year | 5 | 2
3.11.3 | Locking Pliers (Vise-Grips) - Sizes: 5 inches, 7 inches, 10 inches (2 Off Once per Year) | Per/Year | 5 | 2
3.12 | Hammers and Mallets Sets
3.12.1 | Ball-Peen Hammers - Sizes: 4 oz, 8 oz, 12 oz, 16 oz, 24 oz, 32 oz (2 Off Once per Year) | Per/Year | 5 | 2
3.12.2 | Rubber Mallets - Sizes: 8 oz, 16 oz, 24 oz, 32 oz (2 Off Once per Year) | Once/Year | 5 | 2
3.13 | Pry Bars and Crowbars Sets
3.13.1 | Pry Bars - Sizes: 6 inches, 12 inches, 18 inches, 24 inches (1 Off Once per Year) | Per/Year | 5 | 1
3.13.2 | Crowbars - Sizes: 12 inches, 18 inches, 24 inches, 30 inches, 36 inches (1 Off Once per Year) | Per/Year | 5 | 1
Subtotal Item 3 (Tools and Equipment) carried to Summary
SUMMARY
ITEM 1 | PRELIMINARIES AND GENERALS
ITEM 2 | SITE RESOURCES
ITEM 3 | TOOLS AND EQUIPMENT
Final Summary Total