## Cover
ESKOM GENERATION
2025
The Provision of Fuel Oil Plant and Burner Maintenance Services on as and when required basis for a Period of 48 Months at Camden Power Station
CONTRACT NUMBER |  | :
CONTRACTOR |  | :
CONTRACT AMOUNT (EXCL. VAT) |  | :
CONTRACT AMOUNT (INCL. VAT) |  | :
Camden Power Station

## Contents
The Provision of Fuel Oil Plant and Burner Maintenance Services on as and when required basis for a Period of 48 Months at Camden Power Station
TABLE OF CONTENTS
Contract Data
Notes to Tenderers
Bill of Quantities
| Section 1 | : Maintenance BOQ
Final Summary

## Notes to Tenderers
NOTES TO TENDERERS
1. BILLS OF QUANTITIES
This document comprises Notes to Tenderers and Bills of Quantities and is hereafter referred to as "the Bills of Quantities".
The Tenderers are to note that this is a Contract with a Bills of Quantities.
2.1 CONTRACT DOCUMENTS
The contract documents will consist of:
2.1.1 The NEC3 Term Service Contract 2013 together with all amendments.
2.1.2 These Bills of Quantities, including all annexures and supplementary documentation referred to therein.
2.1.3 Documents to be provided by the Contractor in terms of the requirements of these Bills of Quantities.
2.1.4 Construction Regulations 2014
2.1.5 Occupational Health and Safety Act of 1993
2.1.6 Scope of works documents
3 VALUE ADDED TAX
Tenderers should compute their rates from the net costs (excluding Value Added Tax). Value Added Tax at the current rate of 15% is to be added to the net sub-total on the final summary page by means of a single sum calculation to establish the tender price.
4 SCOPE OF WORK
As a guide only, the work comprises as follows:-
The Provision of Fuel Oil Plant and Burner Maintenance Services on as and when required basis for a Period of 48 Months at Camden Power Station
5 ADDRESS WHERE DOCUMENTS CAN BE OBTAINED
Tender documents will be made available Electronically on an online portal to be provided by Eskom
6 POSSESSION OF SITE
The date of which possession of the Site shall be given to the Contractor shall be within 7 working days of the acceptance of this tender.
7 CONSTRUCTION PERIOD - DATES FOR PRACTICAL COMPLETION
Practical Completion: 48 Months from the date of Site Handover
Tenderers are to note that the Contract will be delivered as a whole and NOT to be phased.
8 COMMON LAW OR BY-LAW REQUIREMENTS
No liability for not specifically mentioning any normal contractual, Common Law or By-Law requirements will be accepted by the Employer, or Terms Service Manager.
9 CONTRACT PRICE ADJUSTMENT
The Contract Sum shall be subject to CPAP.
10. PRICED BILLS OF QUANTITIES:
Tenderers must submit to the Terms Service Manager a copy of the Bills of Quantities fully priced and extended, with his tender. After the Bills have been checked, and when called upon, each page of the Bills of Quantities shall be initialed and the Index page and the Final Summary page signed in full.
11 DIFFERENCE AND DISCREPANCIES:
Should there be any difference or discrepancy between the prices or particulars contained in the official Tender Form and those contained in any covering letter from the Tenderer, the prices contained in the official Tender Form shall prevail.
Every Tenderer shall be deemed to have waived, renounced and abandoned any conditions printed or written upon any stationery used by him for the purpose of or in connection with the submission of his Tender, which are in conflict with the Conditions of Tender.
Tenderers are warned that any material divergence from the official conditions or specifications may render their Tenders liable to disqualification.
The Tenderers are to note that if there are any arithmetical errors in the Tenderers' form of tender in calculation of the Tender Sum, the Terms Service Manager will correct the calculation accordingly.
12 COMMUNICATION WITH MEMBERS OF THE CLIENT COMPANY OR PROFESSIONAL TEAM
A Tenderer shall not in any way communicate with a member of the Client Company or Professional Team or with any officer on a question affecting any contract or the supply of goods or for any work, undertaking or service which is the subject of a Tender during the period between the closing date for receipt of Tenders and the dispatch of the written notification of the Employer's decision on the award of the contract; provided that a Tenderer shall not hereby be precluded from obtaining from the Employer or his authorised representative information as to the date upon which the award of the contract is likely to be made or, after the decision upon the award has been made by the Terms Service Manager to which the Employer had delegated its powers, information as to the nature of the decision or such information as was publicly disclosed at the opening of Tenders.
13 BILLS OF QUANTITIES:
No alteration, erasure, omission or addition is to be made to the text and conditions of these Bills of Quantities and should any such alteration, amendment, note or addition be made, the same will not be recognised, but the reading of the Bills of Quantities as prepared by the Terms Service Manager will be adhered to.
It should be understood that the system of measurement herein adopted is the only system of measurement which will be recognised in connection with this contract. Before the signing of the contract, the Terms Service Manager will be entitled to call for adjustments of individual rates and rectify discrepancies, as he considers necessary without alterations to the Tender amount.
6 Ensure that every employee or person (including visitors) who enters the site of the Works undergoes health and safety induction training pertaining to hazards identified on the site of the Works and upon such training having been successfully completed, the Contractor must issue written confirmation by a competent person to the trained employees or persons who shall be further instructed to carry such confirmation with them at all times whilst on the site of the Works;
7 Issue, on loan, the necessary personal protective equipment to visitors to the site of the Works; and
8 Be in good standing with the Compensation Commissioner at all times during the duration of the Contract.
9 The Contractor is to sign a Non-Disclosure Agreement prior to collecting or receiving any proprietary information from Eskom, drawings, documentation, reports and photographs
The Contractor will be deemed to have satisfied himself with his obligations in terms of the Act and to have allowed for all costs arising from compliance with the Act as no claim for extra costs arising from compliance with, and obligations in terms of the Act will be entertained.
14 PRICING OF THESE GENERAL NOTES
The Contractor must allow in his pricing for any additional costs arising from these "General Notes" as no later claims for additional costs will be considered.
15 TAX COMPLIANCE
Failure to provide mandatory information required in this Bid will result in the submissions being deemed null and void and shall be considered non-responsive. An Electronic Tax Compliance Status (TCS) System will be used to verify the bidder’s tax compliance status so bidders must request a unique security personal identification number (PIN) from SARS which must be submitted with the bid
No alternative tender offers will be considered.
These Bills are not to be used for the purpose of ordering materials.
All Bill rates are to include for food,material, labour, plant, wastage, transport and profit.

## Divider
BILLS OF QUANTITIES

## BOQ
The Provision of Fuel Oil Plant and Burner Maintenance Services on as and when required basis for a Period of 48 Months at Camden Power Station
Item | Description | UOM | Resources | Hrs Per Month | No. Months | Rate | Escalated Amount
|  |  | A | B | C | D | A x B x C x D
BILL OF QUANTITIES
PREAMBLE
Currency
All pricing and amounts to be in the currency of South African Rands (ZAR)
All individual amounts in these bills of quantities exclude Value Added Tax (VAT). VAT is to be calculated as a lump sum and added to the total of all values in the Final Summary under the item provided for VAT
A detailed and / or itemised breakdown of the P&G's Items will be requested only from the successful bidders for vetting by the employer.
RATES
The tenderer is advised that any rate that is required for work must include the following breakdown
Material, labour, plant, wastage, transport and profit.
LABOUR INTENSIVE ITEMS
The contractor shall comply with all requirements of the "Code of Good Practice for Employment and Conditions of Work for Special Public Works Programmes" issued in terms of the "Basic Conditions of Employment Act, 1997 (Act No. 75 of 1997)" and the related "Ministerial Determination", for the employment of locally employed temporary workers on a labour-intensive infrastructure project under the Expanded Public Works Programme (EPWP)
SPECIFICATION DOCUMENT
The Contractor is reffered to the Specification Document for the full details of the scope and they are urged to read this document prior to pricing this work.
SCOPE OF WORKS
The scope of works encompasses the Provision of Fuel Oil Plant and Burners Maintenance on as and when Required Basis for a Period of 48 months at Camden Power Station
PRICING OF THE BILLS OF QUANTITIES
Any items left unpriced will be understood to be provided free of charge and no claim for any extras arising out of the Tenderers omission to price any item will be entertained
Bill No. 01 - Preliminaries and General
As a guide the following tools and equipment will be reuired for this contract
TOOLS
Termo Gun Monthly
Electric Hand Drill Monthly
Bench Drill Montly
Drill Bits 1 – 13 (25 Bits) 1 set Monthly
Bearing Puller Montly
Hollow Punch 5/6/8/10/11/11/13 (I set monthly)
Battery Blower Monthly
Soldering Iron Monhly
Solder Sucker Monthly
Extension 10m Monthly
Lead Light Monthly
Baby Grinder Monthly
Rachet Spanner 19/24 2 per month
4M 2T Chain Block 2 per month
3M 1.5T Lever Hoist 4 per month
1M Steel Sling 2 per month
2M Steel Sling 2 per month
4M Steel Sling 1 per month
Bow Shackles 11 per month
Fall Arrest System 3 per month
Engraver 1 per month
Bench Grinder I per month
Electric Mini Blower I per month
17M 1.5T Chain Block I per month
Tool to open the block 2 per month
Tip scanner 2 per month
Poppet valve spanner 2 per month
CONSUMABLES
As a guide the following consumables will be reuired for this contract
Amtec 15 (15W40) 175 Litres per month
Paraffin 175 Litres per month
1 | Submission and Approval of a Safety File | Sum | 1 | 1 | 1 | R | R
2 | Provision of Office Furniture and Maintenance and upkeep of eskom provided office space 23 desk and chairs,Tea and rest room and workshop | Sum | 1 | 1 | 1 | R | R
3 | Personal Protective Equipment (Issued Twice a Year) | No | 28 | 2 | 4 | R | R
4 | Medical - Entry | No | 28 | 1 | 1 | R | R
5 | Medical - Renewal | No | 28 | 1 | 3 | R | R
6 | Medical - Exit | No | 28 | 1 | 1 | R | R
7 | Police Cleance / SPS Vetting | N0 | 28 | 1 | 1 | R | R
8 | Site De-Establishment | Sum | 1 | 1 | 1 | R | R
Transportation
9 | 15 Seater transport x 2 | Monthly | 2 | 1 | 48 | R | R
10 | Bakkie D/C x1 | Monthly | 1 | 1 | 48 | R | R
Tools and Equipment and consumables
11 | Tools, Equipment (Including Test Rig and annual service ) and consumables | Sum | 1 | 1 | 1 | R | R
Bill No. 02 - Direct Labour: Normal Time
12 | Site Manager | Hrs | 1 | 173 | 48 | R | R
13 | Supervisor - Burner Front | Hrs | 1 | 173 | 48 | R | R
14 | Supervisor - Fuel Oil Plant | Hrs | 1 | 173 | 48 | R | R
15 | Planner | Hrs | 1 | 173 | 48 | R | R
16 | C&l Technician | Hrs | 4 | 173 | 48 | R | R
17 | Mechanical Fitter | Hrs | 5 | 173 | 48 | R | R
18 | Semi-skilled | Hrs | 4 | 173 | 48 | R | R
19 | Assistant | Hrs | 9 | 173 | 48 | R | R
20 | Safety Officer | Hrs | 1 | 173 | 48 | R | R
21 | Quality Controller | Hrs | 1 | 173 | 48 | R | R
22 | Standby allowance (Supervisor X2, Safety Officer and Quality Controller) | Hrs | 4 | 30 | 48 | R | R
Bill No. 03 - Direct Labour: Overtime (Weekdays)
23 | Supervisor | Hrs | 2 | 43 | 48 | R | R
24 | C&l Technician | Hrs | 1 | 86 | 48 | R | R
25 | Mechanical Fitter | Hrs | 1 | 86 | 48 | R | R
26 | Semi-skilled | Hrs | 1 | 86 | 48 | R | R
27 | Assistant | Hrs | 2 | 86 | 48 | R | R
28 | Safety Officer | Hrs | 1 | 43 | 48 | R | R
29 | Quality Controller | Hrs | 1 | 43 | 48 | R | R
Bill No. 04 - Direct Labour: Overtime Emergency Call Outs
29 | Supervisor | Hrs | 1 | 32 | 48 | R | R
30 | Safety Officer | Hrs | 1 | 32 | 48 | R | R
31 | C&l Technician | Hrs | 1 | 43 | 48 | R | R
32 | Mechanical Fitter | Hrs | 1 | 43 | 48 | R | R
33 | Semi-skilled | Hrs | 1 | 43 | 48 | R | R
34 | Assistant | Hrs | 2 | 43 | 48 | R | R
35 | Quality Controller | Hrs | 1 | 16 | 48 | R | R
Bill No. 05 - Direct Labour: Night Shift
36 | C&l Technician | Hrs | 1 | 86 | 48 | R | R
37 | Mechanical Fitter | Hrs | 1 | 86 | 48 | R | R
38 | Semi-skilled | Hrs | 1 | 86 | 48 | R | R
39 | Assistant | Hrs | 3 | 86 | 48 | R | R
Bill No. 06 - Night Shift Allowance
Night Shift Allowance (Per Hour)
40 | C&l Technician | Hrs | 1 | 86 | 48 | R | R
41 | Mechanical Fitter | Hrs | 2 | 86 | 48 | R | R
42 | Semi-skilled | Hrs | 2 | 86 | 48 | R | R
43 | Assistant | Hrs | 2 | 86 | 48 | R | R
Bill No.07 - Direct Labour - Overtime (Saturdays)
44 | C&l Technician | Hrs | 2 | 48 | 48 | R | R
45 | Mechanical Fitter | Hrs | 2 | 48 | 48 | R | R
46 | Semi-skilled | Hrs | 2 | 48 | 48 | R | R
47 | Assistant | Hrs | 3 | 48 | 48 | R | R
49 | Quality Controller | Hrs | 1 | 16 | 48 | R | R
Bill No.08 - Direct Labour - Overtime (Sundays and Publlic Holidays)
51 | C&l Technician | Hrs | 2 | 48 | 48 | R | R
52 | Mechanical Fitter | Hrs | 2 | 48 | 48 | R | R
53 | Semi-skilled | Hrs | 2 | 48 | 48 | R | R
54 | Assistant | Hrs | 3 | 48 | 48 | R | R
56 | Quality Controller | Hrs | 1 | 16 | 48 | R | R
| Grand Total (Excl. VAT) - Carried to Final Summary | [5 empty] | R

## Divider. (2)
FINAL SUMMARY

## FINAL SUMMARY
The Provision of Fuel Oil Plant and Burner Maintenance Services on as and when required basis for a Period of 48 Months at Camden Power Station
FINAL SUMMARY
Item | Description | UOM | Amount
FINAL SUMMARY
1 | BILLS OF QUANTITIES | Sum | R
| Sub - Total |  | R
Contingencies:
|  | 5% | R
Contingency Allowance (5%)
| Sub - Total |  | R
Value Added Tax
| Vat @ 15% | 15% | R
| Grand Total Incl VAT - Carried to Form of Offer and Acceptance |  | R