## QS Report -Advert
QS ESTIMATE - QUANTITY SURVEYING/COST ENGINEERING
PROJECT: SECURITY SPARES AND MAINTENANCE AT KOMATI POWER STATION PERIOD OF 3 YEARS REV03
COMPILED BY: T NHLANGOTHI
SIGNATURE :
DATE : | 2025-09-19
TEL : 013 2959507
Items | Description | Unit | Years/Months | No. of Personnel | Qty - 3Years | Rate | Total amount - 3 Years
001 | P&G's
1 | Safety File | Once Off
2 | Medical | Yearly | 4 | 2
3 | PPE | Yearly | 3 | 2
002 | Labour
1 | 2 x Technician 26hrs /month = 312 Hrs per year @ 936hrs in 3years | Hrs |  | 2 | 936
2 | Travelling | sum
003 | Supply & Maintenance - As and when needed
1 | Software ,Licence for more users multiple users, PC runningon windows 2000 and HD 16 Channel NVR | Sum
Sub-total
004 | Security System Spares
1 | Controllers CR391 | ea |  |  | 9
2 | 43-inch Cctv monitors | ea |  |  | 3
3 | 65-inch Cctv monitor | ea |  |  | 1
4 | AI Camera Traps SEISSIGER-S378E | ea |  |  | 5
5 | Battery Backup units 220VAC 3.2 AMP Complete with 7ah Battery | ea |  |  | 4
6 | Fixed Dome Smart Hybrid Light IP67 Cameras | ea |  |  | 8
7 | Complete Wireless Links 5GHz 433Mbps | ea |  |  | 20
8 | Front End CR375 | ea |  |  | 4
9 | Controller PSU | ea |  |  | 10
10 | Regulator 5V | ea |  |  | 20
11 | DTC150e Card Printer | ea |  |  | 1
12 | Ribbon DTC 1000/DTC1250e | ea |  |  | 50
13 | Ribbon DTC 1000/DTC1250e cleaning kit | ea |  |  | 10
14 | 81759 PVC Cards 500 pack - Adhesive Back=R9 each | ea |  |  | 8
15 | 100 Full HD Webcam Graphite camera | ea |  |  | 2
16 | 50m roll - Traffic Inductive Loop Vehicle Detector Induction Coil Wire Cable | roll |  |  | 4
17 | Automatic Industrial Vehicle Barrier Boom Gate 4 meter | ea |  |  | 8
18 | Boom carriers Torgue Motor 10rpm | ea |  |  | 5
19 | PTZ cameras IP66 | ea |  |  | 5
20 | Double-door access controllers | ea |  |  | 5
21 | CR375 with LCD & Prox reader, no keypad | ea |  |  | 5
24 | 8MP 2.8mm Fixed Dome Network Camera | ea |  |  | 5
25 | Titan single full height turnstile 3 arm | ea |  |  | 1
26 | Value Series Face Access Terminal with 4.3-inch Touch Display DS-K1T341CMFW | ea |  |  | 5
27 | Maglock Indoor 300lbs 136Kg 12VDC | ea |  |  | 5
28 | electronic Door strikes 25MM A/C | ea |  |  | 10
29 | No Touch to Exit Button 12 VDC | ea |  |  | 12
30 | Push button 12VDC | ea |  |  | 12
31 | Light duty Door Closers 25-45 KG Hold Open | ea |  |  | 12
32 | Intercom 4But 1.3MP station | ea |  |  | 2
33 | 16-ch 1U 16 POE AcuSense 4K NVR | ea |  |  | 2
34 | NVR-256Mbps Bit Rate Input Max( up to32-ch IP Video), 8 SATA Interface, Up to 10TB per HDD, alarm IO 164( 168optinal),2U | ea |  |  | 1
35 | Digital Surveillance hard drive -10TB | ea |  |  | 6
36 | 4 MP Fixed Turret Network Camera, High quality imaging | ea |  |  | 22
37 | 9U Cabinet c/w Fan, Power | ea |  |  | 2
38 | 23 HD LED Monitor | ea |  |  | 2
39 | HDMI Braided Cable 2.0 4K | m |  |  | 20
40 | Smart managed, 24 PORT 10/100m RJ45 PoE Ports | ea |  |  | 5
41 | 8 Port Gigabit Ethernet Ai Poe Switch With 2 Sfp Uplink (8 Port 10/100/1000) | ea |  |  | 12
42 | Network Ethernet Cable Cat6 | m |  |  | 100
43 | Digital Fibre Optical Patch Cable Single Mode with optical SC-SC connectors cable length, dust cap protection, for Ethernet/LAN/Data center use | m |  |  | 100
44 | Tower Core i7-14700 16GB RAM 512GB SSD Win 11 Pro Desktop PC. | ea |  |  | 2
45 | Complete Brush Panel 1U 19 for IT , systems devices | ea |  |  | 4
46 | 16 Channel Turbo HD DVR M1 | ea |  |  | 2
47 | Panic Button with 1 Channel built in receiver 433Mhz dip switch type and remote | ea |  |  | 6
48 | Electronic Key Management Touch Pro S key cabinet accommodate up to 60 key sets | ea |  |  | 1
49 | R6550 X-Ray Baggage Scanner with multi-energy screening solution tunnel of 654mm wide x 505mm height. | ea |  |  | 2
50 | MD24 Walk-Through Metal Detectors | ea |  |  | 2
51 | DT SML Divestment Trays 340 (L) x 287 (W) x 120 (H) mm | ea |  |  | 5
52 | DT LRG Divestment Trays 507.5 (L) x 407.5 (W) x 122 (H) mm | ea |  |  | 5
Sub-total
TOTAL AMOUNT IN 3YEARS