NEC3 Term Service Contract (TSC3)

| Between | ESKOM HOLDINGS SOC Ltd (Reg No. 2002/015527/30) |  |
| --- | --- | --- |
| and | [Insert at award stage] (Reg No. ___________) |  |
| for | Provision of Security System Maintenance at Komati Power Station for the Period of 36 Months |  |
| Contents: |  |  |
| Part C1 | Agreements & Contract Data |  |
| Part C2 | Pricing Data |  |
| Part C3 | Scope of Work |  |
| CONTRACT No. | [Insert at award stage] |  |

PART C1:	AGREEMENTS & CONTRACT DATA

| Contents: |  |  |
| --- | --- | --- |
| C1.1 | Form of Offer and Acceptance [to be inserted from Returnable Documents at award stage] |  |
| C1.2a | Contract Data provided by the Employer |  |
| C1.2b | Contract Data provided by the Contractor [to be inserted from Returnable Documents at award stage] |  |
| C1.3 | Proforma Guarantees |  |

NB: signed with total tendered price

C1.1 Form of Offer & Acceptance

## Offer

The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

# Provision of Security System Maintenance at Komati Power Station for the Period of 36 Months

The tenderer, identified in the Offer signature block, has examined the documents listed in the Tender Data and addenda thereto and by submitting this Offer has accepted the Conditions of Tender.

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Contractor under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data.

| Options A | The offered total of the Prices exclusive of VAT is |  |
| --- | --- | --- |
|  | Sub total |  |
|  | Value Added Tax @ 15% is |  |
|  | The offered total of the amount due inclusive of VAT is |  |
|  | (in words) [●] |  |

This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

| Signature(s): |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s): |  |  |  |  |
| Capacity: |  |  |  |  |
| For the tenderer: |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |
| Tenderer’s CIDB registration number: |  |  |  |  |

## Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Employer and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in:

Part C1		Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2		Pricing Data

Part C3		Scope of Work: Service Information

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).

| Signature(s): |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s): |  |  |  |  |
| Capacity: |  |  |  |  |
| for the Employer: |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

## Schedule of Deviations to be completed by the Employer prior to contract award

Note:

- This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.

- The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

- A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

| No. | Subject | Details |
| --- | --- | --- |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |

By the duly authorised representatives signing this Schedule of Deviations below, the Employer and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement.

|  | #### For the tenderer: |  | #### For the Employer |
| --- | --- | --- | --- |
| Signature: |  |  |  |
| Name: |  |  |  |
| Capacity: |  |  |  |
| On behalf of: | (Insert name and address of organisation) |  | (Insert name and address of organisation) |
| Name & signature of witness: |  |  |  |
| Date: |  |  |  |

C1.2 TSC3 Contract Data

# Part one - Data provided by the Employer

- Please read the relevant clauses in the conditions of contract before you enter data.  The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data.

- Some TSC3 options are always selected by Eskom Holdings SOC Ltd. The remaining TSC3 options are identified by shading in the left hand column. In the event that the option is not required select and delete the whole row.  Where the following symbol is used “[●]” - data is required to be inserted relevant to the specific option selected.]

Completion of this data in full, according to the Options chosen, is essential to create a complete contract.

| Clause |  | ## Statement |  | ## Data |  |
| --- | --- | --- | --- | --- | --- |
| 1 |  | ## General |  |  |  |
|  |  | The conditions of contract are the core clauses and the clauses for main Option: |  |  |  |
|  |  |  |  | A: Priced contract with price list |  |
|  |  | dispute resolution Option |  | W1: Dispute resolution procedure |  |
|  |  | and secondary Options |  |  |  |
|  |  |  |  | X1: Price adjustment for inflation |  |
|  |  |  |  | X2 Changes in the law |  |
|  |  |  |  | X17: Low service damages |  |
|  |  |  |  | X18: Limitation of liability |  |
|  |  |  |  | X19: Task Order |  |
|  |  |  |  | X20 : Key performance indicators |  |
|  |  |  |  | Z: Additional conditions of contract |  |
|  |  | of the NEC3 Term Service Contract April 2013 (TSC3) |  | If 2005 Edition is to be used delete “April 2013” and replace with “June 2005 with amendments June 2006”. Always delete this note before finalising this Data |  |
| 10.1 |  | The Employer is (name): |  | Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa |  |
|  |  | Address |  | Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg |  |
| 10.1 |  | The Service Manager is (name): |  | Daniel Mphuthi |  |
|  |  | Address |  | Komati Power Station Blinkpan 2250 |  |
| 11.2(2) |  | The Affected Property is |  | Komati Power Station |  |
| 11.2(13) |  | The service is |  | For provision of Security System Maintenance at Komati Power Station |  |
| 11.2(14) |  | The following matters will be included in the Risk Register |  | Noise Occupational health and safety injuries Scope changes Quality assurance and quality control challenges Environmental risks relating to waste disposable and management Labour unrest Community unrest Working at heights |  |
| 11.2(15) |  | The Service Information is in |  | Part 3: Scope of Work and all documents and drawings to which it makes reference. |  |
| 12.2 |  | The law of the contract is the law of |  | the Republic of South Africa |  |
| 13.1 |  | The language of this contract is |  | English |  |
| 13.3 |  | The period for reply is |  | 3 days (1 day for all health and safety related matters) |  |
| ## 2 |  | ## The Contractor’s main responsibilities |  | Data required by this section of the core clauses is also provided by the Contractor in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data |  |
| 21.1 |  | The Contractor submits a first plan for acceptance within |  | 2 weeks of the Contract Date |  |
| ## 3 |  | ## Time |  |  |  |
| 30.1 |  | The starting date is. |  | TBC |  |
| 30.1 |  | The service period is |  | 36 months |  |
| ## 4 |  | ## Testing and defects |  | ## There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data |  |
| ## 5 |  | ## Payment |  |  |  |
| 50.1 |  | The assessment interval is |  | the 25th day of each successive month. |  |
| 51.1 |  | The currency of this contract is the |  | South African Rand |  |
| 51.2 |  | The period within which payments are made is |  | 4 weeks. |  |
| 51.4 |  | The interest rate is |  | the publicly quoted prime rate of interest (calculated on a 365 day year) charged by from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter (and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove. |  |
| ## 6 |  | ## Compensation events |  | There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data |  |
| ## 7 |  | ## Use of Equipment Plant and Materials |  | ## There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data |  |
| ## 8 |  | ## Risks and insurance |  |  |  |
| 80.1 |  | These are additional Employer's risks |  | Refer to Service Information |  |
| ## 9 |  | ## Termination |  | There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |
| ## 10 |  | ## Data for main Option clause |  |  |  |
| A |  | Priced contract with price list |  |  |  |
| 20.5 |  | The Contractor prepares forecasts of the final total of the Prices for the whole of the service at intervals no longer than |  | 4 weeks. |  |
| ## 11 |  | ## Data for Option W1 |  |  |  |
| W1.1 |  | The Adjudicator |  | the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him. (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA). |  |
| W1.2(3) |  | The Adjudicator nominating body is: |  | To be appointed when the dispute arises |  |
| W1.4(2) |  | The tribunal is: |  | arbitration |  |
| W1.4(5) |  | The arbitration procedure is |  | the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body. |  |
|  |  | The place where arbitration is to be held is |  | South Africa |  |
|  |  | The person or organisation who will choose an arbitrator - if the Parties cannot agree a choice or - if the arbitration procedure does not state who selects an arbitrator, is |  | the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body. |  |
| ## 12 |  | ## Data for secondary Option clauses |  |  |  |
| X1 |  | Price adjustment for inflation |  |  |  |
| X1.1 |  | The base date for indices is |  | CPA to submitted with the tender |  |
| The proportions used to calculate the Price Adjustment Factor are: NB: - Tenderers are required to submit CPA that is aligned to Eskom’s proposed CPA breakdown in this Tender; or Tenderers may submit an alternative CPA proposal from Eskom’s CPA proposal, and this will be considered if deemed acceptable to Eskom; - Note that for contracts exceeding a duration of 12 months if there is no CPA catered for by the tenderer; then prices will be deemed to be fixed and firm. - A minimum of 15% of the total agreement value is to be fixed when a CPA formula is applied, - Each CPA formula must add up to a final total of 100. - Only official published CPA indices that are in the public domain must be used. - No in-house indices may be used for CPA. - There may be more than 1 CPA formula (Formula A, B, C etc) or a combination of all the cost components into 1 Formula (depending on how the pricing is to be submitted. - If there are specific line items for Labour and Transport, individual Formulae might be used. - Note: Eskom reserves the right to negotiate CPA terms and conditions during negotiations held with tenderers. |  |  |  |  |  |
| X2 |  | Changes in the law |  | There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data. |  |
| X17 |  | Low service damages |  |  |  |
| X17.1 |  | The service level table is in |  | the employer service information |  |
| X18 |  | Limitation of liability |  |  |  |
| X18.1 |  | The Contractor’s liability to the Employer for indirect or consequential loss is limited to |  | R0.0 (zero Rand) |  |
| X18.2 |  | For any one event, the Contractor’s liability to the Employer for loss of or damage to the Employer’s property is limited to |  | the amount of the deductibles relevant to the event |  |
| X18.3 |  | The Contractor’s liability for Defects due to his design of an item of Equipment is limited to |  | The greater of - the total of the Prices at the Contract Date and - the amounts excluded and unrecoverable from the Employer’s insurance (other than the resulting physical damage to the Employer’s property which is not excluded) plus the applicable deductibles |  |
| X18.4 |  | The Contractor’s total liability to the Employer, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to |  | the total of the Prices other than for the additional excluded matters. The Contractor’s total liability for the additional excluded matters is not limited. The additional excluded matters are amounts for which the Contractor is liable under this contract for - Defects due to his design, plan and specification, - Defects due to manufacture and fabrication outside the Affected Property, - loss of or damage to property (other than the Employer’s property, Plant and Materials), - death of or injury to a person and - infringement of an intellectual property right. |  |
| X18.5 |  | The end of liability date is |  | 12 months after the end of the service period. |  |
| X19 |  | Task Order |  |  |  |
| X19.5 |  | The Contractor submits a Task Order programme to the Service Manager within |  | 2 days of receiving the Task Order |  |
| X20 |  | Key Performance Indicators are indicated in the employer’s service information |  |  |  |
| X20.1 |  |  |  |  |  |
| X20.2 |  | A report of performance against each Key Performance Indicator is provided at intervals of |  | 1 month |  |
| Z |  | The additional conditions of contract are |  | Z to Z14 always apply. |  |
| Z1 | Cession delegation and assignment |  |  |  |  |
| Z1.1 | The Contractor does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Employer. |  |  |  |  |
| Z1.2 | Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. |  |  |  |  |
| Z2 | Joint ventures |  |  |  |  |
| Z2.1 | If the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Employer for the performance of this contract. |  |  |  |  |
| Z2.2 | Unless already notified to the Employer, the persons or organisations notify the Service Manager within two weeks of the Contract Date of the key person who has the authority to bind the Contractor on their behalf. |  |  |  |  |
| Z2.3 | The Contractor does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Employer having been given to the Contractor in writing. |  |  |  |  |
| Z3 |  | Change of Broad Based Black Economic Empowerment (B-BBEE) status |  |  |  |
| Z3.1 |  | Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change. |  |  |  |
| Z3.2 |  | The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Service Manager within thirty days of the notification or as otherwise instructed by the Service Manager. |  |  |  |
| Z3.3 |  | Where, as a result, the Contractor’s B-BBEE status has decreased since the Contract Date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Service. |  |  |  |
| Z3.4 |  | Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are P1, P2 and P4 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93. |  |  |  |
| Z4 | Confidentiality |  |  |  |  |
| Z4.1 | The Contractor does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time). Should the Contractor disclose information to Others in terms of clause 25.1, the Contractor ensures that the provisions of this clause are complied with by the recipient. |  |  |  |  |
| Z4.2 | If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Service Manager. |  |  |  |  |
| Z4.3 | In the event that the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure. In the event that such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed. |  |  |  |  |
| Z4.4 | The taking of images (whether photographs, video footage or otherwise) of the Affected Property or any portion thereof, in the course of Providing the Service and after the end of the service period, requires the prior written consent of the Service Manager. All rights in and to all such images vests exclusively in the Employer. |  |  |  |  |
| Z4.5 | The Contractor ensures that all his subcontractors abide by the undertakings in this clause. |  |  |  |  |
| Z5 | Waiver and estoppel: Add to core clause 12.3: |  |  |  |  |
| Z5.1 | Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Service Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing. |  |  |  |  |
| Z6 |  | Health, safety and the environment: Add to core clause 27.4 |  |  |  |
| Z6.1 |  | The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the service. Without limitation the Contractor: - accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2014 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Affected Property; - warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of the service; and - undertakes, in and about the execution of the service, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing. |  |  |  |
| Z6.2 |  | The Contractor, in and about the execution of the service, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing. |  |  |  |
| Z7 | Provision of a Tax Invoice and interest. Add to core clause 51 |  |  |  |  |
| Z7.1 | Within one week of receiving a payment certificate from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures stated in the Service Information, showing the amount due for payment equal to that stated in the payment certificate. |  |  |  |  |
| Z7.2 | If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice. Interest due by the Employer in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made. |  |  |  |  |
| Z7.3 | The Contractor (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment. |  |  |  |  |
| Z8 | Notifying compensation events |  |  |  |  |
| Z8.1 | Delete the last paragraph of core clause 61.3 and replace with: If the Contractor does not notify a compensation event within eight weeks of becoming aware of the event, he is not entitled to a change in the Prices. |  |  |  |  |
| Z9 | Employer’s limitation of liability |  |  |  |  |
| Z9.1 | The Employer’s liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand) |  |  |  |  |
| Z9.2 | The Contractor’s entitlement under the indemnity in 82.1 is provided for in 60.1(12) and the Employer’s liability under the indemnity is limited to compensation as provided for in core clause 63 and X19.11 if Option X19 Task Order applies to this contract. |  |  |  |  |
| Z10 | Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it": |  |  |  |  |
| Z10.1 | or had a business rescue order granted against it. |  |  |  |  |
| Z11 |  |  | Ethics |  |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |  |  |  |
| Affected Party |  |  | means, as the context requires, any party, irrespective of whether it is the Contractor or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends, |  |  |
| Coercive Action |  |  | means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally, |  |  |
| Collusive Action |  |  | means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally, |  |  |
| Committing Party |  |  | means, as the context requires, the Contractor, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractors or the Subcontractor’s employees, |  |  |
| Corrupt Action |  |  | means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party, |  |  |
| Fraudulent Action |  |  | means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation, |  |  |
| Obstructive Action |  |  | means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and |  |  |
| Prohibited Action |  |  | means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action. |  |  |
| Z11.1 |  |  | A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof. |  |  |
| Z11.2 |  |  | The Employer may terminate the Contractor’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Contractor did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Employer has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Employer can terminate the Contractor’s obligation to Provide the Services for this reason. |  |  |
| Z11.3 |  |  | If the Employer terminates the Contractor’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2. |  |  |
| Z11.4 |  |  | A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Employer does not have a contractual bond with the Committing Party, the Contractor ensures that the Committing Party co-operates fully with an investigation. |  |  |

Z12		Insurance

Z _12_.1	Replace core clause 83 with the following:

| Insurance cover | 83 |  |
| --- | --- | --- |
|  | 83.1 | When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force. |
|  | 83.2 | The Contractor provides the insurances stated in the Insurance Table A from the starting date until the earlier of Completion and the date of the termination certificate. INSURANCE TABLE A Insurance against; Minimum amount of cover or minimum limit of indemnity. Loss of or damage caused by the Contractor to the Employer’s property; The replacement cost where not covered by the Employer’s insurance. The Employer’s policy deductible as at Contract Date, where covered by the Employer’s insurance.. Loss of or damage to Plant and Materials; The replacement cost where not covered by the Employer’s insurance. The Employer’s policy deductible as at Contract Date, where covered by the Employer’s insurance.. Loss of or damage to Equipment; The replacement cost where not covered by the Employer’s insurance. The Employer’s policy deductible as at Contract Date, where covered by the Employer’s insurance.. The Contractor’s liability for loss of or damage to property (except the Employer’s property, Plant and Materials and Equipment) and liability for bodily injury to or death of a person (not an employee of the Contractor) arising from or in connection with the Contractor’s Providing the Service; Loss of or damage to property The replacement cost Bodily injury to or death of a person The amount required by the applicable law.. Liability for death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract; The amount required by the applicable law.. |

Z __12.2	Replace core clause 86 with the following:

| Insurance by the Employer | 86 |  |
| --- | --- | --- |
|  | 86.1 | The Employer provides the insurances stated in the Insurance Table B |
|  |  | INSURANCE TABLE B Insurance against or name of policy; Minimum amount of cover or minimum limit of indemnity. Assets All Risk; Per the insurance policy document. Contract Works insurance; Per the insurance policy document. Environmental Liability; Per the insurance policy document. General and Public Liability; Per the insurance policy document. Transportation (Marine); Per the insurance policy document. Motor Fleet and Mobile Plant; Per the insurance policy document. Terrorism; Per the insurance policy document. Cyber Liability; Per the insurance policy document. Nuclear Material Damage and Business Interruption; Per the insurance policy document. Nuclear Material Damage Terrorism; Per the insurance policy document. |

| Z13 | Nuclear Liability |  |
| --- | --- | --- |
| Z13.1 | The Employer is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS. |  |
| Z13.2 | The Employer is solely responsible for and indemnifies the Contractor or any other person against any and all liabilities which the Contractor or any person may incur arising out of or resulting from nuclear damage, as defined in Act 47 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Contractor or any other person or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer. |  |
| Z13.3 | Subject to clause Z13.4 below, the Employer waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Contractor or any other person, or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer. |  |
| Z13.4 | The Employer does not waive its rights provided for in section 30 (7) of Act 47 of 1999, or any replacement section dealing with the same subject matter. |  |
| Z13.5 | The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned. |  |
| Z14 | Asbestos |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |
| AAIA |  | means approved asbestos inspection authority. |
| ACM |  | means asbestos containing materials. |
| AL |  | means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4 hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL. |
| Ambient Air |  | means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet. |
| Compliance Monitoring |  | means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |
| OEL |  | means occupational exposure limit. |
| Parallel Measurements |  | means measurements performed in parallel, yet separately, to existing measurements to verify validity of results. |
| Safe Levels |  | means airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |
| Standard |  | means the Employer’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles. |
| SANAS |  | means the South African National Accreditation System. |
| TWA |  | means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4 hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA. |
| Z14.1 | The Employer ensures that the Ambient Air in the area where the Contractor will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM. |  |
| Z14.2 | Upon written request by the Contractor, the Employer certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Contractor may perform Parallel Measurements and related control measures at the Contractor’s expense. For the purposes of compliance the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z14.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan. |  |
| Z14.3 | The Employer manages asbestos and ACM according to the Standard. |  |
| Z14.4 | In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe. |  |
| Z14.5 | The Contractor’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable. |  |
| Z14.6 | The Contractor continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations, 2001. |  |
| Z14.7 | Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Employer at the Employer’s expense, and conducted in line with South African legislation. |  |

C1.2 Contract Data

# Part two - Data provided by the Contractor

Notes to a tendering contractor:

- Please read both the both the NEC3 Term Service Contract April 2013 and the relevant parts of its Guidance Notes (TSC3-GN) in order to understand the implications of this Data which the tenderer is required to complete.

- The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data.

- Where a form field like this [     ] appears, data is required to be inserted relevant to the option selected. Click on the form field once and type in the data.  Otherwise complete by hand and in ink.

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

NB: To be submitted with the tender

| ## Clause | ## Statement | ## Data |
| --- | --- | --- |
| 10.1 | The Contractor is (Name): |  |
|  | Address |  |
|  | Tel No. |  |
|  | Fax No. |  |
| 11.2(14) | The following matters will be included in the Risk Register |  |
| 11.2(15) | The Service Information for the Contractor’s plan is in: |  |
| 21.1 | The plan identified in the Contract Data is contained in: |  |
| 24.1 | The key people are: |  |
|  | 1 Name: |  |
|  | Job: |  |
|  | Responsibilities: |  |
|  | Qualifications: |  |
|  | Experience: |  |
|  | 2 Name: |  |
|  | Job |  |
|  | Responsibilities: |  |
|  | Qualifications |  |
|  | Experience: |  |
|  |  | CV's (and further key person's data including CVs) |
| A | Priced contract with price list |  |
| 11.2(12) | The price list is in |  |
| 11.2(19) | The tendered total of the Prices is |  |

Part 2: Pricing Data

TSC3 Option A

| Document reference | Title |  |
| --- | --- | --- |
| C2.1 | Pricing assumptions: Option A |  |
| C2.2 | The price list |  |

C2.1 Pricing assumptions: Option A

# How work is priced and assessed for payment

Clause 11 in NEC3 Term Service Contract (TSC3) core clauses and Option A states:

| Identified and defined terms | 11 11.2 | (12) The Price List is the price list unless later changed in accordance with this contract. |
| --- | --- | --- |
|  |  | (17) The Price for Services Provided to Date is the total of - the Price for each lump sum item in the Price List which the Contractor has completed and - where a quantity is stated for an item in the Price List, an amount calculated by multiplying the quantity which the Contractor has completed by the rate. |
|  |  | (19) The Prices are the amounts stated in the Price column of the Price List. Where a quantity is stated for an item in the Price List, the Price is calculated by multiplying the quantity by the rate. |

This confirms that Option A is a priced contract where the Prices are derived from a list of items of service which can be priced as lump sums or as expected quantities of service multiplied by a rate or a mix of both.

# Function of the Price List

Clause 54.1 in Option A states: “Information in the Price List is not Service Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price List but in the Service Information.  This is further confirmed by Clause 20.1 which states, “The Contractor Provides the Service in accordance with the Service Information”. Hence the Contractor does not Provide the Service in accordance with the Price List.   The Price List is only a pricing document.

# Link to the Contractor’s plan

Clause 21.4 states “The Contractor provides information which shows how each item description on the Price List relates to the operations on each plan which he submits for acceptance”.  Hence when compiling the price list, the tendering contractor needs to develop his first clause 21.2 plan in such a way that operations shown on it can be priced in the price list  and result in a satisfactory cash flow in terms of clause 11.2(17).

# Preparing the price list

Before preparing the price list, both the Employer and tendering contractors should read the TSC3 Guidance Notes pages 14 and 15.  In an Option A contract, either Party may have entered items into the price list either as a process of offer and acceptance (tendering) or by negotiation depending on the nature of the service to be provided. Alternatively the Employer, in his Instructions to Tenderers or in a Tender Schedule, may have listed some items that he requires the Contractor to include in the price list to be prepared and priced by him.

It is assumed that in preparing or finalising the price list the Contractor:

- Has taken account of the guidance given in the TSC3 Guidance Notes relevant to Option A;

- Understands the function of the Price List and how work is priced and paid for;

- Is aware of the need to link operations shown in his plan to items shown in the Price List;

- Has listed and priced items in the price list which are inclusive of everything necessary and incidental to Providing the Service in accordance with the Service Information, as it was at the time of tender, as well as correct any Defects not caused by an Employer’s risk;

- Has priced work he decides not to show as a separate item within the Prices or rates of other listed items in order to fulfil the obligation to complete the service for the tendered total of the Prices.

- Understands there is no adjustment to items priced as lump sums if the amount, or quantity, of work within that item later turns out to be different to that which the Contractor estimated at time of tender. The only basis for a change to the (lump sum) Prices is as a result of a compensation event.

## Format of the price list

(From the example given in an Appendix within the TSC3 Guidance Notes)

Entries in the first four columns in the price list in section C2.2 are made either by the Employer or the tendering contractor.

If the Contractor is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering contractor enters the amount in the Price column only, the Unit, Expected Quantity and Rate columns being left blank.

If the Contractor is to be paid an amount for an item of work which is the rate for the work multiplied by the quantity completed, the tendering contractor enters the rate which is then multiplied by the Expected Quantity to produce the Price, which is also entered.

If the Contractor is to be paid a Price for an item proportional to the length of time for which a service is provided, a unit of time is stated in the Unit column and the expected length of time (as a quantity of the stated units of time) is stated in the Expected Quantity column.

C2.2 the price list

| Items | Description | Unit | Years/Months | No. of Personnel | Qty - 3Years | Rate | Total amount - 3 Years |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 001 | P&G's |  |  |  |  |  |  |
| 1 | Safety File | Once Off |  |  |  |  |  |
| 2 | Medical | Yearly | 4 | 2 |  |  |  |
| 3 | PPE | Yearly | 3 | 2 |  |  |  |
| 002 | Labour |  |  |  |  |  |  |
| 1 | 2 x Technician 26hrs /month = 312 Hrs per year @ 936hrs in 3years | Hrs |  | 2 | 936 |  |  |
| 2 | Travelling | sum |  |  |  |  |  |
| 003 | Supply & Maintenance - As and when needed |  |  |  |  |  |  |
| 1 | Software ,Licence for more users multiple users, PC runningon windows 2000 and HD 16 Channel NVR | Sum |  |  |  |  |  |
|  | Sub-total |  |  |  |  |  |  |
| 004 | Security System Spares |  |  |  |  |  |  |
| 1 | Controllers CR391 | ea |  |  | 9 |  |  |
| 2 | 43-inch Cctv monitors | ea |  |  | 3 |  |  |
| 3 | 65-inch Cctv monitor | ea |  |  | 1 |  |  |
| 4 | AI Camera Traps SEISSIGER-S378E | ea |  |  | 5 |  |  |
| 5 | Battery Backup units 220VAC 3.2 AMP Complete with 7ah Battery | ea |  |  | 4 |  |  |
| 6 | Fixed Dome Smart Hybrid Light IP67 Cameras | ea |  |  | 8 |  |  |
| 7 | Complete Wireless Links 5GHz 433Mbps | ea |  |  | 20 |  |  |
| 8 | Front End CR375 | ea |  |  | 4 |  |  |
| 9 | Controller PSU | ea |  |  | 10 |  |  |
| 10 | Regulator 5V | ea |  |  | 20 |  |  |
| 11 | DTC150e Card Printer | ea |  |  | 1 |  |  |
| 12 | Ribbon DTC 1000/DTC1250e | ea |  |  | 50 |  |  |
| 13 | Ribbon DTC 1000/DTC1250e cleaning kit | ea |  |  | 10 |  |  |
| 14 | 81759 PVC Cards 500 pack - Adhesive Back=R9 each | ea |  |  | 8 |  |  |
| 15 | 100 Full HD Webcam Graphite camera | ea |  |  | 2 |  |  |
| 16 | 50m roll - Traffic Inductive Loop Vehicle Detector Induction Coil Wire Cable | roll |  |  | 4 |  |  |
| 17 | Automatic Industrial Vehicle Barrier Boom Gate 4 meter | ea |  |  | 8 |  |  |
| 18 | Boom carriers Torgue Motor 10rpm | ea |  |  | 5 |  |  |
| 19 | PTZ cameras IP66 | ea |  |  | 5 |  |  |
| 20 | Double-door access controllers | ea |  |  | 5 |  |  |
| 21 | CR375 with LCD & Prox reader, no keypad | ea |  |  | 5 |  |  |
| 24 | 8MP 2.8mm Fixed Dome Network Camera | ea |  |  | 5 |  |  |
| 25 | Titan single full height turnstile 3 arm | ea |  |  | 1 |  |  |
| 26 | Value Series Face Access Terminal with 4.3-inch Touch Display DS-K1T341CMFW | ea |  |  | 5 |  |  |
| 27 | Maglock Indoor 300lbs 136Kg 12VDC | ea |  |  | 5 |  |  |
| 28 | electronic Door strikes 25MM A/C | ea |  |  | 10 |  |  |
| 29 | No Touch to Exit Button 12 VDC | ea |  |  | 12 |  |  |
| 30 | Push button 12VDC | ea |  |  | 12 |  |  |
| 31 | Light duty Door Closers 25-45 KG Hold Open | ea |  |  | 12 |  |  |
| 32 | Intercom 4But 1.3MP station | ea |  |  | 2 |  |  |
| 33 | 16-ch 1U 16 POE AcuSense 4K NVR | ea |  |  | 2 |  |  |
| 34 | NVR-256Mbps Bit Rate Input Max( up to32-ch IP Video), 8 SATA Interface, Up to 10TB per HDD, alarm IO 164( 168optinal),2U | ea |  |  | 1 |  |  |
| 35 | Digital Surveillance hard drive -10TB | ea |  |  | 6 |  |  |
| 36 | 4 MP Fixed Turret Network Camera, High quality imaging | ea |  |  | 22 |  |  |
| 37 | 9U Cabinet c/w Fan, Power | ea |  |  | 2 |  |  |
| 38 | 23 HD LED Monitor | ea |  |  | 2 |  |  |
| 39 | HDMI Braided Cable 2.0 4K | m |  |  | 20 |  |  |
| 40 | Smart managed, 24 PORT 10/100m RJ45 PoE Ports | ea |  |  | 5 |  |  |
| 41 | 8 Port Gigabit Ethernet Ai Poe Switch With 2 Sfp Uplink (8 Port 10/100/1000) | ea |  |  | 12 |  |  |
| 42 | Network Ethernet Cable Cat6 | m |  |  | 100 |  |  |
| 43 | Digital Fibre Optical Patch Cable Single Mode with optical SC-SC connectors cable length, dust cap protection, for Ethernet/LAN/Data center use | m |  |  | 100 |  |  |
| 44 | Tower Core i7-14700 16GB RAM 512GB SSD Win 11 Pro Desktop PC. | ea |  |  | 2 |  |  |
| 45 | Complete Brush Panel 1U 19 for IT , systems devices | ea |  |  | 4 |  |  |
| 46 | 16 Channel Turbo HD DVR M1 | ea |  |  | 2 |  |  |
| 47 | Panic Button with 1 Channel built in receiver 433Mhz dip switch type and remote | ea |  |  | 6 |  |  |
| 48 | Electronic Key Management Touch Pro S key cabinet accommodate up to 60 key sets | ea |  |  | 1 |  |  |
| 49 | R6550 X-Ray Baggage Scanner with multi-energy screening solution tunnel of 654mm wide x 505mm height. | ea |  |  | 2 |  |  |
| 50 | MD24 Walk-Through Metal Detectors | ea |  |  | 2 |  |  |
| 51 | DT SML Divestment Trays 340 (L) x 287 (W) x 120 (H) mm | ea |  |  | 5 |  |  |
| 52 | DT LRG Divestment Trays 507.5 (L) x 407.5 (W) x 122 (H) mm | ea |  |  | 5 |  |  |
|  | Sub-total |  |  |  |  |  |  |
|  | TOTAL AMOUNT IN 3YEARS |  |  |  |  |  |  |

Part 3: Scope of Work

C3.1: Employer’s service Information

Executive Summary

The increasing threat to the safety and security of people, information and assets is impacting Eskom operations and its ability to deliver a world class service, and in turn, public confidence in Eskom. The safety of people and the integrity of information and assets is a key priority in Eskom.

An Integrated Access Control System is a combination of business processes, policies and technologies that will allow the organization to provide secure, scalable, and robust future-proof solutions that are able to flexibly be deployed as security requirements evolve. The Integrated Access Control System is aimed at improving and effectively managing physical access control and physical security at Eskom sites. The purpose of the integrated system is also to allow users the ability to achieve maximum benefit from each individual system whilst reducing the time, cost as well as risk that comes with operating and maintaining several individuals, stand-alone systems.

Access control is about  managing access rights of individuals, visitors into various sites and facilities. It is about granting and limiting permissions to Employees, visitors, contractors in and out of various areas, e.g., secure, and non-secure areas and how these must be managed. This includes lockdown of facilities, lockout of facilities, emergencies, etc.

An Integrated Access Control System is a solution that consists of hardware and software designed to control entry into selected areas and manage movement of people/vehicles within. The system must be agnostic to the choice of field equipment technologies as well as the type of data carriers/ credentials for system users.

The main components of an Integrated Access Control System are the system software, electromagnetic hardware, electronic hardware, and systems users.

Content

1.		INTRODUCTION

2.		SUPPORTING CLAUSES

2.1		Objectives

2.1.1	Purpose

2.1.2	Applicability

2.1.3	Effective date

2.2		Normative/Informative References

2.2.1	Normative

2.2.2	Informative

2.3		Definitions

2.4		Abbreviations

2.5		Roles and Responsibilities

2.6		Process for Monitoring

2.7		Related/Supporting Documents

3.		SCOPE

3.1		General

3.2		Corrective Maintenance

3.3		Defects

3.4		Preventative Maintenance

3.5		PC based Master, slave, and Client PC

3.6		Cameras/Housing

3.7		Monitors

3.8		Alarm Systems

3.9		Power/Cabling

3.10	Maintenance service shall include:

3.11	Infrequent Maintenance

3.12	Operating, Maintenance and Control Philosophies

3.13	Storage of Materials

3.14	Spares and Vendor List

3.15	Supports on System

3.16	Training

3.17	Performance

3.18	Completion

3.19	Tests and Quality Criteria

3.20	Representatives

3.21	Mandatory Technical Evaluation Criteria

3.22	Special condition for bid

3.23	Bill of quantities/ Spares

3.24	PPE Requirements

3.25	Vehicle

3.26	Contingency Plan

3.27	Th working times.

3.28	Safety Requirements

3.29	Non-Performance

3.30	Employer’s requirements for the Service

3.31	Quality Requirements

4.	ACCEPTANCE	20

5.	REVISIONS	20

6.	DEVELOPMENT TEAM	20

7.	ACKNOWLEDGEMENTS	20

- INTRODUCTION

Maintenance of the Security Surveillance and Monitoring system will be required by the Employer to ensure reliability and availability of the system. The availability of this system is the ratio of the expected value for uptime of the Security Surveillance and Monitoring system to the aggregated of the expected values of up and down time. It is crucial that the value of downtime is minimized, such that the availability of the Security Surveillance and Monitoring system is 95% or better.

The Contractor is required to do frequent and periodic maintenance on the system. The equipment may be checked, serviced, and adjusted as required for proper operation, three times monthly or as required on a fix on fail situation. The contractor shall maintain the system in good operating condition and make all repairs and adjustments to the equipment to function as intended.

- SUPPORTING CLAUSES

  - Objectives

To set up a maintenance contract for the maintenance of the security system and CCTV Cameras for high reliability and availability, and to correct problems and defects that occurs on the system in the shortest possible time.

To provide maintenance services as well as consumables and spares as and when needed that meets the requirements of Komati Power Station.

To attend to breakdowns and repairs occurring on the system, to carry out upgrades and changes in software versions.

2.1.1	Purpose

Purpose of this document is to outline the scope of work for the maintenance of the existing Security Surveillance and Monitoring system at Komati Power Station.

2.1.2	Applicability

This document shall apply Komati Power Station.

2.1.3	 Effective date

The document will be effective the date the Approver / Authoriser signs.

2.2	Normative/Informative References

Parties using this document shall apply the most recent edition of the documents listed in the following paragraphs.

2.2.1	Normative

[1]	ISO 9001 Quality Management Systems

[2] 443 Security Management Framework

[3] 	PAB20569 – Security Control Room Operations

[4] Safety, Health and Environment Policy, 32-94

[5] Eskom Life Saving Rules 240-62196227

2.2.2	Informative

[2]	National Key Points Act 102 of 1980

[3]	MISS document

[4]	NKP directive

[5]	Private Security Industry Regulation Act 56 of 2001.

[6]	Criminal Procedure Act 51 of 1977

[7]	Protection of Personal Information Act 4 of 2013

2.3	Definitions

Access control system (ACS): The system used to primarily control access of personnel entering and leaving the secure areas on the power station. The secondary purpose of the system is to capture/log the time of entering and provide reports in various formats to assist with time management and control.

Server: A PC with the required software and networking programs and protocols where the master data base resides.

Controller: A hardware module that contains the intelligence to communicate with the server and obtain information from the data base to make decisions whether a person is allowed on site or not. This decision will then open a gate, boom, or turnstile.

Scanner: A hardware reader that scans a proximity card with the information of the carrier.

Proximity Card: A unique credit like card with a photo printed on it identifying the carrier of the card.

Overview of the Works

2.5	Roles and Responsibilities

None

2.6	Process for Monitoring

Security Systems Officer in conjunction with the Security Manager and the Contract manager   will monitor adherence by the service provider on a daily basis. This will be done by conducting random checks and audits on registers and systems.

Internal and external Audits will be conducted annually to ensure compliance to this procedure, corrective action shall be taken where deviations or non-adherence to the procedure is identified.

2.7	Related/Supporting Documents:

‘Not applicable’

- SCOPE

3.1	General

The scope of work that will be carried out will include preventative maintenance to ensure performance of the Security Surveillance and Monitoring system as well as corrective maintenance requirements that may arise. It is therefore required that the system is operational all time (at least 95% operational) for the safety in the plant as well as the employees.

The Works consists of Periodic Maintenance required to be carried out on the system to ensure a high level of availability that will increase the system integrity.

This agreement shall be for a period of 36 Months from the contract commencement date. Intention to cancel the agreement by The Contractor or the USER shall be given notice in writing, of not less than 90 (ninety) days, prior to the expiry of any such period.

3.2	Corrective Maintenance

This service is a three (3) days per month maintenance agreement on surveillance and monitoring equipment.

The service provides for the repair and replacement of defective components or sub-assemblies and includes all travel, travel time and on-site time.

The equipment must be checked, serviced, and adjusted as required for proper operation, at monthly intervals or as required on a fix on fail situation or as determined by The Contractor in its discretion.

All maintenance charges shall be payable by the USER monthly 30 days after invoice is received without deduction.

In the performance of its obligations under the Maintenance Agreement, and provided that the USER shall have complied with the operating instructions for the equipment as stipulated by The Contractor, The Contractor shall maintain the equipment in good operating condition and make all repairs and adjustments to the equipment to function as intended.

All defective parts replaced or repaired remain the property of The Employer.

Work performed in terms of this Agreement shall be done during normal working hours, which is defined to be the hours of 07H15 to 16H00.

3.3	Defects

Repair all defects logged in the defects register.

The following shall apply to the successful tenderer:

	Working time will be Eskom working time.

	A timesheet kept by Eskom will be signed by the technician and his assistant on every day of maintenance.

	Job cards to be handed and signed off by Eskom supervisor after every day of maintenance.

	No payment shall be processed in the absence of a job card.

	Hours worked will only be paid for if signed by an Eskom supervisor.

	Travelling must be included in the tendered price.

	The contractor must supply his people with PPE.

	No personnel is allowed to travel in the back on an LDV

	Life Saving rules shall be applied to personnel and contractors working on Eskom premises.

3.4	Preventative Maintenance

DVR (Digital Video Recorder)

	Check all DVRs monthly and ensure that they are online and recording.

	Check all DVRs monthly and ensure that there is enough free space on the DVRs for recording.

	Ensure the DVR cabinet is clean monthly.

	Check and set the time on various DVRs so that it is aligned to the access control system time monthly.

	Do general fault finding and repair or make recommendations.

  - PC based Master, slave, and Client PC

	Check and ensure that all PC’s are online and recording.

	Check and ensure that there is enough free space on the HDD’s for recording and is free of any faults.

	Ensure the PC cabinet is clean.

	Check and set the time on various Pc’s so that it is aligned to the access control system time.

	Do general fault finding and repair or make recommendations.

	Check that all cabling is correctly plugged in.

	Mouse keyboard and Screen is working.

	Ensure that all cameras are displaying in the Security control room client screens.

3.6	Cameras/Housing

	Focus, align cameras, and ensure camera lens is dust free on every day of maintenance when 
       necessary.

	Cleaning of cameras on every day of maintenance.

	Ensure that all critical cameras remain and are displayed on the control room screens.

	Do general fault finding and repair or make recommendations.

	Check and ensure that the interior of camera enclosure is clean and dry on once monthly

	Check and ensure the pan tilt and zoom focus is operational for all PTZ cameras.

	Always ensure camera field of view is adjusted according to customer’s requirements.

3.7	Monitors

Ensure all monitor’s picture is free from distortion on every day of maintenance.

	Ensure proper contrast and brightness on all monitors.

	Do general fault finding and repair or make recommendations.

	Clean all monitor screens, control panels, and keyboards on every day of maintenance.

3.8	Alarm Systems

	Check and ensure that all alarm systems are functional and correctly received by the control room.

	Do general fault finding and repair or make recommendations.

3.9	Power/Cabling

	Do general fault finding and repair or make recommendations on every day of maintenance.

	All UPS and their batteries to be inspected on every day of maintenance.

	Check the cabling on the fence cameras to ensure they are secure and in good condition.

	Check all power connections and ensure AC plugs are not loose on every day of maintenance and   
       ensure that all cables are properly dressed.

3.10 Maintenance service shall include:

	Breakdowns and repairs occurring during normal working hours.

	Upgrades and changes in software versions.

	The ensuring of backups and keeping such backups in a safe place.

	The ongoing training of staff in the correct operating procedures of the software and hardware

	Doing software maintenance such as creating new users and/or system layouts.

	Moving or removing of equipment or attachments thereto as may be required for maintenance.

	purposes.

	The servicing and replacing of parts as required during normal maintenance periods as a result of wear 
       and tear or breakdown.

	Cost for repairs to equipment or new parts will be for the Employers account.

3.11	Infrequent Maintenance

	The purpose of infrequent maintenance describes work that is not covered under normal routine maintenance. This type of maintenance will happen on call out bases or for the supply of consumables and will not form part of the fixed monthly charges, but will be invoiced for, based on a fixed rate per item.

	Call-outs, breakdowns and repairs occurring after normal working hours.

	A request for a callout during these hours must be placed an after-hours logging service, who will log the date and time of call and contact the standby support person,

	Changes or alterations in equipment location or operation may be requested by the USER.

	The Contractor shall supply consumables for the necessary running of the whole system as priced in the price schedule.

	Equipment damaged by lightning, directly or indirectly as assessed by The Contractor in its professional 
      opinion.

  - Operating, Maintenance and Control Philosophies

	Equipment damaged by neglect or wilfully.

	Operator System upgrades on software

	Customization of Software reports.

3.13	Storage of Materials

	The Contractor ensures that during the period between arrival at site and doing maintenance, all 
      materials and parts of the plants are suitably stored on site in such an approved manner as to prevent 
      damage by weather, fire, manhandling, corrosion, theft, etc.

	The cost of providing the necessary protection, storing, handling, security, etc. is borne by the Contractor 
       for the duration of the contract.

3.14	Spares and Vendor List

	The Contractor provides a complete list of spares required with their part numbers, quantities and prices to the Employer. The Employer approves the spares list. The spares listed on the Employer approved spares list are provided by the Contractor as part of the Works and paid for by the employer.

	The Employer carries sufficient spares as per the OEM’s recommendation for the maintenance period.

3.15	Supports on System

All existing manuals and documentation are upgraded and/or replaced by the Contractor to represent the version of software and hardware as installed at all times.

The format, content, layout, and quality of all documentation is to be approved by the Employer.

The Contractor provides the following documentation:

	Software license certificates where needed.

	Hardware manuals.

	Software manuals.

	Specialised item manuals where appropriate.

	Recommended spares list.

	Training Schedule for protective service personnel

	The Contractor provides additional or amended pages, sufficient for all copies of manuals and drawing 
       sets to ensure that they are complete with the details of modifications made up to the time when this 
       agreement comes to term.

3.16	Training

All training is in the form of "on-the-job" training and will be of such a standard that the Employers personnel is trained to carry out total maintenance, fault finding and reconfiguring of the complete system by end of contract.

A training program must be signed off by the employer’s representative to indicate that the training was satisfactory.

Results to be achieved.

The reliability, availability and maintainability of the system are of critical importance.

Availability

The Contractor guarantees that the whole system (both hardware and software) have availability equal to, or better than, the availability calculated from the MTBF, MTTD and MTTR figures referred to below.

For the whole system, the Employer requires the following minimum requirements:

MTBF = 1`000 hours (± one failure in twelve months)

MTTD = 1 hour

MTTR = 24 hours (this includes for personnel call out, investigation time, repair time and return to service to full operational condition).

Should any component fail more than once in the specified MTBF period, the Contractor replaces such components or units, without cost to Eskom.

3.17	Performance

The Contractor guarantees that the system performs in line with the Employer's performance 
            requirements.

3.18	Completion

At the time when this contract comes to term The Contractor demonstrates that the system operates 
            as supplied at installation or better

3.19	Tests and Quality Criteria

The Contractor develops a complete plan for testing, and quality checks to be performed every time 
              maintenance is carried out on the system, which is approved by the Employer.

3.20	Representatives

The Employer reserves the right to appoint a representative or representatives from the Engineering and Maintenance Departments to inspect all parts during maintenance and to be present at any of the tests specified. Such witnessing of tests by the Employer does not relieve the Contractor of his contractual responsibilities.

Employer’s requirements for the service

	The Service Provider must be registered with PSIRA.

	Personnel must also be registered with PSIRA.

	The Service Provider needs to comply with the Construction Regulation as set out in the NEC3 Contract.

	All personnel shall, while on duty, be in full, clearly identifiable uniform.

Additional Conditions

	This contract, once accepted and signed will be valid for 36 months

	The contract will not be paid if they fail to do maintenance as prescribed in the contract

	Before the entire compliment will be allowed on Site at Komati Power Station, the service provider will be required to hand over certified copies of the following documentation to the Security Manager at Komati Power Station:

	Security Screening certificate (Criminal Clearance Certificate)

	School qualifications

	Relevant qualifications related to the service.

	Contractor personnel shall, while on duty be in full clearly identifiable uniform

	Contractor personnel shall adhere to the rules and regulations of Komati Power Station

	Contractor personnel shall undergo safety induction training at Komati Power Station

	Contractor personnel must attend site orientation before commencement of their duties, as part of Eskom Safety Requirements

	Risk assessment must be conducted, discussed and documentation to be completed after discussions.

	Compliance to Eskom Health, Safety, Quality and Environment requirements.

3.21	 Mandatory Technical Evaluation Criteria

Mandatory Technical Evaluation Criteria: Security System Maintenance

The following minimum requirements shall be assessed as part of the desktop evaluation. Only suitable when technical evaluation score is above 80%.

EVALUATION	Allocated points	Points obtained

Mandatory Requirements:

•	Provide a valid PSIRA certificate for the company

•	Provide a valid PSIRA letter of a good standing

•	Certified copy of a Company registration certificate in the name of the company and company registration number.

•	Provide COID letter of good standing (not older than 12 months from date of issue)

•	Provide proof of UIF compliance certificate (not older than 12 months from the date of issue)

•	Provide proof of public liability insurance min R15m (letters of intent will not be accepted)	Compulsory(ALL OR NOTHING) 25

Valid Lease Agreement. Dates must be valid at the time of tendering. Alternatively proof of ownership of building in the company’s name must be submitted. Up to date Municipality accounts for the building(s) to be submitted.	15

Proof of references for similar services rendered:

Two (2) Reference letters from clients (preferably Eskom) signed by the Manager or any other senior official of similar standing in the company for which the service were provided, in the company’s letter letterhead. 	20

Criminal check records as proof that the personnel have not been convicted of any criminal offense or proof that the process for criminal checks has commenced.	20

Relevant qualifications and experience (CV) of the technician and assistant, including their ID copies.

	Grade 12

	South African Identity

	Psira registration

	Technician Training Certificates

Relevant detailed knowledge and experience	20

Total score	100

Special condition for bid

Eskom reserve the right to approach the authorities to verify the following for each bidder:

•	Individual citizenship status

•	Company status

•	Criminal records

•	Previous tender and track records

•	Government employment status

•	Company ownership status

•	Qualifications of bidders and team member

- The Service provider must notify at least one month in advance, his intentions to withdraw and replace supervisors & safety officer. During this notice period the service provider must find the replacement.

- The contractor to comply with Eskom & statutory requirements.

- The contractor must provide SDS for all chemicals to be used at Komati and SDS to comply with the requirements of the Occupational Health & Safety Act no. 85 of 1993 and regulations.

- The contractor to comply with all environmental legislations that govern the power station activities: National Environmental management Act: 107 of 1998, National Environmental Waste Act 59 of 2008 and National Water Act 36 of 1990.

- Waste to be disposed in accordance with the station colour code. Report all environmental incidents within 24 hrs.

- Manage waste generated in accordance with the station Waste Management and Disposal procedure, PAB20100.

## Interpretation and terminology

The following abbreviations are used in this Service Information:

| Abbreviation | Meaning given to the abbreviation |
| --- | --- |
| PPE | Personal Protective Equipment |
| OHS | Occupational Health & Safety |
| SDS | Safety Data Sheet |
| SHEQ | Safety, Health Environment & Quality |
| LoG | Letter of Good Standing |
| PPE | Personal Protective Equipment |
| GSR | General Safety Regulations |

# Management strategy and start up.

## The Contractor’s plan for the service

Before the Contractor can start with the work, they must submit their working plan to the Service Manager.

## Management meetings

Regular meetings of a general nature may be convened and chaired by the Service Manager as follows:

| Title and purpose | Approximate time & interval | Location | Attendance by: |
| --- | --- | --- | --- |
| Kick off Meeting | Before commencement of the service | Komati Power Station | Employer and Contractor |
| Risk register and compensation events | Monthly on Monday at 08:00 | Komati Power Station | Employer and Contractor |
| Overall contract progress and feedback | Monthly on Monday at 08:00 | Komati Power Station | Employer and Contractor |

Meetings of a specialist nature may be convened as specified elsewhere in this Service Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the service.  Records of these meetings shall be submitted to the Service Manager by the person convening the meeting within five days of the meeting.

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.

## Contractor’s management, supervision, and key people

Contractor must submit organogram to the Service Manager.

- The Contractor submits an organogram clearly depicting his/her people and their line of authority/ communications.

- The Contractor to appoint a SHE Officer in writing in line with the OHS Act 85 of 1993

- The Contractor will be required to appoint qualified\ competent personnel to perform certain tasks to mitigate injuries and\or hazards.

## Documentation control

All contractual communications will be in the form of properly compiled letters or forms attached to emails and not as a message in the e mail itself. All communications will be in English and written communication will have company’s logo and signed by the Contractor. All communication must be documented and kept safely. These standard forms must be used in communication:

- Tasks Order

- Non-conformance forms (NCR)

- Early warning forms

- Eskom meeting forms

- Termination certificate

- Payment certificate

- Assessment certificate

- Purchase Order (PO)

- Acceptance of scope of work forms.

- Close out forms

- Customer Satisfaction Survey Forms (KPI’s ratings)

## Invoicing and payment

Within one week of receiving a payment certificate from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice showing the amount due for payment equal to that stated in the Service Manager’s payment certificate.

The Contractor shall address the tax invoice to

_________________________

and include on each invoice the following information:

- Name and address of the Contractor and the Service Manager;

- The contract number and title;

- Contractor’s VAT registration number;

- The Employer’s VAT registration number 4740101508;

- Description of service provided for each item invoiced based on the Price List;

- Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

- (add other as required)

Procedure for invoice submissions and payment:  All invoices to be submitted electronically with payment instruction to: invoiceseskomlocal@eskom.co.za

## Contract change management

- All changes to the Contract, such as Services Managers change or Contractors Representative; Compensation events shall be communicated through standard NEC TSC3 forms.

- The Service Manager issues a Task order to the Contractor to authorise the execution of work.

- In the event where it is identified that there is additional work to be done outside the scope of work on the Task Order, the Contractor will give the Service Manger an early warning with a written quotation.

- If agreed, the Service Manager issues a revised Task Order or additional Task Order.

- The Contractor starts the work on the starting date of the task order.

- The Task Order is signed by both the Service Manager and the Contractor before work commences.

## Low Service Damage

The low service damages will be applicable if the provision of security system maintenance is affected by unavailability of resources. The following process and damages will apply:

- The delay(s) will be reported to the contractor as soon as the Employer becomes aware of the delay(s).

- The Contractor will notify the Employer at least 24 hours in advance.

- The damages are capped at a maximum of 10% of the total of the task orders raised for that month.

## Training workshops and technology transfer

## The Contractor is to ensure that all the employees used are trained. The training must meet the requirements stated in clause 1.6 labour requirements.

## Management of work done by Task Order

- All work must have the task order before any work can start issues by the Service Manager to the Contractor.

- A Task Order is the instruction to commence work.

- No work shall commence until a Task Order is issued and has been finalised, accepted, and signed by both the Employer and Contractor.

- All work will be issued on a Task Order system. The Work Order and Purchase Order will be created via the SAP PM system.

- Task Orders are issued for all activities. Assessment of work will be conducted after work has been completed. Proof for assessments to be supplied to the Service Manager.

# Health and safety, the environment and quality assurance

## Health and safety risk management

- Contractor to comply with the latest version of Occupational Health and Safety Act No. 85 of 1993; National Health Act, 61 of 2003; Fire Brigade Act, 99 of 1987; Health Professions Amendment Act, 29 of 2007; 32-124 Eskom Fire Risk Management; 32-108 Fire Fighting Organization;32-128 Personnel Protective Clothing & Equipment for Fire Fighters; Eskom Life Saving Rules: 240-62196227; other applicable legislation, Eskom SHEQ policy, ISO 45001:2018 Standard, and other applicable procedures, specifications and guidelines including the provided project SHE specification.

- The contractor shall, before commencement of the project ensure that all their employees

are familiar with the relevant Eskom (Komati Power station) OHS documentation that is

applicable to contract services.

- The Main contractor shall be registered with an appropriate employment compensation

commissioner and have available a valid letter of good standing (LoG) from such

commissioner. The obligation lies with the contractors to ensure that the LoG remain valid

throughout the contract period. A copy of the LoG must be filed in the contractor OHS files.

The costing for OHS must be itemised based on the overall scope of the project (i.e.)

Training, PPE, Medical, OHS human resources, OHS file etc. no lump sum allocation for

OHS costing will be accepted.

- Eskom places a high value on health and safety and urges every organization that

undertakes work for Eskom to do the same. Eskom has developed five life-saving guidelines that will apply to all Eskom employees, agents, consultants, and contractors. Any employee of a Main Contractor who fails to follow these rules would be deemed a serious violation. These rules are in place to protect any employee, labour broker, or contractor working from significant injury or death. If any contractual work (including delivery of any product) is to be undertaken on

Eskom premises, the rules shall be obeyed by any contractor and their employees. Noncompliance to Life-saving rules is regarded serious misconduct and will result in serious disciplinary action, which may include dismissal.

- Alcohol and substance abuse are serious threats to any business, especially when it

comes to workplace accidents and car driving. As a result, Eskom has the right to take

reasonable procedures to identify and prohibit drunk people from entering the company. General Safety Regulation 2A specifies the legal position on intoxication. The allowable alcohol and drug level is 0%. All contractors must follow Eskom's procedure 32-37 ("Substance Abuse Procedure"),

considering that this is an Eskom Life-saving Rule number 4: (BE SOBER"), and anyone entering the Eskom site will be subjected to ad hoc alcohol testing if the BU has self-alcohol

testing equipment. Contractors are invited to develop their own manual and test their own employees for alcohol on a regular basis. Test results must be marked "Confidential" and kept in the employee's personal file. Eskom's life-saving rules must be included in the induction process. All employees involved in the scope of work must sign the Life-saving rule pledge before

commencement of work.

- It is a legal requirement in terms of Section 8 (2)(d) of the OHS Act for an employer to carry

out risk assessments, to establish which risks and hazards are attached to the health and

safety of persons due to any work which is performed, any article or substance which is,

handled, stored, transported. A risk assessment is defined as an identification of the hazards

present in the activity, work, site, and an estimate of the extent of the risks involved,

considering whatever precautions are already being taken.

It is essentially a three-stage process:

  - identification of all hazards.

  - evaluation of the risks.

  - Measures to control the risks.

Risk assessments are required to be maintained. This means that significant changes to a

process or activity, or any new process or activity should be subjected to a risk assessment

and that if new hazards come to light during the work process, then these should also be

subjected to risk assessments. Risk assessments for long term processes should be

periodically reviewed and updated. Method statements or written safe work procedures are

an effective method as information and record of the way jobs / tasks must be performed.

Daily or issue based or task specific or on the job risk assessments must be conducted at

the place where work is to be performed/ conducted to allow managers and employees to

assess any inherent risks that could have been overlooked during the initial risk assessment

or any changes that might have occurred in a period of absence. For example, if a job / task

is extended over a day or halted due to inclement weather. Baseline risk assessment must address Activities while clearly stating whether those activities are routine or non-routine, Hazards, risks, Consequences/Effects; Control Measures, pure risk rating; additional controls; latent risk rating and Legal and other requirements for each risk.

- There must be written safe work procedures for all activities, the safe work procedures must

be aligned with the risk assessments. Method statements / written safe work procedure are

control measures used to prevent an incident from occurring during the execution of the

project. A written safe work procedure/ method statements provide guidance how to execute

the task safely.

- First aid appointments must be made to meet the legal requirements. Appointees must

be trained to at least unit standard 120496 in line with Department of Employment and Labour notice in relation to first aid training and the training service provider must be

registered in accordance with section 26(1) of the Skills Development Amendment Act,

Act No. 37 of 2008.

- A meeting must be held prior to the commencement of the day’s work with all relevant

personnel associated with the work task in attendance. The job, relevant procedures,

associated hazards, safety measures, i.e., the task risk assessments shall be discussed.

Each employee who attends the briefing shall sign an attendance list of that pre-job brief

form undertaking that they understand the tasks, risks and control measures required. Where possible, toolbox talks can be included in the pre-job brief meetings. If this does

not occur, then weekly toolbox talks must be conducted. The toolbox talk topics will be

based on OHS issues pertaining to the project site. The topic and the contents shall be in

writing. Attendance registers with the topic listed shall be kept.

- Where possible, toolbox talks can be included in the pre-job brief meetings. If this does

not occur, then weekly toolbox talks must be conducted. The toolbox talk topics will be

based on OHS issues pertaining to the project site. The topic and the contents shall be in

writing. Attendance registers with the topic listed shall be kept. The scope of training includes but is not limited to the type of work being performed and the relevant procedures. Additional to the requirements, will be that the Main contractor must have the appropriate qualifications, certificates and employees should always be under competent supervision. Where legislative and Eskom recommended appointments are made, the relevant training shall be given to those appointees prior to the acceptance of those appointments. Appropriate time must be set aside for training (induction and other) of all employees. Records of all training and qualifications of all contractor employees must be kept on the OHS file. Contractor must provide OHS training matrix based on the scope, legal requirements, other requirements and all personal who will be engaging on this project must be reflected on such training matrix.

- The contractor must induct employees based on their organisation and OHS related matters

associated with the maintenance of the security surveillance and monitoring system project,

- thereafter the contractor is required to decide with the Business Unit for its employees to

attend induction to be granted permission to access site. Visitors to the site shall be required to undergo and comply with the Eskom site-specific safety induction prior to being allowed access to site.

- The Main contractor will be required to ensure that before an employee commences work on

- The project/site, the respective supervisor informs the employee of his scope of authority, the

hazards associated with work as well as the control measures to be taken. This will include

man-job specifications, the discussion of any task procedures or hazardous operational

procedures to be performed by the employee. The Main Contractor is to ensure that the

supervisor has satisfied himself that the employee understands the hazards associated with

the work to be performed by conducting task/job observations.

- All contractors shall maintain a high standard of housekeeping within their sites and

vehicles for the duration of the project/contract.

- Wherever reasonably practicable, preference is given to the performance of work at ground

level as opposed to the elevated position. Where work in an elevated position is necessary,

preference is given to fall prevention measures such as, but not limited to, effective

barricading and the use of work platforms. Persons may only work from a fall risk position if

a site-specific fall protection plan developed by the appointed competent person (as per 32-

418 procedure) is in place and correctly implemented.

- The Main Contractor shall ensure that all their employees working at height must be

competent in working at height including the rescue team that will be utilised during

emergencies. Training provided for working at heights should be in accordance with the

relevant unit standards. As a minimum, individuals who will be performing work at heights and are not responsible for rescues must undergo three days FAS training (Unit Standard 229998). And the

rescuers must further undergo two days rescue training in accordance with unit standard

229995. The principal contractor or contractor must identify further trainings (e.g.,

Advanced rescue US229999) applicable to the employees work area. Once these employees have successfully completed classroom theoretical and practical training provided by the training provider, each employee must undergo on the job training on every task which is going to take place when working at height. These people need to be declared competent and fit to perform each task. A contractor shall ensure that the designated person for the development of a fall

protection plan undergoes appropriate training based on unit standard 229994.

- The Main contractor shall provide the planned task observation procedure or process.

- The CEO (16.1) or Assistant to the CEO(16.2) from the Main contractor shall lead the site

walk downs with the Supervisors to demonstrate their commitment towards SHE matters.

These sites walk downs will be used to identify both strengths and areas for improvement

regarding SHE issues. Site Walk downs will be documented, inclusive of an action plan to

close out all deviations noted during such a walk-down.

- The Contractor’s OHS Manual will be audited against compliance checklist to verify

compliance to the requirements of the Eskom OHS specifications. Once there is compliance

only then will the Main contractors OHS Manual be approved by the project manager or an

appointed Eskom contract custodian. The implementation of the OHS Manual shall be

assessed / audited by Eskom personnel on a regular basis. This will include physical

conditions evaluation. Eskom shall evaluate all contractors OHS performance on an ongoing basis against the legal, Eskom requirements, OHS specification and the contractors OHS Manuals. There will be quarterly audits conducted by Eskom on the Main contractor. These audits

shall be attended by the contractor’s site manager or his representative. If there are any findings / non-compliance identified as serious in these audits, an activity will be stopped for that specific Main Contractor. Refer to section on “Work Stoppage” in this OHS Specification.

- Main Contractors are required to conduct internal audits on their OHS manual and

implementation of OHS Manual on a monthly basis or when the scope of work changes. A

summary of the findings and the proposed corrective actions shall be submitted to Eskom

project manager within one week after completion of the audit.

- The national smoking policy must be observed, and smoking is permitted in designated

areas only (Eskom Smoking Procedure 32-36). The contractor must develop Smoking policy which shall be submitted with OHS file.

- All contractors are required to develop an Occupational Health, Hygiene and Rehabilitation

program. The program is intended to ensure that the risks to health are identified and

controlled. The Contractor will be expected to develop Health Risk assessment taking into consideration all applicable related statutory requirements.

- Eskom will only accept medical surveillances conducted by an Occupational Health

Practitioner who holds a qualification in occupational health and also it might be required that

full disclosure of medical is made to Komati Power Station Occupational Health

Nurse/Doctor if the medical indicate restrictions, otherwise fitness certificate must only

submit with OHS file in line with patient privacy as per national Health Act No. 61 of 2003

and Protection of personal Information Act No 4 of 2013. Main contractors must ensure that their employees have a medical surveillance program whereby their employees undergo entry, periodic and exit medical fitness examinations. The health risk assessment must be used to compile the man job specification and address the hazards that the employees will be exposed to.

- The Main contractor must provide a detailed programme that includes the issuing,

maintenance, and replacement of PPE for all his employees on site. All contractors shall comply with the requirements of GSR 2 of the OHS Act and PPE Specification Standard 240-44175132. The risk-based PPE matrix must be compiled detailing the types of PPE that is required to be issued to employees performing the respective tasks. All contractors shall ensure that their visitors wear and use the correct PPE whilst on worksites. All PPE purchased and used by all contractor employees including visitors must comply with the relevant SANS standards. Monthly inspection records of PPE must be kept in the Safety file. The contractor shall provide training to his/her employees on the correct use, care and maintenance of PPE and keep the record.

- All incidents shall be investigated in terms of OHS Act General Administrative

Regulations 8 and 9, using Eskom Procedure 32-95 OHS incident management as a

reference, and where injuries as contemplated in sections 24 and 25 have been

sustained, be reported to the Department of Employment and Labour. Contractors shall use the Eskom Flash report to report incidents immediately or before

end of shift. The standard General Administrative Regulation Annexure 1 “Recording of

an Incident form” for all incident investigation reports.

- Any person may stop any activity where an unsafe act or unsafe condition that poses or

may pose an imminent threat to the safety and health of an individual or create a risk of

degradation of the environment. This includes any unauthorised work or service

performed by, or legally or contractually non-compliant acts or omissions by, any

contractor contracted to work at that site. Work stoppages that are initiated due to OHS concerns, non-compliance, or poor performance related to the contractor’s works or services shall not warrant any financial compensation claim lodged against Eskom where the contractor has not met the requirements defined legally or contractually.

## Environmental constraints and management

Contractor must comply with environmental requirements as per Eskom Holdings SOC Limited’s Komati Power Station, Statutory and ISO 14001 standard.

Contractor must comply with environmental requirements for handling, collection, transportation of hazardous substances under the following legislations and standards:

- The National Road Traffic Act (Act 93 of 2005)

- Hazardous Substances Act (Act 15 of 1995 as amended)

- Occupational health and safety Act 85 of 1993 and regulations

- Eskom vehicle and driver safety management, 240-62946386

- SANS 10232-1 Transport of dangerous goods

- National Environmental Waste Act 59 of 2008

- National Water Act 36 of 1990

- Waste Management Disposal procedure PAB20100

## Quality assurance requirements

- Contractor must with comply ISO 9001 Quality Management System and of Eskom Supplier Quality

Management Specification QM 58 240-105658000. The suppliers shall comply with category 2 of QM 58.

- Inspections shall be carried out on all the work to ensure that the quality of work is always maintained.

# Procurement

## People

## Minimum requirements of people employed

Criminal checks must be done on all the employees that will be employed and foreign nationals must have valid passport and work permit to work in South Africa (must comply with all South African laws). The employees employed must meet the qualifications and experience requirements stated in the scope of work.

Section 1: Specific Goals

A maximum of 10/20 points may be awarded to a tenderer for the specific goal specified for the

tender. The points scored for the specific goal must be added to the points scored for price and the

total must be rounded off to the nearest two decimal places. Subject to section 2(1)(f) of the

Preferential Procurement Policy Framework Act, the contract must be awarded to the tenderer

scoring the highest points.

| B-BBEE Status Level of Contributor | Number of points (90/10 system) | Number of points (80/20 system) |
| --- | --- | --- |
| 1 | 10 | 20 |
| 2 | 9 | 18 |
| 3 | 6 | 14 |
| 4 | 5 | 12 |
| 5 | 4 | 8 |
| 6 | 3 | 6 |
| 7 | 2 | 4 |
| 8 | 1 | 2 |
| Non-compliant contributor | 0 | 0 |

NB: The following documents are required to claim preference points,

- Valid B-BBEE certificate issued by a SANAS accredited verification agency / sworn affidavit / CIPS affidavit

- Proof of ownership / shareholding (preferably CIPC documentation) inclusive of shareholding breakdown

- Certified ID copies of shareholder(s)

- Proof of Disability (where applicable)

- In a case of a trust, consortium or joint venture (including incorporated consortia and joint ventures),a consolidated B-BBEE status level verification certificate.

Tenderer failing to provide documentation for the allocation of preference points will not be disqualified, but’

- May only score point out of 90/80 for price

- Scores 0 points out of 10/20 for specific goals

Section 2:  Objective criteria

The inclusion of objective criteria is not mandatory but a condition for contract award. If the tenderer does not meet objective criteria; it may lead to the second-ranked tenderer being recommended for

award.

2.1 Designated Sectors

When applicable the following stipulated minimum threshold for Local Production and Content must be achieved in full by the tenderer

YES; NO. - Is this Commodity or part of it a Designated Sector?; ☐; . Please indicate below Designated Components. Commodity; Components; Local Content Threshold. Not Applicable; Not Applicable; Not Applicable. NOTE: SBD 6.2 Declaration Form and Annex C (Local Content Declaration-Summary Schedule) are tender returnable if applicable.

2.2 CIDB Skills Development

Continuation of Mandatory Requirements

YES; NO. - Is there CIDB compulsory training?; ☐; . If Yes, what is the% of the Construction Skills Development Goal % (CSDG); Not applicable. If the answer above is Yes, it will then be mandatory for the supplier to match Eskom’s targets Criteria; Eskom Target; Tenderer Commitment. CSDG Percentage; N/A. Description; N/A. NOTE: Failure by the Contractor/Service Provider/Supplier to meet the CIDB CSDG mandatory % will render their tender non-responsive.

Section 3: SDL&I Objectives in line with Reconstruction and Development Programme (RDP) Goals

Tenderers who complete and submit the objectives as required, but who do not meet Eskom’s targets, will not be disqualified. SDL&I objectives do not form part of scoring but commitments will form part of contractual obligations

1. Transformation – BBBEE Improvement or Retention Plan Transformation remains an area of focus, where Eskom continuously strives to align itself with national transformation imperatives to unlock growth, drive industrialization, create employment and contribute to skills development. Eskom encourages its suppliers to constantly strive to improve their B-BBEE rating. Whereas Tenderer/s will be allocated points in terms of a preference point system based on specific goals, Eskom also requests that tenderer/s submits their B-BBEE improvement or retention plan within 30 days of signing the contract. Tenderer/s are therefore requested to indicate the extent to which they will maintain (only if the respondent is a Level 1) or may improve/maintain their B-BBEE status over the contract period if their B-BBEE status is level 2 or 3. Tenderer/s with a B-BBEE status level 4 at the time of contract award, shall migrate and achieve as a non-negotiable a milestone of B-BBEE Level 3 by the end of the first year of the contract and thereafter improve their B-BBEE status level or migrate by one level higher. Tenderer/s with a B-BBEE recognition status of Level 5 to Level 8 or non-compliant at the time of contract award, shall migrate and achieve as a non-negotiable a milestone of Level 4 by the end of the first year of the contract and thereafter improve at least one B-BBEE Level higher of each year from the second year of the contract. Tenderer/s are requested to submit their B-BBEE Improvement Plan as an essential document within 30 days of signing the contract. NB: A valid B-BBEE certificate or Sworn Affidavit is a condition for contract award, if your company’s annual Total Revenue is R10 Million or less you qualify as an Exempted Micro Enterprise therefore you can submit Sworn Affidavit. If your annual Total Revenue is R50 Million or less, you qualify as Qualifying Small Enterprise and must comply with all of the elements of QSE score card relevant to your sector unless an entity is at least 51% Black owned you are required to obtain a Sworn affidavit. If your Annual Total Revenue is above R50m you need to submit a Valid B-BBEE certificate. - Local Procurement Content “Local Procurement Content” refers to value added in South Africa by South African resources. Where a single contract involves a combination of local and imported goods and/or services, the tender response must be separated into its components as per the Price Schedule included with the tender documents. Local procurement content is total spending minus the imported component. Tenderers are required to submit their proposals in the table below. Local Procurement Content; Eskom target; Tenderer Proposal. 100%. - Jobs. Tenderers are required to submit proposals for the type and number of jobs that will be created and retained in South Africa as a direct result of being awarded a contract. Type of Jobs to be created; Number of Jobs to be created. Type of Jobs to be retained; Number of Jobs to be retained.

Section 4: SDL&I Penalty and Performance Security

Eskom will apply a penalty of 1% of the Contract Value for failure to meet SDL&I obligations. For the duration of the contract, Eskom will retain 1% of every invoice (excluding VAT) as security for the fulfilment of all SDL&I Obligations. The retained amounts shall only be released to the Contractor upon fulfilment of all SDL&I obligations by the contractor.

Section 6: Reporting and Monitoring

- The suppliers shall on a quarterly basis submit a report to Eskom in accordance with Data Collection Template on their compliance with the SDL&I obligations described above. - Eskom shall review the SDL&I reports submitted by the suppliers within 30 (thirty) days of receipt of the reports and notify the suppliers in writing if their SDL&I obligations have not been met. - Upon notification by Eskom that the suppliers have not met their SDL&I obligations, the suppliers shall be required to implement corrective measures to meet those SDL&I obligations before the commencement of the following report, failing which Retention clauses shall be invoked. - Every contract shall be accompanied by the SDL&I Implementation Schedule, which must be completed by the suppliers and returned to SDL&I representative for acceptance 28 days after contract award. This will be used as a reference document for monitoring, measuring and reporting on the supplier’s progress in delivering on their stated SDL&I commitments

Section 6: General Information on Validity of Sworn Affidavits

The following must be considered when it comes to validity of Affidavits;

Tenderers submitting B-BBEE Sworn Affidavits must ensure that the affidavits meet the following key pointers to ensure their validity: - Name/s of deponent as they appear in the identity document and the identity number. - Designation of the deponent as the director, owner or member must be indicated in order to know that person is duly authorised to depose of an affidavit. (Mark the applicable option). - Name of enterprise as per enterprise registration documents issued by the CIPC, where applicable, and enterprise business address. - Percentage of black ownership, black female ownership and designated group. In the case of specialised enterprises as per Statement 004, the percentage of black beneficiaries must be reflected. (No blank spaces to be left). - Indicate total revenue for the year under review and whether it is based on audited financial statements or management account. (Mark the applicable option). - Financial year end as per the enterprise’s registration documents, which was used to determine the total revenue. (Financial year end to be stipulated by day/month/year). - B-BBEE Status level. An enterprise can only have one status level. (Tick applicable level) - Empowering supplier status must be indicated. For QSEs, the deponent must select the basis for the empowering supplier status. - Date deponent signed and date of Commissioner of Oath must be the same. (The sworn affidavit must be signed in the presence of the Commissioner of Oath. Furthermore the Commissioner must also sign and stamp) - Commissioner of Oath cannot be an employee or ex officio of the enterprise because, a person cannot by law, commission a sworn affidavit in which they have an interest.

## Plant and Materials

## Specifications

General PPE must comply with Eskom Personal Protective Equipment standard, 240-44175132.

*

## Correction of defects

All defects that are noted from equipment, and shortage of resources must be reported to the Service Manager.

# Contractor’s procurement of Plant and Materials

The system maintenance equipment that will be brought on site must be declared at security and proof of declaration must be kept until end of the contract and must be used to remove the equipment from site. Removal permit must be used to remove any equipment that need repairs or service.

## Tests and inspections before delivery

Where necessary, equipment will be tested by contractor and employer to ensure that they comply with buy quite requirements before they will be allowed on site.

## Plant & Materials provided “free issue” by the Employer

The following will be provided by the employer:

- Water

- Ablution facilities

- Electricity

# Working on the Affected Property

## Employer’s site entry and security control, permits, and site regulations

The Entry to site is only approved once the following are adhered to:

- The Contractors Safety file is to be approved by the Employer’s Safety department.

- All employees must undergo screening for Criminal records and outstanding warrants, report submitted to the service manager before the employees can have access to the station.

- All employees must undergo medical screening and submit ID copies.

- Site specific induction is to be done by all employees.

- The permit application forms must be submitted.

- The access card of an employee who has resigned must be given back to service manager so that the access can be cancelled.

The employees must comply with all site rules.

## People restrictions, hours of work, conduct and records

- The time sheets must be kept on the file and service manager must have access to them to verify the assessment. The service manager has a right to request the clocking records of all the employees to verify the assessment. It is very important that the Contractor keeps records of his people working on the affected Property.

- The supplier is to provide the service during working hours and on weekends and public holidays.

- The normal working time is three times monthly.

- The scope of work routine is expected to be executed three time monthly between 7:00 am to 4:00 pm

- Lunch is between 12:00 pm and 13:00 pm.

## Records of Contractor’s Equipment

- The Contractor to declare all equipment and tools via a pre-set-up list at the main entrance, where removal permit will be issued by Security personnel. Copy of tool list to be supplied to the Service Manager.

- The Contractor needs to have a list of inventories of their equipment on site. Proof of site entrance needs to be provided before equipment can be removed from site.

- All records should be filled and a Removal Permit to be kept as a gate pass until the end of the contract for Equipment on Site including whether it is owned or hired.

## Equipment provided by the Employer

None

## Provided by the Employer

Employer will provide in the way of power, water, waste disposal bins, and ablutions.

# Provided by the Contractor

The following must be provided by the contractor:

- Home –work- home transport for the employees.

- All health and safety equipment required to complete the contract works.

- Accommodation if required during the contract works period.

- Stationary

- Medical Clearance Certificates

- All periodical training

- All tools required to complete the contract works.

- All consumables required to complete the contract works.

- Attendance at meetings as considered necessary by the Employer.

- The contractor to supply competent staff to provide the fire and emergency services. It is the contractor’s responsibility to ensure that the required manpower is always available.

- The contractor shall provide replacement staff for an employee who is on leave and not available to maintain the required numbers stated in the scope of work and in this NEC document.

- The contractor shall provide all PPE required to perform the tasks.

- The training and travelling for the contractor’s staff shall be carried by the contractor.

# Control of noise, dust, water, and waste

- Employee to wear the required personal protective equipment when going to the plant or using equipment that generates noise and dust.

- All waste must be handled according to procedure and disposed of as per the Environmental regulations. Empty chemicals container to be removed from site and disposed of as per the regulation.

# Tests and inspections

The inspections and tests will be carried out by the Contractor and the Service Manager and others as stated in the planned maintenance documents and whenever there are on the equipment.

# Key performance indicators

Below are the key performance indicators the contractor will b measured against for the duration of the contract:

| KPI | Target | Measured By |
| --- | --- | --- |
| Lost Time Injury Rate | 0.00 | Safety Stats |
| Medical cases | Zero medical incidents | Safety stats |
| Maintenance Quality | >90% on routine inspections/audits | Monthly or weekly site inspections using a checklist |
| Customer satisfaction | ≥4 | Survey report |
| Complains | ≤ 1 complain per month | Complains reports |
| Missed Service rate | Zero missed service per month | Cleaning schedule adherence logs |
| Nonconformances/ Findings from audits/inspections/plant walks | 2 finding/areas of improvement and zero nonconformances | Audit/Inspections/plant walks reports |
| Close-out of Findings (Audits/inspections/plant walks) | Close-out of Findings before due date | SAP/QIM reports |
| Job observations | 8 job observations per month | Job observations reports |

This total is required by the Employer for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.

Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902 www.ecs.co.za

Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 5391902 or www.ecs.co.za