## P & G
2025-12-04
PROJECT: SUPPLY, DELIVERY AND REFURBISH OF MISCELLANEOUS SPARES FOR BALANCE OF PLANT ON AS AND WHEN REQUIRED BASIS AT KUSILE POWER STATION FOR A PERIOD OF FIVE (5) YEARS
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
ITEM 1
1 | PRELIMINARIES AND GENERAL
1.1 | Safety File | Once Off | 1
Sub-total Item 1 (Preliminaries and General) carried to Final Summary
ITEM 2
2 | SUPPLY AND DELIVERY OF MISCELLANEOUS SPARES
2.1 | Supply and Delivery of Miscellaneous Spares | Item | 1
Sub-total Item 2 (Supply and Delivery of Miscellaneous Sparess) carried to Final Summary
ITEM 3
3 | REFURBISHMENT OF MISCELLANEOUS SPARES
3.1 | Refurbishment of of Miscellaneous Spares | Item | 1
Sub-total Item 3 (Refurbishment of of Miscellaneous Spares) carried to Final Summary
Final Summary
ITEM 1 | PRELIMINARIES AND GENERAL
ITEM 2 | SUPPLY AND DELIVERY OF MISCELLANEOUS SPARES
ITEM 3 | REFURBISHMENT OF MISCELLANEOUS SPARES
Final Summary Total (Excl VAT)

## Supply and Delivery
2025-12-04
PROJECT: SUPPLY, DELIVERY AND REFURBISH OF MISCELLANEOUS SPARES FOR BALANCE OF PLANT ON AS AND WHEN REQUIRED BASIS AT KUSILE POWER STATION FOR A PERIOD OF FIVE (5) YEARS
SUPPLY AND DELIVERY OF MISCELLANEOUS SPARES
ITEM NO | COMPONENT | EQUIPMENT NAME | MATERIAL NUMBER | DESCRIPTION | AREA- LOCATION | UOM | QTY | RATE | AMOUNT
1 | Winches | TAC1&2, OLC1&2, SYS1, T4A-F take-up winch, Reclaimer 1,2&3 rake winch. | 620039 | WINCH: TYPE: ELECTRIC MOTORIZED TAKE UP; CAPACITY: 8.2 T; DIMENSIONS: WD 723 X HT 698 MM; SUPPL P/N: 13000.S; DRAWING NO: AC0301-0403-ALL-MAN-E00030 REV 0; INPUT SPEED: 193 RPM; GEAR RATIO: 392:1; FACTOR OF SAFETY 4.5:1; ROPE SIZE AND CONSTRUCTION: DIA (6 X 36) X LG 26 M GALVANISED STL; ROPE SPEED: 0.7M/MM (FULL DRUM); ROPE CAPACITY: 103 M (FULL DRUM); ELECTRIC GEARED MOTOR; WEG-MOTOR SPEC: 2.2 KW; 400V; 50HZ; IP66; 4 POLE; NFP; SQUIRREL CAGE; FLANGED MOUNTED; FRAME: 100L; CW SITI TYPE; MNHL 25/2-7.37:1; PAM 28/250; HELICAL GEARBOX; SUPPLIER TO SUPPLY DATASHEETS/DATABOOKS | Coal Plant | Each | 20
2 |  | ERC | 620037 | WINCH: TYPE: ELECTRIC MOTORIZED TAKE UP; CAPACITY: 3.5 T; DIMENSIONS: WD 476 X LG 396 X HT 443 MM; SUPPL P/N: 5000.S; DRAWING NO: AC0301-0403-ALL-MAN-E0028 REV 0; INPUT SPEED: 193 RPM; GEAR RATIO: 76.8:1; 1.5M/MM (1ST LAYER); ROPE CAPACITY: 63 M (FULL DRUM); ELECTRIC GEARED MOTOR; WEG-MOTOR SPEC: 2.2 KW; 400V; 50HZ; IP66; 4 POLE; NFP; SQUIRREL CAGE; FLANGED MOUNTED; FRAME: 100L; CW SITI TYPE; MNHL 25/2-7.37:1; PAM 28/250; HELICAL GEARBOX; SUPPLIER TO SUPPLY DATASHEETS/DATABOOKS | Ash Plant | Each | 5
3 |  | ESC & CVY1 | 620038 | WINCH: TYPE: ELECTRIC MOTORIZED TAKE UP; CAPACITY: 5.4 T; DIMENSIONS: WD 710 X HT 638 MM; SUPPL P/N: 8000.S; DRAWING NO: AC0301-0403-ALL-MAN-E0029 REV 0; INPUT SPEED: 193 RPM; GEAR RATIO: 152:1; FACTOR OF SAFETY 4.5:1; ROPE SIZE AND CONSTRUCTION: DIA (6 X 36) X LG 20 M GALVANISED STL; ROPE SPEED: 1.3M/MM (FULL DRUM); ROPE CAPACITY: 94 M (FULL DRUM); ELECTRIC GEARED MOTOR; WEG-MOTOR SPEC: 2.2 KW; 400V; 50HZ; IP66; 4 POLE; NFP; SQUIRREL CAGE; FLANGED MOUNTED; FRAME: 100L; CW SITI TYPE; MNHL 25/2-7.37:1; PAM 28/250; HELICAL GEARBOX; SUPPLIER TO SUPPLY DATASHEETS/DATABOOKS | Ash Plant | Each | 5
4 |  | T4A-F moving head, TAC1. | 620040 | WINCH: TYPE: MOVING HEAD; CAPACITY: 1.8 T; DIMENSIONS: WD 850 X LG 973 X HT 585 MM; DRAWING NO: AC0301-0403-ALL-MAN-E00031 REV 0; WITH FLANGE: DIA 450MM; ENDS GROOVED TO SUIT: DIA 16MM SWR; WINCH BASE: WD 850 X LG 973; EPICYCLIC GEAR: HE30; RATIO: 5.8:1; BONFIGLIOLI MODEL W110-UFC-P100-B5/B8; FLANGE MOUNTED UNIT RATIO: 40:1; ELECTRIC MOTOR SPEC: WEG-MOTOR 3 KW; 400V; 50HZ; IP55; 4 POLE; NFP; SQUIRREL CAGE; MOUNTED: FLANGE; FRAME: 100L; CW BINDER TYPE 76431-13H00; ELECTRONIMAGNETIC DISC BRAKE AND ELECTRONIC RECTIFIER TYPE 32-67304-B00 (220-500VAC) MOTOR AND BRAKE CERTIFIED DUST IGNITION PROOF; ROPE SIZE AND CONSTRUCTION: DIA (6 X 36) X LG 16 M GALVANIZED STL; ROPE SPEED: 5.4M/MM (FULL DRUM); ROPE CAPACITY: 10 M (TRAVEL); SUPPLIER TO SUPPLY DATASHEETS/DATABOOKS | Ash Plant | Each | 10
5 |  |  | 582673 | WINCH: TYPE: MOTORIZED HAND; CAPACITY: 6000 KG; DIMENSIONS: 1678 X 723 X 698 MM; MANUF P/N: 130005MK2; DRAWING NO: 0.84/10517 SHT1 REV 0; SUPPLIED WITH 2.2KW 400V IP65 MOTOR; ROPE SPEED: 0.7M/MIN; ROPE SIZE: DIA 22 X 6 X 36 (IWRC) GALVANISED; RIGHT HAND DRUM GROOVE 23 PITCH 5.5MM DEEP 11.5 M RADIUS | Coal Plant | Each | 5
6 |  | SY1, SY3A&B moving head, SYR1,2 &3 moving head and SYS2. | 635883 | WINCH: TYPE: MOVING HEAD; CAPACITY: 3 T; DIMENSIONS: WD 1 M X LG 1.095 M X HT 752.4 MM; SUPPL P/N: 4835-302-SY | Coal plant | Each | 20
7 |  |  | 634524 | WINCH: TYPE: MOVING HEAD; CAPACITY: 1.8 T; DIMENSIONS: WD 16 X LG 36 X HT 6 MM; LAY ON/LAY OFF; MATERIAL: GLAV STL WIRE ROPE; TRAVEL: 10M; ROPE SPEED: 5.4M/MIN; 1/2 AB ELECTRIC WINCH | Ash & Limestone | Each | 5
1 | Sheave Wheels |  | 648223 | WHEEL: TYPE: HORIZONTAL SHEAVE; HUB SIZE: 50 MM; OUTSIDE DIAMETER: 328 MM; WIDTH: 100 MM; MATERIAL: STL; DRAWING NO: 4132HRK-0/301 REV 0; ROOT DIA: 280MM; SHEAVE ACCOMMODATE 16MM WIRE ROPE; SHEAVE ASSEMBLY C/W BEARINGS; 2X ROPE KEEPS WITH 3 SELECTABLE POSITIONS AND MOUNTING FRAME; GREASE NIPPLE (1/8IN BSP); ITEM SHOULD BE PAINTED FOR CORROSION PROTECTION; DATA SHEET SHALL BE SUPPLIED WITH EVERY DELIVER; TO BE USED AT ESC TAKE-UP | Ash plant | Each | 5
2 |  |  | 648222 | WHEEL: TYPE: VERTICAL SHEAVE; HUB SIZE: 55 MM; OUTSIDE DIAMETER: 410 MM; WIDTH: 110 MM; MATERIAL: STL; DRAWING NO: 4133VRK-0/301 REV 0; ROOT DIA: 350MM; SHEAVE ACCOMMODATE 20MM WIRE ROPE; SHEAVE ASSEMBLY C/W BEARINGS; 2X ROPE KEEPS WITH 3 SELECTABLE POSITIONS AND MOUNTING FRAME; GREASE NIPPLE (1/8IN BSP); ITEM SHOULD BE PAINTED FOR CORROSION PROTECTION; DATA SHEET SHALL BE SUPPLIED WITH EVERY DELIVER; TO BE USED AT ESC TAKE-UP | Ash Plant | Each | 5
3 |  |  | 635133 | WHEEL: TYPE: SHEAVE; HUB SIZE: 50 MM; OUTSIDE DIAMETER: 328 MM; WIDTH: 100 MM; MATERIAL: STL; DRAWING NO: 4132VRK-0 REV 0; USED FOR VERTICAL AND HORIZONTAL; ROOT DIA: 280 MM; ROPE DIA: 16 MM; SHEAVE C/W BEARING AND ROPE KEEPS (AT ENTRY AND EXIT OF ROPE); ROPE CLEARANCE: 240 MM; SUPPLY BRACKET; GREASE NIPPLE BSP1/8 IN; DATA SHEET SHOULD BE SUPPLIED WITH EVERY DELIVERY | Ash Plant & Coal Plant | Each | 5
4 |  |  | 635132 | WHEEL: TYPE: SHEAVE; HUB SIZE: 55 MM; OUTSIDE DIAMETER: 410 MM; WIDTH: 110 MM; MATERIAL: STL; DRAWING NO: 4133HRK-0 REV 0; USED FOR VERTICAL AND HORIZONTAL; ROOT DIA: 350 MM; ROPE DIA: 20 MM; SHEAVE C/W BEARING AND ROPE KEEPS (AT ENTRY AND EXIT OF ROPE); ROPE CLEARANCE: 290 MM; SUPPLY BRACKET; GREASE NIPPLE BSP1/8 IN; DATA SHEET SHOULD BE SUPPLIED WITH EVERY DELIVERY | Ash Plant & Coal Plant | Each | 5
5 |  |  | 634500 | WHEEL: TYPE: SHEAVE; HUB SIZE: 65 MM; OUTSIDE DIAMETER: 579 MM; WIDTH: 70 MM; MATERIAL: STL; DRAWING NO: 4135HRK-0 REV 0; APPLICATION: TAC AND OLC HORIZONTAL TAKE-UP; ROOT DIA: 490MM; ROPE DIA: 28MM; 2X ROPES KEEPS WITH 3 SELECTABLE POSITIONS AND MOUNTING FRAME/BASKET; GREASE NIPPLE (BSP 1/8IN); ITEM TO BE PAINTED FOR CORROSION PROTECTION; DATA SHEET SHALL BE SUPPLIED WITH EACH DELIVERY | Ash Plant | Each | 5
6 |  |  | 634501 | WHEEL: TYPE: SHEAVE; HUB SIZE: 65 MM; OUTSIDE DIAMETER: 574 MM; WIDTH: 70 MM; MATERIAL: STL; DRAWING NO: 4135VRK-0 REV 0; APPLICATION: TAC AND OLC VERTICAL TAKE-UP; ROOT DIA: 490MM; ROPE DIA: 28MM; 2X ROPES KEEPS WITH 3 SELECTABLE POSITIONS AND MOUNTING FRAME/BASKET; ROPE CLEARANCE CUT OUT 406MM; GREASE NIPPLE (BSP 1/8IN); ITEM TO BE PAINTED FOR CORROSION PROTECTION; DATA SHEET SHALL BE SUPPLIED WITH EACH DELIVERY | Ash plant | Each | 5
7 |  |  | 660499 | WHEEL: TYPE: SHEAVE; HUB SIZE: 90 MM; OUTSIDE DIAMETER: 575 MM; WIDTH: 100 MM; MATERIAL: STL; SUPPL P/N: 1471.02.4013/3; 90H11; H9 (SHAFT); EMERGENCY ASH RECLAIMER HOIST DEVICE; ROOT DIA: 500MM; SHEAVE SUITABLE FOR 20MM WIRE ROPE; GREASE NIPPLE (1/8IN BSP) ITEM TO BE PAINTED FOR CORROSION, ONE SET CONTAINS 3X SHEAVE WHEELS; TECHNICAL DATASHEET TO BE PROVIDED ON EVERY DELIVERY | Ash Plant | Each | 5
8 |  |  | 635130 | WHEEL: TYPE: SHEAVE; HUB SIZE: 60 MM; OUTSIDE DIAMETER: 513 MM; WIDTH: 124 MM; MATERIAL: STL; DRAWING NO: 4134HRK-0 REV 0; USED FOR VERTICAL AND HORIZONTAL; ROOT DIA: 438 MM; ROPE DIA: 26 MM; SHEAVE C/W BEARING AND ROPE KEEPS (AT ENTRY AND EXIT OF ROPE); ROPE CLEARANCE: 374 MM; SUPPLY BRACKET; GREASE NIPPLE BSP1/8 IN; DATA SHEET SHOULD BE SUPPLIED WITH EVERY DELIVERY | Coal Plant | Each | 5
9 |  |  | 661172 | WHEEL SET, RAILWAY: TYPE: TRAVEL; WIDTH: 110 MM; WHEEL BASE: 7 T; AXLE TYPE: PORTAL; WEIGHT: 18.3 KG; SUPPL P/N: DRS-160-NA-A-65-K-X-X; REFERENCE NO: 82506259; WHEEL DIA: 160MM; WHEEL MUST BE SUPPLIED WITH SWEEPER; DATASHEET AND DRAWINGS TO BE SUPPLIED ON EVERY DELIVERY | Coal Plant | Each | 5
1 | Ropes |  | 581490 | ROPE, WIRE: DIAMETER: 3-5 MM; OVERALL LENGTH: 600 M; CONSTRUCTION: 6X7+FC PVC RED; MATERIAL: STL GALV; STRENGTH: 6 KN; ROPE TYPE: FC; LAY: BRAIDED RHRL; SPECIFICATION: JIS G3525; MANUF P/N: CAB47; USED TO CONNECT PULL KEYS ON THE CONVEYOR PROTECTION SYSTEM, NORMAL BREAKING FORCE: 5.85KN; CHEMICAL COMPOSITION: C (70%), MN (0.55%), S (0.012%), P (0.007%) AND SI (0.21%); COATED WITH RED PVC SLEEVE; 1MM THICK | Coal plant | m | 300
2 |  |  | 592748 | ROPE, WIRE: DIAMETER: 20 MM; CONSTRUCTION: 6X36F; MATERIAL: STL; STRENGTH: 259 KNM; ROPE TYPE: CORE FIBER; SPECIFICATION: EN12385/4/2002 | Coal Plant | m | 250
3 |  |  | 623164 | ROPE, WIRE: DIAMETER: 26 MM; CONSTRUCTION: 6X36F; MATERIAL: STL GALV; STRENGTH: 406.3 KNM; ROPE TYPE: CORE FIBER; LAY: ORDINARY RH; APPLICATION: TAKE-UP | Coal Plant | m | 500
4 |  |  | 633968 | ROPE, WIRE: DIAMETER: 13 MM; OVERALL LENGTH: 80 M; CONSTRUCTION: (6X25); MATERIAL: STEEL GALV; STRENGTH: MBL >105 KNM; ROPE TYPE: CORE FIBER; LAY: ORDINARY RH; SPECIFICATION: SANS 2048 | Coal Plant | m | 500
5 |  |  | 662946 | ROPE, WIRE: DIAMETER: 16 MM; CONSTRUCTION: 6X36; MATERIAL: STL GALV; STRENGTH: 3.5 T; PLEASE SUPPLY IN ROLL OF 100M = 1EA | Ash plant | Each | 5
1 | Couplings |  | 624369 | COUPLING, SHAFT FLEXIBLE: TYPE: HORIZONTAL SPLIT; TAPER LOCK SERIES: 1070H; BORE DIAMETER: 65 X 19 MM; TORQUE: 922 NM; MATERIAL: STL; SPEED: 4125 RPM; HIGH SPEED GRID; AL COVER; USED AT GYC2 AND EAS BOOM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | Ash plant | Each | 20
2 |  |  | 624371 | COUPLING, SHAFT FLEXIBLE: TYPE: HORIZONTAL SPLIT; TAPER LOCK SERIES: 1100H; BORE DIAMETER: 41 X 107 MM; TORQUE: 5.818 KNM; MATERIAL: STL; SPEED: 2400 RPM; HIGH SPEED GRID; AL COVER; USED AT TAC1 AND 2; OLC1 AND 2; ESC; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | Ash plant | Each | 30
3 |  |  | 624370 | COUPLING, SHAFT FLEXIBLE: TYPE: HORIZONTAL SPLIT; TAPER LOCK SERIES: 1080H; BORE DIAMETER: 27 X 78 MM; TORQUE: 1.901 KNM; MATERIAL: STL; SPEED: 3600 RPM; HIGH SPEED GRID; AL COVER; USED AT ERC; RSC AND EAS INTERMEDIATE; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | Ash plant | Each | 20
4 |  | Emergency stacker boom conveyor | 624369 | COUPLING, SHAFT FLEXIBLE: TYPE: HORIZONTAL SPLIT; TAPER LOCK SERIES: 1070H; BORE DIAMETER: 65 X 19 MM; TORQUE: 922 NM; MATERIAL: STL; SPEED: 4125 RPM; HIGH SPEED GRID; AL COVER; USED AT GYC2 AND EAS BOOM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | Ash plant & Limestone | Each | 20
5 |  | Limestone overbin shuttle conveyor (CVY-3) | 624372 | COUPLING, SHAFT FLEXIBLE: TYPE: HORIZONTAL SPLIT; TAPER LOCK SERIES: 1060H; BORE DIAMETER: 19 X 55 MM; TORQUE: 634 NM; MATERIAL: STL; SPEED: 4350 RPM; HIGH SPEED GRID; AL COVER; USED AT CAC AND GYC1; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | Ash plant & Limestone | Each | 20
6 |  | CVY-1 | 638989 | COUPLING, SHAFT: TYPE: RIGID FLANGE; BORE: 330 MM; OUTSIDE DIAMETER: 560 MM; LENGTH: 292 MM; MATERIAL: AL TECTILE COATING; SUPPL P/N: TC30- 330/560; LIMESTONE HANDLING; LOW SPEED GEARBOX P/N: 97QHRG3-798 | Ash plant & Limestone | Each | 10
7 |  | CVY-1 | 638990 | COUPLING, SHAFT: TYPE: RIGID FLANGE; BORE: 390 MM; OUTSIDE DIAMETER: 560 MM; LENGTH: 292 MM; MATERIAL: AL TECTILE COATING; SUPPL P/N: TC30- 390/560; LIMESTONE HANDLING; LOW SPEED GEARBOX P/N: 97QHRG3-798 | Ash plant & Limestone | Each | 15
8 |  | CVY-3 | 634785 | COUPLING, SHAFT: TYPE: RIGID FLANGE; BORE: 230 X 400 MM; OUTSIDE DIAMETER: 235 MM; LENGTH: 350 MM; MATERIAL: AL TECTILE COATING | Ash plant & Limestone | Each | 15
9 |  | Gypsum Conveyor | 624369 | COUPLING, SHAFT FLEXIBLE: TYPE: HORIZONTAL SPLIT; TAPER LOCK SERIES: 1070H; BORE DIAMETER: 65 X 19 MM; TORQUE: 922 NM; MATERIAL: STL; SPEED: 4125 RPM; HIGH SPEED GRID; AL COVER; USED AT GYC2 AND EAS BOOM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | Ash plant & Limestone | Each | 20
10 |  | Gypsum Conveyor | 624372 | COUPLING, SHAFT FLEXIBLE: TYPE: HORIZONTAL SPLIT; TAPER LOCK SERIES: 1060H; BORE DIAMETER: 19 X 55 MM; TORQUE: 634 NM; MATERIAL: STL; SPEED: 4350 RPM; HIGH SPEED GRID; AL COVER; USED AT CAC AND GYC1; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | Ash plant & Limestone | Each | 30
11 |  | Gypsum Conveyor | 634785 | COUPLING, SHAFT: TYPE: RIGID FLANGE; BORE: 230 X 400 MM; OUTSIDE DIAMETER: 235 MM; LENGTH: 350 MM; MATERIAL: AL TECTILE COATING | Ash plant & Limestone | Each | 15
1 | Couplings |  | 637573 | COUPLING, SHAFT FLEXIBLE: TYPE: TAPER GRID; TAPER LOCK SERIES: TG1090H; BORE DIAMETER: 95 X 27 MM; MATERIAL: ALUMINIUM; SPEED: 3600 RPM; SUPPL P/N: 97QHRF3-794; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). (T1A&B), (T4A – T4F), (CVY1) | Coal plant | Each | 30
2 |  |  | 637574 | COUPLING, SHAFT FLEXIBLE: TYPE: TAPER GRID; TAPER LOCK SERIES: TG1110H; BORE DIAMETER: 117 X 41 MM; MATERIAL: ALUMINIUM; SPEED: 2550 RPM; SUPPL P/N: 97QHRL3-781; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). (SYS1) | Coal plant | Each | 10
3 |  |  | 637239 | COUPLING, SHAFT FLEXIBLE: TYPE: TAPER GRID; TAPER LOCK SERIES: TG112H; BORE DIAMETER: 136 X 60 MM; MATERIAL: ALUMINIUM; SPEED: 2025 RPM; SUPPL P/N: 97QHRK2-777; HORIZONTAL SPLIT ALUMINIUM COVER; TYPE: H; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). (SYR1,2&3, SY3A&B) | Coal plant | Each | 30
4 |  |  | 637575 | COUPLING, SHAFT FLEXIBLE: TYPE: TAPER GRID; TAPER LOCK SERIES: TG1130H; BORE DIAMETER: 165 X 67 MM; MATERIAL: ALUMINIUM; SPEED: 1800 RPM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). (SYS2) | Coal plant | Each | 10
1 | Mass meters |  | 665109 | Mass meter: 9101 Integrator Part no: XR136049 | Coal & Ash plant | Each | 20
2 |  |  | 665112 | Mass meter: 60-12CSA Part no: XR462085 | Coal & Ash plant | Each | 20
3 |  |  | 665113 | Mass meter: 4-20ma Output boards (single) Part no: XR10074 | Coal & Ash plant | Each | 20
4 |  |  | 665115 | Mass meter: HMI display Modules complete Part no: XR134179 | Coal & Ash plant | Each | 20
5 |  |  | 665116 | Mass meter: 4-20ma Output boards (double) Part no: MX161724170 | Coal & Ash plant | Each | 20
6 |  |  | 665114 | Mass meter: 4-20ma Output boards (double) Part no: MX161724170 | Coal & Ash plant | Each | 20
7 |  |  | 659188 | 500KG S-Type load cell |  | Each | 40
1 | Sprockets |  | 639734 | SPROCKET, WHEEL: TYPE: DRIVE CHAIN; TEETH: 32; PITCH: 1.25 IN; INSIDE DIAMETER: 90 MM; MATERIAL: STL; SUPPL P/N: 230208; TAPER LOCK 4030; MATERIAL CERTIFICATE SHOULD BE ON EVERY DELIVERY | Coal Plant | Each | 12
2 |  |  | 639736 | SPROCKET, WHEEL: TYPE: DRIVE CHAIN; TEETH: 32; PITCH: 1.25 IN; INSIDE DIAMETER: 110 MM; MATERIAL: STL; SUPPL P/N: 230209; TAPER LOCK 4030; MATERIAL CERTIFICATE SHOULD BE ON EVERY DELIVERY | Caol Plant | Each | 12
3 |  |  | 639735 | SPROCKET, WHEEL: TYPE: DRIVE CHAIN; TEETH: 12; PITCH: 1.25 IN; INSIDE DIAMETER: 75 MM; MATERIAL: STL; MATERIAL CERTIFICATE SHOULD BE ON EVERY DELIVERY | Caol Plant | Each | 12
4 |  |  | 574048 | SPROCKET, WHEEL: TYPE: CONVEYOR CHAIN; STYLE: BOLT IN TEETH; TEETH: 9; PITCH: 120 MM; OUTSIDE DIAMETER: 360 MM; INSIDE DIAMETER: 265 MM; MATERIAL: STL; SUPPL P/N: HEKO 135716; DRAWING NO: KR6104-KD; HEKO RIS TYPE MULTI PART SPROCKET WITH INDIVIDUAL REPLACEABLE TEETH; FOR 30 X 120MM CHAIN, INITIAL TEETH PCD: 691 MM; HUB WIDTH: 260 MM; HUB FLANGE THICKNESS: 30 MM; RING THICKNESS 20 MM; TWO OFF 63 MM KEYWAYS TO DIN6885/1, 120 DEGREES APART OVER FULL WIDTH OF THE INSIDE BORE; THREADED HOLES WITH M 20 GRUB SCREWS AT EACH KEYWAY; DISTANCE BETWEEN BOLT HOLES FOR EACH TOOTH:70 MM; BOLT HOLE PCD: 477 MM; MACHINED, WEAR RESISTANT AND HARDENED; TO CONSIST OF LEFT AND RIGHT HUB, MOUNTED AND BOLTED IN 0% WEAR TEETH (691 MM PCD), KEYS AND GRUB SCREWS; 1 EA= 1 SET OF TWO COMPLETE SPROCKETS(LEFT AND RIGHT) WITH MATCHED MACHINED KEYWAYS; EACH SET TO BE UNIQUELY MARKED TO ENSURE EASY IDENTIFICATION OF SET; DATA SHEET OF THE MANUFACTURER NEEDS TO BE SUBMITTED WITH THE QUOTE FOR EVALUATION PURPOSES; TENDERS WITHOUT DATA SHEETS WILL BE REJECTED; QUALITY ASSURANCE DOCUMENTATION WITH DIMENSIONAL AND HARDNESS TEST SHOULD BE DELIVERED WITH THE SPARES FOR SPROCKET HUBS AND TEETH. SPARES DELIVERED WITHOUT QUALITY CONTROL DOCUMENTATION WILL NOT BE ACCEPTED | Ash plant | Each | 12
1 | Chains |  | 640022 | CHAIN, POWER TRANSMISSION: STYLE: DUPLEX; LENGTH: 5 M; PITCH: 1.25 IN; MATERIAL: STL; APPLICATION: TIPPER CAR; SPECIFICATION: 20B-2; COMPLETE WITH MASTERLINK | Coal Plant | Each | 10
2 |  |  | 640023 | CHAIN, POWER TRANSMISSION: STYLE: DUPLEX; LENGTH: 10 M; PITCH: 1.25 IN; MATERIAL: STL; APPLICATION: CONVEYING; SPECIFICATION: 20B-2; COMPLETE WITH MASTERLINK | Coal Plant | Each | 500
3 |  |  | 659879 | CHAIN: TYPE: STRAND; DIMENSIONS: WD 26 MM; MATERIAL: STL; LENGTH: 92 MM; SUPPL P/N: MP4- 02140-004-00; TWO LINE 265 LINKS | Coal Plant | Each | 10
4 |  |  | 667652 | CHAIN: TYPE: ENERGY; DIMENSIONS: WD 170 X HT 80 MM; MATERIAL: PLASTIC; LENGTH: 10 M; SPECIFICATION: E4 SERIES | Coal Plant | Each | 10
5 |  |  | 574047 | TEETH: TYPE: CONVEYOR CHAIN; MATERIAL: STL; NUMBER OF TEETH: 9 SET; SUPPL P/N: HEKO EZ30X120-EA-; APPLICATION: SSC CHAIN CONVEYOR DRIVE SPROCKET BOLT IN TEETH SET; FOR 30X120MM ROUND LINK CONVEYOR CHAIN, MACHINED, HARDENED AND HIGHLY WEAR RESISTANT; FOR USE WITH 0 PCT WORN CHAIN (NEW CHAIN); 1 EA = 1 SET CONSISTING OF 9 TEETH WITH FULL SET OF FITTED MOUNTING BOLTS AND NUTS; BOLTS: M24, GRADE 8.8, 110 MM LENGTH, 40 MM THREADED, FITTED SHANK 25 MM DIA MACHINED; NUTS: ALL METAL VIBRATION RESISTANT LOCK NUT; DATA SHEET OF THE MANUFACTURER NEEDS TO BE SUBMITTED WITH THE QUOTE FOR EVALUATION PURPOSES; TENDERS WITHOUT DATA SHEETS WILL BE REJECTED; EACH SET(EA) TO BE PACKED IN THEIR OWN INDIVIDUAL STURDY PACKAGE TO ENSURE THE SET STAYS TOGETHER DURING TRANSPORT, STORAGE AND OTHER MATERIALS MANAGEMENT ACTIVITIES; QUALITY ASSURANCE DOCUMENTATION WITH DIMENSIONAL AND HARDNESS TEST SHOULD BE DELIVERED WITH THE SPARES FOR SPROCKET TEETH. SPARES DELIVERED WITHOUT QUALITY CONTROL DOCUMENTATION WILL NOT BE ACCEPTED; 2 EACH IS REQUIRED TO DO THE FULL DRIVE SHAFT TEETH REPLACEMENT (1 LEFT AND 1 RIGHT) | Ash plant | Each | 18
6 |  |  | 574389 | CHAIN, CONVEYOR: TYPE: ROUND; PITCH: 120 MM; WIDTH: 102 MM; MATERIAL: CRNI STEEL ALLOY; LENGTH: 27.6 M; APPLICATION: SUBMERGED SCRAPER CONVEYOR; SUPPL P/N: RUD 7905667; REFERENCE NO: RUD R100 120X30; PROOF LOAD: 340KN; BREAKING LOAD: 640KN (+/- 10PCT); ELONGATION AT BREAK: 2PCT; SURFACE HARDNESS AT INTERLINK (INTRADOS): 800 HV30 MIN; CASE HARDENING DEPTH AT INTERLINK (INTRADOS) 550HV3 MIN: 1.35MM MIN; CARBURISING DEPTH AFTER MACRO ETCHING IN INTERLINK: 3 MM MIN; SUPPLIED IN MATCH SET; MAXIMUM DIFFERENCE IN STRAND LENGTHS: 6.9 MM MAX; 1 EA = 1 PAIR MEANING A SET OF TWO 13.8 M MATCHED LENGTH CHAINS RESULTING IN A TOTAL NOMINAL CHAIN LENGTH OF 27.6M (13.8M LEFT AND 13.8M RIGHT); TOTAL NUMBER OF LINKS: 230; CHAIN LINKS TO BE VISUALLY SYMMETRICAL AND FREE OF ANY WELDING SPATTER; A TEST CERTIFICATE WITH ALL OF THE TECHNICAL REQUIREMENTS SPECIFIED IN THIS DESCRIPTION NEEDS TO BE SUBMITTED WITH THE DELIVERY OF EACH CHAIN PAIR; CHAINS DELIVERED WITHOUT THESE TEST DOCUMENTS WILL NOT BE ACCEPTED; FOR EVALUATION PURPOSES THE SUPPLIER MUST PROVIDE A DATA SHEET INDICATING THE NORMAL FACTORY ACHIEVED VALUES OF THE REQUIRED TEST PARAMETERS SPECIFIED ABOVE FOR THE MATERIAL QUALITY OF CHAIN QUOTED ON WITH THEIR QUOTE/TENDER; TENDERS WITHOUT DATA SHEET WILL BE REJECTED; THE SSC USES 7 (13.8M PAIRS) OF THIS ITEM AND ONE 7.56M PAIR ( ANOTHER MATERIAL NUMBER) TO DO A FULL UNIT REPLACEMENT (104.16M LEFT AND 104.16M RIGHT) AND 8 CHAIN CONNECTORS PER SIDE (16 IN TOTAL) | Ash plant | Each | 12
7 |  |  | 574388 | LINK: TYPE: FLAT CHAIN CONNECTOR; DIMENSIONS: 30X120 MM; MATERIAL: STEEL; SUPPL P/N: RUD 7909989; REFERENCE NO: RUD UKS 30X120; TO LINK CHAIN STRANDS ON RUD 30X120 R100; ROUND LINK CHAIN; INSTALLATION USING ONLY A HAMMER AND DOWEL; NOT TO BE SECURED WITH A BOLT; DATA SHEET OF THE MANUFACTURER NEEDS TO BE SUBMITTED WITH THE QUOTE FOR EVALUATION PURPOSES; TENDERS WITHOUT DATA SHEETS WILL BE REJECTED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | Ash plant | Each | 64
1 | Hose |  | 640020 | HOSE, NON-METALLIC: INSIDE DIAMETER: 4.1 MM; LENGTH: 50 M; CONNECTION: COUPLED X SCREWED; MATERIAL: POLYAMIDE; MAXIMUM OPERATING PRESSURE: 350 BAR; TYPE: HIGH PRESSURE; MINIMUM INSIDE BENDING RADIUS: 35 MM; SPECIFICATION: KF300 NW4; MEDIA FOR WHICH DESIGNED: GREASE; SUPPL P/N: 111-35114-1; WALL THICKNESS: 2.3MM | Coal plant | Each | 98
1 | Self- Aligning idlers |  | 663534 | IDLER, CONVEYOR ASSEMBLY: TYPE: FLAT RETURN TRACKER; DEGREE: 0 DEG; BELT WIDTH: 900 MM; HORIZONTAL IDLER DIAMETER: 174 MM; SUPPL P/N: TTFR90HDT; HD TRUST RUBBER 12MM; SHAFT DIA: 40MM | FGD | Each | 50
2 |  |  | 663516 | IDLER, CONVEYOR ASSEMBLY: TYPE: TROUGHING; DEGREE: 30-45 DEG; BELT WIDTH: 900 MM; HORIZONTAL IDLER DIAMETER: 127 MM; VERTICAL IDLER FACE WIDTH: 380 MM; HORIZONTAL IDLER FACE WIDTH: 320 MM; ASSEMBLY LENGTH: 1.144 M; SUPPL P/N: TTT90TAPPU; TAPER TROUGH TRACKER POLYURETHANE 12MM; SHAFT DIA: 30MM | FGD | Each | 50
3 |  |  | 670293 | IDLER, CONVEYOR ASSEMBLY: TYPE: TAPER TROUGH TRACKER; DEGREE: 45 DEG; BELT WIDTH: 1.8 M; VERTICAL IDLER DIAMETER: 145-210 MM; HORIZONTAL IDLER DIAMETER: 152 MM; VERTICAL IDLER FACE WIDTH: 640 MM; HORIZONTAL IDLER FACE WIDTH: 646 MM; ASSEMBLY LENGTH: 2.058 M; SPECIFICATION: SANS1313-1; DRAWING NO: TTT180EXDTARRR REV 0; ASSEMBLY MATERIAL: MS LEGGED WITH EXD RUBBER RINGS; TO BE SUPPLIED AS A UNIT CONSISTING OF THREE IDLER ROLLS AND A FRAME; DATASHEET TO BE SUBMITTED FOR APPROVAL | Coal plant | Each | 100
4 |  |  | 670292 | IDLER, CONVEYOR ASSEMBLY: TYPE: TAPER TROUGH TRACKER; DEGREE: 45 DEG; BELT WIDTH: 2.1 M; VERTICAL IDLER DIAMETER: 170-250 MM; HORIZONTAL IDLER DIAMETER: 152 MM; VERTICAL IDLER FACE WIDTH: 750 MM; HORIZONTAL IDLER FACE WIDTH: 720 MM; ASSEMBLY LENGTH: 2.058 M; SPECIFICATION: SANS1313-1; SUPPL P/N: TTDR210A; ASSEMBLY MATERIAL: MS LEGGED WITH EXD RUBBER RINGS; TO BE SUPPLIED AS A UNIT CONSISTING OF THREE IDLER ROLLS AND A FRAME; DATASHEET TO BE SUBMITTED FOR APPROVAL | Coal plant | Each | 100
5 |  |  | 650135 | IDLER, CONVEYOR ASSEMBLY: TYPE: TROUGH TRACKER; DEGREE: 0 DEG; BELT WIDTH: 1.2 M; SUPPL P/N: TTT120TAPPU | Coal plant | Each | 100
1 | Scrappers | Primary Scrapper Blades | 237665 | BLADE: TYPE: PRIMARY SCRAPER; DIMENSIONS: WD 150 MM; MATERIAL: PU; SUPPL P/N: 2/7.81; E101/E901, CONVEYOR OUTSIDE PLANT USED ON ASH (CONDITION POOR BELT) | Coal and Limestone plant | Each | 300
2 |  | Primary Scrapper Blades 1800BW | 617772 | BLADE: TYPE: SECONDARY SCRAPER; DIMENSIONS: LG 120 MM; MATERIAL: TIP WC; SPECIFICATION: 2/6.05; COLOR: RED; SPECIAL FEATURES: 13 BLADES; DRAWING NO: E305-S-003 REV 0; BELT: 1800BW | Coal and Limestone plant | Each | 200
3 |  | V-Plough Scrapper blades 2100BW | 617770 | BLADE: TYPE: V PLOUGH SCRAPER; DIMENSIONS: LG 1.47 M X HT 150 MM X THK 40 MM; MATERIAL: POLYURATHANE; SPECIFICATION: 2/4(2100); COLOR: RED; DRAWING NO: E401-248 REV 0; APPLICATION: INTERMEDIATE CONVEYORS; BELT: 2100BW | Coal and Limestone plant | Each | 50
4 |  | V-Plough Scrapper blades 1800BW | 641932 | SCRAPER, BELT: TYPE: V-PLOUGH; DIMENSIONS: WD 150 MM X LG 1.47 M X THK 40 MM; MATERIAL: POLYURETHANE; APPLICATION: CONVEYORS; SUPPL P/N: E401-2/4(1800); VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | Coal and Limestone plant | Each | 50
5 |  | V-Plough Scrapper blades 1200BW | 618533 | BLADE: TYPE: V PLOUGH SCRAPER; DIMENSIONS: LG 1.03 M X HT 150 MM X THK 40 MM; MATERIAL: POLYURATHANE; SPECIFICATION: 2/4 1200; COLOR: RED | Coal and Limestone plant | Each | 300
6 |  | V-Plough Scrapper blades 1200BW | 637712 | BLADE: TYPE: ANGLE PLOUGH; DIMENSIONS: LG 150 MM; MATERIAL: POLYURATHANE; COLOR: BLACK; SUPPL P/N: 2/5-1200; BELT WIDTH: 1.2 M | Coal and Limestone plant | Each | 50
7 |  | Primary Scrapper Assembly 2100BW | 617775 | SCRAPER, BELT: TYPE: PRIMARY; DIMENSIONS: 2.1 M; MATERIAL: STL; APPLICATION: CONVEYORS; SUPPL P/N: E901-TT; FOR BLADE E901-114; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | Coal and Limestone plant | Each | 10
8 |  | Primary Scrapper Assembly 1800BW | 568379 | SCRAPER, BELT: TYPE: PRIMARY; DIMENSIONS: 3000X413X175 MM; MATERIAL: STEEL; APPLICATION: T2A-F PRIMARY CONVEYORS; MANUF P/N: HV-M 1800; FLEXCO; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | Coal and Limestone plant | Each | 20
9 |  | Primary Scraper Assembly 1200BW | 617758 | SCRAPER, BELT: TYPE: PRIMARY; DIMENSIONS: 1.2 M; MATERIAL: STL; APPLICATION: CONVEYOR T3A-F, T4A- F; FOR 1200MM WIDTH BELT; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | Coal and Limestone plant | Each | 30
10 |  | Secondary Scraper Assembly 1200BW | 617759 | SCRAPER, BELT: TYPE: DOUBLE ROW, SECONDARY; DIMENSIONS: 1.2 M; MATERIAL: STL; APPLICATION: CONVEYOR T3A-F, T4A-F, T5A-F; FOR 1200MM WITH BELT; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | Coal and Limestone plant | Each | 50
11 |  | V-Plough Scraper 1200BW | 617774 | SCRAPER, BELT: TYPE: V PLOUGH; DIMENSIONS: 900- 1350BW; MATERIAL: STL; APPLICATION: CONVEYORS; FOR BLADE E401; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | Coal and Limestone plant | Each | 50
12 |  | Secondary Scraper 2100BW | 617773 | SCRAPER, BELT: TYPE: DOUBLE ROW, SECONDARY; DIMENSIONS: LG 1.35 M; MATERIAL: STL; APPLICATION: CONVEYORS; SUPPL P/N: E305-TC; USED ON BLADE E305-S-003; 2100BW; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | Coal and Limestone plant | Each | 30
13 |  | Secondary Scraper 1800BW | 641930 | SCRAPER, BELT: TYPE: SECONDARY; DIMENSIONS: LG 1.87 M; MATERIAL: POLYURETHANE; APPLICATION: CONVEYORS; SUPPL P/N: E305-S(1800); DRAWING NO: E305-S-003(4/7) REV 0; 1800BW; DOUBLE ROW SECONDARY SCRAPER; STANDARD MOUNTING; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | Coal and Limestone plant | Each | 30
14 |  | V-plough Scrapper Assembly 2100BW | 641931 | SCRAPER, BELT: TYPE: V-PLOUGH; DIMENSIONS: LG 2.362 M; MATERIAL: POLYURETHANE; APPLICATION: CONVEYORS; SUPPL P/N: E401-V (2100); DRAWING NO: E401-248(4/7) REV 0; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | Coal and Limestone plant | Each | 50
15 |  | V-plough Scraper Assembly 1800BW | 641929 | SCRAPER, BELT: TYPE: V PLOUGH; DIMENSIONS: LG 2.058 M; MATERIAL: POLYURETHANE; APPLICATION: CONVEYORS; SUPPL P/N: E401-V (1800); DRAWING NO: E401-248(4/5) REV 0; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | Coal and Limestone plant | Each | 50
16 |  | V-plough Scrapper Assembly 900- 1350BW | 617774 | SCRAPER, BELT: TYPE: V PLOUGH; DIMENSIONS: 900- 1350BW; MATERIAL: STL; APPLICATION: CONVEYORS; FOR BLADE E401; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | Coal and Limestone plant | Each | 100
17 |  | Angle Plough Scrapper Assembly 1200BW | 637713 | SCRAPER, BELT: TYPE: ANGLE PLOUGH; DIMENSIONS: WD 1.2 M; MATERIAL: PU/STL; APPLICATION: ASH CONVEYOR; SUPPL P/N: E505; DRAWING NO: E505-010 REV 0; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | Coal and Limestone plant | Each | 100
1 | Scrappers | Primary Belt Scrapper 1350BW | 665605 | SCRAPER, BELT: TYPE: PRIMARY-HD; DIMENSIONS: WD 1.09 X LG 2.25 M; MATERIAL: SS/TUNGSTEN; APPLICATION: 1350BW ASH CONVEYORS; SUPPL P/N: 778013N-HD02; HEAD PULLY ASSEMBLY C/W 6X180MM BLADES; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | Ash and gypsum plant | Each | 30
2 |  | Primary Belt Scrapper 1350BW | 665606 | SCRAPER, BELT: TYPE: PRIMARY-BV; DIMENSIONS: LG 2.504 M; MATERIAL: SS/TUNGSTEN; APPLICATION: 1350BW ASH CONVEYORS; SUPPL P/N: B6V1350; SECONDARY SCRAPER ASSEMBLY C/W 5X240MM BLADES; ASSEMBLY COMING WITH PARALLEL MOUNTS D AND SKIRT; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | Ash and gypsum plant | Each | 30
3 |  | V-Plough Scrapper 1350BW | 620979 | SCRAPER, BELT: TYPE: V PLOUGH; DIMENSIONS: LG 1.35 M; MATERIAL: STL; APPLICATION: CONVEYORS; DRAWING NO: AC301-0403-ALL-MAN-00025 REV 0; COMPLETE WITH POLYURETHANE BLADES E401; 150 MM BLADES; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | Ash and gypsum plant | Each | 50
4 |  | Primary Belt Scrapper 1200BW | 778012N | Hosch Type HD02 1200mm Primary Scraper with HD Mounts | Ash and gypsum plant | Each | 50
5 |  | Primary Belt Scrapper 1200BW | 662303 | SCRAPER, BELT: TYPE: CONVEYOR; DIMENSIONS: WD 76MM X 2.4M; MATERIAL: MS POWDER COATED; APPLICATION: COAL PLANT; OEM P/N: B6V1200; C/W 5 OFF B6V 240MM BLADES & 10 OFF B6V SHORT ELEMENTS C/W RUBBER; HDPE 240MM SKIRT & TYPE C PARALLEL MOUNTS WITH 76MM LOOKING RINGS; WEIGHT: 66KG; MOUNT: MILD STEEL COATED BLADES & ELEMENTS: 3CR12; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | Ash and gypsum plant | Each | 30
6 |  | V-Plough Scrapper 1200BW | 620983 | SCRAPER, BELT: TYPE: V PLOUGH; DIMENSIONS: LG 1.2 M; MATERIAL: STL; APPLICATION: CONVEYORS; COMPLETE WITH POLYURETHANE BLADES E401; 150 MM BLADES; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | Ash and gypsum plant | Each | 50
7 |  | Blade Scrapper Short Element | 643090 | BLADE: TYPE: SCRAPER; DIMENSIONS: WD 110 X LG 130 MM; MATERIAL: 3CR12; OEM P/N: B6V004; B6V SHORT ELEMENT TORISON ARM SHORT C/W; RUBBER BOOTS | Ash and gypsum plant | Each | 200
8 |  | Blade: Scrapper with Tungsten | 624119 | BLADE: TYPE: SCRAPER; DIMENSIONS: LG 240 X THK 12 MM; MATERIAL: 3CR12; COLOR: WHITE; SPECIAL FEATURES: SELF ADJUSTING REVERSING OPERATION; MANUF P/N: B6V001; HAS 10 BLADES; 1200 MM CONVEYOR BELT | Ash and gypsum plant | Each | 200
9 |  | Blade: Scrapper with Tungsten | 670057 | BLADE: TYPE: TOP C/W LIP CARBIDE; DIMENSIONS: WD 180 X LG 200 X HT 40 MM; MATERIAL: STAINLESS STEEL; COLOR: SILVER; FURNISHED ITEMS: WITH HARDWARE SET INCLUDED SPECIAL FEATURES: TUNGSTEN CARBIDE TIPPED; MANUF P/N: 778181LIP; FOR USE ON HOSCH HD02/03 PRIMARY SCRAPER | Ash and gypsum plant | Each | 200
10 |  | Primary Scraper 1200BW | 620984 | SCRAPER, BELT: TYPE: PRIMARY HEAD; DIMENSIONS: LG 1.2 M; MATERIAL: STL; APPLICATION: CONVEYORS; COMPLETE WITH POLYURETHANE BLADES E901-TT 150 MM BLADES; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | Ash and gypsum plant | Each | 50
11 |  | Secondary Scraper 1200BW | 620982 | SCRAPER, BELT: TYPE: SECONDARY; DIMENSIONS: LG 1.2 M; MATERIAL: TUNGSTEN CARBIDE; APPLICATION: CONVEYORS; COMPLETE WITH POLYURETHANE DOUBLE ROW MULTI-BLADES E305S-T3; (GLASS REINFORCED NYLON BLADE 120) GRADE: 2; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | Ash and gypsum plant | Each | 50
12 |  | Primary Scraper 900BW | 758542 | SCRAPER ASSEMBLY: TYPE: BELT PRIMARY SCRAPERS; DIMENSIONS: WD 726mm x LG 1890mm MM; MATERIAL: TUNGSTEN-CARBIDE TIPPED; APPLICATION: BELT CLEANING; SPECIFICATION: HD02 HOSCH; THE SCRAPER SETS ARE FOR GY1A-B, GY2A-B, CVY 1, CVY 2 AND CVY 3. | Ash and gypsum plant | Each | 50
13 |  | Hosch Secondary 900BW | 758562 | SCRAPER ASSEMBLY: TYPE: BELT SECONDARY SCRAPERS; DIMENSIONS: 960mm x 2430mm MM; MATERIAL: TUNGSTEN CARBIDE BLADE; APPLICATION: BELT CLEANING; SPECIFICATION: SPRUNG BLADE B6V HOSCH; THE SCRAPER SETS ARE FOR GYC1A-B, CVY1, CVY2 AND CVY3 | Ash and gypsum plant | Each | 20
1 | Delivery | N/A | N/A | DELIVERY (12 TON CRANE TRUCK) (2 DELIVERIES PER MONTH) | N/A | Days | 120
TOTAL AMOUNT EXCL. VAT

## Refurb
2025-12-04
PROJECT: SUPPLY, DELIVERY AND REFURBISH OF MISCELLANEOUS SPARES FOR BALANCE OF PLANT ON AS AND WHEN REQUIRED BASIS AT KUSILE POWER STATION FOR A PERIOD OF FIVE (5) YEARS
REFURBISHMENT OF MISCELLANEOUS SPARES
| Equipment Name | TAC1&2, OLC1&2, SYS1, T4A-F take-up winch, Reclaimer 1,2&3 rake winch
| Equipment Description | WINCH: TYPE: ELECTRIC MOTORIZED TAKE UP; CAPACITY: 8.2 T; DIMENSIONS: WD 723 X HT 698 MM; SUPPL P/N: 13000.S; DRAWING NO: AC0301-0403-ALL-MAN-E00030 REV 0; INPUT SPEED: 193 RPM; GEAR RATIO: 392:1; FACTOR OF SAFETY 4.5:1; ROPE SIZE AND CONSTRUCTION: DIA (6 X 36) X LG 26 M GALVANISED STL; ROPE SPEED: 0.7M/MM (FULL DRUM); ROPE CAPACITY: 103 M (FULL DRUM); ELECTRIC GEARED MOTOR; WEG-MOTOR SPEC: 2.2 KW; 400V; 50HZ; IP66; 4 POLE; NFP; SQUIRREL CAGE; FLANGED MOUNTED; FRAME: 100L; CW SITI TYPE; MNHL 25/2-7.37:1; PAM 28/250; HELICAL GEARBOX; SUPPLIER TO SUPPLY DATASHEETS/DATABOOKS
| Material Number | 0620039
| Area - Location | Coal Plant
| Required Quantity | 20 Off
ITEM NO. | TASK DESCRIPTION | UOM | QUANTITY | RATE | AMOUNT
1.1 | Repair
1.1.1 | Parts Required for Repairs (Bearings, Seals. Bushes, etc) | Lot | 20
1.1.2 | Strip and assess for winch assembly | Hours | 40
1.1.3 | Cleaning of all components of winch | Hours | 40
1.1.4 | Inspect, repair and replace gears | Hours | 30
1.1.5 | Inspect, repair and replacement shaft | Hours | 10
1.1.6 | Replacement of bearings | Hours | 10
1.1.7 | Inspect, repair and replace winch rope/cable | Hours | 40
1.1.8 | Service the rope feeder/winding guide unit | Hours | 40
1.1.9 | Inspect, repair the drum | Hours | 4
1.1.10 | Replace brake fluid, lining and seals | Hours | 40
1.1.11 | Welding and machining of worn-out portions | Hours | 20
1.1.12 | Replace all gaskets, rubber items and seals | Hours | 4
1.1.13 | Exterior surfaces cleaned of all loose scale and rust | Hours | 10
1.1.14 | Entire drum and shaft surfaces cleaned and sandblasted of all dirt and oil | Hours | 10
1.1.15 | One coat of orange enamel applied on the exterior | Hours | 10
1.1.16 | New identification tag with date overhauled, contractor job number, Eskom purchase order number and details of the OEM | Each | 20
1.2 | Testing
1.2.1 | Vibration and other non-destructive testing | Hours | 20
1.2.2 | Test running to check contact patterns, clearances, backlash, and freedom of movement. | Hours | 20
1.3 | Documentation
1.3.1 | Strip condition report (Engineering Technician) | Each | 20
1.3.2 | QCP (Quality Control Plan) | Each | 20
1.3.3 | Final Data Pack (Engineering Technician) consisting of below: | Each | 20
1.3.4 | Strip condition report | Included in item 1.3.3
1.3.5 | Copy of Quotation
1.3.6 | Copy of order
1.3.7 | Assembly condition report
1.3.8 | Completed QCP
1.3.9 | Material Certificates (where applicable)
1.3.10 | NDT Test Reports (where applicable)
1.3.11 | Performnace test Certificate
1.3.12 | Final QC check list
1.3.13 | Warranty Certificate
1.4 | Transportation
1.4.1 | Collection from site (4 Ton Truck) | Each | 20
1.4.2 | Delivery to site (4 Ton Truck) | Each | 20
1.4.3 | 10 Ton Forklift (Rental for 2 days per month for collection and delivery) | Per Day | 40
Total for Item 1 (TAC1&2, OLC1&2, SYS1, T4A-F take-up winch, Reclaimer 1,2&3 rake winch)
| Equipment Name | ERC
| Equipment Description | WINCH: TYPE: ELECTRIC MOTORIZED TAKE UP; CAPACITY: 3.5 T; DIMENSIONS: WD 476 X LG 396 X HT 443 MM; SUPPL P/N: 5000.S; DRAWING NO: AC0301-0403-ALL-MAN-E0028 REV 0; INPUT SPEED: 193 RPM; GEAR RATIO: 76.8:1; 1.5M/MM (1ST LAYER); ROPE CAPACITY: 63 M (FULL DRUM); ELECTRIC GEARED MOTOR; WEG-MOTOR SPEC: 2.2 KW; 400V; 50HZ; IP66; 4 POLE; NFP; SQUIRREL CAGE; FLANGED MOUNTED; FRAME: 100L; CW SITI TYPE; MNHL 25/2-7.37:1; PAM 28/250; HELICAL GEARBOX; SUPPLIER TO SUPPLY DATASHEETS/DATABOOKS
| Material Number | 0620037
| Area - Location | Ash Plant
| Required Quantity | 5 Off
ITEM NO. | TASK DESCRIPTION | UOM | QUANTITY | RATE | AMOUNT
2.1 | Repair
2.1.1 | Parts Required for Repairs (Bearings, Seals. Bushes, etc) | Lot | 5
2.1.2 | Strip and assess for winch assembly | Hours | 10
2.1.3 | Cleaning of all components of winch | Hours | 10
2.1.4 | Inspect, repair and replace gears | Hours | 7.5
2.1.5 | Inspect, repair and replacement shaft | Hours | 2.5
2.1.6 | Replacement of bearings | Hours | 2.5
2.1.7 | Inspect, repair and replace winch rope/cable | Hours | 10
2.1.8 | Service the rope feeder/winding guide unit | Hours | 10
2.1.9 | Inspect, repair the drum | Hours | 1
2.1.10 | Replace brake fluid, lining and seals | Hours | 10
2.1.11 | Welding and machining of worn-out portions | Hours | 5
2.1.12 | Replace all gaskets, rubber items and seals | Hours | 1
2.1.13 | Exterior surfaces cleaned of all loose scale and rust | Hours | 2.5
2.1.14 | Entire drum and shaft surfaces cleaned and sandblasted of all dirt and oil | Hours | 2.5
2.1.15 | One coat of orange enamel applied on the exterior | Hours | 2.5
2.1.16 | New identification tag with date overhauled, contractor job number, Eskom purchase order number and details of the OEM | Each | 5
2.2 | Testing
2.2.1 | Vibration and other non-destructive testing | Hours | 5
2.2.2 | Test running to check contact patterns, clearances, backlash, and freedom of movement. | Hours | 5
2.3 | Documentation
2.3.1 | Strip condition report (Engineering Technician) | Each | 5
2.3.2 | QCP (Quality Control Plan) | Each | 5
2.3.3 | Final Data Pack (Engineering Technician) consisting of below: | Each | 5
2.3.4 | Strip condition report | Included in item 2.3.3
2.3.5 | Copy of Quotation
2.3.6 | Copy of order
2.3.7 | Assembly condition report
2.3.8 | Completed QCP
2.3.9 | Material Certificates (where applicable)
2.3.10 | NDT Test Reports (where applicable)
2.3.11 | Performnace test Certificate
2.3.12 | Final QC check list
2.3.13 | Warranty Certificate
2.4 | Transportation
2.4.1 | Collection from site (4 Ton Truck) | Each | 5
2.4.2 | Delivery to site (4 Ton Truck) | Each | 5
2.4.3 | 10 Ton Forklift (Rental for 2 days per month for collection and delivery) | Per Day | 10
Total for Item 2 (ERC)
| Equipment Name | ESC & CVY1
| Equipment Description | WINCH: TYPE: ELECTRIC MOTORIZED TAKE UP; CAPACITY: 5.4 T; DIMENSIONS: WD 710 X HT 638 MM; SUPPL P/N: 8000.S; DRAWING NO: AC0301-0403-ALL-MAN-E0029 REV 0; INPUT SPEED: 193 RPM; GEAR RATIO: 152:1; FACTOR OF SAFETY 4.5:1; ROPE SIZE AND CONSTRUCTION: DIA (6 X 36) X LG 20 M GALVANISED STL; ROPE SPEED: 1.3M/MM (FULL DRUM); ROPE CAPACITY: 94 M (FULL DRUM); ELECTRIC GEARED MOTOR; WEG-MOTOR SPEC: 2.2 KW; 400V; 50HZ; IP66; 4 POLE; NFP; SQUIRREL CAGE; FLANGED MOUNTED; FRAME: 100L; CW SITI TYPE; MNHL 25/2-7.37:1; PAM 28/250; HELICAL GEARBOX; SUPPLIER TO SUPPLY DATASHEETS/DATABOOKS
| Material Number | 0620038
| Area - Location | Ash Plant
| Required Quantity | 5 Off
ITEM NO. | TASK DESCRIPTION | UOM | QUANTITY | RATE | AMOUNT
3.1 | Repair
3.1.1 | Parts Required for Repairs (Bearings, Seals. Bushes, etc) | Lot | 5
3.1.2 | Strip and assess for winch assembly | Hours | 10
3.1.3 | Cleaning of all components of winch | Hours | 10
3.1.4 | Inspect, repair and replace gears | Hours | 7.5
3.1.5 | Inspect, repair and replacement shaft | Hours | 2.5
3.1.6 | Replacement of bearings | Hours | 2.5
3.1.7 | Inspect, repair and replace winch rope/cable | Hours | 10
3.1.8 | Service the rope feeder/winding guide unit | Hours | 10
3.1.9 | Inspect, repair the drum | Hours | 1
3.1.10 | Replace brake fluid, lining and seals | Hours | 10
3.1.11 | Welding and machining of worn-out portions | Hours | 5
3.1.12 | Replace all gaskets, rubber items and seals | Hours | 1
3.1.13 | Exterior surfaces cleaned of all loose scale and rust | Hours | 2.5
3.1.14 | Entire drum and shaft surfaces cleaned and sandblasted of all dirt and oil | Hours | 2.5
3.1.15 | One coat of orange enamel applied on the exterior | Hours | 2.5
3.1.16 | New identification tag with date overhauled, contractor job number, Eskom purchase order number and details of the OEM | Each | 5
3.2 | Testing
3.3.1 | Vibration and other non-destructive testing | Hours | 5
3.3.2 | Test running to check contact patterns, clearances, backlash, and freedom of movement. | Hours | 5
3.3 | Documentation
3.3.1 | Strip condition report (Engineering Technician) | Each | 5
3.3.2 | QCP (Quality Control Plan) | Each | 5
3.3.3 | Final Data Pack (Engineering Technician) consisting of below: | Each | 5
3.3.4 | Strip condition report | Included in item 3.3.3
3.3.5 | Copy of Quotation
3.3.6 | Copy of order
3.3.7 | Assembly condition report
3.3.8 | Completed QCP
3.3.9 | Material Certificates (where applicable)
3.3.10 | NDT Test Reports (where applicable)
3.3.11 | Performnace test Certificate
3.3.12 | Final QC check list
3.3.13 | Warranty Certificate
3.4 | Transportation
3.4.1 | Collection from site (4 Ton Truck) | Each | 5
3.4.2 | Delivery to site (4 Ton Truck) | Each | 5
3.4.3 | 10 Ton Forklift (Rental for 2 days per month for collection and delivery) | Per Day | 10
Total for Item 3 (ESC & CVY1)
| Equipment Name | T4A-F moving head, TAC1
| Equipment Description | WINCH: TYPE: MOVING HEAD; CAPACITY: 1.8 T; DIMENSIONS: WD 850 X LG 973 X HT 585 MM; DRAWING NO: AC0301-0403-ALL-MAN-E00031 REV 0; WITH FLANGE: DIA 450MM; ENDS GROOVED TO SUIT: DIA 16MM SWR; WINCH BASE: WD 850 X LG 973; EPICYCLIC GEAR: HE30; RATIO: 5.8:1; BONFIGLIOLI MODEL W110-UFC-P100-B5/B8; FLANGE MOUNTED UNIT RATIO: 40:1; ELECTRIC MOTOR SPEC: WEG-MOTOR 3 KW; 400V; 50HZ; IP55; 4 POLE; NFP; SQUIRREL CAGE; MOUNTED: FLANGE; FRAME: 100L; CW BINDER TYPE 76431-13H00; ELECTRONIMAGNETIC DISC BRAKE AND ELECTRONIC RECTIFIER TYPE 32-67304-B00 (220-500VAC) MOTOR AND BRAKE CERTIFIED DUST IGNITION PROOF; ROPE SIZE AND CONSTRUCTION: DIA (6 X 36) X LG 16 M GALVANIZED STL; ROPE SPEED: 5.4M/MM (FULL DRUM); ROPE CAPACITY: 10 M (TRAVEL); SUPPLIER TO SUPPLY DATASHEETS/DATABOOKS
| Material Number | 620040
| Area - Location | Ash Plant
| Required Quantity | 10 Off
ITEM NO. | TASK DESCRIPTION | UOM | QUANTITY | RATE | AMOUNT
4.1 | Repair
4.1.1 | Parts Required for Repairs (Bearings, Seals. Bushes, etc) | Lot | 10
4.1.2 | Strip and assess for winch assembly | Hours | 25
4.1.3 | Cleaning of all components of winch | Hours | 25
4.1.4 | Inspect, repair and replace gears | Hours | 20
4.1.5 | Inspect, repair and replacement shaft | Hours | 5
4.1.6 | Replacement of bearings | Hours | 10
4.1.7 | Inspect, repair and replace winch rope/cable | Hours | 20
4.1.8 | Service the rope feeder/winding guide unit | Hours | 20
4.1.9 | Inspect, repair the drum | Hours | 14
4.1.10 | Replace brake fluid, lining and seals | Hours | 20
4.1.11 | Welding and machining of worn-out portions | Hours | 15
4.1.12 | Replace all gaskets, rubber items and seals | Hours | 2
4.1.13 | Exterior surfaces cleaned of all loose scale and rust | Hours | 5
4.1.14 | Entire drum and shaft surfaces cleaned and sandblasted of all dirt and oil | Hours | 10
4.1.15 | One coat of orange enamel applied on the exterior | Hours | 10
4.1.16 | New identification tag with date overhauled, contractor job number, Eskom purchase order number and details of the OEM | Each | 10
4.2 | Testing
4.4.1 | Vibration and other non-destructive testing | Hours | 10
4.4.2 | Test running to check contact patterns, clearances, backlash, and freedom of movement. | Hours | 10
4.3 | Documentation
4.4.1 | Strip condition report (Engineering Technician) | Each | 10
4.4.2 | QCP (Quality Control Plan) | Each | 10
4.4.3 | Final Data Pack (Engineering Technician) consisting of below: | Each | 10
4.4.4 | Strip condition report | Included in item 4.3.3
4.4.5 | Copy of Quotation
4.4.6 | Copy of order
4.4.7 | Assembly condition report
4.4.8 | Completed QCP
4.4.9 | Material Certificates (where applicable)
4.4.10 | NDT Test Reports (where applicable)
4.4.11 | Performnace test Certificate
4.4.12 | Final QC check list
4.4.13 | Warranty Certificate
4.4 | Transportation
4.4.1 | Collection from site (4 Ton Truck) | Each | 10
4.4.2 | Delivery to site (4 Ton Truck) | Each | 10
4.4.3 | 10 Ton Forklift (Rental for 2 days per month for collection and delivery) | Per Day | 20
Total for Item 4 (T4A-F moving head, TAC1)
| Equipment Name | N/A
| Equipment Description | WINCH: TYPE: MOTORIZED HAND; CAPACITY: 6000 KG; DIMENSIONS: 1678 X 723 X 698 MM; MANUF P/N: 130005MK2; DRAWING NO: 0.84/10517 SHT1 REV 0; SUPPLIED WITH 2.2KW 400V IP65 MOTOR; ROPE SPEED: 0.7M/MIN; ROPE SIZE: DIA 22 X 6 X 36 (IWRC) GALVANISED; RIGHT HAND DRUM GROOVE 23 PITCH 5.5MM DEEP 11.5 M RADIUS
| Material Number | 582673
| Area - Location | Coal Plant
| Required Quantity | 5 Off
ITEM NO. | TASK DESCRIPTION | UOM | QUANTITY | RATE | AMOUNT
5.1 | Repair
5.1.1 | Parts Required for Repairs (Bearings, Seals. Bushes, etc) | Lot | 5
5.1.2 | Strip and assess for winch assembly | Hours | 10
5.1.3 | Cleaning of all components of winch | Hours | 10
5.1.4 | Inspect, repair and replace gears | Hours | 7.5
5.1.5 | Inspect, repair and replacement shaft | Hours | 2.5
5.1.6 | Replacement of bearings | Hours | 2.5
5.1.7 | Inspect, repair and replace winch rope/cable | Hours | 10
5.1.8 | Service the rope feeder/winding guide unit | Hours | 10
5.1.9 | Inspect, repair the drum | Hours | 1
5.1.10 | Replace brake fluid, lining and seals | Hours | 10
5.1.11 | Welding and machining of worn-out portions | Hours | 5
5.1.12 | Replace all gaskets, rubber items and seals | Hours | 1
5.1.13 | Exterior surfaces cleaned of all loose scale and rust | Hours | 2.5
5.1.14 | Entire drum and shaft surfaces cleaned and sandblasted of all dirt and oil | Hours | 2.5
5.1.15 | One coat of orange enamel applied on the exterior | Hours | 2.5
5.1.16 | New identification tag with date overhauled, contractor job number, Eskom purchase order number and details of the OEM | Each | 5
5.2 | Testing
5.5.1 | Vibration and other non-destructive testing | Hours | 5
5.5.2 | Test running to check contact patterns, clearances, backlash, and freedom of movement. | Hours | 5
5.3 | Documentation
5.5.1 | Strip condition report (Engineering Technician) | Each | 5
5.5.2 | QCP (Quality Control Plan) | Each | 5
5.5.3 | Final Data Pack (Engineering Technician) consisting of below: | Each | 5
5.5.4 | Strip condition report | Included in item 5.3.3
5.5.5 | Copy of Quotation
5.5.6 | Copy of order
5.5.7 | Assembly condition report
5.5.8 | Completed QCP
5.5.9 | Material Certificates (where applicable)
5.5.10 | NDT Test Reports (where applicable)
5.5.11 | Performnace test Certificate
5.5.12 | Final QC check list
5.5.13 | Warranty Certificate
5.4 | Transportation
5.5.1 | Collection from site (4 Ton Truck) | Each | 5
5.5.2 | Delivery to site (4 Ton Truck) | Each | 5
5.5.3 | 10 Ton Forklift (Rental for 2 days per month for collection and delivery) | Per Day | 10
Total for Item 5
| Equipment Name | SY1, SY3A&B moving head, SYR1,2 &3 moving head and SYS2
| Equipment Description | WINCH: TYPE: MOVING HEAD; CAPACITY: 3 T; DIMENSIONS: WD 1 M X LG 1.095 M X HT 752.4 MM; SUPPL P/N: 4835-302-SY
| Material Number | 0635883
| Area - Location | Coal Plant
| Required Quantity | 20 Off
ITEM NO. | TASK DESCRIPTION | UOM | QUANTITY | RATE | AMOUNT
6.1 | Repair
6.1.1 | Parts Required for Repairs (Bearings, Seals. Bushes, etc) | Lot | 20
6.1.2 | Strip and assess for winch assembly | Hours | 40
6.1.3 | Cleaning of all components of winch | Hours | 40
6.1.4 | Inspect, repair and replace gears | Hours | 30
6.1.5 | Inspect, repair and replacement shaft | Hours | 10
6.1.6 | Replacement of bearings | Hours | 10
6.1.7 | Inspect, repair and replace winch rope/cable | Hours | 40
6.1.8 | Service the rope feeder/winding guide unit | Hours | 40
6.1.9 | Inspect, repair the drum | Hours | 4
6.1.10 | Replace brake fluid, lining and seals | Hours | 40
6.1.11 | Welding and machining of worn-out portions | Hours | 20
6.1.12 | Replace all gaskets, rubber items and seals | Hours | 4
6.1.13 | Exterior surfaces cleaned of all loose scale and rust | Hours | 10
6.1.14 | Entire drum and shaft surfaces cleaned and sandblasted of all dirt and oil | Hours | 10
6.1.15 | One coat of orange enamel applied on the exterior | Hours | 10
6.1.16 | New identification tag with date overhauled, contractor job number, Eskom purchase order number and details of the OEM | Each | 20
6.2 | Testing
6.6.1 | Vibration and other non-destructive testing | Hours | 20
6.6.2 | Test running to check contact patterns, clearances, backlash, and freedom of movement. | Hours | 20
6.3 | Documentation
6.6.1 | Strip condition report (Engineering Technician) | Each | 20
6.6.2 | QCP (Quality Control Plan) | Each | 20
6.6.3 | Final Data Pack (Engineering Technician) consisting of below: | Each | 20
6.6.4 | Strip condition report | Included in item 6.3.3
6.6.5 | Copy of Quotation
6.6.6 | Copy of order
6.6.7 | Assembly condition report
6.6.8 | Completed QCP
6.6.9 | Material Certificates (where applicable)
6.6.10 | NDT Test Reports (where applicable)
6.6.11 | Performnace test Certificate
6.6.12 | Final QC check list
6.6.13 | Warranty Certificate
6.4 | Transportation
6.6.1 | Collection from site (4 Ton Truck) | Each | 20
6.6.2 | Delivery to site (4 Ton Truck) | Each | 20
6.6.3 | 10 Ton Forklift (Rental for 2 days per month for collection and delivery) | Per Day | 40
Total for Item 6 (SY1, SY3A&B moving head, SYR1,2 &3 moving head and SYS2)
| Equipment Name | N/A
| Equipment Description | WINCH: TYPE: MOVING HEAD; CAPACITY: 1.8 T; DIMENSIONS: WD 16 X LG 36 X HT 6 MM; LAY ON/LAY OFF; MATERIAL: GLAV STL WIRE ROPE; TRAVEL: 10M; ROPE SPEED: 5.4M/MIN; 1/2 AB ELECTRIC WINCH
| Material Number | 0634524
| Area - Location | Ash and Limestone
| Required Quantity | 5 Off
ITEM NO. | TASK DESCRIPTION | UOM | QUANTITY | RATE | AMOUNT
7.1 | Repair
7.1.1 | Parts Required for Repairs (Bearings, Seals. Bushes, etc) | Lot | 5
7.1.2 | Strip and assess for winch assembly | Hours | 10
7.1.3 | Cleaning of all components of winch | Hours | 10
7.1.4 | Inspect, repair and replace gears | Hours | 7.5
7.1.5 | Inspect, repair and replacement shaft | Hours | 2.5
7.1.6 | Replacement of bearings | Hours | 2.5
7.1.7 | Inspect, repair and replace winch rope/cable | Hours | 10
7.1.8 | Service the rope feeder/winding guide unit | Hours | 10
7.1.9 | Inspect, repair the drum | Hours | 1
7.1.10 | Replace brake fluid, lining and seals | Hours | 10
7.1.11 | Welding and machining of worn-out portions | Hours | 5
7.1.12 | Replace all gaskets, rubber items and seals | Hours | 1
7.1.13 | Exterior surfaces cleaned of all loose scale and rust | Hours | 2.5
7.1.14 | Entire drum and shaft surfaces cleaned and sandblasted of all dirt and oil | Hours | 2.5
7.1.15 | One coat of orange enamel applied on the exterior | Hours | 2.5
7.1.16 | New identification tag with date overhauled, contractor job number, Eskom purchase order number and details of the OEM | Each | 5
7.2 | Testing
7.7.1 | Vibration and other non-destructive testing | Hours | 5
7.7.2 | Test running to check contact patterns, clearances, backlash, and freedom of movement. | Hours | 5
7.3 | Documentation
7.7.1 | Strip condition report (Engineering Technician) | Each | 5
7.7.2 | QCP (Quality Control Plan) | Each | 5
7.7.3 | Final Data Pack (Engineering Technician) consisting of below: | Each | 5
7.7.4 | Strip condition report | Included in item 7.3.3
7.7.5 | Copy of Quotation
7.7.6 | Copy of order
7.7.7 | Assembly condition report
7.7.8 | Completed QCP
7.7.9 | Material Certificates (where applicable)
7.7.10 | NDT Test Reports (where applicable)
7.7.11 | Performnace test Certificate
7.7.12 | Final QC check list
7.7.13 | Warranty Certificate
7.4 | Transportation
7.7.1 | Collection from site (4 Ton Truck) | Each | 5
7.7.2 | Delivery to site (4 Ton Truck) | Each | 5
7.7.3 | 10 Ton Forklift (Rental for 2 days per month for collection and delivery) | Per Day | 10
Total for Item 7
GRAND TOTAL EXCL. VAT