Part 3: Scope of Work

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 |
| C3.1 | Employer’s Works Information |  |
| C3.2 | Contractor’s Works Information (insert at award stage or delete if not applicable) |  |
|  | Total number of pages |  |

C3.1: Employer’s works Information

Contents

When the document is complete, insert a ‘Table of Contents’.  To do this go to:  Insert, → Reference, → Index and tables → Table of Contents.  Three levels and the title (but not the subtitle) may be shown if the formats used in this template are retained.

Part 3: Scope of Work	1

C3.1: Employer’s works Information	2

1	Description of the works	5

1.1	Executive overview	5

1.2	Employer’s objectives and purpose of the works	5

1.3	Interpretation and terminology	5

2	Management and start up.	5

2.1	Management meetings	5

2.2	Documentation control	6

2.3	Health and safety risk management	6

2.4	Environmental constraints and management	7

2.5	Quality assurance requirements	7

2.6	Programming constraints	7

2.7	Contractor’s management, supervision and key people	7

2.8	Invoicing and payment	7

2.9	Insurance provided by the Employer	8

2.10	Contract change management	8

2.11	Provision of bonds and guarantees	8

2.12	Records of Defined Cost, payments & assessments of compensation events to be kept by the Contractor	8

2.13	Training workshops and technology transfer	8

3	Engineering and the Contractor’s design	9

3.1	Employer’s design	9

3.2	Parts of the works which the Contractor is to design	9

3.3	Procedure for submission and acceptance of Contractor’s design	9

3.4	Other requirements of the Contractor’s design	9

3.5	Use of Contractor’s design	9

3.6	Design of Equipment	9

3.7	Equipment required to be included in the works	10

3.8	As-built drawings, operating manuals and maintenance schedules	10

4	Procurement	11

4.1	People	11

4.1.1	Minimum requirements of people employed on the Site	11

4.1.2	BBBEE and preferencing scheme	11

4.1.3	Accelerated Shared Growth Initiative – South Africa (ASGI-SA)	11

4.2	Subcontracting	11

4.2.1	Preferred subcontractors	11

4.2.2	Subcontract documentation, and assessment of subcontract tenders	11

4.2.3	Limitations on subcontracting	12

4.2.4	Attendance on subcontractors	12

4.3	Plant and Materials	12

4.3.1	Quality	12

4.3.2	Plant & Materials provided “free issue” by the Employer	12

4.3.3	Contractor’s procurement of Plant and Materials	12

4.3.4	Spares and consumables	12

4.4	Tests and inspections before delivery	13

4.5	Marking Plant and Materials outside the Working Areas	13

4.6	Contractor’s Equipment (including temporary works).	13

4.7	Cataloguing requirements	13

5	Construction	14

5.1	Temporary works, Site services & construction constraints	14

5.1.1	Employer’s Site entry and security control, permits, and Site regulations	14

5.1.2	Restrictions to access on Site, roads, walkways and barricades	14

5.1.3	People restrictions on Site; hours of work, conduct and records	14

5.1.4	Health and safety facilities on Site	14

5.1.5	Environmental controls, fauna & flora, dealing with objects of historical interest	14

5.1.6	Title to materials from demolition and excavation	14

5.1.7	Cooperating with and obtaining acceptance of Others	15

5.1.8	Publicity and progress photographs	15

5.1.9	Contractor’s Equipment	15

5.1.10	Equipment provided by the Employer	15

5.1.11	Site services and facilities	15

5.1.12	Facilities provided by the Contractor	15

5.1.13	Existing premises, inspection of adjoining properties and checking work of Others	15

5.1.14	Survey control and setting out of the works	16

5.1.15	Excavations and associated water control	16

5.1.16	Underground services, other existing services, cable and pipe trenches and covers	16

5.1.17	Control of noise, dust, water and waste	16

5.1.18	Sequences of construction or installation	16

5.1.19	Giving notice of work to be covered up	16

5.1.20	Hook ups to existing works	16

5.2	Completion, testing, commissioning and correction of Defects	17

5.2.1	Work to be done by the Completion Date	17

5.2.2	Use of the works before Completion has been certified	17

5.2.3	Materials facilities and samples for tests and inspections	17

5.2.4	Commissioning	17

5.2.5	Start-up procedures required to put the works into operation	17

5.2.6	Take over procedures	18

5.2.7	Access given by the Employer for correction of Defects	18

5.2.8	Performance tests after Completion	18

5.2.9	Training and technology transfer	18

5.2.10	Operational maintenance after Completion	18

6	Plant and Materials standards and workmanship	19

6.1	Investigation, survey and Site clearance	19

6.2	Building works	19

6.3	Civil engineering and structural works	19

6.4	Electrical & mechanical engineering works	20

6.5	Process control and IT works	20

6.6	Other [as required]	20

7	List of drawings	21

7.1	Drawings issued by the Employer	21

C3.2	Contractor’s Works Information	22

# Description of the works

## Executive overview

Eskom Holdings SOC Ltd (the "Employer") desires to engage the services of an Engineering, Procurement and Construction (EPC) Contractor (the “Contractor”) to undertake, on a lump-sum basis under an EPC Contract (the “Contract”), all studies, permitting, design, engineering, procurement, manufacturing, deliveries to Site, execution, erection, commissioning, testing, completion until the end of the Defects Liability Period, making good defects and warranty cover during the Defects Liability Period, and other works (altogether defined as the “Works”) necessary to construct a solar photovoltaic (PV) power Plant (the “Plant”), the access road, the Site facilities and any additional infrastructure (the “Project”).

The Project is to be situated between 25o 56’ and 25o 58’ S and between 29o 46’ and 29o 48’ E. The site is owned by Eskom Holding SOC Limited (Eskom) and located on the same property as the existing Eskom Arnot Power Station. The site is approximately 25.8 ha in size and included in portion 24 of the farm Rietkuil 491 JS.

## Employer’s objectives and purpose of the works

The Arnot Solar PV Project is one of the reference projects within the iLanga Solar PV Rollout Programme and is aimed at showcasing Eskom’s capability of developing and executing utility scale ground mounted Solar PV projects. The Concept Design is executed to describe, evaluate, and propose technically feasible Solar PV designs for the identified Project site at Arnot Power Station. It is important to note that the Project will be executed by appointing an EPC Contractor. The EPC Contractor will perform the detailed design of the PV Plant, and may select components and designs that are different to the ones presented in this Concept Design

Eskom’s Renewables Operating Unit requires the capability to produce electricity generated from Solar PV to supply Arnot Power Station’s auxiliaries as identified in the Power Stations Site Screening. The objective of the Solar PV installation is to provide “clean” electricity to Arnot Power Station’s auxiliaries for own consumption, thereby increasing the overall electrical energy exported from Arnot Power Station onto the National Grid.

## Interpretation and terminology

If required include here definitions additional to those used in the conditions of contract which are required only for the purpose of making the Works Information easier to draft and read.  Also list abbreviations used and provide a full interpretation of each one, for example:

The following abbreviations are used in this Works Information:

| Abbreviation | Meaning given to the abbreviation |
| --- | --- |
| CV | Curriculum Vitae |
| EPC | Engineering, Procurement and Construction |
| MDL | Master Document List |
| O&M | Operation and Maintenance |
| PSiRA | Private Security Industry Regulatory Authority |
| PTW | Permit to Work |
| PV | Photovoltaic |
| SHEQ | Safety, Health, Environment and Quality |

# Management and start up.

## Management meetings

Contract performance meetings will be set up from time to time between the Contractor and the Employer's Project Manager. The scheduling of these meetings will be at the discretion of Arnot Power Station as and when required. The meetings will be conducted formally where contract KPI's will be discussed. The Contractor needs to ensure the availability of the representative with a delegated authority to attend these meetings. The meeting minutes will be recorded and distributed to the contractor electronically for record keeping and actioning of the agreed activities.

Regular meetings of a general nature may be convened and chaired by the Project Manager as follows:

| Title and purpose | Approximate time & interval | Location | Attendance by: |
| --- | --- | --- | --- |
| Risk register and compensation events | Monthly at progress meetings. | Arnot Power Station | Employer and Contractor (incl. risk management personnel from both parties) |
| Overall contract progress and feedback | Monthly at progress and management meetings. | Arnot Power Station | Employer (or representatives) and Contractor |
| Design review progress | Weekly during design phase | Arnot Power Station | Employer (or representatives) and the Contractor (incl. Lead Design Engineer). |
| Site construction progress | Weekly during construction and commissioning phase | Arnot Power Station | Employer (or representatives) and Contractor (incl. Site Supervisor, construction foreman, SHEQ personnel.) |

Meetings of a specialist nature may be convened as specified elsewhere in this Works Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the works.  Records of these meetings shall be submitted to the Project Manager by the person convening the meeting within five days of the meeting.

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.

## Contractor’s management, Supervision, and Key People

## Documentation Control

### Documents for providing the Works

The Contractor shall compose and submit all Documentation and Technical Information required throughout the project.

Also refer to the Arnot Solar PV Plant Functional Specification for Project Documentation requirements.

All documents supplied by the Contractor shall be subject to Employer’s acceptance The Contractor shall include the Employer’s drawing number in the drawing title block. This requirement only applies to design drawings developed by the Contractor and his Sub-contractors. Drawing numbers will be assigned by the Employer as drawings are developed.

In Providing the Works, all documentation and data prepared and submitted by the Contractor conforms with and adheres to the requirements of:

- On receipt of documentation from the Project Manager, the Contractor verifies receipt of all transmitted documentation, including document status/revision. The Contractor advises the Project Manager in writing of any discrepancies, omissions or poor quality in the documentation.

- The Project Manager ensures that the document schedule is maintained and kept up to date for the duration of the contract.

- Prior to commencement of any Works, the Contractor confirms with the Project Manager that the Contractor is in receipt of and is working to the latest revision of all necessary documentation. All rectification undertaken by the Contractor resulting from a failure to do so will be to the Contractor’s account.

- In cases where modifications or additions are required on Site, a Field Change Notification (FCN) will be submitted by the Contractor. The Project Manager will issue the required instruction and documentation. The Contractor will neatly mark up, on the latest edition and revision of such documentation as may be impacted, all field changes undertaken in the course of the construction and these mark-ups will be submitted as part of "As Built" documentation at the final hand over.

- Each supplier of documentation and data to the project is responsible for ensuring that all documentation and data submitted conforms to the Project Standards and data quality requirements in terms of numbering, uniqueness, quality, accuracy, format, completeness and currency of information. Data not meeting the Project Standards and data quality requirements will be cause for rejection and returned to the Contractor for corrective action and resubmission.

- Should any change be made to documentation or data, which has already been submitted to the Contractor, then new or revised documentation or data shall be issued by the Project Manager to replace the outdated information.

- The Contractor ensures that the Microsoft Office 2019, and Microsoft Project 2010 or Primevera or earlier software and suitable ‘IT’ Infrastructure are in place to support the electronic transmission of documentation.

- Electronic files submitted to or from the Project Manager, Contractor, and Employer are free of any known viruses and extraneous “macros”.

### Transmittal

An incoming transmittal note accompanies all documentation submitted, by the Contractor. Upon receipt of the transmittal, the Employer signs to indicate acknowledgement of receipt and returns this to the Contractor.

The Contractor ensures that the incoming transmittal contains the following minimum metadata:

- Transmittal title

- Transmittal number and revision

- Contract title

- Contract number

- Purpose

- Originator’s/ Sender contact information

- Issue status

- Authorisation date

- Number of sets of attached documents

All Project documents (soft copies and hard copies) submitted, are listed on the transmittal with the following metadata fields:

- Title of the document

- Document Unique Identification number

- Revision number

- Name of Discipline

- Reason for issuing/submission

- Sender’s detail

- Sent date

- Recipient’s Details

- Date received

- Quantity of documentation referenced on the transmittal

- Number of copies

- Format/medium submitted

- Sender signature

- Recipient signature, once submitted, to acknowledge receipt

The Contractor compiles and submits all the documentation, for the various phases of the project, in accordance with the agreed Programme. Documentation and drawings are programmed for delivery to meet the milestone dates and in accordance with the agreed MDL, that is to be developed by the Contractor.

The Contractor includes the Employer’s drawing number in the drawing title block. This requirement only applies to design drawings developed by the Contractor and his Sub-Contractors. It does not apply to drawings developed by manufacturers for equipment and material such as valves, instruments, etc. Drawing numbers will be assigned by the Employer as drawings are developed.

### Email Subject

The email subject shall as a minimum, contain the following: (Project Name_Discipline_Subject)

Documentation is submitted to the Project Manager, as well as to the centralised and on-site Documentation Centres, by way of the following media:

- Electronic copies are submitted to both on site Documentation Centres, and to the Project Manager as well through generic email address (HYPERLINK "mailto:edrmsharedservices@eskom.co.za" edrmsharedservices@eskom.co.za).

- Electronic copies too large for email (above 6 Megabytes|), are delivered by large file transfer protocol.

- Hard copies are submitted to the Project Manager, accompanied by the Transmittal Note. These transmittals are also scanned and a copy sent to the project e-mail address as per the first bullet.

### Identification of the Documentation

The document will have the following as a minimum attribute on the cover page:

- Title of the document

- Document Unique Identification number (Employer’s number)

- Contractor Document number, if applicable

- Document status

- Revision number

- Document Type

- Document security level

- Document revision table/history

- Page number on the footer

- Document Author/Authoriser/

- Document Originator Contractor

The following additional attributes are important for technical documents:

Package/System name, sub-system if applicable

- Contractor name

- Contractor number

- Plant Identification Codes

### Format and Layout of Documents

For consistency, it is important that all documents used within a specific domain follow the same layout, style and formatting standard.

All Documents shall be equipped with an index where applicable. Such index shall be hyperlinked in electronic formats of the Documents. The Contractor shall submit the final Documentation in electronic format and on paper copies as shown in the table below.

| Paper Copies | Paper Copies |  | Flash Disk |
| --- | --- | --- | --- |
|  | Number | Size | Number |
| Documents | 2 | A4/A3 | 3 |
| Reports, Calculations and Technical Documents | 2 | A4 | 3 |
| Programmes and Work Plans | 2 | A3/A4 | 3 |
| Method Statements | 2 | A4 | 3 |
| Technical Data | 2 | A4 | 3 |
| Drawings | 2 | A2/A3 | 3 |
| Manufacturer's Information | 2 | A4 | 3 |
| Controls & Wiring Diagrams | 2 | A3/A4 | 3 |
| Scada Software | - | - | 3 |
| Antivirus Software | - | - | 3 |
| Test Certificates | 2 | A4 | 3 |
| Commissioning Records | 2 | A4 | 3 |
| O&M Manuals | 2 | A4 | 3 |
| Guarantees & Warranties | 2 | A4 | 3 |
| Reference Codes, Standards and Guides | 2 | - | 3 |

The Contractor shall employ all appropriate project electronic document handling systems for the transmission of the Documentation. Any or all of the Contractor’s Documents may be reviewed by the Employer to verify compliance with the Works Information Document and accordance with the Design Intent. All Contractor’s Documents selected for review will be given a status mark as shown in the table below.

| STATUS MARK | REVIEW COMMENT | MEANING |
| --- | --- | --- |
|  | No comment | The Contractor may proceed. |
|  | Comments as noted | The Contractor may proceed at their own risk, incorporating the comments in a timely manner, and resubmit. |
|  | Re-submit before proceeding | The Contractor must resubmit before proceeding. |

Any incomplete or substandard submissions will automatically be given 'C' status. The Contractor shall allow a period for the Employer to review and comment on the Contractor’s submitted Documents, as shown in the table below.

| TYPE OF SUBMISSION | WORKING DAYS | FROM |
| --- | --- | --- |
| Contractors’ Documents | 5 | Before date required by the Contractor |
| Draft O&M Manuals, draft record drawings and performance data | 5 | Before start of testing and commissioning |
| Commissioning & Testing Records | 5 | After tests |
| Input to the project Health & Safety File | 5 | Before construction commences |
| ‘A’ Status O&M Manuals and Record Drawings | 5 | Before Practical Completion |

Comments given by the Employer do not relieve the Contractors of their responsibilities and obligations regarding the execution of the works and compliance with the Contract Documentation and the Works Information Document. Comments given by the Employer do not constitute a Change under the Contract.

### Layout and Typography

Ensure that every document complies with the following font specifications:

- Font Colour: Black

- Main Headings Font Type: Arial, Bold, Capital Letters

- Main Heading Font Size: 12pt

- Subheadings Font Type: Arial, Bold, Title Case

- Subheadings Font Size: 11pt

- Body Font Type: Arial, Sentence Case i.e., only the first letter of the first word is a capital letter.

- Body Text Font size:  11pt

- Line Spacing: 1.5 line spacing

- Margins: standard

- Alignment:  full justification to be used

- Paragraphing: one line skip between paragraphs

- Pagination: centered page numbers (about 0.5 inches from bottom)

- Indentations:  standard tab for all paragraphs (about 0.4 to 0.5 inches)

### Drawings

The creation, issuing and control of all Engineering Drawings will be in accordance to the latest revision of the Employer’s standard: 240-86973501 (Engineering Drawing Standards – Common Requirements).

Drawings issued to the Employer may not be “Right Protected” or encrypted.

### Engineering Change Management

Any design changes that may be required on designs accepted by the Employer shall follow an engineering change process. The Contractor to submit his engineering change process to the Employer for approval 4 weeks after Contract award. The updated design to follow the document submission process as indicated in Functional Specification for Arnot Solar PV Plant. The Employer response times for the approval of design changes are 14 days.

### Handover requirements

The Contractor is required to handover documentation in such a way that it is compatible with Eskom Quality systems.

## Health and safety risk management

In addition to the requirements of the laws governing health and safety, Eskom may have some additional requirements particular to the works and the Working Areas for this contract.  The text below provides for these being attached as an Annexure to this Works Information. PLEASE ALSO READ CORE CLAUSE 27.4 TOGETHER WITH Z7 IN THE ADDITIONAL CONDITIONS OF CONTRACT TO MAKE SURE THAT WHATHEVER IS INCLUDED IN THE ANNEXURE FOLLOWS ON FROM THOSE CLAUSES.

The Divisional/Regional Safety Risk Manager or his representative having jurisdiction over the works must provide the relevant safety, health and environmental (SHE) criteria for incorporation into this Works Information. The SHE specification / scope must be signed off by the Divisional/Regional Safety Risk Manager or his representative confirming that the applicable safety criteria have been taken into account.

The Commodity Manager / Buyer must refer the tender to the Divisional/Regional Safety Risk Manager or his representative in order to evaluate against enquiry-specific safety criteria.

The Divisional Safety Risk Managers who will be responsible for the allocation of resources to assist P&SCM with the above processes are as follows:

·         Generation: Roley McIntyre

·         Transmission: Tony Patterson

·         Distribution: Alex Stramrood

·         Enterprises: Jace Naidoo

·         Corporate: Kerseri Pather

The Contractor shall comply with all health and safety requirements stated in OHS requirements for OHS requirements for Arnot solar PV 19.5 mw project to this Works information.

## Environmental constraints and management

The Contractor will keep noise and dust levels to a minimum. At no time shall his/her work result in nuisance, interference or danger to the Power Station or any other person working at the Arnot Power Station.

At no time shall the Contractor:

- allow any pollutive or toxic substance to be released into the air or storm water systems

- interfere with, or put at risk, the functionality of any system or service

- cause a fire or safety hazard

Arnot Power Station has an ISO 14000 accreditation. This will need to be maintained at all times by ensuring that Environmental legislation are followed and adhered too.

The Contractor shall comply with the environmental criteria and constraints stated in, but not limited to, the Arnot Solar PV Plant Functional Specification including the environmental authorisation.

## Quality Assurance Requirements

The Contractor shall comply with all quality assurance requirements applicable to the Design, Supply, Installation and Commissioning of the Solar PV Plant at Arnot Power Station. This includes full adherence to:

- The Quality Requirements for the Contractor Appointed to Design, Supply, Install and Commission Arnot Power Station, and

- The Arnot Solar PV Plant Functional Specification,

- together with all standards, procedures, and protocols issued or adopted by Arnot Power Station.

The Contractor shall ensure that all design and installation activities are executed in accordance with the approved programme, and that all design deliverables, installation works, inspections, tests and commissioning tasks are performed when required and within the contractual timelines.

The Contractor shall carry out the Works in full compliance with Arnot Power Station’s established procedures, the Occupational Health and Safety Act, and all statutory and regulatory requirements. Pre-work and post-work inspections shall be undertaken for every activity to ensure site cleanliness, serviceability, compliance with safety measures, and maintenance of good housekeeping throughout the duration of the Works.

A formal Facility Handover Process shall be undertaken at completion of the Works in accordance with the Employer’s handover and acceptance procedures.

All Works shall be executed in accordance with prevailing industry norms, practices, and standards for quality applicable to utility-scale photovoltaic plants. The Contractor shall prepare, update and submit Quality Plans and associated inspection and test documentation to the Project Manager at intervals required by the Project Manager or as stipulated in the Contract.

Special emphasis must be placed on:

- ensuring that all installation works are conducted as planned and when required,

- maintaining and improving landscaping, site conditions and general housekeeping, and

- ensuring that workmanship meets high technical, environmental, and operational standards.

### Design Quality Requirements

- Compliance with all applicable SANS, IEC, ISO, NRS, and electrical grid codes.

- Submission and approval of Design Basis Documents (DBDs) and design criteria.

- Structural design reports for module mounting structures, including:

  - wind loading,

  - geotechnical parameters,

  - corrosion protection method statements.

- PV module layout drawings, stringing diagrams, inverter sizing, and cable routing plans.

- DC and AC protection design, earthing and bonding design, and lightning protection design.

- SCADA architecture and communication protocols.

- Hazard Identification and Risk Assessments (HIRAs) for design-related risks.

- Design compliance matrix cross-referenced against the Arnot PV Plant Functional Specification.

### Procurement Quality Requirements

- Supplier quality documentation, including test certificates and type-test reports for:

  - PV modules (IEC 61215, IEC 61730),

  - Inverters (IEC 62109, IEC 62116, IEEE 1547),

  - Transformers (SANS/IEC 60076),

  - Cables (SANS 1507 series),

  - Breakers and protection devices (IEC 60947, IEC 60898).

- Material inspection upon arrival (visual, dimensional, certification verification).

- Storage quality control: protection from moisture, theft, damage, UV exposure.

- Factory Acceptance Tests (FAT) for major equipment (inverters, MV switchgear, transformers).

### Civil Works Quality Requirements

- Earthworks QA: compaction tests, layer works density, drainage systems.

- Foundations: concrete cube tests, rebar inspection, anchor bolt setting-out.

- Structural tolerances for module mounting systems (vertical, horizontal, torque values).

- Perimeter fencing installation and security infrastructure verification.

- Access road condition, stormwater management and erosion control

### Mechanical Installation Quality Requirements

- Verification of mounting structure installation according to manufacturer’s specs.

- Bolt torque checks with calibrated torque wrenches; torque logs submitted.

- Anti-corrosion treatments, galvanizing checks, coating thickness tests.

- PV module installation inspections:

  - alignment,

  - tilt and azimuth accuracy,

  - module integrity (no cracks, chips or hotspots).

- Correct installation of DC combiners, string harnesses, connectors, and gland plates.

- Mechanical strain relief and cable management (UV-rated ties, trays, supports).

### Electrical Installation Quality Requirements

- Cable insulation resistance testing (IR tests) for DC and AC circuits.

- Polarity verification for all DC circuits.

- Continuity tests for earthing and bonding systems.

- Installation of surge protection devices (SPDs) in accordance with IEC 61643.

- Verification that minimum bend radii and derating requirements are respected.

- MV cable testing—VLF or as per applicable SANS/IEC standard.

- Transformer testing on site (ratio, insulation, oil analysis).

- Protection relay configuration and settings as per grid code and ESKOM requirements.

### SCADA, Communication & Control Quality Requirements

- SCADA point-to-point (P2P) testing.

- Integration testing with Eskom’s remote supervisory system, including:

  - alarms,

  - status indications,

  - real-time telemetry,

  - historical trending.

- Inverter communication link verification (Modbus, IEC 61850, TCP/IP).

- Time synchronisation validation (NTP/GPS).

- Testing of weather station, irradiance sensors, temperature probes and trackers (if applicable).

### Testing & Commissioning Requirements

- Pre-commissioning checklists and functional tests for all equipment.

- DC string testing: open-circuit voltage (Voc), short-circuit current (Isc) verification.

- Inverter start-up tests, protection trip tests, anti-islanding tests.

- MV switchgear commissioning, interlock verification, and load tests.

- LV systems testing: UPS, DBs, auxiliary circuits.

- Performance Ratio (PR) verification upon initial energisation.

- Soak tests and reliability run for continuous performance.

- Final performance testing in accordance with IEC 61724 and Eskom requirements.

### Environmental & Landscaping Requirements

- Soil rehabilitation and grading after works completion.

- Restoration of all disturbed areas, removal of waste and construction debris.

- Landscaping as per environmental specifications and EMP.

- Maintaining site cleanliness and erosion control up to handover.

### Documentation & Handover Quality Requirements

- Compilation of full Quality Dossier including ITPs, FATs, SATs, test certificates and as-built records.

- Submission of as-built drawings in editable and PDF formats.

- O&M manuals, spares lists, warranty documents, and manufacturer certifications.

- Training of Eskom O&M personnel (classroom and practical).

- Completion and sign-off of the Facility Handover Process according to Arnot PS requirements.

## Programming Constraints

### General

The Contractor submits a single programme that incorporates the whole scope of work.  Project key dates as defined later in this section, are incorporated into the program.

### Computerised Planning and Reporting

The Project Manager does not intend duplicating the Contractor’s programming and planning, however, portions or high-level extractions of the Accepted Programme may be used in the Employer’s internal master project programme for control purposes.

The Contractor submits updated computer files on a fortnightly basis, or at any other time as required by the Contractor or as instructed by the Project Manager.  The updated computer file shows the logic and all filters and layouts used in the programme.

Primera 6 has been adopted by the Employer for all planning, progress monitoring and reporting on this project. The Contractor obtains this software and uses it for the planning and control of the works.

### Planning methodology and programme levels

All planning is done based on the critical path method (CPM).  The programme shows the actual critical path(s) clearly. The programme layout takes into account the approved WBS, reflecting the manner the works are to be performed and how control data are to be summarised, reported and monitored.

The following levels of programme are to be used for this project for dynamic integrated project control:

  - Project level programme (Level 2)

  - Control level programme (Level 3)

### Project Level Programme (LEVEL 2)

The project is not complex and does not involve multiple parties and interfaces; therefore, a project level programme will provide the level of detail required for reporting. It will include:

  - A "rolled up" programme from the control level programme information

  - Established goals or major milestone key dates.

  - The duration of major operations and their relationship to one another.

### Control Level Programme (LEVEL 3)

The project level programme is prepared representing the significant work activities and deliverables associated with the works.  The end product is a time scaled bar-chart schedule developed through use of a critical path logic network The control level programme is resource-loaded. It forms the basis for progress measurement, progress curves and histograms for the project.

Resource information for manpower, plant, material and equipment and reflected in resource histograms is to be provided by the Contractor.  Staffing Histograms are required to be submitted based on “equivalent personnel”.  Staffing histograms are updated with actual data for each reporting period and re-forecast as required should significant deviations occur. The program makes provision for “non-activities” like curing of concrete, or site related preparation such as safety induction, training and medical examinations of all of the Contractor’s staff that are working on site.

### Submission of Revised Programmes and Progress Reporting

The Contractor is to submit two hard copies and one soft copy (in Primera 6 portable document format (PDF)) of each revised programme and schedule progress report to the Project Manager for acceptance. All formally issued reports are to follow the progress reporting requirements as stated below

### Fortnightly Progress Report

The contents of the report should not vary much from report to report since the work is fairly uniform. However, the basic framework of the report is to consist of the following:

  - Narrative in an executive summary format identifying major movement within the reporting period.

  - Status overview.

  - Key issues / Items of Concern and Corrective actions.

  - Progress curves and tabular progress reports.

  - Cost and Cash flow.

  - Early Warning Log.

  - Compensation Event Log

### Weekly Status Report

A weekly status report is to be submitted by the Contractor to the Project Manager. This report is less formal than the fortnightly report and is used as a tool for the day-to-day management of the project. Contents of a weekly report may include the following items:

  - Programme summary narrative.

  - Progress and performance summaries.

  - Schedule rolling horizon (2 weeks in advance)

  - Milestone Completion and Key Milestone status

## Contractor’s Management, Supervision, and Key people

The Contractor shall submit an organogram (as part of the Returnable Schedules) showing his employees and their lines of authority / communication. This is specifically essential if the contractor is a Joint Venture. The submitted Contractor’s Organogram will be attached as Annexure E.

In addition, the Contractor shall submit a Resource Proposal for approval which will indicate the intended personnel which will be allocated to perform duties under this contract. This Resource Proposal must be submitted as part of the Returnable Schedules. The submitted Contractor’s Resource Proposal will be attached as Part of C2.2 (The Price List). This will, as a minimum, include all persons from the Contract Manager level to the Semi-skilled labourers. For the full duration of this contract, none of these persons will be replaced by a person of lesser ability or qualification. In the event of a person being replaced the Contractor must inform the Service Manager prior to the replacement and also submit an amended Resource Plan accordingly. All instructions and authorisations on this contract will come from the client's Projects Manager or his defined representative.  Whilst the Contractor (all staff and sub-contractors) is active within the contract's physical boundaries and timeframes, all their representatives will adhere to the following:

- Wear a clearly marked (company name and type of services, i.e., electrical contractor) reflector jacket or vest.

- Comply with all Arnot Power Station Safety and Environment procedures.

- Behave in a professional and lawful conduct

- Be courteous to all Arnot Power Station customers and stakeholders.

## Invoicing and payment

The Z clauses make reference to invoicing procedures stated here in this Service Information. Also include a list of information which is to be shown on an invoice.

Within one week of receiving a payment certificate from the Project Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice showing the amount due for payment equal to that stated in the Project Manager’s payment certificate.

The Contractor shall address the tax invoice to Eskom Holdings SOC Ltd and include on each invoice the following information:

- Name and address of the Contractor and the Project Manager;

- The contract number and title;

- Contractor’s VAT registration number;

- The Employer’s VAT registration number 4740101508;

- Description of service provided for each item invoiced based on the Price List;

- Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

- (add other as required)

The contractor attaches the detailed assessment for the amount to each Tax Invoice showing the Price for the Work Done to date for each item in the price list for work which he has completed.

The original Invoice shall be submitted to the following Address:

Eskom Holdings SOC Ltd

Attention: Services Manager (Name)

Arnot Power Station

Private Bag X2 Rietkuil

Arnot

1097

Email: XXXX@eskom.co.za

## Insurance provided by the Employer

Refer to clause 8 Contract Data (Part one – Data provided by the Employer).

For all Employer Insurance related queries, contact:

- Cluster Manager

- Eskom Insurance Management Services

- Eskom Holdings SOC Ltd

- Megawatt Park

- 011 800 2714

## Contract change management

All Compensation Events shall be managed in accordance with Core Clause 6 of the NEC3 Engineering and Construction Contract (ECC). This section sets out additional requirements and procedures that apply to this Contract.

### Notification of Compensation Events

The Contractor shall notify the Project Manager of any event that may constitute a Compensation Event within one (1) week of becoming aware of the event. Notifications shall be submitted using the approved Eskom CE Notification Form (Form CE-1) and shall include sufficient detail to identify the event, its cause, and its potential impact on the Works.

### Assessment and Quotations

Quotations for Compensation Events shall be prepared in accordance with Core Clause 63.

Quotations shall include a detailed breakdown of cost, time effects, and risk allowances, supported by timesheets, material quotations, equipment rates, and any other relevant substantiating documentation.

The Contractor shall submit quotations within two (2) weeks of receiving the Project Manager’s instruction to submit a quotation.

### Use of Standard Forms and Registers

All Compensation Event notifications, assessments, and quotations shall be submitted using the standard Eskom forms:

- CE Notification – Form CE-1

- CE Quotation – Form CE-2

- CE Assessment – Form CE-3

The Project Manager shall maintain the Compensation Event Register, which shall be updated monthly and reviewed at CE meetings.

### Compensation Event Meetings

Monthly Compensation Event Review Meetings shall be held between the Parties to review:

- open and pending Compensation Events,

- submitted quotations,

- approvals or rejections, and

- forecast impacts on the Works, the programme, and the Prices.

Minutes shall be recorded and issued by the Project Manager.

### Records and Supporting Information

The Contractor shall maintain accurate, contemporaneous records to support any Compensation Event submission, including:

- labour timesheets,

- equipment usage logs,

- material cost evidence,

- subcontractor quotations,

- records of delays, disruptions, or other impacts affecting the Works.

### No Change Without Instruction

No change to the Works, programme, or Prices shall be implemented without a written instruction issued by the Project Manager, except in emergency situations as provided under Core Clause 25.4.

## Provision of bonds and guarantees

The form in which a bond or guarantee required by the conditions of contract (if any) is to be provided by the Contractor is given in Part 1 Agreements and Contract Data, document C1.3, Sureties.

The Employer may withhold payment of amounts due to the Contractor until the bond or guarantee required in terms of this contract has been received and accepted by the person notified to the Contractor by the Project Manager to receive and accept such bond or guarantee.  Such withholding of payment due to the Contractor does not affect the Employer’s right to termination stated in this contract.

## Records of Defined Cost, payments & assessments of compensation events to be kept by the Contractor

The Contractor is to maintain accurate records of all cost related documents, in the event that the Project Manager may request such records.

## Training workshops and technology transfer

Please refer to the Arnot Solar PV Plant Functional Specification for training related requirements, including, but not limited to, sections 3.4.

# Engineering and the Contractor’s design

The Project Manager will require viewing and a demonstration on all equipment the Contractor for usage as per the scope of work. Reason being that the Project Manager will want to satisfy him/herself that the equipment is of good quality, sustainable and appropriate for the works. However, all Design, supply and Installation and liability remain with the Contractor.

## Employer’s design

The Employer’s design requirements are provided in the Arnot Solar PV Plant Functional Specification.

## Parts of the works which the Contractor is to design

The Contractor is responsible for the design of the entire Works. Please refer to the Arnot Solar PV Plant Functional Specification for the respective design requirements.

## Procedure for submission and acceptance of Contractor’s design

The Contractor’s design shall comply with all design requirements stated in Arnot Solar PV Plant Functional Specification.

## Other requirements of the Contractor’s design

The Contractor is mandated in terms of Construction Regulations 2014: Duties of Designer, 6(1) g to fulfil the duties described therein.  Any risk associated with the Contractor’s design shall be highlighted to the Employer together with mitigation measures.  These risks shall be included in the project risk register.

## Use of Contractor’s design

In accordance with Core Clause 22.1, the Employer (Eskom) has the right to use the Contractor’s design for the purposes of constructing, operating, maintaining, altering, repairing and decommissioning the Works.

The Contractor grants Eskom a non-exclusive, irrevocable, royalty-free licence to use, copy, adapt, reproduce and share all design documents, drawings, models, software, specifications, calculations and any other design-related deliverables created for the Works, for any purpose connected with:

- the execution of the Works,

- future operation and maintenance of the Works,

- modifications, extensions or upgrades, and

- any statutory, regulatory or safety-related requirement.

This right of use applies without limitation in time and continues to apply after Completion or Termination of the Contract.

The Contractor shall obtain from its Subcontractors, designers and suppliers any consents or rights necessary to ensure that Eskom’s use of the design is not restricted in any manner.

## Design of Equipment

For complex or specialised Equipment required to Provide the Works, the Contractor shall make available to the Project Manager, upon request, such design information, drawings, calculations, specifications or method statements relating to the design, capability, capacity or configuration of the Equipment as may reasonably be required for assurance that the Equipment is suitable for the intended purpose and will enable the Contractor to Provide the Works safely, efficiently and without delay.

The Project Manager’s review of such information is not an acceptance, does not change the Contractor’s obligations, and does not transfer any liability to the Project Manager or the Employer. The Contractor remains solely responsible for:

- the adequacy, safety, design, selection and performance of the Equipment,

- the competence of any designers or suppliers of the Equipment,

- the consequences of using such Equipment, and

- ensuring that its design and operation comply with all laws, standards and the requirements of this Contract.

Any comments, observations or requests for clarification made by the Project Manager do not relieve the Contractor from any obligation or liability under the Contract. Nothing in this clause prejudices the Project Manager’s rights under Core Clause 23.1.

## Equipment required to be included in the works

None

## As-built drawings, Operating Manuals and Maintenance schedules

All as-built drawings, operational manuals and maintenance schedules shall be provided to the Employer in adherence with the applicable requirements stated in the relevant section of the Arnot Solar PV Plant Functional Specification. These documents shall be submitted in both electronic and hard copy format and delivered no later than four weeks prior to Completion of the whole of the works. The Contractor ensures that all documents are complete, accurate and accepted by the Project Manager before Completion.

# Procurement

This Contract uses a priced Activity Schedule as described under Option A of the NEC3 Engineering and Construction Contract (ECC).

This Procurement Works Information covers the supply, delivery, factory testing, certification, labour procurement, and warranty obligations for all equipment, materials, and personnel required for the Arnot Solar PV Plant. The Contractor shall procure all plant, equipment, components, materials, and labour resources in accordance with the specifications, standards, policies, and requirements set out below.

The Contractor must comply with all Arnot Power Station procedures, access requirements, procurement controls, and safety rules when procuring equipment, spares, labour, or services. No casual labour (i.e., “off-the-street” labour) may be employed by the Contractor unless this is pre-arranged with Arnot Power Station. Where casual labour is required, the Contractor shall agree with Arnot Power Station on the approved sourcing, vetting, medicals, background checks, and site-access screening of such individuals.

No undefined Price List expenditure will be allowed. Where the need for such items arises, it must be motivated, justified and approved in writing by the Service Manager before procurement.

The Contractor shall provide, procure, and deliver all necessary materials, consumables, tools, instruments and equipment required for execution of the Works.

## People

### Minimum requirements of people employed on the Site

The Contractor shall ensure that all labour procured for the Works meets the following minimum requirements:

- Only competent, qualified, and medically fit personnel may be deployed on Site.

- All personnel must undergo Arnot Power Station induction, safety training, and security clearance before accessing Site.

- Where foreign nationals are employed, the Contractor shall ensure:

  - Valid work permits

  - Home Affairs compliance

  - Proof of competence and trade qualifications

- Labour procurement must comply with national legislation, including:

  - Labour Relations Act

  - Basic Conditions of Employment Act

  - Employment Equity Act

  - OHS Act and Construction Regulations

- Any requirement to use local labour or designated community labour (if applicable) must be incorporated into the Contractor’s labour procurement plan.

- The Contractor shall manage all disciplinary, industrial relations and labour matters, ensuring no disruption to Arnot Power Station operations.

- All subcontractor labour remains the full responsibility of the Contractor.

### BBBEE and preferencing scheme

The Contractor shall comply with all Broad-Based Black Economic Empowerment (B-BBEE) requirements applicable to Eskom contracts, including:

- Use of B-BBEE compliant suppliers and subcontractors

- Submission of a valid B-BBEE certificate or sworn affidavit

- Preferencing or supplier development commitments where specified

- Reporting of B-BBEE expenditure on procurement

- Participation in Eskom’s localisation, transformation or supplier development initiatives, where applicable

The Contractor shall maintain its B-BBEE status for the duration of the Contract and shall notify the Project Manager of any changes that may impact compliance.

### Accelerated Shared Growth Initiative – South Africa (ASGI-SA)

Not Applicable

## Subcontracting

### Preferred subcontractors

The NEC3 ECC does not make provision for nominated subcontractors; however, the Employer may identify preferred subcontractors or suppliers from whom the Contractor is required, expected, or encouraged to procure certain plant, materials, equipment, or specialist services.

This requirement is applicable where:

- The equipment must comply with Eskom operational standards;

- Only certain OEMs or accredited suppliers are approved for the Arnot Power Station environment;

- System integration is required for SCADA, protection, communication, and metering systems;

- Specialist engineering support is required to comply with the Arnot Solar PV Plant Functional Specification.

It is strongly preferred that the Contractor appoints adequately qualified and experienced Subcontractors and Consulting Engineers to support the execution of the Works as described in this Works Information and in the Arnot Solar PV Plant Functional Specification, including but not limited to:

- Solar PV engineering design specialists (DC/AC, layout, energy modelling)

- Structural engineering firms for module support structures and foundations

- Electrical subcontractors accredited for MV/HV works

- OEM-approved installers for inverters, protection relays, SCADA and communication systems

- Civil contractors for earthworks, trenching, roadworks and drainage

- Accredited testing and commissioning specialists

- Environmental quality and safety consultants (where required)

### Requirement for Acceptance by the Project Manager

All proposed subcontracting arrangements—including the appointment of subcontractors, suppliers, consultants, or specialist service providers—shall be submitted to the Project Manager for acceptance prior to any subcontract being entered into or any work commencing. No subcontractor may be mobilised or allowed to perform any portion of the Works without the Project Manager’s written acceptance in terms of Clause 26 of the NEC3 ECC.

The Contractor remains fully responsible for:

- The performance of all subcontractors,

- Ensuring subcontractors comply with all contractual obligations,

- Ensuring compliance with Arnot Power Station standards, safety rules and legal requirements,

- Integrating subcontractor activities into the overall programme of works.

All subcontracting arrangements remain the responsibility of the Contractor, and the Contractor shall ensure that all subcontractors comply with the Contract, Arnot Power Station requirements, safety standards, and all legal obligations.

### Subcontract Documentation, and Assessment of Subcontract Tenders

The Contractor may use any suitable and recognised subcontract form, including (but not limited to) NEC, FIDIC, OEM-specific templates, or the Contractor’s own standard subcontract documents.

- Use of NEC subcontract forms is recommended but not compulsory.

All subcontract documentation shall:

- Be consistent with the Contractor’s obligations under this Contract;

- Clearly describe the subcontract scope, responsibilities, safety, quality, programme, pricing, and risk allocations;

- Comply with all Employer, site, legal and statutory requirements.

Before issuing any subcontract enquiry, the Contractor shall submit to the Project Manager for acceptance:

- The proposed subcontract scope;

- The list of proposed tenderers;

- The subcontract conditions to be used.

The Contractor may utilise its internal procurement processes for issuing, receiving and evaluating subcontract tenders, provided the process is:

- Transparent and competitive;

- Technically and commercially robust;

- Aligned with all Employer governance and compliance requirements.

For high-risk or high-value subcontract packages, a joint tender evaluation report between the Contractor and the Project Manager is recommended.

- The Contractor shall obtain Project Manager acceptance of the selected Subcontractor prior to award.

The Contractor shall submit the final Subcontract Agreement (including pricing, scope and terms) to the Project Manager for acceptance prior to signature.

### Limitations on subcontracting

The Contractor shall not subcontract the majority of the Works without prior acceptance by the Project Manager. The Employer may require certain specialised activities to be performed by suitably qualified subcontractors with proven competence and experience.

The Contractor shall not subcontract more than a reasonable and manageable proportion of the Works such that:

- The Contractor maintains full control, coordination and responsibility for delivery;

- Safety, quality, and programme performance are not compromised.

All subcontracting arrangements require Project Manager acceptance prior to award, as stated in Clause

### Attendance on subcontractors

The Contractor shall provide all reasonable attendance services required by its Subcontractors, including but not limited to:

- Access to the Site and work areas;

- Coordination and interface management;

- Provision of shared facilities where applicable (e.g., ablutions, first aid, site induction offices);

- Safety oversight and integration into the Contractor’s site safety management system;

- Integration into the Contractor’s programme and reporting structures.

The Contractor remains fully responsible for:

- Managing all Subcontractors;

- Ensuring compliance with Site rules, safety standards, environmental requirements, and security procedures;

- Ensuring Subcontractors’ work aligns with the overall Works Information requirements.

Any additional, unique, or specialised attendance obligations shall be identified in the relevant subcontract scope and communicated to the Project Manager.

## Plant and Materials

### Quality

Unless stated otherwise in Section 6 (Please refer to the Arnot Solar PV Plant Functional Specification) for all Plant and Materials used by the Contractor are:

- new,

- of good quality,

- free from Defects, and

- suitable for their intended use in the Works.

Where quality requirements are not specifically defined, the Contractor provides Plant and Materials that meet good industry practice and the minimum requirements of SANS 1200A (General).

When correcting a Defect, the Contractor replaces the defective Plant or Materials with new items unless the Project Manager agrees that a repair will achieve the required performance and durability.

The Contractor ensures that replacement materials or repaired components conform to the Technical Specifications and do not reduce performance, safety, or lifespan of the Works.

### Plant & Materials provided “free issue” by the Employer

No Plant and Materials will be supplied by the Employer.

### Contractor’s procurement of Plant and Materials

The Contractor procures, orders, imports, transports, stores, protects, and installs all Plant and Materials necessary for Providing the Works. The Contractor is requested to refer to the Arnot Solar PV Plant Functional Specification.

The Contractor follows any constraints stated in the Works Information regarding

- ordering and expediting,

- international freight and customs clearance,

- transport to Site,

- packaging requirements,

- storage conditions,

- coding and identification, and

- handling of critical and long-lead items.

The Contractor ensures that all suppliers and manufacturers issue warranties in favour of the Employer, not only the Contractor, for the required warranty periods specified in Section 6 or the Contract Data.

The Contractor provides vendor data, including manuals, drawings, data sheets, test certificates, maintenance information, and warranty documentation. Vendor data must be submitted before Completion and in the format and number of copies stated in the Works Information.

Imported Plant and Materials comply with all applicable South African statutory requirements, including NRCS certification, SANS approvals, and grid-code compliance where applicable. The Contractor ensures full traceability of Plant and Materials from source to installation and keeps records available for review by the Project Manager.

### Spares and consumables

The Contractor supplies the initial spares and consumables required for the safe and reliable operation of the Works at or immediately after Takeover. The Contractor is requested to refer to the Arnot Solar PV Plant Functional Specification.

These may include, but are not limited to:

- fuses, switches, relays and control equipment components,

- spare SCADA and inverter modules where specified,

- PV module replacement stock (if required by the Employer),

- lubricants, coolants, oils or other consumables relevant to electrical or mechanical plant.

The Contractor provides a Spares List identifying

- item description,

- part numbers,

- quantities,

- supplier/manufacturer details,

- recommended storage conditions, and

- lead times for replenishment.

Spares and consumables supplied by the Contractor become the property of the Employer at Takeover.

The Contractor provides all test consumables required during commissioning (including fuses, labels, and temporary protection items) as part of Providing the Works.

## Tests and inspections before delivery

The Contractor performs all tests and inspections required by the Technical Specifications, the Arnot Solar PV Plant Functional Specification, and all applicable standards before delivering Plant and Materials to the Working Areas.

The Supervisor or Others appointed by the Employer may witness or carry out tests and inspections at

- the Contractor’s premises,

- the manufacturer’s premises (local or overseas), or

- any other location stated in the Works Information or the Arnot Solar PV Plant Functional Specification.

Where tests or inspections are required by the Employer or specified in the Functional Specification to be performed locally or overseas, the Contractor

- gives at least 14 days’ advance notice of readiness for inspection,

- provides safe and reasonable access,

- provides required utilities and assistance, and

- makes available all documentation, certificates, drawings, test procedures, and data.

The Contractor does not dispatch Plant or Materials to the Working Areas until

- all required tests and inspections have been successfully completed in accordance with the Technical Specifications and the Functional Specification,

- the Supervisor has confirmed satisfactory results, and

- all certificates and records have been submitted.

Any failed test or inspection constitutes a Defect. The Contractor corrects the Defect and repeats the test or inspection at his own cost.

## Marking Plant and Materials outside the Working Areas

Where Plant and Materials are to be paid for before delivery to the Working Areas, the Contractor marks and prepares such items for title transfer in accordance with Core Clauses 70.1 and 71.1, this Works Information, and the Arnot Solar PV Plant Functional Specification.

The Contractor prepares the Equipment, Plant and Materials that are identified for payment and which are outside the Working Areas, for marking by the Supervisor.
Preparation includes

- staging the items for inspection,

- arranging unobstructed access in accordance with Core Clause 27.2,

- labelling the affected Equipment, Plant and Materials, and

- ensuring all documentation is available for verification.

The Contractor labels the items and promptly notifies the Project Manager that the Supervisor (or the Supervisor’s delegate) is required to mark the Equipment, Plant or Materials for title transfer.

Labels prepared by the Contractor are durable, weather-resistant, clearly readable, and include the following information:

- Marked as for this Contract – For title transfer to Eskom Holdings SOC Limited

- Equipment, Plant or Material item: [Description of the item]

- The Employer: Eskom Holdings SOC Limited

- The Contractor: [Insert Contractor’s name]

- The Supervisor: [Insert Supervisor’s name]

- Contract Title: [Insert title]

- Contract Number: [Insert contract number]

- Conditions of contract: The NEC3 Engineering and Construction Contract, June 2005 (as amended June 2006).
Core Clause 70.1 states:
“Whatever title the Contractor has to Plant and Materials which is outside the Working Areas passes to the Employer if the Supervisor has marked it as for this contract.”

- Supervisor signature Date:

Marking does not relieve the Contractor of responsibility for care of the Plant and Materials, nor does it constitute acceptance, certification, or transfer of risk under the contract. The Contractor provides photographic evidence and an updated Plant and Materials Register to confirm correct marking and identify the location of each item.

Marking requirements in this subsection are read together with any additional identification or traceability requirements stated in the Arnot Solar PV Plant Functional Specification.

## Contractor’s Equipment (including temporary works).

The Contractor provides and maintains all Contractor’s Equipment necessary for the Works, including temporary works, in accordance with the requirements of the Works Information and the Arnot Solar PV Plant Functional Specification.

For specialised or critical Contractor’s Equipment that may affect progress of the Works—such as heavy lifting equipment, MV testing instruments, string lifting frames, or module-handling devices—the Works Information and the Functional Specification may prescribe

- procurement constraints,

- witness points,

- hold points for assembly, testing, or calibration, and

- delivery inspections.

The Contractor gives the Project Manager at least 14 days’ notice before any witness or hold point. Attendance by the Project Manager does not constitute acceptance and does not transfer risk or liability to the Employer.

Temporary works, including scaffolding, inverter foundations used for construction staging, module-frame supports, and temporary electrical supplies, comply with the Functional Specification, relevant SANS codes, statutory requirements, and the Contractor’s design as stated in Section 3.6.

The Contractor ensures that all Contractor’s Equipment is operated safely, in accordance with manufacturer instructions, and meets the safety requirements stated in the Functional Specification.

## Cataloguing requirements by the Contractor

Cataloguing applies to this Contract. The Contractor must comply with:

- Eskom Procurement Instruction Number 1 of 2018, and

- all cataloguing, identification, and asset information requirements stated in the Arnot Solar PV Plant Functional Specification.

The Contractor provides complete cataloguing data for

- all Plant and Materials procured for the Works,

- spares and consumables supplied under Section 4.3.4, and

- major components identified in the Functional Specification as requiring asset registration.

Cataloguing information includes, but is not limited to:

- material descriptions and asset classifications,

- OEM manufacturer and supplier details,

- part numbers and serial numbers,

- technical and performance data,

- warranty information,

- storage and handling requirements, and

- maintenance and operating information defined in the Functional Specification.

Cataloguing submissions must be received and accepted before Completion. Failure to provide cataloguing data constitutes a Defect under the Contract.

# Construction

This section sets out the constraints, facilities, services, responsibilities, and rules that apply to the Contractor while Providing the Works on Site during the construction, installation, testing and commissioning of the Arnot Solar PV Plant. This section does not describe the technical scope of the Works (refer to Section 6 and the Arnot Solar PV Plant Functional Specification).

## Temporary works, Site services & construction constraints

### Employer’s Site entry and security control, permits, and Site regulations

The Contractor complies with all Arnot Power Station security protocols, including but not limited to:

- registration of personnel and vehicles,

- issuance of access permits and induction cards,

- tool control requirements,

- baggage and vehicle search procedures.

Access to the Site is subject to valid permits, safety induction, and any station-specific restrictions communicated by the Employer.

The Contractor includes all time and cost impacts associated with security, induction and access control in his Accepted Programme.

### Restrictions to access on Site, roads, walkways and barricades

The Contractor uses only designated access routes, haul roads and lay-down areas as authorised by the Employer. All temporary barricading, signage and demarcation required to protect personnel, Plant and Materials are provided and maintained by the Contractor.

Access to certain operational areas of Arnot Power Station may be restricted at specific times; such restrictions do not constitute compensation events.

### People restrictions on Site; hours of work, conduct and records

Working hours are subject to Arnot Power Station regulations.

The Contractor maintains real-time personnel registers (including Subcontractor staff) and makes these available to the Project Manager or Supervisor at any time. Misconduct, non-compliance with safety rules or unauthorised personnel will result in removal from Site

### Health and safety facilities on Site

The Contractor complies with the Occupational Health and Safety Act, Construction Regulations and all Employer H&S standards. The Employer provides emergency response, fire services and first-aid facilities located at designated Station H&S points. The Contractor provides supplemental first-aid, PPE, safety offices and H&S personnel for the Works.

### Environmental controls, fauna & flora, dealing with objects of historical interest

The Contractor complies with environmental requirements, including waste segregation, spill control, noise and dust mitigation, and protection of fauna and flora.  Any historical or archaeological findings are immediately reported to the Supervisor.

Requirements are read together with Section 2.4 and the Arnot Solar PV Plant Functional Specification.

### Title to materials from demolition and excavation

Title to materials arising from demolition, excavation or clearing operations remains with the Employer unless otherwise stated. The Contractor safely stores and returns such materials to the Employer’s designated recovery area.

### Cooperating with and obtaining acceptance of Others

The Contractor cooperates with Others as defined in clause 11.2(10). The Contractor coordinates with Eskom Operations, Safety, ICT, Real Estate, Water Treatment, and Transmission/Distribution departments where interfaces arise. The Contractor obtains all necessary liaison and acceptance from municipal authorities, NERSA, NTCSA, grid connection stakeholders, and landowners where required.

### Publicity and progress photographs

No media statements, drone flights, photography or publicity are permitted without written approval from the Employer. The Contractor provides monthly progress photographs when requested.

### Contractor’s Equipment

The Contractor records all Contractor’s Equipment brought onto Site, including ownership and certification details. Specialised lifting equipment, cranes, mobile elevated work platforms and scaffolding require the Supervisor’s acceptance of certification which are brought on to the Arnot Power Station. Noise suppression measures in line with SANS 1200A apply.

The Contractor controls and manages the access of such plant and equipment to the working areas. The Contractor shall comply with the Employers access control processes and requirements which include amongst others control of plant, equipment and spares entering and exciting the Arnot Power Station.

### Equipment provided by the Employer

The Employer provides no construction equipment. Any equipment temporarily provided (if approved) is used at the Contractor’s risk and returned in the same condition.

### Site services and facilities

The Contractor is to make reference to the Arnot Solar PV Plant Functional Specification. The Contractor provides all reticulation from the tie-in points to his working areas at his cost. The Contractor provides everything else necessary for Providing the Works.

### Facilities provided by the Contractor

The Contractor is to make reference to the Arnot Solar PV Plant Functional Specification. The Contractor provides construction offices, storage containers, workshops, parking, lay-down areas, and welfare facilities for his workforce, Project Manager and Supervisor where required. All temporary facilities are to be dismantled and removed at Completion. Layout drawings of construction camps and temporary facilities must be submitted for acceptance before installation.

### Existing premises, inspection of adjoining properties and checking work of Others

The Contractor inspects adjoining structures and Site conditions before commencing work. The Contractor inspects the work of Others where interfaces occur and reports discrepancies immediately.

### Survey control and setting out of the works

The Contractor is to make reference to the Arnot Solar PV Plant Functional Specification. The Employer provides benchmark survey control points as shown on drawings. The Contractor establishes and maintains all additional survey lines required for accurate setting-out.

### Excavations and associated water control

The Contractor provides all dewatering, trench support, shoring and pumping required for safe excavation. Excavations must comply with Construction Regulations and site-specific geotechnical conditions and applicable provisions in the Arnot Solar PV Plant Functional Specification.

### Underground services, other existing services, cable and pipe trenches and covers

The Contractor is to make reference to the Arnot Solar PV Plant Functional Specification. The Contractor identifies and marks all known services before excavation. The Contractor is responsible for locating unknown services using detection equipment. Any damaged services are repaired immediately at the Contractor’s cost and reported to the Supervisor.

### Control of noise, dust, water and waste

The Contractor is to make reference to the Arnot Solar PV Plant Functional Specification. Mitigation measures are implemented to prevent pollution, dust, noise nuisance and uncontrolled water discharge.

### Sequences of construction or installation

The Contractor proposes construction sequencing in the Accepted Programme. Access to Others may require temporary resequencing as directed by the Project Manager.

### Giving notice of work to be covered up

The Contractor gives the Supervisor at least 24 hours’ written notice before covering up any work. No work may be covered until the Supervisor has inspected and accepted it.

### Hook ups to existing works

All tie-ins to operational systems (electrical, communications, drainage) require an approved method statement and a permit-to-work from Arnot Power Station. Shutdown windows will be controlled by the Employer and may not entitle the Contractor to a compensation event.

## Completion, Testing, Commissioning and Correction of Defects

### Work to be done by the Completion Date

On or before the Completion Date the Contractor shall have done everything required to Provide the Works except for the work listed below which may be done after the Completion Date but in any case, before the dates stated.  The Completion Date to be on the date that the Operational Acceptance Certificate has been issued as per the Arnot Solar PV Plant Functional Specification.

The Project Manager cannot certify Completion until all the work except that listed below has been done and is also free of Defects which would have, in his opinion, prevented the Employer from using the works and Others from doing their work.

| No. | Item of work | To be completed by |
| --- | --- | --- |
| 1. | As built drawings of | Within 30 days after Completion |
| 2. | Performance testing in operation | As per Section 6 and the Functional Specification |
| 3. | Final O&M documentation | Within 30 days after Completion |

### Use of the works before Completion has been certified

The Employer may use any part of the Works before Completion as provided for in clause 35.2.
Such use does not constitute take-over when the use is for safety, testing or operational continuity as stated here.

### Materials facilities and samples for tests and inspections

The Contractor provides all samples, test equipment, facilities and services required for tests under Core Clause 40.2. The Employer provides access to designated test areas only

### Commissioning

Commissioning is carried out in accordance with the commissioning procedures for Arnot Solar PV Plant and Arnot Solar PV Plant Functional Specification.

### Start-up procedures required to put the works into operation

Start-up is executed by the Contractor under the direction of the Employer’s operations personnel. The Contractor ensures competent staff are available during energisation and grid-integration activities.

### Take over procedures

Take-over occurs at Completion unless stated otherwise in this Works Information. The Contractor provides all required temporary security arrangements, personnel attendance, and the complete set of handover documentation necessary to support the take-over process.

The Contractor shall comply with the requirements of the Arnot Solar PV Project (EPC) Commissioning Procedure for all matters relating to commissioning, handover readiness, and sequencing of take-over activities.

Following successful completion of the Works, the Supervisor arranges a Completion Inspection with the Contractor. If the Works satisfy the Completion criteria stated in this Works Information, the Project Manager issues the Completion Certificate (Ref. 240-147212868).

The Works, or any part thereof, are taken over upon the Construction Manager issuing the Take-over Certificate (Ref. 240-147175304) once the plant meets the contractual requirements for take-over. Where commissioning is required, a Take-over Certificate may only be issued when:

- All relevant contractual requirements have been fulfilled;

- The Commissioning Certificate (Ref. 240-147174870) and Safety/Housekeeping Certificate (Ref. 240-147213071) have been issued; and

- The Employer, Project Manager, Supervisor, and Contractor agree that the Works have been constructed in accordance with the Works Information and are ready to be taken over.

### Access given by the Employer for correction of Defects

The Employer grants access for Defect correction in accordance with clause 43.4. The Contractor complies with operational restrictions applicable after energisation.

### Performance tests after Completion

The Contractor performs performance and reliability tests as described in Section 6 and the Arnot Solar PV Plant Functional Specification.

### Training and technology transfer

The Contractor provides training on the operation and maintenance of the Solar PV Plant and associated equipment. Training materials, videos, manuals and competency sign-off sheets are included in O&M documentation as detailed in the Arnot Solar PV Plant Functional Specification

### Operational maintenance after Completion

The Employer may require the Contractor to perform operational maintenance activities prior to the Defects Date. Such duties are limited to cleaning, minor adjustments, or scheduled equipment checks as specified in Section 6.

# Plant and Materials standards and workmanship

This section of the Works Information defines the standards, workmanship, and technical requirements for the permanent works to be executed under this contract. All Plant, Materials, workmanship, testing, and installation activities shall comply with the requirements set forth herein, and in the Arnot Solar PV Plant Functional Specification, including all referenced SANS, IEC, ISO, and Eskom specifications.

The Contractor shall ensure that all work is executed by competent personnel, in accordance with good industry practice, statutory and regulatory requirements, and Employer-specific requirements.

### Standards and Workmanship

Plant and materials, workmanship, and testing shall comply with the specifications detailed in this Works Information and the Arnot Solar PV Plant Functional Specification.

All equipment, components, materials, services, and workmanship shall be supplied, designed, manufactured, installed, and tested in accordance with the latest applicable IEC, SANS, International Codes, and Standards listed herein.

### Contractor Responsibilities

The Contractor shall:

- Ensure that appropriate certification and independent testing has been carried out on all proposed materials and products.

- Verify that materials and products are suitable for the intended service conditions.

- Supply only new materials, parts, and components.

- Ensure that all materials and products delivered to site bear the manufacturer’s name, brand name, and any other data necessary to verify compliance with this Works Information and the Employer’s Project-Specific Requirements.

- Follow the manufacturer’s instructions for the handling, installation, and use of materials and products.

- Use the same manufacturer for materials or products of a similar type, ensuring that identical parts or components are fully interchangeable.

- Transport and store materials and components in accordance with the manufacturer’s guidelines.

- Provide suitable packaging to protect all materials and equipment during delivery, storage, and exposure on site. Reusable packaging shall be returned to the supplier. Particular care shall be taken to protect and maintain plant and equipment delivered early.

- Inspect all materials and products upon delivery to site and immediately prior to installation. Any damaged or faulty materials or products shall be replaced by the Contractor.

## Investigation, Survey and Site clearance

The Contractor carries out all further investigations, surveys, geotechnical verifications and assessments necessary to complete the final design and construction of the Arnot Solar PV Plant.

The Contractor complies with site clearance constraints, including but not limited to:

- Protection of existing Eskom services, access roads and servitudes.

- Management of vegetation, topsoil removal and reinstatement.

- Environmental and heritage requirements as referenced in Section 2.4 of this Works Information.

Where additional investigation is required by the Contractor, the approach and methodology are submitted to the Project Manager for acceptance before execution.

## Building works

Where applicable, building works shall comply with:

- Particular specifications issued by the Employer;

- The list of standardised specifications referenced in the Arnot Solar PV Plant Functional Specification; and

- Variations to standardised specifications issued as part of this Works Information.

Where Model Trade Preambles are referenced, terminology is interpreted in accordance with NEC3 principles, and no clauses conflicting with the conditions of contract shall apply.

## Civil engineering and structural works

Civil and structural works shall comply with:

- Particular civil engineering specifications provided by the Employer;

- Applicable standardised specifications from SANS 1200, SANS 2000 or updated equivalents; and

- Variations or project-specific requirements included in this Works Information.

Where SANS 1200 specifications are used, the Contractor shall apply the terminology conventions listed in the contract and ensure there are no conflicting provisions. Civil works include, but are not limited to: foundations, equipment plinths, inverter station bases, cable trenches, internal roads, drainage systems, fencing, and structural mounting systems for PV modules.

## Electrical & mechanical engineering works

Electrical and mechanical works shall comply with the Employer’s technical specifications and the Arnot Solar PV Plant Functional Specification.

The Contractor ensures compliance with all relevant statutory and regulatory requirements, including but not limited to:

- SANS 10142,

- SANS 61439 series,

- IEC standards applicable to PV modules, inverters, transformers and MV/LV systems,

- Eskom Distribution and Transmission technical standards, where referenced.

All drawings, connection diagrams, protection settings, and equipment data sheets shall be submitted for acceptance in accordance with the Contractor’s design responsibilities.

## Process control and IT works

Process control, SCADA, communication and IT systems shall comply with the Employer’s operational requirements and the Arnot Solar PV Functional Specification. The Contractor ensures full integration with the Eskom SCADA network, communication protocols, protection systems and data interfaces. Requirements include:

- Telemetry, metering and remote monitoring systems,

- Cybersecurity compliance per Eskom ICT governance standards,

- Provision of network drawings, protocols and configuration files.

All software, firmware and digital configurations are documented and provided as part of handover documentation.

## Other [as required]

The Contractor shall comply with any other discipline-specific specifications included in Annexures to this Works Information or referenced in the Arnot Solar PV Plant Functional Specification.

Where specialist systems or equipment are included (e.g. weather stations, satellite irradiance sensors, fire detection systems, or security systems), the Contractor ensures adherence to all manufacturer, statutory and Employer-specific requirements.

# List of drawings

## Drawings issued by the Employer

This is the list of drawings issued by the Employer at or before the Contract Date and which apply to this contract.

Note:  Some drawings may contain both Works Information and Site Information.

| Drawing number | Revision | Title |
| --- | --- | --- |
| The Contractor Makes reference to the Arnot Solar PV Plant Functional Specification and Appendices for the complete list and details of all relevant drawings. |  |  |

# Standards and Specifications

Standards and specifications are as detailed in this Works Information, including the Arnot Solar PV Plant Functional Specification. It is the Contractor’s responsibility to ensure that they are in possession of the latest revisions of all applicable standards, specifications, and referenced documents.

C3.2	Contractor’s Works Information

This section of the Works Information will always be contract specific depending on the nature of the works. It is most likely to be required for design and construct contracts where the tendering contractor will have proposed specifications and schedules for items of Plant and Materials and workmanship, which once accepted by the Employer prior to award of contract now become obligations of the Contractor per core clause 20.1. Typical sub headings could be a) Contractor’s design b) Plant and Materials specifications and schedules c) Other

This section could also be compiled as a separate file.