## Environment
Occupational Health and Safety Baseline Risk Assessment | [23 empty] | Consequences | 8 | III | II | I | I | I | R | Safety | 1 | A | Fully effective | I
Business/Operating Unit: | CAMDEN POWER STATION | [6 empty] | Department: | Environment | [9 empty] | Next Review Date (every 2 years): |  |  | Template identifier: | 240-70044602 |  | 5 | III | II | II | I | I | N | Health | 2 | B | Mostly effective | II
[25 empty] | 4 | IV | III | II | I | I |  |  | 3 | C | Mostly ineffective | III
Date: | 10/12/2025 | [6 empty] | Prepared by: | Nomakhosi Mlungwana,Fikile Vilakazi |  |  | Authorised by: | Name |  |  |  | Fikile Nokwanda Vilakazi |  |  |  | Document ID |  | 240-157223320 |  | 3 | IV | III | II | II | I |  |  | 4 | D | None | IV
[13 empty] | Designation |  |  |  | Senior Advisor Environmental |  |  |  | Revision number: |  | 5 |  | 2 | IV | IV | III | II | II |  |  | 5 | E
[13 empty] | Signed |  |  |  | #VALUE! |  |  |  | Revision date: |  | 30-Apr-27 |  | 1 | IV | IV | III | III | III |  |  | 8
[13 empty] | Date |  |  |  | 12/11/2025
Refer to Occupational Health and Safety Risk assessment Procedure 32-520
List activity | Activity type (Routine/Non-routine) | Hazard nr | Hazard Identification | Risk Nr | Associated risk | Risk type | Cause(s) of the risk | Exposed group/employees | Risk Owner | Exposure patterns | What are the possible consequences? | Existing Controls |  |  | Risk Priority Rating |  | Additional Controls or Tasks Aimed at improving Existing Controls | Monitoring Mechanisms | Control Owner | Legal and Other Requirements | Target Date | Current Status | Integrated Risk Management (IRM) reference number
List specific activities to be performed taking into consideration the equipment to be used, the personnel involved in the task. | Indicate R or N 1. Routine activities and situations create hazards through day-to-day operations and normal work activities; 2. Non-routine activities and situations are occasional or unplanned; | # | Anything with potential to cause of harm. Note: A hazard can pose more than one risk. | # | A chance that injury , ill health or damage could occur as a result of uncontrolled hazard. | Safety or health | What causes the risk to come into effect? | Who is exposed to the hazard i.e. visitors, members of the public, etc. | Who is accountable for making sure the controls and monitors are: - in place, - implemented, - regularly reviewed for effectiveness. | The frequency and duration the person/group is exposed to the hazard e.g. Daily for 3 hrs. | Consider the worse case scenario without controls? | Include: - Preventative Controls (controls implemented to eliminate hazards or reduce the likelihood of the risk occurring), and - Reactive Controls (controls implemented to reduce the immediate impact of the risk occurring) Elimination Substitution Engineering controls Administrative controls Personal protective equipment (PPE) | Consequence | Likelihood |  | RCE Risk Control Effectiveness | Include: - Preventative Controls (controls implemented to eliminate hazards or reduce the likelihood of the risk occurring), and - Reactive Controls (controls implemented to reduce the immediate impact of the risk occurring) Elimination Substitution Engineering controls Administrative controls Personal protective equipment (PPE) NB: The risk shall be evaluated, assessed and rated again once additional controls have been implemented and those controls listed as existing controls. | How we know if we are succeeding. Include comments on effectiveness. This may include i.e. measurements, inspections, supervision where necessary. | Person allocated the responsibility for implementing the agreed controls (if applicable) | Where relevant, list the relevant legislative and or Eskom requirements that prescribe the control. | Once a date has been agreed to, this can not be changed (if applicable) | Pending, In Progress, Complete (if applicable) | Where applicable, add IRM system reference number for tracking of treatment actions. (applicable to risks that have an impact on business objectives or require intervention from Senior or Executive management such as impementing major engineering projects as a control)
Driving of vehicles | Routine | 1 | Over speeding of vehicles | 1 | MVA | Safety | Not paying attention, not farmialr with the road, making use of cell phone, distractions, exposed to unsafe behaviours, congested roads, Pedestrians and live stock, Taxi and Truck on the road, Civil unrest. Negligent driving. Potholes and Weather conditions (rain, mist, etc) | Employees/Public | Environment | Daily | Injuries/Fatalities to driver and pedestrians or property damage | Staff driving vehicles to have national driver's license and Eskom driver's evaluation permit, vehicles in roadworthy condition, only authorised staff is permited to use Eskom vehicles, Daily vehicle inspections, routine maintainance of vehicles, and obeying of all traffic laws, Adherence to life saving rules. Conduct travel route risk assessment. maintainance of station and Oak road. Create and communicate Road and vehicle safety awareness. Installation of Drive Cam. | 1 | C | III | Fully Effective | Adhere/maintain the existing controls | Vehicle inspections, Audits, Drive Cam, Inspect Oak/station road. Incident Statistics. | Environment | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) Environmental Regulations for Workplaces, 1987 General Safety Regulations, 1988 General Administrative Regulations, 2003 | N/A | Completed | N/A
| Routine | 2 | Driving without safety belt buckled up | 2 | Severe Injuries and fatalities when involved in an Accident | Safety | Not adhering to life saving rules | Employees | Environment | Daily | Lost Time Injury or severe Injuries and fatalities | Awareness and Acknowlegement of Life Saving Rules through induction. Road and vehicle safety compaigns. Conducting VFL/BSO, Conducting toolbox talks. Installation of Drive Cam. | 1 | C | III | Fully Effective | Adhere/maintain the existing controls, Consequence Management | VFL/BSO analysis, Drive Cam. | Environment | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) Environmental Regulations for Workplaces, 1987 - General Safety Regulations, 1988 General Administrative Regulations, 2003 - Facilities Regulations, 1990 General Safety Regulations, 1988 General Administrative Regulations, 2003 W13 Eskom Life-Saving Rules Standard, 240-62196227 Eskom Drive Cam Procedure. 240-62946387 | N/A | Completed | N/A
| Routine | 3 | Reversing a vehicle into a Parking lot. | 3 | Property damage, Injuries, Collide with other vehicles. | Safety | Failure of drivers to observe while parking Impatience of other drivers while reversing Time pressure Destruction Small parking design | Employees | Environment | Daily | Property damage, Motor vehicle accident and Injuries. | Conduct awareness on reverse parking Induction training covers reverse parking | 1 | C | III | Mostly Effective | Adhere/maintain the existing controls, Consequence Management | Inspections, | Environment | Occupational Health and Safety, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) General Safety Regulations, 1988 General Administrative Regulations, 2003 Facilities Regulations, 1990 | 31 December 2025 | in progress | N/A
| Non-Routine | 4 | Driving during the night | 4 | MVA, Property damage, Injuries and Fatalities Collide with other vehicles. | Safety | Not paying attention, not farmiliar with the road, making use of a cell phone, distractions, potholes, exposed to unsafe driving behaviours, congested roads, Pedestrians and stray animals, Taxis and Trucks on the road, Civil unrest. Negligent driving, Weather conditions(rain, mist, etc) & hijacking. | Employees | Environment | Daily | Injuries,Fatalities, Property damage and Trauma | Staff driving vehicles to have national driver's license and Eskom driver's evaluation permit, vehicles in roadworthy condition, only authorised staff is permited to use Eskom vehicles, Daily vehicle inspections, routine maintainance of vehicles, and obeying of all traffic laws, Adherence to life saving rules. Conduct travel route risk assessment. maintainance of station and Oak road. Create and communicate Road and vehicle safety awareness. Installation of Drive Cam. | 1 | C | III | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Vehicle inspections, Audits, Drive Cam, Inspect Oak/station road. Incident Statistics. | Environment | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) Environmental Regulations for Workplaces, 1987 General Safety Regulations, 1988 General Administrative Regulations, 2004 | N/A | Completed | N/A
Office work | Routine | 5 | Inadequate/ Excessive lighting | 5 | Straining and or irritation of the eyes | Health | Too many lights installed Dirty light covers Defective lights | Employees | Environment | Daily | Eye strains Headaches | Conducting illumination surveys Monthly PM's Medical surveillance illumination awareness Closing of survey actions | 2 | B | IV | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Illumination survey Monthly PM SAP QIM | Environment | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) Environmental Regulations for Workplaces, 1987 General Safety Regulations, 1988 General Administrative - Regulations, 2003 SANS-10114 of 2020 Part 1 and 2 | Monthly/ 2 yearly | ongoing | N/A
| Routine | 6 | Computer/laptop/desktop | 6 | Poor Ergonomics at workstations | Health | Bad posture/incorrect working position | Employees | Environment | Daily | work related upper limb disorders, repetitive strain syndrome, capal tunnel syndrome. | Conducting ergonomics surveys/risk assessment Medical surveillance Ergonomics awareness Closing of survey/risk assessment actions | 2 | B | IV | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Illumination survey Monthly PM SAP QIM | Environment | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) Environmental Regulations for Workplaces,1987 General Safety Regulations, 1988 General Administrative Regulations, 2003 | Monthly/ 2 yearly | ongoing | N/A
Interaction amongst employees | Routine | 15 | Bullying | 15 | Compromised self eesteem causing depression and suicidal thoughts | Health | Lack of interpersonal skills and relationship with other employees, Individual background and social issues. | Employees | Environment | Daily, 8hrs | Injuries, fatalities and depression | Implementation of HR policies and procedures Awareness | 4 | B | III | Fully effective | Adhere/maintain the existing controls, Consequence Management | EAP Cases | Environment | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) 240-43848327 Right to Refuse to Work in an unsafe condition procedure 32-520 Occupational Health & Safety Risk Assessment Procedure 32-477 Safety Health and Environment Training and Development 32-285 Medical surveillance 32-95 Rev. 09 Environmental, Occupational Health and Safety Incident Management Procedure | As and when required | ongoing | N/A
|  | 16 | Drugs | 16 | Injuries and Mental health issues | Health | Peer pressure, Social factors | Employees | Environment | Daily, 8hrs | Injuries, fatalities and Depression | Self or Employer recommendations to visit Employee Assistant programme facilities always welcomed. HR policies and procedures Awareness | 4 | B | III | Fully effective | Adhere/maintain the existing controls, Consequence Management | EAP Cases | Environment | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) 240-43848327 Right to Refuse to Work in an unsafe condition procedure 32-520 Occupational Health & Safety Risk Assessment Procedure 32-477 Safety Health and Environment Training and Development 32-285 Medical surveillance 32-95 Rev. 09 Environmental, Occupational Health and Safety Incident Management Procedure | As and when required | ongoing | N/A
|  | 17 | Gender discrimination | 17 | Compromised self esteem, Fatalities | Health | Gender intolerance leading to suicidal thoughts | Employees | Environment | Daily, 8hrs | Fatalities Depression | Awareness on HR polices and procedures managing gender based discrimination. | 4 | B | III | Fully effective | Adhere/maintain the existing controls, Consequence Management | EAP Cases | Environment | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) 240-43848327 Right to Refuse to Work in an unsafe condition procedure 32-520 Occupational Health & Safety Risk Assessment Procedure 32-477 Safety Health and Environment Training and Development 32-285 Medical surveillance 32-95 Rev. 09 Environmental, Occupational Health and Safety Incident Management Procedure | As and when required | ongoing | N/A
|  | 18 | Unrest | 18 | Injuries and Property damage | Safety | Misunderstanding between employees and management | Employees | Environment | As and when they occur | Property Damage Injuries | Implementation of Emergency Preparedness Plan Liaison with Security Intelligence Local Police liaison with the organisation if there are road blocks around. Employees use alternative roads for access Activation of JPC | 4 | B | III | Fully Effective | Adhere/maintain the existing controls, Consequence Management | EP Meetings JPC Meeting Contigency plan | Environment | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) 240-43848327 Right to Refuse to Work in an unsafe condition procedure 32-520 Occupational Health & Safety Risk Assessment Procedure 32-477 Safety Health and Environment Training and Development 32-285 Medical surveillance 32-95 Rev. 09 Environmental, Occupational Health and Safety Incident Management Procedure | Every two months /Quartely | ongoing | N/A
Accessing Plant | Routine | 19 | Stairways | 19 | Slip, trips and fall | Safety | Failure to identify the risk Lack of concentration Not applying three point contact | Eskom Employees | Environment | Weekly | Injuries | Task Specific risk assessment Inspection of work areas Awareness training Providing personal protective equipment (e.g. Slip-resistant footwear) Implementation of PM's | 2 | B | IV | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Inspections PM's VFL/BSO | Environment | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) General Safety Regulations, 1988 General Administrative Regulations, 2003 | Weekly/monthly | ongoing | N/A
| Routine | 20 | PF dust | 20 | Respiratory issues, Skin irritation, eye irirtation | Health | Fly ash Lack of training and knowledge Ineffective PPE Inadequate Risk assessment Inadequate communication | Eskom Employees | Environment | Weekly | Lung cancer Respiratory ailments | Employees are subjected to periodic medical testing by the Medical Health Practitioner. Plant is cleaned daily Maintain plant in a serviceable condition to reduce exposure Employees must be subjected to training and education (induction), which includes dust exposure and control measures. Employees must be provided with respiratory protection device. Employees are provided with respiratory protective devices to provide adequate protection against the estimated dust levels. Awareness is done Survey is done | 4 | B | III | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Inspections, audits | Environment | Occupational Health and Safety Act (Act No. 85 of 1993) Regulation for Hazardous Chemical Substance (1985) Environmental Regulations for Workplaces (1987) General Safety Regulations, 1988 General Administrative Regulations, 2003 | Monthly | ongoing | N/A
| Routine | 21 | Heat | 21 | Burns Heat rash Dehydration Heat stroke | Health | Exposed to excesive heat | Employees | Environment | Weekly | Burns Heat rash Dehydration Heat stroke | Awareness training Conduct atmospheric testing Keep hydrated Heat stress survey | 4 | B | III | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Inspection, Audit | Environment | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) General Safety Regulations, 1988 General Administrative Regulations, 2003 | Monthly | ongoing | N/A
| Routine | 22 | Exposure to noise above 85dB | 22 | Noise induced hearing loss | Health | exposure to continous noise above 85db for more than 8hrs | Employees | Environment | Weekly | Noise Induced Hearing Loss | Occupational hygiene surveys are conducted to determine noise exposure levels. Employees are subjected to audiometric testing by the Medical Health Practitioner. Employees are provided with hearing protection device. Noise awareness are conducted | 4 | B | III | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Inspection, Audit | Environment | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Noise-induced Hearing Loss Regulations, 2003 Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) General Safety Regulations, 1988 General Administrative Regulations, 2003 SANS 10083 of 2021 | Monthly | ongoing | N/A
| Routine | 23 | Live Apparatus | 23 | Injuires Fatality Electrocution | Safety | Working in a live plant result in exposure to live parts of the plant , equipment or machinery Violation of Plant Safety Regulations Inadequate or inappropriate training Inadequate risk assessment Taking shortcuts Lack of concentration Inadequate communication | Employees | Environment | Weekly | Electrical shock; Neurological damage. Injuries/Fatalities | Implementation of the requirements of the Plant Safety Regulation PPE issued:(encompassing non-slip safety boots, electrical shock-resistant boots, long sleeve and long pants),and restriction on wearing of jewellery, long breem safety hat. | 4 | B | III | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Inspections Audits Supervision | Environment | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) General Safety Regulations, 1988 General Administrative Regulations, 2003 240-15598034 OHS Oppotunity Register | Daily/Monthly | ongoing | N/A
| Routine | 24 | Uneven surfaces | 24 | Slip, trips and fall | Safety | Failure to identify the risk Lack of concentration Poor housekeeping | Employees | Environment | Weekly | Injuries | Risk assessment. Inspection of work areas on a regular basis as per the procedure Awareness training Providing personal protective equipment (e.g. Slip-resistant footwear) | 2 | B | IV | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Inspections Audits Supervision VFL/BSO | Environment | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) General Safety Regulations, 1988 General Administrative Regulations, 2003 | Daily/Monthly/as and when required | ongoing | N/A
| Routine | 25 | Inadequate/ Excessive lighting | 25 | Straining and or irritation of the eyes | Health | Too many lights installed Dirty light covers Defective lights | Employees | Environment | Daily | Eye strains Headaches | Conducting illumination surveys Monthly PM's Medical surveillance illumination awareness Closing of survey actions | 2 | B | IV | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Illumination survey Monthly PM SAP QIM | Environment | - Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) Environmental Regulations for Workplaces, 1987 General Safety Regulations, 1988 General Administrative - Regulations, 2003 SANS - 10114 of 2020 Part 1 and 2 | Monthly/2 yearly | ongoing | N/A
| Routine | 26 | Uneven surfaces | 26 | Slip, trips and fall | Safety | Failure to identify the risk Lack of concentration Poor housekeeping | Employees | Environment | Weekly | Injuries | Risk assessment. Inspection of work areas on a regular basis as per the procedure Awareness training Providing personal protective equipment (e.g. Slip-resistant footwear) | 2 | B | IV | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Inspections Audits Supervision VFL/BSO | Environment | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) General Safety Regulations, 1988 General Administrative Regulations, 2003 | Daily/weekly/as and when required | ongoing | N/A
| Routine | 27 | Awkward posture | 27 | Ergonomics stress, repetitive strain | Health | Non-compliance to procedures Inadequate training / experience Awkward posture Prolong exposure in cable tunnels | Employees | Environment | Monthly | Muscular-skeletal disorder: Injuries | Awareness Ergonomics assessments Correct tools for the activity Medical survelliance | 2 | B | IV | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Surveys Inspection Audit | Environment | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) Environmental Regulations for Workplaces, 1987 General Safety Regulations, 1988 General Administrative Regulations, 2003 Ergonomics regulations 2019 | Daily/weekly/as and when required | ongoing | N/A
| Routine | 28 | Exposure to noise above 85dB | 28 | Noise induced hearing loss | Health | exposure to continous noise above 85db for more than 8hrs Steam leak | Employees | Environment | Weekly | Noise Induced Hearing Loss | Occupational hygiene surveys are conducted to determine noise exposure levels. Employees are subjected to audiometric testing by the Medical Health Practitioner. Employees are provided with hearing protection device. Noise awareness are conducted | 4 | B | III | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Inspection, Audit | Environment | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Noise-induced Hearing Loss Regulations, 2003 Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) General Safety Regulations, 1988 General Administrative Regulations, 2003 SANS 10083 of 2022 | Daily/weekly/as and when required | ongoing | N/A
| Routine | 29 | PF dust | 29 | Respiratory issues, Skin irritation, eye irirtation | Health | Fly ash Lack of training and knowledge Ineffective PPE Inadequate Risk assessment Inadequate communication | Eskom Employees | Environment | Weekly | Lung cancer Respiratory ailments | Employees are subjected to periodic medical testing by the Medical Health Practitioner. Plant is cleaned daily Maintain plant in a serviceable condition to reduce exposure Employees must be subjected to training and education (induction), which includes dust exposure and control measures. Employees must be provided with respiratory protection device. Employees are provided with respiratory protective devices to provide adequate protection against the estimated dust levels. Awareness is done Survey is done | 4 | B | III | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Inspections, audits | Environment | Occupational Health and Safety Act (Act No. 85 of 1993) Regulation for Hazardous Chemical Substance (1985) Environmental Regulations for Workplaces (1987) General Safety Regulations, 1988 General Administrative Regulations, 2003 | Daily/weekly/Monthly/ as and when required | ongoing | N/A
| Routine | 30 | Rotating Machinery | 30 | Caught in between Injuries, Fatality | Safety | Defective machine guarding for the rotating shafts Nip points Lack of training Loss clothing | Employees | Environment | Daily | Injuries Fatality Property damage | Only authorized/competent persons are operating the machine Rotating machinery is safeguarded and maintained at required intervals Wear correct PPE Employees are not allowed to wear loose clothing, handling jewellery near equipment and long hair must be tied back and secure Correct signage displayed | 3 | C | III | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Observations Supervision Inspections | Environment | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) Compensation for Occupational Injuries and Diseases Act, 1993 (Act 130 of 1993) General Administrative Regulations, 2003 General Safety Regulations, 1988 240-15598034 OHS Oppotunity Register | Daily/weekly/Monthly | ongoing | N/A
| Routine | 31 | Poor housekeeping | 31 | Slips, trips and fall | Safety | Failure to identify the risk Improper stacking and storage | Eskom Employees Contractor Employees | Environment | Weekly | Injuries Near miss | Risk assessment is done before work commences. Weekly Gemba and Plant walkdowns | 3 | B | III | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Inspections Audits Supervision | Environment | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) General Safety Regulations, 1988 General Administrative Regulations, 2003 | Daily/weekly/Monthly/as and when required | ongoing | N/A
| Routine | 32 | Wet surfaces | 32 | Slips, trips and fall | Safety | Failure to identify the risk Lack of concentration Water leaks | Eskom Employees Contractor Employees | Environment | Weekly | Injuries | Good housekeeping – work areas kept tidy, etc. Clean up spillages (including dry spills) immediately using suitable methods and leave the floor dry. Display a warning sign for wet floors. Suitable cleaning materials available. Good lighting in all areas. Anti slipery safety shoes provided | 2 | B | IV | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Inspection | Environment | - Occupational Health and Safety Act (Act No. 85 of 1993) - General Safety Regulations, 1988 - General Administrative Regulations, 2003 | Daily/weekly/Monthly/as and when required | ongoing | N/A
| Routine | 33 | Oil Spillage | 33 | Contact with body | Health | Oil leakage Inadequate maintenance | Employees | Environment | Daily | Eye, nose and throat irritation Dermatitis (Inflammation) | Sawdust applied to absorb oil SDS for the oil is available and employees are trained on SDS - Risk assessment. PPE i.e. gloves, etc. to be checked for damage before use. | 2 | B | IV | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Inspections Audits Supervision | Environment | Occupational Health and Safety Act, 1993 (Act No. 85 of 1993) Regulation for Hazardous Chemical agent (2021) General Safety Regulations, 1988 General Administrative Regulations, 2004 | Daily/weekly/Monthly/as and when required | ongoing | N/A
| Routine | 34 | Awkward posture | 34 | Ergonomics stress, repetitive strain | Health | Non-compliance to procedures Inadequate training / experience Awkward posture Prolong exposure in cable tunnels | Employees | Environment | Monthly | Muscular-skeletal disorder: Injuries | Awareness Ergonomics assessments Correct tools for the activity Medical survelliance | 2 | B | IV | Fully Effective | Adhere/maintain the existing controls, Consequence Management | Surveys Inspection Audit | Environment | Occupational Health and Safety Act, Act 85 of 1993 (OHS Act) Compensation for Occupational Injuries and Diseases Act, Act 130 of 1993 (COID) Environmental Regulations for Workplaces, 1987 General Safety Regulations, 1988 General Administrative Regulations, 2003 Ergonomics regulations 2021 | Daily/weekly/Monthly/as and when required | ongoing | N/A
| Routine | 35 | Manual Handling | 35 | Strains and sprains, Fractures, dislocations. | Safety | Improper lifting techniques | Employees | Environment | Daily | Injuries | Awareness Ergonomics asessment Correct tools for the activity Medical survelliance | 4 | B | III | Fully Effective | Adhere/maintain the existing controls, Consequence Management | VFL/BSO, Ergonomics risk assessmenent | Environment | Occupational Health and Safety Act (Act No. 85 of 1993) General Safety Regulations, 1988 General Administrative Regulations, 2003 Ergonomics Regulations 2021 | Daily/weekly/Monthly | ongoing | N/A