## Tender Cover Sheet
NEW HIGH SECURITY FENCE AT HERMES SUBSTATION
PRICING INFORMATION
REQUEST FOR PROPOSAL
ENQUIRY No. | Procurement to provide
NAME OF PACKAGE: | Civils
TENDERER’S NAME:
CATEGORY OF OFFER (MAIN, ALTERNATIVE 1, ETC): | MAIN
Annexure IT 5.1 Price Schedules
THE PRICE: IN ZAR | 0
(excluding VAT)
RAND VALUE IN WORDS
DATE :

## Preambles-Method of measurement
ESKOM
Bill of Quantities
NEW HIGH SECURITY FENCE AT HERMES SUBSTATION
PREAMBLES - METHOD OF MEASUREMENT
1 | The Tenderer is advised to read and understand all aspects and documentation associated with this Enquiry BEFORE inserting his Prices and or Rates and or Amounts.
2 | The bill of quantities provides the basis of all valuations of the work, price adjustment (CPA) and general progress monitoring.
3 | The amount due at each application for payment is based as measured in terms of the bill of quantities. The Contractor provides all necessary information which is required to determine amounts due at each application for payment relative to the completed works
4 | The total of the prices includes for all direct and indirect costs, overheads, profits, on costs, risks, liabilities, obligations, etc. relative to the contract.
5 | All values are total values prior to any retention and excludes VAT.
6 | Tenderer to check and take responsibility for all descriptions, formulae and structure of this file.
A | GUIDANCE BEFORE PRICING AND MEASURING
1 | The NEC's approach to the Preliminary & General (P&G) section of the bill of quantities assumes use will be made of method related charges for project applied to providing the works based on durations shown in the Accepted Programme. Fixed charges for the use of Equipment that are required throughout the construction phase, time related charges for people working in a managerial and supervisory capacity for the period required, and lump sum charges for other facilities or services not directly related to performing work items typically included in other parts of the bill of quantities.
B | METHOD OF MEASUREMENT
1 | The bill of quantities comprises a list of work items and quantities, based on standard methods of measurement, which are either published or stated herein and state the items to be included and how quantities are to be calculated and the items and activities that are deemed to be included within the Rates and Prices inserted by the Tenderer.
2 | Tenderers shall price the items, taking account all of the information within and associated with the tender documents and shall include for all matters, which are at the Contractors risk.
3 | All enquiry documents supplied must be considered for pricing the items in the Bills of Quantities for the completion of the works.
4 | Unless otherwise stated, items are measured net in accordance with the contract drawings, and no allowance has been made for waste or bulking or compaction or evaporation or loss by any means whatsoever.
5 | The quantities contained in the bill of quantities are provisional shall not be used for ordering purposes. No claims whatsoever, however arising will be entertained, should the bill of quantities have been used for ordering and or procurement purposes.
C | RATES AND PRICES
1 | Rates and Prices shall be expressed to two decimal places (i.e. cents) except in the case of a NIL rate or price.
2 | The Tenderers Rates and Prices shall be inserted in the bill of quantities and are deemed to be fully inclusive Rates and Prices to the Employer for the work described under the several items. Such Rates and Prices shall cover all costs and expenses that may be required in, and for the prompt and efficient and safe execution of the work described, and shall cover the cost of all general risks, liabilities and obligations set forth or implied in this Enquiry document.
3 | Rates and Prices for items which are required to be inserted in the bill of quantities by the Tenderer and which have not been duly inserted, are deemed to be covered by other Rates and Prices in the bill of quantities.
4 | The Tenderers omission to insert Rates and Prices shall not be deemed to be a qualified exclusion to execute such work, activity or responsibility.
5 | The Rates and Prices are deemed to include (unless otherwise specifically stated in the bill of quantities or herein) all the relevant costs associated with the Clauses of Contract as amended and shall include but not be limited to the following cost components:
- The Tenderer is deemed to have obtained all the necessary information required to adequately price the scope of work associated with this Enquiry and no claim shall be considered resulting from lack of knowledge in this respect.

## Summary
BILL NUMBER | NEW HIGH SECURITY FENCE AT HERMES SUBSTATION | TOTAL
| CIVILS | PRICE ZAR
( EXCLUDING VAT)
DESCRIPTION
SUMMARY
1 | PRELIMINARY AND GENERAL | 0
2 | SAFETY, HEALTH AND ENVIRONMENT | 0
3 | DEMOLITIONS | 0
4 | FENCING | 0
| TOTAL (Excluding VAT) | 0
| VAT | 0
| TOTAL (Including VAT) | 0

## BILL 1 - P&G's
ITEM No. | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SECTION 1: BILL NO 1
PRELIMINARY AND GENERAL
(Applicable to the whole of the Works)
FIXED CHARGE AND VALUE RELATED ITEMS
1 | Contractual requirements. | Sum | 1 |  | 0
2 | Contractor to provide Employer with detailed design drawings as outlined in 240-76368574 (provisional). | Sum | 1 |  | 0
3 | Contractor to provide Employer with detailed installation and training documentation as outlined in 240-76368574 (provisional). | Sum | 1 |  | 0
ESTABLISHMENT OF FACILITIES ON THE SITE:
FACILITIES FOR ESKOM PERSONNEL (ON EMPLOYER'S INSTRUCTION):
4 | Name boards.
FACILITIES FOR THE CONTRACTOR:
5 | Site office, sheds and storage etc. | Sum | 1 |  | 0
6 | Living accommodation. | Sum | 1 |  | 0
7 | Ablution and latrine facilities (chemical portable toilets to be well maintained / serviced for the entire duration of the contract). | Sum | 1 |  | 0
8 | Tools and equipment. | Sum | 1 |  | 0
9 | Water supplies, electric power, compressed air supply and communications (all to be available from beginning of contract and for entire duration of the contract). | Sum | 1 |  | 0
10 | Dealing with water. | Sum | 1 |  | 0
The Contractor is to ALLOW for all necessary dewatering for the entire duration of the contract, or as deemed necessary to complete this contract successfully. The price is to include for all piping, pumps, discharging of water into suitable outlet points, standby generator/s, etc., complete.
11 | Access to the site. | Sum | 1 |  | 0
12 | Plant. | Sum | 1 |  | 0
13 | Removal of site establishment. | Sum | 1 |  | 0
SCHEDULED TIME RELATED ITEMS:
OPERATION AND MAINTENANCE OF FACILITIES ON SITE
FACILITIES FOR ESKOM PERSONNEL (ON EMPLOYER'S INSTRUCTION):
1 | Name boards.
FACILITIES FOR THE CONTRACTOR:
2 | Offices and storage sheds. | Months | 20 |  | 0
3 | Living accommodation. | Months | 20 |  | 0
4 | Ablution and latrine facilities (chemical portable toilets to be well maintained / serviced for the entire duration of the contract). | Months | 20 |  | 0
5 | Tools and equipment. | Months | 20 |  | 0
6 | Water supplies, electric power, compressed air supply and communications (all to be available from beginning of contract and for entire duration of the contract). | Months | 20 |  | 0
7 | Dealing with water. | Months | 20 |  | 0
The Contractor is to ALLOW for all necessary dewatering for the entire duration of the contract, or as deemed necessary to complete this contract successfully. The price is to include for all piping, pumps, discharging of water into suitable outlet points, standby generator/s, etc., complete.
8 | Plant. | Months | 20 |  | 0
9 | Supervision for duration of construction. | Months | 20 |  | 0
10 | Company and head office overhead costs for duration of construction. | Months | 20 |  | 0
Other time-related obligations
11 | Provision for 24 hour site security to comply with Eskom safety requirements (as outlined in the enquiry documents). | Months | 20 |  | 0
| TOTAL - carried forward to FINAL SUMMARY |  |  |  | 0

## BILL 2 - SHEQ
ITEM No. | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SECTION 1: BILL NO 2
SHEQ SCHEDULE
Fixed-charge and value-related items:
1 | Supply of all items of Personal Protective Clothing/ Equipment & ensure use thereof for full compliance
1.1 | Appropriate personal protective equipment (PPE) such as chin strapped hard hats, satefy boots, dust masks, overalls clothing with high visibility, ear plugs, gloves, etc. | Sum | 1 |  | 0
2 | Full Compliance with latest revision of OHS act
2.1 | Full compliance with latest revision of Construction regulations & any other regulations to the work to be performed. hazardous chemical substance regulations etc. | Sum | 1 |  | 0
3 | Barricading
3.1 | Supply, erection and maintenance of all temporary fencing and barricading which would be required during construction to make the site safe in accordance with the OSH Act, SHE spec and CEMPr. | Sum | 1 |  | 0
4 | Occupational Hygiene
4.1 | Health Risk Assessment. | Sum | 1 |  | 0
4.2 | Occupational Hygiene Surveys. | Sum | 1 |  | 0
5 | Occupational Health
5.1 | Pre-employment medical screening. | Sum | 1 |  | 0
5.2 | Exit Medical Screening. | Sum | 1 |  | 0
6 | Environmental Measurement and Payment as per the Site Information
6.1 | Environmental management system. | Sum | 1 |  | 0
6.2 | Fire management and control measures. | Sum | 1 |  | 0
7 | Rehabilitation
7.1 | Costs associated with the rehabilitation of disturbed land during construction according to permits and licence. | Sum | 1 |  | 0
8 | Waste Management ( Costs associated with the management of general, hazardous waste, etc.)
8.1 | Waste Bins, skips and covers. | Sum | 1 |  | 0
SCHEDULED TIME RELATED ITEMS:
1 | Transport
1.1 | Transportation of employees in compliance with the transportation of employees procedure (preferred usage of local taxi association). | Months | 20 |  | 0
2 | Human Resources
2.1 | Appointment of SAFETY OFFICER FULL TIME ON SITE Costs associated with the appointment of Safety personel and actual time spent on implementation, managing, documenting, monitoring, reviewing, internal and external audits, incident investigations and mitigating safety related impacts. | Months | 20 |  | 0
2.2 | Appointment of Community Liaison Officer (CLO) FULL TIME ON SITE to meet all the requirements as outlined in the specification. | Months | 20 |  | 0
3 | Waste Management ( Costs associated with the management of general, hazardous waste, etc.)
3.1 | Waste Bins, skips and covers. | Months | 20 |  | 0
3.2 | General waste collection and disposal at a registered landfill site as per EMPr requirements. | Months | 20 |  | 0
4 | Pollution Prevention and Control
4.1 | Costs associated with dust supression and remediation. | Months | 20 |  | 0
| TOTAL SHEQ - carried forward to FINAL SUMMARY |  |  |  | 0

## BILL 3 - Demolitions
| DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
CIVIL WORKS
SECTION 2 : BILL NO. 3
OUTER SECURITY FENCING
SUNDRY DEMOLITIONS, ALTERATIONS
1 | TAKE DOWN EXISTING FENCES AND SPOIL:
1.1 | Carefully remove the existing 2,4 m welded mesh outer security fence, including poles, overhangs, cutting of concrete stubs to 150mm below ground level and the removal of all existing accessories and dispose to a registered dumping site. | m | 1700 |  | 0
1.2 | Carefully remove the existing 6 m access gates, including poles, gate overhangs and all existing accessories and dispose to a registered dumping site. | no. | 2 |  | 0
1.3 | Carefully remove the existing 3 m access gates, including poles, gate overhangs and all existing accessories and dispose to a registered dumping site. | no. | 2 |  | 0
RELOCATION OF GATES (ON EMPLOYER'S INSTRUCTION)
1.4 | Carefully remove and relocate the existing 3m gates, including poles, gate overhangs and all existing accessories and connect to the fence. | no. | 2 |  | 0
| TOTAL - carried forward to FINAL SUMMARY |  |  |  | 0

## BILL 4 - Fencing
| DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
CIVIL WORKS
SECTION 2 : BILL NO. 4
NEW HIGH SECURITY FENCING
1 | Supply, deliver and install a new 2,4m high 'security mesh fencing' complete (all as detailed on drawings 0.54 / 8725 sht. 1 to 2):
1.1 | 2,4m High galvanised security mesh fence with two 730mm long angle sections as 'V' shaped overhang both set to 45 degrees, comprising 76.2mm x 12.7mm x 4mm electricialresistance welded mesh,strain wire:4mm class'A' heavy galvanised, eye bolts to be stainless steel or galvanised according to SANS 121. Razor coil as standard, fencing wire to confirm with SANS 675. including all necessary hot dipped galvanized steel angle section posts, corner posts, stays, top and bottom rails, including all cover plates to posts, base plates, casting posts into and including concrete foundations, including excavations, backfilling, carting away excess excavated material, straining wires to each double overhang, etc., complete. | m | 1600 |  | 0
1.2 | Extra over 2,4m high barrier security fencing with double overhang, for bend less than 90 degrees. | no. | 3 |  | 0
1.3 | Extra over 2,4m high barrier security fencing with double overhang, for 90 degree bend. | no. | 3 |  | 0
1.4 | Extra over 2,4m high barrier security fencing with overhang, for intersection with existing fencing. | no. | 4 |  | 0
1.5 | Extra over 2,4m high security fencing for the supply and installation of a 7m sliding gate comprising of two sections with a removable pillar between the gates complete with gate motors (all in accordance with drawing 0.54/7074, Sheet 1 to 11). | no. | 1 |  | 0
1.6 | Extra over 2,4m high inner security fencing for a 3m single-leaf vehicular access gate, including additional posts (all in accordance with drawing 0.54/7074, Sheet 1 to 11). | no. | 2 |  | 0
ANTI-TUNNELING
1.7 | 15MPa concrete anti-tunnelling vertical panels size 100mm wide x 600mm deep cast in ground to underside fence, including excavations (to allow for excavations in all materials), backfilling, compacting, formwork, expansion joints, mesh ref 395 reinforcement, etc. complete. | m | 1600 |  | 0
EARTHWORKS
2 | Site preparation (provisional):
Restricted Excavation:
Extra over for:
2.1 | Hard rock excavation. | m³ | 240 |  | 0
2.2 | Boulder excavation, Class A (including blasting and breaking down of all rock material to rocks / stones of manageable size). | m³ | 240 |  | 0
2.3 | Boulder excavation, Class B (including blasting and breaking down of all rock material to rocks / stones of manageable size). | m³ | 240 |  | 0
2.4 | Dolomite | m³ | 240 |  | 0
2.5 | Break down and remove the existing concrete road including carting away, removal of reinforcement and existing bolts to a registered dumping site. | m³ | 126 |  | 0
2.6 | Backfilling in restricted areas around stub column and to battered slopes, with selected fill material from commercial sources in 150mm thick layers, stabilized with 3% (by volume) Ordinary Portland Cement, including mechanical modification and compacting to 95% Mod. AASHTO maximum density. | m³ | 50 |  | 0
3 | STONE VERGE
3.1 | Clear vegetation to in the affected area as shown on 0.54-393-C32. | m² | 1020 |  | 0
Preparation of site:
3.2 | Preparation and stripping of site/removal of topsoil to 150 mm deep, stockpile and maintain. | m³ | 306 |  | 0
WEEDKILLERS, INSECTICIDES, etc.
3.3 | Supply and apply approved weedkiller to terrace, in strict accordance with the Manufacturer's instructions. | m² | 2040 |  | 0
EARTHWORKS
3.4 | Supply and spread 150 mm norminal diameter yard stones from commercial sources and lightly compact to set levels ( as specified in 0.54-393-C32). | m² | 2040 |  | 0
3.5 | Supply and lay 250 micron PVC sheeting before laying yardstones. | m² | 2040 |  | 0
KERBING AND CHANNELING
Supply and lay precast concrete barrier kerb to SABS 927-1969 Fig. 7 complete with 15MPa/19mm in-situ concrete with all materials for the kerbing and bedding, haunching at joints, excavation, compacting, together with all backfilling:
3.6 | Kerbs laid straight. | m | 1700 |  | 0
| TOTAL - carried forward to FINAL SUMMARY |  |  |  | 0