NEC3 Supply Contract (SC3)

| Between | ESKOM HOLDINGS SOC Ltd (Reg No. 2002/015527/30) |  |
| --- | --- | --- |
| and | [Insert at award stage] (Reg No. ___________ ) |  |
| for | SUPPLY AND DELIVERY OF PACKING & GASKETS FOR A PERIOD OF 5 YEARS AT GROOTVLEI POWER STATION ON AN AS WHEN REQUIRED BASIS Insert title of the goods and services |  |
| Contents: |  | No of pages |
| Part C1 | Agreements & Contract Data | 28 |
| Part C2 | Pricing Data | 21 |
| Part C3 | Scope of Work | 11 |
| CONTRACT No. | [Insert at award stage] |  |

# PART C1:	AGREEMENTS & CONTRACT DATA

| Contents: |  | No of pages |
| --- | --- | --- |
| C1.1 | Form of Offer and Acceptance [to be inserted from Returnable Documents at award stage] |  |
| C1.2a | Contract Data provided by the Purchaser |  |
| C1.2b | Contract Data provided by the Supplier [to be inserted from Returnable Documents at award stage] |  |
| C1.3 | Proforma Guarantees |  |

C1.1 Form of Offer & Acceptance

## Offer

The Purchaser, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

SUPPLY AND DELIVERY OF PACKING & GASKETS FOR A PERIOD OF 5 YEARS AT GROOTVLEI POWER STATION ON AN AS WHEN REQUIRED BASISInsert title of the goods and services

The tenderer, identified in the Offer signature block, has

| Either | Examined the documents listed in the Tender Data and addenda thereto as listed in the Returnable Schedules, and by submitting this Offer has accepted the Conditions of Tender. |
| --- | --- |
| Or | Examined the draft contract as listed in the Acceptance section and agreed to provide this Offer. |

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Supplier under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data.

|  | The offered total of the Prices exclusive of VAT is | R |
| --- | --- | --- |
|  | Value Added Tax @ 15% is | R |
|  | The offered total of the amount due inclusive of VAT is | R |
|  | (in words) |  |

This Offer may be accepted by the Purchaser by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Supplier in the conditions of contract identified in the Contract Data.

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| For the tenderer: |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

## Acceptance

By signing this part of this Form of Offer and Acceptance, the Purchaser identified below accepts the tenderer’s Offer.  In consideration thereof, the Purchaser shall pay the Supplier the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Purchaser and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in:

Part C1		Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2		Pricing Data

Part C3		Scope of Work:  Goods Information including Supply Requirements

And drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Purchaser’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity | General Manager Grootvlei Generation Division |  |  |  |
| For the Purchaser | Grootvlei Power Station Private Bag X Grootvlei 2420 |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

## Schedule of Deviations to be completed by the Purchaser prior to contract award

| No. | Subject | Details |
| --- | --- | --- |
| 1 |  |  |

By the duly authorised representatives signing this Schedule of Deviations below, the Purchaser and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of Offer and Acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement.

|  | #### For the tenderer: |  | #### For the Purchaser |
| --- | --- | --- | --- |
| Signature |  |  |  |
| Name |  |  |  |
| Capacity |  |  | General Manager: Grootvlei Generation Division |
| On behalf of | (Insert name and address of organisation) |  | Grootvlei Power Station Private Bag X Grootvlei 2420 |
| Name & signature of witness |  |  | Manager: Procurement |
| Date |  |  |  |

C1.2 SC3 Contract Data

# Part one - Data provided by the Purchaser

Completion of this data in full, according to the Options chosen, is essential to create a complete contract.

| Clause |  |  | ## Statement |  | ## Data |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  | ## General |  |  |  |  |  |  |  |  |
|  |  |  | The conditions of contract are the core clauses and the clauses for Options |  |  |  |  |  |  |  |  |
|  |  |  |  |  | X1: Price adjustment for inflation |  |  |  |  |  |  |
|  |  |  |  |  | X2: Changes in the law |  |  |  |  |  |  |
|  |  |  |  |  | X7: Delay damages X17: Low performance damages |  |  |  |  |  |  |
|  |  |  |  |  | Z: Additional conditions of contract |  |  |  |  |  |  |
|  |  |  | Of the NEC3 Supply Contract (April 2013) |  | (If the December 2009 edition is to be used delete April 2013 and replace by December 2013) |  |  |  |  |  |  |
| 10.1 |  |  | The Purchaser is (name): |  | Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state-owned company incorporated in terms of the company laws of the Republic of South Africa |  |  |  |  |  |  |
|  |  |  | Address |  | Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg |  |  |  |  |  |  |
|  |  |  | Tel No. |  | 011 800 8111 |  |  |  |  |  |  |
|  |  |  | Fax No. |  | N/A |  |  |  |  |  |  |
| 10.1 |  |  | The Supply Manager is (name): |  |  |  |  |  |  |  |  |
|  |  |  | Address |  |  |  |  |  |  |  |  |
|  |  |  | Tel |  |  |  |  |  |  |  |  |
|  |  |  | E-mail |  |  |  |  |  |  |  |  |
| 11.2(13) |  |  | The goods are |  | Gaskets and Packings |  |  |  |  |  |  |
| 11.2(13) |  |  | The services are |  | Supply and delivery of gaskets and packings to Grootvlei Power station as when required. |  |  |  |  |  |  |
| 11.2(14) |  |  | The following matters will be included in the Risk Register |  | Damages during offloading of the goods |  |  |  |  |  |  |
| 11.2(15) |  |  | The Goods Information is in |  | Part 3: Scope of Work and all documents and drawings to which it makes reference. |  |  |  |  |  |  |
| 11.2(15) |  |  | The Supply Requirements as part of the Goods Information is in |  | Annexure A to this Contract Data |  |  |  |  |  |  |
| 12.2 |  |  | The law of the contract is the law of |  | The Republic of South Africa |  |  |  |  |  |  |
| 13.1 |  |  | The language of this contract is |  | English |  |  |  |  |  |  |
| 13.3 |  |  | The period for reply is |  | Five working days |  |  |  |  |  |  |
| ## 2 |  |  | ## The Supplier’s main responsibilities |  | Data required by this section of the core clauses is provided by the Supplier in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |  |
| ## 3 |  |  | ## Time |  |  |  |  |  |  |  |  |
| 30.1 |  |  | The starting date is. |  |  |  |  |  |  |  |  |
| 30.1 |  |  | The delivery date of the goods and services is: |  | Goods and services |  |  |  |  | Delivery date |  |
|  |  |  |  |  | 1 | As stipulated on the PO for supply and delivery of gaskets and packings to Grootvlei Power station on as when required for the period of five years. |  |  |  | As per agreed programme. |  |
| 30.2 |  |  | The Supplier does not bring the goods to the Delivery Place more than one week before the Delivery Date. |  | No data required |  |  |  |  |  |  |
| 31.1 |  |  | The Supplier is to submit a first programme for acceptance within |  | At the start of the contract Date. |  |  |  |  |  |  |
| 32.2 |  |  | The Supplier submits revised programmes at intervals no longer than |  | Five working days |  |  |  |  |  |  |
| ## 4 |  |  | ## Testing and defects |  |  |  |  |  |  |  |  |
| 42 |  |  | The defects date is |  | Fifty-two weeks after Delivery. |  |  |  |  |  |  |
| 43.2 |  |  | The defect correction period is |  | Two weeks |  |  |  |  |  |  |
| 42.2 |  |  | The defects access period is |  | Seven days |  |  |  |  |  |  |
| ## 5 |  |  | ## Payment |  |  |  |  |  |  |  |  |
| 50.1 |  |  | The assessment interval is |  | Continuous assessment upon safe delivery and having met all the required standard and signed off |  |  |  |  |  |  |
| 51.1 |  |  | The currency of this contract is the |  | South African Rand |  |  |  |  |  |  |
| 51.2 |  |  | The period within which payments are made is |  | Four weeks after assessment is completed and signed by Supply Manager. |  |  |  |  |  |  |
| 51.4 |  |  | The interest rate is |  | The publicly quoted prime rate of interest (calculated on a 365-day year) charged from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and (ii) the LIBOR rate applicable at the time for amounts due in other currencies. LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove. |  |  |  |  |  |  |
| ## 6 |  |  | ## Compensation events |  | There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |  |
| ## 7 |  |  | ## Title |  | ## There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |  |
| ## 8 |  |  | ## Risks, liabilities, indemnities and insurance |  |  |  |  |  |  |  |  |
| 80.1 |  |  | These are additional Purchaser’s risks |  | None |  |  |  |  |  |  |
| 88.1 |  |  | The Supplier’s liability to the Purchaser for indirect or consequential loss, including loss of profit, revenue and goodwill is limited to |  | R0.0 (zero Rand) |  |  |  |  |  |  |
| 88.2 |  |  | For any one event, the Supplier’s liability to the Purchaser for loss of or damage to the Purchaser’s property is limited to |  | (1) for the Purchaser’s existing and surrounding property in the care, custody and control of the Supplier the amount of the deductible (first amount payable) relevant to the event And (2) for all other existing Purchaser’s property, the applicable deductible as at contract date |  |  |  |  |  |  |
| 88.3 |  |  | The Supplier’s liability for Defects due to his design which are not notified before the last defects date is limited to: |  | The total price of the design, manufacturing, and delivery |  |  |  |  |  |  |
| 88.4 |  |  | The Supplier’s total liability to the Purchaser, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to |  | The purchase order value |  |  |  |  |  |  |
| 88.5 |  |  | The end of liability date is |  | 18 months after Delivery of the whole of the goods and services. |  |  |  |  |  |  |
| ## 9 |  |  | ## Termination and dispute resolution |  | In addition to Clause 9 (Termination) the following shall apply: - The Employer will review the contract as and when required and reserve the right to terminate the contract if the service is no longer required. - The Employer reserves the right to terminate the contract when Grootvlei Power station stop operating before the contract expires. - The Employer reserves the right to terminate the contract when the contract value is exhausted or finished before the end of the contract period. - The Employer reserves the right to terminate the contract when the national contract of the same goods is put in place. |  |  |  |  |  |  |
| 94.1 |  |  | The Adjudicator is |  | The person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him. (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA). |  |  |  |  |  |  |
|  |  |  | Address |  |  |  |  |  |  |  |  |
|  |  |  | Tel No. |  |  |  |  |  |  |  |  |
|  |  |  | Fax No. |  |  |  |  |  |  |  |  |
|  |  |  | E-mail |  |  |  |  |  |  |  |  |
| 94.2(3) |  |  | The Adjudicator nominating body is: |  | The Chairman of ICE-SA, a Division of the South African Institution of Civil Engineering, or its successor body (See www.ice-sa.org.za) |  |  |  |  |  |  |
| 94.4(2) |  |  | The tribunal is: |  | Arbitration |  |  |  |  |  |  |
| 94.4(5) |  |  | The arbitration procedure is |  | The latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |  |  |
| 94.4(5) |  |  | The place where arbitration is to be held is |  | South Africa |  |  |  |  |  |  |
|  |  |  | The person or organisation who will choose an arbitrator - If the Parties cannot agree a choice or - If the arbitration procedure does not state who selects an arbitrator, is |  | The Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |  |  |
| ## 10 |  |  | ## Data for Option clauses |  |  |  |  |  |  |  |  |
| X1 |  |  |  |  |  |  |  |  |  |  |  |
| X1 |  |  | Price adjustment for inflation |  |  |  |  |  |  |  |  |
| X1.1 |  |  | The base date for indices is |  |  |  |  |  |  |  |  |
|  |  |  | The proportions used to calculate the Price Adjustment Factor are: |  | Proportion |  | Linked to index for |  | Index prepared by |  |  |
|  |  |  |  |  |  |  | Non-adjustable |  | Fixed |  |  |
| X2 |  |  | Changes in the law |  |  |  |  |  |  |  |  |
| X2.1 |  |  | A change in the law of |  | Republic of South Africa is a compensation event if it occurs after the Contract Date |  |  |  |  |  |  |
| X7 |  |  | Delay damages |  |  |  |  |  |  |  |  |
| X7.1 |  |  | Delay damages for Delivery are |  | Delivery of |  |  | Amount per day |  |  |  |
|  |  |  |  |  | Spares not as per contract lead times |  |  | 2.5% of the specific Line item on the Purchase Order per day, up to a limit of 10% of the total value of the Specific Line Item. |  |  |  |
| X17 |  |  | Low performance damages |  |  |  |  |  |  |  |  |
| X17.1 |  |  | The amounts for low performance damages are: |  | Amount |  |  | Performance level |  |  |  |
|  |  |  |  |  | 1% of the purchase order value per day. |  |  | 1% of the purchase order value per day until the defect is corrected (because of poor workmanship and premature failures) |  |  |  |
| Z |  |  | The additional conditions of contract are |  | Z1 to Z13 always apply for Eskom |  |  |  |  |  |  |
| Z1 |  | Cession delegation and assignment |  |  |  |  |  |  |  |  |  |
| Z1.1 |  | The Supplier does not cede, delegate, or assign any of its rights or obligations to any person without the written consent of the Purchaser. |  |  |  |  |  |  |  |  |  |
| Z1.2 |  | Notwithstanding the above, the Purchaser may on written notice to the Supplier cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. |  |  |  |  |  |  |  |  |  |
| Z2 |  | Joint ventures |  |  |  |  |  |  |  |  |  |
| Z2.1 |  | If the Supplier constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Purchaser for the performance of this contract. |  |  |  |  |  |  |  |  |  |
| Z2.2 |  | Unless already notified to the Purchaser, the persons or organisations notify the Supply Manager within two weeks of the Contract Date of the key person who has the authority to bind the Supplier on their behalf. |  |  |  |  |  |  |  |  |  |
| Z2.3 |  | The Supplier does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Purchaser having been given to the Supplier in writing. |  |  |  |  |  |  |  |  |  |
| Z3 |  |  | Change of Broad Based Black Economic Empowerment (B-BBEE) status |  |  |  |  |  |  |  |  |
| Z3.1 |  |  | Where a change in the Supplier’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Supplier’s B-BBEE status, the Supplier notifies the Purchaser within seven days of the change. |  |  |  |  |  |  |  |  |
| Z3.2 |  |  | The Supplier is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Supply Manager within thirty days of the notification or as otherwise instructed by the Supply Manager. |  |  |  |  |  |  |  |  |
| Z3.3 |  |  | Where, as a result, the Supplier’s B-BBEE status has decreased since the Contract Date the Purchaser may either re-negotiate this contract or alternatively, terminate the Supplier’s obligation to Provide the Goods and Services. |  |  |  |  |  |  |  |  |
| Z3.4 |  |  | Failure by the Supplier to notify the Purchaser of a change in its B-BBEE status may constitute a reason for termination. If the Purchaser terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93. |  |  |  |  |  |  |  |  |
| Z4 |  | Confidentiality |  |  |  |  |  |  |  |  |  |
| Z4.1 |  | The Supplier does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Supplier, enters the public domain or to information which was already in the possession of the Supplier at the time of disclosure (evidenced by written records in existence at that time). Should the Supplier disclose information to Others in terms of clause 23.1, the Supplier ensures that the provisions of this clause are complied with by the recipient. |  |  |  |  |  |  |  |  |  |
| Z4.2 |  | If the Supplier is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Supply Manager. |  |  |  |  |  |  |  |  |  |
| Z4.3 |  | In the event that the Supplier is, at any time, required by law to disclose any such information which is required to be kept confidential, the Supplier, to the extent permitted by law prior to disclosure, notifies the Purchaser so that an appropriate protection order and/or any other action can be taken, if possible, prior to any disclosure. In the event that such protective order is not, or cannot, be obtained, then the Supplier may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed. |  |  |  |  |  |  |  |  |  |
| Z4.4 |  | The taking of images (whether photographs, video footage or otherwise) of the goods or any portion thereof, in the course of Providing the Goods and Services and after Delivery, requires the prior written consent of the Supply Manager. All rights in and to all such images vests exclusively in the Purchaser. |  |  |  |  |  |  |  |  |  |
| Z4.5 |  | The Supplier ensures that all his subcontractors abide by the undertakings in this clause. |  |  |  |  |  |  |  |  |  |
| Z5 |  | Waiver and estoppel: Add to core clause 12.3: |  |  |  |  |  |  |  |  |  |
| Z5.1 |  | Any extension, concession, waiver, or relaxation of any action stated in this contract by the Parties, the Supply Manager or the Adjudicator does not constitute a waiver of rights and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing. |  |  |  |  |  |  |  |  |  |
| Z6 |  |  | Health, Safety, and the environment: Add to core clause 25.4 |  |  |  |  |  |  |  |  |
| Z6.1 |  |  | The Supplier undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the provision of the goods and execution of the services. Without limitation the Supplier: Warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of supply and Undertakes, in and about the execution of the supply, to comply with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |  |  |
| Z6.2 |  |  | The Supplier, in and about the execution of the supply, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |  |  |
| Z7 |  | Provision of a Tax Invoice and interest. Add to core clause 51 |  |  |  |  |  |  |  |  |  |
| Z7.1 |  | Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice in accordance with the Purchaser's procedures stated in the Goods Information, showing the amount due for payment equal to that stated in the payment certificate. |  |  |  |  |  |  |  |  |  |
| Z7.2 |  | If the Supplier does not provide a tax invoice in the form and by the time required by this contract, the time by when the Purchaser is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice. Interest due by the Purchaser in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made. |  |  |  |  |  |  |  |  |  |
| Z7.3 |  | The Supplier (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Purchaser’s VAT number 4740101508 on each invoice he submits for payment. |  |  |  |  |  |  |  |  |  |
| Z8 |  | Notifying compensation events |  |  |  |  |  |  |  |  |  |
| Z8.1 |  | Delete from the last sentence in core clause 61.3 the words, “unless the event arises from the Supply Manager giving an instruction, changing an earlier decision or correcting an assumption”. |  |  |  |  |  |  |  |  |  |
| Z9 |  | Purchaser’s limitation of liability |  |  |  |  |  |  |  |  |  |
| Z9.1 |  | The Purchaser’s liability to the Supplier for the Supplier’s indirect or consequential loss is limited to R0.00 (zero Rand) |  |  |  |  |  |  |  |  |  |
| Z9.2 |  | The Supplier’s entitlement under the indemnity in 83.1 is provided for in 60.1(12) and the Purchaser’s liability under the indemnity is limited. |  |  |  |  |  |  |  |  |  |
| Z10 |  | Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it": |  |  |  |  |  |  |  |  |  |
| Z10.1 |  | Or had a business rescue order granted against it. |  |  |  |  |  |  |  |  |  |
| Z11 |  | Addition to secondary Option X7 Delay damages (if applicable in this contract) |  |  |  |  |  |  |  |  |  |
| Z11.1 |  | If the amount due for the Supplier’s payment of delay damages reaches the limits stated in this Contract Data for Option X7, the Purchaser may terminate the Supplier’s obligation to Provide the Goods and Services using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table. |  |  |  |  |  |  |  |  |  |
| Z12 | Ethics |  |  |  |  |  |  |  |  |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |  |  |  |  |  |  |  |  |
| Affected Party |  |  |  | Means, as the context requires, any party, irrespective of whether it is the Supplier or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends, |  |  |  |  |  |  |
| Coercive Action |  |  |  | Means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally, |  |  |  |  |  |  |
| Collusive Action |  |  |  | Means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally, |  |  |  |  |  |  |
| Committing Party |  |  |  | Means, as the context requires, the Supplier, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractors or the Subcontractor’s employees, |  |  |  |  |  |  |
| Corrupt Action |  |  |  | Means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party, |  |  |  |  |  |  |
| Fraudulent Action |  |  |  | Means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation, |  |  |  |  |  |  |
| Obstructive Action |  |  |  | Means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and |  |  |  |  |  |  |
| Prohibited Action |  |  |  | Means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action. |  |  |  |  |  |  |
| Z12.1 | A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof. |  |  |  |  |  |  |  |  |  |
| Z12.2 | The Purchaser may terminate the Supplier’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Supplier did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Purchaser has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Purchaser can terminate the Supplier’s obligation to Provide the Services for this reason. |  |  |  |  |  |  |  |  |  |
| Z12.3 | If the Purchaser terminates the Supplier’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2. |  |  |  |  |  |  |  |  |  |
| Z12.4 | A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Purchaser does not have a contractual bond with the Committing Party, the Supplier ensures that the Committing Party co-operates fully with an investigation. |  |  |  |  |  |  |  |  |  |

Z13	Insurance

Z __13.1	Replace core clause 84 with the following:

| Insurance cover | 84 |  |
| --- | --- | --- |
|  | 84.1 | When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force. |
|  | 84.2 | The Supplier provides the insurances stated in the Insurance Table A for events which are at the Supplier’s risk from the starting date until the last defects date or a termination certificate has been issued. |
| INSURANCE TABLE A |  |  |
| Insurance against; Minimum amount of cover or minimum limit of indemnity. Loss of or damage to the goods, plant and materials; The replacement cost where not covered by the Purchaser’s insurance. The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance.. Liability for loss of or damage to property (except the goods, plant and materials and equipment) and liability for bodily injury to or death of a person (not an employee of the Supplier) caused by activity in connection with this contract; Loss of or damage to property Purchaser’s property The replacement cost where not covered by the Purchaser’s insurance. The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance. Other property The replacement cost Death of or bodily injury The amount required by the applicable law.. Liability for death of or bodily injury to employees of the Supplier arising out of and in the course of their employment in connection with this contract; The amount required by the applicable law. |

Z _13.2		Replace core clause 87 with the following:

| Insurance by the Purchaser |  | 87 |  |
| --- | --- | --- | --- |
|  |  | 87.1 | The Purchaser provides the insurances stated in the Insurance Table B |
|  |  |  | INSURANCE TABLE B Insurance against or name of policy; Minimum amount of cover or minimum limit of indemnity. Assets All Risk; Per the insurance policy document. Contract Works insurance; Per the insurance policy document. Environmental Liability; Per the insurance policy document. General and Public Liability; Per the insurance policy document. Transportation (Marine); Per the insurance policy document. Motor Fleet and Mobile Plant; Per the insurance policy document. Terrorism; Per the insurance policy document. Cyber Liability; Per the insurance policy document. Nuclear Material Damage and Business Interruption; Per the insurance policy document. Nuclear Material Damage Terrorism; Per the insurance policy document. |

Annexure A:	Supply Requirements

## The Supply Requirements for this contract are as follows:

[Revise and complete as required]

| 1. The requirements for the supply are | The Supplier does not procure the services of a sub-supplier without the prior written approval of the Purchaser. - No compensation is payable if the Supplier arrives on site without prior arrangement with the Purchaser. - All goods shall be delivered at the Main Stores. - The Purchaser has the right to refuse acceptance of any goods which in the opinion of Purchaser, does not meet the requirements of the Quality Inspection and will have a detrimental effect on equipment/plant performance. The Supplier ensures that all items to be supplied are to the standard and quality accepted by the Purchaser and ensures that they are suitable for the purpose intended for by the manufacturer. |  |
| --- | --- | --- |
| 2. The requirements for transport are | The goods will be transported on the road |  |
| 3. The delivery place is | The delivery location is Grootvlei Power Station Stores |  |
| 4. Actions of the Parties during supply | Action | Party which does it |
|  | Giving notice of Delivery | Supplier |
|  | Checking packing and marking before dispatch | Supplier |
|  | Contracting for transport | Supplier |
|  | Pay costs of transport | Supplier |
|  | Arrange access to delivery place | Purchaser |
|  | Loading the goods | Supplier |
|  | Unloading the goods | Purchaser |
| For international procurement | Undertake export requirements |  |
|  | Undertake import requirements |  |
| 5. Information to be provided by the Supplier | Title of document |  |
|  | Packing lists for cases and their contents |  |
|  | Copy of invoice for the goods |  |
|  | Delivery Note |  |
|  | Test results and maintenance manuals |  |
| For international procurement | Licences, authorisations and other formalities associated with export of the goods |  |
|  | Air Waybill or Bill of Lading with associated landing, delivery and forwarding order |  |
|  | The Bill of Entry endorsed by the importation authority |  |
|  | Customs work sheets, showing tax, duties and surcharges which the law of the country into which the goods are being imported requires the importer to pay |  |
|  | Invoice from the importation clearing agent showing airline fees, landing charges, wharfage and dock dues as applicable |  |
|  | Specify other import documents required by authorised officials. |  |

All other information NOT pertinent to the above is given in the balance of the Goods Information

C1.2 Contract Data

# Part two - Data provided by the Supplier

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

| ## Clause | ## Statement | ## Data |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 10.1 | The Supplier is (Name): |  |  |  |  |
|  | Address |  |  |  |  |
|  | Tel No. |  |  |  |  |
|  | Fax No. |  |  |  |  |
| 11.2(8) | The Goods Information for the Supplier’s design is in: |  |  |  |  |
| 11.2(11) | The tendered total of the Prices is | R (in words) |  |  |  |
| 11.2(12) | The price schedule is in: |  |  |  |  |
| 11.2(14) | The following matters will be included in the Risk Register |  |  |  |  |
| 25.2 | The restrictions to access for the Supply Manager and Others to work being done for this contract are |  |  |  |  |
| 30.1 | The delivery date of the goods and services is: | Goods and services |  | Delivery date |
|  |  | 1 |  |  |
|  |  | 2 |  |  |
|  |  | 3 |  |  |
| 31.1 | The programme identified in the Contract Data is contained in: |  |  |  |  |
| 63.2 | The percentage for overheads and profit added to the Defined Cost is | % |  |  |  |

# Part 2: Pricing Data

NEC3 Supply Contract

| Document reference | Title | No of pages |
| --- | --- | --- |
| C2.1 | Pricing assumptions | 2 |
| C2.2 | The price schedule |  |

C2.1 Pricing assumptions

# How goods and services are priced and assessed for payment

Clause 11 in NEC3 Supply Contract, (SC3) core clauses states:

| Identified and defined terms | 11 11.2 | (11) The Prices are the amounts stated in the price column of the Price Schedule. Where a quantity is stated for an item in the Price Schedule, the Price is calculated by multiplying the quantity by the rate. |
| --- | --- | --- |
|  |  | (12) The Price Schedule is the price schedule unless later changed in accordance with this contract. |
| Assessing the amount due | 50.2 | The amount due is The Price for each lump sum item in the Price Schedule which the Supplier has completed, Where a quantity is stated for an item in the Price Schedule, an amount calculated by multiplying the quantity which the Supplier has completed by the rate, Plus, other amounts to be paid to the Supplier, Less amounts to be paid by or retained from the Supplier. Any tax which the law requires the Purchaser to pay to the Supplier is included in the amount due. |

This confirms that the Supply Contract is a priced contract where the Prices are derived from a list of items of goods and services which can be priced as lump sums or as expected quantities of goods and services multiplied by a rate, or a mix of both.

# Function of the Price Schedule

Clause 53.1 states: “Information in the Price Schedule is not Goods Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price Schedule but in the Goods Information.  This is further confirmed by Clause 20.1 which states, “The Supplier Provides the Goods and Services in accordance with the Goods Information”. Hence the Supplier does not Provide the Goods and Services in accordance with the Price Schedule.   The Price Schedule is only a pricing document.

# Preparing the price schedule

Items in the price schedule may have been inserted by the Purchaser and the tendering supplier should insert any additional items which he considers necessary.  Whichever party provides the items in the price schedule the total of the Prices is assumed to be fully inclusive of everything necessary to Provide the Goods and Services as described at the time of entering into this contract.

It will be assumed that the tendering supplier has

- Read Pages 8, 11, 12 and Appendix 5 of the SC3 Guidance Notes before preparing the price schedule.

- Included in his Prices and rates for correction of Defects (core clause 43.1) as there is no compensation event for this unless the Defect is due to a Supplier’s risk.

- Spread the cost of doing work he chooses not to list as separate items in the price schedule across

other Prices and rates in order to fulfil the obligation to Provide the Goods and Services for the tendered total of the Prices;

- Understood that there is no adjustment to lump sum prices in the price schedule if the amount, or quantity, of work within that lump sum item later turns out to be different to that which the Supplier estimated at time of tender. The only basis for a change to the Prices is as a result of a compensation event per clause 60.1;

- Understood that the Supplier does not have to allow in his Prices and rates for matters that may arise as a result of a compensation event.

## Format of the price schedule

Entries in the first four columns in the price schedule in section C2.2 are made either by the Purchaser or the tendering supplier.

If the Supplier is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering supplier enters the amount in the Price column only, the Unit, Quantity and Rate columns being left blank.

If the Supplier is to be paid an amount for the item which is the rate for the item multiplied by the quantity completed, the tendering Supplier enters the rate which is then multiplied by the Quantity to produce the Price, which is also entered.

If the Supplier is to be paid an amount for an item proportional to the length of time for which the goods and services are provided, a unit of time is stated in the Unit column and the length of time (as a quantity of the stated units of time) is stated in the Quantity column.

C2.2 the price schedule

| Item nr | Description | Unit | Quantity | Rate | Price |
| --- | --- | --- | --- | --- | --- |
| 0001588 | GASKET, PRE-CUT: DIMENSIONS: ID 40 X OD 46 X THK 1 MM; TYPE: CYLINDER HEAD, COMPRESSOR; MATERIAL: CU; SHAPE: RD; REFERENCE NO: GKT628; GKT 628 | EA | 20 |  |  |
| 0001590 | GASKET, PRE-CUT: DIMENSIONS: ID 101 X OD 147 X THK 0.5 MM; TYPE: COMPRESSOR; MATERIAL: ASB; SHAPE: CIRCULAR; PCD: 136 MM; HOLES: (6) DIA 10 MM; MANUF P/N: GKT2051 | EA | 20 |  |  |
| 0001591 | GASKET, PRE-CUT: TYPE: COMPRESSOR 807; REFERENCE NO: GKT2 | EA | 20 |  |  |
| 0001596 | GASKET, PRE-CUT: TYPE: COMPRESSOR; MANUF P/N: GKT2488; REFERENCE NO: AG541635-P1 | EA | 20 |  |  |
| 0001599 | GASKET, PRE-CUT: TYPE: COMPRESSOR; REFERENCE NO: GKT2858 | EA | 20 |  |  |
| 0001601 | GASKET, PRE-CUT: DIMENSIONS: ID 10 X OD 16 X THK 1.5 MM; TYPE: 1ST STG CYLINDER HEAD GROUP; MATERIAL: CU; SHAPE: CIRCULAR; MANUF P/N: GKT-593; MODEL NO: SAB SABC SBB; FOR TYPE-H COMPRESSOR | EA | 20 |  |  |
| 0001603 | GASKET, PRE-CUT: TYPE: COMPRESSOR; REFERENCE NO: GKT2040 | EA | 20 |  |  |
| 0001605 | GASKET, PRE-CUT: DIMENSIONS: ID 62 X OD 81 X THK 5 MM; TYPE: DELLE 400 KV 1600 A, PK6B AIR BLAST CB; MATERIAL: RUBBER SYNTHETIC; SHAPE: CIRCULAR; REFERENCE NO: 270258-026; COLOUR: A/A | EA | 20 |  |  |
| 0001609 | GASKET, PRE-CUT: DIMENSIONS: ID 19 X OD 28 X THK 0.5 MM; TYPE: VALVE GUIDE; MATERIAL: CU; REFERENCE NO: GKT614; USED ON THIRD STAGE CYLINDER HEAD GROUP ON AIR COOLED RECIPROCATING TYPE H | EA | 20 |  |  |
| 0018962 | GLAND, PACKING: TYPE: SEALING; MATERIAL: SS; STEAM STRAINER | EA | 20 |  |  |
| 0040812 | GLAND, PACKING: TYPE: FAN; VAP 200 MAN M-TURBINE | EA | 20 |  |  |
| 0044011 | GLAND, PACKING: TYPE: MONO PUMP S82M EFFL | EA | 20 |  |  |
| 0044548 | GLAND, PACKING: TYPE: FOLLOWER | EA | 20 |  |  |
| 0046087 | GLAND, PACKING: TYPE: FOLLOWER; MATERIAL: STL; DRAWING NO: R33430 REV 1 | EA | 20 |  |  |
| 0046323 | GLAND, PACKING: TYPE: UPPER ADJUSTABLE; REFERENCE NO: 394-20; S/PUMP | EA | 20 |  |  |
| 0046351 | GLAND, PACKING: TYPE: TRANSFER PUMP; MATERIAL: CI | EA | 20 |  |  |
| 0046358 | GLAND, PACKING: TYPE: SEALING; MATERIAL: STL; MODEL NO: HCD6N/8; REFERENCE NO: 306; FOR USE ON 50PCT KSB ELECTRIC FEED PUMP | EA | 20 |  |  |
| 0046359 | GLAND, PACKING: SHAPE: RD; 100PCT F PUMP | EA | 20 |  |  |
| 0049816 | GLAND, PACKING: TYPE: SLEEVE; HSB 10 FV PUMP | EA | 20 |  |  |
| 0066250 | GLAND, PACKING: TYPE: FOLLOWER; VALVE HP STEAM | EA | 20 |  |  |
| 0078438 | GLAND, PACKING: TYPE: FOLLOWER, KSB CW PUMP | EA | 20 |  |  |
| 0089692 | GASKET, PRE-CUT: MANUF P/N: HPX 1131 T2; REFERENCE NO: JH 4 402-7; FOR USE COMPRESSOR TYPE XLE-NL GASKETNUT; 7 X 10 X 6 | EA | 20 |  |  |
| 0089713 | PACKING, PREFORMED: TYPE: NUT; SUPPL P/N: 302032-0119; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 20 |  |  |
| 0094157 | SHEET, GASKET: THICKNESS: 1 MM; LENGTH: 1 M; WIDTH: 1 M; MATERIAL: NEOPRENE | EA | 26 |  |  |
| 0094329 | SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 30 M; WIDTH: 1.2 M; MATERIAL: RUBBER INSERTION; SPECIFICATION: 25 KG; COLOR: BLACK; SUPPLIER NOTE: 25KG PER ROLL; ROLL MUST BE WRAPPED AND CLEARLY MARKED WITH SPECIFIC KILOGRAMS | KG | 400 |  |  |
| 0094350 | SHEET, GASKET: THICKNESS: 1.5 MM; LENGTH: 1 M; WIDTH: 1 M; MATERIAL: VELLUMOID; SUPPLIER NOTE: THE ITEM MUST BE PROTECTIVE PACKED | KG | 20 |  |  |
| 0094351 | PACKING, PREFORMED: INSIDE DIAMETER: 108 MM; OUTSIDE DIAMETER: 121 MM; THICKNESS: 6 MM; TYPE: V RING; MATERIAL: RUBBER; DRAWING NO: 4380 REV 1; 2 SIZE 20 INCH X 24 INCH, ROLL CRUSHER V120 FT 71 BIN 416-54; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 21 |  |  |
| 0094358 | GASKET, PRE-CUT: DELLE OCB66KV INSULATOR | EA | 10 |  |  |
| 0094370 | SHEET, GASKET: THICKNESS: 1.5 MM; LENGTH: 2 M; WIDTH: 1.5 M; MATERIAL: GRAPHITE NON ASB IMPREGNATED; SPECIFICATION: BS 2815-1973 GR A; KLINGERITE; OILIT; COLOURED BLACK ON BOTH SIDE; BINDER SYNTHETIC RUBBER; PETROL AND OIL RESISTANT; TEMPERATURE UP O 480 DEG C; ONE = 9.259 KG | KG | 100 |  |  |
| 0094372 | SHEET, GASKET: THICKNESS: 0.8 MM; LENGTH: 2 M; WIDTH: 1.5 M; MATERIAL: NON ASB COMPRESSED; REFERENCE NO: KLINGER0ILIT; COLOUR BLACK; Non-GRAPHITE; BINDER SYNTHETIC RUBBER | KG | 20 |  |  |
| 0094671 | PACKING, PREFORMED: INSIDE DIAMETER: 266 MM; OUTSIDE DIAMETER: 298 MM; THICKNESS: 35 MM; TYPE: RING; MATERIAL: RUBBER; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 20 |  |  |
| 0097144 | GLAND, PACKING: TYPE: SOOTBLOWER CLYDE | EA | 20 |  |  |
| 0097145 | PACKING, PREFORMED: TYPE: RING; SOOT BLOWER CLYDEVENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 20 |  |  |
| 0097146 | GLAND, PACKING: TYPE: VALVE SOOTBLOWER | EA | 20 |  |  |
| 0097396 | GASKET, PRE-CUT: DIMENSIONS: ID 89 X OD 105 X THK 0.55 MM; TYPE: OUTER LANCE TUBE; MATERIAL: SS; SHAPE: RD; SUPPL P/N: 305656-0117; REFERENCE NO: 305656-0117 | EA | 73 |  |  |
| 0099620 | PACKING, PREFORMED: INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 90 MM; THICKNESS: 12 MM; TYPE: LIVE STEAM STRAINER BOILER 1, STEAM FEED PUMP; MATERIAL: ASB GRAPHITE; 45 DEGREE X 4 MM CHAMFERRED INSIDE ONE END; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 23 |  |  |
| 0100794 | GASKET, PRE-CUT: DIMENSIONS: ID 42 X OD 58 X THK 3 MM; TYPE: SOOTBLOWER; MATERIAL: CU; SHAPE: RD; SUPPL P/N: 304634-0117TU; MACHINED, LANCE | EA | 44 |  |  |
| 0100928 | SHEET, GASKET: THICKNESS: 1.5 MM; LENGTH: 2 M; WIDTH: 1.5 M; MATERIAL: NON ASB COMPRESSED; CAT NO: KLINGERIT 1000 3XA; KLINGERIT 1000, C4324 PACKING, BLACK, JOINTING WITH FINE STEEL WIRE GAUSE INSERT AND GRAPHITE FINISHED | EA | 20 |  |  |
| 0101009 | PACKING, BULK: WIDTH: 3.2 MM; THICKNESS: 3.2 MM; LENGTH: 2 M; MATERIAL: KLINGERITE; SHAPE: SQ; SUPPL P/N: 3222; KLINGER STYLE; KLINGER | KG | 20 |  |  |
| 0101011 | PACKING, BULK: WIDTH: 6.5 MM; THICKNESS: 6.5 MM; LENGTH: 2 M; MATERIAL: GRAPHITE; APPLICATION: PUMP AND VALVE; MAX PRESSURE: 180 BAR; PH VALUE RANGE: 1-14; TEMPERATURE RANGE: 200 DEG C; TYPE: FLEXYGRAF; SHAPE: SQ; SUPPL P/N: 3222; INCLUDING CORROSION INHIBITORS, CRYSTALLINE STRUCTURE, SELF LUBRICATING; KLINGER | KG | 20 |  |  |
| 0101013 | PACKING, BULK: WIDTH: 9.5 MM; THICKNESS: 9.5 MM; MATERIAL: GRAPHITE; APPLICATION: PUMP AND VALVE; MAX PRESSURE: 180 BAR; PH VALUE RANGE: 1-14; TEMPERATURE RANGE: 200 DEG C; TYPE: FLEXYGRAF; SHAPE: SQ; SUPPL P/N: 3222; MATERIAL CERTIFICATE TO BE INCLUDED WITH THE FOLLOWING INFO: PURITY, DENSITY, MAX ASH CONTENT, LEACHABLE CHLORIDE CONTENT, LEACHABLE FLUORIDE CONTENT, LOW SULPHUR; KLINGER | KG | 20 |  |  |
| 0101014 | PACKING, BULK: WIDTH: 12.5 MM; THICKNESS: 12.5 MM; MATERIAL: GRAPHITE; APPLICATION: PUMP AND VALVE; MAX PRESSURE: 180 BAR; PH VALUE RANGE: 1-14; TEMPERATURE RANGE: 200 DEG C; TYPE: FLEXYGRAF; SHAPE: SQ; SUPPL P/N: 3222; FLEXIGRAF, INCLUDING CORROSION INHIBITORS, CRYSTALLINE STRUCTURE, SELF LUBRICATING, CERTIFICATE TO BE INCLUDED WITH THE FOLLOWING INFO: PURITY, DENSITY, MAX ASH CONTENT, LEACHABLE CHLORIDE CONTENT, LEACHABLE FLUORIDE CONTENT, LOW SULPHUR; ROLL; KLINGER | KG | 35 |  |  |
| 0101015 | PACKING, BULK: WIDTH: 16 MM; THICKNESS: 16 MM; MATERIAL: GRAPHITE; APPLICATION: PUMP AND VALVE; MAX PRESSURE: 180 BAR; PH VALUE RANGE: 1-14; TEMPERATURE RANGE: 200 DEG C; TYPE: FLEXYGRAF; SHAPE: SQ; SUPPL P/N: 3222; MATERIAL CERTIFICATE TO BE INCLUDED WITH THE FOLLOWING INFO: PURITY, DENSITY, MAX ASH CONTENT, LEACHABLE CHLORIDE CONTENT, LEACHABLE FLUORIDE CONTENT, LOW SULPHUR | KG | 20 |  |  |
| 0101029 | PACKING, BULK: WIDTH: 12 MM; THICKNESS: 12 MM; MATERIAL: CARBON/GRAPHITE YARN; SHAPE: SQ; REFERENCE NO: 477-1; HP STEAM, NON ASBESTOS IMPREGNATED, WITH MOLYBDENUM CORROSION INHIBITOR; SPECIFICATION TO BE CERTIFIED; TFE DISPERSION 14 PCT, LEACHABLE CHLORIDE ION CONTENT 71PPM MAX, SULPHUR 42PPM MAX, TOTAL SULPHUR 439PPM MAX, TOTAL CHLORIDE 100PPM MAX; PURITY OF YARN 91.59 PCT; PRESSURE LIMIT 250 BAR, TEMPERATURE LIMIT -40 DEGREE CELSIUS TO 566 DEGREE CELSIUS; SHAFT VELOCITY LIMIT 15M/SEC, PH 0 TO 13; PRODUCT BRAND | KG | 100 |  |  |
| 0101031 | PACKING, BULK: WIDTH: 15.9 MM; THICKNESS: 15.9 MM; MATERIAL: CARBON FIBER; APPLICATION: PUMP AND VALVE; MAX PRESSURE: 250 BAR; PH VALUE RANGE: 0-13; TEMPERATURE RANGE: -40 TO 566 DEG C; TYPE: GENERAL SERVICE; SHAPE: SQ; SUPPL P/N: 477-1; HP STEAM IMPREGNATED WITHM MOLYBDENUM CORROSION INHIBITOR, SPECIFICATION TO BE CERTIFIED, TFE DISPERSION: 14PCT, LEACHABLE CHLORIDE ION CONTENT 71PPM MAX, LEACHABLE SULPHURE 42PPM MAX, TOTAL SULPHUR: 439PPM MAX, TOTAL CHLORIDE 100PPM MAX, PURITY OF YARN 91.59 PCT, SHAFT VELOCITY LIMIT 15M/SEC | KG | 70 |  |  |
| 0101032 | PACKING, BULK: WIDTH: 19 MM; THICKNESS: 19 MM; MATERIAL: CARBON FIBER; APPLICATION: PUMP AND VALVE; MAX PRESSURE: 250 BAR; PH VALUE RANGE: 0-13; TYPE: GENERAL SERVICE; SHAPE: SQ; SUPPL P/N: 477-1; HP STEAM NON ASBESTOS, IMPREGNATED WITHM MOLYBDENUM CORROSION INHIBITOR, TO BE CERTIFIED, TFE DISPERSION 14PCT, LEACHABLE CHLORIDE ION CONTENT 71PPM MAX, LEACHABLE SULPHUR 42PPM MAX, TOTAL SULPHUR 439PPM MAX, TOTAL CHLORIDE 100PPM MAX, PURITY OF 91.59PCT, TEMPERATURE LIMIT -40 DEGREE CELSIUS TO 566 DEGREE CELSIUS, SHAFT VELOCITY LIMIT 15M/SEC, PH 0-13 | KG | 20 |  |  |
| 0101077 | GASKET, PRE-CUT: DIMENSIONS: DIA 200 X THK 2 MM; TYPE: HP SERVO MOTOR; MATERIAL: TEFLON; SHAPE: RD; OEM P/N: 5360-161, OEM: GE STEAM POWER SERVICE; 5160-161, OEM: GE STEAM POWER SERVICE; 5160-261, OEM: GE STEAM POWER SERVICE; DRAWING NO: B42.51600-0187 REV 0; REFERENCE NO: SZ50005252 | EA | 20 |  |  |
| 0101152 | GASKET, PRE-CUT: DIMENSIONS: ID 33 X OD 60 X THK 2 MM; TYPE: HP SERVO MOTOR; MATERIAL: TEFLON; SHAPE: RD; OEM P/N: 5160-162, OEM: GE STEAM POWER SERVICE; 5360-162, OEM: GE STEAM POWER SERVICE; DRAWING NO: B42.51600-0187 REV 0; REFERENCE NO: SZ50005468 | EA | 20 |  |  |
| 0101172 | PACKING, BULK: WIDTH: 6 MM; THICKNESS: 6 MM; MATERIAL: NON ASB FIBER BRAIDED; LUBRICATION MATERIAL: PTFE/NIMO COMPOUNDED; SHAPE: SQ; MANUF P/N: 781; MODEL NO: STYLE 781; SUPPLIED IN 3KG ROLLS | KG | 23 |  |  |
| 0101173 | PACKING, BULK: WIDTH: 8 MM; THICKNESS: 8 MM; MATERIAL: NON ASB FIBER BRAIDED; LUBRICATION MATERIAL: PTFE/NIMO COMPOUNDED; SHAPE: SQ; MANUF P/N: 781; MODEL NO: STYLE 781; SUPPLIED IN 3 KG ROLLS | KG | 20 |  |  |
| 0101174 | PACKING, PREFORMED: THICKNESS: 10 MM; MATERIAL: NON ASB FIBER BRAIDED; MANUF P/N: 781; PTFE NICKEL & MOLY COMPOUNDED LUBRICANT SQUARE; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | KG | 20 |  |  |
| 0101175 | PACKING, BULK: WIDTH: 12 MM; THICKNESS: 12 MM; MATERIAL: NON ASB FIBER BRAIDED; LUBRICATION MATERIAL: PTFE/NIMO COMPOUNDED; SHAPE: SQ; MANUF P/N: 781; SUPPLIED IN 3KG ROLLS | KG | 20 |  |  |
| 0101794 | GASKET, PRE-CUT: TYPE: PISTON SCREW; SUPPL P/N: GSK2742; ST WO | EA | 20 |  |  |
| 0101795 | GASKET, PRE-CUT: MANUF P/N: GKT02490; FOR COMPRESSOR | EA | 20 |  |  |
| 0101796 | GASKET, PRE-CUT: MANUF P/N: GKT2794; FOR COMPRESSOR | EA | 20 |  |  |
| 0101807 | GASKET, PRE-CUT: MANUF P/N: GKT894F; FOR COMPRESSOR | EA | 20 |  |  |
| 0101808 | GASKET, PRE-CUT: DIMENSIONS: WD 260 X LG 625 MM; ELIN 88KV TFR | EA | 20 |  |  |
| 0101809 | GASKET, PRE-CUT: DIMENSIONS: OD 19 MM; SCARPO-MAG DISCON | EA | 20 |  |  |
| 0101810 | GASKET, PRE-CUT: TYPE: CAP TO HEAD; WORTHTN COMP | EA | 20 |  |  |
| 0101812 | GASKET, PRE-CUT: MANUF P/N: GKT2553; FOR COMPRESSOR | EA | 20 |  |  |
| 0101830 | GASKET, PRE-CUT: SUPPL P/N: 159517219; DELLE 88KV CB | EA | 20 |  |  |
| 0101839 | PACKING, PREFORMED: INSIDE DIAMETER: 323 MM; OUTSIDE DIAMETER: 343 MM; THICKNESS: 20 MM; TYPE: RING; MATERIAL: RUBBER SYNTHETIC; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 24 |  |  |
| 0101840 | PACKING, PREFORMED: INSIDE DIAMETER: 415 MM; OUTSIDE DIAMETER: 450 MM; THICKNESS: 38 MM; TYPE: RING; MATERIAL: RUBBER; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 30 |  |  |
| 0101863 | GLAND, PACKING: DIMENSIONS: ID 50 X LG 31 MM; TYPE: FOLLOWER; MATERIAL: BRS | EA | 20 |  |  |
| 0101864 | GLAND, PACKING: DIMENSIONS: ID 84 X LG 43 MM; TYPE: FOLLOWER; MATERIAL: BRS | PAA | 20 |  |  |
| 0101877 | PACKING, PREFORMED: INSIDE DIAMETER: 32 MM; OUTSIDE DIAMETER: 38 MM; THICKNESS: 2 MM; TYPE: RING; MATERIAL: PVC; SPL; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 20 |  |  |
| 0101884 | GLAND, PACKING: DIMENSIONS: ID 325 X LG 93 MM; TYPE: FOLLOWER; MATERIAL: BRS | EA | 20 |  |  |
| 0101885 | GLAND, PACKING: DIMENSIONS: ID 393 X LG 209 MM; TYPE: FOLLOWER; MATERIAL: STL | EA | 22 |  |  |
| 0101912 | PACKING, BULK: WIDTH: 13 MM; THICKNESS: 13 MM; MATERIAL: NON ASB; SHAPE: SQ; STAG STYLE 2000DA | KG | 22 |  |  |
| 0101913 | PACKING, BULK: WIDTH: 19 MM; THICKNESS: 19 MM; LENGTH: 9.14 M; MATERIAL: GRAPHITE-FILLED EPTFE & ARAMID; APPLICATION: SLUICE AND ASH PUMP; MAX PRESSURE: 20 BAR; PH VALUE RANGE: 4.11; SPECIFICATION: DUAL 2211 CHESTERTON; TEMPERATURE RANGE: 260 DEG C; TYPE: BRAIDED; SHAPE: SQ; SUPPL P/N: STAG2000 | KG | 200 |  |  |
| 0102072 | PACKING, BULK: WIDTH: 16 MM; THICKNESS: 16 MM; LENGTH: 10 M; MATERIAL: GRAPHITE; SHAPE: SQ; SUPPL P/N: STAG2000-16 | KG | 20 |  |  |
| 0102230 | PACKING, BULK: WIDTH: 12 MM; THICKNESS: 12 MM; MATERIAL: NON ASB; SHAPE: SQ; SUPPL P/N: STAG2000; TO BE SUPPLIED IN 25KG BOXES | KG | 20 |  |  |
| 0102232 | PACKING, PREFORMED: TYPE: WIPER RING; SUPPL P/N: W00750; VENDORS ARE RESPONSIBLE FOR ENSURING that they are PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 20 |  |  |
| 0102234 | PACKING: TYPE: ROD; SUPPL P/N: 4224SD | EA | 20 |  |  |
| 0102235 | PACKING: TYPE: ROD; SUPPL P/N: 40375 | EA | 20 |  |  |
| 0102236 | PACKING, PREFORMED: TYPE: WIPER RING; SUPPL P/N: W01000; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 20 |  |  |
| 0102237 | PACKING: TYPE: ROD; SUPPL P/N: 4224S | EA | 20 |  |  |
| 0102238 | PACKING, PREFORMED: TYPE: WIPER RING; SUPPL P/N: W01250; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 20 |  |  |
| 0102243 | PACKING: MATERIAL: FABRIC; SUPPL P/N: HC19682 | EA | 20 |  |  |
| 0102244 | GASKET, PRE-CUT: DIMENSIONS: 49 MM; MATERIAL: BRS; SHAPE: SQ; SUPPL P/N: HC29572 | EA | 20 |  |  |
| 0102245 | GASKET, PRE-CUT: DIMENSIONS: ID 1-3/2 IN; MATERIAL: KLINGERIT; SUPPL P/N: HC232 | EA | 20 |  |  |
| 0102246 | GASKET, PRE-CUT: MATERIAL: RUBBER; SUPPL P/N: UMC506 | EA | 20 |  |  |
| 0102266 | GASKET, PRE-CUT: DIMENSIONS: ID 50 X OD 57 MM | EA | 20 |  |  |
| 0102272 | PACKING: MATERIAL: HALLPRENE; SUPPL P/N: 4037S | EA | 20 |  |  |
| 0102273 | PACKING: MATERIAL: HALLPRENE; SUPPL P/N: R4224SD | EA | 20 |  |  |
| 0102276 | GASKET, PRE-CUT: DIMENSIONS: ID 1-1/8 IN; MATERIAL: IRON ARMCO; DRGA | EA | 20 |  |  |
| 0102306 | PACKING, PREFORMED: TYPE: RING; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 20 |  |  |
| 0102316 | PACKING: DIAMETER: 30 MM; SUPPL P/N: 7109QRICI/V | EA | 20 |  |  |
| 0102317 | GLAND, PACKING: TYPE: SHAFT, D PUMP AAB 45-3 NF/NP 6724; SUPPL P/N: 511; 512; 509; REFERENCE NO: 1 PT 28P & 51G; 45-3 SECTION 50G, HYDROGEN PLANT | EA | 20 |  |  |
| 0102320 | PACKING: TYPE: BAFFLE; SHAPE: RING; UPPER DE L | EA | 20 |  |  |
| 0102321 | PACKING, PREFORMED: TYPE: RING, UPPER; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 20 |  |  |
| 0102322 | PACKING, PREFORMED: TYPE: RING; HALF LOWR NDE+LOWVENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 20 |  |  |
| 0102328 | PACKING: SUPPL P/N: S10-0163; H/PMP | EA | 20 |  |  |
| 0102330 | PACKING, PREFORMED: TYPE: RING; SUPPL P/N: 121; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 20 |  |  |
| 0102337 | GASKET, PRE-CUT: DIMENSIONS: ID 250 X OD 330 X THK 0.3 MM; MATERIAL: VELLUMOID | EA | 20 |  |  |
| 0102346 | PACKING, PREFORMED: TYPE: RING; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 20 |  |  |
| 0102348 | GLAND, PACKING: TYPE: MONO PUMP D900 NS; SHAPE: RD; REFERENCE NO: 1150822800; SPARES FOR MONO PUMP | EA | 20 |  |  |
| 0102349 | PACKING, PREFORMED: TYPE: RING; SUPPL P/N: 36815; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 20 |  |  |
| 0102352 | GASKET, PRE-CUT: SUPPL P/N: 401816; SKET | EA | 20 |  |  |
| 0102357 | GLAND, PACKING: TYPE: MICROWIRE FILTER N7500B; SUPPL P/N: 6400113; 450LA22; DRAWING NO: B6400113 REV 1 | EA | 20 |  |  |
| 0102360 | GLAND, PACKING: TYPE: FLYGT PUMP; SUPPL P/N: 2776700 | EA | 20 |  |  |
| 0102366 | GLAND, PACKING: DIMENSIONS: 1-2 IN; SHAPE: SQ | EA | 20 |  |  |
| 0102367 | GASKET, PRE-CUT: TYPE: HEAD; REFERENCE NO: B-9-4-009; BASTIAN ALLEN ELECTRODE STEAM BOILERS B0187, 380 VOLT, 352 KPA TYPE 29,70KN | EA | 20 |  |  |
| 0102371 | GASKET, PRE-CUT: TYPE: COVER; SUPPL P/N: X1014 T56-52; X104T56-52; REFERENCE NO: 4402-3-4-5-6 & 7; VALVE INGERSOLL RAND TYPE XLE NL 16IN X 10IN 7IN AIR COMPRESSOR; HIGH PRESSURE | EA | 20 |  |  |
| 0102372 | GASKET, PRE-CUT: TYPE: VALVE SEAT; MANUF P/N: X1014T 52-46; REFERENCE NO: 4402-3-4-5-6 & 7; UFD3 REGULATOR INGERSOLL RAND XLE NL 16 X 10 X 7IN AIR COMPRESSOR | EA | 20 |  |  |
| 0102373 | GASKET, PRE-CUT: TYPE: OUTER HEAD | EA | 20 |  |  |
| 0102374 | GASKET, PRE-CUT: TYPE: VALVE SEAT; SUPPL P/N: X1014 T 6863 | EA | 20 |  |  |
| 0102376 | GASKET, PRE-CUT: TYPE: PLUNGER GUIDE | EA | 20 |  |  |
| 0102377 | GASKET, PRE-CUT: TYPE: METERING PIN | EA | 20 |  |  |
| 0102378 | GASKET, PRE-CUT: TYPE: OUTSIDE WATER HEAD; MANUF P/N: IR 23599; REFERENCE NO: 4402-3-4-5-6 & 7; ITEM NO. 495 TYPE XLE NL 16 IN X 10 IN X 7 IN AIR COMPRESSOR | EA | 20 |  |  |
| 0102379 | GASKET, PRE-CUT: DIMENSIONS: ID 335 X OD 405 X THK 1 MM; TYPE: FRAME TO TUBE PLATE; MATERIAL: KLINGERIT; 35MM WALL THICKNESS INGERSOLL COMP | EA | 20 |  |  |
| 0102380 | GASKET: TYPE: INSIDE WATER HEAD; SUPPL P/N: W43286 | EA | 20 |  |  |
| 0102382 | GASKET, PRE-CUT: TYPE: FRAME HEAD; SUPPL P/N: 6421C1 | EA | 20 |  |  |
| 0102383 | GASKET, PRE-CUT: DIMENSIONS: ID 250 X OD 430 X THK 1.5 MM; TYPE: COVER; MATERIAL: KLINGERIT; CCA COMPRESSOR | EA | 20 |  |  |
| 0102384 | GASKET, PRE-CUT: TYPE: COVER; SUPPL P/N: 5856C1 | EA | 20 |  |  |
| 0102386 | GASKET, PRE-CUT: MANUF P/N: K39A; PS 1605; COMPRESSOR | EA | 20 |  |  |
| 0102425 | GASKET: TYPE: TANK PLATE | EA | 20 |  |  |
| 0102492 | GASKET, PRE-CUT: SUPPL P/N: GC 99 | EA | 20 |  |  |
| 0102495 | GASKET, PRE-CUT: DIMENSIONS: ID 120 X OD 160 X THK 0.3 MM | EA | 20 |  |  |
| 0102504 | GASKET: TYPE: LANCE TUBE; SUPPL P/N: 305656-0117 | EA | 47 |  |  |
| 0102505 | GASKET, PRE-CUT: DIMENSIONS: ID 42 X OD 58 X THK 3 MM; TYPE: FEED TUBE; MATERIAL: CU; SHAPE: RD; SUPPL P/N: 304634-0117TU; ANNEALED AFTER MACHINING | EA | 28 |  |  |
| 0102506 | GASKET: TYPE: COMPANION FLANGE; SUPPL P/N: 318976; DIAMOND SOOTBLOWERS | EA | 50 |  |  |
| 0102514 | GASKET, PRE-CUT: DIMENSIONS: ID 375 X OD 414 MM; TYPE: DE/NDE; SUPPL P/N: 51.39 | EA | 20 |  |  |
| 0102515 | GASKET, PRE-CUT: DIMENSIONS: ID 486 X OD 520 X THK 0.8 MM | EA | 20 |  |  |
| 0102516 | GASKET, PRE-CUT: DIMENSIONS: ID 69.5 X OD 77 X THK 0.8 MM; SUPPL P/N: 31.36 | EA | 20 |  |  |
| 0102517 | GASKET, PRE-CUT: DIMENSIONS: ID 126 X OD 140 X THK 0.8 MM | EA | 20 |  |  |
| 0102518 | GASKET, PRE-CUT: DIMENSIONS: ID 376 X OD 496 X THK 0.8 MM | EA | 20 |  |  |
| 0102519 | GASKET, PRE-CUT: DIMENSIONS: ID 402 X OD 496 X THK 0.8 MM | EA | 20 |  |  |
| 0102520 | GASKET, PRE-CUT: SUPPL P/N: 4180-G | EA | 20 |  |  |
| 0102521 | GASKET, PRE-CUT: SUPPL P/N: 4991-G | EA | 20 |  |  |
| 0102522 | GASKET, PRE-CUT: SUPPL P/N: 5413-G | EA | 20 |  |  |
| 0102525 | GASKET, PRE-CUT: SUPPL P/N: 14273-G | EA | 20 |  |  |
| 0102529 | GASKET SET: TYPE: OVERALL TOP; SUPPL P/N: PT68258; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 20 |  |  |
| 0102530 | GASKET SET: TYPE: OVERALL BOTTOM; SUPPL P/N: 68219; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 20 |  |  |
| 0102546 | PACKING, PREFORMED: INSIDE DIAMETER: 50 MM; OUTSIDE DIAMETER: 65 MM; THICKNESS: 40 MM; TYPE: CLYDE SOOTBLOWER; MANUF P/N: 3000; ASSY; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 20 |  |  |
| 0102547 | GLAND, PACKING: DIMENSIONS: ID 48 X OD 67 MM; TYPE: MOVING; MANUF P/N: 3000; 108MM LONG, FOR HOPK SOOT BLOWERS | EA | 20 |  |  |
| 0102554 | PACKING, BULK: APPLICATION: JETIN HP PUMP MODEL 2000; TYPE: CHEVRON; MANUF P/N: 23554-313 | EA | 20 |  |  |
| 0102557 | PACKING: SHAPE: U; SUPPL P/N: 23554-108 | EA | 20 |  |  |
| 0102590 | GASKET, PRE-CUT: TYPE: VALVE; SUPPL P/N: 955-500-003; 955.500/003; ITEM NO 25 DELLE 400 KV AIR CIRCUIT BREAKERS | EA | 20 |  |  |
| 0103807 | SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 2 M; WIDTH: 1.5 M; MATERIAL: KLINGERITE GRAPHITE 2000 COATED; SPECIFICATION: BS 1832-2815A; BS 2815-1973; COMPOSITION COMPRESSED NON-ASBESTOS, BLACK, 3XA BOTH SIDES, MAXIMUM TEMPERATURE: 300 DEGREES CELCIUS, MAXIMUM PRESSURE: 40 BAR, NOT WIRE REINFORCED, ONE SHEET = 15.5 KG | KG | 20 |  |  |
| 0104037 | GASKET, PRE-CUT: DIMENSIONS: ID 380 X OD 424 X THK 0.8 MM; REFERENCE NO: 11-61 | EA | 20 |  |  |
| 0106312 | PACKING, BULK: WIDTH: 25 MM; THICKNESS: 25 MM; MATERIAL: GRAPHITE; APPLICATION: MECHANICAL; MAX PRESSURE: STAT 20; ROTARY 68 BAR; PH VALUE RANGE: 4-10; TEMPERATURE RANGE: 260 DEG C; TYPE: BRAIDED ACRYLIC; SHAPE: SQ; SUPPL P/N: 1340; TO BE PACKED IN CARTONS OF 5 KG | KG | 110 |  |  |
| 0107051 | PACKING, BULK: WIDTH: 8 MM; THICKNESS: 8 MM; SHAPE: SQ; MANUF P/N: 4788 | KG | 20 |  |  |
| 0107053 | PACKING, BULK: WIDTH: 12 MM; THICKNESS: 12 MM; SHAPE: SQ; MANUF P/N: 4788 | KG | 20 |  |  |
| 0107827 | GASKET, PRE-CUT: DIMENSIONS: ID 70 X OD 120 X THK 2 MM | EA | 20 |  |  |
| 0107831 | GASKET, PRE-CUT: TYPE: COVER; STEAM TURBINE; FOR: 200 MM VALVE | EA | 20 |  |  |
| 0107863 | GLAND, PACKING: TYPE: WATER PUMP | EA | 20 |  |  |
| 0107864 | GASKET, PRE-CUT: TYPE: BROOMWADE AIR COMPRESSOR | EA | 20 |  |  |
| 0107868 | GASKET, RING JOINT: INSIDE DIAMETER: 135 MM; OUTSIDE DIAMETER: 145 MM; THICKNESS: 1 MM; MATERIAL: CU; REFERENCE NO: C10500/26; FOR TYPE VC 350 DRY AIR COMPRESSOR; SHAPE: RD; TYPE: CYLINDER HEAD | EA | 20 |  |  |
| 0107870 | GLAND, PACKING: TYPE: BDM 1000 COMPRESSOR; MATERIAL: CS; MANUF P/N: 20021-4; C20021-22; ITEM 35 | EA | 20 |  |  |
| 0107871 | GASKET, PRE-CUT: MATERIAL: CU; HOERBIGER COMPR | EA | 20 |  |  |
| 0107960 | GASKET, PRE-CUT: TYPE: GUIDING ROD | EA | 20 |  |  |
| 0135230 | SHEET, GASKET: THICKNESS: 12.7 MM; LENGTH: 1.22 M; WIDTH: 1.22 M; MATERIAL: TUFNOL KITE; TYPE INSULATION, MEDIUM WEAVE | KG | 20 |  |  |
| 0161735 | SHEET, GASKET: THICKNESS: 0.25 MM; LENGTH: 30 M; WIDTH: 3.7 M; MATERIAL: PLASTIC; ROLL | M | 30 |  |  |
| 0172805 | PACKING, BULK: WIDTH: 7.9 MM; THICKNESS: 7.9 MM; MATERIAL: CARBON FIBER; APPLICATION: PUMP AND VALVE; MAX PRESSURE: 250 BAR; PH VALUE RANGE: 0-13; TYPE: GENERAL SERVICE; SHAPE: SQ; SUPPL P/N: 477-1; MUST BE ASBESTOS FREE | KG | 40 |  |  |
| 0172807 | PACKING, BULK: WIDTH: 10 MM; THICKNESS: 10 MM; MATERIAL: CARBON FIBER; SHAPE: SQ; SUPPL P/N: 477-1; MUST BE ASBESTOS FREE, NOTE - ITEM MUST BE ORIGINAL PACKED | KG | 40 |  |  |
| 0194143 | SHEET, GASKET: THICKNESS: 1.5 MM; LENGTH: 2 M; WIDTH: 1.5 M; MATERIAL: FIBER; SUPPL P/N: C4324; KLINGERSIL; COLOUR ONE SIDE BLACK ONE SIDE GREEN | EA | 50 |  |  |
| 0194144 | SHEET, GASKET: THICKNESS: 0.8 MM; LENGTH: 2 M; WIDTH: 1.5 M; MATERIAL: FIBER; REFERENCE NO: C4324; KLINGERSIL; COLOUR: ONE SIDE BLACK ONE SIDE GREEN | EA | 35 |  |  |
| 0194145 | SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 2 M; WIDTH: 1.5 M; MATERIAL: FIBER; SUPPL P/N: C4324; COLOUR ONE SIDE BLACK ONE SIDE GREEN; KLINGERSIL | EA | 58 |  |  |
| 0197973 | SHEET, GASKET: THICKNESS: 1.5 MM; LENGTH: 1 M; WIDTH: 1 M; MATERIAL: GRAPHITE; REFERENCE NO: V15011Z31; SIGRAFLEX HOCHDRUCK ONLY; 0.5 MM SEAMLESS INTERLEAVED WITH 0.05 MM SS SHEETS | EA | 120 |  |  |
| 0197974 | SHEET, GASKET: THICKNESS: 1 MM; LENGTH: 1 M; WIDTH: 1 M; MATERIAL: GRAPHITE SS WIRE REINFORCED; REFERENCE NO: V10011Z31 | EA | 49 |  |  |
| 0197975 | SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 1 M; WIDTH: 1 M; MATERIAL: GRAPHITE; REFERENCE NO: V30011Z31; 0.5 MM SEAMLESS INTERLEAVED WITH 0.05 MM SS SHEETS | EA | 80 |  |  |
| 0210339 | PACKING, BULK: WIDTH: 12.7 MM; THICKNESS: 12.7 MM; LENGTH: 8 M; MATERIAL: CARBON GRAPHITE; SHAPE: SQ; SUPPL P/N: 774; ONLY JOHN CRANE BRAND ACCEPTABLE, NOTE - THE ITEM MUST BE PROTECTIVE PACKED AND CLEARLY MARKED | EA | 21 |  |  |
| 0210363 | SHEET, GASKET: THICKNESS: 0.5 MM; LENGTH: 2 M; WIDTH: 1.5 M; MATERIAL: ARAMID FIBER/NBR; SUPPL P/N: WEBA203; NOTE ONLY BURGMANN BRAND ACCEPTABLE, APPLICATION: OIL AND WATER, TEMPERATURE: 250 DEG C, PRESSURE: 50 BAR/725 PSI | EA | 35 |  |  |
| 0210819 | SHEET, GASKET: THICKNESS: 0.4 MM; LENGTH: 1 M; WIDTH: 1 M; MATERIAL: VELLUMOID; SUPPLIER NOTE: EACH ROLL TO BE SEALED IN A PLASTIC BAG AND CLEARLY MARKED | M | 20 |  |  |
| 0211188 | PACKING, BULK: WIDTH: 7.9 MM; THICKNESS: 7.9 MM; LENGTH: 8 M; MATERIAL: CARBON GRAPHITE; SHAPE: SQ; SUPPL P/N: G57; ONLY JOHN CRANE BRAND ACCEPTABLE, NOTE - THE ITEM MUST BE PROTECTED AND CLEARLY MARKED | EA | 22 |  |  |
| 0211189 | PACKING, BULK: WIDTH: 6.3 MM; THICKNESS: 6.3 MM; LENGTH: 8 M; MATERIAL: CARBON GRAPHITE; SHAPE: SQ; SUPPL P/N: G57; ONLY JOHN CRANE BRAND ACCEPTABLE, NOTE - THE ITEM MUST BE PROTECTED, PACKED AND CLEARLY MARKED | EA | 21 |  |  |
| 0211221 | PACKING, BULK: WIDTH: 9.5 MM; THICKNESS: 9.5 MM; LENGTH: 8 M; MATERIAL: CARBON GRAPHITE; SHAPE: SQ; SUPPL P/N: G57; ONLY JOHN CRANE BRAND ACCEPTABLE, NOTE - THE ITEM MUST BE PROTECTED PACKED AND CLEARLY MARKED | EA | 28 |  |  |
| 0211222 | PACKING, BULK: WIDTH: 15.8 MM; THICKNESS: 15.8 MM; LENGTH: 8 M; MATERIAL: CARBON GRAPHITE; SHAPE: SQ; SUPPL P/N: G57; ONLY JOHN CRANE BRAND ACCEPTABLE, NOTE - THE ITEM MUST BE PROTECTED PACKED AND CLEARLY MARKED | EA | 72 |  |  |
| 0211974 | SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 2 M; WIDTH: 1.5 M; MATERIAL: GRAPHITE FLEXIBLE; SUPPL P/N: 2000; KLINGER; COLOUR BLACK; MAX TEMPERATURE 500 DEG C; WORKING TEMP 300 DEG C; MAX PRESSURE 100 BAR TO 10 MPA; WORKING PRESSURE 40 BAR TO 4 MPA; APPLICATIONS: STEAM FRF | EA | 40 |  |  |
| 0211975 | SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 2 M; WIDTH: 1.5 M; MATERIAL: GLASS FIBER/NBR; REFERENCE NO: C4430; KLINGERSIL; COLOUR ONE SIDE GREEN ONE SIDE WHITE; MAX TEMPERATURE 400 DEG C; WORKING TEMP 250 DEG C; MAX PRESSURE 60 BAR TO 6 MPA; WORKING PRESSURE 50 BAR TO 5 MPA | EA | 150 |  |  |
| 0212001 | SHEET, GASKET: THICKNESS: 2 MM; LENGTH: 2 M; WIDTH: 1.5 M; MATERIAL: ARAMID FIBER NBR BONDED; SUPPL P/N: C4324; KLINGERSIL; COLOUR GREEN; MAX TEMPERATURE 300 DEG C; WORKING TEMP 150 DEG C; MAX PRESSURE 50 BAR TO 5 MPA; WORKING PRESSURE 40 BAR TO 4 MPA; APPLICATIONS STATOR COOLANT; HOT AND COLD POTABLE WATER, FUELS, HYDROCARBONS, LOW PRESSURE STEAM AND WATER AND HYDRAULIC OIL, NO FRF | EA | 45 |  |  |
| 0212002 | SHEET, GASKET: THICKNESS: 2 MM; LENGTH: 2 M; WIDTH: 1.5 M; MATERIAL: GRAPHITE/FIBER SYNTHETIC; REFERENCE NO: KLINGER TOP GRAPH; KLINGER; COLOUR BLACK; MAX TEMPERATURE 500 DEG C; WORKING TEMP 300 DEG C; MAX PRESSURE 100 BAR TO 10 MPA; WORKING PRESSURE 40 BAR TO 4 MPA; APPLICATIONS STEAM FRF | EA | 20 |  |  |
| 0217147 | SHEET, GASKET: THICKNESS: 2 MM; LENGTH: 1.5 M; WIDTH: 1.5 M; MATERIAL: PTFE; SUPPL P/N: 2003; PACKING, BULK, SHAPE FLAT; TOPCHEM | EA | 57 |  |  |
| 0217149 | SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 1.5 M; WIDTH: 1.5 M; MATERIAL: PTFE 100 PCT; SUPPL P/N: HYGRADE LS; PACKING, BULK, SHAPE FLAT | EA | 20 |  |  |
| 0217150 | SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 1.5 M; WIDTH: 1.5 M; MATERIAL: PTFE; SUPPL P/N: 2003; PACKING, BULK, SHAPE FLAT; TOPCHEM | EA | 25 |  |  |
| 0218752 | SHEET, GASKET: THICKNESS: 1.5 MM; LENGTH: 2 M; WIDTH: 1.5 M; MATERIAL: NON ASB FIBER; SUPPL P/N: TOP MIC SW; KLINGER | EA | 22 |  |  |
| 0218753 | SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 2 M; WIDTH: 1.5 M; MATERIAL: NON ASB FIBER; SUPPL P/N: TOP MIC SW; KLINGER | EA | 50 |  |  |
| 0218754 | SHEET, GASKET: THICKNESS: 1.5 MM; LENGTH: 2.4 M; WIDTH: 1.2 M; MATERIAL: RUBBER; TYPE INSERTION | KG | 20 |  |  |
| 0218755 | SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 2.4 M; WIDTH: 1.2 M; MATERIAL: RUBBER; TYPE INSERTION | KG | 20 |  |  |
| 0222704 | PACKING: TYPE: GLAND; WIDTH: 10 MM; MATERIAL: BRAIDED; SHAPE: RD; DIAMETER: ID 60 X OD 80 X HT 85 MM; SUPPL P/N: 396741-010A; PACKING FEED TUBE, FOR USE ON DIAMOND POWER SOOTBLOWER IK525 | EA | 210 |  |  |
| 0225471 | PACKING, BULK: WIDTH: 24 MM; THICKNESS: 24 MM; MATERIAL: CARBON YARN SYNTHETIC; SHAPE: SQ; SUPPL P/N: 477; CHESTERTON | KG | 20 |  |  |
| 0225498 | SHEET, GASKET: THICKNESS: 3 MM; MATERIAL: KLINGERITE; SUPPL P/N: 100 | EA | 23 |  |  |
| 0226566 | PACKING: TYPE: GLAND; MATERIAL: STL; SHAPE: RECT; DRAWING NO: CO-013-006220 REV 1; FOR PA FAN; DIMENSIONS: ID 10 X OD 80 X LG 140 MM | EA | 20 |  |  |
| 0229526 | PACKING, PREFORMED: INSIDE DIAMETER: 20 MM; OUTSIDE DIAMETER: 30 MM; THICKNESS: 5 MM; TYPE: CHEVRON; REFERENCE NO: CH 118078; CONSUMABLES FOR TURBINE/AUXILIARY PLANT, SEAL HP CYL W/STM/ V/V SERVO; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 20 |  |  |
| 0229527 | GASKET, PRE-CUT: DIMENSIONS: ID 20 X OD 30 X THK 3.6 MM; MATERIAL: PTFE; SHAPE: RD; REFERENCE NO: CH 118078; PACKING TYPE CHEVRON, FOR TURBINE/AUXILIARY PLANT, SEAL HP CYL W/STM/ V / V SERVO | EA | 20 |  |  |
| 0229528 | GASKET, PRE-CUT: DIMENSIONS: ID 20 X OD 30 X THK 4.5 MM; REFERENCE NO: CH 118078; PACKING TYPE CHEVRON, CONSUMABLES FOR TURBINE AND AUXILIARY PLANT, SEAL HP CYL W/STM/ V/V SERVO | EA | 20 |  |  |
| 0229529 | GASKET, PRE-CUT: DIMENSIONS: ID 20 X OD 30 X THK 4 MM; REFERENCE NO: CH 118078; PACKING TYPE CHEVRON, CONSUMABLES FOR TURBINE AND AUXILIARY PLANT, SEAL HP CYL W/STM/ V/V SERVO | EA | 20 |  |  |
| 0229530 | GASKET, PRE-CUT: DIMENSIONS: ID 35 X OD 47 X THK 4.5 MM; REFERENCE NO: CH 185137; PACKING TYPE CHEVRON, CONSUMABLES FOR TURBINE AND AUXILIARY PLANT, SEAL HP CYL W/STM/ V/V SERVO | EA | 20 |  |  |
| 0229531 | GASKET, PRE-CUT: DIMENSIONS: ID 35 X OD 47 X THK 5.5 MM; REFERENCE NO: CH 185137; PACKING TYPE CHEVRON, CONSUMABLES FOR TURBINE AND AUXILIARY PLANT, SEAL HP CYL W/STM/ V/V SERVO | EA | 20 |  |  |
| 0230425 | PACKING: TYPE: KNIFE GATE; REFERENCE NO: NG700-CW-SQ; SET, USED TO RECONDITION KNIFE GATE TYPE NG700-CW-SQ | EA | 20 |  |  |
| 0230427 | SHEET, GASKET: THICKNESS: 1.5 MM; LENGTH: 1.5 M; WIDTH: 1.5 M; TYPE PACKING, REQUIRED FOR GENERAL USE IN PLANT | KG | 27 |  |  |
| 0230658 | GASKET, PRE-CUT: TYPE: COMPANION FLANGE; PRESSURE RATING: 120 BAR; SUPPL P/N: 318976 - 1129; FOR USE ON SOOTBLOWERS | EA | 20 |  |  |
| 0231262 | GASKET, PRE-CUT: DIMENSIONS: ID 110 X OD 160 X THK 1.5 MM; TYPE: TURBINE; MATERIAL: GRAPHITE; SHAPE: RD; PCD: 130 MM; HOLES: (4) DIA 15 MM; FOR USE ON FLANGES AND JOINTS ON TURBINE PLANT, HOCHDRUCK TYPE 2 BRAND ONLY | EA | 20 |  |  |
| 0231263 | GASKET, PRE-CUT: DIMENSIONS: ID 45 X OD 80 X THK 3 MM; TYPE: TURBINE; MATERIAL: GRAPHITE; SHAPE: RD; FOR USE ON FLANGES AND JOINTS ON TURBINE PLANT, HOCKDRUCK TYPE 2 BRAND ONLY | EA | 20 |  |  |
| 0231264 | GASKET, PRE-CUT: DIMENSIONS: ID 50 X OD 165 X THK 3 MM; TYPE: TURBINE; MATERIAL: GRAPHITE; SHAPE: RD; PCD: 125 MM; HOLES: (4) DIA 18 MM; FOR USE ON FLANGES AND JOINTS ON TURBINE PLANT, HOCHDRUCK TYPE 2 BRAND ONLY | EA | 20 |  |  |
| 0231265 | GASKET, PRE-CUT: DIMENSIONS: ID 105 X OD 150 X THK 3 MM; MATERIAL: GRAPHITE; SHAPE: RD; FOR USE ON FLANGES AND JOINTS ON TURBINE PLANT, HOCHDRUCK TYPE 2 BRAND ONLY | EA | 30 |  |  |
| 0231266 | GASKET, PRE-CUT: DIMENSIONS: ID 162 X OD 285 X THK 1.5 MM; TYPE: TURBINE; MATERIAL: GRAPHITE; SHAPE: RD; PCD: 240 MM; HOLES: (8) DIA 22 MM; FOR USE ON FLANGES AND JOINTS ON TURBINE PLANT, HOCHDRUCK TYPE 2 BRAND ONLY | EA | 40 |  |  |
| 0231315 | GASKET, PRE-CUT: TYPE: MOTOR; SUPPL P/N: 393728-1123; SOOTBLOWERS | EA | 20 |  |  |
| 0231316 | GASKET, PRE-CUT: TYPE: COVER PLATE; SUPPL P/N: 323447-2128; SOOTBLOWERS | EA | 20 |  |  |
| 0231317 | GASKET, PRE-CUT: TYPE: COVER PLATE; SUPPL P/N: 339258-2122; SOOTBLOWERS | EA | 20 |  |  |
| 0231318 | GASKET, PRE-CUT: TYPE: BEARING RETAINER; SUPPL P/N: 323449-2126; SOOTBLOWERS | EA | 20 |  |  |
| 0231319 | GASKET, PRE-CUT: TYPE: HOUSING; SUPPL P/N: 323446-2129; SOOTBLOWERS | EA | 20 |  |  |
| 0231590 | PACKING: TYPE: SOOTBLOWER FEED TUBE; SUPPL P/N: HG800-002; FEED TUBE SPARES FOR SOOTBLOWERS UNIT 2, 3/4, ASBESTOS FREE | EA | 58 |  |  |
| 0231591 | GASKET, PRE-CUT: TYPE: FLANGE COMPANION; MATERIAL: NON ASB; SUPPL P/N: HG800-003; SPARES FOR HOPKINSON SOOTBLOWERS UNIT 2, 3 AND 4 | EA | 47 |  |  |
| 0231592 | GASKET: SUPPL P/N: HG800-004; TYPE OUTER LANCE, SPARES FOR HOPKINSON SOOTBLOWERS 2, 3 AND 4, ASBESTOS FREE | EA | 62 |  |  |
| 0231593 | GASKET: TYPE: FEED TUBE; MATERIAL: NON ASB; SUPPL P/N: HG800-005; SPARES FOR HOPKINSON SOOTBLOWERS UNIT 2, 3 AND 4 | EA | 44 |  |  |
| 0231594 | GASKET, PRE-CUT: TYPE: HIGH TENSILE STUDS; MATERIAL: NON ASB; SUPPL P/N: HG800-006; SPARES FOR HOPKINSON SOOTBLOWERS UNIT 2, 3 AND 4 | EA | 36 |  |  |
| 0231765 | PACKING: SUPPL P/N: 907605-0008; SOOTBLOWER | EA | 20 |  |  |
| 0231810 | GASKET, PRE-CUT: TYPE: SOOTBLOWER; SUPPL P/N: 393275-1138 | EA | 20 |  |  |
| 0231929 | PACKING: SUPPL P/N: 398443-010A; VALVE STEM, FOR USE ON SOOTBLOWER | EA | 20 |  |  |
| 0233755 | GASKET, PRE-CUT: DIMENSIONS: WD 15 X LG 60 X THK 5 MM; TYPE: FILTER; MATERIAL: NEOPRENE; SUPPL P/N: BN398.03.2008; TO BE USE ON GENERATOR, EXCITER AND SLIPRINGS | EA | 20 |  |  |
| 0234769 | GASKET, PRE-CUT: TYPE: FRAME; MATERIAL: RUBBER; SHAPE: RECT; DRAWING NO: FC 572 REV 1; FC 572 REV B REV 1; REFERENCE NO: KA 1832; MANUFACTURE FOR ASH HOPPER DOORS AS PER DRAWING, REQUIRED FOR UNITS 1, 2, 3, 4 AND 6; SIZE 5 FT 2 IN X 3 FT 5 3/4 IN X 2 1/4 IN WD X 1 1/16 THK | EA | 21 |  |  |
| 0234939 | GASKET, RING JOINT: CROSS-SECTIONAL SHAPE: RD; INSIDE DIAMETER: 9-1/4 IN; OUTSIDE DIAMETER: 1 FT 1 IN; THICKNESS: 1/16 IN; MATERIAL: NON ASB; SUPPL P/N: 9 RH; FOR ASH HOPPER DOORS, UNITS 1, 2, 3, 4 AND 6 | EA | 20 |  |  |
| 0234940 | PACKING: TYPE: CYLINDER; MATERIAL: GRAPHITE; SHAPE: RD; DIAMETER: 3.502 IN; DRAWING NO: FC 407 REV 1; REFERENCE NO: KA 313; FOR ASH HOPPER DOORS, UNITS 1, 2, 3, 4/6, AS PER DRAWING, ASBESTOS FREE | EA | 20 |  |  |
| 0234949 | PACKING, BULK: WIDTH: 1/2 IN; THICKNESS: 1/2 IN; LENGTH: 48 IN; MATERIAL: GRAPHITE; SHAPE: SQ; SUPPL P/N: FC 407 G; DRAWING NO: FC 407 REV 1; FOR ASH HOPPER DOORS, UNITS 1, 2, 3, 4 AND 6, ASBESTOS FREE, AS PER DRAWING | KG | 22 |  |  |
| 0236371 | SHEET, GASKET: THICKNESS: 1 MM; LENGTH: 1.5 M; WIDTH: 1.2 M; MATERIAL: PTFE; FOR USE ON VALVES, UNITS 1, 2, 3, 4 AND 6, SEALING | EA | 26 |  |  |
| 0236372 | SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 1 M; WIDTH: 1.2 M; MATERIAL: PTFE; SEALING, FOR USE ON VALVES, UNITS 1, 2, 3, 4 AND 6 | EA | 70 |  |  |
| 0236373 | SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 1 M; WIDTH: 1.2 M; MATERIAL: RUBBER SYNTHETIC BLACK; SEALING, FOR USE ON VALVES, UNITS 1, 2, 3, 4 AND 6 | EA | 71 |  |  |
| 0236374 | SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 1.5 M; WIDTH: 2 M; MATERIAL: KLINGERITE C4430; SEALING, FOR USE ON MILLS, UNITS 1, 2, 3, 4 AND 6 | EA | 35 |  |  |
| 0236861 | PACKING, BULK: WIDTH: 12.7 MM; THICKNESS: 12.7 MM; LENGTH: 8 M; MATERIAL: PTFE; SHAPE: SQ; STYLE C 1065 | M | 36 |  |  |
| 0236862 | PACKING, BULK: WIDTH: 8 MM; THICKNESS: 8 MM; LENGTH: 8 M; MATERIAL: PTFE; SHAPE: SQ; STYLE C 1065 | M | 28 |  |  |
| 0236863 | PACKING, BULK: WIDTH: 11.2 MM; THICKNESS: 11.2 MM; LENGTH: 8 M; MATERIAL: PTFE; SHAPE: SQ; STYLE C 1065 | M | 20 |  |  |
| 0237364 | PACKING, BULK: WIDTH: 15.8 MM; THICKNESS: 15.8 MM; LENGTH: 8 M; MATERIAL: PTFE; SHAPE: SQ; FOR USE ON ASH PUMPS, STYLE C1065 | M | 20 |  |  |
| 0237365 | PACKING, BULK: WIDTH: 9.5 MM; THICKNESS: 9.5 MM; LENGTH: 8 M; MATERIAL: PTFE; SHAPE: SQ; FOR USE ON ASH PUMPS, STYLE 1993 | M | 20 |  |  |
| 0237389 | PACKING: WIDTH: 9.5 MM; MATERIAL: GRAPHITE; SHAPE: SQ; THICKNESS: 9.5 MM; SLADE 3300G, FOR FEEDWATER VALVE APPLICATION, OPERATING TEMPERATURE AND PRESSURE 550 DEGREE CELSIUS AND 200 BAR RESPECTIVELY, MUST BE ORIGINALLY PACKED, MUST BE DELIVERED WITH THE RELEVANT OPERATING TECHNICAL INFORMATION, AND THE MATERIAL SAFETY DATA SHEET, MUST BE QUALITY CHECKED BY TURBINES ENGINEERING UPON DELIVERY | KG | 50 |  |  |
| 0238006 | GASKET, PRE-CUT: DIMENSIONS: ID 225 X OD 375 X THK 1.5 MM; MATERIAL: GRAPHITE; SHAPE: RD; FOR USE ON FLANGES AND JOINTS ON TURBINE PLANT, HOCHDRUCK TYPE 2 BRAND ONLY, NO OF HOLES: 12 | EA | 21 |  |  |
| 0238811 | GASKET SET: APPLICATION: MILL DOOR/INSPECTION COVER; SUPPL P/N: BOW 21 - 08/2; ITEMS TO BE PACKAGED AS A SET, INCLUDE LIST OF CONTENTS OF SET, CLEARLY MARKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 20 |  |  |
| 0238845 | SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 1.5 M; WIDTH: 1.5 M; MATERIAL: GORE; TYPE MILL, SHAPE SQUARE, REQUIRED FOR MILL LUBE OIL SYSTEM, UNITS 1, 2, 3, 4 AND 6 | EA | 80 |  |  |
| 0240233 | PACKING: TYPE: VALVE; WIDTH: 25 MM; MATERIAL: CARBON FIBER/GRAPHITE FOIL; SHAPE: SQ; THICKNESS: 25 MM; SUPPL P/N: 3300G; SLADE, REQUIRED FOR CW PUMPS 1 TO 4/ RESERVE | KG | 40 |  |  |
| 0240355 | GASKET SET: TYPE: EFP; MODEL NO: HCD6N/8; FOR USE ON 50PCT KSB PUMP; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 20 |  |  |
| 0240384 | PACKING, PREFORMED: TYPE: RING; MATERIAL: COTTON/GRAPHITE; SUPPL P/N: 14353P; MODEL NO: M/P 6INX8IN; REFERENCE NO: 36; FOR USE ON PUMP; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 20 |  |  |
| 0240385 | PACKING, BULK: WIDTH: 9 MM; THICKNESS: 9 MM; MODEL NO: M/P 6INX8IN; REFERENCE NO: 37; FOR USE ON LONOVANE PUMP | KG | 32 |  |  |
| 0240399 | PACKING, BULK: WIDTH: 9 MM; THICKNESS: 9 MM; LENGTH: 8 IN; MATERIAL: COTTON GRAPHITED; TYPE: RING; SHAPE: SQ; MODEL NO: M/P 3INX6IN; STEAM FEED EXTRACTION PUMP | EA | 20 |  |  |
| 0240408 | GLAND, PACKING: TYPE: SPLIT; MODEL NO: M/P 4INX5IN; REFERENCE NO: 37; FOR MATHER AND PLATT MEDIVANE AUXILLARY COOLING WATER PUMP | EA | 20 |  |  |
| 0240409 | PACKING, PREFORMED: TYPE: RING; MATERIAL: COTTON/GRAPHITE; MODEL NO: M/P 4INX5IN; REFERENCE NO: 38; FOR AUXILLARY COOLING WATER PUMP; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 20 |  |  |
| 0242475 | GASKET, SPIRAL WOUND: INNER RING INSIDE DIAMETER: 280 MM; OUTER RING OUTSIDE DIAMETER: 312 MM; PRESSURE RATING: 21 MPA; FILLER MATERIAL: GRAPHITE; WINDING MATERIAL: AL; SHAPE: RD; USED ON HP HEATER FEED WATER INLET & OUTLET ISOLATING VALVE; MATERIAL CERTIFICATE REQUIRED | EA | 20 |  |  |
| 0242489 | GASKET, SPIRAL WOUND: INNER RING INSIDE DIAMETER: 215 MM; OUTER RING OUTSIDE DIAMETER: 243 MM; PRESSURE RATING: 21 MPA; FILLER MATERIAL: GRAPHITE; WINDING MATERIAL: AL; SHAPE: RD; USED ON ALL ELECTRIC FEED PUMPS; MATERIAL CERTIFICATE REQUIRED | EA | 20 |  |  |
| 0243335 | GASKET, PRE-CUT: DIMENSIONS: ID 424 X OD 565 X THK 3 MM; TYPE: PIPE PF; MATERIAL: KLINGERSIL C4324; SHAPE: RD; PCD: 515 MM; HOLES: (16) DIA 26 MM; DRAWING NO: WL1/2722 REV 1 | EA | 20 |  |  |
| 0243342 | GASKET, PRE-CUT: DIMENSIONS: ID 564 X OD 670 X THK 3 MM; TYPE: PIPE PF; MATERIAL: KLINGERSIL C4324; SHAPE: RD; PCD: 620 MM; HOLES: (20) DIA 26 MM; DRAWING NO: WLI/2722 REV 1; REQUIRED FOR PF PIPING ON BABCOCK 8.5E MILLS, UNITS 1, 2, 3, 4 & 6 | EA | 38 |  |  |
| 0243343 | GASKET, PRE-CUT: DIMENSIONS: ID 424 X OD 550 X THK 3 MM; TYPE: PIPE PF; MATERIAL: KLINGERSIL C4324; SHAPE: RD; PCD: 510 MM; HOLES: (16) DIA 18 MM; DRAWING NO: WLI/2720 REV 1; REQUIRED FOR USE ON BURNER INLET PF PIPING, UNITS 1, 2, 3, 4 & 6 | EA | 39 |  |  |
| 0243344 | GASKET, PRE-CUT: DIMENSIONS: ID 134 X OD 513 X THK 3 MM; TYPE: PIPE PF; MATERIAL: KLINGERSIL C4324; SHAPE: RD; DRAWING NO: WLI/2720 REV 1; REQUIRED FOR USE ON PF PIPING & ISOLATING VALVE, UNITS 1, 2, 3, 4 & 6 | EA | 20 |  |  |
| 0243345 | GASKET, PRE-CUT: DIMENSIONS: ID 530 X OD 750 X THK 3 MM; TYPE: BABCOCK 8.5E MILL OUTLET PF PIPING; MATERIAL: KLINGERSIL C4324; SHAPE: RD; PCD: 686 MM; HOLES: (16) DIA 28.5 MM; DRAWING NO: WLI/2720 REV 1; UNITS 1, 2, 3, 4 & 6 | EA | 18 |  |  |
| 0243500 | PACKING: TYPE: GASKET; LENGTH: 73 MM; WIDTH: ID 18 MM; MATERIAL: SS GR 316; SHAPE: CYL; THICKNESS: 16 MM; DIAMETER: 28.5 MM; SUPPL P/N: 022407001-AT; REFERENCE NO: 4372-000-01; APPLICATION: LIP GASKET SHEET | KG | 20 |  |  |
| 0244037 | GASKET, PRE-CUT: DIMENSIONS: ID 325 X OD 385 X THK 2 MM; THICKNESS: 3 MM; TYPE: TOP COVER; MATERIAL: GRAPHITE; SHAPE: RD; SUPPL P/N: 0832644; FOR ELECTRODE BOILER, AS PER ATTACHED DRAWING AND SPARE PART NUMBER SPREADSHEET, TO BE STORED IN DRY WEATHER PROTECTED CONDITIONS, TYPE: THE200 | EA | 20 |  |  |
| 0244041 | GASKET, PRE-CUT: DIMENSIONS: ID 30 X OD 56 MM; THICKNESS: 3 MM; TYPE: INSULATOR; MATERIAL: METAFLEX; SHAPE: RD; SUPPL P/N: 0282015; FOR ELECTRODE BOILER; TYPE: THE200; AS PER ATTACHED DRAWING AND SPARE SPREADSHEET, TO BE STORED IN DRY WEATHER PROTECTED CONDITIONS | EA | 20 |  |  |
| 0244505 | GASKET, SPIRAL WOUND: FILLER MATERIAL: GRAPHITE; WINDING MATERIAL: SS GR 304; MANUF P/N: P-10854; REQUIRED FOR WAHLCO SO3 PLANT, 150 | EA | 22 |  |  |
| 0244506 | GASKET, SPIRAL WOUND: FILLER MATERIAL: GRAPHITE; WINDING MATERIAL: SS GR 304; SHAPE: RD; MANUF P/N: P-10845; REQUIRED FOR WAHLCO SO3 PLANT; 150 | EA | 25 |  |  |
| 0244541 | GASKET, SPIRAL WOUND: FILLER MATERIAL: GRAPHITE; WINDING MATERIAL: SS GR 304; SHAPE: RD; MANUF P/N: P-10910; REQUIRED FOR WAHLCO SO3 PLANT, 150 | EA | 20 |  |  |
| 0244542 | GASKET, SPIRAL WOUND: FILLER MATERIAL: GRAPHITE; WINDING MATERIAL: SS GR 304; SHAPE: RD; MANUF P/N: P-10937; REQUIRED FOR WAHLCO SO3 PLANT; 150 | EA | 22 |  |  |
| 0244543 | GASKET, SPIRAL WOUND: FILLER MATERIAL: GRAPHITE; WINDING MATERIAL: SS GR 304; SHAPE: RD; MANUF P/N: P-10840; REQUIRED FOR WAHLCO SO3 PLANT; 300 | EA | 20 |  |  |
| 0244544 | GASKET, SPIRAL WOUND: FILLER MATERIAL: CERAMIC; SHAPE: RD; SUPPL P/N: P-10945; REQUIRED FOR WAHLCO SO3 PLANT, HEATER, STANDARD STEEL CLAD | EA | 20 |  |  |
| 0244545 | GASKET, SPIRAL WOUND: SHAPE: RD; MANUF P/N: P-10877; REQUIRED FOR WAHLCO SO3 PLANT; 300 | EA | 20 |  |  |
| 0244546 | GASKET, SPIRAL WOUND: WINDING MATERIAL: SS GR 304; SHAPE: RD; MANUF P/N: P- 10863; REQUIRED FOR WAHLCO SO3 PLANT; 150 | EA | 20 |  |  |
| 0244547 | GASKET, SPIRAL WOUND: SHAPE: RD; SUPPL P/N: P-12943; REQUIRED FOR WAHLCO SO3 PLANT, MOLTEN SULPHUR STORAGE TANK, 24 INCH MANWAY | EA | 20 |  |  |
| 0244548 | GASKET, PRE-CUT: TYPE: FILTER SEALING; SHAPE: RD; SUPPL P/N: P-13395; REQUIRED FOR WAHLCO SO3 PLANT | EA | 20 |  |  |
| 0244560 | GASKET, SPIRAL WOUND: FILLER MATERIAL: GRAPHITE; WINDING MATERIAL: SS GR 304; SHAPE: RD; MANUF P/N: P-10877; REQUIRED FOR WAHLCO SO3 PLANT, C6-3H | EA | 20 |  |  |
| 0247271 | SHEET, GASKET: THICKNESS: 10 MM; LENGTH: 1 M; WIDTH: 1.2 M; MATERIAL: NEOPRENE; SUPPL P/N: DAN08NP25118/8; REQUIRED FOR USE ON COAL AND ASH PLANT, RED, NON LAMINATED | EA | 40 |  |  |
| 0249474 | PACKING, BULK: WIDTH: 25 MM; THICKNESS: 25 MM; LENGTH: 20 M; TYPE: GLAND; LUBRICATION MATERIAL: GRAPHITE; SHAPE: SQ; USE ON UNIT 5, LOESCHE MILLING PLANT | EA | 161 |  |  |
| 0249480 | PACKING, BULK: WIDTH: 10 MM; THICKNESS: 10 MM; LENGTH: 20 M; TYPE: GLAND; LUBRICATION MATERIAL: GRAPHITE; SHAPE: SQ; REQUIRED FOR USE ON UNIT 5, LOESCHE MILLING PLANT | EA | 79 |  |  |
| 0249635 | GASKET, SPIRAL WOUND: INNER RING INSIDE DIAMETER: 5.18 MM; OUTER RING OUTSIDE DIAMETER: 6.18 MM; SUPPL P/N: 255590524; USED IN SPRAY WATER CONTROL VALVES; THK 347/CARB | EA | 20 |  |  |
| 0249818 | PACKING, BULK: WIDTH: 15.8 MM; THICKNESS: 15.8 MM; APPLICATION: ASH PLANT SUPER SLURRY; TYPE: GLAND; SHAPE: SQ; SUPPL P/N: 1830 | KG | 67 |  |  |
| 0250639 | GASKET, PRE-CUT: DIMENSIONS: ID 2 X OD 3 IN; TYPE: STEAM; MATERIAL: KLINGER 2000; SHAPE: RD; DRAWING NO: FB7869/44-75 REV 1; REQUIRED FOR USE ON HOPKINSON SOOTBLOWERS OUTER LANCES, UNITS 2, 3 & 4 | EA | 24 |  |  |
| 0252190 | PACKING, PREFORMED: INSIDE DIAMETER: 26 MM; OUTSIDE DIAMETER: 46 MM; THICKNESS: 11 MM; TYPE: TURBINE FORCED COOLING VALVE GLAND; MATERIAL: GRAPHITE GR NUCLEAR; COLOR: GRAY; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 80 |  |  |
| 0252761 | GASKET, PRE-CUT: TYPE: TIE ROD; SUPPL P/N: 3-0241; REQUIRED FOR USE ON PROCAL P200 FOR DUST MONITOR | EA | 20 |  |  |
| 0252764 | GASKET, PRE-CUT: TYPE: MIRROR END; SUPPL P/N: 4-6077; REQUIRED FOR USE ON PROCAL P200 DUST MONITOR | EA | 20 |  |  |
| 0252766 | GASKET, PRE-CUT: TYPE: VOID END; SUPPL P/N: 4-6111-00; REQUIRED FOR USE ON PROCAL P200 FOR DUST MONITOR | EA | 20 |  |  |
| 0252767 | GASKET, PRE-CUT: TYPE: FLANGE; REQUIRED FOR USE ON PROCAL P200 FOR DUST MONITOR | EA | 20 |  |  |
| 0252869 | GLAND, PACKING: DIMENSIONS: WD 15.8 MM X LG 8 M; MATERIAL: PTFE BRAIDED; SHAPE: SQ; SUPPL P/N: 87453647; REQUIRED FOR DUST HOPPER AGI TATOR GLANDS ON FABRIC FILTER PLANT, ONLY JOHN CRANE BRAND ACCEPTABLE, STYLE 1993 | EA | 20 |  |  |
| 0252896 | GASKET, PRE-CUT: DIMENSIONS: ID 1.39 M X OD 1.51 M X THK 2 MM; MATERIAL: NON ASB FIBER COMPRESSED BS 7531; SHAPE: RD; HOLES: (24) DIA 22 MM; DRAWING NO: 70211/B838/34571/0006 REV 1; REQUIRED FOR USE ON PF BURNERS, UNIT 1 TO 6 | EA | 20 |  |  |
| 0252897 | GASKET, PRE-CUT: DIMENSIONS: ID 915 MM X OD 1.02 M X THK 2 MM; MATERIAL: NON ASB FIBER COMPRESSED BS 7531; SHAPE: RD; HOLES: (24) DIA 18 MM; DRAWING NO: 70211/B838/34575/0020 REV 1; REQUIRED FOR USE ON PF BURNERS, UNIT 1 TO 6 | EA | 20 |  |  |
| 0252898 | GASKET, PRE-CUT: DIMENSIONS: ID 770 X OD 890 X THK 2 MM; MATERIAL: NON ASB FIBER COMPRESSED BS 7531; SHAPE: RD; HOLES: (28) DIA 26 MM; DRAWING NO: 70211/B838/34575/0021 REV 1; REQUIRED FOR USE ON PF BURNERS, UNIT 1 TO 6 | EA | 20 |  |  |
| 0252899 | GASKET, PRE-CUT: DIMENSIONS: ID 180 X OD 240 X THK 2 MM; MATERIAL: NON ASB FIBER COMPRESSED BS 7531; SHAPE: RD; HOLES: (6) DIA 14 MM; DRAWING NO: 70211/B838/34575/0024 REV 1; REQUIRED FOR USE ON PF BURNERS, UNIT 1 TO 6 | EA | 20 |  |  |
| 0253031 | PACKING, PREFORMED: INSIDE DIAMETER: 38 MM; OUTSIDE DIAMETER: 51 MM; THICKNESS: 10 MM; TYPE: U1 TO 6 KSB VALVE; MATERIAL: GRAPHITE GR NUCLEAR; COLOR: GRAY; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 20 |  |  |
| 0253032 | PACKING, PREFORMED: INSIDE DIAMETER: 22 MM; OUTSIDE DIAMETER: 30 MM; THICKNESS: 10 MM; TYPE: U1 TO 6 KSB VALVE; MATERIAL: GRAPHITE GR NUCLEAR; COLOR: GRAY; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 20 |  |  |
| 0254972 | GASKET, PRE-CUT: DIMENSIONS: ID 2-1/2 IN; TYPE: SKID FLANGE CONVERTER; SUPPL P/N: 10870; REFERENCE NO: 105RF | EA | 20 |  |  |
| 0254978 | GASKET, SPIRAL WOUND: INNER RING MATERIAL: SS GR 304; FILLER MATERIAL: GRAPHITE; SUPPL P/N: 10873; REFERENCE NO: 150; 2-1/2 INCH | EA | 20 |  |  |
| 0254979 | GASKET, PRE-CUT: DIMENSIONS: ID 8 IN; TYPE: BLU-GARD; SUPPL P/N: 10934; REFERENCE NO: 150; INJECTION PROBES | EA | 20 |  |  |
| 0254980 | GASKET, PRE-CUT: DIMENSIONS: ID 2-1/2 IN; TYPE: FLANGE RF; MATERIAL: SS GR 316; MANUF P/N: 18191; REFERENCE NO: 150 | EA | 20 |  |  |
| 0256256 | GLAND, PACKING: DIMENSIONS: ID 26 X OD 38 X LG 66 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA | 35 |  |  |
| 0256257 | GLAND, PACKING: DIMENSIONS: ID 25 X OD 41 X THK 66 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA | 20 |  |  |
| 0256258 | GLAND, PACKING: DIMENSIONS: ID 32 X OD 46 X THK 65 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA | 20 |  |  |
| 0256259 | GLAND, PACKING: DIMENSIONS: ID 19 X OD 24 X THK 41 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA | 20 |  |  |
| 0256260 | GLAND, PACKING: DIMENSIONS: ID 19 X OD 32 X THK 40 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA | 20 |  |  |
| 0256261 | GLAND, PACKING: DIMENSIONS: ID 25 X OD 41 X THK 30 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA | 20 |  |  |
| 0256262 | GLAND, PACKING: DIMENSIONS: ID 44.7 X OD 70.4 X THK 160 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA | 20 |  |  |
| 0256263 | GLAND, PACKING: DIMENSIONS: ID 28 X OD 40 X THK 50 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA | 20 |  |  |
| 0256264 | GLAND, PACKING: DIMENSIONS: ID 28 X OD 46 X THK 55 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA | 20 |  |  |
| 0256265 | GLAND, PACKING: DIMENSIONS: ID 40 X OD 60 X THK 55 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA | 20 |  |  |
| 0256266 | GLAND, PACKING: DIMENSIONS: ID 22 X OD 36 X THK 45 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA | 20 |  |  |
| 0256267 | GLAND, PACKING: DIMENSIONS: ID 18 X OD 30 X THK 30 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA | 60 |  |  |
| 0256268 | GLAND, PACKING: DIMENSIONS: ID 22 X OD 35 X THK 46 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA | 20 |  |  |
| 0256269 | GLAND, PACKING: DIMENSIONS: ID 12.5 X OD 19.8 X THK 21 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA | 20 |  |  |
| 0256275 | GLAND, PACKING: DIMENSIONS: ID 20 X OD 30 X THK 60 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA | 46 |  |  |
| 0256276 | GLAND, PACKING: DIMENSIONS: ID 24 X OD 34 X THK 80 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA | 20 |  |  |
| 0256277 | GASKET, PRE-CUT: DIMENSIONS: ID 58 X OD 80 X THK 4.5 MM; TYPE: VALVE; MATERIAL: METAFLEX; SHAPE: RD; PRESSURE RATING: 10 MPA; TEMPERATURE RATING: 530 DEG C | EA | 20 |  |  |
| 0256278 | GASKET, PRE-CUT: DIMENSIONS: ID 47 X OD 66 X THK 4.5 MM; TYPE: VALVE; MATERIAL: METAFLEX; PRESSURE RATING: 10 MPA; TEMPERATURE RATING: 530 DEG C | EA | 22 |  |  |
| 0256279 | GASKET, PRE-CUT: DIMENSIONS: ID 53 X OD 81 X THK 4.5 MM; TYPE: VALVE; MATERIAL: METAFLEX; PRESSURE RATING: 10 MPA; TEMPERATURE RATING: 530 DEG C | EA | 20 |  |  |
| 0256280 | GASKET, PRE-CUT: DIMENSIONS: ID 125 X OD 150 X THK 4.5 MM; TYPE: VALVE; MATERIAL: METAFLEX; SHAPE: RD; PRESSURE RATING: 12 MPA; TEMPERATURE RATING: 530 DEG C | EA | 20 |  |  |
| 0256281 | GASKET, PRE-CUT: DIMENSIONS: ID 65 X OD 92 X THK 4.5 MM; TYPE: VALVE; MATERIAL: METAFLEX; SHAPE: RD; PRESSURE RATING: 12 MPA; TEMPERATURE RATING: 530 DEG C | EA | 20 |  |  |
| 0256282 | GASKET, PRE-CUT: DIMENSIONS: ID 216 X OD 245 X THK 4.5 MM; TYPE: VALVE; MATERIAL: METAFLEX; SHAPE: RD; PRESSURE RATING: 16 MPA; TEMPERATURE RATING: 200 DEG C | EA | 20 |  |  |
| 0256627 | PACKING, BULK: WIDTH: 15.8 MM; THICKNESS: 15.8 MM; LENGTH: 12 M; MATERIAL: AERO DRUM MATERIAL ONLY, NON-COMPRESSING; APPLICATION: PUMP MAXIMUM SHAFT SPEED 12 M/S; MAX PRESSURE: 56 BAR; TEMPERATURE RANGE: -40 TO 260 DEG C; TYPE: CARIER; SHAPE: SQ; REFERENCE NO: STYLE 99 | EA | 46 |  |  |
| 0501105 | PACKING, BULK: WIDTH: 20.6 MM; THICKNESS: 20.6 MM; LENGTH: 10 M; MATERIAL: AERO DRUM MATERIAL ONLY; MAX PRESSURE: 56 BAR; PH VALUE RANGE: 3-12; TEMPERATURE RANGE: -15 TO 260 DEG C; TYPE: CARIER; SHAPE: SQ; 2.5 KG BOX; STYLE 99. | EA | 31 |  |  |
| 0552888 | PACKING, BULK: WIDTH: 16 MM; THICKNESS: 16 MM; LENGTH: 12 M; MATERIAL: GRAPHITE-FILLED EPTFE & ARAMID; APPLICATION: ASH WATER/SLURRY; MAX PRESSURE: 20 BAR; PH VALUE RANGE: 4-11; SPECIFICATION: DUAL 2211 CHESTERTON; TEMPERATURE RANGE: 260 DEG C; TYPE: BRAIDED; LUBRICATION MATERIAL: FILCOAT; SHAPE: SQ; WEIGHT: 3.92 KG | KG | 220 |  |  |
| 0563075 | GLAND, PACKING: DIMENSIONS: ID 13 X OD 22 X HT 24 MM; TYPE: VALVE; MATERIAL: GRAPHITE; SHAPE: ROUND; MANUF P/N: 398443-01 0A; ONE SET CONSISTS OF 5 RINGS; FOR USE ON POPPET VALVE FOR SOOTBLOWERS | EA | 20 |  |  |
| 0563904 | PACKING, BULK: WIDTH: 19 MM2; THICKNESS: 19 MM2; LENGTH: 9.2 M; MATERIAL: AERO DRUM; APPLICATION: ASH; WATER; SLURRY; MAX PRESSURE: 56 BAR; PH VALUE RANGE: 3-12; TEMPERATURE RANGE: 260 DEG C; TYPE: CARIER; LUBRICATION MATERIAL: GRAPHITE/PTFE; SHAPE: SQ; STYLE 99; 2.5 KG BOX | EA | 52 |  |  |
| 0565172 | GASKET: TYPE: BOND; DIMENSIONS: ID 800 MM; MATERIAL: RUBBER; SHAPE: ROUND; APPLICATION: LOAD CELL; USED ON THE WEIGH BRIDGE FOR COAL PLANT | EA | 30 |  |  |
| 0571094 | SHEET, GASKET: THICKNESS: 2 MM; LENGTH: 1 M; WIDTH: 1 M; MATERIAL: GRAPHITE; REFERENCE NO: V0011Z31; USED ON HIGH TEMPERATURE FEEDWATER AND STEAM; 0.5 MM SEAMLESS INTERLEAVED WITH 0.05 MM SS SHEETS | EA | 55 |  |  |
| 0571415 | GASKET, SPIRAL WOUND: INNER RING INSIDE DIAMETER: 67 MM; OUTER RING OUTSIDE DIAMETER: 143 MM; PRESSURE RATING: 120 BAR; FILLER MATERIAL: GRAPHITE; WINDING MATERIAL: GRAPHITE; SHAPE: ROUND; THICKNESS: 3.2 MM; MANUF P/N: 397735-01 0A; USED FOR SEALING APPLICATION ON VALVES | EA | 30 |  |  |
| 0581944 | GASKET: TYPE: METAFLEX; DIMENSIONS: ID 280 X OD 315 X THK 4.5 MM; MATERIAL: GRAPHITE; APPLICATION: VALVE; SPECIFICATION: STYLE 304SS; METAFLEX GASKET; USED ON HP HEATER FEEDWATER ISOLATING | EA | 40 |  |  |
| 0609104 | GASKET, SPIRAL WOUND: INNER RING INSIDE DIAMETER: 55 MM; OUTER RING OUTSIDE DIAMETER: 121 MM; PRESSURE RATING: 8 MPA; FILLER MATERIAL: GRAPHITE 304; WINDING MATERIAL: MS 304; SHAPE: CIRCULAR; THICKNESS: 4.5 MM; SUPPL P/N: TYLE-CRIR-121/87/68/55/4.5; USED ON AUX STEAM STRAINER GASKET; A CIRCULAR OR MODERATELY NONCIRCULAR SHAPED SEALING MATERIAL WITH AN APERTURE CONSTRUCTED OF SPRING-LIKE METAL STRIPS; PREFORMED INTO V-SHAPE; WITH SOFT FILLER AND DESIGN TO SEAL BETWEEN TWO NON-DEFORMING SURFACES; WHICH MAY HAVE AN INNER AND/OR OUTER; SOLID OR SPRIRAL WOUND COMPRESSION RING(S); IT IS A STRONG SPIRAL WOUND GASKET; WHICH ARE A POPULAR CHOICE FOR AN ARRAY OF CONDITIONS AND APPLICATION | EA | 30 |  |  |
| 0616591 | PACKING: TYPE: SQ; LENGTH: 50 M; WIDTH: 5 MM; MATERIAL: FELT; SHAPE: SQ; THICKNESS: 5 MM; DIAMETER: 5 MM; MANUF P/N: Y20012183; 3 INCHES; FIG 7020; REF 930 X 931 | EA | 66 |  |  |
| 0628098 | GASKET: TYPE: SEALING; DIMENSIONS: 128 MM; MATERIAL: COMPOSITE; STYLE: FLAT; SHAPE: ROUND; APPLICATION: HP CONTROL CV SERVOMOTOR; OEM P/N: 5160-050, OEM: GE STEAM POWER SERVICE; DRAWING NO: B42.51600-0187; REFERENCE NO: SZ50003383 | EA | 30 |  |  |
| 0628099 | GASKET: TYPE: SEALING; DIMENSIONS: 510 X 470 MM; MATERIAL: COMPOSITE; STYLE: FLAT; SHAPE: RECTANGULAR; APPLICATION: HP CONTROL CV SERVOMOTOR; OEM P/N: 5160-051, OEM: GE STEAM POWER SERVICE; DRAWING NO: B42.51600-0187; REFERENCE NO: SZ50003384 | EA | 30 |  |  |
| 0645940 | GASKET, SPIRAL WOUND: STYLE: R; INNER RING INSIDE DIAMETER: 50 MM; FILLER OUTSIDE DIAMETER: 86 MM; FILLER INSIDE DIAMETER: 65 MM; OUTER RING OUTSIDE DIAMETER: 119 MM; PRESSURE RATING: 8 MPA; INNER RING MATERIAL: SS; FILLER MATERIAL: SS; WINDING MATERIAL: SS; SHAPE: ROUND; THICKNESS: 4.5 MM; 360 DEG C | EA | 30 |  |  |
| 0674665 | PACKING, BULK: WIDTH: 19 MM; THICKNESS: 19 MM; LENGTH: 10 M; MATERIAL: PTFE/GRAPHITE CARBON REINFORCED; APPLICATION: 1830 SSP SLURRY PUMP AND SLUICE PUMP; MAX PRESSURE: 28 BAR; PH VALUE RANGE: 0-2; SPECIFICATION: CHESTERTON DUALPAC; TEMPERATURE RANGE: 260 DEG C; TYPE: SEAL; LUBRICATION MATERIAL: GRAPHITE/PTFE; SHAPE: SQUARE; WEIGHT; 4.54KG; SPEED: 18 M/S | EA | 48 |  |  |
| 0674671 | PACKING, BULK: WIDTH: 16 MM; THICKNESS: 16 MM; LENGTH: 10 M; MATERIAL: PTFE/GRAPHITE CARBON REINFORCED; APPLICATION: 1830-SSP SLURRY PUMP AND SLUICE PUMP; MAX PRESSURE: 28 BAR; PH VALUE RANGE: 0-2; SPECIFICATION: CHESTERTON DUALPAC; TEMPERATURE RANGE: 260 DEG C; TYPE: SEAL; SHAPE: SQUARE; WEIGHT: 4.54 KG; SPEED: 18 M/S | EA | 40 |  |  |
| 0693022 | GASKET: TYPE: SEALING; DIMENSIONS: WD 80 X LG 130 MM; MATERIAL: COMPOSITE; SHAPE: RECTANGULAR; APPLICATION: HP ESV SERVO MOTOR; OEM P/N: 7160-114, OEM: GE STEAM POWER SERVICE; DRAWING NO: A42.71600-0164 REV 0; REFERENCE NO: SZ50005834 | EA | 40 |  |  |

| The total of the Prices |  |
| --- | --- |

# Part 3: Scope of Work

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page | 1 |
| C3.1 | Purchaser’s Goods Information |  |
| C3.2 | Supplier’s Goods Information (insert at award stage or delete if not applicable) |  |
|  | Total number of pages |  |

# C3.1: Purchaser’s Goods Information

Contents

Part 3: Scope of Work	49

C3.1: Purchaser’s Goods Information	50

1	Overview and purpose of the goods and services	51

2	Specification and description of the goods	51

2.1	Factory acceptance testing (FAT)	76

2.2	Operating manuals and maintenance schedules	76

3	Supply Requirements	76

4	Constraints on how the Supplier Provides the Goods	77

4.1	Programming constraints	77

4.2	Work to be done by the Delivery Date	77

4.3	Constraints at the delivery place and place of use	77

4.4	Services & other things to be provided by the Purchaser or Supplier	77

4.5	Management meetings	77

4.6	Documentation control	78

4.7	Health and safety risk management	78

4.8	Environmental constraints and management	79

4.9	Quality	79

4.10	Invoicing and payment	79

4.11	Contract change management	80

4.12	Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier	80

5	Procurement	80

5.1	Subcontracting	80

5.1.1	Preferred subcontractors	80

# Overview and purpose of the goods and services

The reliability and availability of the Gaskets in general, is a concern for Grootvlei Power station due to unplanned downtime, and it has contributed too many production risks on the Units.  Initiatives to improve the reliability and availability of the Gland Packing & Gaskets amongst others includes, placing spares supply contracts for continuous involvement on the plant on daily basis. The Goods to be supplied by the supplier are stated on C2.2 the price schedule.

# Specification and description of the goods

The specifications and description of the goods are as follows:

| Item nr | Description | Unit |
| --- | --- | --- |
| 0001588 | GASKET, PRE-CUT: DIMENSIONS: ID 40 X OD 46 X THK 1 MM; TYPE: CYLINDER HEAD, COMPRESSOR; MATERIAL: CU; SHAPE: RD; REFERENCE NO: GKT628; GKT 628 | EA |
| 0001590 | GASKET, PRE-CUT: DIMENSIONS: ID 101 X OD 147 X THK 0.5 MM; TYPE: COMPRESSOR; MATERIAL: ASB; SHAPE: CIRCULAR; PCD: 136 MM; HOLES: (6) DIA 10 MM; MANUF P/N: GKT2051 | EA |
| 0001591 | GASKET, PRE-CUT: TYPE: COMPRESSOR 807; REFERENCE NO: GKT2 | EA |
| 0001596 | GASKET, PRE-CUT: TYPE: COMPRESSOR; MANUF P/N: GKT2488; REFERENCE NO: AG541635-P1 | EA |
| 0001599 | GASKET, PRE-CUT: TYPE: COMPRESSOR; REFERENCE NO: GKT2858 | EA |
| 0001601 | GASKET, PRE-CUT: DIMENSIONS: ID 10 X OD 16 X THK 1.5 MM; TYPE: 1ST STG CYLINDER HEAD GROUP; MATERIAL: CU; SHAPE: CIRCULAR; MANUF P/N: GKT-593; MODEL NO: SAB SABC SBB; FOR TYPE-H COMPRESSOR | EA |
| 0001603 | GASKET, PRE-CUT: TYPE: COMPRESSOR; REFERENCE NO: GKT2040 | EA |
| 0001605 | GASKET, PRE-CUT: DIMENSIONS: ID 62 X OD 81 X THK 5 MM; TYPE: DELLE 400 KV 1600 A, PK6B AIR BLAST CB; MATERIAL: RUBBER SYNTHETIC; SHAPE: CIRCULAR; REFERENCE NO: 270258-026; COLOUR: A/A | EA |
| 0001609 | GASKET, PRE-CUT: DIMENSIONS: ID 19 X OD 28 X THK 0.5 MM; TYPE: VALVE GUIDE; MATERIAL: CU; REFERENCE NO: GKT614; USED ON THIRD STAGE CYLINDER HEAD GROUP ON AIR COOLED RECIPROCATING TYPE H | EA |
| 0018962 | GLAND, PACKING: TYPE: SEALING; MATERIAL: SS; STEAM STRAINER | EA |
| 0044011 | GLAND, PACKING: TYPE: MONO PUMP S82M EFFL | EA |
| 0044548 | GLAND, PACKING: TYPE: FOLLOWER | EA |
| 0046087 | GLAND, PACKING: TYPE: FOLLOWER; MATERIAL: STL; DRAWING NO: R33430 REV 1 | EA |
| 0046323 | GLAND, PACKING: TYPE: UPPER ADJUSTABLE; REFERENCE NO: 394-20; S/PUMP | EA |
| 0046351 | GLAND, PACKING: TYPE: TRANSFER PUMP; MATERIAL: CI | EA |
| 0046358 | GLAND, PACKING: TYPE: SEALING; MATERIAL: STL; MODEL NO: HCD6N/8; REFERENCE NO: 306; FOR USE ON 50PCT KSB ELECTRIC FEED PUMP | EA |
| 0046359 | GLAND, PACKING: SHAPE: RD; 100PCT F PUMP | EA |
| 0049816 | GLAND, PACKING: TYPE: SLEEVE; HSB 10 FV PUMP | EA |
| 0066250 | GLAND, PACKING: TYPE: FOLLOWER; VALVE HP STEAM | EA |
| 0078438 | GLAND, PACKING: TYPE: FOLLOWER, KSB CW PUMP | EA |
| 0089692 | GASKET, PRE-CUT: MANUF P/N: HPX 1131 T2; REFERENCE NO: JH 4 402-7; FOR USE COMPRESSOR TYPE XLE-NL GASKETNUT; 7 X 10 X 6 | EA |
| 0089713 | PACKING, PREFORMED: TYPE: NUT; SUPPL P/N: 302032-0119; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 0094157 | SHEET, GASKET: THICKNESS: 1 MM; LENGTH: 1 M; WIDTH: 1 M; MATERIAL: NEOPRENE | EA |
| 0094329 | SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 30 M; WIDTH: 1.2 M; MATERIAL: RUBBER INSERTION; SPECIFICATION: 25 KG; COLOR: BLACK; SUPPLIER NOTE: 25KG PER ROLL; ROLL MUST BE WRAPPED AND CLEARLY MARKED WITH SPECIFIC KILOGRAMS | KG |
| 0094350 | SHEET, GASKET: THICKNESS: 1.5 MM; LENGTH: 1 M; WIDTH: 1 M; MATERIAL: VELLUMOID; SUPPLIER NOTE: THE ITEM MUST BE PROTECTIVE PACKED | KG |
| 0094351 | PACKING, PREFORMED: INSIDE DIAMETER: 108 MM; OUTSIDE DIAMETER: 121 MM; THICKNESS: 6 MM; TYPE: V RING; MATERIAL: RUBBER; DRAWING NO: 4380 REV 1; 2 SIZE 20 INCH X 24 INCH, ROLL CRUSHER V120 FT 71 BIN 416-54; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 0094358 | GASKET, PRE-CUT: DELLE OCB66KV INSULATOR | EA |
| 0094370 | SHEET, GASKET: THICKNESS: 1.5 MM; LENGTH: 2 M; WIDTH: 1.5 M; MATERIAL: GRAPHITE NON ASB IMPREGNATED; SPECIFICATION: BS 2815-1973 GR A; KLINGERITE; OILIT; COLOURED BLACK ON BOTH SIDE; BINDER SYNTHETIC RUBBER; PETROL AND OIL RESISTANT; TEMPERATURE UP O 480 DEG C; ONE = 9.259 KG | KG |
| 0094372 | SHEET, GASKET: THICKNESS: 0.8 MM; LENGTH: 2 M; WIDTH: 1.5 M; MATERIAL: NON ASB COMPRESSED; REFERENCE NO: KLINGER0ILIT; COLOUR BLACK; Non-GRAPHITE; BINDER SYNTHETIC RUBBER | KG |
| 0094671 | PACKING, PREFORMED: INSIDE DIAMETER: 266 MM; OUTSIDE DIAMETER: 298 MM; THICKNESS: 35 MM; TYPE: RING; MATERIAL: RUBBER; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 0097144 | GLAND, PACKING: TYPE: SOOTBLOWER CLYDE | EA |
| 0097145 | PACKING, PREFORMED: TYPE: RING; SOOT BLOWER CLYDEVENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 0097146 | GLAND, PACKING: TYPE: VALVE SOOTBLOWER | EA |
| 0097396 | GASKET, PRE-CUT: DIMENSIONS: ID 89 X OD 105 X THK 0.55 MM; TYPE: OUTER LANCE TUBE; MATERIAL: SS; SHAPE: RD; SUPPL P/N: 305656-0117; REFERENCE NO: 305656-0117 | EA |
| 0100794 | GASKET, PRE-CUT: DIMENSIONS: ID 42 X OD 58 X THK 3 MM; TYPE: SOOTBLOWER; MATERIAL: CU; SHAPE: RD; SUPPL P/N: 304634-0117TU; MACHINED, LANCE | EA |
| 0100928 | SHEET, GASKET: THICKNESS: 1.5 MM; LENGTH: 2 M; WIDTH: 1.5 M; MATERIAL: NON ASB COMPRESSED; CAT NO: KLINGERIT 1000 3XA; KLINGERIT 1000, C4324 PACKING, BLACK, JOINTING WITH FINE STEEL WIRE GAUSE INSERT AND GRAPHITE FINISHED | EA |
| 0101009 | PACKING, BULK: WIDTH: 3.2 MM; THICKNESS: 3.2 MM; LENGTH: 2 M; MATERIAL: KLINGERITE; SHAPE: SQ; SUPPL P/N: 3222; KLINGER STYLE; KLINGER | KG |
| 0101011 | PACKING, BULK: WIDTH: 6.5 MM; THICKNESS: 6.5 MM; LENGTH: 2 M; MATERIAL: GRAPHITE; APPLICATION: PUMP AND VALVE; MAX PRESSURE: 180 BAR; PH VALUE RANGE: 1-14; TEMPERATURE RANGE: 200 DEG C; TYPE: FLEXYGRAF; SHAPE: SQ; SUPPL P/N: 3222; INCLUDING CORROSION INHIBITORS, CRYSTALLINE STRUCTURE, SELF LUBRICATING; KLINGER | KG |
| 0101013 | PACKING, BULK: WIDTH: 9.5 MM; THICKNESS: 9.5 MM; MATERIAL: GRAPHITE; APPLICATION: PUMP AND VALVE; MAX PRESSURE: 180 BAR; PH VALUE RANGE: 1-14; TEMPERATURE RANGE: 200 DEG C; TYPE: FLEXYGRAF; SHAPE: SQ; SUPPL P/N: 3222; MATERIAL CERTIFICATE TO BE INCLUDED WITH THE FOLLOWING INFO: PURITY, DENSITY, MAX ASH CONTENT, LEACHABLE CHLORIDE CONTENT, LEACHABLE FLUORIDE CONTENT, LOW SULPHUR; KLINGER | KG |
| 0101014 | PACKING, BULK: WIDTH: 12.5 MM; THICKNESS: 12.5 MM; MATERIAL: GRAPHITE; APPLICATION: PUMP AND VALVE; MAX PRESSURE: 180 BAR; PH VALUE RANGE: 1-14; TEMPERATURE RANGE: 200 DEG C; TYPE: FLEXYGRAF; SHAPE: SQ; SUPPL P/N: 3222; FLEXIGRAF, INCLUDING CORROSION INHIBITORS, CRYSTALLINE STRUCTURE, SELF LUBRICATING, CERTIFICATE TO BE INCLUDED WITH THE FOLLOWING INFO: PURITY, DENSITY, MAX ASH CONTENT, LEACHABLE CHLORIDE CONTENT, LEACHABLE FLUORIDE CONTENT, LOW SULPHUR; ROLL; KLINGER | KG |
| 0101015 | PACKING, BULK: WIDTH: 16 MM; THICKNESS: 16 MM; MATERIAL: GRAPHITE; APPLICATION: PUMP AND VALVE; MAX PRESSURE: 180 BAR; PH VALUE RANGE: 1-14; TEMPERATURE RANGE: 200 DEG C; TYPE: FLEXYGRAF; SHAPE: SQ; SUPPL P/N: 3222; MATERIAL CERTIFICATE TO BE INCLUDED WITH THE FOLLOWING INFO: PURITY, DENSITY, MAX ASH CONTENT, LEACHABLE CHLORIDE CONTENT, LEACHABLE FLUORIDE CONTENT, LOW SULPHUR | KG |
| 0101029 | PACKING, BULK: WIDTH: 12 MM; THICKNESS: 12 MM; MATERIAL: CARBON/GRAPHITE YARN; SHAPE: SQ; REFERENCE NO: 477-1; HP STEAM, NON ASBESTOS IMPREGNATED, WITH MOLYBDENUM CORROSION INHIBITOR; SPECIFICATION TO BE CERTIFIED; TFE DISPERSION 14 PCT, LEACHABLE CHLORIDE ION CONTENT 71PPM MAX, SULPHUR 42PPM MAX, TOTAL SULPHUR 439PPM MAX, TOTAL CHLORIDE 100PPM MAX; PURITY OF YARN 91.59 PCT; PRESSURE LIMIT 250 BAR, TEMPERATURE LIMIT -40 DEGREE CELSIUS TO 566 DEGREE CELSIUS; SHAFT VELOCITY LIMIT 15M/SEC, PH 0 TO 13; PRODUCT BRAND | KG |
| 0101031 | PACKING, BULK: WIDTH: 15.9 MM; THICKNESS: 15.9 MM; MATERIAL: CARBON FIBER; APPLICATION: PUMP AND VALVE; MAX PRESSURE: 250 BAR; PH VALUE RANGE: 0-13; TEMPERATURE RANGE: -40 TO 566 DEG C; TYPE: GENERAL SERVICE; SHAPE: SQ; SUPPL P/N: 477-1; HP STEAM IMPREGNATED WITHM MOLYBDENUM CORROSION INHIBITOR, SPECIFICATION TO BE CERTIFIED, TFE DISPERSION: 14PCT, LEACHABLE CHLORIDE ION CONTENT 71PPM MAX, LEACHABLE SULPHURE 42PPM MAX, TOTAL SULPHUR: 439PPM MAX, TOTAL CHLORIDE 100PPM MAX, PURITY OF YARN 91.59 PCT, SHAFT VELOCITY LIMIT 15M/SEC | KG |
| 0101032 | PACKING, BULK: WIDTH: 19 MM; THICKNESS: 19 MM; MATERIAL: CARBON FIBER; APPLICATION: PUMP AND VALVE; MAX PRESSURE: 250 BAR; PH VALUE RANGE: 0-13; TYPE: GENERAL SERVICE; SHAPE: SQ; SUPPL P/N: 477-1; HP STEAM NON ASBESTOS, IMPREGNATED WITHM MOLYBDENUM CORROSION INHIBITOR, TO BE CERTIFIED, TFE DISPERSION 14PCT, LEACHABLE CHLORIDE ION CONTENT 71PPM MAX, LEACHABLE SULPHUR 42PPM MAX, TOTAL SULPHUR 439PPM MAX, TOTAL CHLORIDE 100PPM MAX, PURITY OF 91.59PCT, TEMPERATURE LIMIT -40 DEGREE CELSIUS TO 566 DEGREE CELSIUS, SHAFT VELOCITY LIMIT 15M/SEC, PH 0-13 | KG |
| 0101077 | GASKET, PRE-CUT: DIMENSIONS: DIA 200 X THK 2 MM; TYPE: HP SERVO MOTOR; MATERIAL: TEFLON; SHAPE: RD; OEM P/N: 5360-161, OEM: GE STEAM POWER SERVICE; 5160-161, OEM: GE STEAM POWER SERVICE; 5160-261, OEM: GE STEAM POWER SERVICE; DRAWING NO: B42.51600-0187 REV 0; REFERENCE NO: SZ50005252 | EA |
| 0101152 | GASKET, PRE-CUT: DIMENSIONS: ID 33 X OD 60 X THK 2 MM; TYPE: HP SERVO MOTOR; MATERIAL: TEFLON; SHAPE: RD; OEM P/N: 5160-162, OEM: GE STEAM POWER SERVICE; 5360-162, OEM: GE STEAM POWER SERVICE; DRAWING NO: B42.51600-0187 REV 0; REFERENCE NO: SZ50005468 | EA |
| 0101172 | PACKING, BULK: WIDTH: 6 MM; THICKNESS: 6 MM; MATERIAL: NON ASB FIBER BRAIDED; LUBRICATION MATERIAL: PTFE/NIMO COMPOUNDED; SHAPE: SQ; MANUF P/N: 781; MODEL NO: STYLE 781; SUPPLIED IN 3KG ROLLS | KG |
| 0101173 | PACKING, BULK: WIDTH: 8 MM; THICKNESS: 8 MM; MATERIAL: NON ASB FIBER BRAIDED; LUBRICATION MATERIAL: PTFE/NIMO COMPOUNDED; SHAPE: SQ; MANUF P/N: 781; MODEL NO: STYLE 781; SUPPLIED IN 3 KG ROLLS | KG |
| 0101174 | PACKING, PREFORMED: THICKNESS: 10 MM; MATERIAL: NON ASB FIBER BRAIDED; MANUF P/N: 781; PTFE NICKEL & MOLY COMPOUNDED LUBRICANT SQUARE; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | KG |
| 0101175 | PACKING, BULK: WIDTH: 12 MM; THICKNESS: 12 MM; MATERIAL: NON ASB FIBER BRAIDED; LUBRICATION MATERIAL: PTFE/NIMO COMPOUNDED; SHAPE: SQ; MANUF P/N: 781; SUPPLIED IN 3KG ROLLS | KG |
| 0101794 | GASKET, PRE-CUT: TYPE: PISTON SCREW; SUPPL P/N: GSK2742; ST WO | EA |
| 0101795 | GASKET, PRE-CUT: MANUF P/N: GKT02490; FOR COMPRESSOR | EA |
| 0101796 | GASKET, PRE-CUT: MANUF P/N: GKT2794; FOR COMPRESSOR | EA |
| 0101807 | GASKET, PRE-CUT: MANUF P/N: GKT894F; FOR COMPRESSOR | EA |
| 0101808 | GASKET, PRE-CUT: DIMENSIONS: WD 260 X LG 625 MM; ELIN 88KV TFR | EA |
| 0101809 | GASKET, PRE-CUT: DIMENSIONS: OD 19 MM; SCARPO-MAG DISCON | EA |
| 0101810 | GASKET, PRE-CUT: TYPE: CAP TO HEAD; WORTHTN COMP | EA |
| 0101812 | GASKET, PRE-CUT: MANUF P/N: GKT2553; FOR COMPRESSOR | EA |
| 0101830 | GASKET, PRE-CUT: SUPPL P/N: 159517219; DELLE 88KV CB | EA |
| 0101839 | PACKING, PREFORMED: INSIDE DIAMETER: 323 MM; OUTSIDE DIAMETER: 343 MM; THICKNESS: 20 MM; TYPE: RING; MATERIAL: RUBBER SYNTHETIC; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 0101840 | PACKING, PREFORMED: INSIDE DIAMETER: 415 MM; OUTSIDE DIAMETER: 450 MM; THICKNESS: 38 MM; TYPE: RING; MATERIAL: RUBBER; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 0101863 | GLAND, PACKING: DIMENSIONS: ID 50 X LG 31 MM; TYPE: FOLLOWER; MATERIAL: BRS | EA |
| 0101864 | GLAND, PACKING: DIMENSIONS: ID 84 X LG 43 MM; TYPE: FOLLOWER; MATERIAL: BRS | PAA |
| 0101877 | PACKING, PREFORMED: INSIDE DIAMETER: 32 MM; OUTSIDE DIAMETER: 38 MM; THICKNESS: 2 MM; TYPE: RING; MATERIAL: PVC; SPL; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 0101884 | GLAND, PACKING: DIMENSIONS: ID 325 X LG 93 MM; TYPE: FOLLOWER; MATERIAL: BRS | EA |
| 0101885 | GLAND, PACKING: DIMENSIONS: ID 393 X LG 209 MM; TYPE: FOLLOWER; MATERIAL: STL | EA |
| 0101912 | PACKING, BULK: WIDTH: 13 MM; THICKNESS: 13 MM; MATERIAL: NON ASB; SHAPE: SQ; STAG STYLE 2000DA | KG |
| 0101913 | PACKING, BULK: WIDTH: 19 MM; THICKNESS: 19 MM; LENGTH: 9.14 M; MATERIAL: GRAPHITE-FILLED EPTFE & ARAMID; APPLICATION: SLUICE AND ASH PUMP; MAX PRESSURE: 20 BAR; PH VALUE RANGE: 4.11; SPECIFICATION: DUAL 2211 CHESTERTON; TEMPERATURE RANGE: 260 DEG C; TYPE: BRAIDED; SHAPE: SQ; SUPPL P/N: STAG2000 | KG |
| 0102072 | PACKING, BULK: WIDTH: 16 MM; THICKNESS: 16 MM; LENGTH: 10 M; MATERIAL: GRAPHITE; SHAPE: SQ; SUPPL P/N: STAG2000-16 | KG |
| 0102230 | PACKING, BULK: WIDTH: 12 MM; THICKNESS: 12 MM; MATERIAL: NON ASB; SHAPE: SQ; SUPPL P/N: STAG2000; TO BE SUPPLIED IN 25KG BOXES | KG |
| 0102232 | PACKING, PREFORMED: TYPE: WIPER RING; SUPPL P/N: W00750; VENDORS ARE RESPONSIBLE FOR ENSURING that they are PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 0102234 | PACKING: TYPE: ROD; SUPPL P/N: 4224SD | EA |
| 0102235 | PACKING: TYPE: ROD; SUPPL P/N: 40375 | EA |
| 0102236 | PACKING, PREFORMED: TYPE: WIPER RING; SUPPL P/N: W01000; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 0102237 | PACKING: TYPE: ROD; SUPPL P/N: 4224S | EA |
| 0102238 | PACKING, PREFORMED: TYPE: WIPER RING; SUPPL P/N: W01250; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 0102243 | PACKING: MATERIAL: FABRIC; SUPPL P/N: HC19682 | EA |
| 0102244 | GASKET, PRE-CUT: DIMENSIONS: 49 MM; MATERIAL: BRS; SHAPE: SQ; SUPPL P/N: HC29572 | EA |
| 0102245 | GASKET, PRE-CUT: DIMENSIONS: ID 1-3/2 IN; MATERIAL: KLINGERIT; SUPPL P/N: HC232 | EA |
| 0102246 | GASKET, PRE-CUT: MATERIAL: RUBBER; SUPPL P/N: UMC506 | EA |
| 0102266 | GASKET, PRE-CUT: DIMENSIONS: ID 50 X OD 57 MM | EA |
| 0102272 | PACKING: MATERIAL: HALLPRENE; SUPPL P/N: 4037S | EA |
| 0102273 | PACKING: MATERIAL: HALLPRENE; SUPPL P/N: R4224SD | EA |
| 0102276 | GASKET, PRE-CUT: DIMENSIONS: ID 1-1/8 IN; MATERIAL: IRON ARMCO; DRGA | EA |
| 0102306 | PACKING, PREFORMED: TYPE: RING; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 0102316 | PACKING: DIAMETER: 30 MM; SUPPL P/N: 7109QRICI/V | EA |
| 0102317 | GLAND, PACKING: TYPE: SHAFT, D PUMP AAB 45-3 NF/NP 6724; SUPPL P/N: 511; 512; 509; REFERENCE NO: 1 PT 28P & 51G; 45-3 SECTION 50G, HYDROGEN PLANT | EA |
| 0102320 | PACKING: TYPE: BAFFLE; SHAPE: RING; UPPER DE L | EA |
| 0102321 | PACKING, PREFORMED: TYPE: RING, UPPER; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 0102322 | PACKING, PREFORMED: TYPE: RING; HALF LOWR NDE+LOWVENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 0102328 | PACKING: SUPPL P/N: S10-0163; H/PMP | EA |
| 0102330 | PACKING, PREFORMED: TYPE: RING; SUPPL P/N: 121; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 0102337 | GASKET, PRE-CUT: DIMENSIONS: ID 250 X OD 330 X THK 0.3 MM; MATERIAL: VELLUMOID | EA |
| 0102346 | PACKING, PREFORMED: TYPE: RING; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 0102348 | GLAND, PACKING: TYPE: MONO PUMP D900 NS; SHAPE: RD; REFERENCE NO: 1150822800; SPARES FOR MONO PUMP | EA |
| 0102349 | PACKING, PREFORMED: TYPE: RING; SUPPL P/N: 36815; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 0102352 | GASKET, PRE-CUT: SUPPL P/N: 401816; SKET | EA |
| 0102357 | GLAND, PACKING: TYPE: MICROWIRE FILTER N7500B; SUPPL P/N: 6400113; 450LA22; DRAWING NO: B6400113 REV 1 | EA |
| 0102360 | GLAND, PACKING: TYPE: FLYGT PUMP; SUPPL P/N: 2776700 | EA |
| 0102366 | GLAND, PACKING: DIMENSIONS: 1-2 IN; SHAPE: SQ | EA |
| 0102367 | GASKET, PRE-CUT: TYPE: HEAD; REFERENCE NO: B-9-4-009; BASTIAN ALLEN ELECTRODE STEAM BOILERS B0187, 380 VOLT, 352 KPA TYPE 29,70KN | EA |
| 0102371 | GASKET, PRE-CUT: TYPE: COVER; SUPPL P/N: X1014 T56-52; X104T56-52; REFERENCE NO: 4402-3-4-5-6 & 7; VALVE INGERSOLL RAND TYPE XLE NL 16IN X 10IN 7IN AIR COMPRESSOR; HIGH PRESSURE | EA |
| 0102372 | GASKET, PRE-CUT: TYPE: VALVE SEAT; MANUF P/N: X1014T 52-46; REFERENCE NO: 4402-3-4-5-6 & 7; UFD3 REGULATOR INGERSOLL RAND XLE NL 16 X 10 X 7IN AIR COMPRESSOR | EA |
| 0102373 | GASKET, PRE-CUT: TYPE: OUTER HEAD | EA |
| 0102374 | GASKET, PRE-CUT: TYPE: VALVE SEAT; SUPPL P/N: X1014 T 6863 | EA |
| 0102376 | GASKET, PRE-CUT: TYPE: PLUNGER GUIDE | EA |
| 0102377 | GASKET, PRE-CUT: TYPE: METERING PIN | EA |
| 0102378 | GASKET, PRE-CUT: TYPE: OUTSIDE WATER HEAD; MANUF P/N: IR 23599; REFERENCE NO: 4402-3-4-5-6 & 7; ITEM NO. 495 TYPE XLE NL 16 IN X 10 IN X 7 IN AIR COMPRESSOR | EA |
| 0102379 | GASKET, PRE-CUT: DIMENSIONS: ID 335 X OD 405 X THK 1 MM; TYPE: FRAME TO TUBE PLATE; MATERIAL: KLINGERIT; 35MM WALL THICKNESS INGERSOLL COMP | EA |
| 0102380 | GASKET: TYPE: INSIDE WATER HEAD; SUPPL P/N: W43286 | EA |
| 0102382 | GASKET, PRE-CUT: TYPE: FRAME HEAD; SUPPL P/N: 6421C1 | EA |
| 0102383 | GASKET, PRE-CUT: DIMENSIONS: ID 250 X OD 430 X THK 1.5 MM; TYPE: COVER; MATERIAL: KLINGERIT; CCA COMPRESSOR | EA |
| 0102384 | GASKET, PRE-CUT: TYPE: COVER; SUPPL P/N: 5856C1 | EA |
| 0102386 | GASKET, PRE-CUT: MANUF P/N: K39A; PS 1605; COMPRESSOR | EA |
| 0102425 | GASKET: TYPE: TANK PLATE | EA |
| 0102492 | GASKET, PRE-CUT: SUPPL P/N: GC 99 | EA |
| 0102495 | GASKET, PRE-CUT: DIMENSIONS: ID 120 X OD 160 X THK 0.3 MM | EA |
| 0102504 | GASKET: TYPE: LANCE TUBE; SUPPL P/N: 305656-0117 | EA |
| 0102505 | GASKET, PRE-CUT: DIMENSIONS: ID 42 X OD 58 X THK 3 MM; TYPE: FEED TUBE; MATERIAL: CU; SHAPE: RD; SUPPL P/N: 304634-0117TU; ANNEALED AFTER MACHINING | EA |
| 0102506 | GASKET: TYPE: COMPANION FLANGE; SUPPL P/N: 318976; DIAMOND SOOTBLOWERS | EA |
| 0102514 | GASKET, PRE-CUT: DIMENSIONS: ID 375 X OD 414 MM; TYPE: DE/NDE; SUPPL P/N: 51.39 | EA |
| 0102515 | GASKET, PRE-CUT: DIMENSIONS: ID 486 X OD 520 X THK 0.8 MM | EA |
| 0102516 | GASKET, PRE-CUT: DIMENSIONS: ID 69.5 X OD 77 X THK 0.8 MM; SUPPL P/N: 31.36 | EA |
| 0102517 | GASKET, PRE-CUT: DIMENSIONS: ID 126 X OD 140 X THK 0.8 MM | EA |
| 0102518 | GASKET, PRE-CUT: DIMENSIONS: ID 376 X OD 496 X THK 0.8 MM | EA |
| 0102519 | GASKET, PRE-CUT: DIMENSIONS: ID 402 X OD 496 X THK 0.8 MM | EA |
| 0102520 | GASKET, PRE-CUT: SUPPL P/N: 4180-G | EA |
| 0102521 | GASKET, PRE-CUT: SUPPL P/N: 4991-G | EA |
| 0102522 | GASKET, PRE-CUT: SUPPL P/N: 5413-G | EA |
| 0102525 | GASKET, PRE-CUT: SUPPL P/N: 14273-G | EA |
| 0102529 | GASKET SET: TYPE: OVERALL TOP; SUPPL P/N: PT68258; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 0102530 | GASKET SET: TYPE: OVERALL BOTTOM; SUPPL P/N: 68219; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 0102546 | PACKING, PREFORMED: INSIDE DIAMETER: 50 MM; OUTSIDE DIAMETER: 65 MM; THICKNESS: 40 MM; TYPE: CLYDE SOOTBLOWER; MANUF P/N: 3000; ASSY; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 0102547 | GLAND, PACKING: DIMENSIONS: ID 48 X OD 67 MM; TYPE: MOVING; MANUF P/N: 3000; 108MM LONG, FOR HOPK SOOT BLOWERS | EA |
| 0102554 | PACKING, BULK: APPLICATION: JETIN HP PUMP MODEL 2000; TYPE: CHEVRON; MANUF P/N: 23554-313 | EA |
| 0102557 | PACKING: SHAPE: U; SUPPL P/N: 23554-108 | EA |
| 0102590 | GASKET, PRE-CUT: TYPE: VALVE; SUPPL P/N: 955-500-003; 955.500/003; ITEM NO 25 DELLE 400 KV AIR CIRCUIT BREAKERS | EA |
| 0103807 | SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 2 M; WIDTH: 1.5 M; MATERIAL: KLINGERITE GRAPHITE 2000 COATED; SPECIFICATION: BS 1832-2815A; BS 2815-1973; COMPOSITION COMPRESSED NON-ASBESTOS, BLACK, 3XA BOTH SIDES, MAXIMUM TEMPERATURE: 300 DEGREES CELCIUS, MAXIMUM PRESSURE: 40 BAR, NOT WIRE REINFORCED, ONE SHEET = 15.5 KG | KG |
| 0104037 | GASKET, PRE-CUT: DIMENSIONS: ID 380 X OD 424 X THK 0.8 MM; REFERENCE NO: 11-61 | EA |
| 0106312 | PACKING, BULK: WIDTH: 25 MM; THICKNESS: 25 MM; MATERIAL: GRAPHITE; APPLICATION: MECHANICAL; MAX PRESSURE: STAT 20; ROTARY 68 BAR; PH VALUE RANGE: 4-10; TEMPERATURE RANGE: 260 DEG C; TYPE: BRAIDED ACRYLIC; SHAPE: SQ; SUPPL P/N: 1340; TO BE PACKED IN CARTONS OF 5 KG | KG |
| 0107051 | PACKING, BULK: WIDTH: 8 MM; THICKNESS: 8 MM; SHAPE: SQ; MANUF P/N: 4788 | KG |
| 0107053 | PACKING, BULK: WIDTH: 12 MM; THICKNESS: 12 MM; SHAPE: SQ; MANUF P/N: 4788 | KG |
| 0107827 | GASKET, PRE-CUT: DIMENSIONS: ID 70 X OD 120 X THK 2 MM | EA |
| 0107831 | GASKET, PRE-CUT: TYPE: COVER; STEAM TURBINE; FOR: 200 MM VALVE | EA |
| 0107863 | GLAND, PACKING: TYPE: WATER PUMP | EA |
| 0107864 | GASKET, PRE-CUT: TYPE: BROOMWADE AIR COMPRESSOR | EA |
| 0107868 | GASKET, RING JOINT: INSIDE DIAMETER: 135 MM; OUTSIDE DIAMETER: 145 MM; THICKNESS: 1 MM; MATERIAL: CU; REFERENCE NO: C10500/26; FOR TYPE VC 350 DRY AIR COMPRESSOR; SHAPE: RD; TYPE: CYLINDER HEAD | EA |
| 0107870 | GLAND, PACKING: TYPE: BDM 1000 COMPRESSOR; MATERIAL: CS; MANUF P/N: 20021-4; C20021-22; ITEM 35 | EA |
| 0107871 | GASKET, PRE-CUT: MATERIAL: CU; HOERBIGER COMPR | EA |
| 0107960 | GASKET, PRE-CUT: TYPE: GUIDING ROD | EA |
| 0135230 | SHEET, GASKET: THICKNESS: 12.7 MM; LENGTH: 1.22 M; WIDTH: 1.22 M; MATERIAL: TUFNOL KITE; TYPE INSULATION, MEDIUM WEAVE | KG |
| 0161735 | SHEET, GASKET: THICKNESS: 0.25 MM; LENGTH: 30 M; WIDTH: 3.7 M; MATERIAL: PLASTIC; ROLL | M |
| 0172805 | PACKING, BULK: WIDTH: 7.9 MM; THICKNESS: 7.9 MM; MATERIAL: CARBON FIBER; APPLICATION: PUMP AND VALVE; MAX PRESSURE: 250 BAR; PH VALUE RANGE: 0-13; TYPE: GENERAL SERVICE; SHAPE: SQ; SUPPL P/N: 477-1; MUST BE ASBESTOS FREE | KG |
| 0172807 | PACKING, BULK: WIDTH: 10 MM; THICKNESS: 10 MM; MATERIAL: CARBON FIBER; SHAPE: SQ; SUPPL P/N: 477-1; MUST BE ASBESTOS FREE, NOTE - ITEM MUST BE ORIGINAL PACKED | KG |
| 0194143 | SHEET, GASKET: THICKNESS: 1.5 MM; LENGTH: 2 M; WIDTH: 1.5 M; MATERIAL: FIBER; SUPPL P/N: C4324; KLINGERSIL; COLOUR ONE SIDE BLACK ONE SIDE GREEN | EA |
| 0194144 | SHEET, GASKET: THICKNESS: 0.8 MM; LENGTH: 2 M; WIDTH: 1.5 M; MATERIAL: FIBER; REFERENCE NO: C4324; KLINGERSIL; COLOUR: ONE SIDE BLACK ONE SIDE GREEN | EA |
| 0194145 | SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 2 M; WIDTH: 1.5 M; MATERIAL: FIBER; SUPPL P/N: C4324; COLOUR ONE SIDE BLACK ONE SIDE GREEN; KLINGERSIL | EA |
| 0197973 | SHEET, GASKET: THICKNESS: 1.5 MM; LENGTH: 1 M; WIDTH: 1 M; MATERIAL: GRAPHITE; REFERENCE NO: V15011Z31; SIGRAFLEX HOCHDRUCK ONLY; 0.5 MM SEAMLESS INTERLEAVED WITH 0.05 MM SS SHEETS | EA |
| 0197974 | SHEET, GASKET: THICKNESS: 1 MM; LENGTH: 1 M; WIDTH: 1 M; MATERIAL: GRAPHITE SS WIRE REINFORCED; REFERENCE NO: V10011Z31 | EA |
| 0197975 | SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 1 M; WIDTH: 1 M; MATERIAL: GRAPHITE; REFERENCE NO: V30011Z31; 0.5 MM SEAMLESS INTERLEAVED WITH 0.05 MM SS SHEETS | EA |
| 0210339 | PACKING, BULK: WIDTH: 12.7 MM; THICKNESS: 12.7 MM; LENGTH: 8 M; MATERIAL: CARBON GRAPHITE; SHAPE: SQ; SUPPL P/N: 774; ONLY JOHN CRANE BRAND ACCEPTABLE, NOTE - THE ITEM MUST BE PROTECTIVE PACKED AND CLEARLY MARKED | EA |
| 0210363 | SHEET, GASKET: THICKNESS: 0.5 MM; LENGTH: 2 M; WIDTH: 1.5 M; MATERIAL: ARAMID FIBER/NBR; SUPPL P/N: WEBA203; NOTE ONLY BURGMANN BRAND ACCEPTABLE, APPLICATION: OIL AND WATER, TEMPERATURE: 250 DEG C, PRESSURE: 50 BAR/725 PSI | EA |
| 0210819 | SHEET, GASKET: THICKNESS: 0.4 MM; LENGTH: 1 M; WIDTH: 1 M; MATERIAL: VELLUMOID; SUPPLIER NOTE: EACH ROLL TO BE SEALED IN A PLASTIC BAG AND CLEARLY MARKED | M |
| 0211188 | PACKING, BULK: WIDTH: 7.9 MM; THICKNESS: 7.9 MM; LENGTH: 8 M; MATERIAL: CARBON GRAPHITE; SHAPE: SQ; SUPPL P/N: G57; ONLY JOHN CRANE BRAND ACCEPTABLE, NOTE - THE ITEM MUST BE PROTECTED AND CLEARLY MARKED | EA |
| 0211189 | PACKING, BULK: WIDTH: 6.3 MM; THICKNESS: 6.3 MM; LENGTH: 8 M; MATERIAL: CARBON GRAPHITE; SHAPE: SQ; SUPPL P/N: G57; ONLY JOHN CRANE BRAND ACCEPTABLE, NOTE - THE ITEM MUST BE PROTECTED, PACKED AND CLEARLY MARKED | EA |
| 0211221 | PACKING, BULK: WIDTH: 9.5 MM; THICKNESS: 9.5 MM; LENGTH: 8 M; MATERIAL: CARBON GRAPHITE; SHAPE: SQ; SUPPL P/N: G57; ONLY JOHN CRANE BRAND ACCEPTABLE, NOTE - THE ITEM MUST BE PROTECTED PACKED AND CLEARLY MARKED | EA |
| 0211222 | PACKING, BULK: WIDTH: 15.8 MM; THICKNESS: 15.8 MM; LENGTH: 8 M; MATERIAL: CARBON GRAPHITE; SHAPE: SQ; SUPPL P/N: G57; ONLY JOHN CRANE BRAND ACCEPTABLE, NOTE - THE ITEM MUST BE PROTECTED PACKED AND CLEARLY MARKED | EA |
| 0211974 | SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 2 M; WIDTH: 1.5 M; MATERIAL: GRAPHITE FLEXIBLE; SUPPL P/N: 2000; KLINGER; COLOUR BLACK; MAX TEMPERATURE 500 DEG C; WORKING TEMP 300 DEG C; MAX PRESSURE 100 BAR TO 10 MPA; WORKING PRESSURE 40 BAR TO 4 MPA; APPLICATIONS: STEAM FRF | EA |
| 0211975 | SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 2 M; WIDTH: 1.5 M; MATERIAL: GLASS FIBER/NBR; REFERENCE NO: C4430; KLINGERSIL; COLOUR ONE SIDE GREEN ONE SIDE WHITE; MAX TEMPERATURE 400 DEG C; WORKING TEMP 250 DEG C; MAX PRESSURE 60 BAR TO 6 MPA; WORKING PRESSURE 50 BAR TO 5 MPA | EA |
| 0212001 | SHEET, GASKET: THICKNESS: 2 MM; LENGTH: 2 M; WIDTH: 1.5 M; MATERIAL: ARAMID FIBER NBR BONDED; SUPPL P/N: C4324; KLINGERSIL; COLOUR GREEN; MAX TEMPERATURE 300 DEG C; WORKING TEMP 150 DEG C; MAX PRESSURE 50 BAR TO 5 MPA; WORKING PRESSURE 40 BAR TO 4 MPA; APPLICATIONS STATOR COOLANT; HOT AND COLD POTABLE WATER, FUELS, HYDROCARBONS, LOW PRESSURE STEAM AND WATER AND HYDRAULIC OIL, NO FRF | EA |
| 0212002 | SHEET, GASKET: THICKNESS: 2 MM; LENGTH: 2 M; WIDTH: 1.5 M; MATERIAL: GRAPHITE/FIBER SYNTHETIC; REFERENCE NO: KLINGER TOP GRAPH; KLINGER; COLOUR BLACK; MAX TEMPERATURE 500 DEG C; WORKING TEMP 300 DEG C; MAX PRESSURE 100 BAR TO 10 MPA; WORKING PRESSURE 40 BAR TO 4 MPA; APPLICATIONS STEAM FRF | EA |
| 0217147 | SHEET, GASKET: THICKNESS: 2 MM; LENGTH: 1.5 M; WIDTH: 1.5 M; MATERIAL: PTFE; SUPPL P/N: 2003; PACKING, BULK, SHAPE FLAT; TOPCHEM | EA |
| 0217149 | SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 1.5 M; WIDTH: 1.5 M; MATERIAL: PTFE 100 PCT; SUPPL P/N: HYGRADE LS; PACKING, BULK, SHAPE FLAT | EA |
| 0217150 | SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 1.5 M; WIDTH: 1.5 M; MATERIAL: PTFE; SUPPL P/N: 2003; PACKING, BULK, SHAPE FLAT; TOPCHEM | EA |
| 0218752 | SHEET, GASKET: THICKNESS: 1.5 MM; LENGTH: 2 M; WIDTH: 1.5 M; MATERIAL: NON ASB FIBER; SUPPL P/N: TOP MIC SW; KLINGER | EA |
| 0218753 | SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 2 M; WIDTH: 1.5 M; MATERIAL: NON ASB FIBER; SUPPL P/N: TOP MIC SW; KLINGER | EA |
| 0218754 | SHEET, GASKET: THICKNESS: 1.5 MM; LENGTH: 2.4 M; WIDTH: 1.2 M; MATERIAL: RUBBER; TYPE INSERTION | KG |
| 0218755 | SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 2.4 M; WIDTH: 1.2 M; MATERIAL: RUBBER; TYPE INSERTION | KG |
| 0222704 | PACKING: TYPE: GLAND; WIDTH: 10 MM; MATERIAL: BRAIDED; SHAPE: RD; DIAMETER: ID 60 X OD 80 X HT 85 MM; SUPPL P/N: 396741-010A; PACKING FEED TUBE, FOR USE ON DIAMOND POWER SOOTBLOWER IK525 | EA |
| 0225471 | PACKING, BULK: WIDTH: 24 MM; THICKNESS: 24 MM; MATERIAL: CARBON YARN SYNTHETIC; SHAPE: SQ; SUPPL P/N: 477; CHESTERTON | KG |
| 0225498 | SHEET, GASKET: THICKNESS: 3 MM; MATERIAL: KLINGERITE; SUPPL P/N: 100 | EA |
| 0226566 | PACKING: TYPE: GLAND; MATERIAL: STL; SHAPE: RECT; DRAWING NO: CO-013-006220 REV 1; FOR PA FAN; DIMENSIONS: ID 10 X OD 80 X LG 140 MM | EA |
| 0229526 | PACKING, PREFORMED: INSIDE DIAMETER: 20 MM; OUTSIDE DIAMETER: 30 MM; THICKNESS: 5 MM; TYPE: CHEVRON; REFERENCE NO: CH 118078; CONSUMABLES FOR TURBINE/AUXILIARY PLANT, SEAL HP CYL W/STM/ V/V SERVO; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 0229527 | GASKET, PRE-CUT: DIMENSIONS: ID 20 X OD 30 X THK 3.6 MM; MATERIAL: PTFE; SHAPE: RD; REFERENCE NO: CH 118078; PACKING TYPE CHEVRON, FOR TURBINE/AUXILIARY PLANT, SEAL HP CYL W/STM/ V / V SERVO | EA |
| 0229528 | GASKET, PRE-CUT: DIMENSIONS: ID 20 X OD 30 X THK 4.5 MM; REFERENCE NO: CH 118078; PACKING TYPE CHEVRON, CONSUMABLES FOR TURBINE AND AUXILIARY PLANT, SEAL HP CYL W/STM/ V/V SERVO | EA |
| 0229529 | GASKET, PRE-CUT: DIMENSIONS: ID 20 X OD 30 X THK 4 MM; REFERENCE NO: CH 118078; PACKING TYPE CHEVRON, CONSUMABLES FOR TURBINE AND AUXILIARY PLANT, SEAL HP CYL W/STM/ V/V SERVO | EA |
| 0229530 | GASKET, PRE-CUT: DIMENSIONS: ID 35 X OD 47 X THK 4.5 MM; REFERENCE NO: CH 185137; PACKING TYPE CHEVRON, CONSUMABLES FOR TURBINE AND AUXILIARY PLANT, SEAL HP CYL W/STM/ V/V SERVO | EA |
| 0229531 | GASKET, PRE-CUT: DIMENSIONS: ID 35 X OD 47 X THK 5.5 MM; REFERENCE NO: CH 185137; PACKING TYPE CHEVRON, CONSUMABLES FOR TURBINE AND AUXILIARY PLANT, SEAL HP CYL W/STM/ V/V SERVO | EA |
| 0230425 | PACKING: TYPE: KNIFE GATE; REFERENCE NO: NG700-CW-SQ; SET, USED TO RECONDITION KNIFE GATE TYPE NG700-CW-SQ | EA |
| 0230427 | SHEET, GASKET: THICKNESS: 1.5 MM; LENGTH: 1.5 M; WIDTH: 1.5 M; TYPE PACKING, REQUIRED FOR GENERAL USE IN PLANT | KG |
| 0230658 | GASKET, PRE-CUT: TYPE: COMPANION FLANGE; PRESSURE RATING: 120 BAR; SUPPL P/N: 318976 - 1129; FOR USE ON SOOTBLOWERS | EA |
| 0231262 | GASKET, PRE-CUT: DIMENSIONS: ID 110 X OD 160 X THK 1.5 MM; TYPE: TURBINE; MATERIAL: GRAPHITE; SHAPE: RD; PCD: 130 MM; HOLES: (4) DIA 15 MM; FOR USE ON FLANGES AND JOINTS ON TURBINE PLANT, HOCHDRUCK TYPE 2 BRAND ONLY | EA |
| 0231263 | GASKET, PRE-CUT: DIMENSIONS: ID 45 X OD 80 X THK 3 MM; TYPE: TURBINE; MATERIAL: GRAPHITE; SHAPE: RD; FOR USE ON FLANGES AND JOINTS ON TURBINE PLANT, HOCKDRUCK TYPE 2 BRAND ONLY | EA |
| 0231264 | GASKET, PRE-CUT: DIMENSIONS: ID 50 X OD 165 X THK 3 MM; TYPE: TURBINE; MATERIAL: GRAPHITE; SHAPE: RD; PCD: 125 MM; HOLES: (4) DIA 18 MM; FOR USE ON FLANGES AND JOINTS ON TURBINE PLANT, HOCHDRUCK TYPE 2 BRAND ONLY | EA |
| 0231265 | GASKET, PRE-CUT: DIMENSIONS: ID 105 X OD 150 X THK 3 MM; MATERIAL: GRAPHITE; SHAPE: RD; FOR USE ON FLANGES AND JOINTS ON TURBINE PLANT, HOCHDRUCK TYPE 2 BRAND ONLY | EA |
| 0231266 | GASKET, PRE-CUT: DIMENSIONS: ID 162 X OD 285 X THK 1.5 MM; TYPE: TURBINE; MATERIAL: GRAPHITE; SHAPE: RD; PCD: 240 MM; HOLES: (8) DIA 22 MM; FOR USE ON FLANGES AND JOINTS ON TURBINE PLANT, HOCHDRUCK TYPE 2 BRAND ONLY | EA |
| 0231315 | GASKET, PRE-CUT: TYPE: MOTOR; SUPPL P/N: 393728-1123; SOOTBLOWERS | EA |
| 0231316 | GASKET, PRE-CUT: TYPE: COVER PLATE; SUPPL P/N: 323447-2128; SOOTBLOWERS | EA |
| 0231317 | GASKET, PRE-CUT: TYPE: COVER PLATE; SUPPL P/N: 339258-2122; SOOTBLOWERS | EA |
| 0231318 | GASKET, PRE-CUT: TYPE: BEARING RETAINER; SUPPL P/N: 323449-2126; SOOTBLOWERS | EA |
| 0231319 | GASKET, PRE-CUT: TYPE: HOUSING; SUPPL P/N: 323446-2129; SOOTBLOWERS | EA |
| 0231590 | PACKING: TYPE: SOOTBLOWER FEED TUBE; SUPPL P/N: HG800-002; FEED TUBE SPARES FOR SOOTBLOWERS UNIT 2, 3/4, ASBESTOS FREE | EA |
| 0231591 | GASKET, PRE-CUT: TYPE: FLANGE COMPANION; MATERIAL: NON ASB; SUPPL P/N: HG800-003; SPARES FOR HOPKINSON SOOTBLOWERS UNIT 2, 3 AND 4 | EA |
| 0231592 | GASKET: SUPPL P/N: HG800-004; TYPE OUTER LANCE, SPARES FOR HOPKINSON SOOTBLOWERS 2, 3 AND 4, ASBESTOS FREE | EA |
| 0231593 | GASKET: TYPE: FEED TUBE; MATERIAL: NON ASB; SUPPL P/N: HG800-005; SPARES FOR HOPKINSON SOOTBLOWERS UNIT 2, 3 AND 4 | EA |
| 0231594 | GASKET, PRE-CUT: TYPE: HIGH TENSILE STUDS; MATERIAL: NON ASB; SUPPL P/N: HG800-006; SPARES FOR HOPKINSON SOOTBLOWERS UNIT 2, 3 AND 4 | EA |
| 0231765 | PACKING: SUPPL P/N: 907605-0008; SOOTBLOWER | EA |
| 0231810 | GASKET, PRE-CUT: TYPE: SOOTBLOWER; SUPPL P/N: 393275-1138 | EA |
| 0231929 | PACKING: SUPPL P/N: 398443-010A; VALVE STEM, FOR USE ON SOOTBLOWER | EA |
| 0233755 | GASKET, PRE-CUT: DIMENSIONS: WD 15 X LG 60 X THK 5 MM; TYPE: FILTER; MATERIAL: NEOPRENE; SUPPL P/N: BN398.03.2008; TO BE USE ON GENERATOR, EXCITER AND SLIPRINGS | EA |
| 0234769 | GASKET, PRE-CUT: TYPE: FRAME; MATERIAL: RUBBER; SHAPE: RECT; DRAWING NO: FC 572 REV 1; FC 572 REV B REV 1; REFERENCE NO: KA 1832; MANUFACTURE FOR ASH HOPPER DOORS AS PER DRAWING, REQUIRED FOR UNITS 1, 2, 3, 4 AND 6; SIZE 5 FT 2 IN X 3 FT 5 3/4 IN X 2 1/4 IN WD X 1 1/16 THK | EA |
| 0234939 | GASKET, RING JOINT: CROSS-SECTIONAL SHAPE: RD; INSIDE DIAMETER: 9-1/4 IN; OUTSIDE DIAMETER: 1 FT 1 IN; THICKNESS: 1/16 IN; MATERIAL: NON ASB; SUPPL P/N: 9 RH; FOR ASH HOPPER DOORS, UNITS 1, 2, 3, 4 AND 6 | EA |
| 0234940 | PACKING: TYPE: CYLINDER; MATERIAL: GRAPHITE; SHAPE: RD; DIAMETER: 3.502 IN; DRAWING NO: FC 407 REV 1; REFERENCE NO: KA 313; FOR ASH HOPPER DOORS, UNITS 1, 2, 3, 4/6, AS PER DRAWING, ASBESTOS FREE | EA |
| 0234949 | PACKING, BULK: WIDTH: 1/2 IN; THICKNESS: 1/2 IN; LENGTH: 48 IN; MATERIAL: GRAPHITE; SHAPE: SQ; SUPPL P/N: FC 407 G; DRAWING NO: FC 407 REV 1; FOR ASH HOPPER DOORS, UNITS 1, 2, 3, 4 AND 6, ASBESTOS FREE, AS PER DRAWING | KG |
| 0236371 | SHEET, GASKET: THICKNESS: 1 MM; LENGTH: 1.5 M; WIDTH: 1.2 M; MATERIAL: PTFE; FOR USE ON VALVES, UNITS 1, 2, 3, 4 AND 6, SEALING | EA |
| 0236372 | SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 1 M; WIDTH: 1.2 M; MATERIAL: PTFE; SEALING, FOR USE ON VALVES, UNITS 1, 2, 3, 4 AND 6 | EA |
| 0236373 | SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 1 M; WIDTH: 1.2 M; MATERIAL: RUBBER SYNTHETIC BLACK; SEALING, FOR USE ON VALVES, UNITS 1, 2, 3, 4 AND 6 | EA |
| 0236374 | SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 1.5 M; WIDTH: 2 M; MATERIAL: KLINGERITE C4430; SEALING, FOR USE ON MILLS, UNITS 1, 2, 3, 4 AND 6 | EA |
| 0236861 | PACKING, BULK: WIDTH: 12.7 MM; THICKNESS: 12.7 MM; LENGTH: 8 M; MATERIAL: PTFE; SHAPE: SQ; STYLE C 1065 | M |
| 0236862 | PACKING, BULK: WIDTH: 8 MM; THICKNESS: 8 MM; LENGTH: 8 M; MATERIAL: PTFE; SHAPE: SQ; STYLE C 1065 | M |
| 0236863 | PACKING, BULK: WIDTH: 11.2 MM; THICKNESS: 11.2 MM; LENGTH: 8 M; MATERIAL: PTFE; SHAPE: SQ; STYLE C 1065 | M |
| 0237364 | PACKING, BULK: WIDTH: 15.8 MM; THICKNESS: 15.8 MM; LENGTH: 8 M; MATERIAL: PTFE; SHAPE: SQ; FOR USE ON ASH PUMPS, STYLE C1065 | M |
| 0237365 | PACKING, BULK: WIDTH: 9.5 MM; THICKNESS: 9.5 MM; LENGTH: 8 M; MATERIAL: PTFE; SHAPE: SQ; FOR USE ON ASH PUMPS, STYLE 1993 | M |
| 0237389 | PACKING: WIDTH: 9.5 MM; MATERIAL: GRAPHITE; SHAPE: SQ; THICKNESS: 9.5 MM; SLADE 3300G, FOR FEEDWATER VALVE APPLICATION, OPERATING TEMPERATURE AND PRESSURE 550 DEGREE CELSIUS AND 200 BAR RESPECTIVELY, MUST BE ORIGINALLY PACKED, MUST BE DELIVERED WITH THE RELEVANT OPERATING TECHNICAL INFORMATION, AND THE MATERIAL SAFETY DATA SHEET, MUST BE QUALITY CHECKED BY TURBINES ENGINEERING UPON DELIVERY | KG |
| 0238006 | GASKET, PRE-CUT: DIMENSIONS: ID 225 X OD 375 X THK 1.5 MM; MATERIAL: GRAPHITE; SHAPE: RD; FOR USE ON FLANGES AND JOINTS ON TURBINE PLANT, HOCHDRUCK TYPE 2 BRAND ONLY, NO OF HOLES: 12 | EA |
| 0238811 | GASKET SET: APPLICATION: MILL DOOR/INSPECTION COVER; SUPPL P/N: BOW 21 - 08/2; ITEMS TO BE PACKAGED AS A SET, INCLUDE LIST OF CONTENTS OF SET, CLEARLY MARKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 0238845 | SHEET, GASKET: THICKNESS: 3 MM; LENGTH: 1.5 M; WIDTH: 1.5 M; MATERIAL: GORE; TYPE MILL, SHAPE SQUARE, REQUIRED FOR MILL LUBE OIL SYSTEM, UNITS 1, 2, 3, 4 AND 6 | EA |
| 0240233 | PACKING: TYPE: VALVE; WIDTH: 25 MM; MATERIAL: CARBON FIBER/GRAPHITE FOIL; SHAPE: SQ; THICKNESS: 25 MM; SUPPL P/N: 3300G; SLADE, REQUIRED FOR CW PUMPS 1 TO 4/ RESERVE | KG |
| 0240355 | GASKET SET: TYPE: EFP; MODEL NO: HCD6N/8; FOR USE ON 50PCT KSB PUMP; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 0240384 | PACKING, PREFORMED: TYPE: RING; MATERIAL: COTTON/GRAPHITE; SUPPL P/N: 14353P; MODEL NO: M/P 6INX8IN; REFERENCE NO: 36; FOR USE ON PUMP; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 0240385 | PACKING, BULK: WIDTH: 9 MM; THICKNESS: 9 MM; MODEL NO: M/P 6INX8IN; REFERENCE NO: 37; FOR USE ON LONOVANE PUMP | KG |
| 0240399 | PACKING, BULK: WIDTH: 9 MM; THICKNESS: 9 MM; LENGTH: 8 IN; MATERIAL: COTTON GRAPHITED; TYPE: RING; SHAPE: SQ; MODEL NO: M/P 3INX6IN; STEAM FEED EXTRACTION PUMP | EA |
| 0240408 | GLAND, PACKING: TYPE: SPLIT; MODEL NO: M/P 4INX5IN; REFERENCE NO: 37; FOR MATHER AND PLATT MEDIVANE AUXILLARY COOLING WATER PUMP | EA |
| 0240409 | PACKING, PREFORMED: TYPE: RING; MATERIAL: COTTON/GRAPHITE; MODEL NO: M/P 4INX5IN; REFERENCE NO: 38; FOR AUXILLARY COOLING WATER PUMP; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 0242475 | GASKET, SPIRAL WOUND: INNER RING INSIDE DIAMETER: 280 MM; OUTER RING OUTSIDE DIAMETER: 312 MM; PRESSURE RATING: 21 MPA; FILLER MATERIAL: GRAPHITE; WINDING MATERIAL: AL; SHAPE: RD; USED ON HP HEATER FEED WATER INLET & OUTLET ISOLATING VALVE; MATERIAL CERTIFICATE REQUIRED | EA |
| 0242489 | GASKET, SPIRAL WOUND: INNER RING INSIDE DIAMETER: 215 MM; OUTER RING OUTSIDE DIAMETER: 243 MM; PRESSURE RATING: 21 MPA; FILLER MATERIAL: GRAPHITE; WINDING MATERIAL: AL; SHAPE: RD; USED ON ALL ELECTRIC FEED PUMPS; MATERIAL CERTIFICATE REQUIRED | EA |
| 0243335 | GASKET, PRE-CUT: DIMENSIONS: ID 424 X OD 565 X THK 3 MM; TYPE: PIPE PF; MATERIAL: KLINGERSIL C4324; SHAPE: RD; PCD: 515 MM; HOLES: (16) DIA 26 MM; DRAWING NO: WL1/2722 REV 1 | EA |
| 0243342 | GASKET, PRE-CUT: DIMENSIONS: ID 564 X OD 670 X THK 3 MM; TYPE: PIPE PF; MATERIAL: KLINGERSIL C4324; SHAPE: RD; PCD: 620 MM; HOLES: (20) DIA 26 MM; DRAWING NO: WLI/2722 REV 1; REQUIRED FOR PF PIPING ON BABCOCK 8.5E MILLS, UNITS 1, 2, 3, 4 & 6 | EA |
| 0243343 | GASKET, PRE-CUT: DIMENSIONS: ID 424 X OD 550 X THK 3 MM; TYPE: PIPE PF; MATERIAL: KLINGERSIL C4324; SHAPE: RD; PCD: 510 MM; HOLES: (16) DIA 18 MM; DRAWING NO: WLI/2720 REV 1; REQUIRED FOR USE ON BURNER INLET PF PIPING, UNITS 1, 2, 3, 4 & 6 | EA |
| 0243344 | GASKET, PRE-CUT: DIMENSIONS: ID 134 X OD 513 X THK 3 MM; TYPE: PIPE PF; MATERIAL: KLINGERSIL C4324; SHAPE: RD; DRAWING NO: WLI/2720 REV 1; REQUIRED FOR USE ON PF PIPING & ISOLATING VALVE, UNITS 1, 2, 3, 4 & 6 | EA |
| 0243345 | GASKET, PRE-CUT: DIMENSIONS: ID 530 X OD 750 X THK 3 MM; TYPE: BABCOCK 8.5E MILL OUTLET PF PIPING; MATERIAL: KLINGERSIL C4324; SHAPE: RD; PCD: 686 MM; HOLES: (16) DIA 28.5 MM; DRAWING NO: WLI/2720 REV 1; UNITS 1, 2, 3, 4 & 6 | EA |
| 0243500 | PACKING: TYPE: GASKET; LENGTH: 73 MM; WIDTH: ID 18 MM; MATERIAL: SS GR 316; SHAPE: CYL; THICKNESS: 16 MM; DIAMETER: 28.5 MM; SUPPL P/N: 022407001-AT; REFERENCE NO: 4372-000-01; APPLICATION: LIP GASKET SHEET | KG |
| 0244037 | GASKET, PRE-CUT: DIMENSIONS: ID 325 X OD 385 X THK 2 MM; THICKNESS: 3 MM; TYPE: TOP COVER; MATERIAL: GRAPHITE; SHAPE: RD; SUPPL P/N: 0832644; FOR ELECTRODE BOILER, AS PER ATTACHED DRAWING AND SPARE PART NUMBER SPREADSHEET, TO BE STORED IN DRY WEATHER PROTECTED CONDITIONS, TYPE: THE200 | EA |
| 0244041 | GASKET, PRE-CUT: DIMENSIONS: ID 30 X OD 56 MM; THICKNESS: 3 MM; TYPE: INSULATOR; MATERIAL: METAFLEX; SHAPE: RD; SUPPL P/N: 0282015; FOR ELECTRODE BOILER; TYPE: THE200; AS PER ATTACHED DRAWING AND SPARE SPREADSHEET, TO BE STORED IN DRY WEATHER PROTECTED CONDITIONS | EA |
| 0244505 | GASKET, SPIRAL WOUND: FILLER MATERIAL: GRAPHITE; WINDING MATERIAL: SS GR 304; MANUF P/N: P-10854; REQUIRED FOR WAHLCO SO3 PLANT, 150 | EA |
| 0244542 | GASKET, SPIRAL WOUND: FILLER MATERIAL: GRAPHITE; WINDING MATERIAL: SS GR 304; SHAPE: RD; MANUF P/N: P-10937; REQUIRED FOR WAHLCO SO3 PLANT; 150 | EA |
| 0247271 | SHEET, GASKET: THICKNESS: 10 MM; LENGTH: 1 M; WIDTH: 1.2 M; MATERIAL: NEOPRENE; SUPPL P/N: DAN08NP25118/8; REQUIRED FOR USE ON COAL AND ASH PLANT, RED, NON LAMINATED | EA |
| 0249474 | PACKING, BULK: WIDTH: 25 MM; THICKNESS: 25 MM; LENGTH: 20 M; TYPE: GLAND; LUBRICATION MATERIAL: GRAPHITE; SHAPE: SQ; USE ON UNIT 5, LOESCHE MILLING PLANT | EA |
| 0249635 | GASKET, SPIRAL WOUND: INNER RING INSIDE DIAMETER: 5.18 MM; OUTER RING OUTSIDE DIAMETER: 6.18 MM; SUPPL P/N: 255590524; USED IN SPRAY WATER CONTROL VALVES; THK 347/CARB | EA |
| 0249818 | PACKING, BULK: WIDTH: 15.8 MM; THICKNESS: 15.8 MM; APPLICATION: ASH PLANT SUPER SLURRY; TYPE: GLAND; SHAPE: SQ; SUPPL P/N: 1830 | KG |
| 0250639 | GASKET, PRE-CUT: DIMENSIONS: ID 2 X OD 3 IN; TYPE: STEAM; MATERIAL: KLINGER 2000; SHAPE: RD; DRAWING NO: FB7869/44-75 REV 1; REQUIRED FOR USE ON HOPKINSON SOOTBLOWERS OUTER LANCES, UNITS 2, 3 & 4 | EA |
| 0252190 | PACKING, PREFORMED: INSIDE DIAMETER: 26 MM; OUTSIDE DIAMETER: 46 MM; THICKNESS: 11 MM; TYPE: TURBINE FORCED COOLING VALVE GLAND; MATERIAL: GRAPHITE GR NUCLEAR; COLOR: GRAY; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 0252761 | GASKET, PRE-CUT: TYPE: TIE ROD; SUPPL P/N: 3-0241; REQUIRED FOR USE ON PROCAL P200 FOR DUST MONITOR | EA |
| 0252764 | GASKET, PRE-CUT: TYPE: MIRROR END; SUPPL P/N: 4-6077; REQUIRED FOR USE ON PROCAL P200 DUST MONITOR | EA |
| 0252766 | GASKET, PRE-CUT: TYPE: VOID END; SUPPL P/N: 4-6111-00; REQUIRED FOR USE ON PROCAL P200 FOR DUST MONITOR | EA |
| 0252767 | GASKET, PRE-CUT: TYPE: FLANGE; REQUIRED FOR USE ON PROCAL P200 FOR DUST MONITOR | EA |
| 0252869 | GLAND, PACKING: DIMENSIONS: WD 15.8 MM X LG 8 M; MATERIAL: PTFE BRAIDED; SHAPE: SQ; SUPPL P/N: 87453647; REQUIRED FOR DUST HOPPER AGI TATOR GLANDS ON FABRIC FILTER PLANT, ONLY JOHN CRANE BRAND ACCEPTABLE, STYLE 1993 | EA |
| 0252896 | GASKET, PRE-CUT: DIMENSIONS: ID 1.39 M X OD 1.51 M X THK 2 MM; MATERIAL: NON ASB FIBER COMPRESSED BS 7531; SHAPE: RD; HOLES: (24) DIA 22 MM; DRAWING NO: 70211/B838/34571/0006 REV 1; REQUIRED FOR USE ON PF BURNERS, UNIT 1 TO 6 | EA |
| 0252897 | GASKET, PRE-CUT: DIMENSIONS: ID 915 MM X OD 1.02 M X THK 2 MM; MATERIAL: NON ASB FIBER COMPRESSED BS 7531; SHAPE: RD; HOLES: (24) DIA 18 MM; DRAWING NO: 70211/B838/34575/0020 REV 1; REQUIRED FOR USE ON PF BURNERS, UNIT 1 TO 6 | EA |
| 0252898 | GASKET, PRE-CUT: DIMENSIONS: ID 770 X OD 890 X THK 2 MM; MATERIAL: NON ASB FIBER COMPRESSED BS 7531; SHAPE: RD; HOLES: (28) DIA 26 MM; DRAWING NO: 70211/B838/34575/0021 REV 1; REQUIRED FOR USE ON PF BURNERS, UNIT 1 TO 6 | EA |
| 0252899 | GASKET, PRE-CUT: DIMENSIONS: ID 180 X OD 240 X THK 2 MM; MATERIAL: NON ASB FIBER COMPRESSED BS 7531; SHAPE: RD; HOLES: (6) DIA 14 MM; DRAWING NO: 70211/B838/34575/0024 REV 1; REQUIRED FOR USE ON PF BURNERS, UNIT 1 TO 6 | EA |
| 0253031 | PACKING, PREFORMED: INSIDE DIAMETER: 38 MM; OUTSIDE DIAMETER: 51 MM; THICKNESS: 10 MM; TYPE: U1 TO 6 KSB VALVE; MATERIAL: GRAPHITE GR NUCLEAR; COLOR: GRAY; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 0253032 | PACKING, PREFORMED: INSIDE DIAMETER: 22 MM; OUTSIDE DIAMETER: 30 MM; THICKNESS: 10 MM; TYPE: U1 TO 6 KSB VALVE; MATERIAL: GRAPHITE GR NUCLEAR; COLOR: GRAY; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 0254972 | GASKET, PRE-CUT: DIMENSIONS: ID 2-1/2 IN; TYPE: SKID FLANGE CONVERTER; SUPPL P/N: 10870; REFERENCE NO: 105RF | EA |
| 0254978 | GASKET, SPIRAL WOUND: INNER RING MATERIAL: SS GR 304; FILLER MATERIAL: GRAPHITE; SUPPL P/N: 10873; REFERENCE NO: 150; 2-1/2 INCH | EA |
| 0254979 | GASKET, PRE-CUT: DIMENSIONS: ID 8 IN; TYPE: BLU-GARD; SUPPL P/N: 10934; REFERENCE NO: 150; INJECTION PROBES | EA |
| 0254980 | GASKET, PRE-CUT: DIMENSIONS: ID 2-1/2 IN; TYPE: FLANGE RF; MATERIAL: SS GR 316; MANUF P/N: 18191; REFERENCE NO: 150 | EA |
| 0256256 | GLAND, PACKING: DIMENSIONS: ID 26 X OD 38 X LG 66 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA |
| 0256257 | GLAND, PACKING: DIMENSIONS: ID 25 X OD 41 X THK 66 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA |
| 0256258 | GLAND, PACKING: DIMENSIONS: ID 32 X OD 46 X THK 65 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA |
| 0256259 | GLAND, PACKING: DIMENSIONS: ID 19 X OD 24 X THK 41 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA |
| 0256260 | GLAND, PACKING: DIMENSIONS: ID 19 X OD 32 X THK 40 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA |
| 0256261 | GLAND, PACKING: DIMENSIONS: ID 25 X OD 41 X THK 30 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA |
| 0256262 | GLAND, PACKING: DIMENSIONS: ID 44.7 X OD 70.4 X THK 160 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA |
| 0256263 | GLAND, PACKING: DIMENSIONS: ID 28 X OD 40 X THK 50 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA |
| 0256264 | GLAND, PACKING: DIMENSIONS: ID 28 X OD 46 X THK 55 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA |
| 0256265 | GLAND, PACKING: DIMENSIONS: ID 40 X OD 60 X THK 55 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA |
| 0256266 | GLAND, PACKING: DIMENSIONS: ID 22 X OD 36 X THK 45 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA |
| 0256267 | GLAND, PACKING: DIMENSIONS: ID 18 X OD 30 X THK 30 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA |
| 0256268 | GLAND, PACKING: DIMENSIONS: ID 22 X OD 35 X THK 46 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA |
| 0256269 | GLAND, PACKING: DIMENSIONS: ID 12.5 X OD 19.8 X THK 21 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA |
| 0256275 | GLAND, PACKING: DIMENSIONS: ID 20 X OD 30 X THK 60 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA |
| 0256276 | GLAND, PACKING: DIMENSIONS: ID 24 X OD 34 X THK 80 MM; TYPE: VALVE; MATERIAL: GRAPHITE | EA |
| 0256277 | GASKET, PRE-CUT: DIMENSIONS: ID 58 X OD 80 X THK 4.5 MM; TYPE: VALVE; MATERIAL: METAFLEX; SHAPE: RD; PRESSURE RATING: 10 MPA; TEMPERATURE RATING: 530 DEG C | EA |
| 0256278 | GASKET, PRE-CUT: DIMENSIONS: ID 47 X OD 66 X THK 4.5 MM; TYPE: VALVE; MATERIAL: METAFLEX; PRESSURE RATING: 10 MPA; TEMPERATURE RATING: 530 DEG C | EA |
| 0256279 | GASKET, PRE-CUT: DIMENSIONS: ID 53 X OD 81 X THK 4.5 MM; TYPE: VALVE; MATERIAL: METAFLEX; PRESSURE RATING: 10 MPA; TEMPERATURE RATING: 530 DEG C | EA |
| 0256280 | GASKET, PRE-CUT: DIMENSIONS: ID 125 X OD 150 X THK 4.5 MM; TYPE: VALVE; MATERIAL: METAFLEX; SHAPE: RD; PRESSURE RATING: 12 MPA; TEMPERATURE RATING: 530 DEG C | EA |
| 0256281 | GASKET, PRE-CUT: DIMENSIONS: ID 65 X OD 92 X THK 4.5 MM; TYPE: VALVE; MATERIAL: METAFLEX; SHAPE: RD; PRESSURE RATING: 12 MPA; TEMPERATURE RATING: 530 DEG C | EA |
| 0256282 | GASKET, PRE-CUT: DIMENSIONS: ID 216 X OD 245 X THK 4.5 MM; TYPE: VALVE; MATERIAL: METAFLEX; SHAPE: RD; PRESSURE RATING: 16 MPA; TEMPERATURE RATING: 200 DEG C | EA |
| 0256627 | PACKING, BULK: WIDTH: 15.8 MM; THICKNESS: 15.8 MM; LENGTH: 12 M; MATERIAL: AERO DRUM MATERIAL ONLY, NON-COMPRESSING; APPLICATION: PUMP MAXIMUM SHAFT SPEED 12 M/S; MAX PRESSURE: 56 BAR; TEMPERATURE RANGE: -40 TO 260 DEG C; TYPE: CARIER; SHAPE: SQ; REFERENCE NO: STYLE 99 | EA |
| 0501105 | PACKING, BULK: WIDTH: 20.6 MM; THICKNESS: 20.6 MM; LENGTH: 10 M; MATERIAL: AERO DRUM MATERIAL ONLY; MAX PRESSURE: 56 BAR; PH VALUE RANGE: 3-12; TEMPERATURE RANGE: -15 TO 260 DEG C; TYPE: CARIER; SHAPE: SQ; 2.5 KG BOX; STYLE 99. | EA |
| 0552888 | PACKING, BULK: WIDTH: 16 MM; THICKNESS: 16 MM; LENGTH: 12 M; MATERIAL: GRAPHITE-FILLED EPTFE & ARAMID; APPLICATION: ASH WATER/SLURRY; MAX PRESSURE: 20 BAR; PH VALUE RANGE: 4-11; SPECIFICATION: DUAL 2211 CHESTERTON; TEMPERATURE RANGE: 260 DEG C; TYPE: BRAIDED; LUBRICATION MATERIAL: FILCOAT; SHAPE: SQ; WEIGHT: 3.92 KG | KG |
| 0563075 | GLAND, PACKING: DIMENSIONS: ID 13 X OD 22 X HT 24 MM; TYPE: VALVE; MATERIAL: GRAPHITE; SHAPE: ROUND; MANUF P/N: 398443-01 0A; ONE SET CONSISTS OF 5 RINGS; FOR USE ON POPPET VALVE FOR SOOTBLOWERS | EA |
| 0563904 | PACKING, BULK: WIDTH: 19 MM2; THICKNESS: 19 MM2; LENGTH: 9.2 M; MATERIAL: AERO DRUM; APPLICATION: ASH; WATER; SLURRY; MAX PRESSURE: 56 BAR; PH VALUE RANGE: 3-12; TEMPERATURE RANGE: 260 DEG C; TYPE: CARIER; LUBRICATION MATERIAL: GRAPHITE/PTFE; SHAPE: SQ; STYLE 99; 2.5 KG BOX | EA |
| 0565172 | GASKET: TYPE: BOND; DIMENSIONS: ID 800 MM; MATERIAL: RUBBER; SHAPE: ROUND; APPLICATION: LOAD CELL; USED ON THE WEIGH BRIDGE FOR COAL PLANT | EA |
| 0571094 | SHEET, GASKET: THICKNESS: 2 MM; LENGTH: 1 M; WIDTH: 1 M; MATERIAL: GRAPHITE; REFERENCE NO: V0011Z31; USED ON HIGH TEMPERATURE FEEDWATER AND STEAM; 0.5 MM SEAMLESS INTERLEAVED WITH 0.05 MM SS SHEETS | EA |
| 0571415 | GASKET, SPIRAL WOUND: INNER RING INSIDE DIAMETER: 67 MM; OUTER RING OUTSIDE DIAMETER: 143 MM; PRESSURE RATING: 120 BAR; FILLER MATERIAL: GRAPHITE; WINDING MATERIAL: GRAPHITE; SHAPE: ROUND; THICKNESS: 3.2 MM; MANUF P/N: 397735-01 0A; USED FOR SEALING APPLICATION ON VALVES | EA |
| 0581944 | GASKET: TYPE: METAFLEX; DIMENSIONS: ID 280 X OD 315 X THK 4.5 MM; MATERIAL: GRAPHITE; APPLICATION: VALVE; SPECIFICATION: STYLE 304SS; METAFLEX GASKET; USED ON HP HEATER FEEDWATER ISOLATING | EA |
| 0609104 | GASKET, SPIRAL WOUND: INNER RING INSIDE DIAMETER: 55 MM; OUTER RING OUTSIDE DIAMETER: 121 MM; PRESSURE RATING: 8 MPA; FILLER MATERIAL: GRAPHITE 304; WINDING MATERIAL: MS 304; SHAPE: CIRCULAR; THICKNESS: 4.5 MM; SUPPL P/N: TYLE-CRIR-121/87/68/55/4.5; USED ON AUX STEAM STRAINER GASKET; A CIRCULAR OR MODERATELY NONCIRCULAR SHAPED SEALING MATERIAL WITH AN APERTURE CONSTRUCTED OF SPRING-LIKE METAL STRIPS; PREFORMED INTO V-SHAPE; WITH SOFT FILLER AND DESIGN TO SEAL BETWEEN TWO NON-DEFORMING SURFACES; WHICH MAY HAVE AN INNER AND/OR OUTER; SOLID OR SPRIRAL WOUND COMPRESSION RING(S); IT IS A STRONG SPIRAL WOUND GASKET; WHICH ARE A POPULAR CHOICE FOR AN ARRAY OF CONDITIONS AND APPLICATION | EA |
| 0616591 | PACKING: TYPE: SQ; LENGTH: 50 M; WIDTH: 5 MM; MATERIAL: FELT; SHAPE: SQ; THICKNESS: 5 MM; DIAMETER: 5 MM; MANUF P/N: Y20012183; 3 INCHES; FIG 7020; REF 930 X 931 | EA |
| 0628098 | GASKET: TYPE: SEALING; DIMENSIONS: 128 MM; MATERIAL: COMPOSITE; STYLE: FLAT; SHAPE: ROUND; APPLICATION: HP CONTROL CV SERVOMOTOR; OEM P/N: 5160-050, OEM: GE STEAM POWER SERVICE; DRAWING NO: B42.51600-0187; REFERENCE NO: SZ50003383 | EA |
| 0628099 | GASKET: TYPE: SEALING; DIMENSIONS: 510 X 470 MM; MATERIAL: COMPOSITE; STYLE: FLAT; SHAPE: RECTANGULAR; APPLICATION: HP CONTROL CV SERVOMOTOR; OEM P/N: 5160-051, OEM: GE STEAM POWER SERVICE; DRAWING NO: B42.51600-0187; REFERENCE NO: SZ50003384 | EA |
| 0645940 | GASKET, SPIRAL WOUND: STYLE: R; INNER RING INSIDE DIAMETER: 50 MM; FILLER OUTSIDE DIAMETER: 86 MM; FILLER INSIDE DIAMETER: 65 MM; OUTER RING OUTSIDE DIAMETER: 119 MM; PRESSURE RATING: 8 MPA; INNER RING MATERIAL: SS; FILLER MATERIAL: SS; WINDING MATERIAL: SS; SHAPE: ROUND; THICKNESS: 4.5 MM; 360 DEG C | EA |
| 0674665 | PACKING, BULK: WIDTH: 19 MM; THICKNESS: 19 MM; LENGTH: 10 M; MATERIAL: PTFE/GRAPHITE CARBON REINFORCED; APPLICATION: 1830 SSP SLURRY PUMP AND SLUICE PUMP; MAX PRESSURE: 28 BAR; PH VALUE RANGE: 0-2; SPECIFICATION: CHESTERTON DUALPAC; TEMPERATURE RANGE: 260 DEG C; TYPE: SEAL; LUBRICATION MATERIAL: GRAPHITE/PTFE; SHAPE: SQUARE; WEIGHT; 4.54KG; SPEED: 18 M/S | EA |
| 0674671 | PACKING, BULK: WIDTH: 16 MM; THICKNESS: 16 MM; LENGTH: 10 M; MATERIAL: PTFE/GRAPHITE CARBON REINFORCED; APPLICATION: 1830-SSP SLURRY PUMP AND SLUICE PUMP; MAX PRESSURE: 28 BAR; PH VALUE RANGE: 0-2; SPECIFICATION: CHESTERTON DUALPAC; TEMPERATURE RANGE: 260 DEG C; TYPE: SEAL; SHAPE: SQUARE; WEIGHT: 4.54 KG; SPEED: 18 M/S | EA |
| 0693022 | GASKET: TYPE: SEALING; DIMENSIONS: WD 80 X LG 130 MM; MATERIAL: COMPOSITE; SHAPE: RECTANGULAR; APPLICATION: HP ESV SERVO MOTOR; OEM P/N: 7160-114, OEM: GE STEAM POWER SERVICE; DRAWING NO: A42.71600-0164 REV 0; REFERENCE NO: SZ50005834 | EA |

## Factory acceptance testing (FAT)

The Supply Manager will inform the Supplier on the task order if factory acceptance test is required before delivery. The factory acceptance test will be performed by the Mechanical engineer & Technician from Eskom. The Supply Manager shall provide the information of Mechanical engineer & Technician to witness factory acceptance test. The test procedure or plan must be shared with the Supply Manager for acceptance before the actual testing date.

## Operating manuals and maintenance schedules

Where applicable; test certificates, material certificate, manuals, General Arrangement (GA) drawing/s, Approved Inspection Authority (AIA) stamp and signature provided as required. All documents must be obtained during or before delivery of goods.

# Supply Requirements

The Works Information specifies the required spares, quantities of spares to be supplied by the Supplier/OEM and conditions for acceptance The spares and quantities to be supplied are stated on C2.2 the price schedule for Gland Packing & Gaskets

The following are purchaser’s requirements:

- The spares and components will be supplied to the “goods received” section of the Grootvlei main store where they will be received by the Material management section.  The spares will be delivered with all of the required data books and certificates, where required.

Grootvlei Stores Working Times: Monday – Thursdays:	07h00 – 16h00

Fridays:			07H00 – 12h00

- Only once the spares have passed the Quality control checks and are booked into the system can payment be effected.

- The Spare has to be the same in all respects when compared to the original equipment, supplied to Eskom by OEM under contract. This includes all aspects such as design, materials and material specifications, manufacturing, including manufacturing processes and acceptance testing.  Where spares offered deviate from the original in any respect, it should be indicated to the Employer.

- It is the Contractor’s responsibility to ensure that correct spares are delivered.  If the incorrect spares are delivered, the spares will have to be replaced with the correct spares at the Contractor cost.  This includes transport and delivery.

- The Delivery and Transport Costs (including off-loading items) must be included in the quotation.

The following packaging requirements should be adhered to:

- The Goods are to be packaged in such a manner that they can be transported and stored for an extended period of time without resulting in damage to the goods.

- This includes damage due to moisture ingress, corrosion, vibration from the power station etc.

- Where lifting gear is utilised to move the goods, the packaging should allow the lifting operation and ensure that the goods are not damaged in any way during the process.

- It will also not be necessary to open packaging for any lifting or transport operation.

- Where eyebolts are fitted to move the goods, these eyebolts should be fitted in such a way that they can be easily removed and replaced with the Purchaser’s eyebolts, ensuring that the packaging stays intact.

- The different spare types are to be packaged separately in such a way that each type can be stored separately.

- Packaging and labelling of spares should ensure that the spare can be identified without opening the packaging.

- Where possible the packaging should ensure that parts can be positively identified through the packaging. Where this is not possible, the packaging should allow opening and closing of the packaging and still maintain the packaging integrity afterwards.

- Delivery packaging to have the following detail on it as a minimum (removable adhesive sticker if possible):

- Order number,

- A short description of the component

- The stock number

- Manufacturing date, where possible

# Constraints on how the Supplier Provides the Goods

## Programming constraints

The Supplier to provide delivery plan of the goods after receiving the task order.

## Work to be done by the Delivery Date

No incorrect, damaged, or faulty spares will be accepted. All spares will be inspected before and after offloading. Where testing is required, the test will be done during delivery. All required manuals and test certificates must be available during delivery.

## Constraints at the delivery place and place of use

The Supplier shall adhere to Eskom speed limit of 40 km/h while driving on site. The preferred delivery times are Monday to Thursday between 07:00-16:00 and Friday between 07:00-12:00. However, for urgent delivery, the Supplier will communicate with the Supply Manager to agree on the time and date of delivery.

The Supplier shall adhere to Eskom Life Saving rules

## Services & other things to be provided by the Purchaser or Supplier

The Purchaser will provide the overhead cranes and forklift during offloading of the goods. The Purchaser will also provide the operator for both machines.

## Management meetings

Meetings of a specialist nature may be convened as specified elsewhere in this Goods Information or if not so specified by persons and at times and locations to suit the Parties, the nature, and the progress of the manufacture of the goods.  Records of these meetings shall be submitted to the Supply Manager by the person convening the meeting within five days of the meeting.

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.  Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.

| Title and purpose | Approximate time & interval | Location | Attendance by: |
| --- | --- | --- | --- |
| Kick off meeting | Once off after contract placement | Grootvlei Power Station | Purchaser and Supplier |
| Quarterly contract meeting | 3 monthly | Grootvlei Power Station | Purchaser and Supplier |

## Documentation control

Contractual communication can be done though emails. For urgent request, both Parties can use telephone as form of communication, however it should be confirmed by email.

## Health and safety risk management

The Supplier shall always comply with OHS Act 95 of 1993 or ISO 45001, Eskom’s SHE rules and requirements. The Supplier must identify, assess and manage Safety, Health and Environmental risks related to the scope of work. The methodology used for the risk assessment must be provided together with the BRA.

The Contractor shall adhere to all OHS Legal requirements, OHS corporate policies, standards and procedures to which Eskom subscribes and as indicated on the issued SHE specification.

The Contractor shall, when coming on site (Grootvlei Power Station), abide by the Lifesaving Rules.  These will be provided by the Employer on the start of the contract.

The Contractor shall also abide by the Grootvlei High risk Safety, Health and Environmental Specifications 240-73418055, which will also be provided by the Employer.

The Contractor shall, when coming on site (Grootvlei Power Station), make use of approved personal protective clothing such as overalls, safety shoes, safety hat, safety goggles, dust mask and gloves when necessary.

The Employer follows an Incident management procedure (32-95) that includes the investigation of all accidents involving personnel and property.  This is done with the intention of introducing control measures to prevent a recurrence of the same incidents.  The Contractor is expected to fully co-operate to achieve this objective.  The Contractor will report any incident and accidents to Grootvlei Power Station within 24 hours or before end of shift .  This report does not relieve the Consultant of his legal obligation to report certain incidents to the Department of Labour, or to keep records in terms of the Occupational Health and Safety Act, and Compensation for Occupational Injuries and Diseases Act.

The Contractor implements a safety plan and maintains the safety system until the completion of the whole of the works.  The plan, will as a minimum, contain PPE information, written safe work procedures, job specific risk assessments, safety meetings, etc.  The plan will be to the Employer’s satisfaction and will be accepted prior to the commencement of any work.

The Contractor will be subject to periodic audits by the Employer to ensure compliance with the plan.  Any deviations will be corrected to the Employer’s satisfaction.

The Service Manager has the right to stop the Contractor's work activities which, in the opinion of Service Manager, is un-safe.  The Contractor may only continue with work activities when all safety deficiencies have been corrected to the Service Manager’s satisfaction.  The Contractor shall have no claim against the Employer in respect of delay due to the above.

The Contractor shall comply with the health and safety requirements contained in the contract tender package

The Contractor shall comply with the health and safety requirements contained in the contract tender package

## Environmental constraints and management

The Supplier shall comply with the environmental criteria and constraints.

The contractor and or supplier shall have a documented and implemented environmental management system e.g. environmental policy, operational procedures relating to their activities, aspects/impacts register etc.;

The contractor shall comply with all Eskom Grootvlei Power Station environmental requirements such as policies, standards and procedures (work instructions). Non-conformance, incident reporting and investigations shall be done by the contractor. Polluter pays principles shall apply to all Contractors. It is the responsibility of the polluter to clean all spillages and for the rehabilitation of the polluted land and the cost associated with that.

Eskom Grootvlei Power Station shall issue non-conformances where there are deviations from Grootvlei Power Station Procedures and any other environmental requirements. Adherence to the ‘Duty of Care’ as stipulated in section 28 of the National Environmental Management Act 107 of 2008.

All incidents shall be managed according to Eskom Environmental incident management procedure-240-133087117;. Station Waste management procedure and colour coding shall be adhered to at all times.

## Quality

The Supplier shall comply with the requirements of ISO 9001:2015.

The Contractor shall implement a quality system and maintains the quality system until the completion of the whole of the Works.  The system, will as a minimum, comply with the provisions of the ISO9001 and the Eskom Supplier Contract Quality Requirements Specification (240-105658000).The system will be to the Employer’s satisfaction and will be accepted prior to the commencement of any work as per services.

The Contractor will be subject to periodic audits by the Employer in order to ensure compliance with the system. Any deviations will be corrected to the Employer’s satisfaction.

The Supply Manager has the right to stop the Contractor's work activities which, in the opinion of Supply Manager, does not meet the requirements of the system and will have a detrimental effect on plant performance.

## Invoicing and payment

Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice showing the amount due for payment equal to that stated in the Supply Manager’s certificate.

The Supplier shall address the tax invoice to Purchaser and include on each invoice the following information:

Name and address of the Supplier and the Supply Manager.

The contract number and title.

Supplier’s VAT registration number.

The Purchaser’s VAT registration number which is 4740101508.

Description of goods and services provided for each item invoiced based on the Price Schedule.

Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT.

Procedure for invoice submission and payment

All Electronic invoices must be sent in PDF format only.

An Invoice that was printed and then scanned to PDF by the Vendor is not acceptable as this is not an original tax invoice by SARS definition but a copy.

The following wording needs to appear on the invoice: “Your invoice is encrypted in order to comply with SARS requirements that invoices, and statements sent electronically are tamperproof.”

All queries and follow up on invoice payments should made by contacting the FSS Contact Centre:   Tel: 011 800 5060 or email:fss@eskom.co.za

## Contract change management

The Purchaser will provide a standard form for contract communications. Forms for compensation event, instructions, risk register, early warning, notifications.

## Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier

The Supplier will prepare the assessment of compensation event and the Purchaser must review before accepting. Both parties keep records of the assessment for a period of 12 months after the contract has expired. The compensation event prices should be as Price List of the contract.

# Procurement

## Subcontracting

### Preferred subcontractors

Tenderers shall subcontract a minimum of 5% of the contract value to the following designated groups:

• an EME or QSE which is 51% owned by black people living in rural or underdeveloped area or townships.

NOTE 1: Tenderers shall submit the following mandatory returnable for Subcontracting:

• Letter of intent to subcontract 5% from Main contractor.

Potential scope to be subcontracted and/or outsourced.

• Transportation

Tenderers are required to submit their proposals in the table below.

| Local Procurement Content | Eskom target | Tenderer Proposal |
| --- | --- | --- |
|  | 100% |  |

This total is required by the Purchaser for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.

Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902, www.ecs.co.za.